## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -4.6896e-14 | 28.4108 | -10.6145 | 3.6475e-14 | -23.0719 | 15.9534 | -5.1143e-28 | 4.32 | 15.8719 | -5.2106e-15 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 6.2485e-13 | -154.8648 | 140.2623 | 6.5685e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -5.2106e-15 | -13.0085 | 13.0085 | -5.2106e-15 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | -5.9736e-29 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 6.6295e-13 | 180 | -180 | 6.5685e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 1.5632e-14 | -7.0974 | 5.911 | -2.6053e-14 | 7.6906 | -5.3178 | -1.0421e-14 | 1.2523 | -2.5984 | 5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 6.7158e-13 | -173.5168 | 172.7598 | 6.5685e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -2.0843e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | 5.2106e-15 | 1.9253 | -1.9253 | -5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 6.6295e-13 | 180 | -180 | 6.7158e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -4.6896e-14 | 28.4108 | -10.6145 | 3.6475e-14 | -23.0719 | 15.9534 | -5.1143e-28 | 4.32 | 15.8719 | -5.2106e-15 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 6.2485e-13 | -154.8648 | 140.2623 | 6.5685e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -5.2106e-15 | -13.0085 | 13.0085 | -5.2106e-15 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | -5.9736e-29 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 6.6295e-13 | 180 | -180 | 6.5685e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 1.5632e-14 | -7.0974 | 5.911 | -2.6053e-14 | 7.6906 | -5.3178 | -1.0421e-14 | 1.2523 | -2.5984 | 5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 6.7158e-13 | -173.5168 | 172.7598 | 6.5685e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -2.0843e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | 5.2106e-15 | 1.9253 | -1.9253 | -5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 6.6295e-13 | 180 | -180 | 6.7158e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.0843e-14 | 17.8002 | 0.06044 | 1.8237e-14 | -16.4209 | 1.3189 | -1.0185e-28 | 3.9189 | 14.5607 | 5.2106e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.7999e-13 | -136.625 | 120.7211 | 2.9285e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 5.2106e-15 | -10.3342 | 1.4923 | -7.816e-15 | 10.9473 | -0.87927 | -7.816e-15 | -0.87368 | -7.9682 | 1.0421e-14 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.9606e-13 | -144.2087 | 131.5665 | 2.9285e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | 7.816e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 3.0148e-13 | -142.4927 | 129.0741 | 2.9285e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | -2.6053e-15 | -0.43684 | -3.9841 | 5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.9606e-13 | -144.2087 | 131.5665 | 3.0148e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.0843e-14 | 17.8002 | 0.06044 | 1.8237e-14 | -16.4209 | 1.3189 | -1.0185e-28 | 3.9189 | 14.5607 | 5.2106e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.7999e-13 | -136.625 | 120.7211 | 2.9285e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 5.2106e-15 | -10.3342 | 1.4923 | -7.816e-15 | 10.9473 | -0.87927 | -7.816e-15 | -0.87368 | -7.9682 | 1.0421e-14 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.9606e-13 | -144.2087 | 131.5665 | 2.9285e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | 7.816e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 3.0148e-13 | -142.4927 | 129.0741 | 2.9285e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | -2.6053e-15 | -0.43684 | -3.9841 | 5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.9606e-13 | -144.2087 | 131.5665 | 3.0148e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 8.2897e-15 | 24.6317 | -2.0295 | -8.2897e-15 | -17.851 | 8.8102 | -2.1316e-14 | -0.29866 | 13.6553 | 2.1316e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.0966e-13 | -153.068 | 126.0805 | 4.1433e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.3027e-14 | -8.8871 | 8.8871 | 1.3027e-14 | 11.9007 | -5.8735 | 9.4739e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 4.0619e-13 | -180 | 180 | 4.1433e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.0658e-14 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | 9.4739e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 4.0751e-13 | -172.2653 | 170.7242 | 4.1433e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -2.3685e-15 | -4.4435 | 4.4435 | 2.3685e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | 1.6846e-29 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 4.0619e-13 | -180 | 180 | 4.0751e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 8.2897e-15 | 24.6317 | -2.0295 | -8.2897e-15 | -17.851 | 8.8102 | -2.1316e-14 | -0.29866 | 13.6553 | 2.1316e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.0966e-13 | -153.068 | 126.0805 | 4.1433e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.3027e-14 | -8.8871 | 8.8871 | 1.3027e-14 | 11.9007 | -5.8735 | 9.4739e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 4.0619e-13 | -180 | 180 | 4.1433e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.0658e-14 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | 9.4739e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 4.0751e-13 | -172.2653 | 170.7242 | 4.1433e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -2.3685e-15 | -4.4435 | 4.4435 | 2.3685e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | 1.6846e-29 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 4.0619e-13 | -180 | 180 | 4.0751e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 4.737e-15 | 14.2512 | 1.4266 | -5.3291e-15 | -12.3717 | 0.45296 | -1.4211e-14 | 1.9064 | 11.2087 | 1.1842e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.9082e-13 | -136.4258 | 118.7019 | 1.8976e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -8.2897e-15 | -7.4125 | 1.1373 | 8.2897e-15 | 8.2478 | -0.30197 | 2.3685e-15 | -0.036791 | -6.2383 | -4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.8393e-13 | -143.7605 | 136.2873 | 1.8976e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -7.1054e-15 | -3.9151 | 0.35982 | 7.1054e-15 | 4.1239 | -0.15099 | -2.2886e-29 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.8454e-13 | -141.9705 | 132.2872 | 1.8976e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.8393e-13 | -143.7605 | 136.2873 | 1.8454e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 4.737e-15 | 14.2512 | 1.4266 | -5.3291e-15 | -12.3717 | 0.45296 | -1.4211e-14 | 1.9064 | 11.2087 | 1.1842e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.9082e-13 | -136.4258 | 118.7019 | 1.8976e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -8.2897e-15 | -7.4125 | 1.1373 | 8.2897e-15 | 8.2478 | -0.30197 | 2.3685e-15 | -0.036791 | -6.2383 | -4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.8393e-13 | -143.7605 | 136.2873 | 1.8976e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -7.1054e-15 | -3.9151 | 0.35982 | 7.1054e-15 | 4.1239 | -0.15099 | -2.2886e-29 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.8454e-13 | -141.9705 | 132.2872 | 1.8976e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.8393e-13 | -143.7605 | 136.2873 | 1.8454e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5207 | 0.016872 | 0.016872 | 1.5205 | 0.013178 | 0.013178 | 17.5601 | 0.19482 | 0.19482 | 17.557 | 0.15217 | 0.15217 | 6.0961 | 0.17887 | -0.17792 | -2.4318 | -0.14103 | 0.13845 | 3.3625 | -0.1778 | -0.28016 | -1.3568 | 0.16231 | 0.23938 | -22.3708 | -106.0076 | -106.0076 | 157.7681 | 74.5827 | 74.5827 | 0.39647 | 1.2946 | 1.7035 | 0.15861 | 1.413 | 1.8173 | 6.5098 | -150.8361 | 131.5746 | 6.9261 | -154.4285 | 134.5384
Line_1 | 1.0129 | 0.0022431 | 0.0022431 | 1.0134 | 0.0066354 | 0.0066354 | 11.696 | 0.025901 | 0.025901 | 11.7019 | 0.076619 | 0.076619 | 5.0695e-12 | -0.024211 | 0.023429 | 1.6227 | 0.070856 | -0.069943 | -1.7062e-11 | 0.03023 | 0.043104 | 0.90088 | -0.081859 | -0.1204 | 158.1356 | 74.8772 | 74.8772 | -22.1111 | -105.3077 | -105.3077 | 0 | 1.4953 | 1.8941 | 0.15861 | 1.413 | 1.8173 | 0 | -156.4319 | 136.3515 | 6.9261 | -154.4285 | 134.5384
Line_2 | 0.5066 | 0.0022895 | 0.0022895 | 0.50707 | 0.0065429 | 0.0065429 | 5.8498 | 0.026436 | 0.026436 | 5.8552 | 0.075551 | 0.075551 | -0.40396 | -0.024354 | 0.024341 | 0.80909 | 0.070179 | -0.06851 | -0.22825 | 0.029729 | 0.042605 | 0.45589 | -0.080448 | -0.11898 | 158.0046 | 75.1889 | 75.1889 | -22.4733 | -105.5284 | -105.5284 | 0.079318 | 1.4537 | 1.8561 | 0.15861 | 1.413 | 1.8173 | 7.4726 | -155.4869 | 135.4489 | 6.9261 | -154.4285 | 134.5384
Line_3 | 0.50607 | 0.0022431 | 0.0022431 | 0.5066 | 0.0022895 | 0.0022895 | 5.8436 | 0.025901 | 0.025901 | 5.8498 | 0.026436 | 0.026436 | 2.4765e-12 | 0.024211 | -0.023429 | 0.40396 | 0.024354 | -0.024341 | -8.5409e-12 | -0.03023 | -0.043104 | 0.22825 | -0.029729 | -0.042605 | 158.5139 | -105.1228 | -105.1228 | -21.9954 | -104.8111 | -104.8111 | 0 | 1.4953 | 1.8941 | 0.079318 | 1.4537 | 1.8561 | 0 | -156.4319 | 136.3515 | 7.4726 | -155.4869 | 135.4489

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5207 | 0.016872 | 0.016872 | 1.5205 | 0.013178 | 0.013178 | 17.5601 | 0.19482 | 0.19482 | 17.557 | 0.15217 | 0.15217 | 6.0961 | 0.17887 | -0.17792 | -2.4318 | -0.14103 | 0.13845 | 3.3625 | -0.1778 | -0.28016 | -1.3568 | 0.16231 | 0.23938 | -22.3708 | -106.0076 | -106.0076 | 157.7681 | 74.5827 | 74.5827 | 0.39647 | 1.2946 | 1.7035 | 0.15861 | 1.413 | 1.8173 | 6.5098 | -150.8361 | 131.5746 | 6.9261 | -154.4285 | 134.5384
Line_1 | 1.0129 | 0.0022431 | 0.0022431 | 1.0134 | 0.0066354 | 0.0066354 | 11.696 | 0.025901 | 0.025901 | 11.7019 | 0.076619 | 0.076619 | 5.0695e-12 | -0.024211 | 0.023429 | 1.6227 | 0.070856 | -0.069943 | -1.7062e-11 | 0.03023 | 0.043104 | 0.90088 | -0.081859 | -0.1204 | 158.1356 | 74.8772 | 74.8772 | -22.1111 | -105.3077 | -105.3077 | 0 | 1.4953 | 1.8941 | 0.15861 | 1.413 | 1.8173 | 0 | -156.4319 | 136.3515 | 6.9261 | -154.4285 | 134.5384
Line_2 | 0.5066 | 0.0022895 | 0.0022895 | 0.50707 | 0.0065429 | 0.0065429 | 5.8498 | 0.026436 | 0.026436 | 5.8552 | 0.075551 | 0.075551 | -0.40396 | -0.024354 | 0.024341 | 0.80909 | 0.070179 | -0.06851 | -0.22825 | 0.029729 | 0.042605 | 0.45589 | -0.080448 | -0.11898 | 158.0046 | 75.1889 | 75.1889 | -22.4733 | -105.5284 | -105.5284 | 0.079318 | 1.4537 | 1.8561 | 0.15861 | 1.413 | 1.8173 | 7.4726 | -155.4869 | 135.4489 | 6.9261 | -154.4285 | 134.5384
Line_3 | 0.50607 | 0.0022431 | 0.0022431 | 0.5066 | 0.0022895 | 0.0022895 | 5.8436 | 0.025901 | 0.025901 | 5.8498 | 0.026436 | 0.026436 | 2.4765e-12 | 0.024211 | -0.023429 | 0.40396 | 0.024354 | -0.024341 | -8.5409e-12 | -0.03023 | -0.043104 | 0.22825 | -0.029729 | -0.042605 | 158.5139 | -105.1228 | -105.1228 | -21.9954 | -104.8111 | -104.8111 | 0 | 1.4953 | 1.8941 | 0.079318 | 1.4537 | 1.8561 | 0 | -156.4319 | 136.3515 | 7.4726 | -155.4869 | 135.4489

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84113 | 0.0093317 | 0.0093317 | 0.84098 | 0.0072889 | 0.0072889 | 9.7125 | 0.10775 | 0.10775 | 9.7108 | 0.084165 | 0.084165 | 5.3591 | 0.10943 | -0.074052 | -4.2461 | -0.085951 | 0.0581 | 4.6008 | -0.045463 | -0.13755 | -3.9781 | 0.043119 | 0.11357 | -33.0153 | -116.6521 | -116.6521 | 147.1237 | 63.9383 | 63.9383 | 0.72721 | 1.0997 | 1.4498 | 0.59918 | 1.1425 | 1.5157 | 7.6312 | -139.2123 | 125.0524 | 10.2571 | -142.7031 | 126.8448
Line_1 | 0.56024 | 0.0012407 | 0.0012407 | 0.56052 | 0.00367 | 0.00367 | 6.4691 | 0.014326 | 0.014326 | 6.4723 | 0.042378 | 0.042378 | -2.3482 | -0.014698 | 0.0098825 | 2.8356 | 0.043236 | -0.029363 | -2.3586 | 0.0081732 | 0.020039 | 2.6455 | -0.021794 | -0.057127 | 147.4912 | 64.2328 | 64.2328 | -32.7556 | -115.9521 | -115.9521 | 0.51448 | 1.1739 | 1.5596 | 0.59918 | 1.1425 | 1.5157 | 12.6172 | -144.8442 | 127.9816 | 10.2571 | -142.7031 | 126.8448
Line_2 | 0.2802 | 0.0012663 | 0.0012663 | 0.28046 | 0.0036189 | 0.0036189 | 3.2355 | 0.014622 | 0.014622 | 3.2385 | 0.041787 | 0.041787 | -1.2953 | -0.014899 | 0.010256 | 1.4105 | 0.042715 | -0.028737 | -1.2522 | 0.0080383 | 0.020012 | 1.3326 | -0.021325 | -0.056442 | 147.3602 | 64.5444 | 64.5444 | -33.1177 | -116.1728 | -116.1728 | 0.55683 | 1.1578 | 1.5379 | 0.59918 | 1.1425 | 1.5157 | 11.3888 | -143.8039 | 127.411 | 10.2571 | -142.7031 | 126.8448
Line_3 | 0.27991 | 0.0012407 | 0.0012407 | 0.2802 | 0.0012663 | 0.0012663 | 3.2321 | 0.014326 | 0.014326 | 3.2355 | 0.014622 | 0.014622 | -1.181 | 0.014698 | -0.0098825 | 1.2953 | 0.014899 | -0.010256 | -1.1706 | -0.0081732 | -0.020039 | 1.2522 | -0.0080383 | -0.020012 | 147.8695 | -115.7672 | -115.7672 | -32.6398 | -115.4556 | -115.4556 | 0.51448 | 1.1739 | 1.5596 | 0.55683 | 1.1578 | 1.5379 | 12.6172 | -144.8442 | 127.9816 | 11.3888 | -143.8039 | 127.411

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84113 | 0.0093317 | 0.0093317 | 0.84098 | 0.0072889 | 0.0072889 | 9.7125 | 0.10775 | 0.10775 | 9.7108 | 0.084165 | 0.084165 | 5.3591 | 0.10943 | -0.074052 | -4.2461 | -0.085951 | 0.0581 | 4.6008 | -0.045463 | -0.13755 | -3.9781 | 0.043119 | 0.11357 | -33.0153 | -116.6521 | -116.6521 | 147.1237 | 63.9383 | 63.9383 | 0.72721 | 1.0997 | 1.4498 | 0.59918 | 1.1425 | 1.5157 | 7.6312 | -139.2123 | 125.0524 | 10.2571 | -142.7031 | 126.8448
Line_1 | 0.56024 | 0.0012407 | 0.0012407 | 0.56052 | 0.00367 | 0.00367 | 6.4691 | 0.014326 | 0.014326 | 6.4723 | 0.042378 | 0.042378 | -2.3482 | -0.014698 | 0.0098825 | 2.8356 | 0.043236 | -0.029363 | -2.3586 | 0.0081732 | 0.020039 | 2.6455 | -0.021794 | -0.057127 | 147.4912 | 64.2328 | 64.2328 | -32.7556 | -115.9521 | -115.9521 | 0.51448 | 1.1739 | 1.5596 | 0.59918 | 1.1425 | 1.5157 | 12.6172 | -144.8442 | 127.9816 | 10.2571 | -142.7031 | 126.8448
Line_2 | 0.2802 | 0.0012663 | 0.0012663 | 0.28046 | 0.0036189 | 0.0036189 | 3.2355 | 0.014622 | 0.014622 | 3.2385 | 0.041787 | 0.041787 | -1.2953 | -0.014899 | 0.010256 | 1.4105 | 0.042715 | -0.028737 | -1.2522 | 0.0080383 | 0.020012 | 1.3326 | -0.021325 | -0.056442 | 147.3602 | 64.5444 | 64.5444 | -33.1177 | -116.1728 | -116.1728 | 0.55683 | 1.1578 | 1.5379 | 0.59918 | 1.1425 | 1.5157 | 11.3888 | -143.8039 | 127.411 | 10.2571 | -142.7031 | 126.8448
Line_3 | 0.27991 | 0.0012407 | 0.0012407 | 0.2802 | 0.0012663 | 0.0012663 | 3.2321 | 0.014326 | 0.014326 | 3.2355 | 0.014622 | 0.014622 | -1.181 | 0.014698 | -0.0098825 | 1.2953 | 0.014899 | -0.010256 | -1.1706 | -0.0081732 | -0.020039 | 1.2522 | -0.0080383 | -0.020012 | 147.8695 | -115.7672 | -115.7672 | -32.6398 | -115.4556 | -115.4556 | 0.51448 | 1.1739 | 1.5596 | 0.55683 | 1.1578 | 1.5379 | 12.6172 | -144.8442 | 127.9816 | 11.3888 | -143.8039 | 127.411

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0841 | 0.014394 | 0.014394 | 1.0839 | 0.011495 | 0.011495 | 12.5183 | 0.16621 | 0.16621 | 12.5162 | 0.13274 | 0.13274 | 5.9463 | 0.14202 | -0.139 | -2.3736 | -0.11331 | 0.11141 | 1.6769 | -0.12688 | -0.18936 | -0.6857 | 0.12774 | 0.17629 | -17.6244 | -102.5338 | -102.5338 | 162.5286 | 77.809 | 77.809 | 0.49354 | 1.1458 | 1.4133 | 0.19739 | 1.2864 | 1.5711 | -1.8755 | -144.3113 | 131.1849 | -1.358 | -150.616 | 135.5165
Line_1 | 0.72213 | 0.0019782 | 0.0019782 | 0.72246 | 0.0058096 | 0.0058096 | 8.3384 | 0.022842 | 0.022842 | 8.3423 | 0.067083 | 0.067083 | -3.2601e-12 | -0.019552 | 0.019143 | 1.5832 | 0.057181 | -0.056422 | 6.6839e-13 | 0.024976 | 0.03322 | 0.45299 | -0.064631 | -0.089019 | 162.9778 | 77.9718 | 77.9718 | -17.325 | -102.1164 | -102.1164 | 0 | 1.3886 | 1.6786 | 0.19739 | 1.2864 | 1.5711 | 0 | -153.9732 | 138.0198 | -1.358 | -150.616 | 135.5165
Line_2 | 0.36116 | 0.00204 | 0.00204 | 0.36148 | 0.0056859 | 0.0056859 | 4.1704 | 0.023556 | 0.023556 | 4.174 | 0.065655 | 0.065655 | -0.39456 | -0.019988 | 0.019947 | 0.79038 | 0.05613 | -0.054991 | -0.11708 | 0.02432 | 0.032678 | 0.23271 | -0.063107 | -0.087269 | 162.8118 | 78.1793 | 78.1793 | -17.7642 | -102.2672 | -102.2672 | 0.098688 | 1.3364 | 1.6252 | 0.19739 | 1.2864 | 1.5711 | -0.65994 | -152.4042 | 136.7784 | -1.358 | -150.616 | 135.5165
Line_3 | 0.36082 | 0.0019782 | 0.0019782 | 0.36116 | 0.00204 | 0.00204 | 4.1664 | 0.022842 | 0.022842 | 4.1704 | 0.023556 | 0.023556 | -1.6262e-12 | 0.019552 | -0.019143 | 0.39456 | 0.019988 | -0.019947 | 3.473e-13 | -0.024976 | -0.03322 | 0.11708 | -0.02432 | -0.032678 | 163.4472 | -102.0282 | -102.0282 | -17.1882 | -101.8207 | -101.8207 | 0 | 1.3886 | 1.6786 | 0.098688 | 1.3364 | 1.6252 | 0 | -153.9732 | 138.0198 | -0.65994 | -152.4042 | 136.7784

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0841 | 0.014394 | 0.014394 | 1.0839 | 0.011495 | 0.011495 | 12.5183 | 0.16621 | 0.16621 | 12.5162 | 0.13274 | 0.13274 | 5.9463 | 0.14202 | -0.139 | -2.3736 | -0.11331 | 0.11141 | 1.6769 | -0.12688 | -0.18936 | -0.6857 | 0.12774 | 0.17629 | -17.6244 | -102.5338 | -102.5338 | 162.5286 | 77.809 | 77.809 | 0.49354 | 1.1458 | 1.4133 | 0.19739 | 1.2864 | 1.5711 | -1.8755 | -144.3113 | 131.1849 | -1.358 | -150.616 | 135.5165
Line_1 | 0.72213 | 0.0019782 | 0.0019782 | 0.72246 | 0.0058096 | 0.0058096 | 8.3384 | 0.022842 | 0.022842 | 8.3423 | 0.067083 | 0.067083 | -3.2601e-12 | -0.019552 | 0.019143 | 1.5832 | 0.057181 | -0.056422 | 6.6839e-13 | 0.024976 | 0.03322 | 0.45299 | -0.064631 | -0.089019 | 162.9778 | 77.9718 | 77.9718 | -17.325 | -102.1164 | -102.1164 | 0 | 1.3886 | 1.6786 | 0.19739 | 1.2864 | 1.5711 | 0 | -153.9732 | 138.0198 | -1.358 | -150.616 | 135.5165
Line_2 | 0.36116 | 0.00204 | 0.00204 | 0.36148 | 0.0056859 | 0.0056859 | 4.1704 | 0.023556 | 0.023556 | 4.174 | 0.065655 | 0.065655 | -0.39456 | -0.019988 | 0.019947 | 0.79038 | 0.05613 | -0.054991 | -0.11708 | 0.02432 | 0.032678 | 0.23271 | -0.063107 | -0.087269 | 162.8118 | 78.1793 | 78.1793 | -17.7642 | -102.2672 | -102.2672 | 0.098688 | 1.3364 | 1.6252 | 0.19739 | 1.2864 | 1.5711 | -0.65994 | -152.4042 | 136.7784 | -1.358 | -150.616 | 135.5165
Line_3 | 0.36082 | 0.0019782 | 0.0019782 | 0.36116 | 0.00204 | 0.00204 | 4.1664 | 0.022842 | 0.022842 | 4.1704 | 0.023556 | 0.023556 | -1.6262e-12 | 0.019552 | -0.019143 | 0.39456 | 0.019988 | -0.019947 | 3.473e-13 | -0.024976 | -0.03322 | 0.11708 | -0.02432 | -0.032678 | 163.4472 | -102.0282 | -102.0282 | -17.1882 | -101.8207 | -101.8207 | 0 | 1.3886 | 1.6786 | 0.098688 | 1.3364 | 1.6252 | 0 | -153.9732 | 138.0198 | -0.65994 | -152.4042 | 136.7784

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67113 | 0.008911 | 0.008911 | 0.67102 | 0.0071163 | 0.0071163 | 7.7495 | 0.1029 | 0.1029 | 7.7482 | 0.082172 | 0.082172 | 4.4985 | 0.09594 | -0.067255 | -3.135 | -0.076613 | 0.054055 | 2.9219 | -0.040806 | -0.11243 | -2.5357 | 0.042907 | 0.099324 | -28.7863 | -113.6957 | -113.6957 | 151.3666 | 66.6471 | 66.6471 | 0.69218 | 1.0132 | 1.2732 | 0.52039 | 1.0686 | 1.3761 | 4.2183 | -136.7372 | 125.4166 | 10.3338 | -142.6038 | 128.091
Line_1 | 0.44704 | 0.0012246 | 0.0012246 | 0.44724 | 0.0035965 | 0.0035965 | 5.1619 | 0.01414 | 0.01414 | 5.1643 | 0.041528 | 0.041528 | -1.4944 | -0.013207 | 0.0093061 | 2.0938 | 0.03869 | -0.027383 | -1.5025 | 0.0085472 | 0.018192 | 1.6847 | -0.021735 | -0.050161 | 151.8159 | 66.8099 | 66.8099 | -28.4869 | -113.2783 | -113.2783 | 0.41053 | 1.1125 | 1.4451 | 0.52039 | 1.0686 | 1.3761 | 16.9723 | -146.1003 | 129.7176 | 10.3338 | -142.6038 | 128.091
Line_2 | 0.22358 | 0.0012629 | 0.0012629 | 0.22378 | 0.0035199 | 0.0035199 | 2.5817 | 0.014583 | 0.014583 | 2.5839 | 0.040644 | 0.040644 | -0.89642 | -0.013557 | 0.0096964 | 1.0411 | 0.037923 | -0.026671 | -0.79852 | 0.0082851 | 0.018147 | 0.85095 | -0.021172 | -0.049163 | 151.6499 | 67.0174 | 67.0174 | -28.9261 | -113.4291 | -113.4291 | 0.465 | 1.0895 | 1.4109 | 0.52039 | 1.0686 | 1.3761 | 13.3441 | -144.4138 | 128.9008 | 10.3338 | -142.6038 | 128.091
Line_3 | 0.22337 | 0.0012246 | 0.0012246 | 0.22358 | 0.0012629 | 0.0012629 | 2.5792 | 0.01414 | 0.01414 | 2.5817 | 0.014583 | 0.014583 | -0.7528 | 0.013207 | -0.0093061 | 0.89642 | 0.013557 | -0.0096964 | -0.74462 | -0.0085472 | -0.018192 | 0.79852 | -0.0082851 | -0.018147 | 152.2853 | -113.1901 | -113.1901 | -28.3501 | -112.9826 | -112.9826 | 0.41053 | 1.1125 | 1.4451 | 0.465 | 1.0895 | 1.4109 | 16.9723 | -146.1003 | 129.7176 | 13.3441 | -144.4138 | 128.9008

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67113 | 0.008911 | 0.008911 | 0.67102 | 0.0071163 | 0.0071163 | 7.7495 | 0.1029 | 0.1029 | 7.7482 | 0.082172 | 0.082172 | 4.4985 | 0.09594 | -0.067255 | -3.135 | -0.076613 | 0.054055 | 2.9219 | -0.040806 | -0.11243 | -2.5357 | 0.042907 | 0.099324 | -28.7863 | -113.6957 | -113.6957 | 151.3666 | 66.6471 | 66.6471 | 0.69218 | 1.0132 | 1.2732 | 0.52039 | 1.0686 | 1.3761 | 4.2183 | -136.7372 | 125.4166 | 10.3338 | -142.6038 | 128.091
Line_1 | 0.44704 | 0.0012246 | 0.0012246 | 0.44724 | 0.0035965 | 0.0035965 | 5.1619 | 0.01414 | 0.01414 | 5.1643 | 0.041528 | 0.041528 | -1.4944 | -0.013207 | 0.0093061 | 2.0938 | 0.03869 | -0.027383 | -1.5025 | 0.0085472 | 0.018192 | 1.6847 | -0.021735 | -0.050161 | 151.8159 | 66.8099 | 66.8099 | -28.4869 | -113.2783 | -113.2783 | 0.41053 | 1.1125 | 1.4451 | 0.52039 | 1.0686 | 1.3761 | 16.9723 | -146.1003 | 129.7176 | 10.3338 | -142.6038 | 128.091
Line_2 | 0.22358 | 0.0012629 | 0.0012629 | 0.22378 | 0.0035199 | 0.0035199 | 2.5817 | 0.014583 | 0.014583 | 2.5839 | 0.040644 | 0.040644 | -0.89642 | -0.013557 | 0.0096964 | 1.0411 | 0.037923 | -0.026671 | -0.79852 | 0.0082851 | 0.018147 | 0.85095 | -0.021172 | -0.049163 | 151.6499 | 67.0174 | 67.0174 | -28.9261 | -113.4291 | -113.4291 | 0.465 | 1.0895 | 1.4109 | 0.52039 | 1.0686 | 1.3761 | 13.3441 | -144.4138 | 128.9008 | 10.3338 | -142.6038 | 128.091
Line_3 | 0.22337 | 0.0012246 | 0.0012246 | 0.22358 | 0.0012629 | 0.0012629 | 2.5792 | 0.01414 | 0.01414 | 2.5817 | 0.014583 | 0.014583 | -0.7528 | 0.013207 | -0.0093061 | 0.89642 | 0.013557 | -0.0096964 | -0.74462 | -0.0085472 | -0.018192 | 0.79852 | -0.0082851 | -0.018147 | 152.2853 | -113.1901 | -113.1901 | -28.3501 | -112.9826 | -112.9826 | 0.41053 | 1.1125 | 1.4451 | 0.465 | 1.0895 | 1.4109 | 16.9723 | -146.1003 | 129.7176 | 13.3441 | -144.4138 | 128.9008

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095025 | 3.5852 | 2.8369 | 0.0074223 | 3.586 | 2.8359 | 0.10973 | 41.3986 | 32.7579 | 0.085705 | 41.4072 | 32.7465 | 0.002435 | 16.6737 | 2.7371 | -0.0014892 | -6.6721 | -1.0903 | -0.1601 | 11.6467 | 9.2669 | 0.13204 | -4.6829 | -3.685 | 84.4577 | -166.8376 | 20.6952 | -94.9519 | 13.1935 | -159.3419 | 1.4593 | 0.49129 | 0.29497 | 1.5407 | 0.19686 | 0.11735 | -4.6709 | -131.903 | 94.24 | -4.3057 | -131.7429 | 94.1754
Line_1 | 0.0012634 | 2.3918 | 1.889 | 0.0037372 | 2.391 | 1.8901 | 0.014588 | 27.6181 | 21.8126 | 0.043153 | 27.6092 | 21.8249 | -0.00024805 | 4.653e-11 | 4.2134e-11 | 0.00062269 | 4.4503 | 0.72527 | 0.023263 | -3.2305e-11 | 1.3632e-11 | -0.066486 | 3.1203 | 2.4564 | -94.6574 | 13.2773 | -159.4426 | 85.1576 | -166.779 | 20.6251 | 1.5947 | 0 | 0 | 1.5407 | 0.19686 | 0.11735 | -4.0465 | 0 | 0 | -4.3057 | -131.7429 | 94.1754
Line_2 | 0.0012895 | 1.1957 | 0.94479 | 0.0036851 | 1.1949 | 0.94584 | 0.01489 | 13.8068 | 10.9095 | 0.042552 | 13.798 | 10.9216 | -6.4106e-05 | -1.1127 | -0.18062 | 0.00086655 | 2.2218 | 0.36506 | 0.023345 | -0.78556 | -0.60939 | -0.065556 | 1.5626 | 1.2286 | -94.3458 | 13.2472 | -159.4063 | 84.9369 | -166.8616 | 20.7241 | 1.5679 | 0.098654 | 0.058261 | 1.5407 | 0.19686 | 0.11735 | -4.1884 | -131.532 | 94.0844 | -4.3057 | -131.7429 | 94.1754
Line_3 | 0.0012634 | 1.1965 | 0.94371 | 0.0012895 | 1.1957 | 0.94479 | 0.014588 | 13.8158 | 10.897 | 0.01489 | 13.8068 | 10.9095 | 0.00024804 | 2.3252e-11 | 2.1036e-11 | 6.4104e-05 | 1.1127 | 0.18062 | -0.023263 | -1.6196e-11 | 6.8483e-12 | -0.023345 | 0.78556 | 0.60939 | 85.3426 | 13.3637 | -159.5466 | 85.6542 | -166.7528 | 20.5937 | 1.5947 | 0 | 0 | 1.5679 | 0.098654 | 0.058261 | -4.0465 | 0 | 0 | -4.1884 | -131.532 | 94.0844

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095025 | 3.5852 | 2.8369 | 0.0074223 | 3.586 | 2.8359 | 0.10973 | 41.3986 | 32.7579 | 0.085705 | 41.4072 | 32.7465 | 0.002435 | 16.6737 | 2.7371 | -0.0014892 | -6.6721 | -1.0903 | -0.1601 | 11.6467 | 9.2669 | 0.13204 | -4.6829 | -3.685 | 84.4577 | -166.8376 | 20.6952 | -94.9519 | 13.1935 | -159.3419 | 1.4593 | 0.49129 | 0.29497 | 1.5407 | 0.19686 | 0.11735 | -4.6709 | -131.903 | 94.24 | -4.3057 | -131.7429 | 94.1754
Line_1 | 0.0012634 | 2.3918 | 1.889 | 0.0037372 | 2.391 | 1.8901 | 0.014588 | 27.6181 | 21.8126 | 0.043153 | 27.6092 | 21.8249 | -0.00024805 | 4.653e-11 | 4.2134e-11 | 0.00062269 | 4.4503 | 0.72527 | 0.023263 | -3.2305e-11 | 1.3632e-11 | -0.066486 | 3.1203 | 2.4564 | -94.6574 | 13.2773 | -159.4426 | 85.1576 | -166.779 | 20.6251 | 1.5947 | 0 | 0 | 1.5407 | 0.19686 | 0.11735 | -4.0465 | 0 | 0 | -4.3057 | -131.7429 | 94.1754
Line_2 | 0.0012895 | 1.1957 | 0.94479 | 0.0036851 | 1.1949 | 0.94584 | 0.01489 | 13.8068 | 10.9095 | 0.042552 | 13.798 | 10.9216 | -6.4106e-05 | -1.1127 | -0.18062 | 0.00086655 | 2.2218 | 0.36506 | 0.023345 | -0.78556 | -0.60939 | -0.065556 | 1.5626 | 1.2286 | -94.3458 | 13.2472 | -159.4063 | 84.9369 | -166.8616 | 20.7241 | 1.5679 | 0.098654 | 0.058261 | 1.5407 | 0.19686 | 0.11735 | -4.1884 | -131.532 | 94.0844 | -4.3057 | -131.7429 | 94.1754
Line_3 | 0.0012634 | 1.1965 | 0.94371 | 0.0012895 | 1.1957 | 0.94479 | 0.014588 | 13.8158 | 10.897 | 0.01489 | 13.8068 | 10.9095 | 0.00024804 | 2.3252e-11 | 2.1036e-11 | 6.4104e-05 | 1.1127 | 0.18062 | -0.023263 | -1.6196e-11 | 6.8483e-12 | -0.023345 | 0.78556 | 0.60939 | 85.3426 | 13.3637 | -159.5466 | 85.6542 | -166.7528 | 20.5937 | 1.5947 | 0 | 0 | 1.5679 | 0.098654 | 0.058261 | -4.0465 | 0 | 0 | -4.1884 | -131.532 | 94.0844

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066875 | 1.2585 | 0.95672 | 0.0052235 | 1.2595 | 0.95535 | 0.077221 | 14.5318 | 11.0473 | 0.060316 | 14.5432 | 11.0314 | 0.019227 | 10.469 | 4.8118 | -0.014636 | -8.9523 | -4.647 | -0.10134 | 8.8071 | 6.3418 | 0.082759 | -8.3149 | -5.2491 | 73.7322 | -156.0924 | 51.4664 | -105.6775 | 23.9569 | -128.5639 | 1.3357 | 0.94144 | 0.7206 | 1.3934 | 0.84012 | 0.63551 | -5.5243 | -116.0201 | 104.2776 | -5.6485 | -113.157 | 99.9173
Line_1 | 0.00088912 | 0.84131 | 0.63451 | 0.0026301 | 0.8402 | 0.63611 | 0.010267 | 9.7146 | 7.3267 | 0.03037 | 9.7018 | 7.3452 | -0.0024733 | -5.3078 | -3.0173 | 0.0072895 | 5.9764 | 3.0924 | 0.014489 | -5.3164 | -3.0139 | -0.041684 | 5.5422 | 3.4966 | -105.3829 | 24.0927 | -128.6546 | 74.4321 | -155.9985 | 51.4067 | 1.4317 | 0.77331 | 0.58208 | 1.3934 | 0.84012 | 0.63551 | -5.6959 | -110.8606 | 96.3137 | -5.6485 | -113.157 | 99.9173
Line_2 | 0.00090749 | 0.42037 | 0.31768 | 0.0025934 | 0.41928 | 0.31924 | 0.010479 | 4.854 | 3.6682 | 0.029946 | 4.8414 | 3.6862 | -0.0024142 | -2.8214 | -1.5268 | 0.0073461 | 2.9759 | 1.5546 | 0.014604 | -2.716 | -1.6268 | -0.041075 | 2.7727 | 1.7524 | -105.0713 | 24.0436 | -128.6208 | 74.2114 | -156.1323 | 51.4948 | 1.4126 | 0.80682 | 0.6082 | 1.3934 | 0.84012 | 0.63551 | -5.6844 | -112.0463 | 98.1956 | -5.6485 | -113.157 | 99.9173
Line_3 | 0.00088912 | 0.4215 | 0.31603 | 0.00090749 | 0.42037 | 0.31768 | 0.010267 | 4.8671 | 3.6492 | 0.010479 | 4.854 | 3.6682 | 0.0024733 | -2.6657 | -1.5003 | 0.0024142 | 2.8214 | 1.5268 | -0.014489 | -2.6571 | -1.5037 | -0.014604 | 2.716 | 1.6268 | 74.6171 | 24.2327 | -128.7501 | 74.9287 | -155.9564 | 51.3792 | 1.4317 | 0.77331 | 0.58208 | 1.4126 | 0.80682 | 0.6082 | -5.6959 | -110.8606 | 96.3137 | -5.6844 | -112.0463 | 98.1956

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066875 | 1.2585 | 0.95672 | 0.0052235 | 1.2595 | 0.95535 | 0.077221 | 14.5318 | 11.0473 | 0.060316 | 14.5432 | 11.0314 | 0.019227 | 10.469 | 4.8118 | -0.014636 | -8.9523 | -4.647 | -0.10134 | 8.8071 | 6.3418 | 0.082759 | -8.3149 | -5.2491 | 73.7322 | -156.0924 | 51.4664 | -105.6775 | 23.9569 | -128.5639 | 1.3357 | 0.94144 | 0.7206 | 1.3934 | 0.84012 | 0.63551 | -5.5243 | -116.0201 | 104.2776 | -5.6485 | -113.157 | 99.9173
Line_1 | 0.00088912 | 0.84131 | 0.63451 | 0.0026301 | 0.8402 | 0.63611 | 0.010267 | 9.7146 | 7.3267 | 0.03037 | 9.7018 | 7.3452 | -0.0024733 | -5.3078 | -3.0173 | 0.0072895 | 5.9764 | 3.0924 | 0.014489 | -5.3164 | -3.0139 | -0.041684 | 5.5422 | 3.4966 | -105.3829 | 24.0927 | -128.6546 | 74.4321 | -155.9985 | 51.4067 | 1.4317 | 0.77331 | 0.58208 | 1.3934 | 0.84012 | 0.63551 | -5.6959 | -110.8606 | 96.3137 | -5.6485 | -113.157 | 99.9173
Line_2 | 0.00090749 | 0.42037 | 0.31768 | 0.0025934 | 0.41928 | 0.31924 | 0.010479 | 4.854 | 3.6682 | 0.029946 | 4.8414 | 3.6862 | -0.0024142 | -2.8214 | -1.5268 | 0.0073461 | 2.9759 | 1.5546 | 0.014604 | -2.716 | -1.6268 | -0.041075 | 2.7727 | 1.7524 | -105.0713 | 24.0436 | -128.6208 | 74.2114 | -156.1323 | 51.4948 | 1.4126 | 0.80682 | 0.6082 | 1.3934 | 0.84012 | 0.63551 | -5.6844 | -112.0463 | 98.1956 | -5.6485 | -113.157 | 99.9173
Line_3 | 0.00088912 | 0.4215 | 0.31603 | 0.00090749 | 0.42037 | 0.31768 | 0.010267 | 4.8671 | 3.6492 | 0.010479 | 4.854 | 3.6682 | 0.0024733 | -2.6657 | -1.5003 | 0.0024142 | 2.8214 | 1.5268 | -0.014489 | -2.6571 | -1.5037 | -0.014604 | 2.716 | 1.6268 | 74.6171 | 24.2327 | -128.7501 | 74.9287 | -155.9564 | 51.3792 | 1.4317 | 0.77331 | 0.58208 | 1.4126 | 0.80682 | 0.6082 | -5.6959 | -110.8606 | 96.3137 | -5.6844 | -112.0463 | 98.1956

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081484 | 2.8555 | 2.3702 | 0.0065073 | 2.8563 | 2.3692 | 0.094089 | 32.9722 | 27.3693 | 0.07514 | 32.9815 | 27.3577 | 0.0015595 | 18.9754 | 5.2189 | -0.00083912 | -7.6028 | -2.0733 | -0.11851 | 5.417 | 8.3094 | 0.1029 | -2.1955 | -3.2984 | 85.822 | -156.1419 | 32.1682 | -93.8352 | 23.8868 | -147.8632 | 1.2597 | 0.59849 | 0.35852 | 1.3694 | 0.23994 | 0.14241 | -3.4241 | -140.2092 | 90.0362 | -3.368 | -140.0056 | 89.9842
Line_1 | 0.0011198 | 1.9057 | 1.5776 | 0.0032887 | 1.9047 | 1.5789 | 0.01293 | 22.005 | 18.2166 | 0.037974 | 21.9933 | 18.2313 | -0.00013109 | -1.0068e-10 | 5.1292e-13 | 0.00035637 | 5.0706 | 1.3805 | 0.018648 | -8.0963e-11 | -1.0678e-10 | -0.052002 | 1.4616 | 2.1988 | -93.6725 | 23.9724 | -147.9578 | 86.2394 | -156.0853 | 32.106 | 1.4423 | 0 | 0 | 1.3694 | 0.23994 | 0.14241 | -3.2697 | 0 | 0 | -3.368 | -140.0056 | 89.9842
Line_2 | 0.0011548 | 0.95257 | 0.78915 | 0.0032187 | 0.9516 | 0.79037 | 0.013335 | 10.9994 | 9.1123 | 0.037166 | 10.9882 | 9.1264 | -3.9325e-05 | -1.2702 | -0.34217 | 0.00048274 | 2.5323 | 0.69283 | 0.018748 | -0.37211 | -0.54402 | -0.050894 | 0.73393 | 1.0996 | -93.465 | 23.9406 | -147.9225 | 86.0885 | -156.169 | 32.1982 | 1.406 | 0.12033 | 0.070529 | 1.3694 | 0.23994 | 0.14241 | -3.3448 | -139.7313 | 89.9089 | -3.368 | -140.0056 | 89.9842
Line_3 | 0.0011198 | 0.95363 | 0.78782 | 0.0011548 | 0.95257 | 0.78915 | 0.01293 | 11.0115 | 9.097 | 0.013335 | 10.9994 | 9.1123 | 0.00013109 | -5.0443e-11 | 3.4845e-13 | 3.9323e-05 | 1.2702 | 0.34217 | -0.018648 | -4.0436e-11 | -5.3323e-11 | -0.018748 | 0.37211 | 0.54402 | 86.3276 | 24.0618 | -148.0569 | 86.535 | -156.0594 | 32.0775 | 1.4423 | 0 | 0 | 1.406 | 0.12033 | 0.070529 | -3.2697 | 0 | 0 | -3.3448 | -139.7313 | 89.9089

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081484 | 2.8555 | 2.3702 | 0.0065073 | 2.8563 | 2.3692 | 0.094089 | 32.9722 | 27.3693 | 0.07514 | 32.9815 | 27.3577 | 0.0015595 | 18.9754 | 5.2189 | -0.00083912 | -7.6028 | -2.0733 | -0.11851 | 5.417 | 8.3094 | 0.1029 | -2.1955 | -3.2984 | 85.822 | -156.1419 | 32.1682 | -93.8352 | 23.8868 | -147.8632 | 1.2597 | 0.59849 | 0.35852 | 1.3694 | 0.23994 | 0.14241 | -3.4241 | -140.2092 | 90.0362 | -3.368 | -140.0056 | 89.9842
Line_1 | 0.0011198 | 1.9057 | 1.5776 | 0.0032887 | 1.9047 | 1.5789 | 0.01293 | 22.005 | 18.2166 | 0.037974 | 21.9933 | 18.2313 | -0.00013109 | -1.0068e-10 | 5.1292e-13 | 0.00035637 | 5.0706 | 1.3805 | 0.018648 | -8.0963e-11 | -1.0678e-10 | -0.052002 | 1.4616 | 2.1988 | -93.6725 | 23.9724 | -147.9578 | 86.2394 | -156.0853 | 32.106 | 1.4423 | 0 | 0 | 1.3694 | 0.23994 | 0.14241 | -3.2697 | 0 | 0 | -3.368 | -140.0056 | 89.9842
Line_2 | 0.0011548 | 0.95257 | 0.78915 | 0.0032187 | 0.9516 | 0.79037 | 0.013335 | 10.9994 | 9.1123 | 0.037166 | 10.9882 | 9.1264 | -3.9325e-05 | -1.2702 | -0.34217 | 0.00048274 | 2.5323 | 0.69283 | 0.018748 | -0.37211 | -0.54402 | -0.050894 | 0.73393 | 1.0996 | -93.465 | 23.9406 | -147.9225 | 86.0885 | -156.169 | 32.1982 | 1.406 | 0.12033 | 0.070529 | 1.3694 | 0.23994 | 0.14241 | -3.3448 | -139.7313 | 89.9089 | -3.368 | -140.0056 | 89.9842
Line_3 | 0.0011198 | 0.95363 | 0.78782 | 0.0011548 | 0.95257 | 0.78915 | 0.01293 | 11.0115 | 9.097 | 0.013335 | 10.9994 | 9.1123 | 0.00013109 | -5.0443e-11 | 3.4845e-13 | 3.9323e-05 | 1.2702 | 0.34217 | -0.018648 | -4.0436e-11 | -5.3323e-11 | -0.018748 | 0.37211 | 0.54402 | 86.3276 | 24.0618 | -148.0569 | 86.535 | -156.0594 | 32.0775 | 1.4423 | 0 | 0 | 1.406 | 0.12033 | 0.070529 | -3.2697 | 0 | 0 | -3.3448 | -139.7313 | 89.9089

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061692 | 1.0661 | 0.82959 | 0.0049268 | 1.0669 | 0.82844 | 0.071236 | 12.31 | 9.5793 | 0.056889 | 12.3198 | 9.566 | 0.014088 | 8.8759 | 4.001 | -0.010944 | -6.9737 | -3.6436 | -0.08329 | 5.7626 | 5.2737 | 0.071308 | -5.7493 | -4.1461 | 76.0912 | -151.834 | 52.7631 | -103.5661 | 28.2145 | -127.269 | 1.1858 | 0.85967 | 0.69104 | 1.2681 | 0.73362 | 0.577 | -4.3084 | -118.8407 | 105.5769 | -4.8404 | -112.2826 | 101.4214
Line_1 | 0.0008478 | 0.71291 | 0.55006 | 0.0024899 | 0.71182 | 0.55156 | 0.0097896 | 8.232 | 6.3516 | 0.028751 | 8.2194 | 6.3689 | -0.0018697 | -3.8115 | -2.2675 | 0.0054841 | 4.6558 | 2.4243 | 0.012816 | -3.8182 | -2.2646 | -0.036045 | 3.8318 | 2.7618 | -103.4033 | 28.3604 | -127.3708 | 76.5085 | -151.738 | 52.6981 | 1.323 | 0.65537 | 0.50455 | 1.2681 | 0.73362 | 0.577 | -5.1032 | -106.5888 | 97.5933 | -4.8404 | -112.2826 | 101.4214
Line_2 | 0.00087432 | 0.35616 | 0.27544 | 0.0024369 | 0.35511 | 0.27687 | 0.010096 | 4.1126 | 3.1805 | 0.028139 | 4.1005 | 3.1971 | -0.0018652 | -2.1177 | -1.1717 | 0.0054602 | 2.3179 | 1.2193 | 0.012946 | -1.9142 | -1.2556 | -0.035263 | 1.9174 | 1.3843 | -103.1958 | 28.306 | -127.3322 | 76.3577 | -151.8808 | 52.7965 | 1.2956 | 0.69413 | 0.53997 | 1.2681 | 0.73362 | 0.577 | -4.9974 | -109.5833 | 99.6466 | -4.8404 | -112.2826 | 101.4214
Line_3 | 0.0008478 | 0.3573 | 0.27387 | 0.00087432 | 0.35616 | 0.27544 | 0.0097896 | 4.1258 | 3.1624 | 0.010096 | 4.1126 | 3.1805 | 0.0018697 | -1.9153 | -1.1268 | 0.0018652 | 2.1177 | 1.1717 | -0.012816 | -1.9086 | -1.1297 | -0.012946 | 1.9142 | 1.2556 | 76.5967 | 28.5125 | -127.4789 | 76.8042 | -151.694 | 52.6678 | 1.323 | 0.65537 | 0.50455 | 1.2956 | 0.69413 | 0.53997 | -5.1032 | -106.5888 | 97.5933 | -4.9974 | -109.5833 | 99.6466

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061692 | 1.0661 | 0.82959 | 0.0049268 | 1.0669 | 0.82844 | 0.071236 | 12.31 | 9.5793 | 0.056889 | 12.3198 | 9.566 | 0.014088 | 8.8759 | 4.001 | -0.010944 | -6.9737 | -3.6436 | -0.08329 | 5.7626 | 5.2737 | 0.071308 | -5.7493 | -4.1461 | 76.0912 | -151.834 | 52.7631 | -103.5661 | 28.2145 | -127.269 | 1.1858 | 0.85967 | 0.69104 | 1.2681 | 0.73362 | 0.577 | -4.3084 | -118.8407 | 105.5769 | -4.8404 | -112.2826 | 101.4214
Line_1 | 0.0008478 | 0.71291 | 0.55006 | 0.0024899 | 0.71182 | 0.55156 | 0.0097896 | 8.232 | 6.3516 | 0.028751 | 8.2194 | 6.3689 | -0.0018697 | -3.8115 | -2.2675 | 0.0054841 | 4.6558 | 2.4243 | 0.012816 | -3.8182 | -2.2646 | -0.036045 | 3.8318 | 2.7618 | -103.4033 | 28.3604 | -127.3708 | 76.5085 | -151.738 | 52.6981 | 1.323 | 0.65537 | 0.50455 | 1.2681 | 0.73362 | 0.577 | -5.1032 | -106.5888 | 97.5933 | -4.8404 | -112.2826 | 101.4214
Line_2 | 0.00087432 | 0.35616 | 0.27544 | 0.0024369 | 0.35511 | 0.27687 | 0.010096 | 4.1126 | 3.1805 | 0.028139 | 4.1005 | 3.1971 | -0.0018652 | -2.1177 | -1.1717 | 0.0054602 | 2.3179 | 1.2193 | 0.012946 | -1.9142 | -1.2556 | -0.035263 | 1.9174 | 1.3843 | -103.1958 | 28.306 | -127.3322 | 76.3577 | -151.8808 | 52.7965 | 1.2956 | 0.69413 | 0.53997 | 1.2681 | 0.73362 | 0.577 | -4.9974 | -109.5833 | 99.6466 | -4.8404 | -112.2826 | 101.4214
Line_3 | 0.0008478 | 0.3573 | 0.27387 | 0.00087432 | 0.35616 | 0.27544 | 0.0097896 | 4.1258 | 3.1624 | 0.010096 | 4.1126 | 3.1805 | 0.0018697 | -1.9153 | -1.1268 | 0.0018652 | 2.1177 | 1.1717 | -0.012816 | -1.9086 | -1.1297 | -0.012946 | 1.9142 | 1.2556 | 76.5967 | 28.5125 | -127.4789 | 76.8042 | -151.694 | 52.6678 | 1.323 | 0.65537 | 0.50455 | 1.2956 | 0.69413 | 0.53997 | -5.1032 | -106.5888 | 97.5933 | -4.9974 | -109.5833 | 99.6466