## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5508e-16 | -9.0004e-15 | 1.6856e-15 | -6.0099e-15 | 9.4987e-15 | -4.9222e-15 | -1.1255e-14 | 1.1331e-14 | -1.5845e-14 | 1.6754e-14 | 2.0009e-15 | 1.0789e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5508e-16 | -9.0004e-15 | 1.6856e-15 | -6.0099e-15 | 9.4987e-15 | -4.9222e-15 | -1.1255e-14 | 1.1331e-14 | -1.5845e-14 | 1.6754e-14 | 2.0009e-15 | 1.0789e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7612e-15 | 9.6656e-15 | -9.6075e-16 | -2.765e-15 | 9.6661e-16 | -9.6075e-16 | -2.7688e-15 | -4.6074e-15 | 1.736e-15 | -3.8159e-18 | 4.414e-15 | 1.736e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7612e-15 | 9.6656e-15 | -9.6075e-16 | -2.765e-15 | 9.6661e-16 | -9.6075e-16 | -2.7688e-15 | -4.6074e-15 | 1.736e-15 | -3.8159e-18 | 4.414e-15 | 1.736e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.2545e-15 | 2.1868e-15 | -8.4844e-16 | 4.8363e-15 | 1.6332e-15 | 4.5894e-15 | -2.8929e-16 | -2.6139e-15 | 4.252e-15 | 1.9286e-16 | 1.2919e-14 | -5.274e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.2545e-15 | 2.1868e-15 | -8.4844e-16 | 4.8363e-15 | 1.6332e-15 | 4.5894e-15 | -2.8929e-16 | -2.6139e-15 | 4.252e-15 | 1.9286e-16 | 1.2919e-14 | -5.274e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3095e-15 | -2.3329e-15 | 1.018e-15 | 2.0534e-15 | -7.2177e-16 | -3.4947e-15 | -3.5945e-15 | -2.2994e-15 | -1.8661e-15 | 1.2199e-15 | 6.9539e-15 | -6.9572e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3095e-15 | -2.3329e-15 | 1.018e-15 | 2.0534e-15 | -7.2177e-16 | -3.4947e-15 | -3.5945e-15 | -2.2994e-15 | -1.8661e-15 | 1.2199e-15 | 6.9539e-15 | -6.9572e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7618 | 0.69332 | 0.817 | 1.7646 | 0.69635 | 0.81909 | 20.3433 | 8.0058 | 9.4339 | 20.3755 | 8.0408 | 9.458 | 7.0299e-11 | -3.2876 | 15.971 | 7.5429 | 5.7273 | -12.7714 | -7.4791e-11 | 10.8688 | -0.71493 | 3.7866 | -9.4403 | 0.9759 | 117.453 | 106.9172 | 137.5501 | -62.5981 | -73.1683 | -42.6205 |  | 0 | 1.4184 | 1.6946 | 0.41422 | 1.3732 | 1.3543 | 0 | -146.2534 | 134.9871 | -35.9413 | -131.9236 | 133.0099
Line_1 | 0.88451 | 0.35042 | 0.41153 | 0.88229 | 0.34818 | 0.40954 | 10.2135 | 4.0463 | 4.7519 | 10.1878 | 4.0204 | 4.729 | 5.677 | 3.4897 | -5.6006 | -3.7715 | -2.8637 | 6.3857 | 2.8497 | -4.3806 | 0.55209 | -1.8933 | 4.7201 | -0.48795 | -62.6191 | -73.1535 | -42.7687 | 117.4019 | 106.8317 | 137.3795 |  | 0.62194 | 1.3841 | 1.1843 | 0.41422 | 1.3732 | 1.3543 | -35.9638 | -124.612 | 131.6014 | -35.9413 | -131.9236 | 133.0099
Line_2 | 0.88451 | 0.35042 | 0.41153 | 0.88229 | 0.34818 | 0.40954 | 10.2135 | 4.0463 | 4.7519 | 10.1878 | 4.0204 | 4.729 | 5.677 | 3.4897 | -5.6006 | -3.7715 | -2.8637 | 6.3857 | 2.8497 | -4.3806 | 0.55209 | -1.8933 | 4.7201 | -0.48795 | -62.6191 | -73.1535 | -42.7687 | 117.4019 | 106.8317 | 137.3795 |  | 0.62194 | 1.3841 | 1.1843 | 0.41422 | 1.3732 | 1.3543 | -35.9638 | -124.612 | 131.6014 | -35.9413 | -131.9236 | 133.0099
Line_3 | 0.0010191 | 0.0010191 | 0.0010191 | 0.0010191 | 0.0010191 | 0.0010191 | 0.011768 | 0.011768 | 0.011768 | 0.011768 | 0.011768 | 0.011768 | 0.0066873 | 0.0069676 | -0.013655 | 0.0066873 | 0.0069676 | -0.013655 | 0.0029738 | -0.014723 | -0.002788 | 0.0029738 | -0.014723 | -0.002788 | -59.9382 | -59.9382 | -59.9382 | -59.9382 | -59.9382 | -59.9382 |  | 0.62194 | 1.3841 | 1.1843 | 0.62194 | 1.3841 | 1.1843 | -35.9638 | -124.612 | 131.6014 | -35.9638 | -124.612 | 131.6014

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7618 | 0.69332 | 0.817 | 1.7646 | 0.69635 | 0.81909 | 20.3433 | 8.0058 | 9.4339 | 20.3755 | 8.0408 | 9.458 | 7.0299e-11 | -3.2876 | 15.971 | 7.5429 | 5.7273 | -12.7714 | -7.4791e-11 | 10.8688 | -0.71493 | 3.7866 | -9.4403 | 0.9759 | 117.453 | 106.9172 | 137.5501 | -62.5981 | -73.1683 | -42.6205 |  | 0 | 1.4184 | 1.6946 | 0.41422 | 1.3732 | 1.3543 | 0 | -146.2534 | 134.9871 | -35.9413 | -131.9236 | 133.0099
Line_1 | 0.88451 | 0.35042 | 0.41153 | 0.88229 | 0.34818 | 0.40954 | 10.2135 | 4.0463 | 4.7519 | 10.1878 | 4.0204 | 4.729 | 5.677 | 3.4897 | -5.6006 | -3.7715 | -2.8637 | 6.3857 | 2.8497 | -4.3806 | 0.55209 | -1.8933 | 4.7201 | -0.48795 | -62.6191 | -73.1535 | -42.7687 | 117.4019 | 106.8317 | 137.3795 |  | 0.62194 | 1.3841 | 1.1843 | 0.41422 | 1.3732 | 1.3543 | -35.9638 | -124.612 | 131.6014 | -35.9413 | -131.9236 | 133.0099
Line_2 | 0.88451 | 0.35042 | 0.41153 | 0.88229 | 0.34818 | 0.40954 | 10.2135 | 4.0463 | 4.7519 | 10.1878 | 4.0204 | 4.729 | 5.677 | 3.4897 | -5.6006 | -3.7715 | -2.8637 | 6.3857 | 2.8497 | -4.3806 | 0.55209 | -1.8933 | 4.7201 | -0.48795 | -62.6191 | -73.1535 | -42.7687 | 117.4019 | 106.8317 | 137.3795 |  | 0.62194 | 1.3841 | 1.1843 | 0.41422 | 1.3732 | 1.3543 | -35.9638 | -124.612 | 131.6014 | -35.9413 | -131.9236 | 133.0099
Line_3 | 0.0010191 | 0.0010191 | 0.0010191 | 0.0010191 | 0.0010191 | 0.0010191 | 0.011768 | 0.011768 | 0.011768 | 0.011768 | 0.011768 | 0.011768 | 0.0066873 | 0.0069676 | -0.013655 | 0.0066873 | 0.0069676 | -0.013655 | 0.0029738 | -0.014723 | -0.002788 | 0.0029738 | -0.014723 | -0.002788 | -59.9382 | -59.9382 | -59.9382 | -59.9382 | -59.9382 | -59.9382 |  | 0.62194 | 1.3841 | 1.1843 | 0.62194 | 1.3841 | 1.1843 | -35.9638 | -124.612 | 131.6014 | -35.9638 | -124.612 | 131.6014

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73956 | 0.12151 | 0.39874 | 0.74061 | 0.12258 | 0.39915 | 8.5397 | 1.4031 | 4.6043 | 8.5518 | 1.4154 | 4.609 | -4.015 | -1.4788 | 4.4703 | 5.1187 | 1.5619 | -3.9429 | -5.1224 | 0.95742 | -3.9451 | 5.8692 | -0.82425 | 3.8526 | 121.4434 | 83.5527 | 169.7281 | -58.5874 | -96.2931 | -10.422 |  | 0.76213 | 1.2556 | 1.2949 | 0.91066 | 1.2477 | 1.1961 | -6.6466 | -129.3681 | 128.2987 | -9.6801 | -124.1144 | 125.2413
Line_1 | 0.37109 | 0.061911 | 0.2001 | 0.3703 | 0.061291 | 0.19957 | 4.285 | 0.71488 | 2.3106 | 4.2759 | 0.70772 | 2.3045 | 2.8416 | 0.80433 | -1.8459 | -2.5594 | -0.78096 | 1.9714 | 3.1258 | -0.38571 | 1.9045 | -2.9346 | 0.41212 | -1.9263 | -58.5865 | -95.8441 | -10.5886 | 121.4126 | 83.7069 | 169.578 |  | 0.98585 | 1.2478 | 1.1479 | 0.91066 | 1.2477 | 1.1961 | -10.8599 | -121.4637 | 123.5155 | -9.6801 | -124.1144 | 125.2413
Line_2 | 0.37109 | 0.061911 | 0.2001 | 0.3703 | 0.061291 | 0.19957 | 4.285 | 0.71488 | 2.3106 | 4.2759 | 0.70772 | 2.3045 | 2.8416 | 0.80433 | -1.8459 | -2.5594 | -0.78096 | 1.9714 | 3.1258 | -0.38571 | 1.9045 | -2.9346 | 0.41212 | -1.9263 | -58.5865 | -95.8441 | -10.5886 | 121.4126 | 83.7069 | 169.578 |  | 0.98585 | 1.2478 | 1.1479 | 0.91066 | 1.2477 | 1.1961 | -10.8599 | -121.4637 | 123.5155 | -9.6801 | -124.1144 | 125.2413
Line_3 | 0.00035609 | 0.00035609 | 0.00035609 | 0.00035609 | 0.00035609 | 0.00035609 | 0.0041118 | 0.0041118 | 0.0041118 | 0.0041118 | 0.0041118 | 0.0041118 | 0.0032636 | 0.0013949 | -0.0046585 | 0.0032636 | 0.0013949 | -0.0046585 | 0.0024044 | -0.0049374 | 0.00075822 | 0.0024044 | -0.0049374 | 0.00075822 | -47.2401 | -47.2401 | -47.2401 | -47.2401 | -47.2401 | -47.2401 |  | 0.98585 | 1.2478 | 1.1479 | 0.98585 | 1.2478 | 1.1479 | -10.8599 | -121.4637 | 123.5155 | -10.8599 | -121.4637 | 123.5155

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73956 | 0.12151 | 0.39874 | 0.74061 | 0.12258 | 0.39915 | 8.5397 | 1.4031 | 4.6043 | 8.5518 | 1.4154 | 4.609 | -4.015 | -1.4788 | 4.4703 | 5.1187 | 1.5619 | -3.9429 | -5.1224 | 0.95742 | -3.9451 | 5.8692 | -0.82425 | 3.8526 | 121.4434 | 83.5527 | 169.7281 | -58.5874 | -96.2931 | -10.422 |  | 0.76213 | 1.2556 | 1.2949 | 0.91066 | 1.2477 | 1.1961 | -6.6466 | -129.3681 | 128.2987 | -9.6801 | -124.1144 | 125.2413
Line_1 | 0.37109 | 0.061911 | 0.2001 | 0.3703 | 0.061291 | 0.19957 | 4.285 | 0.71488 | 2.3106 | 4.2759 | 0.70772 | 2.3045 | 2.8416 | 0.80433 | -1.8459 | -2.5594 | -0.78096 | 1.9714 | 3.1258 | -0.38571 | 1.9045 | -2.9346 | 0.41212 | -1.9263 | -58.5865 | -95.8441 | -10.5886 | 121.4126 | 83.7069 | 169.578 |  | 0.98585 | 1.2478 | 1.1479 | 0.91066 | 1.2477 | 1.1961 | -10.8599 | -121.4637 | 123.5155 | -9.6801 | -124.1144 | 125.2413
Line_2 | 0.37109 | 0.061911 | 0.2001 | 0.3703 | 0.061291 | 0.19957 | 4.285 | 0.71488 | 2.3106 | 4.2759 | 0.70772 | 2.3045 | 2.8416 | 0.80433 | -1.8459 | -2.5594 | -0.78096 | 1.9714 | 3.1258 | -0.38571 | 1.9045 | -2.9346 | 0.41212 | -1.9263 | -58.5865 | -95.8441 | -10.5886 | 121.4126 | 83.7069 | 169.578 |  | 0.98585 | 1.2478 | 1.1479 | 0.91066 | 1.2477 | 1.1961 | -10.8599 | -121.4637 | 123.5155 | -9.6801 | -124.1144 | 125.2413
Line_3 | 0.00035609 | 0.00035609 | 0.00035609 | 0.00035609 | 0.00035609 | 0.00035609 | 0.0041118 | 0.0041118 | 0.0041118 | 0.0041118 | 0.0041118 | 0.0041118 | 0.0032636 | 0.0013949 | -0.0046585 | 0.0032636 | 0.0013949 | -0.0046585 | 0.0024044 | -0.0049374 | 0.00075822 | 0.0024044 | -0.0049374 | 0.00075822 | -47.2401 | -47.2401 | -47.2401 | -47.2401 | -47.2401 | -47.2401 |  | 0.98585 | 1.2478 | 1.1479 | 0.98585 | 1.2478 | 1.1479 | -10.8599 | -121.4637 | 123.5155 | -10.8599 | -121.4637 | 123.5155

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0964 | 0.59243 | 0.52727 | 1.0981 | 0.59424 | 0.52901 | 12.6601 | 6.8408 | 6.0884 | 12.6798 | 6.8617 | 6.1084 | -2.298e-11 | 2.8411 | 9.7334 | 6.164 | 0.19959 | -7.1032 | 5.9943e-12 | 8.5748 | -0.30894 | 1.3472 | -7.9321 | 0.77978 | 139.6802 | 137.0533 | 138.8411 | -40.4392 | -43.1594 | -41.4038 |  | 0 | 1.3205 | 1.5995 | 0.49761 | 1.1564 | 1.1698 | 0 | -151.2783 | 137.0232 | -28.1105 | -131.718 | 132.3315
Line_1 | 0.55043 | 0.29853 | 0.2659 | 0.54905 | 0.29712 | 0.2645 | 6.3559 | 3.4471 | 3.0703 | 6.3399 | 3.4308 | 3.0542 | 4.6387 | 0.86769 | -2.8996 | -3.082 | -0.099797 | 3.5516 | 1.0154 | -3.8139 | 0.51318 | -0.67361 | 3.966 | -0.38989 | -40.5005 | -43.2598 | -41.5258 | 139.5608 | 136.8406 | 138.5962 |  | 0.74711 | 1.1347 | 0.95908 | 0.49761 | 1.1564 | 1.1698 | -28.1528 | -120.4428 | 128.4377 | -28.1105 | -131.718 | 132.3315
Line_2 | 0.55043 | 0.29853 | 0.2659 | 0.54905 | 0.29712 | 0.2645 | 6.3559 | 3.4471 | 3.0703 | 6.3399 | 3.4308 | 3.0542 | 4.6387 | 0.86769 | -2.8996 | -3.082 | -0.099797 | 3.5516 | 1.0154 | -3.8139 | 0.51318 | -0.67361 | 3.966 | -0.38989 | -40.5005 | -43.2598 | -41.5258 | 139.5608 | 136.8406 | 138.5962 |  | 0.74711 | 1.1347 | 0.95908 | 0.49761 | 1.1564 | 1.1698 | -28.1528 | -120.4428 | 128.4377 | -28.1105 | -131.718 | 132.3315
Line_3 | 0.00063818 | 0.00063818 | 0.00063818 | 0.00063818 | 0.00063818 | 0.00063818 | 0.007369 | 0.007369 | 0.007369 | 0.007369 | 0.007369 | 0.007369 | 0.0053571 | 0.0016013 | -0.0069584 | 0.0053571 | 0.0016013 | -0.0069584 | 0.0012694 | -0.0082066 | 0.0012368 | 0.0012694 | -0.0082066 | 0.0012368 | -41.4839 | -41.4839 | -41.4839 | -41.4839 | -41.4839 | -41.4839 |  | 0.74711 | 1.1347 | 0.95908 | 0.74711 | 1.1347 | 0.95908 | -28.1528 | -120.4428 | 128.4377 | -28.1528 | -120.4428 | 128.4377

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0964 | 0.59243 | 0.52727 | 1.0981 | 0.59424 | 0.52901 | 12.6601 | 6.8408 | 6.0884 | 12.6798 | 6.8617 | 6.1084 | -2.298e-11 | 2.8411 | 9.7334 | 6.164 | 0.19959 | -7.1032 | 5.9943e-12 | 8.5748 | -0.30894 | 1.3472 | -7.9321 | 0.77978 | 139.6802 | 137.0533 | 138.8411 | -40.4392 | -43.1594 | -41.4038 |  | 0 | 1.3205 | 1.5995 | 0.49761 | 1.1564 | 1.1698 | 0 | -151.2783 | 137.0232 | -28.1105 | -131.718 | 132.3315
Line_1 | 0.55043 | 0.29853 | 0.2659 | 0.54905 | 0.29712 | 0.2645 | 6.3559 | 3.4471 | 3.0703 | 6.3399 | 3.4308 | 3.0542 | 4.6387 | 0.86769 | -2.8996 | -3.082 | -0.099797 | 3.5516 | 1.0154 | -3.8139 | 0.51318 | -0.67361 | 3.966 | -0.38989 | -40.5005 | -43.2598 | -41.5258 | 139.5608 | 136.8406 | 138.5962 |  | 0.74711 | 1.1347 | 0.95908 | 0.49761 | 1.1564 | 1.1698 | -28.1528 | -120.4428 | 128.4377 | -28.1105 | -131.718 | 132.3315
Line_2 | 0.55043 | 0.29853 | 0.2659 | 0.54905 | 0.29712 | 0.2645 | 6.3559 | 3.4471 | 3.0703 | 6.3399 | 3.4308 | 3.0542 | 4.6387 | 0.86769 | -2.8996 | -3.082 | -0.099797 | 3.5516 | 1.0154 | -3.8139 | 0.51318 | -0.67361 | 3.966 | -0.38989 | -40.5005 | -43.2598 | -41.5258 | 139.5608 | 136.8406 | 138.5962 |  | 0.74711 | 1.1347 | 0.95908 | 0.49761 | 1.1564 | 1.1698 | -28.1528 | -120.4428 | 128.4377 | -28.1105 | -131.718 | 132.3315
Line_3 | 0.00063818 | 0.00063818 | 0.00063818 | 0.00063818 | 0.00063818 | 0.00063818 | 0.007369 | 0.007369 | 0.007369 | 0.007369 | 0.007369 | 0.007369 | 0.0053571 | 0.0016013 | -0.0069584 | 0.0053571 | 0.0016013 | -0.0069584 | 0.0012694 | -0.0082066 | 0.0012368 | 0.0012694 | -0.0082066 | 0.0012368 | -41.4839 | -41.4839 | -41.4839 | -41.4839 | -41.4839 | -41.4839 |  | 0.74711 | 1.1347 | 0.95908 | 0.74711 | 1.1347 | 0.95908 | -28.1528 | -120.4428 | 128.4377 | -28.1528 | -120.4428 | 128.4377

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43773 | 0.23653 | 0.21051 | 0.43841 | 0.23725 | 0.2112 | 5.0545 | 2.7312 | 2.4307 | 5.0623 | 2.7395 | 2.4388 | -2.4796 | 0.2241 | 2.8897 | 3.4623 | 0.26734 | -2.4774 | -1.7606 | 2.994 | -0.63906 | 1.9832 | -2.8956 | 0.71031 | 142.6524 | 140.0256 | 141.8134 | -37.4669 | -40.1872 | -38.4316 |  | 0.60165 | 1.0993 | 1.2175 | 0.78818 | 1.0615 | 1.0568 | -1.9718 | -134.255 | 129.343 | -7.6626 | -124.9124 | 125.5699
Line_1 | 0.21976 | 0.11919 | 0.10616 | 0.21921 | 0.11862 | 0.1056 | 2.5375 | 1.3762 | 1.2258 | 2.5312 | 1.3697 | 1.2194 | 1.9814 | 0.25806 | -1.1389 | -1.7311 | -0.13367 | 1.2387 | 1.0496 | -1.4272 | 0.37491 | -0.9916 | 1.4478 | -0.35516 | -37.5283 | -40.2876 | -38.5536 | 142.5331 | 139.8128 | 141.5684 |  | 0.88364 | 1.0539 | 0.97818 | 0.78818 | 1.0615 | 1.0568 | -9.6162 | -120.0385 | 123.226 | -7.6626 | -124.9124 | 125.5699
Line_2 | 0.21976 | 0.11919 | 0.10616 | 0.21921 | 0.11862 | 0.1056 | 2.5375 | 1.3762 | 1.2258 | 2.5312 | 1.3697 | 1.2194 | 1.9814 | 0.25806 | -1.1389 | -1.7311 | -0.13367 | 1.2387 | 1.0496 | -1.4272 | 0.37491 | -0.9916 | 1.4478 | -0.35516 | -37.5283 | -40.2876 | -38.5536 | 142.5331 | 139.8128 | 141.5684 |  | 0.88364 | 1.0539 | 0.97818 | 0.78818 | 1.0615 | 1.0568 | -9.6162 | -120.0385 | 123.226 | -7.6626 | -124.9124 | 125.5699
Line_3 | 0.00025479 | 0.00025479 | 0.00025479 | 0.00025479 | 0.00025479 | 0.00025479 | 0.002942 | 0.002942 | 0.002942 | 0.002942 | 0.002942 | 0.002942 | 0.002276 | 0.00045684 | -0.0027329 | 0.002276 | 0.00045684 | -0.0027329 | 0.0012562 | -0.0030667 | 0.00090182 | 0.0012562 | -0.0030667 | 0.00090182 | -38.5116 | -38.5116 | -38.5116 | -38.5116 | -38.5116 | -38.5116 |  | 0.88364 | 1.0539 | 0.97818 | 0.88364 | 1.0539 | 0.97818 | -9.6162 | -120.0385 | 123.226 | -9.6162 | -120.0385 | 123.226

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43773 | 0.23653 | 0.21051 | 0.43841 | 0.23725 | 0.2112 | 5.0545 | 2.7312 | 2.4307 | 5.0623 | 2.7395 | 2.4388 | -2.4796 | 0.2241 | 2.8897 | 3.4623 | 0.26734 | -2.4774 | -1.7606 | 2.994 | -0.63906 | 1.9832 | -2.8956 | 0.71031 | 142.6524 | 140.0256 | 141.8134 | -37.4669 | -40.1872 | -38.4316 |  | 0.60165 | 1.0993 | 1.2175 | 0.78818 | 1.0615 | 1.0568 | -1.9718 | -134.255 | 129.343 | -7.6626 | -124.9124 | 125.5699
Line_1 | 0.21976 | 0.11919 | 0.10616 | 0.21921 | 0.11862 | 0.1056 | 2.5375 | 1.3762 | 1.2258 | 2.5312 | 1.3697 | 1.2194 | 1.9814 | 0.25806 | -1.1389 | -1.7311 | -0.13367 | 1.2387 | 1.0496 | -1.4272 | 0.37491 | -0.9916 | 1.4478 | -0.35516 | -37.5283 | -40.2876 | -38.5536 | 142.5331 | 139.8128 | 141.5684 |  | 0.88364 | 1.0539 | 0.97818 | 0.78818 | 1.0615 | 1.0568 | -9.6162 | -120.0385 | 123.226 | -7.6626 | -124.9124 | 125.5699
Line_2 | 0.21976 | 0.11919 | 0.10616 | 0.21921 | 0.11862 | 0.1056 | 2.5375 | 1.3762 | 1.2258 | 2.5312 | 1.3697 | 1.2194 | 1.9814 | 0.25806 | -1.1389 | -1.7311 | -0.13367 | 1.2387 | 1.0496 | -1.4272 | 0.37491 | -0.9916 | 1.4478 | -0.35516 | -37.5283 | -40.2876 | -38.5536 | 142.5331 | 139.8128 | 141.5684 |  | 0.88364 | 1.0539 | 0.97818 | 0.78818 | 1.0615 | 1.0568 | -9.6162 | -120.0385 | 123.226 | -7.6626 | -124.9124 | 125.5699
Line_3 | 0.00025479 | 0.00025479 | 0.00025479 | 0.00025479 | 0.00025479 | 0.00025479 | 0.002942 | 0.002942 | 0.002942 | 0.002942 | 0.002942 | 0.002942 | 0.002276 | 0.00045684 | -0.0027329 | 0.002276 | 0.00045684 | -0.0027329 | 0.0012562 | -0.0030667 | 0.00090182 | 0.0012562 | -0.0030667 | 0.00090182 | -38.5116 | -38.5116 | -38.5116 | -38.5116 | -38.5116 | -38.5116 |  | 0.88364 | 1.0539 | 0.97818 | 0.88364 | 1.0539 | 0.97818 | -9.6162 | -120.0385 | 123.226 | -9.6162 | -120.0385 | 123.226

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22652 | 2.0303 | 1.3317 | 0.22817 | 2.0309 | 1.3331 | 2.6157 | 23.4434 | 15.3768 | 2.6347 | 23.4512 | 15.3937 | 2.9544 | 3.5739e-11 | 2.2429e-11 | -2.4149 | 6.4327 | 0.77381 | 2.8572 | -1.2272e-11 | -9.8847e-12 | -2.7748 | 0.57131 | 4.1135 | -45.6143 | -12.6242 | -129.0282 | 134.0618 | 167.3201 | 51.0355 |  | 1.5713 | 0 | 0 | 1.3962 | 0.27538 | 0.2719 | -1.573 | 0 | 0 | 3.028 | 172.3954 | 130.3818
Line_1 | 0.11549 | 1.0164 | 0.66716 | 0.11408 | 1.0155 | 0.66657 | 1.3335 | 11.7365 | 7.7037 | 1.3173 | 11.7256 | 7.6969 | -1.0789 | 4.8325 | 0.5877 | 1.2075 | -3.2163 | -0.38691 | -1.3781 | 0.4312 | 3.0899 | 1.3874 | -0.28565 | -2.0567 | 133.853 | 167.2569 | 51.1507 | -45.9382 | -12.6799 | -128.9645 |  | 1.3124 | 0.41338 | 0.40828 | 1.3962 | 0.27538 | 0.2719 | 5.7951 | 172.3559 | 130.3817 | 3.028 | 172.3954 | 130.3818
Line_2 | 0.11549 | 1.0164 | 0.66716 | 0.11408 | 1.0155 | 0.66657 | 1.3335 | 11.7365 | 7.7037 | 1.3173 | 11.7256 | 7.6969 | -1.0789 | 4.8325 | 0.5877 | 1.2075 | -3.2163 | -0.38691 | -1.3781 | 0.4312 | 3.0899 | 1.3874 | -0.28565 | -2.0567 | 133.853 | 167.2569 | 51.1507 | -45.9382 | -12.6799 | -128.9645 |  | 1.3124 | 0.41338 | 0.40828 | 1.3962 | 0.27538 | 0.2719 | 5.7951 | 172.3559 | 130.3817 | 3.028 | 172.3954 | 130.3818
Line_3 | 0.00066374 | 0.00066374 | 0.00066374 | 0.00066374 | 0.00066374 | 0.00066374 | 0.0076642 | 0.0076642 | 0.0076642 | 0.0076642 | 0.0076642 | 0.0076642 | -0.0054035 | 0.0022764 | 0.0031271 | -0.0054035 | 0.0022764 | 0.0031271 | -0.0084841 | 0.0022035 | 0.00011432 | -0.0084841 | 0.0022035 | 0.00011432 | 128.288 | 128.288 | 128.288 | 128.288 | 128.288 | 128.288 |  | 1.3124 | 0.41338 | 0.40828 | 1.3124 | 0.41338 | 0.40828 | 5.7951 | 172.3559 | 130.3817 | 5.7951 | 172.3559 | 130.3817

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22652 | 2.0303 | 1.3317 | 0.22817 | 2.0309 | 1.3331 | 2.6157 | 23.4434 | 15.3768 | 2.6347 | 23.4512 | 15.3937 | 2.9544 | 3.5739e-11 | 2.2429e-11 | -2.4149 | 6.4327 | 0.77381 | 2.8572 | -1.2272e-11 | -9.8847e-12 | -2.7748 | 0.57131 | 4.1135 | -45.6143 | -12.6242 | -129.0282 | 134.0618 | 167.3201 | 51.0355 |  | 1.5713 | 0 | 0 | 1.3962 | 0.27538 | 0.2719 | -1.573 | 0 | 0 | 3.028 | 172.3954 | 130.3818
Line_1 | 0.11549 | 1.0164 | 0.66716 | 0.11408 | 1.0155 | 0.66657 | 1.3335 | 11.7365 | 7.7037 | 1.3173 | 11.7256 | 7.6969 | -1.0789 | 4.8325 | 0.5877 | 1.2075 | -3.2163 | -0.38691 | -1.3781 | 0.4312 | 3.0899 | 1.3874 | -0.28565 | -2.0567 | 133.853 | 167.2569 | 51.1507 | -45.9382 | -12.6799 | -128.9645 |  | 1.3124 | 0.41338 | 0.40828 | 1.3962 | 0.27538 | 0.2719 | 5.7951 | 172.3559 | 130.3817 | 3.028 | 172.3954 | 130.3818
Line_2 | 0.11549 | 1.0164 | 0.66716 | 0.11408 | 1.0155 | 0.66657 | 1.3335 | 11.7365 | 7.7037 | 1.3173 | 11.7256 | 7.6969 | -1.0789 | 4.8325 | 0.5877 | 1.2075 | -3.2163 | -0.38691 | -1.3781 | 0.4312 | 3.0899 | 1.3874 | -0.28565 | -2.0567 | 133.853 | 167.2569 | 51.1507 | -45.9382 | -12.6799 | -128.9645 |  | 1.3124 | 0.41338 | 0.40828 | 1.3962 | 0.27538 | 0.2719 | 5.7951 | 172.3559 | 130.3817 | 3.028 | 172.3954 | 130.3818
Line_3 | 0.00066374 | 0.00066374 | 0.00066374 | 0.00066374 | 0.00066374 | 0.00066374 | 0.0076642 | 0.0076642 | 0.0076642 | 0.0076642 | 0.0076642 | 0.0076642 | -0.0054035 | 0.0022764 | 0.0031271 | -0.0054035 | 0.0022764 | 0.0031271 | -0.0084841 | 0.0022035 | 0.00011432 | -0.0084841 | 0.0022035 | 0.00011432 | 128.288 | 128.288 | 128.288 | 128.288 | 128.288 | 128.288 |  | 1.3124 | 0.41338 | 0.40828 | 1.3124 | 0.41338 | 0.40828 | 5.7951 | 172.3559 | 130.3817 | 5.7951 | 172.3559 | 130.3817

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13296 | 0.67971 | 0.58137 | 0.13279 | 0.68011 | 0.58221 | 1.5353 | 7.8486 | 6.7131 | 1.5333 | 7.8533 | 6.7228 | 1.8856 | -1.8709 | -5.2008 | -1.7966 | 2.7741 | 5.5658 | -0.80084 | -6.7566 | -2.5993 | 0.68841 | 6.831 | 3.3719 | 22.6616 | -13.3346 | -103.0341 | -157.7345 | 166.5942 | 77.0048 |  | 1.3344 | 0.89325 | 0.8661 | 1.2548 | 0.93882 | 0.96797 | -0.34934 | -118.8117 | 103.5215 | 1.2999 | -125.5082 | 108.2131
Line_1 | 0.066522 | 0.34053 | 0.29156 | 0.066395 | 0.34006 | 0.29111 | 0.76813 | 3.9321 | 3.3667 | 0.76667 | 3.9266 | 3.3614 | -0.87993 | 1.613 | 2.8797 | 0.8983 | -1.3871 | -2.7829 | 0.31159 | 3.4391 | 1.8778 | -0.3442 | -3.4155 | -1.6859 | -158.289 | 166.5183 | 77.0976 | 22.2655 | -13.4058 | -102.9952 |  | 1.2153 | 0.96604 | 1.0211 | 1.2548 | 0.93882 | 0.96797 | 2.2117 | -128.6098 | 110.2059 | 1.2999 | -125.5082 | 108.2131
Line_2 | 0.066522 | 0.34053 | 0.29156 | 0.066395 | 0.34006 | 0.29111 | 0.76813 | 3.9321 | 3.3667 | 0.76667 | 3.9266 | 3.3614 | -0.87993 | 1.613 | 2.8797 | 0.8983 | -1.3871 | -2.7829 | 0.31159 | 3.4391 | 1.8778 | -0.3442 | -3.4155 | -1.6859 | -158.289 | 166.5183 | 77.0976 | 22.2655 | -13.4058 | -102.9952 |  | 1.2153 | 0.96604 | 1.0211 | 1.2548 | 0.93882 | 0.96797 | 2.2117 | -128.6098 | 110.2059 | 1.2999 | -125.5082 | 108.2131
Line_3 | 0.00029705 | 0.00029705 | 0.00029705 | 0.00029705 | 0.00029705 | 0.00029705 | 0.0034301 | 0.0034301 | 0.0034301 | 0.0034301 | 0.0034301 | 0.0034301 | -0.0027801 | -0.00042372 | 0.0032038 | -0.0027801 | -0.00042372 | 0.0032038 | -0.0031059 | 0.0032864 | -0.0014156 | -0.0031059 | 0.0032864 | -0.0014156 | 134.0434 | 134.0434 | 134.0434 | 134.0434 | 134.0434 | 134.0434 |  | 1.2153 | 0.96604 | 1.0211 | 1.2153 | 0.96604 | 1.0211 | 2.2117 | -128.6098 | 110.2059 | 2.2117 | -128.6098 | 110.2059

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13296 | 0.67971 | 0.58137 | 0.13279 | 0.68011 | 0.58221 | 1.5353 | 7.8486 | 6.7131 | 1.5333 | 7.8533 | 6.7228 | 1.8856 | -1.8709 | -5.2008 | -1.7966 | 2.7741 | 5.5658 | -0.80084 | -6.7566 | -2.5993 | 0.68841 | 6.831 | 3.3719 | 22.6616 | -13.3346 | -103.0341 | -157.7345 | 166.5942 | 77.0048 |  | 1.3344 | 0.89325 | 0.8661 | 1.2548 | 0.93882 | 0.96797 | -0.34934 | -118.8117 | 103.5215 | 1.2999 | -125.5082 | 108.2131
Line_1 | 0.066522 | 0.34053 | 0.29156 | 0.066395 | 0.34006 | 0.29111 | 0.76813 | 3.9321 | 3.3667 | 0.76667 | 3.9266 | 3.3614 | -0.87993 | 1.613 | 2.8797 | 0.8983 | -1.3871 | -2.7829 | 0.31159 | 3.4391 | 1.8778 | -0.3442 | -3.4155 | -1.6859 | -158.289 | 166.5183 | 77.0976 | 22.2655 | -13.4058 | -102.9952 |  | 1.2153 | 0.96604 | 1.0211 | 1.2548 | 0.93882 | 0.96797 | 2.2117 | -128.6098 | 110.2059 | 1.2999 | -125.5082 | 108.2131
Line_2 | 0.066522 | 0.34053 | 0.29156 | 0.066395 | 0.34006 | 0.29111 | 0.76813 | 3.9321 | 3.3667 | 0.76667 | 3.9266 | 3.3614 | -0.87993 | 1.613 | 2.8797 | 0.8983 | -1.3871 | -2.7829 | 0.31159 | 3.4391 | 1.8778 | -0.3442 | -3.4155 | -1.6859 | -158.289 | 166.5183 | 77.0976 | 22.2655 | -13.4058 | -102.9952 |  | 1.2153 | 0.96604 | 1.0211 | 1.2548 | 0.93882 | 0.96797 | 2.2117 | -128.6098 | 110.2059 | 1.2999 | -125.5082 | 108.2131
Line_3 | 0.00029705 | 0.00029705 | 0.00029705 | 0.00029705 | 0.00029705 | 0.00029705 | 0.0034301 | 0.0034301 | 0.0034301 | 0.0034301 | 0.0034301 | 0.0034301 | -0.0027801 | -0.00042372 | 0.0032038 | -0.0027801 | -0.00042372 | 0.0032038 | -0.0031059 | 0.0032864 | -0.0014156 | -0.0031059 | 0.0032864 | -0.0014156 | 134.0434 | 134.0434 | 134.0434 | 134.0434 | 134.0434 | 134.0434 |  | 1.2153 | 0.96604 | 1.0211 | 1.2153 | 0.96604 | 1.0211 | 2.2117 | -128.6098 | 110.2059 | 2.2117 | -128.6098 | 110.2059

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22445 | 1.581 | 0.84954 | 0.22589 | 1.581 | 0.85064 | 2.5917 | 18.2552 | 9.8097 | 2.6084 | 18.2561 | 9.8224 | 2.3313 | -2.3211e-11 | -7.949e-12 | -1.7456 | 6.3275 | -0.082559 | 2.8341 | -2.5598e-11 | -1.7021e-11 | -2.5364 | -0.46999 | 2.5942 | -52.1207 | 3.351 | -134.0834 | 127.6503 | -176.7106 | 46.0043 |  | 1.4159 | 0 | 0 | 1.1804 | 0.34755 | 0.26425 | -1.5615 | 0 | 0 | 3.1147 | 179.0414 | 137.827
Line_1 | 0.11384 | 0.791 | 0.42548 | 0.11295 | 0.79051 | 0.42532 | 1.3146 | 9.1337 | 4.913 | 1.3042 | 9.1281 | 4.9112 | -0.73025 | 4.7513 | -0.057309 | 0.87279 | -3.1638 | 0.04128 | -1.1966 | -0.35238 | 1.9491 | 1.2682 | 0.235 | -1.2971 | 127.6373 | -176.7653 | 46.1232 | -52.3497 | 3.2894 | -133.9957 |  | 1.0664 | 0.52162 | 0.39689 | 1.1804 | 0.34755 | 0.26425 | 6.242 | 178.9932 | 137.8074 | 3.1147 | 179.0414 | 137.827
Line_2 | 0.11384 | 0.791 | 0.42548 | 0.11295 | 0.79051 | 0.42532 | 1.3146 | 9.1337 | 4.913 | 1.3042 | 9.1281 | 4.9112 | -0.73025 | 4.7513 | -0.057309 | 0.87279 | -3.1638 | 0.04128 | -1.1966 | -0.35238 | 1.9491 | 1.2682 | 0.235 | -1.2971 | 127.6373 | -176.7653 | 46.1232 | -52.3497 | 3.2894 | -133.9957 |  | 1.0664 | 0.52162 | 0.39689 | 1.1804 | 0.34755 | 0.26425 | 6.242 | 178.9932 | 137.8074 | 3.1147 | 179.0414 | 137.827
Line_3 | 0.00038088 | 0.00038088 | 0.00038088 | 0.00038088 | 0.00038088 | 0.00038088 | 0.004398 | 0.004398 | 0.004398 | 0.004398 | 0.004398 | 0.004398 | -0.003685 | 0.0019672 | 0.0017178 | -0.003685 | 0.0019672 | 0.0017178 | -0.0029009 | 0.0011802 | -0.00030983 | -0.0029009 | 0.0011802 | -0.00030983 | 148.0315 | 148.0315 | 148.0315 | 148.0315 | 148.0315 | 148.0315 |  | 1.0664 | 0.52162 | 0.39689 | 1.0664 | 0.52162 | 0.39689 | 6.242 | 178.9932 | 137.8074 | 6.242 | 178.9932 | 137.8074

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22445 | 1.581 | 0.84954 | 0.22589 | 1.581 | 0.85064 | 2.5917 | 18.2552 | 9.8097 | 2.6084 | 18.2561 | 9.8224 | 2.3313 | -2.3211e-11 | -7.949e-12 | -1.7456 | 6.3275 | -0.082559 | 2.8341 | -2.5598e-11 | -1.7021e-11 | -2.5364 | -0.46999 | 2.5942 | -52.1207 | 3.351 | -134.0834 | 127.6503 | -176.7106 | 46.0043 |  | 1.4159 | 0 | 0 | 1.1804 | 0.34755 | 0.26425 | -1.5615 | 0 | 0 | 3.1147 | 179.0414 | 137.827
Line_1 | 0.11384 | 0.791 | 0.42548 | 0.11295 | 0.79051 | 0.42532 | 1.3146 | 9.1337 | 4.913 | 1.3042 | 9.1281 | 4.9112 | -0.73025 | 4.7513 | -0.057309 | 0.87279 | -3.1638 | 0.04128 | -1.1966 | -0.35238 | 1.9491 | 1.2682 | 0.235 | -1.2971 | 127.6373 | -176.7653 | 46.1232 | -52.3497 | 3.2894 | -133.9957 |  | 1.0664 | 0.52162 | 0.39689 | 1.1804 | 0.34755 | 0.26425 | 6.242 | 178.9932 | 137.8074 | 3.1147 | 179.0414 | 137.827
Line_2 | 0.11384 | 0.791 | 0.42548 | 0.11295 | 0.79051 | 0.42532 | 1.3146 | 9.1337 | 4.913 | 1.3042 | 9.1281 | 4.9112 | -0.73025 | 4.7513 | -0.057309 | 0.87279 | -3.1638 | 0.04128 | -1.1966 | -0.35238 | 1.9491 | 1.2682 | 0.235 | -1.2971 | 127.6373 | -176.7653 | 46.1232 | -52.3497 | 3.2894 | -133.9957 |  | 1.0664 | 0.52162 | 0.39689 | 1.1804 | 0.34755 | 0.26425 | 6.242 | 178.9932 | 137.8074 | 3.1147 | 179.0414 | 137.827
Line_3 | 0.00038088 | 0.00038088 | 0.00038088 | 0.00038088 | 0.00038088 | 0.00038088 | 0.004398 | 0.004398 | 0.004398 | 0.004398 | 0.004398 | 0.004398 | -0.003685 | 0.0019672 | 0.0017178 | -0.003685 | 0.0019672 | 0.0017178 | -0.0029009 | 0.0011802 | -0.00030983 | -0.0029009 | 0.0011802 | -0.00030983 | 148.0315 | 148.0315 | 148.0315 | 148.0315 | 148.0315 | 148.0315 |  | 1.0664 | 0.52162 | 0.39689 | 1.0664 | 0.52162 | 0.39689 | 6.242 | 178.9932 | 137.8074 | 6.242 | 178.9932 | 137.8074

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16446 | 0.3961 | 0.3371 | 0.16512 | 0.39602 | 0.33799 | 1.899 | 4.5737 | 3.8925 | 1.9067 | 4.5728 | 3.9027 | 1.6701 | -1.9687 | -2.7557 | -1.4218 | 2.5842 | 3.1691 | 1.5849 | -2.9975 | -0.010555 | -1.5036 | 2.7755 | 0.46202 | -45.4082 | 8.1168 | -78.9968 | 134.3868 | -172.0117 | 100.9823 |  | 1.2124 | 0.78409 | 0.70795 | 1.0853 | 0.82932 | 0.82059 | -1.9069 | -115.1795 | 101.2226 | 0.98897 | -124.9679 | 109.2771
Line_1 | 0.083024 | 0.19821 | 0.16943 | 0.082562 | 0.19801 | 0.16899 | 0.95868 | 2.2887 | 1.9564 | 0.95335 | 2.2864 | 1.9514 | -0.65111 | 1.4466 | 1.6913 | 0.71089 | -1.2921 | -1.5845 | -0.73322 | 1.3352 | 0.3429 | 0.7518 | -1.3878 | -0.23101 | 134.3241 | -172.1347 | 101.0427 | -45.6132 | 7.9883 | -79.0177 |  | 1.0229 | 0.86013 | 0.88208 | 1.0853 | 0.82932 | 0.82059 | 2.7184 | -129.4291 | 112.5038 | 0.98897 | -124.9679 | 109.2771
Line_2 | 0.083024 | 0.19821 | 0.16943 | 0.082562 | 0.19801 | 0.16899 | 0.95868 | 2.2887 | 1.9564 | 0.95335 | 2.2864 | 1.9514 | -0.65111 | 1.4466 | 1.6913 | 0.71089 | -1.2921 | -1.5845 | -0.73322 | 1.3352 | 0.3429 | 0.7518 | -1.3878 | -0.23101 | 134.3241 | -172.1347 | 101.0427 | -45.6132 | 7.9883 | -79.0177 |  | 1.0229 | 0.86013 | 0.88208 | 1.0853 | 0.82932 | 0.82059 | 2.7184 | -129.4291 | 112.5038 | 0.98897 | -124.9679 | 109.2771
Line_3 | 0.00019972 | 0.00019972 | 0.00019972 | 0.00019972 | 0.00019972 | 0.00019972 | 0.0023062 | 0.0023062 | 0.0023062 | 0.0023062 | 0.0023062 | 0.0023062 | -0.0018736 | 0.00016369 | 0.0017099 | -0.0018736 | 0.00016369 | 0.0017099 | -0.0014332 | 0.0019769 | -0.001102 | -0.0014332 | 0.0019769 | -0.001102 | 145.3044 | 145.3044 | 145.3044 | 145.3044 | 145.3044 | 145.3044 |  | 1.0229 | 0.86013 | 0.88208 | 1.0229 | 0.86013 | 0.88208 | 2.7184 | -129.4291 | 112.5038 | 2.7184 | -129.4291 | 112.5038

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16446 | 0.3961 | 0.3371 | 0.16512 | 0.39602 | 0.33799 | 1.899 | 4.5737 | 3.8925 | 1.9067 | 4.5728 | 3.9027 | 1.6701 | -1.9687 | -2.7557 | -1.4218 | 2.5842 | 3.1691 | 1.5849 | -2.9975 | -0.010555 | -1.5036 | 2.7755 | 0.46202 | -45.4082 | 8.1168 | -78.9968 | 134.3868 | -172.0117 | 100.9823 |  | 1.2124 | 0.78409 | 0.70795 | 1.0853 | 0.82932 | 0.82059 | -1.9069 | -115.1795 | 101.2226 | 0.98897 | -124.9679 | 109.2771
Line_1 | 0.083024 | 0.19821 | 0.16943 | 0.082562 | 0.19801 | 0.16899 | 0.95868 | 2.2887 | 1.9564 | 0.95335 | 2.2864 | 1.9514 | -0.65111 | 1.4466 | 1.6913 | 0.71089 | -1.2921 | -1.5845 | -0.73322 | 1.3352 | 0.3429 | 0.7518 | -1.3878 | -0.23101 | 134.3241 | -172.1347 | 101.0427 | -45.6132 | 7.9883 | -79.0177 |  | 1.0229 | 0.86013 | 0.88208 | 1.0853 | 0.82932 | 0.82059 | 2.7184 | -129.4291 | 112.5038 | 0.98897 | -124.9679 | 109.2771
Line_2 | 0.083024 | 0.19821 | 0.16943 | 0.082562 | 0.19801 | 0.16899 | 0.95868 | 2.2887 | 1.9564 | 0.95335 | 2.2864 | 1.9514 | -0.65111 | 1.4466 | 1.6913 | 0.71089 | -1.2921 | -1.5845 | -0.73322 | 1.3352 | 0.3429 | 0.7518 | -1.3878 | -0.23101 | 134.3241 | -172.1347 | 101.0427 | -45.6132 | 7.9883 | -79.0177 |  | 1.0229 | 0.86013 | 0.88208 | 1.0853 | 0.82932 | 0.82059 | 2.7184 | -129.4291 | 112.5038 | 0.98897 | -124.9679 | 109.2771
Line_3 | 0.00019972 | 0.00019972 | 0.00019972 | 0.00019972 | 0.00019972 | 0.00019972 | 0.0023062 | 0.0023062 | 0.0023062 | 0.0023062 | 0.0023062 | 0.0023062 | -0.0018736 | 0.00016369 | 0.0017099 | -0.0018736 | 0.00016369 | 0.0017099 | -0.0014332 | 0.0019769 | -0.001102 | -0.0014332 | 0.0019769 | -0.001102 | 145.3044 | 145.3044 | 145.3044 | 145.3044 | 145.3044 | 145.3044 |  | 1.0229 | 0.86013 | 0.88208 | 1.0229 | 0.86013 | 0.88208 | 2.7184 | -129.4291 | 112.5038 | 2.7184 | -129.4291 | 112.5038