## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8261e-16 | 1.6e-14 | -2.7644e-15 | -1.7265e-14 | -1.9833e-14 | 1.6856e-15 | -1.6882e-14 | -1.3163e-14 | 1.0923e-14 | 1.6499e-14 | 1.5663e-14 | -1.5845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8261e-16 | 1.6e-14 | -2.7644e-15 | -1.7265e-14 | -1.9833e-14 | 1.6856e-15 | -1.6882e-14 | -1.3163e-14 | 1.0923e-14 | 1.6499e-14 | 1.5663e-14 | -1.5845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8159e-18 | 3.9307e-15 | 2.0308e-15 | 7.6317e-18 | 4.0596e-15 | -6.9439e-15 | 2.765e-15 | -3.1736e-15 | 4.5255e-15 | -5.53e-15 | 3.9145e-15 | -3.843e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8159e-18 | 3.9307e-15 | 2.0308e-15 | 7.6317e-18 | 4.0596e-15 | -6.9439e-15 | 2.765e-15 | -3.1736e-15 | 4.5255e-15 | -5.53e-15 | 3.9145e-15 | -3.843e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0058e-14 | 7.2643e-15 | -1.7361e-16 | -9.8655e-15 | -3.6697e-15 | -2.7189e-15 | -9.2869e-15 | -1.0807e-14 | -7.993e-15 | 4.4506e-15 | 2.2619e-15 | 4.763e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0058e-14 | 7.2643e-15 | -1.7361e-16 | -9.8655e-15 | -3.6697e-15 | -2.7189e-15 | -9.2869e-15 | -1.0807e-14 | -7.993e-15 | 4.4506e-15 | 2.2619e-15 | 4.763e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.481e-15 | 1.5329e-15 | 1.018e-16 | -1.7772e-15 | 3.0881e-15 | -5.5642e-15 | 2.5036e-17 | -1.5552e-15 | -1.8661e-16 | -3.0043e-17 | -2.234e-17 | -4.0039e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.481e-15 | 1.5329e-15 | 1.018e-16 | -1.7772e-15 | 3.0881e-15 | -5.5642e-15 | 2.5036e-17 | -1.5552e-15 | -1.8661e-16 | -3.0043e-17 | -2.234e-17 | -4.0039e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7584 | 0.6752 | 0.8023 | 1.7611 | 0.6782 | 0.80433 | 20.304 | 7.7966 | 9.2642 | 20.3359 | 7.8312 | 9.2876 | 7.2701e-11 | -3.2455 | 15.5383 | 7.4417 | 5.5905 | -12.4387 | -7.6852e-11 | 10.5057 | -1.0099 | 3.7874 | -9.1361 | 1.2218 | 117.2837 | 107.1077 | 138.5228 | -62.7664 | -72.9791 | -41.6509 |  | 0 | 1.4103 | 1.6808 | 0.4106 | 1.3677 | 1.3457 | 0 | -145.725 | 134.8042 | -35.793 | -131.5164 | 132.739
Line_1 | 0.88277 | 0.34132 | 0.40411 | 0.88057 | 0.3391 | 0.40216 | 10.1934 | 3.9412 | 4.6662 | 10.168 | 3.9156 | 4.6438 | 5.6008 | 3.3973 | -5.4591 | -3.7208 | -2.7952 | 6.2193 | 2.8501 | -4.2431 | 0.66294 | -1.8937 | 4.5681 | -0.61092 | -62.7863 | -72.9642 | -41.8038 | 117.2336 | 107.0209 | 138.3491 |  | 0.6165 | 1.3792 | 1.1785 | 0.4106 | 1.3677 | 1.3457 | -35.8154 | -124.281 | 131.2722 | -35.793 | -131.5164 | 132.739
Line_2 | 0.88277 | 0.34132 | 0.40411 | 0.88057 | 0.3391 | 0.40216 | 10.1934 | 3.9412 | 4.6662 | 10.168 | 3.9156 | 4.6438 | 5.6008 | 3.3973 | -5.4591 | -3.7208 | -2.7952 | 6.2193 | 2.8501 | -4.2431 | 0.66294 | -1.8937 | 4.5681 | -0.61092 | -62.7863 | -72.9642 | -41.8038 | 117.2336 | 107.0209 | 138.3491 |  | 0.6165 | 1.3792 | 1.1785 | 0.4106 | 1.3677 | 1.3457 | -35.8154 | -124.281 | 131.2722 | -35.793 | -131.5164 | 132.739
Line_3 | 0.0010068 | 0.0010068 | 0.0010068 | 0.0010068 | 0.0010068 | 0.0010068 | 0.011625 | 0.011625 | 0.011625 | 0.011625 | 0.011625 | 0.011625 | 0.0065501 | 0.0068968 | -0.013447 | 0.0065501 | 0.0068968 | -0.013447 | 0.0029086 | -0.014473 | -0.0026216 | 0.0029086 | -0.014473 | -0.0026216 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | -59.7596 |  | 0.6165 | 1.3792 | 1.1785 | 0.6165 | 1.3792 | 1.1785 | -35.8154 | -124.281 | 131.2722 | -35.8154 | -124.281 | 131.2722

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7584 | 0.6752 | 0.8023 | 1.7611 | 0.6782 | 0.80433 | 20.304 | 7.7966 | 9.2642 | 20.3359 | 7.8312 | 9.2876 | 7.2701e-11 | -3.2455 | 15.5383 | 7.4417 | 5.5905 | -12.4387 | -7.6852e-11 | 10.5057 | -1.0099 | 3.7874 | -9.1361 | 1.2218 | 117.2837 | 107.1077 | 138.5228 | -62.7664 | -72.9791 | -41.6509 |  | 0 | 1.4103 | 1.6808 | 0.4106 | 1.3677 | 1.3457 | 0 | -145.725 | 134.8042 | -35.793 | -131.5164 | 132.739
Line_1 | 0.88277 | 0.34132 | 0.40411 | 0.88057 | 0.3391 | 0.40216 | 10.1934 | 3.9412 | 4.6662 | 10.168 | 3.9156 | 4.6438 | 5.6008 | 3.3973 | -5.4591 | -3.7208 | -2.7952 | 6.2193 | 2.8501 | -4.2431 | 0.66294 | -1.8937 | 4.5681 | -0.61092 | -62.7863 | -72.9642 | -41.8038 | 117.2336 | 107.0209 | 138.3491 |  | 0.6165 | 1.3792 | 1.1785 | 0.4106 | 1.3677 | 1.3457 | -35.8154 | -124.281 | 131.2722 | -35.793 | -131.5164 | 132.739
Line_2 | 0.88277 | 0.34132 | 0.40411 | 0.88057 | 0.3391 | 0.40216 | 10.1934 | 3.9412 | 4.6662 | 10.168 | 3.9156 | 4.6438 | 5.6008 | 3.3973 | -5.4591 | -3.7208 | -2.7952 | 6.2193 | 2.8501 | -4.2431 | 0.66294 | -1.8937 | 4.5681 | -0.61092 | -62.7863 | -72.9642 | -41.8038 | 117.2336 | 107.0209 | 138.3491 |  | 0.6165 | 1.3792 | 1.1785 | 0.4106 | 1.3677 | 1.3457 | -35.8154 | -124.281 | 131.2722 | -35.793 | -131.5164 | 132.739
Line_3 | 0.0010068 | 0.0010068 | 0.0010068 | 0.0010068 | 0.0010068 | 0.0010068 | 0.011625 | 0.011625 | 0.011625 | 0.011625 | 0.011625 | 0.011625 | 0.0065501 | 0.0068968 | -0.013447 | 0.0065501 | 0.0068968 | -0.013447 | 0.0029086 | -0.014473 | -0.0026216 | 0.0029086 | -0.014473 | -0.0026216 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | -59.7596 |  | 0.6165 | 1.3792 | 1.1785 | 0.6165 | 1.3792 | 1.1785 | -35.8154 | -124.281 | 131.2722 | -35.8154 | -124.281 | 131.2722

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73138 | 0.11076 | 0.39536 | 0.73241 | 0.11179 | 0.39574 | 8.4452 | 1.2789 | 4.5652 | 8.4571 | 1.2908 | 4.5696 | -4.0523 | -1.3737 | 4.2873 | 5.1179 | 1.443 | -3.7773 | -5.0648 | 0.8282 | -4.018 | 5.7994 | -0.70892 | 3.9252 | 121.7449 | 82.0989 | 171.3049 | -58.2845 | -97.7134 | -8.8437 |  | 0.76806 | 1.2542 | 1.2871 | 0.91459 | 1.2455 | 1.1921 | -6.9182 | -128.9871 | 128.1621 | -9.7125 | -123.8779 | 125.0565
Line_1 | 0.36697 | 0.05648 | 0.19838 | 0.3662 | 0.055894 | 0.19787 | 4.2374 | 0.65217 | 2.2907 | 4.2286 | 0.64541 | 2.2848 | 2.8315 | 0.7412 | -1.7673 | -2.559 | -0.72148 | 1.8887 | 3.0876 | -0.33139 | 1.9408 | -2.8997 | 0.35446 | -1.9626 | -58.2823 | -97.2075 | -9.0095 | 121.7155 | 82.2866 | 171.1563 |  | 0.98867 | 1.2449 | 1.1459 | 0.91459 | 1.2455 | 1.1921 | -10.8049 | -121.2966 | 123.3108 | -9.7125 | -123.8779 | 125.0565
Line_2 | 0.36697 | 0.05648 | 0.19838 | 0.3662 | 0.055894 | 0.19787 | 4.2374 | 0.65217 | 2.2907 | 4.2286 | 0.64541 | 2.2848 | 2.8315 | 0.7412 | -1.7673 | -2.559 | -0.72148 | 1.8887 | 3.0876 | -0.33139 | 1.9408 | -2.8997 | 0.35446 | -1.9626 | -58.2823 | -97.2075 | -9.0095 | 121.7155 | 82.2866 | 171.1563 |  | 0.98867 | 1.2449 | 1.1459 | 0.91459 | 1.2455 | 1.1921 | -10.8049 | -121.2966 | 123.3108 | -9.7125 | -123.8779 | 125.0565
Line_3 | 0.00034797 | 0.00034797 | 0.00034797 | 0.00034797 | 0.00034797 | 0.00034797 | 0.004018 | 0.004018 | 0.004018 | 0.004018 | 0.004018 | 0.004018 | 0.003235 | 0.0012935 | -0.0045284 | 0.003235 | 0.0012935 | -0.0045284 | 0.0023056 | -0.004832 | 0.00083166 | 0.0023056 | -0.004832 | 0.00083166 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | -46.2826 |  | 0.98867 | 1.2449 | 1.1459 | 0.98867 | 1.2449 | 1.1459 | -10.8049 | -121.2966 | 123.3108 | -10.8049 | -121.2966 | 123.3108

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73138 | 0.11076 | 0.39536 | 0.73241 | 0.11179 | 0.39574 | 8.4452 | 1.2789 | 4.5652 | 8.4571 | 1.2908 | 4.5696 | -4.0523 | -1.3737 | 4.2873 | 5.1179 | 1.443 | -3.7773 | -5.0648 | 0.8282 | -4.018 | 5.7994 | -0.70892 | 3.9252 | 121.7449 | 82.0989 | 171.3049 | -58.2845 | -97.7134 | -8.8437 |  | 0.76806 | 1.2542 | 1.2871 | 0.91459 | 1.2455 | 1.1921 | -6.9182 | -128.9871 | 128.1621 | -9.7125 | -123.8779 | 125.0565
Line_1 | 0.36697 | 0.05648 | 0.19838 | 0.3662 | 0.055894 | 0.19787 | 4.2374 | 0.65217 | 2.2907 | 4.2286 | 0.64541 | 2.2848 | 2.8315 | 0.7412 | -1.7673 | -2.559 | -0.72148 | 1.8887 | 3.0876 | -0.33139 | 1.9408 | -2.8997 | 0.35446 | -1.9626 | -58.2823 | -97.2075 | -9.0095 | 121.7155 | 82.2866 | 171.1563 |  | 0.98867 | 1.2449 | 1.1459 | 0.91459 | 1.2455 | 1.1921 | -10.8049 | -121.2966 | 123.3108 | -9.7125 | -123.8779 | 125.0565
Line_2 | 0.36697 | 0.05648 | 0.19838 | 0.3662 | 0.055894 | 0.19787 | 4.2374 | 0.65217 | 2.2907 | 4.2286 | 0.64541 | 2.2848 | 2.8315 | 0.7412 | -1.7673 | -2.559 | -0.72148 | 1.8887 | 3.0876 | -0.33139 | 1.9408 | -2.8997 | 0.35446 | -1.9626 | -58.2823 | -97.2075 | -9.0095 | 121.7155 | 82.2866 | 171.1563 |  | 0.98867 | 1.2449 | 1.1459 | 0.91459 | 1.2455 | 1.1921 | -10.8049 | -121.2966 | 123.3108 | -9.7125 | -123.8779 | 125.0565
Line_3 | 0.00034797 | 0.00034797 | 0.00034797 | 0.00034797 | 0.00034797 | 0.00034797 | 0.004018 | 0.004018 | 0.004018 | 0.004018 | 0.004018 | 0.004018 | 0.003235 | 0.0012935 | -0.0045284 | 0.003235 | 0.0012935 | -0.0045284 | 0.0023056 | -0.004832 | 0.00083166 | 0.0023056 | -0.004832 | 0.00083166 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | -46.2826 |  | 0.98867 | 1.2449 | 1.1459 | 0.98867 | 1.2449 | 1.1459 | -10.8049 | -121.2966 | 123.3108 | -10.8049 | -121.2966 | 123.3108

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0938 | 0.57843 | 0.51298 | 1.0955 | 0.58019 | 0.51465 | 12.6302 | 6.6791 | 5.9234 | 12.6499 | 6.6994 | 5.9427 | -2.4106e-11 | 2.7731 | 9.3632 | 6.0694 | 0.15586 | -6.839 | 6.0947e-12 | 8.3052 | -0.52463 | 1.3981 | -7.7123 | 0.9346 | 139.1617 | 137.8232 | 140.0696 | -40.9551 | -42.3933 | -40.1819 |  | 0 | 1.3109 | 1.5832 | 0.49236 | 1.1514 | 1.1615 | 0 | -150.6408 | 136.8627 | -27.9833 | -131.2355 | 132.0364
Line_1 | 0.54913 | 0.29148 | 0.25869 | 0.54776 | 0.29009 | 0.25733 | 6.3408 | 3.3657 | 2.9871 | 6.325 | 3.3497 | 2.9713 | 4.5674 | 0.81768 | -2.7939 | -3.0347 | -0.077932 | 3.4195 | 1.0535 | -3.7164 | 0.57532 | -0.69904 | 3.8561 | -0.4673 | -41.0138 | -42.4971 | -40.3107 | 139.0449 | 137.6067 | 139.8181 |  | 0.73923 | 1.1306 | 0.95496 | 0.49236 | 1.1514 | 1.1615 | -28.0253 | -120.0886 | 128.0537 | -27.9833 | -131.2355 | 132.0364
Line_2 | 0.54913 | 0.29148 | 0.25869 | 0.54776 | 0.29009 | 0.25733 | 6.3408 | 3.3657 | 2.9871 | 6.325 | 3.3497 | 2.9713 | 4.5674 | 0.81768 | -2.7939 | -3.0347 | -0.077932 | 3.4195 | 1.0535 | -3.7164 | 0.57532 | -0.69904 | 3.8561 | -0.4673 | -41.0138 | -42.4971 | -40.3107 | 139.0449 | 137.6067 | 139.8181 |  | 0.73923 | 1.1306 | 0.95496 | 0.49236 | 1.1514 | 1.1615 | -28.0253 | -120.0886 | 128.0537 | -27.9833 | -131.2355 | 132.0364
Line_3 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0052296 | 0.0015892 | -0.0068189 | 0.0052296 | 0.0015892 | -0.0068189 | 0.0012282 | -0.0080607 | 0.001289 | 0.0012282 | -0.0080607 | 0.001289 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | -41.2417 |  | 0.73923 | 1.1306 | 0.95496 | 0.73923 | 1.1306 | 0.95496 | -28.0253 | -120.0886 | 128.0537 | -28.0253 | -120.0886 | 128.0537

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0938 | 0.57843 | 0.51298 | 1.0955 | 0.58019 | 0.51465 | 12.6302 | 6.6791 | 5.9234 | 12.6499 | 6.6994 | 5.9427 | -2.4106e-11 | 2.7731 | 9.3632 | 6.0694 | 0.15586 | -6.839 | 6.0947e-12 | 8.3052 | -0.52463 | 1.3981 | -7.7123 | 0.9346 | 139.1617 | 137.8232 | 140.0696 | -40.9551 | -42.3933 | -40.1819 |  | 0 | 1.3109 | 1.5832 | 0.49236 | 1.1514 | 1.1615 | 0 | -150.6408 | 136.8627 | -27.9833 | -131.2355 | 132.0364
Line_1 | 0.54913 | 0.29148 | 0.25869 | 0.54776 | 0.29009 | 0.25733 | 6.3408 | 3.3657 | 2.9871 | 6.325 | 3.3497 | 2.9713 | 4.5674 | 0.81768 | -2.7939 | -3.0347 | -0.077932 | 3.4195 | 1.0535 | -3.7164 | 0.57532 | -0.69904 | 3.8561 | -0.4673 | -41.0138 | -42.4971 | -40.3107 | 139.0449 | 137.6067 | 139.8181 |  | 0.73923 | 1.1306 | 0.95496 | 0.49236 | 1.1514 | 1.1615 | -28.0253 | -120.0886 | 128.0537 | -27.9833 | -131.2355 | 132.0364
Line_2 | 0.54913 | 0.29148 | 0.25869 | 0.54776 | 0.29009 | 0.25733 | 6.3408 | 3.3657 | 2.9871 | 6.325 | 3.3497 | 2.9713 | 4.5674 | 0.81768 | -2.7939 | -3.0347 | -0.077932 | 3.4195 | 1.0535 | -3.7164 | 0.57532 | -0.69904 | 3.8561 | -0.4673 | -41.0138 | -42.4971 | -40.3107 | 139.0449 | 137.6067 | 139.8181 |  | 0.73923 | 1.1306 | 0.95496 | 0.49236 | 1.1514 | 1.1615 | -28.0253 | -120.0886 | 128.0537 | -27.9833 | -131.2355 | 132.0364
Line_3 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0052296 | 0.0015892 | -0.0068189 | 0.0052296 | 0.0015892 | -0.0068189 | 0.0012282 | -0.0080607 | 0.001289 | 0.0012282 | -0.0080607 | 0.001289 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | -41.2417 |  | 0.73923 | 1.1306 | 0.95496 | 0.73923 | 1.1306 | 0.95496 | -28.0253 | -120.0886 | 128.0537 | -28.0253 | -120.0886 | 128.0537

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43175 | 0.22832 | 0.20249 | 0.43243 | 0.22902 | 0.20315 | 4.9855 | 2.6364 | 2.3381 | 4.9933 | 2.6445 | 2.3457 | -2.5151 | 0.28881 | 2.7223 | 3.4613 | 0.17402 | -2.336 | -1.6835 | 2.8881 | -0.72859 | 1.9091 | -2.8 | 0.78901 | 143.4295 | 142.0911 | 144.3375 | -36.6872 | -38.1254 | -35.9141 |  | 0.60708 | 1.1009 | 1.2053 | 0.79164 | 1.0609 | 1.0511 | -2.7735 | -133.6195 | 129.3543 | -7.8075 | -124.569 | 125.423
Line_1 | 0.21676 | 0.11505 | 0.10211 | 0.21621 | 0.11451 | 0.10157 | 2.5029 | 1.3285 | 1.1791 | 2.4966 | 1.3222 | 1.1729 | 1.9717 | 0.20408 | -1.0746 | -1.7306 | -0.087012 | 1.168 | 1.0132 | -1.3819 | 0.4116 | -0.95457 | 1.4 | -0.3945 | -36.746 | -38.2293 | -36.0429 | 143.3128 | 141.8746 | 144.0859 |  | 0.88571 | 1.0515 | 0.97597 | 0.79164 | 1.0609 | 1.0511 | -9.5489 | -119.8284 | 122.9992 | -7.8075 | -124.569 | 125.423
Line_2 | 0.21676 | 0.11505 | 0.10211 | 0.21621 | 0.11451 | 0.10157 | 2.5029 | 1.3285 | 1.1791 | 2.4966 | 1.3222 | 1.1729 | 1.9717 | 0.20408 | -1.0746 | -1.7306 | -0.087012 | 1.168 | 1.0132 | -1.3819 | 0.4116 | -0.95457 | 1.4 | -0.3945 | -36.746 | -38.2293 | -36.0429 | 143.3128 | 141.8746 | 144.0859 |  | 0.88571 | 1.0515 | 0.97597 | 0.79164 | 1.0609 | 1.0511 | -9.5489 | -119.8284 | 122.9992 | -7.8075 | -124.569 | 125.423
Line_3 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0022551 | 0.00037516 | -0.0026302 | 0.0022551 | 0.00037516 | -0.0026302 | 0.0011702 | -0.0029926 | 0.00095873 | 0.0011702 | -0.0029926 | 0.00095873 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | -36.9738 |  | 0.88571 | 1.0515 | 0.97597 | 0.88571 | 1.0515 | 0.97597 | -9.5489 | -119.8284 | 122.9992 | -9.5489 | -119.8284 | 122.9992

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43175 | 0.22832 | 0.20249 | 0.43243 | 0.22902 | 0.20315 | 4.9855 | 2.6364 | 2.3381 | 4.9933 | 2.6445 | 2.3457 | -2.5151 | 0.28881 | 2.7223 | 3.4613 | 0.17402 | -2.336 | -1.6835 | 2.8881 | -0.72859 | 1.9091 | -2.8 | 0.78901 | 143.4295 | 142.0911 | 144.3375 | -36.6872 | -38.1254 | -35.9141 |  | 0.60708 | 1.1009 | 1.2053 | 0.79164 | 1.0609 | 1.0511 | -2.7735 | -133.6195 | 129.3543 | -7.8075 | -124.569 | 125.423
Line_1 | 0.21676 | 0.11505 | 0.10211 | 0.21621 | 0.11451 | 0.10157 | 2.5029 | 1.3285 | 1.1791 | 2.4966 | 1.3222 | 1.1729 | 1.9717 | 0.20408 | -1.0746 | -1.7306 | -0.087012 | 1.168 | 1.0132 | -1.3819 | 0.4116 | -0.95457 | 1.4 | -0.3945 | -36.746 | -38.2293 | -36.0429 | 143.3128 | 141.8746 | 144.0859 |  | 0.88571 | 1.0515 | 0.97597 | 0.79164 | 1.0609 | 1.0511 | -9.5489 | -119.8284 | 122.9992 | -7.8075 | -124.569 | 125.423
Line_2 | 0.21676 | 0.11505 | 0.10211 | 0.21621 | 0.11451 | 0.10157 | 2.5029 | 1.3285 | 1.1791 | 2.4966 | 1.3222 | 1.1729 | 1.9717 | 0.20408 | -1.0746 | -1.7306 | -0.087012 | 1.168 | 1.0132 | -1.3819 | 0.4116 | -0.95457 | 1.4 | -0.3945 | -36.746 | -38.2293 | -36.0429 | 143.3128 | 141.8746 | 144.0859 |  | 0.88571 | 1.0515 | 0.97597 | 0.79164 | 1.0609 | 1.0511 | -9.5489 | -119.8284 | 122.9992 | -7.8075 | -124.569 | 125.423
Line_3 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0022551 | 0.00037516 | -0.0026302 | 0.0022551 | 0.00037516 | -0.0026302 | 0.0011702 | -0.0029926 | 0.00095873 | 0.0011702 | -0.0029926 | 0.00095873 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | -36.9738 |  | 0.88571 | 1.0515 | 0.97597 | 0.88571 | 1.0515 | 0.97597 | -9.5489 | -119.8284 | 122.9992 | -9.5489 | -119.8284 | 122.9992

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2198 | 2.0291 | 1.3332 | 0.22142 | 2.0298 | 1.3347 | 2.538 | 23.4298 | 15.395 | 2.5567 | 23.4376 | 15.4119 | 2.9054 | 3.7163e-11 | 2.3326e-11 | -2.3833 | 6.4112 | 0.77324 | 2.7082 | -1.332e-11 | -1.0671e-11 | -2.6394 | 0.57907 | 4.107 | -44.5296 | -12.6191 | -129.0559 | 135.1302 | 167.3254 | 51.0076 |  | 1.5649 | 0 | 0 | 1.3909 | 0.27466 | 0.27116 | -1.5412 | 0 | 0 | 3.0484 | 172.4865 | 130.3451
Line_1 | 0.1121 | 1.0158 | 0.66794 | 0.11071 | 1.0149 | 0.66735 | 1.2944 | 11.7296 | 7.7127 | 1.2783 | 11.7188 | 7.7059 | -1.0674 | 4.8163 | 0.58722 | 1.1917 | -3.2056 | -0.38662 | -1.3137 | 0.43701 | 3.085 | 1.3197 | -0.28954 | -2.0535 | 134.9031 | 167.2624 | 51.1222 | -44.8698 | -12.6746 | -128.9924 |  | 1.3077 | 0.4123 | 0.40717 | 1.3909 | 0.27466 | 0.27116 | 5.8075 | 172.447 | 130.345 | 3.0484 | 172.4865 | 130.3451
Line_2 | 0.1121 | 1.0158 | 0.66794 | 0.11071 | 1.0149 | 0.66735 | 1.2944 | 11.7296 | 7.7127 | 1.2783 | 11.7188 | 7.7059 | -1.0674 | 4.8163 | 0.58722 | 1.1917 | -3.2056 | -0.38662 | -1.3137 | 0.43701 | 3.085 | 1.3197 | -0.28954 | -2.0535 | 134.9031 | 167.2624 | 51.1222 | -44.8698 | -12.6746 | -128.9924 |  | 1.3077 | 0.4123 | 0.40717 | 1.3909 | 0.27466 | 0.27116 | 5.8075 | 172.447 | 130.345 | 3.0484 | 172.4865 | 130.3451
Line_3 | 0.00066105 | 0.00066105 | 0.00066105 | 0.00066105 | 0.00066105 | 0.00066105 | 0.0076332 | 0.0076332 | 0.0076332 | 0.0076332 | 0.0076332 | 0.0076332 | -0.005365 | 0.002259 | 0.003106 | -0.005365 | 0.002259 | 0.003106 | -0.0084175 | 0.0021912 | 0.00010984 | -0.0084175 | 0.0021912 | 0.00010984 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 128.3198 |  | 1.3077 | 0.4123 | 0.40717 | 1.3077 | 0.4123 | 0.40717 | 5.8075 | 172.447 | 130.345 | 5.8075 | 172.447 | 130.345

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2198 | 2.0291 | 1.3332 | 0.22142 | 2.0298 | 1.3347 | 2.538 | 23.4298 | 15.395 | 2.5567 | 23.4376 | 15.4119 | 2.9054 | 3.7163e-11 | 2.3326e-11 | -2.3833 | 6.4112 | 0.77324 | 2.7082 | -1.332e-11 | -1.0671e-11 | -2.6394 | 0.57907 | 4.107 | -44.5296 | -12.6191 | -129.0559 | 135.1302 | 167.3254 | 51.0076 |  | 1.5649 | 0 | 0 | 1.3909 | 0.27466 | 0.27116 | -1.5412 | 0 | 0 | 3.0484 | 172.4865 | 130.3451
Line_1 | 0.1121 | 1.0158 | 0.66794 | 0.11071 | 1.0149 | 0.66735 | 1.2944 | 11.7296 | 7.7127 | 1.2783 | 11.7188 | 7.7059 | -1.0674 | 4.8163 | 0.58722 | 1.1917 | -3.2056 | -0.38662 | -1.3137 | 0.43701 | 3.085 | 1.3197 | -0.28954 | -2.0535 | 134.9031 | 167.2624 | 51.1222 | -44.8698 | -12.6746 | -128.9924 |  | 1.3077 | 0.4123 | 0.40717 | 1.3909 | 0.27466 | 0.27116 | 5.8075 | 172.447 | 130.345 | 3.0484 | 172.4865 | 130.3451
Line_2 | 0.1121 | 1.0158 | 0.66794 | 0.11071 | 1.0149 | 0.66735 | 1.2944 | 11.7296 | 7.7127 | 1.2783 | 11.7188 | 7.7059 | -1.0674 | 4.8163 | 0.58722 | 1.1917 | -3.2056 | -0.38662 | -1.3137 | 0.43701 | 3.085 | 1.3197 | -0.28954 | -2.0535 | 134.9031 | 167.2624 | 51.1222 | -44.8698 | -12.6746 | -128.9924 |  | 1.3077 | 0.4123 | 0.40717 | 1.3909 | 0.27466 | 0.27116 | 5.8075 | 172.447 | 130.345 | 3.0484 | 172.4865 | 130.3451
Line_3 | 0.00066105 | 0.00066105 | 0.00066105 | 0.00066105 | 0.00066105 | 0.00066105 | 0.0076332 | 0.0076332 | 0.0076332 | 0.0076332 | 0.0076332 | 0.0076332 | -0.005365 | 0.002259 | 0.003106 | -0.005365 | 0.002259 | 0.003106 | -0.0084175 | 0.0021912 | 0.00010984 | -0.0084175 | 0.0021912 | 0.00010984 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 128.3198 |  | 1.3077 | 0.4123 | 0.40717 | 1.3077 | 0.4123 | 0.40717 | 5.8075 | 172.447 | 130.345 | 5.8075 | 172.447 | 130.345

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13518 | 0.67759 | 0.57542 | 0.13497 | 0.67799 | 0.57624 | 1.5609 | 7.8242 | 6.6444 | 1.5585 | 7.8288 | 6.6539 | 1.8621 | -1.961 | -5.1509 | -1.7777 | 2.8501 | 5.4976 | -0.91496 | -6.7032 | -2.6212 | 0.79984 | 6.7832 | 3.3767 | 25.9373 | -12.814 | -103.2411 | -154.4422 | 167.116 | 76.799 |  | 1.3292 | 0.89263 | 0.86983 | 1.2508 | 0.93982 | 0.96963 | -0.23074 | -119.1208 | 103.73 | 1.3339 | -125.6749 | 108.3581
Line_1 | 0.067583 | 0.33947 | 0.28856 | 0.067487 | 0.339 | 0.28812 | 0.78038 | 3.9198 | 3.332 | 0.77927 | 3.9144 | 3.3269 | -0.87168 | 1.6476 | 2.8409 | 0.88887 | -1.4251 | -2.7488 | 0.36677 | 3.4165 | 1.876 | -0.39992 | -3.3916 | -1.6884 | -154.9823 | 167.0416 | 76.8926 | 25.5578 | -12.884 | -103.201 |  | 1.2118 | 0.96765 | 1.0217 | 1.2508 | 0.93982 | 0.96963 | 2.1981 | -128.7037 | 110.3314 | 1.3339 | -125.6749 | 108.3581
Line_2 | 0.067583 | 0.33947 | 0.28856 | 0.067487 | 0.339 | 0.28812 | 0.78038 | 3.9198 | 3.332 | 0.77927 | 3.9144 | 3.3269 | -0.87168 | 1.6476 | 2.8409 | 0.88887 | -1.4251 | -2.7488 | 0.36677 | 3.4165 | 1.876 | -0.39992 | -3.3916 | -1.6884 | -154.9823 | 167.0416 | 76.8926 | 25.5578 | -12.884 | -103.201 |  | 1.2118 | 0.96765 | 1.0217 | 1.2508 | 0.93982 | 0.96963 | 2.1981 | -128.7037 | 110.3314 | 1.3339 | -125.6749 | 108.3581
Line_3 | 0.00029184 | 0.00029184 | 0.00029184 | 0.00029184 | 0.00029184 | 0.00029184 | 0.0033698 | 0.0033698 | 0.0033698 | 0.0033698 | 0.0033698 | 0.0033698 | -0.0027658 | -0.00036732 | 0.0031331 | -0.0027658 | -0.00036732 | 0.0031331 | -0.0030045 | 0.0032401 | -0.0014276 | -0.0030045 | 0.0032401 | -0.0014276 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 134.8285 |  | 1.2118 | 0.96765 | 1.0217 | 1.2118 | 0.96765 | 1.0217 | 2.1981 | -128.7037 | 110.3314 | 2.1981 | -128.7037 | 110.3314

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13518 | 0.67759 | 0.57542 | 0.13497 | 0.67799 | 0.57624 | 1.5609 | 7.8242 | 6.6444 | 1.5585 | 7.8288 | 6.6539 | 1.8621 | -1.961 | -5.1509 | -1.7777 | 2.8501 | 5.4976 | -0.91496 | -6.7032 | -2.6212 | 0.79984 | 6.7832 | 3.3767 | 25.9373 | -12.814 | -103.2411 | -154.4422 | 167.116 | 76.799 |  | 1.3292 | 0.89263 | 0.86983 | 1.2508 | 0.93982 | 0.96963 | -0.23074 | -119.1208 | 103.73 | 1.3339 | -125.6749 | 108.3581
Line_1 | 0.067583 | 0.33947 | 0.28856 | 0.067487 | 0.339 | 0.28812 | 0.78038 | 3.9198 | 3.332 | 0.77927 | 3.9144 | 3.3269 | -0.87168 | 1.6476 | 2.8409 | 0.88887 | -1.4251 | -2.7488 | 0.36677 | 3.4165 | 1.876 | -0.39992 | -3.3916 | -1.6884 | -154.9823 | 167.0416 | 76.8926 | 25.5578 | -12.884 | -103.201 |  | 1.2118 | 0.96765 | 1.0217 | 1.2508 | 0.93982 | 0.96963 | 2.1981 | -128.7037 | 110.3314 | 1.3339 | -125.6749 | 108.3581
Line_2 | 0.067583 | 0.33947 | 0.28856 | 0.067487 | 0.339 | 0.28812 | 0.78038 | 3.9198 | 3.332 | 0.77927 | 3.9144 | 3.3269 | -0.87168 | 1.6476 | 2.8409 | 0.88887 | -1.4251 | -2.7488 | 0.36677 | 3.4165 | 1.876 | -0.39992 | -3.3916 | -1.6884 | -154.9823 | 167.0416 | 76.8926 | 25.5578 | -12.884 | -103.201 |  | 1.2118 | 0.96765 | 1.0217 | 1.2508 | 0.93982 | 0.96963 | 2.1981 | -128.7037 | 110.3314 | 1.3339 | -125.6749 | 108.3581
Line_3 | 0.00029184 | 0.00029184 | 0.00029184 | 0.00029184 | 0.00029184 | 0.00029184 | 0.0033698 | 0.0033698 | 0.0033698 | 0.0033698 | 0.0033698 | 0.0033698 | -0.0027658 | -0.00036732 | 0.0031331 | -0.0027658 | -0.00036732 | 0.0031331 | -0.0030045 | 0.0032401 | -0.0014276 | -0.0030045 | 0.0032401 | -0.0014276 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 134.8285 |  | 1.2118 | 0.96765 | 1.0217 | 1.2118 | 0.96765 | 1.0217 | 2.1981 | -128.7037 | 110.3314 | 2.1981 | -128.7037 | 110.3314

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21794 | 1.5799 | 0.85189 | 0.21937 | 1.5799 | 0.85299 | 2.5166 | 18.2428 | 9.8368 | 2.5331 | 18.2437 | 9.8494 | 2.2825 | -2.3789e-11 | -8.3276e-12 | -1.7145 | 6.3073 | -0.077423 | 2.7164 | -2.5619e-11 | -1.7212e-11 | -2.4353 | -0.45792 | 2.5932 | -51.4828 | 3.3245 | -134.0457 | 128.2785 | -176.7369 | 46.0413 |  | 1.4099 | 0 | 0 | 1.1758 | 0.34663 | 0.2634 | -1.5217 | 0 | 0 | 3.133 | 179.1106 | 137.7515
Line_1 | 0.11058 | 0.79046 | 0.42665 | 0.10969 | 0.78997 | 0.42649 | 1.2768 | 9.1274 | 4.9265 | 1.2665 | 9.1218 | 4.9247 | -0.71913 | 4.7361 | -0.053487 | 0.85724 | -3.1536 | 0.038711 | -1.1501 | -0.34333 | 1.9483 | 1.2177 | 0.22896 | -1.2966 | 128.2604 | -176.7913 | 46.1595 | -51.7215 | 3.2631 | -133.9587 |  | 1.0624 | 0.52024 | 0.39561 | 1.1758 | 0.34663 | 0.2634 | 6.2445 | 179.0624 | 137.732 | 3.133 | 179.1106 | 137.7515
Line_2 | 0.11058 | 0.79046 | 0.42665 | 0.10969 | 0.78997 | 0.42649 | 1.2768 | 9.1274 | 4.9265 | 1.2665 | 9.1218 | 4.9247 | -0.71913 | 4.7361 | -0.053487 | 0.85724 | -3.1536 | 0.038711 | -1.1501 | -0.34333 | 1.9483 | 1.2177 | 0.22896 | -1.2966 | 128.2604 | -176.7913 | 46.1595 | -51.7215 | 3.2631 | -133.9587 |  | 1.0624 | 0.52024 | 0.39561 | 1.1758 | 0.34663 | 0.2634 | 6.2445 | 179.0624 | 137.732 | 3.133 | 179.1106 | 137.7515
Line_3 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | -0.0036573 | 0.001953 | 0.0017043 | -0.0036573 | 0.001953 | 0.0017043 | -0.0028752 | 0.0011731 | -0.00031093 | -0.0028752 | 0.0011731 | -0.00031093 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 148.0713 |  | 1.0624 | 0.52024 | 0.39561 | 1.0624 | 0.52024 | 0.39561 | 6.2445 | 179.0624 | 137.732 | 6.2445 | 179.0624 | 137.732

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21794 | 1.5799 | 0.85189 | 0.21937 | 1.5799 | 0.85299 | 2.5166 | 18.2428 | 9.8368 | 2.5331 | 18.2437 | 9.8494 | 2.2825 | -2.3789e-11 | -8.3276e-12 | -1.7145 | 6.3073 | -0.077423 | 2.7164 | -2.5619e-11 | -1.7212e-11 | -2.4353 | -0.45792 | 2.5932 | -51.4828 | 3.3245 | -134.0457 | 128.2785 | -176.7369 | 46.0413 |  | 1.4099 | 0 | 0 | 1.1758 | 0.34663 | 0.2634 | -1.5217 | 0 | 0 | 3.133 | 179.1106 | 137.7515
Line_1 | 0.11058 | 0.79046 | 0.42665 | 0.10969 | 0.78997 | 0.42649 | 1.2768 | 9.1274 | 4.9265 | 1.2665 | 9.1218 | 4.9247 | -0.71913 | 4.7361 | -0.053487 | 0.85724 | -3.1536 | 0.038711 | -1.1501 | -0.34333 | 1.9483 | 1.2177 | 0.22896 | -1.2966 | 128.2604 | -176.7913 | 46.1595 | -51.7215 | 3.2631 | -133.9587 |  | 1.0624 | 0.52024 | 0.39561 | 1.1758 | 0.34663 | 0.2634 | 6.2445 | 179.0624 | 137.732 | 3.133 | 179.1106 | 137.7515
Line_2 | 0.11058 | 0.79046 | 0.42665 | 0.10969 | 0.78997 | 0.42649 | 1.2768 | 9.1274 | 4.9265 | 1.2665 | 9.1218 | 4.9247 | -0.71913 | 4.7361 | -0.053487 | 0.85724 | -3.1536 | 0.038711 | -1.1501 | -0.34333 | 1.9483 | 1.2177 | 0.22896 | -1.2966 | 128.2604 | -176.7913 | 46.1595 | -51.7215 | 3.2631 | -133.9587 |  | 1.0624 | 0.52024 | 0.39561 | 1.1758 | 0.34663 | 0.2634 | 6.2445 | 179.0624 | 137.732 | 3.133 | 179.1106 | 137.7515
Line_3 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | -0.0036573 | 0.001953 | 0.0017043 | -0.0036573 | 0.001953 | 0.0017043 | -0.0028752 | 0.0011731 | -0.00031093 | -0.0028752 | 0.0011731 | -0.00031093 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 148.0713 |  | 1.0624 | 0.52024 | 0.39561 | 1.0624 | 0.52024 | 0.39561 | 6.2445 | 179.0624 | 137.732 | 6.2445 | 179.0624 | 137.732

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15826 | 0.39591 | 0.33174 | 0.15891 | 0.39584 | 0.33261 | 1.8274 | 4.5716 | 3.8306 | 1.835 | 4.5708 | 3.8406 | 1.636 | -2.0236 | -2.7333 | -1.4016 | 2.632 | 3.1256 | 1.4791 | -2.9428 | -0.021442 | -1.4049 | 2.7294 | 0.46298 | -43.7783 | 8.9316 | -79.006 | 136.0105 | -171.1946 | 100.9762 |  | 1.2069 | 0.78122 | 0.71357 | 1.0815 | 0.82955 | 0.82271 | -1.6611 | -115.5828 | 101.4434 | 1.0772 | -125.1541 | 109.4018
Line_1 | 0.079909 | 0.19812 | 0.16673 | 0.079456 | 0.19792 | 0.1663 | 0.9227 | 2.2877 | 1.9252 | 0.91748 | 2.2854 | 1.9203 | -0.6445 | 1.4688 | 1.6642 | 0.7008 | -1.316 | -1.5628 | -0.68552 | 1.3142 | 0.34087 | 0.70243 | -1.3647 | -0.23149 | 135.9439 | -171.315 | 101.0392 | -43.9895 | 8.8054 | -79.0238 |  | 1.0197 | 0.86151 | 0.88238 | 1.0815 | 0.82955 | 0.82271 | 2.7104 | -129.4944 | 112.6148 | 1.0772 | -125.1541 | 109.4018
Line_2 | 0.079909 | 0.19812 | 0.16673 | 0.079456 | 0.19792 | 0.1663 | 0.9227 | 2.2877 | 1.9252 | 0.91748 | 2.2854 | 1.9203 | -0.6445 | 1.4688 | 1.6642 | 0.7008 | -1.316 | -1.5628 | -0.68552 | 1.3142 | 0.34087 | 0.70243 | -1.3647 | -0.23149 | 135.9439 | -171.315 | 101.0392 | -43.9895 | 8.8054 | -79.0238 |  | 1.0197 | 0.86151 | 0.88238 | 1.0815 | 0.82955 | 0.82271 | 2.7104 | -129.4944 | 112.6148 | 1.0772 | -125.1541 | 109.4018
Line_3 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | -0.0018602 | 0.00020115 | 0.0016591 | -0.0018602 | 0.00020115 | 0.0016591 | -0.0013656 | 0.0019392 | -0.0011112 | -0.0013656 | 0.0019392 | -0.0011112 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 146.4275 |  | 1.0197 | 0.86151 | 0.88238 | 1.0197 | 0.86151 | 0.88238 | 2.7104 | -129.4944 | 112.6148 | 2.7104 | -129.4944 | 112.6148

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15826 | 0.39591 | 0.33174 | 0.15891 | 0.39584 | 0.33261 | 1.8274 | 4.5716 | 3.8306 | 1.835 | 4.5708 | 3.8406 | 1.636 | -2.0236 | -2.7333 | -1.4016 | 2.632 | 3.1256 | 1.4791 | -2.9428 | -0.021442 | -1.4049 | 2.7294 | 0.46298 | -43.7783 | 8.9316 | -79.006 | 136.0105 | -171.1946 | 100.9762 |  | 1.2069 | 0.78122 | 0.71357 | 1.0815 | 0.82955 | 0.82271 | -1.6611 | -115.5828 | 101.4434 | 1.0772 | -125.1541 | 109.4018
Line_1 | 0.079909 | 0.19812 | 0.16673 | 0.079456 | 0.19792 | 0.1663 | 0.9227 | 2.2877 | 1.9252 | 0.91748 | 2.2854 | 1.9203 | -0.6445 | 1.4688 | 1.6642 | 0.7008 | -1.316 | -1.5628 | -0.68552 | 1.3142 | 0.34087 | 0.70243 | -1.3647 | -0.23149 | 135.9439 | -171.315 | 101.0392 | -43.9895 | 8.8054 | -79.0238 |  | 1.0197 | 0.86151 | 0.88238 | 1.0815 | 0.82955 | 0.82271 | 2.7104 | -129.4944 | 112.6148 | 1.0772 | -125.1541 | 109.4018
Line_2 | 0.079909 | 0.19812 | 0.16673 | 0.079456 | 0.19792 | 0.1663 | 0.9227 | 2.2877 | 1.9252 | 0.91748 | 2.2854 | 1.9203 | -0.6445 | 1.4688 | 1.6642 | 0.7008 | -1.316 | -1.5628 | -0.68552 | 1.3142 | 0.34087 | 0.70243 | -1.3647 | -0.23149 | 135.9439 | -171.315 | 101.0392 | -43.9895 | 8.8054 | -79.0238 |  | 1.0197 | 0.86151 | 0.88238 | 1.0815 | 0.82955 | 0.82271 | 2.7104 | -129.4944 | 112.6148 | 1.0772 | -125.1541 | 109.4018
Line_3 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | -0.0018602 | 0.00020115 | 0.0016591 | -0.0018602 | 0.00020115 | 0.0016591 | -0.0013656 | 0.0019392 | -0.0011112 | -0.0013656 | 0.0019392 | -0.0011112 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 146.4275 |  | 1.0197 | 0.86151 | 0.88238 | 1.0197 | 0.86151 | 0.88238 | 2.7104 | -129.4944 | 112.6148 | 2.7104 | -129.4944 | 112.6148