## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.5632e-14 | 5.6773e-22 | 5.2106e-15 | -2.6049e-15 | -2.0842e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4813e-12 | 180 | -180 | 1.4771e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6886e-28 | -1.5632e-14 | 2.0843e-14 | -1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4782e-12 | -180 | 180 | 1.4771e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.5632e-14 | 1.0421e-14 | -2.6053e-14 | 1.8237e-14 | -3.1264e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4785e-12 | -180 | 180 | 1.4771e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 7.816e-15 | 5.2106e-15 | 5.2106e-15 | -2.6053e-15 | -5.2106e-15 | -4.0329e-28 | -2.6053e-15 | 1.0421e-14 | 5.2106e-15 | -2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4782e-12 | -180 | 180 | 1.4785e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.5632e-14 | 5.6773e-22 | 5.2106e-15 | -2.6049e-15 | -2.0842e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4813e-12 | 180 | -180 | 1.4771e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6886e-28 | -1.5632e-14 | 2.0843e-14 | -1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4782e-12 | -180 | 180 | 1.4771e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.5632e-14 | 1.0421e-14 | -2.6053e-14 | 1.8237e-14 | -3.1264e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4785e-12 | -180 | 180 | 1.4771e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 7.816e-15 | 5.2106e-15 | 5.2106e-15 | -2.6053e-15 | -5.2106e-15 | -4.0329e-28 | -2.6053e-15 | 1.0421e-14 | 5.2106e-15 | -2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4782e-12 | -180 | 180 | 1.4785e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -9.5548e-10 | -3.075e-09 | 1.8237e-14 | 9.5548e-10 | 3.075e-09 | -2.3448e-14 | 4.0277e-09 | -3.5661e-10 | 2.0843e-14 | -4.0277e-09 | 3.5661e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.5454e-13 | -140.8543 | 122.4159 | 3.3644e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.185e-10 | 1.025e-09 | 5.2106e-15 | -3.1849e-10 | -1.025e-09 | 1.3027e-14 | -1.3426e-09 | 1.189e-10 | -1.3027e-14 | 1.3426e-09 | -1.1889e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.3163e-13 | -140.8543 | 122.4159 | 3.3644e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.185e-10 | 1.025e-09 | -1.0421e-14 | -3.185e-10 | -1.025e-09 | 7.816e-15 | -1.3426e-09 | 1.1889e-10 | -7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.3237e-13 | -140.8543 | 122.4159 | 3.3644e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.7175e-15 | 2.6556e-16 | 1.0421e-14 | 1.2023e-14 | -2.0411e-15 | 5.2106e-15 | -1.3981e-15 | 1.194e-14 | -5.2106e-15 | 9.7865e-15 | -9.1435e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.3163e-13 | -140.8543 | 122.4159 | 3.3237e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -9.5548e-10 | -3.075e-09 | 1.8237e-14 | 9.5548e-10 | 3.075e-09 | -2.3448e-14 | 4.0277e-09 | -3.5661e-10 | 2.0843e-14 | -4.0277e-09 | 3.5661e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.5454e-13 | -140.8543 | 122.4159 | 3.3644e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.185e-10 | 1.025e-09 | 5.2106e-15 | -3.1849e-10 | -1.025e-09 | 1.3027e-14 | -1.3426e-09 | 1.189e-10 | -1.3027e-14 | 1.3426e-09 | -1.1889e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.3163e-13 | -140.8543 | 122.4159 | 3.3644e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.185e-10 | 1.025e-09 | -1.0421e-14 | -3.185e-10 | -1.025e-09 | 7.816e-15 | -1.3426e-09 | 1.1889e-10 | -7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.3237e-13 | -140.8543 | 122.4159 | 3.3644e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.7175e-15 | 2.6556e-16 | 1.0421e-14 | 1.2023e-14 | -2.0411e-15 | 5.2106e-15 | -1.3981e-15 | 1.194e-14 | -5.2106e-15 | 9.7865e-15 | -9.1435e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.3163e-13 | -140.8543 | 122.4159 | 3.3237e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.0132e-14 | 1.1842e-14 | -7.1054e-15 | -2.0131e-14 | -1.1842e-14 | 2.8422e-14 | 4.7631e-09 | -4.7631e-09 | -4.2633e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4193e-12 | -180 | 180 | 1.4749e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -3.5524e-15 | 2.3688e-15 | 9.4739e-15 | 3.5525e-15 | -2.3687e-15 | -3.3159e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4871e-12 | -180 | 180 | 1.4749e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.5524e-15 | -2.3682e-15 | 7.1054e-15 | 3.5525e-15 | 2.3682e-15 | -2.3685e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4784e-12 | -180 | 180 | 1.4749e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1842e-15 | 2.3685e-15 | 2.3685e-15 | -1.1842e-15 | 0 | -1.8948e-14 | 7.1054e-15 | 4.737e-15 | 4.737e-15 | -7.1054e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4871e-12 | -180 | 180 | 1.4784e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.0132e-14 | 1.1842e-14 | -7.1054e-15 | -2.0131e-14 | -1.1842e-14 | 2.8422e-14 | 4.7631e-09 | -4.7631e-09 | -4.2633e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4193e-12 | -180 | 180 | 1.4749e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -3.5524e-15 | 2.3688e-15 | 9.4739e-15 | 3.5525e-15 | -2.3687e-15 | -3.3159e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4871e-12 | -180 | 180 | 1.4749e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.5524e-15 | -2.3682e-15 | 7.1054e-15 | 3.5525e-15 | 2.3682e-15 | -2.3685e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4784e-12 | -180 | 180 | 1.4749e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1842e-15 | 2.3685e-15 | 2.3685e-15 | -1.1842e-15 | 0 | -1.8948e-14 | 7.1054e-15 | 4.737e-15 | 4.737e-15 | -7.1054e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4871e-12 | -180 | 180 | 1.4784e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | -8.0025e-10 | -2.5674e-09 | -5.9212e-16 | 8.0025e-10 | 2.5674e-09 | 7.1054e-15 | 3.4015e-09 | -3.4066e-10 | -7.1054e-15 | -3.4014e-09 | 3.4066e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 6.3067e-13 | -141.4824 | 122.8363 | 6.513e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | 2.6675e-10 | 8.558e-10 | 3.5527e-15 | -2.6675e-10 | -8.558e-10 | -7.1054e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 6.5321e-13 | -141.4824 | 122.8363 | 6.513e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 2.6675e-10 | 8.558e-10 | 4.1448e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 6.5197e-13 | -141.4824 | 122.8363 | 6.513e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8818e-16 | 1.1017e-15 | 4.2993e-15 | -2.3685e-15 | -2.4909e-15 | -1.0047e-15 | -4.737e-15 | 3.4329e-15 | -1.1947e-15 | 2.3685e-15 | 3.1295e-15 | 1.5568e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 6.5321e-13 | -141.4824 | 122.8363 | 6.5197e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | -8.0025e-10 | -2.5674e-09 | -5.9212e-16 | 8.0025e-10 | 2.5674e-09 | 7.1054e-15 | 3.4015e-09 | -3.4066e-10 | -7.1054e-15 | -3.4014e-09 | 3.4066e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 6.3067e-13 | -141.4824 | 122.8363 | 6.513e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | 2.6675e-10 | 8.558e-10 | 3.5527e-15 | -2.6675e-10 | -8.558e-10 | -7.1054e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 6.5321e-13 | -141.4824 | 122.8363 | 6.513e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 2.6675e-10 | 8.558e-10 | 4.1448e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 6.5197e-13 | -141.4824 | 122.8363 | 6.513e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8818e-16 | 1.1017e-15 | 4.2993e-15 | -2.3685e-15 | -2.4909e-15 | -1.0047e-15 | -4.737e-15 | 3.4329e-15 | -1.1947e-15 | 2.3685e-15 | 3.1295e-15 | 1.5568e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 6.5321e-13 | -141.4824 | 122.8363 | 6.5197e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020499 | 0.020499 | 0.020499 | 0.01538 | 0.01538 | 0.01538 | 0.23671 | 0.23671 | 0.23671 | 0.1776 | 0.1776 | 0.1776 | -3.1418e-13 | 0.22757 | -0.22342 | 0.0010196 | -0.16998 | 0.16838 | 9.6493e-14 | -0.36614 | -0.36743 | 0.00040582 | 0.27495 | 0.27624 | -90.1639 | -90.1639 | -90.1639 | 89.7812 | 89.7812 | 89.7812 | 0 | 1.8212 | 1.8167 | 0.0061793 | 1.8202 | 1.8216 | 0 | -148.3017 | 148.5344 | 111.4842 | -148.4931 | 148.4173
Line_1 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0076901 | 0.0076901 | 0.0076901 | 0.029606 | 0.029606 | 0.029606 | 0.088798 | 0.088798 | 0.088798 | 0.00021852 | -0.028312 | 0.028094 | -0.00050981 | 0.084992 | -0.08419 | 8.7067e-05 | 0.045839 | 0.046084 | -0.00020291 | -0.13748 | -0.13812 | 89.751 | 89.751 | 89.751 | -90.2188 | -90.2188 | -90.2188 | 0.0079452 | 1.8198 | 1.823 | 0.0061793 | 1.8202 | 1.8216 | 111.4756 | -148.5478 | 148.3839 | 111.4842 | -148.4931 | 148.4173
Line_2 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0076901 | 0.0076901 | 0.0076901 | 0.029606 | 0.029606 | 0.029606 | 0.088798 | 0.088798 | 0.088798 | 0.00021852 | -0.028312 | 0.028094 | -0.00050981 | 0.084992 | -0.08419 | 8.7067e-05 | 0.045839 | 0.046084 | -0.00020291 | -0.13748 | -0.13812 | 89.751 | 89.751 | 89.751 | -90.2188 | -90.2188 | -90.2188 | 0.0079452 | 1.8198 | 1.823 | 0.0061793 | 1.8202 | 1.8216 | 111.4756 | -148.5478 | 148.3839 | 111.4842 | -148.4931 | 148.4173
Line_3 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0025639 | 0.029606 | 0.029606 | 0.029606 | 0.029606 | 0.029606 | 0.029606 | -0.00021852 | 0.028312 | -0.028094 | -0.00021852 | 0.028312 | -0.028094 | -8.7067e-05 | -0.045839 | -0.046084 | -8.7067e-05 | -0.045839 | -0.046084 | -90.249 | -90.249 | -90.249 | -90.249 | -90.249 | -90.249 | 0.0079452 | 1.8198 | 1.823 | 0.0079452 | 1.8198 | 1.823 | 111.4756 | -148.5478 | 148.3839 | 111.4756 | -148.5478 | 148.3839

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020499 | 0.020499 | 0.020499 | 0.01538 | 0.01538 | 0.01538 | 0.23671 | 0.23671 | 0.23671 | 0.1776 | 0.1776 | 0.1776 | -3.1418e-13 | 0.22757 | -0.22342 | 0.0010196 | -0.16998 | 0.16838 | 9.6493e-14 | -0.36614 | -0.36743 | 0.00040582 | 0.27495 | 0.27624 | -90.1639 | -90.1639 | -90.1639 | 89.7812 | 89.7812 | 89.7812 | 0 | 1.8212 | 1.8167 | 0.0061793 | 1.8202 | 1.8216 | 0 | -148.3017 | 148.5344 | 111.4842 | -148.4931 | 148.4173
Line_1 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0076901 | 0.0076901 | 0.0076901 | 0.029606 | 0.029606 | 0.029606 | 0.088798 | 0.088798 | 0.088798 | 0.00021852 | -0.028312 | 0.028094 | -0.00050981 | 0.084992 | -0.08419 | 8.7067e-05 | 0.045839 | 0.046084 | -0.00020291 | -0.13748 | -0.13812 | 89.751 | 89.751 | 89.751 | -90.2188 | -90.2188 | -90.2188 | 0.0079452 | 1.8198 | 1.823 | 0.0061793 | 1.8202 | 1.8216 | 111.4756 | -148.5478 | 148.3839 | 111.4842 | -148.4931 | 148.4173
Line_2 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0076901 | 0.0076901 | 0.0076901 | 0.029606 | 0.029606 | 0.029606 | 0.088798 | 0.088798 | 0.088798 | 0.00021852 | -0.028312 | 0.028094 | -0.00050981 | 0.084992 | -0.08419 | 8.7067e-05 | 0.045839 | 0.046084 | -0.00020291 | -0.13748 | -0.13812 | 89.751 | 89.751 | 89.751 | -90.2188 | -90.2188 | -90.2188 | 0.0079452 | 1.8198 | 1.823 | 0.0061793 | 1.8202 | 1.8216 | 111.4756 | -148.5478 | 148.3839 | 111.4842 | -148.4931 | 148.4173
Line_3 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0025639 | 0.0025639 | 0.029606 | 0.029606 | 0.029606 | 0.029606 | 0.029606 | 0.029606 | -0.00021852 | 0.028312 | -0.028094 | -0.00021852 | 0.028312 | -0.028094 | -8.7067e-05 | -0.045839 | -0.046084 | -8.7067e-05 | -0.045839 | -0.046084 | -90.249 | -90.249 | -90.249 | -90.249 | -90.249 | -90.249 | 0.0079452 | 1.8198 | 1.823 | 0.0079452 | 1.8198 | 1.823 | 111.4756 | -148.5478 | 148.3839 | 111.4756 | -148.5478 | 148.3839

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016878 | 0.016878 | 0.016878 | 0.012664 | 0.012664 | 0.012664 | 0.19489 | 0.19489 | 0.19489 | 0.14623 | 0.14623 | 0.14623 | 0.034683 | 0.16735 | -0.19922 | -0.025306 | -0.12508 | 0.14999 | 0.035126 | -0.29582 | -0.23662 | -0.026105 | 0.2221 | 0.17795 | -80.8266 | -80.8266 | -80.8266 | 99.1186 | 99.1186 | 99.1186 | 0.25328 | 1.7439 | 1.5871 | 0.24863 | 1.7432 | 1.5916 | -35.4626 | -141.3282 | 149.0776 | -34.991 | -141.4939 | 148.9909
Line_1 | 0.002111 | 0.002111 | 0.002111 | 0.0063318 | 0.0063318 | 0.0063318 | 0.024376 | 0.024376 | 0.024376 | 0.073113 | 0.073113 | 0.073113 | -0.0041833 | -0.020838 | 0.025022 | 0.012653 | 0.062542 | -0.074997 | -0.0043408 | 0.037027 | 0.029691 | 0.013052 | -0.11105 | -0.088975 | 99.0883 | 99.0883 | 99.0883 | -80.8814 | -80.8814 | -80.8814 | 0.24731 | 1.743 | 1.5929 | 0.24863 | 1.7432 | 1.5916 | -34.8528 | -141.5412 | 148.9662 | -34.991 | -141.4939 | 148.9909
Line_2 | 0.002111 | 0.002111 | 0.002111 | 0.0063318 | 0.0063318 | 0.0063318 | 0.024376 | 0.024376 | 0.024376 | 0.073113 | 0.073113 | 0.073113 | -0.0041833 | -0.020838 | 0.025022 | 0.012653 | 0.062542 | -0.074997 | -0.0043408 | 0.037027 | 0.029691 | 0.013052 | -0.11105 | -0.088975 | 99.0883 | 99.0883 | 99.0883 | -80.8814 | -80.8814 | -80.8814 | 0.24731 | 1.743 | 1.5929 | 0.24863 | 1.7432 | 1.5916 | -34.8528 | -141.5412 | 148.9662 | -34.991 | -141.4939 | 148.9909
Line_3 | 0.002111 | 0.002111 | 0.002111 | 0.002111 | 0.002111 | 0.002111 | 0.024376 | 0.024376 | 0.024376 | 0.024376 | 0.024376 | 0.024376 | 0.0041833 | 0.020838 | -0.025022 | 0.0041833 | 0.020838 | -0.025022 | 0.0043408 | -0.037027 | -0.029691 | 0.0043408 | -0.037027 | -0.029691 | -80.9117 | -80.9117 | -80.9117 | -80.9117 | -80.9117 | -80.9117 | 0.24731 | 1.743 | 1.5929 | 0.24731 | 1.743 | 1.5929 | -34.8528 | -141.5412 | 148.9662 | -34.8528 | -141.5412 | 148.9662

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016878 | 0.016878 | 0.016878 | 0.012664 | 0.012664 | 0.012664 | 0.19489 | 0.19489 | 0.19489 | 0.14623 | 0.14623 | 0.14623 | 0.034683 | 0.16735 | -0.19922 | -0.025306 | -0.12508 | 0.14999 | 0.035126 | -0.29582 | -0.23662 | -0.026105 | 0.2221 | 0.17795 | -80.8266 | -80.8266 | -80.8266 | 99.1186 | 99.1186 | 99.1186 | 0.25328 | 1.7439 | 1.5871 | 0.24863 | 1.7432 | 1.5916 | -35.4626 | -141.3282 | 149.0776 | -34.991 | -141.4939 | 148.9909
Line_1 | 0.002111 | 0.002111 | 0.002111 | 0.0063318 | 0.0063318 | 0.0063318 | 0.024376 | 0.024376 | 0.024376 | 0.073113 | 0.073113 | 0.073113 | -0.0041833 | -0.020838 | 0.025022 | 0.012653 | 0.062542 | -0.074997 | -0.0043408 | 0.037027 | 0.029691 | 0.013052 | -0.11105 | -0.088975 | 99.0883 | 99.0883 | 99.0883 | -80.8814 | -80.8814 | -80.8814 | 0.24731 | 1.743 | 1.5929 | 0.24863 | 1.7432 | 1.5916 | -34.8528 | -141.5412 | 148.9662 | -34.991 | -141.4939 | 148.9909
Line_2 | 0.002111 | 0.002111 | 0.002111 | 0.0063318 | 0.0063318 | 0.0063318 | 0.024376 | 0.024376 | 0.024376 | 0.073113 | 0.073113 | 0.073113 | -0.0041833 | -0.020838 | 0.025022 | 0.012653 | 0.062542 | -0.074997 | -0.0043408 | 0.037027 | 0.029691 | 0.013052 | -0.11105 | -0.088975 | 99.0883 | 99.0883 | 99.0883 | -80.8814 | -80.8814 | -80.8814 | 0.24731 | 1.743 | 1.5929 | 0.24863 | 1.7432 | 1.5916 | -34.8528 | -141.5412 | 148.9662 | -34.991 | -141.4939 | 148.9909
Line_3 | 0.002111 | 0.002111 | 0.002111 | 0.002111 | 0.002111 | 0.002111 | 0.024376 | 0.024376 | 0.024376 | 0.024376 | 0.024376 | 0.024376 | 0.0041833 | 0.020838 | -0.025022 | 0.0041833 | 0.020838 | -0.025022 | 0.0043408 | -0.037027 | -0.029691 | 0.0043408 | -0.037027 | -0.029691 | -80.9117 | -80.9117 | -80.9117 | -80.9117 | -80.9117 | -80.9117 | 0.24731 | 1.743 | 1.5929 | 0.24731 | 1.743 | 1.5929 | -34.8528 | -141.5412 | 148.9662 | -34.8528 | -141.5412 | 148.9662

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018582 | 0.018582 | 0.018582 | 0.013942 | 0.013942 | 0.013942 | 0.21457 | 0.21457 | 0.21457 | 0.16099 | 0.16099 | 0.16099 | 1.3323e-13 | 0.18909 | -0.18254 | 0.0016086 | -0.14067 | 0.13815 | 1.0614e-13 | -0.29991 | -0.30286 | 0.00033379 | 0.22509 | 0.22781 | -90.4537 | -90.4537 | -90.4537 | 89.441 | 89.441 | 89.441 | 0 | 1.6524 | 1.648 | 0.010205 | 1.6488 | 1.655 | 0 | -148.2232 | 148.468 | 101.164 | -148.5551 | 148.2083
Line_1 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0069709 | 0.0069709 | 0.0069709 | 0.026837 | 0.026837 | 0.026837 | 0.080493 | 0.080493 | 0.080493 | 0.00034474 | -0.023412 | 0.023067 | -0.00080429 | 0.070337 | -0.069073 | 7.1796e-05 | 0.037515 | 0.038016 | -0.0001669 | -0.11255 | -0.11391 | 89.3829 | 89.3829 | 89.3829 | -90.559 | -90.559 | -90.559 | 0.013121 | 1.6478 | 1.657 | 0.010205 | 1.6488 | 1.655 | 101.1474 | -148.6502 | 148.1344 | 101.164 | -148.5551 | 148.2083
Line_2 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0069709 | 0.0069709 | 0.0069709 | 0.026837 | 0.026837 | 0.026837 | 0.080493 | 0.080493 | 0.080493 | 0.00034474 | -0.023412 | 0.023067 | -0.00080429 | 0.070337 | -0.069073 | 7.1796e-05 | 0.037515 | 0.038016 | -0.0001669 | -0.11255 | -0.11391 | 89.3829 | 89.3829 | 89.3829 | -90.559 | -90.559 | -90.559 | 0.013121 | 1.6478 | 1.657 | 0.010205 | 1.6488 | 1.655 | 101.1474 | -148.6502 | 148.1344 | 101.164 | -148.5551 | 148.2083
Line_3 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0023241 | 0.026837 | 0.026837 | 0.026837 | 0.026837 | 0.026837 | 0.026837 | -0.00034474 | 0.023412 | -0.023067 | -0.00034474 | 0.023412 | -0.023067 | -7.1796e-05 | -0.037515 | -0.038016 | -7.1796e-05 | -0.037515 | -0.038016 | -90.6171 | -90.6171 | -90.6171 | -90.6171 | -90.6171 | -90.6171 | 0.013121 | 1.6478 | 1.657 | 0.013121 | 1.6478 | 1.657 | 101.1474 | -148.6502 | 148.1344 | 101.1474 | -148.6502 | 148.1344

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018582 | 0.018582 | 0.018582 | 0.013942 | 0.013942 | 0.013942 | 0.21457 | 0.21457 | 0.21457 | 0.16099 | 0.16099 | 0.16099 | 1.3323e-13 | 0.18909 | -0.18254 | 0.0016086 | -0.14067 | 0.13815 | 1.0614e-13 | -0.29991 | -0.30286 | 0.00033379 | 0.22509 | 0.22781 | -90.4537 | -90.4537 | -90.4537 | 89.441 | 89.441 | 89.441 | 0 | 1.6524 | 1.648 | 0.010205 | 1.6488 | 1.655 | 0 | -148.2232 | 148.468 | 101.164 | -148.5551 | 148.2083
Line_1 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0069709 | 0.0069709 | 0.0069709 | 0.026837 | 0.026837 | 0.026837 | 0.080493 | 0.080493 | 0.080493 | 0.00034474 | -0.023412 | 0.023067 | -0.00080429 | 0.070337 | -0.069073 | 7.1796e-05 | 0.037515 | 0.038016 | -0.0001669 | -0.11255 | -0.11391 | 89.3829 | 89.3829 | 89.3829 | -90.559 | -90.559 | -90.559 | 0.013121 | 1.6478 | 1.657 | 0.010205 | 1.6488 | 1.655 | 101.1474 | -148.6502 | 148.1344 | 101.164 | -148.5551 | 148.2083
Line_2 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0069709 | 0.0069709 | 0.0069709 | 0.026837 | 0.026837 | 0.026837 | 0.080493 | 0.080493 | 0.080493 | 0.00034474 | -0.023412 | 0.023067 | -0.00080429 | 0.070337 | -0.069073 | 7.1796e-05 | 0.037515 | 0.038016 | -0.0001669 | -0.11255 | -0.11391 | 89.3829 | 89.3829 | 89.3829 | -90.559 | -90.559 | -90.559 | 0.013121 | 1.6478 | 1.657 | 0.010205 | 1.6488 | 1.655 | 101.1474 | -148.6502 | 148.1344 | 101.164 | -148.5551 | 148.2083
Line_3 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0023241 | 0.0023241 | 0.026837 | 0.026837 | 0.026837 | 0.026837 | 0.026837 | 0.026837 | -0.00034474 | 0.023412 | -0.023067 | -0.00034474 | 0.023412 | -0.023067 | -7.1796e-05 | -0.037515 | -0.038016 | -7.1796e-05 | -0.037515 | -0.038016 | -90.6171 | -90.6171 | -90.6171 | -90.6171 | -90.6171 | -90.6171 | 0.013121 | 1.6478 | 1.657 | 0.013121 | 1.6478 | 1.657 | 101.1474 | -148.6502 | 148.1344 | 101.1474 | -148.6502 | 148.1344

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015307 | 0.015307 | 0.015307 | 0.011484 | 0.011484 | 0.011484 | 0.17675 | 0.17675 | 0.17675 | 0.13261 | 0.13261 | 0.13261 | 0.028352 | 0.13929 | -0.1632 | -0.02014 | -0.10375 | 0.12327 | 0.029052 | -0.24259 | -0.19548 | -0.02161 | 0.18204 | 0.14712 | -81.1479 | -81.1479 | -81.1479 | 98.7468 | 98.7468 | 98.7468 | 0.22967 | 1.5827 | 1.4407 | 0.22275 | 1.5801 | 1.4473 | -35.4491 | -141.2839 | 148.9947 | -34.2374 | -141.5735 | 148.7874
Line_1 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0057422 | 0.0057422 | 0.0057422 | 0.022106 | 0.022106 | 0.022106 | 0.066306 | 0.066306 | 0.066306 | -0.0033017 | -0.017274 | 0.020576 | 0.01007 | 0.051875 | -0.061633 | -0.003595 | 0.03034 | 0.024556 | 0.010805 | -0.091022 | -0.073558 | 98.6887 | 98.6887 | 98.6887 | -81.2532 | -81.2532 | -81.2532 | 0.2208 | 1.5793 | 1.4492 | 0.22275 | 1.5801 | 1.4473 | -33.8765 | -141.6563 | 148.7284 | -34.2374 | -141.5735 | 148.7874
Line_2 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0057422 | 0.0057422 | 0.0057422 | 0.022106 | 0.022106 | 0.022106 | 0.066306 | 0.066306 | 0.066306 | -0.0033017 | -0.017274 | 0.020576 | 0.01007 | 0.051875 | -0.061633 | -0.003595 | 0.03034 | 0.024556 | 0.010805 | -0.091022 | -0.073558 | 98.6887 | 98.6887 | 98.6887 | -81.2532 | -81.2532 | -81.2532 | 0.2208 | 1.5793 | 1.4492 | 0.22275 | 1.5801 | 1.4473 | -33.8765 | -141.6563 | 148.7284 | -34.2374 | -141.5735 | 148.7874
Line_3 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0019145 | 0.022106 | 0.022106 | 0.022106 | 0.022106 | 0.022106 | 0.022106 | 0.0033017 | 0.017274 | -0.020576 | 0.0033017 | 0.017274 | -0.020576 | 0.003595 | -0.03034 | -0.024556 | 0.003595 | -0.03034 | -0.024556 | -81.3113 | -81.3113 | -81.3113 | -81.3113 | -81.3113 | -81.3113 | 0.2208 | 1.5793 | 1.4492 | 0.2208 | 1.5793 | 1.4492 | -33.8765 | -141.6563 | 148.7284 | -33.8765 | -141.6563 | 148.7284

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015307 | 0.015307 | 0.015307 | 0.011484 | 0.011484 | 0.011484 | 0.17675 | 0.17675 | 0.17675 | 0.13261 | 0.13261 | 0.13261 | 0.028352 | 0.13929 | -0.1632 | -0.02014 | -0.10375 | 0.12327 | 0.029052 | -0.24259 | -0.19548 | -0.02161 | 0.18204 | 0.14712 | -81.1479 | -81.1479 | -81.1479 | 98.7468 | 98.7468 | 98.7468 | 0.22967 | 1.5827 | 1.4407 | 0.22275 | 1.5801 | 1.4473 | -35.4491 | -141.2839 | 148.9947 | -34.2374 | -141.5735 | 148.7874
Line_1 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0057422 | 0.0057422 | 0.0057422 | 0.022106 | 0.022106 | 0.022106 | 0.066306 | 0.066306 | 0.066306 | -0.0033017 | -0.017274 | 0.020576 | 0.01007 | 0.051875 | -0.061633 | -0.003595 | 0.03034 | 0.024556 | 0.010805 | -0.091022 | -0.073558 | 98.6887 | 98.6887 | 98.6887 | -81.2532 | -81.2532 | -81.2532 | 0.2208 | 1.5793 | 1.4492 | 0.22275 | 1.5801 | 1.4473 | -33.8765 | -141.6563 | 148.7284 | -34.2374 | -141.5735 | 148.7874
Line_2 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0057422 | 0.0057422 | 0.0057422 | 0.022106 | 0.022106 | 0.022106 | 0.066306 | 0.066306 | 0.066306 | -0.0033017 | -0.017274 | 0.020576 | 0.01007 | 0.051875 | -0.061633 | -0.003595 | 0.03034 | 0.024556 | 0.010805 | -0.091022 | -0.073558 | 98.6887 | 98.6887 | 98.6887 | -81.2532 | -81.2532 | -81.2532 | 0.2208 | 1.5793 | 1.4492 | 0.22275 | 1.5801 | 1.4473 | -33.8765 | -141.6563 | 148.7284 | -34.2374 | -141.5735 | 148.7874
Line_3 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0019145 | 0.0019145 | 0.022106 | 0.022106 | 0.022106 | 0.022106 | 0.022106 | 0.022106 | 0.0033017 | 0.017274 | -0.020576 | 0.0033017 | 0.017274 | -0.020576 | 0.003595 | -0.03034 | -0.024556 | 0.003595 | -0.03034 | -0.024556 | -81.3113 | -81.3113 | -81.3113 | -81.3113 | -81.3113 | -81.3113 | 0.2208 | 1.5793 | 1.4492 | 0.2208 | 1.5793 | 1.4492 | -33.8765 | -141.6563 | 148.7284 | -33.8765 | -141.6563 | 148.7284

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01074 | 0.01074 | 0.01074 | 0.008058 | 0.008058 | 0.008058 | 0.12401 | 0.12401 | 0.12401 | 0.093046 | 0.093046 | 0.093046 | 0.0011396 | -5.2472e-14 | -5.474e-14 | -0.00071978 | 0.00027988 | 0.00027988 | -0.20136 | -9.7808e-14 | 9.1566e-14 | 0.15119 | 0.00011139 | 0.00011139 | 89.7177 | 89.7177 | 89.7177 | -90.3371 | -90.3371 | -90.3371 | 1.6237 | 0 | 0 | 1.6249 | 0.0032374 | 0.0032374 | 0.042 | 0 | 0 | -0.064342 | -68.6341 | -68.6341
Line_1 | 0.0013433 | 0.0013433 | 0.0013433 | 0.004029 | 0.004029 | 0.004029 | 0.015511 | 0.015511 | 0.015511 | 0.046523 | 0.046523 | 0.046523 | -0.00011996 | 5.9981e-05 | 5.9981e-05 | 0.00035989 | -0.00013994 | -0.00013994 | 0.025208 | 2.3899e-05 | 2.3899e-05 | -0.075593 | -5.5697e-05 | -5.5697e-05 | -90.3674 | -90.3674 | -90.3674 | 89.6629 | 89.6629 | 89.6629 | 1.6252 | 0.0041627 | 0.0041627 | 1.6249 | 0.0032374 | 0.0032374 | -0.094713 | -68.6427 | -68.6427 | -0.064342 | -68.6341 | -68.6341
Line_2 | 0.0013433 | 0.0013433 | 0.0013433 | 0.004029 | 0.004029 | 0.004029 | 0.015511 | 0.015511 | 0.015511 | 0.046523 | 0.046523 | 0.046523 | -0.00011996 | 5.9981e-05 | 5.9981e-05 | 0.00035989 | -0.00013994 | -0.00013994 | 0.025208 | 2.3899e-05 | 2.3899e-05 | -0.075593 | -5.5697e-05 | -5.5697e-05 | -90.3674 | -90.3674 | -90.3674 | 89.6629 | 89.6629 | 89.6629 | 1.6252 | 0.0041627 | 0.0041627 | 1.6249 | 0.0032374 | 0.0032374 | -0.094713 | -68.6427 | -68.6427 | -0.064342 | -68.6341 | -68.6341
Line_3 | 0.0013433 | 0.0013433 | 0.0013433 | 0.0013433 | 0.0013433 | 0.0013433 | 0.015511 | 0.015511 | 0.015511 | 0.015511 | 0.015511 | 0.015511 | 0.00011996 | -5.9981e-05 | -5.9981e-05 | 0.00011996 | -5.9981e-05 | -5.9981e-05 | -0.025208 | -2.3899e-05 | -2.3899e-05 | -0.025208 | -2.3899e-05 | -2.3899e-05 | 89.6326 | 89.6326 | 89.6326 | 89.6326 | 89.6326 | 89.6326 | 1.6252 | 0.0041627 | 0.0041627 | 1.6252 | 0.0041627 | 0.0041627 | -0.094713 | -68.6427 | -68.6427 | -0.094713 | -68.6427 | -68.6427

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01074 | 0.01074 | 0.01074 | 0.008058 | 0.008058 | 0.008058 | 0.12401 | 0.12401 | 0.12401 | 0.093046 | 0.093046 | 0.093046 | 0.0011396 | -5.2472e-14 | -5.474e-14 | -0.00071978 | 0.00027988 | 0.00027988 | -0.20136 | -9.7808e-14 | 9.1566e-14 | 0.15119 | 0.00011139 | 0.00011139 | 89.7177 | 89.7177 | 89.7177 | -90.3371 | -90.3371 | -90.3371 | 1.6237 | 0 | 0 | 1.6249 | 0.0032374 | 0.0032374 | 0.042 | 0 | 0 | -0.064342 | -68.6341 | -68.6341
Line_1 | 0.0013433 | 0.0013433 | 0.0013433 | 0.004029 | 0.004029 | 0.004029 | 0.015511 | 0.015511 | 0.015511 | 0.046523 | 0.046523 | 0.046523 | -0.00011996 | 5.9981e-05 | 5.9981e-05 | 0.00035989 | -0.00013994 | -0.00013994 | 0.025208 | 2.3899e-05 | 2.3899e-05 | -0.075593 | -5.5697e-05 | -5.5697e-05 | -90.3674 | -90.3674 | -90.3674 | 89.6629 | 89.6629 | 89.6629 | 1.6252 | 0.0041627 | 0.0041627 | 1.6249 | 0.0032374 | 0.0032374 | -0.094713 | -68.6427 | -68.6427 | -0.064342 | -68.6341 | -68.6341
Line_2 | 0.0013433 | 0.0013433 | 0.0013433 | 0.004029 | 0.004029 | 0.004029 | 0.015511 | 0.015511 | 0.015511 | 0.046523 | 0.046523 | 0.046523 | -0.00011996 | 5.9981e-05 | 5.9981e-05 | 0.00035989 | -0.00013994 | -0.00013994 | 0.025208 | 2.3899e-05 | 2.3899e-05 | -0.075593 | -5.5697e-05 | -5.5697e-05 | -90.3674 | -90.3674 | -90.3674 | 89.6629 | 89.6629 | 89.6629 | 1.6252 | 0.0041627 | 0.0041627 | 1.6249 | 0.0032374 | 0.0032374 | -0.094713 | -68.6427 | -68.6427 | -0.064342 | -68.6341 | -68.6341
Line_3 | 0.0013433 | 0.0013433 | 0.0013433 | 0.0013433 | 0.0013433 | 0.0013433 | 0.015511 | 0.015511 | 0.015511 | 0.015511 | 0.015511 | 0.015511 | 0.00011996 | -5.9981e-05 | -5.9981e-05 | 0.00011996 | -5.9981e-05 | -5.9981e-05 | -0.025208 | -2.3899e-05 | -2.3899e-05 | -0.025208 | -2.3899e-05 | -2.3899e-05 | 89.6326 | 89.6326 | 89.6326 | 89.6326 | 89.6326 | 89.6326 | 1.6252 | 0.0041627 | 0.0041627 | 1.6252 | 0.0041627 | 0.0041627 | -0.094713 | -68.6427 | -68.6427 | -0.094713 | -68.6427 | -68.6427

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009688 | 0.009688 | 0.009688 | 0.0072687 | 0.0072687 | 0.0072687 | 0.11187 | 0.11187 | 0.11187 | 0.083932 | 0.083932 | 0.083932 | -0.010499 | -0.075872 | 0.087299 | 0.0079792 | 0.057173 | -0.065283 | -0.17542 | 0.027836 | -0.016263 | 0.13171 | -0.02074 | 0.01223 | 95.0724 | 95.0724 | 95.0724 | -84.9824 | -84.9824 | -84.9824 | 1.5709 | 0.72244 | 0.79381 | 1.5721 | 0.72462 | 0.79134 | 1.6471 | -105.0744 | 84.5198 | 1.5507 | -104.9205 | 84.4071
Line_1 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0036344 | 0.0036344 | 0.0036344 | 0.013992 | 0.013992 | 0.013992 | 0.041966 | 0.041966 | 0.041966 | 0.0013294 | 0.0095436 | -0.010873 | -0.0039896 | -0.028587 | 0.032641 | 0.021961 | -0.003448 | 0.0020373 | -0.065855 | 0.01037 | -0.0061149 | -85.0127 | -85.0127 | -85.0127 | 95.0176 | 95.0176 | 95.0176 | 1.5725 | 0.72524 | 0.79063 | 1.5721 | 0.72462 | 0.79134 | 1.5232 | -104.8768 | 84.3748 | 1.5507 | -104.9205 | 84.4071
Line_2 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0036344 | 0.0036344 | 0.0036344 | 0.013992 | 0.013992 | 0.013992 | 0.041966 | 0.041966 | 0.041966 | 0.0013294 | 0.0095436 | -0.010873 | -0.0039896 | -0.028587 | 0.032641 | 0.021961 | -0.003448 | 0.0020373 | -0.065855 | 0.01037 | -0.0061149 | -85.0127 | -85.0127 | -85.0127 | 95.0176 | 95.0176 | 95.0176 | 1.5725 | 0.72524 | 0.79063 | 1.5721 | 0.72462 | 0.79134 | 1.5232 | -104.8768 | 84.3748 | 1.5507 | -104.9205 | 84.4071
Line_3 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0012117 | 0.013992 | 0.013992 | 0.013992 | 0.013992 | 0.013992 | 0.013992 | -0.0013294 | -0.0095436 | 0.010873 | -0.0013294 | -0.0095436 | 0.010873 | -0.021961 | 0.003448 | -0.0020373 | -0.021961 | 0.003448 | -0.0020373 | 94.9873 | 94.9873 | 94.9873 | 94.9873 | 94.9873 | 94.9873 | 1.5725 | 0.72524 | 0.79063 | 1.5725 | 0.72524 | 0.79063 | 1.5232 | -104.8768 | 84.3748 | 1.5232 | -104.8768 | 84.3748

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009688 | 0.009688 | 0.009688 | 0.0072687 | 0.0072687 | 0.0072687 | 0.11187 | 0.11187 | 0.11187 | 0.083932 | 0.083932 | 0.083932 | -0.010499 | -0.075872 | 0.087299 | 0.0079792 | 0.057173 | -0.065283 | -0.17542 | 0.027836 | -0.016263 | 0.13171 | -0.02074 | 0.01223 | 95.0724 | 95.0724 | 95.0724 | -84.9824 | -84.9824 | -84.9824 | 1.5709 | 0.72244 | 0.79381 | 1.5721 | 0.72462 | 0.79134 | 1.6471 | -105.0744 | 84.5198 | 1.5507 | -104.9205 | 84.4071
Line_1 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0036344 | 0.0036344 | 0.0036344 | 0.013992 | 0.013992 | 0.013992 | 0.041966 | 0.041966 | 0.041966 | 0.0013294 | 0.0095436 | -0.010873 | -0.0039896 | -0.028587 | 0.032641 | 0.021961 | -0.003448 | 0.0020373 | -0.065855 | 0.01037 | -0.0061149 | -85.0127 | -85.0127 | -85.0127 | 95.0176 | 95.0176 | 95.0176 | 1.5725 | 0.72524 | 0.79063 | 1.5721 | 0.72462 | 0.79134 | 1.5232 | -104.8768 | 84.3748 | 1.5507 | -104.9205 | 84.4071
Line_2 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0036344 | 0.0036344 | 0.0036344 | 0.013992 | 0.013992 | 0.013992 | 0.041966 | 0.041966 | 0.041966 | 0.0013294 | 0.0095436 | -0.010873 | -0.0039896 | -0.028587 | 0.032641 | 0.021961 | -0.003448 | 0.0020373 | -0.065855 | 0.01037 | -0.0061149 | -85.0127 | -85.0127 | -85.0127 | 95.0176 | 95.0176 | 95.0176 | 1.5725 | 0.72524 | 0.79063 | 1.5721 | 0.72462 | 0.79134 | 1.5232 | -104.8768 | 84.3748 | 1.5507 | -104.9205 | 84.4071
Line_3 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0012117 | 0.0012117 | 0.013992 | 0.013992 | 0.013992 | 0.013992 | 0.013992 | 0.013992 | -0.0013294 | -0.0095436 | 0.010873 | -0.0013294 | -0.0095436 | 0.010873 | -0.021961 | 0.003448 | -0.0020373 | -0.021961 | 0.003448 | -0.0020373 | 94.9873 | 94.9873 | 94.9873 | 94.9873 | 94.9873 | 94.9873 | 1.5725 | 0.72524 | 0.79063 | 1.5725 | 0.72524 | 0.79063 | 1.5232 | -104.8768 | 84.3748 | 1.5232 | -104.8768 | 84.3748

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0097558 | 0.0097558 | 0.0097558 | 0.0073196 | 0.0073196 | 0.0073196 | 0.11265 | 0.11265 | 0.11265 | 0.08452 | 0.08452 | 0.08452 | 0.0018054 | -1.0301e-13 | 1.0801e-13 | -0.0011403 | 0.00044339 | 0.00044339 | -0.16615 | 5.8971e-14 | 5.9412e-14 | 0.12475 | 9.2007e-05 | 9.2007e-05 | 89.4218 | 89.4218 | 89.4218 | -90.6835 | -90.6835 | -90.6835 | 1.475 | 0 | 0 | 1.476 | 0.0053578 | 0.0053578 | 0.044335 | 0 | 0 | -0.15982 | -78.9606 | -78.9606
Line_1 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0036598 | 0.0036598 | 0.0036598 | 0.01409 | 0.01409 | 0.01409 | 0.04226 | 0.04226 | 0.04226 | -0.00019005 | 9.5024e-05 | 9.5024e-05 | 0.00057014 | -0.0002217 | -0.0002217 | 0.0208 | 1.979e-05 | 1.979e-05 | -0.062374 | -4.6004e-05 | -4.6004e-05 | -90.7416 | -90.7416 | -90.7416 | 89.3165 | 89.3165 | 89.3165 | 1.4763 | 0.006889 | 0.006889 | 1.476 | 0.0053578 | 0.0053578 | -0.21813 | -78.9772 | -78.9772 | -0.15982 | -78.9606 | -78.9606
Line_2 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0036598 | 0.0036598 | 0.0036598 | 0.01409 | 0.01409 | 0.01409 | 0.04226 | 0.04226 | 0.04226 | -0.00019005 | 9.5024e-05 | 9.5024e-05 | 0.00057014 | -0.0002217 | -0.0002217 | 0.0208 | 1.979e-05 | 1.979e-05 | -0.062374 | -4.6004e-05 | -4.6004e-05 | -90.7416 | -90.7416 | -90.7416 | 89.3165 | 89.3165 | 89.3165 | 1.4763 | 0.006889 | 0.006889 | 1.476 | 0.0053578 | 0.0053578 | -0.21813 | -78.9772 | -78.9772 | -0.15982 | -78.9606 | -78.9606
Line_3 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0012202 | 0.01409 | 0.01409 | 0.01409 | 0.01409 | 0.01409 | 0.01409 | 0.00019005 | -9.5024e-05 | -9.5024e-05 | 0.00019005 | -9.5024e-05 | -9.5024e-05 | -0.0208 | -1.979e-05 | -1.979e-05 | -0.0208 | -1.979e-05 | -1.979e-05 | 89.2584 | 89.2584 | 89.2584 | 89.2584 | 89.2584 | 89.2584 | 1.4763 | 0.006889 | 0.006889 | 1.4763 | 0.006889 | 0.006889 | -0.21813 | -78.9772 | -78.9772 | -0.21813 | -78.9772 | -78.9772

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0097558 | 0.0097558 | 0.0097558 | 0.0073196 | 0.0073196 | 0.0073196 | 0.11265 | 0.11265 | 0.11265 | 0.08452 | 0.08452 | 0.08452 | 0.0018054 | -1.0301e-13 | 1.0801e-13 | -0.0011403 | 0.00044339 | 0.00044339 | -0.16615 | 5.8971e-14 | 5.9412e-14 | 0.12475 | 9.2007e-05 | 9.2007e-05 | 89.4218 | 89.4218 | 89.4218 | -90.6835 | -90.6835 | -90.6835 | 1.475 | 0 | 0 | 1.476 | 0.0053578 | 0.0053578 | 0.044335 | 0 | 0 | -0.15982 | -78.9606 | -78.9606
Line_1 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0036598 | 0.0036598 | 0.0036598 | 0.01409 | 0.01409 | 0.01409 | 0.04226 | 0.04226 | 0.04226 | -0.00019005 | 9.5024e-05 | 9.5024e-05 | 0.00057014 | -0.0002217 | -0.0002217 | 0.0208 | 1.979e-05 | 1.979e-05 | -0.062374 | -4.6004e-05 | -4.6004e-05 | -90.7416 | -90.7416 | -90.7416 | 89.3165 | 89.3165 | 89.3165 | 1.4763 | 0.006889 | 0.006889 | 1.476 | 0.0053578 | 0.0053578 | -0.21813 | -78.9772 | -78.9772 | -0.15982 | -78.9606 | -78.9606
Line_2 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0036598 | 0.0036598 | 0.0036598 | 0.01409 | 0.01409 | 0.01409 | 0.04226 | 0.04226 | 0.04226 | -0.00019005 | 9.5024e-05 | 9.5024e-05 | 0.00057014 | -0.0002217 | -0.0002217 | 0.0208 | 1.979e-05 | 1.979e-05 | -0.062374 | -4.6004e-05 | -4.6004e-05 | -90.7416 | -90.7416 | -90.7416 | 89.3165 | 89.3165 | 89.3165 | 1.4763 | 0.006889 | 0.006889 | 1.476 | 0.0053578 | 0.0053578 | -0.21813 | -78.9772 | -78.9772 | -0.15982 | -78.9606 | -78.9606
Line_3 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0012202 | 0.0012202 | 0.01409 | 0.01409 | 0.01409 | 0.01409 | 0.01409 | 0.01409 | 0.00019005 | -9.5024e-05 | -9.5024e-05 | 0.00019005 | -9.5024e-05 | -9.5024e-05 | -0.0208 | -1.979e-05 | -1.979e-05 | -0.0208 | -1.979e-05 | -1.979e-05 | 89.2584 | 89.2584 | 89.2584 | 89.2584 | 89.2584 | 89.2584 | 1.4763 | 0.006889 | 0.006889 | 1.4763 | 0.006889 | 0.006889 | -0.21813 | -78.9772 | -78.9772 | -0.21813 | -78.9772 | -78.9772

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0088005 | 0.0088005 | 0.0088005 | 0.0066029 | 0.0066029 | 0.0066029 | 0.10162 | 0.10162 | 0.10162 | 0.076244 | 0.076244 | 0.076244 | -0.0079027 | -0.061978 | 0.071349 | 0.0060904 | 0.046893 | -0.05319 | -0.14481 | 0.022879 | -0.013276 | 0.10873 | -0.017006 | 0.0099374 | 94.768 | 94.768 | 94.768 | -85.3373 | -85.3373 | -85.3373 | 1.4271 | 0.65013 | 0.71417 | 1.4283 | 0.65424 | 0.7097 | 1.6442 | -105.494 | 84.2273 | 1.4567 | -105.2704 | 84.0802
Line_1 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0033015 | 0.0033015 | 0.0033015 | 0.01271 | 0.01271 | 0.01271 | 0.038122 | 0.038122 | 0.038122 | 0.0010141 | 0.0078372 | -0.0088513 | -0.0030452 | -0.023447 | 0.026595 | 0.01813 | -0.0028234 | 0.0016511 | -0.054366 | 0.0085029 | -0.0049687 | -85.3954 | -85.3954 | -85.3954 | 94.6627 | 94.6627 | 94.6627 | 1.4287 | 0.65541 | 0.70842 | 1.4283 | 0.65424 | 0.7097 | 1.4032 | -105.2072 | 84.0379 | 1.4567 | -105.2704 | 84.0802
Line_2 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0033015 | 0.0033015 | 0.0033015 | 0.01271 | 0.01271 | 0.01271 | 0.038122 | 0.038122 | 0.038122 | 0.0010141 | 0.0078372 | -0.0088513 | -0.0030452 | -0.023447 | 0.026595 | 0.01813 | -0.0028234 | 0.0016511 | -0.054366 | 0.0085029 | -0.0049687 | -85.3954 | -85.3954 | -85.3954 | 94.6627 | 94.6627 | 94.6627 | 1.4287 | 0.65541 | 0.70842 | 1.4283 | 0.65424 | 0.7097 | 1.4032 | -105.2072 | 84.0379 | 1.4567 | -105.2704 | 84.0802
Line_3 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0011007 | 0.01271 | 0.01271 | 0.01271 | 0.01271 | 0.01271 | 0.01271 | -0.0010141 | -0.0078372 | 0.0088513 | -0.0010141 | -0.0078372 | 0.0088513 | -0.01813 | 0.0028234 | -0.0016511 | -0.01813 | 0.0028234 | -0.0016511 | 94.6046 | 94.6046 | 94.6046 | 94.6046 | 94.6046 | 94.6046 | 1.4287 | 0.65541 | 0.70842 | 1.4287 | 0.65541 | 0.70842 | 1.4032 | -105.2072 | 84.0379 | 1.4032 | -105.2072 | 84.0379

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0088005 | 0.0088005 | 0.0088005 | 0.0066029 | 0.0066029 | 0.0066029 | 0.10162 | 0.10162 | 0.10162 | 0.076244 | 0.076244 | 0.076244 | -0.0079027 | -0.061978 | 0.071349 | 0.0060904 | 0.046893 | -0.05319 | -0.14481 | 0.022879 | -0.013276 | 0.10873 | -0.017006 | 0.0099374 | 94.768 | 94.768 | 94.768 | -85.3373 | -85.3373 | -85.3373 | 1.4271 | 0.65013 | 0.71417 | 1.4283 | 0.65424 | 0.7097 | 1.6442 | -105.494 | 84.2273 | 1.4567 | -105.2704 | 84.0802
Line_1 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0033015 | 0.0033015 | 0.0033015 | 0.01271 | 0.01271 | 0.01271 | 0.038122 | 0.038122 | 0.038122 | 0.0010141 | 0.0078372 | -0.0088513 | -0.0030452 | -0.023447 | 0.026595 | 0.01813 | -0.0028234 | 0.0016511 | -0.054366 | 0.0085029 | -0.0049687 | -85.3954 | -85.3954 | -85.3954 | 94.6627 | 94.6627 | 94.6627 | 1.4287 | 0.65541 | 0.70842 | 1.4283 | 0.65424 | 0.7097 | 1.4032 | -105.2072 | 84.0379 | 1.4567 | -105.2704 | 84.0802
Line_2 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0033015 | 0.0033015 | 0.0033015 | 0.01271 | 0.01271 | 0.01271 | 0.038122 | 0.038122 | 0.038122 | 0.0010141 | 0.0078372 | -0.0088513 | -0.0030452 | -0.023447 | 0.026595 | 0.01813 | -0.0028234 | 0.0016511 | -0.054366 | 0.0085029 | -0.0049687 | -85.3954 | -85.3954 | -85.3954 | 94.6627 | 94.6627 | 94.6627 | 1.4287 | 0.65541 | 0.70842 | 1.4283 | 0.65424 | 0.7097 | 1.4032 | -105.2072 | 84.0379 | 1.4567 | -105.2704 | 84.0802
Line_3 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0011007 | 0.0011007 | 0.01271 | 0.01271 | 0.01271 | 0.01271 | 0.01271 | 0.01271 | -0.0010141 | -0.0078372 | 0.0088513 | -0.0010141 | -0.0078372 | 0.0088513 | -0.01813 | 0.0028234 | -0.0016511 | -0.01813 | 0.0028234 | -0.0016511 | 94.6046 | 94.6046 | 94.6046 | 94.6046 | 94.6046 | 94.6046 | 1.4287 | 0.65541 | 0.70842 | 1.4287 | 0.65541 | 0.70842 | 1.4032 | -105.2072 | 84.0379 | 1.4032 | -105.2072 | 84.0379