## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8581e-14 | 4.6896e-14 | -3.1264e-14 | 7.2949e-14 | -2.8658e-14 | 2.6054e-14 | 2.6053e-14 | 5.7634e-09 | -5.7634e-09 | -2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1159e-12 | 180 | -180 | 1.1052e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0083e-28 | -2.6053e-14 | 2.0843e-14 | -1.5632e-14 | 3.3869e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1087e-12 | -180 | 180 | 1.1052e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.6053e-14 | 2.0843e-14 | -2.6053e-14 | 4.429e-14 | -1.5632e-14 | 2.0213e-28 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1113e-12 | -180 | 180 | 1.1052e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2106e-15 | -5.2106e-15 | 0 | -2.5747e-25 | 5.2106e-15 | -2.0166e-28 | -7.816e-15 | 5.2106e-15 | 0 | 2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1087e-12 | -180 | 180 | 1.1113e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8581e-14 | 4.6896e-14 | -3.1264e-14 | 7.2949e-14 | -2.8658e-14 | 2.6054e-14 | 2.6053e-14 | 5.7634e-09 | -5.7634e-09 | -2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1159e-12 | 180 | -180 | 1.1052e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0083e-28 | -2.6053e-14 | 2.0843e-14 | -1.5632e-14 | 3.3869e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1087e-12 | -180 | 180 | 1.1052e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.6053e-14 | 2.0843e-14 | -2.6053e-14 | 4.429e-14 | -1.5632e-14 | 2.0213e-28 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1113e-12 | -180 | 180 | 1.1052e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2106e-15 | -5.2106e-15 | 0 | -2.5747e-25 | 5.2106e-15 | -2.0166e-28 | -7.816e-15 | 5.2106e-15 | 0 | 2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.1087e-12 | -180 | 180 | 1.1113e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2988e-14 | -9.5549e-10 | -3.075e-09 | 3.3869e-14 | 9.555e-10 | 3.075e-09 | -3.6692e-28 | 4.0277e-09 | -3.5662e-10 | -2.6053e-15 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8905e-13 | -140.8543 | 122.4159 | 4.8627e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1889e-10 | 2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8915e-13 | -140.8543 | 122.4159 | 4.8627e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6576e-29 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1889e-10 | 5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8804e-13 | -140.8543 | 122.4159 | 4.8627e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | -4.7335e-15 | 9.1435e-15 | -1.3027e-15 | 1.1604e-14 | -1.7756e-15 | 2.6053e-15 | 7.5692e-15 | -2.0411e-15 | -2.6053e-15 | -1.9769e-15 | 2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8915e-13 | -140.8543 | 122.4159 | 4.8804e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2988e-14 | -9.5549e-10 | -3.075e-09 | 3.3869e-14 | 9.555e-10 | 3.075e-09 | -3.6692e-28 | 4.0277e-09 | -3.5662e-10 | -2.6053e-15 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8905e-13 | -140.8543 | 122.4159 | 4.8627e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1889e-10 | 2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8915e-13 | -140.8543 | 122.4159 | 4.8627e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6576e-29 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1889e-10 | 5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8804e-13 | -140.8543 | 122.4159 | 4.8627e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | -4.7335e-15 | 9.1435e-15 | -1.3027e-15 | 1.1604e-14 | -1.7756e-15 | 2.6053e-15 | 7.5692e-15 | -2.0411e-15 | -2.6053e-15 | -1.9769e-15 | 2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8915e-13 | -140.8543 | 122.4159 | 4.8804e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | 3.4343e-14 | -7.1054e-15 | -1.6579e-14 | -2.6053e-14 | 9.4746e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0523e-12 | -180 | 180 | 1.1133e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.3026e-14 | 7.1057e-15 | 7.1054e-15 | 1.6579e-14 | -4.7372e-15 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1231e-12 | -180 | 180 | 1.1133e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -1.3026e-14 | -2.3682e-15 | 1.1842e-14 | 1.6579e-14 | 4.7367e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1026e-12 | -180 | 180 | 1.1133e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 4.737e-15 | 4.737e-15 | -4.737e-15 | -2.3685e-15 | -4.737e-15 | -1.4211e-14 | 4.737e-15 | -9.4739e-15 | 9.4739e-15 | -4.5425e-25 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1231e-12 | -180 | 180 | 1.1026e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | 3.4343e-14 | -7.1054e-15 | -1.6579e-14 | -2.6053e-14 | 9.4746e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0523e-12 | -180 | 180 | 1.1133e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.3026e-14 | 7.1057e-15 | 7.1054e-15 | 1.6579e-14 | -4.7372e-15 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1231e-12 | -180 | 180 | 1.1133e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -1.3026e-14 | -2.3682e-15 | 1.1842e-14 | 1.6579e-14 | 4.7367e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1026e-12 | -180 | 180 | 1.1133e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 4.737e-15 | 4.737e-15 | -4.737e-15 | -2.3685e-15 | -4.737e-15 | -1.4211e-14 | 4.737e-15 | -9.4739e-15 | 9.4739e-15 | -4.5425e-25 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1231e-12 | -180 | 180 | 1.1026e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | -8.0024e-10 | -2.5674e-09 | -3.2567e-15 | 8.0023e-10 | 2.5674e-09 | 1.4211e-14 | 3.4014e-09 | -3.4065e-10 | -4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.4712e-13 | -141.4824 | 122.8363 | 4.6827e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | 2.6674e-10 | 8.558e-10 | 7.4015e-15 | -2.6674e-10 | -8.558e-10 | -6.3339e-29 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.7145e-13 | -141.4824 | 122.8363 | 4.6827e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 2.6676e-10 | 8.558e-10 | 6.2172e-15 | -2.6676e-10 | -8.558e-10 | -4.299e-29 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.6221e-13 | -141.4824 | 122.8363 | 4.6827e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -9.8197e-15 | -6.8244e-16 | 5.9212e-16 | 1.0993e-14 | -8.0374e-16 | -1.4617e-29 | 7.5203e-15 | -4.4097e-15 | 4.7767e-30 | -6.5862e-15 | 1.2454e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.7145e-13 | -141.4824 | 122.8363 | 4.6221e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | -8.0024e-10 | -2.5674e-09 | -3.2567e-15 | 8.0023e-10 | 2.5674e-09 | 1.4211e-14 | 3.4014e-09 | -3.4065e-10 | -4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.4712e-13 | -141.4824 | 122.8363 | 4.6827e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6975e-15 | 2.6674e-10 | 8.558e-10 | 7.4015e-15 | -2.6674e-10 | -8.558e-10 | -6.3339e-29 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.7145e-13 | -141.4824 | 122.8363 | 4.6827e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 2.6676e-10 | 8.558e-10 | 6.2172e-15 | -2.6676e-10 | -8.558e-10 | -4.299e-29 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.6221e-13 | -141.4824 | 122.8363 | 4.6827e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -9.8197e-15 | -6.8244e-16 | 5.9212e-16 | 1.0993e-14 | -8.0374e-16 | -1.4617e-29 | 7.5203e-15 | -4.4097e-15 | 4.7767e-30 | -6.5862e-15 | 1.2454e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.7145e-13 | -141.4824 | 122.8363 | 4.6221e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020202 | 0.020202 | 0.020202 | 0.015157 | 0.015157 | 0.015157 | 0.23327 | 0.23327 | 0.23327 | 0.17502 | 0.17502 | 0.17502 | -3.6975e-13 | 0.22415 | -0.22012 | 0.00099023 | -0.16744 | 0.16588 | 1.0819e-13 | -0.35017 | -0.36225 | 0.00039412 | 0.26296 | 0.27234 | -91.5579 | -91.5579 | -91.5579 | 88.3873 | 88.3873 | 88.3873 | 0 | 1.7824 | 1.8172 | 0.0060895 | 1.7812 | 1.822 | 0 | -148.9335 | 147.1575 | 110.0903 | -149.1258 | 147.042
Line_1 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0075785 | 0.0075785 | 0.0075785 | 0.029176 | 0.029176 | 0.029176 | 0.087509 | 0.087509 | 0.087509 | 0.00021222 | -0.027888 | 0.027676 | -0.00049511 | 0.083719 | -0.082941 | 8.4557e-05 | 0.04384 | 0.045434 | -0.00019706 | -0.13148 | -0.13617 | 88.357 | 88.357 | 88.357 | -91.6127 | -91.6127 | -91.6127 | 0.0078299 | 1.7809 | 1.8234 | 0.0060895 | 1.7812 | 1.822 | 110.0817 | -149.1808 | 147.0091 | 110.0903 | -149.1258 | 147.042
Line_2 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0075785 | 0.0075785 | 0.0075785 | 0.029176 | 0.029176 | 0.029176 | 0.087509 | 0.087509 | 0.087509 | 0.00021222 | -0.027888 | 0.027676 | -0.00049511 | 0.083719 | -0.082941 | 8.4557e-05 | 0.04384 | 0.045434 | -0.00019706 | -0.13148 | -0.13617 | 88.357 | 88.357 | 88.357 | -91.6127 | -91.6127 | -91.6127 | 0.0078299 | 1.7809 | 1.8234 | 0.0060895 | 1.7812 | 1.822 | 110.0817 | -149.1808 | 147.0091 | 110.0903 | -149.1258 | 147.042
Line_3 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0025267 | 0.029176 | 0.029176 | 0.029176 | 0.029176 | 0.029176 | 0.029176 | -0.00021222 | 0.027888 | -0.027676 | -0.00021222 | 0.027888 | -0.027676 | -8.4557e-05 | -0.04384 | -0.045434 | -8.4557e-05 | -0.04384 | -0.045434 | -91.643 | -91.643 | -91.643 | -91.643 | -91.643 | -91.643 | 0.0078299 | 1.7809 | 1.8234 | 0.0078299 | 1.7809 | 1.8234 | 110.0817 | -149.1808 | 147.0091 | 110.0817 | -149.1808 | 147.0091

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020202 | 0.020202 | 0.020202 | 0.015157 | 0.015157 | 0.015157 | 0.23327 | 0.23327 | 0.23327 | 0.17502 | 0.17502 | 0.17502 | -3.6975e-13 | 0.22415 | -0.22012 | 0.00099023 | -0.16744 | 0.16588 | 1.0819e-13 | -0.35017 | -0.36225 | 0.00039412 | 0.26296 | 0.27234 | -91.5579 | -91.5579 | -91.5579 | 88.3873 | 88.3873 | 88.3873 | 0 | 1.7824 | 1.8172 | 0.0060895 | 1.7812 | 1.822 | 0 | -148.9335 | 147.1575 | 110.0903 | -149.1258 | 147.042
Line_1 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0075785 | 0.0075785 | 0.0075785 | 0.029176 | 0.029176 | 0.029176 | 0.087509 | 0.087509 | 0.087509 | 0.00021222 | -0.027888 | 0.027676 | -0.00049511 | 0.083719 | -0.082941 | 8.4557e-05 | 0.04384 | 0.045434 | -0.00019706 | -0.13148 | -0.13617 | 88.357 | 88.357 | 88.357 | -91.6127 | -91.6127 | -91.6127 | 0.0078299 | 1.7809 | 1.8234 | 0.0060895 | 1.7812 | 1.822 | 110.0817 | -149.1808 | 147.0091 | 110.0903 | -149.1258 | 147.042
Line_2 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0075785 | 0.0075785 | 0.0075785 | 0.029176 | 0.029176 | 0.029176 | 0.087509 | 0.087509 | 0.087509 | 0.00021222 | -0.027888 | 0.027676 | -0.00049511 | 0.083719 | -0.082941 | 8.4557e-05 | 0.04384 | 0.045434 | -0.00019706 | -0.13148 | -0.13617 | 88.357 | 88.357 | 88.357 | -91.6127 | -91.6127 | -91.6127 | 0.0078299 | 1.7809 | 1.8234 | 0.0060895 | 1.7812 | 1.822 | 110.0817 | -149.1808 | 147.0091 | 110.0903 | -149.1258 | 147.042
Line_3 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0025267 | 0.0025267 | 0.029176 | 0.029176 | 0.029176 | 0.029176 | 0.029176 | 0.029176 | -0.00021222 | 0.027888 | -0.027676 | -0.00021222 | 0.027888 | -0.027676 | -8.4557e-05 | -0.04384 | -0.045434 | -8.4557e-05 | -0.04384 | -0.045434 | -91.643 | -91.643 | -91.643 | -91.643 | -91.643 | -91.643 | 0.0078299 | 1.7809 | 1.8234 | 0.0078299 | 1.7809 | 1.8234 | 110.0817 | -149.1808 | 147.0091 | 110.0817 | -149.1808 | 147.0091

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015244 | 0.015244 | 0.015244 | 0.011437 | 0.011437 | 0.011437 | 0.17602 | 0.17602 | 0.17602 | 0.13207 | 0.13207 | 0.13207 | 0.022602 | 0.15675 | -0.17706 | -0.016361 | -0.11722 | 0.13326 | 0.046673 | -0.2423 | -0.21003 | -0.03481 | 0.18191 | 0.15793 | -84.4786 | -84.4786 | -84.4786 | 95.4666 | 95.4666 | 95.4666 | 0.29461 | 1.6395 | 1.5606 | 0.29124 | 1.6386 | 1.5647 | -20.318 | -141.5782 | 145.3901 | -19.7071 | -141.7358 | 145.3105
Line_1 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0057187 | 0.0057187 | 0.0057187 | 0.022016 | 0.022016 | 0.022016 | 0.066033 | 0.066033 | 0.066033 | -0.0026974 | -0.01953 | 0.022227 | 0.0081804 | 0.05861 | -0.066629 | -0.0057936 | 0.030324 | 0.02635 | 0.017405 | -0.090953 | -0.078967 | 95.4363 | 95.4363 | 95.4363 | -84.5334 | -84.5334 | -84.5334 | 0.29028 | 1.6383 | 1.5658 | 0.29124 | 1.6386 | 1.5647 | -19.5298 | -141.7809 | 145.2878 | -19.7071 | -141.7358 | 145.3105
Line_2 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0057187 | 0.0057187 | 0.0057187 | 0.022016 | 0.022016 | 0.022016 | 0.066033 | 0.066033 | 0.066033 | -0.0026974 | -0.01953 | 0.022227 | 0.0081804 | 0.05861 | -0.066629 | -0.0057936 | 0.030324 | 0.02635 | 0.017405 | -0.090953 | -0.078967 | 95.4363 | 95.4363 | 95.4363 | -84.5334 | -84.5334 | -84.5334 | 0.29028 | 1.6383 | 1.5658 | 0.29124 | 1.6386 | 1.5647 | -19.5298 | -141.7809 | 145.2878 | -19.7071 | -141.7358 | 145.3105
Line_3 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0019066 | 0.022016 | 0.022016 | 0.022016 | 0.022016 | 0.022016 | 0.022016 | 0.0026974 | 0.01953 | -0.022227 | 0.0026974 | 0.01953 | -0.022227 | 0.0057936 | -0.030324 | -0.02635 | 0.0057936 | -0.030324 | -0.02635 | -84.5637 | -84.5637 | -84.5637 | -84.5637 | -84.5637 | -84.5637 | 0.29028 | 1.6383 | 1.5658 | 0.29028 | 1.6383 | 1.5658 | -19.5298 | -141.7809 | 145.2878 | -19.5298 | -141.7809 | 145.2878

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015244 | 0.015244 | 0.015244 | 0.011437 | 0.011437 | 0.011437 | 0.17602 | 0.17602 | 0.17602 | 0.13207 | 0.13207 | 0.13207 | 0.022602 | 0.15675 | -0.17706 | -0.016361 | -0.11722 | 0.13326 | 0.046673 | -0.2423 | -0.21003 | -0.03481 | 0.18191 | 0.15793 | -84.4786 | -84.4786 | -84.4786 | 95.4666 | 95.4666 | 95.4666 | 0.29461 | 1.6395 | 1.5606 | 0.29124 | 1.6386 | 1.5647 | -20.318 | -141.5782 | 145.3901 | -19.7071 | -141.7358 | 145.3105
Line_1 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0057187 | 0.0057187 | 0.0057187 | 0.022016 | 0.022016 | 0.022016 | 0.066033 | 0.066033 | 0.066033 | -0.0026974 | -0.01953 | 0.022227 | 0.0081804 | 0.05861 | -0.066629 | -0.0057936 | 0.030324 | 0.02635 | 0.017405 | -0.090953 | -0.078967 | 95.4363 | 95.4363 | 95.4363 | -84.5334 | -84.5334 | -84.5334 | 0.29028 | 1.6383 | 1.5658 | 0.29124 | 1.6386 | 1.5647 | -19.5298 | -141.7809 | 145.2878 | -19.7071 | -141.7358 | 145.3105
Line_2 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0057187 | 0.0057187 | 0.0057187 | 0.022016 | 0.022016 | 0.022016 | 0.066033 | 0.066033 | 0.066033 | -0.0026974 | -0.01953 | 0.022227 | 0.0081804 | 0.05861 | -0.066629 | -0.0057936 | 0.030324 | 0.02635 | 0.017405 | -0.090953 | -0.078967 | 95.4363 | 95.4363 | 95.4363 | -84.5334 | -84.5334 | -84.5334 | 0.29028 | 1.6383 | 1.5658 | 0.29124 | 1.6386 | 1.5647 | -19.5298 | -141.7809 | 145.2878 | -19.7071 | -141.7358 | 145.3105
Line_3 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0019066 | 0.0019066 | 0.022016 | 0.022016 | 0.022016 | 0.022016 | 0.022016 | 0.022016 | 0.0026974 | 0.01953 | -0.022227 | 0.0026974 | 0.01953 | -0.022227 | 0.0057936 | -0.030324 | -0.02635 | 0.0057936 | -0.030324 | -0.02635 | -84.5637 | -84.5637 | -84.5637 | -84.5637 | -84.5637 | -84.5637 | 0.29028 | 1.6383 | 1.5658 | 0.29028 | 1.6383 | 1.5658 | -19.5298 | -141.7809 | 145.2878 | -19.5298 | -141.7809 | 145.2878

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0183 | 0.0183 | 0.0183 | 0.01373 | 0.01373 | 0.01373 | 0.21131 | 0.21131 | 0.21131 | 0.15854 | 0.15854 | 0.15854 | 1.4693e-13 | 0.18607 | -0.17972 | 0.0015601 | -0.13844 | 0.13599 | 1.3547e-13 | -0.28622 | -0.29839 | 0.00032374 | 0.21481 | 0.22445 | -91.9063 | -91.9063 | -91.9063 | 87.9884 | 87.9884 | 87.9884 | 0 | 1.6156 | 1.6485 | 0.01005 | 1.6119 | 1.6553 | 0 | -148.8779 | 147.0332 | 99.7113 | -149.2105 | 146.7775
Line_1 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0068651 | 0.0068651 | 0.0068651 | 0.026429 | 0.026429 | 0.026429 | 0.079271 | 0.079271 | 0.079271 | 0.00033435 | -0.023041 | 0.022706 | -0.00078006 | 0.069221 | -0.067995 | 6.9633e-05 | 0.035801 | 0.037455 | -0.00016187 | -0.10741 | -0.11223 | 87.9303 | 87.9303 | 87.9303 | -92.0116 | -92.0116 | -92.0116 | 0.012922 | 1.6109 | 1.6573 | 0.01005 | 1.6119 | 1.6553 | 99.6947 | -149.3058 | 146.7047 | 99.7113 | -149.2105 | 146.7775
Line_2 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0068651 | 0.0068651 | 0.0068651 | 0.026429 | 0.026429 | 0.026429 | 0.079271 | 0.079271 | 0.079271 | 0.00033435 | -0.023041 | 0.022706 | -0.00078006 | 0.069221 | -0.067995 | 6.9633e-05 | 0.035801 | 0.037455 | -0.00016187 | -0.10741 | -0.11223 | 87.9303 | 87.9303 | 87.9303 | -92.0116 | -92.0116 | -92.0116 | 0.012922 | 1.6109 | 1.6573 | 0.01005 | 1.6119 | 1.6553 | 99.6947 | -149.3058 | 146.7047 | 99.7113 | -149.2105 | 146.7775
Line_3 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0022888 | 0.026429 | 0.026429 | 0.026429 | 0.026429 | 0.026429 | 0.026429 | -0.00033435 | 0.023041 | -0.022706 | -0.00033435 | 0.023041 | -0.022706 | -6.9633e-05 | -0.035801 | -0.037455 | -6.9633e-05 | -0.035801 | -0.037455 | -92.0697 | -92.0697 | -92.0697 | -92.0697 | -92.0697 | -92.0697 | 0.012922 | 1.6109 | 1.6573 | 0.012922 | 1.6109 | 1.6573 | 99.6947 | -149.3058 | 146.7047 | 99.6947 | -149.3058 | 146.7047

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0183 | 0.0183 | 0.0183 | 0.01373 | 0.01373 | 0.01373 | 0.21131 | 0.21131 | 0.21131 | 0.15854 | 0.15854 | 0.15854 | 1.4693e-13 | 0.18607 | -0.17972 | 0.0015601 | -0.13844 | 0.13599 | 1.3547e-13 | -0.28622 | -0.29839 | 0.00032374 | 0.21481 | 0.22445 | -91.9063 | -91.9063 | -91.9063 | 87.9884 | 87.9884 | 87.9884 | 0 | 1.6156 | 1.6485 | 0.01005 | 1.6119 | 1.6553 | 0 | -148.8779 | 147.0332 | 99.7113 | -149.2105 | 146.7775
Line_1 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0068651 | 0.0068651 | 0.0068651 | 0.026429 | 0.026429 | 0.026429 | 0.079271 | 0.079271 | 0.079271 | 0.00033435 | -0.023041 | 0.022706 | -0.00078006 | 0.069221 | -0.067995 | 6.9633e-05 | 0.035801 | 0.037455 | -0.00016187 | -0.10741 | -0.11223 | 87.9303 | 87.9303 | 87.9303 | -92.0116 | -92.0116 | -92.0116 | 0.012922 | 1.6109 | 1.6573 | 0.01005 | 1.6119 | 1.6553 | 99.6947 | -149.3058 | 146.7047 | 99.7113 | -149.2105 | 146.7775
Line_2 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0068651 | 0.0068651 | 0.0068651 | 0.026429 | 0.026429 | 0.026429 | 0.079271 | 0.079271 | 0.079271 | 0.00033435 | -0.023041 | 0.022706 | -0.00078006 | 0.069221 | -0.067995 | 6.9633e-05 | 0.035801 | 0.037455 | -0.00016187 | -0.10741 | -0.11223 | 87.9303 | 87.9303 | 87.9303 | -92.0116 | -92.0116 | -92.0116 | 0.012922 | 1.6109 | 1.6573 | 0.01005 | 1.6119 | 1.6553 | 99.6947 | -149.3058 | 146.7047 | 99.7113 | -149.2105 | 146.7775
Line_3 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0022888 | 0.0022888 | 0.026429 | 0.026429 | 0.026429 | 0.026429 | 0.026429 | 0.026429 | -0.00033435 | 0.023041 | -0.022706 | -0.00033435 | 0.023041 | -0.022706 | -6.9633e-05 | -0.035801 | -0.037455 | -6.9633e-05 | -0.035801 | -0.037455 | -92.0697 | -92.0697 | -92.0697 | -92.0697 | -92.0697 | -92.0697 | 0.012922 | 1.6109 | 1.6573 | 0.012922 | 1.6109 | 1.6573 | 99.6947 | -149.3058 | 146.7047 | 99.6947 | -149.3058 | 146.7047

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013822 | 0.013822 | 0.013822 | 0.01037 | 0.01037 | 0.01037 | 0.1596 | 0.1596 | 0.1596 | 0.11975 | 0.11975 | 0.11975 | 0.018366 | 0.13029 | -0.14503 | -0.012837 | -0.097136 | 0.10946 | 0.038474 | -0.19842 | -0.17356 | -0.028707 | 0.14888 | 0.1306 | -84.8392 | -84.8392 | -84.8392 | 95.0555 | 95.0555 | 95.0555 | 0.26712 | 1.4873 | 1.4171 | 0.26261 | 1.4845 | 1.4231 | -20.3577 | -141.5499 | 145.2777 | -19.0373 | -141.8221 | 145.0875
Line_1 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0051852 | 0.0051852 | 0.0051852 | 0.019962 | 0.019962 | 0.019962 | 0.059874 | 0.059874 | 0.059874 | -0.0020927 | -0.016176 | 0.018268 | 0.0064185 | 0.048568 | -0.054732 | -0.0047789 | 0.024811 | 0.021799 | 0.014354 | -0.07444 | -0.065302 | 94.9974 | 94.9974 | 94.9974 | -84.9445 | -84.9445 | -84.9445 | 0.26135 | 1.4837 | 1.4248 | 0.26261 | 1.4845 | 1.4231 | -18.6513 | -141.9001 | 145.0333 | -19.0373 | -141.8221 | 145.0875
Line_2 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0051852 | 0.0051852 | 0.0051852 | 0.019962 | 0.019962 | 0.019962 | 0.059874 | 0.059874 | 0.059874 | -0.0020927 | -0.016176 | 0.018268 | 0.0064185 | 0.048568 | -0.054732 | -0.0047789 | 0.024811 | 0.021799 | 0.014354 | -0.07444 | -0.065302 | 94.9974 | 94.9974 | 94.9974 | -84.9445 | -84.9445 | -84.9445 | 0.26135 | 1.4837 | 1.4248 | 0.26261 | 1.4845 | 1.4231 | -18.6513 | -141.9001 | 145.0333 | -19.0373 | -141.8221 | 145.0875
Line_3 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0017288 | 0.019962 | 0.019962 | 0.019962 | 0.019962 | 0.019962 | 0.019962 | 0.0020927 | 0.016176 | -0.018268 | 0.0020927 | 0.016176 | -0.018268 | 0.0047789 | -0.024811 | -0.021799 | 0.0047789 | -0.024811 | -0.021799 | -85.0026 | -85.0026 | -85.0026 | -85.0026 | -85.0026 | -85.0026 | 0.26135 | 1.4837 | 1.4248 | 0.26135 | 1.4837 | 1.4248 | -18.6513 | -141.9001 | 145.0333 | -18.6513 | -141.9001 | 145.0333

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013822 | 0.013822 | 0.013822 | 0.01037 | 0.01037 | 0.01037 | 0.1596 | 0.1596 | 0.1596 | 0.11975 | 0.11975 | 0.11975 | 0.018366 | 0.13029 | -0.14503 | -0.012837 | -0.097136 | 0.10946 | 0.038474 | -0.19842 | -0.17356 | -0.028707 | 0.14888 | 0.1306 | -84.8392 | -84.8392 | -84.8392 | 95.0555 | 95.0555 | 95.0555 | 0.26712 | 1.4873 | 1.4171 | 0.26261 | 1.4845 | 1.4231 | -20.3577 | -141.5499 | 145.2777 | -19.0373 | -141.8221 | 145.0875
Line_1 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0051852 | 0.0051852 | 0.0051852 | 0.019962 | 0.019962 | 0.019962 | 0.059874 | 0.059874 | 0.059874 | -0.0020927 | -0.016176 | 0.018268 | 0.0064185 | 0.048568 | -0.054732 | -0.0047789 | 0.024811 | 0.021799 | 0.014354 | -0.07444 | -0.065302 | 94.9974 | 94.9974 | 94.9974 | -84.9445 | -84.9445 | -84.9445 | 0.26135 | 1.4837 | 1.4248 | 0.26261 | 1.4845 | 1.4231 | -18.6513 | -141.9001 | 145.0333 | -19.0373 | -141.8221 | 145.0875
Line_2 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0051852 | 0.0051852 | 0.0051852 | 0.019962 | 0.019962 | 0.019962 | 0.059874 | 0.059874 | 0.059874 | -0.0020927 | -0.016176 | 0.018268 | 0.0064185 | 0.048568 | -0.054732 | -0.0047789 | 0.024811 | 0.021799 | 0.014354 | -0.07444 | -0.065302 | 94.9974 | 94.9974 | 94.9974 | -84.9445 | -84.9445 | -84.9445 | 0.26135 | 1.4837 | 1.4248 | 0.26261 | 1.4845 | 1.4231 | -18.6513 | -141.9001 | 145.0333 | -19.0373 | -141.8221 | 145.0875
Line_3 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0017288 | 0.0017288 | 0.019962 | 0.019962 | 0.019962 | 0.019962 | 0.019962 | 0.019962 | 0.0020927 | 0.016176 | -0.018268 | 0.0020927 | 0.016176 | -0.018268 | 0.0047789 | -0.024811 | -0.021799 | 0.0047789 | -0.024811 | -0.021799 | -85.0026 | -85.0026 | -85.0026 | -85.0026 | -85.0026 | -85.0026 | 0.26135 | 1.4837 | 1.4248 | 0.26135 | 1.4837 | 1.4248 | -18.6513 | -141.9001 | 145.0333 | -18.6513 | -141.9001 | 145.0333

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010699 | 0.010699 | 0.010699 | 0.0080274 | 0.0080274 | 0.0080274 | 0.12354 | 0.12354 | 0.12354 | 0.092692 | 0.092692 | 0.092692 | 0.0011309 | -5.2854e-14 | -5.5608e-14 | -0.00071432 | 0.00027775 | 0.00027775 | -0.19983 | -1.0478e-13 | 9.9008e-14 | 0.15004 | 0.00011055 | 0.00011055 | 89.3491 | 89.3491 | 89.3491 | -90.7058 | -90.7058 | -90.7058 | 1.6175 | 0 | 0 | 1.6187 | 0.0032251 | 0.0032251 | -0.32664 | 0 | 0 | -0.43298 | -69.0027 | -69.0027
Line_1 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0040137 | 0.0040137 | 0.0040137 | 0.015452 | 0.015452 | 0.015452 | 0.046346 | 0.046346 | 0.046346 | -0.00011905 | 5.9526e-05 | 5.9526e-05 | 0.00035716 | -0.00013888 | -0.00013888 | 0.025017 | 2.3718e-05 | 2.3718e-05 | -0.07502 | -5.5274e-05 | -5.5274e-05 | -90.736 | -90.736 | -90.736 | 89.2942 | 89.2942 | 89.2942 | 1.619 | 0.0041468 | 0.0041468 | 1.6187 | 0.0032251 | 0.0032251 | -0.46336 | -69.0114 | -69.0114 | -0.43298 | -69.0027 | -69.0027
Line_2 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0040137 | 0.0040137 | 0.0040137 | 0.015452 | 0.015452 | 0.015452 | 0.046346 | 0.046346 | 0.046346 | -0.00011905 | 5.9526e-05 | 5.9526e-05 | 0.00035716 | -0.00013888 | -0.00013888 | 0.025017 | 2.3718e-05 | 2.3718e-05 | -0.07502 | -5.5274e-05 | -5.5274e-05 | -90.736 | -90.736 | -90.736 | 89.2942 | 89.2942 | 89.2942 | 1.619 | 0.0041468 | 0.0041468 | 1.6187 | 0.0032251 | 0.0032251 | -0.46336 | -69.0114 | -69.0114 | -0.43298 | -69.0027 | -69.0027
Line_3 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0013382 | 0.015452 | 0.015452 | 0.015452 | 0.015452 | 0.015452 | 0.015452 | 0.00011905 | -5.9526e-05 | -5.9526e-05 | 0.00011905 | -5.9526e-05 | -5.9526e-05 | -0.025017 | -2.3718e-05 | -2.3718e-05 | -0.025017 | -2.3718e-05 | -2.3718e-05 | 89.264 | 89.264 | 89.264 | 89.264 | 89.264 | 89.264 | 1.619 | 0.0041468 | 0.0041468 | 1.619 | 0.0041468 | 0.0041468 | -0.46336 | -69.0114 | -69.0114 | -0.46336 | -69.0114 | -69.0114

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010699 | 0.010699 | 0.010699 | 0.0080274 | 0.0080274 | 0.0080274 | 0.12354 | 0.12354 | 0.12354 | 0.092692 | 0.092692 | 0.092692 | 0.0011309 | -5.2854e-14 | -5.5608e-14 | -0.00071432 | 0.00027775 | 0.00027775 | -0.19983 | -1.0478e-13 | 9.9008e-14 | 0.15004 | 0.00011055 | 0.00011055 | 89.3491 | 89.3491 | 89.3491 | -90.7058 | -90.7058 | -90.7058 | 1.6175 | 0 | 0 | 1.6187 | 0.0032251 | 0.0032251 | -0.32664 | 0 | 0 | -0.43298 | -69.0027 | -69.0027
Line_1 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0040137 | 0.0040137 | 0.0040137 | 0.015452 | 0.015452 | 0.015452 | 0.046346 | 0.046346 | 0.046346 | -0.00011905 | 5.9526e-05 | 5.9526e-05 | 0.00035716 | -0.00013888 | -0.00013888 | 0.025017 | 2.3718e-05 | 2.3718e-05 | -0.07502 | -5.5274e-05 | -5.5274e-05 | -90.736 | -90.736 | -90.736 | 89.2942 | 89.2942 | 89.2942 | 1.619 | 0.0041468 | 0.0041468 | 1.6187 | 0.0032251 | 0.0032251 | -0.46336 | -69.0114 | -69.0114 | -0.43298 | -69.0027 | -69.0027
Line_2 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0040137 | 0.0040137 | 0.0040137 | 0.015452 | 0.015452 | 0.015452 | 0.046346 | 0.046346 | 0.046346 | -0.00011905 | 5.9526e-05 | 5.9526e-05 | 0.00035716 | -0.00013888 | -0.00013888 | 0.025017 | 2.3718e-05 | 2.3718e-05 | -0.07502 | -5.5274e-05 | -5.5274e-05 | -90.736 | -90.736 | -90.736 | 89.2942 | 89.2942 | 89.2942 | 1.619 | 0.0041468 | 0.0041468 | 1.6187 | 0.0032251 | 0.0032251 | -0.46336 | -69.0114 | -69.0114 | -0.43298 | -69.0027 | -69.0027
Line_3 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0013382 | 0.0013382 | 0.015452 | 0.015452 | 0.015452 | 0.015452 | 0.015452 | 0.015452 | 0.00011905 | -5.9526e-05 | -5.9526e-05 | 0.00011905 | -5.9526e-05 | -5.9526e-05 | -0.025017 | -2.3718e-05 | -2.3718e-05 | -0.025017 | -2.3718e-05 | -2.3718e-05 | 89.264 | 89.264 | 89.264 | 89.264 | 89.264 | 89.264 | 1.619 | 0.0041468 | 0.0041468 | 1.619 | 0.0041468 | 0.0041468 | -0.46336 | -69.0114 | -69.0114 | -0.46336 | -69.0114 | -69.0114

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0091348 | 0.0091348 | 0.0091348 | 0.0068537 | 0.0068537 | 0.0068537 | 0.10548 | 0.10548 | 0.10548 | 0.07914 | 0.07914 | 0.07914 | -0.0072919 | -0.073426 | 0.081542 | 0.0055568 | 0.055312 | -0.060984 | -0.16243 | 0.02699 | -0.01023 | 0.12195 | -0.020117 | 0.0076973 | 93.4543 | 93.4543 | 93.4543 | -86.6006 | -86.6006 | -86.6006 | 1.5414 | 0.74165 | 0.77912 | 1.5426 | 0.7437 | 0.7767 | 0.88382 | -106.7281 | 86.3036 | 0.79054 | -106.5866 | 86.2057
Line_1 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0034269 | 0.0034269 | 0.0034269 | 0.013193 | 0.013193 | 0.013193 | 0.03957 | 0.03957 | 0.03957 | 0.00092523 | 0.009232 | -0.010157 | -0.0027784 | -0.027656 | 0.030492 | 0.020334 | -0.0033448 | 0.0012816 | -0.060977 | 0.010058 | -0.0038486 | -86.6308 | -86.6308 | -86.6308 | 93.3994 | 93.3994 | 93.3994 | 1.5429 | 0.74429 | 0.77601 | 1.5426 | 0.7437 | 0.7767 | 0.7639 | -106.5463 | 86.1777 | 0.79054 | -106.5866 | 86.2057
Line_2 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0034269 | 0.0034269 | 0.0034269 | 0.013193 | 0.013193 | 0.013193 | 0.03957 | 0.03957 | 0.03957 | 0.00092523 | 0.009232 | -0.010157 | -0.0027784 | -0.027656 | 0.030492 | 0.020334 | -0.0033448 | 0.0012816 | -0.060977 | 0.010058 | -0.0038486 | -86.6308 | -86.6308 | -86.6308 | 93.3994 | 93.3994 | 93.3994 | 1.5429 | 0.74429 | 0.77601 | 1.5426 | 0.7437 | 0.7767 | 0.7639 | -106.5463 | 86.1777 | 0.79054 | -106.5866 | 86.2057
Line_3 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.013193 | 0.013193 | 0.013193 | 0.013193 | 0.013193 | 0.013193 | -0.00092523 | -0.009232 | 0.010157 | -0.00092523 | -0.009232 | 0.010157 | -0.020334 | 0.0033448 | -0.0012816 | -0.020334 | 0.0033448 | -0.0012816 | 93.3692 | 93.3692 | 93.3692 | 93.3692 | 93.3692 | 93.3692 | 1.5429 | 0.74429 | 0.77601 | 1.5429 | 0.74429 | 0.77601 | 0.7639 | -106.5463 | 86.1777 | 0.7639 | -106.5463 | 86.1777

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0091348 | 0.0091348 | 0.0091348 | 0.0068537 | 0.0068537 | 0.0068537 | 0.10548 | 0.10548 | 0.10548 | 0.07914 | 0.07914 | 0.07914 | -0.0072919 | -0.073426 | 0.081542 | 0.0055568 | 0.055312 | -0.060984 | -0.16243 | 0.02699 | -0.01023 | 0.12195 | -0.020117 | 0.0076973 | 93.4543 | 93.4543 | 93.4543 | -86.6006 | -86.6006 | -86.6006 | 1.5414 | 0.74165 | 0.77912 | 1.5426 | 0.7437 | 0.7767 | 0.88382 | -106.7281 | 86.3036 | 0.79054 | -106.5866 | 86.2057
Line_1 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0034269 | 0.0034269 | 0.0034269 | 0.013193 | 0.013193 | 0.013193 | 0.03957 | 0.03957 | 0.03957 | 0.00092523 | 0.009232 | -0.010157 | -0.0027784 | -0.027656 | 0.030492 | 0.020334 | -0.0033448 | 0.0012816 | -0.060977 | 0.010058 | -0.0038486 | -86.6308 | -86.6308 | -86.6308 | 93.3994 | 93.3994 | 93.3994 | 1.5429 | 0.74429 | 0.77601 | 1.5426 | 0.7437 | 0.7767 | 0.7639 | -106.5463 | 86.1777 | 0.79054 | -106.5866 | 86.2057
Line_2 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0034269 | 0.0034269 | 0.0034269 | 0.013193 | 0.013193 | 0.013193 | 0.03957 | 0.03957 | 0.03957 | 0.00092523 | 0.009232 | -0.010157 | -0.0027784 | -0.027656 | 0.030492 | 0.020334 | -0.0033448 | 0.0012816 | -0.060977 | 0.010058 | -0.0038486 | -86.6308 | -86.6308 | -86.6308 | 93.3994 | 93.3994 | 93.3994 | 1.5429 | 0.74429 | 0.77601 | 1.5426 | 0.7437 | 0.7767 | 0.7639 | -106.5463 | 86.1777 | 0.79054 | -106.5866 | 86.2057
Line_3 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.013193 | 0.013193 | 0.013193 | 0.013193 | 0.013193 | 0.013193 | -0.00092523 | -0.009232 | 0.010157 | -0.00092523 | -0.009232 | 0.010157 | -0.020334 | 0.0033448 | -0.0012816 | -0.020334 | 0.0033448 | -0.0012816 | 93.3692 | 93.3692 | 93.3692 | 93.3692 | 93.3692 | 93.3692 | 1.5429 | 0.74429 | 0.77601 | 1.5429 | 0.74429 | 0.77601 | 0.7639 | -106.5463 | 86.1777 | 0.7639 | -106.5463 | 86.1777

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0097169 | 0.0097169 | 0.0097169 | 0.0072905 | 0.0072905 | 0.0072905 | 0.1122 | 0.1122 | 0.1122 | 0.084183 | 0.084183 | 0.084183 | 0.001791 | -1.0241e-13 | 1.0938e-13 | -0.0011312 | 0.00043987 | 0.00043987 | -0.16483 | 6.3518e-14 | 5.7691e-14 | 0.12376 | 9.1276e-05 | 9.1276e-05 | 89.0366 | 89.0366 | 89.0366 | -91.0687 | -91.0687 | -91.0687 | 1.4691 | 0 | 0 | 1.4701 | 0.0053364 | 0.0053364 | -0.3408 | 0 | 0 | -0.54496 | -79.3457 | -79.3457
Line_1 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0036452 | 0.0036452 | 0.0036452 | 0.014033 | 0.014033 | 0.014033 | 0.042092 | 0.042092 | 0.042092 | -0.00018854 | 9.4268e-05 | 9.4268e-05 | 0.00056561 | -0.00021993 | -0.00021993 | 0.020634 | 1.9633e-05 | 1.9633e-05 | -0.061878 | -4.5638e-05 | -4.5638e-05 | -91.1268 | -91.1268 | -91.1268 | 88.9313 | 88.9313 | 88.9313 | 1.4704 | 0.0068615 | 0.0068615 | 1.4701 | 0.0053364 | 0.0053364 | -0.60327 | -79.3623 | -79.3623 | -0.54496 | -79.3457 | -79.3457
Line_2 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0036452 | 0.0036452 | 0.0036452 | 0.014033 | 0.014033 | 0.014033 | 0.042092 | 0.042092 | 0.042092 | -0.00018854 | 9.4268e-05 | 9.4268e-05 | 0.00056561 | -0.00021993 | -0.00021993 | 0.020634 | 1.9633e-05 | 1.9633e-05 | -0.061878 | -4.5638e-05 | -4.5638e-05 | -91.1268 | -91.1268 | -91.1268 | 88.9313 | 88.9313 | 88.9313 | 1.4704 | 0.0068615 | 0.0068615 | 1.4701 | 0.0053364 | 0.0053364 | -0.60327 | -79.3623 | -79.3623 | -0.54496 | -79.3457 | -79.3457
Line_3 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0012153 | 0.014033 | 0.014033 | 0.014033 | 0.014033 | 0.014033 | 0.014033 | 0.00018854 | -9.4268e-05 | -9.4268e-05 | 0.00018854 | -9.4268e-05 | -9.4268e-05 | -0.020634 | -1.9633e-05 | -1.9633e-05 | -0.020634 | -1.9633e-05 | -1.9633e-05 | 88.8732 | 88.8732 | 88.8732 | 88.8732 | 88.8732 | 88.8732 | 1.4704 | 0.0068615 | 0.0068615 | 1.4704 | 0.0068615 | 0.0068615 | -0.60327 | -79.3623 | -79.3623 | -0.60327 | -79.3623 | -79.3623

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0097169 | 0.0097169 | 0.0097169 | 0.0072905 | 0.0072905 | 0.0072905 | 0.1122 | 0.1122 | 0.1122 | 0.084183 | 0.084183 | 0.084183 | 0.001791 | -1.0241e-13 | 1.0938e-13 | -0.0011312 | 0.00043987 | 0.00043987 | -0.16483 | 6.3518e-14 | 5.7691e-14 | 0.12376 | 9.1276e-05 | 9.1276e-05 | 89.0366 | 89.0366 | 89.0366 | -91.0687 | -91.0687 | -91.0687 | 1.4691 | 0 | 0 | 1.4701 | 0.0053364 | 0.0053364 | -0.3408 | 0 | 0 | -0.54496 | -79.3457 | -79.3457
Line_1 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0036452 | 0.0036452 | 0.0036452 | 0.014033 | 0.014033 | 0.014033 | 0.042092 | 0.042092 | 0.042092 | -0.00018854 | 9.4268e-05 | 9.4268e-05 | 0.00056561 | -0.00021993 | -0.00021993 | 0.020634 | 1.9633e-05 | 1.9633e-05 | -0.061878 | -4.5638e-05 | -4.5638e-05 | -91.1268 | -91.1268 | -91.1268 | 88.9313 | 88.9313 | 88.9313 | 1.4704 | 0.0068615 | 0.0068615 | 1.4701 | 0.0053364 | 0.0053364 | -0.60327 | -79.3623 | -79.3623 | -0.54496 | -79.3457 | -79.3457
Line_2 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0036452 | 0.0036452 | 0.0036452 | 0.014033 | 0.014033 | 0.014033 | 0.042092 | 0.042092 | 0.042092 | -0.00018854 | 9.4268e-05 | 9.4268e-05 | 0.00056561 | -0.00021993 | -0.00021993 | 0.020634 | 1.9633e-05 | 1.9633e-05 | -0.061878 | -4.5638e-05 | -4.5638e-05 | -91.1268 | -91.1268 | -91.1268 | 88.9313 | 88.9313 | 88.9313 | 1.4704 | 0.0068615 | 0.0068615 | 1.4701 | 0.0053364 | 0.0053364 | -0.60327 | -79.3623 | -79.3623 | -0.54496 | -79.3457 | -79.3457
Line_3 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0012153 | 0.0012153 | 0.014033 | 0.014033 | 0.014033 | 0.014033 | 0.014033 | 0.014033 | 0.00018854 | -9.4268e-05 | -9.4268e-05 | 0.00018854 | -9.4268e-05 | -9.4268e-05 | -0.020634 | -1.9633e-05 | -1.9633e-05 | -0.020634 | -1.9633e-05 | -1.9633e-05 | 88.8732 | 88.8732 | 88.8732 | 88.8732 | 88.8732 | 88.8732 | 1.4704 | 0.0068615 | 0.0068615 | 1.4704 | 0.0068615 | 0.0068615 | -0.60327 | -79.3623 | -79.3623 | -0.60327 | -79.3623 | -79.3623

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082974 | 0.0082974 | 0.0082974 | 0.0062254 | 0.0062254 | 0.0062254 | 0.09581 | 0.09581 | 0.09581 | 0.071885 | 0.071885 | 0.071885 | -0.0053127 | -0.060003 | 0.066621 | 0.0041219 | 0.04537 | -0.049676 | -0.13405 | 0.022181 | -0.0083161 | 0.10065 | -0.016493 | 0.0062141 | 93.137 | 93.137 | 93.137 | -86.9683 | -86.9683 | -86.9683 | 1.4002 | 0.66769 | 0.70074 | 1.4013 | 0.67156 | 0.69643 | 0.86747 | -107.1506 | 86.0218 | 0.6866 | -106.9451 | 85.9014
Line_1 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0031127 | 0.0031127 | 0.0031127 | 0.011983 | 0.011983 | 0.011983 | 0.035942 | 0.035942 | 0.035942 | 0.00068539 | 0.0075814 | -0.0082668 | -0.0020609 | -0.022685 | 0.024838 | 0.016782 | -0.0027385 | 0.0010307 | -0.050325 | 0.0082463 | -0.0031071 | -87.0264 | -87.0264 | -87.0264 | 93.0317 | 93.0317 | 93.0317 | 1.4016 | 0.67267 | 0.6952 | 1.4013 | 0.67156 | 0.69643 | 0.63495 | -106.887 | 85.8668 | 0.6866 | -106.9451 | 85.9014
Line_2 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0031127 | 0.0031127 | 0.0031127 | 0.011983 | 0.011983 | 0.011983 | 0.035942 | 0.035942 | 0.035942 | 0.00068539 | 0.0075814 | -0.0082668 | -0.0020609 | -0.022685 | 0.024838 | 0.016782 | -0.0027385 | 0.0010307 | -0.050325 | 0.0082463 | -0.0031071 | -87.0264 | -87.0264 | -87.0264 | 93.0317 | 93.0317 | 93.0317 | 1.4016 | 0.67267 | 0.6952 | 1.4013 | 0.67156 | 0.69643 | 0.63495 | -106.887 | 85.8668 | 0.6866 | -106.9451 | 85.9014
Line_3 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0010378 | 0.011983 | 0.011983 | 0.011983 | 0.011983 | 0.011983 | 0.011983 | -0.0006854 | -0.0075814 | 0.0082668 | -0.0006854 | -0.0075814 | 0.0082668 | -0.016782 | 0.0027385 | -0.0010307 | -0.016782 | 0.0027385 | -0.0010307 | 92.9736 | 92.9736 | 92.9736 | 92.9736 | 92.9736 | 92.9736 | 1.4016 | 0.67267 | 0.6952 | 1.4016 | 0.67267 | 0.6952 | 0.63495 | -106.887 | 85.8668 | 0.63495 | -106.887 | 85.8668

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082974 | 0.0082974 | 0.0082974 | 0.0062254 | 0.0062254 | 0.0062254 | 0.09581 | 0.09581 | 0.09581 | 0.071885 | 0.071885 | 0.071885 | -0.0053127 | -0.060003 | 0.066621 | 0.0041219 | 0.04537 | -0.049676 | -0.13405 | 0.022181 | -0.0083161 | 0.10065 | -0.016493 | 0.0062141 | 93.137 | 93.137 | 93.137 | -86.9683 | -86.9683 | -86.9683 | 1.4002 | 0.66769 | 0.70074 | 1.4013 | 0.67156 | 0.69643 | 0.86747 | -107.1506 | 86.0218 | 0.6866 | -106.9451 | 85.9014
Line_1 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0031127 | 0.0031127 | 0.0031127 | 0.011983 | 0.011983 | 0.011983 | 0.035942 | 0.035942 | 0.035942 | 0.00068539 | 0.0075814 | -0.0082668 | -0.0020609 | -0.022685 | 0.024838 | 0.016782 | -0.0027385 | 0.0010307 | -0.050325 | 0.0082463 | -0.0031071 | -87.0264 | -87.0264 | -87.0264 | 93.0317 | 93.0317 | 93.0317 | 1.4016 | 0.67267 | 0.6952 | 1.4013 | 0.67156 | 0.69643 | 0.63495 | -106.887 | 85.8668 | 0.6866 | -106.9451 | 85.9014
Line_2 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0031127 | 0.0031127 | 0.0031127 | 0.011983 | 0.011983 | 0.011983 | 0.035942 | 0.035942 | 0.035942 | 0.00068539 | 0.0075814 | -0.0082668 | -0.0020609 | -0.022685 | 0.024838 | 0.016782 | -0.0027385 | 0.0010307 | -0.050325 | 0.0082463 | -0.0031071 | -87.0264 | -87.0264 | -87.0264 | 93.0317 | 93.0317 | 93.0317 | 1.4016 | 0.67267 | 0.6952 | 1.4013 | 0.67156 | 0.69643 | 0.63495 | -106.887 | 85.8668 | 0.6866 | -106.9451 | 85.9014
Line_3 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0010378 | 0.0010378 | 0.011983 | 0.011983 | 0.011983 | 0.011983 | 0.011983 | 0.011983 | -0.0006854 | -0.0075814 | 0.0082668 | -0.0006854 | -0.0075814 | 0.0082668 | -0.016782 | 0.0027385 | -0.0010307 | -0.016782 | 0.0027385 | -0.0010307 | 92.9736 | 92.9736 | 92.9736 | 92.9736 | 92.9736 | 92.9736 | 1.4016 | 0.67267 | 0.6952 | 1.4016 | 0.67267 | 0.6952 | 0.63495 | -106.887 | 85.8668 | 0.63495 | -106.887 | 85.8668