## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8854e-14 | -3.2699e-15 | 5.6288e-15 | 2.3005e-14 | 4.2095e-15 | -1.1022e-14 | 1.5983e-14 | 2.6435e-15 | 5.158e-15 | -1.0525e-14 | -1.1514e-14 | -4.9226e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8854e-14 | -3.2699e-15 | 5.6288e-15 | 2.3005e-14 | 4.2095e-15 | -1.1022e-14 | 1.5983e-14 | 2.6435e-15 | 5.158e-15 | -1.0525e-14 | -1.1514e-14 | -4.9226e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.164e-15 | -4.3518e-15 | 2.0706e-15 | -1.3107e-15 | 2.2465e-14 | -1.1341e-14 | -5.8001e-17 | -3.9206e-15 | -3.0591e-15 | -5.5713e-15 | 1.3175e-15 | 1.0166e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.164e-15 | -4.3518e-15 | 2.0706e-15 | -1.3107e-15 | 2.2465e-14 | -1.1341e-14 | -5.8001e-17 | -3.9206e-15 | -3.0591e-15 | -5.5713e-15 | 1.3175e-15 | 1.0166e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4335e-15 | 4.4756e-15 | 4.6262e-15 | -4.4648e-15 | 3.3776e-15 | 2.0423e-16 | 1.0057e-16 | -1.5633e-14 | 4.2177e-15 | -9.9353e-15 | 5.7671e-15 | 4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4335e-15 | 4.4756e-15 | 4.6262e-15 | -4.4648e-15 | 3.3776e-15 | 2.0423e-16 | 1.0057e-16 | -1.5633e-14 | 4.2177e-15 | -9.9353e-15 | 5.7671e-15 | 4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7402e-15 | 1.3331e-15 | 3.2665e-15 | -5.4916e-16 | -2.5412e-15 | -2.3424e-15 | 2.4169e-15 | -1.458e-15 | 8.831e-16 | -2.3937e-15 | 5.7071e-15 | -2.1698e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7402e-15 | 1.3331e-15 | 3.2665e-15 | -5.4916e-16 | -2.5412e-15 | -2.3424e-15 | 2.4169e-15 | -1.458e-15 | 8.831e-16 | -2.3937e-15 | 5.7071e-15 | -2.1698e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9722 | 0.90446 | 0.81757 | 1.9693 | 0.90748 | 0.82 | 22.7725 | 10.4438 | 9.4405 | 22.7394 | 10.4787 | 9.4685 | 2.6906 | -9.4396 | 13.5036 | 1.0206e-10 | 9.6183 | -13.4727 | 2.4274 | 10.2886 | 2.0486 | -7.9061e-11 | -9.9725 | -1.656 | -73.2605 | 92.1811 | 124.6774 | 106.7683 | -87.834 | -55.4501 |  | 0.15913 | 1.337 | 1.4468 | 0 | 1.3222 | 1.4336 | -31.2047 | -135.2831 | 133.3039 | 0 | -133.8698 | 131.5574
Line_1 | 1.1431 | 0.45648 | 0.4124 | 1.1404 | 0.45374 | 0.41 | 13.1998 | 5.271 | 4.7619 | 13.1685 | 5.2393 | 4.7343 | 3.055 | 5.8072 | -5.7919 | 6.0417e-11 | -4.8092 | 6.7363 | 1.4736 | -4.41 | -0.79864 | -4.4034e-11 | 4.9863 | 0.82802 | -74.9334 | -87.8161 | -55.6377 | 105.0904 | 92.166 | 124.5499 |  | 0.25696 | 1.3834 | 1.2278 | 0 | 1.3222 | 1.4336 | -49.1827 | -125.0292 | 132.2133 | 0 | -133.8698 | 131.5574
Line_2 | 1.1431 | 0.45648 | 0.4124 | 1.1404 | 0.45374 | 0.41 | 13.1998 | 5.271 | 4.7619 | 13.1685 | 5.2393 | 4.7343 | 3.055 | 5.8072 | -5.7919 | 6.0417e-11 | -4.8092 | 6.7363 | 1.4736 | -4.41 | -0.79864 | -4.4034e-11 | 4.9863 | 0.82802 | -74.9334 | -87.8161 | -55.6377 | 105.0904 | 92.166 | 124.5499 |  | 0.25696 | 1.3834 | 1.2278 | 0 | 1.3222 | 1.4336 | -49.1827 | -125.0292 | 132.2133 | 0 | -133.8698 | 131.5574
Line_3 | 0.0012457 | 0.0012457 | 0.0012457 | 0.0012457 | 0.0012457 | 0.0012457 | 0.014385 | 0.014385 | 0.014385 | 0.014385 | 0.014385 | 0.014385 | 0.0033567 | 0.012497 | -0.015854 | 0.0033567 | 0.012497 | -0.015854 | 0.0015475 | -0.015486 | -0.007783 | 0.0015475 | -0.015486 | -0.007783 | -73.9339 | -73.9339 | -73.9339 | -73.9339 | -73.9339 | -73.9339 |  | 0.25696 | 1.3834 | 1.2278 | 0.25696 | 1.3834 | 1.2278 | -49.1827 | -125.0292 | 132.2133 | -49.1827 | -125.0292 | 132.2133

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9722 | 0.90446 | 0.81757 | 1.9693 | 0.90748 | 0.82 | 22.7725 | 10.4438 | 9.4405 | 22.7394 | 10.4787 | 9.4685 | 2.6906 | -9.4396 | 13.5036 | 1.0206e-10 | 9.6183 | -13.4727 | 2.4274 | 10.2886 | 2.0486 | -7.9061e-11 | -9.9725 | -1.656 | -73.2605 | 92.1811 | 124.6774 | 106.7683 | -87.834 | -55.4501 |  | 0.15913 | 1.337 | 1.4468 | 0 | 1.3222 | 1.4336 | -31.2047 | -135.2831 | 133.3039 | 0 | -133.8698 | 131.5574
Line_1 | 1.1431 | 0.45648 | 0.4124 | 1.1404 | 0.45374 | 0.41 | 13.1998 | 5.271 | 4.7619 | 13.1685 | 5.2393 | 4.7343 | 3.055 | 5.8072 | -5.7919 | 6.0417e-11 | -4.8092 | 6.7363 | 1.4736 | -4.41 | -0.79864 | -4.4034e-11 | 4.9863 | 0.82802 | -74.9334 | -87.8161 | -55.6377 | 105.0904 | 92.166 | 124.5499 |  | 0.25696 | 1.3834 | 1.2278 | 0 | 1.3222 | 1.4336 | -49.1827 | -125.0292 | 132.2133 | 0 | -133.8698 | 131.5574
Line_2 | 1.1431 | 0.45648 | 0.4124 | 1.1404 | 0.45374 | 0.41 | 13.1998 | 5.271 | 4.7619 | 13.1685 | 5.2393 | 4.7343 | 3.055 | 5.8072 | -5.7919 | 6.0417e-11 | -4.8092 | 6.7363 | 1.4736 | -4.41 | -0.79864 | -4.4034e-11 | 4.9863 | 0.82802 | -74.9334 | -87.8161 | -55.6377 | 105.0904 | 92.166 | 124.5499 |  | 0.25696 | 1.3834 | 1.2278 | 0 | 1.3222 | 1.4336 | -49.1827 | -125.0292 | 132.2133 | 0 | -133.8698 | 131.5574
Line_3 | 0.0012457 | 0.0012457 | 0.0012457 | 0.0012457 | 0.0012457 | 0.0012457 | 0.014385 | 0.014385 | 0.014385 | 0.014385 | 0.014385 | 0.014385 | 0.0033567 | 0.012497 | -0.015854 | 0.0033567 | 0.012497 | -0.015854 | 0.0015475 | -0.015486 | -0.007783 | 0.0015475 | -0.015486 | -0.007783 | -73.9339 | -73.9339 | -73.9339 | -73.9339 | -73.9339 | -73.9339 |  | 0.25696 | 1.3834 | 1.2278 | 0.25696 | 1.3834 | 1.2278 | -49.1827 | -125.0292 | 132.2133 | -49.1827 | -125.0292 | 132.2133

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49196 | 0.19324 | 0.36042 | 0.49113 | 0.19407 | 0.36086 | 5.6807 | 2.2314 | 4.1618 | 5.6711 | 2.2409 | 4.1668 | 4.1178 | -2.5742 | 3.5285 | -3.9339 | 2.592 | -3.5069 | 2.6945 | 0.96811 | -3.517 | -2.5435 | -0.97547 | 3.6112 | -41.8308 | 76.7156 | 171.3024 | 138.2257 | -103.1372 | -8.8343 |  | 0.86628 | 1.2325 | 1.1971 | 0.82604 | 1.2359 | 1.2081 | -8.6319 | -123.895 | 126.3964 | -8.8893 | -123.7605 | 125.3265
Line_1 | 0.43828 | 0.097718 | 0.18092 | 0.43741 | 0.097034 | 0.18043 | 5.0608 | 1.1283 | 2.0891 | 5.0507 | 1.1204 | 2.0834 | 2.9652 | 1.3362 | -1.6397 | -2.582 | -1.296 | 1.7535 | 3.5125 | -0.43207 | 1.7622 | -3.2772 | 0.48773 | -1.8056 | -60.6638 | -102.8186 | -9.0628 | 119.3441 | 76.8628 | 171.1657 |  | 0.9083 | 1.2446 | 1.1522 | 0.82604 | 1.2359 | 1.2081 | -10.8339 | -120.738 | 123.876 | -8.8893 | -123.7605 | 125.3265
Line_2 | 0.43828 | 0.097718 | 0.18092 | 0.43741 | 0.097034 | 0.18043 | 5.0608 | 1.1283 | 2.0891 | 5.0507 | 1.1204 | 2.0834 | 2.9652 | 1.3362 | -1.6397 | -2.582 | -1.296 | 1.7535 | 3.5125 | -0.43207 | 1.7622 | -3.2772 | 0.48773 | -1.8056 | -60.6638 | -102.8186 | -9.0628 | 119.3441 | 76.8628 | 171.1657 |  | 0.9083 | 1.2446 | 1.1522 | 0.82604 | 1.2359 | 1.2081 | -10.8339 | -120.738 | 123.876 | -8.8893 | -123.7605 | 125.3265
Line_3 | 0.00039541 | 0.00039541 | 0.00039541 | 0.00039541 | 0.00039541 | 0.00039541 | 0.0045659 | 0.0045659 | 0.0045659 | 0.0045659 | 0.0045659 | 0.0045659 | 0.0030401 | 0.002216 | -0.0052561 | 0.0030401 | 0.002216 | -0.0052561 | 0.0028208 | -0.0052326 | 0.00022333 | 0.0028208 | -0.0052326 | 0.00022333 | -53.691 | -53.691 | -53.691 | -53.691 | -53.691 | -53.691 |  | 0.9083 | 1.2446 | 1.1522 | 0.9083 | 1.2446 | 1.1522 | -10.8339 | -120.738 | 123.876 | -10.8339 | -120.738 | 123.876

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49196 | 0.19324 | 0.36042 | 0.49113 | 0.19407 | 0.36086 | 5.6807 | 2.2314 | 4.1618 | 5.6711 | 2.2409 | 4.1668 | 4.1178 | -2.5742 | 3.5285 | -3.9339 | 2.592 | -3.5069 | 2.6945 | 0.96811 | -3.517 | -2.5435 | -0.97547 | 3.6112 | -41.8308 | 76.7156 | 171.3024 | 138.2257 | -103.1372 | -8.8343 |  | 0.86628 | 1.2325 | 1.1971 | 0.82604 | 1.2359 | 1.2081 | -8.6319 | -123.895 | 126.3964 | -8.8893 | -123.7605 | 125.3265
Line_1 | 0.43828 | 0.097718 | 0.18092 | 0.43741 | 0.097034 | 0.18043 | 5.0608 | 1.1283 | 2.0891 | 5.0507 | 1.1204 | 2.0834 | 2.9652 | 1.3362 | -1.6397 | -2.582 | -1.296 | 1.7535 | 3.5125 | -0.43207 | 1.7622 | -3.2772 | 0.48773 | -1.8056 | -60.6638 | -102.8186 | -9.0628 | 119.3441 | 76.8628 | 171.1657 |  | 0.9083 | 1.2446 | 1.1522 | 0.82604 | 1.2359 | 1.2081 | -10.8339 | -120.738 | 123.876 | -8.8893 | -123.7605 | 125.3265
Line_2 | 0.43828 | 0.097718 | 0.18092 | 0.43741 | 0.097034 | 0.18043 | 5.0608 | 1.1283 | 2.0891 | 5.0507 | 1.1204 | 2.0834 | 2.9652 | 1.3362 | -1.6397 | -2.582 | -1.296 | 1.7535 | 3.5125 | -0.43207 | 1.7622 | -3.2772 | 0.48773 | -1.8056 | -60.6638 | -102.8186 | -9.0628 | 119.3441 | 76.8628 | 171.1657 |  | 0.9083 | 1.2446 | 1.1522 | 0.82604 | 1.2359 | 1.2081 | -10.8339 | -120.738 | 123.876 | -8.8893 | -123.7605 | 125.3265
Line_3 | 0.00039541 | 0.00039541 | 0.00039541 | 0.00039541 | 0.00039541 | 0.00039541 | 0.0045659 | 0.0045659 | 0.0045659 | 0.0045659 | 0.0045659 | 0.0045659 | 0.0030401 | 0.002216 | -0.0052561 | 0.0030401 | 0.002216 | -0.0052561 | 0.0028208 | -0.0052326 | 0.00022333 | 0.0028208 | -0.0052326 | 0.00022333 | -53.691 | -53.691 | -53.691 | -53.691 | -53.691 | -53.691 |  | 0.9083 | 1.2446 | 1.1522 | 0.9083 | 1.2446 | 1.1522 | -10.8339 | -120.738 | 123.876 | -10.8339 | -120.738 | 123.876

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7429 | 0.79586 | 0.68594 | 1.7407 | 0.79803 | 0.68798 | 20.1253 | 9.1897 | 7.9206 | 20.0999 | 9.2148 | 7.9441 | 4.0006 | -2.1153 | 10.3024 | -4.9937e-11 | 2.3328 | -10.2323 | 1.6238 | 10.3336 | 1.3429 | 1.0249e-13 | -9.8966 | -0.98806 | -61.0459 | 120.0915 | 124.9449 | 119.0036 | -60.0195 | -55.1986 |  | 0.21454 | 1.1478 | 1.3117 | 0 | 1.1034 | 1.294 | -38.9541 | -138.3398 | 132.3713 | 0 | -136.7558 | 130.3169
Line_1 | 0.87297 | 0.40102 | 0.34591 | 0.87091 | 0.39901 | 0.34399 | 10.0802 | 4.6306 | 3.9943 | 10.0564 | 4.6074 | 3.972 | 3.5995 | 2.6619 | -3.8788 | -2.4952e-11 | -1.1664 | 5.1162 | 1.0034 | -4.7114 | -0.39483 | -1.2699e-12 | 4.9483 | 0.49403 | -64.0747 | -60.1425 | -55.3686 | 115.9725 | 119.9805 | 124.8014 |  | 0.3707 | 1.1686 | 0.9761 | 0 | 1.1034 | 1.294 | -48.4988 | -120.6767 | 130.4436 | 0 | -136.7558 | 130.3169
Line_2 | 0.87297 | 0.40102 | 0.34591 | 0.87091 | 0.39901 | 0.34399 | 10.0802 | 4.6306 | 3.9943 | 10.0564 | 4.6074 | 3.972 | 3.5995 | 2.6619 | -3.8788 | -2.4952e-11 | -1.1664 | 5.1162 | 1.0034 | -4.7114 | -0.39483 | -1.2699e-12 | 4.9483 | 0.49403 | -64.0747 | -60.1425 | -55.3686 | 115.9725 | 119.9805 | 124.8014 |  | 0.3707 | 1.1686 | 0.9761 | 0 | 1.1034 | 1.294 | -48.4988 | -120.6767 | 130.4436 | 0 | -136.7558 | 130.3169
Line_3 | 0.00092577 | 0.00092577 | 0.00092577 | 0.00092577 | 0.00092577 | 0.00092577 | 0.01069 | 0.01069 | 0.01069 | 0.01069 | 0.01069 | 0.01069 | 0.0038651 | 0.006353 | -0.010218 | 0.0038651 | 0.006353 | -0.010218 | 0.00087422 | -0.010756 | -0.0021137 | 0.00087422 | -0.010756 | -0.0021137 | -61.2438 | -61.2438 | -61.2438 | -61.2438 | -61.2438 | -61.2438 |  | 0.3707 | 1.1686 | 0.9761 | 0.3707 | 1.1686 | 0.9761 | -48.4988 | -120.6767 | 130.4436 | -48.4988 | -120.6767 | 130.4436

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7429 | 0.79586 | 0.68594 | 1.7407 | 0.79803 | 0.68798 | 20.1253 | 9.1897 | 7.9206 | 20.0999 | 9.2148 | 7.9441 | 4.0006 | -2.1153 | 10.3024 | -4.9937e-11 | 2.3328 | -10.2323 | 1.6238 | 10.3336 | 1.3429 | 1.0249e-13 | -9.8966 | -0.98806 | -61.0459 | 120.0915 | 124.9449 | 119.0036 | -60.0195 | -55.1986 |  | 0.21454 | 1.1478 | 1.3117 | 0 | 1.1034 | 1.294 | -38.9541 | -138.3398 | 132.3713 | 0 | -136.7558 | 130.3169
Line_1 | 0.87297 | 0.40102 | 0.34591 | 0.87091 | 0.39901 | 0.34399 | 10.0802 | 4.6306 | 3.9943 | 10.0564 | 4.6074 | 3.972 | 3.5995 | 2.6619 | -3.8788 | -2.4952e-11 | -1.1664 | 5.1162 | 1.0034 | -4.7114 | -0.39483 | -1.2699e-12 | 4.9483 | 0.49403 | -64.0747 | -60.1425 | -55.3686 | 115.9725 | 119.9805 | 124.8014 |  | 0.3707 | 1.1686 | 0.9761 | 0 | 1.1034 | 1.294 | -48.4988 | -120.6767 | 130.4436 | 0 | -136.7558 | 130.3169
Line_2 | 0.87297 | 0.40102 | 0.34591 | 0.87091 | 0.39901 | 0.34399 | 10.0802 | 4.6306 | 3.9943 | 10.0564 | 4.6074 | 3.972 | 3.5995 | 2.6619 | -3.8788 | -2.4952e-11 | -1.1664 | 5.1162 | 1.0034 | -4.7114 | -0.39483 | -1.2699e-12 | 4.9483 | 0.49403 | -64.0747 | -60.1425 | -55.3686 | 115.9725 | 119.9805 | 124.8014 |  | 0.3707 | 1.1686 | 0.9761 | 0 | 1.1034 | 1.294 | -48.4988 | -120.6767 | 130.4436 | 0 | -136.7558 | 130.3169
Line_3 | 0.00092577 | 0.00092577 | 0.00092577 | 0.00092577 | 0.00092577 | 0.00092577 | 0.01069 | 0.01069 | 0.01069 | 0.01069 | 0.01069 | 0.01069 | 0.0038651 | 0.006353 | -0.010218 | 0.0038651 | 0.006353 | -0.010218 | 0.00087422 | -0.010756 | -0.0021137 | 0.00087422 | -0.010756 | -0.0021137 | -61.2438 | -61.2438 | -61.2438 | -61.2438 | -61.2438 | -61.2438 |  | 0.3707 | 1.1686 | 0.9761 | 0.3707 | 1.1686 | 0.9761 | -48.4988 | -120.6767 | 130.4436 | -48.4988 | -120.6767 | 130.4436

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5622 | 0.25672 | 0.22126 | 0.56149 | 0.25742 | 0.22192 | 6.4917 | 2.9643 | 2.5549 | 6.4835 | 2.9724 | 2.5625 | 3.6526 | -0.65768 | 2.6956 | -3.2349 | 0.68538 | -2.6948 | 3.2437 | 3.0661 | -0.53141 | -3.0681 | -3.0252 | 0.56624 | -49.1036 | 132.0338 | 136.8872 | 130.9459 | -48.0772 | -43.2563 |  | 0.7525 | 1.0579 | 1.0754 | 0.68766 | 1.0436 | 1.0746 | -7.4966 | -125.8597 | 125.735 | -5.5701 | -125.3121 | 124.8774
Line_1 | 0.28159 | 0.12935 | 0.11158 | 0.28093 | 0.12871 | 0.11096 | 3.2515 | 1.4937 | 1.2884 | 3.2438 | 1.4862 | 1.2812 | 1.9119 | 0.50155 | -1.2242 | -1.5351 | -0.34269 | 1.3474 | 1.728 | -1.4925 | 0.29288 | -1.6185 | 1.5126 | -0.28312 | -52.1324 | -48.2002 | -43.4263 | 127.9148 | 131.9228 | 136.7437 |  | 0.79257 | 1.0541 | 0.97699 | 0.68766 | 1.0436 | 1.0746 | -10.025 | -119.6253 | 123.1193 | -5.5701 | -125.3121 | 124.8774
Line_2 | 0.28159 | 0.12935 | 0.11158 | 0.28093 | 0.12871 | 0.11096 | 3.2515 | 1.4937 | 1.2884 | 3.2438 | 1.4862 | 1.2812 | 1.9119 | 0.50155 | -1.2242 | -1.5351 | -0.34269 | 1.3474 | 1.728 | -1.4925 | 0.29288 | -1.6185 | 1.5126 | -0.28312 | -52.1324 | -48.2002 | -43.4263 | 127.9148 | 131.9228 | 136.7437 |  | 0.79257 | 1.0541 | 0.97699 | 0.68766 | 1.0436 | 1.0746 | -10.025 | -119.6253 | 123.1193 | -5.5701 | -125.3121 | 124.8774
Line_3 | 0.00029862 | 0.00029862 | 0.00029862 | 0.00029862 | 0.00029862 | 0.00029862 | 0.0034482 | 0.0034482 | 0.0034482 | 0.0034482 | 0.0034482 | 0.0034482 | 0.0021156 | 0.0012239 | -0.0033394 | 0.0021156 | 0.0012239 | -0.0033394 | 0.0017301 | -0.0034226 | 0.00044434 | 0.0017301 | -0.0034226 | 0.00044434 | -49.3014 | -49.3014 | -49.3014 | -49.3014 | -49.3014 | -49.3014 |  | 0.79257 | 1.0541 | 0.97699 | 0.79257 | 1.0541 | 0.97699 | -10.025 | -119.6253 | 123.1193 | -10.025 | -119.6253 | 123.1193

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5622 | 0.25672 | 0.22126 | 0.56149 | 0.25742 | 0.22192 | 6.4917 | 2.9643 | 2.5549 | 6.4835 | 2.9724 | 2.5625 | 3.6526 | -0.65768 | 2.6956 | -3.2349 | 0.68538 | -2.6948 | 3.2437 | 3.0661 | -0.53141 | -3.0681 | -3.0252 | 0.56624 | -49.1036 | 132.0338 | 136.8872 | 130.9459 | -48.0772 | -43.2563 |  | 0.7525 | 1.0579 | 1.0754 | 0.68766 | 1.0436 | 1.0746 | -7.4966 | -125.8597 | 125.735 | -5.5701 | -125.3121 | 124.8774
Line_1 | 0.28159 | 0.12935 | 0.11158 | 0.28093 | 0.12871 | 0.11096 | 3.2515 | 1.4937 | 1.2884 | 3.2438 | 1.4862 | 1.2812 | 1.9119 | 0.50155 | -1.2242 | -1.5351 | -0.34269 | 1.3474 | 1.728 | -1.4925 | 0.29288 | -1.6185 | 1.5126 | -0.28312 | -52.1324 | -48.2002 | -43.4263 | 127.9148 | 131.9228 | 136.7437 |  | 0.79257 | 1.0541 | 0.97699 | 0.68766 | 1.0436 | 1.0746 | -10.025 | -119.6253 | 123.1193 | -5.5701 | -125.3121 | 124.8774
Line_2 | 0.28159 | 0.12935 | 0.11158 | 0.28093 | 0.12871 | 0.11096 | 3.2515 | 1.4937 | 1.2884 | 3.2438 | 1.4862 | 1.2812 | 1.9119 | 0.50155 | -1.2242 | -1.5351 | -0.34269 | 1.3474 | 1.728 | -1.4925 | 0.29288 | -1.6185 | 1.5126 | -0.28312 | -52.1324 | -48.2002 | -43.4263 | 127.9148 | 131.9228 | 136.7437 |  | 0.79257 | 1.0541 | 0.97699 | 0.68766 | 1.0436 | 1.0746 | -10.025 | -119.6253 | 123.1193 | -5.5701 | -125.3121 | 124.8774
Line_3 | 0.00029862 | 0.00029862 | 0.00029862 | 0.00029862 | 0.00029862 | 0.00029862 | 0.0034482 | 0.0034482 | 0.0034482 | 0.0034482 | 0.0034482 | 0.0034482 | 0.0021156 | 0.0012239 | -0.0033394 | 0.0021156 | 0.0012239 | -0.0033394 | 0.0017301 | -0.0034226 | 0.00044434 | 0.0017301 | -0.0034226 | 0.00044434 | -49.3014 | -49.3014 | -49.3014 | -49.3014 | -49.3014 | -49.3014 |  | 0.79257 | 1.0541 | 0.97699 | 0.79257 | 1.0541 | 0.97699 | -10.025 | -119.6253 | 123.1193 | -10.025 | -119.6253 | 123.1193

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41655 | 3.7096 | 3.7382 | 0.41891 | 3.7098 | 3.7376 | 4.81 | 42.8347 | 43.1654 | 4.8372 | 42.8371 | 43.1582 | 0.59839 | 7.5804 | 7.0069 | -0.60933 | 9.1857e-11 | 1.2116e-10 | 7.0422 | 7.215 | 9.2173 | -7.0299 | -8.1916e-11 | 1.551e-11 | -84.3964 | -172.9021 | 17.303 | 95.5831 | 7.1343 | -162.7319 |  | 1.4694 | 0.24431 | 0.26823 | 1.4588 | 0 | 0 | 0.74666 | -129.3171 | 70.0614 | 0.62921 | 0 | 0
Line_1 | 0.2116 | 1.1248 | 0.92875 | 0.20946 | 1.1236 | 0.92718 | 2.4433 | 12.9884 | 10.7242 | 2.4186 | 12.9748 | 10.7061 | 0.022001 | 2.3027 | 1.0051 | 0.30467 | 3.6645e-11 | 2.5707e-11 | -3.3443 | -0.2053 | 1.9759 | 3.515 | -6.8418e-12 | -1.6038e-11 | 95.622 | 155.893 | 56.6124 | -84.4169 | -24.016 | -123.4776 |  | 1.3688 | 0.17799 | 0.20671 | 1.4588 | 0 | 0 | 5.9989 | 150.7981 | 119.6506 | 0.62921 | 0 | 0
Line_2 | 0.2116 | 1.1248 | 0.92875 | 0.20946 | 1.1236 | 0.92718 | 2.4433 | 12.9884 | 10.7242 | 2.4186 | 12.9748 | 10.7061 | 0.022001 | 2.3027 | 1.0051 | 0.30467 | 3.6645e-11 | 2.5707e-11 | -3.3443 | -0.2053 | 1.9759 | 3.515 | -6.8418e-12 | -1.6038e-11 | 95.622 | 155.893 | 56.6124 | -84.4169 | -24.016 | -123.4776 |  | 1.3688 | 0.17799 | 0.20671 | 1.4588 | 0 | 0 | 5.9989 | 150.7981 | 119.6506 | 0.62921 | 0 | 0
Line_3 | 0.00097118 | 0.00097118 | 0.00097118 | 0.00097118 | 0.00097118 | 0.00097118 | 0.011214 | 0.011214 | 0.011214 | 0.011214 | 0.011214 | 0.011214 | -0.0038069 | 0.0015191 | 0.0022877 | -0.0038069 | 0.0015191 | 0.0022877 | -0.014871 | 0.0012947 | 0.00037432 | -0.014871 | 0.0012947 | 0.00037432 | 110.3582 | 110.3582 | 110.3582 | 110.3582 | 110.3582 | 110.3582 |  | 1.3688 | 0.17799 | 0.20671 | 1.3688 | 0.17799 | 0.20671 | 5.9989 | 150.7981 | 119.6506 | 5.9989 | 150.7981 | 119.6506

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41655 | 3.7096 | 3.7382 | 0.41891 | 3.7098 | 3.7376 | 4.81 | 42.8347 | 43.1654 | 4.8372 | 42.8371 | 43.1582 | 0.59839 | 7.5804 | 7.0069 | -0.60933 | 9.1857e-11 | 1.2116e-10 | 7.0422 | 7.215 | 9.2173 | -7.0299 | -8.1916e-11 | 1.551e-11 | -84.3964 | -172.9021 | 17.303 | 95.5831 | 7.1343 | -162.7319 |  | 1.4694 | 0.24431 | 0.26823 | 1.4588 | 0 | 0 | 0.74666 | -129.3171 | 70.0614 | 0.62921 | 0 | 0
Line_1 | 0.2116 | 1.1248 | 0.92875 | 0.20946 | 1.1236 | 0.92718 | 2.4433 | 12.9884 | 10.7242 | 2.4186 | 12.9748 | 10.7061 | 0.022001 | 2.3027 | 1.0051 | 0.30467 | 3.6645e-11 | 2.5707e-11 | -3.3443 | -0.2053 | 1.9759 | 3.515 | -6.8418e-12 | -1.6038e-11 | 95.622 | 155.893 | 56.6124 | -84.4169 | -24.016 | -123.4776 |  | 1.3688 | 0.17799 | 0.20671 | 1.4588 | 0 | 0 | 5.9989 | 150.7981 | 119.6506 | 0.62921 | 0 | 0
Line_2 | 0.2116 | 1.1248 | 0.92875 | 0.20946 | 1.1236 | 0.92718 | 2.4433 | 12.9884 | 10.7242 | 2.4186 | 12.9748 | 10.7061 | 0.022001 | 2.3027 | 1.0051 | 0.30467 | 3.6645e-11 | 2.5707e-11 | -3.3443 | -0.2053 | 1.9759 | 3.515 | -6.8418e-12 | -1.6038e-11 | 95.622 | 155.893 | 56.6124 | -84.4169 | -24.016 | -123.4776 |  | 1.3688 | 0.17799 | 0.20671 | 1.4588 | 0 | 0 | 5.9989 | 150.7981 | 119.6506 | 0.62921 | 0 | 0
Line_3 | 0.00097118 | 0.00097118 | 0.00097118 | 0.00097118 | 0.00097118 | 0.00097118 | 0.011214 | 0.011214 | 0.011214 | 0.011214 | 0.011214 | 0.011214 | -0.0038069 | 0.0015191 | 0.0022877 | -0.0038069 | 0.0015191 | 0.0022877 | -0.014871 | 0.0012947 | 0.00037432 | -0.014871 | 0.0012947 | 0.00037432 | 110.3582 | 110.3582 | 110.3582 | 110.3582 | 110.3582 | 110.3582 |  | 1.3688 | 0.17799 | 0.20671 | 1.3688 | 0.17799 | 0.20671 | 5.9989 | 150.7981 | 119.6506 | 5.9989 | 150.7981 | 119.6506

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.07059 | 0.79279 | 0.75664 | 0.070776 | 0.79312 | 0.75618 | 0.8151 | 9.1544 | 8.7369 | 0.81725 | 9.1582 | 8.7316 | 1.0254 | 7.9046 | 4.3583 | -1.0311 | -7.5714 | -4.0498 | -0.069423 | 2.6687 | 7.0072 | 0.065284 | -2.3695 | -6.5937 | 5.662 | -140.7994 | 49.1645 | -175.0338 | 39.2596 | -130.8921 |  | 1.2609 | 0.91136 | 0.94449 | 1.2643 | 0.86628 | 0.88622 | 1.7888 | -122.1438 | 107.2839 | 1.3435 | -123.363 | 107.5499
Line_1 | 0.035668 | 0.40116 | 0.36718 | 0.035388 | 0.40064 | 0.36656 | 0.41186 | 4.6322 | 4.2398 | 0.40862 | 4.6262 | 4.2326 | -0.50303 | 1.5287 | 3.3869 | 0.51557 | -1.2172 | -3.211 | 0.0076706 | 3.8223 | 2.2261 | -0.032642 | -3.8182 | -1.939 | -176.2349 | 164.2329 | 76.5007 | 4.9662 | -15.6809 | -103.5768 |  | 1.2215 | 0.88871 | 0.95594 | 1.2643 | 0.86628 | 0.88622 | 2.8914 | -127.566 | 109.8168 | 1.3435 | -123.363 | 107.5499
Line_2 | 0.035668 | 0.40116 | 0.36718 | 0.035388 | 0.40064 | 0.36656 | 0.41186 | 4.6322 | 4.2398 | 0.40862 | 4.6262 | 4.2326 | -0.50303 | 1.5287 | 3.3869 | 0.51557 | -1.2172 | -3.211 | 0.0076706 | 3.8223 | 2.2261 | -0.032642 | -3.8182 | -1.939 | -176.2349 | 164.2329 | 76.5007 | 4.9662 | -15.6809 | -103.5768 |  | 1.2215 | 0.88871 | 0.95594 | 1.2643 | 0.86628 | 0.88622 | 2.8914 | -127.566 | 109.8168 | 1.3435 | -123.363 | 107.5499
Line_3 | 0.00036068 | 0.00036068 | 0.00036068 | 0.00036068 | 0.00036068 | 0.00036068 | 0.0041648 | 0.0041648 | 0.0041648 | 0.0041648 | 0.0041648 | 0.0041648 | -0.0027731 | -0.0010519 | 0.003825 | -0.0027731 | -0.0010519 | 0.003825 | -0.0042651 | 0.0035487 | -0.0011045 | -0.0042651 | 0.0035487 | -0.0011045 | 125.9227 | 125.9227 | 125.9227 | 125.9227 | 125.9227 | 125.9227 |  | 1.2215 | 0.88871 | 0.95594 | 1.2215 | 0.88871 | 0.95594 | 2.8914 | -127.566 | 109.8168 | 2.8914 | -127.566 | 109.8168

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.07059 | 0.79279 | 0.75664 | 0.070776 | 0.79312 | 0.75618 | 0.8151 | 9.1544 | 8.7369 | 0.81725 | 9.1582 | 8.7316 | 1.0254 | 7.9046 | 4.3583 | -1.0311 | -7.5714 | -4.0498 | -0.069423 | 2.6687 | 7.0072 | 0.065284 | -2.3695 | -6.5937 | 5.662 | -140.7994 | 49.1645 | -175.0338 | 39.2596 | -130.8921 |  | 1.2609 | 0.91136 | 0.94449 | 1.2643 | 0.86628 | 0.88622 | 1.7888 | -122.1438 | 107.2839 | 1.3435 | -123.363 | 107.5499
Line_1 | 0.035668 | 0.40116 | 0.36718 | 0.035388 | 0.40064 | 0.36656 | 0.41186 | 4.6322 | 4.2398 | 0.40862 | 4.6262 | 4.2326 | -0.50303 | 1.5287 | 3.3869 | 0.51557 | -1.2172 | -3.211 | 0.0076706 | 3.8223 | 2.2261 | -0.032642 | -3.8182 | -1.939 | -176.2349 | 164.2329 | 76.5007 | 4.9662 | -15.6809 | -103.5768 |  | 1.2215 | 0.88871 | 0.95594 | 1.2643 | 0.86628 | 0.88622 | 2.8914 | -127.566 | 109.8168 | 1.3435 | -123.363 | 107.5499
Line_2 | 0.035668 | 0.40116 | 0.36718 | 0.035388 | 0.40064 | 0.36656 | 0.41186 | 4.6322 | 4.2398 | 0.40862 | 4.6262 | 4.2326 | -0.50303 | 1.5287 | 3.3869 | 0.51557 | -1.2172 | -3.211 | 0.0076706 | 3.8223 | 2.2261 | -0.032642 | -3.8182 | -1.939 | -176.2349 | 164.2329 | 76.5007 | 4.9662 | -15.6809 | -103.5768 |  | 1.2215 | 0.88871 | 0.95594 | 1.2643 | 0.86628 | 0.88622 | 2.8914 | -127.566 | 109.8168 | 1.3435 | -123.363 | 107.5499
Line_3 | 0.00036068 | 0.00036068 | 0.00036068 | 0.00036068 | 0.00036068 | 0.00036068 | 0.0041648 | 0.0041648 | 0.0041648 | 0.0041648 | 0.0041648 | 0.0041648 | -0.0027731 | -0.0010519 | 0.003825 | -0.0027731 | -0.0010519 | 0.003825 | -0.0042651 | 0.0035487 | -0.0011045 | -0.0042651 | 0.0035487 | -0.0011045 | 125.9227 | 125.9227 | 125.9227 | 125.9227 | 125.9227 | 125.9227 |  | 1.2215 | 0.88871 | 0.95594 | 1.2215 | 0.88871 | 0.95594 | 2.8914 | -127.566 | 109.8168 | 2.8914 | -127.566 | 109.8168

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4688 | 3.1557 | 3.1195 | 0.47067 | 3.1562 | 3.1187 | 5.4132 | 36.4394 | 36.0211 | 5.4348 | 36.4444 | 36.0112 | 3.1186 | 10.2312 | 9.7231 | -3.104 | -1.0816e-10 | -1.3625e-11 | 6.2994 | 4.5369 | 7.0953 | -6.2014 | -8.2218e-11 | -1.3496e-10 | -64.1028 | -165.8688 | 26.5964 | 115.7954 | 14.1676 | -153.4378 |  | 1.2985 | 0.30714 | 0.33416 | 1.276 | 0 | 0 | -0.44114 | -141.9547 | 62.716 | -0.79443 | 0 | 0
Line_1 | 0.23698 | 0.96479 | 0.62168 | 0.23533 | 0.96397 | 0.62045 | 2.7364 | 11.1404 | 7.1785 | 2.7174 | 11.131 | 7.1644 | -0.92882 | 3.045 | 0.84024 | 1.552 | -1.6597e-11 | -1.7317e-11 | -2.9001 | -0.70823 | 1.7474 | 3.1007 | -3.8032e-11 | -2.0698e-11 | 115.7119 | 164.8959 | 60.8211 | -64.2046 | -15.0168 | -119.2849 |  | 1.1128 | 0.28062 | 0.2701 | 1.276 | 0 | 0 | 7.9529 | 151.8024 | 125.1405 | -0.79443 | 0 | 0
Line_2 | 0.23698 | 0.96479 | 0.62168 | 0.23533 | 0.96397 | 0.62045 | 2.7364 | 11.1404 | 7.1785 | 2.7174 | 11.131 | 7.1644 | -0.92882 | 3.045 | 0.84024 | 1.552 | -1.6597e-11 | -1.7317e-11 | -2.9001 | -0.70823 | 1.7474 | 3.1007 | -3.8032e-11 | -2.0698e-11 | 115.7119 | 164.8959 | 60.8211 | -64.2046 | -15.0168 | -119.2849 |  | 1.1128 | 0.28062 | 0.2701 | 1.276 | 0 | 0 | 7.9529 | 151.8024 | 125.1405 | -0.79443 | 0 | 0
Line_3 | 0.00071283 | 0.00071283 | 0.00071283 | 0.00071283 | 0.00071283 | 0.00071283 | 0.008231 | 0.008231 | 0.008231 | 0.008231 | 0.008231 | 0.008231 | -0.0043019 | 0.0020789 | 0.002223 | -0.0043019 | 0.0020789 | 0.002223 | -0.0080868 | 0.0010067 | -3.1967e-05 | -0.0080868 | 0.0010067 | -3.1967e-05 | 125.9643 | 125.9643 | 125.9643 | 125.9643 | 125.9643 | 125.9643 |  | 1.1128 | 0.28062 | 0.2701 | 1.1128 | 0.28062 | 0.2701 | 7.9529 | 151.8024 | 125.1405 | 7.9529 | 151.8024 | 125.1405

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4688 | 3.1557 | 3.1195 | 0.47067 | 3.1562 | 3.1187 | 5.4132 | 36.4394 | 36.0211 | 5.4348 | 36.4444 | 36.0112 | 3.1186 | 10.2312 | 9.7231 | -3.104 | -1.0816e-10 | -1.3625e-11 | 6.2994 | 4.5369 | 7.0953 | -6.2014 | -8.2218e-11 | -1.3496e-10 | -64.1028 | -165.8688 | 26.5964 | 115.7954 | 14.1676 | -153.4378 |  | 1.2985 | 0.30714 | 0.33416 | 1.276 | 0 | 0 | -0.44114 | -141.9547 | 62.716 | -0.79443 | 0 | 0
Line_1 | 0.23698 | 0.96479 | 0.62168 | 0.23533 | 0.96397 | 0.62045 | 2.7364 | 11.1404 | 7.1785 | 2.7174 | 11.131 | 7.1644 | -0.92882 | 3.045 | 0.84024 | 1.552 | -1.6597e-11 | -1.7317e-11 | -2.9001 | -0.70823 | 1.7474 | 3.1007 | -3.8032e-11 | -2.0698e-11 | 115.7119 | 164.8959 | 60.8211 | -64.2046 | -15.0168 | -119.2849 |  | 1.1128 | 0.28062 | 0.2701 | 1.276 | 0 | 0 | 7.9529 | 151.8024 | 125.1405 | -0.79443 | 0 | 0
Line_2 | 0.23698 | 0.96479 | 0.62168 | 0.23533 | 0.96397 | 0.62045 | 2.7364 | 11.1404 | 7.1785 | 2.7174 | 11.131 | 7.1644 | -0.92882 | 3.045 | 0.84024 | 1.552 | -1.6597e-11 | -1.7317e-11 | -2.9001 | -0.70823 | 1.7474 | 3.1007 | -3.8032e-11 | -2.0698e-11 | 115.7119 | 164.8959 | 60.8211 | -64.2046 | -15.0168 | -119.2849 |  | 1.1128 | 0.28062 | 0.2701 | 1.276 | 0 | 0 | 7.9529 | 151.8024 | 125.1405 | -0.79443 | 0 | 0
Line_3 | 0.00071283 | 0.00071283 | 0.00071283 | 0.00071283 | 0.00071283 | 0.00071283 | 0.008231 | 0.008231 | 0.008231 | 0.008231 | 0.008231 | 0.008231 | -0.0043019 | 0.0020789 | 0.002223 | -0.0043019 | 0.0020789 | 0.002223 | -0.0080868 | 0.0010067 | -3.1967e-05 | -0.0080868 | 0.0010067 | -3.1967e-05 | 125.9643 | 125.9643 | 125.9643 | 125.9643 | 125.9643 | 125.9643 |  | 1.1128 | 0.28062 | 0.2701 | 1.1128 | 0.28062 | 0.2701 | 7.9529 | 151.8024 | 125.1405 | 7.9529 | 151.8024 | 125.1405

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19762 | 0.76726 | 0.80562 | 0.19831 | 0.76755 | 0.8051 | 2.2819 | 8.8596 | 9.3025 | 2.2899 | 8.8629 | 9.2965 | 1.4772 | 6.3888 | 4.2062 | -1.4719 | -5.8014 | -3.5112 | 2.0587 | 3.4274 | 6.2744 | -2.0435 | -3.2018 | -5.7644 | -54.1401 | -149.8296 | 50.3155 | 125.755 | 30.224 | -129.7254 |  | 1.1104 | 0.81834 | 0.81202 | 1.0998 | 0.74763 | 0.72604 | 0.19927 | -121.6173 | 106.479 | -0.010659 | -120.8818 | 108.9287
Line_1 | 0.099765 | 0.26445 | 0.2235 | 0.099154 | 0.26413 | 0.2229 | 1.152 | 3.0536 | 2.5807 | 1.1449 | 3.05 | 2.5739 | -0.63567 | 1.1132 | 1.9493 | 0.73597 | -0.8257 | -1.7586 | -0.99909 | 2.0437 | 0.82914 | 1.0217 | -2.1255 | -0.63198 | 125.6564 | 170.2284 | 89.2204 | -54.245 | -9.6521 | -90.8377 |  | 1.0279 | 0.76214 | 0.82081 | 1.0998 | 0.74763 | 0.72604 | 3.19 | -128.3487 | 112.2634 | -0.010659 | -120.8818 | 108.9287
Line_2 | 0.099765 | 0.26445 | 0.2235 | 0.099154 | 0.26413 | 0.2229 | 1.152 | 3.0536 | 2.5807 | 1.1449 | 3.05 | 2.5739 | -0.63567 | 1.1132 | 1.9493 | 0.73597 | -0.8257 | -1.7586 | -0.99909 | 2.0437 | 0.82914 | 1.0217 | -2.1255 | -0.63198 | 125.6564 | 170.2284 | 89.2204 | -54.245 | -9.6521 | -90.8377 |  | 1.0279 | 0.76214 | 0.82081 | 1.0998 | 0.74763 | 0.72604 | 3.19 | -128.3487 | 112.2634 | -0.010659 | -120.8818 | 108.9287
Line_3 | 0.00026963 | 0.00026963 | 0.00026963 | 0.00026963 | 0.00026963 | 0.00026963 | 0.0031134 | 0.0031134 | 0.0031134 | 0.0031134 | 0.0031134 | 0.0031134 | -0.0020102 | -0.00039373 | 0.0024039 | -0.0020102 | -0.00039373 | 0.0024039 | -0.0024903 | 0.00234 | -0.00086719 | -0.0024903 | 0.00234 | -0.00086719 | 132.1001 | 132.1001 | 132.1001 | 132.1001 | 132.1001 | 132.1001 |  | 1.0279 | 0.76214 | 0.82081 | 1.0279 | 0.76214 | 0.82081 | 3.19 | -128.3487 | 112.2634 | 3.19 | -128.3487 | 112.2634

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19762 | 0.76726 | 0.80562 | 0.19831 | 0.76755 | 0.8051 | 2.2819 | 8.8596 | 9.3025 | 2.2899 | 8.8629 | 9.2965 | 1.4772 | 6.3888 | 4.2062 | -1.4719 | -5.8014 | -3.5112 | 2.0587 | 3.4274 | 6.2744 | -2.0435 | -3.2018 | -5.7644 | -54.1401 | -149.8296 | 50.3155 | 125.755 | 30.224 | -129.7254 |  | 1.1104 | 0.81834 | 0.81202 | 1.0998 | 0.74763 | 0.72604 | 0.19927 | -121.6173 | 106.479 | -0.010659 | -120.8818 | 108.9287
Line_1 | 0.099765 | 0.26445 | 0.2235 | 0.099154 | 0.26413 | 0.2229 | 1.152 | 3.0536 | 2.5807 | 1.1449 | 3.05 | 2.5739 | -0.63567 | 1.1132 | 1.9493 | 0.73597 | -0.8257 | -1.7586 | -0.99909 | 2.0437 | 0.82914 | 1.0217 | -2.1255 | -0.63198 | 125.6564 | 170.2284 | 89.2204 | -54.245 | -9.6521 | -90.8377 |  | 1.0279 | 0.76214 | 0.82081 | 1.0998 | 0.74763 | 0.72604 | 3.19 | -128.3487 | 112.2634 | -0.010659 | -120.8818 | 108.9287
Line_2 | 0.099765 | 0.26445 | 0.2235 | 0.099154 | 0.26413 | 0.2229 | 1.152 | 3.0536 | 2.5807 | 1.1449 | 3.05 | 2.5739 | -0.63567 | 1.1132 | 1.9493 | 0.73597 | -0.8257 | -1.7586 | -0.99909 | 2.0437 | 0.82914 | 1.0217 | -2.1255 | -0.63198 | 125.6564 | 170.2284 | 89.2204 | -54.245 | -9.6521 | -90.8377 |  | 1.0279 | 0.76214 | 0.82081 | 1.0998 | 0.74763 | 0.72604 | 3.19 | -128.3487 | 112.2634 | -0.010659 | -120.8818 | 108.9287
Line_3 | 0.00026963 | 0.00026963 | 0.00026963 | 0.00026963 | 0.00026963 | 0.00026963 | 0.0031134 | 0.0031134 | 0.0031134 | 0.0031134 | 0.0031134 | 0.0031134 | -0.0020102 | -0.00039373 | 0.0024039 | -0.0020102 | -0.00039373 | 0.0024039 | -0.0024903 | 0.00234 | -0.00086719 | -0.0024903 | 0.00234 | -0.00086719 | 132.1001 | 132.1001 | 132.1001 | 132.1001 | 132.1001 | 132.1001 |  | 1.0279 | 0.76214 | 0.82081 | 1.0279 | 0.76214 | 0.82081 | 3.19 | -128.3487 | 112.2634 | 3.19 | -128.3487 | 112.2634