## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1307e-14 | -3.2699e-15 | -4.7078e-16 | 1.1502e-14 | 1.5723e-14 | 5.158e-15 | -3.91e-16 | 2.6435e-15 | -1.0787e-14 | -5.2624e-15 | -7.3042e-15 | -5.6288e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1307e-14 | -3.2699e-15 | -4.7078e-16 | 1.1502e-14 | 1.5723e-14 | 5.158e-15 | -3.91e-16 | 2.6435e-15 | -1.0787e-14 | -5.2624e-15 | -7.3042e-15 | -5.6288e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8146e-15 | 7.6607e-15 | -3.1058e-15 | 3.8667e-17 | 7.4882e-15 | 4.6697e-17 | 2.7373e-15 | 3.7481e-15 | 4.5887e-15 | -2.776e-15 | 4.3918e-16 | -6.6592e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8146e-15 | 7.6607e-15 | -3.1058e-15 | 3.8667e-17 | 7.4882e-15 | 4.6697e-17 | 2.7373e-15 | 3.7481e-15 | 4.5887e-15 | -2.776e-15 | 4.3918e-16 | -6.6592e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8983e-15 | 9.5996e-15 | -4.0135e-15 | 4.4648e-15 | 1.328e-15 | 6.2244e-15 | -1.0036e-14 | -1.5947e-15 | 9.0481e-15 | 9.9353e-15 | 1.5163e-16 | -9.1502e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8983e-15 | 9.5996e-15 | -4.0135e-15 | 4.4648e-15 | 1.328e-15 | 6.2244e-15 | -1.0036e-14 | -1.5947e-15 | 9.0481e-15 | 9.9353e-15 | 1.5163e-16 | -9.1502e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7402e-15 | 4.8532e-15 | 3.7607e-15 | 1.6938e-15 | -6.7903e-15 | -4.2228e-15 | -2.4169e-15 | -9.1642e-16 | 5.6263e-15 | 4.7989e-15 | 4.499e-15 | -4.983e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7402e-15 | 4.8532e-15 | 3.7607e-15 | 1.6938e-15 | -6.7903e-15 | -4.2228e-15 | -2.4169e-15 | -9.1642e-16 | 5.6263e-15 | 4.7989e-15 | 4.499e-15 | -4.983e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.971 | 0.90053 | 0.82212 | 1.9681 | 0.90357 | 0.82454 | 22.7597 | 10.3985 | 9.493 | 22.7261 | 10.4335 | 9.521 | 2.7274 | -9.3752 | 13.5533 | 1.0393e-10 | 9.5161 | -13.5151 | 2.2912 | 10.4456 | 1.9434 | -7.6868e-11 | -10.0678 | -1.4771 | -74.5191 | 92.991 | 125.6405 | 105.507 | -87.0245 | -54.4877 |  | 0.15651 | 1.3498 | 1.4423 | 0 | 1.3278 | 1.428 | -34.4867 | -135.1 | 133.8005 | 0 | -133.6382 | 131.7495
Line_1 | 1.1424 | 0.45453 | 0.41466 | 1.1397 | 0.45179 | 0.41227 | 13.1911 | 5.2485 | 4.788 | 13.1598 | 5.2168 | 4.7605 | 3.0466 | 5.7538 | -5.8082 | 6.0429e-11 | -4.7581 | 6.7576 | 1.4868 | -4.4665 | -0.71579 | -4.4174e-11 | 5.0339 | 0.73855 | -74.8364 | -87.0087 | -54.677 | 105.1865 | 92.9755 | 125.5123 |  | 0.25699 | 1.3878 | 1.2222 | 0 | 1.3278 | 1.428 | -48.8232 | -124.8293 | 132.3486 | 0 | -133.6382 | 131.7495
Line_2 | 1.1424 | 0.45453 | 0.41466 | 1.1397 | 0.45179 | 0.41227 | 13.1911 | 5.2485 | 4.788 | 13.1598 | 5.2168 | 4.7605 | 3.0466 | 5.7538 | -5.8082 | 6.0429e-11 | -4.7581 | 6.7576 | 1.4868 | -4.4665 | -0.71579 | -4.4174e-11 | 5.0339 | 0.73855 | -74.8364 | -87.0087 | -54.677 | 105.1865 | 92.9755 | 125.5123 |  | 0.25699 | 1.3878 | 1.2222 | 0 | 1.3278 | 1.428 | -48.8232 | -124.8293 | 132.3486 | 0 | -133.6382 | 131.7495
Line_3 | 0.001245 | 0.001245 | 0.001245 | 0.001245 | 0.001245 | 0.001245 | 0.014376 | 0.014376 | 0.014376 | 0.014376 | 0.014376 | 0.014376 | 0.0033579 | 0.012459 | -0.015817 | 0.0033579 | 0.012459 | -0.015817 | 0.0015408 | -0.015583 | -0.0076532 | 0.0015408 | -0.015583 | -0.0076532 | -73.4719 | -73.4719 | -73.4719 | -73.4719 | -73.4719 | -73.4719 |  | 0.25699 | 1.3878 | 1.2222 | 0.25699 | 1.3878 | 1.2222 | -48.8232 | -124.8293 | 132.3486 | -48.8232 | -124.8293 | 132.3486

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.971 | 0.90053 | 0.82212 | 1.9681 | 0.90357 | 0.82454 | 22.7597 | 10.3985 | 9.493 | 22.7261 | 10.4335 | 9.521 | 2.7274 | -9.3752 | 13.5533 | 1.0393e-10 | 9.5161 | -13.5151 | 2.2912 | 10.4456 | 1.9434 | -7.6868e-11 | -10.0678 | -1.4771 | -74.5191 | 92.991 | 125.6405 | 105.507 | -87.0245 | -54.4877 |  | 0.15651 | 1.3498 | 1.4423 | 0 | 1.3278 | 1.428 | -34.4867 | -135.1 | 133.8005 | 0 | -133.6382 | 131.7495
Line_1 | 1.1424 | 0.45453 | 0.41466 | 1.1397 | 0.45179 | 0.41227 | 13.1911 | 5.2485 | 4.788 | 13.1598 | 5.2168 | 4.7605 | 3.0466 | 5.7538 | -5.8082 | 6.0429e-11 | -4.7581 | 6.7576 | 1.4868 | -4.4665 | -0.71579 | -4.4174e-11 | 5.0339 | 0.73855 | -74.8364 | -87.0087 | -54.677 | 105.1865 | 92.9755 | 125.5123 |  | 0.25699 | 1.3878 | 1.2222 | 0 | 1.3278 | 1.428 | -48.8232 | -124.8293 | 132.3486 | 0 | -133.6382 | 131.7495
Line_2 | 1.1424 | 0.45453 | 0.41466 | 1.1397 | 0.45179 | 0.41227 | 13.1911 | 5.2485 | 4.788 | 13.1598 | 5.2168 | 4.7605 | 3.0466 | 5.7538 | -5.8082 | 6.0429e-11 | -4.7581 | 6.7576 | 1.4868 | -4.4665 | -0.71579 | -4.4174e-11 | 5.0339 | 0.73855 | -74.8364 | -87.0087 | -54.677 | 105.1865 | 92.9755 | 125.5123 |  | 0.25699 | 1.3878 | 1.2222 | 0 | 1.3278 | 1.428 | -48.8232 | -124.8293 | 132.3486 | 0 | -133.6382 | 131.7495
Line_3 | 0.001245 | 0.001245 | 0.001245 | 0.001245 | 0.001245 | 0.001245 | 0.014376 | 0.014376 | 0.014376 | 0.014376 | 0.014376 | 0.014376 | 0.0033579 | 0.012459 | -0.015817 | 0.0033579 | 0.012459 | -0.015817 | 0.0015408 | -0.015583 | -0.0076532 | 0.0015408 | -0.015583 | -0.0076532 | -73.4719 | -73.4719 | -73.4719 | -73.4719 | -73.4719 | -73.4719 |  | 0.25699 | 1.3878 | 1.2222 | 0.25699 | 1.3878 | 1.2222 | -48.8232 | -124.8293 | 132.3486 | -48.8232 | -124.8293 | 132.3486

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49084 | 0.1886 | 0.36515 | 0.48999 | 0.18943 | 0.36559 | 5.6678 | 2.1778 | 4.2164 | 5.6579 | 2.1874 | 4.2214 | 4.0719 | -2.5016 | 3.5304 | -3.8873 | 2.5141 | -3.503 | 2.7414 | 0.99962 | -3.5846 | -2.6019 | -1.0056 | 3.6894 | -42.8999 | 78.0001 | 171.9955 | 137.1535 | -101.849 | -8.1398 |  | 0.86608 | 1.237 | 1.1933 | 0.82676 | 1.2379 | 1.2052 | -8.9492 | -123.7811 | 126.5592 | -9.0512 | -123.6501 | 125.3753
Line_1 | 0.43819 | 0.095406 | 0.18329 | 0.43732 | 0.094717 | 0.18279 | 5.0598 | 1.1017 | 2.1164 | 5.0498 | 1.0937 | 2.1107 | 2.9957 | 1.2967 | -1.6357 | -2.6132 | -1.2571 | 1.7515 | 3.4935 | -0.44913 | 1.8014 | -3.2559 | 0.50281 | -1.8447 | -60.3077 | -101.5257 | -8.3651 | 119.6993 | 78.151 | 171.8602 |  | 0.90953 | 1.2457 | 1.1497 | 0.82676 | 1.2379 | 1.2052 | -10.9206 | -120.6301 | 123.8744 | -9.0512 | -123.6501 | 125.3753
Line_2 | 0.43819 | 0.095406 | 0.18329 | 0.43732 | 0.094717 | 0.18279 | 5.0598 | 1.1017 | 2.1164 | 5.0498 | 1.0937 | 2.1107 | 2.9957 | 1.2967 | -1.6357 | -2.6132 | -1.2571 | 1.7515 | 3.4935 | -0.44913 | 1.8014 | -3.2559 | 0.50281 | -1.8447 | -60.3077 | -101.5257 | -8.3651 | 119.6993 | 78.151 | 171.8602 |  | 0.90953 | 1.2457 | 1.1497 | 0.82676 | 1.2379 | 1.2052 | -10.9206 | -120.6301 | 123.8744 | -9.0512 | -123.6501 | 125.3753
Line_3 | 0.00039574 | 0.00039574 | 0.00039574 | 0.00039574 | 0.00039574 | 0.00039574 | 0.0045696 | 0.0045696 | 0.0045696 | 0.0045696 | 0.0045696 | 0.0045696 | 0.0030917 | 0.0021533 | -0.005245 | 0.0030917 | 0.0021533 | -0.005245 | 0.0027777 | -0.0052691 | 0.00029943 | 0.0027777 | -0.0052691 | 0.00029943 | -52.8581 | -52.8581 | -52.8581 | -52.8581 | -52.8581 | -52.8581 |  | 0.90953 | 1.2457 | 1.1497 | 0.90953 | 1.2457 | 1.1497 | -10.9206 | -120.6301 | 123.8744 | -10.9206 | -120.6301 | 123.8744

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49084 | 0.1886 | 0.36515 | 0.48999 | 0.18943 | 0.36559 | 5.6678 | 2.1778 | 4.2164 | 5.6579 | 2.1874 | 4.2214 | 4.0719 | -2.5016 | 3.5304 | -3.8873 | 2.5141 | -3.503 | 2.7414 | 0.99962 | -3.5846 | -2.6019 | -1.0056 | 3.6894 | -42.8999 | 78.0001 | 171.9955 | 137.1535 | -101.849 | -8.1398 |  | 0.86608 | 1.237 | 1.1933 | 0.82676 | 1.2379 | 1.2052 | -8.9492 | -123.7811 | 126.5592 | -9.0512 | -123.6501 | 125.3753
Line_1 | 0.43819 | 0.095406 | 0.18329 | 0.43732 | 0.094717 | 0.18279 | 5.0598 | 1.1017 | 2.1164 | 5.0498 | 1.0937 | 2.1107 | 2.9957 | 1.2967 | -1.6357 | -2.6132 | -1.2571 | 1.7515 | 3.4935 | -0.44913 | 1.8014 | -3.2559 | 0.50281 | -1.8447 | -60.3077 | -101.5257 | -8.3651 | 119.6993 | 78.151 | 171.8602 |  | 0.90953 | 1.2457 | 1.1497 | 0.82676 | 1.2379 | 1.2052 | -10.9206 | -120.6301 | 123.8744 | -9.0512 | -123.6501 | 125.3753
Line_2 | 0.43819 | 0.095406 | 0.18329 | 0.43732 | 0.094717 | 0.18279 | 5.0598 | 1.1017 | 2.1164 | 5.0498 | 1.0937 | 2.1107 | 2.9957 | 1.2967 | -1.6357 | -2.6132 | -1.2571 | 1.7515 | 3.4935 | -0.44913 | 1.8014 | -3.2559 | 0.50281 | -1.8447 | -60.3077 | -101.5257 | -8.3651 | 119.6993 | 78.151 | 171.8602 |  | 0.90953 | 1.2457 | 1.1497 | 0.82676 | 1.2379 | 1.2052 | -10.9206 | -120.6301 | 123.8744 | -9.0512 | -123.6501 | 125.3753
Line_3 | 0.00039574 | 0.00039574 | 0.00039574 | 0.00039574 | 0.00039574 | 0.00039574 | 0.0045696 | 0.0045696 | 0.0045696 | 0.0045696 | 0.0045696 | 0.0045696 | 0.0030917 | 0.0021533 | -0.005245 | 0.0030917 | 0.0021533 | -0.005245 | 0.0027777 | -0.0052691 | 0.00029943 | 0.0027777 | -0.0052691 | 0.00029943 | -52.8581 | -52.8581 | -52.8581 | -52.8581 | -52.8581 | -52.8581 |  | 0.90953 | 1.2457 | 1.1497 | 0.90953 | 1.2457 | 1.1497 | -10.9206 | -120.6301 | 123.8744 | -10.9206 | -120.6301 | 123.8744

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7343 | 0.79726 | 0.68934 | 1.732 | 0.79945 | 0.69139 | 20.026 | 9.2059 | 7.9599 | 19.9998 | 9.2313 | 7.9835 | 3.9618 | -2.0132 | 10.3494 | -4.9779e-11 | 2.2426 | -10.2597 | 1.4072 | 10.5349 | 1.2979 | -9.1875e-13 | -9.9899 | -0.84691 | -62.2441 | 120.9293 | 125.9695 | 117.8034 | -59.1825 | -54.1753 |  | 0.20994 | 1.1651 | 1.3104 | 0 | 1.1091 | 1.2895 | -42.6889 | -138.2522 | 133.1174 | 0 | -136.5299 | 130.5437
Line_1 | 0.87147 | 0.40173 | 0.34761 | 0.8694 | 0.39973 | 0.3457 | 10.0628 | 4.6387 | 4.0139 | 10.039 | 4.6156 | 3.9918 | 3.5885 | 2.6208 | -3.8851 | -2.4961e-11 | -1.1213 | 5.1298 | 1.0203 | -4.7657 | -0.33392 | -1.2193e-12 | 4.995 | 0.42346 | -63.9822 | -59.3071 | -54.3474 | 116.0641 | 120.8175 | 125.8247 |  | 0.37074 | 1.1725 | 0.97149 | 0 | 1.1091 | 1.2895 | -48.1101 | -120.4994 | 130.565 | 0 | -136.5299 | 130.5437
Line_2 | 0.87147 | 0.40173 | 0.34761 | 0.8694 | 0.39973 | 0.3457 | 10.0628 | 4.6387 | 4.0139 | 10.039 | 4.6156 | 3.9918 | 3.5885 | 2.6208 | -3.8851 | -2.4961e-11 | -1.1213 | 5.1298 | 1.0203 | -4.7657 | -0.33392 | -1.2193e-12 | 4.995 | 0.42346 | -63.9822 | -59.3071 | -54.3474 | 116.0641 | 120.8175 | 125.8247 |  | 0.37074 | 1.1725 | 0.97149 | 0 | 1.1091 | 1.2895 | -48.1101 | -120.4994 | 130.565 | 0 | -136.5299 | 130.5437
Line_3 | 0.00092587 | 0.00092587 | 0.00092587 | 0.00092587 | 0.00092587 | 0.00092587 | 0.010691 | 0.010691 | 0.010691 | 0.010691 | 0.010691 | 0.010691 | 0.0038674 | 0.0063166 | -0.010184 | 0.0038674 | 0.0063166 | -0.010184 | 0.00086794 | -0.010827 | -0.0020394 | 0.00086794 | -0.010827 | -0.0020394 | -60.7591 | -60.7591 | -60.7591 | -60.7591 | -60.7591 | -60.7591 |  | 0.37074 | 1.1725 | 0.97149 | 0.37074 | 1.1725 | 0.97149 | -48.1101 | -120.4994 | 130.565 | -48.1101 | -120.4994 | 130.565

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7343 | 0.79726 | 0.68934 | 1.732 | 0.79945 | 0.69139 | 20.026 | 9.2059 | 7.9599 | 19.9998 | 9.2313 | 7.9835 | 3.9618 | -2.0132 | 10.3494 | -4.9779e-11 | 2.2426 | -10.2597 | 1.4072 | 10.5349 | 1.2979 | -9.1875e-13 | -9.9899 | -0.84691 | -62.2441 | 120.9293 | 125.9695 | 117.8034 | -59.1825 | -54.1753 |  | 0.20994 | 1.1651 | 1.3104 | 0 | 1.1091 | 1.2895 | -42.6889 | -138.2522 | 133.1174 | 0 | -136.5299 | 130.5437
Line_1 | 0.87147 | 0.40173 | 0.34761 | 0.8694 | 0.39973 | 0.3457 | 10.0628 | 4.6387 | 4.0139 | 10.039 | 4.6156 | 3.9918 | 3.5885 | 2.6208 | -3.8851 | -2.4961e-11 | -1.1213 | 5.1298 | 1.0203 | -4.7657 | -0.33392 | -1.2193e-12 | 4.995 | 0.42346 | -63.9822 | -59.3071 | -54.3474 | 116.0641 | 120.8175 | 125.8247 |  | 0.37074 | 1.1725 | 0.97149 | 0 | 1.1091 | 1.2895 | -48.1101 | -120.4994 | 130.565 | 0 | -136.5299 | 130.5437
Line_2 | 0.87147 | 0.40173 | 0.34761 | 0.8694 | 0.39973 | 0.3457 | 10.0628 | 4.6387 | 4.0139 | 10.039 | 4.6156 | 3.9918 | 3.5885 | 2.6208 | -3.8851 | -2.4961e-11 | -1.1213 | 5.1298 | 1.0203 | -4.7657 | -0.33392 | -1.2193e-12 | 4.995 | 0.42346 | -63.9822 | -59.3071 | -54.3474 | 116.0641 | 120.8175 | 125.8247 |  | 0.37074 | 1.1725 | 0.97149 | 0 | 1.1091 | 1.2895 | -48.1101 | -120.4994 | 130.565 | 0 | -136.5299 | 130.5437
Line_3 | 0.00092587 | 0.00092587 | 0.00092587 | 0.00092587 | 0.00092587 | 0.00092587 | 0.010691 | 0.010691 | 0.010691 | 0.010691 | 0.010691 | 0.010691 | 0.0038674 | 0.0063166 | -0.010184 | 0.0038674 | 0.0063166 | -0.010184 | 0.00086794 | -0.010827 | -0.0020394 | 0.00086794 | -0.010827 | -0.0020394 | -60.7591 | -60.7591 | -60.7591 | -60.7591 | -60.7591 | -60.7591 |  | 0.37074 | 1.1725 | 0.97149 | 0.37074 | 1.1725 | 0.97149 | -48.1101 | -120.4994 | 130.565 | -48.1101 | -120.4994 | 130.565

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56099 | 0.25789 | 0.22298 | 0.56026 | 0.2586 | 0.22364 | 6.4778 | 2.9778 | 2.5748 | 6.4693 | 2.986 | 2.5824 | 3.6083 | -0.60134 | 2.6994 | -3.1921 | 0.63036 | -2.6966 | 3.2504 | 3.1117 | -0.58518 | -3.0965 | -3.0595 | 0.63041 | -49.9339 | 133.2396 | 138.2797 | 130.1136 | -46.8723 | -41.865 |  | 0.74971 | 1.0643 | 1.0727 | 0.68744 | 1.0461 | 1.0724 | -7.9204 | -125.823 | 126.0483 | -5.7577 | -125.2303 | 124.9768
Line_1 | 0.28189 | 0.12995 | 0.11244 | 0.28123 | 0.1293 | 0.11182 | 3.255 | 1.5005 | 1.2984 | 3.2473 | 1.493 | 1.2912 | 1.9323 | 0.47526 | -1.2237 | -1.5544 | -0.31518 | 1.3483 | 1.714 | -1.5104 | 0.32411 | -1.6022 | 1.5297 | -0.3152 | -51.672 | -46.9969 | -42.0372 | 128.3743 | 133.1277 | 138.135 |  | 0.79352 | 1.0552 | 0.97495 | 0.68744 | 1.0461 | 1.0724 | -10.0969 | -119.5297 | 123.1274 | -5.7577 | -125.2303 | 124.9768
Line_2 | 0.28189 | 0.12995 | 0.11244 | 0.28123 | 0.1293 | 0.11182 | 3.255 | 1.5005 | 1.2984 | 3.2473 | 1.493 | 1.2912 | 1.9323 | 0.47526 | -1.2237 | -1.5544 | -0.31518 | 1.3483 | 1.714 | -1.5104 | 0.32411 | -1.6022 | 1.5297 | -0.3152 | -51.672 | -46.9969 | -42.0372 | 128.3743 | 133.1277 | 138.135 |  | 0.79352 | 1.0552 | 0.97495 | 0.68744 | 1.0461 | 1.0724 | -10.0969 | -119.5297 | 123.1274 | -5.7577 | -125.2303 | 124.9768
Line_3 | 0.00029949 | 0.00029949 | 0.00029949 | 0.00029949 | 0.00029949 | 0.00029949 | 0.0034582 | 0.0034582 | 0.0034582 | 0.0034582 | 0.0034582 | 0.0034582 | 0.002152 | 0.0011832 | -0.0033352 | 0.002152 | 0.0011832 | -0.0033352 | 0.0017027 | -0.0034521 | 0.00049391 | 0.0017027 | -0.0034521 | 0.00049391 | -48.4489 | -48.4489 | -48.4489 | -48.4489 | -48.4489 | -48.4489 |  | 0.79352 | 1.0552 | 0.97495 | 0.79352 | 1.0552 | 0.97495 | -10.0969 | -119.5297 | 123.1274 | -10.0969 | -119.5297 | 123.1274

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56099 | 0.25789 | 0.22298 | 0.56026 | 0.2586 | 0.22364 | 6.4778 | 2.9778 | 2.5748 | 6.4693 | 2.986 | 2.5824 | 3.6083 | -0.60134 | 2.6994 | -3.1921 | 0.63036 | -2.6966 | 3.2504 | 3.1117 | -0.58518 | -3.0965 | -3.0595 | 0.63041 | -49.9339 | 133.2396 | 138.2797 | 130.1136 | -46.8723 | -41.865 |  | 0.74971 | 1.0643 | 1.0727 | 0.68744 | 1.0461 | 1.0724 | -7.9204 | -125.823 | 126.0483 | -5.7577 | -125.2303 | 124.9768
Line_1 | 0.28189 | 0.12995 | 0.11244 | 0.28123 | 0.1293 | 0.11182 | 3.255 | 1.5005 | 1.2984 | 3.2473 | 1.493 | 1.2912 | 1.9323 | 0.47526 | -1.2237 | -1.5544 | -0.31518 | 1.3483 | 1.714 | -1.5104 | 0.32411 | -1.6022 | 1.5297 | -0.3152 | -51.672 | -46.9969 | -42.0372 | 128.3743 | 133.1277 | 138.135 |  | 0.79352 | 1.0552 | 0.97495 | 0.68744 | 1.0461 | 1.0724 | -10.0969 | -119.5297 | 123.1274 | -5.7577 | -125.2303 | 124.9768
Line_2 | 0.28189 | 0.12995 | 0.11244 | 0.28123 | 0.1293 | 0.11182 | 3.255 | 1.5005 | 1.2984 | 3.2473 | 1.493 | 1.2912 | 1.9323 | 0.47526 | -1.2237 | -1.5544 | -0.31518 | 1.3483 | 1.714 | -1.5104 | 0.32411 | -1.6022 | 1.5297 | -0.3152 | -51.672 | -46.9969 | -42.0372 | 128.3743 | 133.1277 | 138.135 |  | 0.79352 | 1.0552 | 0.97495 | 0.68744 | 1.0461 | 1.0724 | -10.0969 | -119.5297 | 123.1274 | -5.7577 | -125.2303 | 124.9768
Line_3 | 0.00029949 | 0.00029949 | 0.00029949 | 0.00029949 | 0.00029949 | 0.00029949 | 0.0034582 | 0.0034582 | 0.0034582 | 0.0034582 | 0.0034582 | 0.0034582 | 0.002152 | 0.0011832 | -0.0033352 | 0.002152 | 0.0011832 | -0.0033352 | 0.0017027 | -0.0034521 | 0.00049391 | 0.0017027 | -0.0034521 | 0.00049391 | -48.4489 | -48.4489 | -48.4489 | -48.4489 | -48.4489 | -48.4489 |  | 0.79352 | 1.0552 | 0.97495 | 0.79352 | 1.0552 | 0.97495 | -10.0969 | -119.5297 | 123.1274 | -10.0969 | -119.5297 | 123.1274

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41465 | 3.6854 | 3.763 | 0.41702 | 3.6856 | 3.7624 | 4.7879 | 42.5557 | 43.4512 | 4.8153 | 42.5579 | 43.4441 | 0.67583 | 7.2842 | 7.3249 | -0.70064 | 9.1643e-11 | 1.2247e-10 | 7.0226 | 7.0066 | 9.4065 | -6.987 | -8.1756e-11 | 1.5542e-11 | -83.4441 | -172.987 | 17.3197 | 96.5322 | 7.0499 | -162.7153 |  | 1.4735 | 0.2375 | 0.27438 | 1.4583 | 0 | 0 | 1.0589 | -129.0998 | 69.4117 | 0.80588 | 0 | 0
Line_1 | 0.21065 | 1.1253 | 0.92827 | 0.20851 | 1.1242 | 0.9267 | 2.4324 | 12.9943 | 10.7187 | 2.4077 | 12.9806 | 10.7006 | -0.022978 | 2.3058 | 0.99953 | 0.35032 | 3.6807e-11 | 2.5787e-11 | -3.328 | -0.20061 | 1.9759 | 3.4935 | -6.9572e-12 | -1.6113e-11 | 96.5635 | 155.9262 | 56.6073 | -83.4678 | -23.9829 | -123.4831 |  | 1.3683 | 0.17812 | 0.20658 | 1.4583 | 0 | 0 | 6.1679 | 150.9539 | 119.7742 | 0.80588 | 0 | 0
Line_2 | 0.21065 | 1.1253 | 0.92827 | 0.20851 | 1.1242 | 0.9267 | 2.4324 | 12.9943 | 10.7187 | 2.4077 | 12.9806 | 10.7006 | -0.022978 | 2.3058 | 0.99953 | 0.35032 | 3.6807e-11 | 2.5787e-11 | -3.328 | -0.20061 | 1.9759 | 3.4935 | -6.9572e-12 | -1.6113e-11 | 96.5635 | 155.9262 | 56.6073 | -83.4678 | -23.9829 | -123.4831 |  | 1.3683 | 0.17812 | 0.20658 | 1.4583 | 0 | 0 | 6.1679 | 150.9539 | 119.7742 | 0.80588 | 0 | 0
Line_3 | 0.00097085 | 0.00097085 | 0.00097085 | 0.00097085 | 0.00097085 | 0.00097085 | 0.01121 | 0.01121 | 0.01121 | 0.01121 | 0.01121 | 0.01121 | -0.0038061 | 0.0015202 | 0.0022859 | -0.0038061 | 0.0015202 | 0.0022859 | -0.014859 | 0.0012947 | 0.00037184 | -0.014859 | 0.0012947 | 0.00037184 | 110.5348 | 110.5348 | 110.5348 | 110.5348 | 110.5348 | 110.5348 |  | 1.3683 | 0.17812 | 0.20658 | 1.3683 | 0.17812 | 0.20658 | 6.1679 | 150.9539 | 119.7742 | 6.1679 | 150.9539 | 119.7742

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41465 | 3.6854 | 3.763 | 0.41702 | 3.6856 | 3.7624 | 4.7879 | 42.5557 | 43.4512 | 4.8153 | 42.5579 | 43.4441 | 0.67583 | 7.2842 | 7.3249 | -0.70064 | 9.1643e-11 | 1.2247e-10 | 7.0226 | 7.0066 | 9.4065 | -6.987 | -8.1756e-11 | 1.5542e-11 | -83.4441 | -172.987 | 17.3197 | 96.5322 | 7.0499 | -162.7153 |  | 1.4735 | 0.2375 | 0.27438 | 1.4583 | 0 | 0 | 1.0589 | -129.0998 | 69.4117 | 0.80588 | 0 | 0
Line_1 | 0.21065 | 1.1253 | 0.92827 | 0.20851 | 1.1242 | 0.9267 | 2.4324 | 12.9943 | 10.7187 | 2.4077 | 12.9806 | 10.7006 | -0.022978 | 2.3058 | 0.99953 | 0.35032 | 3.6807e-11 | 2.5787e-11 | -3.328 | -0.20061 | 1.9759 | 3.4935 | -6.9572e-12 | -1.6113e-11 | 96.5635 | 155.9262 | 56.6073 | -83.4678 | -23.9829 | -123.4831 |  | 1.3683 | 0.17812 | 0.20658 | 1.4583 | 0 | 0 | 6.1679 | 150.9539 | 119.7742 | 0.80588 | 0 | 0
Line_2 | 0.21065 | 1.1253 | 0.92827 | 0.20851 | 1.1242 | 0.9267 | 2.4324 | 12.9943 | 10.7187 | 2.4077 | 12.9806 | 10.7006 | -0.022978 | 2.3058 | 0.99953 | 0.35032 | 3.6807e-11 | 2.5787e-11 | -3.328 | -0.20061 | 1.9759 | 3.4935 | -6.9572e-12 | -1.6113e-11 | 96.5635 | 155.9262 | 56.6073 | -83.4678 | -23.9829 | -123.4831 |  | 1.3683 | 0.17812 | 0.20658 | 1.4583 | 0 | 0 | 6.1679 | 150.9539 | 119.7742 | 0.80588 | 0 | 0
Line_3 | 0.00097085 | 0.00097085 | 0.00097085 | 0.00097085 | 0.00097085 | 0.00097085 | 0.01121 | 0.01121 | 0.01121 | 0.01121 | 0.01121 | 0.01121 | -0.0038061 | 0.0015202 | 0.0022859 | -0.0038061 | 0.0015202 | 0.0022859 | -0.014859 | 0.0012947 | 0.00037184 | -0.014859 | 0.0012947 | 0.00037184 | 110.5348 | 110.5348 | 110.5348 | 110.5348 | 110.5348 | 110.5348 |  | 1.3683 | 0.17812 | 0.20658 | 1.3683 | 0.17812 | 0.20658 | 6.1679 | 150.9539 | 119.7742 | 6.1679 | 150.9539 | 119.7742

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.07528 | 0.7852 | 0.76402 | 0.075454 | 0.78551 | 0.76357 | 0.86925 | 9.0667 | 8.8222 | 0.87127 | 9.0703 | 8.817 | 1.0918 | 7.7992 | 4.4207 | -1.0963 | -7.4894 | -4.0894 | -0.10354 | 2.6191 | 7.1006 | 0.10146 | -2.33 | -6.679 | 7.4045 | -140.7908 | 49.0606 | -173.2544 | 39.2695 | -130.9965 |  | 1.2616 | 0.90741 | 0.94809 | 1.2637 | 0.86473 | 0.88823 | 1.9868 | -122.2279 | 107.155 | 1.4579 | -123.4494 | 107.5252
Line_1 | 0.037993 | 0.40277 | 0.36573 | 0.037727 | 0.40225 | 0.36511 | 0.43871 | 4.6508 | 4.2231 | 0.43564 | 4.6447 | 4.216 | -0.53486 | 1.5548 | 3.3885 | 0.54815 | -1.2404 | -3.215 | 0.024543 | 3.8264 | 2.2068 | -0.050732 | -3.8201 | -1.9202 | -174.3913 | 164.4543 | 76.7556 | 6.7456 | -15.4604 | -103.3229 |  | 1.2205 | 0.88806 | 0.95752 | 1.2637 | 0.86473 | 0.88823 | 2.9814 | -127.6587 | 109.8301 | 1.4579 | -123.4494 | 107.5252
Line_2 | 0.037993 | 0.40277 | 0.36573 | 0.037727 | 0.40225 | 0.36511 | 0.43871 | 4.6508 | 4.2231 | 0.43564 | 4.6447 | 4.216 | -0.53486 | 1.5548 | 3.3885 | 0.54815 | -1.2404 | -3.215 | 0.024543 | 3.8264 | 2.2068 | -0.050732 | -3.8201 | -1.9202 | -174.3913 | 164.4543 | 76.7556 | 6.7456 | -15.4604 | -103.3229 |  | 1.2205 | 0.88806 | 0.95752 | 1.2637 | 0.86473 | 0.88823 | 2.9814 | -127.6587 | 109.8301 | 1.4579 | -123.4494 | 107.5252
Line_3 | 0.00036121 | 0.00036121 | 0.00036121 | 0.00036121 | 0.00036121 | 0.00036121 | 0.0041709 | 0.0041709 | 0.0041709 | 0.0041709 | 0.0041709 | 0.0041709 | -0.0028198 | -0.0010036 | 0.0038234 | -0.0028198 | -0.0010036 | 0.0038234 | -0.0042379 | 0.0035654 | -0.0011537 | -0.0042379 | 0.0035654 | -0.0011537 | 126.6204 | 126.6204 | 126.6204 | 126.6204 | 126.6204 | 126.6204 |  | 1.2205 | 0.88806 | 0.95752 | 1.2205 | 0.88806 | 0.95752 | 2.9814 | -127.6587 | 109.8301 | 2.9814 | -127.6587 | 109.8301

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.07528 | 0.7852 | 0.76402 | 0.075454 | 0.78551 | 0.76357 | 0.86925 | 9.0667 | 8.8222 | 0.87127 | 9.0703 | 8.817 | 1.0918 | 7.7992 | 4.4207 | -1.0963 | -7.4894 | -4.0894 | -0.10354 | 2.6191 | 7.1006 | 0.10146 | -2.33 | -6.679 | 7.4045 | -140.7908 | 49.0606 | -173.2544 | 39.2695 | -130.9965 |  | 1.2616 | 0.90741 | 0.94809 | 1.2637 | 0.86473 | 0.88823 | 1.9868 | -122.2279 | 107.155 | 1.4579 | -123.4494 | 107.5252
Line_1 | 0.037993 | 0.40277 | 0.36573 | 0.037727 | 0.40225 | 0.36511 | 0.43871 | 4.6508 | 4.2231 | 0.43564 | 4.6447 | 4.216 | -0.53486 | 1.5548 | 3.3885 | 0.54815 | -1.2404 | -3.215 | 0.024543 | 3.8264 | 2.2068 | -0.050732 | -3.8201 | -1.9202 | -174.3913 | 164.4543 | 76.7556 | 6.7456 | -15.4604 | -103.3229 |  | 1.2205 | 0.88806 | 0.95752 | 1.2637 | 0.86473 | 0.88823 | 2.9814 | -127.6587 | 109.8301 | 1.4579 | -123.4494 | 107.5252
Line_2 | 0.037993 | 0.40277 | 0.36573 | 0.037727 | 0.40225 | 0.36511 | 0.43871 | 4.6508 | 4.2231 | 0.43564 | 4.6447 | 4.216 | -0.53486 | 1.5548 | 3.3885 | 0.54815 | -1.2404 | -3.215 | 0.024543 | 3.8264 | 2.2068 | -0.050732 | -3.8201 | -1.9202 | -174.3913 | 164.4543 | 76.7556 | 6.7456 | -15.4604 | -103.3229 |  | 1.2205 | 0.88806 | 0.95752 | 1.2637 | 0.86473 | 0.88823 | 2.9814 | -127.6587 | 109.8301 | 1.4579 | -123.4494 | 107.5252
Line_3 | 0.00036121 | 0.00036121 | 0.00036121 | 0.00036121 | 0.00036121 | 0.00036121 | 0.0041709 | 0.0041709 | 0.0041709 | 0.0041709 | 0.0041709 | 0.0041709 | -0.0028198 | -0.0010036 | 0.0038234 | -0.0028198 | -0.0010036 | 0.0038234 | -0.0042379 | 0.0035654 | -0.0011537 | -0.0042379 | 0.0035654 | -0.0011537 | 126.6204 | 126.6204 | 126.6204 | 126.6204 | 126.6204 | 126.6204 |  | 1.2205 | 0.88806 | 0.95752 | 1.2205 | 0.88806 | 0.95752 | 2.9814 | -127.6587 | 109.8301 | 2.9814 | -127.6587 | 109.8301

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46889 | 3.135 | 3.1406 | 0.47078 | 3.1354 | 3.1398 | 5.4142 | 36.1995 | 36.2646 | 5.4361 | 36.2043 | 36.2548 | 3.1787 | 9.8031 | 10.1667 | -3.169 | -1.0751e-10 | -1.3822e-11 | 6.3157 | 4.37 | 7.2145 | -6.1684 | -8.1808e-11 | -1.36e-10 | -63.3167 | -165.9362 | 26.5803 | 116.5796 | 14.1009 | -153.4542 |  | 1.3059 | 0.2965 | 0.34376 | 1.2757 | 0 | 0 | -0.032806 | -141.9103 | 61.9407 | -0.61192 | 0 | 0
Line_1 | 0.23703 | 0.96495 | 0.62123 | 0.23539 | 0.96413 | 0.62001 | 2.737 | 11.1423 | 7.1734 | 2.718 | 11.1328 | 7.1593 | -0.95932 | 3.0484 | 0.83326 | 1.5845 | -1.6665e-11 | -1.7325e-11 | -2.8896 | -0.70261 | 1.7474 | 3.0842 | -3.8053e-11 | -2.07e-11 | 116.492 | 164.9333 | 60.7772 | -63.4204 | -14.9796 | -119.3292 |  | 1.1124 | 0.28076 | 0.26988 | 1.2757 | 0 | 0 | 8.1262 | 151.954 | 125.2831 | -0.61192 | 0 | 0
Line_2 | 0.23703 | 0.96495 | 0.62123 | 0.23539 | 0.96413 | 0.62001 | 2.737 | 11.1423 | 7.1734 | 2.718 | 11.1328 | 7.1593 | -0.95932 | 3.0484 | 0.83326 | 1.5845 | -1.6665e-11 | -1.7325e-11 | -2.8896 | -0.70261 | 1.7474 | 3.0842 | -3.8053e-11 | -2.07e-11 | 116.492 | 164.9333 | 60.7772 | -63.4204 | -14.9796 | -119.3292 |  | 1.1124 | 0.28076 | 0.26988 | 1.2757 | 0 | 0 | 8.1262 | 151.954 | 125.2831 | -0.61192 | 0 | 0
Line_3 | 0.00071267 | 0.00071267 | 0.00071267 | 0.00071267 | 0.00071267 | 0.00071267 | 0.0082292 | 0.0082292 | 0.0082292 | 0.0082292 | 0.0082292 | 0.0082292 | -0.0043006 | 0.00208 | 0.0022206 | -0.0043006 | 0.00208 | 0.0022206 | -0.0080812 | 0.0010058 | -3.3478e-05 | -0.0080812 | 0.0010058 | -3.3478e-05 | 126.1468 | 126.1468 | 126.1468 | 126.1468 | 126.1468 | 126.1468 |  | 1.1124 | 0.28076 | 0.26988 | 1.1124 | 0.28076 | 0.26988 | 8.1262 | 151.954 | 125.2831 | 8.1262 | 151.954 | 125.2831

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46889 | 3.135 | 3.1406 | 0.47078 | 3.1354 | 3.1398 | 5.4142 | 36.1995 | 36.2646 | 5.4361 | 36.2043 | 36.2548 | 3.1787 | 9.8031 | 10.1667 | -3.169 | -1.0751e-10 | -1.3822e-11 | 6.3157 | 4.37 | 7.2145 | -6.1684 | -8.1808e-11 | -1.36e-10 | -63.3167 | -165.9362 | 26.5803 | 116.5796 | 14.1009 | -153.4542 |  | 1.3059 | 0.2965 | 0.34376 | 1.2757 | 0 | 0 | -0.032806 | -141.9103 | 61.9407 | -0.61192 | 0 | 0
Line_1 | 0.23703 | 0.96495 | 0.62123 | 0.23539 | 0.96413 | 0.62001 | 2.737 | 11.1423 | 7.1734 | 2.718 | 11.1328 | 7.1593 | -0.95932 | 3.0484 | 0.83326 | 1.5845 | -1.6665e-11 | -1.7325e-11 | -2.8896 | -0.70261 | 1.7474 | 3.0842 | -3.8053e-11 | -2.07e-11 | 116.492 | 164.9333 | 60.7772 | -63.4204 | -14.9796 | -119.3292 |  | 1.1124 | 0.28076 | 0.26988 | 1.2757 | 0 | 0 | 8.1262 | 151.954 | 125.2831 | -0.61192 | 0 | 0
Line_2 | 0.23703 | 0.96495 | 0.62123 | 0.23539 | 0.96413 | 0.62001 | 2.737 | 11.1423 | 7.1734 | 2.718 | 11.1328 | 7.1593 | -0.95932 | 3.0484 | 0.83326 | 1.5845 | -1.6665e-11 | -1.7325e-11 | -2.8896 | -0.70261 | 1.7474 | 3.0842 | -3.8053e-11 | -2.07e-11 | 116.492 | 164.9333 | 60.7772 | -63.4204 | -14.9796 | -119.3292 |  | 1.1124 | 0.28076 | 0.26988 | 1.2757 | 0 | 0 | 8.1262 | 151.954 | 125.2831 | -0.61192 | 0 | 0
Line_3 | 0.00071267 | 0.00071267 | 0.00071267 | 0.00071267 | 0.00071267 | 0.00071267 | 0.0082292 | 0.0082292 | 0.0082292 | 0.0082292 | 0.0082292 | 0.0082292 | -0.0043006 | 0.00208 | 0.0022206 | -0.0043006 | 0.00208 | 0.0022206 | -0.0080812 | 0.0010058 | -3.3478e-05 | -0.0080812 | 0.0010058 | -3.3478e-05 | 126.1468 | 126.1468 | 126.1468 | 126.1468 | 126.1468 | 126.1468 |  | 1.1124 | 0.28076 | 0.26988 | 1.1124 | 0.28076 | 0.26988 | 8.1262 | 151.954 | 125.2831 | 8.1262 | 151.954 | 125.2831

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19812 | 0.7606 | 0.81191 | 0.19881 | 0.76088 | 0.8114 | 2.2877 | 8.7827 | 9.3752 | 2.2957 | 8.7859 | 9.3692 | 1.5222 | 6.2897 | 4.2738 | -1.5173 | -5.7396 | -3.5394 | 2.0416 | 3.3796 | 6.3388 | -2.0184 | -3.1635 | -5.827 | -52.8459 | -149.8504 | 50.1761 | 127.0475 | 30.2049 | -129.8657 |  | 1.1132 | 0.81298 | 0.81545 | 1.0999 | 0.74593 | 0.72767 | 0.44665 | -121.6004 | 106.187 | 0.11354 | -120.9334 | 108.8594
Line_1 | 0.10002 | 0.26588 | 0.22257 | 0.099406 | 0.26556 | 0.22198 | 1.1549 | 3.0702 | 2.5701 | 1.1478 | 3.0665 | 2.5632 | -0.65765 | 1.1307 | 1.9495 | 0.75866 | -0.83961 | -1.7603 | -0.98735 | 2.0471 | 0.81385 | 1.0092 | -2.1277 | -0.61652 | 126.9452 | 170.4824 | 89.6169 | -52.9525 | -9.3989 | -90.4424 |  | 1.0272 | 0.76174 | 0.82199 | 1.0999 | 0.74593 | 0.72767 | 3.2782 | -128.4317 | 112.2757 | 0.11354 | -120.9334 | 108.8594
Line_2 | 0.10002 | 0.26588 | 0.22257 | 0.099406 | 0.26556 | 0.22198 | 1.1549 | 3.0702 | 2.5701 | 1.1478 | 3.0665 | 2.5632 | -0.65765 | 1.1307 | 1.9495 | 0.75866 | -0.83961 | -1.7603 | -0.98735 | 2.0471 | 0.81385 | 1.0092 | -2.1277 | -0.61652 | 126.9452 | 170.4824 | 89.6169 | -52.9525 | -9.3989 | -90.4424 |  | 1.0272 | 0.76174 | 0.82199 | 1.0999 | 0.74593 | 0.72767 | 3.2782 | -128.4317 | 112.2757 | 0.11354 | -120.9334 | 108.8594
Line_3 | 0.00027036 | 0.00027036 | 0.00027036 | 0.00027036 | 0.00027036 | 0.00027036 | 0.0031219 | 0.0031219 | 0.0031219 | 0.0031219 | 0.0031219 | 0.0031219 | -0.0020408 | -0.00036244 | 0.0024032 | -0.0020408 | -0.00036244 | 0.0024032 | -0.0024736 | 0.0023503 | -0.00089977 | -0.0024736 | 0.0023503 | -0.00089977 | 132.8016 | 132.8016 | 132.8016 | 132.8016 | 132.8016 | 132.8016 |  | 1.0272 | 0.76174 | 0.82199 | 1.0272 | 0.76174 | 0.82199 | 3.2782 | -128.4317 | 112.2757 | 3.2782 | -128.4317 | 112.2757

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19812 | 0.7606 | 0.81191 | 0.19881 | 0.76088 | 0.8114 | 2.2877 | 8.7827 | 9.3752 | 2.2957 | 8.7859 | 9.3692 | 1.5222 | 6.2897 | 4.2738 | -1.5173 | -5.7396 | -3.5394 | 2.0416 | 3.3796 | 6.3388 | -2.0184 | -3.1635 | -5.827 | -52.8459 | -149.8504 | 50.1761 | 127.0475 | 30.2049 | -129.8657 |  | 1.1132 | 0.81298 | 0.81545 | 1.0999 | 0.74593 | 0.72767 | 0.44665 | -121.6004 | 106.187 | 0.11354 | -120.9334 | 108.8594
Line_1 | 0.10002 | 0.26588 | 0.22257 | 0.099406 | 0.26556 | 0.22198 | 1.1549 | 3.0702 | 2.5701 | 1.1478 | 3.0665 | 2.5632 | -0.65765 | 1.1307 | 1.9495 | 0.75866 | -0.83961 | -1.7603 | -0.98735 | 2.0471 | 0.81385 | 1.0092 | -2.1277 | -0.61652 | 126.9452 | 170.4824 | 89.6169 | -52.9525 | -9.3989 | -90.4424 |  | 1.0272 | 0.76174 | 0.82199 | 1.0999 | 0.74593 | 0.72767 | 3.2782 | -128.4317 | 112.2757 | 0.11354 | -120.9334 | 108.8594
Line_2 | 0.10002 | 0.26588 | 0.22257 | 0.099406 | 0.26556 | 0.22198 | 1.1549 | 3.0702 | 2.5701 | 1.1478 | 3.0665 | 2.5632 | -0.65765 | 1.1307 | 1.9495 | 0.75866 | -0.83961 | -1.7603 | -0.98735 | 2.0471 | 0.81385 | 1.0092 | -2.1277 | -0.61652 | 126.9452 | 170.4824 | 89.6169 | -52.9525 | -9.3989 | -90.4424 |  | 1.0272 | 0.76174 | 0.82199 | 1.0999 | 0.74593 | 0.72767 | 3.2782 | -128.4317 | 112.2757 | 0.11354 | -120.9334 | 108.8594
Line_3 | 0.00027036 | 0.00027036 | 0.00027036 | 0.00027036 | 0.00027036 | 0.00027036 | 0.0031219 | 0.0031219 | 0.0031219 | 0.0031219 | 0.0031219 | 0.0031219 | -0.0020408 | -0.00036244 | 0.0024032 | -0.0020408 | -0.00036244 | 0.0024032 | -0.0024736 | 0.0023503 | -0.00089977 | -0.0024736 | 0.0023503 | -0.00089977 | 132.8016 | 132.8016 | 132.8016 | 132.8016 | 132.8016 | 132.8016 |  | 1.0272 | 0.76174 | 0.82199 | 1.0272 | 0.76174 | 0.82199 | 3.2782 | -128.4317 | 112.2757 | 3.2782 | -128.4317 | 112.2757