## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.696e-14 | 2.3303e-15 | -1.0551e-14 | 5.8489e-15 | -2.6435e-15 | 1.5945e-14 | -5.865e-16 | 6.2266e-15 | 5.8641e-15 | -5.4579e-15 | -3.2699e-15 | -6.0995e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.696e-14 | 2.3303e-15 | -1.0551e-14 | 5.8489e-15 | -2.6435e-15 | 1.5945e-14 | -5.865e-16 | 6.2266e-15 | 5.8641e-15 | -5.4579e-15 | -3.2699e-15 | -6.0995e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.776e-15 | -4.8772e-15 | 4.1411e-15 | -2.776e-15 | 3.1365e-15 | -2.0706e-15 | 3.8667e-17 | 1.9132e-15 | -6.1183e-15 | -3.8667e-17 | -3.4814e-15 | 3.0591e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.776e-15 | -4.8772e-15 | 4.1411e-15 | -2.776e-15 | 3.1365e-15 | -2.0706e-15 | 3.8667e-17 | 1.9132e-15 | -6.1183e-15 | -3.8667e-17 | -3.4814e-15 | 3.0591e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8301e-15 | 0 | -8.6396e-15 | 4.0227e-16 | 4.5906e-15 | 1.0851e-14 | 1.4702e-14 | 0 | 4.8304e-15 | -9.7341e-15 | -4.8573e-15 | -4.9325e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8301e-15 | 0 | -8.6396e-15 | 4.0227e-16 | 4.5906e-15 | 1.0851e-14 | 1.4702e-14 | 0 | 4.8304e-15 | -9.7341e-15 | -4.8573e-15 | -4.9325e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2838e-15 | -3.1556e-15 | -4.6203e-16 | -1.0983e-15 | 3.8846e-15 | -1.6494e-15 | 4.741e-15 | -2.0833e-16 | 6.4336e-16 | -4.7873e-15 | 8.7487e-16 | -3.1348e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2838e-15 | -3.1556e-15 | -4.6203e-16 | -1.0983e-15 | 3.8846e-15 | -1.6494e-15 | 4.741e-15 | -2.0833e-16 | 6.4336e-16 | -4.7873e-15 | 8.7487e-16 | -3.1348e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7838 | 0.96108 | 0.87706 | 1.7808 | 0.96425 | 0.87962 | 20.5972 | 11.0976 | 10.1274 | 20.5627 | 11.1342 | 10.157 | 1.6616 | -9.5084 | 14.9498 | 8.7059e-11 | 10.0221 | -14.5902 | 1.8754 | 11.6326 | 2.8352 | -6.8906e-11 | -11.1203 | -2.4183 | -72.6971 | 93.0385 | 123.1946 | 107.3396 | -86.9835 | -56.93 |  | 0.12165 | 1.3538 | 1.5025 | 0 | 1.3445 | 1.4561 | -24.2372 | -137.699 | 133.9332 | 0 | -134.957 | 132.4809
Line_1 | 1.1518 | 0.48497 | 0.44233 | 1.149 | 0.48213 | 0.43981 | 13.2993 | 5.6 | 5.1076 | 13.267 | 5.5671 | 5.0785 | 3.169 | 6.1174 | -6.2393 | 5.7767e-11 | -5.011 | 7.2951 | 1.5112 | -4.9352 | -1.1454 | -4.2362e-11 | 5.5602 | 1.2091 | -74.7927 | -86.9708 | -57.1025 | 105.2321 | 93.0165 | 123.07 |  | 0.26399 | 1.4036 | 1.242 | 0 | 1.3445 | 1.4561 | -49.2976 | -125.866 | 133.3004 | 0 | -134.957 | 132.4809
Line_2 | 1.1518 | 0.48497 | 0.44233 | 1.149 | 0.48213 | 0.43981 | 13.2993 | 5.6 | 5.1076 | 13.267 | 5.5671 | 5.0785 | 3.169 | 6.1174 | -6.2393 | 5.7767e-11 | -5.011 | 7.2951 | 1.5112 | -4.9352 | -1.1454 | -4.2362e-11 | 5.5602 | 1.2091 | -74.7927 | -86.9708 | -57.1025 | 105.2321 | 93.0165 | 123.07 |  | 0.26399 | 1.4036 | 1.242 | 0 | 1.3445 | 1.4561 | -49.2976 | -125.866 | 133.3004 | 0 | -134.957 | 132.4809
Line_3 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.0035746 | 0.012877 | -0.016452 | 0.0035746 | 0.012877 | -0.016452 | 0.0016363 | -0.016465 | -0.008453 | 0.0016363 | -0.016465 | -0.008453 | -73.8942 | -73.8942 | -73.8942 | -73.8942 | -73.8942 | -73.8942 |  | 0.26399 | 1.4036 | 1.242 | 0.26399 | 1.4036 | 1.242 | -49.2976 | -125.866 | 133.3004 | -49.2976 | -125.866 | 133.3004

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7838 | 0.96108 | 0.87706 | 1.7808 | 0.96425 | 0.87962 | 20.5972 | 11.0976 | 10.1274 | 20.5627 | 11.1342 | 10.157 | 1.6616 | -9.5084 | 14.9498 | 8.7059e-11 | 10.0221 | -14.5902 | 1.8754 | 11.6326 | 2.8352 | -6.8906e-11 | -11.1203 | -2.4183 | -72.6971 | 93.0385 | 123.1946 | 107.3396 | -86.9835 | -56.93 |  | 0.12165 | 1.3538 | 1.5025 | 0 | 1.3445 | 1.4561 | -24.2372 | -137.699 | 133.9332 | 0 | -134.957 | 132.4809
Line_1 | 1.1518 | 0.48497 | 0.44233 | 1.149 | 0.48213 | 0.43981 | 13.2993 | 5.6 | 5.1076 | 13.267 | 5.5671 | 5.0785 | 3.169 | 6.1174 | -6.2393 | 5.7767e-11 | -5.011 | 7.2951 | 1.5112 | -4.9352 | -1.1454 | -4.2362e-11 | 5.5602 | 1.2091 | -74.7927 | -86.9708 | -57.1025 | 105.2321 | 93.0165 | 123.07 |  | 0.26399 | 1.4036 | 1.242 | 0 | 1.3445 | 1.4561 | -49.2976 | -125.866 | 133.3004 | 0 | -134.957 | 132.4809
Line_2 | 1.1518 | 0.48497 | 0.44233 | 1.149 | 0.48213 | 0.43981 | 13.2993 | 5.6 | 5.1076 | 13.267 | 5.5671 | 5.0785 | 3.169 | 6.1174 | -6.2393 | 5.7767e-11 | -5.011 | 7.2951 | 1.5112 | -4.9352 | -1.1454 | -4.2362e-11 | 5.5602 | 1.2091 | -74.7927 | -86.9708 | -57.1025 | 105.2321 | 93.0165 | 123.07 |  | 0.26399 | 1.4036 | 1.242 | 0 | 1.3445 | 1.4561 | -49.2976 | -125.866 | 133.3004 | 0 | -134.957 | 132.4809
Line_3 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.0012897 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.014892 | 0.0035746 | 0.012877 | -0.016452 | 0.0035746 | 0.012877 | -0.016452 | 0.0016363 | -0.016465 | -0.008453 | 0.0016363 | -0.016465 | -0.008453 | -73.8942 | -73.8942 | -73.8942 | -73.8942 | -73.8942 | -73.8942 |  | 0.26399 | 1.4036 | 1.242 | 0.26399 | 1.4036 | 1.242 | -49.2976 | -125.866 | 133.3004 | -49.2976 | -125.866 | 133.3004

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45142 | 0.21456 | 0.37937 | 0.45055 | 0.21551 | 0.37987 | 5.2126 | 2.4775 | 4.3806 | 5.2025 | 2.4885 | 4.3863 | 3.722 | -2.7465 | 4.0264 | -3.6113 | 2.7798 | -3.9656 | 2.3541 | 1.3889 | -3.4711 | -2.2253 | -1.3735 | 3.5515 | -40.7776 | 81.9682 | 167.9136 | 139.2948 | -97.918 | -12.225 |  | 0.84488 | 1.2423 | 1.2135 | 0.81535 | 1.246 | 1.2137 | -8.4643 | -124.8575 | 127.1492 | -9.0636 | -124.2115 | 125.928
Line_1 | 0.4505 | 0.10854 | 0.1905 | 0.44957 | 0.10776 | 0.18993 | 5.2019 | 1.2533 | 2.1997 | 5.1912 | 1.2443 | 2.1932 | 3.0425 | 1.4438 | -1.8515 | -2.6263 | -1.3899 | 1.9828 | 3.5704 | -0.6231 | 1.7331 | -3.3193 | 0.68673 | -1.7758 | -60.7205 | -97.6517 | -12.4476 | 119.2884 | 82.082 | 167.775 |  | 0.90177 | 1.2547 | 1.1529 | 0.81535 | 1.246 | 1.2137 | -11.1567 | -120.9954 | 124.4438 | -9.0636 | -124.2115 | 125.928
Line_2 | 0.4505 | 0.10854 | 0.1905 | 0.44957 | 0.10776 | 0.18993 | 5.2019 | 1.2533 | 2.1997 | 5.1912 | 1.2443 | 2.1932 | 3.0425 | 1.4438 | -1.8515 | -2.6263 | -1.3899 | 1.9828 | 3.5704 | -0.6231 | 1.7331 | -3.3193 | 0.68673 | -1.7758 | -60.7205 | -97.6517 | -12.4476 | 119.2884 | 82.082 | 167.775 |  | 0.90177 | 1.2547 | 1.1529 | 0.81535 | 1.246 | 1.2137 | -11.1567 | -120.9954 | 124.4438 | -9.0636 | -124.2115 | 125.928
Line_3 | 0.00042109 | 0.00042109 | 0.00042109 | 0.00042109 | 0.00042109 | 0.00042109 | 0.0048623 | 0.0048623 | 0.0048623 | 0.0048623 | 0.0048623 | 0.0048623 | 0.0032092 | 0.002395 | -0.0056042 | 0.0032092 | 0.002395 | -0.0056042 | 0.0029877 | -0.0056111 | 0.00014149 | 0.0029877 | -0.0056111 | 0.00014149 | -54.11 | -54.11 | -54.11 | -54.11 | -54.11 | -54.11 |  | 0.90177 | 1.2547 | 1.1529 | 0.90177 | 1.2547 | 1.1529 | -11.1567 | -120.9954 | 124.4438 | -11.1567 | -120.9954 | 124.4438

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45142 | 0.21456 | 0.37937 | 0.45055 | 0.21551 | 0.37987 | 5.2126 | 2.4775 | 4.3806 | 5.2025 | 2.4885 | 4.3863 | 3.722 | -2.7465 | 4.0264 | -3.6113 | 2.7798 | -3.9656 | 2.3541 | 1.3889 | -3.4711 | -2.2253 | -1.3735 | 3.5515 | -40.7776 | 81.9682 | 167.9136 | 139.2948 | -97.918 | -12.225 |  | 0.84488 | 1.2423 | 1.2135 | 0.81535 | 1.246 | 1.2137 | -8.4643 | -124.8575 | 127.1492 | -9.0636 | -124.2115 | 125.928
Line_1 | 0.4505 | 0.10854 | 0.1905 | 0.44957 | 0.10776 | 0.18993 | 5.2019 | 1.2533 | 2.1997 | 5.1912 | 1.2443 | 2.1932 | 3.0425 | 1.4438 | -1.8515 | -2.6263 | -1.3899 | 1.9828 | 3.5704 | -0.6231 | 1.7331 | -3.3193 | 0.68673 | -1.7758 | -60.7205 | -97.6517 | -12.4476 | 119.2884 | 82.082 | 167.775 |  | 0.90177 | 1.2547 | 1.1529 | 0.81535 | 1.246 | 1.2137 | -11.1567 | -120.9954 | 124.4438 | -9.0636 | -124.2115 | 125.928
Line_2 | 0.4505 | 0.10854 | 0.1905 | 0.44957 | 0.10776 | 0.18993 | 5.2019 | 1.2533 | 2.1997 | 5.1912 | 1.2443 | 2.1932 | 3.0425 | 1.4438 | -1.8515 | -2.6263 | -1.3899 | 1.9828 | 3.5704 | -0.6231 | 1.7331 | -3.3193 | 0.68673 | -1.7758 | -60.7205 | -97.6517 | -12.4476 | 119.2884 | 82.082 | 167.775 |  | 0.90177 | 1.2547 | 1.1529 | 0.81535 | 1.246 | 1.2137 | -11.1567 | -120.9954 | 124.4438 | -9.0636 | -124.2115 | 125.928
Line_3 | 0.00042109 | 0.00042109 | 0.00042109 | 0.00042109 | 0.00042109 | 0.00042109 | 0.0048623 | 0.0048623 | 0.0048623 | 0.0048623 | 0.0048623 | 0.0048623 | 0.0032092 | 0.002395 | -0.0056042 | 0.0032092 | 0.002395 | -0.0056042 | 0.0029877 | -0.0056111 | 0.00014149 | 0.0029877 | -0.0056111 | 0.00014149 | -54.11 | -54.11 | -54.11 | -54.11 | -54.11 | -54.11 |  | 0.90177 | 1.2547 | 1.1529 | 0.90177 | 1.2547 | 1.1529 | -11.1567 | -120.9954 | 124.4438 | -11.1567 | -120.9954 | 124.4438

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.59 | 0.84617 | 0.73841 | 1.5879 | 0.84842 | 0.74053 | 18.3603 | 9.7707 | 8.5264 | 18.3349 | 9.7967 | 8.5509 | 2.5331 | -1.6682 | 11.6822 | -4.3302e-11 | 2.4064 | -11.17 | 1.4852 | 11.1078 | 1.8341 | 1.6294e-12 | -10.7056 | -1.542 | -58.991 | 119.3139 | 123.3605 | 121.0737 | -60.8027 | -56.785 |  | 0.15993 | 1.1496 | 1.3869 | 0 | 1.12 | 1.3187 | -28.6067 | -142.1449 | 132.2832 | 0 | -138.1344 | 131.0748
Line_1 | 0.87986 | 0.4263 | 0.37229 | 0.87774 | 0.42421 | 0.37027 | 10.1598 | 4.9224 | 4.2988 | 10.1352 | 4.8983 | 4.2755 | 3.7457 | 2.853 | -4.1987 | -2.393e-11 | -1.2032 | 5.585 | 1.0028 | -5.0748 | -0.62719 | -1.0705e-12 | 5.3528 | 0.77098 | -63.6928 | -60.9201 | -56.9416 | 116.3573 | 119.1973 | 123.215 |  | 0.38166 | 1.1827 | 0.98754 | 0 | 1.12 | 1.3187 | -48.7051 | -121.5759 | 131.5544 | 0 | -138.1344 | 131.0748
Line_2 | 0.87986 | 0.4263 | 0.37229 | 0.87774 | 0.42421 | 0.37027 | 10.1598 | 4.9224 | 4.2988 | 10.1352 | 4.8983 | 4.2755 | 3.7457 | 2.853 | -4.1987 | -2.393e-11 | -1.2032 | 5.585 | 1.0028 | -5.0748 | -0.62719 | -1.0705e-12 | 5.3528 | 0.77098 | -63.6928 | -60.9201 | -56.9416 | 116.3573 | 119.1973 | 123.215 |  | 0.38166 | 1.1827 | 0.98754 | 0 | 1.12 | 1.3187 | -48.7051 | -121.5759 | 131.5544 | 0 | -138.1344 | 131.0748
Line_3 | 0.00095993 | 0.00095993 | 0.00095993 | 0.00095993 | 0.00095993 | 0.00095993 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.0041256 | 0.0065381 | -0.010664 | 0.0041256 | 0.0065381 | -0.010664 | 0.0009363 | -0.011363 | -0.002471 | 0.0009363 | -0.011363 | -0.002471 | -61.4919 | -61.4919 | -61.4919 | -61.4919 | -61.4919 | -61.4919 |  | 0.38166 | 1.1827 | 0.98754 | 0.38166 | 1.1827 | 0.98754 | -48.7051 | -121.5759 | 131.5544 | -48.7051 | -121.5759 | 131.5544

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.59 | 0.84617 | 0.73841 | 1.5879 | 0.84842 | 0.74053 | 18.3603 | 9.7707 | 8.5264 | 18.3349 | 9.7967 | 8.5509 | 2.5331 | -1.6682 | 11.6822 | -4.3302e-11 | 2.4064 | -11.17 | 1.4852 | 11.1078 | 1.8341 | 1.6294e-12 | -10.7056 | -1.542 | -58.991 | 119.3139 | 123.3605 | 121.0737 | -60.8027 | -56.785 |  | 0.15993 | 1.1496 | 1.3869 | 0 | 1.12 | 1.3187 | -28.6067 | -142.1449 | 132.2832 | 0 | -138.1344 | 131.0748
Line_1 | 0.87986 | 0.4263 | 0.37229 | 0.87774 | 0.42421 | 0.37027 | 10.1598 | 4.9224 | 4.2988 | 10.1352 | 4.8983 | 4.2755 | 3.7457 | 2.853 | -4.1987 | -2.393e-11 | -1.2032 | 5.585 | 1.0028 | -5.0748 | -0.62719 | -1.0705e-12 | 5.3528 | 0.77098 | -63.6928 | -60.9201 | -56.9416 | 116.3573 | 119.1973 | 123.215 |  | 0.38166 | 1.1827 | 0.98754 | 0 | 1.12 | 1.3187 | -48.7051 | -121.5759 | 131.5544 | 0 | -138.1344 | 131.0748
Line_2 | 0.87986 | 0.4263 | 0.37229 | 0.87774 | 0.42421 | 0.37027 | 10.1598 | 4.9224 | 4.2988 | 10.1352 | 4.8983 | 4.2755 | 3.7457 | 2.853 | -4.1987 | -2.393e-11 | -1.2032 | 5.585 | 1.0028 | -5.0748 | -0.62719 | -1.0705e-12 | 5.3528 | 0.77098 | -63.6928 | -60.9201 | -56.9416 | 116.3573 | 119.1973 | 123.215 |  | 0.38166 | 1.1827 | 0.98754 | 0 | 1.12 | 1.3187 | -48.7051 | -121.5759 | 131.5544 | 0 | -138.1344 | 131.0748
Line_3 | 0.00095993 | 0.00095993 | 0.00095993 | 0.00095993 | 0.00095993 | 0.00095993 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.011084 | 0.0041256 | 0.0065381 | -0.010664 | 0.0041256 | 0.0065381 | -0.010664 | 0.0009363 | -0.011363 | -0.002471 | 0.0009363 | -0.011363 | -0.002471 | -61.4919 | -61.4919 | -61.4919 | -61.4919 | -61.4919 | -61.4919 |  | 0.38166 | 1.1827 | 0.98754 | 0.38166 | 1.1827 | 0.98754 | -48.7051 | -121.5759 | 131.5544 | -48.7051 | -121.5759 | 131.5544

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52682 | 0.28036 | 0.24465 | 0.5261 | 0.2811 | 0.24536 | 6.0832 | 3.2373 | 2.825 | 6.0749 | 3.2459 | 2.8331 | 3.3136 | -0.72447 | 3.0844 | -3.0345 | 0.81128 | -3.035 | 2.9532 | 3.3457 | -0.44609 | -2.7829 | -3.3061 | 0.47543 | -47.9568 | 130.3481 | 134.3947 | 132.1079 | -49.7685 | -45.7508 |  | 0.72965 | 1.0574 | 1.1032 | 0.67777 | 1.0488 | 1.0843 | -6.2482 | -127.4339 | 126.1651 | -5.3686 | -125.9812 | 125.3461
Line_1 | 0.29152 | 0.14124 | 0.12335 | 0.29082 | 0.14055 | 0.12268 | 3.3662 | 1.6309 | 1.4243 | 3.3581 | 1.623 | 1.4166 | 1.9587 | 0.59029 | -1.3711 | -1.5452 | -0.40564 | 1.5175 | 1.7865 | -1.6272 | 0.25277 | -1.6711 | 1.653 | -0.23772 | -52.6586 | -49.8859 | -45.9074 | 127.3915 | 130.2315 | 134.2492 |  | 0.78756 | 1.0613 | 0.97888 | 0.67777 | 1.0488 | 1.0843 | -10.2909 | -119.9471 | 123.6471 | -5.3686 | -125.9812 | 125.3461
Line_2 | 0.29152 | 0.14124 | 0.12335 | 0.29082 | 0.14055 | 0.12268 | 3.3662 | 1.6309 | 1.4243 | 3.3581 | 1.623 | 1.4166 | 1.9587 | 0.59029 | -1.3711 | -1.5452 | -0.40564 | 1.5175 | 1.7865 | -1.6272 | 0.25277 | -1.6711 | 1.653 | -0.23772 | -52.6586 | -49.8859 | -45.9074 | 127.3915 | 130.2315 | 134.2492 |  | 0.78756 | 1.0613 | 0.97888 | 0.67777 | 1.0488 | 1.0843 | -10.2909 | -119.9471 | 123.6471 | -5.3686 | -125.9812 | 125.3461
Line_3 | 0.00031805 | 0.00031805 | 0.00031805 | 0.00031805 | 0.00031805 | 0.00031805 | 0.0036725 | 0.0036725 | 0.0036725 | 0.0036725 | 0.0036725 | 0.0036725 | 0.0022102 | 0.0013657 | -0.0035759 | 0.0022102 | 0.0013657 | -0.0035759 | 0.0018656 | -0.0036507 | 0.00036924 | 0.0018656 | -0.0036507 | 0.00036924 | -50.4577 | -50.4577 | -50.4577 | -50.4577 | -50.4577 | -50.4577 |  | 0.78756 | 1.0613 | 0.97888 | 0.78756 | 1.0613 | 0.97888 | -10.2909 | -119.9471 | 123.6471 | -10.2909 | -119.9471 | 123.6471

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52682 | 0.28036 | 0.24465 | 0.5261 | 0.2811 | 0.24536 | 6.0832 | 3.2373 | 2.825 | 6.0749 | 3.2459 | 2.8331 | 3.3136 | -0.72447 | 3.0844 | -3.0345 | 0.81128 | -3.035 | 2.9532 | 3.3457 | -0.44609 | -2.7829 | -3.3061 | 0.47543 | -47.9568 | 130.3481 | 134.3947 | 132.1079 | -49.7685 | -45.7508 |  | 0.72965 | 1.0574 | 1.1032 | 0.67777 | 1.0488 | 1.0843 | -6.2482 | -127.4339 | 126.1651 | -5.3686 | -125.9812 | 125.3461
Line_1 | 0.29152 | 0.14124 | 0.12335 | 0.29082 | 0.14055 | 0.12268 | 3.3662 | 1.6309 | 1.4243 | 3.3581 | 1.623 | 1.4166 | 1.9587 | 0.59029 | -1.3711 | -1.5452 | -0.40564 | 1.5175 | 1.7865 | -1.6272 | 0.25277 | -1.6711 | 1.653 | -0.23772 | -52.6586 | -49.8859 | -45.9074 | 127.3915 | 130.2315 | 134.2492 |  | 0.78756 | 1.0613 | 0.97888 | 0.67777 | 1.0488 | 1.0843 | -10.2909 | -119.9471 | 123.6471 | -5.3686 | -125.9812 | 125.3461
Line_2 | 0.29152 | 0.14124 | 0.12335 | 0.29082 | 0.14055 | 0.12268 | 3.3662 | 1.6309 | 1.4243 | 3.3581 | 1.623 | 1.4166 | 1.9587 | 0.59029 | -1.3711 | -1.5452 | -0.40564 | 1.5175 | 1.7865 | -1.6272 | 0.25277 | -1.6711 | 1.653 | -0.23772 | -52.6586 | -49.8859 | -45.9074 | 127.3915 | 130.2315 | 134.2492 |  | 0.78756 | 1.0613 | 0.97888 | 0.67777 | 1.0488 | 1.0843 | -10.2909 | -119.9471 | 123.6471 | -5.3686 | -125.9812 | 125.3461
Line_3 | 0.00031805 | 0.00031805 | 0.00031805 | 0.00031805 | 0.00031805 | 0.00031805 | 0.0036725 | 0.0036725 | 0.0036725 | 0.0036725 | 0.0036725 | 0.0036725 | 0.0022102 | 0.0013657 | -0.0035759 | 0.0022102 | 0.0013657 | -0.0035759 | 0.0018656 | -0.0036507 | 0.00036924 | 0.0018656 | -0.0036507 | 0.00036924 | -50.4577 | -50.4577 | -50.4577 | -50.4577 | -50.4577 | -50.4577 |  | 0.78756 | 1.0613 | 0.97888 | 0.78756 | 1.0613 | 0.97888 | -10.2909 | -119.9471 | 123.6471 | -10.2909 | -119.9471 | 123.6471

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44646 | 3.693 | 3.739 | 0.44889 | 3.6934 | 3.7384 | 5.1553 | 42.6435 | 43.1741 | 5.1833 | 42.6474 | 43.1668 | 0.87399 | 7.0916 | 7.2715 | -0.77174 | 8.5692e-11 | 1.1388e-10 | 7.6983 | 8.0353 | 8.2597 | -7.6223 | -7.8129e-11 | 1.981e-11 | -83.5139 | -171.2825 | 15.6797 | 96.4547 | 8.7549 | -164.3564 |  | 1.5029 | 0.25132 | 0.25488 | 1.4781 | 0 | 0 | 0.0089587 | -122.7127 | 64.3204 | 0.67328 | 0 | 0
Line_1 | 0.22661 | 1.1275 | 0.9285 | 0.22444 | 1.1263 | 0.9269 | 2.6167 | 13.0194 | 10.7214 | 2.5917 | 13.0055 | 10.703 | -0.026875 | 2.3343 | 1.0142 | 0.38587 | 3.4881e-11 | 2.4531e-11 | -3.6271 | -0.21192 | 1.9938 | 3.8111 | -5.818e-12 | -1.4819e-11 | 96.4836 | 155.7757 | 56.7397 | -83.5453 | -24.1325 | -123.3513 |  | 1.3862 | 0.18003 | 0.20865 | 1.4781 | 0 | 0 | 6.0591 | 150.5882 | 119.7776 | 0.67328 | 0 | 0
Line_2 | 0.22661 | 1.1275 | 0.9285 | 0.22444 | 1.1263 | 0.9269 | 2.6167 | 13.0194 | 10.7214 | 2.5917 | 13.0055 | 10.703 | -0.026875 | 2.3343 | 1.0142 | 0.38587 | 3.4881e-11 | 2.4531e-11 | -3.6271 | -0.21192 | 1.9938 | 3.8111 | -5.818e-12 | -1.4819e-11 | 96.4836 | 155.7757 | 56.7397 | -83.5453 | -24.1325 | -123.3513 |  | 1.3862 | 0.18003 | 0.20865 | 1.4781 | 0 | 0 | 6.0591 | 150.5882 | 119.7776 | 0.67328 | 0 | 0
Line_3 | 0.00098403 | 0.00098403 | 0.00098403 | 0.00098403 | 0.00098403 | 0.00098403 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | -0.0039019 | 0.0015627 | 0.0023391 | -0.0039019 | 0.0015627 | 0.0023391 | -0.015259 | 0.00132 | 0.0003862 | -0.015259 | 0.00132 | 0.0003862 | 110.4022 | 110.4022 | 110.4022 | 110.4022 | 110.4022 | 110.4022 |  | 1.3862 | 0.18003 | 0.20865 | 1.3862 | 0.18003 | 0.20865 | 6.0591 | 150.5882 | 119.7776 | 6.0591 | 150.5882 | 119.7776

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44646 | 3.693 | 3.739 | 0.44889 | 3.6934 | 3.7384 | 5.1553 | 42.6435 | 43.1741 | 5.1833 | 42.6474 | 43.1668 | 0.87399 | 7.0916 | 7.2715 | -0.77174 | 8.5692e-11 | 1.1388e-10 | 7.6983 | 8.0353 | 8.2597 | -7.6223 | -7.8129e-11 | 1.981e-11 | -83.5139 | -171.2825 | 15.6797 | 96.4547 | 8.7549 | -164.3564 |  | 1.5029 | 0.25132 | 0.25488 | 1.4781 | 0 | 0 | 0.0089587 | -122.7127 | 64.3204 | 0.67328 | 0 | 0
Line_1 | 0.22661 | 1.1275 | 0.9285 | 0.22444 | 1.1263 | 0.9269 | 2.6167 | 13.0194 | 10.7214 | 2.5917 | 13.0055 | 10.703 | -0.026875 | 2.3343 | 1.0142 | 0.38587 | 3.4881e-11 | 2.4531e-11 | -3.6271 | -0.21192 | 1.9938 | 3.8111 | -5.818e-12 | -1.4819e-11 | 96.4836 | 155.7757 | 56.7397 | -83.5453 | -24.1325 | -123.3513 |  | 1.3862 | 0.18003 | 0.20865 | 1.4781 | 0 | 0 | 6.0591 | 150.5882 | 119.7776 | 0.67328 | 0 | 0
Line_2 | 0.22661 | 1.1275 | 0.9285 | 0.22444 | 1.1263 | 0.9269 | 2.6167 | 13.0194 | 10.7214 | 2.5917 | 13.0055 | 10.703 | -0.026875 | 2.3343 | 1.0142 | 0.38587 | 3.4881e-11 | 2.4531e-11 | -3.6271 | -0.21192 | 1.9938 | 3.8111 | -5.818e-12 | -1.4819e-11 | 96.4836 | 155.7757 | 56.7397 | -83.5453 | -24.1325 | -123.3513 |  | 1.3862 | 0.18003 | 0.20865 | 1.4781 | 0 | 0 | 6.0591 | 150.5882 | 119.7776 | 0.67328 | 0 | 0
Line_3 | 0.00098403 | 0.00098403 | 0.00098403 | 0.00098403 | 0.00098403 | 0.00098403 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | 0.011363 | -0.0039019 | 0.0015627 | 0.0023391 | -0.0039019 | 0.0015627 | 0.0023391 | -0.015259 | 0.00132 | 0.0003862 | -0.015259 | 0.00132 | 0.0003862 | 110.4022 | 110.4022 | 110.4022 | 110.4022 | 110.4022 | 110.4022 |  | 1.3862 | 0.18003 | 0.20865 | 1.3862 | 0.18003 | 0.20865 | 6.0591 | 150.5882 | 119.7776 | 6.0591 | 150.5882 | 119.7776

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082086 | 0.79639 | 0.74889 | 0.08249 | 0.7968 | 0.74841 | 0.94785 | 9.1959 | 8.6475 | 0.95251 | 9.2007 | 8.6419 | 1.191 | 7.9593 | 4.081 | -1.191 | -7.636 | -3.7794 | 0.23098 | 2.4896 | 6.9704 | -0.24036 | -2.1093 | -6.6384 | -9.3918 | -138.3822 | 46.6962 | 170.0158 | 41.6786 | -133.3655 |  | 1.28 | 0.90688 | 0.93405 | 1.2756 | 0.86102 | 0.88394 | 1.5832 | -121.0131 | 106.3479 | 1.4255 | -122.8799 | 106.9806
Line_1 | 0.041725 | 0.40761 | 0.37488 | 0.041245 | 0.40706 | 0.37421 | 0.4818 | 4.7067 | 4.3288 | 0.47625 | 4.7003 | 4.3211 | -0.57512 | 1.4556 | 3.5116 | 0.5955 | -1.1244 | -3.3193 | -0.14355 | 3.8906 | 2.1933 | 0.12018 | -3.8877 | -1.8898 | 169.0662 | 163.1617 | 77.4037 | -9.9842 | -16.7496 | -102.6736 |  | 1.2303 | 0.88255 | 0.95645 | 1.2756 | 0.86102 | 0.88394 | 3.0811 | -127.3505 | 109.392 | 1.4255 | -122.8799 | 106.9806
Line_2 | 0.041725 | 0.40761 | 0.37488 | 0.041245 | 0.40706 | 0.37421 | 0.4818 | 4.7067 | 4.3288 | 0.47625 | 4.7003 | 4.3211 | -0.57512 | 1.4556 | 3.5116 | 0.5955 | -1.1244 | -3.3193 | -0.14355 | 3.8906 | 2.1933 | 0.12018 | -3.8877 | -1.8898 | 169.0662 | 163.1617 | 77.4037 | -9.9842 | -16.7496 | -102.6736 |  | 1.2303 | 0.88255 | 0.95645 | 1.2756 | 0.86102 | 0.88394 | 3.0811 | -127.3505 | 109.392 | 1.4255 | -122.8799 | 106.9806
Line_3 | 0.00038002 | 0.00038002 | 0.00038002 | 0.00038002 | 0.00038002 | 0.00038002 | 0.004388 | 0.004388 | 0.004388 | 0.004388 | 0.004388 | 0.004388 | -0.0028852 | -0.0011493 | 0.0040345 | -0.0028852 | -0.0011493 | 0.0040345 | -0.0045631 | 0.0036982 | -0.0011564 | -0.0045631 | 0.0036982 | -0.0011564 | 125.3854 | 125.3854 | 125.3854 | 125.3854 | 125.3854 | 125.3854 |  | 1.2303 | 0.88255 | 0.95645 | 1.2303 | 0.88255 | 0.95645 | 3.0811 | -127.3505 | 109.392 | 3.0811 | -127.3505 | 109.392

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082086 | 0.79639 | 0.74889 | 0.08249 | 0.7968 | 0.74841 | 0.94785 | 9.1959 | 8.6475 | 0.95251 | 9.2007 | 8.6419 | 1.191 | 7.9593 | 4.081 | -1.191 | -7.636 | -3.7794 | 0.23098 | 2.4896 | 6.9704 | -0.24036 | -2.1093 | -6.6384 | -9.3918 | -138.3822 | 46.6962 | 170.0158 | 41.6786 | -133.3655 |  | 1.28 | 0.90688 | 0.93405 | 1.2756 | 0.86102 | 0.88394 | 1.5832 | -121.0131 | 106.3479 | 1.4255 | -122.8799 | 106.9806
Line_1 | 0.041725 | 0.40761 | 0.37488 | 0.041245 | 0.40706 | 0.37421 | 0.4818 | 4.7067 | 4.3288 | 0.47625 | 4.7003 | 4.3211 | -0.57512 | 1.4556 | 3.5116 | 0.5955 | -1.1244 | -3.3193 | -0.14355 | 3.8906 | 2.1933 | 0.12018 | -3.8877 | -1.8898 | 169.0662 | 163.1617 | 77.4037 | -9.9842 | -16.7496 | -102.6736 |  | 1.2303 | 0.88255 | 0.95645 | 1.2756 | 0.86102 | 0.88394 | 3.0811 | -127.3505 | 109.392 | 1.4255 | -122.8799 | 106.9806
Line_2 | 0.041725 | 0.40761 | 0.37488 | 0.041245 | 0.40706 | 0.37421 | 0.4818 | 4.7067 | 4.3288 | 0.47625 | 4.7003 | 4.3211 | -0.57512 | 1.4556 | 3.5116 | 0.5955 | -1.1244 | -3.3193 | -0.14355 | 3.8906 | 2.1933 | 0.12018 | -3.8877 | -1.8898 | 169.0662 | 163.1617 | 77.4037 | -9.9842 | -16.7496 | -102.6736 |  | 1.2303 | 0.88255 | 0.95645 | 1.2756 | 0.86102 | 0.88394 | 3.0811 | -127.3505 | 109.392 | 1.4255 | -122.8799 | 106.9806
Line_3 | 0.00038002 | 0.00038002 | 0.00038002 | 0.00038002 | 0.00038002 | 0.00038002 | 0.004388 | 0.004388 | 0.004388 | 0.004388 | 0.004388 | 0.004388 | -0.0028852 | -0.0011493 | 0.0040345 | -0.0028852 | -0.0011493 | 0.0040345 | -0.0045631 | 0.0036982 | -0.0011564 | -0.0045631 | 0.0036982 | -0.0011564 | 125.3854 | 125.3854 | 125.3854 | 125.3854 | 125.3854 | 125.3854 |  | 1.2303 | 0.88255 | 0.95645 | 1.2303 | 0.88255 | 0.95645 | 3.0811 | -127.3505 | 109.392 | 3.0811 | -127.3505 | 109.392

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49627 | 3.1505 | 3.1077 | 0.49818 | 3.1511 | 3.1068 | 5.7304 | 36.3784 | 35.8849 | 5.7525 | 36.3854 | 35.8742 | 3.5352 | 9.9057 | 9.6487 | -3.2917 | -1.0778e-10 | -7.7287e-12 | 6.7876 | 5.8401 | 5.7131 | -6.6731 | -7.9287e-11 | -1.3301e-10 | -64.454 | -164.2243 | 24.9424 | 115.4372 | 15.8129 | -155.093 |  | 1.3355 | 0.3161 | 0.31248 | 1.2935 | 0 | 0 | -1.966 | -133.7021 | 55.5725 | -0.81884 | 0 | 0
Line_1 | 0.25076 | 0.9674 | 0.61985 | 0.24909 | 0.96658 | 0.6186 | 2.8955 | 11.1706 | 7.1574 | 2.8762 | 11.161 | 7.143 | -0.97563 | 3.0856 | 0.8487 | 1.6458 | -1.5887e-11 | -1.6812e-11 | -3.1152 | -0.72468 | 1.7606 | 3.3366 | -3.7843e-11 | -2.0521e-11 | 115.3594 | 164.8381 | 61.0155 | -64.5628 | -15.0738 | -119.0918 |  | 1.1274 | 0.28374 | 0.27307 | 1.2935 | 0 | 0 | 7.9697 | 151.6211 | 125.2788 | -0.81884 | 0 | 0
Line_2 | 0.25076 | 0.9674 | 0.61985 | 0.24909 | 0.96658 | 0.6186 | 2.8955 | 11.1706 | 7.1574 | 2.8762 | 11.161 | 7.143 | -0.97563 | 3.0856 | 0.8487 | 1.6458 | -1.5887e-11 | -1.6812e-11 | -3.1152 | -0.72468 | 1.7606 | 3.3366 | -3.7843e-11 | -2.0521e-11 | 115.3594 | 164.8381 | 61.0155 | -64.5628 | -15.0738 | -119.0918 |  | 1.1274 | 0.28374 | 0.27307 | 1.2935 | 0 | 0 | 7.9697 | 151.6211 | 125.2788 | -0.81884 | 0 | 0
Line_3 | 0.0007226 | 0.0007226 | 0.0007226 | 0.0007226 | 0.0007226 | 0.0007226 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | -0.0044119 | 0.0021336 | 0.0022783 | -0.0044119 | 0.0021336 | 0.0022783 | -0.0083081 | 0.001026 | -2.6291e-05 | -0.0083081 | 0.001026 | -2.6291e-05 | 125.9399 | 125.9399 | 125.9399 | 125.9399 | 125.9399 | 125.9399 |  | 1.1274 | 0.28374 | 0.27307 | 1.1274 | 0.28374 | 0.27307 | 7.9697 | 151.6211 | 125.2788 | 7.9697 | 151.6211 | 125.2788

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49627 | 3.1505 | 3.1077 | 0.49818 | 3.1511 | 3.1068 | 5.7304 | 36.3784 | 35.8849 | 5.7525 | 36.3854 | 35.8742 | 3.5352 | 9.9057 | 9.6487 | -3.2917 | -1.0778e-10 | -7.7287e-12 | 6.7876 | 5.8401 | 5.7131 | -6.6731 | -7.9287e-11 | -1.3301e-10 | -64.454 | -164.2243 | 24.9424 | 115.4372 | 15.8129 | -155.093 |  | 1.3355 | 0.3161 | 0.31248 | 1.2935 | 0 | 0 | -1.966 | -133.7021 | 55.5725 | -0.81884 | 0 | 0
Line_1 | 0.25076 | 0.9674 | 0.61985 | 0.24909 | 0.96658 | 0.6186 | 2.8955 | 11.1706 | 7.1574 | 2.8762 | 11.161 | 7.143 | -0.97563 | 3.0856 | 0.8487 | 1.6458 | -1.5887e-11 | -1.6812e-11 | -3.1152 | -0.72468 | 1.7606 | 3.3366 | -3.7843e-11 | -2.0521e-11 | 115.3594 | 164.8381 | 61.0155 | -64.5628 | -15.0738 | -119.0918 |  | 1.1274 | 0.28374 | 0.27307 | 1.2935 | 0 | 0 | 7.9697 | 151.6211 | 125.2788 | -0.81884 | 0 | 0
Line_2 | 0.25076 | 0.9674 | 0.61985 | 0.24909 | 0.96658 | 0.6186 | 2.8955 | 11.1706 | 7.1574 | 2.8762 | 11.161 | 7.143 | -0.97563 | 3.0856 | 0.8487 | 1.6458 | -1.5887e-11 | -1.6812e-11 | -3.1152 | -0.72468 | 1.7606 | 3.3366 | -3.7843e-11 | -2.0521e-11 | 115.3594 | 164.8381 | 61.0155 | -64.5628 | -15.0738 | -119.0918 |  | 1.1274 | 0.28374 | 0.27307 | 1.2935 | 0 | 0 | 7.9697 | 151.6211 | 125.2788 | -0.81884 | 0 | 0
Line_3 | 0.0007226 | 0.0007226 | 0.0007226 | 0.0007226 | 0.0007226 | 0.0007226 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | 0.0083438 | -0.0044119 | 0.0021336 | 0.0022783 | -0.0044119 | 0.0021336 | 0.0022783 | -0.0083081 | 0.001026 | -2.6291e-05 | -0.0083081 | 0.001026 | -2.6291e-05 | 125.9399 | 125.9399 | 125.9399 | 125.9399 | 125.9399 | 125.9399 |  | 1.1274 | 0.28374 | 0.27307 | 1.1274 | 0.28374 | 0.27307 | 7.9697 | 151.6211 | 125.2788 | 7.9697 | 151.6211 | 125.2788

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21715 | 0.77043 | 0.79375 | 0.21787 | 0.77083 | 0.79317 | 2.5074 | 8.8962 | 9.1654 | 2.5158 | 8.9008 | 9.1587 | 1.6343 | 6.4838 | 3.9351 | -1.5885 | -5.8978 | -3.2982 | 2.3149 | 3.3973 | 6.098 | -2.2975 | -3.0444 | -5.7234 | -55.3382 | -147.6328 | 48.3947 | 124.5506 | 32.4223 | -131.6488 |  | 1.1301 | 0.82282 | 0.79183 | 1.1103 | 0.74569 | 0.72125 | -0.5605 | -119.9798 | 105.5602 | -0.10823 | -120.2753 | 108.3974
Line_1 | 0.10958 | 0.26892 | 0.23085 | 0.10894 | 0.26858 | 0.23021 | 1.2653 | 3.1052 | 2.6656 | 1.2579 | 3.1013 | 2.6583 | -0.67744 | 1.0645 | 2.0307 | 0.79423 | -0.75812 | -1.8189 | -1.1213 | 2.0975 | 0.8154 | 1.1488 | -2.1848 | -0.60631 | 124.4572 | 168.7381 | 90.0161 | -55.4494 | -11.1388 | -90.0381 |  | 1.0353 | 0.7575 | 0.82093 | 1.1103 | 0.74569 | 0.72125 | 3.3183 | -128.1686 | 111.8939 | -0.10823 | -120.2753 | 108.3974
Line_2 | 0.10958 | 0.26892 | 0.23085 | 0.10894 | 0.26858 | 0.23021 | 1.2653 | 3.1052 | 2.6656 | 1.2579 | 3.1013 | 2.6583 | -0.67744 | 1.0645 | 2.0307 | 0.79423 | -0.75812 | -1.8189 | -1.1213 | 2.0975 | 0.8154 | 1.1488 | -2.1848 | -0.60631 | 124.4572 | 168.7381 | 90.0161 | -55.4494 | -11.1388 | -90.0381 |  | 1.0353 | 0.7575 | 0.82093 | 1.1103 | 0.74569 | 0.72125 | 3.3183 | -128.1686 | 111.8939 | -0.10823 | -120.2753 | 108.3974
Line_3 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.0032778 | 0.0032778 | 0.0032778 | 0.0032778 | 0.0032778 | 0.0032778 | -0.0020782 | -0.00046311 | 0.0025414 | -0.0020782 | -0.00046311 | 0.0025414 | -0.0026828 | 0.0024393 | -0.00088438 | -0.0026828 | 0.0024393 | -0.00088438 | 131.0816 | 131.0816 | 131.0816 | 131.0816 | 131.0816 | 131.0816 |  | 1.0353 | 0.7575 | 0.82093 | 1.0353 | 0.7575 | 0.82093 | 3.3183 | -128.1686 | 111.8939 | 3.3183 | -128.1686 | 111.8939

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21715 | 0.77043 | 0.79375 | 0.21787 | 0.77083 | 0.79317 | 2.5074 | 8.8962 | 9.1654 | 2.5158 | 8.9008 | 9.1587 | 1.6343 | 6.4838 | 3.9351 | -1.5885 | -5.8978 | -3.2982 | 2.3149 | 3.3973 | 6.098 | -2.2975 | -3.0444 | -5.7234 | -55.3382 | -147.6328 | 48.3947 | 124.5506 | 32.4223 | -131.6488 |  | 1.1301 | 0.82282 | 0.79183 | 1.1103 | 0.74569 | 0.72125 | -0.5605 | -119.9798 | 105.5602 | -0.10823 | -120.2753 | 108.3974
Line_1 | 0.10958 | 0.26892 | 0.23085 | 0.10894 | 0.26858 | 0.23021 | 1.2653 | 3.1052 | 2.6656 | 1.2579 | 3.1013 | 2.6583 | -0.67744 | 1.0645 | 2.0307 | 0.79423 | -0.75812 | -1.8189 | -1.1213 | 2.0975 | 0.8154 | 1.1488 | -2.1848 | -0.60631 | 124.4572 | 168.7381 | 90.0161 | -55.4494 | -11.1388 | -90.0381 |  | 1.0353 | 0.7575 | 0.82093 | 1.1103 | 0.74569 | 0.72125 | 3.3183 | -128.1686 | 111.8939 | -0.10823 | -120.2753 | 108.3974
Line_2 | 0.10958 | 0.26892 | 0.23085 | 0.10894 | 0.26858 | 0.23021 | 1.2653 | 3.1052 | 2.6656 | 1.2579 | 3.1013 | 2.6583 | -0.67744 | 1.0645 | 2.0307 | 0.79423 | -0.75812 | -1.8189 | -1.1213 | 2.0975 | 0.8154 | 1.1488 | -2.1848 | -0.60631 | 124.4572 | 168.7381 | 90.0161 | -55.4494 | -11.1388 | -90.0381 |  | 1.0353 | 0.7575 | 0.82093 | 1.1103 | 0.74569 | 0.72125 | 3.3183 | -128.1686 | 111.8939 | -0.10823 | -120.2753 | 108.3974
Line_3 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.00028386 | 0.0032778 | 0.0032778 | 0.0032778 | 0.0032778 | 0.0032778 | 0.0032778 | -0.0020782 | -0.00046311 | 0.0025414 | -0.0020782 | -0.00046311 | 0.0025414 | -0.0026828 | 0.0024393 | -0.00088438 | -0.0026828 | 0.0024393 | -0.00088438 | 131.0816 | 131.0816 | 131.0816 | 131.0816 | 131.0816 | 131.0816 |  | 1.0353 | 0.7575 | 0.82093 | 1.0353 | 0.7575 | 0.82093 | 3.3183 | -128.1686 | 111.8939 | 3.3183 | -128.1686 | 111.8939