## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -3.1264e-14 | 30.1766 | -15.8685 | 3.1264e-14 | -23.0225 | 23.0225 | -1.5632e-14 | 3.131 | 13.1032 | 1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 1.3154e-12 | -161.8563 | 152.6723 | 1.3138e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1949e-28 | -1.5632e-14 | 2.0843e-14 | -5.2106e-15 | 1.8237e-14 | -2.6053e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.3139e-12 | -180 | 180 | 1.3138e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.5632e-14 | 3.1264e-14 | -2.0843e-14 | 1.8237e-14 | -3.6475e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.3145e-12 | -180 | 180 | 1.3138e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 5.2106e-15 | -5.2106e-15 | 5.2106e-15 | -2.6053e-15 | 1.0421e-14 | 5.2106e-15 | -5.2106e-15 | 1.2615e-25 | 1.1955e-28 | 5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.3139e-12 | -180 | 180 | 1.3145e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -3.1264e-14 | 30.1766 | -15.8685 | 3.1264e-14 | -23.0225 | 23.0225 | -1.5632e-14 | 3.131 | 13.1032 | 1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 1.3154e-12 | -161.8563 | 152.6723 | 1.3138e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1949e-28 | -1.5632e-14 | 2.0843e-14 | -5.2106e-15 | 1.8237e-14 | -2.6053e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.3139e-12 | -180 | 180 | 1.3138e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.5632e-14 | 3.1264e-14 | -2.0843e-14 | 1.8237e-14 | -3.6475e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.3145e-12 | -180 | 180 | 1.3138e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 5.2106e-15 | -5.2106e-15 | 5.2106e-15 | -2.6053e-15 | 1.0421e-14 | 5.2106e-15 | -5.2106e-15 | 1.2615e-25 | 1.1955e-28 | 5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.3139e-12 | -180 | 180 | 1.3145e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.3027e-14 | 19.0761 | -0.30087 | 1.0421e-14 | -17.4596 | 1.9173 | -2.0843e-14 | 3.9919 | 15.2185 | 2.3448e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.9826e-13 | -138.0936 | 121.2196 | 3.8106e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.734e-10 | 1.0338e-09 | -2.6053e-15 | -4.734e-10 | -1.0338e-09 | 7.816e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7667e-13 | -142.8673 | 128.239 | 3.8106e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.734e-10 | 1.0338e-09 | -7.816e-15 | -4.734e-10 | -1.0338e-09 | 7.816e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7756e-13 | -142.8673 | 128.239 | 3.8106e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.5459e-15 | 2.9948e-15 | -1.7168e-29 | 4.452e-15 | 1.9472e-15 | 2.6053e-15 | -9.394e-15 | 6.3655e-15 | 2.6053e-15 | 1.1073e-14 | -2.471e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7667e-13 | -142.8673 | 128.239 | 3.7756e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.3027e-14 | 19.0761 | -0.30087 | 1.0421e-14 | -17.4596 | 1.9173 | -2.0843e-14 | 3.9919 | 15.2185 | 2.3448e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.9826e-13 | -138.0936 | 121.2196 | 3.8106e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.734e-10 | 1.0338e-09 | -2.6053e-15 | -4.734e-10 | -1.0338e-09 | 7.816e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7667e-13 | -142.8673 | 128.239 | 3.8106e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.734e-10 | 1.0338e-09 | -7.816e-15 | -4.734e-10 | -1.0338e-09 | 7.816e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7756e-13 | -142.8673 | 128.239 | 3.8106e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.5459e-15 | 2.9948e-15 | -1.7168e-29 | 4.452e-15 | 1.9472e-15 | 2.6053e-15 | -9.394e-15 | 6.3655e-15 | 2.6053e-15 | 1.1073e-14 | -2.471e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7667e-13 | -142.8673 | 128.239 | 3.7756e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.6579e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | 3.3159e-14 | -0.51586 | 11.9957 | -2.3685e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 1.0297e-12 | -160.7833 | 141.207 | 1.0755e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -9.4738e-15 | 2.3686e-15 | 1.4211e-14 | 1.4211e-14 | 4.7369e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0838e-12 | -180 | 180 | 1.0755e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -9.4738e-15 | -2.3684e-15 | 1.1842e-14 | 1.4211e-14 | 4.7369e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0769e-12 | -180 | 180 | 1.0755e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 3.5527e-15 | -2.6842e-25 | 2.3685e-15 | 3.5527e-15 | 4.737e-15 | -4.737e-15 | 7.1054e-15 | -4.737e-15 | 4.737e-15 | 2.0087e-25 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0838e-12 | -180 | 180 | 1.0769e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.6579e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | 3.3159e-14 | -0.51586 | 11.9957 | -2.3685e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 1.0297e-12 | -160.7833 | 141.207 | 1.0755e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -9.4738e-15 | 2.3686e-15 | 1.4211e-14 | 1.4211e-14 | 4.7369e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0838e-12 | -180 | 180 | 1.0755e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -9.4738e-15 | -2.3684e-15 | 1.1842e-14 | 1.4211e-14 | 4.7369e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0769e-12 | -180 | 180 | 1.0755e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 3.5527e-15 | -2.6842e-25 | 2.3685e-15 | 3.5527e-15 | 4.737e-15 | -4.737e-15 | 7.1054e-15 | -4.737e-15 | 4.737e-15 | 2.0087e-25 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0838e-12 | -180 | 180 | 1.0769e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 9.4739e-15 | 15.3932 | 0.73601 | -1.0066e-14 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.6652e-13 | -138.1765 | 119.7467 | 4.8821e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.798e-10 | 8.2616e-10 | 3.5527e-15 | -4.798e-10 | -8.2616e-10 | -1.6579e-14 | -1.0532e-09 | 4.5326e-10 | 1.1842e-14 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.921e-13 | -142.5584 | 131.6989 | 4.8821e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | -1.0091e-28 | -4.798e-10 | -8.2616e-10 | -1.6579e-14 | -1.0532e-09 | 4.5326e-10 | 1.1842e-14 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.8955e-13 | -142.5584 | 131.6989 | 4.8821e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | -5.0164e-15 | 2.6364e-15 | 1.1842e-15 | 5.0164e-15 | -1.1957e-15 | -2.3685e-15 | 5.0928e-15 | 1.382e-15 | 1.0118e-29 | -5.0928e-15 | -2.9991e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.921e-13 | -142.5584 | 131.6989 | 4.8955e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 9.4739e-15 | 15.3932 | 0.73601 | -1.0066e-14 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.6652e-13 | -138.1765 | 119.7467 | 4.8821e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.798e-10 | 8.2616e-10 | 3.5527e-15 | -4.798e-10 | -8.2616e-10 | -1.6579e-14 | -1.0532e-09 | 4.5326e-10 | 1.1842e-14 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.921e-13 | -142.5584 | 131.6989 | 4.8821e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | -1.0091e-28 | -4.798e-10 | -8.2616e-10 | -1.6579e-14 | -1.0532e-09 | 4.5326e-10 | 1.1842e-14 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.8955e-13 | -142.5584 | 131.6989 | 4.8821e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | -5.0164e-15 | 2.6364e-15 | 1.1842e-15 | 5.0164e-15 | -1.1957e-15 | -2.3685e-15 | 5.0928e-15 | 1.382e-15 | 1.0118e-29 | -5.0928e-15 | -2.9991e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.921e-13 | -142.5584 | 131.6989 | 4.8955e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50236 | 0.020104 | 0.020104 | 0.49739 | 0.015128 | 0.015128 | 5.8008 | 0.23214 | 0.23214 | 5.7433 | 0.17468 | 0.17468 | 0.41542 | 0.23036 | -0.21186 | 7.0886e-12 | -0.16668 | 0.16611 | 0.22589 | -0.35449 | -0.34681 | -2.7799e-12 | 0.26851 | 0.26511 | -85.9105 | -89.0058 | -89.0058 | 94.1081 | 90.5862 | 90.5862 | 0.081516 | 1.8211 | 1.7507 | 0 | 1.8093 | 1.791 | -57.3745 | -145.9879 | 149.5739 | 0 | -147.5842 | 148.5155
Line_1 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0075638 | 0.0075638 | 0.0075638 | 0.029119 | 0.029119 | 0.029119 | 0.087339 | 0.087339 | 0.087339 | 4.6996e-05 | -0.027762 | 0.027715 | -1.1019e-13 | 0.083338 | -0.083056 | 1.8697e-05 | 0.044765 | 0.044227 | 3.5571e-14 | -0.13426 | -0.13255 | 90.556 | 90.556 | 90.556 | -89.4138 | -89.4138 | -89.4138 | 0.001737 | 1.809 | 1.7924 | 0 | 1.8093 | 1.791 | 112.2504 | -147.6383 | 148.4827 | 0 | -147.5842 | 148.5155
Line_2 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0075638 | 0.0075638 | 0.0075638 | 0.029119 | 0.029119 | 0.029119 | 0.087339 | 0.087339 | 0.087339 | 4.6996e-05 | -0.027762 | 0.027715 | -1.1019e-13 | 0.083338 | -0.083056 | 1.8697e-05 | 0.044765 | 0.044227 | 3.5571e-14 | -0.13426 | -0.13255 | 90.556 | 90.556 | 90.556 | -89.4138 | -89.4138 | -89.4138 | 0.001737 | 1.809 | 1.7924 | 0 | 1.8093 | 1.791 | 112.2504 | -147.6383 | 148.4827 | 0 | -147.5842 | 148.5155
Line_3 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0025218 | 0.029119 | 0.029119 | 0.029119 | 0.029119 | 0.029119 | 0.029119 | -4.6996e-05 | 0.027762 | -0.027715 | -4.6996e-05 | 0.027762 | -0.027715 | -1.8697e-05 | -0.044765 | -0.044227 | -1.8697e-05 | -0.044765 | -0.044227 | -89.444 | -89.444 | -89.444 | -89.444 | -89.444 | -89.444 | 0.001737 | 1.809 | 1.7924 | 0.001737 | 1.809 | 1.7924 | 112.2504 | -147.6383 | 148.4827 | 112.2504 | -147.6383 | 148.4827

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50236 | 0.020104 | 0.020104 | 0.49739 | 0.015128 | 0.015128 | 5.8008 | 0.23214 | 0.23214 | 5.7433 | 0.17468 | 0.17468 | 0.41542 | 0.23036 | -0.21186 | 7.0886e-12 | -0.16668 | 0.16611 | 0.22589 | -0.35449 | -0.34681 | -2.7799e-12 | 0.26851 | 0.26511 | -85.9105 | -89.0058 | -89.0058 | 94.1081 | 90.5862 | 90.5862 | 0.081516 | 1.8211 | 1.7507 | 0 | 1.8093 | 1.791 | -57.3745 | -145.9879 | 149.5739 | 0 | -147.5842 | 148.5155
Line_1 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0075638 | 0.0075638 | 0.0075638 | 0.029119 | 0.029119 | 0.029119 | 0.087339 | 0.087339 | 0.087339 | 4.6996e-05 | -0.027762 | 0.027715 | -1.1019e-13 | 0.083338 | -0.083056 | 1.8697e-05 | 0.044765 | 0.044227 | 3.5571e-14 | -0.13426 | -0.13255 | 90.556 | 90.556 | 90.556 | -89.4138 | -89.4138 | -89.4138 | 0.001737 | 1.809 | 1.7924 | 0 | 1.8093 | 1.791 | 112.2504 | -147.6383 | 148.4827 | 0 | -147.5842 | 148.5155
Line_2 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0075638 | 0.0075638 | 0.0075638 | 0.029119 | 0.029119 | 0.029119 | 0.087339 | 0.087339 | 0.087339 | 4.6996e-05 | -0.027762 | 0.027715 | -1.1019e-13 | 0.083338 | -0.083056 | 1.8697e-05 | 0.044765 | 0.044227 | 3.5571e-14 | -0.13426 | -0.13255 | 90.556 | 90.556 | 90.556 | -89.4138 | -89.4138 | -89.4138 | 0.001737 | 1.809 | 1.7924 | 0 | 1.8093 | 1.791 | 112.2504 | -147.6383 | 148.4827 | 0 | -147.5842 | 148.5155
Line_3 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0025218 | 0.0025218 | 0.029119 | 0.029119 | 0.029119 | 0.029119 | 0.029119 | 0.029119 | -4.6996e-05 | 0.027762 | -0.027715 | -4.6996e-05 | 0.027762 | -0.027715 | -1.8697e-05 | -0.044765 | -0.044227 | -1.8697e-05 | -0.044765 | -0.044227 | -89.444 | -89.444 | -89.444 | -89.444 | -89.444 | -89.444 | 0.001737 | 1.809 | 1.7924 | 0.001737 | 1.809 | 1.7924 | 112.2504 | -147.6383 | 148.4827 | 112.2504 | -147.6383 | 148.4827

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41312 | 0.016533 | 0.016533 | 0.40903 | 0.01244 | 0.01244 | 4.7703 | 0.19091 | 0.19091 | 4.7231 | 0.14365 | 0.14365 | 1.0983 | 0.17029 | -0.18867 | -0.80957 | -0.12386 | 0.14654 | 0.97386 | -0.28377 | -0.22508 | -0.8127 | 0.21465 | 0.17241 | -77.6184 | -80.7137 | -80.7137 | 102.4001 | 98.8783 | 98.8783 | 0.30772 | 1.7335 | 1.5384 | 0.24288 | 1.7252 | 1.5752 | -36.0562 | -139.746 | 149.3153 | -32.4895 | -141.134 | 148.5147
Line_1 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0062201 | 0.0062201 | 0.0062201 | 0.023946 | 0.023946 | 0.023946 | 0.071824 | 0.071824 | 0.071824 | -0.0038096 | -0.020636 | 0.024445 | 0.011529 | 0.061932 | -0.07327 | -0.0043542 | 0.035784 | 0.028766 | 0.013092 | -0.10732 | -0.086204 | 98.848 | 98.848 | 98.848 | -81.1217 | -81.1217 | -81.1217 | 0.2416 | 1.725 | 1.5764 | 0.24288 | 1.7252 | 1.5752 | -32.3358 | -141.1809 | 148.4904 | -32.4895 | -141.134 | 148.5147
Line_2 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0062201 | 0.0062201 | 0.0062201 | 0.023946 | 0.023946 | 0.023946 | 0.071824 | 0.071824 | 0.071824 | -0.0038096 | -0.020636 | 0.024445 | 0.011529 | 0.061932 | -0.07327 | -0.0043542 | 0.035784 | 0.028766 | 0.013092 | -0.10732 | -0.086204 | 98.848 | 98.848 | 98.848 | -81.1217 | -81.1217 | -81.1217 | 0.2416 | 1.725 | 1.5764 | 0.24288 | 1.7252 | 1.5752 | -32.3358 | -141.1809 | 148.4904 | -32.4895 | -141.134 | 148.5147
Line_3 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0020738 | 0.023946 | 0.023946 | 0.023946 | 0.023946 | 0.023946 | 0.023946 | 0.0038096 | 0.020636 | -0.024445 | 0.0038096 | 0.020636 | -0.024445 | 0.0043542 | -0.035784 | -0.028766 | 0.0043542 | -0.035784 | -0.028766 | -81.152 | -81.152 | -81.152 | -81.152 | -81.152 | -81.152 | 0.2416 | 1.725 | 1.5764 | 0.2416 | 1.725 | 1.5764 | -32.3358 | -141.1809 | 148.4904 | -32.3358 | -141.1809 | 148.4904

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41312 | 0.016533 | 0.016533 | 0.40903 | 0.01244 | 0.01244 | 4.7703 | 0.19091 | 0.19091 | 4.7231 | 0.14365 | 0.14365 | 1.0983 | 0.17029 | -0.18867 | -0.80957 | -0.12386 | 0.14654 | 0.97386 | -0.28377 | -0.22508 | -0.8127 | 0.21465 | 0.17241 | -77.6184 | -80.7137 | -80.7137 | 102.4001 | 98.8783 | 98.8783 | 0.30772 | 1.7335 | 1.5384 | 0.24288 | 1.7252 | 1.5752 | -36.0562 | -139.746 | 149.3153 | -32.4895 | -141.134 | 148.5147
Line_1 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0062201 | 0.0062201 | 0.0062201 | 0.023946 | 0.023946 | 0.023946 | 0.071824 | 0.071824 | 0.071824 | -0.0038096 | -0.020636 | 0.024445 | 0.011529 | 0.061932 | -0.07327 | -0.0043542 | 0.035784 | 0.028766 | 0.013092 | -0.10732 | -0.086204 | 98.848 | 98.848 | 98.848 | -81.1217 | -81.1217 | -81.1217 | 0.2416 | 1.725 | 1.5764 | 0.24288 | 1.7252 | 1.5752 | -32.3358 | -141.1809 | 148.4904 | -32.4895 | -141.134 | 148.5147
Line_2 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0062201 | 0.0062201 | 0.0062201 | 0.023946 | 0.023946 | 0.023946 | 0.071824 | 0.071824 | 0.071824 | -0.0038096 | -0.020636 | 0.024445 | 0.011529 | 0.061932 | -0.07327 | -0.0043542 | 0.035784 | 0.028766 | 0.013092 | -0.10732 | -0.086204 | 98.848 | 98.848 | 98.848 | -81.1217 | -81.1217 | -81.1217 | 0.2416 | 1.725 | 1.5764 | 0.24288 | 1.7252 | 1.5752 | -32.3358 | -141.1809 | 148.4904 | -32.4895 | -141.134 | 148.5147
Line_3 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0020738 | 0.0020738 | 0.023946 | 0.023946 | 0.023946 | 0.023946 | 0.023946 | 0.023946 | 0.0038096 | 0.020636 | -0.024445 | 0.0038096 | 0.020636 | -0.024445 | 0.0043542 | -0.035784 | -0.028766 | 0.0043542 | -0.035784 | -0.028766 | -81.152 | -81.152 | -81.152 | -81.152 | -81.152 | -81.152 | 0.2416 | 1.725 | 1.5764 | 0.2416 | 1.725 | 1.5764 | -32.3358 | -141.1809 | 148.4904 | -32.3358 | -141.1809 | 148.4904

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45268 | 0.018177 | 0.018177 | 0.4482 | 0.013691 | 0.013691 | 5.2271 | 0.20989 | 0.20989 | 5.1753 | 0.15809 | 0.15809 | 0.64761 | 0.19612 | -0.16726 | -3.3881e-12 | -0.13733 | 0.13645 | 0.18094 | -0.29122 | -0.2802 | -1.9561e-12 | 0.22083 | 0.21625 | -82.3333 | -88.2635 | -88.2635 | 97.7024 | 90.9589 | 90.9589 | 0.12864 | 1.6727 | 1.5547 | 0 | 1.645 | 1.6174 | -66.7234 | -144.3055 | 150.9015 | 0 | -147.164 | 148.7083
Line_1 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0068455 | 0.0068455 | 0.0068455 | 0.026354 | 0.026354 | 0.026354 | 0.079045 | 0.079045 | 0.079045 | 7.3909e-05 | -0.022857 | 0.022783 | 4.7882e-14 | 0.068667 | -0.068224 | 1.5314e-05 | 0.036805 | 0.036088 | 3.5746e-14 | -0.11042 | -0.10813 | 90.9008 | 90.9008 | 90.9008 | -89.0411 | -89.0411 | -89.0411 | 0.002864 | 1.644 | 1.6194 | 0 | 1.645 | 1.6174 | 102.6072 | -147.2577 | 148.6353 | 0 | -147.164 | 148.7083
Line_2 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0068455 | 0.0068455 | 0.0068455 | 0.026354 | 0.026354 | 0.026354 | 0.079045 | 0.079045 | 0.079045 | 7.3909e-05 | -0.022857 | 0.022783 | 4.7882e-14 | 0.068667 | -0.068224 | 1.5314e-05 | 0.036805 | 0.036088 | 3.5746e-14 | -0.11042 | -0.10813 | 90.9008 | 90.9008 | 90.9008 | -89.0411 | -89.0411 | -89.0411 | 0.002864 | 1.644 | 1.6194 | 0 | 1.645 | 1.6174 | 102.6072 | -147.2577 | 148.6353 | 0 | -147.164 | 148.7083
Line_3 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0022823 | 0.026354 | 0.026354 | 0.026354 | 0.026354 | 0.026354 | 0.026354 | -7.3909e-05 | 0.022857 | -0.022783 | -7.3909e-05 | 0.022857 | -0.022783 | -1.5314e-05 | -0.036805 | -0.036088 | -1.5314e-05 | -0.036805 | -0.036088 | -89.0992 | -89.0992 | -89.0992 | -89.0992 | -89.0992 | -89.0992 | 0.002864 | 1.644 | 1.6194 | 0.002864 | 1.644 | 1.6194 | 102.6072 | -147.2577 | 148.6353 | 102.6072 | -147.2577 | 148.6353

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45268 | 0.018177 | 0.018177 | 0.4482 | 0.013691 | 0.013691 | 5.2271 | 0.20989 | 0.20989 | 5.1753 | 0.15809 | 0.15809 | 0.64761 | 0.19612 | -0.16726 | -3.3881e-12 | -0.13733 | 0.13645 | 0.18094 | -0.29122 | -0.2802 | -1.9561e-12 | 0.22083 | 0.21625 | -82.3333 | -88.2635 | -88.2635 | 97.7024 | 90.9589 | 90.9589 | 0.12864 | 1.6727 | 1.5547 | 0 | 1.645 | 1.6174 | -66.7234 | -144.3055 | 150.9015 | 0 | -147.164 | 148.7083
Line_1 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0068455 | 0.0068455 | 0.0068455 | 0.026354 | 0.026354 | 0.026354 | 0.079045 | 0.079045 | 0.079045 | 7.3909e-05 | -0.022857 | 0.022783 | 4.7882e-14 | 0.068667 | -0.068224 | 1.5314e-05 | 0.036805 | 0.036088 | 3.5746e-14 | -0.11042 | -0.10813 | 90.9008 | 90.9008 | 90.9008 | -89.0411 | -89.0411 | -89.0411 | 0.002864 | 1.644 | 1.6194 | 0 | 1.645 | 1.6174 | 102.6072 | -147.2577 | 148.6353 | 0 | -147.164 | 148.7083
Line_2 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0068455 | 0.0068455 | 0.0068455 | 0.026354 | 0.026354 | 0.026354 | 0.079045 | 0.079045 | 0.079045 | 7.3909e-05 | -0.022857 | 0.022783 | 4.7882e-14 | 0.068667 | -0.068224 | 1.5314e-05 | 0.036805 | 0.036088 | 3.5746e-14 | -0.11042 | -0.10813 | 90.9008 | 90.9008 | 90.9008 | -89.0411 | -89.0411 | -89.0411 | 0.002864 | 1.644 | 1.6194 | 0 | 1.645 | 1.6174 | 102.6072 | -147.2577 | 148.6353 | 0 | -147.164 | 148.7083
Line_3 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0022823 | 0.0022823 | 0.026354 | 0.026354 | 0.026354 | 0.026354 | 0.026354 | 0.026354 | -7.3909e-05 | 0.022857 | -0.022783 | -7.3909e-05 | 0.022857 | -0.022783 | -1.5314e-05 | -0.036805 | -0.036088 | -1.5314e-05 | -0.036805 | -0.036088 | -89.0992 | -89.0992 | -89.0992 | -89.0992 | -89.0992 | -89.0992 | 0.002864 | 1.644 | 1.6194 | 0.002864 | 1.644 | 1.6194 | 102.6072 | -147.2577 | 148.6353 | 102.6072 | -147.2577 | 148.6353

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37017 | 0.014864 | 0.014864 | 0.36651 | 0.011196 | 0.011196 | 4.2744 | 0.17164 | 0.17164 | 4.2321 | 0.12928 | 0.12928 | 1.088 | 0.14464 | -0.14876 | -0.64885 | -0.10235 | 0.1191 | 0.78161 | -0.22957 | -0.18164 | -0.65367 | 0.17377 | 0.14067 | -74.7924 | -80.7227 | -80.7227 | 105.2433 | 98.4998 | 98.4998 | 0.31341 | 1.5808 | 1.3679 | 0.21763 | 1.56 | 1.4258 | -39.099 | -138.5098 | 149.9601 | -29.5448 | -141.0005 | 148.2464
Line_1 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0055978 | 0.0055978 | 0.0055978 | 0.021551 | 0.021551 | 0.021551 | 0.064638 | 0.064638 | 0.064638 | -0.0028372 | -0.017043 | 0.01988 | 0.0086693 | 0.051177 | -0.05955 | -0.0036863 | 0.02896 | 0.02348 | 0.011078 | -0.086883 | -0.070335 | 98.4417 | 98.4417 | 98.4417 | -81.5002 | -81.5002 | -81.5002 | 0.21585 | 1.5592 | 1.4276 | 0.21763 | 1.56 | 1.4258 | -29.1426 | -141.082 | 148.1884 | -29.5448 | -141.0005 | 148.2464
Line_2 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0055978 | 0.0055978 | 0.0055978 | 0.021551 | 0.021551 | 0.021551 | 0.064638 | 0.064638 | 0.064638 | -0.0028372 | -0.017043 | 0.01988 | 0.0086693 | 0.051177 | -0.05955 | -0.0036863 | 0.02896 | 0.02348 | 0.011078 | -0.086883 | -0.070335 | 98.4417 | 98.4417 | 98.4417 | -81.5002 | -81.5002 | -81.5002 | 0.21585 | 1.5592 | 1.4276 | 0.21763 | 1.56 | 1.4258 | -29.1426 | -141.082 | 148.1884 | -29.5448 | -141.0005 | 148.2464
Line_3 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0018663 | 0.021551 | 0.021551 | 0.021551 | 0.021551 | 0.021551 | 0.021551 | 0.0028372 | 0.017043 | -0.01988 | 0.0028372 | 0.017043 | -0.01988 | 0.0036863 | -0.02896 | -0.02348 | 0.0036863 | -0.02896 | -0.02348 | -81.5583 | -81.5583 | -81.5583 | -81.5583 | -81.5583 | -81.5583 | 0.21585 | 1.5592 | 1.4276 | 0.21585 | 1.5592 | 1.4276 | -29.1426 | -141.082 | 148.1884 | -29.1426 | -141.082 | 148.1884

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37017 | 0.014864 | 0.014864 | 0.36651 | 0.011196 | 0.011196 | 4.2744 | 0.17164 | 0.17164 | 4.2321 | 0.12928 | 0.12928 | 1.088 | 0.14464 | -0.14876 | -0.64885 | -0.10235 | 0.1191 | 0.78161 | -0.22957 | -0.18164 | -0.65367 | 0.17377 | 0.14067 | -74.7924 | -80.7227 | -80.7227 | 105.2433 | 98.4998 | 98.4998 | 0.31341 | 1.5808 | 1.3679 | 0.21763 | 1.56 | 1.4258 | -39.099 | -138.5098 | 149.9601 | -29.5448 | -141.0005 | 148.2464
Line_1 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0055978 | 0.0055978 | 0.0055978 | 0.021551 | 0.021551 | 0.021551 | 0.064638 | 0.064638 | 0.064638 | -0.0028372 | -0.017043 | 0.01988 | 0.0086693 | 0.051177 | -0.05955 | -0.0036863 | 0.02896 | 0.02348 | 0.011078 | -0.086883 | -0.070335 | 98.4417 | 98.4417 | 98.4417 | -81.5002 | -81.5002 | -81.5002 | 0.21585 | 1.5592 | 1.4276 | 0.21763 | 1.56 | 1.4258 | -29.1426 | -141.082 | 148.1884 | -29.5448 | -141.0005 | 148.2464
Line_2 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0055978 | 0.0055978 | 0.0055978 | 0.021551 | 0.021551 | 0.021551 | 0.064638 | 0.064638 | 0.064638 | -0.0028372 | -0.017043 | 0.01988 | 0.0086693 | 0.051177 | -0.05955 | -0.0036863 | 0.02896 | 0.02348 | 0.011078 | -0.086883 | -0.070335 | 98.4417 | 98.4417 | 98.4417 | -81.5002 | -81.5002 | -81.5002 | 0.21585 | 1.5592 | 1.4276 | 0.21763 | 1.56 | 1.4258 | -29.1426 | -141.082 | 148.1884 | -29.5448 | -141.0005 | 148.2464
Line_3 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0018663 | 0.0018663 | 0.021551 | 0.021551 | 0.021551 | 0.021551 | 0.021551 | 0.021551 | 0.0028372 | 0.017043 | -0.01988 | 0.0028372 | 0.017043 | -0.01988 | 0.0036863 | -0.02896 | -0.02348 | 0.0036863 | -0.02896 | -0.02348 | -81.5583 | -81.5583 | -81.5583 | -81.5583 | -81.5583 | -81.5583 | 0.21585 | 1.5592 | 1.4276 | 0.21585 | 1.5592 | 1.4276 | -29.1426 | -141.082 | 148.1884 | -29.1426 | -141.082 | 148.1884

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010645 | 3.6907 | 3.7326 | 0.0080101 | 3.6911 | 3.7321 | 0.12292 | 42.6166 | 43.1008 | 0.092493 | 42.621 | 43.0942 | 0.0019906 | 7.2558 | 7.155 | -0.00015813 | 7.3955e-11 | 7.7171e-11 | -0.19773 | 6.9043 | 9.3751 | 0.14961 | -4.4839e-11 | 3.5346e-11 | 90.5187 | -169.9028 | 14.3192 | -89.8893 | 10.1377 | -165.7203 | 1.6087 | 0.23502 | 0.27363 | 1.6176 | 0 | 0 | 1.0955 | -126.3249 | 66.9687 | 0.17124 | 0 | 0
Line_1 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0040051 | 0.0040051 | 0.0040051 | 0.015419 | 0.015419 | 0.015419 | 0.046246 | 0.046246 | 0.046246 | -2.6356e-05 | 1.3177e-05 | 1.3177e-05 | 7.9062e-05 | -3.3938e-14 | -5.705e-14 | 0.024946 | 5.2421e-06 | 5.2421e-06 | -0.074807 | -8.7491e-14 | 7.1011e-14 | -89.9196 | -89.9196 | -89.9196 | 90.1107 | 90.1107 | 90.1107 | 1.6179 | 0.00091973 | 0.00091973 | 1.6176 | 0 | 0 | 0.14096 | -68.2252 | -68.2252 | 0.17124 | 0 | 0
Line_2 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0040051 | 0.0040051 | 0.0040051 | 0.015419 | 0.015419 | 0.015419 | 0.046246 | 0.046246 | 0.046246 | -2.6356e-05 | 1.3177e-05 | 1.3177e-05 | 7.9062e-05 | -3.3938e-14 | -5.705e-14 | 0.024946 | 5.2421e-06 | 5.2421e-06 | -0.074807 | -8.7491e-14 | 7.1011e-14 | -89.9196 | -89.9196 | -89.9196 | 90.1107 | 90.1107 | 90.1107 | 1.6179 | 0.00091973 | 0.00091973 | 1.6176 | 0 | 0 | 0.14096 | -68.2252 | -68.2252 | 0.17124 | 0 | 0
Line_3 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0013353 | 0.015419 | 0.015419 | 0.015419 | 0.015419 | 0.015419 | 0.015419 | 2.6353e-05 | -1.3177e-05 | -1.3177e-05 | 2.6353e-05 | -1.3177e-05 | -1.3177e-05 | -0.024946 | -5.2421e-06 | -5.2421e-06 | -0.024946 | -5.2421e-06 | -5.2421e-06 | 90.0804 | 90.0804 | 90.0804 | 90.0804 | 90.0804 | 90.0804 | 1.6179 | 0.00091973 | 0.00091973 | 1.6179 | 0.00091973 | 0.00091973 | 0.14096 | -68.2252 | -68.2252 | 0.14096 | -68.2252 | -68.2252

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010645 | 3.6907 | 3.7326 | 0.0080101 | 3.6911 | 3.7321 | 0.12292 | 42.6166 | 43.1008 | 0.092493 | 42.621 | 43.0942 | 0.0019906 | 7.2558 | 7.155 | -0.00015813 | 7.3955e-11 | 7.7171e-11 | -0.19773 | 6.9043 | 9.3751 | 0.14961 | -4.4839e-11 | 3.5346e-11 | 90.5187 | -169.9028 | 14.3192 | -89.8893 | 10.1377 | -165.7203 | 1.6087 | 0.23502 | 0.27363 | 1.6176 | 0 | 0 | 1.0955 | -126.3249 | 66.9687 | 0.17124 | 0 | 0
Line_1 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0040051 | 0.0040051 | 0.0040051 | 0.015419 | 0.015419 | 0.015419 | 0.046246 | 0.046246 | 0.046246 | -2.6356e-05 | 1.3177e-05 | 1.3177e-05 | 7.9062e-05 | -3.3938e-14 | -5.705e-14 | 0.024946 | 5.2421e-06 | 5.2421e-06 | -0.074807 | -8.7491e-14 | 7.1011e-14 | -89.9196 | -89.9196 | -89.9196 | 90.1107 | 90.1107 | 90.1107 | 1.6179 | 0.00091973 | 0.00091973 | 1.6176 | 0 | 0 | 0.14096 | -68.2252 | -68.2252 | 0.17124 | 0 | 0
Line_2 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0040051 | 0.0040051 | 0.0040051 | 0.015419 | 0.015419 | 0.015419 | 0.046246 | 0.046246 | 0.046246 | -2.6356e-05 | 1.3177e-05 | 1.3177e-05 | 7.9062e-05 | -3.3938e-14 | -5.705e-14 | 0.024946 | 5.2421e-06 | 5.2421e-06 | -0.074807 | -8.7491e-14 | 7.1011e-14 | -89.9196 | -89.9196 | -89.9196 | 90.1107 | 90.1107 | 90.1107 | 1.6179 | 0.00091973 | 0.00091973 | 1.6176 | 0 | 0 | 0.14096 | -68.2252 | -68.2252 | 0.17124 | 0 | 0
Line_3 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0013353 | 0.0013353 | 0.015419 | 0.015419 | 0.015419 | 0.015419 | 0.015419 | 0.015419 | 2.6353e-05 | -1.3177e-05 | -1.3177e-05 | 2.6353e-05 | -1.3177e-05 | -1.3177e-05 | -0.024946 | -5.2421e-06 | -5.2421e-06 | -0.024946 | -5.2421e-06 | -5.2421e-06 | 90.0804 | 90.0804 | 90.0804 | 90.0804 | 90.0804 | 90.0804 | 1.6179 | 0.00091973 | 0.00091973 | 1.6179 | 0.00091973 | 0.00091973 | 0.14096 | -68.2252 | -68.2252 | 0.14096 | -68.2252 | -68.2252

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095831 | 1.0831 | 1.1962 | 0.0072109 | 1.084 | 1.1948 | 0.11066 | 12.5067 | 13.812 | 0.083264 | 12.5175 | 13.7966 | -0.0087654 | 6.4182 | 8.0101 | 0.0076188 | -5.8567 | -7.1478 | -0.17186 | 6.3255 | 8.2374 | 0.13004 | -5.9276 | -7.0779 | 95.36 | -150.4018 | 40.7858 | -85.048 | 29.7137 | -139.3083 | 1.5551 | 0.72052 | 0.83187 | 1.5645 | 0.6657 | 0.72911 | 2.4402 | -105.8183 | 86.5876 | 1.5991 | -104.9412 | 85.4101
Line_1 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0036054 | 0.0036054 | 0.0036054 | 0.01388 | 0.01388 | 0.01388 | 0.041632 | 0.041632 | 0.041632 | 0.0012693 | 0.008701 | -0.0099703 | -0.0038094 | -0.026061 | 0.029934 | 0.021683 | -0.0031353 | 0.0016766 | -0.065022 | 0.0094303 | -0.0050318 | -85.0782 | -85.0782 | -85.0782 | 94.952 | 94.952 | 94.952 | 1.5649 | 0.66632 | 0.7284 | 1.5645 | 0.6657 | 0.72911 | 1.5716 | -104.894 | 85.3763 | 1.5991 | -104.9412 | 85.4101
Line_2 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0036054 | 0.0036054 | 0.0036054 | 0.01388 | 0.01388 | 0.01388 | 0.041632 | 0.041632 | 0.041632 | 0.0012693 | 0.008701 | -0.0099703 | -0.0038094 | -0.026061 | 0.029934 | 0.021683 | -0.0031353 | 0.0016766 | -0.065022 | 0.0094303 | -0.0050318 | -85.0782 | -85.0782 | -85.0782 | 94.952 | 94.952 | 94.952 | 1.5649 | 0.66632 | 0.7284 | 1.5645 | 0.6657 | 0.72911 | 1.5716 | -104.894 | 85.3763 | 1.5991 | -104.9412 | 85.4101
Line_3 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0012021 | 0.01388 | 0.01388 | 0.01388 | 0.01388 | 0.01388 | 0.01388 | -0.0012693 | -0.008701 | 0.0099703 | -0.0012693 | -0.008701 | 0.0099703 | -0.021683 | 0.0031353 | -0.0016766 | -0.021683 | 0.0031353 | -0.0016766 | 94.9218 | 94.9218 | 94.9218 | 94.9218 | 94.9218 | 94.9218 | 1.5649 | 0.66632 | 0.7284 | 1.5649 | 0.66632 | 0.7284 | 1.5716 | -104.894 | 85.3763 | 1.5716 | -104.894 | 85.3763

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095831 | 1.0831 | 1.1962 | 0.0072109 | 1.084 | 1.1948 | 0.11066 | 12.5067 | 13.812 | 0.083264 | 12.5175 | 13.7966 | -0.0087654 | 6.4182 | 8.0101 | 0.0076188 | -5.8567 | -7.1478 | -0.17186 | 6.3255 | 8.2374 | 0.13004 | -5.9276 | -7.0779 | 95.36 | -150.4018 | 40.7858 | -85.048 | 29.7137 | -139.3083 | 1.5551 | 0.72052 | 0.83187 | 1.5645 | 0.6657 | 0.72911 | 2.4402 | -105.8183 | 86.5876 | 1.5991 | -104.9412 | 85.4101
Line_1 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0036054 | 0.0036054 | 0.0036054 | 0.01388 | 0.01388 | 0.01388 | 0.041632 | 0.041632 | 0.041632 | 0.0012693 | 0.008701 | -0.0099703 | -0.0038094 | -0.026061 | 0.029934 | 0.021683 | -0.0031353 | 0.0016766 | -0.065022 | 0.0094303 | -0.0050318 | -85.0782 | -85.0782 | -85.0782 | 94.952 | 94.952 | 94.952 | 1.5649 | 0.66632 | 0.7284 | 1.5645 | 0.6657 | 0.72911 | 1.5716 | -104.894 | 85.3763 | 1.5991 | -104.9412 | 85.4101
Line_2 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0036054 | 0.0036054 | 0.0036054 | 0.01388 | 0.01388 | 0.01388 | 0.041632 | 0.041632 | 0.041632 | 0.0012693 | 0.008701 | -0.0099703 | -0.0038094 | -0.026061 | 0.029934 | 0.021683 | -0.0031353 | 0.0016766 | -0.065022 | 0.0094303 | -0.0050318 | -85.0782 | -85.0782 | -85.0782 | 94.952 | 94.952 | 94.952 | 1.5649 | 0.66632 | 0.7284 | 1.5645 | 0.6657 | 0.72911 | 1.5716 | -104.894 | 85.3763 | 1.5991 | -104.9412 | 85.4101
Line_3 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0012021 | 0.0012021 | 0.01388 | 0.01388 | 0.01388 | 0.01388 | 0.01388 | 0.01388 | -0.0012693 | -0.008701 | 0.0099703 | -0.0012693 | -0.008701 | 0.0099703 | -0.021683 | 0.0031353 | -0.0016766 | -0.021683 | 0.0031353 | -0.0016766 | 94.9218 | 94.9218 | 94.9218 | 94.9218 | 94.9218 | 94.9218 | 1.5649 | 0.66632 | 0.7284 | 1.5649 | 0.66632 | 0.7284 | 1.5716 | -104.894 | 85.3763 | 1.5716 | -104.894 | 85.3763

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096569 | 3.0919 | 3.151 | 0.0072734 | 3.0925 | 3.1502 | 0.11151 | 35.7022 | 36.3846 | 0.083986 | 35.7092 | 36.3756 | 0.0031265 | 9.4461 | 10.1414 | -0.00025032 | -1.3442e-10 | 3.3305e-11 | -0.16252 | 4.0211 | 7.4954 | 0.12336 | -1.3388e-10 | -1.9222e-10 | 90.9469 | -161.9244 | 22.5375 | -89.8307 | 18.1183 | -157.5035 | 1.4578 | 0.28755 | 0.34659 | 1.4688 | 0 | 0 | 2.0489 | -138.8656 | 59.0052 | 0.28558 | 0 | 0
Line_1 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0036367 | 0.0036367 | 0.0036367 | 0.014001 | 0.014001 | 0.014001 | 0.041993 | 0.041993 | 0.041993 | -4.1722e-05 | 2.086e-05 | 2.086e-05 | 0.00012516 | -1.9849e-13 | 1.9066e-13 | 0.020569 | 4.3222e-06 | 4.3222e-06 | -0.06168 | 1.0186e-13 | 1.1987e-13 | -89.8888 | -89.8888 | -89.8888 | 90.1693 | 90.1693 | 90.1693 | 1.4691 | 0.0015215 | 0.0015215 | 1.4688 | 0 | 0 | 0.22744 | -78.1824 | -78.1824 | 0.28558 | 0 | 0
Line_2 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0036367 | 0.0036367 | 0.0036367 | 0.014001 | 0.014001 | 0.014001 | 0.041993 | 0.041993 | 0.041993 | -4.1722e-05 | 2.086e-05 | 2.086e-05 | 0.00012516 | -1.9849e-13 | 1.9066e-13 | 0.020569 | 4.3222e-06 | 4.3222e-06 | -0.06168 | 1.0186e-13 | 1.1987e-13 | -89.8888 | -89.8888 | -89.8888 | 90.1693 | 90.1693 | 90.1693 | 1.4691 | 0.0015215 | 0.0015215 | 1.4688 | 0 | 0 | 0.22744 | -78.1824 | -78.1824 | 0.28558 | 0 | 0
Line_3 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0012125 | 0.014001 | 0.014001 | 0.014001 | 0.014001 | 0.014001 | 0.014001 | 4.1719e-05 | -2.086e-05 | -2.086e-05 | 4.1719e-05 | -2.086e-05 | -2.086e-05 | -0.020569 | -4.3222e-06 | -4.3222e-06 | -0.020569 | -4.3222e-06 | -4.3222e-06 | 90.1112 | 90.1112 | 90.1112 | 90.1112 | 90.1112 | 90.1112 | 1.4691 | 0.0015215 | 0.0015215 | 1.4691 | 0.0015215 | 0.0015215 | 0.22744 | -78.1824 | -78.1824 | 0.22744 | -78.1824 | -78.1824

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096569 | 3.0919 | 3.151 | 0.0072734 | 3.0925 | 3.1502 | 0.11151 | 35.7022 | 36.3846 | 0.083986 | 35.7092 | 36.3756 | 0.0031265 | 9.4461 | 10.1414 | -0.00025032 | -1.3442e-10 | 3.3305e-11 | -0.16252 | 4.0211 | 7.4954 | 0.12336 | -1.3388e-10 | -1.9222e-10 | 90.9469 | -161.9244 | 22.5375 | -89.8307 | 18.1183 | -157.5035 | 1.4578 | 0.28755 | 0.34659 | 1.4688 | 0 | 0 | 2.0489 | -138.8656 | 59.0052 | 0.28558 | 0 | 0
Line_1 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0036367 | 0.0036367 | 0.0036367 | 0.014001 | 0.014001 | 0.014001 | 0.041993 | 0.041993 | 0.041993 | -4.1722e-05 | 2.086e-05 | 2.086e-05 | 0.00012516 | -1.9849e-13 | 1.9066e-13 | 0.020569 | 4.3222e-06 | 4.3222e-06 | -0.06168 | 1.0186e-13 | 1.1987e-13 | -89.8888 | -89.8888 | -89.8888 | 90.1693 | 90.1693 | 90.1693 | 1.4691 | 0.0015215 | 0.0015215 | 1.4688 | 0 | 0 | 0.22744 | -78.1824 | -78.1824 | 0.28558 | 0 | 0
Line_2 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0036367 | 0.0036367 | 0.0036367 | 0.014001 | 0.014001 | 0.014001 | 0.041993 | 0.041993 | 0.041993 | -4.1722e-05 | 2.086e-05 | 2.086e-05 | 0.00012516 | -1.9849e-13 | 1.9066e-13 | 0.020569 | 4.3222e-06 | 4.3222e-06 | -0.06168 | 1.0186e-13 | 1.1987e-13 | -89.8888 | -89.8888 | -89.8888 | 90.1693 | 90.1693 | 90.1693 | 1.4691 | 0.0015215 | 0.0015215 | 1.4688 | 0 | 0 | 0.22744 | -78.1824 | -78.1824 | 0.28558 | 0 | 0
Line_3 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0012125 | 0.0012125 | 0.014001 | 0.014001 | 0.014001 | 0.014001 | 0.014001 | 0.014001 | 4.1719e-05 | -2.086e-05 | -2.086e-05 | 4.1719e-05 | -2.086e-05 | -2.086e-05 | -0.020569 | -4.3222e-06 | -4.3222e-06 | -0.020569 | -4.3222e-06 | -4.3222e-06 | 90.1112 | 90.1112 | 90.1112 | 90.1112 | 90.1112 | 90.1112 | 1.4691 | 0.0015215 | 0.0015215 | 1.4691 | 0.0015215 | 0.0015215 | 0.22744 | -78.1824 | -78.1824 | 0.22744 | -78.1824 | -78.1824

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008661 | 0.94842 | 1.0471 | 0.0065233 | 0.94928 | 1.0459 | 0.10001 | 10.9514 | 12.0912 | 0.075325 | 10.9613 | 12.077 | -0.0054353 | 5.2821 | 6.7845 | 0.0056851 | -4.4919 | -5.4753 | -0.14061 | 4.6469 | 6.5165 | 0.10675 | -4.5472 | -5.4216 | 95.412 | -148.7222 | 42.8778 | -85.3656 | 31.3962 | -137.2181 | 1.407 | 0.6424 | 0.77802 | 1.4192 | 0.58312 | 0.63802 | 3.1983 | -107.3826 | 86.7235 | 1.586 | -103.2533 | 87.4998
Line_1 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0032617 | 0.0032617 | 0.0032617 | 0.012557 | 0.012557 | 0.012557 | 0.037662 | 0.037662 | 0.037662 | 0.00094645 | 0.0069872 | -0.0079337 | -0.0028426 | -0.0209 | 0.023843 | 0.0178 | -0.0022385 | 0.00099045 | -0.053375 | 0.0067456 | -0.0029845 | -85.4237 | -85.4237 | -85.4237 | 94.6344 | 94.6344 | 94.6344 | 1.4196 | 0.58431 | 0.63673 | 1.4192 | 0.58312 | 0.63802 | 1.5327 | -103.1874 | 87.4602 | 1.586 | -103.2533 | 87.4998
Line_2 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0032617 | 0.0032617 | 0.0032617 | 0.012557 | 0.012557 | 0.012557 | 0.037662 | 0.037662 | 0.037662 | 0.00094645 | 0.0069872 | -0.0079337 | -0.0028426 | -0.0209 | 0.023843 | 0.0178 | -0.0022385 | 0.00099045 | -0.053375 | 0.0067456 | -0.0029845 | -85.4237 | -85.4237 | -85.4237 | 94.6344 | 94.6344 | 94.6344 | 1.4196 | 0.58431 | 0.63673 | 1.4192 | 0.58312 | 0.63802 | 1.5327 | -103.1874 | 87.4602 | 1.586 | -103.2533 | 87.4998
Line_3 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0010874 | 0.012557 | 0.012557 | 0.012557 | 0.012557 | 0.012557 | 0.012557 | -0.00094645 | -0.0069872 | 0.0079337 | -0.00094645 | -0.0069872 | 0.0079337 | -0.0178 | 0.0022385 | -0.00099046 | -0.0178 | 0.0022385 | -0.00099046 | 94.5763 | 94.5763 | 94.5763 | 94.5763 | 94.5763 | 94.5763 | 1.4196 | 0.58431 | 0.63673 | 1.4196 | 0.58431 | 0.63673 | 1.5327 | -103.1874 | 87.4602 | 1.5327 | -103.1874 | 87.4602

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008661 | 0.94842 | 1.0471 | 0.0065233 | 0.94928 | 1.0459 | 0.10001 | 10.9514 | 12.0912 | 0.075325 | 10.9613 | 12.077 | -0.0054353 | 5.2821 | 6.7845 | 0.0056851 | -4.4919 | -5.4753 | -0.14061 | 4.6469 | 6.5165 | 0.10675 | -4.5472 | -5.4216 | 95.412 | -148.7222 | 42.8778 | -85.3656 | 31.3962 | -137.2181 | 1.407 | 0.6424 | 0.77802 | 1.4192 | 0.58312 | 0.63802 | 3.1983 | -107.3826 | 86.7235 | 1.586 | -103.2533 | 87.4998
Line_1 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0032617 | 0.0032617 | 0.0032617 | 0.012557 | 0.012557 | 0.012557 | 0.037662 | 0.037662 | 0.037662 | 0.00094645 | 0.0069872 | -0.0079337 | -0.0028426 | -0.0209 | 0.023843 | 0.0178 | -0.0022385 | 0.00099045 | -0.053375 | 0.0067456 | -0.0029845 | -85.4237 | -85.4237 | -85.4237 | 94.6344 | 94.6344 | 94.6344 | 1.4196 | 0.58431 | 0.63673 | 1.4192 | 0.58312 | 0.63802 | 1.5327 | -103.1874 | 87.4602 | 1.586 | -103.2533 | 87.4998
Line_2 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0032617 | 0.0032617 | 0.0032617 | 0.012557 | 0.012557 | 0.012557 | 0.037662 | 0.037662 | 0.037662 | 0.00094645 | 0.0069872 | -0.0079337 | -0.0028426 | -0.0209 | 0.023843 | 0.0178 | -0.0022385 | 0.00099045 | -0.053375 | 0.0067456 | -0.0029845 | -85.4237 | -85.4237 | -85.4237 | 94.6344 | 94.6344 | 94.6344 | 1.4196 | 0.58431 | 0.63673 | 1.4192 | 0.58312 | 0.63802 | 1.5327 | -103.1874 | 87.4602 | 1.586 | -103.2533 | 87.4998
Line_3 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0010874 | 0.0010874 | 0.012557 | 0.012557 | 0.012557 | 0.012557 | 0.012557 | 0.012557 | -0.00094645 | -0.0069872 | 0.0079337 | -0.00094645 | -0.0069872 | 0.0079337 | -0.0178 | 0.0022385 | -0.00099046 | -0.0178 | 0.0022385 | -0.00099046 | 94.5763 | 94.5763 | 94.5763 | 94.5763 | 94.5763 | 94.5763 | 1.4196 | 0.58431 | 0.63673 | 1.4196 | 0.58431 | 0.63673 | 1.5327 | -103.1874 | 87.4602 | 1.5327 | -103.1874 | 87.4602