## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.0843e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | -2.0843e-14 | 3.131 | 13.1032 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.7563e-13 | -161.8563 | 152.6723 | 8.8002e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.3027e-14 | 1.5632e-14 | -2.0843e-14 | 2.8659e-14 | -2.0843e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.7233e-13 | -180 | 180 | 8.8002e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.3027e-14 | 1.5632e-14 | -2.0843e-14 | 2.8659e-14 | -2.0843e-14 | 2.6053e-14 | -1.9211e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.6941e-13 | -180 | 180 | 8.8002e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5866e-28 | 1.0421e-14 | 5.2106e-15 | -1.0421e-14 | 1.3027e-14 | 1.0421e-14 | -1.0421e-14 | -1.8237e-14 | -5.2106e-15 | 1.0421e-14 | 7.816e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.7233e-13 | -180 | 180 | 8.6941e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.0843e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | -2.0843e-14 | 3.131 | 13.1032 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.7563e-13 | -161.8563 | 152.6723 | 8.8002e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.3027e-14 | 1.5632e-14 | -2.0843e-14 | 2.8659e-14 | -2.0843e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.7233e-13 | -180 | 180 | 8.8002e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.3027e-14 | 1.5632e-14 | -2.0843e-14 | 2.8659e-14 | -2.0843e-14 | 2.6053e-14 | -1.9211e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.6941e-13 | -180 | 180 | 8.8002e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5866e-28 | 1.0421e-14 | 5.2106e-15 | -1.0421e-14 | 1.3027e-14 | 1.0421e-14 | -1.0421e-14 | -1.8237e-14 | -5.2106e-15 | 1.0421e-14 | 7.816e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.7233e-13 | -180 | 180 | 8.6941e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | -2.6053e-15 | -17.4596 | 1.9173 | -2.3448e-14 | 3.9919 | 15.2185 | 2.8659e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.0765e-13 | -138.0936 | 121.2196 | 4.0556e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.7338e-10 | 1.0337e-09 | -1.5632e-14 | -4.7337e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8384e-10 | 5.2106e-15 | 1.3544e-09 | -3.8384e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0023e-13 | -142.8673 | 128.239 | 4.0556e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.7339e-10 | 1.0337e-09 | -1.5632e-14 | -4.7338e-10 | -1.0337e-09 | 5.2106e-15 | -1.3544e-09 | 3.8386e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.982e-13 | -142.8673 | 128.239 | 4.0556e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -8.9979e-15 | -5.9897e-15 | -5.2106e-15 | 4.8482e-15 | -5.8417e-15 | -7.816e-15 | -1.6786e-15 | -1.2731e-14 | 7.816e-15 | 1.394e-14 | 7.4131e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0023e-13 | -142.8673 | 128.239 | 3.982e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | -2.6053e-15 | -17.4596 | 1.9173 | -2.3448e-14 | 3.9919 | 15.2185 | 2.8659e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.0765e-13 | -138.0936 | 121.2196 | 4.0556e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.7338e-10 | 1.0337e-09 | -1.5632e-14 | -4.7337e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8384e-10 | 5.2106e-15 | 1.3544e-09 | -3.8384e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0023e-13 | -142.8673 | 128.239 | 4.0556e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.7339e-10 | 1.0337e-09 | -1.5632e-14 | -4.7338e-10 | -1.0337e-09 | 5.2106e-15 | -1.3544e-09 | 3.8386e-10 | -2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.982e-13 | -142.8673 | 128.239 | 4.0556e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -8.9979e-15 | -5.9897e-15 | -5.2106e-15 | 4.8482e-15 | -5.8417e-15 | -7.816e-15 | -1.6786e-15 | -1.2731e-14 | 7.816e-15 | 1.394e-14 | 7.4131e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0023e-13 | -142.8673 | 128.239 | 3.982e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.1842e-14 | 26.5997 | -7.1734 | -1.1842e-14 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.4453e-13 | -160.7833 | 141.207 | 9.6126e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -8.2896e-15 | 7.1055e-15 | 1.8948e-14 | 8.2897e-15 | -7.1054e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 3.1789e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4822e-13 | -180 | 180 | 9.6126e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.1843e-15 | 2.3686e-15 | 1.8948e-14 | 3.5527e-15 | -2.3685e-15 | -3.1075e-28 | -1.5877e-09 | 1.5877e-09 | 3.1789e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3967e-13 | -180 | 180 | 9.6126e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.737e-15 | 2.3685e-15 | 0 | 7.1054e-15 | 0 | 4.737e-15 | -2.3685e-15 | -1.342e-25 | 0 | 4.0177e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4822e-13 | -180 | 180 | 9.3967e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.1842e-14 | 26.5997 | -7.1734 | -1.1842e-14 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 9.4453e-13 | -160.7833 | 141.207 | 9.6126e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -8.2896e-15 | 7.1055e-15 | 1.8948e-14 | 8.2897e-15 | -7.1054e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 3.1789e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4822e-13 | -180 | 180 | 9.6126e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.1843e-15 | 2.3686e-15 | 1.8948e-14 | 3.5527e-15 | -2.3685e-15 | -3.1075e-28 | -1.5877e-09 | 1.5877e-09 | 3.1789e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3967e-13 | -180 | 180 | 9.6126e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.737e-15 | 2.3685e-15 | 0 | 7.1054e-15 | 0 | 4.737e-15 | -2.3685e-15 | -1.342e-25 | 0 | 4.0177e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.4822e-13 | -180 | 180 | 9.3967e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 6.5133e-15 | 15.3932 | 0.73601 | -5.9212e-15 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.6923e-13 | -138.1765 | 119.7467 | 4.7595e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2897e-15 | 4.798e-10 | 8.2616e-10 | 9.4739e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 7.8698e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.7023e-13 | -142.5584 | 131.6989 | 4.7595e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.7981e-10 | 8.2616e-10 | 8.2897e-15 | -4.7981e-10 | -8.2616e-10 | -5.8079e-29 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6833e-13 | -142.5584 | 131.6989 | 4.7595e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9438e-29 | -5.3462e-15 | 9.6051e-16 | 1.1842e-15 | 1.408e-15 | 4.3124e-15 | 2.3685e-15 | 2.6068e-15 | -1.0781e-15 | 9.6799e-30 | 1.0781e-15 | 3.842e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.7023e-13 | -142.5584 | 131.6989 | 4.6833e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 6.5133e-15 | 15.3932 | 0.73601 | -5.9212e-15 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.6923e-13 | -138.1765 | 119.7467 | 4.7595e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2897e-15 | 4.798e-10 | 8.2616e-10 | 9.4739e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 7.8698e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.7023e-13 | -142.5584 | 131.6989 | 4.7595e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.7981e-10 | 8.2616e-10 | 8.2897e-15 | -4.7981e-10 | -8.2616e-10 | -5.8079e-29 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.6833e-13 | -142.5584 | 131.6989 | 4.7595e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9438e-29 | -5.3462e-15 | 9.6051e-16 | 1.1842e-15 | 1.408e-15 | 4.3124e-15 | 2.3685e-15 | 2.6068e-15 | -1.0781e-15 | 9.6799e-30 | 1.0781e-15 | 3.842e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.7023e-13 | -142.5584 | 131.6989 | 4.6833e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.3874 | 1.1937 | 1.1937 | 2.3857 | 1.1953 | 1.1953 | 27.5669 | 13.7834 | 13.7834 | 27.5478 | 13.8025 | 13.8025 | 2.9525 | -1.0227 | 21.2491 | 1.5613e-10 | 1.7978 | -20.5311 | 3.3697 | 14.6925 | 0.77839 | -1.8266e-10 | -13.8712 | 0.020335 | -58.0053 | 121.9947 | 121.9947 | 122.0485 | -58.1129 | -58.1129 |  | 0.16252 | 1.0685 | 1.5427 | 0 | 1.0134 | 1.4875 | -9.23 | -144.0235 | 124.0925 | 0 | -140.7283 | 121.8304
Line_1 | 0.59914 | 0.59914 | 0.59914 | 0.59767 | 0.59767 | 0.59767 | 6.9182 | 6.9182 | 6.9182 | 6.9013 | 6.9013 | 6.9013 | 1.3244 | 2.246 | -8.9664 | 3.9243e-11 | -0.89888 | 10.2655 | 0.52854 | -6.4214 | 0.50842 | -4.5649e-11 | 6.9356 | -0.010168 | -58.2817 | -58.2817 | -58.2817 | 121.8871 | 121.8871 | 121.8871 |  | 0.20612 | 0.98332 | 1.2981 | 0 | 1.0134 | 1.4875 | -36.5257 | -129.0039 | 118.473 | 0 | -140.7283 | 121.8304
Line_2 | 0.59914 | 0.59914 | 0.59914 | 0.59767 | 0.59767 | 0.59767 | 6.9182 | 6.9182 | 6.9182 | 6.9013 | 6.9013 | 6.9013 | 1.3244 | 2.246 | -8.9664 | 3.9243e-11 | -0.89888 | 10.2655 | 0.52854 | -6.4214 | 0.50842 | -4.5649e-11 | 6.9356 | -0.010168 | -58.2817 | -58.2817 | -58.2817 | 121.8871 | 121.8871 | 121.8871 |  | 0.20612 | 0.98332 | 1.2981 | 0 | 1.0134 | 1.4875 | -36.5257 | -129.0039 | 118.473 | 0 | -140.7283 | 121.8304
Line_3 | 0.00090901 | 0.00090901 | 0.00090901 | 0.00090901 | 0.00090901 | 0.00090901 | 0.010496 | 0.010496 | 0.010496 | 0.010496 | 0.010496 | 0.010496 | 0.00085168 | 0.0093034 | -0.010155 | 0.00085168 | 0.0093034 | -0.010155 | 0.0019888 | -0.0044696 | -0.0090848 | 0.0019888 | -0.0044696 | -0.0090848 | -103.3431 | -103.3431 | -103.3431 | -103.3431 | -103.3431 | -103.3431 |  | 0.20612 | 0.98332 | 1.2981 | 0.20612 | 0.98332 | 1.2981 | -36.5257 | -129.0039 | 118.473 | -36.5257 | -129.0039 | 118.473

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.3874 | 1.1937 | 1.1937 | 2.3857 | 1.1953 | 1.1953 | 27.5669 | 13.7834 | 13.7834 | 27.5478 | 13.8025 | 13.8025 | 2.9525 | -1.0227 | 21.2491 | 1.5613e-10 | 1.7978 | -20.5311 | 3.3697 | 14.6925 | 0.77839 | -1.8266e-10 | -13.8712 | 0.020335 | -58.0053 | 121.9947 | 121.9947 | 122.0485 | -58.1129 | -58.1129 |  | 0.16252 | 1.0685 | 1.5427 | 0 | 1.0134 | 1.4875 | -9.23 | -144.0235 | 124.0925 | 0 | -140.7283 | 121.8304
Line_1 | 0.59914 | 0.59914 | 0.59914 | 0.59767 | 0.59767 | 0.59767 | 6.9182 | 6.9182 | 6.9182 | 6.9013 | 6.9013 | 6.9013 | 1.3244 | 2.246 | -8.9664 | 3.9243e-11 | -0.89888 | 10.2655 | 0.52854 | -6.4214 | 0.50842 | -4.5649e-11 | 6.9356 | -0.010168 | -58.2817 | -58.2817 | -58.2817 | 121.8871 | 121.8871 | 121.8871 |  | 0.20612 | 0.98332 | 1.2981 | 0 | 1.0134 | 1.4875 | -36.5257 | -129.0039 | 118.473 | 0 | -140.7283 | 121.8304
Line_2 | 0.59914 | 0.59914 | 0.59914 | 0.59767 | 0.59767 | 0.59767 | 6.9182 | 6.9182 | 6.9182 | 6.9013 | 6.9013 | 6.9013 | 1.3244 | 2.246 | -8.9664 | 3.9243e-11 | -0.89888 | 10.2655 | 0.52854 | -6.4214 | 0.50842 | -4.5649e-11 | 6.9356 | -0.010168 | -58.2817 | -58.2817 | -58.2817 | 121.8871 | 121.8871 | 121.8871 |  | 0.20612 | 0.98332 | 1.2981 | 0 | 1.0134 | 1.4875 | -36.5257 | -129.0039 | 118.473 | 0 | -140.7283 | 121.8304
Line_3 | 0.00090901 | 0.00090901 | 0.00090901 | 0.00090901 | 0.00090901 | 0.00090901 | 0.010496 | 0.010496 | 0.010496 | 0.010496 | 0.010496 | 0.010496 | 0.00085168 | 0.0093034 | -0.010155 | 0.00085168 | 0.0093034 | -0.010155 | 0.0019888 | -0.0044696 | -0.0090848 | 0.0019888 | -0.0044696 | -0.0090848 | -103.3431 | -103.3431 | -103.3431 | -103.3431 | -103.3431 | -103.3431 |  | 0.20612 | 0.98332 | 1.2981 | 0.20612 | 0.98332 | 1.2981 | -36.5257 | -129.0039 | 118.473 | -36.5257 | -129.0039 | 118.473

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80209 | 0.40104 | 0.40104 | 0.80153 | 0.4016 | 0.4016 | 9.2617 | 4.6308 | 4.6308 | 9.2553 | 4.6373 | 4.6373 | 5.1583 | -0.99849 | 5.6941 | -4.8263 | 1.0934 | -5.6193 | 5.2054 | 4.954 | -0.79519 | -4.8172 | -4.8642 | 0.88037 | -49.3361 | 130.6639 | 130.6639 | 130.7177 | -49.4437 | -49.4437 |  | 0.79125 | 1.0913 | 1.2415 | 0.73676 | 1.0751 | 1.2265 | -4.0758 | -127.9408 | 122.7139 | -4.3361 | -126.7752 | 121.6522
Line_1 | 0.20129 | 0.20129 | 0.20129 | 0.2008 | 0.2008 | 0.2008 | 2.3243 | 2.3243 | 2.3243 | 2.3186 | 2.3186 | 2.3186 | 1.3545 | 0.70471 | -2.6683 | -1.2057 | -0.54669 | 2.8096 | 1.2764 | -2.3768 | 0.49263 | -1.2102 | 2.4321 | -0.44018 | -49.6125 | -49.6125 | -49.6125 | 130.5563 | 130.5563 | 130.5563 |  | 0.80074 | 1.0666 | 1.1674 | 0.73676 | 1.0751 | 1.2265 | -6.314 | -123.0976 | 119.9274 | -4.3361 | -126.7752 | 121.6522
Line_2 | 0.20129 | 0.20129 | 0.20129 | 0.2008 | 0.2008 | 0.2008 | 2.3243 | 2.3243 | 2.3243 | 2.3186 | 2.3186 | 2.3186 | 1.3545 | 0.70471 | -2.6683 | -1.2057 | -0.54669 | 2.8096 | 1.2764 | -2.3768 | 0.49263 | -1.2102 | 2.4321 | -0.44018 | -49.6125 | -49.6125 | -49.6125 | 130.5563 | 130.5563 | 130.5563 |  | 0.80074 | 1.0666 | 1.1674 | 0.73676 | 1.0751 | 1.2265 | -6.314 | -123.0976 | 119.9274 | -4.3361 | -126.7752 | 121.6522
Line_3 | 0.0003054 | 0.0003054 | 0.0003054 | 0.0003054 | 0.0003054 | 0.0003054 | 0.0035265 | 0.0035265 | 0.0035265 | 0.0035265 | 0.0035265 | 0.0035265 | 8.0817e-05 | 0.0033078 | -0.0033887 | 8.0817e-05 | 0.0033078 | -0.0033887 | 0.0028226 | -0.0017903 | -0.0023378 | 0.0028226 | -0.0017903 | -0.0023378 | -94.6739 | -94.6739 | -94.6739 | -94.6739 | -94.6739 | -94.6739 |  | 0.80074 | 1.0666 | 1.1674 | 0.80074 | 1.0666 | 1.1674 | -6.314 | -123.0976 | 119.9274 | -6.314 | -123.0976 | 119.9274

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80209 | 0.40104 | 0.40104 | 0.80153 | 0.4016 | 0.4016 | 9.2617 | 4.6308 | 4.6308 | 9.2553 | 4.6373 | 4.6373 | 5.1583 | -0.99849 | 5.6941 | -4.8263 | 1.0934 | -5.6193 | 5.2054 | 4.954 | -0.79519 | -4.8172 | -4.8642 | 0.88037 | -49.3361 | 130.6639 | 130.6639 | 130.7177 | -49.4437 | -49.4437 |  | 0.79125 | 1.0913 | 1.2415 | 0.73676 | 1.0751 | 1.2265 | -4.0758 | -127.9408 | 122.7139 | -4.3361 | -126.7752 | 121.6522
Line_1 | 0.20129 | 0.20129 | 0.20129 | 0.2008 | 0.2008 | 0.2008 | 2.3243 | 2.3243 | 2.3243 | 2.3186 | 2.3186 | 2.3186 | 1.3545 | 0.70471 | -2.6683 | -1.2057 | -0.54669 | 2.8096 | 1.2764 | -2.3768 | 0.49263 | -1.2102 | 2.4321 | -0.44018 | -49.6125 | -49.6125 | -49.6125 | 130.5563 | 130.5563 | 130.5563 |  | 0.80074 | 1.0666 | 1.1674 | 0.73676 | 1.0751 | 1.2265 | -6.314 | -123.0976 | 119.9274 | -4.3361 | -126.7752 | 121.6522
Line_2 | 0.20129 | 0.20129 | 0.20129 | 0.2008 | 0.2008 | 0.2008 | 2.3243 | 2.3243 | 2.3243 | 2.3186 | 2.3186 | 2.3186 | 1.3545 | 0.70471 | -2.6683 | -1.2057 | -0.54669 | 2.8096 | 1.2764 | -2.3768 | 0.49263 | -1.2102 | 2.4321 | -0.44018 | -49.6125 | -49.6125 | -49.6125 | 130.5563 | 130.5563 | 130.5563 |  | 0.80074 | 1.0666 | 1.1674 | 0.73676 | 1.0751 | 1.2265 | -6.314 | -123.0976 | 119.9274 | -4.3361 | -126.7752 | 121.6522
Line_3 | 0.0003054 | 0.0003054 | 0.0003054 | 0.0003054 | 0.0003054 | 0.0003054 | 0.0035265 | 0.0035265 | 0.0035265 | 0.0035265 | 0.0035265 | 0.0035265 | 8.0817e-05 | 0.0033078 | -0.0033887 | 8.0817e-05 | 0.0033078 | -0.0033887 | 0.0028226 | -0.0017903 | -0.0023378 | 0.0028226 | -0.0017903 | -0.0023378 | -94.6739 | -94.6739 | -94.6739 | -94.6739 | -94.6739 | -94.6739 |  | 0.80074 | 1.0666 | 1.1674 | 0.80074 | 1.0666 | 1.1674 | -6.314 | -123.0976 | 119.9274 | -6.314 | -123.0976 | 119.9274

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8591 | 0.92956 | 0.92956 | 1.8578 | 0.93084 | 0.93084 | 21.4672 | 10.7336 | 10.7336 | 21.4525 | 10.7484 | 10.7484 | 3.439 | 1.8607 | 15.6671 | -7.3575e-11 | -0.96632 | -14.8243 | 2.0535 | 10.8913 | -1.5591 | -7.0932e-13 | -10.4055 | 2.026 | -47.9563 | 132.0437 | 132.0437 | 132.1186 | -48.1057 | -48.1057 |  | 0.18659 | 1.0294 | 1.4668 | 0 | 0.97227 | 1.392 | -17.1142 | -147.651 | 126.3606 | 0 | -143.4114 | 124.1121
Line_1 | 0.46656 | 0.46656 | 0.46656 | 0.46542 | 0.46542 | 0.46542 | 5.3874 | 5.3874 | 5.3874 | 5.3742 | 5.3742 | 5.3742 | 1.5423 | 1.0772 | -5.8917 | -1.8431e-11 | 0.48316 | 7.4121 | 0.32131 | -4.896 | 1.3095 | -2.4988e-13 | 5.2028 | -1.013 | -48.3163 | -48.3163 | -48.3163 | 131.8943 | 131.8943 | 131.8943 |  | 0.29243 | 0.93052 | 1.1203 | 0 | 0.97227 | 1.392 | -36.5484 | -125.9086 | 119.153 | 0 | -143.4114 | 124.1121
Line_2 | 0.46656 | 0.46656 | 0.46656 | 0.46542 | 0.46542 | 0.46542 | 5.3874 | 5.3874 | 5.3874 | 5.3742 | 5.3742 | 5.3742 | 1.5423 | 1.0772 | -5.8917 | -1.8431e-11 | 0.48316 | 7.4121 | 0.32131 | -4.896 | 1.3095 | -2.4988e-13 | 5.2028 | -1.013 | -48.3163 | -48.3163 | -48.3163 | 131.8943 | 131.8943 | 131.8943 |  | 0.29243 | 0.93052 | 1.1203 | 0 | 0.97227 | 1.392 | -36.5484 | -125.9086 | 119.153 | 0 | -143.4114 | 124.1121
Line_3 | 0.00070787 | 0.00070787 | 0.00070787 | 0.00070787 | 0.00070787 | 0.00070787 | 0.0081738 | 0.0081738 | 0.0081738 | 0.0081738 | 0.0081738 | 0.0081738 | 0.0013078 | 0.0064125 | -0.0077203 | 0.0013078 | 0.0064125 | -0.0077203 | 0.0020008 | -0.0040901 | -0.0049242 | 0.0020008 | -0.0040901 | -0.0049242 | -93.3778 | -93.3778 | -93.3778 | -93.3778 | -93.3778 | -93.3778 |  | 0.29243 | 0.93052 | 1.1203 | 0.29243 | 0.93052 | 1.1203 | -36.5484 | -125.9086 | 119.153 | -36.5484 | -125.9086 | 119.153

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8591 | 0.92956 | 0.92956 | 1.8578 | 0.93084 | 0.93084 | 21.4672 | 10.7336 | 10.7336 | 21.4525 | 10.7484 | 10.7484 | 3.439 | 1.8607 | 15.6671 | -7.3575e-11 | -0.96632 | -14.8243 | 2.0535 | 10.8913 | -1.5591 | -7.0932e-13 | -10.4055 | 2.026 | -47.9563 | 132.0437 | 132.0437 | 132.1186 | -48.1057 | -48.1057 |  | 0.18659 | 1.0294 | 1.4668 | 0 | 0.97227 | 1.392 | -17.1142 | -147.651 | 126.3606 | 0 | -143.4114 | 124.1121
Line_1 | 0.46656 | 0.46656 | 0.46656 | 0.46542 | 0.46542 | 0.46542 | 5.3874 | 5.3874 | 5.3874 | 5.3742 | 5.3742 | 5.3742 | 1.5423 | 1.0772 | -5.8917 | -1.8431e-11 | 0.48316 | 7.4121 | 0.32131 | -4.896 | 1.3095 | -2.4988e-13 | 5.2028 | -1.013 | -48.3163 | -48.3163 | -48.3163 | 131.8943 | 131.8943 | 131.8943 |  | 0.29243 | 0.93052 | 1.1203 | 0 | 0.97227 | 1.392 | -36.5484 | -125.9086 | 119.153 | 0 | -143.4114 | 124.1121
Line_2 | 0.46656 | 0.46656 | 0.46656 | 0.46542 | 0.46542 | 0.46542 | 5.3874 | 5.3874 | 5.3874 | 5.3742 | 5.3742 | 5.3742 | 1.5423 | 1.0772 | -5.8917 | -1.8431e-11 | 0.48316 | 7.4121 | 0.32131 | -4.896 | 1.3095 | -2.4988e-13 | 5.2028 | -1.013 | -48.3163 | -48.3163 | -48.3163 | 131.8943 | 131.8943 | 131.8943 |  | 0.29243 | 0.93052 | 1.1203 | 0 | 0.97227 | 1.392 | -36.5484 | -125.9086 | 119.153 | 0 | -143.4114 | 124.1121
Line_3 | 0.00070787 | 0.00070787 | 0.00070787 | 0.00070787 | 0.00070787 | 0.00070787 | 0.0081738 | 0.0081738 | 0.0081738 | 0.0081738 | 0.0081738 | 0.0081738 | 0.0013078 | 0.0064125 | -0.0077203 | 0.0013078 | 0.0064125 | -0.0077203 | 0.0020008 | -0.0040901 | -0.0049242 | 0.0020008 | -0.0040901 | -0.0049242 | -93.3778 | -93.3778 | -93.3778 | -93.3778 | -93.3778 | -93.3778 |  | 0.29243 | 0.93052 | 1.1203 | 0.29243 | 0.93052 | 1.1203 | -36.5484 | -125.9086 | 119.153 | -36.5484 | -125.9086 | 119.153

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68681 | 0.34341 | 0.34341 | 0.68634 | 0.34388 | 0.34388 | 7.9306 | 3.9653 | 3.9653 | 7.9252 | 3.9708 | 3.9708 | 4.0072 | -0.39353 | 4.5546 | -3.54 | 0.52279 | -4.4446 | 3.8181 | 3.9028 | -0.86026 | -3.5308 | -3.8382 | 0.91855 | -46.0917 | 133.9083 | 133.9083 | 133.9832 | -46.2412 | -46.2412 |  | 0.69792 | 0.98923 | 1.1689 | 0.63088 | 0.97553 | 1.143 | -2.476 | -130.3339 | 123.2125 | -1.0917 | -128.4847 | 122.0821
Line_1 | 0.17236 | 0.17236 | 0.17236 | 0.17194 | 0.17194 | 0.17194 | 1.9903 | 1.9903 | 1.9903 | 1.9854 | 1.9854 | 1.9854 | 1.0928 | 0.4796 | -2.019 | -0.88337 | -0.2614 | 2.2223 | 0.93728 | -1.879 | 0.49607 | -0.88799 | 1.9191 | -0.45928 | -46.4518 | -46.4518 | -46.4518 | 133.7588 | 133.7588 | 133.7588 |  | 0.72334 | 0.97435 | 1.0446 | 0.63088 | 0.97553 | 1.143 | -5.8316 | -122.1329 | 119.7438 | -1.0917 | -128.4847 | 122.0821
Line_2 | 0.17236 | 0.17236 | 0.17236 | 0.17194 | 0.17194 | 0.17194 | 1.9903 | 1.9903 | 1.9903 | 1.9854 | 1.9854 | 1.9854 | 1.0928 | 0.4796 | -2.019 | -0.88337 | -0.2614 | 2.2223 | 0.93728 | -1.879 | 0.49607 | -0.88799 | 1.9191 | -0.45928 | -46.4518 | -46.4518 | -46.4518 | 133.7588 | 133.7588 | 133.7588 |  | 0.72334 | 0.97435 | 1.0446 | 0.63088 | 0.97553 | 1.143 | -5.8316 | -122.1329 | 119.7438 | -1.0917 | -128.4847 | 122.0821
Line_3 | 0.00026151 | 0.00026151 | 0.00026151 | 0.00026151 | 0.00026151 | 0.00026151 | 0.0030197 | 0.0030197 | 0.0030197 | 0.0030197 | 0.0030197 | 0.0030197 | 0.00016447 | 0.002532 | -0.0026964 | 0.00016447 | 0.002532 | -0.0026964 | 0.002178 | -0.0014986 | -0.0016367 | 0.002178 | -0.0014986 | -0.0016367 | -91.5133 | -91.5133 | -91.5133 | -91.5133 | -91.5133 | -91.5133 |  | 0.72334 | 0.97435 | 1.0446 | 0.72334 | 0.97435 | 1.0446 | -5.8316 | -122.1329 | 119.7438 | -5.8316 | -122.1329 | 119.7438

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68681 | 0.34341 | 0.34341 | 0.68634 | 0.34388 | 0.34388 | 7.9306 | 3.9653 | 3.9653 | 7.9252 | 3.9708 | 3.9708 | 4.0072 | -0.39353 | 4.5546 | -3.54 | 0.52279 | -4.4446 | 3.8181 | 3.9028 | -0.86026 | -3.5308 | -3.8382 | 0.91855 | -46.0917 | 133.9083 | 133.9083 | 133.9832 | -46.2412 | -46.2412 |  | 0.69792 | 0.98923 | 1.1689 | 0.63088 | 0.97553 | 1.143 | -2.476 | -130.3339 | 123.2125 | -1.0917 | -128.4847 | 122.0821
Line_1 | 0.17236 | 0.17236 | 0.17236 | 0.17194 | 0.17194 | 0.17194 | 1.9903 | 1.9903 | 1.9903 | 1.9854 | 1.9854 | 1.9854 | 1.0928 | 0.4796 | -2.019 | -0.88337 | -0.2614 | 2.2223 | 0.93728 | -1.879 | 0.49607 | -0.88799 | 1.9191 | -0.45928 | -46.4518 | -46.4518 | -46.4518 | 133.7588 | 133.7588 | 133.7588 |  | 0.72334 | 0.97435 | 1.0446 | 0.63088 | 0.97553 | 1.143 | -5.8316 | -122.1329 | 119.7438 | -1.0917 | -128.4847 | 122.0821
Line_2 | 0.17236 | 0.17236 | 0.17236 | 0.17194 | 0.17194 | 0.17194 | 1.9903 | 1.9903 | 1.9903 | 1.9854 | 1.9854 | 1.9854 | 1.0928 | 0.4796 | -2.019 | -0.88337 | -0.2614 | 2.2223 | 0.93728 | -1.879 | 0.49607 | -0.88799 | 1.9191 | -0.45928 | -46.4518 | -46.4518 | -46.4518 | 133.7588 | 133.7588 | 133.7588 |  | 0.72334 | 0.97435 | 1.0446 | 0.63088 | 0.97553 | 1.143 | -5.8316 | -122.1329 | 119.7438 | -1.0917 | -128.4847 | 122.0821
Line_3 | 0.00026151 | 0.00026151 | 0.00026151 | 0.00026151 | 0.00026151 | 0.00026151 | 0.0030197 | 0.0030197 | 0.0030197 | 0.0030197 | 0.0030197 | 0.0030197 | 0.00016447 | 0.002532 | -0.0026964 | 0.00016447 | 0.002532 | -0.0026964 | 0.002178 | -0.0014986 | -0.0016367 | 0.002178 | -0.0014986 | -0.0016367 | -91.5133 | -91.5133 | -91.5133 | -91.5133 | -91.5133 | -91.5133 |  | 0.72334 | 0.97435 | 1.0446 | 0.72334 | 0.97435 | 1.0446 | -5.8316 | -122.1329 | 119.7438 | -5.8316 | -122.1329 | 119.7438

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95822 | 3.9897 | 3.4723 | 0.95954 | 3.9903 | 3.4713 | 11.0645 | 46.0693 | 40.0947 | 11.0798 | 46.076 | 40.0828 | 12.5527 | 8.2752 | 6.268 | -12.0716 | 1.5048e-10 | 1.7463e-10 | 9.4299 | 9.4092 | 7.0982 | -8.9254 | -1.3531e-10 | 1.5872e-11 | -44.8805 | -173.5666 | 18.8729 | 135.012 | 6.4644 | -161.1599 |  | 1.419 | 0.27199 | 0.23618 | 1.355 | 0 | 0 | -7.9658 | -124.8978 | 67.4269 | -8.5099 | 0 | 0
Line_1 | 0.48095 | 0.48095 | 0.48095 | 0.47977 | 0.47977 | 0.47977 | 5.5536 | 5.5536 | 5.5536 | 5.5399 | 5.5399 | 5.5399 | -5.184 | 0.85343 | 0.85343 | 6.0358 | 2.3999e-11 | -8.6768e-12 | -4.1509 | 0.34059 | 0.34059 | 4.4627 | 4.0114e-12 | -2.2629e-11 | 134.8432 | 134.8432 | 134.8432 | -44.988 | -44.988 | -44.988 |  | 1.1958 | 0.16546 | 0.16546 | 1.355 | 0 | 0 | -6.4723 | 156.5992 | 156.5992 | -8.5099 | 0 | 0
Line_2 | 0.48095 | 0.48095 | 0.48095 | 0.47977 | 0.47977 | 0.47977 | 5.5536 | 5.5536 | 5.5536 | 5.5399 | 5.5399 | 5.5399 | -5.184 | 0.85343 | 0.85343 | 6.0358 | 2.3999e-11 | -8.6768e-12 | -4.1509 | 0.34059 | 0.34059 | 4.4627 | 4.0114e-12 | -2.2629e-11 | 134.8432 | 134.8432 | 134.8432 | -44.988 | -44.988 | -44.988 |  | 1.1958 | 0.16546 | 0.16546 | 1.355 | 0 | 0 | -6.4723 | 156.5992 | 156.5992 | -8.5099 | 0 | 0
Line_3 | 0.0007297 | 0.0007297 | 0.0007297 | 0.0007297 | 0.0007297 | 0.0007297 | 0.0084259 | 0.0084259 | 0.0084259 | 0.0084259 | 0.0084259 | 0.0084259 | -0.0010976 | 0.00054881 | 0.00054881 | -0.0010976 | 0.00054881 | 0.00054881 | -0.010016 | 0.0012816 | 0.0012816 | -0.010016 | 0.0012816 | 0.0012816 | 89.7817 | 89.7817 | 89.7817 | 89.7817 | 89.7817 | 89.7817 |  | 1.1958 | 0.16546 | 0.16546 | 1.1958 | 0.16546 | 0.16546 | -6.4723 | 156.5992 | 156.5992 | -6.4723 | 156.5992 | 156.5992

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95822 | 3.9897 | 3.4723 | 0.95954 | 3.9903 | 3.4713 | 11.0645 | 46.0693 | 40.0947 | 11.0798 | 46.076 | 40.0828 | 12.5527 | 8.2752 | 6.268 | -12.0716 | 1.5048e-10 | 1.7463e-10 | 9.4299 | 9.4092 | 7.0982 | -8.9254 | -1.3531e-10 | 1.5872e-11 | -44.8805 | -173.5666 | 18.8729 | 135.012 | 6.4644 | -161.1599 |  | 1.419 | 0.27199 | 0.23618 | 1.355 | 0 | 0 | -7.9658 | -124.8978 | 67.4269 | -8.5099 | 0 | 0
Line_1 | 0.48095 | 0.48095 | 0.48095 | 0.47977 | 0.47977 | 0.47977 | 5.5536 | 5.5536 | 5.5536 | 5.5399 | 5.5399 | 5.5399 | -5.184 | 0.85343 | 0.85343 | 6.0358 | 2.3999e-11 | -8.6768e-12 | -4.1509 | 0.34059 | 0.34059 | 4.4627 | 4.0114e-12 | -2.2629e-11 | 134.8432 | 134.8432 | 134.8432 | -44.988 | -44.988 | -44.988 |  | 1.1958 | 0.16546 | 0.16546 | 1.355 | 0 | 0 | -6.4723 | 156.5992 | 156.5992 | -8.5099 | 0 | 0
Line_2 | 0.48095 | 0.48095 | 0.48095 | 0.47977 | 0.47977 | 0.47977 | 5.5536 | 5.5536 | 5.5536 | 5.5399 | 5.5399 | 5.5399 | -5.184 | 0.85343 | 0.85343 | 6.0358 | 2.3999e-11 | -8.6768e-12 | -4.1509 | 0.34059 | 0.34059 | 4.4627 | 4.0114e-12 | -2.2629e-11 | 134.8432 | 134.8432 | 134.8432 | -44.988 | -44.988 | -44.988 |  | 1.1958 | 0.16546 | 0.16546 | 1.355 | 0 | 0 | -6.4723 | 156.5992 | 156.5992 | -8.5099 | 0 | 0
Line_3 | 0.0007297 | 0.0007297 | 0.0007297 | 0.0007297 | 0.0007297 | 0.0007297 | 0.0084259 | 0.0084259 | 0.0084259 | 0.0084259 | 0.0084259 | 0.0084259 | -0.0010976 | 0.00054881 | 0.00054881 | -0.0010976 | 0.00054881 | 0.00054881 | -0.010016 | 0.0012816 | 0.0012816 | -0.010016 | 0.0012816 | 0.0012816 | 89.7817 | 89.7817 | 89.7817 | 89.7817 | 89.7817 | 89.7817 |  | 1.1958 | 0.16546 | 0.16546 | 1.1958 | 0.16546 | 0.16546 | -6.4723 | 156.5992 | 156.5992 | -6.4723 | 156.5992 | 156.5992

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3685 | 1.179 | 1.1184 | 0.36901 | 1.1795 | 1.1177 | 4.2551 | 13.6134 | 12.9145 | 4.261 | 13.6191 | 12.9065 | 3.8933 | 10.4207 | 4.835 | -3.8212 | -9.7049 | -4.1792 | 3.4315 | 6.3981 | 9.0433 | -3.3635 | -5.5727 | -8.3037 | -44.954 | -153.3945 | 44.8191 | 134.9384 | 26.6396 | -135.2071 |  | 1.2197 | 0.89824 | 0.79405 | 1.1947 | 0.82171 | 0.72026 | -3.5619 | -121.8454 | 106.6879 | -3.7063 | -123.4954 | 108.0773
Line_1 | 0.18496 | 0.18496 | 0.18496 | 0.1845 | 0.1845 | 0.1845 | 2.1357 | 2.1357 | 2.1357 | 2.1305 | 2.1305 | 2.1305 | -1.7841 | -0.23072 | 1.5006 | 1.9106 | 0.351 | -1.3689 | -1.6412 | 1.7686 | -0.64062 | 1.6818 | -1.7151 | 0.69333 | 134.7696 | 134.7696 | 134.7696 | -45.0616 | -45.0616 | -45.0616 |  | 1.135 | 0.83514 | 0.76395 | 1.1947 | 0.82171 | 0.72026 | -2.6199 | -127.7982 | 111.6509 | -3.7063 | -123.4954 | 108.0773
Line_2 | 0.18496 | 0.18496 | 0.18496 | 0.1845 | 0.1845 | 0.1845 | 2.1357 | 2.1357 | 2.1357 | 2.1305 | 2.1305 | 2.1305 | -1.7841 | -0.23072 | 1.5006 | 1.9106 | 0.351 | -1.3689 | -1.6412 | 1.7686 | -0.64062 | 1.6818 | -1.7151 | 0.69333 | 134.7696 | 134.7696 | 134.7696 | -45.0616 | -45.0616 | -45.0616 |  | 1.135 | 0.83514 | 0.76395 | 1.1947 | 0.82171 | 0.72026 | -2.6199 | -127.7982 | 111.6509 | -3.7063 | -123.4954 | 108.0773
Line_3 | 0.00028062 | 0.00028062 | 0.00028062 | 0.00028062 | 0.00028062 | 0.00028062 | 0.0032403 | 0.0032403 | 0.0032403 | 0.0032403 | 0.0032403 | 0.0032403 | -0.0001494 | -0.0021467 | 0.0022961 | -0.0001494 | -0.0021467 | 0.0022961 | -0.0036749 | 0.0016476 | 0.00092502 | -0.0036749 | 0.0016476 | 0.00092502 | 89.7082 | 89.7082 | 89.7082 | 89.7082 | 89.7082 | 89.7082 |  | 1.135 | 0.83514 | 0.76395 | 1.135 | 0.83514 | 0.76395 | -2.6199 | -127.7982 | 111.6509 | -2.6199 | -127.7982 | 111.6509

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3685 | 1.179 | 1.1184 | 0.36901 | 1.1795 | 1.1177 | 4.2551 | 13.6134 | 12.9145 | 4.261 | 13.6191 | 12.9065 | 3.8933 | 10.4207 | 4.835 | -3.8212 | -9.7049 | -4.1792 | 3.4315 | 6.3981 | 9.0433 | -3.3635 | -5.5727 | -8.3037 | -44.954 | -153.3945 | 44.8191 | 134.9384 | 26.6396 | -135.2071 |  | 1.2197 | 0.89824 | 0.79405 | 1.1947 | 0.82171 | 0.72026 | -3.5619 | -121.8454 | 106.6879 | -3.7063 | -123.4954 | 108.0773
Line_1 | 0.18496 | 0.18496 | 0.18496 | 0.1845 | 0.1845 | 0.1845 | 2.1357 | 2.1357 | 2.1357 | 2.1305 | 2.1305 | 2.1305 | -1.7841 | -0.23072 | 1.5006 | 1.9106 | 0.351 | -1.3689 | -1.6412 | 1.7686 | -0.64062 | 1.6818 | -1.7151 | 0.69333 | 134.7696 | 134.7696 | 134.7696 | -45.0616 | -45.0616 | -45.0616 |  | 1.135 | 0.83514 | 0.76395 | 1.1947 | 0.82171 | 0.72026 | -2.6199 | -127.7982 | 111.6509 | -3.7063 | -123.4954 | 108.0773
Line_2 | 0.18496 | 0.18496 | 0.18496 | 0.1845 | 0.1845 | 0.1845 | 2.1357 | 2.1357 | 2.1357 | 2.1305 | 2.1305 | 2.1305 | -1.7841 | -0.23072 | 1.5006 | 1.9106 | 0.351 | -1.3689 | -1.6412 | 1.7686 | -0.64062 | 1.6818 | -1.7151 | 0.69333 | 134.7696 | 134.7696 | 134.7696 | -45.0616 | -45.0616 | -45.0616 |  | 1.135 | 0.83514 | 0.76395 | 1.1947 | 0.82171 | 0.72026 | -2.6199 | -127.7982 | 111.6509 | -3.7063 | -123.4954 | 108.0773
Line_3 | 0.00028062 | 0.00028062 | 0.00028062 | 0.00028062 | 0.00028062 | 0.00028062 | 0.0032403 | 0.0032403 | 0.0032403 | 0.0032403 | 0.0032403 | 0.0032403 | -0.0001494 | -0.0021467 | 0.0022961 | -0.0001494 | -0.0021467 | 0.0022961 | -0.0036749 | 0.0016476 | 0.00092502 | -0.0036749 | 0.0016476 | 0.00092502 | 89.7082 | 89.7082 | 89.7082 | 89.7082 | 89.7082 | 89.7082 |  | 1.135 | 0.83514 | 0.76395 | 1.135 | 0.83514 | 0.76395 | -2.6199 | -127.7982 | 111.6509 | -2.6199 | -127.7982 | 111.6509

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70833 | 3.3317 | 2.934 | 0.70931 | 3.3325 | 2.9328 | 8.1791 | 38.4707 | 33.8788 | 8.1904 | 38.4801 | 33.8654 | 9.6733 | 11.0871 | 8.5862 | -9.1689 | -1.7079e-10 | -7.7885e-14 | 5.1269 | 6.5737 | 5.0583 | -4.8657 | -1.4809e-10 | -1.9993e-10 | -35.3465 | -164.7088 | 26.0489 | 144.504 | 15.3243 | -153.9851 |  | 1.3385 | 0.33505 | 0.29415 | 1.2673 | 0 | 0 | -7.4225 | -134.0443 | 56.552 | -7.5425 | 0 | 0
Line_1 | 0.35553 | 0.35553 | 0.35553 | 0.35465 | 0.35465 | 0.35465 | 4.1053 | 4.1053 | 4.1053 | 4.0952 | 4.0952 | 4.0952 | -3.6912 | 0.89556 | 0.89556 | 4.5845 | 7.3372e-13 | -2.1245e-11 | -2.2691 | 0.18657 | 0.18657 | 2.4328 | -2.4046e-11 | 1.1541e-11 | 144.2934 | 144.2934 | 144.2934 | -35.496 | -35.496 | -35.496 |  | 1.0554 | 0.22283 | 0.22283 | 1.2673 | 0 | 0 | -4.1259 | 156.0613 | 156.0613 | -7.5425 | 0 | 0
Line_2 | 0.35553 | 0.35553 | 0.35553 | 0.35465 | 0.35465 | 0.35465 | 4.1053 | 4.1053 | 4.1053 | 4.0952 | 4.0952 | 4.0952 | -3.6912 | 0.89556 | 0.89556 | 4.5845 | 7.3372e-13 | -2.1245e-11 | -2.2691 | 0.18657 | 0.18657 | 2.4328 | -2.4046e-11 | 1.1541e-11 | 144.2934 | 144.2934 | 144.2934 | -35.496 | -35.496 | -35.496 |  | 1.0554 | 0.22283 | 0.22283 | 1.2673 | 0 | 0 | -4.1259 | 156.0613 | 156.0613 | -7.5425 | 0 | 0
Line_3 | 0.00053941 | 0.00053941 | 0.00053941 | 0.00053941 | 0.00053941 | 0.00053941 | 0.0062285 | 0.0062285 | 0.0062285 | 0.0062285 | 0.0062285 | 0.0062285 | -0.0015188 | 0.00075938 | 0.00075938 | -0.0015188 | 0.00075938 | 0.00075938 | -0.006396 | 0.0011618 | 0.0011618 | -0.006396 | 0.0011618 | 0.0011618 | 99.2319 | 99.2319 | 99.2319 | 99.2319 | 99.2319 | 99.2319 |  | 1.0554 | 0.22283 | 0.22283 | 1.0554 | 0.22283 | 0.22283 | -4.1259 | 156.0613 | 156.0613 | -4.1259 | 156.0613 | 156.0613

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70833 | 3.3317 | 2.934 | 0.70931 | 3.3325 | 2.9328 | 8.1791 | 38.4707 | 33.8788 | 8.1904 | 38.4801 | 33.8654 | 9.6733 | 11.0871 | 8.5862 | -9.1689 | -1.7079e-10 | -7.7885e-14 | 5.1269 | 6.5737 | 5.0583 | -4.8657 | -1.4809e-10 | -1.9993e-10 | -35.3465 | -164.7088 | 26.0489 | 144.504 | 15.3243 | -153.9851 |  | 1.3385 | 0.33505 | 0.29415 | 1.2673 | 0 | 0 | -7.4225 | -134.0443 | 56.552 | -7.5425 | 0 | 0
Line_1 | 0.35553 | 0.35553 | 0.35553 | 0.35465 | 0.35465 | 0.35465 | 4.1053 | 4.1053 | 4.1053 | 4.0952 | 4.0952 | 4.0952 | -3.6912 | 0.89556 | 0.89556 | 4.5845 | 7.3372e-13 | -2.1245e-11 | -2.2691 | 0.18657 | 0.18657 | 2.4328 | -2.4046e-11 | 1.1541e-11 | 144.2934 | 144.2934 | 144.2934 | -35.496 | -35.496 | -35.496 |  | 1.0554 | 0.22283 | 0.22283 | 1.2673 | 0 | 0 | -4.1259 | 156.0613 | 156.0613 | -7.5425 | 0 | 0
Line_2 | 0.35553 | 0.35553 | 0.35553 | 0.35465 | 0.35465 | 0.35465 | 4.1053 | 4.1053 | 4.1053 | 4.0952 | 4.0952 | 4.0952 | -3.6912 | 0.89556 | 0.89556 | 4.5845 | 7.3372e-13 | -2.1245e-11 | -2.2691 | 0.18657 | 0.18657 | 2.4328 | -2.4046e-11 | 1.1541e-11 | 144.2934 | 144.2934 | 144.2934 | -35.496 | -35.496 | -35.496 |  | 1.0554 | 0.22283 | 0.22283 | 1.2673 | 0 | 0 | -4.1259 | 156.0613 | 156.0613 | -7.5425 | 0 | 0
Line_3 | 0.00053941 | 0.00053941 | 0.00053941 | 0.00053941 | 0.00053941 | 0.00053941 | 0.0062285 | 0.0062285 | 0.0062285 | 0.0062285 | 0.0062285 | 0.0062285 | -0.0015188 | 0.00075938 | 0.00075938 | -0.0015188 | 0.00075938 | 0.00075938 | -0.006396 | 0.0011618 | 0.0011618 | -0.006396 | 0.0011618 | 0.0011618 | 99.2319 | 99.2319 | 99.2319 | 99.2319 | 99.2319 | 99.2319 |  | 1.0554 | 0.22283 | 0.22283 | 1.0554 | 0.22283 | 0.22283 | -4.1259 | 156.0613 | 156.0613 | -4.1259 | 156.0613 | 156.0613

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30887 | 1.0354 | 0.97284 | 0.3093 | 1.036 | 0.97206 | 3.5666 | 11.9561 | 11.2334 | 3.5715 | 11.9631 | 11.2243 | 3.2704 | 8.4859 | 4.0984 | -3.1727 | -7.4211 | -3.1504 | 2.4059 | 5.0483 | 6.7131 | -2.362 | -4.4105 | -6.1534 | -40.8067 | -151.0287 | 46.3044 | 139.0438 | 29.0087 | -133.723 |  | 1.1384 | 0.82586 | 0.70017 | 1.1075 | 0.72161 | 0.61589 | -4.466 | -120.2804 | 104.9002 | -4.2902 | -120.2672 | 109.166
Line_1 | 0.15503 | 0.15503 | 0.15503 | 0.15465 | 0.15465 | 0.15465 | 1.7901 | 1.7901 | 1.7901 | 1.7857 | 1.7857 | 1.7857 | -1.4156 | -0.073972 | 1.1283 | 1.5864 | 0.23901 | -0.95365 | -1.1542 | 1.304 | -0.51024 | 1.181 | -1.2663 | 0.54788 | 138.8332 | 138.8332 | 138.8332 | -40.9562 | -40.9562 | -40.9562 |  | 1.0203 | 0.72959 | 0.69174 | 1.1075 | 0.72161 | 0.61589 | -1.9742 | -127.9199 | 114.4999 | -4.2902 | -120.2672 | 109.166
Line_2 | 0.15503 | 0.15503 | 0.15503 | 0.15465 | 0.15465 | 0.15465 | 1.7901 | 1.7901 | 1.7901 | 1.7857 | 1.7857 | 1.7857 | -1.4156 | -0.073972 | 1.1283 | 1.5864 | 0.23901 | -0.95365 | -1.1542 | 1.304 | -0.51024 | 1.181 | -1.2663 | 0.54788 | 138.8332 | 138.8332 | 138.8332 | -40.9562 | -40.9562 | -40.9562 |  | 1.0203 | 0.72959 | 0.69174 | 1.1075 | 0.72161 | 0.61589 | -1.9742 | -127.9199 | 114.4999 | -4.2902 | -120.2672 | 109.166
Line_3 | 0.00023521 | 0.00023521 | 0.00023521 | 0.00023521 | 0.00023521 | 0.00023521 | 0.002716 | 0.002716 | 0.002716 | 0.002716 | 0.002716 | 0.002716 | -0.00027745 | -0.0014797 | 0.0017571 | -0.00027745 | -0.0014797 | 0.0017571 | -0.0027573 | 0.001318 | 0.00066495 | -0.0027573 | 0.001318 | 0.00066495 | 93.7718 | 93.7718 | 93.7718 | 93.7718 | 93.7718 | 93.7718 |  | 1.0203 | 0.72959 | 0.69174 | 1.0203 | 0.72959 | 0.69174 | -1.9742 | -127.9199 | 114.4999 | -1.9742 | -127.9199 | 114.4999

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30887 | 1.0354 | 0.97284 | 0.3093 | 1.036 | 0.97206 | 3.5666 | 11.9561 | 11.2334 | 3.5715 | 11.9631 | 11.2243 | 3.2704 | 8.4859 | 4.0984 | -3.1727 | -7.4211 | -3.1504 | 2.4059 | 5.0483 | 6.7131 | -2.362 | -4.4105 | -6.1534 | -40.8067 | -151.0287 | 46.3044 | 139.0438 | 29.0087 | -133.723 |  | 1.1384 | 0.82586 | 0.70017 | 1.1075 | 0.72161 | 0.61589 | -4.466 | -120.2804 | 104.9002 | -4.2902 | -120.2672 | 109.166
Line_1 | 0.15503 | 0.15503 | 0.15503 | 0.15465 | 0.15465 | 0.15465 | 1.7901 | 1.7901 | 1.7901 | 1.7857 | 1.7857 | 1.7857 | -1.4156 | -0.073972 | 1.1283 | 1.5864 | 0.23901 | -0.95365 | -1.1542 | 1.304 | -0.51024 | 1.181 | -1.2663 | 0.54788 | 138.8332 | 138.8332 | 138.8332 | -40.9562 | -40.9562 | -40.9562 |  | 1.0203 | 0.72959 | 0.69174 | 1.1075 | 0.72161 | 0.61589 | -1.9742 | -127.9199 | 114.4999 | -4.2902 | -120.2672 | 109.166
Line_2 | 0.15503 | 0.15503 | 0.15503 | 0.15465 | 0.15465 | 0.15465 | 1.7901 | 1.7901 | 1.7901 | 1.7857 | 1.7857 | 1.7857 | -1.4156 | -0.073972 | 1.1283 | 1.5864 | 0.23901 | -0.95365 | -1.1542 | 1.304 | -0.51024 | 1.181 | -1.2663 | 0.54788 | 138.8332 | 138.8332 | 138.8332 | -40.9562 | -40.9562 | -40.9562 |  | 1.0203 | 0.72959 | 0.69174 | 1.1075 | 0.72161 | 0.61589 | -1.9742 | -127.9199 | 114.4999 | -4.2902 | -120.2672 | 109.166
Line_3 | 0.00023521 | 0.00023521 | 0.00023521 | 0.00023521 | 0.00023521 | 0.00023521 | 0.002716 | 0.002716 | 0.002716 | 0.002716 | 0.002716 | 0.002716 | -0.00027745 | -0.0014797 | 0.0017571 | -0.00027745 | -0.0014797 | 0.0017571 | -0.0027573 | 0.001318 | 0.00066495 | -0.0027573 | 0.001318 | 0.00066495 | 93.7718 | 93.7718 | 93.7718 | 93.7718 | 93.7718 | 93.7718 |  | 1.0203 | 0.72959 | 0.69174 | 1.0203 | 0.72959 | 0.69174 | -1.9742 | -127.9199 | 114.4999 | -1.9742 | -127.9199 | 114.4999