## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9091 | 0.92321 | 0.75423 | 1.9067 | 0.9255 | 0.75653 | 22.0445 | 10.6603 | 8.7091 | 22.0167 | 10.6868 | 8.7357 | 5.6872 | -12.1957 | 10.6006 | -3.2263 | 12.4646 | -10.5877 | 5.0387 | 7.7121 | 2.4554 | -2.5181 | -7.4936 | -2.2166 | -75.3271 | 85.7416 | 120.2005 | 104.6746 | -94.2133 | -59.8525 |  | 0.34468 | 1.3536 | 1.2494 | 0.18589 | 1.3609 | 1.2383 | -33.7871 | -126.566 | 133.2419 | -37.3541 | -125.2271 | 131.972
Line_1 | 1.6451 | 0.4883 | 0.38433 | 1.6476 | 0.48577 | 0.38186 | 18.9955 | 5.6383 | 4.4378 | 19.0253 | 5.6092 | 4.4093 | 8.2857e-11 | 6.5629 | -5.5361 | 2.7852 | -6.7252 | 5.2414 | -6.1112e-11 | -3.8081 | -1.5349 | 2.1795 | 3.6117 | 1.5293 | 104.6136 | -96.9141 | -64.4156 | -75.3979 | 83.0104 | 115.7066 |  | 0 | 1.3457 | 1.2945 | 0.18589 | 1.3609 | 1.2383 | 0 | -127.0385 | 131.0808 | -37.3541 | -125.2271 | 131.972
Line_2 | 0.25666 | 0.44324 | 0.37925 | 0.25907 | 0.44093 | 0.37698 | 2.9637 | 5.1181 | 4.3792 | 2.9915 | 5.0914 | 4.353 | -0.54458 | 6.0819 | -5.085 | 0.44111 | -5.7394 | 5.3463 | -0.3363 | -3.6608 | -0.63232 | 0.3386 | 3.8819 | 0.68734 | 105.1381 | -91.0682 | -55.477 | -74.864 | 88.8456 | 124.6459 |  | 0.21597 | 1.387 | 1.1701 | 0.18589 | 1.3609 | 1.2383 | -43.1647 | -122.1126 | 131.6114 | -37.3541 | -125.2271 | 131.972
Line_3 | 1.3872 | 0.065863 | 0.060065 | 1.3898 | 0.064629 | 0.059011 | 16.0185 | 0.76052 | 0.69357 | 16.0476 | 0.74627 | 0.6814 | 6.9961e-11 | 0.999 | 0.079685 | 2.9285 | -0.97617 | -0.1087 | -5.1412e-11 | 0.22241 | -0.89431 | 1.8535 | -0.34409 | 0.78986 | 104.5134 | -139.5895 | -144.011 | -75.4943 | 38.4706 | 33.7754 |  | 0 | 1.3457 | 1.2945 | 0.21597 | 1.387 | 1.1701 | 0 | -127.0385 | 131.0808 | -43.1647 | -122.1126 | 131.6114

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9091 | 0.92321 | 0.75423 | 1.9067 | 0.9255 | 0.75653 | 22.0445 | 10.6603 | 8.7091 | 22.0167 | 10.6868 | 8.7357 | 5.6872 | -12.1957 | 10.6006 | -3.2263 | 12.4646 | -10.5877 | 5.0387 | 7.7121 | 2.4554 | -2.5181 | -7.4936 | -2.2166 | -75.3271 | 85.7416 | 120.2005 | 104.6746 | -94.2133 | -59.8525 |  | 0.34468 | 1.3536 | 1.2494 | 0.18589 | 1.3609 | 1.2383 | -33.7871 | -126.566 | 133.2419 | -37.3541 | -125.2271 | 131.972
Line_1 | 1.6451 | 0.4883 | 0.38433 | 1.6476 | 0.48577 | 0.38186 | 18.9955 | 5.6383 | 4.4378 | 19.0253 | 5.6092 | 4.4093 | 8.2857e-11 | 6.5629 | -5.5361 | 2.7852 | -6.7252 | 5.2414 | -6.1112e-11 | -3.8081 | -1.5349 | 2.1795 | 3.6117 | 1.5293 | 104.6136 | -96.9141 | -64.4156 | -75.3979 | 83.0104 | 115.7066 |  | 0 | 1.3457 | 1.2945 | 0.18589 | 1.3609 | 1.2383 | 0 | -127.0385 | 131.0808 | -37.3541 | -125.2271 | 131.972
Line_2 | 0.25666 | 0.44324 | 0.37925 | 0.25907 | 0.44093 | 0.37698 | 2.9637 | 5.1181 | 4.3792 | 2.9915 | 5.0914 | 4.353 | -0.54458 | 6.0819 | -5.085 | 0.44111 | -5.7394 | 5.3463 | -0.3363 | -3.6608 | -0.63232 | 0.3386 | 3.8819 | 0.68734 | 105.1381 | -91.0682 | -55.477 | -74.864 | 88.8456 | 124.6459 |  | 0.21597 | 1.387 | 1.1701 | 0.18589 | 1.3609 | 1.2383 | -43.1647 | -122.1126 | 131.6114 | -37.3541 | -125.2271 | 131.972
Line_3 | 1.3872 | 0.065863 | 0.060065 | 1.3898 | 0.064629 | 0.059011 | 16.0185 | 0.76052 | 0.69357 | 16.0476 | 0.74627 | 0.6814 | 6.9961e-11 | 0.999 | 0.079685 | 2.9285 | -0.97617 | -0.1087 | -5.1412e-11 | 0.22241 | -0.89431 | 1.8535 | -0.34409 | 0.78986 | 104.5134 | -139.5895 | -144.011 | -75.4943 | 38.4706 | 33.7754 |  | 0 | 1.3457 | 1.2945 | 0.21597 | 1.387 | 1.1701 | 0 | -127.0385 | 131.0808 | -43.1647 | -122.1126 | 131.6114

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4713 | 0.2158 | 0.33729 | 0.47055 | 0.21626 | 0.33782 | 5.4421 | 2.4918 | 3.8947 | 5.4334 | 2.4971 | 3.9008 | 4.344 | -2.9689 | 2.9859 | -4.1737 | 2.9965 | -2.9739 | 2.6313 | 0.71988 | -3.2726 | -2.4752 | -0.72665 | 3.3478 | -40.8495 | 73.0163 | 172.6751 | 139.1711 | -106.8203 | -7.4191 |  | 0.93324 | 1.226 | 1.1375 | 0.89307 | 1.2348 | 1.1479 | -9.6444 | -120.6133 | 125.0526 | -10.1584 | -120.4512 | 124.1967
Line_1 | 0.453 | 0.11985 | 0.16503 | 0.45381 | 0.1193 | 0.16449 | 5.2308 | 1.3839 | 1.9057 | 5.2401 | 1.3775 | 1.8994 | -3.5304 | 1.6657 | -1.5666 | 3.7678 | -1.6596 | 1.5247 | -2.6097 | -0.40838 | 1.5896 | 2.7757 | 0.37263 | -1.5587 | 133.4872 | -107.501 | -10.3917 | -46.5365 | 72.2033 | 169.8269 |  | 0.8393 | 1.2392 | 1.1712 | 0.89307 | 1.2348 | 1.1479 | -10.0409 | -121.2766 | 124.1919 | -10.1584 | -120.4512 | 124.1967
Line_2 | 0.048815 | 0.097454 | 0.17422 | 0.048964 | 0.096996 | 0.1737 | 0.56366 | 1.1253 | 2.0117 | 0.56539 | 1.12 | 2.0057 | -0.4027 | 1.3522 | -1.4163 | 0.40584 | -1.3369 | 1.4492 | 0.3151 | -0.34193 | 1.7912 | -0.30043 | 0.35401 | -1.7891 | -152.7637 | -105.2556 | -4.9965 | 26.3529 | 74.3806 | 175.1889 |  | 0.90715 | 1.2395 | 1.1351 | 0.89307 | 1.2348 | 1.1479 | -10.806 | -119.4466 | 123.3362 | -10.1584 | -120.4512 | 124.1967
Line_3 | 0.44146 | 0.022937 | 0.018492 | 0.44226 | 0.022539 | 0.018229 | 5.0975 | 0.26485 | 0.21352 | 5.1068 | 0.26026 | 0.21049 | -3.1511 | 0.32696 | -0.082945 | 3.4532 | -0.32249 | 0.073218 | -2.8939 | -0.028649 | -0.23592 | 3.0882 | 0.0079236 | 0.22743 | 127.3951 | -116.2691 | -126.4371 | -52.6123 | 61.9608 | 51.1818 |  | 0.8393 | 1.2392 | 1.1712 | 0.90715 | 1.2395 | 1.1351 | -10.0409 | -121.2766 | 124.1919 | -10.806 | -119.4466 | 123.3362

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4713 | 0.2158 | 0.33729 | 0.47055 | 0.21626 | 0.33782 | 5.4421 | 2.4918 | 3.8947 | 5.4334 | 2.4971 | 3.9008 | 4.344 | -2.9689 | 2.9859 | -4.1737 | 2.9965 | -2.9739 | 2.6313 | 0.71988 | -3.2726 | -2.4752 | -0.72665 | 3.3478 | -40.8495 | 73.0163 | 172.6751 | 139.1711 | -106.8203 | -7.4191 |  | 0.93324 | 1.226 | 1.1375 | 0.89307 | 1.2348 | 1.1479 | -9.6444 | -120.6133 | 125.0526 | -10.1584 | -120.4512 | 124.1967
Line_1 | 0.453 | 0.11985 | 0.16503 | 0.45381 | 0.1193 | 0.16449 | 5.2308 | 1.3839 | 1.9057 | 5.2401 | 1.3775 | 1.8994 | -3.5304 | 1.6657 | -1.5666 | 3.7678 | -1.6596 | 1.5247 | -2.6097 | -0.40838 | 1.5896 | 2.7757 | 0.37263 | -1.5587 | 133.4872 | -107.501 | -10.3917 | -46.5365 | 72.2033 | 169.8269 |  | 0.8393 | 1.2392 | 1.1712 | 0.89307 | 1.2348 | 1.1479 | -10.0409 | -121.2766 | 124.1919 | -10.1584 | -120.4512 | 124.1967
Line_2 | 0.048815 | 0.097454 | 0.17422 | 0.048964 | 0.096996 | 0.1737 | 0.56366 | 1.1253 | 2.0117 | 0.56539 | 1.12 | 2.0057 | -0.4027 | 1.3522 | -1.4163 | 0.40584 | -1.3369 | 1.4492 | 0.3151 | -0.34193 | 1.7912 | -0.30043 | 0.35401 | -1.7891 | -152.7637 | -105.2556 | -4.9965 | 26.3529 | 74.3806 | 175.1889 |  | 0.90715 | 1.2395 | 1.1351 | 0.89307 | 1.2348 | 1.1479 | -10.806 | -119.4466 | 123.3362 | -10.1584 | -120.4512 | 124.1967
Line_3 | 0.44146 | 0.022937 | 0.018492 | 0.44226 | 0.022539 | 0.018229 | 5.0975 | 0.26485 | 0.21352 | 5.1068 | 0.26026 | 0.21049 | -3.1511 | 0.32696 | -0.082945 | 3.4532 | -0.32249 | 0.073218 | -2.8939 | -0.028649 | -0.23592 | 3.0882 | 0.0079236 | 0.22743 | 127.3951 | -116.2691 | -126.4371 | -52.6123 | 61.9608 | 51.1818 |  | 0.8393 | 1.2392 | 1.1712 | 0.90715 | 1.2395 | 1.1351 | -10.0409 | -121.2766 | 124.1919 | -10.806 | -119.4466 | 123.3362

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6938 | 0.79728 | 0.67423 | 1.692 | 0.79907 | 0.67602 | 19.5579 | 9.2062 | 7.7854 | 19.5373 | 9.2269 | 7.8061 | 8.1455 | -6.3733 | 7.7276 | -4.5443 | 6.6968 | -7.5866 | 4.1929 | 8.5284 | 2.016 | -2.1301 | -8.3808 | -1.897 | -64.4529 | 109.6251 | 116.1793 | 115.5496 | -70.3668 | -63.8286 |  | 0.46842 | 1.1565 | 1.0258 | 0.25688 | 1.1627 | 1.0018 | -37.2158 | -123.604 | 130.8008 | -39.3362 | -121.7397 | 130.21
Line_1 | 1.4114 | 0.4255 | 0.35851 | 1.4134 | 0.42346 | 0.35649 | 16.297 | 4.9132 | 4.1397 | 16.32 | 4.8896 | 4.1163 | -4.0116e-11 | 3.7217 | -4.167 | 3.7837 | -4.0107 | 3.8403 | 5.9976e-13 | -4.2362 | -1.6466 | 1.8053 | 4.0291 | 1.5026 | 115.1766 | -76.6175 | -71.1997 | -64.8428 | 103.391 | 108.8413 |  | 0 | 1.1477 | 1.0823 | 0.25688 | 1.1627 | 1.0018 | 0 | -125.3168 | 130.3623 | -39.3362 | -121.7397 | 130.21
Line_2 | 0.27704 | 0.3827 | 0.32741 | 0.27883 | 0.38092 | 0.32564 | 3.199 | 4.4191 | 3.7806 | 3.2196 | 4.3984 | 3.7602 | -0.91749 | 3.1728 | -3.3725 | 0.76061 | -2.6861 | 3.7463 | -0.32944 | -4.2082 | -0.30733 | 0.32482 | 4.3517 | 0.3944 | 117.545 | -63.4242 | -55.8411 | -62.461 | 116.5757 | 124.2002 |  | 0.30473 | 1.1926 | 0.89573 | 0.25688 | 1.1627 | 1.0018 | -42.7035 | -116.4092 | 129.3659 | -39.3362 | -121.7397 | 130.21
Line_3 | 1.1338 | 0.10228 | 0.096877 | 1.1357 | 0.10139 | 0.095974 | 13.0916 | 1.1811 | 1.1186 | 13.1137 | 1.1708 | 1.1082 | -3.2229e-11 | 1.3364 | -0.10983 | 3.6862 | -1.3162 | 0.089706 | 1.5273e-13 | 0.22664 | -1.2057 | 1.5433 | -0.46609 | 0.98859 | 114.5916 | -134.9421 | -134.433 | -65.4209 | 44.0915 | 44.5508 |  | 0 | 1.1477 | 1.0823 | 0.30473 | 1.1926 | 0.89573 | 0 | -125.3168 | 130.3623 | -42.7035 | -116.4092 | 129.3659

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6938 | 0.79728 | 0.67423 | 1.692 | 0.79907 | 0.67602 | 19.5579 | 9.2062 | 7.7854 | 19.5373 | 9.2269 | 7.8061 | 8.1455 | -6.3733 | 7.7276 | -4.5443 | 6.6968 | -7.5866 | 4.1929 | 8.5284 | 2.016 | -2.1301 | -8.3808 | -1.897 | -64.4529 | 109.6251 | 116.1793 | 115.5496 | -70.3668 | -63.8286 |  | 0.46842 | 1.1565 | 1.0258 | 0.25688 | 1.1627 | 1.0018 | -37.2158 | -123.604 | 130.8008 | -39.3362 | -121.7397 | 130.21
Line_1 | 1.4114 | 0.4255 | 0.35851 | 1.4134 | 0.42346 | 0.35649 | 16.297 | 4.9132 | 4.1397 | 16.32 | 4.8896 | 4.1163 | -4.0116e-11 | 3.7217 | -4.167 | 3.7837 | -4.0107 | 3.8403 | 5.9976e-13 | -4.2362 | -1.6466 | 1.8053 | 4.0291 | 1.5026 | 115.1766 | -76.6175 | -71.1997 | -64.8428 | 103.391 | 108.8413 |  | 0 | 1.1477 | 1.0823 | 0.25688 | 1.1627 | 1.0018 | 0 | -125.3168 | 130.3623 | -39.3362 | -121.7397 | 130.21
Line_2 | 0.27704 | 0.3827 | 0.32741 | 0.27883 | 0.38092 | 0.32564 | 3.199 | 4.4191 | 3.7806 | 3.2196 | 4.3984 | 3.7602 | -0.91749 | 3.1728 | -3.3725 | 0.76061 | -2.6861 | 3.7463 | -0.32944 | -4.2082 | -0.30733 | 0.32482 | 4.3517 | 0.3944 | 117.545 | -63.4242 | -55.8411 | -62.461 | 116.5757 | 124.2002 |  | 0.30473 | 1.1926 | 0.89573 | 0.25688 | 1.1627 | 1.0018 | -42.7035 | -116.4092 | 129.3659 | -39.3362 | -121.7397 | 130.21
Line_3 | 1.1338 | 0.10228 | 0.096877 | 1.1357 | 0.10139 | 0.095974 | 13.0916 | 1.1811 | 1.1186 | 13.1137 | 1.1708 | 1.1082 | -3.2229e-11 | 1.3364 | -0.10983 | 3.6862 | -1.3162 | 0.089706 | 1.5273e-13 | 0.22664 | -1.2057 | 1.5433 | -0.46609 | 0.98859 | 114.5916 | -134.9421 | -134.433 | -65.4209 | 44.0915 | 44.5508 |  | 0 | 1.1477 | 1.0823 | 0.30473 | 1.1926 | 0.89573 | 0 | -125.3168 | 130.3623 | -42.7035 | -116.4092 | 129.3659

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54303 | 0.25561 | 0.21616 | 0.54245 | 0.25618 | 0.21674 | 6.2703 | 2.9515 | 2.496 | 6.2637 | 2.9582 | 2.5026 | 4.2883 | -1.1668 | 2.4161 | -3.9146 | 1.2009 | -2.406 | 3.1638 | 2.8846 | -0.4565 | -2.9488 | -2.874 | 0.47027 | -46.4772 | 127.6008 | 134.155 | 133.5253 | -52.3911 | -45.8528 |  | 0.8499 | 1.0542 | 0.9851 | 0.78244 | 1.0529 | 0.97957 | -10.058 | -120.3757 | 123.4555 | -9.4851 | -119.7128 | 123.0876
Line_1 | 0.45249 | 0.13642 | 0.11494 | 0.45312 | 0.13576 | 0.11429 | 5.2249 | 1.5752 | 1.3272 | 5.2322 | 1.5676 | 1.3197 | -2.8609 | 0.77054 | -1.3288 | 3.2531 | -0.79824 | 1.29 | -2.2958 | -1.471 | 0.06999 | 2.4855 | 1.4448 | -0.084087 | 133.1523 | -58.6418 | -53.224 | -46.8671 | 121.3667 | 126.817 |  | 0.70205 | 1.0542 | 1.0026 | 0.78244 | 1.0529 | 0.97957 | -8.1018 | -120.995 | 123.761 | -9.4851 | -119.7128 | 123.0876
Line_2 | 0.088821 | 0.1227 | 0.10497 | 0.089393 | 0.12212 | 0.1044 | 1.0256 | 1.4168 | 1.2121 | 1.0322 | 1.4102 | 1.2055 | -0.67402 | 0.45331 | -1.0818 | 0.66159 | -0.40269 | 1.116 | -0.46092 | -1.419 | 0.39692 | 0.46325 | 1.4292 | -0.38618 | 135.5207 | -45.4485 | -37.8654 | -44.4853 | 134.5514 | 142.1759 |  | 0.79616 | 1.0515 | 0.95071 | 0.78244 | 1.0529 | 0.97957 | -10.1139 | -117.7322 | 121.9865 | -9.4851 | -119.7128 | 123.0876
Line_3 | 0.36349 | 0.032792 | 0.031059 | 0.3641 | 0.032507 | 0.03077 | 4.1972 | 0.37865 | 0.35864 | 4.2043 | 0.37536 | 0.3553 | -2.2792 | 0.39819 | -0.1786 | 2.6616 | -0.39468 | 0.17164 | -1.8676 | -0.028044 | -0.31209 | 2.0299 | -0.0013816 | 0.29092 | 132.5673 | -116.9664 | -116.4573 | -47.4452 | 62.0672 | 62.5265 |  | 0.70205 | 1.0542 | 1.0026 | 0.79616 | 1.0515 | 0.95071 | -8.1018 | -120.995 | 123.761 | -10.1139 | -117.7322 | 121.9865

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54303 | 0.25561 | 0.21616 | 0.54245 | 0.25618 | 0.21674 | 6.2703 | 2.9515 | 2.496 | 6.2637 | 2.9582 | 2.5026 | 4.2883 | -1.1668 | 2.4161 | -3.9146 | 1.2009 | -2.406 | 3.1638 | 2.8846 | -0.4565 | -2.9488 | -2.874 | 0.47027 | -46.4772 | 127.6008 | 134.155 | 133.5253 | -52.3911 | -45.8528 |  | 0.8499 | 1.0542 | 0.9851 | 0.78244 | 1.0529 | 0.97957 | -10.058 | -120.3757 | 123.4555 | -9.4851 | -119.7128 | 123.0876
Line_1 | 0.45249 | 0.13642 | 0.11494 | 0.45312 | 0.13576 | 0.11429 | 5.2249 | 1.5752 | 1.3272 | 5.2322 | 1.5676 | 1.3197 | -2.8609 | 0.77054 | -1.3288 | 3.2531 | -0.79824 | 1.29 | -2.2958 | -1.471 | 0.06999 | 2.4855 | 1.4448 | -0.084087 | 133.1523 | -58.6418 | -53.224 | -46.8671 | 121.3667 | 126.817 |  | 0.70205 | 1.0542 | 1.0026 | 0.78244 | 1.0529 | 0.97957 | -8.1018 | -120.995 | 123.761 | -9.4851 | -119.7128 | 123.0876
Line_2 | 0.088821 | 0.1227 | 0.10497 | 0.089393 | 0.12212 | 0.1044 | 1.0256 | 1.4168 | 1.2121 | 1.0322 | 1.4102 | 1.2055 | -0.67402 | 0.45331 | -1.0818 | 0.66159 | -0.40269 | 1.116 | -0.46092 | -1.419 | 0.39692 | 0.46325 | 1.4292 | -0.38618 | 135.5207 | -45.4485 | -37.8654 | -44.4853 | 134.5514 | 142.1759 |  | 0.79616 | 1.0515 | 0.95071 | 0.78244 | 1.0529 | 0.97957 | -10.1139 | -117.7322 | 121.9865 | -9.4851 | -119.7128 | 123.0876
Line_3 | 0.36349 | 0.032792 | 0.031059 | 0.3641 | 0.032507 | 0.03077 | 4.1972 | 0.37865 | 0.35864 | 4.2043 | 0.37536 | 0.3553 | -2.2792 | 0.39819 | -0.1786 | 2.6616 | -0.39468 | 0.17164 | -1.8676 | -0.028044 | -0.31209 | 2.0299 | -0.0013816 | 0.29092 | 132.5673 | -116.9664 | -116.4573 | -47.4452 | 62.0672 | 62.5265 |  | 0.70205 | 1.0542 | 1.0026 | 0.79616 | 1.0515 | 0.95071 | -8.1018 | -120.995 | 123.761 | -10.1139 | -117.7322 | 121.9865

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49659 | 3.1007 | 3.2459 | 0.49847 | 3.1006 | 3.2455 | 5.7342 | 35.8042 | 37.4802 | 5.7558 | 35.8029 | 37.4763 | -1.91 | 10.8286 | 8.205 | 1.9539 | -5.2692 | -3.1247 | 7.6685 | 6.8116 | 14.4411 | -7.6787 | -1.8635 | -7.3526 | -99.1462 | -169.5837 | 23.2584 | 80.9438 | 10.4538 | -156.7769 |  | 1.3782 | 0.3573 | 0.44315 | 1.3766 | 0.1561 | 0.21318 | 4.8402 | -137.4123 | 83.6543 | 5.2198 | -150.07 | 90.1989
Line_1 | 0.27024 | 2.3662 | 2.4314 | 0.26819 | 2.3663 | 2.4322 | 3.1205 | 27.3224 | 28.0756 | 3.0968 | 27.3234 | 28.0843 | 1.2726 | 6.3666e-11 | 8.4907e-11 | -1.3662 | 3.8768 | 2.7525 | -4.1904 | -5.5548e-11 | -6.0211e-12 | 4.0382 | 1.7786 | 5.3166 | 76.6952 | 5.3381 | -152.4785 | -103.4714 | -174.715 | 27.5701 |  | 1.4034 | 0 | 0 | 1.3766 | 0.1561 | 0.21318 | 3.589 | 0 | 0 | 5.2198 | -150.07 | 90.1989
Line_2 | 0.23391 | 0.77432 | 0.84099 | 0.23199 | 0.77391 | 0.84083 | 2.701 | 8.941 | 9.7109 | 2.6788 | 8.9364 | 9.709 | 0.70357 | -1.1103 | 0.14343 | -0.58769 | 1.3924 | 0.37217 | -3.5755 | 0.64604 | -2.001 | 3.6405 | 0.084854 | 2.036 | 86.2121 | 26.5901 | -169.58 | -93.9504 | -153.5573 | 10.558 |  | 1.3491 | 0.14368 | 0.20659 | 1.3766 | 0.1561 | 0.21318 | 7.3444 | 176.3976 | 104.52 | 5.2198 | -150.07 | 90.1989
Line_3 | 0.055561 | 1.6679 | 1.646 | 0.054767 | 1.6685 | 1.6469 | 0.64157 | 19.2595 | 19.0063 | 0.6324 | 19.2658 | 19.017 | 0.7818 | 5.0809e-11 | 5.6222e-11 | -0.77987 | 2.7678 | 1.451 | -0.44665 | -3.1075e-11 | -1.2632e-11 | 0.34603 | 0.037881 | 3.6509 | 33.3285 | -4.3156 | -143.8717 | -148.7287 | 175.6135 | 36.1952 |  | 1.4034 | 0 | 0 | 1.3491 | 0.14368 | 0.20659 | 3.589 | 0 | 0 | 7.3444 | 176.3976 | 104.52

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49659 | 3.1007 | 3.2459 | 0.49847 | 3.1006 | 3.2455 | 5.7342 | 35.8042 | 37.4802 | 5.7558 | 35.8029 | 37.4763 | -1.91 | 10.8286 | 8.205 | 1.9539 | -5.2692 | -3.1247 | 7.6685 | 6.8116 | 14.4411 | -7.6787 | -1.8635 | -7.3526 | -99.1462 | -169.5837 | 23.2584 | 80.9438 | 10.4538 | -156.7769 |  | 1.3782 | 0.3573 | 0.44315 | 1.3766 | 0.1561 | 0.21318 | 4.8402 | -137.4123 | 83.6543 | 5.2198 | -150.07 | 90.1989
Line_1 | 0.27024 | 2.3662 | 2.4314 | 0.26819 | 2.3663 | 2.4322 | 3.1205 | 27.3224 | 28.0756 | 3.0968 | 27.3234 | 28.0843 | 1.2726 | 6.3666e-11 | 8.4907e-11 | -1.3662 | 3.8768 | 2.7525 | -4.1904 | -5.5548e-11 | -6.0211e-12 | 4.0382 | 1.7786 | 5.3166 | 76.6952 | 5.3381 | -152.4785 | -103.4714 | -174.715 | 27.5701 |  | 1.4034 | 0 | 0 | 1.3766 | 0.1561 | 0.21318 | 3.589 | 0 | 0 | 5.2198 | -150.07 | 90.1989
Line_2 | 0.23391 | 0.77432 | 0.84099 | 0.23199 | 0.77391 | 0.84083 | 2.701 | 8.941 | 9.7109 | 2.6788 | 8.9364 | 9.709 | 0.70357 | -1.1103 | 0.14343 | -0.58769 | 1.3924 | 0.37217 | -3.5755 | 0.64604 | -2.001 | 3.6405 | 0.084854 | 2.036 | 86.2121 | 26.5901 | -169.58 | -93.9504 | -153.5573 | 10.558 |  | 1.3491 | 0.14368 | 0.20659 | 1.3766 | 0.1561 | 0.21318 | 7.3444 | 176.3976 | 104.52 | 5.2198 | -150.07 | 90.1989
Line_3 | 0.055561 | 1.6679 | 1.646 | 0.054767 | 1.6685 | 1.6469 | 0.64157 | 19.2595 | 19.0063 | 0.6324 | 19.2658 | 19.017 | 0.7818 | 5.0809e-11 | 5.6222e-11 | -0.77987 | 2.7678 | 1.451 | -0.44665 | -3.1075e-11 | -1.2632e-11 | 0.34603 | 0.037881 | 3.6509 | 33.3285 | -4.3156 | -143.8717 | -148.7287 | 175.6135 | 36.1952 |  | 1.4034 | 0 | 0 | 1.3491 | 0.14368 | 0.20659 | 3.589 | 0 | 0 | 7.3444 | 176.3976 | 104.52

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.042563 | 0.72693 | 0.68906 | 0.043081 | 0.72699 | 0.68885 | 0.49147 | 8.3938 | 7.9565 | 0.49746 | 8.3946 | 7.9542 | 0.57882 | 7.4939 | 4.1549 | -0.58772 | -7.184 | -3.9234 | 0.13903 | 1.9657 | 6.7837 | -0.14584 | -1.7144 | -6.4363 | -10.0864 | -139.597 | 51.115 | 169.2302 | 40.4601 | -128.9432 |  | 1.2112 | 0.923 | 0.99981 | 1.2173 | 0.87982 | 0.94765 | 3.42 | -124.8992 | 109.6285 | 3.166 | -126.1181 | 109.6915
Line_1 | 0.019727 | 0.57658 | 0.56998 | 0.018993 | 0.57658 | 0.57034 | 0.22779 | 6.6578 | 6.5815 | 0.21931 | 6.6577 | 6.5857 | -0.20569 | -5.0741 | -3.5535 | 0.19576 | 5.3222 | 3.723 | -0.19212 | -2.3801 | -4.6627 | 0.18151 | 2.4465 | 5.0088 | 139.4989 | 29.2726 | -123.7553 | -39.6711 | -150.8055 | 56.3149 |  | 1.2357 | 0.84181 | 0.89074 | 1.2173 | 0.87982 | 0.94765 | 2.5452 | -125.5981 | 108.9333 | 3.166 | -126.1181 | 109.6915
Line_2 | 0.028352 | 0.19738 | 0.13185 | 0.028001 | 0.19692 | 0.13173 | 0.32738 | 2.2791 | 1.5224 | 0.32333 | 2.2739 | 1.5211 | -0.39367 | -1.8303 | -0.17399 | 0.39196 | 1.8618 | 0.20034 | 0.02416 | 0.79369 | -1.4402 | -0.035676 | -0.73216 | 1.4275 | -172.9293 | 75.514 | -152.6319 | 8.3669 | -104.6507 | 27.6806 |  | 1.2047 | 0.87534 | 0.9529 | 1.2173 | 0.87982 | 0.94765 | 3.5588 | -127.9289 | 110.4798 | 3.166 | -126.1181 | 109.6915
Line_3 | 0.021008 | 0.46241 | 0.45882 | 0.020757 | 0.46268 | 0.45922 | 0.24258 | 5.3395 | 5.298 | 0.23968 | 5.3426 | 5.3027 | 0.19449 | -3.2852 | -3.3511 | -0.19858 | 3.5402 | 3.496 | -0.22808 | -3.0678 | -3.3226 | 0.20963 | 3.0557 | 3.6482 | 52.0898 | 11.3617 | -115.8215 | -129.8911 | -168.7269 | 64.2591 |  | 1.2357 | 0.84181 | 0.89074 | 1.2047 | 0.87534 | 0.9529 | 2.5452 | -125.5981 | 108.9333 | 3.5588 | -127.9289 | 110.4798

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.042563 | 0.72693 | 0.68906 | 0.043081 | 0.72699 | 0.68885 | 0.49147 | 8.3938 | 7.9565 | 0.49746 | 8.3946 | 7.9542 | 0.57882 | 7.4939 | 4.1549 | -0.58772 | -7.184 | -3.9234 | 0.13903 | 1.9657 | 6.7837 | -0.14584 | -1.7144 | -6.4363 | -10.0864 | -139.597 | 51.115 | 169.2302 | 40.4601 | -128.9432 |  | 1.2112 | 0.923 | 0.99981 | 1.2173 | 0.87982 | 0.94765 | 3.42 | -124.8992 | 109.6285 | 3.166 | -126.1181 | 109.6915
Line_1 | 0.019727 | 0.57658 | 0.56998 | 0.018993 | 0.57658 | 0.57034 | 0.22779 | 6.6578 | 6.5815 | 0.21931 | 6.6577 | 6.5857 | -0.20569 | -5.0741 | -3.5535 | 0.19576 | 5.3222 | 3.723 | -0.19212 | -2.3801 | -4.6627 | 0.18151 | 2.4465 | 5.0088 | 139.4989 | 29.2726 | -123.7553 | -39.6711 | -150.8055 | 56.3149 |  | 1.2357 | 0.84181 | 0.89074 | 1.2173 | 0.87982 | 0.94765 | 2.5452 | -125.5981 | 108.9333 | 3.166 | -126.1181 | 109.6915
Line_2 | 0.028352 | 0.19738 | 0.13185 | 0.028001 | 0.19692 | 0.13173 | 0.32738 | 2.2791 | 1.5224 | 0.32333 | 2.2739 | 1.5211 | -0.39367 | -1.8303 | -0.17399 | 0.39196 | 1.8618 | 0.20034 | 0.02416 | 0.79369 | -1.4402 | -0.035676 | -0.73216 | 1.4275 | -172.9293 | 75.514 | -152.6319 | 8.3669 | -104.6507 | 27.6806 |  | 1.2047 | 0.87534 | 0.9529 | 1.2173 | 0.87982 | 0.94765 | 3.5588 | -127.9289 | 110.4798 | 3.166 | -126.1181 | 109.6915
Line_3 | 0.021008 | 0.46241 | 0.45882 | 0.020757 | 0.46268 | 0.45922 | 0.24258 | 5.3395 | 5.298 | 0.23968 | 5.3426 | 5.3027 | 0.19449 | -3.2852 | -3.3511 | -0.19858 | 3.5402 | 3.496 | -0.22808 | -3.0678 | -3.3226 | 0.20963 | 3.0557 | 3.6482 | 52.0898 | 11.3617 | -115.8215 | -129.8911 | -168.7269 | 64.2591 |  | 1.2357 | 0.84181 | 0.89074 | 1.2047 | 0.87534 | 0.9529 | 2.5452 | -125.5981 | 108.9333 | 3.5588 | -127.9289 | 110.4798

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57761 | 2.5176 | 2.6615 | 0.57911 | 2.5175 | 2.6611 | 6.6696 | 29.0705 | 30.7325 | 6.687 | 29.0697 | 30.7282 | 0.37021 | 13.1777 | 11.4463 | -0.21917 | -6.2918 | -4.6644 | 7.6384 | 2.5359 | 11.7103 | -7.6282 | 0.30768 | -6.4532 | -81.5692 | -159.9226 | 36.5804 | 98.4692 | 20.1128 | -143.4522 |  | 1.1466 | 0.46162 | 0.53283 | 1.1412 | 0.2167 | 0.25913 | 5.656 | -149.0298 | 82.2337 | 6.8235 | -162.6867 | 90.6881
Line_1 | 0.31618 | 1.9265 | 1.9738 | 0.31443 | 1.9264 | 1.9746 | 3.6509 | 22.245 | 22.7909 | 3.6307 | 22.2438 | 22.8007 | 0.18448 | -6.8015e-11 | -3.1204e-11 | -0.36003 | 4.8144 | 3.7131 | -4.3402 | -4.6984e-11 | -7.981e-11 | 4.1277 | 0.23655 | 4.5956 | 91.8913 | 14.553 | -140.4203 | -88.1614 | -165.4997 | 39.6251 |  | 1.1899 | 0 | 0 | 1.1412 | 0.2167 | 0.25913 | 4.3252 | 0 | 0 | 6.8235 | -162.6867 | 90.6881
Line_2 | 0.27078 | 0.62954 | 0.69746 | 0.26925 | 0.62924 | 0.6975 | 3.1267 | 7.2694 | 8.0535 | 3.109 | 7.2658 | 8.054 | -0.32235 | -1.0966 | -0.35203 | 0.5792 | 1.4774 | 0.95132 | -3.3948 | 1.2635 | -2.0951 | 3.5005 | -0.54423 | 1.8576 | 106.2758 | 37.6733 | -152.3208 | -73.7814 | -142.4651 | 27.8066 |  | 1.0906 | 0.23014 | 0.26379 | 1.1412 | 0.2167 | 0.25913 | 10.8515 | 168.6279 | 108.141 | 6.8235 | -162.6867 | 90.6881
Line_3 | 0.08629 | 1.3696 | 1.2991 | 0.085614 | 1.37 | 1.2999 | 0.99639 | 15.8149 | 15.0008 | 0.98859 | 15.8192 | 15.0102 | 0.94983 | -4.1554e-11 | -2.6199e-11 | -0.9411 | 3.5085 | 1.8483 | -0.70951 | -4.156e-11 | -4.9949e-11 | 0.52612 | -0.97223 | 3.5016 | 41.0847 | 4.1851 | -134.0972 | -139.9412 | -175.8834 | 45.9676 |  | 1.1899 | 0 | 0 | 1.0906 | 0.23014 | 0.26379 | 4.3252 | 0 | 0 | 10.8515 | 168.6279 | 108.141

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57761 | 2.5176 | 2.6615 | 0.57911 | 2.5175 | 2.6611 | 6.6696 | 29.0705 | 30.7325 | 6.687 | 29.0697 | 30.7282 | 0.37021 | 13.1777 | 11.4463 | -0.21917 | -6.2918 | -4.6644 | 7.6384 | 2.5359 | 11.7103 | -7.6282 | 0.30768 | -6.4532 | -81.5692 | -159.9226 | 36.5804 | 98.4692 | 20.1128 | -143.4522 |  | 1.1466 | 0.46162 | 0.53283 | 1.1412 | 0.2167 | 0.25913 | 5.656 | -149.0298 | 82.2337 | 6.8235 | -162.6867 | 90.6881
Line_1 | 0.31618 | 1.9265 | 1.9738 | 0.31443 | 1.9264 | 1.9746 | 3.6509 | 22.245 | 22.7909 | 3.6307 | 22.2438 | 22.8007 | 0.18448 | -6.8015e-11 | -3.1204e-11 | -0.36003 | 4.8144 | 3.7131 | -4.3402 | -4.6984e-11 | -7.981e-11 | 4.1277 | 0.23655 | 4.5956 | 91.8913 | 14.553 | -140.4203 | -88.1614 | -165.4997 | 39.6251 |  | 1.1899 | 0 | 0 | 1.1412 | 0.2167 | 0.25913 | 4.3252 | 0 | 0 | 6.8235 | -162.6867 | 90.6881
Line_2 | 0.27078 | 0.62954 | 0.69746 | 0.26925 | 0.62924 | 0.6975 | 3.1267 | 7.2694 | 8.0535 | 3.109 | 7.2658 | 8.054 | -0.32235 | -1.0966 | -0.35203 | 0.5792 | 1.4774 | 0.95132 | -3.3948 | 1.2635 | -2.0951 | 3.5005 | -0.54423 | 1.8576 | 106.2758 | 37.6733 | -152.3208 | -73.7814 | -142.4651 | 27.8066 |  | 1.0906 | 0.23014 | 0.26379 | 1.1412 | 0.2167 | 0.25913 | 10.8515 | 168.6279 | 108.141 | 6.8235 | -162.6867 | 90.6881
Line_3 | 0.08629 | 1.3696 | 1.2991 | 0.085614 | 1.37 | 1.2999 | 0.99639 | 15.8149 | 15.0008 | 0.98859 | 15.8192 | 15.0102 | 0.94983 | -4.1554e-11 | -2.6199e-11 | -0.9411 | 3.5085 | 1.8483 | -0.70951 | -4.156e-11 | -4.9949e-11 | 0.52612 | -0.97223 | 3.5016 | 41.0847 | 4.1851 | -134.0972 | -139.9412 | -175.8834 | 45.9676 |  | 1.1899 | 0 | 0 | 1.0906 | 0.23014 | 0.26379 | 4.3252 | 0 | 0 | 10.8515 | 168.6279 | 108.141

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20636 | 0.69911 | 0.73227 | 0.20689 | 0.69904 | 0.73213 | 2.3828 | 8.0726 | 8.4555 | 2.389 | 8.0718 | 8.4539 | 1.0918 | 6.3333 | 4.3369 | -1.0766 | -5.7857 | -3.8232 | 2.218 | 2.3264 | 6.1952 | -2.2178 | -2.1173 | -5.7752 | -61.0175 | -146.8384 | 54.8549 | 119.0116 | 33.2063 | -125.1867 |  | 1.0375 | 0.8358 | 0.89437 | 1.0319 | 0.76327 | 0.81927 | 2.7742 | -126.6687 | 109.8614 | 3.1175 | -126.6934 | 111.309
Line_1 | 0.1123 | 0.54179 | 0.54579 | 0.11167 | 0.54181 | 0.54611 | 1.2967 | 6.2561 | 6.3022 | 1.2895 | 6.2563 | 6.3059 | -0.46293 | -3.8549 | -2.8686 | 0.43638 | 4.2718 | 3.163 | -1.2855 | -2.14 | -3.6853 | 1.2571 | 2.1342 | 4.0849 | 112.296 | 26.8265 | -120.9965 | -67.7383 | -153.2396 | 59.0601 |  | 1.0537 | 0.70475 | 0.74102 | 1.0319 | 0.76327 | 0.81927 | 2.4904 | -124.1374 | 111.1066 | 3.1175 | -126.6934 | 111.309
Line_2 | 0.097432 | 0.17189 | 0.19184 | 0.096889 | 0.17178 | 0.19183 | 1.125 | 1.9848 | 2.2152 | 1.1188 | 1.9836 | 2.2151 | -0.61023 | -1.4873 | -0.60598 | 0.64023 | 1.5139 | 0.66022 | -0.95114 | 0.085361 | -1.7208 | 0.9607 | -0.01684 | 1.6904 | 126.8346 | 54.1232 | -137.5201 | -53.2025 | -126.0561 | 42.6432 |  | 1.0045 | 0.75061 | 0.82359 | 1.0319 | 0.76327 | 0.81927 | 4.1513 | -129.1616 | 113.0804 | 3.1175 | -126.6934 | 111.309
Line_3 | 0.030397 | 0.3968 | 0.36589 | 0.030151 | 0.39699 | 0.36621 | 0.35099 | 4.5819 | 4.2249 | 0.34815 | 4.5841 | 4.2287 | 0.20344 | -2.4569 | -2.2684 | -0.20582 | 2.8007 | 2.4426 | -0.30885 | -2.0953 | -2.1578 | 0.28272 | 1.9989 | 2.4826 | 59.117 | 15.4041 | -112.4622 | -121.9032 | -164.6769 | 67.6152 |  | 1.0537 | 0.70475 | 0.74102 | 1.0045 | 0.75061 | 0.82359 | 2.4904 | -124.1374 | 111.1066 | 4.1513 | -129.1616 | 113.0804

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20636 | 0.69911 | 0.73227 | 0.20689 | 0.69904 | 0.73213 | 2.3828 | 8.0726 | 8.4555 | 2.389 | 8.0718 | 8.4539 | 1.0918 | 6.3333 | 4.3369 | -1.0766 | -5.7857 | -3.8232 | 2.218 | 2.3264 | 6.1952 | -2.2178 | -2.1173 | -5.7752 | -61.0175 | -146.8384 | 54.8549 | 119.0116 | 33.2063 | -125.1867 |  | 1.0375 | 0.8358 | 0.89437 | 1.0319 | 0.76327 | 0.81927 | 2.7742 | -126.6687 | 109.8614 | 3.1175 | -126.6934 | 111.309
Line_1 | 0.1123 | 0.54179 | 0.54579 | 0.11167 | 0.54181 | 0.54611 | 1.2967 | 6.2561 | 6.3022 | 1.2895 | 6.2563 | 6.3059 | -0.46293 | -3.8549 | -2.8686 | 0.43638 | 4.2718 | 3.163 | -1.2855 | -2.14 | -3.6853 | 1.2571 | 2.1342 | 4.0849 | 112.296 | 26.8265 | -120.9965 | -67.7383 | -153.2396 | 59.0601 |  | 1.0537 | 0.70475 | 0.74102 | 1.0319 | 0.76327 | 0.81927 | 2.4904 | -124.1374 | 111.1066 | 3.1175 | -126.6934 | 111.309
Line_2 | 0.097432 | 0.17189 | 0.19184 | 0.096889 | 0.17178 | 0.19183 | 1.125 | 1.9848 | 2.2152 | 1.1188 | 1.9836 | 2.2151 | -0.61023 | -1.4873 | -0.60598 | 0.64023 | 1.5139 | 0.66022 | -0.95114 | 0.085361 | -1.7208 | 0.9607 | -0.01684 | 1.6904 | 126.8346 | 54.1232 | -137.5201 | -53.2025 | -126.0561 | 42.6432 |  | 1.0045 | 0.75061 | 0.82359 | 1.0319 | 0.76327 | 0.81927 | 4.1513 | -129.1616 | 113.0804 | 3.1175 | -126.6934 | 111.309
Line_3 | 0.030397 | 0.3968 | 0.36589 | 0.030151 | 0.39699 | 0.36621 | 0.35099 | 4.5819 | 4.2249 | 0.34815 | 4.5841 | 4.2287 | 0.20344 | -2.4569 | -2.2684 | -0.20582 | 2.8007 | 2.4426 | -0.30885 | -2.0953 | -2.1578 | 0.28272 | 1.9989 | 2.4826 | 59.117 | 15.4041 | -112.4622 | -121.9032 | -164.6769 | 67.6152 |  | 1.0537 | 0.70475 | 0.74102 | 1.0045 | 0.75061 | 0.82359 | 2.4904 | -124.1374 | 111.1066 | 4.1513 | -129.1616 | 113.0804