## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7506 | 0.98337 | 0.82915 | 1.748 | 0.98594 | 0.83164 | 20.2143 | 11.355 | 9.5742 | 20.1839 | 11.3847 | 9.603 | 4.1577 | -12.5048 | 12.1202 | -2.5544 | 13.0331 | -11.7978 | 3.8738 | 9.4989 | 3.2627 | -2.062 | -8.9606 | -2.8773 | -77.5519 | 87.8563 | 119.849 | 102.4506 | -92.1094 | -60.2104 |  | 0.28112 | 1.383 | 1.311 | 0.16265 | 1.3893 | 1.2646 | -34.5762 | -129.3649 | 134.9156 | -38.6379 | -126.6189 | 133.4954
Line_1 | 1.5457 | 0.51677 | 0.42141 | 1.5484 | 0.5141 | 0.41881 | 17.8481 | 5.9672 | 4.866 | 17.8796 | 5.9363 | 4.836 | 7.7155e-11 | 6.8887 | -6.0656 | 2.2767 | -7.0066 | 5.8277 | -5.3485e-11 | -4.4534 | -1.8155 | 1.8092 | 4.3499 | 1.8539 | 102.9 | -94.7214 | -64.2688 | -77.1097 | 85.2145 | 115.8489 |  | 0 | 1.3747 | 1.3012 | 0.16265 | 1.3893 | 1.2646 | 0 | -127.6032 | 132.3941 | -38.6379 | -126.6189 | 133.4954
Line_2 | 0.19742 | 0.4755 | 0.41723 | 0.19996 | 0.47301 | 0.41482 | 2.2796 | 5.4906 | 4.8178 | 2.3089 | 5.4619 | 4.7899 | -0.38285 | 6.4579 | -5.6112 | 0.27768 | -6.0265 | 5.9701 | -0.28663 | -4.323 | -0.93827 | 0.25283 | 4.6107 | 1.0234 | 98.9737 | -89.128 | -56.3478 | -80.9566 | 90.7994 | 123.7684 |  | 0.2098 | 1.4154 | 1.1809 | 0.16265 | 1.3893 | 1.2646 | -44.205 | -122.9268 | 133.145 | -38.6379 | -126.6189 | 133.4954
Line_3 | 1.3476 | 0.064028 | 0.058417 | 1.3502 | 0.062803 | 0.057387 | 15.5604 | 0.73934 | 0.67454 | 15.5909 | 0.72519 | 0.66265 | 6.6798e-11 | 0.99083 | 0.11326 | 2.7639 | -0.96663 | -0.14354 | -4.7296e-11 | 0.22627 | -0.87035 | 1.7494 | -0.3452 | 0.76923 | 103.4697 | -140.4667 | -145.0199 | -76.5354 | 37.4207 | 32.5748 |  | 0 | 1.3747 | 1.3012 | 0.2098 | 1.4154 | 1.1809 | 0 | -127.6032 | 132.3941 | -44.205 | -122.9268 | 133.145

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7506 | 0.98337 | 0.82915 | 1.748 | 0.98594 | 0.83164 | 20.2143 | 11.355 | 9.5742 | 20.1839 | 11.3847 | 9.603 | 4.1577 | -12.5048 | 12.1202 | -2.5544 | 13.0331 | -11.7978 | 3.8738 | 9.4989 | 3.2627 | -2.062 | -8.9606 | -2.8773 | -77.5519 | 87.8563 | 119.849 | 102.4506 | -92.1094 | -60.2104 |  | 0.28112 | 1.383 | 1.311 | 0.16265 | 1.3893 | 1.2646 | -34.5762 | -129.3649 | 134.9156 | -38.6379 | -126.6189 | 133.4954
Line_1 | 1.5457 | 0.51677 | 0.42141 | 1.5484 | 0.5141 | 0.41881 | 17.8481 | 5.9672 | 4.866 | 17.8796 | 5.9363 | 4.836 | 7.7155e-11 | 6.8887 | -6.0656 | 2.2767 | -7.0066 | 5.8277 | -5.3485e-11 | -4.4534 | -1.8155 | 1.8092 | 4.3499 | 1.8539 | 102.9 | -94.7214 | -64.2688 | -77.1097 | 85.2145 | 115.8489 |  | 0 | 1.3747 | 1.3012 | 0.16265 | 1.3893 | 1.2646 | 0 | -127.6032 | 132.3941 | -38.6379 | -126.6189 | 133.4954
Line_2 | 0.19742 | 0.4755 | 0.41723 | 0.19996 | 0.47301 | 0.41482 | 2.2796 | 5.4906 | 4.8178 | 2.3089 | 5.4619 | 4.7899 | -0.38285 | 6.4579 | -5.6112 | 0.27768 | -6.0265 | 5.9701 | -0.28663 | -4.323 | -0.93827 | 0.25283 | 4.6107 | 1.0234 | 98.9737 | -89.128 | -56.3478 | -80.9566 | 90.7994 | 123.7684 |  | 0.2098 | 1.4154 | 1.1809 | 0.16265 | 1.3893 | 1.2646 | -44.205 | -122.9268 | 133.145 | -38.6379 | -126.6189 | 133.4954
Line_3 | 1.3476 | 0.064028 | 0.058417 | 1.3502 | 0.062803 | 0.057387 | 15.5604 | 0.73934 | 0.67454 | 15.5909 | 0.72519 | 0.66265 | 6.6798e-11 | 0.99083 | 0.11326 | 2.7639 | -0.96663 | -0.14354 | -4.7296e-11 | 0.22627 | -0.87035 | 1.7494 | -0.3452 | 0.76923 | 103.4697 | -140.4667 | -145.0199 | -76.5354 | 37.4207 | 32.5748 |  | 0 | 1.3747 | 1.3012 | 0.2098 | 1.4154 | 1.1809 | 0 | -127.6032 | 132.3941 | -44.205 | -122.9268 | 133.145

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43268 | 0.22867 | 0.3644 | 0.43184 | 0.22929 | 0.36501 | 4.9961 | 2.6404 | 4.2078 | 4.9864 | 2.6476 | 4.2147 | 3.8596 | -3.0523 | 3.4739 | -3.7556 | 3.0845 | -3.4166 | 2.4019 | 1.2097 | -3.3507 | -2.2854 | -1.1903 | 3.4292 | -42.0143 | 80.1746 | 170.1731 | 138.0125 | -99.6752 | -9.9237 |  | 0.9099 | 1.2434 | 1.147 | 0.88164 | 1.2488 | 1.1485 | -10.1192 | -121.4449 | 126.2077 | -10.666 | -120.7766 | 124.971
Line_1 | 0.43256 | 0.12608 | 0.17898 | 0.43343 | 0.12542 | 0.17837 | 4.9947 | 1.4558 | 2.0667 | 5.0048 | 1.4482 | 2.0596 | -3.3259 | 1.7081 | -1.7776 | 3.5266 | -1.7045 | 1.7432 | -2.5086 | -0.63346 | 1.6312 | 2.6521 | 0.60415 | -1.599 | 132.4131 | -100.9874 | -12.7059 | -47.6102 | 78.7397 | 167.5013 |  | 0.83406 | 1.2514 | 1.1674 | 0.88164 | 1.2488 | 1.1485 | -10.561 | -121.3348 | 124.7529 | -10.666 | -120.7766 | 124.971
Line_2 | 0.042612 | 0.10456 | 0.18759 | 0.042469 | 0.10398 | 0.18699 | 0.49204 | 1.2073 | 2.1661 | 0.49039 | 1.2006 | 2.1592 | -0.22325 | 1.4005 | -1.6262 | 0.22902 | -1.38 | 1.6734 | 0.38329 | -0.56863 | 1.8329 | -0.36671 | 0.58614 | -1.8302 | -131.5455 | -97.4358 | -7.646 | 47.3485 | 82.2367 | 172.5324 |  | 0.90149 | 1.2519 | 1.1312 | 0.88164 | 1.2488 | 1.1485 | -11.3263 | -119.5344 | 123.9341 | -10.666 | -120.7766 | 124.971
Line_3 | 0.43869 | 0.022809 | 0.018397 | 0.43955 | 0.022405 | 0.01814 | 5.0655 | 0.26338 | 0.21243 | 5.0755 | 0.25872 | 0.20947 | -3.1115 | 0.32848 | -0.07798 | 3.4105 | -0.32385 | 0.067567 | -2.8581 | -0.02697 | -0.23541 | 3.0502 | 0.0054563 | 0.22711 | 126.8705 | -116.6411 | -126.9195 | -53.1343 | 61.4309 | 50.5022 |  | 0.83406 | 1.2514 | 1.1674 | 0.90149 | 1.2519 | 1.1312 | -10.561 | -121.3348 | 124.7529 | -11.3263 | -119.5344 | 123.9341

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43268 | 0.22867 | 0.3644 | 0.43184 | 0.22929 | 0.36501 | 4.9961 | 2.6404 | 4.2078 | 4.9864 | 2.6476 | 4.2147 | 3.8596 | -3.0523 | 3.4739 | -3.7556 | 3.0845 | -3.4166 | 2.4019 | 1.2097 | -3.3507 | -2.2854 | -1.1903 | 3.4292 | -42.0143 | 80.1746 | 170.1731 | 138.0125 | -99.6752 | -9.9237 |  | 0.9099 | 1.2434 | 1.147 | 0.88164 | 1.2488 | 1.1485 | -10.1192 | -121.4449 | 126.2077 | -10.666 | -120.7766 | 124.971
Line_1 | 0.43256 | 0.12608 | 0.17898 | 0.43343 | 0.12542 | 0.17837 | 4.9947 | 1.4558 | 2.0667 | 5.0048 | 1.4482 | 2.0596 | -3.3259 | 1.7081 | -1.7776 | 3.5266 | -1.7045 | 1.7432 | -2.5086 | -0.63346 | 1.6312 | 2.6521 | 0.60415 | -1.599 | 132.4131 | -100.9874 | -12.7059 | -47.6102 | 78.7397 | 167.5013 |  | 0.83406 | 1.2514 | 1.1674 | 0.88164 | 1.2488 | 1.1485 | -10.561 | -121.3348 | 124.7529 | -10.666 | -120.7766 | 124.971
Line_2 | 0.042612 | 0.10456 | 0.18759 | 0.042469 | 0.10398 | 0.18699 | 0.49204 | 1.2073 | 2.1661 | 0.49039 | 1.2006 | 2.1592 | -0.22325 | 1.4005 | -1.6262 | 0.22902 | -1.38 | 1.6734 | 0.38329 | -0.56863 | 1.8329 | -0.36671 | 0.58614 | -1.8302 | -131.5455 | -97.4358 | -7.646 | 47.3485 | 82.2367 | 172.5324 |  | 0.90149 | 1.2519 | 1.1312 | 0.88164 | 1.2488 | 1.1485 | -11.3263 | -119.5344 | 123.9341 | -10.666 | -120.7766 | 124.971
Line_3 | 0.43869 | 0.022809 | 0.018397 | 0.43955 | 0.022405 | 0.01814 | 5.0655 | 0.26338 | 0.21243 | 5.0755 | 0.25872 | 0.20947 | -3.1115 | 0.32848 | -0.07798 | 3.4105 | -0.32385 | 0.067567 | -2.8581 | -0.02697 | -0.23541 | 3.0502 | 0.0054563 | 0.22711 | 126.8705 | -116.6411 | -126.9195 | -53.1343 | 61.4309 | 50.5022 |  | 0.83406 | 1.2514 | 1.1674 | 0.90149 | 1.2519 | 1.1312 | -10.561 | -121.3348 | 124.7529 | -11.3263 | -119.5344 | 123.9341

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5893 | 0.8517 | 0.73401 | 1.5872 | 0.85371 | 0.736 | 18.3511 | 9.8346 | 8.4756 | 18.3279 | 9.8578 | 8.4986 | 6.3078 | -6.1112 | 8.9483 | -3.7738 | 6.8486 | -8.4358 | 3.2885 | 9.8536 | 2.5475 | -1.7959 | -9.4471 | -2.2389 | -66.4056 | 110.7154 | 116.9819 | 113.6017 | -69.2915 | -63.0431 |  | 0.38764 | 1.179 | 1.0977 | 0.22803 | 1.1837 | 1.027 | -38.8709 | -127.4773 | 132.8729 | -40.9487 | -123.3516 | 131.821
Line_1 | 1.348 | 0.45066 | 0.3866 | 1.3501 | 0.44851 | 0.38447 | 15.5654 | 5.2038 | 4.464 | 15.5897 | 5.179 | 4.4394 | -3.7857e-11 | 3.8746 | -4.5022 | 3.209 | -4.0871 | 4.2391 | -4.8572e-13 | -4.6906 | -1.7567 | 1.5298 | 4.5688 | 1.6781 | 113.5832 | -75.1832 | -69.8256 | -66.4363 | 104.8336 | 110.2239 |  | 0 | 1.1691 | 1.0826 | 0.22803 | 1.1837 | 1.027 | 0 | -125.6253 | 131.4891 | -40.9487 | -123.3516 | 131.821
Line_2 | 0.23523 | 0.41204 | 0.35892 | 0.23714 | 0.41013 | 0.35704 | 2.7162 | 4.7578 | 4.1445 | 2.7382 | 4.7358 | 4.1228 | -0.75039 | 3.3816 | -3.6999 | 0.56483 | -2.7615 | 4.1967 | -0.3097 | -4.6885 | -0.4412 | 0.26619 | 4.8783 | 0.5608 | 113.8071 | -62.8737 | -55.838 | -66.1819 | 117.1354 | 124.2097 |  | 0.29887 | 1.215 | 0.89906 | 0.22803 | 1.1837 | 1.027 | -43.7661 | -117.0722 | 130.9621 | -40.9487 | -123.3516 | 131.821
Line_3 | 1.1119 | 0.10031 | 0.095014 | 1.1139 | 0.099442 | 0.094126 | 12.8388 | 1.1583 | 1.0971 | 12.862 | 1.1483 | 1.0869 | -3.1225e-11 | 1.3323 | -0.063299 | 3.5458 | -1.3115 | 0.042384 | -4.3081e-13 | 0.24311 | -1.1861 | 1.4844 | -0.47572 | 0.97624 | 113.5278 | -135.9671 | -135.4559 | -66.4824 | 42.9909 | 43.4481 |  | 0 | 1.1691 | 1.0826 | 0.29887 | 1.215 | 0.89906 | 0 | -125.6253 | 131.4891 | -43.7661 | -117.0722 | 130.9621

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5893 | 0.8517 | 0.73401 | 1.5872 | 0.85371 | 0.736 | 18.3511 | 9.8346 | 8.4756 | 18.3279 | 9.8578 | 8.4986 | 6.3078 | -6.1112 | 8.9483 | -3.7738 | 6.8486 | -8.4358 | 3.2885 | 9.8536 | 2.5475 | -1.7959 | -9.4471 | -2.2389 | -66.4056 | 110.7154 | 116.9819 | 113.6017 | -69.2915 | -63.0431 |  | 0.38764 | 1.179 | 1.0977 | 0.22803 | 1.1837 | 1.027 | -38.8709 | -127.4773 | 132.8729 | -40.9487 | -123.3516 | 131.821
Line_1 | 1.348 | 0.45066 | 0.3866 | 1.3501 | 0.44851 | 0.38447 | 15.5654 | 5.2038 | 4.464 | 15.5897 | 5.179 | 4.4394 | -3.7857e-11 | 3.8746 | -4.5022 | 3.209 | -4.0871 | 4.2391 | -4.8572e-13 | -4.6906 | -1.7567 | 1.5298 | 4.5688 | 1.6781 | 113.5832 | -75.1832 | -69.8256 | -66.4363 | 104.8336 | 110.2239 |  | 0 | 1.1691 | 1.0826 | 0.22803 | 1.1837 | 1.027 | 0 | -125.6253 | 131.4891 | -40.9487 | -123.3516 | 131.821
Line_2 | 0.23523 | 0.41204 | 0.35892 | 0.23714 | 0.41013 | 0.35704 | 2.7162 | 4.7578 | 4.1445 | 2.7382 | 4.7358 | 4.1228 | -0.75039 | 3.3816 | -3.6999 | 0.56483 | -2.7615 | 4.1967 | -0.3097 | -4.6885 | -0.4412 | 0.26619 | 4.8783 | 0.5608 | 113.8071 | -62.8737 | -55.838 | -66.1819 | 117.1354 | 124.2097 |  | 0.29887 | 1.215 | 0.89906 | 0.22803 | 1.1837 | 1.027 | -43.7661 | -117.0722 | 130.9621 | -40.9487 | -123.3516 | 131.821
Line_3 | 1.1119 | 0.10031 | 0.095014 | 1.1139 | 0.099442 | 0.094126 | 12.8388 | 1.1583 | 1.0971 | 12.862 | 1.1483 | 1.0869 | -3.1225e-11 | 1.3323 | -0.063299 | 3.5458 | -1.3115 | 0.042384 | -4.3081e-13 | 0.24311 | -1.1861 | 1.4844 | -0.47572 | 0.97624 | 113.5278 | -135.9671 | -135.4559 | -66.4824 | 42.9909 | 43.4481 |  | 0 | 1.1691 | 1.0826 | 0.29887 | 1.215 | 0.89906 | 0 | -125.6253 | 131.4891 | -43.7661 | -117.0722 | 130.9621

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5174 | 0.27728 | 0.23897 | 0.51675 | 0.27794 | 0.23962 | 5.9745 | 3.2018 | 2.7594 | 5.9669 | 3.2094 | 2.7668 | 3.9027 | -1.1187 | 2.7093 | -3.6304 | 1.1982 | -2.6601 | 2.9924 | 3.233 | -0.51847 | -2.8305 | -3.195 | 0.55254 | -47.8061 | 129.3148 | 135.5813 | 132.2012 | -50.692 | -44.4437 |  | 0.82316 | 1.0685 | 0.99968 | 0.77149 | 1.0632 | 0.98194 | -10.327 | -121.598 | 124.7478 | -9.8568 | -120.1343 | 123.8221
Line_1 | 0.43886 | 0.14672 | 0.12586 | 0.43955 | 0.14602 | 0.12517 | 5.0675 | 1.6942 | 1.4533 | 5.0755 | 1.6861 | 1.4453 | -2.7428 | 0.77757 | -1.4473 | 3.0864 | -0.79802 | 1.4138 | -2.2431 | -1.6235 | 0.11623 | 2.4097 | 1.6053 | -0.12372 | 132.1826 | -56.5838 | -51.2262 | -47.8368 | 123.4331 | 128.8233 |  | 0.69919 | 1.0625 | 0.99906 | 0.77149 | 1.0632 | 0.98194 | -8.5407 | -120.9914 | 124.1823 | -9.8568 | -120.1343 | 123.8221
Line_2 | 0.076583 | 0.13415 | 0.11685 | 0.077203 | 0.13353 | 0.11624 | 0.88431 | 1.549 | 1.3493 | 0.89147 | 1.5418 | 1.3422 | -0.55969 | 0.46662 | -1.1983 | 0.54398 | -0.40022 | 1.2463 | -0.42238 | -1.5746 | 0.44339 | 0.42083 | 1.5897 | -0.42882 | 132.4066 | -44.2742 | -37.2385 | -47.5824 | 135.7348 | 142.8092 |  | 0.79291 | 1.0602 | 0.94691 | 0.77149 | 1.0632 | 0.98194 | -10.5528 | -117.767 | 122.4554 | -9.8568 | -120.1343 | 123.8221
Line_3 | 0.36199 | 0.032659 | 0.030933 | 0.36264 | 0.032375 | 0.030644 | 4.1799 | 0.37711 | 0.35718 | 4.1874 | 0.37383 | 0.35385 | -2.2605 | 0.39989 | -0.17279 | 2.6401 | -0.39632 | 0.16546 | -1.8523 | -0.025325 | -0.31223 | 2.0134 | -0.0044453 | 0.29136 | 132.1273 | -117.3677 | -116.8565 | -47.883 | 61.5904 | 62.0476 |  | 0.69919 | 1.0625 | 0.99906 | 0.79291 | 1.0602 | 0.94691 | -8.5407 | -120.9914 | 124.1823 | -10.5528 | -117.767 | 122.4554

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5174 | 0.27728 | 0.23897 | 0.51675 | 0.27794 | 0.23962 | 5.9745 | 3.2018 | 2.7594 | 5.9669 | 3.2094 | 2.7668 | 3.9027 | -1.1187 | 2.7093 | -3.6304 | 1.1982 | -2.6601 | 2.9924 | 3.233 | -0.51847 | -2.8305 | -3.195 | 0.55254 | -47.8061 | 129.3148 | 135.5813 | 132.2012 | -50.692 | -44.4437 |  | 0.82316 | 1.0685 | 0.99968 | 0.77149 | 1.0632 | 0.98194 | -10.327 | -121.598 | 124.7478 | -9.8568 | -120.1343 | 123.8221
Line_1 | 0.43886 | 0.14672 | 0.12586 | 0.43955 | 0.14602 | 0.12517 | 5.0675 | 1.6942 | 1.4533 | 5.0755 | 1.6861 | 1.4453 | -2.7428 | 0.77757 | -1.4473 | 3.0864 | -0.79802 | 1.4138 | -2.2431 | -1.6235 | 0.11623 | 2.4097 | 1.6053 | -0.12372 | 132.1826 | -56.5838 | -51.2262 | -47.8368 | 123.4331 | 128.8233 |  | 0.69919 | 1.0625 | 0.99906 | 0.77149 | 1.0632 | 0.98194 | -8.5407 | -120.9914 | 124.1823 | -9.8568 | -120.1343 | 123.8221
Line_2 | 0.076583 | 0.13415 | 0.11685 | 0.077203 | 0.13353 | 0.11624 | 0.88431 | 1.549 | 1.3493 | 0.89147 | 1.5418 | 1.3422 | -0.55969 | 0.46662 | -1.1983 | 0.54398 | -0.40022 | 1.2463 | -0.42238 | -1.5746 | 0.44339 | 0.42083 | 1.5897 | -0.42882 | 132.4066 | -44.2742 | -37.2385 | -47.5824 | 135.7348 | 142.8092 |  | 0.79291 | 1.0602 | 0.94691 | 0.77149 | 1.0632 | 0.98194 | -10.5528 | -117.767 | 122.4554 | -9.8568 | -120.1343 | 123.8221
Line_3 | 0.36199 | 0.032659 | 0.030933 | 0.36264 | 0.032375 | 0.030644 | 4.1799 | 0.37711 | 0.35718 | 4.1874 | 0.37383 | 0.35385 | -2.2605 | 0.39989 | -0.17279 | 2.6401 | -0.39632 | 0.16546 | -1.8523 | -0.025325 | -0.31223 | 2.0134 | -0.0044453 | 0.29136 | 132.1273 | -117.3677 | -116.8565 | -47.883 | 61.5904 | 62.0476 |  | 0.69919 | 1.0625 | 0.99906 | 0.79291 | 1.0602 | 0.94691 | -8.5407 | -120.9914 | 124.1823 | -10.5528 | -117.767 | 122.4554

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53428 | 3.0557 | 3.2707 | 0.53636 | 3.0558 | 3.2703 | 6.1693 | 35.284 | 37.7666 | 6.1934 | 35.2849 | 37.7618 | -1.6306 | 9.5962 | 8.9267 | 1.7743 | -4.7419 | -3.3583 | 8.6769 | 7.6421 | 13.2394 | -8.5444 | -2.1383 | -6.9203 | -96.7348 | -167.6644 | 21.3307 | 83.3341 | 12.3765 | -158.7069 |  | 1.4311 | 0.34768 | 0.4228 | 1.409 | 0.14742 | 0.2037 | 3.9083 | -129.1315 | 77.341 | 5.0654 | -143.3508 | 85.4068
Line_1 | 0.28705 | 2.329 | 2.4446 | 0.2849 | 2.329 | 2.4454 | 3.3146 | 26.8931 | 28.2281 | 3.2897 | 26.8933 | 28.2366 | 1.1945 | 5.9722e-11 | 8.2585e-11 | -1.2743 | 3.4377 | 2.9191 | -4.5633 | -5.3652e-11 | -2.5591e-12 | 4.4567 | 1.9749 | 4.956 | 79.2482 | 6.828 | -154.145 | -100.8909 | -173.2277 | 25.9052 |  | 1.4231 | 0 | 0 | 1.409 | 0.14742 | 0.2037 | 3.9169 | 0 | 0 | 5.0654 | -143.3508 | 85.4068
Line_2 | 0.25514 | 0.77269 | 0.85596 | 0.25311 | 0.77212 | 0.85573 | 2.9462 | 8.9222 | 9.8837 | 2.9227 | 8.9157 | 9.8811 | 0.65293 | -1.0251 | 0.16658 | -0.50007 | 1.3042 | 0.43916 | -3.9956 | 0.65209 | -1.9943 | 4.0877 | 0.16339 | 1.9643 | 88.2215 | 29.659 | -172.1314 | -91.9092 | -150.492 | 8.0092 |  | 1.3742 | 0.13617 | 0.20248 | 1.409 | 0.14742 | 0.2037 | 7.5023 | 177.1987 | 102.6432 | 5.0654 | -143.3508 | 85.4068
Line_3 | 0.053249 | 1.644 | 1.6515 | 0.052499 | 1.6446 | 1.6524 | 0.61487 | 18.9838 | 19.0697 | 0.60621 | 18.99 | 19.0802 | 0.77432 | 4.8339e-11 | 5.4802e-11 | -0.77263 | 2.5856 | 1.4756 | -0.40759 | -2.958e-11 | -1.0601e-11 | 0.31145 | 0.041354 | 3.5705 | 31.6786 | -3.6439 | -144.9713 | -150.543 | 176.2824 | 35.0976 |  | 1.4231 | 0 | 0 | 1.3742 | 0.13617 | 0.20248 | 3.9169 | 0 | 0 | 7.5023 | 177.1987 | 102.6432

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53428 | 3.0557 | 3.2707 | 0.53636 | 3.0558 | 3.2703 | 6.1693 | 35.284 | 37.7666 | 6.1934 | 35.2849 | 37.7618 | -1.6306 | 9.5962 | 8.9267 | 1.7743 | -4.7419 | -3.3583 | 8.6769 | 7.6421 | 13.2394 | -8.5444 | -2.1383 | -6.9203 | -96.7348 | -167.6644 | 21.3307 | 83.3341 | 12.3765 | -158.7069 |  | 1.4311 | 0.34768 | 0.4228 | 1.409 | 0.14742 | 0.2037 | 3.9083 | -129.1315 | 77.341 | 5.0654 | -143.3508 | 85.4068
Line_1 | 0.28705 | 2.329 | 2.4446 | 0.2849 | 2.329 | 2.4454 | 3.3146 | 26.8931 | 28.2281 | 3.2897 | 26.8933 | 28.2366 | 1.1945 | 5.9722e-11 | 8.2585e-11 | -1.2743 | 3.4377 | 2.9191 | -4.5633 | -5.3652e-11 | -2.5591e-12 | 4.4567 | 1.9749 | 4.956 | 79.2482 | 6.828 | -154.145 | -100.8909 | -173.2277 | 25.9052 |  | 1.4231 | 0 | 0 | 1.409 | 0.14742 | 0.2037 | 3.9169 | 0 | 0 | 5.0654 | -143.3508 | 85.4068
Line_2 | 0.25514 | 0.77269 | 0.85596 | 0.25311 | 0.77212 | 0.85573 | 2.9462 | 8.9222 | 9.8837 | 2.9227 | 8.9157 | 9.8811 | 0.65293 | -1.0251 | 0.16658 | -0.50007 | 1.3042 | 0.43916 | -3.9956 | 0.65209 | -1.9943 | 4.0877 | 0.16339 | 1.9643 | 88.2215 | 29.659 | -172.1314 | -91.9092 | -150.492 | 8.0092 |  | 1.3742 | 0.13617 | 0.20248 | 1.409 | 0.14742 | 0.2037 | 7.5023 | 177.1987 | 102.6432 | 5.0654 | -143.3508 | 85.4068
Line_3 | 0.053249 | 1.644 | 1.6515 | 0.052499 | 1.6446 | 1.6524 | 0.61487 | 18.9838 | 19.0697 | 0.60621 | 18.99 | 19.0802 | 0.77432 | 4.8339e-11 | 5.4802e-11 | -0.77263 | 2.5856 | 1.4756 | -0.40759 | -2.958e-11 | -1.0601e-11 | 0.31145 | 0.041354 | 3.5705 | 31.6786 | -3.6439 | -144.9713 | -150.543 | 176.2824 | 35.0976 |  | 1.4231 | 0 | 0 | 1.3742 | 0.13617 | 0.20248 | 3.9169 | 0 | 0 | 7.5023 | 177.1987 | 102.6432

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066651 | 0.71759 | 0.69364 | 0.06732 | 0.71774 | 0.69343 | 0.76962 | 8.286 | 8.0095 | 0.77734 | 8.2877 | 8.007 | 0.85153 | 7.3308 | 3.9743 | -0.85488 | -7.0661 | -3.7154 | 0.42137 | 1.7132 | 6.9 | -0.42877 | -1.4026 | -6.6175 | -22.7958 | -136.9369 | 48.288 | 156.8119 | 43.1268 | -131.7765 |  | 1.2345 | 0.90856 | 0.99415 | 1.2303 | 0.86923 | 0.94781 | 3.532 | -123.7826 | 108.3466 | 3.4485 | -125.646 | 108.9117
Line_1 | 0.033045 | 0.56678 | 0.57181 | 0.032254 | 0.56676 | 0.57216 | 0.38157 | 6.5447 | 6.6026 | 0.37243 | 6.5444 | 6.6068 | -0.33869 | -5.0012 | -3.4603 | 0.32689 | 5.2167 | 3.6364 | -0.33211 | -2.1843 | -4.7813 | 0.32109 | 2.2686 | 5.0979 | 138.4676 | 30.9364 | -125.6638 | -41.039 | -149.1485 | 54.4123 |  | 1.2432 | 0.83387 | 0.89389 | 1.2303 | 0.86923 | 0.94781 | 2.9055 | -125.4699 | 108.4424 | 3.4485 | -125.646 | 108.9117
Line_2 | 0.038482 | 0.20399 | 0.13922 | 0.03793 | 0.20346 | 0.13903 | 0.44435 | 2.3555 | 1.6076 | 0.43798 | 2.3493 | 1.6054 | -0.52556 | -1.8118 | -0.043446 | 0.52799 | 1.8494 | 0.078939 | -0.11986 | 0.93922 | -1.5362 | 0.10768 | -0.86594 | 1.5195 | 171.0851 | 79.6045 | -158.4274 | -8.0786 | -100.556 | 21.8855 |  | 1.2131 | 0.86637 | 0.95598 | 1.2303 | 0.86923 | 0.94781 | 3.9323 | -127.7974 | 109.9527 | 3.4485 | -125.646 | 108.9117
Line_3 | 0.020823 | 0.45823 | 0.46078 | 0.020578 | 0.45852 | 0.4612 | 0.24044 | 5.2912 | 5.3206 | 0.23761 | 5.2946 | 5.3254 | 0.19868 | -3.223 | -3.3781 | -0.2032 | 3.4703 | 3.5259 | -0.22331 | -3.0132 | -3.3478 | 0.20444 | 2.9997 | 3.6724 | 51.2455 | 11.4572 | -116.2992 | -130.8932 | -168.6373 | 63.787 |  | 1.2432 | 0.83387 | 0.89389 | 1.2131 | 0.86637 | 0.95598 | 2.9055 | -125.4699 | 108.4424 | 3.9323 | -127.7974 | 109.9527

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066651 | 0.71759 | 0.69364 | 0.06732 | 0.71774 | 0.69343 | 0.76962 | 8.286 | 8.0095 | 0.77734 | 8.2877 | 8.007 | 0.85153 | 7.3308 | 3.9743 | -0.85488 | -7.0661 | -3.7154 | 0.42137 | 1.7132 | 6.9 | -0.42877 | -1.4026 | -6.6175 | -22.7958 | -136.9369 | 48.288 | 156.8119 | 43.1268 | -131.7765 |  | 1.2345 | 0.90856 | 0.99415 | 1.2303 | 0.86923 | 0.94781 | 3.532 | -123.7826 | 108.3466 | 3.4485 | -125.646 | 108.9117
Line_1 | 0.033045 | 0.56678 | 0.57181 | 0.032254 | 0.56676 | 0.57216 | 0.38157 | 6.5447 | 6.6026 | 0.37243 | 6.5444 | 6.6068 | -0.33869 | -5.0012 | -3.4603 | 0.32689 | 5.2167 | 3.6364 | -0.33211 | -2.1843 | -4.7813 | 0.32109 | 2.2686 | 5.0979 | 138.4676 | 30.9364 | -125.6638 | -41.039 | -149.1485 | 54.4123 |  | 1.2432 | 0.83387 | 0.89389 | 1.2303 | 0.86923 | 0.94781 | 2.9055 | -125.4699 | 108.4424 | 3.4485 | -125.646 | 108.9117
Line_2 | 0.038482 | 0.20399 | 0.13922 | 0.03793 | 0.20346 | 0.13903 | 0.44435 | 2.3555 | 1.6076 | 0.43798 | 2.3493 | 1.6054 | -0.52556 | -1.8118 | -0.043446 | 0.52799 | 1.8494 | 0.078939 | -0.11986 | 0.93922 | -1.5362 | 0.10768 | -0.86594 | 1.5195 | 171.0851 | 79.6045 | -158.4274 | -8.0786 | -100.556 | 21.8855 |  | 1.2131 | 0.86637 | 0.95598 | 1.2303 | 0.86923 | 0.94781 | 3.9323 | -127.7974 | 109.9527 | 3.4485 | -125.646 | 108.9117
Line_3 | 0.020823 | 0.45823 | 0.46078 | 0.020578 | 0.45852 | 0.4612 | 0.24044 | 5.2912 | 5.3206 | 0.23761 | 5.2946 | 5.3254 | 0.19868 | -3.223 | -3.3781 | -0.2032 | 3.4703 | 3.5259 | -0.22331 | -3.0132 | -3.3478 | 0.20444 | 2.9997 | 3.6724 | 51.2455 | 11.4572 | -116.2992 | -130.8932 | -168.6373 | 63.787 |  | 1.2432 | 0.83387 | 0.89389 | 1.2131 | 0.86637 | 0.95598 | 2.9055 | -125.4699 | 108.4424 | 3.9323 | -127.7974 | 109.9527

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61505 | 2.4804 | 2.6788 | 0.61676 | 2.4805 | 2.6783 | 7.102 | 28.6406 | 30.9325 | 7.1217 | 28.6424 | 30.9263 | 0.84525 | 11.8484 | 12.0361 | -0.47432 | -5.7068 | -4.8639 | 8.5403 | 3.7088 | 10.1569 | -8.3406 | -0.085522 | -5.9139 | -80.2916 | -158.2343 | 34.852 | 99.7283 | 21.8054 | -145.1831 |  | 1.2084 | 0.43348 | 0.50914 | 1.173 | 0.19927 | 0.24759 | 4.0561 | -140.8529 | 75.012 | 6.4734 | -157.336 | 85.381
Line_1 | 0.33234 | 1.8959 | 1.9853 | 0.33051 | 1.8957 | 1.9862 | 3.8375 | 21.8917 | 22.9241 | 3.8163 | 21.8897 | 22.9341 | 0.10081 | -6.7158e-11 | -2.8651e-11 | -0.23811 | 4.3299 | 3.8574 | -4.617 | -4.488e-11 | -8.0743e-11 | 4.4704 | 0.52702 | 4.167 | 93.4628 | 15.7798 | -141.8761 | -86.5754 | -164.2757 | 38.171 |  | 1.2034 | 0 | 0 | 1.173 | 0.19927 | 0.24759 | 4.7137 | 0 | 0 | 6.4734 | -157.336 | 85.381
Line_2 | 0.29215 | 0.62888 | 0.70516 | 0.29053 | 0.62842 | 0.70519 | 3.3734 | 7.2617 | 8.1425 | 3.3547 | 7.2564 | 8.1428 | -0.38282 | -0.98108 | -0.33152 | 0.71243 | 1.3769 | 1.0066 | -3.7314 | 1.2683 | -2.0935 | 3.8702 | -0.4415 | 1.7469 | 106.9443 | 40.5851 | -154.8004 | -73.0963 | -139.5577 | 25.3321 |  | 1.1119 | 0.22081 | 0.26032 | 1.173 | 0.19927 | 0.24759 | 11.0866 | 168.3085 | 106.2014 | 6.4734 | -157.336 | 85.381
Line_3 | 0.083554 | 1.3507 | 1.3074 | 0.082911 | 1.351 | 1.3082 | 0.9648 | 15.5961 | 15.0962 | 0.95737 | 15.6004 | 15.1056 | 0.95578 | -4.0701e-11 | -2.5114e-11 | -0.9475 | 3.3085 | 1.8994 | -0.65919 | -4.0681e-11 | -5.0522e-11 | 0.48524 | -0.9592 | 3.4431 | 39.307 | 4.5478 | -134.9816 | -141.7954 | -175.5237 | 45.0851 |  | 1.2034 | 0 | 0 | 1.1119 | 0.22081 | 0.26032 | 4.7137 | 0 | 0 | 11.0866 | 168.3085 | 106.2014

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61505 | 2.4804 | 2.6788 | 0.61676 | 2.4805 | 2.6783 | 7.102 | 28.6406 | 30.9325 | 7.1217 | 28.6424 | 30.9263 | 0.84525 | 11.8484 | 12.0361 | -0.47432 | -5.7068 | -4.8639 | 8.5403 | 3.7088 | 10.1569 | -8.3406 | -0.085522 | -5.9139 | -80.2916 | -158.2343 | 34.852 | 99.7283 | 21.8054 | -145.1831 |  | 1.2084 | 0.43348 | 0.50914 | 1.173 | 0.19927 | 0.24759 | 4.0561 | -140.8529 | 75.012 | 6.4734 | -157.336 | 85.381
Line_1 | 0.33234 | 1.8959 | 1.9853 | 0.33051 | 1.8957 | 1.9862 | 3.8375 | 21.8917 | 22.9241 | 3.8163 | 21.8897 | 22.9341 | 0.10081 | -6.7158e-11 | -2.8651e-11 | -0.23811 | 4.3299 | 3.8574 | -4.617 | -4.488e-11 | -8.0743e-11 | 4.4704 | 0.52702 | 4.167 | 93.4628 | 15.7798 | -141.8761 | -86.5754 | -164.2757 | 38.171 |  | 1.2034 | 0 | 0 | 1.173 | 0.19927 | 0.24759 | 4.7137 | 0 | 0 | 6.4734 | -157.336 | 85.381
Line_2 | 0.29215 | 0.62888 | 0.70516 | 0.29053 | 0.62842 | 0.70519 | 3.3734 | 7.2617 | 8.1425 | 3.3547 | 7.2564 | 8.1428 | -0.38282 | -0.98108 | -0.33152 | 0.71243 | 1.3769 | 1.0066 | -3.7314 | 1.2683 | -2.0935 | 3.8702 | -0.4415 | 1.7469 | 106.9443 | 40.5851 | -154.8004 | -73.0963 | -139.5577 | 25.3321 |  | 1.1119 | 0.22081 | 0.26032 | 1.173 | 0.19927 | 0.24759 | 11.0866 | 168.3085 | 106.2014 | 6.4734 | -157.336 | 85.381
Line_3 | 0.083554 | 1.3507 | 1.3074 | 0.082911 | 1.351 | 1.3082 | 0.9648 | 15.5961 | 15.0962 | 0.95737 | 15.6004 | 15.1056 | 0.95578 | -4.0701e-11 | -2.5114e-11 | -0.9475 | 3.3085 | 1.8994 | -0.65919 | -4.0681e-11 | -5.0522e-11 | 0.48524 | -0.9592 | 3.4431 | 39.307 | 4.5478 | -134.9816 | -141.7954 | -175.5237 | 45.0851 |  | 1.2034 | 0 | 0 | 1.1119 | 0.22081 | 0.26032 | 4.7137 | 0 | 0 | 11.0866 | 168.3085 | 106.2014

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2254 | 0.68628 | 0.73681 | 0.22602 | 0.68629 | 0.73662 | 2.6027 | 7.9245 | 8.508 | 2.6099 | 7.9245 | 8.5058 | 1.3226 | 6.1285 | 4.2698 | -1.2762 | -5.66 | -3.7218 | 2.43 | 2.2133 | 6.1935 | -2.4065 | -1.9313 | -5.8736 | -58.7657 | -145.0088 | 52.9147 | 121.2443 | 35.0433 | -127.1315 |  | 1.063 | 0.82225 | 0.88419 | 1.0437 | 0.75467 | 0.8175 | 2.6748 | -125.1518 | 108.3323 | 3.3064 | -126.116 | 110.5082
Line_1 | 0.12111 | 0.53281 | 0.54807 | 0.12045 | 0.53281 | 0.5484 | 1.3985 | 6.1523 | 6.3286 | 1.3908 | 6.1524 | 6.3323 | -0.55571 | -3.8006 | -2.8226 | 0.53313 | 4.1732 | 3.125 | -1.3714 | -2.0165 | -3.7664 | 1.3501 | 2.0353 | 4.127 | 114.8737 | 27.9569 | -122.4197 | -65.1457 | -152.1149 | 57.6412 |  | 1.0581 | 0.69931 | 0.74372 | 1.0437 | 0.75467 | 0.8175 | 2.8159 | -124.0941 | 110.7323 | 3.3064 | -126.116 | 110.5082
Line_2 | 0.10776 | 0.1712 | 0.19556 | 0.10717 | 0.17104 | 0.19553 | 1.2443 | 1.9768 | 2.2581 | 1.2375 | 1.975 | 2.2577 | -0.70162 | -1.4591 | -0.53146 | 0.74308 | 1.4868 | 0.5968 | -1.0425 | 0.18441 | -1.7887 | 1.0564 | -0.10399 | 1.7466 | 128.451 | 58.075 | -140.7993 | -51.5699 | -122.1153 | 39.3735 |  | 1.0099 | 0.74397 | 0.82634 | 1.0437 | 0.75467 | 0.8175 | 4.5095 | -129.1282 | 112.6526 | 3.3064 | -126.116 | 110.5082
Line_3 | 0.030168 | 0.39403 | 0.36761 | 0.029925 | 0.39424 | 0.36795 | 0.34835 | 4.5499 | 4.2448 | 0.34555 | 4.5523 | 4.2487 | 0.20879 | -2.4194 | -2.2885 | -0.21145 | 2.7554 | 2.4661 | -0.30375 | -2.0665 | -2.1747 | 0.27762 | 1.9693 | 2.4989 | 58.3119 | 15.4037 | -112.8081 | -122.7855 | -164.6819 | 67.2741 |  | 1.0581 | 0.69931 | 0.74372 | 1.0099 | 0.74397 | 0.82634 | 2.8159 | -124.0941 | 110.7323 | 4.5095 | -129.1282 | 112.6526

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2254 | 0.68628 | 0.73681 | 0.22602 | 0.68629 | 0.73662 | 2.6027 | 7.9245 | 8.508 | 2.6099 | 7.9245 | 8.5058 | 1.3226 | 6.1285 | 4.2698 | -1.2762 | -5.66 | -3.7218 | 2.43 | 2.2133 | 6.1935 | -2.4065 | -1.9313 | -5.8736 | -58.7657 | -145.0088 | 52.9147 | 121.2443 | 35.0433 | -127.1315 |  | 1.063 | 0.82225 | 0.88419 | 1.0437 | 0.75467 | 0.8175 | 2.6748 | -125.1518 | 108.3323 | 3.3064 | -126.116 | 110.5082
Line_1 | 0.12111 | 0.53281 | 0.54807 | 0.12045 | 0.53281 | 0.5484 | 1.3985 | 6.1523 | 6.3286 | 1.3908 | 6.1524 | 6.3323 | -0.55571 | -3.8006 | -2.8226 | 0.53313 | 4.1732 | 3.125 | -1.3714 | -2.0165 | -3.7664 | 1.3501 | 2.0353 | 4.127 | 114.8737 | 27.9569 | -122.4197 | -65.1457 | -152.1149 | 57.6412 |  | 1.0581 | 0.69931 | 0.74372 | 1.0437 | 0.75467 | 0.8175 | 2.8159 | -124.0941 | 110.7323 | 3.3064 | -126.116 | 110.5082
Line_2 | 0.10776 | 0.1712 | 0.19556 | 0.10717 | 0.17104 | 0.19553 | 1.2443 | 1.9768 | 2.2581 | 1.2375 | 1.975 | 2.2577 | -0.70162 | -1.4591 | -0.53146 | 0.74308 | 1.4868 | 0.5968 | -1.0425 | 0.18441 | -1.7887 | 1.0564 | -0.10399 | 1.7466 | 128.451 | 58.075 | -140.7993 | -51.5699 | -122.1153 | 39.3735 |  | 1.0099 | 0.74397 | 0.82634 | 1.0437 | 0.75467 | 0.8175 | 4.5095 | -129.1282 | 112.6526 | 3.3064 | -126.116 | 110.5082
Line_3 | 0.030168 | 0.39403 | 0.36761 | 0.029925 | 0.39424 | 0.36795 | 0.34835 | 4.5499 | 4.2448 | 0.34555 | 4.5523 | 4.2487 | 0.20879 | -2.4194 | -2.2885 | -0.21145 | 2.7554 | 2.4661 | -0.30375 | -2.0665 | -2.1747 | 0.27762 | 1.9693 | 2.4989 | 58.3119 | 15.4037 | -112.8081 | -122.7855 | -164.6819 | 67.2741 |  | 1.0581 | 0.69931 | 0.74372 | 1.0099 | 0.74397 | 0.82634 | 2.8159 | -124.0941 | 110.7323 | 4.5095 | -129.1282 | 112.6526