## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -4.1685e-14 | 28.4108 | -10.6145 | 3.1264e-14 | -23.0719 | 15.9534 | 2.0843e-14 | 4.32 | 15.8719 | -1.0421e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 2.0073e-12 | -154.8648 | 140.2623 | 2.0831e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -5.2106e-15 | -13.0085 | 13.0085 | -5.2106e-15 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | 1.5632e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 2.1036e-12 | 180 | -180 | 2.0831e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 5.2106e-15 | -7.0974 | 5.911 | -2.0843e-14 | 7.6906 | -5.3178 | 1.9235e-28 | 1.2523 | -2.5984 | 5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 2.115e-12 | -173.5168 | 172.7598 | 2.0831e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.5632e-14 | -6.5042 | 6.5042 | 5.2106e-15 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | 1.0421e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 2.1036e-12 | 180 | -180 | 2.115e-12 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -4.1685e-14 | 28.4108 | -10.6145 | 3.1264e-14 | -23.0719 | 15.9534 | 2.0843e-14 | 4.32 | 15.8719 | -1.0421e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 2.0073e-12 | -154.8648 | 140.2623 | 2.0831e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -5.2106e-15 | -13.0085 | 13.0085 | -5.2106e-15 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | 1.5632e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 2.1036e-12 | 180 | -180 | 2.0831e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 5.2106e-15 | -7.0974 | 5.911 | -2.0843e-14 | 7.6906 | -5.3178 | 1.9235e-28 | 1.2523 | -2.5984 | 5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 2.115e-12 | -173.5168 | 172.7598 | 2.0831e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.5632e-14 | -6.5042 | 6.5042 | 5.2106e-15 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | 1.0421e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 2.1036e-12 | 180 | -180 | 2.115e-12 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.3448e-14 | 17.8002 | 0.06044 | 1.8237e-14 | -16.4209 | 1.3189 | 7.816e-15 | 3.9189 | 14.5607 | -7.816e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 8.0716e-13 | -136.625 | 120.7211 | 8.4592e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -5.2106e-15 | -10.3342 | 1.4923 | -2.6053e-15 | 10.9473 | -0.87927 | -7.816e-15 | -0.87368 | -7.9682 | 5.2106e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 8.5563e-13 | -144.2087 | 131.5665 | 8.4592e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 1.1746e-28 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | -7.816e-15 | -0.61073 | -4.158 | 7.816e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 8.6106e-13 | -142.4927 | 129.0741 | 8.4592e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -5.2106e-15 | -5.1671 | 0.74615 | -2.6053e-15 | 5.3204 | -0.59289 | -7.7814e-29 | -0.43684 | -3.9841 | -2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 8.5563e-13 | -144.2087 | 131.5665 | 8.6106e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.3448e-14 | 17.8002 | 0.06044 | 1.8237e-14 | -16.4209 | 1.3189 | 7.816e-15 | 3.9189 | 14.5607 | -7.816e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 8.0716e-13 | -136.625 | 120.7211 | 8.4592e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -5.2106e-15 | -10.3342 | 1.4923 | -2.6053e-15 | 10.9473 | -0.87927 | -7.816e-15 | -0.87368 | -7.9682 | 5.2106e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 8.5563e-13 | -144.2087 | 131.5665 | 8.4592e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 1.1746e-28 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | -7.816e-15 | -0.61073 | -4.158 | 7.816e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 8.6106e-13 | -142.4927 | 129.0741 | 8.4592e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -5.2106e-15 | -5.1671 | 0.74615 | -2.6053e-15 | 5.3204 | -0.59289 | -7.7814e-29 | -0.43684 | -3.9841 | -2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 8.5563e-13 | -144.2087 | 131.5665 | 8.6106e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 9.4739e-15 | 24.6317 | -2.0295 | -9.4739e-15 | -17.851 | 8.8102 | 1.1595e-28 | -0.29866 | 13.6553 | -1.1557e-28 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 7.0124e-13 | -153.068 | 126.0805 | 6.9896e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -5.9212e-15 | -8.8871 | 8.8871 | 5.9212e-15 | 11.9007 | -5.8735 | -9.4739e-15 | 4.6513 | -4.6513 | 4.737e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 6.7231e-13 | -180 | 180 | 6.9896e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 1.1842e-15 | -5.1969 | 3.6901 | -1.1842e-15 | 5.9503 | -2.9367 | -1.4211e-14 | 1.8804 | -2.7709 | 1.4211e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 6.8443e-13 | -172.2653 | 170.7242 | 6.9896e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -4.4435 | 4.4435 | 7.1054e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -9.4739e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 6.7231e-13 | -180 | 180 | 6.8443e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 9.4739e-15 | 24.6317 | -2.0295 | -9.4739e-15 | -17.851 | 8.8102 | 1.1595e-28 | -0.29866 | 13.6553 | -1.1557e-28 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 7.0124e-13 | -153.068 | 126.0805 | 6.9896e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -5.9212e-15 | -8.8871 | 8.8871 | 5.9212e-15 | 11.9007 | -5.8735 | -9.4739e-15 | 4.6513 | -4.6513 | 4.737e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 6.7231e-13 | -180 | 180 | 6.9896e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 1.1842e-15 | -5.1969 | 3.6901 | -1.1842e-15 | 5.9503 | -2.9367 | -1.4211e-14 | 1.8804 | -2.7709 | 1.4211e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 6.8443e-13 | -172.2653 | 170.7242 | 6.9896e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -4.4435 | 4.4435 | 7.1054e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -9.4739e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 6.7231e-13 | -180 | 180 | 6.8443e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 2.3685e-15 | 14.2512 | 1.4266 | -2.9606e-15 | -12.3717 | 0.45296 | 2.3685e-15 | 1.9064 | 11.2087 | -4.737e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 3.9803e-13 | -136.4258 | 118.7019 | 3.921e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -5.9212e-15 | -7.4125 | 1.1373 | 5.9212e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 3.7655e-13 | -143.7605 | 136.2873 | 3.921e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.9606e-15 | -3.9151 | 0.35982 | 2.9606e-15 | 4.1239 | -0.15099 | -1.9791e-29 | -0.14181 | -3.2426 | 2.0261e-29 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 3.8302e-13 | -141.9705 | 132.2872 | 3.921e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.3685e-15 | -3.7062 | 0.56866 | 1.1842e-15 | 3.9151 | -0.35982 | 4.737e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 3.7655e-13 | -143.7605 | 136.2873 | 3.8302e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 2.3685e-15 | 14.2512 | 1.4266 | -2.9606e-15 | -12.3717 | 0.45296 | 2.3685e-15 | 1.9064 | 11.2087 | -4.737e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 3.9803e-13 | -136.4258 | 118.7019 | 3.921e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -5.9212e-15 | -7.4125 | 1.1373 | 5.9212e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 3.7655e-13 | -143.7605 | 136.2873 | 3.921e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.9606e-15 | -3.9151 | 0.35982 | 2.9606e-15 | 4.1239 | -0.15099 | -1.9791e-29 | -0.14181 | -3.2426 | 2.0261e-29 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 3.8302e-13 | -141.9705 | 132.2872 | 3.921e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.3685e-15 | -3.7062 | 0.56866 | 1.1842e-15 | 3.9151 | -0.35982 | 4.737e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 3.7655e-13 | -143.7605 | 136.2873 | 3.8302e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46899 | 0.019641 | 0.019641 | 0.46437 | 0.01484 | 0.01484 | 5.4154 | 0.2268 | 0.2268 | 5.3621 | 0.17136 | 0.17136 | 0.59284 | 0.22328 | -0.20875 | -0.22794 | -0.16404 | 0.16242 | 0.32076 | -0.33806 | -0.33024 | -0.12587 | 0.25839 | 0.25548 | -71.3043 | -88.9628 | -88.9628 | 108.8594 | 90.5099 | 90.5099 | 0.12447 | 1.7864 | 1.7226 | 0.04856 | 1.7861 | 1.7667 | -42.8882 | -145.519 | 148.7388 | -42.2321 | -147.0797 | 148.0639
Line_1 | 0.30255 | 0.0024831 | 0.0024831 | 0.30724 | 0.0074293 | 0.0074293 | 3.4936 | 0.028673 | 0.028673 | 3.5477 | 0.085786 | 0.085786 | 3.1818e-12 | -0.026941 | 0.027688 | 0.15101 | 0.082313 | -0.081127 | -2.5262e-12 | 0.043586 | 0.043366 | 0.082904 | -0.12924 | -0.12802 | 109.299 | 90.2307 | 90.2307 | -70.9979 | -89.5733 | -89.5733 | 0 | 1.787 | 1.7944 | 0.04856 | 1.7861 | 1.7667 | 0 | -148.0486 | 147.6734 | -42.2321 | -147.0797 | 148.0639
Line_2 | 0.15246 | 0.0024925 | 0.0024925 | 0.15713 | 0.0074108 | 0.0074108 | 1.7604 | 0.028781 | 0.028781 | 1.8144 | 0.085572 | 0.085572 | -0.03602 | -0.027567 | 0.027267 | 0.076921 | 0.081732 | -0.081296 | -0.020398 | 0.043397 | 0.043413 | 0.042968 | -0.12915 | -0.12746 | 109.1416 | 89.9836 | 89.9836 | -71.4197 | -89.4066 | -89.4066 | 0.023514 | 1.7864 | 1.7813 | 0.04856 | 1.7861 | 1.7667 | -41.3352 | -147.5911 | 147.8511 | -42.2321 | -147.0797 | 148.0639
Line_3 | 0.14776 | 0.0024831 | 0.0024831 | 0.15246 | 0.0024925 | 0.0024925 | 1.7062 | 0.028673 | 0.028673 | 1.7604 | 0.028781 | 0.028781 | 1.5437e-12 | 0.026941 | -0.027688 | 0.03602 | 0.027567 | -0.027267 | -1.2465e-12 | -0.043586 | -0.043366 | 0.020398 | -0.043397 | -0.043413 | 109.7708 | -89.7693 | -89.7693 | -70.8584 | -90.0164 | -90.0164 | 0 | 1.787 | 1.7944 | 0.023514 | 1.7864 | 1.7813 | 0 | -148.0486 | 147.6734 | -41.3352 | -147.5911 | 147.8511

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46899 | 0.019641 | 0.019641 | 0.46437 | 0.01484 | 0.01484 | 5.4154 | 0.2268 | 0.2268 | 5.3621 | 0.17136 | 0.17136 | 0.59284 | 0.22328 | -0.20875 | -0.22794 | -0.16404 | 0.16242 | 0.32076 | -0.33806 | -0.33024 | -0.12587 | 0.25839 | 0.25548 | -71.3043 | -88.9628 | -88.9628 | 108.8594 | 90.5099 | 90.5099 | 0.12447 | 1.7864 | 1.7226 | 0.04856 | 1.7861 | 1.7667 | -42.8882 | -145.519 | 148.7388 | -42.2321 | -147.0797 | 148.0639
Line_1 | 0.30255 | 0.0024831 | 0.0024831 | 0.30724 | 0.0074293 | 0.0074293 | 3.4936 | 0.028673 | 0.028673 | 3.5477 | 0.085786 | 0.085786 | 3.1818e-12 | -0.026941 | 0.027688 | 0.15101 | 0.082313 | -0.081127 | -2.5262e-12 | 0.043586 | 0.043366 | 0.082904 | -0.12924 | -0.12802 | 109.299 | 90.2307 | 90.2307 | -70.9979 | -89.5733 | -89.5733 | 0 | 1.787 | 1.7944 | 0.04856 | 1.7861 | 1.7667 | 0 | -148.0486 | 147.6734 | -42.2321 | -147.0797 | 148.0639
Line_2 | 0.15246 | 0.0024925 | 0.0024925 | 0.15713 | 0.0074108 | 0.0074108 | 1.7604 | 0.028781 | 0.028781 | 1.8144 | 0.085572 | 0.085572 | -0.03602 | -0.027567 | 0.027267 | 0.076921 | 0.081732 | -0.081296 | -0.020398 | 0.043397 | 0.043413 | 0.042968 | -0.12915 | -0.12746 | 109.1416 | 89.9836 | 89.9836 | -71.4197 | -89.4066 | -89.4066 | 0.023514 | 1.7864 | 1.7813 | 0.04856 | 1.7861 | 1.7667 | -41.3352 | -147.5911 | 147.8511 | -42.2321 | -147.0797 | 148.0639
Line_3 | 0.14776 | 0.0024831 | 0.0024831 | 0.15246 | 0.0024925 | 0.0024925 | 1.7062 | 0.028673 | 0.028673 | 1.7604 | 0.028781 | 0.028781 | 1.5437e-12 | 0.026941 | -0.027688 | 0.03602 | 0.027567 | -0.027267 | -1.2465e-12 | -0.043586 | -0.043366 | 0.020398 | -0.043397 | -0.043413 | 109.7708 | -89.7693 | -89.7693 | -70.8584 | -90.0164 | -90.0164 | 0 | 1.787 | 1.7944 | 0.023514 | 1.7864 | 1.7813 | 0 | -148.0486 | 147.6734 | -41.3352 | -147.5911 | 147.8511

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.381 | 0.015956 | 0.015956 | 0.37725 | 0.012056 | 0.012056 | 4.3994 | 0.18425 | 0.18425 | 4.3561 | 0.13921 | 0.13921 | 1.0789 | 0.17009 | -0.17898 | -0.83328 | -0.12568 | 0.13831 | 0.91775 | -0.25756 | -0.22041 | -0.78023 | 0.1964 | 0.17076 | -66.2658 | -83.9243 | -83.9243 | 113.8978 | 95.5484 | 95.5484 | 0.32196 | 1.6752 | 1.541 | 0.26206 | 1.675 | 1.5785 | -25.8794 | -140.4841 | 146.9986 | -22.985 | -141.8361 | 146.5422
Line_1 | 0.24579 | 0.0020173 | 0.0020173 | 0.2496 | 0.0060355 | 0.0060355 | 2.8381 | 0.023294 | 0.023294 | 2.8821 | 0.069692 | 0.069692 | -0.44837 | -0.020715 | 0.023478 | 0.5526 | 0.063061 | -0.069116 | -0.4508 | 0.03308 | 0.029005 | 0.51485 | -0.098232 | -0.085586 | 114.3375 | 95.2692 | 95.2692 | -65.9594 | -84.5349 | -84.5349 | 0.22402 | 1.6756 | 1.602 | 0.26206 | 1.675 | 1.5785 | -20.5077 | -142.6756 | 146.281 | -22.985 | -141.8361 | 146.5422
Line_2 | 0.12385 | 0.0020249 | 0.0020249 | 0.12765 | 0.0060204 | 0.0060204 | 1.4301 | 0.023381 | 0.023381 | 1.474 | 0.069518 | 0.069518 | -0.24908 | -0.021158 | 0.023218 | 0.28068 | 0.062618 | -0.069192 | -0.24124 | 0.032959 | 0.02906 | 0.26539 | -0.09817 | -0.085172 | 114.1801 | 95.0221 | 95.0221 | -66.3813 | -84.3682 | -84.3682 | 0.24246 | 1.6751 | 1.5908 | 0.26206 | 1.675 | 1.5785 | -21.7361 | -142.2792 | 146.3985 | -22.985 | -141.8361 | 146.5422
Line_3 | 0.12004 | 0.0020173 | 0.0020173 | 0.12385 | 0.0020249 | 0.0020249 | 1.3861 | 0.023294 | 0.023294 | 1.4301 | 0.023381 | 0.023381 | -0.22078 | 0.020715 | -0.023478 | 0.24908 | 0.021158 | -0.023218 | -0.21835 | -0.03308 | -0.029005 | 0.24124 | -0.032959 | -0.02906 | 114.8093 | -84.7308 | -84.7308 | -65.8199 | -84.9779 | -84.9779 | 0.22402 | 1.6756 | 1.602 | 0.24246 | 1.6751 | 1.5908 | -20.5077 | -142.6756 | 146.281 | -21.7361 | -142.2792 | 146.3985

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.381 | 0.015956 | 0.015956 | 0.37725 | 0.012056 | 0.012056 | 4.3994 | 0.18425 | 0.18425 | 4.3561 | 0.13921 | 0.13921 | 1.0789 | 0.17009 | -0.17898 | -0.83328 | -0.12568 | 0.13831 | 0.91775 | -0.25756 | -0.22041 | -0.78023 | 0.1964 | 0.17076 | -66.2658 | -83.9243 | -83.9243 | 113.8978 | 95.5484 | 95.5484 | 0.32196 | 1.6752 | 1.541 | 0.26206 | 1.675 | 1.5785 | -25.8794 | -140.4841 | 146.9986 | -22.985 | -141.8361 | 146.5422
Line_1 | 0.24579 | 0.0020173 | 0.0020173 | 0.2496 | 0.0060355 | 0.0060355 | 2.8381 | 0.023294 | 0.023294 | 2.8821 | 0.069692 | 0.069692 | -0.44837 | -0.020715 | 0.023478 | 0.5526 | 0.063061 | -0.069116 | -0.4508 | 0.03308 | 0.029005 | 0.51485 | -0.098232 | -0.085586 | 114.3375 | 95.2692 | 95.2692 | -65.9594 | -84.5349 | -84.5349 | 0.22402 | 1.6756 | 1.602 | 0.26206 | 1.675 | 1.5785 | -20.5077 | -142.6756 | 146.281 | -22.985 | -141.8361 | 146.5422
Line_2 | 0.12385 | 0.0020249 | 0.0020249 | 0.12765 | 0.0060204 | 0.0060204 | 1.4301 | 0.023381 | 0.023381 | 1.474 | 0.069518 | 0.069518 | -0.24908 | -0.021158 | 0.023218 | 0.28068 | 0.062618 | -0.069192 | -0.24124 | 0.032959 | 0.02906 | 0.26539 | -0.09817 | -0.085172 | 114.1801 | 95.0221 | 95.0221 | -66.3813 | -84.3682 | -84.3682 | 0.24246 | 1.6751 | 1.5908 | 0.26206 | 1.675 | 1.5785 | -21.7361 | -142.2792 | 146.3985 | -22.985 | -141.8361 | 146.5422
Line_3 | 0.12004 | 0.0020173 | 0.0020173 | 0.12385 | 0.0020249 | 0.0020249 | 1.3861 | 0.023294 | 0.023294 | 1.4301 | 0.023381 | 0.023381 | -0.22078 | 0.020715 | -0.023478 | 0.24908 | 0.021158 | -0.023218 | -0.21835 | -0.03308 | -0.029005 | 0.24124 | -0.032959 | -0.02906 | 114.8093 | -84.7308 | -84.7308 | -65.8199 | -84.9779 | -84.9779 | 0.22402 | 1.6756 | 1.602 | 0.24246 | 1.6751 | 1.5908 | -20.5077 | -142.6756 | 146.281 | -21.7361 | -142.2792 | 146.3985

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41194 | 0.017551 | 0.017551 | 0.40789 | 0.013311 | 0.013311 | 4.7567 | 0.20266 | 0.20266 | 4.71 | 0.1537 | 0.1537 | 0.87784 | 0.18622 | -0.16437 | -0.33777 | -0.13419 | 0.1319 | 0.24228 | -0.27334 | -0.25619 | -0.096518 | 0.21064 | 0.20239 | -66.3078 | -87.1997 | -87.1997 | 113.8734 | 91.7759 | 91.7759 | 0.19145 | 1.6321 | 1.502 | 0.074584 | 1.6249 | 1.5717 | -50.8784 | -142.9343 | 150.116 | -50.1793 | -145.7233 | 148.6831
Line_1 | 0.26578 | 0.0022319 | 0.0022319 | 0.26988 | 0.0066684 | 0.0066684 | 3.069 | 0.025772 | 0.025772 | 3.1163 | 0.077 | 0.077 | -1.8291e-12 | -0.021732 | 0.022896 | 0.22367 | 0.067524 | -0.065791 | -4.7767e-13 | 0.035752 | 0.034789 | 0.063187 | -0.10533 | -0.10157 | 114.4079 | 91.2365 | 91.2365 | -65.9541 | -88.3853 | -88.3853 | 0 | 1.6234 | 1.616 | 0.074584 | 1.6249 | 1.5717 | 0 | -147.4703 | 147.8855 | -50.1793 | -145.7233 | 148.6831
Line_2 | 0.13392 | 0.0022451 | 0.0022451 | 0.13802 | 0.0066426 | 0.0066426 | 1.5464 | 0.025924 | 0.025924 | 1.5937 | 0.076702 | 0.076702 | -0.053426 | -0.022673 | 0.022224 | 0.1141 | 0.06667 | -0.066106 | -0.015921 | 0.035458 | 0.034862 | 0.03333 | -0.1053 | -0.10081 | 114.2105 | 90.7608 | 90.7608 | -66.4638 | -88.0623 | -88.0623 | 0.03605 | 1.6235 | 1.5948 | 0.074584 | 1.6249 | 1.5717 | -49.1955 | -146.6426 | 148.2435 | -50.1793 | -145.7233 | 148.6831
Line_3 | 0.12982 | 0.0022319 | 0.0022319 | 0.13392 | 0.0022451 | 0.0022451 | 1.499 | 0.025772 | 0.025772 | 1.5464 | 0.025924 | 0.025924 | -8.9574e-13 | 0.021732 | -0.022896 | 0.053426 | 0.022673 | -0.022224 | -2.2424e-13 | -0.035752 | -0.034789 | 0.015921 | -0.035458 | -0.034862 | 114.9893 | -88.7635 | -88.7635 | -65.7895 | -89.2392 | -89.2392 | 0 | 1.6234 | 1.616 | 0.03605 | 1.6235 | 1.5948 | 0 | -147.4703 | 147.8855 | -49.1955 | -146.6426 | 148.2435

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41194 | 0.017551 | 0.017551 | 0.40789 | 0.013311 | 0.013311 | 4.7567 | 0.20266 | 0.20266 | 4.71 | 0.1537 | 0.1537 | 0.87784 | 0.18622 | -0.16437 | -0.33777 | -0.13419 | 0.1319 | 0.24228 | -0.27334 | -0.25619 | -0.096518 | 0.21064 | 0.20239 | -66.3078 | -87.1997 | -87.1997 | 113.8734 | 91.7759 | 91.7759 | 0.19145 | 1.6321 | 1.502 | 0.074584 | 1.6249 | 1.5717 | -50.8784 | -142.9343 | 150.116 | -50.1793 | -145.7233 | 148.6831
Line_1 | 0.26578 | 0.0022319 | 0.0022319 | 0.26988 | 0.0066684 | 0.0066684 | 3.069 | 0.025772 | 0.025772 | 3.1163 | 0.077 | 0.077 | -1.8291e-12 | -0.021732 | 0.022896 | 0.22367 | 0.067524 | -0.065791 | -4.7767e-13 | 0.035752 | 0.034789 | 0.063187 | -0.10533 | -0.10157 | 114.4079 | 91.2365 | 91.2365 | -65.9541 | -88.3853 | -88.3853 | 0 | 1.6234 | 1.616 | 0.074584 | 1.6249 | 1.5717 | 0 | -147.4703 | 147.8855 | -50.1793 | -145.7233 | 148.6831
Line_2 | 0.13392 | 0.0022451 | 0.0022451 | 0.13802 | 0.0066426 | 0.0066426 | 1.5464 | 0.025924 | 0.025924 | 1.5937 | 0.076702 | 0.076702 | -0.053426 | -0.022673 | 0.022224 | 0.1141 | 0.06667 | -0.066106 | -0.015921 | 0.035458 | 0.034862 | 0.03333 | -0.1053 | -0.10081 | 114.2105 | 90.7608 | 90.7608 | -66.4638 | -88.0623 | -88.0623 | 0.03605 | 1.6235 | 1.5948 | 0.074584 | 1.6249 | 1.5717 | -49.1955 | -146.6426 | 148.2435 | -50.1793 | -145.7233 | 148.6831
Line_3 | 0.12982 | 0.0022319 | 0.0022319 | 0.13392 | 0.0022451 | 0.0022451 | 1.499 | 0.025772 | 0.025772 | 1.5464 | 0.025924 | 0.025924 | -8.9574e-13 | 0.021732 | -0.022896 | 0.053426 | 0.022673 | -0.022224 | -2.2424e-13 | -0.035752 | -0.034789 | 0.015921 | -0.035458 | -0.034862 | 114.9893 | -88.7635 | -88.7635 | -65.7895 | -89.2392 | -89.2392 | 0 | 1.6234 | 1.616 | 0.03605 | 1.6235 | 1.5948 | 0 | -147.4703 | 147.8855 | -49.1955 | -146.6426 | 148.2435

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33492 | 0.014269 | 0.014269 | 0.33163 | 0.010822 | 0.010822 | 3.8673 | 0.16477 | 0.16477 | 3.8294 | 0.12497 | 0.12497 | 1.1103 | 0.14253 | -0.14088 | -0.7498 | -0.1038 | 0.11157 | 0.70722 | -0.20667 | -0.17319 | -0.60383 | 0.15868 | 0.13713 | -62.3709 | -83.2627 | -83.2627 | 117.8103 | 95.7128 | 95.7128 | 0.34039 | 1.5237 | 1.355 | 0.2514 | 1.5173 | 1.4147 | -29.8753 | -138.6701 | 147.6113 | -23.3445 | -141.0965 | 146.5809
Line_1 | 0.21609 | 0.0018146 | 0.0018146 | 0.21942 | 0.0054216 | 0.0054216 | 2.4952 | 0.020954 | 0.020954 | 2.5337 | 0.062604 | 0.062604 | -0.34634 | -0.016927 | 0.019218 | 0.4973 | 0.052224 | -0.055701 | -0.34866 | 0.026869 | 0.023597 | 0.39802 | -0.079346 | -0.068856 | 118.3448 | 95.1734 | 95.1734 | -62.0172 | -84.4484 | -84.4484 | 0.19696 | 1.5156 | 1.4524 | 0.2514 | 1.5173 | 1.4147 | -16.4644 | -142.617 | 146.0123 | -23.3445 | -141.0965 | 146.5809
Line_2 | 0.10888 | 0.0018253 | 0.0018253 | 0.11221 | 0.0054007 | 0.0054007 | 1.2573 | 0.021077 | 0.021077 | 1.2957 | 0.062362 | 0.062362 | -0.20923 | -0.017591 | 0.018793 | 0.2525 | 0.051575 | -0.055871 | -0.18681 | 0.026672 | 0.023682 | 0.2058 | -0.079332 | -0.068276 | 118.1474 | 94.6977 | 94.6977 | -62.5269 | -84.1254 | -84.1254 | 0.22309 | 1.5159 | 1.4344 | 0.2514 | 1.5173 | 1.4147 | -20.0926 | -141.8963 | 146.2644 | -23.3445 | -141.0965 | 146.5809
Line_3 | 0.10555 | 0.0018146 | 0.0018146 | 0.10888 | 0.0018253 | 0.0018253 | 1.2188 | 0.020954 | 0.020954 | 1.2573 | 0.021077 | 0.021077 | -0.17089 | 0.016927 | -0.019218 | 0.20923 | 0.017591 | -0.018793 | -0.16858 | -0.026869 | -0.023597 | 0.18681 | -0.026672 | -0.023682 | 118.9262 | -84.8266 | -84.8266 | -61.8526 | -85.3023 | -85.3023 | 0.19696 | 1.5156 | 1.4524 | 0.22309 | 1.5159 | 1.4344 | -16.4644 | -142.617 | 146.0123 | -20.0926 | -141.8963 | 146.2644

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33492 | 0.014269 | 0.014269 | 0.33163 | 0.010822 | 0.010822 | 3.8673 | 0.16477 | 0.16477 | 3.8294 | 0.12497 | 0.12497 | 1.1103 | 0.14253 | -0.14088 | -0.7498 | -0.1038 | 0.11157 | 0.70722 | -0.20667 | -0.17319 | -0.60383 | 0.15868 | 0.13713 | -62.3709 | -83.2627 | -83.2627 | 117.8103 | 95.7128 | 95.7128 | 0.34039 | 1.5237 | 1.355 | 0.2514 | 1.5173 | 1.4147 | -29.8753 | -138.6701 | 147.6113 | -23.3445 | -141.0965 | 146.5809
Line_1 | 0.21609 | 0.0018146 | 0.0018146 | 0.21942 | 0.0054216 | 0.0054216 | 2.4952 | 0.020954 | 0.020954 | 2.5337 | 0.062604 | 0.062604 | -0.34634 | -0.016927 | 0.019218 | 0.4973 | 0.052224 | -0.055701 | -0.34866 | 0.026869 | 0.023597 | 0.39802 | -0.079346 | -0.068856 | 118.3448 | 95.1734 | 95.1734 | -62.0172 | -84.4484 | -84.4484 | 0.19696 | 1.5156 | 1.4524 | 0.2514 | 1.5173 | 1.4147 | -16.4644 | -142.617 | 146.0123 | -23.3445 | -141.0965 | 146.5809
Line_2 | 0.10888 | 0.0018253 | 0.0018253 | 0.11221 | 0.0054007 | 0.0054007 | 1.2573 | 0.021077 | 0.021077 | 1.2957 | 0.062362 | 0.062362 | -0.20923 | -0.017591 | 0.018793 | 0.2525 | 0.051575 | -0.055871 | -0.18681 | 0.026672 | 0.023682 | 0.2058 | -0.079332 | -0.068276 | 118.1474 | 94.6977 | 94.6977 | -62.5269 | -84.1254 | -84.1254 | 0.22309 | 1.5159 | 1.4344 | 0.2514 | 1.5173 | 1.4147 | -20.0926 | -141.8963 | 146.2644 | -23.3445 | -141.0965 | 146.5809
Line_3 | 0.10555 | 0.0018146 | 0.0018146 | 0.10888 | 0.0018253 | 0.0018253 | 1.2188 | 0.020954 | 0.020954 | 1.2573 | 0.021077 | 0.021077 | -0.17089 | 0.016927 | -0.019218 | 0.20923 | 0.017591 | -0.018793 | -0.16858 | -0.026869 | -0.023597 | 0.18681 | -0.026672 | -0.023682 | 118.9262 | -84.8266 | -84.8266 | -61.8526 | -85.3023 | -85.3023 | 0.19696 | 1.5156 | 1.4524 | 0.22309 | 1.5159 | 1.4344 | -16.4644 | -142.617 | 146.0123 | -20.0926 | -141.8963 | 146.2644

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010456 | 3.2107 | 3.203 | 0.0079001 | 3.2112 | 3.2023 | 0.12074 | 37.074 | 36.9852 | 0.091222 | 37.0798 | 36.9771 | -0.00015081 | 9.4341 | 8.5096 | 0.00076178 | -3.7729 | -3.4015 | -0.19213 | 8.7072 | 11.5502 | 0.14644 | -3.5068 | -4.5951 | 91.2292 | -165.827 | 18.8112 | -89.2981 | 14.2177 | -161.2328 | 1.5913 | 0.34628 | 0.3879 | 1.6054 | 0.13892 | 0.15461 | 1.1842 | -123.1216 | 72.4303 | 0.40387 | -122.8753 | 72.2569
Line_1 | 0.0013219 | 2.1417 | 2.1337 | 0.003955 | 2.1411 | 2.1345 | 0.015264 | 24.7305 | 24.6374 | 0.045668 | 24.7234 | 24.6468 | 0.00021175 | 4.5654e-11 | 5.0051e-11 | -0.00027485 | 2.517 | 2.2654 | 0.024642 | -3.0447e-11 | 1.9568e-11 | -0.073314 | 2.3367 | 3.0642 | -89.5773 | 14.3203 | -161.3335 | 90.6187 | -165.7481 | 18.7337 | 1.6144 | 0 | 0 | 1.6054 | 0.13892 | 0.15461 | -0.069638 | 0 | 0 | 0.40387 | -122.8753 | 72.2569
Line_2 | 0.0013269 | 1.0707 | 1.067 | 0.0039451 | 1.0701 | 1.0678 | 0.015321 | 12.3633 | 12.3212 | 0.045554 | 12.3565 | 12.3303 | 1.0374e-05 | -0.62889 | -0.56617 | -0.00048694 | 1.2559 | 1.1361 | 0.024668 | -0.58944 | -0.76066 | -0.07313 | 1.1701 | 1.531 | -89.8244 | 14.2858 | -161.2997 | 90.7854 | -165.8507 | 18.8342 | 1.6101 | 0.069717 | 0.07696 | 1.6054 | 0.13892 | 0.15461 | 0.15151 | -122.5691 | 72.0394 | 0.40387 | -122.8753 | 72.2569
Line_3 | 0.0013219 | 1.0713 | 1.0662 | 0.0013269 | 1.0707 | 1.067 | 0.015264 | 12.3708 | 12.3115 | 0.015321 | 12.3633 | 12.3212 | -0.00021175 | 2.281e-11 | 2.4994e-11 | -1.0377e-05 | 0.62889 | 0.56617 | -0.024642 | -1.5271e-11 | 9.8224e-12 | -0.024668 | 0.58944 | 0.76066 | 90.4227 | 14.4233 | -161.4347 | 90.1756 | -165.7142 | 18.7003 | 1.6144 | 0 | 0 | 1.6101 | 0.069717 | 0.07696 | -0.069638 | 0 | 0 | 0.15151 | -122.5691 | 72.0394

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010456 | 3.2107 | 3.203 | 0.0079001 | 3.2112 | 3.2023 | 0.12074 | 37.074 | 36.9852 | 0.091222 | 37.0798 | 36.9771 | -0.00015081 | 9.4341 | 8.5096 | 0.00076178 | -3.7729 | -3.4015 | -0.19213 | 8.7072 | 11.5502 | 0.14644 | -3.5068 | -4.5951 | 91.2292 | -165.827 | 18.8112 | -89.2981 | 14.2177 | -161.2328 | 1.5913 | 0.34628 | 0.3879 | 1.6054 | 0.13892 | 0.15461 | 1.1842 | -123.1216 | 72.4303 | 0.40387 | -122.8753 | 72.2569
Line_1 | 0.0013219 | 2.1417 | 2.1337 | 0.003955 | 2.1411 | 2.1345 | 0.015264 | 24.7305 | 24.6374 | 0.045668 | 24.7234 | 24.6468 | 0.00021175 | 4.5654e-11 | 5.0051e-11 | -0.00027485 | 2.517 | 2.2654 | 0.024642 | -3.0447e-11 | 1.9568e-11 | -0.073314 | 2.3367 | 3.0642 | -89.5773 | 14.3203 | -161.3335 | 90.6187 | -165.7481 | 18.7337 | 1.6144 | 0 | 0 | 1.6054 | 0.13892 | 0.15461 | -0.069638 | 0 | 0 | 0.40387 | -122.8753 | 72.2569
Line_2 | 0.0013269 | 1.0707 | 1.067 | 0.0039451 | 1.0701 | 1.0678 | 0.015321 | 12.3633 | 12.3212 | 0.045554 | 12.3565 | 12.3303 | 1.0374e-05 | -0.62889 | -0.56617 | -0.00048694 | 1.2559 | 1.1361 | 0.024668 | -0.58944 | -0.76066 | -0.07313 | 1.1701 | 1.531 | -89.8244 | 14.2858 | -161.2997 | 90.7854 | -165.8507 | 18.8342 | 1.6101 | 0.069717 | 0.07696 | 1.6054 | 0.13892 | 0.15461 | 0.15151 | -122.5691 | 72.0394 | 0.40387 | -122.8753 | 72.2569
Line_3 | 0.0013219 | 1.0713 | 1.0662 | 0.0013269 | 1.0707 | 1.067 | 0.015264 | 12.3708 | 12.3115 | 0.015321 | 12.3633 | 12.3212 | -0.00021175 | 2.281e-11 | 2.4994e-11 | -1.0377e-05 | 0.62889 | 0.56617 | -0.024642 | -1.5271e-11 | 9.8224e-12 | -0.024668 | 0.58944 | 0.76066 | 90.4227 | 14.4233 | -161.4347 | 90.1756 | -165.7142 | 18.7003 | 1.6144 | 0 | 0 | 1.6101 | 0.069717 | 0.07696 | -0.069638 | 0 | 0 | 0.15151 | -122.5691 | 72.0394

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093186 | 1.053 | 1.1113 | 0.0070407 | 1.0539 | 1.1099 | 0.1076 | 12.159 | 12.8319 | 0.081299 | 12.1697 | 12.8165 | -0.0064195 | 6.5335 | 7.2968 | 0.0052771 | -5.9433 | -6.6079 | -0.16519 | 6.2601 | 7.7817 | 0.12587 | -5.8709 | -6.7689 | 94.1486 | -150.3284 | 41.5544 | -86.3787 | 29.7849 | -138.5411 | 1.5364 | 0.74418 | 0.83134 | 1.5496 | 0.68647 | 0.73807 | 1.9231 | -106.5525 | 88.3961 | 1.2206 | -105.566 | 87.1485
Line_1 | 0.0011781 | 0.70417 | 0.73782 | 0.0035248 | 0.70313 | 0.73925 | 0.013604 | 8.131 | 8.5196 | 0.0407 | 8.119 | 8.5361 | 0.00094215 | -3.7161 | -4.0839 | -0.0025503 | 3.9709 | 4.3954 | 0.021175 | -3.7273 | -4.0736 | -0.063018 | 3.9109 | 4.5138 | -86.6579 | 30.0419 | -138.7569 | 93.538 | -150.1294 | 41.3871 | 1.5581 | 0.64731 | 0.67706 | 1.5496 | 0.68647 | 0.73807 | 0.79443 | -104.8726 | 86.1708 | 1.2206 | -105.566 | 87.1485
Line_2 | 0.0011825 | 0.35181 | 0.36928 | 0.003516 | 0.3508 | 0.3707 | 0.013655 | 4.0624 | 4.264 | 0.040599 | 4.0507 | 4.2804 | 0.00077817 | -1.9219 | -2.1192 | -0.0027268 | 1.9724 | 2.2125 | 0.021205 | -1.9111 | -2.1452 | -0.062854 | 1.9601 | 2.2551 | -86.905 | 29.9559 | -138.6848 | 93.7047 | -150.3869 | 41.6021 | 1.554 | 0.66718 | 0.70719 | 1.5496 | 0.68647 | 0.73807 | 0.99334 | -105.2069 | 86.665 | 1.2206 | -105.566 | 87.1485
Line_3 | 0.0011781 | 0.35288 | 0.36782 | 0.0011825 | 0.35181 | 0.36928 | 0.013604 | 4.0747 | 4.2473 | 0.013655 | 4.0624 | 4.264 | -0.00094215 | -1.8706 | -2.0283 | -0.00077817 | 1.9219 | 2.1192 | -0.021175 | -1.8595 | -2.0385 | -0.021205 | 1.9111 | 2.1452 | 93.3421 | 30.2982 | -138.9742 | 93.095 | -150.0441 | 41.3152 | 1.5581 | 0.64731 | 0.67706 | 1.554 | 0.66718 | 0.70719 | 0.79443 | -104.8726 | 86.1708 | 0.99334 | -105.2069 | 86.665

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093186 | 1.053 | 1.1113 | 0.0070407 | 1.0539 | 1.1099 | 0.1076 | 12.159 | 12.8319 | 0.081299 | 12.1697 | 12.8165 | -0.0064195 | 6.5335 | 7.2968 | 0.0052771 | -5.9433 | -6.6079 | -0.16519 | 6.2601 | 7.7817 | 0.12587 | -5.8709 | -6.7689 | 94.1486 | -150.3284 | 41.5544 | -86.3787 | 29.7849 | -138.5411 | 1.5364 | 0.74418 | 0.83134 | 1.5496 | 0.68647 | 0.73807 | 1.9231 | -106.5525 | 88.3961 | 1.2206 | -105.566 | 87.1485
Line_1 | 0.0011781 | 0.70417 | 0.73782 | 0.0035248 | 0.70313 | 0.73925 | 0.013604 | 8.131 | 8.5196 | 0.0407 | 8.119 | 8.5361 | 0.00094215 | -3.7161 | -4.0839 | -0.0025503 | 3.9709 | 4.3954 | 0.021175 | -3.7273 | -4.0736 | -0.063018 | 3.9109 | 4.5138 | -86.6579 | 30.0419 | -138.7569 | 93.538 | -150.1294 | 41.3871 | 1.5581 | 0.64731 | 0.67706 | 1.5496 | 0.68647 | 0.73807 | 0.79443 | -104.8726 | 86.1708 | 1.2206 | -105.566 | 87.1485
Line_2 | 0.0011825 | 0.35181 | 0.36928 | 0.003516 | 0.3508 | 0.3707 | 0.013655 | 4.0624 | 4.264 | 0.040599 | 4.0507 | 4.2804 | 0.00077817 | -1.9219 | -2.1192 | -0.0027268 | 1.9724 | 2.2125 | 0.021205 | -1.9111 | -2.1452 | -0.062854 | 1.9601 | 2.2551 | -86.905 | 29.9559 | -138.6848 | 93.7047 | -150.3869 | 41.6021 | 1.554 | 0.66718 | 0.70719 | 1.5496 | 0.68647 | 0.73807 | 0.99334 | -105.2069 | 86.665 | 1.2206 | -105.566 | 87.1485
Line_3 | 0.0011781 | 0.35288 | 0.36782 | 0.0011825 | 0.35181 | 0.36928 | 0.013604 | 4.0747 | 4.2473 | 0.013655 | 4.0624 | 4.264 | -0.00094215 | -1.8706 | -2.0283 | -0.00077817 | 1.9219 | 2.1192 | -0.021175 | -1.8595 | -2.0385 | -0.021205 | 1.9111 | 2.1452 | 93.3421 | 30.2982 | -138.9742 | 93.095 | -150.0441 | 41.3152 | 1.5581 | 0.64731 | 0.67706 | 1.554 | 0.66718 | 0.70719 | 0.79443 | -104.8726 | 86.1708 | 0.99334 | -105.2069 | 86.665

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093917 | 2.5986 | 2.6185 | 0.007123 | 2.5994 | 2.6176 | 0.10845 | 30.0061 | 30.2359 | 0.082249 | 30.0148 | 30.2251 | -0.00035041 | 11.4339 | 11.389 | 0.0012326 | -4.583 | -4.5416 | -0.15517 | 4.6237 | 8.7838 | 0.11936 | -1.8809 | -3.4816 | 92.5874 | -154.8918 | 30.126 | -88.437 | 25.1555 | -149.9194 | 1.4309 | 0.41103 | 0.47569 | 1.4513 | 0.16505 | 0.18933 | 2.4581 | -132.8741 | 67.7675 | 0.9713 | -132.5304 | 67.5549
Line_1 | 0.0011944 | 1.7343 | 1.7434 | 0.0035684 | 1.7334 | 1.7445 | 0.013791 | 20.0262 | 20.1306 | 0.041204 | 20.0152 | 20.1436 | 0.00033347 | -9.2968e-11 | 5.3808e-12 | -0.00044926 | 3.0569 | 3.0254 | 0.0202 | -7.2648e-11 | -1.1904e-10 | -0.059796 | 1.2524 | 2.3222 | -88.9764 | 25.2633 | -150.0222 | 91.4018 | -154.8086 | 30.0464 | 1.4649 | 0 | 0 | 1.4513 | 0.16505 | 0.18933 | 0.077777 | 0 | 0 | 0.9713 | -132.5304 | 67.5549
Line_2 | 0.0012014 | 0.8669 | 0.87198 | 0.0035546 | 0.86599 | 0.87308 | 0.013872 | 10.0101 | 10.0688 | 0.041045 | 9.9996 | 10.0814 | 1.9065e-05 | -0.76617 | -0.7536 | -0.00078333 | 1.5261 | 1.5162 | 0.020229 | -0.31999 | -0.57364 | -0.059562 | 0.62855 | 1.1595 | -89.4521 | 25.2271 | -149.9878 | 91.7248 | -154.9163 | 30.149 | 1.4582 | 0.082947 | 0.094062 | 1.4513 | 0.16505 | 0.18933 | 0.49389 | -132.1051 | 67.2903 | 0.9713 | -132.5304 | 67.5549
Line_3 | 0.0011944 | 0.8679 | 0.87081 | 0.0012014 | 0.8669 | 0.87198 | 0.013791 | 10.0216 | 10.0553 | 0.013872 | 10.0101 | 10.0688 | -0.00033348 | -4.6592e-11 | 2.7948e-12 | -1.9068e-05 | 0.76617 | 0.7536 | -0.0202 | -3.6267e-11 | -5.9458e-11 | -0.020229 | 0.31999 | 0.57364 | 91.0236 | 25.3711 | -150.1253 | 90.5479 | -154.7729 | 30.0122 | 1.4649 | 0 | 0 | 1.4582 | 0.082947 | 0.094062 | 0.077777 | 0 | 0 | 0.49389 | -132.1051 | 67.2903

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093917 | 2.5986 | 2.6185 | 0.007123 | 2.5994 | 2.6176 | 0.10845 | 30.0061 | 30.2359 | 0.082249 | 30.0148 | 30.2251 | -0.00035041 | 11.4339 | 11.389 | 0.0012326 | -4.583 | -4.5416 | -0.15517 | 4.6237 | 8.7838 | 0.11936 | -1.8809 | -3.4816 | 92.5874 | -154.8918 | 30.126 | -88.437 | 25.1555 | -149.9194 | 1.4309 | 0.41103 | 0.47569 | 1.4513 | 0.16505 | 0.18933 | 2.4581 | -132.8741 | 67.7675 | 0.9713 | -132.5304 | 67.5549
Line_1 | 0.0011944 | 1.7343 | 1.7434 | 0.0035684 | 1.7334 | 1.7445 | 0.013791 | 20.0262 | 20.1306 | 0.041204 | 20.0152 | 20.1436 | 0.00033347 | -9.2968e-11 | 5.3808e-12 | -0.00044926 | 3.0569 | 3.0254 | 0.0202 | -7.2648e-11 | -1.1904e-10 | -0.059796 | 1.2524 | 2.3222 | -88.9764 | 25.2633 | -150.0222 | 91.4018 | -154.8086 | 30.0464 | 1.4649 | 0 | 0 | 1.4513 | 0.16505 | 0.18933 | 0.077777 | 0 | 0 | 0.9713 | -132.5304 | 67.5549
Line_2 | 0.0012014 | 0.8669 | 0.87198 | 0.0035546 | 0.86599 | 0.87308 | 0.013872 | 10.0101 | 10.0688 | 0.041045 | 9.9996 | 10.0814 | 1.9065e-05 | -0.76617 | -0.7536 | -0.00078333 | 1.5261 | 1.5162 | 0.020229 | -0.31999 | -0.57364 | -0.059562 | 0.62855 | 1.1595 | -89.4521 | 25.2271 | -149.9878 | 91.7248 | -154.9163 | 30.149 | 1.4582 | 0.082947 | 0.094062 | 1.4513 | 0.16505 | 0.18933 | 0.49389 | -132.1051 | 67.2903 | 0.9713 | -132.5304 | 67.5549
Line_3 | 0.0011944 | 0.8679 | 0.87081 | 0.0012014 | 0.8669 | 0.87198 | 0.013791 | 10.0216 | 10.0553 | 0.013872 | 10.0101 | 10.0688 | -0.00033348 | -4.6592e-11 | 2.7948e-12 | -1.9068e-05 | 0.76617 | 0.7536 | -0.0202 | -3.6267e-11 | -5.9458e-11 | -0.020229 | 0.31999 | 0.57364 | 91.0236 | 25.3711 | -150.1253 | 90.5479 | -154.7729 | 30.0122 | 1.4649 | 0 | 0 | 1.4582 | 0.082947 | 0.094062 | 0.077777 | 0 | 0 | 0.49389 | -132.1051 | 67.2903

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0083685 | 0.90726 | 0.95617 | 0.006347 | 0.9081 | 0.95496 | 0.096632 | 10.4761 | 11.0409 | 0.073289 | 10.4859 | 11.0269 | -0.0046757 | 5.4737 | 6.2338 | 0.0041742 | -4.6652 | -5.2185 | -0.13346 | 4.346 | 6.0641 | 0.10261 | -4.2435 | -5.1268 | 94.9182 | -147.3659 | 44.8573 | -86.1063 | 32.7504 | -135.2401 | 1.382 | 0.66715 | 0.78769 | 1.4012 | 0.60143 | 0.66342 | 2.9117 | -108.9172 | 89.067 | 1.5642 | -104.9594 | 89.252
Line_1 | 0.0010642 | 0.60693 | 0.63458 | 0.0031796 | 0.6059 | 0.63596 | 0.012289 | 7.0082 | 7.3275 | 0.036715 | 6.9964 | 7.3434 | 0.00078819 | -2.7609 | -3.0206 | -0.0019465 | 3.117 | 3.471 | 0.017358 | -2.7693 | -3.013 | -0.051409 | 2.8266 | 3.4186 | -86.6457 | 33.0127 | -135.457 | 93.7325 | -147.1621 | 44.6877 | 1.4139 | 0.55798 | 0.58225 | 1.4012 | 0.60143 | 0.66342 | 0.75441 | -101.9 | 89.4706 | 1.5642 | -104.9594 | 89.252
Line_2 | 0.0010705 | 0.30319 | 0.31765 | 0.0031674 | 0.3022 | 0.319 | 0.012361 | 3.5009 | 3.6679 | 0.036574 | 3.4895 | 3.6835 | 0.0005306 | -1.4702 | -1.6216 | -0.0022277 | 1.5482 | 1.7475 | 0.017393 | -1.401 | -1.6059 | -0.051199 | 1.4169 | 1.7082 | -87.1213 | 32.9252 | -135.385 | 94.0555 | -147.425 | 44.9038 | 1.4077 | 0.58008 | 0.6222 | 1.4012 | 0.60143 | 0.66342 | 1.1313 | -103.4552 | 89.3371 | 1.5642 | -104.9594 | 89.252
Line_3 | 0.0010642 | 0.30426 | 0.31624 | 0.0010705 | 0.30319 | 0.31765 | 0.012289 | 3.5133 | 3.6516 | 0.012361 | 3.5009 | 3.6679 | -0.0007882 | -1.3904 | -1.4996 | -0.0005306 | 1.4702 | 1.6216 | -0.017358 | -1.382 | -1.5072 | -0.017393 | 1.401 | 1.6059 | 93.3544 | 33.274 | -135.6746 | 92.8787 | -147.0748 | 44.615 | 1.4139 | 0.55798 | 0.58225 | 1.4077 | 0.58008 | 0.6222 | 0.75441 | -101.9 | 89.4706 | 1.1313 | -103.4552 | 89.3371

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0083685 | 0.90726 | 0.95617 | 0.006347 | 0.9081 | 0.95496 | 0.096632 | 10.4761 | 11.0409 | 0.073289 | 10.4859 | 11.0269 | -0.0046757 | 5.4737 | 6.2338 | 0.0041742 | -4.6652 | -5.2185 | -0.13346 | 4.346 | 6.0641 | 0.10261 | -4.2435 | -5.1268 | 94.9182 | -147.3659 | 44.8573 | -86.1063 | 32.7504 | -135.2401 | 1.382 | 0.66715 | 0.78769 | 1.4012 | 0.60143 | 0.66342 | 2.9117 | -108.9172 | 89.067 | 1.5642 | -104.9594 | 89.252
Line_1 | 0.0010642 | 0.60693 | 0.63458 | 0.0031796 | 0.6059 | 0.63596 | 0.012289 | 7.0082 | 7.3275 | 0.036715 | 6.9964 | 7.3434 | 0.00078819 | -2.7609 | -3.0206 | -0.0019465 | 3.117 | 3.471 | 0.017358 | -2.7693 | -3.013 | -0.051409 | 2.8266 | 3.4186 | -86.6457 | 33.0127 | -135.457 | 93.7325 | -147.1621 | 44.6877 | 1.4139 | 0.55798 | 0.58225 | 1.4012 | 0.60143 | 0.66342 | 0.75441 | -101.9 | 89.4706 | 1.5642 | -104.9594 | 89.252
Line_2 | 0.0010705 | 0.30319 | 0.31765 | 0.0031674 | 0.3022 | 0.319 | 0.012361 | 3.5009 | 3.6679 | 0.036574 | 3.4895 | 3.6835 | 0.0005306 | -1.4702 | -1.6216 | -0.0022277 | 1.5482 | 1.7475 | 0.017393 | -1.401 | -1.6059 | -0.051199 | 1.4169 | 1.7082 | -87.1213 | 32.9252 | -135.385 | 94.0555 | -147.425 | 44.9038 | 1.4077 | 0.58008 | 0.6222 | 1.4012 | 0.60143 | 0.66342 | 1.1313 | -103.4552 | 89.3371 | 1.5642 | -104.9594 | 89.252
Line_3 | 0.0010642 | 0.30426 | 0.31624 | 0.0010705 | 0.30319 | 0.31765 | 0.012289 | 3.5133 | 3.6516 | 0.012361 | 3.5009 | 3.6679 | -0.0007882 | -1.3904 | -1.4996 | -0.0005306 | 1.4702 | 1.6216 | -0.017358 | -1.382 | -1.5072 | -0.017393 | 1.401 | 1.6059 | 93.3544 | 33.274 | -135.6746 | 92.8787 | -147.0748 | 44.615 | 1.4139 | 0.55798 | 0.58225 | 1.4077 | 0.58008 | 0.6222 | 0.75441 | -101.9 | 89.4706 | 1.1313 | -103.4552 | 89.3371