## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -6.2528e-14 | 28.4108 | -10.6145 | 5.2106e-14 | -23.0719 | 15.9534 | 1.0421e-14 | 4.32 | 15.8719 | -1.5632e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 6.9032e-13 | -154.8648 | 140.2623 | 6.7711e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 5.2106e-15 | -13.0085 | 13.0085 | -1.0421e-14 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | 1.0421e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 6.814e-13 | 180 | -180 | 6.7711e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.0843e-14 | -7.0974 | 5.911 | -3.1264e-14 | 7.6906 | -5.3178 | -1.5632e-14 | 1.2523 | -2.5984 | 2.0843e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 6.8325e-13 | -173.5168 | 172.7598 | 6.7711e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.5632e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | 1.5632e-14 | 1.9253 | -1.9253 | -5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 6.814e-13 | 180 | -180 | 6.8325e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -6.2528e-14 | 28.4108 | -10.6145 | 5.2106e-14 | -23.0719 | 15.9534 | 1.0421e-14 | 4.32 | 15.8719 | -1.5632e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 6.9032e-13 | -154.8648 | 140.2623 | 6.7711e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 5.2106e-15 | -13.0085 | 13.0085 | -1.0421e-14 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | 1.0421e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 6.814e-13 | 180 | -180 | 6.7711e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.0843e-14 | -7.0974 | 5.911 | -3.1264e-14 | 7.6906 | -5.3178 | -1.5632e-14 | 1.2523 | -2.5984 | 2.0843e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 6.8325e-13 | -173.5168 | 172.7598 | 6.7711e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.5632e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | 1.5632e-14 | 1.9253 | -1.9253 | -5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 6.814e-13 | 180 | -180 | 6.8325e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.8659e-14 | 17.8002 | 0.06044 | 2.8659e-14 | -16.4209 | 1.3189 | 5.2106e-15 | 3.9189 | 14.5607 | -5.2106e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 3.6035e-13 | -136.625 | 120.7211 | 3.5439e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 1.3027e-14 | -10.3342 | 1.4923 | -1.0421e-14 | 10.9473 | -0.87927 | -1.0421e-14 | -0.87368 | -7.9682 | 7.816e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 3.5727e-13 | -144.2087 | 131.5665 | 3.5439e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 1.0421e-14 | -5.3204 | 0.59289 | -1.3027e-14 | 5.4736 | -0.43963 | -5.2106e-15 | -0.61073 | -4.158 | 5.2106e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 3.5692e-13 | -142.4927 | 129.0741 | 3.5439e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 3.2491e-29 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | -5.2106e-15 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 3.5727e-13 | -144.2087 | 131.5665 | 3.5692e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.8659e-14 | 17.8002 | 0.06044 | 2.8659e-14 | -16.4209 | 1.3189 | 5.2106e-15 | 3.9189 | 14.5607 | -5.2106e-15 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 3.6035e-13 | -136.625 | 120.7211 | 3.5439e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 1.3027e-14 | -10.3342 | 1.4923 | -1.0421e-14 | 10.9473 | -0.87927 | -1.0421e-14 | -0.87368 | -7.9682 | 7.816e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 3.5727e-13 | -144.2087 | 131.5665 | 3.5439e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 1.0421e-14 | -5.3204 | 0.59289 | -1.3027e-14 | 5.4736 | -0.43963 | -5.2106e-15 | -0.61073 | -4.158 | 5.2106e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 3.5692e-13 | -142.4927 | 129.0741 | 3.5439e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 3.2491e-29 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | -5.2106e-15 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 3.5727e-13 | -144.2087 | 131.5665 | 3.5692e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 5.9212e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | 3.7896e-14 | -0.29866 | 13.6553 | -3.5527e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 5.8433e-13 | -153.068 | 126.0805 | 6.3624e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -2.3685e-14 | -8.8871 | 8.8871 | 2.0132e-14 | 11.9007 | -5.8735 | 2.3685e-15 | 4.6513 | -4.6513 | 2.3685e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 6.4561e-13 | -180 | 180 | 6.3624e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.8948e-14 | -5.1969 | 3.6901 | 1.5395e-14 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -2.3685e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 6.2571e-13 | -172.2653 | 170.7242 | 6.3624e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -4.737e-15 | -4.4435 | 4.4435 | 2.3685e-15 | 5.1969 | -3.6901 | -5.3376e-29 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 6.4561e-13 | -180 | 180 | 6.2571e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 5.9212e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | 3.7896e-14 | -0.29866 | 13.6553 | -3.5527e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 5.8433e-13 | -153.068 | 126.0805 | 6.3624e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -2.3685e-14 | -8.8871 | 8.8871 | 2.0132e-14 | 11.9007 | -5.8735 | 2.3685e-15 | 4.6513 | -4.6513 | 2.3685e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 6.4561e-13 | -180 | 180 | 6.3624e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.8948e-14 | -5.1969 | 3.6901 | 1.5395e-14 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -2.3685e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 6.2571e-13 | -172.2653 | 170.7242 | 6.3624e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -4.737e-15 | -4.4435 | 4.4435 | 2.3685e-15 | 5.1969 | -3.6901 | -5.3376e-29 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 6.4561e-13 | -180 | 180 | 6.2571e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 4.1448e-15 | 14.2512 | 1.4266 | -5.3291e-15 | -12.3717 | 0.45296 | 1.1842e-14 | 1.9064 | 11.2087 | -1.4211e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 3.2666e-13 | -136.4258 | 118.7019 | 3.4909e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.1842e-14 | -7.4125 | 1.1373 | 1.0658e-14 | 8.2478 | -0.30197 | -2.3685e-15 | -0.036791 | -6.2383 | 2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 3.5116e-13 | -143.7605 | 136.2873 | 3.4909e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -8.8818e-15 | -3.9151 | 0.35982 | 6.5133e-15 | 4.1239 | -0.15099 | -2.3685e-15 | -0.14181 | -3.2426 | 2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 3.4155e-13 | -141.9705 | 132.2872 | 3.4909e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -3.5527e-15 | -3.7062 | 0.56866 | 2.3685e-15 | 3.9151 | -0.35982 | -2.1774e-29 | -0.018396 | -3.1192 | 2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 3.5116e-13 | -143.7605 | 136.2873 | 3.4155e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 4.1448e-15 | 14.2512 | 1.4266 | -5.3291e-15 | -12.3717 | 0.45296 | 1.1842e-14 | 1.9064 | 11.2087 | -1.4211e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 3.2666e-13 | -136.4258 | 118.7019 | 3.4909e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.1842e-14 | -7.4125 | 1.1373 | 1.0658e-14 | 8.2478 | -0.30197 | -2.3685e-15 | -0.036791 | -6.2383 | 2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 3.5116e-13 | -143.7605 | 136.2873 | 3.4909e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -8.8818e-15 | -3.9151 | 0.35982 | 6.5133e-15 | 4.1239 | -0.15099 | -2.3685e-15 | -0.14181 | -3.2426 | 2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 3.4155e-13 | -141.9705 | 132.2872 | 3.4909e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -3.5527e-15 | -3.7062 | 0.56866 | 2.3685e-15 | 3.9151 | -0.35982 | -2.1774e-29 | -0.018396 | -3.1192 | 2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 3.5116e-13 | -143.7605 | 136.2873 | 3.4155e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58632 | 0.019057 | 0.019057 | 0.58198 | 0.014441 | 0.014441 | 6.7702 | 0.22005 | 0.22005 | 6.7202 | 0.16675 | 0.16675 | 0.9214 | 0.2179 | -0.20132 | -0.35757 | -0.15982 | 0.15788 | 0.50096 | -0.31586 | -0.31049 | -0.19798 | 0.24357 | 0.24297 | -67.1044 | -89.2659 | -89.2659 | 113.0527 | 90.1082 | 90.1082 | 0.15491 | 1.7438 | 1.6816 | 0.060821 | 1.7471 | 1.7377 | -38.5716 | -144.6659 | 147.7746 | -37.9751 | -146.621 | 147.0921
Line_1 | 0.38136 | 0.0024201 | 0.0024201 | 0.38578 | 0.0072332 | 0.0072332 | 4.4035 | 0.027945 | 0.027945 | 4.4546 | 0.083522 | 0.083522 | 4.6414e-12 | -0.026195 | 0.027047 | 0.23734 | 0.080263 | -0.078868 | -4.0868e-12 | 0.04132 | 0.041526 | 0.13067 | -0.12186 | -0.12184 | 113.4729 | 89.7784 | 89.7784 | -66.8104 | -89.9921 | -89.9921 | 0 | 1.7507 | 1.7734 | 0.060821 | 1.7471 | 1.7377 | 0 | -147.849 | 146.7007 | -37.9751 | -146.621 | 147.0921
Line_2 | 0.19179 | 0.0024329 | 0.0024329 | 0.19621 | 0.0072077 | 0.0072077 | 2.2146 | 0.028093 | 0.028093 | 2.2656 | 0.083228 | 0.083228 | -0.057237 | -0.026939 | 0.026584 | 0.12024 | 0.079554 | -0.079015 | -0.032394 | 0.041079 | 0.041563 | 0.067311 | -0.12171 | -0.12113 | 113.3226 | 89.482 | 89.482 | -67.2165 | -89.7912 | -89.7912 | 0.029697 | 1.7486 | 1.7562 | 0.060821 | 1.7471 | 1.7377 | -37.1692 | -147.2623 | 146.8788 | -37.9751 | -146.621 | 147.0921
Line_3 | 0.18736 | 0.0024201 | 0.0024201 | 0.19179 | 0.0024329 | 0.0024329 | 2.1634 | 0.027945 | 0.027945 | 2.2146 | 0.028093 | 0.028093 | 2.2646e-12 | 0.026195 | -0.027047 | 0.057237 | 0.026939 | -0.026584 | -2.0255e-12 | -0.04132 | -0.041526 | 0.032394 | -0.041079 | -0.041563 | 113.919 | -90.2216 | -90.2216 | -66.6774 | -90.518 | -90.518 | 0 | 1.7507 | 1.7734 | 0.029697 | 1.7486 | 1.7562 | 0 | -147.849 | 146.7007 | -37.1692 | -147.2623 | 146.8788

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58632 | 0.019057 | 0.019057 | 0.58198 | 0.014441 | 0.014441 | 6.7702 | 0.22005 | 0.22005 | 6.7202 | 0.16675 | 0.16675 | 0.9214 | 0.2179 | -0.20132 | -0.35757 | -0.15982 | 0.15788 | 0.50096 | -0.31586 | -0.31049 | -0.19798 | 0.24357 | 0.24297 | -67.1044 | -89.2659 | -89.2659 | 113.0527 | 90.1082 | 90.1082 | 0.15491 | 1.7438 | 1.6816 | 0.060821 | 1.7471 | 1.7377 | -38.5716 | -144.6659 | 147.7746 | -37.9751 | -146.621 | 147.0921
Line_1 | 0.38136 | 0.0024201 | 0.0024201 | 0.38578 | 0.0072332 | 0.0072332 | 4.4035 | 0.027945 | 0.027945 | 4.4546 | 0.083522 | 0.083522 | 4.6414e-12 | -0.026195 | 0.027047 | 0.23734 | 0.080263 | -0.078868 | -4.0868e-12 | 0.04132 | 0.041526 | 0.13067 | -0.12186 | -0.12184 | 113.4729 | 89.7784 | 89.7784 | -66.8104 | -89.9921 | -89.9921 | 0 | 1.7507 | 1.7734 | 0.060821 | 1.7471 | 1.7377 | 0 | -147.849 | 146.7007 | -37.9751 | -146.621 | 147.0921
Line_2 | 0.19179 | 0.0024329 | 0.0024329 | 0.19621 | 0.0072077 | 0.0072077 | 2.2146 | 0.028093 | 0.028093 | 2.2656 | 0.083228 | 0.083228 | -0.057237 | -0.026939 | 0.026584 | 0.12024 | 0.079554 | -0.079015 | -0.032394 | 0.041079 | 0.041563 | 0.067311 | -0.12171 | -0.12113 | 113.3226 | 89.482 | 89.482 | -67.2165 | -89.7912 | -89.7912 | 0.029697 | 1.7486 | 1.7562 | 0.060821 | 1.7471 | 1.7377 | -37.1692 | -147.2623 | 146.8788 | -37.9751 | -146.621 | 147.0921
Line_3 | 0.18736 | 0.0024201 | 0.0024201 | 0.19179 | 0.0024329 | 0.0024329 | 2.1634 | 0.027945 | 0.027945 | 2.2146 | 0.028093 | 0.028093 | 2.2646e-12 | 0.026195 | -0.027047 | 0.057237 | 0.026939 | -0.026584 | -2.0255e-12 | -0.04132 | -0.041526 | 0.032394 | -0.041079 | -0.041563 | 113.919 | -90.2216 | -90.2216 | -66.6774 | -90.518 | -90.518 | 0 | 1.7507 | 1.7734 | 0.029697 | 1.7486 | 1.7562 | 0 | -147.849 | 146.7007 | -37.1692 | -147.2623 | 146.8788

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45103 | 0.01466 | 0.01466 | 0.4477 | 0.011109 | 0.011109 | 5.208 | 0.16928 | 0.16928 | 5.1696 | 0.12827 | 0.12827 | 1.5193 | 0.15679 | -0.16406 | -1.1812 | -0.11597 | 0.12742 | 1.2954 | -0.22271 | -0.18996 | -1.1061 | 0.17102 | 0.14887 | -62.0106 | -84.1721 | -84.1721 | 118.1465 | 95.202 | 95.202 | 0.38337 | 1.609 | 1.4827 | 0.31303 | 1.6109 | 1.5276 | -21.5577 | -139.0252 | 145.0125 | -18.7329 | -140.6568 | 144.6415
Line_1 | 0.29336 | 0.0018617 | 0.0018617 | 0.29677 | 0.0055642 | 0.0055642 | 3.3875 | 0.021497 | 0.021497 | 3.4268 | 0.06425 | 0.06425 | -0.64006 | -0.019113 | 0.021696 | 0.78471 | 0.058238 | -0.06369 | -0.64336 | 0.028937 | 0.025459 | 0.73134 | -0.085562 | -0.074676 | 118.5667 | 94.8722 | 94.8722 | -61.7166 | -84.8982 | -84.8982 | 0.26791 | 1.6132 | 1.556 | 0.31303 | 1.6109 | 1.5276 | -16.2863 | -141.6831 | 144.434 | -18.7329 | -140.6568 | 144.6415
Line_2 | 0.14754 | 0.0018716 | 0.0018716 | 0.15093 | 0.0055446 | 0.0055446 | 1.7036 | 0.021611 | 0.021611 | 1.7428 | 0.064024 | 0.064024 | -0.35493 | -0.019596 | 0.021448 | 0.39646 | 0.057734 | -0.063726 | -0.34357 | 0.0288 | 0.025515 | 0.37477 | -0.085463 | -0.07419 | 118.4165 | 94.5759 | 94.5759 | -62.1226 | -84.6974 | -84.6974 | 0.28996 | 1.6119 | 1.5424 | 0.31303 | 1.6109 | 1.5276 | -17.5147 | -141.1925 | 144.5258 | -18.7329 | -140.6568 | 144.6415
Line_3 | 0.14413 | 0.0018617 | 0.0018617 | 0.14754 | 0.0018716 | 0.0018716 | 1.6643 | 0.021497 | 0.021497 | 1.7036 | 0.021611 | 0.021611 | -0.31691 | 0.019113 | -0.021696 | 0.35493 | 0.019596 | -0.021448 | -0.31362 | -0.028937 | -0.025459 | 0.34357 | -0.0288 | -0.025515 | 119.0129 | -85.1278 | -85.1278 | -61.5835 | -85.4241 | -85.4241 | 0.26791 | 1.6132 | 1.556 | 0.28996 | 1.6119 | 1.5424 | -16.2863 | -141.6831 | 144.434 | -17.5147 | -141.1925 | 144.5258

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45103 | 0.01466 | 0.01466 | 0.4477 | 0.011109 | 0.011109 | 5.208 | 0.16928 | 0.16928 | 5.1696 | 0.12827 | 0.12827 | 1.5193 | 0.15679 | -0.16406 | -1.1812 | -0.11597 | 0.12742 | 1.2954 | -0.22271 | -0.18996 | -1.1061 | 0.17102 | 0.14887 | -62.0106 | -84.1721 | -84.1721 | 118.1465 | 95.202 | 95.202 | 0.38337 | 1.609 | 1.4827 | 0.31303 | 1.6109 | 1.5276 | -21.5577 | -139.0252 | 145.0125 | -18.7329 | -140.6568 | 144.6415
Line_1 | 0.29336 | 0.0018617 | 0.0018617 | 0.29677 | 0.0055642 | 0.0055642 | 3.3875 | 0.021497 | 0.021497 | 3.4268 | 0.06425 | 0.06425 | -0.64006 | -0.019113 | 0.021696 | 0.78471 | 0.058238 | -0.06369 | -0.64336 | 0.028937 | 0.025459 | 0.73134 | -0.085562 | -0.074676 | 118.5667 | 94.8722 | 94.8722 | -61.7166 | -84.8982 | -84.8982 | 0.26791 | 1.6132 | 1.556 | 0.31303 | 1.6109 | 1.5276 | -16.2863 | -141.6831 | 144.434 | -18.7329 | -140.6568 | 144.6415
Line_2 | 0.14754 | 0.0018716 | 0.0018716 | 0.15093 | 0.0055446 | 0.0055446 | 1.7036 | 0.021611 | 0.021611 | 1.7428 | 0.064024 | 0.064024 | -0.35493 | -0.019596 | 0.021448 | 0.39646 | 0.057734 | -0.063726 | -0.34357 | 0.0288 | 0.025515 | 0.37477 | -0.085463 | -0.07419 | 118.4165 | 94.5759 | 94.5759 | -62.1226 | -84.6974 | -84.6974 | 0.28996 | 1.6119 | 1.5424 | 0.31303 | 1.6109 | 1.5276 | -17.5147 | -141.1925 | 144.5258 | -18.7329 | -140.6568 | 144.6415
Line_3 | 0.14413 | 0.0018617 | 0.0018617 | 0.14754 | 0.0018716 | 0.0018716 | 1.6643 | 0.021497 | 0.021497 | 1.7036 | 0.021611 | 0.021611 | -0.31691 | 0.019113 | -0.021696 | 0.35493 | 0.019596 | -0.021448 | -0.31362 | -0.028937 | -0.025459 | 0.34357 | -0.0288 | -0.025515 | 119.0129 | -85.1278 | -85.1278 | -61.5835 | -85.4241 | -85.4241 | 0.26791 | 1.6132 | 1.556 | 0.28996 | 1.6119 | 1.5424 | -16.2863 | -141.6831 | 144.434 | -17.5147 | -141.1925 | 144.5258

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50671 | 0.016924 | 0.016924 | 0.50297 | 0.012899 | 0.012899 | 5.851 | 0.19542 | 0.19542 | 5.8079 | 0.14894 | 0.14894 | 1.3208 | 0.18118 | -0.15693 | -0.51295 | -0.13026 | 0.12764 | 0.36653 | -0.25208 | -0.23606 | -0.14699 | 0.19718 | 0.19041 | -61.2254 | -87.2863 | -87.2863 | 118.9483 | 91.5042 | 91.5042 | 0.23427 | 1.5885 | 1.4505 | 0.091874 | 1.5866 | 1.539 | -45.7155 | -141.5809 | 149.0983 | -45.0618 | -145.0471 | 147.6689
Line_1 | 0.32961 | 0.0021685 | 0.0021685 | 0.33342 | 0.0064676 | 0.0064676 | 3.806 | 0.02504 | 0.02504 | 3.85 | 0.074682 | 0.074682 | -2.7655e-12 | -0.021029 | 0.022336 | 0.34031 | 0.065642 | -0.063676 | -5.3396e-13 | 0.033796 | 0.033136 | 0.096453 | -0.098646 | -0.095685 | 119.4599 | 90.8725 | 90.8725 | -60.8861 | -88.6883 | -88.6883 | 0 | 1.5896 | 1.5959 | 0.091874 | 1.5866 | 1.539 | 0 | -147.2361 | 146.8894 | -45.0618 | -145.0471 | 147.6689
Line_2 | 0.16576 | 0.0021869 | 0.0021869 | 0.16956 | 0.0064314 | 0.0064314 | 1.9141 | 0.025253 | 0.025253 | 1.9579 | 0.074264 | 0.074264 | -0.08218 | -0.022126 | 0.021612 | 0.17264 | 0.064613 | -0.063959 | -0.024462 | 0.033425 | 0.03319 | 0.050534 | -0.098532 | -0.094721 | 119.271 | 90.3084 | 90.3084 | -61.3771 | -88.3022 | -88.3022 | 0.044796 | 1.5874 | 1.5684 | 0.091874 | 1.5866 | 1.539 | -44.1528 | -146.1882 | 147.2378 | -45.0618 | -145.0471 | 147.6689
Line_3 | 0.16196 | 0.0021685 | 0.0021685 | 0.16576 | 0.0021869 | 0.0021869 | 1.8701 | 0.02504 | 0.02504 | 1.9141 | 0.025253 | 0.025253 | -1.3613e-12 | 0.021029 | -0.022336 | 0.08218 | 0.022126 | -0.021612 | -2.4929e-13 | -0.033796 | -0.033136 | 0.024462 | -0.033425 | -0.03319 | 120.0105 | -89.1275 | -89.1275 | -60.729 | -89.6916 | -89.6916 | 0 | 1.5896 | 1.5959 | 0.044796 | 1.5874 | 1.5684 | 0 | -147.2361 | 146.8894 | -44.1528 | -146.1882 | 147.2378

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50671 | 0.016924 | 0.016924 | 0.50297 | 0.012899 | 0.012899 | 5.851 | 0.19542 | 0.19542 | 5.8079 | 0.14894 | 0.14894 | 1.3208 | 0.18118 | -0.15693 | -0.51295 | -0.13026 | 0.12764 | 0.36653 | -0.25208 | -0.23606 | -0.14699 | 0.19718 | 0.19041 | -61.2254 | -87.2863 | -87.2863 | 118.9483 | 91.5042 | 91.5042 | 0.23427 | 1.5885 | 1.4505 | 0.091874 | 1.5866 | 1.539 | -45.7155 | -141.5809 | 149.0983 | -45.0618 | -145.0471 | 147.6689
Line_1 | 0.32961 | 0.0021685 | 0.0021685 | 0.33342 | 0.0064676 | 0.0064676 | 3.806 | 0.02504 | 0.02504 | 3.85 | 0.074682 | 0.074682 | -2.7655e-12 | -0.021029 | 0.022336 | 0.34031 | 0.065642 | -0.063676 | -5.3396e-13 | 0.033796 | 0.033136 | 0.096453 | -0.098646 | -0.095685 | 119.4599 | 90.8725 | 90.8725 | -60.8861 | -88.6883 | -88.6883 | 0 | 1.5896 | 1.5959 | 0.091874 | 1.5866 | 1.539 | 0 | -147.2361 | 146.8894 | -45.0618 | -145.0471 | 147.6689
Line_2 | 0.16576 | 0.0021869 | 0.0021869 | 0.16956 | 0.0064314 | 0.0064314 | 1.9141 | 0.025253 | 0.025253 | 1.9579 | 0.074264 | 0.074264 | -0.08218 | -0.022126 | 0.021612 | 0.17264 | 0.064613 | -0.063959 | -0.024462 | 0.033425 | 0.03319 | 0.050534 | -0.098532 | -0.094721 | 119.271 | 90.3084 | 90.3084 | -61.3771 | -88.3022 | -88.3022 | 0.044796 | 1.5874 | 1.5684 | 0.091874 | 1.5866 | 1.539 | -44.1528 | -146.1882 | 147.2378 | -45.0618 | -145.0471 | 147.6689
Line_3 | 0.16196 | 0.0021685 | 0.0021685 | 0.16576 | 0.0021869 | 0.0021869 | 1.8701 | 0.02504 | 0.02504 | 1.9141 | 0.025253 | 0.025253 | -1.3613e-12 | 0.021029 | -0.022336 | 0.08218 | 0.022126 | -0.021612 | -2.4929e-13 | -0.033796 | -0.033136 | 0.024462 | -0.033425 | -0.03319 | 120.0105 | -89.1275 | -89.1275 | -60.729 | -89.6916 | -89.6916 | 0 | 1.5896 | 1.5959 | 0.044796 | 1.5874 | 1.5684 | 0 | -147.2361 | 146.8894 | -44.1528 | -146.1882 | 147.2378

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39197 | 0.013092 | 0.013092 | 0.38908 | 0.0099781 | 0.0099781 | 4.5261 | 0.15117 | 0.15117 | 4.4927 | 0.11522 | 0.11522 | 1.5242 | 0.13193 | -0.12834 | -1.0377 | -0.096288 | 0.1025 | 0.97575 | -0.17703 | -0.14853 | -0.83659 | 0.13757 | 0.12003 | -57.6894 | -83.7503 | -83.7503 | 122.4843 | 95.0402 | 95.0402 | 0.39986 | 1.4605 | 1.2985 | 0.29669 | 1.4574 | 1.37 | -25.0637 | -137.0548 | 145.4192 | -18.6397 | -139.9704 | 144.5447
Line_1 | 0.25497 | 0.0016775 | 0.0016775 | 0.25792 | 0.0050031 | 0.0050031 | 2.9442 | 0.01937 | 0.01937 | 2.9782 | 0.05777 | 0.05777 | -0.48323 | -0.015704 | 0.017746 | 0.68947 | 0.048511 | -0.051193 | -0.4863 | 0.02348 | 0.020901 | 0.55258 | -0.068814 | -0.060358 | 122.9958 | 94.4084 | 94.4084 | -57.3502 | -85.1523 | -85.1523 | 0.23286 | 1.4583 | 1.4156 | 0.29669 | 1.4574 | 1.37 | -11.8228 | -141.8169 | 144.0755 | -18.6397 | -139.9704 | 144.5447
Line_2 | 0.12823 | 0.0016917 | 0.0016917 | 0.13117 | 0.0049751 | 0.0049751 | 1.4807 | 0.019534 | 0.019534 | 1.5146 | 0.057447 | 0.057447 | -0.29139 | -0.016419 | 0.017339 | 0.34822 | 0.047777 | -0.05131 | -0.26 | 0.023255 | 0.020986 | 0.28401 | -0.068753 | -0.059676 | 122.8069 | 93.8444 | 93.8444 | -57.8412 | -84.7662 | -84.7662 | 0.26375 | 1.4573 | 1.3936 | 0.29669 | 1.4574 | 1.37 | -15.451 | -140.9319 | 144.2801 | -18.6397 | -139.9704 | 144.5447
Line_3 | 0.12528 | 0.0016775 | 0.0016775 | 0.12823 | 0.0016917 | 0.0016917 | 1.4466 | 0.01937 | 0.01937 | 1.4807 | 0.019534 | 0.019534 | -0.23973 | 0.015704 | -0.017746 | 0.29139 | 0.016419 | -0.017339 | -0.23666 | -0.02348 | -0.020901 | 0.26 | -0.023255 | -0.020986 | 123.5464 | -85.5916 | -85.5916 | -57.1931 | -86.1556 | -86.1556 | 0.23286 | 1.4583 | 1.4156 | 0.26375 | 1.4573 | 1.3936 | -11.8228 | -141.8169 | 144.0755 | -15.451 | -140.9319 | 144.2801

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39197 | 0.013092 | 0.013092 | 0.38908 | 0.0099781 | 0.0099781 | 4.5261 | 0.15117 | 0.15117 | 4.4927 | 0.11522 | 0.11522 | 1.5242 | 0.13193 | -0.12834 | -1.0377 | -0.096288 | 0.1025 | 0.97575 | -0.17703 | -0.14853 | -0.83659 | 0.13757 | 0.12003 | -57.6894 | -83.7503 | -83.7503 | 122.4843 | 95.0402 | 95.0402 | 0.39986 | 1.4605 | 1.2985 | 0.29669 | 1.4574 | 1.37 | -25.0637 | -137.0548 | 145.4192 | -18.6397 | -139.9704 | 144.5447
Line_1 | 0.25497 | 0.0016775 | 0.0016775 | 0.25792 | 0.0050031 | 0.0050031 | 2.9442 | 0.01937 | 0.01937 | 2.9782 | 0.05777 | 0.05777 | -0.48323 | -0.015704 | 0.017746 | 0.68947 | 0.048511 | -0.051193 | -0.4863 | 0.02348 | 0.020901 | 0.55258 | -0.068814 | -0.060358 | 122.9958 | 94.4084 | 94.4084 | -57.3502 | -85.1523 | -85.1523 | 0.23286 | 1.4583 | 1.4156 | 0.29669 | 1.4574 | 1.37 | -11.8228 | -141.8169 | 144.0755 | -18.6397 | -139.9704 | 144.5447
Line_2 | 0.12823 | 0.0016917 | 0.0016917 | 0.13117 | 0.0049751 | 0.0049751 | 1.4807 | 0.019534 | 0.019534 | 1.5146 | 0.057447 | 0.057447 | -0.29139 | -0.016419 | 0.017339 | 0.34822 | 0.047777 | -0.05131 | -0.26 | 0.023255 | 0.020986 | 0.28401 | -0.068753 | -0.059676 | 122.8069 | 93.8444 | 93.8444 | -57.8412 | -84.7662 | -84.7662 | 0.26375 | 1.4573 | 1.3936 | 0.29669 | 1.4574 | 1.37 | -15.451 | -140.9319 | 144.2801 | -18.6397 | -139.9704 | 144.5447
Line_3 | 0.12528 | 0.0016775 | 0.0016775 | 0.12823 | 0.0016917 | 0.0016917 | 1.4466 | 0.01937 | 0.01937 | 1.4807 | 0.019534 | 0.019534 | -0.23973 | 0.015704 | -0.017746 | 0.29139 | 0.016419 | -0.017339 | -0.23666 | -0.02348 | -0.020901 | 0.26 | -0.023255 | -0.020986 | 123.5464 | -85.5916 | -85.5916 | -57.1931 | -86.1556 | -86.1556 | 0.23286 | 1.4583 | 1.4156 | 0.26375 | 1.4573 | 1.3936 | -11.8228 | -141.8169 | 144.0755 | -15.451 | -140.9319 | 144.2801

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010315 | 3.2263 | 3.1904 | 0.0078161 | 3.2268 | 3.1897 | 0.1191 | 37.2542 | 36.8394 | 0.090253 | 37.2594 | 36.8314 | -0.00014911 | 9.818 | 8.2122 | 0.00087863 | -3.926 | -3.2823 | -0.18727 | 8.4896 | 11.8064 | 0.14367 | -3.4194 | -4.6979 | 91.3258 | -166.3972 | 19.4083 | -89.3001 | 13.6465 | -160.6349 | 1.5723 | 0.3484 | 0.39039 | 1.5919 | 0.13973 | 0.1556 | 1.2802 | -125.5473 | 74.5868 | 0.34949 | -125.299 | 74.4241
Line_1 | 0.0013099 | 2.152 | 2.1252 | 0.003915 | 2.1515 | 2.1261 | 0.015125 | 24.8496 | 24.54 | 0.045206 | 24.8429 | 24.5496 | 0.00024977 | 4.7401e-11 | 5.1457e-11 | -0.00031416 | 2.619 | 2.186 | 0.02427 | -3.1297e-11 | 1.8374e-11 | -0.071962 | 2.2783 | 3.1326 | -89.6299 | 13.7478 | -160.7346 | 90.5996 | -166.3198 | 19.332 | 1.6047 | 0 | 0 | 1.5919 | 0.13973 | 0.1556 | -0.21954 | 0 | 0 | 0.34949 | -125.299 | 74.4241
Line_2 | 0.0013168 | 1.0759 | 1.0628 | 0.0039012 | 1.0753 | 1.0636 | 0.015205 | 12.423 | 12.2725 | 0.045047 | 12.4165 | 12.2819 | 1.0503e-05 | -0.65433 | -0.54624 | -0.00056448 | 1.307 | 1.0963 | 0.024305 | -0.57478 | -0.77783 | -0.071707 | 1.141 | 1.5653 | -89.9263 | 13.7136 | -160.7009 | 90.8005 | -166.4209 | 19.4314 | 1.5984 | 0.070106 | 0.077447 | 1.5919 | 0.13973 | 0.1556 | 0.048956 | -124.9891 | 74.22 | 0.34949 | -125.299 | 74.4241
Line_3 | 0.0013099 | 1.0765 | 1.062 | 0.0013168 | 1.0759 | 1.0628 | 0.015125 | 12.4301 | 12.2627 | 0.015205 | 12.423 | 12.2725 | -0.00024977 | 2.3683e-11 | 2.5697e-11 | -1.0506e-05 | 0.65433 | 0.54624 | -0.02427 | -1.5697e-11 | 9.2265e-12 | -0.024305 | 0.57478 | 0.77783 | 90.3701 | 13.8495 | -160.8349 | 90.0737 | -166.2864 | 19.2991 | 1.6047 | 0 | 0 | 1.5984 | 0.070106 | 0.077447 | -0.21954 | 0 | 0 | 0.048956 | -124.9891 | 74.22

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010315 | 3.2263 | 3.1904 | 0.0078161 | 3.2268 | 3.1897 | 0.1191 | 37.2542 | 36.8394 | 0.090253 | 37.2594 | 36.8314 | -0.00014911 | 9.818 | 8.2122 | 0.00087863 | -3.926 | -3.2823 | -0.18727 | 8.4896 | 11.8064 | 0.14367 | -3.4194 | -4.6979 | 91.3258 | -166.3972 | 19.4083 | -89.3001 | 13.6465 | -160.6349 | 1.5723 | 0.3484 | 0.39039 | 1.5919 | 0.13973 | 0.1556 | 1.2802 | -125.5473 | 74.5868 | 0.34949 | -125.299 | 74.4241
Line_1 | 0.0013099 | 2.152 | 2.1252 | 0.003915 | 2.1515 | 2.1261 | 0.015125 | 24.8496 | 24.54 | 0.045206 | 24.8429 | 24.5496 | 0.00024977 | 4.7401e-11 | 5.1457e-11 | -0.00031416 | 2.619 | 2.186 | 0.02427 | -3.1297e-11 | 1.8374e-11 | -0.071962 | 2.2783 | 3.1326 | -89.6299 | 13.7478 | -160.7346 | 90.5996 | -166.3198 | 19.332 | 1.6047 | 0 | 0 | 1.5919 | 0.13973 | 0.1556 | -0.21954 | 0 | 0 | 0.34949 | -125.299 | 74.4241
Line_2 | 0.0013168 | 1.0759 | 1.0628 | 0.0039012 | 1.0753 | 1.0636 | 0.015205 | 12.423 | 12.2725 | 0.045047 | 12.4165 | 12.2819 | 1.0503e-05 | -0.65433 | -0.54624 | -0.00056448 | 1.307 | 1.0963 | 0.024305 | -0.57478 | -0.77783 | -0.071707 | 1.141 | 1.5653 | -89.9263 | 13.7136 | -160.7009 | 90.8005 | -166.4209 | 19.4314 | 1.5984 | 0.070106 | 0.077447 | 1.5919 | 0.13973 | 0.1556 | 0.048956 | -124.9891 | 74.22 | 0.34949 | -125.299 | 74.4241
Line_3 | 0.0013099 | 1.0765 | 1.062 | 0.0013168 | 1.0759 | 1.0628 | 0.015125 | 12.4301 | 12.2627 | 0.015205 | 12.423 | 12.2725 | -0.00024977 | 2.3683e-11 | 2.5697e-11 | -1.0506e-05 | 0.65433 | 0.54624 | -0.02427 | -1.5697e-11 | 9.2265e-12 | -0.024305 | 0.57478 | 0.77783 | 90.3701 | 13.8495 | -160.8349 | 90.0737 | -166.2864 | 19.2991 | 1.6047 | 0 | 0 | 1.5984 | 0.070106 | 0.077447 | -0.21954 | 0 | 0 | 0.048956 | -124.9891 | 74.22

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0088783 | 1.0611 | 1.1094 | 0.0067276 | 1.0619 | 1.1081 | 0.10252 | 12.2521 | 12.8099 | 0.077684 | 12.2614 | 12.7951 | -0.006372 | 6.702 | 7.2459 | 0.0052679 | -6.06 | -6.5746 | -0.15415 | 6.2689 | 7.8622 | 0.11817 | -5.923 | -6.7904 | 94.3265 | -151.7305 | 42.9491 | -86.2994 | 28.3771 | -137.1401 | 1.505 | 0.74901 | 0.83466 | 1.5226 | 0.6911 | 0.7387 | 1.9595 | -108.6432 | 90.2854 | 1.1481 | -107.278 | 88.7847
Line_1 | 0.0011275 | 0.70932 | 0.73661 | 0.0033698 | 0.70838 | 0.73802 | 0.013019 | 8.1905 | 8.5057 | 0.038911 | 8.1796 | 8.522 | 0.00094746 | -3.7706 | -4.0704 | -0.002535 | 4.0483 | 4.3736 | 0.01995 | -3.7815 | -4.0607 | -0.059193 | 3.9455 | 4.5278 | -86.6291 | 28.6238 | -137.343 | 93.6004 | -151.5407 | 42.7924 | 1.5342 | 0.65199 | 0.67597 | 1.5226 | 0.6911 | 0.7387 | 0.65188 | -106.2939 | 87.5891 | 1.1481 | -107.278 | 88.7847
Line_2 | 0.0011334 | 0.35441 | 0.36867 | 0.0033579 | 0.3535 | 0.37006 | 0.013088 | 4.0924 | 4.2571 | 0.038773 | 4.0818 | 4.2731 | 0.00076399 | -1.9548 | -2.1104 | -0.0027329 | 2.0117 | 2.201 | 0.019991 | -1.9332 | -2.1456 | -0.058975 | 1.9776 | 2.2626 | -86.9255 | 28.5409 | -137.275 | 93.8013 | -151.7875 | 42.9943 | 1.5285 | 0.67181 | 0.70695 | 1.5226 | 0.6911 | 0.7387 | 0.88587 | -106.7781 | 88.1991 | 1.1481 | -107.278 | 88.7847
Line_3 | 0.0011275 | 0.35538 | 0.36724 | 0.0011334 | 0.35441 | 0.36867 | 0.013019 | 4.1036 | 4.2405 | 0.013088 | 4.0924 | 4.2571 | -0.00094746 | -1.8973 | -2.0221 | -0.00076399 | 1.9548 | 2.1104 | -0.01995 | -1.8864 | -2.0317 | -0.019991 | 1.9332 | 2.1456 | 93.3709 | 28.8704 | -137.5472 | 93.0745 | -151.4591 | 42.725 | 1.5342 | 0.65199 | 0.67597 | 1.5285 | 0.67181 | 0.70695 | 0.65188 | -106.2939 | 87.5891 | 0.88587 | -106.7781 | 88.1991

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0088783 | 1.0611 | 1.1094 | 0.0067276 | 1.0619 | 1.1081 | 0.10252 | 12.2521 | 12.8099 | 0.077684 | 12.2614 | 12.7951 | -0.006372 | 6.702 | 7.2459 | 0.0052679 | -6.06 | -6.5746 | -0.15415 | 6.2689 | 7.8622 | 0.11817 | -5.923 | -6.7904 | 94.3265 | -151.7305 | 42.9491 | -86.2994 | 28.3771 | -137.1401 | 1.505 | 0.74901 | 0.83466 | 1.5226 | 0.6911 | 0.7387 | 1.9595 | -108.6432 | 90.2854 | 1.1481 | -107.278 | 88.7847
Line_1 | 0.0011275 | 0.70932 | 0.73661 | 0.0033698 | 0.70838 | 0.73802 | 0.013019 | 8.1905 | 8.5057 | 0.038911 | 8.1796 | 8.522 | 0.00094746 | -3.7706 | -4.0704 | -0.002535 | 4.0483 | 4.3736 | 0.01995 | -3.7815 | -4.0607 | -0.059193 | 3.9455 | 4.5278 | -86.6291 | 28.6238 | -137.343 | 93.6004 | -151.5407 | 42.7924 | 1.5342 | 0.65199 | 0.67597 | 1.5226 | 0.6911 | 0.7387 | 0.65188 | -106.2939 | 87.5891 | 1.1481 | -107.278 | 88.7847
Line_2 | 0.0011334 | 0.35441 | 0.36867 | 0.0033579 | 0.3535 | 0.37006 | 0.013088 | 4.0924 | 4.2571 | 0.038773 | 4.0818 | 4.2731 | 0.00076399 | -1.9548 | -2.1104 | -0.0027329 | 2.0117 | 2.201 | 0.019991 | -1.9332 | -2.1456 | -0.058975 | 1.9776 | 2.2626 | -86.9255 | 28.5409 | -137.275 | 93.8013 | -151.7875 | 42.9943 | 1.5285 | 0.67181 | 0.70695 | 1.5226 | 0.6911 | 0.7387 | 0.88587 | -106.7781 | 88.1991 | 1.1481 | -107.278 | 88.7847
Line_3 | 0.0011275 | 0.35538 | 0.36724 | 0.0011334 | 0.35441 | 0.36867 | 0.013019 | 4.1036 | 4.2405 | 0.013088 | 4.0924 | 4.2571 | -0.00094746 | -1.8973 | -2.0221 | -0.00076399 | 1.9548 | 2.1104 | -0.01995 | -1.8864 | -2.0317 | -0.019991 | 1.9332 | 2.1456 | 93.3709 | 28.8704 | -137.5472 | 93.0745 | -151.4591 | 42.725 | 1.5342 | 0.65199 | 0.67597 | 1.5285 | 0.67181 | 0.70695 | 0.65188 | -106.2939 | 87.5891 | 0.88587 | -106.7781 | 88.1991

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092142 | 2.6112 | 2.6087 | 0.0070227 | 2.6119 | 2.6078 | 0.1064 | 30.1514 | 30.1222 | 0.081091 | 30.1592 | 30.1119 | -0.00040462 | 11.859 | 11.0826 | 0.0014144 | -4.7521 | -4.4192 | -0.14968 | 4.23 | 9.205 | 0.11643 | -1.7229 | -3.6508 | 92.8929 | -155.4925 | 30.7489 | -88.3166 | 24.5534 | -149.2952 | 1.4068 | 0.41759 | 0.47828 | 1.4359 | 0.1676 | 0.19036 | 2.738 | -135.8615 | 70.4613 | 0.98739 | -135.518 | 70.2656
Line_1 | 0.0011806 | 1.7426 | 1.7368 | 0.0035212 | 1.7417 | 1.738 | 0.013633 | 20.1217 | 20.0551 | 0.040659 | 20.1112 | 20.0682 | 0.00038738 | -9.3569e-11 | 3.6968e-12 | -0.00051303 | 3.1696 | 2.9437 | 0.019839 | -7.3576e-11 | -1.1918e-10 | -0.058381 | 1.1469 | 2.4348 | -88.9484 | 24.6596 | -149.3964 | 91.4909 | -155.4113 | 30.6711 | 1.4556 | 0 | 0 | 1.4359 | 0.1676 | 0.19036 | -0.067003 | 0 | 0 | 0.98739 | -135.518 | 70.2656
Line_2 | 0.0011907 | 0.87104 | 0.86872 | 0.0035015 | 0.87018 | 0.86981 | 0.013748 | 10.058 | 10.0311 | 0.040432 | 10.048 | 10.0437 | 2.0581e-05 | -0.7942 | -0.73317 | -0.00090135 | 1.5825 | 1.4754 | 0.019878 | -0.29356 | -0.60191 | -0.05805 | 0.57597 | 1.216 | -89.5124 | 24.6238 | -149.3624 | 91.877 | -155.5173 | 30.772 | 1.4458 | 0.084184 | 0.094566 | 1.4359 | 0.1676 | 0.19036 | 0.42823 | -135.0902 | 70.0228 | 0.98739 | -135.518 | 70.2656
Line_3 | 0.0011806 | 0.87201 | 0.86754 | 0.0011907 | 0.87104 | 0.86872 | 0.013633 | 10.0691 | 10.0175 | 0.013748 | 10.058 | 10.0311 | -0.00038738 | -4.6891e-11 | 1.9523e-12 | -2.0583e-05 | 0.7942 | 0.73317 | -0.019839 | -3.6731e-11 | -5.9529e-11 | -0.019878 | 0.29356 | 0.60191 | 91.0516 | 24.7663 | -149.4982 | 90.4876 | -155.3762 | 30.6376 | 1.4556 | 0 | 0 | 1.4458 | 0.084184 | 0.094566 | -0.067003 | 0 | 0 | 0.42823 | -135.0902 | 70.0228

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092142 | 2.6112 | 2.6087 | 0.0070227 | 2.6119 | 2.6078 | 0.1064 | 30.1514 | 30.1222 | 0.081091 | 30.1592 | 30.1119 | -0.00040462 | 11.859 | 11.0826 | 0.0014144 | -4.7521 | -4.4192 | -0.14968 | 4.23 | 9.205 | 0.11643 | -1.7229 | -3.6508 | 92.8929 | -155.4925 | 30.7489 | -88.3166 | 24.5534 | -149.2952 | 1.4068 | 0.41759 | 0.47828 | 1.4359 | 0.1676 | 0.19036 | 2.738 | -135.8615 | 70.4613 | 0.98739 | -135.518 | 70.2656
Line_1 | 0.0011806 | 1.7426 | 1.7368 | 0.0035212 | 1.7417 | 1.738 | 0.013633 | 20.1217 | 20.0551 | 0.040659 | 20.1112 | 20.0682 | 0.00038738 | -9.3569e-11 | 3.6968e-12 | -0.00051303 | 3.1696 | 2.9437 | 0.019839 | -7.3576e-11 | -1.1918e-10 | -0.058381 | 1.1469 | 2.4348 | -88.9484 | 24.6596 | -149.3964 | 91.4909 | -155.4113 | 30.6711 | 1.4556 | 0 | 0 | 1.4359 | 0.1676 | 0.19036 | -0.067003 | 0 | 0 | 0.98739 | -135.518 | 70.2656
Line_2 | 0.0011907 | 0.87104 | 0.86872 | 0.0035015 | 0.87018 | 0.86981 | 0.013748 | 10.058 | 10.0311 | 0.040432 | 10.048 | 10.0437 | 2.0581e-05 | -0.7942 | -0.73317 | -0.00090135 | 1.5825 | 1.4754 | 0.019878 | -0.29356 | -0.60191 | -0.05805 | 0.57597 | 1.216 | -89.5124 | 24.6238 | -149.3624 | 91.877 | -155.5173 | 30.772 | 1.4458 | 0.084184 | 0.094566 | 1.4359 | 0.1676 | 0.19036 | 0.42823 | -135.0902 | 70.0228 | 0.98739 | -135.518 | 70.2656
Line_3 | 0.0011806 | 0.87201 | 0.86754 | 0.0011907 | 0.87104 | 0.86872 | 0.013633 | 10.0691 | 10.0175 | 0.013748 | 10.058 | 10.0311 | -0.00038738 | -4.6891e-11 | 1.9523e-12 | -2.0583e-05 | 0.7942 | 0.73317 | -0.019839 | -3.6731e-11 | -5.9529e-11 | -0.019878 | 0.29356 | 0.60191 | 91.0516 | 24.7663 | -149.4982 | 90.4876 | -155.3762 | 30.6376 | 1.4556 | 0 | 0 | 1.4458 | 0.084184 | 0.094566 | -0.067003 | 0 | 0 | 0.42823 | -135.0902 | 70.0228

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0079503 | 0.91604 | 0.9526 | 0.0060595 | 0.91677 | 0.95145 | 0.091803 | 10.5776 | 10.9996 | 0.069969 | 10.5859 | 10.9864 | -0.0043284 | 5.6693 | 6.1596 | 0.0039231 | -4.7898 | -5.1685 | -0.12377 | 4.3104 | 6.1641 | 0.096151 | -4.2752 | -5.1484 | 95.0149 | -148.6967 | 46.2167 | -86.1947 | 31.4129 | -133.8741 | 1.3491 | 0.6733 | 0.79223 | 1.3753 | 0.60649 | 0.66402 | 3.012 | -111.4511 | 91.2377 | 1.4689 | -106.8359 | 91.0139
Line_1 | 0.0010187 | 0.61257 | 0.63228 | 0.0030382 | 0.61163 | 0.63363 | 0.011763 | 7.0734 | 7.3009 | 0.035083 | 7.0625 | 7.3166 | 0.00075333 | -2.8125 | -2.9986 | -0.0018051 | 3.1997 | 3.438 | 0.016367 | -2.8207 | -2.9915 | -0.048217 | 2.8476 | 3.4327 | -86.8264 | 31.6637 | -134.0772 | 93.6128 | -148.5036 | 46.0583 | 1.3929 | 0.56313 | 0.58015 | 1.3753 | 0.60649 | 0.66402 | 0.53831 | -103.2526 | 90.855 | 1.4689 | -106.8359 | 91.0139
Line_2 | 0.0010273 | 0.30603 | 0.3165 | 0.0030212 | 0.30514 | 0.31782 | 0.011863 | 3.5338 | 3.6546 | 0.034886 | 3.5234 | 3.6698 | 0.00046832 | -1.5036 | -1.6078 | -0.002118 | 1.5901 | 1.7305 | 0.016414 | -1.419 | -1.6042 | -0.047934 | 1.4276 | 1.7157 | -87.3905 | 31.5794 | -134.0096 | 93.9989 | -148.7547 | 46.2606 | 1.3842 | 0.58507 | 0.62147 | 1.3753 | 0.60649 | 0.66402 | 0.97524 | -105.0791 | 90.9251 | 1.4689 | -106.8359 | 91.0139
Line_3 | 0.0010187 | 0.30702 | 0.3151 | 0.0010273 | 0.30603 | 0.3165 | 0.011763 | 3.5452 | 3.6385 | 0.011863 | 3.5338 | 3.6546 | -0.00075333 | -1.4158 | -1.4891 | -0.00046833 | 1.5036 | 1.6078 | -0.016367 | -1.4075 | -1.4962 | -0.016414 | 1.419 | 1.6042 | 93.1736 | 31.9144 | -134.2812 | 92.6095 | -148.4206 | 45.9904 | 1.3929 | 0.56313 | 0.58015 | 1.3842 | 0.58507 | 0.62147 | 0.53831 | -103.2526 | 90.855 | 0.97524 | -105.0791 | 90.9251

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0079503 | 0.91604 | 0.9526 | 0.0060595 | 0.91677 | 0.95145 | 0.091803 | 10.5776 | 10.9996 | 0.069969 | 10.5859 | 10.9864 | -0.0043284 | 5.6693 | 6.1596 | 0.0039231 | -4.7898 | -5.1685 | -0.12377 | 4.3104 | 6.1641 | 0.096151 | -4.2752 | -5.1484 | 95.0149 | -148.6967 | 46.2167 | -86.1947 | 31.4129 | -133.8741 | 1.3491 | 0.6733 | 0.79223 | 1.3753 | 0.60649 | 0.66402 | 3.012 | -111.4511 | 91.2377 | 1.4689 | -106.8359 | 91.0139
Line_1 | 0.0010187 | 0.61257 | 0.63228 | 0.0030382 | 0.61163 | 0.63363 | 0.011763 | 7.0734 | 7.3009 | 0.035083 | 7.0625 | 7.3166 | 0.00075333 | -2.8125 | -2.9986 | -0.0018051 | 3.1997 | 3.438 | 0.016367 | -2.8207 | -2.9915 | -0.048217 | 2.8476 | 3.4327 | -86.8264 | 31.6637 | -134.0772 | 93.6128 | -148.5036 | 46.0583 | 1.3929 | 0.56313 | 0.58015 | 1.3753 | 0.60649 | 0.66402 | 0.53831 | -103.2526 | 90.855 | 1.4689 | -106.8359 | 91.0139
Line_2 | 0.0010273 | 0.30603 | 0.3165 | 0.0030212 | 0.30514 | 0.31782 | 0.011863 | 3.5338 | 3.6546 | 0.034886 | 3.5234 | 3.6698 | 0.00046832 | -1.5036 | -1.6078 | -0.002118 | 1.5901 | 1.7305 | 0.016414 | -1.419 | -1.6042 | -0.047934 | 1.4276 | 1.7157 | -87.3905 | 31.5794 | -134.0096 | 93.9989 | -148.7547 | 46.2606 | 1.3842 | 0.58507 | 0.62147 | 1.3753 | 0.60649 | 0.66402 | 0.97524 | -105.0791 | 90.9251 | 1.4689 | -106.8359 | 91.0139
Line_3 | 0.0010187 | 0.30702 | 0.3151 | 0.0010273 | 0.30603 | 0.3165 | 0.011763 | 3.5452 | 3.6385 | 0.011863 | 3.5338 | 3.6546 | -0.00075333 | -1.4158 | -1.4891 | -0.00046833 | 1.5036 | 1.6078 | -0.016367 | -1.4075 | -1.4962 | -0.016414 | 1.419 | 1.6042 | 93.1736 | 31.9144 | -134.2812 | 92.6095 | -148.4206 | 45.9904 | 1.3929 | 0.56313 | 0.58015 | 1.3842 | 0.58507 | 0.62147 | 0.53831 | -103.2526 | 90.855 | 0.97524 | -105.0791 | 90.9251