## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -3.6475e-14 | 28.4108 | -10.6145 | 3.1264e-14 | -23.0719 | 15.9534 | -3.6475e-14 | 4.32 | 15.8719 | 2.6053e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | -4.9422e-13 | -154.8648 | 140.2623 | -5.1625e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -1.0421e-14 | -13.0085 | 13.0085 | -1.4085e-28 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -1.5632e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | -5.2341e-13 | 180 | -180 | -5.1625e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 1.0421e-14 | -7.0974 | 5.911 | -2.0843e-14 | 7.6906 | -5.3178 | -5.2106e-15 | 1.2523 | -2.5984 | -1.5632e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | -5.2005e-13 | -173.5168 | 172.7598 | -5.1625e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -2.0843e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | -1.5632e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | -5.2341e-13 | 180 | -180 | -5.2005e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -3.6475e-14 | 28.4108 | -10.6145 | 3.1264e-14 | -23.0719 | 15.9534 | -3.6475e-14 | 4.32 | 15.8719 | 2.6053e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | -4.9422e-13 | -154.8648 | 140.2623 | -5.1625e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -1.0421e-14 | -13.0085 | 13.0085 | -1.4085e-28 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -1.5632e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | -5.2341e-13 | 180 | -180 | -5.1625e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 1.0421e-14 | -7.0974 | 5.911 | -2.0843e-14 | 7.6906 | -5.3178 | -5.2106e-15 | 1.2523 | -2.5984 | -1.5632e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | -5.2005e-13 | -173.5168 | 172.7598 | -5.1625e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -2.0843e-14 | -6.5042 | 6.5042 | 1.0421e-14 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | -1.5632e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | -5.2341e-13 | 180 | -180 | -5.2005e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.0843e-14 | 17.8002 | 0.06044 | 1.5632e-14 | -16.4209 | 1.3189 | -1.8237e-14 | 3.9189 | 14.5607 | 1.5632e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.8559e-13 | -136.625 | 120.7211 | 2.764e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -7.816e-15 | -10.3342 | 1.4923 | 2.6053e-15 | 10.9473 | -0.87927 | 2.6053e-15 | -0.87368 | -7.9682 | -7.816e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.7332e-13 | -144.2087 | 131.5665 | 2.764e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -7.816e-15 | 5.4736 | -0.43963 | 2.5003e-29 | -0.61073 | -4.158 | -5.2106e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 2.7493e-13 | -142.4927 | 129.0741 | 2.764e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -1.3027e-14 | -5.1671 | 0.74615 | 7.816e-15 | 5.3204 | -0.59289 | -6.2142e-29 | -0.43684 | -3.9841 | -5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.7332e-13 | -144.2087 | 131.5665 | 2.7493e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.0843e-14 | 17.8002 | 0.06044 | 1.5632e-14 | -16.4209 | 1.3189 | -1.8237e-14 | 3.9189 | 14.5607 | 1.5632e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.8559e-13 | -136.625 | 120.7211 | 2.764e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -7.816e-15 | -10.3342 | 1.4923 | 2.6053e-15 | 10.9473 | -0.87927 | 2.6053e-15 | -0.87368 | -7.9682 | -7.816e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.7332e-13 | -144.2087 | 131.5665 | 2.764e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -7.816e-15 | 5.4736 | -0.43963 | 2.5003e-29 | -0.61073 | -4.158 | -5.2106e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 2.7493e-13 | -142.4927 | 129.0741 | 2.764e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -1.3027e-14 | -5.1671 | 0.74615 | 7.816e-15 | 5.3204 | -0.59289 | -6.2142e-29 | -0.43684 | -3.9841 | -5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.7332e-13 | -144.2087 | 131.5665 | 2.7493e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.3027e-14 | 24.6317 | -2.0295 | -9.4739e-15 | -17.851 | 8.8102 | 3.3159e-14 | -0.29866 | 13.6553 | -2.6053e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | -4.5961e-12 | -153.068 | 126.0805 | -4.5362e-12 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -9.4739e-15 | -8.8871 | 8.8871 | 1.0658e-14 | 11.9007 | -5.8735 | -7.1054e-15 | 4.6513 | -4.6513 | 1.4211e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | -4.5525e-12 | -180 | 180 | -4.5362e-12 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | -1.1842e-14 | 1.8804 | -2.7709 | 1.8948e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | -4.5563e-12 | -172.2653 | 170.7242 | -4.5362e-12 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | 0 | 5.1969 | -3.6901 | 9.4739e-15 | 2.3257 | -2.3257 | 0 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | -4.5525e-12 | -180 | 180 | -4.5563e-12 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.3027e-14 | 24.6317 | -2.0295 | -9.4739e-15 | -17.851 | 8.8102 | 3.3159e-14 | -0.29866 | 13.6553 | -2.6053e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | -4.5961e-12 | -153.068 | 126.0805 | -4.5362e-12 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -9.4739e-15 | -8.8871 | 8.8871 | 1.0658e-14 | 11.9007 | -5.8735 | -7.1054e-15 | 4.6513 | -4.6513 | 1.4211e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | -4.5525e-12 | -180 | 180 | -4.5362e-12 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | -1.1842e-14 | 1.8804 | -2.7709 | 1.8948e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | -4.5563e-12 | -172.2653 | 170.7242 | -4.5362e-12 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | 0 | 5.1969 | -3.6901 | 9.4739e-15 | 2.3257 | -2.3257 | 0 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | -4.5525e-12 | -180 | 180 | -4.5563e-12 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 6.5133e-15 | 14.2512 | 1.4266 | -5.9212e-15 | -12.3717 | 0.45296 | 1.8948e-14 | 1.9064 | 11.2087 | -1.6579e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | -2.736e-12 | -136.4258 | 118.7019 | -2.703e-12 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -5.3291e-15 | -7.4125 | 1.1373 | 6.5133e-15 | 8.2478 | -0.30197 | 2.5235e-28 | -0.036791 | -6.2383 | 4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | -2.7132e-12 | -143.7605 | 136.2873 | -2.703e-12 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -7.1054e-15 | -3.9151 | 0.35982 | 8.8818e-15 | 4.1239 | -0.15099 | -4.737e-15 | -0.14181 | -3.2426 | 7.1054e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | -2.7143e-12 | -141.9705 | 132.2872 | -2.703e-12 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 3.5527e-15 | -3.7062 | 0.56866 | -1.7764e-15 | 3.9151 | -0.35982 | 7.1054e-15 | -0.018396 | -3.1192 | 8.4151e-29 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | -2.7132e-12 | -143.7605 | 136.2873 | -2.7143e-12 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 6.5133e-15 | 14.2512 | 1.4266 | -5.9212e-15 | -12.3717 | 0.45296 | 1.8948e-14 | 1.9064 | 11.2087 | -1.6579e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | -2.736e-12 | -136.4258 | 118.7019 | -2.703e-12 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -5.3291e-15 | -7.4125 | 1.1373 | 6.5133e-15 | 8.2478 | -0.30197 | 2.5235e-28 | -0.036791 | -6.2383 | 4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | -2.7132e-12 | -143.7605 | 136.2873 | -2.703e-12 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -7.1054e-15 | -3.9151 | 0.35982 | 8.8818e-15 | 4.1239 | -0.15099 | -4.737e-15 | -0.14181 | -3.2426 | 7.1054e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | -2.7143e-12 | -141.9705 | 132.2872 | -2.703e-12 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 3.5527e-15 | -3.7062 | 0.56866 | -1.7764e-15 | 3.9151 | -0.35982 | 7.1054e-15 | -0.018396 | -3.1192 | 8.4151e-29 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | -2.7132e-12 | -143.7605 | 136.2873 | -2.7143e-12 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.027795 | 0.021976 | 0.021976 | 0.033289 | 0.016482 | 0.016482 | 0.32095 | 0.25376 | 0.25376 | 0.38439 | 0.19032 | 0.19032 | 0.0011002 | 0.24228 | -0.24119 | -0.0010679 | -0.18139 | 0.18121 | 0.0010262 | -0.42115 | -0.42292 | -0.00070654 | 0.31609 | 0.3174 | 89.7814 | -90.2099 | -90.2099 | -90.2183 | 89.7924 | 89.7924 |  | 0.0046875 | 1.9147 | 1.9186 | 0.0033311 | 1.9149 | 1.9204 | 132.7876 | -150.2986 | 150.0941 | 123.2713 | -150.3576 | 150.0704
Line_1 | 0.030434 | 0.002747 | 0.002747 | 0.024941 | 0.0082404 | 0.0082404 | 0.35142 | 0.031719 | 0.031719 | 0.28799 | 0.095151 | 0.095151 | 1.4036e-13 | -0.030273 | 0.03016 | 0.00080004 | 0.090662 | -0.090625 | -1.3595e-13 | 0.052677 | 0.052896 | 0.00052937 | -0.15805 | -0.15867 | -90.2154 | 89.7926 | 89.7926 | 89.7796 | -90.1974 | -90.1974 |  | 0 | 1.9154 | 1.9197 | 0.0033311 | 1.9149 | 1.9204 | 0 | -150.3222 | 150.1016 | 123.2713 | -150.3576 | 150.0704
Line_2 | 0.013844 | 0.0027464 | 0.0027464 | 0.0083489 | 0.0082415 | 0.0082415 | 0.15986 | 0.031713 | 0.031713 | 0.096405 | 0.095165 | 0.095165 | -0.0003626 | -0.03019 | 0.03023 | 0.00026784 | 0.090731 | -0.090581 | -0.0002028 | 0.052695 | 0.052882 | 0.00017717 | -0.15804 | -0.15873 | -90.2222 | 89.8231 | 89.8231 | 89.7883 | -90.2177 | -90.2177 |  | 0.002599 | 1.915 | 1.9208 | 0.0033311 | 1.9149 | 1.9204 | 118.9962 | -150.3679 | 150.0684 | 123.2713 | -150.3576 | 150.0704
Line_3 | 0.019337 | 0.002747 | 0.002747 | 0.013844 | 0.0027464 | 0.0027464 | 0.22329 | 0.031719 | 0.031719 | 0.15986 | 0.031713 | 0.031713 | 8.918e-14 | 0.030273 | -0.03016 | 0.0003626 | 0.03019 | -0.03023 | -8.6384e-14 | -0.052677 | -0.052896 | 0.0002028 | -0.052695 | -0.052882 | -90.2137 | -90.2074 | -90.2074 | 89.7778 | -90.1769 | -90.1769 |  | 0 | 1.9154 | 1.9197 | 0.002599 | 1.915 | 1.9208 | 0 | -150.3222 | 150.1016 | 118.9962 | -150.3679 | 150.0684

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.027795 | 0.021976 | 0.021976 | 0.033289 | 0.016482 | 0.016482 | 0.32095 | 0.25376 | 0.25376 | 0.38439 | 0.19032 | 0.19032 | 0.0011002 | 0.24228 | -0.24119 | -0.0010679 | -0.18139 | 0.18121 | 0.0010262 | -0.42115 | -0.42292 | -0.00070654 | 0.31609 | 0.3174 | 89.7814 | -90.2099 | -90.2099 | -90.2183 | 89.7924 | 89.7924 |  | 0.0046875 | 1.9147 | 1.9186 | 0.0033311 | 1.9149 | 1.9204 | 132.7876 | -150.2986 | 150.0941 | 123.2713 | -150.3576 | 150.0704
Line_1 | 0.030434 | 0.002747 | 0.002747 | 0.024941 | 0.0082404 | 0.0082404 | 0.35142 | 0.031719 | 0.031719 | 0.28799 | 0.095151 | 0.095151 | 1.4036e-13 | -0.030273 | 0.03016 | 0.00080004 | 0.090662 | -0.090625 | -1.3595e-13 | 0.052677 | 0.052896 | 0.00052937 | -0.15805 | -0.15867 | -90.2154 | 89.7926 | 89.7926 | 89.7796 | -90.1974 | -90.1974 |  | 0 | 1.9154 | 1.9197 | 0.0033311 | 1.9149 | 1.9204 | 0 | -150.3222 | 150.1016 | 123.2713 | -150.3576 | 150.0704
Line_2 | 0.013844 | 0.0027464 | 0.0027464 | 0.0083489 | 0.0082415 | 0.0082415 | 0.15986 | 0.031713 | 0.031713 | 0.096405 | 0.095165 | 0.095165 | -0.0003626 | -0.03019 | 0.03023 | 0.00026784 | 0.090731 | -0.090581 | -0.0002028 | 0.052695 | 0.052882 | 0.00017717 | -0.15804 | -0.15873 | -90.2222 | 89.8231 | 89.8231 | 89.7883 | -90.2177 | -90.2177 |  | 0.002599 | 1.915 | 1.9208 | 0.0033311 | 1.9149 | 1.9204 | 118.9962 | -150.3679 | 150.0684 | 123.2713 | -150.3576 | 150.0704
Line_3 | 0.019337 | 0.002747 | 0.002747 | 0.013844 | 0.0027464 | 0.0027464 | 0.22329 | 0.031719 | 0.031719 | 0.15986 | 0.031713 | 0.031713 | 8.918e-14 | 0.030273 | -0.03016 | 0.0003626 | 0.03019 | -0.03023 | -8.6384e-14 | -0.052677 | -0.052896 | 0.0002028 | -0.052695 | -0.052882 | -90.2137 | -90.2074 | -90.2074 | 89.7778 | -90.1769 | -90.1769 |  | 0 | 1.9154 | 1.9197 | 0.002599 | 1.915 | 1.9208 | 0 | -150.3222 | 150.1016 | 118.9962 | -150.3679 | 150.0684

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.028343 | 0.022409 | 0.022409 | 0.033945 | 0.016807 | 0.016807 | 0.32727 | 0.25876 | 0.25876 | 0.39197 | 0.19407 | 0.19407 | 0.0083358 | 0.24984 | -0.24302 | -0.0097238 | -0.18705 | 0.18259 | 0.0082597 | -0.43014 | -0.44183 | -0.0093492 | 0.32284 | 0.3316 | 88.6324 | -91.3589 | -91.3589 | -91.3673 | 88.6434 | 88.6434 |  | 0.035856 | 1.9224 | 1.9488 | 0.034414 | 1.9226 | 1.9506 | 133.37 | -151.2092 | 149.829 | 132.5073 | -151.2691 | 149.8044
Line_1 | 0.031034 | 0.0028011 | 0.0028011 | 0.025432 | 0.0084027 | 0.0084027 | 0.35834 | 0.032344 | 0.032344 | 0.29366 | 0.097026 | 0.097026 | -0.007875 | -0.031217 | 0.03039 | 0.0072848 | 0.09349 | -0.091318 | -0.0078752 | 0.053802 | 0.055261 | 0.0070047 | -0.16143 | -0.16577 | -91.3644 | 88.6436 | 88.6436 | 88.6305 | -91.3465 | -91.3465 |  | 0.031079 | 1.9232 | 1.9498 | 0.034414 | 1.9226 | 1.9506 | 133.6362 | -151.2332 | 149.836 | 132.5073 | -151.2691 | 149.8044
Line_2 | 0.014117 | 0.0028005 | 0.0028005 | 0.0085134 | 0.0084039 | 0.0084039 | 0.16301 | 0.032337 | 0.032337 | 0.098305 | 0.09704 | 0.09704 | -0.0039588 | -0.031132 | 0.030463 | 0.002439 | 0.093561 | -0.091272 | -0.0037936 | 0.053821 | 0.055247 | 0.0023445 | -0.16142 | -0.16583 | -91.3713 | 88.674 | 88.674 | 88.6392 | -91.3668 | -91.3668 |  | 0.033637 | 1.9227 | 1.951 | 0.034414 | 1.9226 | 1.9506 | 132.4078 | -151.2796 | 149.8021 | 132.5073 | -151.2691 | 149.8044
Line_3 | 0.019718 | 0.0028011 | 0.0028011 | 0.014117 | 0.0028005 | 0.0028005 | 0.22769 | 0.032344 | 0.032344 | 0.16301 | 0.032337 | 0.032337 | -0.0050038 | 0.031217 | -0.03039 | 0.0039588 | 0.031132 | -0.030463 | -0.0050037 | -0.053802 | -0.055261 | 0.0037936 | -0.053821 | -0.055247 | -91.3627 | -91.3564 | -91.3564 | 88.6287 | -91.326 | -91.326 |  | 0.031079 | 1.9232 | 1.9498 | 0.033637 | 1.9227 | 1.951 | 133.6362 | -151.2332 | 149.836 | 132.4078 | -151.2796 | 149.8021

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.028343 | 0.022409 | 0.022409 | 0.033945 | 0.016807 | 0.016807 | 0.32727 | 0.25876 | 0.25876 | 0.39197 | 0.19407 | 0.19407 | 0.0083358 | 0.24984 | -0.24302 | -0.0097238 | -0.18705 | 0.18259 | 0.0082597 | -0.43014 | -0.44183 | -0.0093492 | 0.32284 | 0.3316 | 88.6324 | -91.3589 | -91.3589 | -91.3673 | 88.6434 | 88.6434 |  | 0.035856 | 1.9224 | 1.9488 | 0.034414 | 1.9226 | 1.9506 | 133.37 | -151.2092 | 149.829 | 132.5073 | -151.2691 | 149.8044
Line_1 | 0.031034 | 0.0028011 | 0.0028011 | 0.025432 | 0.0084027 | 0.0084027 | 0.35834 | 0.032344 | 0.032344 | 0.29366 | 0.097026 | 0.097026 | -0.007875 | -0.031217 | 0.03039 | 0.0072848 | 0.09349 | -0.091318 | -0.0078752 | 0.053802 | 0.055261 | 0.0070047 | -0.16143 | -0.16577 | -91.3644 | 88.6436 | 88.6436 | 88.6305 | -91.3465 | -91.3465 |  | 0.031079 | 1.9232 | 1.9498 | 0.034414 | 1.9226 | 1.9506 | 133.6362 | -151.2332 | 149.836 | 132.5073 | -151.2691 | 149.8044
Line_2 | 0.014117 | 0.0028005 | 0.0028005 | 0.0085134 | 0.0084039 | 0.0084039 | 0.16301 | 0.032337 | 0.032337 | 0.098305 | 0.09704 | 0.09704 | -0.0039588 | -0.031132 | 0.030463 | 0.002439 | 0.093561 | -0.091272 | -0.0037936 | 0.053821 | 0.055247 | 0.0023445 | -0.16142 | -0.16583 | -91.3713 | 88.674 | 88.674 | 88.6392 | -91.3668 | -91.3668 |  | 0.033637 | 1.9227 | 1.951 | 0.034414 | 1.9226 | 1.9506 | 132.4078 | -151.2796 | 149.8021 | 132.5073 | -151.2691 | 149.8044
Line_3 | 0.019718 | 0.0028011 | 0.0028011 | 0.014117 | 0.0028005 | 0.0028005 | 0.22769 | 0.032344 | 0.032344 | 0.16301 | 0.032337 | 0.032337 | -0.0050038 | 0.031217 | -0.03039 | 0.0039588 | 0.031132 | -0.030463 | -0.0050037 | -0.053802 | -0.055261 | 0.0037936 | -0.053821 | -0.055247 | -91.3627 | -91.3564 | -91.3564 | 88.6287 | -91.326 | -91.326 |  | 0.031079 | 1.9232 | 1.9498 | 0.033637 | 1.9227 | 1.951 | 133.6362 | -151.2332 | 149.836 | 132.4078 | -151.2796 | 149.8021

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025275 | 0.019984 | 0.019984 | 0.030271 | 0.014987 | 0.014987 | 0.29185 | 0.23075 | 0.23075 | 0.34954 | 0.17306 | 0.17306 | 0.0017467 | 0.2007 | -0.19897 | -0.0016954 | -0.15002 | 0.14972 | 0.00084765 | -0.34762 | -0.35033 | -0.00058338 | 0.26091 | 0.26292 | 89.5939 | -90.3893 | -90.3893 | -90.4055 | 89.615 | 89.615 |  | 0.0066524 | 1.7395 | 1.746 | 0.0051294 | 1.7391 | 1.7483 | 115.4808 | -150.3891 | 150.0169 | 108.5827 | -150.4862 | 149.9552
Line_1 | 0.027675 | 0.0024979 | 0.0024979 | 0.022679 | 0.0074932 | 0.0074932 | 0.31956 | 0.028843 | 0.028843 | 0.26188 | 0.086524 | 0.086524 | -6.6666e-14 | -0.025068 | 0.024889 | 0.0012702 | 0.07496 | -0.074901 | -9.5833e-14 | 0.043481 | 0.043816 | 0.00043716 | -0.13047 | -0.13142 | -90.4 | 89.6154 | 89.6154 | 89.5903 | -90.3655 | -90.3655 |  | 0 | 1.7401 | 1.7471 | 0.0051294 | 1.7391 | 1.7483 | 0 | -150.4201 | 150.017 | 108.5827 | -150.4862 | 149.9552
Line_2 | 0.012589 | 0.0024974 | 0.0024974 | 0.007592 | 0.0074943 | 0.0074943 | 0.14536 | 0.028837 | 0.028837 | 0.087665 | 0.086536 | 0.086536 | -0.00057567 | -0.024941 | 0.025005 | 0.00042523 | 0.07506 | -0.074822 | -0.00016747 | 0.043508 | 0.043792 | 0.00014622 | -0.13044 | -0.13149 | -90.4131 | 89.6739 | 89.6739 | 89.607 | -90.4045 | -90.4045 |  | 0.0041244 | 1.7391 | 1.7487 | 0.0051294 | 1.7391 | 1.7483 | 105.8072 | -150.5022 | 149.9475 | 108.5827 | -150.4862 | 149.9552
Line_3 | 0.017584 | 0.0024979 | 0.0024979 | 0.012589 | 0.0024974 | 0.0024974 | 0.20304 | 0.028843 | 0.028843 | 0.14536 | 0.028837 | 0.028837 | -4.2363e-14 | 0.025068 | -0.024889 | 0.00057567 | 0.024941 | -0.025005 | -6.0889e-14 | -0.043481 | -0.043816 | 0.00016747 | -0.043508 | -0.043792 | -90.3967 | -90.3846 | -90.3846 | 89.5869 | -90.3261 | -90.3261 |  | 0 | 1.7401 | 1.7471 | 0.0041244 | 1.7391 | 1.7487 | 0 | -150.4201 | 150.017 | 105.8072 | -150.5022 | 149.9475

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025275 | 0.019984 | 0.019984 | 0.030271 | 0.014987 | 0.014987 | 0.29185 | 0.23075 | 0.23075 | 0.34954 | 0.17306 | 0.17306 | 0.0017467 | 0.2007 | -0.19897 | -0.0016954 | -0.15002 | 0.14972 | 0.00084765 | -0.34762 | -0.35033 | -0.00058338 | 0.26091 | 0.26292 | 89.5939 | -90.3893 | -90.3893 | -90.4055 | 89.615 | 89.615 |  | 0.0066524 | 1.7395 | 1.746 | 0.0051294 | 1.7391 | 1.7483 | 115.4808 | -150.3891 | 150.0169 | 108.5827 | -150.4862 | 149.9552
Line_1 | 0.027675 | 0.0024979 | 0.0024979 | 0.022679 | 0.0074932 | 0.0074932 | 0.31956 | 0.028843 | 0.028843 | 0.26188 | 0.086524 | 0.086524 | -6.6666e-14 | -0.025068 | 0.024889 | 0.0012702 | 0.07496 | -0.074901 | -9.5833e-14 | 0.043481 | 0.043816 | 0.00043716 | -0.13047 | -0.13142 | -90.4 | 89.6154 | 89.6154 | 89.5903 | -90.3655 | -90.3655 |  | 0 | 1.7401 | 1.7471 | 0.0051294 | 1.7391 | 1.7483 | 0 | -150.4201 | 150.017 | 108.5827 | -150.4862 | 149.9552
Line_2 | 0.012589 | 0.0024974 | 0.0024974 | 0.007592 | 0.0074943 | 0.0074943 | 0.14536 | 0.028837 | 0.028837 | 0.087665 | 0.086536 | 0.086536 | -0.00057567 | -0.024941 | 0.025005 | 0.00042523 | 0.07506 | -0.074822 | -0.00016747 | 0.043508 | 0.043792 | 0.00014622 | -0.13044 | -0.13149 | -90.4131 | 89.6739 | 89.6739 | 89.607 | -90.4045 | -90.4045 |  | 0.0041244 | 1.7391 | 1.7487 | 0.0051294 | 1.7391 | 1.7483 | 105.8072 | -150.5022 | 149.9475 | 108.5827 | -150.4862 | 149.9552
Line_3 | 0.017584 | 0.0024979 | 0.0024979 | 0.012589 | 0.0024974 | 0.0024974 | 0.20304 | 0.028843 | 0.028843 | 0.14536 | 0.028837 | 0.028837 | -4.2363e-14 | 0.025068 | -0.024889 | 0.00057567 | 0.024941 | -0.025005 | -6.0889e-14 | -0.043481 | -0.043816 | 0.00016747 | -0.043508 | -0.043792 | -90.3967 | -90.3846 | -90.3846 | 89.5869 | -90.3261 | -90.3261 |  | 0 | 1.7401 | 1.7471 | 0.0041244 | 1.7391 | 1.7487 | 0 | -150.4201 | 150.017 | 105.8072 | -150.5022 | 149.9475

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025772 | 0.020376 | 0.020376 | 0.030866 | 0.015282 | 0.015282 | 0.29758 | 0.23528 | 0.23528 | 0.35641 | 0.17646 | 0.17646 | 0.0077617 | 0.20694 | -0.20044 | -0.0088837 | -0.15468 | 0.15085 | 0.0068285 | -0.35498 | -0.36595 | -0.0077293 | 0.26644 | 0.27464 | 88.441 | -91.5423 | -91.5423 | -91.5584 | 88.4621 | 88.4621 |  | 0.034739 | 1.7464 | 1.7734 | 0.033039 | 1.7459 | 1.7757 | 129.7814 | -151.302 | 149.7476 | 129.4665 | -151.4004 | 149.6845
Line_1 | 0.028218 | 0.002547 | 0.002547 | 0.023125 | 0.0076404 | 0.0076404 | 0.32583 | 0.02941 | 0.02941 | 0.26702 | 0.088223 | 0.088223 | -0.0065108 | -0.025847 | 0.025074 | 0.0066553 | 0.07729 | -0.075464 | -0.0065111 | 0.044403 | 0.045769 | 0.0057913 | -0.13324 | -0.13728 | -91.5529 | 88.4625 | 88.4625 | 88.4374 | -91.5184 | -91.5184 |  | 0.02826 | 1.747 | 1.7745 | 0.033039 | 1.7459 | 1.7757 | 133.4484 | -151.3335 | 149.7472 | 129.4665 | -151.4004 | 149.6845
Line_2 | 0.012836 | 0.0025464 | 0.0025464 | 0.0077411 | 0.0076414 | 0.0076414 | 0.14822 | 0.029404 | 0.029404 | 0.089386 | 0.088236 | 0.088236 | -0.0035595 | -0.025717 | 0.025195 | 0.0022284 | 0.077391 | -0.075381 | -0.0031366 | 0.044431 | 0.045745 | 0.001938 | -0.1332 | -0.13736 | -91.566 | 88.521 | 88.521 | 88.4541 | -91.5574 | -91.5574 |  | 0.032009 | 1.7459 | 1.7761 | 0.033039 | 1.7459 | 1.7757 | 129.8202 | -151.4167 | 149.6765 | 129.4665 | -151.4004 | 149.6845
Line_3 | 0.017929 | 0.002547 | 0.002547 | 0.012836 | 0.0025464 | 0.0025464 | 0.20703 | 0.02941 | 0.02941 | 0.14822 | 0.029404 | 0.029404 | -0.0041372 | 0.025847 | -0.025074 | 0.0035595 | 0.025717 | -0.025195 | -0.0041369 | -0.044403 | -0.045769 | 0.0031366 | -0.044431 | -0.045745 | -91.5496 | -91.5375 | -91.5375 | 88.434 | -91.479 | -91.479 |  | 0.02826 | 1.747 | 1.7745 | 0.032009 | 1.7459 | 1.7761 | 133.4484 | -151.3335 | 149.7472 | 129.8202 | -151.4167 | 149.6765

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025772 | 0.020376 | 0.020376 | 0.030866 | 0.015282 | 0.015282 | 0.29758 | 0.23528 | 0.23528 | 0.35641 | 0.17646 | 0.17646 | 0.0077617 | 0.20694 | -0.20044 | -0.0088837 | -0.15468 | 0.15085 | 0.0068285 | -0.35498 | -0.36595 | -0.0077293 | 0.26644 | 0.27464 | 88.441 | -91.5423 | -91.5423 | -91.5584 | 88.4621 | 88.4621 |  | 0.034739 | 1.7464 | 1.7734 | 0.033039 | 1.7459 | 1.7757 | 129.7814 | -151.302 | 149.7476 | 129.4665 | -151.4004 | 149.6845
Line_1 | 0.028218 | 0.002547 | 0.002547 | 0.023125 | 0.0076404 | 0.0076404 | 0.32583 | 0.02941 | 0.02941 | 0.26702 | 0.088223 | 0.088223 | -0.0065108 | -0.025847 | 0.025074 | 0.0066553 | 0.07729 | -0.075464 | -0.0065111 | 0.044403 | 0.045769 | 0.0057913 | -0.13324 | -0.13728 | -91.5529 | 88.4625 | 88.4625 | 88.4374 | -91.5184 | -91.5184 |  | 0.02826 | 1.747 | 1.7745 | 0.033039 | 1.7459 | 1.7757 | 133.4484 | -151.3335 | 149.7472 | 129.4665 | -151.4004 | 149.6845
Line_2 | 0.012836 | 0.0025464 | 0.0025464 | 0.0077411 | 0.0076414 | 0.0076414 | 0.14822 | 0.029404 | 0.029404 | 0.089386 | 0.088236 | 0.088236 | -0.0035595 | -0.025717 | 0.025195 | 0.0022284 | 0.077391 | -0.075381 | -0.0031366 | 0.044431 | 0.045745 | 0.001938 | -0.1332 | -0.13736 | -91.566 | 88.521 | 88.521 | 88.4541 | -91.5574 | -91.5574 |  | 0.032009 | 1.7459 | 1.7761 | 0.033039 | 1.7459 | 1.7757 | 129.8202 | -151.4167 | 149.6765 | 129.4665 | -151.4004 | 149.6845
Line_3 | 0.017929 | 0.002547 | 0.002547 | 0.012836 | 0.0025464 | 0.0025464 | 0.20703 | 0.02941 | 0.02941 | 0.14822 | 0.029404 | 0.029404 | -0.0041372 | 0.025847 | -0.025074 | 0.0035595 | 0.025717 | -0.025195 | -0.0041369 | -0.044403 | -0.045769 | 0.0031366 | -0.044431 | -0.045745 | -91.5496 | -91.5375 | -91.5375 | 88.434 | -91.479 | -91.479 |  | 0.02826 | 1.747 | 1.7745 | 0.032009 | 1.7459 | 1.7761 | 133.4484 | -151.3335 | 149.7472 | 129.8202 | -151.4167 | 149.6765

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010918 | 3.2046 | 3.2038 | 0.0081882 | 3.2054 | 3.203 | 0.12607 | 37.0041 | 36.9945 | 0.094549 | 37.0131 | 36.9855 | 0.00025002 | 8.8929 | 8.9035 | -0.00010657 | -3.5589 | -3.5597 | -0.20839 | 10.1266 | 10.0654 | 0.15635 | -4.0765 | -4.0004 | 89.9002 | -163.4859 | 16.4645 | -90.0975 | 16.5608 | -163.5823 |  | 1.653 | 0.36421 | 0.36325 | 1.6536 | 0.1462 | 0.14478 | -0.031057 | -114.7746 | 64.9698 | -0.058478 | -114.5614 | 64.7536
Line_1 | 0.0013647 | 2.1381 | 2.1342 | 0.0040938 | 2.1373 | 2.135 | 0.015758 | 24.689 | 24.6436 | 0.047271 | 24.6799 | 24.6525 | -2.7724e-05 | 4.5004e-11 | 3.6103e-11 | 3.9425e-05 | 2.3747 | 2.3711 | 0.026056 | -2.5461e-11 | 2.2301e-11 | -0.078167 | 2.7167 | 2.6679 | -90.0973 | 16.6659 | -163.6876 | 89.9126 | -163.4041 | 16.3826 |  | 1.6535 | 0 | 0 | 1.6536 | 0.1462 | 0.14478 | -0.036373 | 0 | 0 | -0.058478 | -114.5614 | 64.7536
Line_2 | 0.0013644 | 1.0689 | 1.0673 | 0.0040944 | 1.0681 | 1.0681 | 0.015755 | 12.3422 | 12.324 | 0.047278 | 12.3332 | 12.333 | -1.9541e-06 | -0.5937 | -0.59278 | 6.7142e-05 | 1.1842 | 1.1886 | 0.026054 | -0.68471 | -0.66145 | -0.078178 | 1.3598 | 1.3325 | -90.0669 | 16.6309 | -163.6525 | 89.8923 | -163.5093 | 16.4879 |  | 1.6537 | 0.073428 | 0.072071 | 1.6536 | 0.1462 | 0.14478 | -0.062567 | -114.2969 | 64.4811 | -0.058478 | -114.5614 | 64.7536
Line_3 | 0.0013647 | 1.0697 | 1.0665 | 0.0013644 | 1.0689 | 1.0673 | 0.015758 | 12.3513 | 12.3152 | 0.015755 | 12.3422 | 12.324 | 2.7721e-05 | 2.2491e-11 | 1.8021e-11 | 1.9507e-06 | 0.5937 | 0.59278 | -0.026056 | -1.2779e-11 | 1.1177e-11 | -0.026054 | 0.68471 | 0.66145 | 89.9027 | 16.7709 | -163.7931 | 89.9331 | -163.3691 | 16.3475 |  | 1.6535 | 0 | 0 | 1.6537 | 0.073428 | 0.072071 | -0.036373 | 0 | 0 | -0.062567 | -114.2969 | 64.4811

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010918 | 3.2046 | 3.2038 | 0.0081882 | 3.2054 | 3.203 | 0.12607 | 37.0041 | 36.9945 | 0.094549 | 37.0131 | 36.9855 | 0.00025002 | 8.8929 | 8.9035 | -0.00010657 | -3.5589 | -3.5597 | -0.20839 | 10.1266 | 10.0654 | 0.15635 | -4.0765 | -4.0004 | 89.9002 | -163.4859 | 16.4645 | -90.0975 | 16.5608 | -163.5823 |  | 1.653 | 0.36421 | 0.36325 | 1.6536 | 0.1462 | 0.14478 | -0.031057 | -114.7746 | 64.9698 | -0.058478 | -114.5614 | 64.7536
Line_1 | 0.0013647 | 2.1381 | 2.1342 | 0.0040938 | 2.1373 | 2.135 | 0.015758 | 24.689 | 24.6436 | 0.047271 | 24.6799 | 24.6525 | -2.7724e-05 | 4.5004e-11 | 3.6103e-11 | 3.9425e-05 | 2.3747 | 2.3711 | 0.026056 | -2.5461e-11 | 2.2301e-11 | -0.078167 | 2.7167 | 2.6679 | -90.0973 | 16.6659 | -163.6876 | 89.9126 | -163.4041 | 16.3826 |  | 1.6535 | 0 | 0 | 1.6536 | 0.1462 | 0.14478 | -0.036373 | 0 | 0 | -0.058478 | -114.5614 | 64.7536
Line_2 | 0.0013644 | 1.0689 | 1.0673 | 0.0040944 | 1.0681 | 1.0681 | 0.015755 | 12.3422 | 12.324 | 0.047278 | 12.3332 | 12.333 | -1.9541e-06 | -0.5937 | -0.59278 | 6.7142e-05 | 1.1842 | 1.1886 | 0.026054 | -0.68471 | -0.66145 | -0.078178 | 1.3598 | 1.3325 | -90.0669 | 16.6309 | -163.6525 | 89.8923 | -163.5093 | 16.4879 |  | 1.6537 | 0.073428 | 0.072071 | 1.6536 | 0.1462 | 0.14478 | -0.062567 | -114.2969 | 64.4811 | -0.058478 | -114.5614 | 64.7536
Line_3 | 0.0013647 | 1.0697 | 1.0665 | 0.0013644 | 1.0689 | 1.0673 | 0.015758 | 12.3513 | 12.3152 | 0.015755 | 12.3422 | 12.324 | 2.7721e-05 | 2.2491e-11 | 1.8021e-11 | 1.9507e-06 | 0.5937 | 0.59278 | -0.026056 | -1.2779e-11 | 1.1177e-11 | -0.026054 | 0.68471 | 0.66145 | 89.9027 | 16.7709 | -163.7931 | 89.9331 | -163.3691 | 16.3475 |  | 1.6535 | 0 | 0 | 1.6537 | 0.073428 | 0.072071 | -0.036373 | 0 | 0 | -0.062567 | -114.2969 | 64.4811

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011024 | 1.0772 | 1.0755 | 0.0082681 | 1.0788 | 1.0738 | 0.1273 | 12.4384 | 12.4184 | 0.095472 | 12.4574 | 12.3995 | 0.0016313 | 6.7958 | 6.7973 | -0.001141 | -6.2169 | -6.1718 | -0.2111 | 7.0356 | 6.8277 | 0.15838 | -6.3512 | -6.1455 | 89.336 | -144.164 | 35.711 | -90.6617 | 35.9536 | -144.4074 |  | 1.6584 | 0.78642 | 0.77582 | 1.659 | 0.71343 | 0.70242 | -0.22122 | -98.1706 | 80.8392 | -0.24895 | -98.4339 | 80.4704
Line_1 | 0.001378 | 0.7217 | 0.71345 | 0.0041338 | 0.72005 | 0.71507 | 0.015912 | 8.3335 | 8.2382 | 0.047733 | 8.3144 | 8.2569 | -0.00020032 | -3.9049 | -3.8192 | 0.00055641 | 4.1558 | 4.1035 | 0.026396 | -3.9168 | -3.8073 | -0.079185 | 4.2326 | 4.0987 | -90.6615 | 36.2171 | -144.6751 | 89.3485 | -143.9584 | 35.5036 |  | 1.6589 | 0.66368 | 0.6546 | 1.659 | 0.71343 | 0.70242 | -0.22669 | -98.6955 | 80.2353 | -0.24895 | -98.4339 | 80.4704
Line_2 | 0.0013777 | 0.36044 | 0.35713 | 0.0041343 | 0.35879 | 0.35876 | 0.015909 | 4.162 | 4.1238 | 0.047739 | 4.143 | 4.1426 | -0.0001741 | -2.0159 | -1.98 | 0.00058456 | 2.061 | 2.0683 | 0.026393 | -2.0393 | -1.9746 | -0.079196 | 2.1186 | 2.0468 | -90.631 | 36.1294 | -144.5856 | 89.3281 | -144.223 | 35.7701 |  | 1.6591 | 0.68897 | 0.6781 | 1.659 | 0.71343 | 0.70242 | -0.2531 | -98.5405 | 80.3365 | -0.24895 | -98.4339 | 80.4704
Line_3 | 0.001378 | 0.36209 | 0.35551 | 0.0013777 | 0.36044 | 0.35713 | 0.015912 | 4.1811 | 4.1051 | 0.015909 | 4.162 | 4.1238 | 0.00020032 | -1.9681 | -1.8942 | 0.0001741 | 2.0159 | 1.98 | -0.026396 | -1.9562 | -1.9061 | -0.026393 | 2.0393 | 1.9746 | 89.3385 | 36.4787 | -144.9446 | 89.369 | -143.8706 | 35.4144 |  | 1.6589 | 0.66368 | 0.6546 | 1.6591 | 0.68897 | 0.6781 | -0.22669 | -98.6955 | 80.2353 | -0.2531 | -98.5405 | 80.3365

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011024 | 1.0772 | 1.0755 | 0.0082681 | 1.0788 | 1.0738 | 0.1273 | 12.4384 | 12.4184 | 0.095472 | 12.4574 | 12.3995 | 0.0016313 | 6.7958 | 6.7973 | -0.001141 | -6.2169 | -6.1718 | -0.2111 | 7.0356 | 6.8277 | 0.15838 | -6.3512 | -6.1455 | 89.336 | -144.164 | 35.711 | -90.6617 | 35.9536 | -144.4074 |  | 1.6584 | 0.78642 | 0.77582 | 1.659 | 0.71343 | 0.70242 | -0.22122 | -98.1706 | 80.8392 | -0.24895 | -98.4339 | 80.4704
Line_1 | 0.001378 | 0.7217 | 0.71345 | 0.0041338 | 0.72005 | 0.71507 | 0.015912 | 8.3335 | 8.2382 | 0.047733 | 8.3144 | 8.2569 | -0.00020032 | -3.9049 | -3.8192 | 0.00055641 | 4.1558 | 4.1035 | 0.026396 | -3.9168 | -3.8073 | -0.079185 | 4.2326 | 4.0987 | -90.6615 | 36.2171 | -144.6751 | 89.3485 | -143.9584 | 35.5036 |  | 1.6589 | 0.66368 | 0.6546 | 1.659 | 0.71343 | 0.70242 | -0.22669 | -98.6955 | 80.2353 | -0.24895 | -98.4339 | 80.4704
Line_2 | 0.0013777 | 0.36044 | 0.35713 | 0.0041343 | 0.35879 | 0.35876 | 0.015909 | 4.162 | 4.1238 | 0.047739 | 4.143 | 4.1426 | -0.0001741 | -2.0159 | -1.98 | 0.00058456 | 2.061 | 2.0683 | 0.026393 | -2.0393 | -1.9746 | -0.079196 | 2.1186 | 2.0468 | -90.631 | 36.1294 | -144.5856 | 89.3281 | -144.223 | 35.7701 |  | 1.6591 | 0.68897 | 0.6781 | 1.659 | 0.71343 | 0.70242 | -0.2531 | -98.5405 | 80.3365 | -0.24895 | -98.4339 | 80.4704
Line_3 | 0.001378 | 0.36209 | 0.35551 | 0.0013777 | 0.36044 | 0.35713 | 0.015912 | 4.1811 | 4.1051 | 0.015909 | 4.162 | 4.1238 | 0.00020032 | -1.9681 | -1.8942 | 0.0001741 | 2.0159 | 1.98 | -0.026396 | -1.9562 | -1.9061 | -0.026393 | 2.0393 | 1.9746 | 89.3385 | 36.4787 | -144.9446 | 89.369 | -143.8706 | 35.4144 |  | 1.6589 | 0.66368 | 0.6546 | 1.6591 | 0.68897 | 0.6781 | -0.22669 | -98.6955 | 80.2353 | -0.2531 | -98.5405 | 80.3365

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099258 | 2.6067 | 2.6054 | 0.0074443 | 2.6078 | 2.6043 | 0.11461 | 30.0992 | 30.085 | 0.085959 | 30.1126 | 30.0717 | 0.00039678 | 11.3128 | 11.2894 | -0.00016912 | -4.5399 | -4.5011 | -0.17224 | 6.7177 | 6.639 | 0.12923 | -2.7205 | -2.6222 | 89.8118 | -152.3478 | 27.6011 | -90.1839 | 27.7004 | -152.4472 |  | 1.5028 | 0.43712 | 0.43533 | 1.5034 | 0.17576 | 0.17323 | -0.056241 | -121.6455 | 58.0598 | -0.10889 | -121.3679 | 57.7766
Line_1 | 0.0012407 | 1.7403 | 1.7345 | 0.0037219 | 1.7391 | 1.7356 | 0.014326 | 20.0952 | 20.0278 | 0.042976 | 20.0818 | 20.0411 | -4.3995e-05 | -9.341e-11 | 1.3769e-11 | 6.2564e-05 | 3.0288 | 2.9986 | 0.021537 | -7.2245e-11 | -1.1338e-10 | -0.064609 | 1.8124 | 1.7495 | -90.1835 | 27.8087 | -152.556 | 89.8356 | -152.2635 | 27.5166 |  | 1.5033 | 0 | 0 | 1.5034 | 0.17576 | 0.17323 | -0.066448 | 0 | 0 | -0.10889 | -121.3679 | 57.7766
Line_2 | 0.0012404 | 0.86986 | 0.86752 | 0.0037224 | 0.8687 | 0.86867 | 0.014323 | 10.0443 | 10.0172 | 0.042983 | 10.0308 | 10.0306 | -3.0985e-06 | -0.75992 | -0.74698 | 0.00010655 | 1.5111 | 1.5025 | 0.021535 | -0.46027 | -0.4302 | -0.064618 | 0.90813 | 0.87276 | -90.125 | 27.7726 | -152.5197 | 89.7966 | -152.3719 | 27.6252 |  | 1.5035 | 0.088453 | 0.086052 | 1.5034 | 0.17576 | 0.17323 | -0.11674 | -121.025 | 57.4185 | -0.10889 | -121.3679 | 57.7766
Line_3 | 0.0012407 | 0.87102 | 0.86637 | 0.0012404 | 0.86986 | 0.86752 | 0.014326 | 10.0577 | 10.004 | 0.014323 | 10.0443 | 10.0172 | 4.3992e-05 | -4.682e-11 | 6.9854e-12 | 3.0957e-06 | 0.75992 | 0.74698 | -0.021537 | -3.6071e-11 | -5.6621e-11 | -0.021535 | 0.46027 | 0.4302 | 89.8165 | 27.9168 | -152.665 | 89.875 | -152.2274 | 27.4803 |  | 1.5033 | 0 | 0 | 1.5035 | 0.088453 | 0.086052 | -0.066448 | 0 | 0 | -0.11674 | -121.025 | 57.4185

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099258 | 2.6067 | 2.6054 | 0.0074443 | 2.6078 | 2.6043 | 0.11461 | 30.0992 | 30.085 | 0.085959 | 30.1126 | 30.0717 | 0.00039678 | 11.3128 | 11.2894 | -0.00016912 | -4.5399 | -4.5011 | -0.17224 | 6.7177 | 6.639 | 0.12923 | -2.7205 | -2.6222 | 89.8118 | -152.3478 | 27.6011 | -90.1839 | 27.7004 | -152.4472 |  | 1.5028 | 0.43712 | 0.43533 | 1.5034 | 0.17576 | 0.17323 | -0.056241 | -121.6455 | 58.0598 | -0.10889 | -121.3679 | 57.7766
Line_1 | 0.0012407 | 1.7403 | 1.7345 | 0.0037219 | 1.7391 | 1.7356 | 0.014326 | 20.0952 | 20.0278 | 0.042976 | 20.0818 | 20.0411 | -4.3995e-05 | -9.341e-11 | 1.3769e-11 | 6.2564e-05 | 3.0288 | 2.9986 | 0.021537 | -7.2245e-11 | -1.1338e-10 | -0.064609 | 1.8124 | 1.7495 | -90.1835 | 27.8087 | -152.556 | 89.8356 | -152.2635 | 27.5166 |  | 1.5033 | 0 | 0 | 1.5034 | 0.17576 | 0.17323 | -0.066448 | 0 | 0 | -0.10889 | -121.3679 | 57.7766
Line_2 | 0.0012404 | 0.86986 | 0.86752 | 0.0037224 | 0.8687 | 0.86867 | 0.014323 | 10.0443 | 10.0172 | 0.042983 | 10.0308 | 10.0306 | -3.0985e-06 | -0.75992 | -0.74698 | 0.00010655 | 1.5111 | 1.5025 | 0.021535 | -0.46027 | -0.4302 | -0.064618 | 0.90813 | 0.87276 | -90.125 | 27.7726 | -152.5197 | 89.7966 | -152.3719 | 27.6252 |  | 1.5035 | 0.088453 | 0.086052 | 1.5034 | 0.17576 | 0.17323 | -0.11674 | -121.025 | 57.4185 | -0.10889 | -121.3679 | 57.7766
Line_3 | 0.0012407 | 0.87102 | 0.86637 | 0.0012404 | 0.86986 | 0.86752 | 0.014326 | 10.0577 | 10.004 | 0.014323 | 10.0443 | 10.0172 | 4.3992e-05 | -4.682e-11 | 6.9854e-12 | 3.0957e-06 | 0.75992 | 0.74698 | -0.021537 | -3.6071e-11 | -5.6621e-11 | -0.021535 | 0.46027 | 0.4302 | 89.8165 | 27.9168 | -152.665 | 89.875 | -152.2274 | 27.4803 |  | 1.5033 | 0 | 0 | 1.5035 | 0.088453 | 0.086052 | -0.066448 | 0 | 0 | -0.11674 | -121.025 | 57.4185

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010023 | 0.92727 | 0.92557 | 0.0075168 | 0.92887 | 0.92398 | 0.11573 | 10.7072 | 10.6876 | 0.086797 | 10.7257 | 10.6692 | 0.0015423 | 5.7288 | 5.7102 | -0.0010258 | -4.892 | -4.8337 | -0.17448 | 5.2224 | 5.0483 | 0.13091 | -4.7176 | -4.5406 | 89.2467 | -141.0302 | 38.8435 | -90.749 | 39.0886 | -141.2762 |  | 1.5077 | 0.72399 | 0.71315 | 1.5082 | 0.63363 | 0.62159 | -0.2469 | -98.6781 | 80.3227 | -0.30003 | -96.9508 | 81.9329
Line_1 | 0.0012528 | 0.62166 | 0.6136 | 0.0037581 | 0.62005 | 0.61519 | 0.014466 | 7.1784 | 7.0853 | 0.043395 | 7.1598 | 7.1036 | -0.00018708 | -2.8978 | -2.8246 | 0.00049057 | 3.2704 | 3.2136 | 0.021817 | -2.9067 | -2.8157 | -0.065449 | 3.1441 | 3.0282 | -90.7486 | 39.3546 | -141.5471 | 89.2705 | -140.8226 | 38.6338 |  | 1.5082 | 0.57178 | 0.5629 | 1.5082 | 0.63363 | 0.62159 | -0.2573 | -95.5572 | 83.3622 | -0.30003 | -96.9508 | 81.9329
Line_2 | 0.0012525 | 0.31043 | 0.3072 | 0.0037587 | 0.30882 | 0.30879 | 0.014463 | 3.5845 | 3.5472 | 0.043401 | 3.566 | 3.5656 | -0.0001455 | -1.5436 | -1.5081 | 0.00053519 | 1.6215 | 1.6202 | 0.021815 | -1.5151 | -1.4586 | -0.065457 | 1.5735 | 1.5124 | -90.6901 | 39.2661 | -141.4564 | 89.2315 | -141.0897 | 38.9032 |  | 1.5084 | 0.60341 | 0.59146 | 1.5082 | 0.63363 | 0.62159 | -0.30796 | -96.2677 | 82.5882 | -0.30003 | -96.9508 | 81.9329
Line_3 | 0.0012528 | 0.31205 | 0.30562 | 0.0012525 | 0.31043 | 0.3072 | 0.014466 | 3.6032 | 3.529 | 0.014463 | 3.5845 | 3.5472 | 0.00018708 | -1.4613 | -1.4002 | 0.00014549 | 1.5436 | 1.5081 | -0.021817 | -1.4523 | -1.4091 | -0.021815 | 1.5151 | 1.4586 | 89.2514 | 39.6185 | -141.8201 | 89.3099 | -140.7339 | 38.5436 |  | 1.5082 | 0.57178 | 0.5629 | 1.5084 | 0.60341 | 0.59146 | -0.2573 | -95.5572 | 83.3622 | -0.30796 | -96.2677 | 82.5882

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010023 | 0.92727 | 0.92557 | 0.0075168 | 0.92887 | 0.92398 | 0.11573 | 10.7072 | 10.6876 | 0.086797 | 10.7257 | 10.6692 | 0.0015423 | 5.7288 | 5.7102 | -0.0010258 | -4.892 | -4.8337 | -0.17448 | 5.2224 | 5.0483 | 0.13091 | -4.7176 | -4.5406 | 89.2467 | -141.0302 | 38.8435 | -90.749 | 39.0886 | -141.2762 |  | 1.5077 | 0.72399 | 0.71315 | 1.5082 | 0.63363 | 0.62159 | -0.2469 | -98.6781 | 80.3227 | -0.30003 | -96.9508 | 81.9329
Line_1 | 0.0012528 | 0.62166 | 0.6136 | 0.0037581 | 0.62005 | 0.61519 | 0.014466 | 7.1784 | 7.0853 | 0.043395 | 7.1598 | 7.1036 | -0.00018708 | -2.8978 | -2.8246 | 0.00049057 | 3.2704 | 3.2136 | 0.021817 | -2.9067 | -2.8157 | -0.065449 | 3.1441 | 3.0282 | -90.7486 | 39.3546 | -141.5471 | 89.2705 | -140.8226 | 38.6338 |  | 1.5082 | 0.57178 | 0.5629 | 1.5082 | 0.63363 | 0.62159 | -0.2573 | -95.5572 | 83.3622 | -0.30003 | -96.9508 | 81.9329
Line_2 | 0.0012525 | 0.31043 | 0.3072 | 0.0037587 | 0.30882 | 0.30879 | 0.014463 | 3.5845 | 3.5472 | 0.043401 | 3.566 | 3.5656 | -0.0001455 | -1.5436 | -1.5081 | 0.00053519 | 1.6215 | 1.6202 | 0.021815 | -1.5151 | -1.4586 | -0.065457 | 1.5735 | 1.5124 | -90.6901 | 39.2661 | -141.4564 | 89.2315 | -141.0897 | 38.9032 |  | 1.5084 | 0.60341 | 0.59146 | 1.5082 | 0.63363 | 0.62159 | -0.30796 | -96.2677 | 82.5882 | -0.30003 | -96.9508 | 81.9329
Line_3 | 0.0012528 | 0.31205 | 0.30562 | 0.0012525 | 0.31043 | 0.3072 | 0.014466 | 3.6032 | 3.529 | 0.014463 | 3.5845 | 3.5472 | 0.00018708 | -1.4613 | -1.4002 | 0.00014549 | 1.5436 | 1.5081 | -0.021817 | -1.4523 | -1.4091 | -0.021815 | 1.5151 | 1.4586 | 89.2514 | 39.6185 | -141.8201 | 89.3099 | -140.7339 | 38.5436 |  | 1.5082 | 0.57178 | 0.5629 | 1.5084 | 0.60341 | 0.59146 | -0.2573 | -95.5572 | 83.3622 | -0.30796 | -96.2677 | 82.5882