## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2805e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2805e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3792e-14 | 6.2528e-14 | -4.1685e-14 | 7.816e-14 | -5.9922e-14 | 3.6475e-14 | -4.6896e-14 | 5.7634e-09 | -5.7634e-09 | 4.6896e-14 | -5.7634e-09 | 5.7635e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.6386e-13 | 180 | -180 | 8.2492e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5225e-28 | -2.0842e-14 | 1.0421e-14 | -1.0421e-14 | 3.3869e-14 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9212e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 8.3704e-13 | -180 | 180 | 8.2492e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.0421e-14 | 2.0843e-14 | -2.6053e-14 | 2.3448e-14 | -2.6053e-14 | 1.5244e-28 | -1.9211e-09 | 1.9212e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 8.3813e-13 | -180 | 180 | 8.2492e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.816e-15 | -1.5632e-14 | 1.5244e-28 | 2.3448e-14 | 1.5632e-14 | 1.5632e-14 | 2.6053e-15 | 5.2106e-15 | -1.0421e-14 | 2.3174e-24 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 8.3704e-13 | -180 | 180 | 8.3813e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3792e-14 | 6.2528e-14 | -4.1685e-14 | 7.816e-14 | -5.9922e-14 | 3.6475e-14 | -4.6896e-14 | 5.7634e-09 | -5.7634e-09 | 4.6896e-14 | -5.7634e-09 | 5.7635e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.6386e-13 | 180 | -180 | 8.2492e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5225e-28 | -2.0842e-14 | 1.0421e-14 | -1.0421e-14 | 3.3869e-14 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9212e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 8.3704e-13 | -180 | 180 | 8.2492e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.0421e-14 | 2.0843e-14 | -2.6053e-14 | 2.3448e-14 | -2.6053e-14 | 1.5244e-28 | -1.9211e-09 | 1.9212e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 8.3813e-13 | -180 | 180 | 8.2492e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.816e-15 | -1.5632e-14 | 1.5244e-28 | 2.3448e-14 | 1.5632e-14 | 1.5632e-14 | 2.6053e-15 | 5.2106e-15 | -1.0421e-14 | 2.3174e-24 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 8.3704e-13 | -180 | 180 | 8.3813e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9961e-14 | -9.5544e-10 | -3.075e-09 | 2.4751e-14 | 9.5545e-10 | 3.075e-09 | -2.3448e-14 | 4.0277e-09 | -3.5663e-10 | 2.3448e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 2.8272e-13 | -140.8543 | 122.4159 | 3.0343e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.1847e-10 | 1.025e-09 | -3.908e-15 | -3.1847e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 3.0509e-13 | -140.8543 | 122.4159 | 3.0343e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.1848e-10 | 1.025e-09 | -3.908e-15 | -3.1847e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -2.0696e-29 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 3.0558e-13 | -140.8543 | 122.4159 | 3.0343e-13 | -140.8543 | 122.4159
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -1.7175e-15 | -8.8779e-16 | -2.6053e-15 | 5.1526e-15 | 1.7756e-15 | 5.2106e-15 | -1.3981e-15 | 1.3981e-15 | -5.2106e-15 | 4.1942e-15 | -2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 3.0509e-13 | -140.8543 | 122.4159 | 3.0558e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9961e-14 | -9.5544e-10 | -3.075e-09 | 2.4751e-14 | 9.5545e-10 | 3.075e-09 | -2.3448e-14 | 4.0277e-09 | -3.5663e-10 | 2.3448e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 2.8272e-13 | -140.8543 | 122.4159 | 3.0343e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.1847e-10 | 1.025e-09 | -3.908e-15 | -3.1847e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 3.0509e-13 | -140.8543 | 122.4159 | 3.0343e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.1848e-10 | 1.025e-09 | -3.908e-15 | -3.1847e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -2.0696e-29 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 3.0558e-13 | -140.8543 | 122.4159 | 3.0343e-13 | -140.8543 | 122.4159
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -1.7175e-15 | -8.8779e-16 | -2.6053e-15 | 5.1526e-15 | 1.7756e-15 | 5.2106e-15 | -1.3981e-15 | 1.3981e-15 | -5.2106e-15 | 4.1942e-15 | -2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 3.0509e-13 | -140.8543 | 122.4159 | 3.0558e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 2.1316e-14 | -1.1842e-14 | 7.1054e-15 | -2.1316e-14 | 1.658e-14 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.2628e-13 | -180 | 180 | 6.6481e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1842e-14 | -2.3682e-15 | 4.737e-15 | 1.6579e-14 | 2.3682e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.4464e-13 | -180 | 180 | 6.6481e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.1842e-14 | -2.3682e-15 | 2.3685e-15 | 1.1842e-14 | 7.1052e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.4492e-13 | -180 | 180 | 6.6481e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.737e-15 | 2.7274e-24 | 2.3685e-15 | 2.3685e-15 | -4.5456e-24 | 4.737e-15 | 9.0858e-25 | 1.4211e-14 | -4.737e-15 | 2.3685e-15 | -2.3685e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.4464e-13 | -180 | 180 | 6.4492e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 2.1316e-14 | -1.1842e-14 | 7.1054e-15 | -2.1316e-14 | 1.658e-14 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.2628e-13 | -180 | 180 | 6.6481e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1842e-14 | -2.3682e-15 | 4.737e-15 | 1.6579e-14 | 2.3682e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.4464e-13 | -180 | 180 | 6.6481e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.1842e-14 | -2.3682e-15 | 2.3685e-15 | 1.1842e-14 | 7.1052e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.4492e-13 | -180 | 180 | 6.6481e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.737e-15 | 2.7274e-24 | 2.3685e-15 | 2.3685e-15 | -4.5456e-24 | 4.737e-15 | 9.0858e-25 | 1.4211e-14 | -4.737e-15 | 2.3685e-15 | -2.3685e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.4464e-13 | -180 | 180 | 6.4492e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -8.0023e-10 | -2.5674e-09 | 1.1842e-15 | 8.0023e-10 | 2.5674e-09 | -9.4739e-15 | 3.4014e-09 | -3.4064e-10 | 9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.8588e-13 | -141.4824 | 122.8363 | 2.6166e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6675e-10 | 8.558e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.5624e-13 | -141.4824 | 122.8363 | 2.6166e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | -1.051e-29 | -1.1338e-09 | 1.1355e-10 | 5.4083e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.5425e-13 | -141.4824 | 122.8363 | 2.6166e-13 | -141.4824 | 122.8363
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0724e-15 | 3.6644e-15 | 3.2946e-15 | -2.3685e-15 | -3.6644e-15 | -9.9634e-15 | 2.3685e-15 | -2.1954e-15 | 3.6206e-16 | -2.3685e-15 | 2.1954e-15 | -6.4299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.5624e-13 | -141.4824 | 122.8363 | 2.5425e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -8.0023e-10 | -2.5674e-09 | 1.1842e-15 | 8.0023e-10 | 2.5674e-09 | -9.4739e-15 | 3.4014e-09 | -3.4064e-10 | 9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.8588e-13 | -141.4824 | 122.8363 | 2.6166e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6675e-10 | 8.558e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.5624e-13 | -141.4824 | 122.8363 | 2.6166e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | -1.051e-29 | -1.1338e-09 | 1.1355e-10 | 5.4083e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.5425e-13 | -141.4824 | 122.8363 | 2.6166e-13 | -141.4824 | 122.8363
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0724e-15 | 3.6644e-15 | 3.2946e-15 | -2.3685e-15 | -3.6644e-15 | -9.9634e-15 | 2.3685e-15 | -2.1954e-15 | 3.6206e-16 | -2.3685e-15 | 2.1954e-15 | -6.4299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.5624e-13 | -141.4824 | 122.8363 | 2.5425e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0020084 | 0.0020084 | 0.0020084 | 0.0015069 | 0.0015069 | 0.0015069 | 0.023191 | 0.023191 | 0.023191 | 0.0174 | 0.0174 | 0.0174 | -4.7143e-13 | 0.022097 | -0.022057 | 9.7871e-06 | -0.016573 | 0.016557 | 1.6603e-13 | -0.0043309 | -0.0027105 | 3.8954e-06 | 0.0032374 | 0.0020534 | -87.8983 | -87.8983 | -87.8983 | 92.0468 | 92.0469 | 92.0469 | 0.56059 | 1.1 | 0.55326 | 0.56059 | 1.1 | 0.55326 | 0 | -98.9872 | 99.1072 | 113.7499 | -99.0065 | 99.1164
Line_1 | 0.0002512 | 0.0002512 | 0.0002512 | 0.00075343 | 0.00075343 | 0.00075343 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0086998 | 0.0086998 | 0.0086998 | 2.0975e-06 | -0.0027625 | 0.0027604 | -4.8935e-06 | 0.0082863 | -0.0082786 | 8.3574e-07 | 0.00053841 | 0.00034394 | -1.9477e-06 | -0.0016187 | -0.0010267 | 92.0165 | 92.0166 | 92.0166 | -87.9532 | -87.9531 | -87.9531 | 0.56059 | 1.1 | 0.55326 | 0.56059 | 1.1 | 0.55326 | 113.7413 | -99.0121 | 99.119 | 113.7499 | -99.0065 | 99.1164
Line_2 | 0.0002512 | 0.0002512 | 0.0002512 | 0.00075343 | 0.00075343 | 0.00075343 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0086998 | 0.0086998 | 0.0086998 | 2.0975e-06 | -0.0027625 | 0.0027604 | -4.8935e-06 | 0.0082863 | -0.0082786 | 8.3574e-07 | 0.00053841 | 0.00034394 | -1.9477e-06 | -0.0016187 | -0.0010267 | 92.0165 | 92.0166 | 92.0166 | -87.9532 | -87.9531 | -87.9531 | 0.56059 | 1.1 | 0.55326 | 0.56059 | 1.1 | 0.55326 | 113.7413 | -99.0121 | 99.119 | 113.7499 | -99.0065 | 99.1164
Line_4 | 0.0002512 | 0.0002512 | 0.0002512 | 0.0002512 | 0.0002512 | 0.0002512 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0029006 | -2.0975e-06 | 0.0027625 | -0.0027604 | -2.0975e-06 | 0.0027625 | -0.0027604 | -8.3574e-07 | -0.00053841 | -0.00034394 | -8.3574e-07 | -0.00053841 | -0.00034394 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | 0.56059 | 1.1 | 0.55326 | 0.56059 | 1.1 | 0.55326 | 113.7413 | -99.0121 | 99.119 | 113.7413 | -99.0121 | 99.119

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0020084 | 0.0020084 | 0.0020084 | 0.0015069 | 0.0015069 | 0.0015069 | 0.023191 | 0.023191 | 0.023191 | 0.0174 | 0.0174 | 0.0174 | -4.7143e-13 | 0.022097 | -0.022057 | 9.7871e-06 | -0.016573 | 0.016557 | 1.6603e-13 | -0.0043309 | -0.0027105 | 3.8954e-06 | 0.0032374 | 0.0020534 | -87.8983 | -87.8983 | -87.8983 | 92.0468 | 92.0469 | 92.0469 | 0.56059 | 1.1 | 0.55326 | 0.56059 | 1.1 | 0.55326 | 0 | -98.9872 | 99.1072 | 113.7499 | -99.0065 | 99.1164
Line_1 | 0.0002512 | 0.0002512 | 0.0002512 | 0.00075343 | 0.00075343 | 0.00075343 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0086998 | 0.0086998 | 0.0086998 | 2.0975e-06 | -0.0027625 | 0.0027604 | -4.8935e-06 | 0.0082863 | -0.0082786 | 8.3574e-07 | 0.00053841 | 0.00034394 | -1.9477e-06 | -0.0016187 | -0.0010267 | 92.0165 | 92.0166 | 92.0166 | -87.9532 | -87.9531 | -87.9531 | 0.56059 | 1.1 | 0.55326 | 0.56059 | 1.1 | 0.55326 | 113.7413 | -99.0121 | 99.119 | 113.7499 | -99.0065 | 99.1164
Line_2 | 0.0002512 | 0.0002512 | 0.0002512 | 0.00075343 | 0.00075343 | 0.00075343 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0086998 | 0.0086998 | 0.0086998 | 2.0975e-06 | -0.0027625 | 0.0027604 | -4.8935e-06 | 0.0082863 | -0.0082786 | 8.3574e-07 | 0.00053841 | 0.00034394 | -1.9477e-06 | -0.0016187 | -0.0010267 | 92.0165 | 92.0166 | 92.0166 | -87.9532 | -87.9531 | -87.9531 | 0.56059 | 1.1 | 0.55326 | 0.56059 | 1.1 | 0.55326 | 113.7413 | -99.0121 | 99.119 | 113.7499 | -99.0065 | 99.1164
Line_4 | 0.0002512 | 0.0002512 | 0.0002512 | 0.0002512 | 0.0002512 | 0.0002512 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0029006 | 0.0029006 | -2.0975e-06 | 0.0027625 | -0.0027604 | -2.0975e-06 | 0.0027625 | -0.0027604 | -8.3574e-07 | -0.00053841 | -0.00034394 | -8.3574e-07 | -0.00053841 | -0.00034394 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | 0.56059 | 1.1 | 0.55326 | 0.56059 | 1.1 | 0.55326 | 113.7413 | -99.0121 | 99.119 | 113.7413 | -99.0121 | 99.119

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00040568 | 0.00040568 | 0.00040568 | 0.00030437 | 0.00030437 | 0.00030437 | 0.0046844 | 0.0046844 | 0.0046844 | 0.0035146 | 0.0035146 | 0.0035146 | 0.00305 | 0.0020481 | -0.0050964 | -0.0022857 | -0.0015394 | 0.0038249 | 0.0030847 | -0.0043604 | 0.00098841 | -0.0023165 | 0.0032703 | -0.00073777 | -53.1789 | -53.1789 | -53.1789 | 126.7662 | 126.7663 | 126.7663 | 0.9259 | 1.1 | 1.0368 | 0.9259 | 1.1 | 1.0368 | -7.8544 | -118.02 | 115.8453 | -7.8513 | -118.0268 | 115.8487
Line_1 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 0.00015219 | 0.00015219 | 0.00015219 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | -0.00038081 | -0.00025688 | 0.0006377 | 0.0011429 | 0.00076968 | -0.0019124 | -0.00038635 | 0.00054503 | -0.00012264 | 0.0011582 | -0.0016351 | 0.00036889 | 126.7359 | 126.736 | 126.736 | -53.2338 | -53.2337 | -53.2337 | 0.9259 | 1.1 | 1.0368 | 0.9259 | 1.1 | 1.0368 | -7.8505 | -118.0287 | 115.8497 | -7.8513 | -118.0268 | 115.8487
Line_2 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 0.00015219 | 0.00015219 | 0.00015219 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | -0.00038081 | -0.00025688 | 0.0006377 | 0.0011429 | 0.00076968 | -0.0019124 | -0.00038635 | 0.00054503 | -0.00012264 | 0.0011582 | -0.0016351 | 0.00036889 | 126.7359 | 126.736 | 126.736 | -53.2338 | -53.2337 | -53.2337 | 0.9259 | 1.1 | 1.0368 | 0.9259 | 1.1 | 1.0368 | -7.8505 | -118.0287 | 115.8497 | -7.8513 | -118.0268 | 115.8487
Line_4 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00038082 | 0.00025688 | -0.0006377 | 0.00038082 | 0.00025688 | -0.0006377 | 0.00038635 | -0.00054503 | 0.00012264 | 0.00038635 | -0.00054503 | 0.00012264 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | 0.9259 | 1.1 | 1.0368 | 0.9259 | 1.1 | 1.0368 | -7.8505 | -118.0287 | 115.8497 | -7.8505 | -118.0287 | 115.8497

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00040568 | 0.00040568 | 0.00040568 | 0.00030437 | 0.00030437 | 0.00030437 | 0.0046844 | 0.0046844 | 0.0046844 | 0.0035146 | 0.0035146 | 0.0035146 | 0.00305 | 0.0020481 | -0.0050964 | -0.0022857 | -0.0015394 | 0.0038249 | 0.0030847 | -0.0043604 | 0.00098841 | -0.0023165 | 0.0032703 | -0.00073777 | -53.1789 | -53.1789 | -53.1789 | 126.7662 | 126.7663 | 126.7663 | 0.9259 | 1.1 | 1.0368 | 0.9259 | 1.1 | 1.0368 | -7.8544 | -118.02 | 115.8453 | -7.8513 | -118.0268 | 115.8487
Line_1 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 0.00015219 | 0.00015219 | 0.00015219 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | -0.00038081 | -0.00025688 | 0.0006377 | 0.0011429 | 0.00076968 | -0.0019124 | -0.00038635 | 0.00054503 | -0.00012264 | 0.0011582 | -0.0016351 | 0.00036889 | 126.7359 | 126.736 | 126.736 | -53.2338 | -53.2337 | -53.2337 | 0.9259 | 1.1 | 1.0368 | 0.9259 | 1.1 | 1.0368 | -7.8505 | -118.0287 | 115.8497 | -7.8513 | -118.0268 | 115.8487
Line_2 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 0.00015219 | 0.00015219 | 0.00015219 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | -0.00038081 | -0.00025688 | 0.0006377 | 0.0011429 | 0.00076968 | -0.0019124 | -0.00038635 | 0.00054503 | -0.00012264 | 0.0011582 | -0.0016351 | 0.00036889 | 126.7359 | 126.736 | 126.736 | -53.2338 | -53.2337 | -53.2337 | 0.9259 | 1.1 | 1.0368 | 0.9259 | 1.1 | 1.0368 | -7.8505 | -118.0287 | 115.8497 | -7.8513 | -118.0268 | 115.8487
Line_4 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 5.074e-05 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00038082 | 0.00025688 | -0.0006377 | 0.00038082 | 0.00025688 | -0.0006377 | 0.00038635 | -0.00054503 | 0.00012264 | 0.00038635 | -0.00054503 | 0.00012264 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | 0.9259 | 1.1 | 1.0368 | 0.9259 | 1.1 | 1.0368 | -7.8505 | -118.0287 | 115.8497 | -7.8505 | -118.0287 | 115.8497

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017924 | 0.0017924 | 0.0017924 | 0.0013448 | 0.0013448 | 0.0013448 | 0.020697 | 0.020697 | 0.020697 | 0.015528 | 0.015528 | 0.015528 | 1.6703e-13 | 0.017945 | -0.017884 | 1.4967e-05 | -0.013453 | 0.01343 | 1.447e-13 | -0.0033869 | -0.0022214 | 3.1057e-06 | 0.0025195 | 0.0016944 | -88.1368 | -88.1367 | -88.1367 | 91.7579 | 91.758 | 91.758 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 0 | -98.8251 | 98.9437 | 103.4809 | -98.8494 | 98.9489
Line_1 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_2 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_4 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | -3.2075e-06 | 0.0022424 | -0.0022392 | -3.2075e-06 | 0.0022424 | -0.0022392 | -6.6801e-07 | -0.00041788 | -0.00028488 | -6.6801e-07 | -0.00041788 | -0.00028488 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.4643 | -98.8563 | 98.9503 | 103.4643 | -98.8563 | 98.9503

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017924 | 0.0017924 | 0.0017924 | 0.0013448 | 0.0013448 | 0.0013448 | 0.020697 | 0.020697 | 0.020697 | 0.015528 | 0.015528 | 0.015528 | 1.6703e-13 | 0.017945 | -0.017884 | 1.4967e-05 | -0.013453 | 0.01343 | 1.447e-13 | -0.0033869 | -0.0022214 | 3.1057e-06 | 0.0025195 | 0.0016944 | -88.1368 | -88.1367 | -88.1367 | 91.7579 | 91.758 | 91.758 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 0 | -98.8251 | 98.9437 | 103.4809 | -98.8494 | 98.9489
Line_1 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_2 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_4 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | -3.2075e-06 | 0.0022424 | -0.0022392 | -3.2075e-06 | 0.0022424 | -0.0022392 | -6.6801e-07 | -0.00041788 | -0.00028488 | -6.6801e-07 | -0.00041788 | -0.00028488 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.4643 | -98.8563 | 98.9503 | 103.4643 | -98.8563 | 98.9503

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00037545 | 0.00037545 | 0.00037545 | 0.00028169 | 0.00028169 | 0.00028169 | 0.0043353 | 0.0043353 | 0.0043353 | 0.0032527 | 0.0032527 | 0.0032527 | 0.0025333 | 0.0017629 | -0.0042935 | -0.0018965 | -0.001327 | 0.0032231 | 0.002589 | -0.003637 | 0.00080194 | -0.0019459 | 0.0027265 | -0.00059563 | -53.7608 | -53.7607 | -53.7607 | 126.1339 | 126.134 | 126.134 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1377 | -117.9013 | 115.6595 | -8.1297 | -117.9136 | 115.6639
Line_1 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_2 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_4 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00032469 | -0.0004543 | 9.874e-05 | 0.00032469 | -0.0004543 | 9.874e-05 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1275 | -117.9171 | 115.6652 | -8.1275 | -117.9171 | 115.6652

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00037545 | 0.00037545 | 0.00037545 | 0.00028169 | 0.00028169 | 0.00028169 | 0.0043353 | 0.0043353 | 0.0043353 | 0.0032527 | 0.0032527 | 0.0032527 | 0.0025333 | 0.0017629 | -0.0042935 | -0.0018965 | -0.001327 | 0.0032231 | 0.002589 | -0.003637 | 0.00080194 | -0.0019459 | 0.0027265 | -0.00059563 | -53.7608 | -53.7607 | -53.7607 | 126.1339 | 126.134 | 126.134 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1377 | -117.9013 | 115.6595 | -8.1297 | -117.9136 | 115.6639
Line_1 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_2 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_4 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00032469 | -0.0004543 | 9.874e-05 | 0.00032469 | -0.0004543 | 9.874e-05 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1275 | -117.9171 | 115.6652 | -8.1275 | -117.9171 | 115.6652

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0023622 | 0.0023622 | 0.0023622 | 0.036354 | 0.036354 | 0.036354 | 0.027276 | 0.027276 | 0.027276 | 9.7924e-05 | -4.7049e-13 | -1.2738e-13 | -6.1848e-05 | 2.4051e-05 | 2.4051e-05 | -0.017303 | -4.2102e-13 | 6.1729e-13 | 0.012992 | 9.5724e-06 | 9.5723e-06 | 91.577 | 91.577 | 91.577 | -88.4778 | -88.4779 | -88.4779 | 0.2748 | 0 | 0.2748 | 0.2748 | 0 | 0.2748 | 1.9013 | 0 | 0 | 1.7949 | -66.7748 | -66.7748
Line_1 | 0.00039377 | 0.00039377 | 0.00039377 | 0.0011811 | 0.0011811 | 0.0011811 | 0.0045469 | 0.0045469 | 0.0045469 | 0.013638 | 0.013638 | 0.013638 | -1.0308e-05 | 5.1543e-06 | 5.1543e-06 | 3.0925e-05 | -1.2025e-05 | -1.2025e-05 | 0.0021662 | 2.0537e-06 | 2.0537e-06 | -0.0064959 | -4.7862e-06 | -4.7862e-06 | -88.5081 | -88.5081 | -88.5081 | 91.5222 | 91.5221 | 91.5221 | 0.2748 | 0 | 0.2748 | 0.2748 | 0 | 0.2748 | 1.7646 | -66.7835 | -66.7835 | 1.7949 | -66.7748 | -66.7748
Line_2 | 0.00039377 | 0.00039377 | 0.00039377 | 0.0011811 | 0.0011811 | 0.0011811 | 0.0045469 | 0.0045469 | 0.0045469 | 0.013638 | 0.013638 | 0.013638 | -1.0308e-05 | 5.1543e-06 | 5.1543e-06 | 3.0925e-05 | -1.2025e-05 | -1.2025e-05 | 0.0021662 | 2.0537e-06 | 2.0537e-06 | -0.0064959 | -4.7862e-06 | -4.7862e-06 | -88.5081 | -88.5081 | -88.5081 | 91.5222 | 91.5221 | 91.5221 | 0.2748 | 0 | 0.2748 | 0.2748 | 0 | 0.2748 | 1.7646 | -66.7835 | -66.7835 | 1.7949 | -66.7748 | -66.7748
Line_4 | 0.00039377 | 0.00039377 | 0.00039377 | 0.00039377 | 0.00039377 | 0.00039377 | 0.0045469 | 0.0045469 | 0.0045469 | 0.0045469 | 0.0045469 | 0.0045469 | 1.0309e-05 | -5.1543e-06 | -5.1543e-06 | 1.0309e-05 | -5.1543e-06 | -5.1543e-06 | -0.0021662 | -2.0537e-06 | -2.0537e-06 | -0.0021662 | -2.0537e-06 | -2.0537e-06 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 0.2748 | 0 | 0.2748 | 0.2748 | 0 | 0.2748 | 1.7646 | -66.7835 | -66.7835 | 1.7646 | -66.7835 | -66.7835

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0023622 | 0.0023622 | 0.0023622 | 0.036354 | 0.036354 | 0.036354 | 0.027276 | 0.027276 | 0.027276 | 9.7924e-05 | -4.7049e-13 | -1.2738e-13 | -6.1848e-05 | 2.4051e-05 | 2.4051e-05 | -0.017303 | -4.2102e-13 | 6.1729e-13 | 0.012992 | 9.5724e-06 | 9.5723e-06 | 91.577 | 91.577 | 91.577 | -88.4778 | -88.4779 | -88.4779 | 0.2748 | 0 | 0.2748 | 0.2748 | 0 | 0.2748 | 1.9013 | 0 | 0 | 1.7949 | -66.7748 | -66.7748
Line_1 | 0.00039377 | 0.00039377 | 0.00039377 | 0.0011811 | 0.0011811 | 0.0011811 | 0.0045469 | 0.0045469 | 0.0045469 | 0.013638 | 0.013638 | 0.013638 | -1.0308e-05 | 5.1543e-06 | 5.1543e-06 | 3.0925e-05 | -1.2025e-05 | -1.2025e-05 | 0.0021662 | 2.0537e-06 | 2.0537e-06 | -0.0064959 | -4.7862e-06 | -4.7862e-06 | -88.5081 | -88.5081 | -88.5081 | 91.5222 | 91.5221 | 91.5221 | 0.2748 | 0 | 0.2748 | 0.2748 | 0 | 0.2748 | 1.7646 | -66.7835 | -66.7835 | 1.7949 | -66.7748 | -66.7748
Line_2 | 0.00039377 | 0.00039377 | 0.00039377 | 0.0011811 | 0.0011811 | 0.0011811 | 0.0045469 | 0.0045469 | 0.0045469 | 0.013638 | 0.013638 | 0.013638 | -1.0308e-05 | 5.1543e-06 | 5.1543e-06 | 3.0925e-05 | -1.2025e-05 | -1.2025e-05 | 0.0021662 | 2.0537e-06 | 2.0537e-06 | -0.0064959 | -4.7862e-06 | -4.7862e-06 | -88.5081 | -88.5081 | -88.5081 | 91.5222 | 91.5221 | 91.5221 | 0.2748 | 0 | 0.2748 | 0.2748 | 0 | 0.2748 | 1.7646 | -66.7835 | -66.7835 | 1.7949 | -66.7748 | -66.7748
Line_4 | 0.00039377 | 0.00039377 | 0.00039377 | 0.00039377 | 0.00039377 | 0.00039377 | 0.0045469 | 0.0045469 | 0.0045469 | 0.0045469 | 0.0045469 | 0.0045469 | 1.0309e-05 | -5.1543e-06 | -5.1543e-06 | 1.0309e-05 | -5.1543e-06 | -5.1543e-06 | -0.0021662 | -2.0537e-06 | -2.0537e-06 | -0.0021662 | -2.0537e-06 | -2.0537e-06 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 0.2748 | 0 | 0.2748 | 0.2748 | 0 | 0.2748 | 1.7646 | -66.7835 | -66.7835 | 1.7646 | -66.7835 | -66.7835

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00043153 | 0.00043153 | 0.00043153 | 0.00032377 | 0.00032377 | 0.00032377 | 0.0049829 | 0.0049829 | 0.0049829 | 0.0037386 | 0.0037386 | 0.0037386 | -0.0034493 | -0.00072659 | 0.0041777 | 0.0025857 | 0.00054891 | -0.0031348 | -0.0038155 | 0.0046014 | -0.001111 | 0.0028654 | -0.0034517 | 0.00083073 | 129.3018 | 129.3018 | 129.3018 | -50.753 | -50.7531 | -50.7531 | 1.025 | 0.87234 | 0.93763 | 1.025 | 0.87234 | 0.93763 | -2.8122 | -131.725 | 114.4097 | -2.8154 | -131.7173 | 114.4046
Line_1 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 0.00016189 | 0.00016189 | 0.00016189 | 0.00062323 | 0.00062323 | 0.00062323 | 0.0018693 | 0.0018693 | 0.0018693 | 0.0004308 | 9.1829e-05 | -0.00052263 | -0.0012928 | -0.00027445 | 0.0015674 | 0.0004779 | -0.00057535 | 0.00013822 | -0.0014327 | 0.0017258 | -0.00041537 | -50.7833 | -50.7834 | -50.7833 | 129.2469 | 129.2469 | 129.2469 | 1.025 | 0.87234 | 0.93763 | 1.025 | 0.87234 | 0.93763 | -2.8164 | -131.715 | 114.4031 | -2.8154 | -131.7173 | 114.4046
Line_2 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 0.00016189 | 0.00016189 | 0.00016189 | 0.00062323 | 0.00062323 | 0.00062323 | 0.0018693 | 0.0018693 | 0.0018693 | 0.0004308 | 9.1829e-05 | -0.00052263 | -0.0012928 | -0.00027445 | 0.0015674 | 0.0004779 | -0.00057535 | 0.00013822 | -0.0014327 | 0.0017258 | -0.00041537 | -50.7833 | -50.7834 | -50.7833 | 129.2469 | 129.2469 | 129.2469 | 1.025 | 0.87234 | 0.93763 | 1.025 | 0.87234 | 0.93763 | -2.8164 | -131.715 | 114.4031 | -2.8154 | -131.7173 | 114.4046
Line_4 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 0.00062323 | 0.00062323 | 0.00062323 | 0.00062323 | 0.00062323 | 0.00062323 | -0.0004308 | -9.1829e-05 | 0.00052263 | -0.0004308 | -9.1829e-05 | 0.00052263 | -0.0004779 | 0.00057534 | -0.00013822 | -0.0004779 | 0.00057534 | -0.00013822 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 1.025 | 0.87234 | 0.93763 | 1.025 | 0.87234 | 0.93763 | -2.8164 | -131.715 | 114.4031 | -2.8164 | -131.715 | 114.4031

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00043153 | 0.00043153 | 0.00043153 | 0.00032377 | 0.00032377 | 0.00032377 | 0.0049829 | 0.0049829 | 0.0049829 | 0.0037386 | 0.0037386 | 0.0037386 | -0.0034493 | -0.00072659 | 0.0041777 | 0.0025857 | 0.00054891 | -0.0031348 | -0.0038155 | 0.0046014 | -0.001111 | 0.0028654 | -0.0034517 | 0.00083073 | 129.3018 | 129.3018 | 129.3018 | -50.753 | -50.7531 | -50.7531 | 1.025 | 0.87234 | 0.93763 | 1.025 | 0.87234 | 0.93763 | -2.8122 | -131.725 | 114.4097 | -2.8154 | -131.7173 | 114.4046
Line_1 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 0.00016189 | 0.00016189 | 0.00016189 | 0.00062323 | 0.00062323 | 0.00062323 | 0.0018693 | 0.0018693 | 0.0018693 | 0.0004308 | 9.1829e-05 | -0.00052263 | -0.0012928 | -0.00027445 | 0.0015674 | 0.0004779 | -0.00057535 | 0.00013822 | -0.0014327 | 0.0017258 | -0.00041537 | -50.7833 | -50.7834 | -50.7833 | 129.2469 | 129.2469 | 129.2469 | 1.025 | 0.87234 | 0.93763 | 1.025 | 0.87234 | 0.93763 | -2.8164 | -131.715 | 114.4031 | -2.8154 | -131.7173 | 114.4046
Line_2 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 0.00016189 | 0.00016189 | 0.00016189 | 0.00062323 | 0.00062323 | 0.00062323 | 0.0018693 | 0.0018693 | 0.0018693 | 0.0004308 | 9.1829e-05 | -0.00052263 | -0.0012928 | -0.00027445 | 0.0015674 | 0.0004779 | -0.00057535 | 0.00013822 | -0.0014327 | 0.0017258 | -0.00041537 | -50.7833 | -50.7834 | -50.7833 | 129.2469 | 129.2469 | 129.2469 | 1.025 | 0.87234 | 0.93763 | 1.025 | 0.87234 | 0.93763 | -2.8164 | -131.715 | 114.4031 | -2.8154 | -131.7173 | 114.4046
Line_4 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 5.3973e-05 | 0.00062323 | 0.00062323 | 0.00062323 | 0.00062323 | 0.00062323 | 0.00062323 | -0.0004308 | -9.1829e-05 | 0.00052263 | -0.0004308 | -9.1829e-05 | 0.00052263 | -0.0004779 | 0.00057534 | -0.00013822 | -0.0004779 | 0.00057534 | -0.00013822 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 1.025 | 0.87234 | 0.93763 | 1.025 | 0.87234 | 0.93763 | -2.8164 | -131.715 | 114.4031 | -2.8164 | -131.715 | 114.4031

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028209 | 0.0028209 | 0.0028209 | 0.0021165 | 0.0021165 | 0.0021165 | 0.032573 | 0.032573 | 0.032573 | 0.024439 | 0.024439 | 0.024439 | 0.00015094 | -8.4152e-14 | 2.8755e-13 | -9.5334e-05 | 3.7071e-05 | 3.7071e-05 | -0.013891 | 2.815e-13 | -6.8382e-14 | 0.01043 | 7.6925e-06 | 7.6925e-06 | 91.3333 | 91.3333 | 91.3333 | -88.772 | -88.772 | -88.772 | 0.24624 | 0 | 0.24624 | 0.24624 | 0 | 0.24624 | 1.9559 | 0 | 0 | 1.7517 | -77.049 | -77.049
Line_1 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.24624 | 0 | 0.24624 | 0.24624 | 0 | 0.24624 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_2 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.24624 | 0 | 0.24624 | 0.24624 | 0 | 0.24624 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_4 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 0.24624 | 0 | 0.24624 | 0.24624 | 0 | 0.24624 | 1.6934 | -77.0656 | -77.0656 | 1.6934 | -77.0656 | -77.0656

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028209 | 0.0028209 | 0.0028209 | 0.0021165 | 0.0021165 | 0.0021165 | 0.032573 | 0.032573 | 0.032573 | 0.024439 | 0.024439 | 0.024439 | 0.00015094 | -8.4152e-14 | 2.8755e-13 | -9.5334e-05 | 3.7071e-05 | 3.7071e-05 | -0.013891 | 2.815e-13 | -6.8382e-14 | 0.01043 | 7.6925e-06 | 7.6925e-06 | 91.3333 | 91.3333 | 91.3333 | -88.772 | -88.772 | -88.772 | 0.24624 | 0 | 0.24624 | 0.24624 | 0 | 0.24624 | 1.9559 | 0 | 0 | 1.7517 | -77.049 | -77.049
Line_1 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.24624 | 0 | 0.24624 | 0.24624 | 0 | 0.24624 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_2 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.24624 | 0 | 0.24624 | 0.24624 | 0 | 0.24624 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_4 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 0.24624 | 0 | 0.24624 | 0.24624 | 0 | 0.24624 | 1.6934 | -77.0656 | -77.0656 | 1.6934 | -77.0656 | -77.0656

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0004006 | 0.0004006 | 0.0004006 | 0.00030056 | 0.00030056 | 0.00030056 | 0.0046257 | 0.0046257 | 0.0046257 | 0.0034706 | 0.0034706 | 0.0034706 | -0.0028811 | -0.00061158 | 0.0034957 | 0.0021579 | 0.00046492 | -0.0026233 | -0.0032277 | 0.0038545 | -0.00090699 | 0.0024258 | -0.002891 | 0.00067584 | 128.8145 | 128.8144 | 128.8144 | -51.2908 | -51.2909 | -51.2909 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.938 | -132.1699 | 114.2693 | -2.9461 | -132.155 | 114.2621
Line_1 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_2 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_4 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00040476 | 0.00048185 | -0.00011223 | -0.00040476 | 0.00048185 | -0.00011223 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9484 | -132.1507 | 114.2601 | -2.9484 | -132.1507 | 114.2601

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0004006 | 0.0004006 | 0.0004006 | 0.00030056 | 0.00030056 | 0.00030056 | 0.0046257 | 0.0046257 | 0.0046257 | 0.0034706 | 0.0034706 | 0.0034706 | -0.0028811 | -0.00061158 | 0.0034957 | 0.0021579 | 0.00046492 | -0.0026233 | -0.0032277 | 0.0038545 | -0.00090699 | 0.0024258 | -0.002891 | 0.00067584 | 128.8145 | 128.8144 | 128.8144 | -51.2908 | -51.2909 | -51.2909 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.938 | -132.1699 | 114.2693 | -2.9461 | -132.155 | 114.2621
Line_1 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_2 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_4 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00040476 | 0.00048185 | -0.00011223 | -0.00040476 | 0.00048185 | -0.00011223 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9484 | -132.1507 | 114.2601 | -2.9484 | -132.1507 | 114.2601