## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0209 | 2.0209 | 0 | 0 | 70.0059 | 70.0059 | 19.3047 | -12.9337 | 45.91 | -38.6813 | -74.4648 | 105.5352 | 0.71142 | 0.58261 | -7.2711 | -2.9529
Line_1 | 9.4368 | 9.4368 | 13.6125 | 0 | 326.8993 | 326.8993 | 12.3049 | 126.6172 | 15.3508 | 142.2724 | 128.715 | -51.285 | 0.060183 | 0.58261 | 180 | -2.9529
Line_2 | 7.6206 | 7.6206 | 0 | 0 | 263.9869 | 263.9869 | 204.2793 | -113.6836 | 206.3825 | -103.5911 | -45.2934 | 134.7066 | 1.1 | 0.58261 | -9.673e-09 | -2.9529

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0209 | 2.0209 | 0 | 0 | 70.0059 | 70.0059 | 19.3047 | -12.9337 | 45.91 | -38.6813 | -74.4648 | 105.5352 | 0.71142 | 0.58261 | -7.2711 | -2.9529
Line_1 | 9.4368 | 9.4368 | 13.6125 | 0 | 326.8993 | 326.8993 | 12.3049 | 126.6172 | 15.3508 | 142.2724 | 128.715 | -51.285 | 0.060183 | 0.58261 | 180 | -2.9529
Line_2 | 7.6206 | 7.6206 | 0 | 0 | 263.9869 | 263.9869 | 204.2793 | -113.6836 | 206.3825 | -103.5911 | -45.2934 | 134.7066 | 1.1 | 0.58261 | -9.673e-09 | -2.9529

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -9.665e-10 | -1.0861e-09
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9637e-08 | 0 | -2.6935e-09 | 0 | 0 | 0 | 1.1 | 1.1 | -2.2918e-09 | -1.0861e-09
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -7.5755e-19 | -1.0861e-09

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -9.665e-10 | -1.0861e-09
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9637e-08 | 0 | -2.6935e-09 | 0 | 0 | 0 | 1.1 | 1.1 | -2.2918e-09 | -1.0861e-09
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -7.5755e-19 | -1.0861e-09

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6573 | 1.6573 | 0 | 0 | 57.4095 | 57.4095 | 24.2509 | -16.0245 | 31.6721 | -26.8108 | -63.9614 | 116.0386 | 0.69484 | 0.54407 | -11.4022 | -4.8277
Line_1 | 5.9602 | 5.9602 | 8.5976 | 0 | 206.4684 | 206.4684 | 9.257 | 97.1454 | 6.4741 | 56.404 | 145.0322 | -34.9678 | 0.054712 | 0.54407 | -180 | -4.8277
Line_2 | 4.5816 | 4.5816 | 0 | 0 | 158.7123 | 158.7123 | 143.9942 | -81.1209 | 66.7479 | -29.5932 | -24.8699 | 155.1301 | 1 | 0.54407 | -8.2503e-09 | -4.8277

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6573 | 1.6573 | 0 | 0 | 57.4095 | 57.4095 | 24.2509 | -16.0245 | 31.6721 | -26.8108 | -63.9614 | 116.0386 | 0.69484 | 0.54407 | -11.4022 | -4.8277
Line_1 | 5.9602 | 5.9602 | 8.5976 | 0 | 206.4684 | 206.4684 | 9.257 | 97.1454 | 6.4741 | 56.404 | 145.0322 | -34.9678 | 0.054712 | 0.54407 | -180 | -4.8277
Line_2 | 4.5816 | 4.5816 | 0 | 0 | 158.7123 | 158.7123 | 143.9942 | -81.1209 | 66.7479 | -29.5932 | -24.8699 | 155.1301 | 1 | 0.54407 | -8.2503e-09 | -4.8277

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.0077e-09 | -1.0999e-09
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1256e-08 | 0 | 1.6835e-09 | 0 | 0 | 0 | 1 | 1 | -2.2918e-09 | -1.0999e-09
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -4.7505e-19 | -1.0999e-09

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.0077e-09 | -1.0999e-09
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1256e-08 | 0 | 1.6835e-09 | 0 | 0 | 0 | 1 | 1 | -2.2918e-09 | -1.0999e-09
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -4.7505e-19 | -1.0999e-09

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.037627 | 1.6595 | 1.6595 | 0.037627 | 1.6595 | 1.6595 | 0.43448 | 19.1619 | 19.1619 | 0.43448 | 19.1619 | 19.1619 | -0.12816 | 14.9127 | -5.7927 | 0.12889 | -13.4808 | 7.2247 | -0.46373 | 8.236 | 13.9919 | 0.46457 | -6.6113 | -12.3671 | 105.5352 | -163.8152 | 14.8856 | -74.4648 | 16.1848 | -165.1144 | 1.1073 | 0.88905 | 0.7903 | 1.1096 | 0.78357 | 0.74746 | 0.086742 | -134.9042 | 127.3755 | 0.028854 | -137.6908 | 135.1785
Line_1 | 0.1757 | 7.749 | 7.749 | 0.1757 | 7.749 | 7.749 | 2.0288 | 89.4783 | 89.4783 | 2.0288 | 89.4783 | 89.4783 | 1.4232 | -38.795 | 39.5067 | -1.4072 | 70.0198 | -8.2819 | 1.7755 | 31.8265 | -30.9387 | -1.7573 | 3.6017 | 66.3668 | -51.285 | 39.3646 | -141.9346 | 128.715 | -140.6354 | 38.0654 | 1.1216 | 0.5608 | 0.5608 | 1.1096 | 0.78357 | 0.74746 | -1.9377e-10 | 180 | 180 | 0.028854 | -137.6908 | 135.1785
Line_2 | 0.14189 | 6.2577 | 6.2577 | 0.14189 | 6.2577 | 6.2577 | 1.6384 | 72.258 | 72.258 | 1.6384 | 72.258 | 72.258 | -1.2678 | 76.9018 | 19.3056 | 1.2783 | -56.5391 | 1.0572 | -1.2809 | 20.0943 | 77.1036 | 1.2927 | 3.0096 | -53.9997 | 134.7066 | -134.6438 | 44.057 | -45.2934 | 45.3562 | -135.943 | 1.1 | 1.1 | 1.1 | 1.1096 | 0.78357 | 0.74746 | 1.801e-10 | -120 | 120 | 0.028854 | -137.6908 | 135.1785

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.037627 | 1.6595 | 1.6595 | 0.037627 | 1.6595 | 1.6595 | 0.43448 | 19.1619 | 19.1619 | 0.43448 | 19.1619 | 19.1619 | -0.12816 | 14.9127 | -5.7927 | 0.12889 | -13.4808 | 7.2247 | -0.46373 | 8.236 | 13.9919 | 0.46457 | -6.6113 | -12.3671 | 105.5352 | -163.8152 | 14.8856 | -74.4648 | 16.1848 | -165.1144 | 1.1073 | 0.88905 | 0.7903 | 1.1096 | 0.78357 | 0.74746 | 0.086742 | -134.9042 | 127.3755 | 0.028854 | -137.6908 | 135.1785
Line_1 | 0.1757 | 7.749 | 7.749 | 0.1757 | 7.749 | 7.749 | 2.0288 | 89.4783 | 89.4783 | 2.0288 | 89.4783 | 89.4783 | 1.4232 | -38.795 | 39.5067 | -1.4072 | 70.0198 | -8.2819 | 1.7755 | 31.8265 | -30.9387 | -1.7573 | 3.6017 | 66.3668 | -51.285 | 39.3646 | -141.9346 | 128.715 | -140.6354 | 38.0654 | 1.1216 | 0.5608 | 0.5608 | 1.1096 | 0.78357 | 0.74746 | -1.9377e-10 | 180 | 180 | 0.028854 | -137.6908 | 135.1785
Line_2 | 0.14189 | 6.2577 | 6.2577 | 0.14189 | 6.2577 | 6.2577 | 1.6384 | 72.258 | 72.258 | 1.6384 | 72.258 | 72.258 | -1.2678 | 76.9018 | 19.3056 | 1.2783 | -56.5391 | 1.0572 | -1.2809 | 20.0943 | 77.1036 | 1.2927 | 3.0096 | -53.9997 | 134.7066 | -134.6438 | 44.057 | -45.2934 | 45.3562 | -135.943 | 1.1 | 1.1 | 1.1 | 1.1096 | 0.78357 | 0.74746 | 1.801e-10 | -120 | 120 | 0.028854 | -137.6908 | 135.1785

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0043e-11 | 2.3744e-09 | 1.2015e-09 | 1.0043e-11 | -2.3744e-09 | -1.2015e-09 | -3.6128e-11 | -5.8401e-11 | 2.0177e-09 | 3.6128e-11 | 5.8401e-11 | -2.0177e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 6.8512e-12 | -120 | 120 | 2.2837e-12 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0951e-10 | -1.0085e-08 | -8.8662e-09 | -1.0951e-10 | 1.0085e-08 | 8.8662e-09 | 1.3662e-10 | 4.615e-09 | -6.453e-09 | -1.3662e-10 | -4.615e-09 | 6.453e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -1.5501e-20 | -120 | 120 | 2.2837e-12 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9472e-11 | 7.7107e-09 | 7.6647e-09 | 9.9472e-11 | -7.7107e-09 | -7.6647e-09 | -1.005e-10 | -4.5565e-09 | 4.4353e-09 | 1.005e-10 | 4.5565e-09 | -4.4353e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.4131e-20 | -120 | 120 | 2.2837e-12 | -120 | 120

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0043e-11 | 2.3744e-09 | 1.2015e-09 | 1.0043e-11 | -2.3744e-09 | -1.2015e-09 | -3.6128e-11 | -5.8401e-11 | 2.0177e-09 | 3.6128e-11 | 5.8401e-11 | -2.0177e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 6.8512e-12 | -120 | 120 | 2.2837e-12 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0951e-10 | -1.0085e-08 | -8.8662e-09 | -1.0951e-10 | 1.0085e-08 | 8.8662e-09 | 1.3662e-10 | 4.615e-09 | -6.453e-09 | -1.3662e-10 | -4.615e-09 | 6.453e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -1.5501e-20 | -120 | 120 | 2.2837e-12 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9472e-11 | 7.7107e-09 | 7.6647e-09 | 9.9472e-11 | -7.7107e-09 | -7.6647e-09 | -1.005e-10 | -4.5565e-09 | 4.4353e-09 | 1.005e-10 | 4.5565e-09 | -4.4353e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.4131e-20 | -120 | 120 | 2.2837e-12 | -120 | 120

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.030856 | 1.3609 | 1.3609 | 0.030856 | 1.3609 | 1.3609 | 0.3563 | 15.714 | 15.714 | 0.3563 | 15.714 | 15.714 | -0.15652 | 12.9185 | -1.4769 | 0.15747 | -11.0695 | 3.3259 | -0.32244 | 4.155 | 11.188 | 0.323 | -3.0623 | -10.0954 | 116.0386 | -153.3118 | 25.389 | -63.9614 | 26.6882 | -154.611 | 1.0059 | 0.86357 | 0.71816 | 1.0085 | 0.73089 | 0.67641 | 0.14567 | -135.4825 | 122.9089 | 0.048434 | -137.8481 | 133.6233
Line_1 | 0.11097 | 4.8943 | 4.8943 | 0.11097 | 4.8943 | 4.8943 | 1.2814 | 56.5141 | 56.5141 | 1.2814 | 56.5141 | 56.5141 | 1.0707 | -16.2438 | 16.7792 | -1.0584 | 40.1594 | 7.1363 | 0.74881 | 23.7964 | -23.4219 | -0.74155 | -9.6636 | 37.5547 | -34.9678 | 55.6818 | -125.6173 | 145.0322 | -124.3182 | 54.3827 | 1.0196 | 0.50982 | 0.50982 | 1.0085 | 0.73089 | 0.67641 | -1.7633e-10 | 180 | 180 | 0.048434 | -137.8481 | 133.6233
Line_2 | 0.085305 | 3.7622 | 3.7622 | 0.085305 | 3.7622 | 3.7622 | 0.98501 | 43.4424 | 43.4424 | 0.98501 | 43.4424 | 43.4424 | -0.89367 | 43.2216 | 24.5939 | 0.90093 | -29.0899 | -10.4622 | -0.41426 | -4.3748 | 35.8104 | 0.41855 | 12.7259 | -27.4593 | 155.1301 | -114.2203 | 64.4805 | -24.8699 | 65.7797 | -115.5195 | 1 | 1 | 1 | 1.0085 | 0.73089 | 0.67641 | 1.5361e-10 | -120 | 120 | 0.048434 | -137.8481 | 133.6233

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.030856 | 1.3609 | 1.3609 | 0.030856 | 1.3609 | 1.3609 | 0.3563 | 15.714 | 15.714 | 0.3563 | 15.714 | 15.714 | -0.15652 | 12.9185 | -1.4769 | 0.15747 | -11.0695 | 3.3259 | -0.32244 | 4.155 | 11.188 | 0.323 | -3.0623 | -10.0954 | 116.0386 | -153.3118 | 25.389 | -63.9614 | 26.6882 | -154.611 | 1.0059 | 0.86357 | 0.71816 | 1.0085 | 0.73089 | 0.67641 | 0.14567 | -135.4825 | 122.9089 | 0.048434 | -137.8481 | 133.6233
Line_1 | 0.11097 | 4.8943 | 4.8943 | 0.11097 | 4.8943 | 4.8943 | 1.2814 | 56.5141 | 56.5141 | 1.2814 | 56.5141 | 56.5141 | 1.0707 | -16.2438 | 16.7792 | -1.0584 | 40.1594 | 7.1363 | 0.74881 | 23.7964 | -23.4219 | -0.74155 | -9.6636 | 37.5547 | -34.9678 | 55.6818 | -125.6173 | 145.0322 | -124.3182 | 54.3827 | 1.0196 | 0.50982 | 0.50982 | 1.0085 | 0.73089 | 0.67641 | -1.7633e-10 | 180 | 180 | 0.048434 | -137.8481 | 133.6233
Line_2 | 0.085305 | 3.7622 | 3.7622 | 0.085305 | 3.7622 | 3.7622 | 0.98501 | 43.4424 | 43.4424 | 0.98501 | 43.4424 | 43.4424 | -0.89367 | 43.2216 | 24.5939 | 0.90093 | -29.0899 | -10.4622 | -0.41426 | -4.3748 | 35.8104 | 0.41855 | 12.7259 | -27.4593 | 155.1301 | -114.2203 | 64.4805 | -24.8699 | 65.7797 | -115.5195 | 1 | 1 | 1 | 1.0085 | 0.73089 | 0.67641 | 1.5361e-10 | -120 | 120 | 0.048434 | -137.8481 | 133.6233

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2272e-11 | 1.7326e-09 | 1.1549e-09 | 1.2272e-11 | -1.7326e-09 | -1.1549e-09 | -2.5118e-11 | -3.655e-10 | 1.3158e-09 | 2.5118e-11 | 3.655e-10 | -1.3158e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1.1497e-11 | -120 | 120 | 3.8325e-12 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2388e-11 | -4.813e-09 | -5.9267e-09 | -8.2388e-11 | 4.813e-09 | 5.9267e-09 | 5.762e-11 | 4.17e-09 | -2.1257e-09 | -5.762e-11 | -4.17e-09 | 2.1257e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | -1.4107e-20 | -120 | 120 | 3.8325e-12 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.0117e-11 | 3.0804e-09 | 4.7718e-09 | 7.0117e-11 | -3.0804e-09 | -4.7718e-09 | -3.2502e-11 | -3.8045e-09 | 8.0992e-10 | 3.2502e-11 | 3.8045e-09 | -8.0992e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1.2052e-20 | -120 | 120 | 3.8325e-12 | -120 | 120

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2272e-11 | 1.7326e-09 | 1.1549e-09 | 1.2272e-11 | -1.7326e-09 | -1.1549e-09 | -2.5118e-11 | -3.655e-10 | 1.3158e-09 | 2.5118e-11 | 3.655e-10 | -1.3158e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1.1497e-11 | -120 | 120 | 3.8325e-12 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2388e-11 | -4.813e-09 | -5.9267e-09 | -8.2388e-11 | 4.813e-09 | 5.9267e-09 | 5.762e-11 | 4.17e-09 | -2.1257e-09 | -5.762e-11 | -4.17e-09 | 2.1257e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | -1.4107e-20 | -120 | 120 | 3.8325e-12 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.0117e-11 | 3.0804e-09 | 4.7718e-09 | 7.0117e-11 | -3.0804e-09 | -4.7718e-09 | -3.2502e-11 | -3.8045e-09 | 8.0992e-10 | 3.2502e-11 | 3.8045e-09 | -8.0992e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1.2052e-20 | -120 | 120 | 3.8325e-12 | -120 | 120

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3832 | 0.69766 | 0.69766 | 1.3824 | 0.6985 | 0.69856 | 15.9721 | 8.0559 | 8.0559 | 15.962 | 8.0656 | 8.0663 | 3.7078 | -4.792 | 8.3718 | -2.7151 | 5.056 | -8.1273 | 9.6887 | 7.32 | 3.6616 | -8.5542 | -7.0387 | -3.38 | -74.4648 | 113.0855 | 97.9849 | 105.5454 | -66.9438 | -82.0256 |  | 0.6495 | 1.086 | 1.1343 | 0.56225 | 1.0745 | 1.0912 | -5.4062 | -123.7042 | 121.6085 | -2.0642 | -121.2538 | 120.556
Line_1 | 6.9257 | 2.7729 | 2.8533 | 6.9267 | 2.7719 | 2.852 | 79.9705 | 32.0189 | 32.9467 | 79.9824 | 32.0073 | 32.9324 | 3.1819 | 10.2235 | -34.0916 | 30.6448 | -9.8371 | 35.7483 | 3.6733 | -31.6656 | -3.176 | 32.9126 | 32.9548 | 3.6734 | 130.8997 | -47.8931 | -65.3224 | -49.1077 | 132.1257 | 114.6891 |  | 0.060769 | 1.0392 | 1.0392 | 0.56225 | 1.0745 | 1.0912 | -180 | -120 | 120 | -2.0642 | -121.2538 | 120.556
Line_2 | 5.7085 | 2.1237 | 2.1918 | 5.7082 | 2.124 | 2.1922 | 65.9158 | 24.5228 | 25.3089 | 65.9122 | 24.5263 | 25.3135 | 52.8899 | -5.4689 | 27.8398 | -27.9297 | 4.7811 | -27.621 | 49.5981 | 26.4149 | 0.02264 | -24.3584 | -25.9161 | -0.29339 | -43.1603 | 138.3028 | 119.9534 | 136.843 | -41.7064 | -60.0525 |  | 1.1 | 1.1 | 1.1 | 0.56225 | 1.0745 | 1.0912 | -7.5133e-09 | -120 | 120 | -2.0642 | -121.2538 | 120.556

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3832 | 0.69766 | 0.69766 | 1.3824 | 0.6985 | 0.69856 | 15.9721 | 8.0559 | 8.0559 | 15.962 | 8.0656 | 8.0663 | 3.7078 | -4.792 | 8.3718 | -2.7151 | 5.056 | -8.1273 | 9.6887 | 7.32 | 3.6616 | -8.5542 | -7.0387 | -3.38 | -74.4648 | 113.0855 | 97.9849 | 105.5454 | -66.9438 | -82.0256 |  | 0.6495 | 1.086 | 1.1343 | 0.56225 | 1.0745 | 1.0912 | -5.4062 | -123.7042 | 121.6085 | -2.0642 | -121.2538 | 120.556
Line_1 | 6.9257 | 2.7729 | 2.8533 | 6.9267 | 2.7719 | 2.852 | 79.9705 | 32.0189 | 32.9467 | 79.9824 | 32.0073 | 32.9324 | 3.1819 | 10.2235 | -34.0916 | 30.6448 | -9.8371 | 35.7483 | 3.6733 | -31.6656 | -3.176 | 32.9126 | 32.9548 | 3.6734 | 130.8997 | -47.8931 | -65.3224 | -49.1077 | 132.1257 | 114.6891 |  | 0.060769 | 1.0392 | 1.0392 | 0.56225 | 1.0745 | 1.0912 | -180 | -120 | 120 | -2.0642 | -121.2538 | 120.556
Line_2 | 5.7085 | 2.1237 | 2.1918 | 5.7082 | 2.124 | 2.1922 | 65.9158 | 24.5228 | 25.3089 | 65.9122 | 24.5263 | 25.3135 | 52.8899 | -5.4689 | 27.8398 | -27.9297 | 4.7811 | -27.621 | 49.5981 | 26.4149 | 0.02264 | -24.3584 | -25.9161 | -0.29339 | -43.1603 | 138.3028 | 119.9534 | 136.843 | -41.7064 | -60.0525 |  | 1.1 | 1.1 | 1.1 | 0.56225 | 1.0745 | 1.0912 | -7.5133e-09 | -120 | 120 | -2.0642 | -121.2538 | 120.556

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1351e-10 | 1.8691e-11 | 4.0967e-10 | -8.1305e-10 | -1.852e-11 | -4.103e-10 | 5.0328e-10 | 5.107e-10 | -1.8134e-10 | -5.0282e-10 | -5.1133e-10 | 1.8151e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -1.0291e-09 | -120 | 120 | -1.1068e-09 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7675e-09 | -7.1189e-10 | -1.3819e-09 | 4.7682e-09 | 7.1214e-10 | 1.381e-09 | -5.1289e-10 | -1.9306e-09 | 1.1519e-09 | 5.1358e-10 | 1.9297e-09 | -1.1516e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -2.2918e-09 | -120 | 120 | -1.1068e-09 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9554e-09 | 6.937e-10 | 9.7036e-10 | -3.9552e-09 | -6.9362e-10 | -9.7068e-10 | 1.0992e-11 | 1.418e-09 | -9.7002e-10 | -1.0761e-11 | -1.4183e-09 | 9.7011e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -5.6188e-19 | -120 | 120 | -1.1068e-09 | -120 | 120

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1351e-10 | 1.8691e-11 | 4.0967e-10 | -8.1305e-10 | -1.852e-11 | -4.103e-10 | 5.0328e-10 | 5.107e-10 | -1.8134e-10 | -5.0282e-10 | -5.1133e-10 | 1.8151e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -1.0291e-09 | -120 | 120 | -1.1068e-09 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7675e-09 | -7.1189e-10 | -1.3819e-09 | 4.7682e-09 | 7.1214e-10 | 1.381e-09 | -5.1289e-10 | -1.9306e-09 | 1.1519e-09 | 5.1358e-10 | 1.9297e-09 | -1.1516e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -2.2918e-09 | -120 | 120 | -1.1068e-09 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9554e-09 | 6.937e-10 | 9.7036e-10 | -3.9552e-09 | -6.9362e-10 | -9.7068e-10 | 1.0992e-11 | 1.418e-09 | -9.7002e-10 | -1.0761e-11 | -1.4183e-09 | 9.7011e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -5.6188e-19 | -120 | 120 | -1.1068e-09 | -120 | 120

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1343 | 0.57213 | 0.57213 | 1.1336 | 0.57282 | 0.57291 | 13.0982 | 6.6064 | 6.6064 | 13.0897 | 6.6143 | 6.6154 | 4.6332 | -2.3624 | 6.79 | -3.3516 | 2.6988 | -6.4697 | 6.7006 | 6.0412 | 1.5711 | -5.9356 | -5.8535 | -1.383 | -63.9614 | 123.5889 | 108.4882 | 116.057 | -56.457 | -71.5382 |  | 0.62195 | 0.98188 | 1.0549 | 0.52075 | 0.97451 | 1.0001 | -8.6239 | -125.0528 | 121.5161 | -3.3944 | -121.7051 | 120.5284
Line_1 | 4.324 | 1.8042 | 1.8357 | 4.3246 | 1.8036 | 1.8348 | 49.9287 | 20.8327 | 21.1972 | 49.9366 | 20.8256 | 21.1868 | 2.2985 | -0.086251 | -19.4976 | 22.48 | 0.70488 | 20.6705 | 1.5248 | -19.6816 | 4.5707 | 13.0726 | 20.2825 | -4.655 | 146.4404 | -29.7489 | -46.8067 | -33.5733 | 150.2852 | 133.2197 |  | 0.055245 | 0.94476 | 0.94476 | 0.52075 | 0.97451 | 1.0001 | -180 | -120 | 120 | -3.3944 | -121.7051 | 120.5284
Line_2 | 3.3955 | 1.3173 | 1.3361 | 3.3953 | 1.3175 | 1.3363 | 39.2076 | 15.2113 | 15.4274 | 39.2057 | 15.2128 | 15.4302 | 35.8563 | 3.0547 | 14.1395 | -19.1284 | -3.4036 | -14.2009 | 15.8607 | 14.9014 | -6.1708 | -7.137 | -14.429 | 6.0381 | -23.8617 | 161.5847 | 143.5774 | 156.1446 | -18.4324 | -36.4369 |  | 1 | 1 | 1 | 0.52075 | 0.97451 | 1.0001 | -6.1632e-09 | -120 | 120 | -3.3944 | -121.7051 | 120.5284

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1343 | 0.57213 | 0.57213 | 1.1336 | 0.57282 | 0.57291 | 13.0982 | 6.6064 | 6.6064 | 13.0897 | 6.6143 | 6.6154 | 4.6332 | -2.3624 | 6.79 | -3.3516 | 2.6988 | -6.4697 | 6.7006 | 6.0412 | 1.5711 | -5.9356 | -5.8535 | -1.383 | -63.9614 | 123.5889 | 108.4882 | 116.057 | -56.457 | -71.5382 |  | 0.62195 | 0.98188 | 1.0549 | 0.52075 | 0.97451 | 1.0001 | -8.6239 | -125.0528 | 121.5161 | -3.3944 | -121.7051 | 120.5284
Line_1 | 4.324 | 1.8042 | 1.8357 | 4.3246 | 1.8036 | 1.8348 | 49.9287 | 20.8327 | 21.1972 | 49.9366 | 20.8256 | 21.1868 | 2.2985 | -0.086251 | -19.4976 | 22.48 | 0.70488 | 20.6705 | 1.5248 | -19.6816 | 4.5707 | 13.0726 | 20.2825 | -4.655 | 146.4404 | -29.7489 | -46.8067 | -33.5733 | 150.2852 | 133.2197 |  | 0.055245 | 0.94476 | 0.94476 | 0.52075 | 0.97451 | 1.0001 | -180 | -120 | 120 | -3.3944 | -121.7051 | 120.5284
Line_2 | 3.3955 | 1.3173 | 1.3361 | 3.3953 | 1.3175 | 1.3363 | 39.2076 | 15.2113 | 15.4274 | 39.2057 | 15.2128 | 15.4302 | 35.8563 | 3.0547 | 14.1395 | -19.1284 | -3.4036 | -14.2009 | 15.8607 | 14.9014 | -6.1708 | -7.137 | -14.429 | 6.0381 | -23.8617 | 161.5847 | 143.5774 | 156.1446 | -18.4324 | -36.4369 |  | 1 | 1 | 1 | 0.52075 | 0.97451 | 1.0001 | -6.1632e-09 | -120 | 120 | -3.3944 | -121.7051 | 120.5284

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6472e-10 | 8.3107e-11 | 2.7565e-10 | -6.6434e-10 | -8.2965e-11 | -2.7617e-10 | 2.5836e-10 | 3.7182e-10 | -1.886e-10 | -2.5797e-10 | -3.7234e-10 | 1.8874e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -1.058e-09 | -120 | 120 | -1.1161e-09 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6856e-09 | -7.5431e-10 | -5.4935e-10 | 2.6862e-09 | 7.5452e-10 | 5.4857e-10 | 4.4205e-10 | -9.4781e-10 | 9.0087e-10 | -4.4148e-10 | 9.4703e-10 | -9.0066e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -2.2918e-09 | -120 | 120 | -1.1161e-09 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0221e-09 | 6.7163e-10 | 2.7214e-10 | -2.0219e-09 | -6.7156e-10 | -2.724e-10 | -6.9926e-10 | 5.7443e-10 | -7.1185e-10 | 6.9945e-10 | -5.7469e-10 | 7.1192e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -3.4757e-19 | -120 | 120 | -1.1161e-09 | -120 | 120

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6472e-10 | 8.3107e-11 | 2.7565e-10 | -6.6434e-10 | -8.2965e-11 | -2.7617e-10 | 2.5836e-10 | 3.7182e-10 | -1.886e-10 | -2.5797e-10 | -3.7234e-10 | 1.8874e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -1.058e-09 | -120 | 120 | -1.1161e-09 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6856e-09 | -7.5431e-10 | -5.4935e-10 | 2.6862e-09 | 7.5452e-10 | 5.4857e-10 | 4.4205e-10 | -9.4781e-10 | 9.0087e-10 | -4.4148e-10 | 9.4703e-10 | -9.0066e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -2.2918e-09 | -120 | 120 | -1.1161e-09 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0221e-09 | 6.7163e-10 | 2.7214e-10 | -2.0219e-09 | -6.7156e-10 | -2.724e-10 | -6.9926e-10 | 5.7443e-10 | -7.1185e-10 | 6.9945e-10 | -5.7469e-10 | 7.1192e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -3.4757e-19 | -120 | 120 | -1.1161e-09 | -120 | 120

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72179 | 1.7898 | 1.7898 | 0.72269 | 1.7899 | 1.7894 | 8.3346 | 20.6671 | 20.6671 | 8.3449 | 20.6678 | 20.6622 | 2.8206 | 8.4779 | 1.9678 | -2.5485 | -6.8184 | -0.29693 | 9.1319 | 11.7461 | 13.5372 | -8.8362 | -9.8498 | -11.6478 | -74.4648 | -176.0976 | 27.168 | 105.5154 | 3.9319 | -152.8583 |  | 1.1467 | 0.70093 | 0.6619 | 1.102 | 0.57962 | 0.56391 | -1.6293 | -121.9179 | 108.8971 | -0.57276 | -120.7606 | 115.6814
Line_1 | 2.9124 | 8.7258 | 8.2051 | 2.9112 | 8.7252 | 8.2063 | 33.6295 | 100.7564 | 94.7449 | 33.6161 | 100.7498 | 94.7579 | -19.6197 | 5.0892 | 2.3886 | 20.7157 | 47.9315 | 25.3097 | -29.7417 | 3.642 | 5.3782 | 30.7129 | 33.3584 | 47.0605 | 123.4116 | 24.4113 | -126.0524 | -56.5733 | -155.597 | 53.9533 |  | 1.0595 | 0.062112 | 0.062112 | 1.102 | 0.57962 | 0.56391 | 3.0042e-09 | 60 | -60 | -0.57276 | -120.7606 | 115.6814
Line_2 | 2.2343 | 7.0759 | 6.6588 | 2.2347 | 7.0761 | 6.6583 | 25.7995 | 81.7049 | 76.8887 | 25.8037 | 81.7075 | 76.884 | 17.9145 | 77.4194 | 43.4565 | -18.1672 | -41.113 | -25.0128 | 22.0106 | 45.649 | 72.5596 | -21.8767 | -23.5086 | -35.4127 | -50.8578 | -150.525 | 60.9177 | 129.1347 | 29.4783 | -119.0842 |  | 1.1 | 1.1 | 1.1 | 1.102 | 0.57962 | 0.56391 | -2.5449e-09 | -120 | 120 | -0.57276 | -120.7606 | 115.6814

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72179 | 1.7898 | 1.7898 | 0.72269 | 1.7899 | 1.7894 | 8.3346 | 20.6671 | 20.6671 | 8.3449 | 20.6678 | 20.6622 | 2.8206 | 8.4779 | 1.9678 | -2.5485 | -6.8184 | -0.29693 | 9.1319 | 11.7461 | 13.5372 | -8.8362 | -9.8498 | -11.6478 | -74.4648 | -176.0976 | 27.168 | 105.5154 | 3.9319 | -152.8583 |  | 1.1467 | 0.70093 | 0.6619 | 1.102 | 0.57962 | 0.56391 | -1.6293 | -121.9179 | 108.8971 | -0.57276 | -120.7606 | 115.6814
Line_1 | 2.9124 | 8.7258 | 8.2051 | 2.9112 | 8.7252 | 8.2063 | 33.6295 | 100.7564 | 94.7449 | 33.6161 | 100.7498 | 94.7579 | -19.6197 | 5.0892 | 2.3886 | 20.7157 | 47.9315 | 25.3097 | -29.7417 | 3.642 | 5.3782 | 30.7129 | 33.3584 | 47.0605 | 123.4116 | 24.4113 | -126.0524 | -56.5733 | -155.597 | 53.9533 |  | 1.0595 | 0.062112 | 0.062112 | 1.102 | 0.57962 | 0.56391 | 3.0042e-09 | 60 | -60 | -0.57276 | -120.7606 | 115.6814
Line_2 | 2.2343 | 7.0759 | 6.6588 | 2.2347 | 7.0761 | 6.6583 | 25.7995 | 81.7049 | 76.8887 | 25.8037 | 81.7075 | 76.884 | 17.9145 | 77.4194 | 43.4565 | -18.1672 | -41.113 | -25.0128 | 22.0106 | 45.649 | 72.5596 | -21.8767 | -23.5086 | -35.4127 | -50.8578 | -150.525 | 60.9177 | 129.1347 | 29.4783 | -119.0842 |  | 1.1 | 1.1 | 1.1 | 1.102 | 0.57962 | 0.56391 | -2.5449e-09 | -120 | 120 | -0.57276 | -120.7606 | 115.6814

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0897e-10 | 1.2038e-09 | 8.1281e-10 | -4.0943e-10 | -1.204e-09 | -8.1218e-10 | 2.5961e-10 | 2.5218e-10 | 9.4423e-10 | -2.6007e-10 | -2.5155e-10 | -9.444e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 5.6075e-11 | -120 | 120 | 1.8509e-11 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8824e-09 | -5.938e-09 | -5.2679e-09 | 1.8817e-09 | 5.9377e-09 | 5.2689e-09 | -5.1496e-10 | 9.0277e-10 | -2.1797e-09 | 5.1427e-10 | -9.0183e-10 | 2.1795e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 2.6741e-19 | -120 | 120 | 1.8509e-11 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.472e-09 | 4.7337e-09 | 4.457e-09 | -1.4722e-09 | -4.7338e-09 | -4.4567e-09 | 2.5396e-10 | -1.1531e-09 | 1.235e-09 | -2.5419e-10 | 1.1534e-09 | -1.2351e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -2.0911e-19 | -120 | 120 | 1.8509e-11 | -120 | 120

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0897e-10 | 1.2038e-09 | 8.1281e-10 | -4.0943e-10 | -1.204e-09 | -8.1218e-10 | 2.5961e-10 | 2.5218e-10 | 9.4423e-10 | -2.6007e-10 | -2.5155e-10 | -9.444e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 5.6075e-11 | -120 | 120 | 1.8509e-11 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8824e-09 | -5.938e-09 | -5.2679e-09 | 1.8817e-09 | 5.9377e-09 | 5.2689e-09 | -5.1496e-10 | 9.0277e-10 | -2.1797e-09 | 5.1427e-10 | -9.0183e-10 | 2.1795e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 2.6741e-19 | -120 | 120 | 1.8509e-11 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.472e-09 | 4.7337e-09 | 4.457e-09 | -1.4722e-09 | -4.7338e-09 | -4.4567e-09 | 2.5396e-10 | -1.1531e-09 | 1.235e-09 | -2.5419e-10 | 1.1534e-09 | -1.2351e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -2.0911e-19 | -120 | 120 | 1.8509e-11 | -120 | 120

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59192 | 1.4678 | 1.4678 | 0.59267 | 1.468 | 1.4673 | 6.8349 | 16.9484 | 16.9484 | 6.8436 | 16.9508 | 16.9424 | 3.4751 | 8.8219 | 4.2878 | -3.1236 | -6.6753 | -2.1342 | 6.3368 | 7.6321 | 9.8187 | -6.1403 | -6.3538 | -8.5496 | -63.9614 | -165.5942 | 37.6714 | 116.0026 | 14.4376 | -142.3545 |  | 1.0574 | 0.68828 | 0.63216 | 1.0067 | 0.54368 | 0.52011 | -2.7016 | -124.73 | 104.0806 | -0.96033 | -121.9757 | 113.6291
Line_1 | 1.884 | 5.4393 | 5.2293 | 1.8833 | 5.4385 | 5.2305 | 21.755 | 62.8077 | 60.3825 | 21.746 | 62.7981 | 60.3961 | -16.4521 | 3.3547 | 2.1717 | 17.4195 | 32.6565 | 22.5741 | -12.9766 | 1.1504 | 2.6284 | 13.2576 | 9.9609 | 21.8442 | 141.7355 | 41.0716 | -110.4343 | -38.2343 | -138.9384 | 69.5705 |  | 0.96317 | 0.056465 | 0.056465 | 1.0067 | 0.54368 | 0.52011 | 3.0482e-09 | 60 | -60 | -0.96033 | -121.9757 | 113.6291
Line_2 | 1.3737 | 4.1779 | 4.0604 | 1.3739 | 4.1783 | 4.06 | 15.8618 | 48.2426 | 46.8853 | 15.864 | 48.2464 | 46.8805 | 14.0809 | 47.5267 | 36.2241 | -14.2959 | -25.9812 | -20.4399 | 7.3024 | 8.2805 | 29.7665 | -7.1173 | -3.6071 | -13.2947 | -27.4115 | -129.8834 | 80.589 | 152.5729 | 50.1203 | -99.412 |  | 1 | 1 | 1 | 1.0067 | 0.54368 | 0.52011 | -2.4203e-09 | -120 | 120 | -0.96033 | -121.9757 | 113.6291

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59192 | 1.4678 | 1.4678 | 0.59267 | 1.468 | 1.4673 | 6.8349 | 16.9484 | 16.9484 | 6.8436 | 16.9508 | 16.9424 | 3.4751 | 8.8219 | 4.2878 | -3.1236 | -6.6753 | -2.1342 | 6.3368 | 7.6321 | 9.8187 | -6.1403 | -6.3538 | -8.5496 | -63.9614 | -165.5942 | 37.6714 | 116.0026 | 14.4376 | -142.3545 |  | 1.0574 | 0.68828 | 0.63216 | 1.0067 | 0.54368 | 0.52011 | -2.7016 | -124.73 | 104.0806 | -0.96033 | -121.9757 | 113.6291
Line_1 | 1.884 | 5.4393 | 5.2293 | 1.8833 | 5.4385 | 5.2305 | 21.755 | 62.8077 | 60.3825 | 21.746 | 62.7981 | 60.3961 | -16.4521 | 3.3547 | 2.1717 | 17.4195 | 32.6565 | 22.5741 | -12.9766 | 1.1504 | 2.6284 | 13.2576 | 9.9609 | 21.8442 | 141.7355 | 41.0716 | -110.4343 | -38.2343 | -138.9384 | 69.5705 |  | 0.96317 | 0.056465 | 0.056465 | 1.0067 | 0.54368 | 0.52011 | 3.0482e-09 | 60 | -60 | -0.96033 | -121.9757 | 113.6291
Line_2 | 1.3737 | 4.1779 | 4.0604 | 1.3739 | 4.1783 | 4.06 | 15.8618 | 48.2426 | 46.8853 | 15.864 | 48.2464 | 46.8805 | 14.0809 | 47.5267 | 36.2241 | -14.2959 | -25.9812 | -20.4399 | 7.3024 | 8.2805 | 29.7665 | -7.1173 | -3.6071 | -13.2947 | -27.4115 | -129.8834 | 80.589 | 152.5729 | 50.1203 | -99.412 |  | 1 | 1 | 1 | 1.0067 | 0.54368 | 0.52011 | -2.4203e-09 | -120 | 120 | -0.96033 | -121.9757 | 113.6291

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3507e-10 | 9.1668e-10 | 7.2413e-10 | -3.3545e-10 | -9.1682e-10 | -7.2361e-10 | 1.3472e-10 | 2.1259e-11 | 5.8168e-10 | -1.351e-10 | -2.0738e-11 | -5.8182e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | 3.9337e-11 | -120 | 120 | 1.265e-11 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1446e-09 | -3.0759e-09 | -3.2809e-09 | 1.144e-09 | 3.0757e-09 | 3.2817e-09 | 6.4305e-11 | 1.4542e-09 | -3.9451e-10 | -6.4877e-11 | -1.4534e-09 | 3.943e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1.9675e-19 | -120 | 120 | 1.265e-11 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.0838e-10 | 2.1588e-09 | 2.5583e-09 | -8.0857e-10 | -2.1589e-09 | -2.5581e-09 | -2.0017e-10 | -1.4739e-09 | -1.8758e-10 | 1.9998e-10 | 1.4741e-09 | 1.8751e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -1.3895e-19 | -120 | 120 | 1.265e-11 | -120 | 120

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3507e-10 | 9.1668e-10 | 7.2413e-10 | -3.3545e-10 | -9.1682e-10 | -7.2361e-10 | 1.3472e-10 | 2.1259e-11 | 5.8168e-10 | -1.351e-10 | -2.0738e-11 | -5.8182e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | 3.9337e-11 | -120 | 120 | 1.265e-11 | -120 | 120
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1446e-09 | -3.0759e-09 | -3.2809e-09 | 1.144e-09 | 3.0757e-09 | 3.2817e-09 | 6.4305e-11 | 1.4542e-09 | -3.9451e-10 | -6.4877e-11 | -1.4534e-09 | 3.943e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1.9675e-19 | -120 | 120 | 1.265e-11 | -120 | 120
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.0838e-10 | 2.1588e-09 | 2.5583e-09 | -8.0857e-10 | -2.1589e-09 | -2.5581e-09 | -2.0017e-10 | -1.4739e-09 | -1.8758e-10 | 1.9998e-10 | 1.4741e-09 | 1.8751e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -1.3895e-19 | -120 | 120 | 1.265e-11 | -120 | 120