## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.4073 | 4.4073 | 0 | 0 | 152.6738 | 152.6738 | -3.7266 | 34.0286 | -109.0071 | 143.3883 | 107.028 | -72.972 | 0.7144 | 0.96527 | 15.07 | 3.6776
Line_1 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_2 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.4073 | 4.4073 | 0 | 0 | 152.6738 | 152.6738 | -3.7266 | 34.0286 | -109.0071 | 143.3883 | 107.028 | -72.972 | 0.7144 | 0.96527 | 15.07 | 3.6776
Line_1 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_2 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.8818 | 2.8818 | 0 | 0 | 99.8287 | 99.8287 | -37.4533 | 50.4088 | -71.8789 | 86.5784 | 121.2007 | -58.7993 | 0.8119 | 1.0036 | 3.6785 | 0.99136
Line_1 | 1.4409 | 1.4409 | 0 | 0 | 49.9144 | 49.9144 | 28.4433 | -25.2044 | 46.9641 | -43.2892 | -58.7993 | 121.2007 | 1.1 | 1.0036 | -1.3468e-09 | 0.99136
Line_2 | 1.4409 | 1.4409 | 0 | 0 | 49.9144 | 49.9144 | 28.4433 | -25.2044 | 46.9641 | -43.2892 | -58.7993 | 121.2007 | 1.1 | 1.0036 | -1.3468e-09 | 0.99136

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.8818 | 2.8818 | 0 | 0 | 99.8287 | 99.8287 | -37.4533 | 50.4088 | -71.8789 | 86.5784 | 121.2007 | -58.7993 | 0.8119 | 1.0036 | 3.6785 | 0.99136
Line_1 | 1.4409 | 1.4409 | 0 | 0 | 49.9144 | 49.9144 | 28.4433 | -25.2044 | 46.9641 | -43.2892 | -58.7993 | 121.2007 | 1.1 | 1.0036 | -1.3468e-09 | 0.99136
Line_2 | 1.4409 | 1.4409 | 0 | 0 | 49.9144 | 49.9144 | 28.4433 | -25.2044 | 46.9641 | -43.2892 | -58.7993 | 121.2007 | 1.1 | 1.0036 | -1.3468e-09 | 0.99136

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.597 | 3.597 | 0 | 0 | 124.6031 | 124.6031 | -2.5463 | 41.299 | -74.481 | 97.3818 | 119.1403 | -60.8597 | 0.5981 | 0.84891 | 27.1823 | 6.1588
Line_1 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_2 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.597 | 3.597 | 0 | 0 | 124.6031 | 124.6031 | -2.5463 | 41.299 | -74.481 | 97.3818 | 119.1403 | -60.8597 | 0.5981 | 0.84891 | 27.1823 | 6.1588
Line_1 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_2 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.4531 | 2.4531 | 0 | 0 | 84.9769 | 84.9769 | -29.364 | 47.3878 | -47.5855 | 58.2365 | 131.5832 | -48.4168 | 0.65802 | 0.88354 | 9.9053 | 2.4475
Line_1 | 1.2265 | 1.2265 | 0 | 0 | 42.4884 | 42.4884 | 28.1999 | -23.6939 | 31.781 | -29.1183 | -48.4168 | 131.5832 | 1 | 0.88354 | -1.6157e-09 | 2.4475
Line_2 | 1.2265 | 1.2265 | 0 | 0 | 42.4884 | 42.4884 | 28.1999 | -23.6939 | 31.781 | -29.1183 | -48.4168 | 131.5832 | 1 | 0.88354 | -1.6157e-09 | 2.4475

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.4531 | 2.4531 | 0 | 0 | 84.9769 | 84.9769 | -29.364 | 47.3878 | -47.5855 | 58.2365 | 131.5832 | -48.4168 | 0.65802 | 0.88354 | 9.9053 | 2.4475
Line_1 | 1.2265 | 1.2265 | 0 | 0 | 42.4884 | 42.4884 | 28.1999 | -23.6939 | 31.781 | -29.1183 | -48.4168 | 131.5832 | 1 | 0.88354 | -1.6157e-09 | 2.4475
Line_2 | 1.2265 | 1.2265 | 0 | 0 | 42.4884 | 42.4884 | 28.1999 | -23.6939 | 31.781 | -29.1183 | -48.4168 | 131.5832 | 1 | 0.88354 | -1.6157e-09 | 2.4475

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.8168 | 3.8168 | 0 | 3.8168 | 3.8168 | 0 | 44.0731 | 44.0731 | 0 | 44.0731 | 44.0731 | -3.8462e-10 | -24.1092 | 22.2459 | 3.8461e-10 | 31.6847 | -14.6704 | -1.3827e-09 | -20.1533 | -34.3503 | 1.3827e-09 | 28.7486 | 42.9456 | 0 | 17.028 | -162.972 | 0 | -162.972 | 17.028 | 1.1 | 0.71298 | 0.92856 | 1.1 | 0.97073 | 1.0297 | 2.6213e-10 | -123.0792 | 139.9559 | 8.7374e-11 | -120.7535 | 125.8884
Line_1 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.923e-10 | 17.7362 | -5.4413 | -1.923e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7374e-11 | -120.7535 | 125.8884
Line_2 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.923e-10 | 17.7362 | -5.4413 | -1.923e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7374e-11 | -120.7535 | 125.8884

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.8168 | 3.8168 | 0 | 3.8168 | 3.8168 | 0 | 44.0731 | 44.0731 | 0 | 44.0731 | 44.0731 | -3.8462e-10 | -24.1092 | 22.2459 | 3.8461e-10 | 31.6847 | -14.6704 | -1.3827e-09 | -20.1533 | -34.3503 | 1.3827e-09 | 28.7486 | 42.9456 | 0 | 17.028 | -162.972 | 0 | -162.972 | 17.028 | 1.1 | 0.71298 | 0.92856 | 1.1 | 0.97073 | 1.0297 | 2.6213e-10 | -123.0792 | 139.9559 | 8.7374e-11 | -120.7535 | 125.8884
Line_1 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.923e-10 | 17.7362 | -5.4413 | -1.923e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7374e-11 | -120.7535 | 125.8884
Line_2 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.923e-10 | 17.7362 | -5.4413 | -1.923e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7374e-11 | -120.7535 | 125.8884

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.0402 | 3.0402 | 0 | 3.0402 | 3.0402 | 0 | 35.1056 | 35.1056 | 0 | 35.1056 | 35.1056 | -3.4297e-10 | -24.655 | 10.169 | 3.4297e-10 | 29.4614 | -5.3626 | -1.233e-09 | -13.6342 | -30.3225 | 1.233e-09 | 19.0876 | 35.7759 | 0 | 25.6047 | -154.3953 | 0 | -154.3953 | 25.6047 | 1.1 | 0.80254 | 0.91103 | 1.1 | 0.99996 | 1.0305 | 2.3377e-10 | -125.4527 | 134.1442 | 7.7921e-11 | -121.4567 | 124.1296
Line_1 | 0 | 1.5201 | 1.5201 | 0 | 1.5201 | 1.5201 | 0 | 17.5528 | 17.5528 | 0 | 17.5528 | 17.5528 | 1.7148e-10 | 15.9323 | -1.4797 | -1.7148e-10 | -14.7307 | 2.6813 | 6.1652e-10 | 10.9071 | 19.2513 | -6.1652e-10 | -9.5438 | -17.888 | 0 | -154.3953 | 25.6047 | 0 | 25.6047 | -154.3953 | 1.1 | 1.1 | 1.1 | 1.1 | 0.99996 | 1.0305 | -2.4325e-20 | -120 | 120 | 7.7921e-11 | -121.4567 | 124.1296
Line_2 | 0 | 1.5201 | 1.5201 | 0 | 1.5201 | 1.5201 | 0 | 17.5528 | 17.5528 | 0 | 17.5528 | 17.5528 | 1.7148e-10 | 15.9323 | -1.4797 | -1.7148e-10 | -14.7307 | 2.6813 | 6.1652e-10 | 10.9071 | 19.2513 | -6.1652e-10 | -9.5438 | -17.888 | 0 | -154.3953 | 25.6047 | 0 | 25.6047 | -154.3953 | 1.1 | 1.1 | 1.1 | 1.1 | 0.99996 | 1.0305 | -2.4325e-20 | -120 | 120 | 7.7921e-11 | -121.4567 | 124.1296

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.0402 | 3.0402 | 0 | 3.0402 | 3.0402 | 0 | 35.1056 | 35.1056 | 0 | 35.1056 | 35.1056 | -3.4297e-10 | -24.655 | 10.169 | 3.4297e-10 | 29.4614 | -5.3626 | -1.233e-09 | -13.6342 | -30.3225 | 1.233e-09 | 19.0876 | 35.7759 | 0 | 25.6047 | -154.3953 | 0 | -154.3953 | 25.6047 | 1.1 | 0.80254 | 0.91103 | 1.1 | 0.99996 | 1.0305 | 2.3377e-10 | -125.4527 | 134.1442 | 7.7921e-11 | -121.4567 | 124.1296
Line_1 | 0 | 1.5201 | 1.5201 | 0 | 1.5201 | 1.5201 | 0 | 17.5528 | 17.5528 | 0 | 17.5528 | 17.5528 | 1.7148e-10 | 15.9323 | -1.4797 | -1.7148e-10 | -14.7307 | 2.6813 | 6.1652e-10 | 10.9071 | 19.2513 | -6.1652e-10 | -9.5438 | -17.888 | 0 | -154.3953 | 25.6047 | 0 | 25.6047 | -154.3953 | 1.1 | 1.1 | 1.1 | 1.1 | 0.99996 | 1.0305 | -2.4325e-20 | -120 | 120 | 7.7921e-11 | -121.4567 | 124.1296
Line_2 | 0 | 1.5201 | 1.5201 | 0 | 1.5201 | 1.5201 | 0 | 17.5528 | 17.5528 | 0 | 17.5528 | 17.5528 | 1.7148e-10 | 15.9323 | -1.4797 | -1.7148e-10 | -14.7307 | 2.6813 | 6.1652e-10 | 10.9071 | 19.2513 | -6.1652e-10 | -9.5438 | -17.888 | 0 | -154.3953 | 25.6047 | 0 | 25.6047 | -154.3953 | 1.1 | 1.1 | 1.1 | 1.1 | 0.99996 | 1.0305 | -2.4325e-20 | -120 | 120 | 7.7921e-11 | -121.4567 | 124.1296

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1151 | 3.1151 | 0 | 3.1151 | 3.1151 | 0 | 35.9698 | 35.9698 | 0 | 35.9698 | 35.9698 | -6.1315e-11 | -16.3451 | 15.072 | 6.1313e-11 | 26.0333 | -5.3838 | -1.2497e-10 | -9.8625 | -27.378 | 1.2497e-10 | 15.5877 | 33.1032 | 0 | 29.1403 | -150.8597 | 0 | -150.8597 | 29.1403 | 1 | 0.53073 | 0.86885 | 1 | 0.84357 | 0.9324 | 5.7092e-11 | -119.7533 | 147.9737 | 1.9031e-11 | -119.9483 | 128.3778
Line_1 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0657e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2483e-11 | 9.2252 | 17.9829 | -6.2483e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2325e-21 | -120 | 120 | 1.9031e-11 | -119.9483 | 128.3778
Line_2 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0657e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2483e-11 | 9.2252 | 17.9829 | -6.2483e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2325e-21 | -120 | 120 | 1.9031e-11 | -119.9483 | 128.3778

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1151 | 3.1151 | 0 | 3.1151 | 3.1151 | 0 | 35.9698 | 35.9698 | 0 | 35.9698 | 35.9698 | -6.1315e-11 | -16.3451 | 15.072 | 6.1313e-11 | 26.0333 | -5.3838 | -1.2497e-10 | -9.8625 | -27.378 | 1.2497e-10 | 15.5877 | 33.1032 | 0 | 29.1403 | -150.8597 | 0 | -150.8597 | 29.1403 | 1 | 0.53073 | 0.86885 | 1 | 0.84357 | 0.9324 | 5.7092e-11 | -119.7533 | 147.9737 | 1.9031e-11 | -119.9483 | 128.3778
Line_1 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0657e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2483e-11 | 9.2252 | 17.9829 | -6.2483e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2325e-21 | -120 | 120 | 1.9031e-11 | -119.9483 | 128.3778
Line_2 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0657e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2483e-11 | 9.2252 | 17.9829 | -6.2483e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2325e-21 | -120 | 120 | 1.9031e-11 | -119.9483 | 128.3778

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.5405 | 2.5405 | 0 | 2.5405 | 2.5405 | 0 | 29.3354 | 29.3354 | 0 | 29.3354 | 29.3354 | 2.9376e-11 | -17.2451 | 6.3234 | -2.9374e-11 | 23.6891 | 0.12053 | 6.0584e-11 | -5.9655 | -23.4324 | -6.0585e-11 | 9.7735 | 27.2404 | 0 | 36.5425 | -143.4575 | 0 | -143.4575 | 36.5425 | 1 | 0.62204 | 0.82735 | 1 | 0.87355 | 0.92859 | -2.783e-11 | -124.3758 | 141.6445 | -9.2766e-12 | -121.0377 | 126.289
Line_1 | 0 | 1.2703 | 1.2703 | 0 | 1.2703 | 1.2703 | 0 | 14.6677 | 14.6677 | 0 | 14.6677 | 14.6677 | -1.4688e-11 | 13.4555 | 1.6712 | 1.4687e-11 | -11.8445 | -0.060266 | -3.0292e-11 | 5.8388 | 14.5722 | 3.0292e-11 | -4.8867 | -13.6202 | 0 | -143.4575 | 36.5425 | 0 | 36.5425 | -143.4575 | 1 | 1 | 1 | 1 | 0.87355 | 0.92859 | 2.5524e-21 | -120 | 120 | -9.2766e-12 | -121.0377 | 126.289
Line_2 | 0 | 1.2703 | 1.2703 | 0 | 1.2703 | 1.2703 | 0 | 14.6677 | 14.6677 | 0 | 14.6677 | 14.6677 | -1.4688e-11 | 13.4555 | 1.6712 | 1.4687e-11 | -11.8445 | -0.060266 | -3.0292e-11 | 5.8388 | 14.5722 | 3.0292e-11 | -4.8867 | -13.6202 | 0 | -143.4575 | 36.5425 | 0 | 36.5425 | -143.4575 | 1 | 1 | 1 | 1 | 0.87355 | 0.92859 | 2.5524e-21 | -120 | 120 | -9.2766e-12 | -121.0377 | 126.289

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.5405 | 2.5405 | 0 | 2.5405 | 2.5405 | 0 | 29.3354 | 29.3354 | 0 | 29.3354 | 29.3354 | 2.9376e-11 | -17.2451 | 6.3234 | -2.9374e-11 | 23.6891 | 0.12053 | 6.0584e-11 | -5.9655 | -23.4324 | -6.0585e-11 | 9.7735 | 27.2404 | 0 | 36.5425 | -143.4575 | 0 | -143.4575 | 36.5425 | 1 | 0.62204 | 0.82735 | 1 | 0.87355 | 0.92859 | -2.783e-11 | -124.3758 | 141.6445 | -9.2766e-12 | -121.0377 | 126.289
Line_1 | 0 | 1.2703 | 1.2703 | 0 | 1.2703 | 1.2703 | 0 | 14.6677 | 14.6677 | 0 | 14.6677 | 14.6677 | -1.4688e-11 | 13.4555 | 1.6712 | 1.4687e-11 | -11.8445 | -0.060266 | -3.0292e-11 | 5.8388 | 14.5722 | 3.0292e-11 | -4.8867 | -13.6202 | 0 | -143.4575 | 36.5425 | 0 | 36.5425 | -143.4575 | 1 | 1 | 1 | 1 | 0.87355 | 0.92859 | 2.5524e-21 | -120 | 120 | -9.2766e-12 | -121.0377 | 126.289
Line_2 | 0 | 1.2703 | 1.2703 | 0 | 1.2703 | 1.2703 | 0 | 14.6677 | 14.6677 | 0 | 14.6677 | 14.6677 | -1.4688e-11 | 13.4555 | 1.6712 | 1.4687e-11 | -11.8445 | -0.060266 | -3.0292e-11 | 5.8388 | 14.5722 | 3.0292e-11 | -4.8867 | -13.6202 | 0 | -143.4575 | 36.5425 | 0 | 36.5425 | -143.4575 | 1 | 1 | 1 | 1 | 0.87355 | 0.92859 | 2.5524e-21 | -120 | 120 | -9.2766e-12 | -121.0377 | 126.289

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8076 | 1.4038 | 1.4038 | 2.8076 | 1.4038 | 1.4038 | 32.4197 | 16.2099 | 16.2099 | 32.4197 | 16.2099 | 16.2099 | -3.9605 | 13.8184 | -15.7987 | 8.0595 | -12.7937 | 16.8234 | -27.2226 | -11.183 | -2.4283 | 31.8735 | 12.3457 | 3.591 | 106.4675 | -73.5325 | -73.5325 | -73.5325 | 106.4675 | 106.4675 |  | 0.84853 | 1.0967 | 0.98608 | 1.0141 | 1.0968 | 1.0612 | 8.1899 | -112.5151 | 115.2056 | 2.2771 | -117.5117 | 118.5166
Line_1 | 1.4038 | 0.70191 | 0.70191 | 1.4038 | 0.70191 | 0.70191 | 16.2099 | 8.1049 | 8.1049 | 16.2099 | 8.1049 | 8.1049 | 5.0545 | -6.1406 | 8.6679 | -4.0298 | 6.3968 | -8.4117 | 17.0994 | 6.4635 | 2.0862 | -15.9367 | -6.1729 | -1.7955 | -73.5325 | 106.4675 | 106.4675 | 106.4675 | -73.5325 | -73.5325 |  | 1.1 | 1.1 | 1.1 | 1.0141 | 1.0968 | 1.0612 | -7.1802e-10 | -120 | 120 | 2.2771 | -117.5117 | 118.5166
Line_2 | 1.4038 | 0.70191 | 0.70191 | 1.4038 | 0.70191 | 0.70191 | 16.2099 | 8.1049 | 8.1049 | 16.2099 | 8.1049 | 8.1049 | 5.0545 | -6.1406 | 8.6679 | -4.0298 | 6.3968 | -8.4117 | 17.0994 | 6.4635 | 2.0862 | -15.9367 | -6.1729 | -1.7955 | -73.5325 | 106.4675 | 106.4675 | 106.4675 | -73.5325 | -73.5325 |  | 1.1 | 1.1 | 1.1 | 1.0141 | 1.0968 | 1.0612 | -7.1802e-10 | -120 | 120 | 2.2771 | -117.5117 | 118.5166

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8076 | 1.4038 | 1.4038 | 2.8076 | 1.4038 | 1.4038 | 32.4197 | 16.2099 | 16.2099 | 32.4197 | 16.2099 | 16.2099 | -3.9605 | 13.8184 | -15.7987 | 8.0595 | -12.7937 | 16.8234 | -27.2226 | -11.183 | -2.4283 | 31.8735 | 12.3457 | 3.591 | 106.4675 | -73.5325 | -73.5325 | -73.5325 | 106.4675 | 106.4675 |  | 0.84853 | 1.0967 | 0.98608 | 1.0141 | 1.0968 | 1.0612 | 8.1899 | -112.5151 | 115.2056 | 2.2771 | -117.5117 | 118.5166
Line_1 | 1.4038 | 0.70191 | 0.70191 | 1.4038 | 0.70191 | 0.70191 | 16.2099 | 8.1049 | 8.1049 | 16.2099 | 8.1049 | 8.1049 | 5.0545 | -6.1406 | 8.6679 | -4.0298 | 6.3968 | -8.4117 | 17.0994 | 6.4635 | 2.0862 | -15.9367 | -6.1729 | -1.7955 | -73.5325 | 106.4675 | 106.4675 | 106.4675 | -73.5325 | -73.5325 |  | 1.1 | 1.1 | 1.1 | 1.0141 | 1.0968 | 1.0612 | -7.1802e-10 | -120 | 120 | 2.2771 | -117.5117 | 118.5166
Line_2 | 1.4038 | 0.70191 | 0.70191 | 1.4038 | 0.70191 | 0.70191 | 16.2099 | 8.1049 | 8.1049 | 16.2099 | 8.1049 | 8.1049 | 5.0545 | -6.1406 | 8.6679 | -4.0298 | 6.3968 | -8.4117 | 17.0994 | 6.4635 | 2.0862 | -15.9367 | -6.1729 | -1.7955 | -73.5325 | 106.4675 | 106.4675 | 106.4675 | -73.5325 | -73.5325 |  | 1.1 | 1.1 | 1.1 | 1.0141 | 1.0968 | 1.0612 | -7.1802e-10 | -120 | 120 | 2.2771 | -117.5117 | 118.5166

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.869 | 0.93452 | 0.93452 | 1.869 | 0.93452 | 0.93452 | 21.5818 | 10.7909 | 10.7909 | 21.5818 | 10.7909 | 10.7909 | -9.2972 | 6.5399 | -11.1885 | 11.1137 | -6.0858 | 11.6426 | -17.3794 | -9.5505 | 0.86081 | 19.4405 | 10.0658 | -0.34554 | 120.4243 | -59.5757 | -59.5757 | -59.5757 | 120.4243 | 120.4243 |  | 0.91326 | 1.0727 | 1.0399 | 1.0376 | 1.09 | 1.0794 | 2.2797 | -115.1735 | 116.0249 | 0.66868 | -118.4185 | 118.7244
Line_1 | 0.93452 | 0.46726 | 0.46726 | 0.93452 | 0.46726 | 0.46726 | 10.7909 | 5.3955 | 5.3955 | 10.7909 | 5.3955 | 5.3955 | 6.011 | -2.9294 | 5.9348 | -5.5568 | 3.0429 | -5.8213 | 10.2355 | 5.1617 | -0.043955 | -9.7202 | -5.0329 | 0.17277 | -59.5757 | 120.4243 | 120.4243 | 120.4243 | -59.5757 | -59.5757 |  | 1.1 | 1.1 | 1.1 | 1.0376 | 1.09 | 1.0794 | -8.5389e-10 | -120 | 120 | 0.66868 | -118.4185 | 118.7244
Line_2 | 0.93452 | 0.46726 | 0.46726 | 0.93452 | 0.46726 | 0.46726 | 10.7909 | 5.3955 | 5.3955 | 10.7909 | 5.3955 | 5.3955 | 6.011 | -2.9294 | 5.9348 | -5.5568 | 3.0429 | -5.8213 | 10.2355 | 5.1617 | -0.043955 | -9.7202 | -5.0329 | 0.17277 | -59.5757 | 120.4243 | 120.4243 | 120.4243 | -59.5757 | -59.5757 |  | 1.1 | 1.1 | 1.1 | 1.0376 | 1.09 | 1.0794 | -8.5389e-10 | -120 | 120 | 0.66868 | -118.4185 | 118.7244

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.869 | 0.93452 | 0.93452 | 1.869 | 0.93452 | 0.93452 | 21.5818 | 10.7909 | 10.7909 | 21.5818 | 10.7909 | 10.7909 | -9.2972 | 6.5399 | -11.1885 | 11.1137 | -6.0858 | 11.6426 | -17.3794 | -9.5505 | 0.86081 | 19.4405 | 10.0658 | -0.34554 | 120.4243 | -59.5757 | -59.5757 | -59.5757 | 120.4243 | 120.4243 |  | 0.91326 | 1.0727 | 1.0399 | 1.0376 | 1.09 | 1.0794 | 2.2797 | -115.1735 | 116.0249 | 0.66868 | -118.4185 | 118.7244
Line_1 | 0.93452 | 0.46726 | 0.46726 | 0.93452 | 0.46726 | 0.46726 | 10.7909 | 5.3955 | 5.3955 | 10.7909 | 5.3955 | 5.3955 | 6.011 | -2.9294 | 5.9348 | -5.5568 | 3.0429 | -5.8213 | 10.2355 | 5.1617 | -0.043955 | -9.7202 | -5.0329 | 0.17277 | -59.5757 | 120.4243 | 120.4243 | 120.4243 | -59.5757 | -59.5757 |  | 1.1 | 1.1 | 1.1 | 1.0376 | 1.09 | 1.0794 | -8.5389e-10 | -120 | 120 | 0.66868 | -118.4185 | 118.7244
Line_2 | 0.93452 | 0.46726 | 0.46726 | 0.93452 | 0.46726 | 0.46726 | 10.7909 | 5.3955 | 5.3955 | 10.7909 | 5.3955 | 5.3955 | 6.011 | -2.9294 | 5.9348 | -5.5568 | 3.0429 | -5.8213 | 10.2355 | 5.1617 | -0.043955 | -9.7202 | -5.0329 | 0.17277 | -59.5757 | 120.4243 | 120.4243 | 120.4243 | -59.5757 | -59.5757 |  | 1.1 | 1.1 | 1.1 | 1.0376 | 1.09 | 1.0794 | -8.5389e-10 | -120 | 120 | 0.66868 | -118.4185 | 118.7244

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.297 | 1.1485 | 1.1485 | 2.297 | 1.1485 | 1.1485 | 26.5239 | 13.2619 | 13.2619 | 26.5239 | 13.2619 | 13.2619 | -4.5494 | 9.0037 | -11.2784 | 9.8173 | -7.6867 | 12.5953 | -18.7501 | -10.0791 | 0.70402 | 21.8632 | 10.8573 | 0.074247 | 117.9976 | -62.0024 | -62.0024 | -62.0024 | 117.9976 | 117.9976 |  | 0.72743 | 1.0191 | 0.85209 | 0.90357 | 1.0031 | 0.94975 | 14.3595 | -110.2278 | 114.4258 | 3.816 | -116.7049 | 118.3354
Line_1 | 1.1485 | 0.57426 | 0.57426 | 1.1485 | 0.57426 | 0.57426 | 13.2619 | 6.631 | 6.631 | 13.2619 | 6.631 | 6.631 | 6.2256 | -3.5141 | 6.6269 | -4.9086 | 3.8434 | -6.2977 | 11.7098 | 5.6232 | 0.23169 | -10.9316 | -5.4287 | -0.037124 | -62.0024 | 117.9976 | 117.9976 | 117.9976 | -62.0024 | -62.0024 |  | 1 | 1 | 1 | 0.90357 | 1.0031 | 0.94975 | -1.0701e-09 | -120 | 120 | 3.816 | -116.7049 | 118.3354
Line_2 | 1.1485 | 0.57426 | 0.57426 | 1.1485 | 0.57426 | 0.57426 | 13.2619 | 6.631 | 6.631 | 13.2619 | 6.631 | 6.631 | 6.2256 | -3.5141 | 6.6269 | -4.9086 | 3.8434 | -6.2977 | 11.7098 | 5.6232 | 0.23169 | -10.9316 | -5.4287 | -0.037124 | -62.0024 | 117.9976 | 117.9976 | 117.9976 | -62.0024 | -62.0024 |  | 1 | 1 | 1 | 0.90357 | 1.0031 | 0.94975 | -1.0701e-09 | -120 | 120 | 3.816 | -116.7049 | 118.3354

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.297 | 1.1485 | 1.1485 | 2.297 | 1.1485 | 1.1485 | 26.5239 | 13.2619 | 13.2619 | 26.5239 | 13.2619 | 13.2619 | -4.5494 | 9.0037 | -11.2784 | 9.8173 | -7.6867 | 12.5953 | -18.7501 | -10.0791 | 0.70402 | 21.8632 | 10.8573 | 0.074247 | 117.9976 | -62.0024 | -62.0024 | -62.0024 | 117.9976 | 117.9976 |  | 0.72743 | 1.0191 | 0.85209 | 0.90357 | 1.0031 | 0.94975 | 14.3595 | -110.2278 | 114.4258 | 3.816 | -116.7049 | 118.3354
Line_1 | 1.1485 | 0.57426 | 0.57426 | 1.1485 | 0.57426 | 0.57426 | 13.2619 | 6.631 | 6.631 | 13.2619 | 6.631 | 6.631 | 6.2256 | -3.5141 | 6.6269 | -4.9086 | 3.8434 | -6.2977 | 11.7098 | 5.6232 | 0.23169 | -10.9316 | -5.4287 | -0.037124 | -62.0024 | 117.9976 | 117.9976 | 117.9976 | -62.0024 | -62.0024 |  | 1 | 1 | 1 | 0.90357 | 1.0031 | 0.94975 | -1.0701e-09 | -120 | 120 | 3.816 | -116.7049 | 118.3354
Line_2 | 1.1485 | 0.57426 | 0.57426 | 1.1485 | 0.57426 | 0.57426 | 13.2619 | 6.631 | 6.631 | 13.2619 | 6.631 | 6.631 | 6.2256 | -3.5141 | 6.6269 | -4.9086 | 3.8434 | -6.2977 | 11.7098 | 5.6232 | 0.23169 | -10.9316 | -5.4287 | -0.037124 | -62.0024 | 117.9976 | 117.9976 | 117.9976 | -62.0024 | -62.0024 |  | 1 | 1 | 1 | 0.90357 | 1.0031 | 0.94975 | -1.0701e-09 | -120 | 120 | 3.816 | -116.7049 | 118.3354

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5935 | 0.79676 | 0.79676 | 1.5935 | 0.79676 | 0.79676 | 18.4003 | 9.2002 | 9.2002 | 18.4003 | 9.2002 | 9.2002 | -8.1351 | 4.0293 | -8.0968 | 10.6703 | -3.3955 | 8.7307 | -11.7548 | -8.108 | 2.2306 | 13.253 | 8.4825 | -1.856 | 130.4503 | -49.5497 | -49.5497 | -49.5497 | 130.4503 | 130.4503 |  | 0.7769 | 0.98411 | 0.91286 | 0.92469 | 0.99312 | 0.97017 | 5.7646 | -113.1243 | 115.0482 | 1.6119 | -117.7338 | 118.4486
Line_1 | 0.79676 | 0.39838 | 0.39838 | 0.79676 | 0.39838 | 0.39838 | 9.2002 | 4.6001 | 4.6001 | 9.2002 | 4.6001 | 4.6001 | 5.969 | -1.5393 | 4.5238 | -5.3351 | 1.6978 | -4.3653 | 7.001 | 4.3349 | -0.83437 | -6.6265 | -4.2413 | 0.92801 | -49.5497 | 130.4503 | 130.4503 | 130.4503 | -49.5497 | -49.5497 |  | 1 | 1 | 1 | 0.92469 | 0.99312 | 0.97017 | -1.026e-09 | -120 | 120 | 1.6119 | -117.7338 | 118.4486
Line_2 | 0.79676 | 0.39838 | 0.39838 | 0.79676 | 0.39838 | 0.39838 | 9.2002 | 4.6001 | 4.6001 | 9.2002 | 4.6001 | 4.6001 | 5.969 | -1.5393 | 4.5238 | -5.3351 | 1.6978 | -4.3653 | 7.001 | 4.3349 | -0.83437 | -6.6265 | -4.2413 | 0.92801 | -49.5497 | 130.4503 | 130.4503 | 130.4503 | -49.5497 | -49.5497 |  | 1 | 1 | 1 | 0.92469 | 0.99312 | 0.97017 | -1.026e-09 | -120 | 120 | 1.6119 | -117.7338 | 118.4486

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5935 | 0.79676 | 0.79676 | 1.5935 | 0.79676 | 0.79676 | 18.4003 | 9.2002 | 9.2002 | 18.4003 | 9.2002 | 9.2002 | -8.1351 | 4.0293 | -8.0968 | 10.6703 | -3.3955 | 8.7307 | -11.7548 | -8.108 | 2.2306 | 13.253 | 8.4825 | -1.856 | 130.4503 | -49.5497 | -49.5497 | -49.5497 | 130.4503 | 130.4503 |  | 0.7769 | 0.98411 | 0.91286 | 0.92469 | 0.99312 | 0.97017 | 5.7646 | -113.1243 | 115.0482 | 1.6119 | -117.7338 | 118.4486
Line_1 | 0.79676 | 0.39838 | 0.39838 | 0.79676 | 0.39838 | 0.39838 | 9.2002 | 4.6001 | 4.6001 | 9.2002 | 4.6001 | 4.6001 | 5.969 | -1.5393 | 4.5238 | -5.3351 | 1.6978 | -4.3653 | 7.001 | 4.3349 | -0.83437 | -6.6265 | -4.2413 | 0.92801 | -49.5497 | 130.4503 | 130.4503 | 130.4503 | -49.5497 | -49.5497 |  | 1 | 1 | 1 | 0.92469 | 0.99312 | 0.97017 | -1.026e-09 | -120 | 120 | 1.6119 | -117.7338 | 118.4486
Line_2 | 0.79676 | 0.39838 | 0.39838 | 0.79676 | 0.39838 | 0.39838 | 9.2002 | 4.6001 | 4.6001 | 9.2002 | 4.6001 | 4.6001 | 5.969 | -1.5393 | 4.5238 | -5.3351 | 1.6978 | -4.3653 | 7.001 | 4.3349 | -0.83437 | -6.6265 | -4.2413 | 0.92801 | -49.5497 | 130.4503 | 130.4503 | 130.4503 | -49.5497 | -49.5497 |  | 1 | 1 | 1 | 0.92469 | 0.99312 | 0.97017 | -1.026e-09 | -120 | 120 | 1.6119 | -117.7338 | 118.4486

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.344 | 3.8631 | 3.8879 | 1.344 | 3.8631 | 3.8879 | 15.5188 | 44.6076 | 44.8939 | 15.5188 | 44.6076 | 44.8939 | -3.2835 | -17.8979 | 14.3929 | 4.2227 | 25.6583 | -6.5326 | -14.8146 | -25.9738 | -35.937 | 15.8803 | 34.7789 | 44.8554 | 105.9547 | 7.0123 | -153.0209 | -74.0453 | -172.9877 | 26.9791 |  | 0.97779 | 0.70713 | 0.8623 | 1.0589 | 0.96888 | 1.0097 | 3.4578 | -117.5575 | 138.8054 | 1.0638 | -119.406 | 125.2653
Line_1 | 0.67198 | 1.9316 | 1.944 | 0.67198 | 1.9316 | 1.944 | 7.7594 | 22.3038 | 22.4469 | 7.7594 | 22.3038 | 22.4469 | 2.3462 | 14.7692 | -1.3012 | -2.1114 | -12.8291 | 3.2663 | 8.2066 | 19.5907 | 24.6573 | -7.9401 | -17.3894 | -22.4277 | -74.0453 | -172.9877 | 26.9791 | 105.9547 | 7.0123 | -153.0209 |  | 1.1 | 1.1 | 1.1 | 1.0589 | 0.96888 | 1.0097 | -3.3329e-10 | -120 | 120 | 1.0638 | -119.406 | 125.2653
Line_2 | 0.67198 | 1.9316 | 1.944 | 0.67198 | 1.9316 | 1.944 | 7.7594 | 22.3038 | 22.4469 | 7.7594 | 22.3038 | 22.4469 | 2.3462 | 14.7692 | -1.3012 | -2.1114 | -12.8291 | 3.2663 | 8.2066 | 19.5907 | 24.6573 | -7.9401 | -17.3894 | -22.4277 | -74.0453 | -172.9877 | 26.9791 | 105.9547 | 7.0123 | -153.0209 |  | 1.1 | 1.1 | 1.1 | 1.0589 | 0.96888 | 1.0097 | -3.3329e-10 | -120 | 120 | 1.0638 | -119.406 | 125.2653

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.344 | 3.8631 | 3.8879 | 1.344 | 3.8631 | 3.8879 | 15.5188 | 44.6076 | 44.8939 | 15.5188 | 44.6076 | 44.8939 | -3.2835 | -17.8979 | 14.3929 | 4.2227 | 25.6583 | -6.5326 | -14.8146 | -25.9738 | -35.937 | 15.8803 | 34.7789 | 44.8554 | 105.9547 | 7.0123 | -153.0209 | -74.0453 | -172.9877 | 26.9791 |  | 0.97779 | 0.70713 | 0.8623 | 1.0589 | 0.96888 | 1.0097 | 3.4578 | -117.5575 | 138.8054 | 1.0638 | -119.406 | 125.2653
Line_1 | 0.67198 | 1.9316 | 1.944 | 0.67198 | 1.9316 | 1.944 | 7.7594 | 22.3038 | 22.4469 | 7.7594 | 22.3038 | 22.4469 | 2.3462 | 14.7692 | -1.3012 | -2.1114 | -12.8291 | 3.2663 | 8.2066 | 19.5907 | 24.6573 | -7.9401 | -17.3894 | -22.4277 | -74.0453 | -172.9877 | 26.9791 | 105.9547 | 7.0123 | -153.0209 |  | 1.1 | 1.1 | 1.1 | 1.0589 | 0.96888 | 1.0097 | -3.3329e-10 | -120 | 120 | 1.0638 | -119.406 | 125.2653
Line_2 | 0.67198 | 1.9316 | 1.944 | 0.67198 | 1.9316 | 1.944 | 7.7594 | 22.3038 | 22.4469 | 7.7594 | 22.3038 | 22.4469 | 2.3462 | 14.7692 | -1.3012 | -2.1114 | -12.8291 | 3.2663 | 8.2066 | 19.5907 | 24.6573 | -7.9401 | -17.3894 | -22.4277 | -74.0453 | -172.9877 | 26.9791 | 105.9547 | 7.0123 | -153.0209 |  | 1.1 | 1.1 | 1.1 | 1.0589 | 0.96888 | 1.0097 | -3.3329e-10 | -120 | 120 | 1.0638 | -119.406 | 125.2653

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90967 | 2.525 | 2.5486 | 0.90967 | 2.525 | 2.5486 | 10.5039 | 29.1561 | 29.4287 | 10.5039 | 29.1561 | 29.4287 | -5.0773 | -19.8904 | -1.375 | 5.5076 | 23.2057 | 4.7525 | -9.3052 | -14.6162 | -25.9759 | 9.7934 | 18.3778 | 29.8081 | 119.6891 | 20.8269 | -138.5226 | -60.3109 | -159.1731 | 41.4774 |  | 1.0092 | 0.84659 | 0.88391 | 1.0697 | 1.0153 | 1.0257 | 1.0702 | -122.8632 | 128.4474 | 0.33655 | -120.7955 | 122.4185
Line_1 | 0.45483 | 1.2625 | 1.2743 | 0.45483 | 1.2625 | 1.2743 | 5.252 | 14.5781 | 14.7144 | 5.252 | 14.5781 | 14.7144 | 2.8614 | 12.4317 | 3.2207 | -2.7538 | -11.6028 | -2.3763 | 5.0188 | 10.1293 | 15.8621 | -4.8967 | -9.1889 | -14.9041 | -60.3109 | -159.1731 | 41.4774 | 119.6891 | 20.8269 | -138.5226 |  | 1.1 | 1.1 | 1.1 | 1.0697 | 1.0153 | 1.0257 | -4.0648e-10 | -120 | 120 | 0.33655 | -120.7955 | 122.4185
Line_2 | 0.45483 | 1.2625 | 1.2743 | 0.45483 | 1.2625 | 1.2743 | 5.252 | 14.5781 | 14.7144 | 5.252 | 14.5781 | 14.7144 | 2.8614 | 12.4317 | 3.2207 | -2.7538 | -11.6028 | -2.3763 | 5.0188 | 10.1293 | 15.8621 | -4.8967 | -9.1889 | -14.9041 | -60.3109 | -159.1731 | 41.4774 | 119.6891 | 20.8269 | -138.5226 |  | 1.1 | 1.1 | 1.1 | 1.0697 | 1.0153 | 1.0257 | -4.0648e-10 | -120 | 120 | 0.33655 | -120.7955 | 122.4185

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90967 | 2.525 | 2.5486 | 0.90967 | 2.525 | 2.5486 | 10.5039 | 29.1561 | 29.4287 | 10.5039 | 29.1561 | 29.4287 | -5.0773 | -19.8904 | -1.375 | 5.5076 | 23.2057 | 4.7525 | -9.3052 | -14.6162 | -25.9759 | 9.7934 | 18.3778 | 29.8081 | 119.6891 | 20.8269 | -138.5226 | -60.3109 | -159.1731 | 41.4774 |  | 1.0092 | 0.84659 | 0.88391 | 1.0697 | 1.0153 | 1.0257 | 1.0702 | -122.8632 | 128.4474 | 0.33655 | -120.7955 | 122.4185
Line_1 | 0.45483 | 1.2625 | 1.2743 | 0.45483 | 1.2625 | 1.2743 | 5.252 | 14.5781 | 14.7144 | 5.252 | 14.5781 | 14.7144 | 2.8614 | 12.4317 | 3.2207 | -2.7538 | -11.6028 | -2.3763 | 5.0188 | 10.1293 | 15.8621 | -4.8967 | -9.1889 | -14.9041 | -60.3109 | -159.1731 | 41.4774 | 119.6891 | 20.8269 | -138.5226 |  | 1.1 | 1.1 | 1.1 | 1.0697 | 1.0153 | 1.0257 | -4.0648e-10 | -120 | 120 | 0.33655 | -120.7955 | 122.4185
Line_2 | 0.45483 | 1.2625 | 1.2743 | 0.45483 | 1.2625 | 1.2743 | 5.252 | 14.5781 | 14.7144 | 5.252 | 14.5781 | 14.7144 | 2.8614 | 12.4317 | 3.2207 | -2.7538 | -11.6028 | -2.3763 | 5.0188 | 10.1293 | 15.8621 | -4.8967 | -9.1889 | -14.9041 | -60.3109 | -159.1731 | 41.4774 | 119.6891 | 20.8269 | -138.5226 |  | 1.1 | 1.1 | 1.1 | 1.0697 | 1.0153 | 1.0257 | -4.0648e-10 | -120 | 120 | 0.33655 | -120.7955 | 122.4185

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1017 | 3.1426 | 3.1841 | 1.1017 | 3.1426 | 3.1841 | 12.7217 | 36.2875 | 36.7668 | 12.7217 | 36.2875 | 36.7668 | -3.9474 | -12.6181 | 9.3713 | 5.1593 | 22.4782 | 0.75098 | -10.2662 | -15.0417 | -27.3319 | 10.9823 | 20.8684 | 33.3136 | 116.9477 | 19.0522 | -140.9045 | -63.0523 | -160.9478 | 39.0955 |  | 0.86458 | 0.54105 | 0.78587 | 0.95379 | 0.84524 | 0.90631 | 5.9158 | -110.9403 | 148.0207 | 1.7846 | -118.0746 | 127.8041
Line_1 | 0.55087 | 1.5713 | 1.592 | 0.55087 | 1.5713 | 1.592 | 6.3609 | 18.1438 | 18.3834 | 6.3609 | 18.1438 | 18.3834 | 2.8826 | 13.7041 | 2.9061 | -2.5796 | -11.2391 | -0.37549 | 5.6702 | 11.8909 | 18.1522 | -5.4912 | -10.4342 | -16.6568 | -63.0523 | -160.9478 | 39.0955 | 116.9477 | 19.0522 | -140.9045 |  | 1 | 1 | 1 | 0.95379 | 0.84524 | 0.90631 | -4.9548e-10 | -120 | 120 | 1.7846 | -118.0746 | 127.8041
Line_2 | 0.55087 | 1.5713 | 1.592 | 0.55087 | 1.5713 | 1.592 | 6.3609 | 18.1438 | 18.3834 | 6.3609 | 18.1438 | 18.3834 | 2.8826 | 13.7041 | 2.9061 | -2.5796 | -11.2391 | -0.37549 | 5.6702 | 11.8909 | 18.1522 | -5.4912 | -10.4342 | -16.6568 | -63.0523 | -160.9478 | 39.0955 | 116.9477 | 19.0522 | -140.9045 |  | 1 | 1 | 1 | 0.95379 | 0.84524 | 0.90631 | -4.9548e-10 | -120 | 120 | 1.7846 | -118.0746 | 127.8041

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1017 | 3.1426 | 3.1841 | 1.1017 | 3.1426 | 3.1841 | 12.7217 | 36.2875 | 36.7668 | 12.7217 | 36.2875 | 36.7668 | -3.9474 | -12.6181 | 9.3713 | 5.1593 | 22.4782 | 0.75098 | -10.2662 | -15.0417 | -27.3319 | 10.9823 | 20.8684 | 33.3136 | 116.9477 | 19.0522 | -140.9045 | -63.0523 | -160.9478 | 39.0955 |  | 0.86458 | 0.54105 | 0.78587 | 0.95379 | 0.84524 | 0.90631 | 5.9158 | -110.9403 | 148.0207 | 1.7846 | -118.0746 | 127.8041
Line_1 | 0.55087 | 1.5713 | 1.592 | 0.55087 | 1.5713 | 1.592 | 6.3609 | 18.1438 | 18.3834 | 6.3609 | 18.1438 | 18.3834 | 2.8826 | 13.7041 | 2.9061 | -2.5796 | -11.2391 | -0.37549 | 5.6702 | 11.8909 | 18.1522 | -5.4912 | -10.4342 | -16.6568 | -63.0523 | -160.9478 | 39.0955 | 116.9477 | 19.0522 | -140.9045 |  | 1 | 1 | 1 | 0.95379 | 0.84524 | 0.90631 | -4.9548e-10 | -120 | 120 | 1.7846 | -118.0746 | 127.8041
Line_2 | 0.55087 | 1.5713 | 1.592 | 0.55087 | 1.5713 | 1.592 | 6.3609 | 18.1438 | 18.3834 | 6.3609 | 18.1438 | 18.3834 | 2.8826 | 13.7041 | 2.9061 | -2.5796 | -11.2391 | -0.37549 | 5.6702 | 11.8909 | 18.1522 | -5.4912 | -10.4342 | -16.6568 | -63.0523 | -160.9478 | 39.0955 | 116.9477 | 19.0522 | -140.9045 |  | 1 | 1 | 1 | 0.95379 | 0.84524 | 0.90631 | -4.9548e-10 | -120 | 120 | 1.7846 | -118.0746 | 127.8041

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77659 | 2.1448 | 2.1743 | 0.77659 | 2.1448 | 2.1743 | 8.9673 | 24.7665 | 25.1065 | 8.9673 | 24.7665 | 25.1065 | -4.7855 | -14.8054 | -2.2693 | 5.3876 | 19.3984 | 6.9893 | -6.3981 | -7.8749 | -19.1169 | 6.754 | 10.5891 | 21.9062 | 129.3743 | 31.1609 | -128.1372 | -50.6257 | -148.8391 | 51.8628 |  | 0.891 | 0.6771 | 0.76678 | 0.96346 | 0.89235 | 0.91586 | 2.5795 | -120.831 | 135.093 | 0.79493 | -120.2102 | 124.1672
Line_1 | 0.38829 | 1.0724 | 1.0871 | 0.38829 | 1.0724 | 1.0871 | 4.4836 | 12.3833 | 12.5533 | 4.4836 | 12.3833 | 12.5533 | 2.8443 | 10.8475 | 4.6746 | -2.6938 | -9.6992 | -3.4947 | 3.4659 | 5.9731 | 11.6504 | -3.377 | -5.2945 | -10.9531 | -50.6257 | -148.8391 | 51.8628 | 129.3743 | 31.1609 | -128.1372 |  | 1 | 1 | 1 | 0.96346 | 0.89235 | 0.91586 | -4.8891e-10 | -120 | 120 | 0.79493 | -120.2102 | 124.1672
Line_2 | 0.38829 | 1.0724 | 1.0871 | 0.38829 | 1.0724 | 1.0871 | 4.4836 | 12.3833 | 12.5533 | 4.4836 | 12.3833 | 12.5533 | 2.8443 | 10.8475 | 4.6746 | -2.6938 | -9.6992 | -3.4947 | 3.4659 | 5.9731 | 11.6504 | -3.377 | -5.2945 | -10.9531 | -50.6257 | -148.8391 | 51.8628 | 129.3743 | 31.1609 | -128.1372 |  | 1 | 1 | 1 | 0.96346 | 0.89235 | 0.91586 | -4.8891e-10 | -120 | 120 | 0.79493 | -120.2102 | 124.1672

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77659 | 2.1448 | 2.1743 | 0.77659 | 2.1448 | 2.1743 | 8.9673 | 24.7665 | 25.1065 | 8.9673 | 24.7665 | 25.1065 | -4.7855 | -14.8054 | -2.2693 | 5.3876 | 19.3984 | 6.9893 | -6.3981 | -7.8749 | -19.1169 | 6.754 | 10.5891 | 21.9062 | 129.3743 | 31.1609 | -128.1372 | -50.6257 | -148.8391 | 51.8628 |  | 0.891 | 0.6771 | 0.76678 | 0.96346 | 0.89235 | 0.91586 | 2.5795 | -120.831 | 135.093 | 0.79493 | -120.2102 | 124.1672
Line_1 | 0.38829 | 1.0724 | 1.0871 | 0.38829 | 1.0724 | 1.0871 | 4.4836 | 12.3833 | 12.5533 | 4.4836 | 12.3833 | 12.5533 | 2.8443 | 10.8475 | 4.6746 | -2.6938 | -9.6992 | -3.4947 | 3.4659 | 5.9731 | 11.6504 | -3.377 | -5.2945 | -10.9531 | -50.6257 | -148.8391 | 51.8628 | 129.3743 | 31.1609 | -128.1372 |  | 1 | 1 | 1 | 0.96346 | 0.89235 | 0.91586 | -4.8891e-10 | -120 | 120 | 0.79493 | -120.2102 | 124.1672
Line_2 | 0.38829 | 1.0724 | 1.0871 | 0.38829 | 1.0724 | 1.0871 | 4.4836 | 12.3833 | 12.5533 | 4.4836 | 12.3833 | 12.5533 | 2.8443 | 10.8475 | 4.6746 | -2.6938 | -9.6992 | -3.4947 | 3.4659 | 5.9731 | 11.6504 | -3.377 | -5.2945 | -10.9531 | -50.6257 | -148.8391 | 51.8628 | 129.3743 | 31.1609 | -128.1372 |  | 1 | 1 | 1 | 0.96346 | 0.89235 | 0.91586 | -4.8891e-10 | -120 | 120 | 0.79493 | -120.2102 | 124.1672