## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.4073 | 4.4073 | 0 | 0 | 152.6738 | 152.6738 | -3.7266 | 34.0286 | -109.0071 | 143.3883 | 107.028 | -72.972 | 0.7144 | 0.96527 | 15.07 | 3.6776
Line_1 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_2 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.4073 | 4.4073 | 0 | 0 | 152.6738 | 152.6738 | -3.7266 | 34.0286 | -109.0071 | 143.3883 | 107.028 | -72.972 | 0.7144 | 0.96527 | 15.07 | 3.6776
Line_1 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_2 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.4073 | 4.4073 | 0 | 0 | 152.6738 | 152.6738 | -3.7266 | 34.0286 | -109.0071 | 143.3883 | 107.028 | -72.972 | 0.7144 | 0.96527 | 15.07 | 3.6776
Line_1 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_2 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.4073 | 4.4073 | 0 | 0 | 152.6738 | 152.6738 | -3.7266 | 34.0286 | -109.0071 | 143.3883 | 107.028 | -72.972 | 0.7144 | 0.96527 | 15.07 | 3.6776
Line_1 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_2 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.597 | 3.597 | 0 | 0 | 124.6031 | 124.6031 | -2.5463 | 41.299 | -74.481 | 97.3818 | 119.1403 | -60.8597 | 0.5981 | 0.84891 | 27.1823 | 6.1588
Line_1 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_2 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.597 | 3.597 | 0 | 0 | 124.6031 | 124.6031 | -2.5463 | 41.299 | -74.481 | 97.3818 | 119.1403 | -60.8597 | 0.5981 | 0.84891 | 27.1823 | 6.1588
Line_1 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_2 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.597 | 3.597 | 0 | 0 | 124.6031 | 124.6031 | -2.5463 | 41.299 | -74.481 | 97.3818 | 119.1403 | -60.8597 | 0.5981 | 0.84891 | 27.1823 | 6.1588
Line_1 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_2 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.597 | 3.597 | 0 | 0 | 124.6031 | 124.6031 | -2.5463 | 41.299 | -74.481 | 97.3818 | 119.1403 | -60.8597 | 0.5981 | 0.84891 | 27.1823 | 6.1588
Line_1 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_2 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.8168 | 3.8168 | 0 | 3.8168 | 3.8168 | 0 | 44.0731 | 44.0731 | 0 | 44.0731 | 44.0731 | -3.8462e-10 | -24.1092 | 22.2459 | 3.8461e-10 | 31.6847 | -14.6704 | -1.3827e-09 | -20.1533 | -34.3503 | 1.3827e-09 | 28.7486 | 42.9456 | 0 | 17.028 | -162.972 | 0 | -162.972 | 17.028 | 1.1 | 0.71298 | 0.92856 | 1.1 | 0.97073 | 1.0297 | 2.6212e-10 | -123.0792 | 139.9559 | 8.7372e-11 | -120.7535 | 125.8884
Line_1 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7372e-11 | -120.7535 | 125.8884
Line_2 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7372e-11 | -120.7535 | 125.8884

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.8168 | 3.8168 | 0 | 3.8168 | 3.8168 | 0 | 44.0731 | 44.0731 | 0 | 44.0731 | 44.0731 | -3.8462e-10 | -24.1092 | 22.2459 | 3.8461e-10 | 31.6847 | -14.6704 | -1.3827e-09 | -20.1533 | -34.3503 | 1.3827e-09 | 28.7486 | 42.9456 | 0 | 17.028 | -162.972 | 0 | -162.972 | 17.028 | 1.1 | 0.71298 | 0.92856 | 1.1 | 0.97073 | 1.0297 | 2.6212e-10 | -123.0792 | 139.9559 | 8.7372e-11 | -120.7535 | 125.8884
Line_1 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7372e-11 | -120.7535 | 125.8884
Line_2 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7372e-11 | -120.7535 | 125.8884

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.8168 | 3.8168 | 0 | 3.8168 | 3.8168 | 0 | 44.0731 | 44.0731 | 0 | 44.0731 | 44.0731 | -3.8462e-10 | -24.1092 | 22.2459 | 3.8461e-10 | 31.6847 | -14.6704 | -1.3827e-09 | -20.1533 | -34.3503 | 1.3827e-09 | 28.7486 | 42.9456 | 0 | 17.028 | -162.972 | 0 | -162.972 | 17.028 | 1.1 | 0.71298 | 0.92856 | 1.1 | 0.97073 | 1.0297 | 2.6212e-10 | -123.0792 | 139.9559 | 8.7372e-11 | -120.7535 | 125.8884
Line_1 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7372e-11 | -120.7535 | 125.8884
Line_2 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7372e-11 | -120.7535 | 125.8884

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.8168 | 3.8168 | 0 | 3.8168 | 3.8168 | 0 | 44.0731 | 44.0731 | 0 | 44.0731 | 44.0731 | -3.8462e-10 | -24.1092 | 22.2459 | 3.8461e-10 | 31.6847 | -14.6704 | -1.3827e-09 | -20.1533 | -34.3503 | 1.3827e-09 | 28.7486 | 42.9456 | 0 | 17.028 | -162.972 | 0 | -162.972 | 17.028 | 1.1 | 0.71298 | 0.92856 | 1.1 | 0.97073 | 1.0297 | 2.6212e-10 | -123.0792 | 139.9559 | 8.7372e-11 | -120.7535 | 125.8884
Line_1 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7372e-11 | -120.7535 | 125.8884
Line_2 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7272e-20 | -120 | 120 | 8.7372e-11 | -120.7535 | 125.8884

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1151 | 3.1151 | 0 | 3.1151 | 3.1151 | 0 | 35.9698 | 35.9698 | 0 | 35.9698 | 35.9698 | -6.1309e-11 | -16.3451 | 15.072 | 6.131e-11 | 26.0333 | -5.3838 | -1.2497e-10 | -9.8625 | -27.378 | 1.2497e-10 | 15.5877 | 33.1032 | 0 | 29.1403 | -150.8597 | 0 | -150.8597 | 29.1403 | 1 | 0.53073 | 0.86885 | 1 | 0.84357 | 0.9324 | 5.7085e-11 | -119.7533 | 147.9737 | 1.9028e-11 | -119.9483 | 128.3778
Line_1 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2482e-11 | 9.2252 | 17.9829 | -6.2482e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2324e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778
Line_2 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2482e-11 | 9.2252 | 17.9829 | -6.2482e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2324e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1151 | 3.1151 | 0 | 3.1151 | 3.1151 | 0 | 35.9698 | 35.9698 | 0 | 35.9698 | 35.9698 | -6.1309e-11 | -16.3451 | 15.072 | 6.131e-11 | 26.0333 | -5.3838 | -1.2497e-10 | -9.8625 | -27.378 | 1.2497e-10 | 15.5877 | 33.1032 | 0 | 29.1403 | -150.8597 | 0 | -150.8597 | 29.1403 | 1 | 0.53073 | 0.86885 | 1 | 0.84357 | 0.9324 | 5.7085e-11 | -119.7533 | 147.9737 | 1.9028e-11 | -119.9483 | 128.3778
Line_1 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2482e-11 | 9.2252 | 17.9829 | -6.2482e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2324e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778
Line_2 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2482e-11 | 9.2252 | 17.9829 | -6.2482e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2324e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1151 | 3.1151 | 0 | 3.1151 | 3.1151 | 0 | 35.9698 | 35.9698 | 0 | 35.9698 | 35.9698 | -6.1309e-11 | -16.3451 | 15.072 | 6.131e-11 | 26.0333 | -5.3838 | -1.2497e-10 | -9.8625 | -27.378 | 1.2497e-10 | 15.5877 | 33.1032 | 0 | 29.1403 | -150.8597 | 0 | -150.8597 | 29.1403 | 1 | 0.53073 | 0.86885 | 1 | 0.84357 | 0.9324 | 5.7085e-11 | -119.7533 | 147.9737 | 1.9028e-11 | -119.9483 | 128.3778
Line_1 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2482e-11 | 9.2252 | 17.9829 | -6.2482e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2324e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778
Line_2 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2482e-11 | 9.2252 | 17.9829 | -6.2482e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2324e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1151 | 3.1151 | 0 | 3.1151 | 3.1151 | 0 | 35.9698 | 35.9698 | 0 | 35.9698 | 35.9698 | -6.1309e-11 | -16.3451 | 15.072 | 6.131e-11 | 26.0333 | -5.3838 | -1.2497e-10 | -9.8625 | -27.378 | 1.2497e-10 | 15.5877 | 33.1032 | 0 | 29.1403 | -150.8597 | 0 | -150.8597 | 29.1403 | 1 | 0.53073 | 0.86885 | 1 | 0.84357 | 0.9324 | 5.7085e-11 | -119.7533 | 147.9737 | 1.9028e-11 | -119.9483 | 128.3778
Line_1 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2482e-11 | 9.2252 | 17.9829 | -6.2482e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2324e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778
Line_2 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0657e-11 | -13.0167 | 2.6919 | 6.2482e-11 | 9.2252 | 17.9829 | -6.2482e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2324e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7984 | 1.3992 | 1.3992 | 2.7984 | 1.3992 | 1.3992 | 32.3135 | 16.1567 | 16.1567 | 32.3135 | 16.1567 | 16.1567 | -3.9768 | 13.7646 | -15.753 | 8.049 | -12.7466 | 16.7711 | -27.1535 | -11.1554 | -2.4214 | 31.7739 | 12.3105 | 3.5765 | 106.483 | -73.517 | -73.517 | -73.517 | 106.483 | 106.483 |  | 0.84928 | 1.0966 | 0.98646 | 1.0144 | 1.0968 | 1.0614 | 8.1509 | -112.5396 | 115.2214 | 2.2677 | -117.5199 | 118.5211
Line_1 | 1.3992 | 0.69961 | 0.69961 | 1.3992 | 0.69961 | 0.69961 | 16.1567 | 8.0784 | 8.0784 | 16.1567 | 8.0784 | 8.0784 | 5.0426 | -6.1188 | 8.6401 | -4.0245 | 6.3733 | -8.3855 | 17.042 | 6.444 | 2.077 | -15.8869 | -6.1552 | -1.7882 | -73.517 | 106.483 | 106.483 | 106.483 | -73.517 | -73.517 |  | 1.1 | 1.1 | 1.1 | 1.0144 | 1.0968 | 1.0614 | -7.1633e-10 | -120 | 120 | 2.2677 | -117.5199 | 118.5211
Line_2 | 1.3992 | 0.69961 | 0.69961 | 1.3992 | 0.69961 | 0.69961 | 16.1567 | 8.0784 | 8.0784 | 16.1567 | 8.0784 | 8.0784 | 5.0426 | -6.1188 | 8.6401 | -4.0245 | 6.3733 | -8.3855 | 17.042 | 6.444 | 2.077 | -15.8869 | -6.1552 | -1.7882 | -73.517 | 106.483 | 106.483 | 106.483 | -73.517 | -73.517 |  | 1.1 | 1.1 | 1.1 | 1.0144 | 1.0968 | 1.0614 | -7.1633e-10 | -120 | 120 | 2.2677 | -117.5199 | 118.5211

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7984 | 1.3992 | 1.3992 | 2.7984 | 1.3992 | 1.3992 | 32.3135 | 16.1567 | 16.1567 | 32.3135 | 16.1567 | 16.1567 | -3.9768 | 13.7646 | -15.753 | 8.049 | -12.7466 | 16.7711 | -27.1535 | -11.1554 | -2.4214 | 31.7739 | 12.3105 | 3.5765 | 106.483 | -73.517 | -73.517 | -73.517 | 106.483 | 106.483 |  | 0.84928 | 1.0966 | 0.98646 | 1.0144 | 1.0968 | 1.0614 | 8.1509 | -112.5396 | 115.2214 | 2.2677 | -117.5199 | 118.5211
Line_1 | 1.3992 | 0.69961 | 0.69961 | 1.3992 | 0.69961 | 0.69961 | 16.1567 | 8.0784 | 8.0784 | 16.1567 | 8.0784 | 8.0784 | 5.0426 | -6.1188 | 8.6401 | -4.0245 | 6.3733 | -8.3855 | 17.042 | 6.444 | 2.077 | -15.8869 | -6.1552 | -1.7882 | -73.517 | 106.483 | 106.483 | 106.483 | -73.517 | -73.517 |  | 1.1 | 1.1 | 1.1 | 1.0144 | 1.0968 | 1.0614 | -7.1633e-10 | -120 | 120 | 2.2677 | -117.5199 | 118.5211
Line_2 | 1.3992 | 0.69961 | 0.69961 | 1.3992 | 0.69961 | 0.69961 | 16.1567 | 8.0784 | 8.0784 | 16.1567 | 8.0784 | 8.0784 | 5.0426 | -6.1188 | 8.6401 | -4.0245 | 6.3733 | -8.3855 | 17.042 | 6.444 | 2.077 | -15.8869 | -6.1552 | -1.7882 | -73.517 | 106.483 | 106.483 | 106.483 | -73.517 | -73.517 |  | 1.1 | 1.1 | 1.1 | 1.0144 | 1.0968 | 1.0614 | -7.1633e-10 | -120 | 120 | 2.2677 | -117.5199 | 118.5211

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.865 | 0.9325 | 0.9325 | 1.865 | 0.9325 | 0.9325 | 21.5352 | 10.7676 | 10.7676 | 21.5352 | 10.7676 | 10.7676 | -9.2758 | 6.5279 | -11.1658 | 11.0844 | -6.0757 | 11.618 | -17.3527 | -9.5295 | 0.85311 | 19.4049 | 10.0425 | -0.34008 | 120.4042 | -59.5958 | -59.5958 | -59.5958 | 120.4042 | 120.4042 |  | 0.91368 | 1.0728 | 1.04 | 1.0377 | 1.0901 | 1.0794 | 2.2778 | -115.1837 | 116.035 | 0.66835 | -118.4217 | 118.7275
Line_1 | 0.9325 | 0.46625 | 0.46625 | 0.9325 | 0.46625 | 0.46625 | 10.7676 | 5.3838 | 5.3838 | 10.7676 | 5.3838 | 5.3838 | 5.9944 | -2.9248 | 5.922 | -5.5422 | 3.0379 | -5.809 | 10.2155 | 5.1495 | -0.041778 | -9.7024 | -5.0213 | 0.17004 | -59.5958 | 120.4042 | 120.4042 | 120.4042 | -59.5958 | -59.5958 |  | 1.1 | 1.1 | 1.1 | 1.0377 | 1.0901 | 1.0794 | -8.5154e-10 | -120 | 120 | 0.66835 | -118.4217 | 118.7275
Line_2 | 0.9325 | 0.46625 | 0.46625 | 0.9325 | 0.46625 | 0.46625 | 10.7676 | 5.3838 | 5.3838 | 10.7676 | 5.3838 | 5.3838 | 5.9944 | -2.9248 | 5.922 | -5.5422 | 3.0379 | -5.809 | 10.2155 | 5.1495 | -0.041778 | -9.7024 | -5.0213 | 0.17004 | -59.5958 | 120.4042 | 120.4042 | 120.4042 | -59.5958 | -59.5958 |  | 1.1 | 1.1 | 1.1 | 1.0377 | 1.0901 | 1.0794 | -8.5154e-10 | -120 | 120 | 0.66835 | -118.4217 | 118.7275

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.865 | 0.9325 | 0.9325 | 1.865 | 0.9325 | 0.9325 | 21.5352 | 10.7676 | 10.7676 | 21.5352 | 10.7676 | 10.7676 | -9.2758 | 6.5279 | -11.1658 | 11.0844 | -6.0757 | 11.618 | -17.3527 | -9.5295 | 0.85311 | 19.4049 | 10.0425 | -0.34008 | 120.4042 | -59.5958 | -59.5958 | -59.5958 | 120.4042 | 120.4042 |  | 0.91368 | 1.0728 | 1.04 | 1.0377 | 1.0901 | 1.0794 | 2.2778 | -115.1837 | 116.035 | 0.66835 | -118.4217 | 118.7275
Line_1 | 0.9325 | 0.46625 | 0.46625 | 0.9325 | 0.46625 | 0.46625 | 10.7676 | 5.3838 | 5.3838 | 10.7676 | 5.3838 | 5.3838 | 5.9944 | -2.9248 | 5.922 | -5.5422 | 3.0379 | -5.809 | 10.2155 | 5.1495 | -0.041778 | -9.7024 | -5.0213 | 0.17004 | -59.5958 | 120.4042 | 120.4042 | 120.4042 | -59.5958 | -59.5958 |  | 1.1 | 1.1 | 1.1 | 1.0377 | 1.0901 | 1.0794 | -8.5154e-10 | -120 | 120 | 0.66835 | -118.4217 | 118.7275
Line_2 | 0.9325 | 0.46625 | 0.46625 | 0.9325 | 0.46625 | 0.46625 | 10.7676 | 5.3838 | 5.3838 | 10.7676 | 5.3838 | 5.3838 | 5.9944 | -2.9248 | 5.922 | -5.5422 | 3.0379 | -5.809 | 10.2155 | 5.1495 | -0.041778 | -9.7024 | -5.0213 | 0.17004 | -59.5958 | 120.4042 | 120.4042 | 120.4042 | -59.5958 | -59.5958 |  | 1.1 | 1.1 | 1.1 | 1.0377 | 1.0901 | 1.0794 | -8.5154e-10 | -120 | 120 | 0.66835 | -118.4217 | 118.7275

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2885 | 1.1443 | 1.1443 | 2.2885 | 1.1443 | 1.1443 | 26.4254 | 13.2127 | 13.2127 | 26.4254 | 13.2127 | 13.2127 | -4.5673 | 8.9603 | -11.2439 | 9.7962 | -7.653 | 12.5511 | -18.6948 | -10.0476 | 0.70025 | 21.7848 | 10.8201 | 0.072246 | 118.0114 | -61.9886 | -61.9886 | -61.9886 | 118.0114 | 118.0114 |  | 0.72826 | 1.0189 | 0.85264 | 0.9039 | 1.0031 | 0.94995 | 14.2825 | -110.2628 | 114.4477 | 3.7989 | -116.717 | 118.3412
Line_1 | 1.1443 | 0.57213 | 0.57213 | 1.1443 | 0.57213 | 0.57213 | 13.2127 | 6.6063 | 6.6063 | 13.2127 | 6.6063 | 6.6063 | 6.2053 | -3.4997 | 6.6024 | -4.8981 | 3.8265 | -6.2756 | 11.6649 | 5.6032 | 0.22925 | -10.8924 | -5.4101 | -0.036123 | -61.9886 | 118.0114 | 118.0114 | 118.0114 | -61.9886 | -61.9886 |  | 1 | 1 | 1 | 0.9039 | 1.0031 | 0.94995 | -1.0666e-09 | -120 | 120 | 3.7989 | -116.717 | 118.3412
Line_2 | 1.1443 | 0.57213 | 0.57213 | 1.1443 | 0.57213 | 0.57213 | 13.2127 | 6.6063 | 6.6063 | 13.2127 | 6.6063 | 6.6063 | 6.2053 | -3.4997 | 6.6024 | -4.8981 | 3.8265 | -6.2756 | 11.6649 | 5.6032 | 0.22925 | -10.8924 | -5.4101 | -0.036123 | -61.9886 | 118.0114 | 118.0114 | 118.0114 | -61.9886 | -61.9886 |  | 1 | 1 | 1 | 0.9039 | 1.0031 | 0.94995 | -1.0666e-09 | -120 | 120 | 3.7989 | -116.717 | 118.3412

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2885 | 1.1443 | 1.1443 | 2.2885 | 1.1443 | 1.1443 | 26.4254 | 13.2127 | 13.2127 | 26.4254 | 13.2127 | 13.2127 | -4.5673 | 8.9603 | -11.2439 | 9.7962 | -7.653 | 12.5511 | -18.6948 | -10.0476 | 0.70025 | 21.7848 | 10.8201 | 0.072246 | 118.0114 | -61.9886 | -61.9886 | -61.9886 | 118.0114 | 118.0114 |  | 0.72826 | 1.0189 | 0.85264 | 0.9039 | 1.0031 | 0.94995 | 14.2825 | -110.2628 | 114.4477 | 3.7989 | -116.717 | 118.3412
Line_1 | 1.1443 | 0.57213 | 0.57213 | 1.1443 | 0.57213 | 0.57213 | 13.2127 | 6.6063 | 6.6063 | 13.2127 | 6.6063 | 6.6063 | 6.2053 | -3.4997 | 6.6024 | -4.8981 | 3.8265 | -6.2756 | 11.6649 | 5.6032 | 0.22925 | -10.8924 | -5.4101 | -0.036123 | -61.9886 | 118.0114 | 118.0114 | 118.0114 | -61.9886 | -61.9886 |  | 1 | 1 | 1 | 0.9039 | 1.0031 | 0.94995 | -1.0666e-09 | -120 | 120 | 3.7989 | -116.717 | 118.3412
Line_2 | 1.1443 | 0.57213 | 0.57213 | 1.1443 | 0.57213 | 0.57213 | 13.2127 | 6.6063 | 6.6063 | 13.2127 | 6.6063 | 6.6063 | 6.2053 | -3.4997 | 6.6024 | -4.8981 | 3.8265 | -6.2756 | 11.6649 | 5.6032 | 0.22925 | -10.8924 | -5.4101 | -0.036123 | -61.9886 | 118.0114 | 118.0114 | 118.0114 | -61.9886 | -61.9886 |  | 1 | 1 | 1 | 0.9039 | 1.0031 | 0.94995 | -1.0666e-09 | -120 | 120 | 3.7989 | -116.717 | 118.3412

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5894 | 0.79472 | 0.79472 | 1.5894 | 0.79472 | 0.79472 | 18.3533 | 9.1767 | 9.1767 | 18.3533 | 9.1767 | 9.1767 | -8.1185 | 4.02 | -8.0792 | 10.6408 | -3.3894 | 8.7098 | -11.7352 | -8.0875 | 2.2199 | 13.2257 | 8.4601 | -1.8472 | 130.4277 | -49.5723 | -49.5723 | -49.5723 | 130.4277 | 130.4277 |  | 0.7775 | 0.98418 | 0.91304 | 0.92489 | 0.99315 | 0.97024 | 5.752 | -113.1419 | 115.0641 | 1.6093 | -117.7394 | 118.4534
Line_1 | 0.79472 | 0.39736 | 0.39736 | 0.79472 | 0.39736 | 0.39736 | 9.1767 | 4.5883 | 4.5883 | 9.1767 | 4.5883 | 4.5883 | 5.951 | -1.5371 | 4.5126 | -5.3204 | 1.6947 | -4.3549 | 6.9855 | 4.3232 | -0.83047 | -6.6129 | -4.2301 | 0.92362 | -49.5723 | 130.4277 | 130.4277 | 130.4277 | -49.5723 | -49.5723 |  | 1 | 1 | 1 | 0.92489 | 0.99315 | 0.97024 | -1.0229e-09 | -120 | 120 | 1.6093 | -117.7394 | 118.4534
Line_2 | 0.79472 | 0.39736 | 0.39736 | 0.79472 | 0.39736 | 0.39736 | 9.1767 | 4.5883 | 4.5883 | 9.1767 | 4.5883 | 4.5883 | 5.951 | -1.5371 | 4.5126 | -5.3204 | 1.6947 | -4.3549 | 6.9855 | 4.3232 | -0.83047 | -6.6129 | -4.2301 | 0.92362 | -49.5723 | 130.4277 | 130.4277 | 130.4277 | -49.5723 | -49.5723 |  | 1 | 1 | 1 | 0.92489 | 0.99315 | 0.97024 | -1.0229e-09 | -120 | 120 | 1.6093 | -117.7394 | 118.4534

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5894 | 0.79472 | 0.79472 | 1.5894 | 0.79472 | 0.79472 | 18.3533 | 9.1767 | 9.1767 | 18.3533 | 9.1767 | 9.1767 | -8.1185 | 4.02 | -8.0792 | 10.6408 | -3.3894 | 8.7098 | -11.7352 | -8.0875 | 2.2199 | 13.2257 | 8.4601 | -1.8472 | 130.4277 | -49.5723 | -49.5723 | -49.5723 | 130.4277 | 130.4277 |  | 0.7775 | 0.98418 | 0.91304 | 0.92489 | 0.99315 | 0.97024 | 5.752 | -113.1419 | 115.0641 | 1.6093 | -117.7394 | 118.4534
Line_1 | 0.79472 | 0.39736 | 0.39736 | 0.79472 | 0.39736 | 0.39736 | 9.1767 | 4.5883 | 4.5883 | 9.1767 | 4.5883 | 4.5883 | 5.951 | -1.5371 | 4.5126 | -5.3204 | 1.6947 | -4.3549 | 6.9855 | 4.3232 | -0.83047 | -6.6129 | -4.2301 | 0.92362 | -49.5723 | 130.4277 | 130.4277 | 130.4277 | -49.5723 | -49.5723 |  | 1 | 1 | 1 | 0.92489 | 0.99315 | 0.97024 | -1.0229e-09 | -120 | 120 | 1.6093 | -117.7394 | 118.4534
Line_2 | 0.79472 | 0.39736 | 0.39736 | 0.79472 | 0.39736 | 0.39736 | 9.1767 | 4.5883 | 4.5883 | 9.1767 | 4.5883 | 4.5883 | 5.951 | -1.5371 | 4.5126 | -5.3204 | 1.6947 | -4.3549 | 6.9855 | 4.3232 | -0.83047 | -6.6129 | -4.2301 | 0.92362 | -49.5723 | 130.4277 | 130.4277 | 130.4277 | -49.5723 | -49.5723 |  | 1 | 1 | 1 | 0.92489 | 0.99315 | 0.97024 | -1.0229e-09 | -120 | 120 | 1.6093 | -117.7394 | 118.4534

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3356 | 3.8629 | 3.8867 | 1.3356 | 3.8629 | 3.8867 | 15.4218 | 44.6044 | 44.8803 | 15.4218 | 44.6044 | 44.8803 | -3.281 | -17.9402 | 14.4364 | 4.2086 | 25.6994 | -6.5808 | -14.7292 | -25.9407 | -35.9275 | 15.7816 | 34.7445 | 44.8405 | 105.9875 | 7.0747 | -153.0806 | -74.0125 | -172.9253 | 26.9194 |  | 0.9785 | 0.7071 | 0.86273 | 1.0591 | 0.96888 | 1.0098 | 3.4295 | -117.5923 | 138.8107 | 1.0556 | -119.4144 | 125.2686
Line_1 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686
Line_2 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3356 | 3.8629 | 3.8867 | 1.3356 | 3.8629 | 3.8867 | 15.4218 | 44.6044 | 44.8803 | 15.4218 | 44.6044 | 44.8803 | -3.281 | -17.9402 | 14.4364 | 4.2086 | 25.6994 | -6.5808 | -14.7292 | -25.9407 | -35.9275 | 15.7816 | 34.7445 | 44.8405 | 105.9875 | 7.0747 | -153.0806 | -74.0125 | -172.9253 | 26.9194 |  | 0.9785 | 0.7071 | 0.86273 | 1.0591 | 0.96888 | 1.0098 | 3.4295 | -117.5923 | 138.8107 | 1.0556 | -119.4144 | 125.2686
Line_1 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686
Line_2 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3356 | 3.8629 | 3.8867 | 1.3356 | 3.8629 | 3.8867 | 15.4218 | 44.6044 | 44.8803 | 15.4218 | 44.6044 | 44.8803 | -3.281 | -17.9402 | 14.4364 | 4.2086 | 25.6994 | -6.5808 | -14.7292 | -25.9407 | -35.9275 | 15.7816 | 34.7445 | 44.8405 | 105.9875 | 7.0747 | -153.0806 | -74.0125 | -172.9253 | 26.9194 |  | 0.9785 | 0.7071 | 0.86273 | 1.0591 | 0.96888 | 1.0098 | 3.4295 | -117.5923 | 138.8107 | 1.0556 | -119.4144 | 125.2686
Line_1 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686
Line_2 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3356 | 3.8629 | 3.8867 | 1.3356 | 3.8629 | 3.8867 | 15.4218 | 44.6044 | 44.8803 | 15.4218 | 44.6044 | 44.8803 | -3.281 | -17.9402 | 14.4364 | 4.2086 | 25.6994 | -6.5808 | -14.7292 | -25.9407 | -35.9275 | 15.7816 | 34.7445 | 44.8405 | 105.9875 | 7.0747 | -153.0806 | -74.0125 | -172.9253 | 26.9194 |  | 0.9785 | 0.7071 | 0.86273 | 1.0591 | 0.96888 | 1.0098 | 3.4295 | -117.5923 | 138.8107 | 1.0556 | -119.4144 | 125.2686
Line_1 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686
Line_2 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0939 | 3.1424 | 3.183 | 1.0939 | 3.1424 | 3.183 | 12.6315 | 36.285 | 36.7537 | 12.6315 | 36.285 | 36.7537 | -3.9388 | -12.6478 | 9.4053 | 5.1336 | 22.5065 | 0.70975 | -10.1976 | -15.0071 | -27.3322 | 10.9036 | 20.833 | 33.3096 | 116.9814 | 19.1235 | -140.972 | -63.0186 | -160.8765 | 39.028 |  | 0.86544 | 0.54088 | 0.78646 | 0.95409 | 0.84521 | 0.9065 | 5.8624 | -111.0004 | 148.0168 | 1.7697 | -118.0878 | 127.8073
Line_1 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073
Line_2 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0939 | 3.1424 | 3.183 | 1.0939 | 3.1424 | 3.183 | 12.6315 | 36.285 | 36.7537 | 12.6315 | 36.285 | 36.7537 | -3.9388 | -12.6478 | 9.4053 | 5.1336 | 22.5065 | 0.70975 | -10.1976 | -15.0071 | -27.3322 | 10.9036 | 20.833 | 33.3096 | 116.9814 | 19.1235 | -140.972 | -63.0186 | -160.8765 | 39.028 |  | 0.86544 | 0.54088 | 0.78646 | 0.95409 | 0.84521 | 0.9065 | 5.8624 | -111.0004 | 148.0168 | 1.7697 | -118.0878 | 127.8073
Line_1 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073
Line_2 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0939 | 3.1424 | 3.183 | 1.0939 | 3.1424 | 3.183 | 12.6315 | 36.285 | 36.7537 | 12.6315 | 36.285 | 36.7537 | -3.9388 | -12.6478 | 9.4053 | 5.1336 | 22.5065 | 0.70975 | -10.1976 | -15.0071 | -27.3322 | 10.9036 | 20.833 | 33.3096 | 116.9814 | 19.1235 | -140.972 | -63.0186 | -160.8765 | 39.028 |  | 0.86544 | 0.54088 | 0.78646 | 0.95409 | 0.84521 | 0.9065 | 5.8624 | -111.0004 | 148.0168 | 1.7697 | -118.0878 | 127.8073
Line_1 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073
Line_2 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0939 | 3.1424 | 3.183 | 1.0939 | 3.1424 | 3.183 | 12.6315 | 36.285 | 36.7537 | 12.6315 | 36.285 | 36.7537 | -3.9388 | -12.6478 | 9.4053 | 5.1336 | 22.5065 | 0.70975 | -10.1976 | -15.0071 | -27.3322 | 10.9036 | 20.833 | 33.3096 | 116.9814 | 19.1235 | -140.972 | -63.0186 | -160.8765 | 39.028 |  | 0.86544 | 0.54088 | 0.78646 | 0.95409 | 0.84521 | 0.9065 | 5.8624 | -111.0004 | 148.0168 | 1.7697 | -118.0878 | 127.8073
Line_1 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073
Line_2 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073