## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.4073 | 4.4073 | 0 | 0 | 152.6738 | 152.6738 | -3.7266 | 34.0286 | -109.0071 | 143.3883 | 107.028 | -72.972 | 0.7144 | 0.96527 | 15.07 | 3.6776
Line_1 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_2 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -1.1644e-09 | -1.1644e-09

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.4073 | 4.4073 | 0 | 0 | 152.6738 | 152.6738 | -3.7266 | 34.0286 | -109.0071 | 143.3883 | 107.028 | -72.972 | 0.7144 | 0.96527 | 15.07 | 3.6776
Line_1 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_2 | 2.2037 | 2.2037 | 0 | 0 | 76.3369 | 76.3369 | 24.5898 | -17.0143 | 80.2895 | -71.6942 | -72.972 | 107.028 | 1.1 | 0.96527 | -1.1644e-09 | 3.6776
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -1.1644e-09 | -1.1644e-09

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.8818 | 2.8818 | 0 | 0 | 99.8287 | 99.8287 | -37.4533 | 50.4088 | -71.8789 | 86.5784 | 121.2007 | -58.7993 | 0.8119 | 1.0036 | 3.6785 | 0.99136
Line_1 | 1.4409 | 1.4409 | 0 | 0 | 49.9144 | 49.9144 | 28.4433 | -25.2044 | 46.9641 | -43.2892 | -58.7993 | 121.2007 | 1.1 | 1.0036 | -1.3468e-09 | 0.99136
Line_2 | 1.4409 | 1.4409 | 0 | 0 | 49.9144 | 49.9144 | 28.4433 | -25.2044 | 46.9641 | -43.2892 | -58.7993 | 121.2007 | 1.1 | 1.0036 | -1.3468e-09 | 0.99136
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -1.3468e-09 | -1.3468e-09

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.8818 | 2.8818 | 0 | 0 | 99.8287 | 99.8287 | -37.4533 | 50.4088 | -71.8789 | 86.5784 | 121.2007 | -58.7993 | 0.8119 | 1.0036 | 3.6785 | 0.99136
Line_1 | 1.4409 | 1.4409 | 0 | 0 | 49.9144 | 49.9144 | 28.4433 | -25.2044 | 46.9641 | -43.2892 | -58.7993 | 121.2007 | 1.1 | 1.0036 | -1.3468e-09 | 0.99136
Line_2 | 1.4409 | 1.4409 | 0 | 0 | 49.9144 | 49.9144 | 28.4433 | -25.2044 | 46.9641 | -43.2892 | -58.7993 | 121.2007 | 1.1 | 1.0036 | -1.3468e-09 | 0.99136
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -1.3468e-09 | -1.3468e-09

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.597 | 3.597 | 0 | 0 | 124.6031 | 124.6031 | -2.5463 | 41.299 | -74.481 | 97.3818 | 119.1403 | -60.8597 | 0.5981 | 0.84891 | 27.1823 | 6.1588
Line_1 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_2 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.7382e-09 | -1.7382e-09

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.597 | 3.597 | 0 | 0 | 124.6031 | 124.6031 | -2.5463 | 41.299 | -74.481 | 97.3818 | 119.1403 | -60.8597 | 0.5981 | 0.84891 | 27.1823 | 6.1588
Line_1 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_2 | 1.7985 | 1.7985 | 0 | 0 | 62.3016 | 62.3016 | 30.3377 | -20.6495 | 54.4161 | -48.6909 | -60.8597 | 119.1403 | 1 | 0.84891 | -1.7382e-09 | 6.1588
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.7382e-09 | -1.7382e-09

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.4531 | 2.4531 | 0 | 0 | 84.9769 | 84.9769 | -29.364 | 47.3878 | -47.5855 | 58.2365 | 131.5832 | -48.4168 | 0.65802 | 0.88354 | 9.9053 | 2.4475
Line_1 | 1.2265 | 1.2265 | 0 | 0 | 42.4884 | 42.4884 | 28.1999 | -23.6939 | 31.781 | -29.1183 | -48.4168 | 131.5832 | 1 | 0.88354 | -1.6157e-09 | 2.4475
Line_2 | 1.2265 | 1.2265 | 0 | 0 | 42.4884 | 42.4884 | 28.1999 | -23.6939 | 31.781 | -29.1183 | -48.4168 | 131.5832 | 1 | 0.88354 | -1.6157e-09 | 2.4475
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.6157e-09 | -1.6157e-09

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.4531 | 2.4531 | 0 | 0 | 84.9769 | 84.9769 | -29.364 | 47.3878 | -47.5855 | 58.2365 | 131.5832 | -48.4168 | 0.65802 | 0.88354 | 9.9053 | 2.4475
Line_1 | 1.2265 | 1.2265 | 0 | 0 | 42.4884 | 42.4884 | 28.1999 | -23.6939 | 31.781 | -29.1183 | -48.4168 | 131.5832 | 1 | 0.88354 | -1.6157e-09 | 2.4475
Line_2 | 1.2265 | 1.2265 | 0 | 0 | 42.4884 | 42.4884 | 28.1999 | -23.6939 | 31.781 | -29.1183 | -48.4168 | 131.5832 | 1 | 0.88354 | -1.6157e-09 | 2.4475
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.6157e-09 | -1.6157e-09

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.8168 | 3.8168 | 0 | 3.8168 | 3.8168 | 0 | 44.0731 | 44.0731 | 0 | 44.0731 | 44.0731 | -3.8462e-10 | -24.1092 | 22.2459 | 3.8462e-10 | 31.6847 | -14.6704 | -1.3827e-09 | -20.1533 | -34.3503 | 1.3827e-09 | 28.7486 | 42.9456 | 0 | 17.028 | -162.972 | 0 | -162.972 | 17.028 | 1.1 | 0.71298 | 0.92856 | 1.1 | 0.97073 | 1.0297 | 2.6213e-10 | -123.0792 | 139.9559 | 8.7376e-11 | -120.7535 | 125.8884
Line_1 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7273e-20 | -120 | 120 | 8.7376e-11 | -120.7535 | 125.8884
Line_2 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7273e-20 | -120 | 120 | 8.7376e-11 | -120.7535 | 125.8884
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8198e-24 | 3.7368e-25 | -1.2132e-24 | 1.5165e-24 | 2.5265e-24 | 1.0507e-24 | 1.2132e-24 | -5.6596e-25 | 2.1013e-24 | -1.2132e-24 | 1.3431e-24 | 6.066e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -2.7273e-20 | -120 | 120 | -2.7273e-20 | -120 | 120

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.8168 | 3.8168 | 0 | 3.8168 | 3.8168 | 0 | 44.0731 | 44.0731 | 0 | 44.0731 | 44.0731 | -3.8462e-10 | -24.1092 | 22.2459 | 3.8462e-10 | 31.6847 | -14.6704 | -1.3827e-09 | -20.1533 | -34.3503 | 1.3827e-09 | 28.7486 | 42.9456 | 0 | 17.028 | -162.972 | 0 | -162.972 | 17.028 | 1.1 | 0.71298 | 0.92856 | 1.1 | 0.97073 | 1.0297 | 2.6213e-10 | -123.0792 | 139.9559 | 8.7376e-11 | -120.7535 | 125.8884
Line_1 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7273e-20 | -120 | 120 | 8.7376e-11 | -120.7535 | 125.8884
Line_2 | 0 | 1.9084 | 1.9084 | 0 | 1.9084 | 1.9084 | 0 | 22.0366 | 22.0366 | 0 | 22.0366 | 22.0366 | 1.9231e-10 | 17.7362 | -5.4413 | -1.9231e-10 | -15.8424 | 7.3352 | 6.9133e-10 | 16.5231 | 23.6216 | -6.9133e-10 | -14.3743 | -21.4728 | 0 | -162.972 | 17.028 | 0 | 17.028 | -162.972 | 1.1 | 1.1 | 1.1 | 1.1 | 0.97073 | 1.0297 | -2.7273e-20 | -120 | 120 | 8.7376e-11 | -120.7535 | 125.8884
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8198e-24 | 3.7368e-25 | -1.2132e-24 | 1.5165e-24 | 2.5265e-24 | 1.0507e-24 | 1.2132e-24 | -5.6596e-25 | 2.1013e-24 | -1.2132e-24 | 1.3431e-24 | 6.066e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -2.7273e-20 | -120 | 120 | -2.7273e-20 | -120 | 120

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.0402 | 3.0402 | 0 | 3.0402 | 3.0402 | 0 | 35.1056 | 35.1056 | 0 | 35.1056 | 35.1056 | -3.4298e-10 | -24.655 | 10.169 | 3.4298e-10 | 29.4614 | -5.3626 | -1.233e-09 | -13.6342 | -30.3225 | 1.233e-09 | 19.0876 | 35.7759 | 0 | 25.6047 | -154.3953 | 0 | -154.3953 | 25.6047 | 1.1 | 0.80254 | 0.91103 | 1.1 | 0.99996 | 1.0305 | 2.3376e-10 | -125.4527 | 134.1442 | 7.792e-11 | -121.4567 | 124.1296
Line_1 | 0 | 1.5201 | 1.5201 | 0 | 1.5201 | 1.5201 | 0 | 17.5528 | 17.5528 | 0 | 17.5528 | 17.5528 | 1.7149e-10 | 15.9323 | -1.4797 | -1.7149e-10 | -14.7307 | 2.6813 | 6.1652e-10 | 10.9071 | 19.2513 | -6.1652e-10 | -9.5438 | -17.888 | 0 | -154.3953 | 25.6047 | 0 | 25.6047 | -154.3953 | 1.1 | 1.1 | 1.1 | 1.1 | 0.99996 | 1.0305 | -2.4327e-20 | -120 | 120 | 7.792e-11 | -121.4567 | 124.1296
Line_2 | 0 | 1.5201 | 1.5201 | 0 | 1.5201 | 1.5201 | 0 | 17.5528 | 17.5528 | 0 | 17.5528 | 17.5528 | 1.7149e-10 | 15.9323 | -1.4797 | -1.7149e-10 | -14.7307 | 2.6813 | 6.1652e-10 | 10.9071 | 19.2513 | -6.1652e-10 | -9.5438 | -17.888 | 0 | -154.3953 | 25.6047 | 0 | 25.6047 | -154.3953 | 1.1 | 1.1 | 1.1 | 1.1 | 0.99996 | 1.0305 | -2.4326e-20 | -120 | 120 | 7.792e-11 | -121.4567 | 124.1296
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7297e-24 | -2.0607e-24 | -2.1122e-24 | 1.9714e-24 | 3.3849e-24 | 2.1122e-24 | 3.033e-25 | 1.8902e-24 | 1.2321e-24 | -3.033e-25 | -2.0317e-25 | -1.2321e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -2.4327e-20 | -120 | 120 | -2.4326e-20 | -120 | 120

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.0402 | 3.0402 | 0 | 3.0402 | 3.0402 | 0 | 35.1056 | 35.1056 | 0 | 35.1056 | 35.1056 | -3.4298e-10 | -24.655 | 10.169 | 3.4298e-10 | 29.4614 | -5.3626 | -1.233e-09 | -13.6342 | -30.3225 | 1.233e-09 | 19.0876 | 35.7759 | 0 | 25.6047 | -154.3953 | 0 | -154.3953 | 25.6047 | 1.1 | 0.80254 | 0.91103 | 1.1 | 0.99996 | 1.0305 | 2.3376e-10 | -125.4527 | 134.1442 | 7.792e-11 | -121.4567 | 124.1296
Line_1 | 0 | 1.5201 | 1.5201 | 0 | 1.5201 | 1.5201 | 0 | 17.5528 | 17.5528 | 0 | 17.5528 | 17.5528 | 1.7149e-10 | 15.9323 | -1.4797 | -1.7149e-10 | -14.7307 | 2.6813 | 6.1652e-10 | 10.9071 | 19.2513 | -6.1652e-10 | -9.5438 | -17.888 | 0 | -154.3953 | 25.6047 | 0 | 25.6047 | -154.3953 | 1.1 | 1.1 | 1.1 | 1.1 | 0.99996 | 1.0305 | -2.4327e-20 | -120 | 120 | 7.792e-11 | -121.4567 | 124.1296
Line_2 | 0 | 1.5201 | 1.5201 | 0 | 1.5201 | 1.5201 | 0 | 17.5528 | 17.5528 | 0 | 17.5528 | 17.5528 | 1.7149e-10 | 15.9323 | -1.4797 | -1.7149e-10 | -14.7307 | 2.6813 | 6.1652e-10 | 10.9071 | 19.2513 | -6.1652e-10 | -9.5438 | -17.888 | 0 | -154.3953 | 25.6047 | 0 | 25.6047 | -154.3953 | 1.1 | 1.1 | 1.1 | 1.1 | 0.99996 | 1.0305 | -2.4326e-20 | -120 | 120 | 7.792e-11 | -121.4567 | 124.1296
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7297e-24 | -2.0607e-24 | -2.1122e-24 | 1.9714e-24 | 3.3849e-24 | 2.1122e-24 | 3.033e-25 | 1.8902e-24 | 1.2321e-24 | -3.033e-25 | -2.0317e-25 | -1.2321e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -2.4327e-20 | -120 | 120 | -2.4326e-20 | -120 | 120

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1151 | 3.1151 | 0 | 3.1151 | 3.1151 | 0 | 35.9698 | 35.9698 | 0 | 35.9698 | 35.9698 | -6.1314e-11 | -16.3451 | 15.072 | 6.1313e-11 | 26.0333 | -5.3838 | -1.2497e-10 | -9.8625 | -27.378 | 1.2497e-10 | 15.5877 | 33.1032 | 0 | 29.1403 | -150.8597 | 0 | -150.8597 | 29.1403 | 1 | 0.53073 | 0.86885 | 1 | 0.84357 | 0.9324 | 5.709e-11 | -119.7533 | 147.9737 | 1.9028e-11 | -119.9483 | 128.3778
Line_1 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0656e-11 | -13.0167 | 2.6919 | 6.2481e-11 | 9.2252 | 17.9829 | -6.2481e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2315e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778
Line_2 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0656e-11 | -13.0167 | 2.6919 | 6.2481e-11 | 9.2252 | 17.9829 | -6.2481e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2322e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2718e-25 | 2.0162e-24 | 6.8437e-25 | -7.2378e-25 | -1.4758e-24 | -1.0585e-24 | -8.2718e-25 | -3.6808e-25 | -8.2453e-26 | 8.2718e-25 | 7.5256e-25 | -3.7236e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | -5.2315e-21 | -120 | 120 | -5.2322e-21 | -120 | 120

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1151 | 3.1151 | 0 | 3.1151 | 3.1151 | 0 | 35.9698 | 35.9698 | 0 | 35.9698 | 35.9698 | -6.1314e-11 | -16.3451 | 15.072 | 6.1313e-11 | 26.0333 | -5.3838 | -1.2497e-10 | -9.8625 | -27.378 | 1.2497e-10 | 15.5877 | 33.1032 | 0 | 29.1403 | -150.8597 | 0 | -150.8597 | 29.1403 | 1 | 0.53073 | 0.86885 | 1 | 0.84357 | 0.9324 | 5.709e-11 | -119.7533 | 147.9737 | 1.9028e-11 | -119.9483 | 128.3778
Line_1 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0656e-11 | -13.0167 | 2.6919 | 6.2481e-11 | 9.2252 | 17.9829 | -6.2481e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2315e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778
Line_2 | 0 | 1.5575 | 1.5575 | 0 | 1.5575 | 1.5575 | 0 | 17.9849 | 17.9849 | 0 | 17.9849 | 17.9849 | 3.0656e-11 | 15.4387 | -0.26986 | -3.0656e-11 | -13.0167 | 2.6919 | 6.2481e-11 | 9.2252 | 17.9829 | -6.2481e-11 | -7.7939 | -16.5516 | 0 | -150.8597 | 29.1403 | 0 | 29.1403 | -150.8597 | 1 | 1 | 1 | 1 | 0.84357 | 0.9324 | -5.2322e-21 | -120 | 120 | 1.9028e-11 | -119.9483 | 128.3778
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2718e-25 | 2.0162e-24 | 6.8437e-25 | -7.2378e-25 | -1.4758e-24 | -1.0585e-24 | -8.2718e-25 | -3.6808e-25 | -8.2453e-26 | 8.2718e-25 | 7.5256e-25 | -3.7236e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | -5.2315e-21 | -120 | 120 | -5.2322e-21 | -120 | 120

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.5405 | 2.5405 | 0 | 2.5405 | 2.5405 | 0 | 29.3354 | 29.3354 | 0 | 29.3354 | 29.3354 | 2.9374e-11 | -17.2451 | 6.3234 | -2.9375e-11 | 23.6891 | 0.12053 | 6.0586e-11 | -5.9655 | -23.4324 | -6.0586e-11 | 9.7735 | 27.2404 | 0 | 36.5425 | -143.4575 | 0 | -143.4575 | 36.5425 | 1 | 0.62204 | 0.82735 | 1 | 0.87355 | 0.92859 | -2.7828e-11 | -124.3758 | 141.6445 | -9.275e-12 | -121.0377 | 126.289
Line_1 | 0 | 1.2703 | 1.2703 | 0 | 1.2703 | 1.2703 | 0 | 14.6677 | 14.6677 | 0 | 14.6677 | 14.6677 | -1.4688e-11 | 13.4555 | 1.6712 | 1.4688e-11 | -11.8445 | -0.060266 | -3.0293e-11 | 5.8388 | 14.5722 | 3.0293e-11 | -4.8867 | -13.6202 | 0 | -143.4575 | 36.5425 | 0 | 36.5425 | -143.4575 | 1 | 1 | 1 | 1 | 0.87355 | 0.92859 | 2.5532e-21 | -120 | 120 | -9.275e-12 | -121.0377 | 126.289
Line_2 | 0 | 1.2703 | 1.2703 | 0 | 1.2703 | 1.2703 | 0 | 14.6677 | 14.6677 | 0 | 14.6677 | 14.6677 | -1.4688e-11 | 13.4555 | 1.6712 | 1.4688e-11 | -11.8445 | -0.060266 | -3.0293e-11 | 5.8388 | 14.5722 | 3.0293e-11 | -4.8867 | -13.6202 | 0 | -143.4575 | 36.5425 | 0 | 36.5425 | -143.4575 | 1 | 1 | 1 | 1 | 0.87355 | 0.92859 | 2.5528e-21 | -120 | 120 | -9.275e-12 | -121.0377 | 126.289
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8956e-25 | 1.3663e-24 | 7.1388e-25 | 1.8095e-25 | -6.1296e-25 | -5.7602e-25 | -5.5145e-25 | -3.9083e-25 | 9.6933e-25 | 5.5145e-25 | 5.9268e-25 | -1.2081e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2.5532e-21 | -120 | 120 | 2.5528e-21 | -120 | 120

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.5405 | 2.5405 | 0 | 2.5405 | 2.5405 | 0 | 29.3354 | 29.3354 | 0 | 29.3354 | 29.3354 | 2.9374e-11 | -17.2451 | 6.3234 | -2.9375e-11 | 23.6891 | 0.12053 | 6.0586e-11 | -5.9655 | -23.4324 | -6.0586e-11 | 9.7735 | 27.2404 | 0 | 36.5425 | -143.4575 | 0 | -143.4575 | 36.5425 | 1 | 0.62204 | 0.82735 | 1 | 0.87355 | 0.92859 | -2.7828e-11 | -124.3758 | 141.6445 | -9.275e-12 | -121.0377 | 126.289
Line_1 | 0 | 1.2703 | 1.2703 | 0 | 1.2703 | 1.2703 | 0 | 14.6677 | 14.6677 | 0 | 14.6677 | 14.6677 | -1.4688e-11 | 13.4555 | 1.6712 | 1.4688e-11 | -11.8445 | -0.060266 | -3.0293e-11 | 5.8388 | 14.5722 | 3.0293e-11 | -4.8867 | -13.6202 | 0 | -143.4575 | 36.5425 | 0 | 36.5425 | -143.4575 | 1 | 1 | 1 | 1 | 0.87355 | 0.92859 | 2.5532e-21 | -120 | 120 | -9.275e-12 | -121.0377 | 126.289
Line_2 | 0 | 1.2703 | 1.2703 | 0 | 1.2703 | 1.2703 | 0 | 14.6677 | 14.6677 | 0 | 14.6677 | 14.6677 | -1.4688e-11 | 13.4555 | 1.6712 | 1.4688e-11 | -11.8445 | -0.060266 | -3.0293e-11 | 5.8388 | 14.5722 | 3.0293e-11 | -4.8867 | -13.6202 | 0 | -143.4575 | 36.5425 | 0 | 36.5425 | -143.4575 | 1 | 1 | 1 | 1 | 0.87355 | 0.92859 | 2.5528e-21 | -120 | 120 | -9.275e-12 | -121.0377 | 126.289
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8956e-25 | 1.3663e-24 | 7.1388e-25 | 1.8095e-25 | -6.1296e-25 | -5.7602e-25 | -5.5145e-25 | -3.9083e-25 | 9.6933e-25 | 5.5145e-25 | 5.9268e-25 | -1.2081e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2.5532e-21 | -120 | 120 | 2.5528e-21 | -120 | 120

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7984 | 1.3992 | 1.3992 | 2.7984 | 1.3992 | 1.3992 | 32.3135 | 16.1567 | 16.1567 | 32.3135 | 16.1567 | 16.1567 | -3.9768 | 13.7646 | -15.753 | 8.049 | -12.7466 | 16.7711 | -27.1535 | -11.1554 | -2.4214 | 31.7739 | 12.3105 | 3.5765 | 106.483 | -73.517 | -73.517 | -73.517 | 106.483 | 106.483 |  | 0.84928 | 1.0966 | 0.98646 | 1.0144 | 1.0968 | 1.0614 | 8.1509 | -112.5396 | 115.2214 | 2.2677 | -117.5199 | 118.5211
Line_1 | 1.3992 | 0.69961 | 0.69961 | 1.3992 | 0.69961 | 0.69961 | 16.1567 | 8.0784 | 8.0784 | 16.1567 | 8.0784 | 8.0784 | 5.0426 | -6.1188 | 8.6401 | -4.0245 | 6.3733 | -8.3855 | 17.042 | 6.444 | 2.077 | -15.8869 | -6.1552 | -1.7882 | -73.517 | 106.483 | 106.483 | 106.483 | -73.517 | -73.517 |  | 1.1 | 1.1 | 1.1 | 1.0144 | 1.0968 | 1.0614 | -7.1633e-10 | -120 | 120 | 2.2677 | -117.5199 | 118.5211
Line_2 | 1.3992 | 0.69961 | 0.69961 | 1.3992 | 0.69961 | 0.69961 | 16.1567 | 8.0784 | 8.0784 | 16.1567 | 8.0784 | 8.0784 | 5.0426 | -6.1188 | 8.6401 | -4.0245 | 6.3733 | -8.3855 | 17.042 | 6.444 | 2.077 | -15.8869 | -6.1552 | -1.7882 | -73.517 | 106.483 | 106.483 | 106.483 | -73.517 | -73.517 |  | 1.1 | 1.1 | 1.1 | 1.0144 | 1.0968 | 1.0614 | -7.1633e-10 | -120 | 120 | 2.2677 | -117.5199 | 118.5211
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9429e-24 | 3.1273e-25 | 1.7494e-24 | -2.2747e-24 | -5.0064e-26 | -9.6142e-25 | -1.5165e-25 | -1.5814e-24 | -4.2433e-24 | 1.9714e-24 | 1.4298e-24 | 4.6982e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -7.1633e-10 | -120 | 120 | -7.1633e-10 | -120 | 120

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7984 | 1.3992 | 1.3992 | 2.7984 | 1.3992 | 1.3992 | 32.3135 | 16.1567 | 16.1567 | 32.3135 | 16.1567 | 16.1567 | -3.9768 | 13.7646 | -15.753 | 8.049 | -12.7466 | 16.7711 | -27.1535 | -11.1554 | -2.4214 | 31.7739 | 12.3105 | 3.5765 | 106.483 | -73.517 | -73.517 | -73.517 | 106.483 | 106.483 |  | 0.84928 | 1.0966 | 0.98646 | 1.0144 | 1.0968 | 1.0614 | 8.1509 | -112.5396 | 115.2214 | 2.2677 | -117.5199 | 118.5211
Line_1 | 1.3992 | 0.69961 | 0.69961 | 1.3992 | 0.69961 | 0.69961 | 16.1567 | 8.0784 | 8.0784 | 16.1567 | 8.0784 | 8.0784 | 5.0426 | -6.1188 | 8.6401 | -4.0245 | 6.3733 | -8.3855 | 17.042 | 6.444 | 2.077 | -15.8869 | -6.1552 | -1.7882 | -73.517 | 106.483 | 106.483 | 106.483 | -73.517 | -73.517 |  | 1.1 | 1.1 | 1.1 | 1.0144 | 1.0968 | 1.0614 | -7.1633e-10 | -120 | 120 | 2.2677 | -117.5199 | 118.5211
Line_2 | 1.3992 | 0.69961 | 0.69961 | 1.3992 | 0.69961 | 0.69961 | 16.1567 | 8.0784 | 8.0784 | 16.1567 | 8.0784 | 8.0784 | 5.0426 | -6.1188 | 8.6401 | -4.0245 | 6.3733 | -8.3855 | 17.042 | 6.444 | 2.077 | -15.8869 | -6.1552 | -1.7882 | -73.517 | 106.483 | 106.483 | 106.483 | -73.517 | -73.517 |  | 1.1 | 1.1 | 1.1 | 1.0144 | 1.0968 | 1.0614 | -7.1633e-10 | -120 | 120 | 2.2677 | -117.5199 | 118.5211
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9429e-24 | 3.1273e-25 | 1.7494e-24 | -2.2747e-24 | -5.0064e-26 | -9.6142e-25 | -1.5165e-25 | -1.5814e-24 | -4.2433e-24 | 1.9714e-24 | 1.4298e-24 | 4.6982e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -7.1633e-10 | -120 | 120 | -7.1633e-10 | -120 | 120

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.865 | 0.9325 | 0.9325 | 1.865 | 0.9325 | 0.9325 | 21.5352 | 10.7676 | 10.7676 | 21.5352 | 10.7676 | 10.7676 | -9.2758 | 6.5279 | -11.1658 | 11.0844 | -6.0757 | 11.618 | -17.3527 | -9.5295 | 0.85311 | 19.4049 | 10.0425 | -0.34008 | 120.4042 | -59.5958 | -59.5958 | -59.5958 | 120.4042 | 120.4042 |  | 0.91368 | 1.0728 | 1.04 | 1.0377 | 1.0901 | 1.0794 | 2.2778 | -115.1837 | 116.035 | 0.66835 | -118.4217 | 118.7275
Line_1 | 0.9325 | 0.46625 | 0.46625 | 0.9325 | 0.46625 | 0.46625 | 10.7676 | 5.3838 | 5.3838 | 10.7676 | 5.3838 | 5.3838 | 5.9944 | -2.9248 | 5.922 | -5.5422 | 3.0379 | -5.809 | 10.2155 | 5.1495 | -0.041778 | -9.7024 | -5.0213 | 0.17004 | -59.5958 | 120.4042 | 120.4042 | 120.4042 | -59.5958 | -59.5958 |  | 1.1 | 1.1 | 1.1 | 1.0377 | 1.0901 | 1.0794 | -8.5154e-10 | -120 | 120 | 0.66835 | -118.4217 | 118.7275
Line_2 | 0.9325 | 0.46625 | 0.46625 | 0.9325 | 0.46625 | 0.46625 | 10.7676 | 5.3838 | 5.3838 | 10.7676 | 5.3838 | 5.3838 | 5.9944 | -2.9248 | 5.922 | -5.5422 | 3.0379 | -5.809 | 10.2155 | 5.1495 | -0.041778 | -9.7024 | -5.0213 | 0.17004 | -59.5958 | 120.4042 | 120.4042 | 120.4042 | -59.5958 | -59.5958 |  | 1.1 | 1.1 | 1.1 | 1.0377 | 1.0901 | 1.0794 | -8.5154e-10 | -120 | 120 | 0.66835 | -118.4217 | 118.7275
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0615e-24 | -2.8298e-25 | 8.6926e-25 | -6.066e-25 | 2.0716e-25 | -4.7527e-25 | 9.8572e-25 | -1.8684e-25 | -8.9901e-25 | -7.5825e-25 | 5.5508e-26 | 1.1265e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -8.5154e-10 | -120 | 120 | -8.5154e-10 | -120 | 120

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.865 | 0.9325 | 0.9325 | 1.865 | 0.9325 | 0.9325 | 21.5352 | 10.7676 | 10.7676 | 21.5352 | 10.7676 | 10.7676 | -9.2758 | 6.5279 | -11.1658 | 11.0844 | -6.0757 | 11.618 | -17.3527 | -9.5295 | 0.85311 | 19.4049 | 10.0425 | -0.34008 | 120.4042 | -59.5958 | -59.5958 | -59.5958 | 120.4042 | 120.4042 |  | 0.91368 | 1.0728 | 1.04 | 1.0377 | 1.0901 | 1.0794 | 2.2778 | -115.1837 | 116.035 | 0.66835 | -118.4217 | 118.7275
Line_1 | 0.9325 | 0.46625 | 0.46625 | 0.9325 | 0.46625 | 0.46625 | 10.7676 | 5.3838 | 5.3838 | 10.7676 | 5.3838 | 5.3838 | 5.9944 | -2.9248 | 5.922 | -5.5422 | 3.0379 | -5.809 | 10.2155 | 5.1495 | -0.041778 | -9.7024 | -5.0213 | 0.17004 | -59.5958 | 120.4042 | 120.4042 | 120.4042 | -59.5958 | -59.5958 |  | 1.1 | 1.1 | 1.1 | 1.0377 | 1.0901 | 1.0794 | -8.5154e-10 | -120 | 120 | 0.66835 | -118.4217 | 118.7275
Line_2 | 0.9325 | 0.46625 | 0.46625 | 0.9325 | 0.46625 | 0.46625 | 10.7676 | 5.3838 | 5.3838 | 10.7676 | 5.3838 | 5.3838 | 5.9944 | -2.9248 | 5.922 | -5.5422 | 3.0379 | -5.809 | 10.2155 | 5.1495 | -0.041778 | -9.7024 | -5.0213 | 0.17004 | -59.5958 | 120.4042 | 120.4042 | 120.4042 | -59.5958 | -59.5958 |  | 1.1 | 1.1 | 1.1 | 1.0377 | 1.0901 | 1.0794 | -8.5154e-10 | -120 | 120 | 0.66835 | -118.4217 | 118.7275
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0615e-24 | -2.8298e-25 | 8.6926e-25 | -6.066e-25 | 2.0716e-25 | -4.7527e-25 | 9.8572e-25 | -1.8684e-25 | -8.9901e-25 | -7.5825e-25 | 5.5508e-26 | 1.1265e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -8.5154e-10 | -120 | 120 | -8.5154e-10 | -120 | 120

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2885 | 1.1443 | 1.1443 | 2.2885 | 1.1443 | 1.1443 | 26.4254 | 13.2127 | 13.2127 | 26.4254 | 13.2127 | 13.2127 | -4.5673 | 8.9603 | -11.2439 | 9.7962 | -7.653 | 12.5511 | -18.6948 | -10.0476 | 0.70025 | 21.7848 | 10.8201 | 0.072246 | 118.0114 | -61.9886 | -61.9886 | -61.9886 | 118.0114 | 118.0114 |  | 0.72826 | 1.0189 | 0.85264 | 0.9039 | 1.0031 | 0.94995 | 14.2825 | -110.2628 | 114.4477 | 3.7989 | -116.717 | 118.3412
Line_1 | 1.1443 | 0.57213 | 0.57213 | 1.1443 | 0.57213 | 0.57213 | 13.2127 | 6.6063 | 6.6063 | 13.2127 | 6.6063 | 6.6063 | 6.2053 | -3.4997 | 6.6024 | -4.8981 | 3.8265 | -6.2756 | 11.6649 | 5.6032 | 0.22925 | -10.8924 | -5.4101 | -0.036123 | -61.9886 | 118.0114 | 118.0114 | 118.0114 | -61.9886 | -61.9886 |  | 1 | 1 | 1 | 0.9039 | 1.0031 | 0.94995 | -1.0666e-09 | -120 | 120 | 3.7989 | -116.717 | 118.3412
Line_2 | 1.1443 | 0.57213 | 0.57213 | 1.1443 | 0.57213 | 0.57213 | 13.2127 | 6.6063 | 6.6063 | 13.2127 | 6.6063 | 6.6063 | 6.2053 | -3.4997 | 6.6024 | -4.8981 | 3.8265 | -6.2756 | 11.6649 | 5.6032 | 0.22925 | -10.8924 | -5.4101 | -0.036123 | -61.9886 | 118.0114 | 118.0114 | 118.0114 | -61.9886 | -61.9886 |  | 1 | 1 | 1 | 0.9039 | 1.0031 | 0.94995 | -1.0666e-09 | -120 | 120 | 3.7989 | -116.717 | 118.3412
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3786e-25 | -1.123e-25 | 5.188e-25 | -1.3786e-24 | 3.4185e-25 | -4.4063e-25 | 2.2403e-24 | 7.016e-25 | 6.1791e-25 | -2.5849e-24 | -9.9332e-25 | -8.9116e-25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -1.0666e-09 | -120 | 120 | -1.0666e-09 | -120 | 120

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2885 | 1.1443 | 1.1443 | 2.2885 | 1.1443 | 1.1443 | 26.4254 | 13.2127 | 13.2127 | 26.4254 | 13.2127 | 13.2127 | -4.5673 | 8.9603 | -11.2439 | 9.7962 | -7.653 | 12.5511 | -18.6948 | -10.0476 | 0.70025 | 21.7848 | 10.8201 | 0.072246 | 118.0114 | -61.9886 | -61.9886 | -61.9886 | 118.0114 | 118.0114 |  | 0.72826 | 1.0189 | 0.85264 | 0.9039 | 1.0031 | 0.94995 | 14.2825 | -110.2628 | 114.4477 | 3.7989 | -116.717 | 118.3412
Line_1 | 1.1443 | 0.57213 | 0.57213 | 1.1443 | 0.57213 | 0.57213 | 13.2127 | 6.6063 | 6.6063 | 13.2127 | 6.6063 | 6.6063 | 6.2053 | -3.4997 | 6.6024 | -4.8981 | 3.8265 | -6.2756 | 11.6649 | 5.6032 | 0.22925 | -10.8924 | -5.4101 | -0.036123 | -61.9886 | 118.0114 | 118.0114 | 118.0114 | -61.9886 | -61.9886 |  | 1 | 1 | 1 | 0.9039 | 1.0031 | 0.94995 | -1.0666e-09 | -120 | 120 | 3.7989 | -116.717 | 118.3412
Line_2 | 1.1443 | 0.57213 | 0.57213 | 1.1443 | 0.57213 | 0.57213 | 13.2127 | 6.6063 | 6.6063 | 13.2127 | 6.6063 | 6.6063 | 6.2053 | -3.4997 | 6.6024 | -4.8981 | 3.8265 | -6.2756 | 11.6649 | 5.6032 | 0.22925 | -10.8924 | -5.4101 | -0.036123 | -61.9886 | 118.0114 | 118.0114 | 118.0114 | -61.9886 | -61.9886 |  | 1 | 1 | 1 | 0.9039 | 1.0031 | 0.94995 | -1.0666e-09 | -120 | 120 | 3.7989 | -116.717 | 118.3412
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3786e-25 | -1.123e-25 | 5.188e-25 | -1.3786e-24 | 3.4185e-25 | -4.4063e-25 | 2.2403e-24 | 7.016e-25 | 6.1791e-25 | -2.5849e-24 | -9.9332e-25 | -8.9116e-25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -1.0666e-09 | -120 | 120 | -1.0666e-09 | -120 | 120

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5894 | 0.79472 | 0.79472 | 1.5894 | 0.79472 | 0.79472 | 18.3533 | 9.1767 | 9.1767 | 18.3533 | 9.1767 | 9.1767 | -8.1185 | 4.02 | -8.0792 | 10.6408 | -3.3894 | 8.7098 | -11.7352 | -8.0875 | 2.2199 | 13.2257 | 8.4601 | -1.8472 | 130.4277 | -49.5723 | -49.5723 | -49.5723 | 130.4277 | 130.4277 |  | 0.7775 | 0.98418 | 0.91304 | 0.92489 | 0.99315 | 0.97024 | 5.752 | -113.1419 | 115.0641 | 1.6093 | -117.7394 | 118.4534
Line_1 | 0.79472 | 0.39736 | 0.39736 | 0.79472 | 0.39736 | 0.39736 | 9.1767 | 4.5883 | 4.5883 | 9.1767 | 4.5883 | 4.5883 | 5.951 | -1.5371 | 4.5126 | -5.3204 | 1.6947 | -4.3549 | 6.9855 | 4.3232 | -0.83047 | -6.6129 | -4.2301 | 0.92362 | -49.5723 | 130.4277 | 130.4277 | 130.4277 | -49.5723 | -49.5723 |  | 1 | 1 | 1 | 0.92489 | 0.99315 | 0.97024 | -1.0229e-09 | -120 | 120 | 1.6093 | -117.7394 | 118.4534
Line_2 | 0.79472 | 0.39736 | 0.39736 | 0.79472 | 0.39736 | 0.39736 | 9.1767 | 4.5883 | 4.5883 | 9.1767 | 4.5883 | 4.5883 | 5.951 | -1.5371 | 4.5126 | -5.3204 | 1.6947 | -4.3549 | 6.9855 | 4.3232 | -0.83047 | -6.6129 | -4.2301 | 0.92362 | -49.5723 | 130.4277 | 130.4277 | 130.4277 | -49.5723 | -49.5723 |  | 1 | 1 | 1 | 0.92489 | 0.99315 | 0.97024 | -1.0229e-09 | -120 | 120 | 1.6093 | -117.7394 | 118.4534
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3097e-24 | 3.3081e-25 | 3.3542e-25 | -4.1359e-25 | -1.3786e-25 | -4.342e-25 | 3.4466e-25 | 3.6618e-25 | -4.4311e-25 | -3.7912e-25 | -2.3879e-25 | 5.4527e-25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -1.0229e-09 | -120 | 120 | -1.0229e-09 | -120 | 120

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5894 | 0.79472 | 0.79472 | 1.5894 | 0.79472 | 0.79472 | 18.3533 | 9.1767 | 9.1767 | 18.3533 | 9.1767 | 9.1767 | -8.1185 | 4.02 | -8.0792 | 10.6408 | -3.3894 | 8.7098 | -11.7352 | -8.0875 | 2.2199 | 13.2257 | 8.4601 | -1.8472 | 130.4277 | -49.5723 | -49.5723 | -49.5723 | 130.4277 | 130.4277 |  | 0.7775 | 0.98418 | 0.91304 | 0.92489 | 0.99315 | 0.97024 | 5.752 | -113.1419 | 115.0641 | 1.6093 | -117.7394 | 118.4534
Line_1 | 0.79472 | 0.39736 | 0.39736 | 0.79472 | 0.39736 | 0.39736 | 9.1767 | 4.5883 | 4.5883 | 9.1767 | 4.5883 | 4.5883 | 5.951 | -1.5371 | 4.5126 | -5.3204 | 1.6947 | -4.3549 | 6.9855 | 4.3232 | -0.83047 | -6.6129 | -4.2301 | 0.92362 | -49.5723 | 130.4277 | 130.4277 | 130.4277 | -49.5723 | -49.5723 |  | 1 | 1 | 1 | 0.92489 | 0.99315 | 0.97024 | -1.0229e-09 | -120 | 120 | 1.6093 | -117.7394 | 118.4534
Line_2 | 0.79472 | 0.39736 | 0.39736 | 0.79472 | 0.39736 | 0.39736 | 9.1767 | 4.5883 | 4.5883 | 9.1767 | 4.5883 | 4.5883 | 5.951 | -1.5371 | 4.5126 | -5.3204 | 1.6947 | -4.3549 | 6.9855 | 4.3232 | -0.83047 | -6.6129 | -4.2301 | 0.92362 | -49.5723 | 130.4277 | 130.4277 | 130.4277 | -49.5723 | -49.5723 |  | 1 | 1 | 1 | 0.92489 | 0.99315 | 0.97024 | -1.0229e-09 | -120 | 120 | 1.6093 | -117.7394 | 118.4534
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3097e-24 | 3.3081e-25 | 3.3542e-25 | -4.1359e-25 | -1.3786e-25 | -4.342e-25 | 3.4466e-25 | 3.6618e-25 | -4.4311e-25 | -3.7912e-25 | -2.3879e-25 | 5.4527e-25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -1.0229e-09 | -120 | 120 | -1.0229e-09 | -120 | 120

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3356 | 3.8629 | 3.8867 | 1.3356 | 3.8629 | 3.8867 | 15.4218 | 44.6044 | 44.8803 | 15.4218 | 44.6044 | 44.8803 | -3.281 | -17.9402 | 14.4364 | 4.2086 | 25.6994 | -6.5808 | -14.7292 | -25.9407 | -35.9275 | 15.7816 | 34.7445 | 44.8405 | 105.9875 | 7.0747 | -153.0806 | -74.0125 | -172.9253 | 26.9194 |  | 0.9785 | 0.7071 | 0.86273 | 1.0591 | 0.96888 | 1.0098 | 3.4295 | -117.5923 | 138.8107 | 1.0556 | -119.4144 | 125.2686
Line_1 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686
Line_2 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.099e-25 | -3.0003e-24 | -4.6584e-25 | -6.066e-25 | 3.6773e-24 | 1.798e-24 | 2.4264e-24 | 2.0825e-24 | 3.2333e-24 | -1.2132e-24 | -2.1231e-24 | 1.7385e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -3.3187e-10 | -120 | 120 | -3.3187e-10 | -120 | 120

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3356 | 3.8629 | 3.8867 | 1.3356 | 3.8629 | 3.8867 | 15.4218 | 44.6044 | 44.8803 | 15.4218 | 44.6044 | 44.8803 | -3.281 | -17.9402 | 14.4364 | 4.2086 | 25.6994 | -6.5808 | -14.7292 | -25.9407 | -35.9275 | 15.7816 | 34.7445 | 44.8405 | 105.9875 | 7.0747 | -153.0806 | -74.0125 | -172.9253 | 26.9194 |  | 0.9785 | 0.7071 | 0.86273 | 1.0591 | 0.96888 | 1.0098 | 3.4295 | -117.5923 | 138.8107 | 1.0556 | -119.4144 | 125.2686
Line_1 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686
Line_2 | 0.66778 | 1.9314 | 1.9434 | 0.66778 | 1.9314 | 1.9434 | 7.7109 | 22.3022 | 22.4401 | 7.7109 | 22.3022 | 22.4401 | 2.3362 | 14.7895 | -1.3265 | -2.1043 | -12.8497 | 3.2904 | 8.1539 | 19.5732 | 24.6485 | -7.8908 | -17.3723 | -22.4202 | -74.0125 | -172.9253 | 26.9194 | 105.9875 | 7.0747 | -153.0806 |  | 1.1 | 1.1 | 1.1 | 1.0591 | 0.96888 | 1.0098 | -3.3187e-10 | -120 | 120 | 1.0556 | -119.4144 | 125.2686
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.099e-25 | -3.0003e-24 | -4.6584e-25 | -6.066e-25 | 3.6773e-24 | 1.798e-24 | 2.4264e-24 | 2.0825e-24 | 3.2333e-24 | -1.2132e-24 | -2.1231e-24 | 1.7385e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -3.3187e-10 | -120 | 120 | -3.3187e-10 | -120 | 120

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90583 | 2.5244 | 2.5485 | 0.90583 | 2.5244 | 2.5485 | 10.4597 | 29.1495 | 29.4274 | 10.4597 | 29.1495 | 29.4274 | -5.0524 | -19.9018 | -1.3511 | 5.479 | 23.2156 | 4.7283 | -9.2727 | -14.5959 | -25.9798 | 9.7568 | 18.3558 | 29.8118 | 119.6531 | 20.8689 | -138.5661 | -60.3469 | -159.1311 | 41.4339 |  | 1.0096 | 0.84668 | 0.88404 | 1.0698 | 1.0153 | 1.0257 | 1.0686 | -122.8749 | 128.457 | 0.33611 | -120.7988 | 122.4215
Line_1 | 0.45292 | 1.2622 | 1.2742 | 0.45292 | 1.2622 | 1.2742 | 5.2298 | 14.5747 | 14.7137 | 5.2298 | 14.5747 | 14.7137 | 2.8462 | 12.4362 | 3.2085 | -2.7395 | -11.6078 | -2.3642 | 4.9994 | 10.1179 | 15.8639 | -4.8784 | -9.1779 | -14.9059 | -60.3469 | -159.1311 | 41.4339 | 119.6531 | 20.8689 | -138.5661 |  | 1.1 | 1.1 | 1.1 | 1.0698 | 1.0153 | 1.0257 | -4.0432e-10 | -120 | 120 | 0.33611 | -120.7988 | 122.4215
Line_2 | 0.45292 | 1.2622 | 1.2742 | 0.45292 | 1.2622 | 1.2742 | 5.2298 | 14.5747 | 14.7137 | 5.2298 | 14.5747 | 14.7137 | 2.8462 | 12.4362 | 3.2085 | -2.7395 | -11.6078 | -2.3642 | 4.9994 | 10.1179 | 15.8639 | -4.8784 | -9.1779 | -14.9059 | -60.3469 | -159.1311 | 41.4339 | 119.6531 | 20.8689 | -138.5661 |  | 1.1 | 1.1 | 1.1 | 1.0698 | 1.0153 | 1.0257 | -4.0432e-10 | -120 | 120 | 0.33611 | -120.7988 | 122.4215
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5825e-25 | 1.4e-24 | 2.697e-24 | -2.2747e-24 | -5.444e-27 | 6.066e-25 | 2.7297e-24 | 1.8183e-24 | 2.6078e-24 | -2.1231e-24 | -1.2226e-24 | -1.0507e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -4.0432e-10 | -120 | 120 | -4.0432e-10 | -120 | 120

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90583 | 2.5244 | 2.5485 | 0.90583 | 2.5244 | 2.5485 | 10.4597 | 29.1495 | 29.4274 | 10.4597 | 29.1495 | 29.4274 | -5.0524 | -19.9018 | -1.3511 | 5.479 | 23.2156 | 4.7283 | -9.2727 | -14.5959 | -25.9798 | 9.7568 | 18.3558 | 29.8118 | 119.6531 | 20.8689 | -138.5661 | -60.3469 | -159.1311 | 41.4339 |  | 1.0096 | 0.84668 | 0.88404 | 1.0698 | 1.0153 | 1.0257 | 1.0686 | -122.8749 | 128.457 | 0.33611 | -120.7988 | 122.4215
Line_1 | 0.45292 | 1.2622 | 1.2742 | 0.45292 | 1.2622 | 1.2742 | 5.2298 | 14.5747 | 14.7137 | 5.2298 | 14.5747 | 14.7137 | 2.8462 | 12.4362 | 3.2085 | -2.7395 | -11.6078 | -2.3642 | 4.9994 | 10.1179 | 15.8639 | -4.8784 | -9.1779 | -14.9059 | -60.3469 | -159.1311 | 41.4339 | 119.6531 | 20.8689 | -138.5661 |  | 1.1 | 1.1 | 1.1 | 1.0698 | 1.0153 | 1.0257 | -4.0432e-10 | -120 | 120 | 0.33611 | -120.7988 | 122.4215
Line_2 | 0.45292 | 1.2622 | 1.2742 | 0.45292 | 1.2622 | 1.2742 | 5.2298 | 14.5747 | 14.7137 | 5.2298 | 14.5747 | 14.7137 | 2.8462 | 12.4362 | 3.2085 | -2.7395 | -11.6078 | -2.3642 | 4.9994 | 10.1179 | 15.8639 | -4.8784 | -9.1779 | -14.9059 | -60.3469 | -159.1311 | 41.4339 | 119.6531 | 20.8689 | -138.5661 |  | 1.1 | 1.1 | 1.1 | 1.0698 | 1.0153 | 1.0257 | -4.0432e-10 | -120 | 120 | 0.33611 | -120.7988 | 122.4215
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5825e-25 | 1.4e-24 | 2.697e-24 | -2.2747e-24 | -5.444e-27 | 6.066e-25 | 2.7297e-24 | 1.8183e-24 | 2.6078e-24 | -2.1231e-24 | -1.2226e-24 | -1.0507e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -4.0432e-10 | -120 | 120 | -4.0432e-10 | -120 | 120

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0939 | 3.1424 | 3.183 | 1.0939 | 3.1424 | 3.183 | 12.6315 | 36.285 | 36.7537 | 12.6315 | 36.285 | 36.7537 | -3.9388 | -12.6478 | 9.4053 | 5.1336 | 22.5065 | 0.70975 | -10.1976 | -15.0071 | -27.3322 | 10.9036 | 20.833 | 33.3096 | 116.9814 | 19.1235 | -140.972 | -63.0186 | -160.8765 | 39.028 |  | 0.86544 | 0.54088 | 0.78646 | 0.95409 | 0.84521 | 0.9065 | 5.8624 | -111.0004 | 148.0168 | 1.7697 | -118.0878 | 127.8073
Line_1 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073
Line_2 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8612e-24 | 1.1619e-24 | 1.6445e-24 | -1.7233e-24 | -5.465e-25 | -2.3239e-24 | 1.1029e-24 | -1.9327e-25 | -6.4248e-25 | -1.6544e-24 | 1.5633e-25 | -3.8655e-25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -4.9254e-10 | -120 | 120 | -4.9254e-10 | -120 | 120

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0939 | 3.1424 | 3.183 | 1.0939 | 3.1424 | 3.183 | 12.6315 | 36.285 | 36.7537 | 12.6315 | 36.285 | 36.7537 | -3.9388 | -12.6478 | 9.4053 | 5.1336 | 22.5065 | 0.70975 | -10.1976 | -15.0071 | -27.3322 | 10.9036 | 20.833 | 33.3096 | 116.9814 | 19.1235 | -140.972 | -63.0186 | -160.8765 | 39.028 |  | 0.86544 | 0.54088 | 0.78646 | 0.95409 | 0.84521 | 0.9065 | 5.8624 | -111.0004 | 148.0168 | 1.7697 | -118.0878 | 127.8073
Line_1 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073
Line_2 | 0.54696 | 1.5712 | 1.5915 | 0.54696 | 1.5712 | 1.5915 | 6.3158 | 18.1425 | 18.3768 | 6.3158 | 18.1425 | 18.3768 | 2.8655 | 13.7179 | 2.8836 | -2.5668 | -11.2533 | -0.35488 | 5.6283 | 11.873 | 18.1492 | -5.4518 | -10.4165 | -16.6548 | -63.0186 | -160.8765 | 39.028 | 116.9814 | 19.1235 | -140.972 |  | 1 | 1 | 1 | 0.95409 | 0.84521 | 0.9065 | -4.9254e-10 | -120 | 120 | 1.7697 | -118.0878 | 127.8073
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8612e-24 | 1.1619e-24 | 1.6445e-24 | -1.7233e-24 | -5.465e-25 | -2.3239e-24 | 1.1029e-24 | -1.9327e-25 | -6.4248e-25 | -1.6544e-24 | 1.5633e-25 | -3.8655e-25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -4.9254e-10 | -120 | 120 | -4.9254e-10 | -120 | 120

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77272 | 2.1443 | 2.1741 | 0.77272 | 2.1443 | 2.1741 | 8.9226 | 24.7604 | 25.1046 | 8.9226 | 24.7604 | 25.1046 | -4.7615 | -14.8139 | -2.2489 | 5.3577 | 19.4046 | 6.9681 | -6.3727 | -7.8549 | -19.1242 | 6.725 | 10.5678 | 21.913 | 129.3358 | 31.2111 | -128.1884 | -50.6642 | -148.7889 | 51.8116 |  | 0.89157 | 0.67719 | 0.76703 | 0.96365 | 0.89238 | 0.91594 | 2.5697 | -120.8546 | 135.1048 | 0.79227 | -120.2162 | 124.1714
Line_1 | 0.38636 | 1.0722 | 1.0871 | 0.38636 | 1.0722 | 1.0871 | 4.4613 | 12.3802 | 12.5523 | 4.4613 | 12.3802 | 12.5523 | 2.8279 | 10.85 | 4.6639 | -2.6788 | -9.7023 | -3.4841 | 3.4506 | 5.9621 | 11.6537 | -3.3625 | -5.2839 | -10.9565 | -50.6642 | -148.7889 | 51.8116 | 129.3358 | 31.2111 | -128.1884 |  | 1 | 1 | 1 | 0.96365 | 0.89238 | 0.91594 | -4.8607e-10 | -120 | 120 | 0.79227 | -120.2162 | 124.1714
Line_2 | 0.38636 | 1.0722 | 1.0871 | 0.38636 | 1.0722 | 1.0871 | 4.4613 | 12.3802 | 12.5523 | 4.4613 | 12.3802 | 12.5523 | 2.8279 | 10.85 | 4.6639 | -2.6788 | -9.7023 | -3.4841 | 3.4506 | 5.9621 | 11.6537 | -3.3625 | -5.2839 | -10.9565 | -50.6642 | -148.7889 | 51.8116 | 129.3358 | 31.2111 | -128.1884 |  | 1 | 1 | 1 | 0.96365 | 0.89238 | 0.91594 | -4.8607e-10 | -120 | 120 | 0.79227 | -120.2162 | 124.1714
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5825e-25 | 4.4558e-25 | 1.5706e-24 | -8.9611e-25 | -4.6158e-25 | -1.9103e-24 | 9.6504e-25 | 2.2032e-25 | 5.8839e-25 | -6.8932e-25 | 2.7705e-26 | -1.1029e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -4.8607e-10 | -120 | 120 | -4.8607e-10 | -120 | 120

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77272 | 2.1443 | 2.1741 | 0.77272 | 2.1443 | 2.1741 | 8.9226 | 24.7604 | 25.1046 | 8.9226 | 24.7604 | 25.1046 | -4.7615 | -14.8139 | -2.2489 | 5.3577 | 19.4046 | 6.9681 | -6.3727 | -7.8549 | -19.1242 | 6.725 | 10.5678 | 21.913 | 129.3358 | 31.2111 | -128.1884 | -50.6642 | -148.7889 | 51.8116 |  | 0.89157 | 0.67719 | 0.76703 | 0.96365 | 0.89238 | 0.91594 | 2.5697 | -120.8546 | 135.1048 | 0.79227 | -120.2162 | 124.1714
Line_1 | 0.38636 | 1.0722 | 1.0871 | 0.38636 | 1.0722 | 1.0871 | 4.4613 | 12.3802 | 12.5523 | 4.4613 | 12.3802 | 12.5523 | 2.8279 | 10.85 | 4.6639 | -2.6788 | -9.7023 | -3.4841 | 3.4506 | 5.9621 | 11.6537 | -3.3625 | -5.2839 | -10.9565 | -50.6642 | -148.7889 | 51.8116 | 129.3358 | 31.2111 | -128.1884 |  | 1 | 1 | 1 | 0.96365 | 0.89238 | 0.91594 | -4.8607e-10 | -120 | 120 | 0.79227 | -120.2162 | 124.1714
Line_2 | 0.38636 | 1.0722 | 1.0871 | 0.38636 | 1.0722 | 1.0871 | 4.4613 | 12.3802 | 12.5523 | 4.4613 | 12.3802 | 12.5523 | 2.8279 | 10.85 | 4.6639 | -2.6788 | -9.7023 | -3.4841 | 3.4506 | 5.9621 | 11.6537 | -3.3625 | -5.2839 | -10.9565 | -50.6642 | -148.7889 | 51.8116 | 129.3358 | 31.2111 | -128.1884 |  | 1 | 1 | 1 | 0.96365 | 0.89238 | 0.91594 | -4.8607e-10 | -120 | 120 | 0.79227 | -120.2162 | 124.1714
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5825e-25 | 4.4558e-25 | 1.5706e-24 | -8.9611e-25 | -4.6158e-25 | -1.9103e-24 | 9.6504e-25 | 2.2032e-25 | 5.8839e-25 | -6.8932e-25 | 2.7705e-26 | -1.1029e-24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 1 | -4.8607e-10 | -120 | 120 | -4.8607e-10 | -120 | 120