## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 10.7672 | 10.7672 | 21.4845 | 0 | 372.9852 | 372.9852 | -1e-07 | 180.8533 | -1e-07 | 205.199 | 131.3915 | -48.6085 | 0 | 0.73333 | 0 | -6.1578e-09
Line_1 | 5.3836 | 5.3836 | 0 | 0 | 186.4926 | 186.4926 | 135.64 | -90.4267 | 153.8992 | -102.5995 | -48.6085 | 131.3915 | 1.1 | 0.73333 | -6.4228e-09 | -6.1578e-09
Line_2 | 5.3836 | 5.3836 | 0 | 0 | 186.4926 | 186.4926 | 135.64 | -90.4267 | 153.8992 | -102.5995 | -48.6085 | 131.3915 | 1.1 | 0.73333 | -6.4228e-09 | -6.1578e-09
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -6.4228e-09 | -6.4228e-09

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 10.7672 | 10.7672 | 21.4845 | 0 | 372.9852 | 372.9852 | -1e-07 | 180.8533 | -1e-07 | 205.199 | 131.3915 | -48.6085 | 0 | 0.73333 | 0 | -6.1578e-09
Line_1 | 5.3836 | 5.3836 | 0 | 0 | 186.4926 | 186.4926 | 135.64 | -90.4267 | 153.8992 | -102.5995 | -48.6085 | 131.3915 | 1.1 | 0.73333 | -6.4228e-09 | -6.1578e-09
Line_2 | 5.3836 | 5.3836 | 0 | 0 | 186.4926 | 186.4926 | 135.64 | -90.4267 | 153.8992 | -102.5995 | -48.6085 | 131.3915 | 1.1 | 0.73333 | -6.4228e-09 | -6.1578e-09
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -6.4228e-09 | -6.4228e-09

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1262 | 1.1262 | 2.2473 | 0 | 39.0138 | 39.0138 | -32.6787 | 34.6574 | -20.5285 | 22.7736 | 146.1637 | -33.8363 | 0.98918 | 1.063 | -1.6995 | -0.52712
Line_1 | 0.56312 | 0.56312 | 0 | 0 | 19.5069 | 19.5069 | 17.8234 | -17.3287 | 11.9481 | -11.3868 | -33.8363 | 146.1637 | 1.1 | 1.063 | -8.4397e-10 | -0.52712
Line_2 | 0.56312 | 0.56312 | 0 | 0 | 19.5069 | 19.5069 | 17.8234 | -17.3287 | 11.9481 | -11.3868 | -33.8363 | 146.1637 | 1.1 | 1.063 | -8.4397e-10 | -0.52712
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -8.4397e-10 | -8.4397e-10

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1262 | 1.1262 | 2.2473 | 0 | 39.0138 | 39.0138 | -32.6787 | 34.6574 | -20.5285 | 22.7736 | 146.1637 | -33.8363 | 0.98918 | 1.063 | -1.6995 | -0.52712
Line_1 | 0.56312 | 0.56312 | 0 | 0 | 19.5069 | 19.5069 | 17.8234 | -17.3287 | 11.9481 | -11.3868 | -33.8363 | 146.1637 | 1.1 | 1.063 | -8.4397e-10 | -0.52712
Line_2 | 0.56312 | 0.56312 | 0 | 0 | 19.5069 | 19.5069 | 17.8234 | -17.3287 | 11.9481 | -11.3868 | -33.8363 | 146.1637 | 1.1 | 1.063 | -8.4397e-10 | -0.52712
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -8.4397e-10 | -8.4397e-10

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 6.6379 | 6.6379 | 13.8188 | 0 | 229.9447 | 229.9447 | -1e-07 | 131.9749 | -1e-07 | 77.99 | 149.4192 | -30.5808 | 0 | 0.66667 | 0 | -5.6057e-09
Line_1 | 3.319 | 3.319 | 0 | 0 | 114.9723 | 114.9723 | 98.9811 | -65.9874 | 58.4925 | -38.995 | -30.5808 | 149.4192 | 1 | 0.66667 | -5.6712e-09 | -5.6057e-09
Line_2 | 3.319 | 3.319 | 0 | 0 | 114.9723 | 114.9723 | 98.9811 | -65.9874 | 58.4925 | -38.995 | -30.5808 | 149.4192 | 1 | 0.66667 | -5.6712e-09 | -5.6057e-09
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -5.6712e-09 | -5.6712e-09

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 6.6379 | 6.6379 | 13.8188 | 0 | 229.9447 | 229.9447 | -1e-07 | 131.9749 | -1e-07 | 77.99 | 149.4192 | -30.5808 | 0 | 0.66667 | 0 | -5.6057e-09
Line_1 | 3.319 | 3.319 | 0 | 0 | 114.9723 | 114.9723 | 98.9811 | -65.9874 | 58.4925 | -38.995 | -30.5808 | 149.4192 | 1 | 0.66667 | -5.6712e-09 | -5.6057e-09
Line_2 | 3.319 | 3.319 | 0 | 0 | 114.9723 | 114.9723 | 98.9811 | -65.9874 | 58.4925 | -38.995 | -30.5808 | 149.4192 | 1 | 0.66667 | -5.6712e-09 | -5.6057e-09
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -5.6712e-09 | -5.6712e-09

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.92661 | 0.92661 | 1.929 | 0 | 32.0988 | 32.0988 | -25.7048 | 28.2765 | -10.2263 | 11.7461 | 157.0699 | -22.9301 | 0.86185 | 0.9539 | -1.2356 | -0.37209
Line_1 | 0.46331 | 0.46331 | 0 | 0 | 16.0494 | 16.0494 | 14.7812 | -14.1383 | 6.253 | -5.873 | -22.9301 | 157.0699 | 1 | 0.9539 | -8.469e-10 | -0.37209
Line_2 | 0.46331 | 0.46331 | 0 | 0 | 16.0494 | 16.0494 | 14.7812 | -14.1383 | 6.253 | -5.873 | -22.9301 | 157.0699 | 1 | 0.9539 | -8.469e-10 | -0.37209
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -8.469e-10 | -8.469e-10

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.92661 | 0.92661 | 1.929 | 0 | 32.0988 | 32.0988 | -25.7048 | 28.2765 | -10.2263 | 11.7461 | 157.0699 | -22.9301 | 0.86185 | 0.9539 | -1.2356 | -0.37209
Line_1 | 0.46331 | 0.46331 | 0 | 0 | 16.0494 | 16.0494 | 14.7812 | -14.1383 | 6.253 | -5.873 | -22.9301 | 157.0699 | 1 | 0.9539 | -8.469e-10 | -0.37209
Line_2 | 0.46331 | 0.46331 | 0 | 0 | 16.0494 | 16.0494 | 14.7812 | -14.1383 | 6.253 | -5.873 | -22.9301 | 157.0699 | 1 | 0.9539 | -8.469e-10 | -0.37209
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -8.469e-10 | -8.469e-10

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8827 | 2.8827 | 2.8827 | 2.8827 | 2.8827 | 2.8827 | 33.2861 | 33.2861 | 33.2861 | 33.2861 | 33.2861 | 33.2861 | -14.7536 | -26.6698 | 19.293 | 19.0747 | 30.9908 | -14.9719 | -53.0732 | -6.8798 | -19.6568 | 57.976 | 11.7825 | 24.5596 | 112.2404 | -7.7596 | -127.7596 | -67.7596 | 172.2404 | 52.2404 | 1.6549 | 0.82746 | 0.82746 | 1.8336 | 0.99606 | 0.86412 | 6.7052 | -173.2948 | -173.2948 | 4.0286 | -166.9431 | 173.6075
Line_1 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 16.643 | 16.643 | 16.643 | 16.643 | 16.643 | 16.643 | 10.6176 | 16.5757 | -6.4057 | -9.5373 | -15.4954 | 7.486 | 30.2137 | 7.117 | 13.5055 | -28.988 | -5.8913 | -12.2798 | -67.7596 | 172.2404 | 52.2404 | 112.2404 | -7.7596 | -127.7596 | 1.9242 | 1.0839 | 0.89813 | 1.8336 | 0.99606 | 0.86412 | 2.878 | -164.5228 | 167.6155 | 4.0286 | -166.9431 | 173.6075
Line_2 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 16.643 | 16.643 | 16.643 | 16.643 | 16.643 | 16.643 | 10.6176 | 16.5757 | -6.4057 | -9.5373 | -15.4954 | 7.486 | 30.2137 | 7.117 | 13.5055 | -28.988 | -5.8913 | -12.2798 | -67.7596 | 172.2404 | 52.2404 | 112.2404 | -7.7596 | -127.7596 | 1.9242 | 1.0839 | 0.89813 | 1.8336 | 0.99606 | 0.86412 | 2.878 | -164.5228 | 167.6155 | 4.0286 | -166.9431 | 173.6075
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2753e-14 | -4.4158e-15 | -3.6498e-15 | -2.5171e-15 | 3.89e-14 | -1.4797e-14 | -7.4658e-14 | -2.2533e-14 | -1.6622e-14 | 5.0069e-14 | 1.3435e-14 | 1.1961e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9242 | 1.0839 | 0.89813 | 1.9242 | 1.0839 | 0.89813 | 2.878 | -164.5228 | 167.6155 | 2.878 | -164.5228 | 167.6155

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8827 | 2.8827 | 2.8827 | 2.8827 | 2.8827 | 2.8827 | 33.2861 | 33.2861 | 33.2861 | 33.2861 | 33.2861 | 33.2861 | -14.7536 | -26.6698 | 19.293 | 19.0747 | 30.9908 | -14.9719 | -53.0732 | -6.8798 | -19.6568 | 57.976 | 11.7825 | 24.5596 | 112.2404 | -7.7596 | -127.7596 | -67.7596 | 172.2404 | 52.2404 | 1.6549 | 0.82746 | 0.82746 | 1.8336 | 0.99606 | 0.86412 | 6.7052 | -173.2948 | -173.2948 | 4.0286 | -166.9431 | 173.6075
Line_1 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 16.643 | 16.643 | 16.643 | 16.643 | 16.643 | 16.643 | 10.6176 | 16.5757 | -6.4057 | -9.5373 | -15.4954 | 7.486 | 30.2137 | 7.117 | 13.5055 | -28.988 | -5.8913 | -12.2798 | -67.7596 | 172.2404 | 52.2404 | 112.2404 | -7.7596 | -127.7596 | 1.9242 | 1.0839 | 0.89813 | 1.8336 | 0.99606 | 0.86412 | 2.878 | -164.5228 | 167.6155 | 4.0286 | -166.9431 | 173.6075
Line_2 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 1.4413 | 16.643 | 16.643 | 16.643 | 16.643 | 16.643 | 16.643 | 10.6176 | 16.5757 | -6.4057 | -9.5373 | -15.4954 | 7.486 | 30.2137 | 7.117 | 13.5055 | -28.988 | -5.8913 | -12.2798 | -67.7596 | 172.2404 | 52.2404 | 112.2404 | -7.7596 | -127.7596 | 1.9242 | 1.0839 | 0.89813 | 1.8336 | 0.99606 | 0.86412 | 2.878 | -164.5228 | 167.6155 | 4.0286 | -166.9431 | 173.6075
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2753e-14 | -4.4158e-15 | -3.6498e-15 | -2.5171e-15 | 3.89e-14 | -1.4797e-14 | -7.4658e-14 | -2.2533e-14 | -1.6622e-14 | 5.0069e-14 | 1.3435e-14 | 1.1961e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9242 | 1.0839 | 0.89813 | 1.9242 | 1.0839 | 0.89813 | 2.878 | -164.5228 | 167.6155 | 2.878 | -164.5228 | 167.6155

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90977 | 0.90977 | 0.90977 | 0.90977 | 0.90977 | 0.90977 | 10.5051 | 10.5051 | 10.5051 | 10.5051 | 10.5051 | 10.5051 | -8.5776 | -9.7645 | -5.1864 | 9.008 | 10.1949 | 5.6168 | -9.7516 | -5.1505 | -6.4231 | 10.2399 | 5.6388 | 6.9115 | 137.2708 | 17.2708 | -102.7292 | -42.7292 | -162.7292 | 77.2708 | 1.2363 | 1.0509 | 0.78587 | 1.2982 | 1.109 | 0.84778 | 5.9356 | -134.9188 | 128.3515 | 5.9329 | -133.782 | 128.1708
Line_1 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 4.6116 | 5.205 | 2.916 | -4.504 | -5.0974 | -2.8084 | 5.242 | 2.9415 | 3.5778 | -5.1199 | -2.8194 | -3.4557 | -42.7292 | -162.7292 | 77.2708 | 137.2708 | 17.2708 | -102.7292 | 1.3292 | 1.1382 | 0.87873 | 1.2982 | 1.109 | 0.84778 | 5.9316 | -133.2573 | 128.0901 | 5.9329 | -133.782 | 128.1708
Line_2 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 4.6116 | 5.205 | 2.916 | -4.504 | -5.0974 | -2.8084 | 5.242 | 2.9415 | 3.5778 | -5.1199 | -2.8194 | -3.4557 | -42.7292 | -162.7292 | 77.2708 | 137.2708 | 17.2708 | -102.7292 | 1.3292 | 1.1382 | 0.87873 | 1.2982 | 1.109 | 0.84778 | 5.9316 | -133.2573 | 128.0901 | 5.9329 | -133.782 | 128.1708
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3278e-14 | 6.296e-15 | 3.2761e-15 | 1.0634e-14 | 2.4233e-15 | -7.0822e-16 | -9.2925e-15 | -1.888e-14 | 2.5679e-15 | 4.2701e-15 | 1.4378e-14 | -5.8439e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3292 | 1.1382 | 0.87873 | 1.3292 | 1.1382 | 0.87873 | 5.9316 | -133.2573 | 128.0901 | 5.9316 | -133.2573 | 128.0901

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90977 | 0.90977 | 0.90977 | 0.90977 | 0.90977 | 0.90977 | 10.5051 | 10.5051 | 10.5051 | 10.5051 | 10.5051 | 10.5051 | -8.5776 | -9.7645 | -5.1864 | 9.008 | 10.1949 | 5.6168 | -9.7516 | -5.1505 | -6.4231 | 10.2399 | 5.6388 | 6.9115 | 137.2708 | 17.2708 | -102.7292 | -42.7292 | -162.7292 | 77.2708 | 1.2363 | 1.0509 | 0.78587 | 1.2982 | 1.109 | 0.84778 | 5.9356 | -134.9188 | 128.3515 | 5.9329 | -133.782 | 128.1708
Line_1 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 4.6116 | 5.205 | 2.916 | -4.504 | -5.0974 | -2.8084 | 5.242 | 2.9415 | 3.5778 | -5.1199 | -2.8194 | -3.4557 | -42.7292 | -162.7292 | 77.2708 | 137.2708 | 17.2708 | -102.7292 | 1.3292 | 1.1382 | 0.87873 | 1.2982 | 1.109 | 0.84778 | 5.9316 | -133.2573 | 128.0901 | 5.9329 | -133.782 | 128.1708
Line_2 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 0.45489 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 5.2526 | 4.6116 | 5.205 | 2.916 | -4.504 | -5.0974 | -2.8084 | 5.242 | 2.9415 | 3.5778 | -5.1199 | -2.8194 | -3.4557 | -42.7292 | -162.7292 | 77.2708 | 137.2708 | 17.2708 | -102.7292 | 1.3292 | 1.1382 | 0.87873 | 1.2982 | 1.109 | 0.84778 | 5.9316 | -133.2573 | 128.0901 | 5.9329 | -133.782 | 128.1708
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3278e-14 | 6.296e-15 | 3.2761e-15 | 1.0634e-14 | 2.4233e-15 | -7.0822e-16 | -9.2925e-15 | -1.888e-14 | 2.5679e-15 | 4.2701e-15 | 1.4378e-14 | -5.8439e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3292 | 1.1382 | 0.87873 | 1.3292 | 1.1382 | 0.87873 | 5.9316 | -133.2573 | 128.0901 | 5.9316 | -133.2573 | 128.0901

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.214 | 2.214 | 2.214 | 2.214 | 2.214 | 2.214 | 25.5648 | 25.5648 | 25.5648 | 25.5648 | 25.5648 | 25.5648 | -15.8124 | -17.9675 | 10.0613 | 20.7063 | 22.8614 | -5.1675 | -32.3649 | -1.2443 | -14.9382 | 35.2569 | 4.1363 | 17.8302 | 126.6129 | 6.6129 | -113.3871 | -53.3871 | -173.3871 | 66.6129 | 1.409 | 0.70451 | 0.70451 | 1.5994 | 0.90877 | 0.72615 | 10.5743 | -169.4257 | -169.4257 | 6.1873 | -163.1317 | 172.7752
Line_1 | 1.107 | 1.107 | 1.107 | 1.107 | 1.107 | 1.107 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 11.5766 | 12.6542 | -1.3603 | -10.3531 | -11.4307 | 2.5837 | 18.3515 | 2.7911 | 9.6381 | -17.6285 | -2.0681 | -8.9151 | -53.3871 | -173.3871 | 66.6129 | 126.6129 | 6.6129 | -113.3871 | 1.6975 | 1.0138 | 0.76149 | 1.5994 | 0.90877 | 0.72615 | 4.368 | -160.9486 | 164.6462 | 6.1873 | -163.1317 | 172.7752
Line_2 | 1.107 | 1.107 | 1.107 | 1.107 | 1.107 | 1.107 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 11.5766 | 12.6542 | -1.3603 | -10.3531 | -11.4307 | 2.5837 | 18.3515 | 2.7911 | 9.6381 | -17.6285 | -2.0681 | -8.9151 | -53.3871 | -173.3871 | 66.6129 | 126.6129 | 6.6129 | -113.3871 | 1.6975 | 1.0138 | 0.76149 | 1.5994 | 0.90877 | 0.72615 | 4.368 | -160.9486 | 164.6462 | 6.1873 | -163.1317 | 172.7752
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7638e-14 | -2.9586e-14 | -1.2687e-14 | 3.4241e-14 | 2.9668e-14 | 1.5553e-14 | -3.5132e-14 | -2.5963e-15 | -1.896e-14 | 2.6808e-14 | -4.9961e-15 | 2.9395e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6975 | 1.0138 | 0.76149 | 1.6975 | 1.0138 | 0.76149 | 4.368 | -160.9486 | 164.6462 | 4.368 | -160.9486 | 164.6462

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.214 | 2.214 | 2.214 | 2.214 | 2.214 | 2.214 | 25.5648 | 25.5648 | 25.5648 | 25.5648 | 25.5648 | 25.5648 | -15.8124 | -17.9675 | 10.0613 | 20.7063 | 22.8614 | -5.1675 | -32.3649 | -1.2443 | -14.9382 | 35.2569 | 4.1363 | 17.8302 | 126.6129 | 6.6129 | -113.3871 | -53.3871 | -173.3871 | 66.6129 | 1.409 | 0.70451 | 0.70451 | 1.5994 | 0.90877 | 0.72615 | 10.5743 | -169.4257 | -169.4257 | 6.1873 | -163.1317 | 172.7752
Line_1 | 1.107 | 1.107 | 1.107 | 1.107 | 1.107 | 1.107 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 11.5766 | 12.6542 | -1.3603 | -10.3531 | -11.4307 | 2.5837 | 18.3515 | 2.7911 | 9.6381 | -17.6285 | -2.0681 | -8.9151 | -53.3871 | -173.3871 | 66.6129 | 126.6129 | 6.6129 | -113.3871 | 1.6975 | 1.0138 | 0.76149 | 1.5994 | 0.90877 | 0.72615 | 4.368 | -160.9486 | 164.6462 | 6.1873 | -163.1317 | 172.7752
Line_2 | 1.107 | 1.107 | 1.107 | 1.107 | 1.107 | 1.107 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 12.7824 | 11.5766 | 12.6542 | -1.3603 | -10.3531 | -11.4307 | 2.5837 | 18.3515 | 2.7911 | 9.6381 | -17.6285 | -2.0681 | -8.9151 | -53.3871 | -173.3871 | 66.6129 | 126.6129 | 6.6129 | -113.3871 | 1.6975 | 1.0138 | 0.76149 | 1.5994 | 0.90877 | 0.72615 | 4.368 | -160.9486 | 164.6462 | 6.1873 | -163.1317 | 172.7752
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7638e-14 | -2.9586e-14 | -1.2687e-14 | 3.4241e-14 | 2.9668e-14 | 1.5553e-14 | -3.5132e-14 | -2.5963e-15 | -1.896e-14 | 2.6808e-14 | -4.9961e-15 | 2.9395e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6975 | 1.0138 | 0.76149 | 1.6975 | 1.0138 | 0.76149 | 4.368 | -160.9486 | 164.6462 | 4.368 | -160.9486 | 164.6462

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.74868 | 0.74868 | 0.74868 | 0.74868 | 0.74868 | 0.74868 | 8.6451 | 8.6451 | 8.6451 | 8.6451 | 8.6451 | 8.6451 | -7.4018 | -7.6483 | -4.4431 | 7.9615 | 8.2079 | 5.0027 | -5.9264 | -2.3676 | -3.9336 | 6.2571 | 2.6984 | 4.2643 | 148.0722 | 28.0722 | -91.9278 | -31.9278 | -151.9278 | 88.0722 | 1.0968 | 0.92612 | 0.68642 | 1.1713 | 0.99942 | 0.76038 | 6.7552 | -134.7272 | 129.5916 | 6.2368 | -133.7296 | 128.5164
Line_1 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.1206 | 4.2439 | 2.6413 | -3.9807 | -4.104 | -2.5014 | 3.2112 | 1.4319 | 2.2148 | -3.1286 | -1.3492 | -2.1322 | -31.9278 | -151.9278 | 88.0722 | 148.0722 | 28.0722 | -91.9278 | 1.2086 | 1.0362 | 0.79745 | 1.1713 | 0.99942 | 0.76038 | 6.0016 | -133.2838 | 128.0536 | 6.2368 | -133.7296 | 128.5164
Line_2 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.1206 | 4.2439 | 2.6413 | -3.9807 | -4.104 | -2.5014 | 3.2112 | 1.4319 | 2.2148 | -3.1286 | -1.3492 | -2.1322 | -31.9278 | -151.9278 | 88.0722 | 148.0722 | 28.0722 | -91.9278 | 1.2086 | 1.0362 | 0.79745 | 1.1713 | 0.99942 | 0.76038 | 6.0016 | -133.2838 | 128.0536 | 6.2368 | -133.7296 | 128.5164
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.4529e-15 | -5.6244e-15 | 3.8702e-16 | 8.7266e-15 | 3.4692e-15 | 5.239e-15 | 9.2905e-15 | -6.0255e-16 | 8.698e-15 | -7.7174e-15 | 1.0394e-16 | -6.6927e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2086 | 1.0362 | 0.79745 | 1.2086 | 1.0362 | 0.79745 | 6.0016 | -133.2838 | 128.0536 | 6.0016 | -133.2838 | 128.0536

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.74868 | 0.74868 | 0.74868 | 0.74868 | 0.74868 | 0.74868 | 8.6451 | 8.6451 | 8.6451 | 8.6451 | 8.6451 | 8.6451 | -7.4018 | -7.6483 | -4.4431 | 7.9615 | 8.2079 | 5.0027 | -5.9264 | -2.3676 | -3.9336 | 6.2571 | 2.6984 | 4.2643 | 148.0722 | 28.0722 | -91.9278 | -31.9278 | -151.9278 | 88.0722 | 1.0968 | 0.92612 | 0.68642 | 1.1713 | 0.99942 | 0.76038 | 6.7552 | -134.7272 | 129.5916 | 6.2368 | -133.7296 | 128.5164
Line_1 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.1206 | 4.2439 | 2.6413 | -3.9807 | -4.104 | -2.5014 | 3.2112 | 1.4319 | 2.2148 | -3.1286 | -1.3492 | -2.1322 | -31.9278 | -151.9278 | 88.0722 | 148.0722 | 28.0722 | -91.9278 | 1.2086 | 1.0362 | 0.79745 | 1.1713 | 0.99942 | 0.76038 | 6.0016 | -133.2838 | 128.0536 | 6.2368 | -133.7296 | 128.5164
Line_2 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 0.37434 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.3225 | 4.1206 | 4.2439 | 2.6413 | -3.9807 | -4.104 | -2.5014 | 3.2112 | 1.4319 | 2.2148 | -3.1286 | -1.3492 | -2.1322 | -31.9278 | -151.9278 | 88.0722 | 148.0722 | 28.0722 | -91.9278 | 1.2086 | 1.0362 | 0.79745 | 1.1713 | 0.99942 | 0.76038 | 6.0016 | -133.2838 | 128.0536 | 6.2368 | -133.7296 | 128.5164
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.4529e-15 | -5.6244e-15 | 3.8702e-16 | 8.7266e-15 | 3.4692e-15 | 5.239e-15 | 9.2905e-15 | -6.0255e-16 | 8.698e-15 | -7.7174e-15 | 1.0394e-16 | -6.6927e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2086 | 1.0362 | 0.79745 | 1.2086 | 1.0362 | 0.79745 | 6.0016 | -133.2838 | 128.0536 | 6.0016 | -133.2838 | 128.0536

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8553 | 1.1405 | 0.80637 | 1.8569 | 1.1438 | 0.80566 | 21.4229 | 13.1688 | 9.3112 | 21.4413 | 13.2072 | 9.303 | -3.9452e-12 | -7.5521 | 12.7442 | 8.4198 | 10.6234 | -9.8822 | -3.3733e-11 | 16.9541 | -12.5808 | 3.2283 | -12.8092 | 11.5026 | 143.3224 | 98.062 | -177.7678 | -36.7733 | -81.9908 | 1.9897 |  | 0 | 1.4094 | 1.9233 | 0.42057 | 1.26 | 1.6301 | 0 | -147.9278 | 137.6017 | -15.7954 | -132.3202 | 132.6567
Line_1 | 0.92963 | 0.57397 | 0.40268 | 0.92843 | 0.57189 | 0.40283 | 10.7345 | 6.6276 | 4.6497 | 10.7206 | 6.6036 | 4.6515 | 6.3241 | 6.1001 | -4.2415 | -4.2099 | -5.3117 | 4.9411 | 2.432 | -5.3726 | 5.4707 | -1.6142 | 6.4046 | -5.7513 | -36.8808 | -82.0288 | 1.6895 | 143.2267 | 98.0092 | -178.0103 |  | 0.6312 | 1.2265 | 1.4888 | 0.42057 | 1.26 | 1.6301 | -15.8465 | -123.4007 | 129.4764 | -15.7954 | -132.3202 | 132.6567
Line_2 | 0.92963 | 0.57397 | 0.40268 | 0.92843 | 0.57189 | 0.40283 | 10.7345 | 6.6276 | 4.6497 | 10.7206 | 6.6036 | 4.6515 | 6.3241 | 6.1001 | -4.2415 | -4.2099 | -5.3117 | 4.9411 | 2.432 | -5.3726 | 5.4707 | -1.6142 | 6.4046 | -5.7513 | -36.8808 | -82.0288 | 1.6895 | 143.2267 | 98.0092 | -178.0103 |  | 0.6312 | 1.2265 | 1.4888 | 0.42057 | 1.26 | 1.6301 | -15.8465 | -123.4007 | 129.4764 | -15.7954 | -132.3202 | 132.6567
Line_3 | 0.00083781 | 0.00083781 | 0.00083781 | 0.00083781 | 0.00083781 | 0.00083781 | 0.0096742 | 0.0096742 | 0.0096742 | 0.0096742 | 0.0096742 | 0.0096742 | 0.0019382 | 0.0095919 | -0.01153 | 0.0019382 | 0.0095919 | -0.01153 | 0.0057906 | -0.0069844 | -0.0086308 | 0.0057906 | -0.0069844 | -0.0086308 | -87.3403 | -87.3403 | -87.3403 | -87.3403 | -87.3403 | -87.3403 |  | 0.6312 | 1.2265 | 1.4888 | 0.6312 | 1.2265 | 1.4888 | -15.8465 | -123.4007 | 129.4764 | -15.8465 | -123.4007 | 129.4764

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8553 | 1.1405 | 0.80637 | 1.8569 | 1.1438 | 0.80566 | 21.4229 | 13.1688 | 9.3112 | 21.4413 | 13.2072 | 9.303 | -3.9452e-12 | -7.5521 | 12.7442 | 8.4198 | 10.6234 | -9.8822 | -3.3733e-11 | 16.9541 | -12.5808 | 3.2283 | -12.8092 | 11.5026 | 143.3224 | 98.062 | -177.7678 | -36.7733 | -81.9908 | 1.9897 |  | 0 | 1.4094 | 1.9233 | 0.42057 | 1.26 | 1.6301 | 0 | -147.9278 | 137.6017 | -15.7954 | -132.3202 | 132.6567
Line_1 | 0.92963 | 0.57397 | 0.40268 | 0.92843 | 0.57189 | 0.40283 | 10.7345 | 6.6276 | 4.6497 | 10.7206 | 6.6036 | 4.6515 | 6.3241 | 6.1001 | -4.2415 | -4.2099 | -5.3117 | 4.9411 | 2.432 | -5.3726 | 5.4707 | -1.6142 | 6.4046 | -5.7513 | -36.8808 | -82.0288 | 1.6895 | 143.2267 | 98.0092 | -178.0103 |  | 0.6312 | 1.2265 | 1.4888 | 0.42057 | 1.26 | 1.6301 | -15.8465 | -123.4007 | 129.4764 | -15.7954 | -132.3202 | 132.6567
Line_2 | 0.92963 | 0.57397 | 0.40268 | 0.92843 | 0.57189 | 0.40283 | 10.7345 | 6.6276 | 4.6497 | 10.7206 | 6.6036 | 4.6515 | 6.3241 | 6.1001 | -4.2415 | -4.2099 | -5.3117 | 4.9411 | 2.432 | -5.3726 | 5.4707 | -1.6142 | 6.4046 | -5.7513 | -36.8808 | -82.0288 | 1.6895 | 143.2267 | 98.0092 | -178.0103 |  | 0.6312 | 1.2265 | 1.4888 | 0.42057 | 1.26 | 1.6301 | -15.8465 | -123.4007 | 129.4764 | -15.7954 | -132.3202 | 132.6567
Line_3 | 0.00083781 | 0.00083781 | 0.00083781 | 0.00083781 | 0.00083781 | 0.00083781 | 0.0096742 | 0.0096742 | 0.0096742 | 0.0096742 | 0.0096742 | 0.0096742 | 0.0019382 | 0.0095919 | -0.01153 | 0.0019382 | 0.0095919 | -0.01153 | 0.0057906 | -0.0069844 | -0.0086308 | 0.0057906 | -0.0069844 | -0.0086308 | -87.3403 | -87.3403 | -87.3403 | -87.3403 | -87.3403 | -87.3403 |  | 0.6312 | 1.2265 | 1.4888 | 0.6312 | 1.2265 | 1.4888 | -15.8465 | -123.4007 | 129.4764 | -15.8465 | -123.4007 | 129.4764

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65421 | 0.40215 | 0.28434 | 0.65477 | 0.40332 | 0.28409 | 7.5541 | 4.6436 | 3.2833 | 7.5606 | 4.6571 | 3.2804 | -4.1398 | -3.6485 | 2.7828 | 5.1845 | 4.04 | -2.4344 | -3.4394 | 4.0066 | -3.5734 | 3.8507 | -3.4943 | 3.4325 | 141.3521 | 96.0917 | -179.7382 | -38.7436 | -83.9611 | 0.0194 |  | 0.71247 | 1.167 | 1.3795 | 0.85417 | 1.147 | 1.2828 | 1.0725 | -131.5868 | 128.1715 | -2.1412 | -124.8181 | 125.3642
Line_1 | 0.32781 | 0.20239 | 0.14199 | 0.32738 | 0.20166 | 0.14205 | 3.7852 | 2.337 | 1.6396 | 3.7803 | 2.3285 | 1.6402 | 2.8545 | 2.1236 | -1.1352 | -2.5922 | -2.02 | 1.2172 | 2.0331 | -1.6214 | 1.6778 | -1.9253 | 1.7471 | -1.7162 | -38.8512 | -83.9992 | -0.2808 | 141.2564 | 96.0389 | -179.9806 |  | 0.92587 | 1.1433 | 1.2355 | 0.85417 | 1.147 | 1.2828 | -3.3911 | -121.3606 | 123.8014 | -2.1412 | -124.8181 | 125.3642
Line_2 | 0.32781 | 0.20239 | 0.14199 | 0.32738 | 0.20166 | 0.14205 | 3.7852 | 2.337 | 1.6396 | 3.7803 | 2.3285 | 1.6402 | 2.8545 | 2.1236 | -1.1352 | -2.5922 | -2.02 | 1.2172 | 2.0331 | -1.6214 | 1.6778 | -1.9253 | 1.7471 | -1.7162 | -38.8512 | -83.9992 | -0.2808 | 141.2564 | 96.0389 | -179.9806 |  | 0.92587 | 1.1433 | 1.2355 | 0.85417 | 1.147 | 1.2828 | -3.3911 | -121.3606 | 123.8014 | -2.1412 | -124.8181 | 125.3642
Line_3 | 0.00029543 | 0.00029543 | 0.00029543 | 0.00029543 | 0.00029543 | 0.00029543 | 0.0034113 | 0.0034113 | 0.0034113 | 0.0034113 | 0.0034113 | 0.0034113 | 0.00022474 | 0.0033056 | -0.0035303 | 0.00022474 | 0.0033056 | -0.0035303 | 0.0031504 | -0.0020696 | -0.0023024 | 0.0031504 | -0.0020696 | -0.0023024 | -89.3107 | -89.3107 | -89.3107 | -89.3107 | -89.3107 | -89.3107 |  | 0.92587 | 1.1433 | 1.2355 | 0.92587 | 1.1433 | 1.2355 | -3.3911 | -121.3606 | 123.8014 | -3.3911 | -121.3606 | 123.8014

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65421 | 0.40215 | 0.28434 | 0.65477 | 0.40332 | 0.28409 | 7.5541 | 4.6436 | 3.2833 | 7.5606 | 4.6571 | 3.2804 | -4.1398 | -3.6485 | 2.7828 | 5.1845 | 4.04 | -2.4344 | -3.4394 | 4.0066 | -3.5734 | 3.8507 | -3.4943 | 3.4325 | 141.3521 | 96.0917 | -179.7382 | -38.7436 | -83.9611 | 0.0194 |  | 0.71247 | 1.167 | 1.3795 | 0.85417 | 1.147 | 1.2828 | 1.0725 | -131.5868 | 128.1715 | -2.1412 | -124.8181 | 125.3642
Line_1 | 0.32781 | 0.20239 | 0.14199 | 0.32738 | 0.20166 | 0.14205 | 3.7852 | 2.337 | 1.6396 | 3.7803 | 2.3285 | 1.6402 | 2.8545 | 2.1236 | -1.1352 | -2.5922 | -2.02 | 1.2172 | 2.0331 | -1.6214 | 1.6778 | -1.9253 | 1.7471 | -1.7162 | -38.8512 | -83.9992 | -0.2808 | 141.2564 | 96.0389 | -179.9806 |  | 0.92587 | 1.1433 | 1.2355 | 0.85417 | 1.147 | 1.2828 | -3.3911 | -121.3606 | 123.8014 | -2.1412 | -124.8181 | 125.3642
Line_2 | 0.32781 | 0.20239 | 0.14199 | 0.32738 | 0.20166 | 0.14205 | 3.7852 | 2.337 | 1.6396 | 3.7803 | 2.3285 | 1.6402 | 2.8545 | 2.1236 | -1.1352 | -2.5922 | -2.02 | 1.2172 | 2.0331 | -1.6214 | 1.6778 | -1.9253 | 1.7471 | -1.7162 | -38.8512 | -83.9992 | -0.2808 | 141.2564 | 96.0389 | -179.9806 |  | 0.92587 | 1.1433 | 1.2355 | 0.85417 | 1.147 | 1.2828 | -3.3911 | -121.3606 | 123.8014 | -2.1412 | -124.8181 | 125.3642
Line_3 | 0.00029543 | 0.00029543 | 0.00029543 | 0.00029543 | 0.00029543 | 0.00029543 | 0.0034113 | 0.0034113 | 0.0034113 | 0.0034113 | 0.0034113 | 0.0034113 | 0.00022474 | 0.0033056 | -0.0035303 | 0.00022474 | 0.0033056 | -0.0035303 | 0.0031504 | -0.0020696 | -0.0023024 | 0.0031504 | -0.0020696 | -0.0023024 | -89.3107 | -89.3107 | -89.3107 | -89.3107 | -89.3107 | -89.3107 |  | 0.92587 | 1.1433 | 1.2355 | 0.92587 | 1.1433 | 1.2355 | -3.3911 | -121.3606 | 123.8014 | -3.3911 | -121.3606 | 123.8014

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1646 | 0.81051 | 0.44025 | 1.1654 | 0.81321 | 0.43929 | 13.448 | 9.3589 | 5.0835 | 13.4563 | 9.3901 | 5.0724 | -9.8623e-13 | -0.75686 | 5.8503 | 6.5012 | 4.0518 | -4.0351 | 1.0708e-11 | 12.7111 | -6.7853 | 0.71104 | -9.89 | 5.8345 | 159.4746 | 114.946 | -169.9388 | -20.6787 | -65.1753 | 9.6635 |  | 0 | 1.3606 | 1.7624 | 0.48601 | 1.1382 | 1.3985 | 0 | -151.6464 | 140.8294 | -14.437 | -132.897 | 134.3307
Line_1 | 0.58333 | 0.40808 | 0.21948 | 0.58268 | 0.4066 | 0.21964 | 6.7358 | 4.7121 | 2.5344 | 6.7282 | 4.695 | 2.5362 | 4.8835 | 2.8631 | -1.5734 | -3.2506 | -2.0259 | 2.0175 | 0.54021 | -4.2422 | 2.6777 | -0.35552 | 4.945 | -2.9173 | -20.8208 | -65.2558 | 9.2511 | 159.3213 | 114.8247 | -170.3365 |  | 0.72943 | 1.0861 | 1.2254 | 0.48601 | 1.1382 | 1.3985 | -14.5084 | -121.2399 | 129.6889 | -14.437 | -132.897 | 134.3307
Line_2 | 0.58333 | 0.40808 | 0.21948 | 0.58268 | 0.4066 | 0.21964 | 6.7358 | 4.7121 | 2.5344 | 6.7282 | 4.695 | 2.5362 | 4.8835 | 2.8631 | -1.5734 | -3.2506 | -2.0259 | 2.0175 | 0.54021 | -4.2422 | 2.6777 | -0.35552 | 4.945 | -2.9173 | -20.8208 | -65.2558 | 9.2511 | 159.3213 | 114.8247 | -170.3365 |  | 0.72943 | 1.0861 | 1.2254 | 0.48601 | 1.1382 | 1.3985 | -14.5084 | -121.2399 | 129.6889 | -14.437 | -132.897 | 134.3307
Line_3 | 0.00054572 | 0.00054572 | 0.00054572 | 0.00054572 | 0.00054572 | 0.00054572 | 0.0063014 | 0.0063014 | 0.0063014 | 0.0063014 | 0.0063014 | 0.0063014 | 0.0022462 | 0.0047556 | -0.0070018 | 0.0022462 | 0.0047556 | -0.0070018 | 0.0040102 | -0.0049221 | -0.0032565 | 0.0040102 | -0.0049221 | -0.0032565 | -75.2543 | -75.2543 | -75.2543 | -75.2543 | -75.2543 | -75.2543 |  | 0.72943 | 1.0861 | 1.2254 | 0.72943 | 1.0861 | 1.2254 | -14.5084 | -121.2399 | 129.6889 | -14.5084 | -121.2399 | 129.6889

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1646 | 0.81051 | 0.44025 | 1.1654 | 0.81321 | 0.43929 | 13.448 | 9.3589 | 5.0835 | 13.4563 | 9.3901 | 5.0724 | -9.8623e-13 | -0.75686 | 5.8503 | 6.5012 | 4.0518 | -4.0351 | 1.0708e-11 | 12.7111 | -6.7853 | 0.71104 | -9.89 | 5.8345 | 159.4746 | 114.946 | -169.9388 | -20.6787 | -65.1753 | 9.6635 |  | 0 | 1.3606 | 1.7624 | 0.48601 | 1.1382 | 1.3985 | 0 | -151.6464 | 140.8294 | -14.437 | -132.897 | 134.3307
Line_1 | 0.58333 | 0.40808 | 0.21948 | 0.58268 | 0.4066 | 0.21964 | 6.7358 | 4.7121 | 2.5344 | 6.7282 | 4.695 | 2.5362 | 4.8835 | 2.8631 | -1.5734 | -3.2506 | -2.0259 | 2.0175 | 0.54021 | -4.2422 | 2.6777 | -0.35552 | 4.945 | -2.9173 | -20.8208 | -65.2558 | 9.2511 | 159.3213 | 114.8247 | -170.3365 |  | 0.72943 | 1.0861 | 1.2254 | 0.48601 | 1.1382 | 1.3985 | -14.5084 | -121.2399 | 129.6889 | -14.437 | -132.897 | 134.3307
Line_2 | 0.58333 | 0.40808 | 0.21948 | 0.58268 | 0.4066 | 0.21964 | 6.7358 | 4.7121 | 2.5344 | 6.7282 | 4.695 | 2.5362 | 4.8835 | 2.8631 | -1.5734 | -3.2506 | -2.0259 | 2.0175 | 0.54021 | -4.2422 | 2.6777 | -0.35552 | 4.945 | -2.9173 | -20.8208 | -65.2558 | 9.2511 | 159.3213 | 114.8247 | -170.3365 |  | 0.72943 | 1.0861 | 1.2254 | 0.48601 | 1.1382 | 1.3985 | -14.5084 | -121.2399 | 129.6889 | -14.437 | -132.897 | 134.3307
Line_3 | 0.00054572 | 0.00054572 | 0.00054572 | 0.00054572 | 0.00054572 | 0.00054572 | 0.0063014 | 0.0063014 | 0.0063014 | 0.0063014 | 0.0063014 | 0.0063014 | 0.0022462 | 0.0047556 | -0.0070018 | 0.0022462 | 0.0047556 | -0.0070018 | 0.0040102 | -0.0049221 | -0.0032565 | 0.0040102 | -0.0049221 | -0.0032565 | -75.2543 | -75.2543 | -75.2543 | -75.2543 | -75.2543 | -75.2543 |  | 0.72943 | 1.0861 | 1.2254 | 0.72943 | 1.0861 | 1.2254 | -14.5084 | -121.2399 | 129.6889 | -14.5084 | -121.2399 | 129.6889

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50724 | 0.35301 | 0.19174 | 0.50756 | 0.35418 | 0.19133 | 5.8571 | 4.0762 | 2.2141 | 5.8608 | 4.0898 | 2.2092 | -2.7238 | -1.9415 | 1.8412 | 3.9534 | 2.5757 | -1.5025 | -1.963 | 3.9035 | -2.3243 | 2.1064 | -3.3695 | 2.1366 | 150.8004 | 106.2717 | -178.6131 | -29.353 | -73.8495 | 0.98918 |  | 0.57322 | 1.0695 | 1.3393 | 0.76433 | 1.037 | 1.1823 | 6.5801 | -137.2832 | 129.7721 | -1.3045 | -126.4544 | 126.1042
Line_1 | 0.25406 | 0.17774 | 0.095593 | 0.25378 | 0.17709 | 0.095663 | 2.9337 | 2.0523 | 1.1038 | 2.9304 | 2.0449 | 1.1046 | 2.2855 | 1.451 | -0.6704 | -1.9767 | -1.2879 | 0.75123 | 1.0927 | -1.5529 | 1.0198 | -1.0532 | 1.6847 | -1.0683 | -29.4951 | -73.93 | 0.57688 | 150.647 | 106.1505 | -179.0108 |  | 0.86353 | 1.0355 | 1.1056 | 0.76433 | 1.037 | 1.1823 | -3.9429 | -120.872 | 123.8967 | -1.3045 | -126.4544 | 126.1042
Line_2 | 0.25406 | 0.17774 | 0.095593 | 0.25378 | 0.17709 | 0.095663 | 2.9337 | 2.0523 | 1.1038 | 2.9304 | 2.0449 | 1.1046 | 2.2855 | 1.451 | -0.6704 | -1.9767 | -1.2879 | 0.75123 | 1.0927 | -1.5529 | 1.0198 | -1.0532 | 1.6847 | -1.0683 | -29.4951 | -73.93 | 0.57688 | 150.647 | 106.1505 | -179.0108 |  | 0.86353 | 1.0355 | 1.1056 | 0.76433 | 1.037 | 1.1823 | -3.9429 | -120.872 | 123.8967 | -1.3045 | -126.4544 | 126.1042
Line_3 | 0.00023768 | 0.00023768 | 0.00023768 | 0.00023768 | 0.00023768 | 0.00023768 | 0.0027445 | 0.0027445 | 0.0027445 | 0.0027445 | 0.0027445 | 0.0027445 | 0.00041213 | 0.0022715 | -0.0026836 | 0.00041213 | 0.0022715 | -0.0026836 | 0.0023339 | -0.0017082 | -0.0014164 | 0.0023339 | -0.0017082 | -0.0014164 | -83.9286 | -83.9286 | -83.9286 | -83.9286 | -83.9286 | -83.9286 |  | 0.86353 | 1.0355 | 1.1056 | 0.86353 | 1.0355 | 1.1056 | -3.9429 | -120.872 | 123.8967 | -3.9429 | -120.872 | 123.8967

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50724 | 0.35301 | 0.19174 | 0.50756 | 0.35418 | 0.19133 | 5.8571 | 4.0762 | 2.2141 | 5.8608 | 4.0898 | 2.2092 | -2.7238 | -1.9415 | 1.8412 | 3.9534 | 2.5757 | -1.5025 | -1.963 | 3.9035 | -2.3243 | 2.1064 | -3.3695 | 2.1366 | 150.8004 | 106.2717 | -178.6131 | -29.353 | -73.8495 | 0.98918 |  | 0.57322 | 1.0695 | 1.3393 | 0.76433 | 1.037 | 1.1823 | 6.5801 | -137.2832 | 129.7721 | -1.3045 | -126.4544 | 126.1042
Line_1 | 0.25406 | 0.17774 | 0.095593 | 0.25378 | 0.17709 | 0.095663 | 2.9337 | 2.0523 | 1.1038 | 2.9304 | 2.0449 | 1.1046 | 2.2855 | 1.451 | -0.6704 | -1.9767 | -1.2879 | 0.75123 | 1.0927 | -1.5529 | 1.0198 | -1.0532 | 1.6847 | -1.0683 | -29.4951 | -73.93 | 0.57688 | 150.647 | 106.1505 | -179.0108 |  | 0.86353 | 1.0355 | 1.1056 | 0.76433 | 1.037 | 1.1823 | -3.9429 | -120.872 | 123.8967 | -1.3045 | -126.4544 | 126.1042
Line_2 | 0.25406 | 0.17774 | 0.095593 | 0.25378 | 0.17709 | 0.095663 | 2.9337 | 2.0523 | 1.1038 | 2.9304 | 2.0449 | 1.1046 | 2.2855 | 1.451 | -0.6704 | -1.9767 | -1.2879 | 0.75123 | 1.0927 | -1.5529 | 1.0198 | -1.0532 | 1.6847 | -1.0683 | -29.4951 | -73.93 | 0.57688 | 150.647 | 106.1505 | -179.0108 |  | 0.86353 | 1.0355 | 1.1056 | 0.76433 | 1.037 | 1.1823 | -3.9429 | -120.872 | 123.8967 | -1.3045 | -126.4544 | 126.1042
Line_3 | 0.00023768 | 0.00023768 | 0.00023768 | 0.00023768 | 0.00023768 | 0.00023768 | 0.0027445 | 0.0027445 | 0.0027445 | 0.0027445 | 0.0027445 | 0.0027445 | 0.00041213 | 0.0022715 | -0.0026836 | 0.00041213 | 0.0022715 | -0.0026836 | 0.0023339 | -0.0017082 | -0.0014164 | 0.0023339 | -0.0017082 | -0.0014164 | -83.9286 | -83.9286 | -83.9286 | -83.9286 | -83.9286 | -83.9286 |  | 0.86353 | 1.0355 | 1.1056 | 0.86353 | 1.0355 | 1.1056 | -3.9429 | -120.872 | 123.8967 | -3.9429 | -120.872 | 123.8967

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.4127 | 4.0506 | 3.237 | 2.4097 | 4.0513 | 3.2399 | 27.8598 | 46.7724 | 37.378 | 27.8249 | 46.7801 | 37.4115 | -14.6992 | 1.2204e-10 | 8.1306e-11 | 14.1356 | 21.4592 | 5.107 | -64.0185 | -2.2525e-11 | -5.5821e-11 | 60.5301 | 8.654 | 16.5563 | 107.4156 | -5.6311 | -102.1888 | -72.5709 | 174.3264 | 77.8289 |  | 2.3577 | 0 | 0 | 2.2339 | 0.49462 | 0.46312 | 4.4842 | 0 | 0 | 4.2844 | -163.7104 | 150.6859
Line_1 | 1.203 | 2.0263 | 1.6216 | 1.2049 | 2.0256 | 1.62 | 13.891 | 23.3973 | 18.7251 | 13.9125 | 23.39 | 18.7058 | 6.9119 | 16.1022 | 3.8483 | -7.0678 | -10.7296 | -2.5535 | 29.3656 | 6.4957 | 12.4358 | -30.2651 | -4.327 | -8.2781 | -72.5655 | 174.2767 | 77.8579 | 107.4291 | -5.6736 | -102.1711 |  | 2.1718 | 0.7421 | 0.69519 | 2.2339 | 0.49462 | 0.46312 | 4.1896 | -163.7538 | 150.663 | 4.2844 | -163.7104 | 150.6859
Line_2 | 1.203 | 2.0263 | 1.6216 | 1.2049 | 2.0256 | 1.62 | 13.891 | 23.3973 | 18.7251 | 13.9125 | 23.39 | 18.7058 | 6.9119 | 16.1022 | 3.8483 | -7.0678 | -10.7296 | -2.5535 | 29.3656 | 6.4957 | 12.4358 | -30.2651 | -4.327 | -8.2781 | -72.5655 | 174.2767 | 77.8579 | 107.4291 | -5.6736 | -102.1711 |  | 2.1718 | 0.7421 | 0.69519 | 2.2339 | 0.49462 | 0.46312 | 4.1896 | -163.7538 | 150.663 | 4.2844 | -163.7104 | 150.6859
Line_3 | 0.00073939 | 0.00073939 | 0.00073939 | 0.00073939 | 0.00073939 | 0.00073939 | 0.0085378 | 0.0085378 | 0.0085378 | 0.0085378 | 0.0085378 | 0.0085378 | -0.0047369 | 0.0003034 | 0.0044335 | -0.0047369 | 0.0003034 | 0.0044335 | -0.017927 | 0.0063286 | 0.0039463 | -0.017927 | 0.0063286 | 0.0039463 | 108.9908 | 108.9908 | 108.9908 | 108.9908 | 108.9908 | 108.9908 |  | 2.1718 | 0.7421 | 0.69519 | 2.1718 | 0.7421 | 0.69519 | 4.1896 | -163.7538 | 150.663 | 4.1896 | -163.7538 | 150.663

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.4127 | 4.0506 | 3.237 | 2.4097 | 4.0513 | 3.2399 | 27.8598 | 46.7724 | 37.378 | 27.8249 | 46.7801 | 37.4115 | -14.6992 | 1.2204e-10 | 8.1306e-11 | 14.1356 | 21.4592 | 5.107 | -64.0185 | -2.2525e-11 | -5.5821e-11 | 60.5301 | 8.654 | 16.5563 | 107.4156 | -5.6311 | -102.1888 | -72.5709 | 174.3264 | 77.8289 |  | 2.3577 | 0 | 0 | 2.2339 | 0.49462 | 0.46312 | 4.4842 | 0 | 0 | 4.2844 | -163.7104 | 150.6859
Line_1 | 1.203 | 2.0263 | 1.6216 | 1.2049 | 2.0256 | 1.62 | 13.891 | 23.3973 | 18.7251 | 13.9125 | 23.39 | 18.7058 | 6.9119 | 16.1022 | 3.8483 | -7.0678 | -10.7296 | -2.5535 | 29.3656 | 6.4957 | 12.4358 | -30.2651 | -4.327 | -8.2781 | -72.5655 | 174.2767 | 77.8579 | 107.4291 | -5.6736 | -102.1711 |  | 2.1718 | 0.7421 | 0.69519 | 2.2339 | 0.49462 | 0.46312 | 4.1896 | -163.7538 | 150.663 | 4.2844 | -163.7104 | 150.6859
Line_2 | 1.203 | 2.0263 | 1.6216 | 1.2049 | 2.0256 | 1.62 | 13.891 | 23.3973 | 18.7251 | 13.9125 | 23.39 | 18.7058 | 6.9119 | 16.1022 | 3.8483 | -7.0678 | -10.7296 | -2.5535 | 29.3656 | 6.4957 | 12.4358 | -30.2651 | -4.327 | -8.2781 | -72.5655 | 174.2767 | 77.8579 | 107.4291 | -5.6736 | -102.1711 |  | 2.1718 | 0.7421 | 0.69519 | 2.2339 | 0.49462 | 0.46312 | 4.1896 | -163.7538 | 150.663 | 4.2844 | -163.7104 | 150.6859
Line_3 | 0.00073939 | 0.00073939 | 0.00073939 | 0.00073939 | 0.00073939 | 0.00073939 | 0.0085378 | 0.0085378 | 0.0085378 | 0.0085378 | 0.0085378 | 0.0085378 | -0.0047369 | 0.0003034 | 0.0044335 | -0.0047369 | 0.0003034 | 0.0044335 | -0.017927 | 0.0063286 | 0.0039463 | -0.017927 | 0.0063286 | 0.0039463 | 108.9908 | 108.9908 | 108.9908 | 108.9908 | 108.9908 | 108.9908 |  | 2.1718 | 0.7421 | 0.69519 | 2.1718 | 0.7421 | 0.69519 | 4.1896 | -163.7538 | 150.663 | 4.1896 | -163.7538 | 150.663

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31466 | 0.85896 | 0.86547 | 0.31413 | 0.8588 | 0.86647 | 3.6334 | 9.9184 | 9.9936 | 3.6273 | 9.9166 | 10.0052 | -4.1961 | -4.5161 | -7.9156 | 3.914 | 5.7368 | 8.855 | -2.9097 | -8.1221 | -0.3027 | 2.8709 | 8.154 | 1.5293 | 146.3033 | 5.6491 | -75.3743 | -33.5316 | -174.4202 | 104.6045 |  | 1.4053 | 0.93697 | 0.79264 | 1.3382 | 1.0054 | 0.89814 | 1.0425 | -113.426 | 106.8157 | 2.728 | -119.5487 | 114.4032
Line_1 | 0.15668 | 0.42938 | 0.43387 | 0.15707 | 0.4294 | 0.43324 | 1.8091 | 4.9581 | 5.0098 | 1.8136 | 4.9583 | 5.0026 | 1.8858 | 3.1703 | 4.6675 | -1.957 | -2.8684 | -4.4275 | 1.4206 | 4.0876 | 1.0734 | -1.4354 | -4.077 | -0.76465 | -33.3466 | -174.5055 | 104.5892 | 146.4684 | 5.5798 | -75.3955 |  | 1.305 | 1.0433 | 0.956 | 1.3382 | 1.0054 | 0.89814 | 3.6437 | -122.3024 | 117.5407 | 2.728 | -119.5487 | 114.4032
Line_2 | 0.15668 | 0.42938 | 0.43387 | 0.15707 | 0.4294 | 0.43324 | 1.8091 | 4.9581 | 5.0098 | 1.8136 | 4.9583 | 5.0026 | 1.8858 | 3.1703 | 4.6675 | -1.957 | -2.8684 | -4.4275 | 1.4206 | 4.0876 | 1.0734 | -1.4354 | -4.077 | -0.76465 | -33.3466 | -174.5055 | 104.5892 | 146.4684 | 5.5798 | -75.3955 |  | 1.305 | 1.0433 | 0.956 | 1.3382 | 1.0054 | 0.89814 | 3.6437 | -122.3024 | 117.5407 | 2.728 | -119.5487 | 114.4032
Line_3 | 0.00025303 | 0.00025303 | 0.00025303 | 0.00025303 | 0.00025303 | 0.00025303 | 0.0029217 | 0.0029217 | 0.0029217 | 0.0029217 | 0.0029217 | 0.0029217 | -0.0003654 | -0.002285 | 0.0026504 | -0.0003654 | -0.002285 | 0.0026504 | -0.0037954 | 0.0020177 | 0.00088156 | -0.0037954 | 0.0020177 | 0.00088156 | 99.1429 | 99.1429 | 99.1429 | 99.1429 | 99.1429 | 99.1429 |  | 1.305 | 1.0433 | 0.956 | 1.305 | 1.0433 | 0.956 | 3.6437 | -122.3024 | 117.5407 | 3.6437 | -122.3024 | 117.5407

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31466 | 0.85896 | 0.86547 | 0.31413 | 0.8588 | 0.86647 | 3.6334 | 9.9184 | 9.9936 | 3.6273 | 9.9166 | 10.0052 | -4.1961 | -4.5161 | -7.9156 | 3.914 | 5.7368 | 8.855 | -2.9097 | -8.1221 | -0.3027 | 2.8709 | 8.154 | 1.5293 | 146.3033 | 5.6491 | -75.3743 | -33.5316 | -174.4202 | 104.6045 |  | 1.4053 | 0.93697 | 0.79264 | 1.3382 | 1.0054 | 0.89814 | 1.0425 | -113.426 | 106.8157 | 2.728 | -119.5487 | 114.4032
Line_1 | 0.15668 | 0.42938 | 0.43387 | 0.15707 | 0.4294 | 0.43324 | 1.8091 | 4.9581 | 5.0098 | 1.8136 | 4.9583 | 5.0026 | 1.8858 | 3.1703 | 4.6675 | -1.957 | -2.8684 | -4.4275 | 1.4206 | 4.0876 | 1.0734 | -1.4354 | -4.077 | -0.76465 | -33.3466 | -174.5055 | 104.5892 | 146.4684 | 5.5798 | -75.3955 |  | 1.305 | 1.0433 | 0.956 | 1.3382 | 1.0054 | 0.89814 | 3.6437 | -122.3024 | 117.5407 | 2.728 | -119.5487 | 114.4032
Line_2 | 0.15668 | 0.42938 | 0.43387 | 0.15707 | 0.4294 | 0.43324 | 1.8091 | 4.9581 | 5.0098 | 1.8136 | 4.9583 | 5.0026 | 1.8858 | 3.1703 | 4.6675 | -1.957 | -2.8684 | -4.4275 | 1.4206 | 4.0876 | 1.0734 | -1.4354 | -4.077 | -0.76465 | -33.3466 | -174.5055 | 104.5892 | 146.4684 | 5.5798 | -75.3955 |  | 1.305 | 1.0433 | 0.956 | 1.3382 | 1.0054 | 0.89814 | 3.6437 | -122.3024 | 117.5407 | 2.728 | -119.5487 | 114.4032
Line_3 | 0.00025303 | 0.00025303 | 0.00025303 | 0.00025303 | 0.00025303 | 0.00025303 | 0.0029217 | 0.0029217 | 0.0029217 | 0.0029217 | 0.0029217 | 0.0029217 | -0.0003654 | -0.002285 | 0.0026504 | -0.0003654 | -0.002285 | 0.0026504 | -0.0037954 | 0.0020177 | 0.00088156 | -0.0037954 | 0.0020177 | 0.00088156 | 99.1429 | 99.1429 | 99.1429 | 99.1429 | 99.1429 | 99.1429 |  | 1.305 | 1.0433 | 0.956 | 1.305 | 1.0433 | 0.956 | 3.6437 | -122.3024 | 117.5407 | 3.6437 | -122.3024 | 117.5407

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8673 | 2.8085 | 2.2993 | 1.865 | 2.8086 | 2.3017 | 21.5616 | 32.4292 | 26.5501 | 21.5349 | 32.4306 | 26.578 | -18.1236 | -7.1086e-11 | -7.2179e-11 | 17.8367 | 17.3478 | 5.2784 | -39.824 | -6.3234e-11 | -3.0268e-11 | 36.62 | 2.7688 | 11.0409 | 122.8003 | 8.2783 | -93.1233 | -57.1714 | -171.7725 | 86.8919 |  | 2.0293 | 0 | 0 | 1.8915 | 0.54169 | 0.46045 | 8.3304 | 0 | 0 | 6.859 | -162.7043 | 151.3403
Line_1 | 0.93127 | 1.4046 | 1.152 | 0.93249 | 1.4043 | 1.1509 | 10.7534 | 16.2188 | 13.3019 | 10.7674 | 16.2153 | 13.289 | 8.8317 | 13.0162 | 3.9753 | -8.9184 | -8.6739 | -2.6392 | 17.4992 | 2.0763 | 8.2923 | -18.31 | -1.3844 | -5.5204 | -57.1575 | -171.8214 | 86.9183 | 122.8286 | 8.2275 | -93.1081 |  | 1.8228 | 0.81268 | 0.69132 | 1.8915 | 0.54169 | 0.46045 | 6.0628 | -162.7579 | 151.3053 | 6.859 | -162.7043 | 151.3403
Line_2 | 0.93127 | 1.4046 | 1.152 | 0.93249 | 1.4043 | 1.1509 | 10.7534 | 16.2188 | 13.3019 | 10.7674 | 16.2153 | 13.289 | 8.8317 | 13.0162 | 3.9753 | -8.9184 | -8.6739 | -2.6392 | 17.4992 | 2.0763 | 8.2923 | -18.31 | -1.3844 | -5.5204 | -57.1575 | -171.8214 | 86.9183 | 122.8286 | 8.2275 | -93.1081 |  | 1.8228 | 0.81268 | 0.69132 | 1.8915 | 0.54169 | 0.46045 | 6.0628 | -162.7579 | 151.3053 | 6.859 | -162.7043 | 151.3403
Line_3 | 0.00042497 | 0.00042497 | 0.00042497 | 0.00042497 | 0.00042497 | 0.00042497 | 0.0049071 | 0.0049071 | 0.0049071 | 0.0049071 | 0.0049071 | 0.0049071 | -0.0041077 | 0.0011098 | 0.0029979 | -0.0041077 | 0.0011098 | 0.0029979 | -0.0079458 | 0.0038304 | 0.0015876 | -0.0079458 | 0.0038304 | 0.0015876 | 123.4004 | 123.4004 | 123.4004 | 123.4004 | 123.4004 | 123.4004 |  | 1.8228 | 0.81268 | 0.69132 | 1.8228 | 0.81268 | 0.69132 | 6.0628 | -162.7579 | 151.3053 | 6.0628 | -162.7579 | 151.3053

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8673 | 2.8085 | 2.2993 | 1.865 | 2.8086 | 2.3017 | 21.5616 | 32.4292 | 26.5501 | 21.5349 | 32.4306 | 26.578 | -18.1236 | -7.1086e-11 | -7.2179e-11 | 17.8367 | 17.3478 | 5.2784 | -39.824 | -6.3234e-11 | -3.0268e-11 | 36.62 | 2.7688 | 11.0409 | 122.8003 | 8.2783 | -93.1233 | -57.1714 | -171.7725 | 86.8919 |  | 2.0293 | 0 | 0 | 1.8915 | 0.54169 | 0.46045 | 8.3304 | 0 | 0 | 6.859 | -162.7043 | 151.3403
Line_1 | 0.93127 | 1.4046 | 1.152 | 0.93249 | 1.4043 | 1.1509 | 10.7534 | 16.2188 | 13.3019 | 10.7674 | 16.2153 | 13.289 | 8.8317 | 13.0162 | 3.9753 | -8.9184 | -8.6739 | -2.6392 | 17.4992 | 2.0763 | 8.2923 | -18.31 | -1.3844 | -5.5204 | -57.1575 | -171.8214 | 86.9183 | 122.8286 | 8.2275 | -93.1081 |  | 1.8228 | 0.81268 | 0.69132 | 1.8915 | 0.54169 | 0.46045 | 6.0628 | -162.7579 | 151.3053 | 6.859 | -162.7043 | 151.3403
Line_2 | 0.93127 | 1.4046 | 1.152 | 0.93249 | 1.4043 | 1.1509 | 10.7534 | 16.2188 | 13.3019 | 10.7674 | 16.2153 | 13.289 | 8.8317 | 13.0162 | 3.9753 | -8.9184 | -8.6739 | -2.6392 | 17.4992 | 2.0763 | 8.2923 | -18.31 | -1.3844 | -5.5204 | -57.1575 | -171.8214 | 86.9183 | 122.8286 | 8.2275 | -93.1081 |  | 1.8228 | 0.81268 | 0.69132 | 1.8915 | 0.54169 | 0.46045 | 6.0628 | -162.7579 | 151.3053 | 6.859 | -162.7043 | 151.3403
Line_3 | 0.00042497 | 0.00042497 | 0.00042497 | 0.00042497 | 0.00042497 | 0.00042497 | 0.0049071 | 0.0049071 | 0.0049071 | 0.0049071 | 0.0049071 | 0.0049071 | -0.0041077 | 0.0011098 | 0.0029979 | -0.0041077 | 0.0011098 | 0.0029979 | -0.0079458 | 0.0038304 | 0.0015876 | -0.0079458 | 0.0038304 | 0.0015876 | 123.4004 | 123.4004 | 123.4004 | 123.4004 | 123.4004 | 123.4004 |  | 1.8228 | 0.81268 | 0.69132 | 1.8228 | 0.81268 | 0.69132 | 6.0628 | -162.7579 | 151.3053 | 6.0628 | -162.7579 | 151.3053

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27484 | 0.66511 | 0.68855 | 0.27457 | 0.66469 | 0.68951 | 3.1736 | 7.68 | 7.9507 | 3.1704 | 7.6751 | 7.9618 | -3.9249 | -3.8208 | -5.1741 | 3.5854 | 5.062 | 6.3729 | -1.4406 | -5.0927 | 0.96724 | 1.4681 | 4.756 | 0.078205 | 160.3512 | 17.2314 | -66.1143 | -19.4266 | -162.8562 | 113.8411 |  | 1.3174 | 0.82899 | 0.66204 | 1.222 | 0.90497 | 0.80049 | 0.5065 | -109.6476 | 103.2971 | 2.8404 | -119.6412 | 114.5442
Line_1 | 0.13705 | 0.33224 | 0.34528 | 0.13728 | 0.33234 | 0.34476 | 1.5825 | 3.8364 | 3.9869 | 1.5852 | 3.8376 | 3.9809 | 1.7069 | 2.8391 | 3.4906 | -1.7927 | -2.531 | -3.1864 | 0.73812 | 2.2957 | 0.30166 | -0.73403 | -2.378 | -0.039103 | -19.2206 | -162.9485 | 113.8134 | 160.5734 | 17.1438 | -66.1589 |  | 1.1751 | 0.95174 | 0.87877 | 1.222 | 0.90497 | 0.80049 | 4.1649 | -123.9894 | 118.7526 | 2.8404 | -119.6412 | 114.5442
Line_2 | 0.13705 | 0.33224 | 0.34528 | 0.13728 | 0.33234 | 0.34476 | 1.5825 | 3.8364 | 3.9869 | 1.5852 | 3.8376 | 3.9809 | 1.7069 | 2.8391 | 3.4906 | -1.7927 | -2.531 | -3.1864 | 0.73812 | 2.2957 | 0.30166 | -0.73403 | -2.378 | -0.039103 | -19.2206 | -162.9485 | 113.8134 | 160.5734 | 17.1438 | -66.1589 |  | 1.1751 | 0.95174 | 0.87877 | 1.222 | 0.90497 | 0.80049 | 4.1649 | -123.9894 | 118.7526 | 2.8404 | -119.6412 | 114.5442
Line_3 | 0.00018746 | 0.00018746 | 0.00018746 | 0.00018746 | 0.00018746 | 0.00018746 | 0.0021645 | 0.0021645 | 0.0021645 | 0.0021645 | 0.0021645 | 0.0021645 | -0.00056748 | -0.0012952 | 0.0018627 | -0.00056748 | -0.0012952 | 0.0018627 | -0.0024795 | 0.001602 | 0.00038561 | -0.0024795 | 0.001602 | 0.00038561 | 107.0563 | 107.0563 | 107.0563 | 107.0563 | 107.0563 | 107.0563 |  | 1.1751 | 0.95174 | 0.87877 | 1.1751 | 0.95174 | 0.87877 | 4.1649 | -123.9894 | 118.7526 | 4.1649 | -123.9894 | 118.7526

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27484 | 0.66511 | 0.68855 | 0.27457 | 0.66469 | 0.68951 | 3.1736 | 7.68 | 7.9507 | 3.1704 | 7.6751 | 7.9618 | -3.9249 | -3.8208 | -5.1741 | 3.5854 | 5.062 | 6.3729 | -1.4406 | -5.0927 | 0.96724 | 1.4681 | 4.756 | 0.078205 | 160.3512 | 17.2314 | -66.1143 | -19.4266 | -162.8562 | 113.8411 |  | 1.3174 | 0.82899 | 0.66204 | 1.222 | 0.90497 | 0.80049 | 0.5065 | -109.6476 | 103.2971 | 2.8404 | -119.6412 | 114.5442
Line_1 | 0.13705 | 0.33224 | 0.34528 | 0.13728 | 0.33234 | 0.34476 | 1.5825 | 3.8364 | 3.9869 | 1.5852 | 3.8376 | 3.9809 | 1.7069 | 2.8391 | 3.4906 | -1.7927 | -2.531 | -3.1864 | 0.73812 | 2.2957 | 0.30166 | -0.73403 | -2.378 | -0.039103 | -19.2206 | -162.9485 | 113.8134 | 160.5734 | 17.1438 | -66.1589 |  | 1.1751 | 0.95174 | 0.87877 | 1.222 | 0.90497 | 0.80049 | 4.1649 | -123.9894 | 118.7526 | 2.8404 | -119.6412 | 114.5442
Line_2 | 0.13705 | 0.33224 | 0.34528 | 0.13728 | 0.33234 | 0.34476 | 1.5825 | 3.8364 | 3.9869 | 1.5852 | 3.8376 | 3.9809 | 1.7069 | 2.8391 | 3.4906 | -1.7927 | -2.531 | -3.1864 | 0.73812 | 2.2957 | 0.30166 | -0.73403 | -2.378 | -0.039103 | -19.2206 | -162.9485 | 113.8134 | 160.5734 | 17.1438 | -66.1589 |  | 1.1751 | 0.95174 | 0.87877 | 1.222 | 0.90497 | 0.80049 | 4.1649 | -123.9894 | 118.7526 | 2.8404 | -119.6412 | 114.5442
Line_3 | 0.00018746 | 0.00018746 | 0.00018746 | 0.00018746 | 0.00018746 | 0.00018746 | 0.0021645 | 0.0021645 | 0.0021645 | 0.0021645 | 0.0021645 | 0.0021645 | -0.00056748 | -0.0012952 | 0.0018627 | -0.00056748 | -0.0012952 | 0.0018627 | -0.0024795 | 0.001602 | 0.00038561 | -0.0024795 | 0.001602 | 0.00038561 | 107.0563 | 107.0563 | 107.0563 | 107.0563 | 107.0563 | 107.0563 |  | 1.1751 | 0.95174 | 0.87877 | 1.1751 | 0.95174 | 0.87877 | 4.1649 | -123.9894 | 118.7526 | 4.1649 | -123.9894 | 118.7526