## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 6.9696 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 16.1507 | 16.1507 | 0 | 26.2818 | 559.4778 | 559.4778 | 406.92 | -1e-07 | 461.6977 | -1e-07 | -48.6085 | 131.3915 | 1.1 | 0 | -1.9268e-08 | 0
Line_2 | 16.1507 | 16.1507 | 0 | 26.2818 | 559.4778 | 559.4778 | 406.92 | -1e-07 | 461.6977 | -1e-07 | -48.6085 | 131.3915 | 1.1 | 0 | -1.9268e-08 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -1.9268e-08 | -1.9268e-08

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 6.9696 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 16.1507 | 16.1507 | 0 | 26.2818 | 559.4778 | 559.4778 | 406.92 | -1e-07 | 461.6977 | -1e-07 | -48.6085 | 131.3915 | 1.1 | 0 | -1.9268e-08 | 0
Line_2 | 16.1507 | 16.1507 | 0 | 26.2818 | 559.4778 | 559.4778 | 406.92 | -1e-07 | 461.6977 | -1e-07 | -48.6085 | 131.3915 | 1.1 | 0 | -1.9268e-08 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -1.9268e-08 | -1.9268e-08

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.20307 | 0.20307 | 0 | 0.33045 | 7.0346 | 7.0346 | 2.4825 | -2.4181 | 7.0389 | -6.966 | -71.1838 | 108.8162 | 1.061 | 1.0482 | -0.61025 | -0.32747
Line_1 | 0.76577 | 0.76577 | 0 | 1.2461 | 26.527 | 26.527 | 21.6805 | -20.7657 | 19.5297 | -18.4918 | -42.0124 | 137.9876 | 1.1 | 1.0482 | -1.0266e-09 | -0.32747
Line_2 | 0.76577 | 0.76577 | 0 | 1.2461 | 26.527 | 26.527 | 21.6805 | -20.7657 | 19.5297 | -18.4918 | -42.0124 | 137.9876 | 1.1 | 1.0482 | -1.0266e-09 | -0.32747
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -1.0266e-09 | -1.0266e-09

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.20307 | 0.20307 | 0 | 0.33045 | 7.0346 | 7.0346 | 2.4825 | -2.4181 | 7.0389 | -6.966 | -71.1838 | 108.8162 | 1.061 | 1.0482 | -0.61025 | -0.32747
Line_1 | 0.76577 | 0.76577 | 0 | 1.2461 | 26.527 | 26.527 | 21.6805 | -20.7657 | 19.5297 | -18.4918 | -42.0124 | 137.9876 | 1.1 | 1.0482 | -1.0266e-09 | -0.32747
Line_2 | 0.76577 | 0.76577 | 0 | 1.2461 | 26.527 | 26.527 | 21.6805 | -20.7657 | 19.5297 | -18.4918 | -42.0124 | 137.9876 | 1.1 | 1.0482 | -1.0266e-09 | -0.32747
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -1.0266e-09 | -1.0266e-09

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 5.4211 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 9.9569 | 9.9569 | 0 | 14.987 | 344.917 | 344.917 | 296.9434 | -1e-07 | 175.4774 | -1e-07 | -30.5808 | 149.4192 | 1 | 0 | -1.7014e-08 | 0
Line_2 | 9.9569 | 9.9569 | 0 | 14.987 | 344.917 | 344.917 | 296.9434 | -1e-07 | 175.4774 | -1e-07 | -30.5808 | 149.4192 | 1 | 0 | -1.7014e-08 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.7014e-08 | -1.7014e-08

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 5.4211 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 9.9569 | 9.9569 | 0 | 14.987 | 344.917 | 344.917 | 296.9434 | -1e-07 | 175.4774 | -1e-07 | -30.5808 | 149.4192 | 1 | 0 | -1.7014e-08 | 0
Line_2 | 9.9569 | 9.9569 | 0 | 14.987 | 344.917 | 344.917 | 296.9434 | -1e-07 | 175.4774 | -1e-07 | -30.5808 | 149.4192 | 1 | 0 | -1.7014e-08 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.7014e-08 | -1.7014e-08

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.24067 | 0.24067 | 0 | 0.36225 | 8.337 | 8.337 | 1.7416 | -1.5681 | 7.7288 | -7.6263 | -77.801 | 102.199 | 0.9503 | 0.9339 | -0.49997 | 0.57968
Line_1 | 0.66534 | 0.66534 | 0 | 1.0015 | 23.0482 | 23.0482 | 17.9851 | -16.6592 | 14.4136 | -13.6301 | -38.7094 | 141.2906 | 1 | 0.9339 | -1.0305e-09 | 0.57968
Line_2 | 0.66534 | 0.66534 | 0 | 1.0015 | 23.0482 | 23.0482 | 17.9851 | -16.6592 | 14.4136 | -13.6301 | -38.7094 | 141.2906 | 1 | 0.9339 | -1.0305e-09 | 0.57968
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.0305e-09 | -1.0305e-09

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.24067 | 0.24067 | 0 | 0.36225 | 8.337 | 8.337 | 1.7416 | -1.5681 | 7.7288 | -7.6263 | -77.801 | 102.199 | 0.9503 | 0.9339 | -0.49997 | 0.57968
Line_1 | 0.66534 | 0.66534 | 0 | 1.0015 | 23.0482 | 23.0482 | 17.9851 | -16.6592 | 14.4136 | -13.6301 | -38.7094 | 141.2906 | 1 | 0.9339 | -1.0305e-09 | 0.57968
Line_2 | 0.66534 | 0.66534 | 0 | 1.0015 | 23.0482 | 23.0482 | 17.9851 | -16.6592 | 14.4136 | -13.6301 | -38.7094 | 141.2906 | 1 | 0.9339 | -1.0305e-09 | 0.57968
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.0305e-09 | -1.0305e-09

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.4587 | 3.9255 | 4.2529 | 3.4587 | 3.9255 | 4.2529 | 39.9376 | 45.3275 | 49.1088 | 39.9376 | 45.3275 | 49.1088 | -15.0186 | 44.6362 | -37.8373 | 21.2391 | -36.6233 | 47.2429 | -69.3456 | -17.0594 | -1.3792 | 76.4036 | 26.1509 | 12.0509 | 108.2117 | -141.7947 | -11.6335 | -71.7883 | 38.2053 | 168.3665 | 1.7766 | 1.0542 | 0.77099 | 1.9856 | 0.99281 | 0.99281 | 5.9916 | -162.7109 | 170.4541 | 2.6765 | -177.3235 | -177.3235
Line_1 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 12.1747 | 20.7519 | -12.3318 | -10.6196 | -19.1968 | 13.887 | 39.9663 | 6.7165 | 15.9133 | -38.2018 | -4.952 | -14.1489 | -71.7883 | 168.2117 | 48.2117 | 108.2117 | -11.7883 | -131.7883 | 2.0922 | 1.0923 | 1.0082 | 1.9856 | 0.99281 | 0.99281 | 1.2697 | -173.8537 | 175.9852 | 2.6765 | -177.3235 | -177.3235
Line_2 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 12.1747 | 20.7519 | -12.3318 | -10.6196 | -19.1968 | 13.887 | 39.9663 | 6.7165 | 15.9133 | -38.2018 | -4.952 | -14.1489 | -71.7883 | 168.2117 | 48.2117 | 108.2117 | -11.7883 | -131.7883 | 2.0922 | 1.0923 | 1.0082 | 1.9856 | 0.99281 | 0.99281 | 1.2697 | -173.8537 | 175.9852 | 2.6765 | -177.3235 | -177.3235
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8389e-14 | 8.3098e-15 | 2.1062e-14 | -7.6864e-16 | 1.4207e-14 | 1.5044e-14 | -6.4844e-14 | -7.7166e-14 | 2.7247e-14 | 3.4679e-14 | 6.1376e-14 | -5.8506e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0922 | 1.0923 | 1.0082 | 2.0922 | 1.0923 | 1.0082 | 1.2697 | -173.8537 | 175.9852 | 1.2697 | -173.8537 | 175.9852

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.4587 | 3.9255 | 4.2529 | 3.4587 | 3.9255 | 4.2529 | 39.9376 | 45.3275 | 49.1088 | 39.9376 | 45.3275 | 49.1088 | -15.0186 | 44.6362 | -37.8373 | 21.2391 | -36.6233 | 47.2429 | -69.3456 | -17.0594 | -1.3792 | 76.4036 | 26.1509 | 12.0509 | 108.2117 | -141.7947 | -11.6335 | -71.7883 | 38.2053 | 168.3665 | 1.7766 | 1.0542 | 0.77099 | 1.9856 | 0.99281 | 0.99281 | 5.9916 | -162.7109 | 170.4541 | 2.6765 | -177.3235 | -177.3235
Line_1 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 12.1747 | 20.7519 | -12.3318 | -10.6196 | -19.1968 | 13.887 | 39.9663 | 6.7165 | 15.9133 | -38.2018 | -4.952 | -14.1489 | -71.7883 | 168.2117 | 48.2117 | 108.2117 | -11.7883 | -131.7883 | 2.0922 | 1.0923 | 1.0082 | 1.9856 | 0.99281 | 0.99281 | 1.2697 | -173.8537 | 175.9852 | 2.6765 | -177.3235 | -177.3235
Line_2 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 1.7293 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 19.9688 | 12.1747 | 20.7519 | -12.3318 | -10.6196 | -19.1968 | 13.887 | 39.9663 | 6.7165 | 15.9133 | -38.2018 | -4.952 | -14.1489 | -71.7883 | 168.2117 | 48.2117 | 108.2117 | -11.7883 | -131.7883 | 2.0922 | 1.0923 | 1.0082 | 1.9856 | 0.99281 | 0.99281 | 1.2697 | -173.8537 | 175.9852 | 2.6765 | -177.3235 | -177.3235
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8389e-14 | 8.3098e-15 | 2.1062e-14 | -7.6864e-16 | 1.4207e-14 | 1.5044e-14 | -6.4844e-14 | -7.7166e-14 | 2.7247e-14 | 3.4679e-14 | 6.1376e-14 | -5.8506e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0922 | 1.0923 | 1.0082 | 2.0922 | 1.0923 | 1.0082 | 1.2697 | -173.8537 | 175.9852 | 1.2697 | -173.8537 | 175.9852

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1308 | 1.2835 | 1.3905 | 1.1308 | 1.2835 | 1.3905 | 13.0578 | 14.8201 | 16.0564 | 13.0578 | 14.8201 | 16.0564 | -9.153 | 16.1215 | -6.5288 | 9.818 | -15.2649 | 7.5343 | -14.1341 | -3.4812 | 12.0289 | 14.8886 | 4.453 | -10.8881 | 128.8766 | -121.1298 | 9.0313 | -51.1234 | 58.8702 | -170.9687 | 1.2896 | 1.1129 | 0.8524 | 1.3658 | 1.0729 | 0.82463 | 5.9501 | -133.3148 | 127.5227 | 5.4745 | -137.3928 | 133.7135
Line_1 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 5.0752 | 5.9921 | 2.4555 | -4.909 | -5.8259 | -2.2892 | 7.6329 | 4.0785 | 5.0617 | -7.4443 | -3.8899 | -4.873 | -51.1234 | -171.1234 | 68.8766 | 128.8766 | 8.8766 | -111.1234 | 1.4039 | 1.1102 | 0.86168 | 1.3658 | 1.0729 | 0.82463 | 5.2561 | -136.8825 | 132.9979 | 5.4745 | -137.3928 | 133.7135
Line_2 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 5.0752 | 5.9921 | 2.4555 | -4.909 | -5.8259 | -2.2892 | 7.6329 | 4.0785 | 5.0617 | -7.4443 | -3.8899 | -4.873 | -51.1234 | -171.1234 | 68.8766 | 128.8766 | 8.8766 | -111.1234 | 1.4039 | 1.1102 | 0.86168 | 1.3658 | 1.0729 | 0.82463 | 5.2561 | -136.8825 | 132.9979 | 5.4745 | -137.3928 | 133.7135
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0066e-15 | 1.0417e-14 | 2.9853e-15 | -3.6158e-15 | 6.1247e-15 | 2.5819e-15 | -3.6158e-15 | -2.2666e-14 | 2.7836e-15 | 3.0066e-15 | 1.6542e-14 | -8.7542e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4039 | 1.1102 | 0.86168 | 1.4039 | 1.1102 | 0.86168 | 5.2561 | -136.8825 | 132.9979 | 5.2561 | -136.8825 | 132.9979

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1308 | 1.2835 | 1.3905 | 1.1308 | 1.2835 | 1.3905 | 13.0578 | 14.8201 | 16.0564 | 13.0578 | 14.8201 | 16.0564 | -9.153 | 16.1215 | -6.5288 | 9.818 | -15.2649 | 7.5343 | -14.1341 | -3.4812 | 12.0289 | 14.8886 | 4.453 | -10.8881 | 128.8766 | -121.1298 | 9.0313 | -51.1234 | 58.8702 | -170.9687 | 1.2896 | 1.1129 | 0.8524 | 1.3658 | 1.0729 | 0.82463 | 5.9501 | -133.3148 | 127.5227 | 5.4745 | -137.3928 | 133.7135
Line_1 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 5.0752 | 5.9921 | 2.4555 | -4.909 | -5.8259 | -2.2892 | 7.6329 | 4.0785 | 5.0617 | -7.4443 | -3.8899 | -4.873 | -51.1234 | -171.1234 | 68.8766 | 128.8766 | 8.8766 | -111.1234 | 1.4039 | 1.1102 | 0.86168 | 1.3658 | 1.0729 | 0.82463 | 5.2561 | -136.8825 | 132.9979 | 5.4745 | -137.3928 | 133.7135
Line_2 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 0.56542 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 6.5289 | 5.0752 | 5.9921 | 2.4555 | -4.909 | -5.8259 | -2.2892 | 7.6329 | 4.0785 | 5.0617 | -7.4443 | -3.8899 | -4.873 | -51.1234 | -171.1234 | 68.8766 | 128.8766 | 8.8766 | -111.1234 | 1.4039 | 1.1102 | 0.86168 | 1.3658 | 1.0729 | 0.82463 | 5.2561 | -136.8825 | 132.9979 | 5.4745 | -137.3928 | 133.7135
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0066e-15 | 1.0417e-14 | 2.9853e-15 | -3.6158e-15 | 6.1247e-15 | 2.5819e-15 | -3.6158e-15 | -2.2666e-14 | 2.7836e-15 | 3.0066e-15 | 1.6542e-14 | -8.7542e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4039 | 1.1102 | 0.86168 | 1.4039 | 1.1102 | 0.86168 | 5.2561 | -136.8825 | 132.9979 | 5.2561 | -136.8825 | 132.9979

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7686 | 3.1829 | 3.6275 | 2.7686 | 3.1829 | 3.6275 | 31.9686 | 36.753 | 41.8871 | 31.9686 | 36.753 | 41.8871 | -17.0736 | 34.4424 | -23.5529 | 24.7263 | -24.3277 | 36.6909 | -46.0876 | -15.3895 | 3.8255 | 50.6099 | 21.3667 | 3.9383 | 120.4256 | -134.3206 | -1.7395 | -59.5744 | 45.6794 | 178.2605 | 1.5374 | 1.0264 | 0.56966 | 1.762 | 0.88098 | 0.88098 | 10.0979 | -158.3966 | 169.0349 | 4.387 | -175.613 | -175.613
Line_1 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 14.2763 | 15.9613 | -5.9534 | -12.3632 | -14.0482 | 7.8666 | 26.4355 | 2.1034 | 12.8102 | -25.305 | -0.97284 | -11.6796 | -59.5744 | -179.5744 | 60.4256 | 120.4256 | 0.42557 | -119.5744 | 1.8796 | 1.0072 | 0.88374 | 1.762 | 0.88098 | 0.88098 | 2.0546 | -172.0671 | 175.3517 | 4.387 | -175.613 | -175.613
Line_2 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 14.2763 | 15.9613 | -5.9534 | -12.3632 | -14.0482 | 7.8666 | 26.4355 | 2.1034 | 12.8102 | -25.305 | -0.97284 | -11.6796 | -59.5744 | -179.5744 | 60.4256 | 120.4256 | 0.42557 | -119.5744 | 1.8796 | 1.0072 | 0.88374 | 1.762 | 0.88098 | 0.88098 | 2.0546 | -172.0671 | 175.3517 | 4.387 | -175.613 | -175.613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1327e-14 | -1.5493e-14 | -1.8725e-14 | 5.1312e-14 | 2.3627e-14 | 1.1398e-14 | -2.8928e-14 | 7.4754e-15 | -2.3678e-14 | 5.9751e-14 | 3.2923e-15 | 3.6874e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8796 | 1.0072 | 0.88374 | 1.8796 | 1.0072 | 0.88374 | 2.0546 | -172.0671 | 175.3517 | 2.0546 | -172.0671 | 175.3517

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7686 | 3.1829 | 3.6275 | 2.7686 | 3.1829 | 3.6275 | 31.9686 | 36.753 | 41.8871 | 31.9686 | 36.753 | 41.8871 | -17.0736 | 34.4424 | -23.5529 | 24.7263 | -24.3277 | 36.6909 | -46.0876 | -15.3895 | 3.8255 | 50.6099 | 21.3667 | 3.9383 | 120.4256 | -134.3206 | -1.7395 | -59.5744 | 45.6794 | 178.2605 | 1.5374 | 1.0264 | 0.56966 | 1.762 | 0.88098 | 0.88098 | 10.0979 | -158.3966 | 169.0349 | 4.387 | -175.613 | -175.613
Line_1 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 14.2763 | 15.9613 | -5.9534 | -12.3632 | -14.0482 | 7.8666 | 26.4355 | 2.1034 | 12.8102 | -25.305 | -0.97284 | -11.6796 | -59.5744 | -179.5744 | 60.4256 | 120.4256 | 0.42557 | -119.5744 | 1.8796 | 1.0072 | 0.88374 | 1.762 | 0.88098 | 0.88098 | 2.0546 | -172.0671 | 175.3517 | 4.387 | -175.613 | -175.613
Line_2 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 1.3843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 15.9843 | 14.2763 | 15.9613 | -5.9534 | -12.3632 | -14.0482 | 7.8666 | 26.4355 | 2.1034 | 12.8102 | -25.305 | -0.97284 | -11.6796 | -59.5744 | -179.5744 | 60.4256 | 120.4256 | 0.42557 | -119.5744 | 1.8796 | 1.0072 | 0.88374 | 1.762 | 0.88098 | 0.88098 | 2.0546 | -172.0671 | 175.3517 | 4.387 | -175.613 | -175.613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1327e-14 | -1.5493e-14 | -1.8725e-14 | 5.1312e-14 | 2.3627e-14 | 1.1398e-14 | -2.8928e-14 | 7.4754e-15 | -2.3678e-14 | 5.9751e-14 | 3.2923e-15 | 3.6874e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8796 | 1.0072 | 0.88374 | 1.8796 | 1.0072 | 0.88374 | 2.0546 | -172.0671 | 175.3517 | 2.0546 | -172.0671 | 175.3517

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95409 | 1.0969 | 1.2501 | 0.95409 | 1.0969 | 1.2501 | 11.0169 | 12.6657 | 14.435 | 11.0169 | 12.6657 | 14.435 | -7.7371 | 12.5253 | -4.7166 | 8.6459 | -11.3241 | 6.2768 | -10.1446 | -2.709 | 9.9274 | 10.6817 | 3.4188 | -9.0054 | 133.849 | -120.8972 | 11.684 | -46.151 | 59.1028 | -168.316 | 1.1581 | 1.0118 | 0.76141 | 1.2474 | 0.93394 | 0.76045 | 6.5171 | -133.101 | 127.0967 | 4.8619 | -137.6965 | 136.5608
Line_1 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 4.5501 | 4.7503 | 2.1477 | -4.3229 | -4.5231 | -1.9205 | 5.4751 | 2.5854 | 3.857 | -5.3408 | -2.4512 | -3.7227 | -46.151 | -166.151 | 73.849 | 133.849 | 13.849 | -106.151 | 1.2924 | 0.98182 | 0.80143 | 1.2474 | 0.93394 | 0.76045 | 4.1204 | -137.5928 | 134.7388 | 4.8619 | -137.6965 | 136.5608
Line_2 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 4.5501 | 4.7503 | 2.1477 | -4.3229 | -4.5231 | -1.9205 | 5.4751 | 2.5854 | 3.857 | -5.3408 | -2.4512 | -3.7227 | -46.151 | -166.151 | 73.849 | 133.849 | 13.849 | -106.151 | 1.2924 | 0.98182 | 0.80143 | 1.2474 | 0.93394 | 0.76045 | 4.1204 | -137.5928 | 134.7388 | 4.8619 | -137.6965 | 136.5608
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7122e-14 | -6.6449e-15 | -8.0164e-15 | 1.8538e-14 | 9.2204e-15 | 1.0713e-14 | 3.37e-15 | -1.3451e-15 | 8.0898e-15 | -1.7334e-15 | 3.6975e-15 | -5.4177e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2924 | 0.98182 | 0.80143 | 1.2924 | 0.98182 | 0.80143 | 4.1204 | -137.5928 | 134.7388 | 4.1204 | -137.5928 | 134.7388

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95409 | 1.0969 | 1.2501 | 0.95409 | 1.0969 | 1.2501 | 11.0169 | 12.6657 | 14.435 | 11.0169 | 12.6657 | 14.435 | -7.7371 | 12.5253 | -4.7166 | 8.6459 | -11.3241 | 6.2768 | -10.1446 | -2.709 | 9.9274 | 10.6817 | 3.4188 | -9.0054 | 133.849 | -120.8972 | 11.684 | -46.151 | 59.1028 | -168.316 | 1.1581 | 1.0118 | 0.76141 | 1.2474 | 0.93394 | 0.76045 | 6.5171 | -133.101 | 127.0967 | 4.8619 | -137.6965 | 136.5608
Line_1 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 4.5501 | 4.7503 | 2.1477 | -4.3229 | -4.5231 | -1.9205 | 5.4751 | 2.5854 | 3.857 | -5.3408 | -2.4512 | -3.7227 | -46.151 | -166.151 | 73.849 | 133.849 | 13.849 | -106.151 | 1.2924 | 0.98182 | 0.80143 | 1.2474 | 0.93394 | 0.76045 | 4.1204 | -137.5928 | 134.7388 | 4.8619 | -137.6965 | 136.5608
Line_2 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 0.47704 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 5.5084 | 4.5501 | 4.7503 | 2.1477 | -4.3229 | -4.5231 | -1.9205 | 5.4751 | 2.5854 | 3.857 | -5.3408 | -2.4512 | -3.7227 | -46.151 | -166.151 | 73.849 | 133.849 | 13.849 | -106.151 | 1.2924 | 0.98182 | 0.80143 | 1.2474 | 0.93394 | 0.76045 | 4.1204 | -137.5928 | 134.7388 | 4.8619 | -137.6965 | 136.5608
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7122e-14 | -6.6449e-15 | -8.0164e-15 | 1.8538e-14 | 9.2204e-15 | 1.0713e-14 | 3.37e-15 | -1.3451e-15 | 8.0898e-15 | -1.7334e-15 | 3.6975e-15 | -5.4177e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2924 | 0.98182 | 0.80143 | 1.2924 | 0.98182 | 0.80143 | 4.1204 | -137.5928 | 134.7388 | 4.1204 | -137.5928 | 134.7388

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7026 | 1.5343 | 1.3896 | 1.7003 | 1.5379 | 1.3884 | 19.6599 | 17.7169 | 16.0454 | 19.6339 | 17.7583 | 16.0317 | 1.4968 | -18.8764 | 18.2121 | 6.0097e-12 | 20.1579 | -17.2548 | 1.7163 | 12.7844 | -24.3258 | -8.0457e-12 | -11.4178 | 25.3914 | -53.4494 | 76.0332 | -174.9957 | 126.6445 | -103.9679 | 4.8647 |  | 0.11583 | 1.2868 | 1.8939 | 0 | 1.3046 | 1.9149 | -4.5422 | -138.0755 | 131.8255 | 0 | -133.4958 | 129.0628
Line_1 | 1.4581 | 0.77191 | 0.69338 | 1.4562 | 0.76896 | 0.69419 | 16.8361 | 8.9132 | 8.0065 | 16.815 | 8.8791 | 8.0159 | 4.6976 | 11.1454 | -7.0738 | 4.6423e-12 | -10.079 | 8.6274 | 2.1409 | -3.5591 | 11.7953 | -7.2402e-12 | 5.7089 | -12.6957 | -49.3567 | -103.957 | 4.6299 | 130.7346 | 76.0321 | -175.1353 |  | 0.30663 | 1.3126 | 1.7178 | 0 | 1.3046 | 1.9149 | -24.8557 | -121.6672 | 125.5815 | 0 | -133.4958 | 129.0628
Line_2 | 1.4581 | 0.77191 | 0.69338 | 1.4562 | 0.76896 | 0.69419 | 16.8361 | 8.9132 | 8.0065 | 16.815 | 8.8791 | 8.0159 | 4.6976 | 11.1454 | -7.0738 | 4.6423e-12 | -10.079 | 8.6274 | 2.1409 | -3.5591 | 11.7953 | -7.2402e-12 | 5.7089 | -12.6957 | -49.3567 | -103.957 | 4.6299 | 130.7346 | 76.0321 | -175.1353 |  | 0.30663 | 1.3126 | 1.7178 | 0 | 1.3046 | 1.9149 | -24.8557 | -121.6672 | 125.5815 | 0 | -133.4958 | 129.0628
Line_3 | 0.0011702 | 0.0011702 | 0.0011702 | 0.0011702 | 0.0011702 | 0.0011702 | 0.013513 | 0.013513 | 0.013513 | 0.013513 | 0.013513 | 0.013513 | 0.0013315 | 0.016002 | -0.017333 | 0.0013315 | 0.016002 | -0.017333 | 0.0039236 | -0.0076518 | -0.015439 | 0.0039236 | -0.0076518 | -0.015439 | -96.1107 | -96.1107 | -96.1107 | -96.1107 | -96.1107 | -96.1107 |  | 0.30663 | 1.3126 | 1.7178 | 0.30663 | 1.3126 | 1.7178 | -24.8557 | -121.6672 | 125.5815 | -24.8557 | -121.6672 | 125.5815

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7026 | 1.5343 | 1.3896 | 1.7003 | 1.5379 | 1.3884 | 19.6599 | 17.7169 | 16.0454 | 19.6339 | 17.7583 | 16.0317 | 1.4968 | -18.8764 | 18.2121 | 6.0097e-12 | 20.1579 | -17.2548 | 1.7163 | 12.7844 | -24.3258 | -8.0457e-12 | -11.4178 | 25.3914 | -53.4494 | 76.0332 | -174.9957 | 126.6445 | -103.9679 | 4.8647 |  | 0.11583 | 1.2868 | 1.8939 | 0 | 1.3046 | 1.9149 | -4.5422 | -138.0755 | 131.8255 | 0 | -133.4958 | 129.0628
Line_1 | 1.4581 | 0.77191 | 0.69338 | 1.4562 | 0.76896 | 0.69419 | 16.8361 | 8.9132 | 8.0065 | 16.815 | 8.8791 | 8.0159 | 4.6976 | 11.1454 | -7.0738 | 4.6423e-12 | -10.079 | 8.6274 | 2.1409 | -3.5591 | 11.7953 | -7.2402e-12 | 5.7089 | -12.6957 | -49.3567 | -103.957 | 4.6299 | 130.7346 | 76.0321 | -175.1353 |  | 0.30663 | 1.3126 | 1.7178 | 0 | 1.3046 | 1.9149 | -24.8557 | -121.6672 | 125.5815 | 0 | -133.4958 | 129.0628
Line_2 | 1.4581 | 0.77191 | 0.69338 | 1.4562 | 0.76896 | 0.69419 | 16.8361 | 8.9132 | 8.0065 | 16.815 | 8.8791 | 8.0159 | 4.6976 | 11.1454 | -7.0738 | 4.6423e-12 | -10.079 | 8.6274 | 2.1409 | -3.5591 | 11.7953 | -7.2402e-12 | 5.7089 | -12.6957 | -49.3567 | -103.957 | 4.6299 | 130.7346 | 76.0321 | -175.1353 |  | 0.30663 | 1.3126 | 1.7178 | 0 | 1.3046 | 1.9149 | -24.8557 | -121.6672 | 125.5815 | 0 | -133.4958 | 129.0628
Line_3 | 0.0011702 | 0.0011702 | 0.0011702 | 0.0011702 | 0.0011702 | 0.0011702 | 0.013513 | 0.013513 | 0.013513 | 0.013513 | 0.013513 | 0.013513 | 0.0013315 | 0.016002 | -0.017333 | 0.0013315 | 0.016002 | -0.017333 | 0.0039236 | -0.0076518 | -0.015439 | 0.0039236 | -0.0076518 | -0.015439 | -96.1107 | -96.1107 | -96.1107 | -96.1107 | -96.1107 | -96.1107 |  | 0.30663 | 1.3126 | 1.7178 | 0.30663 | 1.3126 | 1.7178 | -24.8557 | -121.6672 | 125.5815 | -24.8557 | -121.6672 | 125.5815

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47789 | 0.43065 | 0.39003 | 0.47725 | 0.43166 | 0.38969 | 5.5181 | 4.9728 | 4.5036 | 5.5108 | 4.9844 | 4.4998 | 3.062 | -5.1455 | 2.6097 | -2.9454 | 5.255 | -2.5415 | 3.368 | 2.4709 | -5.286 | -3.2237 | -2.3666 | 5.3642 | -49.2943 | 80.1882 | -170.8407 | 130.7995 | -99.8129 | 9.0198 |  | 0.82488 | 1.1478 | 1.309 | 0.79238 | 1.1563 | 1.3191 | -1.5693 | -125.4622 | 125.4348 | -1.6178 | -124.0568 | 124.3705
Line_1 | 0.40925 | 0.21666 | 0.19462 | 0.40873 | 0.21583 | 0.19485 | 4.7256 | 2.5018 | 2.2473 | 4.7196 | 2.4922 | 2.2499 | 3.0824 | 2.7184 | -1.1545 | -2.7131 | -2.6275 | 1.2707 | 2.7501 | -1.0171 | 2.6068 | -2.5739 | 1.1833 | -2.6821 | -45.2017 | -99.802 | 8.785 | 134.8897 | 80.1871 | -170.9802 |  | 0.87417 | 1.1602 | 1.2687 | 0.79238 | 1.1563 | 1.3191 | -3.4623 | -120.315 | 122.6733 | -1.6178 | -124.0568 | 124.3705
Line_2 | 0.40925 | 0.21666 | 0.19462 | 0.40873 | 0.21583 | 0.19485 | 4.7256 | 2.5018 | 2.2473 | 4.7196 | 2.4922 | 2.2499 | 3.0824 | 2.7184 | -1.1545 | -2.7131 | -2.6275 | 1.2707 | 2.7501 | -1.0171 | 2.6068 | -2.5739 | 1.1833 | -2.6821 | -45.2017 | -99.802 | 8.785 | 134.8897 | 80.1871 | -170.9802 |  | 0.87417 | 1.1602 | 1.2687 | 0.79238 | 1.1563 | 1.3191 | -3.4623 | -120.315 | 122.6733 | -1.6178 | -124.0568 | 124.3705
Line_3 | 0.00032846 | 0.00032846 | 0.00032846 | 0.00032846 | 0.00032846 | 0.00032846 | 0.0037927 | 0.0037927 | 0.0037927 | 0.0037927 | 0.0037927 | 0.0037927 | 8.7179e-05 | 0.0038721 | -0.0039593 | 8.7179e-05 | 0.0038721 | -0.0039593 | 0.0033143 | -0.0020901 | -0.0027343 | 0.0033143 | -0.0020901 | -0.0027343 | -91.9556 | -91.9556 | -91.9556 | -91.9556 | -91.9556 | -91.9556 |  | 0.87417 | 1.1602 | 1.2687 | 0.87417 | 1.1602 | 1.2687 | -3.4623 | -120.315 | 122.6733 | -3.4623 | -120.315 | 122.6733

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47789 | 0.43065 | 0.39003 | 0.47725 | 0.43166 | 0.38969 | 5.5181 | 4.9728 | 4.5036 | 5.5108 | 4.9844 | 4.4998 | 3.062 | -5.1455 | 2.6097 | -2.9454 | 5.255 | -2.5415 | 3.368 | 2.4709 | -5.286 | -3.2237 | -2.3666 | 5.3642 | -49.2943 | 80.1882 | -170.8407 | 130.7995 | -99.8129 | 9.0198 |  | 0.82488 | 1.1478 | 1.309 | 0.79238 | 1.1563 | 1.3191 | -1.5693 | -125.4622 | 125.4348 | -1.6178 | -124.0568 | 124.3705
Line_1 | 0.40925 | 0.21666 | 0.19462 | 0.40873 | 0.21583 | 0.19485 | 4.7256 | 2.5018 | 2.2473 | 4.7196 | 2.4922 | 2.2499 | 3.0824 | 2.7184 | -1.1545 | -2.7131 | -2.6275 | 1.2707 | 2.7501 | -1.0171 | 2.6068 | -2.5739 | 1.1833 | -2.6821 | -45.2017 | -99.802 | 8.785 | 134.8897 | 80.1871 | -170.9802 |  | 0.87417 | 1.1602 | 1.2687 | 0.79238 | 1.1563 | 1.3191 | -3.4623 | -120.315 | 122.6733 | -1.6178 | -124.0568 | 124.3705
Line_2 | 0.40925 | 0.21666 | 0.19462 | 0.40873 | 0.21583 | 0.19485 | 4.7256 | 2.5018 | 2.2473 | 4.7196 | 2.4922 | 2.2499 | 3.0824 | 2.7184 | -1.1545 | -2.7131 | -2.6275 | 1.2707 | 2.7501 | -1.0171 | 2.6068 | -2.5739 | 1.1833 | -2.6821 | -45.2017 | -99.802 | 8.785 | 134.8897 | 80.1871 | -170.9802 |  | 0.87417 | 1.1602 | 1.2687 | 0.79238 | 1.1563 | 1.3191 | -3.4623 | -120.315 | 122.6733 | -1.6178 | -124.0568 | 124.3705
Line_3 | 0.00032846 | 0.00032846 | 0.00032846 | 0.00032846 | 0.00032846 | 0.00032846 | 0.0037927 | 0.0037927 | 0.0037927 | 0.0037927 | 0.0037927 | 0.0037927 | 8.7179e-05 | 0.0038721 | -0.0039593 | 8.7179e-05 | 0.0038721 | -0.0039593 | 0.0033143 | -0.0020901 | -0.0027343 | 0.0033143 | -0.0020901 | -0.0027343 | -91.9556 | -91.9556 | -91.9556 | -91.9556 | -91.9556 | -91.9556 |  | 0.87417 | 1.1602 | 1.2687 | 0.87417 | 1.1602 | 1.2687 | -3.4623 | -120.315 | 122.6733 | -3.4623 | -120.315 | 122.6733

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3078 | 1.1769 | 0.99294 | 1.306 | 1.1803 | 0.99138 | 15.1012 | 13.5902 | 11.4655 | 15.0803 | 13.6287 | 11.4474 | 1.6964 | -10.3183 | 9.8924 | -1.7685e-12 | 11.7554 | -8.951 | 1.0207 | 12.2609 | -17.0912 | 1.1744e-11 | -11.4694 | 17.6061 | -44.9562 | 88.3021 | -165.2754 | 135.1701 | -91.7297 | 14.5503 |  | 0.13111 | 1.1792 | 1.7224 | 0 | 1.2051 | 1.7254 | -13.9214 | -141.6153 | 134.787 | 0 | -136.0243 | 131.4991
Line_1 | 1.0794 | 0.59268 | 0.49475 | 1.0781 | 0.59014 | 0.49569 | 12.4642 | 6.8437 | 5.7129 | 12.449 | 6.8144 | 5.7237 | 4.9854 | 7.3385 | -3.0628 | -2.9501e-13 | -5.8777 | 4.4755 | 1.0527 | -3.7407 | 7.6239 | 9.7995e-12 | 5.7347 | -8.803 | -38.1064 | -91.7527 | 14.2754 | 142.0098 | 88.2703 | -165.4497 |  | 0.4088 | 1.2036 | 1.4382 | 0 | 1.2051 | 1.7254 | -26.1828 | -118.7626 | 126.1626 | 0 | -136.0243 | 131.4991
Line_2 | 1.0794 | 0.59268 | 0.49475 | 1.0781 | 0.59014 | 0.49569 | 12.4642 | 6.8437 | 5.7129 | 12.449 | 6.8144 | 5.7237 | 4.9854 | 7.3385 | -3.0628 | -2.9501e-13 | -5.8777 | 4.4755 | 1.0527 | -3.7407 | 7.6239 | 9.7995e-12 | 5.7347 | -8.803 | -38.1064 | -91.7527 | 14.2754 | 142.0098 | 88.2703 | -165.4497 |  | 0.4088 | 1.2036 | 1.4382 | 0 | 1.2051 | 1.7254 | -26.1828 | -118.7626 | 126.1626 | 0 | -136.0243 | 131.4991
Line_3 | 0.00087737 | 0.00087737 | 0.00087737 | 0.00087737 | 0.00087737 | 0.00087737 | 0.010131 | 0.010131 | 0.010131 | 0.010131 | 0.010131 | 0.010131 | 0.0020828 | 0.010253 | -0.012335 | 0.0020828 | 0.010253 | -0.012335 | 0.0035798 | -0.0066002 | -0.007754 | 0.0035798 | -0.0066002 | -0.007754 | -85.9908 | -85.9908 | -85.9908 | -85.9908 | -85.9908 | -85.9908 |  | 0.4088 | 1.2036 | 1.4382 | 0.4088 | 1.2036 | 1.4382 | -26.1828 | -118.7626 | 126.1626 | -26.1828 | -118.7626 | 126.1626

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3078 | 1.1769 | 0.99294 | 1.306 | 1.1803 | 0.99138 | 15.1012 | 13.5902 | 11.4655 | 15.0803 | 13.6287 | 11.4474 | 1.6964 | -10.3183 | 9.8924 | -1.7685e-12 | 11.7554 | -8.951 | 1.0207 | 12.2609 | -17.0912 | 1.1744e-11 | -11.4694 | 17.6061 | -44.9562 | 88.3021 | -165.2754 | 135.1701 | -91.7297 | 14.5503 |  | 0.13111 | 1.1792 | 1.7224 | 0 | 1.2051 | 1.7254 | -13.9214 | -141.6153 | 134.787 | 0 | -136.0243 | 131.4991
Line_1 | 1.0794 | 0.59268 | 0.49475 | 1.0781 | 0.59014 | 0.49569 | 12.4642 | 6.8437 | 5.7129 | 12.449 | 6.8144 | 5.7237 | 4.9854 | 7.3385 | -3.0628 | -2.9501e-13 | -5.8777 | 4.4755 | 1.0527 | -3.7407 | 7.6239 | 9.7995e-12 | 5.7347 | -8.803 | -38.1064 | -91.7527 | 14.2754 | 142.0098 | 88.2703 | -165.4497 |  | 0.4088 | 1.2036 | 1.4382 | 0 | 1.2051 | 1.7254 | -26.1828 | -118.7626 | 126.1626 | 0 | -136.0243 | 131.4991
Line_2 | 1.0794 | 0.59268 | 0.49475 | 1.0781 | 0.59014 | 0.49569 | 12.4642 | 6.8437 | 5.7129 | 12.449 | 6.8144 | 5.7237 | 4.9854 | 7.3385 | -3.0628 | -2.9501e-13 | -5.8777 | 4.4755 | 1.0527 | -3.7407 | 7.6239 | 9.7995e-12 | 5.7347 | -8.803 | -38.1064 | -91.7527 | 14.2754 | 142.0098 | 88.2703 | -165.4497 |  | 0.4088 | 1.2036 | 1.4382 | 0 | 1.2051 | 1.7254 | -26.1828 | -118.7626 | 126.1626 | 0 | -136.0243 | 131.4991
Line_3 | 0.00087737 | 0.00087737 | 0.00087737 | 0.00087737 | 0.00087737 | 0.00087737 | 0.010131 | 0.010131 | 0.010131 | 0.010131 | 0.010131 | 0.010131 | 0.0020828 | 0.010253 | -0.012335 | 0.0020828 | 0.010253 | -0.012335 | 0.0035798 | -0.0066002 | -0.007754 | 0.0035798 | -0.0066002 | -0.007754 | -85.9908 | -85.9908 | -85.9908 | -85.9908 | -85.9908 | -85.9908 |  | 0.4088 | 1.2036 | 1.4382 | 0.4088 | 1.2036 | 1.4382 | -26.1828 | -118.7626 | 126.1626 | -26.1828 | -118.7626 | 126.1626

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41989 | 0.37788 | 0.3188 | 0.41931 | 0.37895 | 0.3183 | 4.8485 | 4.3634 | 3.6812 | 4.8418 | 4.3758 | 3.6754 | 2.3197 | -3.7753 | 1.8633 | -2.1474 | 3.9318 | -1.7721 | 2.6065 | 2.4639 | -4.117 | -2.4931 | -2.3842 | 4.1638 | -47.9657 | 85.2926 | -168.2848 | 132.1607 | -94.7392 | 11.5408 |  | 0.71966 | 1.0332 | 1.2276 | 0.67958 | 1.0508 | 1.2312 | 0.36606 | -127.8377 | 126.0662 | 1.4213 | -125.9717 | 124.5951
Line_1 | 0.34657 | 0.19029 | 0.15885 | 0.34615 | 0.18948 | 0.15915 | 4.0019 | 2.1973 | 1.8342 | 3.997 | 2.1879 | 1.8377 | 2.5178 | 2.1226 | -0.74524 | -2.0052 | -1.9659 | 0.88605 | 1.9472 | -0.98861 | 1.9561 | -1.8323 | 1.1921 | -2.0819 | -41.1159 | -94.7622 | 11.266 | 139.0004 | 85.2608 | -168.4592 |  | 0.79536 | 1.0656 | 1.1412 | 0.67958 | 1.0508 | 1.2312 | -3.3994 | -119.7362 | 122.1219 | 1.4213 | -125.9717 | 124.5951
Line_2 | 0.34657 | 0.19029 | 0.15885 | 0.34615 | 0.18948 | 0.15915 | 4.0019 | 2.1973 | 1.8342 | 3.997 | 2.1879 | 1.8377 | 2.5178 | 2.1226 | -0.74524 | -2.0052 | -1.9659 | 0.88605 | 1.9472 | -0.98861 | 1.9561 | -1.8323 | 1.1921 | -2.0819 | -41.1159 | -94.7622 | 11.266 | 139.0004 | 85.2608 | -168.4592 |  | 0.79536 | 1.0656 | 1.1412 | 0.67958 | 1.0508 | 1.2312 | -3.3994 | -119.7362 | 122.1219 | 1.4213 | -125.9717 | 124.5951
Line_3 | 0.0002817 | 0.0002817 | 0.0002817 | 0.0002817 | 0.0002817 | 0.0002817 | 0.0032528 | 0.0032528 | 0.0032528 | 0.0032528 | 0.0032528 | 0.0032528 | 0.00019844 | 0.0029794 | -0.0031778 | 0.00019844 | 0.0029794 | -0.0031778 | 0.0025795 | -0.0017715 | -0.0019186 | 0.0025795 | -0.0017715 | -0.0019186 | -89.0002 | -89.0002 | -89.0002 | -89.0002 | -89.0002 | -89.0002 |  | 0.79536 | 1.0656 | 1.1412 | 0.79536 | 1.0656 | 1.1412 | -3.3994 | -119.7362 | 122.1219 | -3.3994 | -119.7362 | 122.1219

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41989 | 0.37788 | 0.3188 | 0.41931 | 0.37895 | 0.3183 | 4.8485 | 4.3634 | 3.6812 | 4.8418 | 4.3758 | 3.6754 | 2.3197 | -3.7753 | 1.8633 | -2.1474 | 3.9318 | -1.7721 | 2.6065 | 2.4639 | -4.117 | -2.4931 | -2.3842 | 4.1638 | -47.9657 | 85.2926 | -168.2848 | 132.1607 | -94.7392 | 11.5408 |  | 0.71966 | 1.0332 | 1.2276 | 0.67958 | 1.0508 | 1.2312 | 0.36606 | -127.8377 | 126.0662 | 1.4213 | -125.9717 | 124.5951
Line_1 | 0.34657 | 0.19029 | 0.15885 | 0.34615 | 0.18948 | 0.15915 | 4.0019 | 2.1973 | 1.8342 | 3.997 | 2.1879 | 1.8377 | 2.5178 | 2.1226 | -0.74524 | -2.0052 | -1.9659 | 0.88605 | 1.9472 | -0.98861 | 1.9561 | -1.8323 | 1.1921 | -2.0819 | -41.1159 | -94.7622 | 11.266 | 139.0004 | 85.2608 | -168.4592 |  | 0.79536 | 1.0656 | 1.1412 | 0.67958 | 1.0508 | 1.2312 | -3.3994 | -119.7362 | 122.1219 | 1.4213 | -125.9717 | 124.5951
Line_2 | 0.34657 | 0.19029 | 0.15885 | 0.34615 | 0.18948 | 0.15915 | 4.0019 | 2.1973 | 1.8342 | 3.997 | 2.1879 | 1.8377 | 2.5178 | 2.1226 | -0.74524 | -2.0052 | -1.9659 | 0.88605 | 1.9472 | -0.98861 | 1.9561 | -1.8323 | 1.1921 | -2.0819 | -41.1159 | -94.7622 | 11.266 | 139.0004 | 85.2608 | -168.4592 |  | 0.79536 | 1.0656 | 1.1412 | 0.67958 | 1.0508 | 1.2312 | -3.3994 | -119.7362 | 122.1219 | 1.4213 | -125.9717 | 124.5951
Line_3 | 0.0002817 | 0.0002817 | 0.0002817 | 0.0002817 | 0.0002817 | 0.0002817 | 0.0032528 | 0.0032528 | 0.0032528 | 0.0032528 | 0.0032528 | 0.0032528 | 0.00019844 | 0.0029794 | -0.0031778 | 0.00019844 | 0.0029794 | -0.0031778 | 0.0025795 | -0.0017715 | -0.0019186 | 0.0025795 | -0.0017715 | -0.0019186 | -89.0002 | -89.0002 | -89.0002 | -89.0002 | -89.0002 | -89.0002 |  | 0.79536 | 1.0656 | 1.1412 | 0.79536 | 1.0656 | 1.1412 | -3.3994 | -119.7362 | 122.1219 | -3.3994 | -119.7362 | 122.1219

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.0457 | 3.9087 | 4.108 | 3.0412 | 3.9112 | 4.109 | 35.1684 | 45.1334 | 47.4357 | 35.1163 | 45.163 | 47.4461 | -20.2029 | 7.9518 | 8.7962 | 24.9985 | 1.4351e-10 | 6.2269e-11 | -90.5618 | 9.0492 | 9.9249 | 95.8796 | -9.8246e-11 | 1.6908e-10 | 106.277 | -144.9106 | -9.4811 | -73.7009 | 35.1463 | 170.4552 |  | 2.6384 | 0.26691 | 0.27958 | 2.8216 | 0 | 0 | 3.7011 | -96.217 | 38.9693 | 1.6858 | 0 | 0
Line_1 | 1.5168 | 3.2422 | 2.6871 | 1.5206 | 3.2413 | 2.6834 | 17.5147 | 37.4377 | 31.0283 | 17.5582 | 37.427 | 30.9849 | 10.7697 | 15.9746 | 5.7028 | -12.4993 | 1.4206e-10 | 1.0827e-10 | 45.1152 | 4.2772 | 12.8976 | -47.9398 | 2.4304e-11 | -4.6075e-11 | -73.6724 | 170.9757 | 83.3062 | 106.2991 | -8.9584 | -96.7103 |  | 2.6482 | 0.44173 | 0.45449 | 2.8216 | 0 | 0 | 2.9014 | -174.0348 | 149.453 | 1.6858 | 0 | 0
Line_2 | 1.5168 | 3.2422 | 2.6871 | 1.5206 | 3.2413 | 2.6834 | 17.5147 | 37.4377 | 31.0283 | 17.5582 | 37.427 | 30.9849 | 10.7697 | 15.9746 | 5.7028 | -12.4993 | 1.4206e-10 | 1.0827e-10 | 45.1152 | 4.2772 | 12.8976 | -47.9398 | 2.4304e-11 | -4.6075e-11 | -73.6724 | 170.9757 | 83.3062 | 106.2991 | -8.9584 | -96.7103 |  | 2.6482 | 0.44173 | 0.45449 | 2.8216 | 0 | 0 | 2.9014 | -174.0348 | 149.453 | 1.6858 | 0 | 0
Line_3 | 0.0015195 | 0.0015195 | 0.0015195 | 0.0015195 | 0.0015195 | 0.0015195 | 0.017546 | 0.017546 | 0.017546 | 0.017546 | 0.017546 | 0.017546 | -0.005724 | 0.00054232 | 0.0051817 | -0.005724 | 0.00054232 | 0.0051817 | -0.046112 | 0.0077317 | 0.0060617 | -0.046112 | 0.0077317 | 0.0060617 | 99.9775 | 99.9775 | 99.9775 | 99.9775 | 99.9775 | 99.9775 |  | 2.6482 | 0.44173 | 0.45449 | 2.6482 | 0.44173 | 0.45449 | 2.9014 | -174.0348 | 149.453 | 2.9014 | -174.0348 | 149.453

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.0457 | 3.9087 | 4.108 | 3.0412 | 3.9112 | 4.109 | 35.1684 | 45.1334 | 47.4357 | 35.1163 | 45.163 | 47.4461 | -20.2029 | 7.9518 | 8.7962 | 24.9985 | 1.4351e-10 | 6.2269e-11 | -90.5618 | 9.0492 | 9.9249 | 95.8796 | -9.8246e-11 | 1.6908e-10 | 106.277 | -144.9106 | -9.4811 | -73.7009 | 35.1463 | 170.4552 |  | 2.6384 | 0.26691 | 0.27958 | 2.8216 | 0 | 0 | 3.7011 | -96.217 | 38.9693 | 1.6858 | 0 | 0
Line_1 | 1.5168 | 3.2422 | 2.6871 | 1.5206 | 3.2413 | 2.6834 | 17.5147 | 37.4377 | 31.0283 | 17.5582 | 37.427 | 30.9849 | 10.7697 | 15.9746 | 5.7028 | -12.4993 | 1.4206e-10 | 1.0827e-10 | 45.1152 | 4.2772 | 12.8976 | -47.9398 | 2.4304e-11 | -4.6075e-11 | -73.6724 | 170.9757 | 83.3062 | 106.2991 | -8.9584 | -96.7103 |  | 2.6482 | 0.44173 | 0.45449 | 2.8216 | 0 | 0 | 2.9014 | -174.0348 | 149.453 | 1.6858 | 0 | 0
Line_2 | 1.5168 | 3.2422 | 2.6871 | 1.5206 | 3.2413 | 2.6834 | 17.5147 | 37.4377 | 31.0283 | 17.5582 | 37.427 | 30.9849 | 10.7697 | 15.9746 | 5.7028 | -12.4993 | 1.4206e-10 | 1.0827e-10 | 45.1152 | 4.2772 | 12.8976 | -47.9398 | 2.4304e-11 | -4.6075e-11 | -73.6724 | 170.9757 | 83.3062 | 106.2991 | -8.9584 | -96.7103 |  | 2.6482 | 0.44173 | 0.45449 | 2.8216 | 0 | 0 | 2.9014 | -174.0348 | 149.453 | 1.6858 | 0 | 0
Line_3 | 0.0015195 | 0.0015195 | 0.0015195 | 0.0015195 | 0.0015195 | 0.0015195 | 0.017546 | 0.017546 | 0.017546 | 0.017546 | 0.017546 | 0.017546 | -0.005724 | 0.00054232 | 0.0051817 | -0.005724 | 0.00054232 | 0.0051817 | -0.046112 | 0.0077317 | 0.0060617 | -0.046112 | 0.0077317 | 0.0060617 | 99.9775 | 99.9775 | 99.9775 | 99.9775 | 99.9775 | 99.9775 |  | 2.6482 | 0.44173 | 0.45449 | 2.6482 | 0.44173 | 0.45449 | 2.9014 | -174.0348 | 149.453 | 2.9014 | -174.0348 | 149.453

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44949 | 0.58887 | 0.65119 | 0.44878 | 0.58974 | 0.65089 | 5.1903 | 6.7997 | 7.5193 | 5.1821 | 6.8097 | 7.5159 | -4.6373 | 6.713 | -0.85241 | 4.743 | -6.5422 | 1.0819 | -5.4166 | 0.89212 | 6.5241 | 5.5198 | -0.68185 | -6.2708 | 132.5315 | -123.8372 | 14.0325 | -47.3765 | 56.2132 | -166.0526 |  | 1.3738 | 0.99594 | 0.87503 | 1.4044 | 0.96592 | 0.84667 | 1.9635 | -116.2673 | 111.4764 | 1.9524 | -117.8367 | 113.7359
Line_1 | 0.22377 | 0.58973 | 0.57036 | 0.22439 | 0.5897 | 0.56953 | 2.5839 | 6.8096 | 6.5859 | 2.591 | 6.8093 | 6.5764 | 2.2508 | 3.5107 | 5.704 | -2.3715 | -2.949 | -5.3199 | 2.7128 | 5.9257 | 2.19 | -2.7599 | -5.8791 | -1.6436 | -47.233 | 178.7206 | 96.5584 | 132.6235 | -1.1985 | -83.4325 |  | 1.3642 | 1.0115 | 0.92774 | 1.4044 | 0.96592 | 0.84667 | 3.0852 | -121.9241 | 117.5621 | 1.9524 | -117.8367 | 113.7359
Line_2 | 0.22377 | 0.58973 | 0.57036 | 0.22439 | 0.5897 | 0.56953 | 2.5839 | 6.8096 | 6.5859 | 2.591 | 6.8093 | 6.5764 | 2.2508 | 3.5107 | 5.704 | -2.3715 | -2.949 | -5.3199 | 2.7128 | 5.9257 | 2.19 | -2.7599 | -5.8791 | -1.6436 | -47.233 | 178.7206 | 96.5584 | 132.6235 | -1.1985 | -83.4325 |  | 1.3642 | 1.0115 | 0.92774 | 1.4044 | 0.96592 | 0.84667 | 3.0852 | -121.9241 | 117.5621 | 1.9524 | -117.8367 | 113.7359
Line_3 | 0.00032987 | 0.00032987 | 0.00032987 | 0.00032987 | 0.00032987 | 0.00032987 | 0.003809 | 0.003809 | 0.003809 | 0.003809 | 0.003809 | 0.003809 | -0.00020687 | -0.003065 | 0.0032719 | -0.00020687 | -0.003065 | 0.0032719 | -0.0051921 | 0.0023341 | 0.0013349 | -0.0051921 | 0.0023341 | 0.0013349 | 95.3668 | 95.3668 | 95.3668 | 95.3668 | 95.3668 | 95.3668 |  | 1.3642 | 1.0115 | 0.92774 | 1.3642 | 1.0115 | 0.92774 | 3.0852 | -121.9241 | 117.5621 | 3.0852 | -121.9241 | 117.5621

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44949 | 0.58887 | 0.65119 | 0.44878 | 0.58974 | 0.65089 | 5.1903 | 6.7997 | 7.5193 | 5.1821 | 6.8097 | 7.5159 | -4.6373 | 6.713 | -0.85241 | 4.743 | -6.5422 | 1.0819 | -5.4166 | 0.89212 | 6.5241 | 5.5198 | -0.68185 | -6.2708 | 132.5315 | -123.8372 | 14.0325 | -47.3765 | 56.2132 | -166.0526 |  | 1.3738 | 0.99594 | 0.87503 | 1.4044 | 0.96592 | 0.84667 | 1.9635 | -116.2673 | 111.4764 | 1.9524 | -117.8367 | 113.7359
Line_1 | 0.22377 | 0.58973 | 0.57036 | 0.22439 | 0.5897 | 0.56953 | 2.5839 | 6.8096 | 6.5859 | 2.591 | 6.8093 | 6.5764 | 2.2508 | 3.5107 | 5.704 | -2.3715 | -2.949 | -5.3199 | 2.7128 | 5.9257 | 2.19 | -2.7599 | -5.8791 | -1.6436 | -47.233 | 178.7206 | 96.5584 | 132.6235 | -1.1985 | -83.4325 |  | 1.3642 | 1.0115 | 0.92774 | 1.4044 | 0.96592 | 0.84667 | 3.0852 | -121.9241 | 117.5621 | 1.9524 | -117.8367 | 113.7359
Line_2 | 0.22377 | 0.58973 | 0.57036 | 0.22439 | 0.5897 | 0.56953 | 2.5839 | 6.8096 | 6.5859 | 2.591 | 6.8093 | 6.5764 | 2.2508 | 3.5107 | 5.704 | -2.3715 | -2.949 | -5.3199 | 2.7128 | 5.9257 | 2.19 | -2.7599 | -5.8791 | -1.6436 | -47.233 | 178.7206 | 96.5584 | 132.6235 | -1.1985 | -83.4325 |  | 1.3642 | 1.0115 | 0.92774 | 1.4044 | 0.96592 | 0.84667 | 3.0852 | -121.9241 | 117.5621 | 1.9524 | -117.8367 | 113.7359
Line_3 | 0.00032987 | 0.00032987 | 0.00032987 | 0.00032987 | 0.00032987 | 0.00032987 | 0.003809 | 0.003809 | 0.003809 | 0.003809 | 0.003809 | 0.003809 | -0.00020687 | -0.003065 | 0.0032719 | -0.00020687 | -0.003065 | 0.0032719 | -0.0051921 | 0.0023341 | 0.0013349 | -0.0051921 | 0.0023341 | 0.0013349 | 95.3668 | 95.3668 | 95.3668 | 95.3668 | 95.3668 | 95.3668 |  | 1.3642 | 1.0115 | 0.92774 | 1.3642 | 1.0115 | 0.92774 | 3.0852 | -121.9241 | 117.5621 | 3.0852 | -121.9241 | 117.5621

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.385 | 3.1589 | 3.5104 | 2.3813 | 3.1615 | 3.5106 | 27.5399 | 36.4758 | 40.5346 | 27.4973 | 36.5054 | 40.537 | -24.1331 | 9.984 | 12.3163 | 29.7781 | -1.622e-11 | 6.6725e-11 | -58.2794 | 5.9292 | 7.22 | 61.5265 | -5.8312e-11 | -6.7637e-12 | 119.3932 | -137.7843 | 0.72687 | -60.5638 | 42.2737 | -179.34 |  | 2.2904 | 0.31834 | 0.35221 | 2.4858 | 0 | 0 | 6.8991 | -107.0793 | 31.1064 | 3.6098 | 0 | 0
Line_1 | 1.1878 | 2.3924 | 2.0096 | 1.1907 | 2.392 | 2.0066 | 13.7153 | 27.6249 | 23.2054 | 13.7486 | 27.6207 | 23.1701 | 12.6388 | 15.4309 | 6.8458 | -14.889 | 1.8747e-11 | -5.2663e-12 | 27.9531 | 0.075998 | 10.5309 | -30.7632 | -4.1782e-11 | -3.7971e-11 | -60.5127 | -177.5085 | 92.778 | 119.4362 | 2.5647 | -87.2319 |  | 2.2368 | 0.55859 | 0.54127 | 2.4858 | 0 | 0 | 5.1576 | -177.2263 | 149.7514 | 3.6098 | 0 | 0
Line_2 | 1.1878 | 2.3924 | 2.0096 | 1.1907 | 2.392 | 2.0066 | 13.7153 | 27.6249 | 23.2054 | 13.7486 | 27.6207 | 23.1701 | 12.6388 | 15.4309 | 6.8458 | -14.889 | 1.8747e-11 | -5.2663e-12 | 27.9531 | 0.075998 | 10.5309 | -30.7632 | -4.1782e-11 | -3.7971e-11 | -60.5127 | -177.5085 | 92.778 | 119.4362 | 2.5647 | -87.2319 |  | 2.2368 | 0.55859 | 0.54127 | 2.4858 | 0 | 0 | 5.1576 | -177.2263 | 149.7514 | 3.6098 | 0 | 0
Line_3 | 0.001058 | 0.001058 | 0.001058 | 0.001058 | 0.001058 | 0.001058 | 0.012217 | 0.012217 | 0.012217 | 0.012217 | 0.012217 | 0.012217 | -0.007177 | 0.0020647 | 0.0051123 | -0.007177 | 0.0020647 | 0.0051123 | -0.026367 | 0.0065045 | 0.0041944 | -0.026367 | 0.0065045 | 0.0041944 | 110.3842 | 110.3842 | 110.3842 | 110.3842 | 110.3842 | 110.3842 |  | 2.2368 | 0.55859 | 0.54127 | 2.2368 | 0.55859 | 0.54127 | 5.1576 | -177.2263 | 149.7514 | 5.1576 | -177.2263 | 149.7514

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.385 | 3.1589 | 3.5104 | 2.3813 | 3.1615 | 3.5106 | 27.5399 | 36.4758 | 40.5346 | 27.4973 | 36.5054 | 40.537 | -24.1331 | 9.984 | 12.3163 | 29.7781 | -1.622e-11 | 6.6725e-11 | -58.2794 | 5.9292 | 7.22 | 61.5265 | -5.8312e-11 | -6.7637e-12 | 119.3932 | -137.7843 | 0.72687 | -60.5638 | 42.2737 | -179.34 |  | 2.2904 | 0.31834 | 0.35221 | 2.4858 | 0 | 0 | 6.8991 | -107.0793 | 31.1064 | 3.6098 | 0 | 0
Line_1 | 1.1878 | 2.3924 | 2.0096 | 1.1907 | 2.392 | 2.0066 | 13.7153 | 27.6249 | 23.2054 | 13.7486 | 27.6207 | 23.1701 | 12.6388 | 15.4309 | 6.8458 | -14.889 | 1.8747e-11 | -5.2663e-12 | 27.9531 | 0.075998 | 10.5309 | -30.7632 | -4.1782e-11 | -3.7971e-11 | -60.5127 | -177.5085 | 92.778 | 119.4362 | 2.5647 | -87.2319 |  | 2.2368 | 0.55859 | 0.54127 | 2.4858 | 0 | 0 | 5.1576 | -177.2263 | 149.7514 | 3.6098 | 0 | 0
Line_2 | 1.1878 | 2.3924 | 2.0096 | 1.1907 | 2.392 | 2.0066 | 13.7153 | 27.6249 | 23.2054 | 13.7486 | 27.6207 | 23.1701 | 12.6388 | 15.4309 | 6.8458 | -14.889 | 1.8747e-11 | -5.2663e-12 | 27.9531 | 0.075998 | 10.5309 | -30.7632 | -4.1782e-11 | -3.7971e-11 | -60.5127 | -177.5085 | 92.778 | 119.4362 | 2.5647 | -87.2319 |  | 2.2368 | 0.55859 | 0.54127 | 2.4858 | 0 | 0 | 5.1576 | -177.2263 | 149.7514 | 3.6098 | 0 | 0
Line_3 | 0.001058 | 0.001058 | 0.001058 | 0.001058 | 0.001058 | 0.001058 | 0.012217 | 0.012217 | 0.012217 | 0.012217 | 0.012217 | 0.012217 | -0.007177 | 0.0020647 | 0.0051123 | -0.007177 | 0.0020647 | 0.0051123 | -0.026367 | 0.0065045 | 0.0041944 | -0.026367 | 0.0065045 | 0.0041944 | 110.3842 | 110.3842 | 110.3842 | 110.3842 | 110.3842 | 110.3842 |  | 2.2368 | 0.55859 | 0.54127 | 2.2368 | 0.55859 | 0.54127 | 5.1576 | -177.2263 | 149.7514 | 5.1576 | -177.2263 | 149.7514

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38474 | 0.5268 | 0.61868 | 0.38412 | 0.52775 | 0.61826 | 4.4426 | 6.083 | 7.1439 | 4.4355 | 6.0939 | 7.1391 | -4.0748 | 5.3717 | -0.44818 | 4.224 | -5.1032 | 0.83755 | -3.927 | 1.2043 | 5.3672 | 3.9992 | -1.0361 | -5.1389 | 137.2335 | -126.7096 | 15.0914 | -42.6342 | 53.3468 | -165.0007 |  | 1.2738 | 0.90499 | 0.7539 | 1.3114 | 0.85451 | 0.72932 | 1.1754 | -114.0734 | 109.8647 | 0.80006 | -115.177 | 114.2562
Line_1 | 0.19154 | 0.49939 | 0.48566 | 0.19206 | 0.49946 | 0.48487 | 2.2117 | 5.7665 | 5.608 | 2.2177 | 5.7673 | 5.5988 | 1.94 | 3.0436 | 4.5455 | -2.112 | -2.3163 | -3.9648 | 1.9543 | 4.2135 | 1.5498 | -1.9996 | -4.3499 | -0.97662 | -42.4496 | -177.2342 | 100.3976 | 137.3658 | 2.8584 | -79.5815 |  | 1.2451 | 0.90137 | 0.85637 | 1.3114 | 0.85451 | 0.72932 | 2.7601 | -123.0763 | 119.225 | 0.80006 | -115.177 | 114.2562
Line_2 | 0.19154 | 0.49939 | 0.48566 | 0.19206 | 0.49946 | 0.48487 | 2.2117 | 5.7665 | 5.608 | 2.2177 | 5.7673 | 5.5988 | 1.94 | 3.0436 | 4.5455 | -2.112 | -2.3163 | -3.9648 | 1.9543 | 4.2135 | 1.5498 | -1.9996 | -4.3499 | -0.97662 | -42.4496 | -177.2342 | 100.3976 | 137.3658 | 2.8584 | -79.5815 |  | 1.2451 | 0.90137 | 0.85637 | 1.3114 | 0.85451 | 0.72932 | 2.7601 | -123.0763 | 119.225 | 0.80006 | -115.177 | 114.2562
Line_3 | 0.00027853 | 0.00027853 | 0.00027853 | 0.00027853 | 0.00027853 | 0.00027853 | 0.0032162 | 0.0032162 | 0.0032162 | 0.0032162 | 0.0032162 | 0.0032162 | -0.00042566 | -0.0021565 | 0.0025821 | -0.00042566 | -0.0021565 | 0.0025821 | -0.0039817 | 0.0019375 | 0.00095839 | -0.0039817 | 0.0019375 | 0.00095839 | 98.862 | 98.862 | 98.862 | 98.862 | 98.862 | 98.862 |  | 1.2451 | 0.90137 | 0.85637 | 1.2451 | 0.90137 | 0.85637 | 2.7601 | -123.0763 | 119.225 | 2.7601 | -123.0763 | 119.225

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38474 | 0.5268 | 0.61868 | 0.38412 | 0.52775 | 0.61826 | 4.4426 | 6.083 | 7.1439 | 4.4355 | 6.0939 | 7.1391 | -4.0748 | 5.3717 | -0.44818 | 4.224 | -5.1032 | 0.83755 | -3.927 | 1.2043 | 5.3672 | 3.9992 | -1.0361 | -5.1389 | 137.2335 | -126.7096 | 15.0914 | -42.6342 | 53.3468 | -165.0007 |  | 1.2738 | 0.90499 | 0.7539 | 1.3114 | 0.85451 | 0.72932 | 1.1754 | -114.0734 | 109.8647 | 0.80006 | -115.177 | 114.2562
Line_1 | 0.19154 | 0.49939 | 0.48566 | 0.19206 | 0.49946 | 0.48487 | 2.2117 | 5.7665 | 5.608 | 2.2177 | 5.7673 | 5.5988 | 1.94 | 3.0436 | 4.5455 | -2.112 | -2.3163 | -3.9648 | 1.9543 | 4.2135 | 1.5498 | -1.9996 | -4.3499 | -0.97662 | -42.4496 | -177.2342 | 100.3976 | 137.3658 | 2.8584 | -79.5815 |  | 1.2451 | 0.90137 | 0.85637 | 1.3114 | 0.85451 | 0.72932 | 2.7601 | -123.0763 | 119.225 | 0.80006 | -115.177 | 114.2562
Line_2 | 0.19154 | 0.49939 | 0.48566 | 0.19206 | 0.49946 | 0.48487 | 2.2117 | 5.7665 | 5.608 | 2.2177 | 5.7673 | 5.5988 | 1.94 | 3.0436 | 4.5455 | -2.112 | -2.3163 | -3.9648 | 1.9543 | 4.2135 | 1.5498 | -1.9996 | -4.3499 | -0.97662 | -42.4496 | -177.2342 | 100.3976 | 137.3658 | 2.8584 | -79.5815 |  | 1.2451 | 0.90137 | 0.85637 | 1.3114 | 0.85451 | 0.72932 | 2.7601 | -123.0763 | 119.225 | 0.80006 | -115.177 | 114.2562
Line_3 | 0.00027853 | 0.00027853 | 0.00027853 | 0.00027853 | 0.00027853 | 0.00027853 | 0.0032162 | 0.0032162 | 0.0032162 | 0.0032162 | 0.0032162 | 0.0032162 | -0.00042566 | -0.0021565 | 0.0025821 | -0.00042566 | -0.0021565 | 0.0025821 | -0.0039817 | 0.0019375 | 0.00095839 | -0.0039817 | 0.0019375 | 0.00095839 | 98.862 | 98.862 | 98.862 | 98.862 | 98.862 | 98.862 |  | 1.2451 | 0.90137 | 0.85637 | 1.2451 | 0.90137 | 0.85637 | 2.7601 | -123.0763 | 119.225 | 2.7601 | -123.0763 | 119.225