## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0209 | 2.0209 | 0 | 0 | 70.0059 | 70.0059 | 19.3047 | -12.9337 | 45.91 | -38.6813 | -74.4648 | 105.5352 | 0.71142 | 0.58261 | -7.2711 | -2.9529
Line_1 | 9.4368 | 9.4368 | 13.6125 | 0 | 326.8993 | 326.8993 | 12.3049 | 126.6172 | 15.3508 | 142.2724 | 128.715 | -51.285 | 0.060183 | 0.58261 | 180 | -2.9529
Line_2 | 7.6206 | 7.6206 | 0 | 0 | 263.9869 | 263.9869 | 204.2793 | -113.6836 | 206.3825 | -103.5911 | -45.2934 | 134.7066 | 1.1 | 0.58261 | -2.9996e-08 | -2.9529
Line_3 | 17.0344 | 17.0344 | 24.572 | 0 | 590.0878 | 590.0878 | 23.4814 | 429.1833 | 26.6424 | 486.958 | 131.3915 | -48.6085 | 0.060183 | 1.1 | 180 | -2.9996e-08

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0209 | 2.0209 | 0 | 0 | 70.0059 | 70.0059 | 19.3047 | -12.9337 | 45.91 | -38.6813 | -74.4648 | 105.5352 | 0.71142 | 0.58261 | -7.2711 | -2.9529
Line_1 | 9.4368 | 9.4368 | 13.6125 | 0 | 326.8993 | 326.8993 | 12.3049 | 126.6172 | 15.3508 | 142.2724 | 128.715 | -51.285 | 0.060183 | 0.58261 | 180 | -2.9529
Line_2 | 7.6206 | 7.6206 | 0 | 0 | 263.9869 | 263.9869 | 204.2793 | -113.6836 | 206.3825 | -103.5911 | -45.2934 | 134.7066 | 1.1 | 0.58261 | -2.9996e-08 | -2.9529
Line_3 | 17.0344 | 17.0344 | 24.572 | 0 | 590.0878 | 590.0878 | 23.4814 | 429.1833 | 26.6424 | 486.958 | 131.3915 | -48.6085 | 0.060183 | 1.1 | 180 | -2.9996e-08

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -9.665e-10 | -1.0861e-09
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9637e-08 | 0 | -2.6935e-09 | 0 | 0 | 0 | 1.1 | 1.1 | -2.2918e-09 | -1.0861e-09
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -2.4449e-18 | -1.0861e-09
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5635e-08 | 0 | -3.2015e-09 | 0 | 0 | 0 | 1.1 | 1.1 | -2.2918e-09 | -2.4449e-18

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -9.665e-10 | -1.0861e-09
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9637e-08 | 0 | -2.6935e-09 | 0 | 0 | 0 | 1.1 | 1.1 | -2.2918e-09 | -1.0861e-09
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | -2.4449e-18 | -1.0861e-09
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5635e-08 | 0 | -3.2015e-09 | 0 | 0 | 0 | 1.1 | 1.1 | -2.2918e-09 | -2.4449e-18

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6573 | 1.6573 | 0 | 0 | 57.4095 | 57.4095 | 24.2509 | -16.0245 | 31.6721 | -26.8108 | -63.9614 | 116.0386 | 0.69484 | 0.54407 | -11.4022 | -4.8277
Line_1 | 5.9602 | 5.9602 | 8.5976 | 0 | 206.4684 | 206.4684 | 9.257 | 97.1454 | 6.4741 | 56.404 | 145.0322 | -34.9678 | 0.054712 | 0.54407 | -180 | -4.8277
Line_2 | 4.5816 | 4.5816 | 0 | 0 | 158.7123 | 158.7123 | 143.9942 | -81.1209 | 66.7479 | -29.5932 | -24.8699 | 155.1301 | 1 | 0.54407 | -2.6195e-08 | -4.8277
Line_3 | 10.5017 | 10.5017 | 15.1486 | 0 | 363.788 | 363.788 | 17.1352 | 313.1898 | 10.126 | 185.0781 | 149.4192 | -30.5808 | 0.054712 | 1 | -180 | -2.6195e-08

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6573 | 1.6573 | 0 | 0 | 57.4095 | 57.4095 | 24.2509 | -16.0245 | 31.6721 | -26.8108 | -63.9614 | 116.0386 | 0.69484 | 0.54407 | -11.4022 | -4.8277
Line_1 | 5.9602 | 5.9602 | 8.5976 | 0 | 206.4684 | 206.4684 | 9.257 | 97.1454 | 6.4741 | 56.404 | 145.0322 | -34.9678 | 0.054712 | 0.54407 | -180 | -4.8277
Line_2 | 4.5816 | 4.5816 | 0 | 0 | 158.7123 | 158.7123 | 143.9942 | -81.1209 | 66.7479 | -29.5932 | -24.8699 | 155.1301 | 1 | 0.54407 | -2.6195e-08 | -4.8277
Line_3 | 10.5017 | 10.5017 | 15.1486 | 0 | 363.788 | 363.788 | 17.1352 | 313.1898 | 10.126 | 185.0781 | 149.4192 | -30.5808 | 0.054712 | 1 | -180 | -2.6195e-08

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.0077e-09 | -1.0999e-09
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1256e-08 | 0 | 1.6835e-09 | 0 | 0 | 0 | 1 | 1 | -2.2918e-09 | -1.0999e-09
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.595e-18 | -1.0999e-09
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9547e-08 | 0 | 4.4746e-09 | 0 | 0 | 0 | 1 | 1 | -2.2918e-09 | -1.595e-18

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.0077e-09 | -1.0999e-09
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1256e-08 | 0 | 1.6835e-09 | 0 | 0 | 0 | 1 | 1 | -2.2918e-09 | -1.0999e-09
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | -1.595e-18 | -1.0999e-09
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9547e-08 | 0 | 4.4746e-09 | 0 | 0 | 0 | 1 | 1 | -2.2918e-09 | -1.595e-18

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.6999 | 3.6999 | 3.6999 | 3.6999 | 3.6999 | 3.6999 | 42.7231 | 42.7231 | 42.7231 | 42.7231 | 42.7231 | 42.7231 | -14.8138 | 44.2201 | -33.8307 | 21.9323 | -37.1015 | 40.9492 | -76.6639 | -20.6219 | 2.4819 | 84.7407 | 28.6987 | 5.5949 | 106.4893 | -133.5107 | -13.5107 | -73.5107 | 46.4893 | 166.4893 | 1.8276 | 1.1421 | 0.79399 | 2.0488 | 1.0979 | 0.96738 | 5.5528 | -158.5126 | 162.2934 | 1.9786 | -171.2333 | 174.2694
Line_1 | 2.4666 | 2.4666 | 2.4666 | 2.4666 | 2.4666 | 2.4666 | 28.4821 | 28.4821 | 28.4821 | 28.4821 | 28.4821 | 28.4821 | 17.7853 | -21.5706 | 30.4632 | -14.6215 | 24.7344 | -27.2995 | 60.0835 | 22.7221 | 7.3196 | -56.4938 | -19.1325 | -3.7299 | -73.5107 | 46.4893 | 166.4893 | 106.4893 | -133.5107 | -13.5107 | 2.2 | 1.1 | 1.1 | 2.0488 | 1.0979 | 0.96738 | -1.9812e-09 | 180 | 180 | 1.9786 | -171.2333 | 174.2694
Line_2 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 14.241 | 14.241 | 14.241 | 14.241 | 14.241 | 14.241 | 8.1017 | -11.5762 | 14.4407 | -7.3108 | 12.3672 | -13.6497 | 29.1443 | 10.4637 | 2.7624 | -28.2469 | -9.5662 | -1.865 | -73.5107 | 46.4893 | 166.4893 | 106.4893 | -133.5107 | -13.5107 | 2.1241 | 1.0957 | 1.0324 | 2.0488 | 1.0979 | 0.96738 | 0.9541 | -175.6208 | 177.3187 | 1.9786 | -171.2333 | 174.2694
Line_3 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 14.241 | 14.241 | 14.241 | 14.241 | 14.241 | 14.241 | 8.8927 | -10.7853 | 15.2316 | -8.1017 | 11.5762 | -14.4407 | 30.0417 | 11.3611 | 3.6598 | -29.1443 | -10.4637 | -2.7624 | -73.5107 | 46.4893 | 166.4893 | 106.4893 | -133.5107 | -13.5107 | 2.2 | 1.1 | 1.1 | 2.1241 | 1.0957 | 1.0324 | -1.9812e-09 | 180 | 180 | 0.9541 | -175.6208 | 177.3187

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.6999 | 3.6999 | 3.6999 | 3.6999 | 3.6999 | 3.6999 | 42.7231 | 42.7231 | 42.7231 | 42.7231 | 42.7231 | 42.7231 | -14.8138 | 44.2201 | -33.8307 | 21.9323 | -37.1015 | 40.9492 | -76.6639 | -20.6219 | 2.4819 | 84.7407 | 28.6987 | 5.5949 | 106.4893 | -133.5107 | -13.5107 | -73.5107 | 46.4893 | 166.4893 | 1.8276 | 1.1421 | 0.79399 | 2.0488 | 1.0979 | 0.96738 | 5.5528 | -158.5126 | 162.2934 | 1.9786 | -171.2333 | 174.2694
Line_1 | 2.4666 | 2.4666 | 2.4666 | 2.4666 | 2.4666 | 2.4666 | 28.4821 | 28.4821 | 28.4821 | 28.4821 | 28.4821 | 28.4821 | 17.7853 | -21.5706 | 30.4632 | -14.6215 | 24.7344 | -27.2995 | 60.0835 | 22.7221 | 7.3196 | -56.4938 | -19.1325 | -3.7299 | -73.5107 | 46.4893 | 166.4893 | 106.4893 | -133.5107 | -13.5107 | 2.2 | 1.1 | 1.1 | 2.0488 | 1.0979 | 0.96738 | -1.9812e-09 | 180 | 180 | 1.9786 | -171.2333 | 174.2694
Line_2 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 14.241 | 14.241 | 14.241 | 14.241 | 14.241 | 14.241 | 8.1017 | -11.5762 | 14.4407 | -7.3108 | 12.3672 | -13.6497 | 29.1443 | 10.4637 | 2.7624 | -28.2469 | -9.5662 | -1.865 | -73.5107 | 46.4893 | 166.4893 | 106.4893 | -133.5107 | -13.5107 | 2.1241 | 1.0957 | 1.0324 | 2.0488 | 1.0979 | 0.96738 | 0.9541 | -175.6208 | 177.3187 | 1.9786 | -171.2333 | 174.2694
Line_3 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 1.2333 | 14.241 | 14.241 | 14.241 | 14.241 | 14.241 | 14.241 | 8.8927 | -10.7853 | 15.2316 | -8.1017 | 11.5762 | -14.4407 | 30.0417 | 11.3611 | 3.6598 | -29.1443 | -10.4637 | -2.7624 | -73.5107 | 46.4893 | 166.4893 | 106.4893 | -133.5107 | -13.5107 | 2.2 | 1.1 | 1.1 | 2.1241 | 1.0957 | 1.0324 | -1.9812e-09 | 180 | 180 | 0.9541 | -175.6208 | 177.3187

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 14.351 | 14.351 | 14.351 | 14.351 | 14.351 | 14.351 | -9.3947 | 15.5397 | -6.6442 | 10.1979 | -14.7365 | 7.4474 | -16.3736 | -5.1538 | 10.8302 | 17.2849 | 6.0651 | -9.9188 | 125.7736 | -114.2264 | 5.7736 | -54.2264 | 65.7736 | -174.2264 | 1.3154 | 1.1408 | 0.88536 | 1.3984 | 1.1104 | 0.86429 | 5.9275 | -132.5746 | 127.3021 | 5.2333 | -136.5971 | 132.674
Line_1 | 0.82856 | 0.82856 | 0.82856 | 0.82856 | 0.82856 | 0.82856 | 9.5674 | 9.5674 | 9.5674 | 9.5674 | 9.5674 | 9.5674 | 7.1556 | -9.4673 | 5.3219 | -6.7986 | 9.8243 | -4.9649 | 11.9283 | 4.4484 | -6.2075 | -11.5233 | -4.0434 | 6.6125 | -54.2264 | 65.7736 | -174.2264 | 125.7736 | -114.2264 | 5.7736 | 1.4539 | 1.0933 | 0.85463 | 1.3984 | 1.1104 | 0.86429 | 4.8146 | -139.394 | 136.3811 | 5.2333 | -136.5971 | 132.674
Line_2 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 3.4886 | -4.8229 | 2.5717 | -3.3993 | 4.9122 | -2.4825 | 5.8629 | 2.123 | -3.205 | -5.7616 | -2.0217 | 3.3063 | -54.2264 | 65.7736 | -174.2264 | 125.7736 | -114.2264 | 5.7736 | 1.4262 | 1.1016 | 0.85901 | 1.3984 | 1.1104 | 0.86429 | 5.0199 | -137.9847 | 134.5171 | 5.2333 | -136.5971 | 132.674
Line_3 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 3.5778 | -4.7337 | 2.661 | -3.4886 | 4.8229 | -2.5717 | 5.9642 | 2.2242 | -3.1038 | -5.8629 | -2.123 | 3.205 | -54.2264 | 65.7736 | -174.2264 | 125.7736 | -114.2264 | 5.7736 | 1.4539 | 1.0933 | 0.85463 | 1.4262 | 1.1016 | 0.85901 | 4.8146 | -139.394 | 136.3811 | 5.0199 | -137.9847 | 134.5171

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 1.2428 | 14.351 | 14.351 | 14.351 | 14.351 | 14.351 | 14.351 | -9.3947 | 15.5397 | -6.6442 | 10.1979 | -14.7365 | 7.4474 | -16.3736 | -5.1538 | 10.8302 | 17.2849 | 6.0651 | -9.9188 | 125.7736 | -114.2264 | 5.7736 | -54.2264 | 65.7736 | -174.2264 | 1.3154 | 1.1408 | 0.88536 | 1.3984 | 1.1104 | 0.86429 | 5.9275 | -132.5746 | 127.3021 | 5.2333 | -136.5971 | 132.674
Line_1 | 0.82856 | 0.82856 | 0.82856 | 0.82856 | 0.82856 | 0.82856 | 9.5674 | 9.5674 | 9.5674 | 9.5674 | 9.5674 | 9.5674 | 7.1556 | -9.4673 | 5.3219 | -6.7986 | 9.8243 | -4.9649 | 11.9283 | 4.4484 | -6.2075 | -11.5233 | -4.0434 | 6.6125 | -54.2264 | 65.7736 | -174.2264 | 125.7736 | -114.2264 | 5.7736 | 1.4539 | 1.0933 | 0.85463 | 1.3984 | 1.1104 | 0.86429 | 4.8146 | -139.394 | 136.3811 | 5.2333 | -136.5971 | 132.674
Line_2 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 3.4886 | -4.8229 | 2.5717 | -3.3993 | 4.9122 | -2.4825 | 5.8629 | 2.123 | -3.205 | -5.7616 | -2.0217 | 3.3063 | -54.2264 | 65.7736 | -174.2264 | 125.7736 | -114.2264 | 5.7736 | 1.4262 | 1.1016 | 0.85901 | 1.3984 | 1.1104 | 0.86429 | 5.0199 | -137.9847 | 134.5171 | 5.2333 | -136.5971 | 132.674
Line_3 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 0.41428 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 4.7837 | 3.5778 | -4.7337 | 2.661 | -3.4886 | 4.8229 | -2.5717 | 5.9642 | 2.2242 | -3.1038 | -5.8629 | -2.123 | 3.205 | -54.2264 | 65.7736 | -174.2264 | 125.7736 | -114.2264 | 5.7736 | 1.4539 | 1.0933 | 0.85463 | 1.4262 | 1.1016 | 0.85901 | 4.8146 | -139.394 | 136.3811 | 5.0199 | -137.9847 | 134.5171

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.0092 | 3.0092 | 3.0092 | 3.0092 | 3.0092 | 3.0092 | 34.7474 | 34.7474 | 34.7474 | 34.7474 | 34.7474 | 34.7474 | -17.1572 | 33.673 | -19.6495 | 26.1981 | -24.6322 | 28.6903 | -52.6671 | -20.4424 | 7.4655 | 58.0097 | 25.7851 | -2.1229 | 117.6267 | -122.3733 | -2.3733 | -62.3733 | 57.6267 | 177.6267 | 1.5941 | 1.1337 | 0.60493 | 1.8318 | 1.0263 | 0.82794 | 9.5828 | -153.6347 | 156.8231 | 3.322 | -168.6833 | 173.3949
Line_1 | 2.0061 | 2.0061 | 2.0061 | 2.0061 | 2.0061 | 2.0061 | 23.1649 | 23.1649 | 23.1649 | 23.1649 | 23.1649 | 23.1649 | 21.4835 | -12.4033 | 23.145 | -17.4654 | 16.4214 | -19.1269 | 41.0477 | 19.5646 | 0.95927 | -38.6731 | -17.19 | 1.4152 | -62.3733 | 57.6267 | 177.6267 | 117.6267 | -122.3733 | -2.3733 | 2 | 1 | 1 | 1.8318 | 1.0263 | 0.82794 | -2.8957e-09 | 180 | 180 | 3.322 | -168.6833 | 173.3949
Line_2 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 9.7372 | -7.2062 | 10.568 | -8.7327 | 8.2107 | -9.5634 | 19.9302 | 9.1887 | -0.11399 | -19.3366 | -8.595 | 0.70762 | -62.3733 | 57.6267 | 177.6267 | 117.6267 | -122.3733 | -2.3733 | 1.9151 | 1.0082 | 0.91247 | 1.8318 | 1.0263 | 0.82794 | 1.5881 | -174.2681 | 177.0087 | 3.322 | -168.6833 | 173.3949
Line_3 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 10.7418 | -6.2016 | 11.5725 | -9.7372 | 7.2062 | -10.568 | 20.5238 | 9.7823 | 0.47964 | -19.9302 | -9.1887 | 0.11399 | -62.3733 | 57.6267 | 177.6267 | 117.6267 | -122.3733 | -2.3733 | 2 | 1 | 1 | 1.9151 | 1.0082 | 0.91247 | -2.8957e-09 | 180 | 180 | 1.5881 | -174.2681 | 177.0087

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.0092 | 3.0092 | 3.0092 | 3.0092 | 3.0092 | 3.0092 | 34.7474 | 34.7474 | 34.7474 | 34.7474 | 34.7474 | 34.7474 | -17.1572 | 33.673 | -19.6495 | 26.1981 | -24.6322 | 28.6903 | -52.6671 | -20.4424 | 7.4655 | 58.0097 | 25.7851 | -2.1229 | 117.6267 | -122.3733 | -2.3733 | -62.3733 | 57.6267 | 177.6267 | 1.5941 | 1.1337 | 0.60493 | 1.8318 | 1.0263 | 0.82794 | 9.5828 | -153.6347 | 156.8231 | 3.322 | -168.6833 | 173.3949
Line_1 | 2.0061 | 2.0061 | 2.0061 | 2.0061 | 2.0061 | 2.0061 | 23.1649 | 23.1649 | 23.1649 | 23.1649 | 23.1649 | 23.1649 | 21.4835 | -12.4033 | 23.145 | -17.4654 | 16.4214 | -19.1269 | 41.0477 | 19.5646 | 0.95927 | -38.6731 | -17.19 | 1.4152 | -62.3733 | 57.6267 | 177.6267 | 117.6267 | -122.3733 | -2.3733 | 2 | 1 | 1 | 1.8318 | 1.0263 | 0.82794 | -2.8957e-09 | 180 | 180 | 3.322 | -168.6833 | 173.3949
Line_2 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 9.7372 | -7.2062 | 10.568 | -8.7327 | 8.2107 | -9.5634 | 19.9302 | 9.1887 | -0.11399 | -19.3366 | -8.595 | 0.70762 | -62.3733 | 57.6267 | 177.6267 | 117.6267 | -122.3733 | -2.3733 | 1.9151 | 1.0082 | 0.91247 | 1.8318 | 1.0263 | 0.82794 | 1.5881 | -174.2681 | 177.0087 | 3.322 | -168.6833 | 173.3949
Line_3 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 1.0031 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 11.5825 | 10.7418 | -6.2016 | 11.5725 | -9.7372 | 7.2062 | -10.568 | 20.5238 | 9.7823 | 0.47964 | -19.9302 | -9.1887 | 0.11399 | -62.3733 | 57.6267 | 177.6267 | 117.6267 | -122.3733 | -2.3733 | 2 | 1 | 1 | 1.9151 | 1.0082 | 0.91247 | -2.8957e-09 | 180 | 180 | 1.5881 | -174.2681 | 177.0087

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0697 | 1.0697 | 1.0697 | 1.0697 | 1.0697 | 1.0697 | 12.3523 | 12.3523 | 12.3523 | 12.3523 | 12.3523 | 12.3523 | -7.8899 | 12.0713 | -4.5774 | 9.0324 | -10.9288 | 5.72 | -12.3774 | -4.6776 | 8.7594 | 13.0525 | 5.3528 | -8.0843 | 128.9067 | -111.0933 | 8.9067 | -51.0933 | 68.9067 | -171.0933 | 1.1883 | 1.0481 | 0.80012 | 1.285 | 0.98519 | 0.80173 | 6.3914 | -132.2746 | 126.497 | 4.2233 | -137.1883 | 134.1876
Line_1 | 0.71316 | 0.71316 | 0.71316 | 0.71316 | 0.71316 | 0.71316 | 8.2349 | 8.2349 | 8.2349 | 8.2349 | 8.2349 | 8.2349 | 6.5294 | -6.7781 | 4.3211 | -6.0216 | 7.2859 | -3.8133 | 9.0018 | 3.8686 | -5.0895 | -8.7017 | -3.5685 | 5.3895 | -51.0933 | 68.9067 | -171.0933 | 128.9067 | -111.0933 | 8.9067 | 1.3504 | 0.94773 | 0.81075 | 1.285 | 0.98519 | 0.80173 | 2.9516 | -140.8089 | 139.2389 | 4.2233 | -137.1883 | 134.1876
Line_2 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 3.1378 | -3.516 | 2.0336 | -3.0108 | 3.6429 | -1.9067 | 4.4259 | 1.8593 | -2.6197 | -4.3508 | -1.7843 | 2.6948 | -51.0933 | 68.9067 | -171.0933 | 128.9067 | -111.0933 | 8.9067 | 1.3176 | 0.96597 | 0.80546 | 1.285 | 0.98519 | 0.80173 | 3.5716 | -138.9635 | 136.7274 | 4.2233 | -137.1883 | 134.1876
Line_3 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 3.2647 | -3.3891 | 2.1605 | -3.1378 | 3.516 | -2.0336 | 4.5009 | 1.9343 | -2.5447 | -4.4259 | -1.8593 | 2.6197 | -51.0933 | 68.9067 | -171.0933 | 128.9067 | -111.0933 | 8.9067 | 1.3504 | 0.94773 | 0.81075 | 1.3176 | 0.96597 | 0.80546 | 2.9516 | -140.8089 | 139.2389 | 3.5716 | -138.9635 | 136.7274

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0697 | 1.0697 | 1.0697 | 1.0697 | 1.0697 | 1.0697 | 12.3523 | 12.3523 | 12.3523 | 12.3523 | 12.3523 | 12.3523 | -7.8899 | 12.0713 | -4.5774 | 9.0324 | -10.9288 | 5.72 | -12.3774 | -4.6776 | 8.7594 | 13.0525 | 5.3528 | -8.0843 | 128.9067 | -111.0933 | 8.9067 | -51.0933 | 68.9067 | -171.0933 | 1.1883 | 1.0481 | 0.80012 | 1.285 | 0.98519 | 0.80173 | 6.3914 | -132.2746 | 126.497 | 4.2233 | -137.1883 | 134.1876
Line_1 | 0.71316 | 0.71316 | 0.71316 | 0.71316 | 0.71316 | 0.71316 | 8.2349 | 8.2349 | 8.2349 | 8.2349 | 8.2349 | 8.2349 | 6.5294 | -6.7781 | 4.3211 | -6.0216 | 7.2859 | -3.8133 | 9.0018 | 3.8686 | -5.0895 | -8.7017 | -3.5685 | 5.3895 | -51.0933 | 68.9067 | -171.0933 | 128.9067 | -111.0933 | 8.9067 | 1.3504 | 0.94773 | 0.81075 | 1.285 | 0.98519 | 0.80173 | 2.9516 | -140.8089 | 139.2389 | 4.2233 | -137.1883 | 134.1876
Line_2 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 3.1378 | -3.516 | 2.0336 | -3.0108 | 3.6429 | -1.9067 | 4.4259 | 1.8593 | -2.6197 | -4.3508 | -1.7843 | 2.6948 | -51.0933 | 68.9067 | -171.0933 | 128.9067 | -111.0933 | 8.9067 | 1.3176 | 0.96597 | 0.80546 | 1.285 | 0.98519 | 0.80173 | 3.5716 | -138.9635 | 136.7274 | 4.2233 | -137.1883 | 134.1876
Line_3 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 0.35658 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 4.1174 | 3.2647 | -3.3891 | 2.1605 | -3.1378 | 3.516 | -2.0336 | 4.5009 | 1.9343 | -2.5447 | -4.4259 | -1.8593 | 2.6197 | -51.0933 | 68.9067 | -171.0933 | 128.9067 | -111.0933 | 8.9067 | 1.3504 | 0.94773 | 0.81075 | 1.3176 | 0.96597 | 0.80546 | 2.9516 | -140.8089 | 139.2389 | 3.5716 | -138.9635 | 136.7274

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7539 | 1.7539 | 1.7539 | 1.7521 | 1.7565 | 1.7532 | 20.2526 | 20.2526 | 20.2526 | 20.231 | 20.2825 | 20.2445 | 4.2104 | -25.3247 | 20.1201 | -2.6186 | 26.9704 | -18.5586 | 3.778 | 4.872 | -29.9541 | -1.9543 | -3.0663 | 31.7198 | -56.4126 | 63.5874 | -176.4126 | 123.6496 | -116.3906 | 3.5032 |  | 0.27932 | 1.2734 | 1.7817 | 0.16151 | 1.3383 | 1.8153 | -14.5112 | -127.3022 | 127.4766 | -19.616 | -122.8768 | 123.8342
Line_1 | 1.415 | 1.0856 | 1.0502 | 1.4169 | 1.083 | 1.0516 | 16.3384 | 12.5355 | 12.127 | 16.3609 | 12.5054 | 12.1426 | 2.8507e-11 | 17.3369 | -7.1558 | 2.1343 | -16.6619 | 7.1566 | 4.0349e-11 | 1.3698 | 22.1268 | 1.5579 | -1.5746 | -20.8484 | 124.3427 | -128.2109 | 14.7501 | -55.7429 | 51.7246 | -165.1116 |  | 0 | 1.3873 | 1.9176 | 0.16151 | 1.3383 | 1.8153 | 0 | -123.6935 | 122.6712 | -19.616 | -122.8768 | 123.8342
Line_2 | 0.33372 | 0.73403 | 0.75169 | 0.33558 | 0.73156 | 0.75158 | 3.8535 | 8.4758 | 8.6797 | 3.8749 | 8.4473 | 8.6784 | -0.68291 | 10.9187 | -10.5836 | 0.48428 | -10.3085 | 11.4019 | -0.4242 | -3.8088 | 10.9062 | 0.39639 | 4.6409 | -10.8714 | 121.3627 | -98.6443 | -12.7185 | -58.9165 | 81.3605 | 167.4697 |  | 0.20863 | 1.3643 | 1.7509 | 0.16151 | 1.3383 | 1.8153 | -26.7899 | -117.8746 | 121.4214 | -19.616 | -122.8768 | 123.8342
Line_3 | 1.081 | 0.57585 | 0.51581 | 1.0828 | 0.57475 | 0.5183 | 12.4823 | 6.6494 | 5.9561 | 12.5033 | 6.6366 | 5.9848 | 2.2292e-11 | 6.7005 | 4.6743 | 2.303 | -5.8829 | -4.5139 | 3.0456e-11 | 6.3405 | 10.4213 | 1.2251 | -6.8832 | -9.4567 | 125.3029 | -167.1124 | 56.8293 | -54.8003 | 12.6455 | -123.0625 |  | 0 | 1.3873 | 1.9176 | 0.20863 | 1.3643 | 1.7509 | 0 | -123.6935 | 122.6712 | -26.7899 | -117.8746 | 121.4214

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7539 | 1.7539 | 1.7539 | 1.7521 | 1.7565 | 1.7532 | 20.2526 | 20.2526 | 20.2526 | 20.231 | 20.2825 | 20.2445 | 4.2104 | -25.3247 | 20.1201 | -2.6186 | 26.9704 | -18.5586 | 3.778 | 4.872 | -29.9541 | -1.9543 | -3.0663 | 31.7198 | -56.4126 | 63.5874 | -176.4126 | 123.6496 | -116.3906 | 3.5032 |  | 0.27932 | 1.2734 | 1.7817 | 0.16151 | 1.3383 | 1.8153 | -14.5112 | -127.3022 | 127.4766 | -19.616 | -122.8768 | 123.8342
Line_1 | 1.415 | 1.0856 | 1.0502 | 1.4169 | 1.083 | 1.0516 | 16.3384 | 12.5355 | 12.127 | 16.3609 | 12.5054 | 12.1426 | 2.8507e-11 | 17.3369 | -7.1558 | 2.1343 | -16.6619 | 7.1566 | 4.0349e-11 | 1.3698 | 22.1268 | 1.5579 | -1.5746 | -20.8484 | 124.3427 | -128.2109 | 14.7501 | -55.7429 | 51.7246 | -165.1116 |  | 0 | 1.3873 | 1.9176 | 0.16151 | 1.3383 | 1.8153 | 0 | -123.6935 | 122.6712 | -19.616 | -122.8768 | 123.8342
Line_2 | 0.33372 | 0.73403 | 0.75169 | 0.33558 | 0.73156 | 0.75158 | 3.8535 | 8.4758 | 8.6797 | 3.8749 | 8.4473 | 8.6784 | -0.68291 | 10.9187 | -10.5836 | 0.48428 | -10.3085 | 11.4019 | -0.4242 | -3.8088 | 10.9062 | 0.39639 | 4.6409 | -10.8714 | 121.3627 | -98.6443 | -12.7185 | -58.9165 | 81.3605 | 167.4697 |  | 0.20863 | 1.3643 | 1.7509 | 0.16151 | 1.3383 | 1.8153 | -26.7899 | -117.8746 | 121.4214 | -19.616 | -122.8768 | 123.8342
Line_3 | 1.081 | 0.57585 | 0.51581 | 1.0828 | 0.57475 | 0.5183 | 12.4823 | 6.6494 | 5.9561 | 12.5033 | 6.6366 | 5.9848 | 2.2292e-11 | 6.7005 | 4.6743 | 2.303 | -5.8829 | -4.5139 | 3.0456e-11 | 6.3405 | 10.4213 | 1.2251 | -6.8832 | -9.4567 | 125.3029 | -167.1124 | 56.8293 | -54.8003 | 12.6455 | -123.0625 |  | 0 | 1.3873 | 1.9176 | 0.20863 | 1.3643 | 1.7509 | 0 | -123.6935 | 122.6712 | -26.7899 | -117.8746 | 121.4214

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44806 | 0.44806 | 0.44806 | 0.44758 | 0.44872 | 0.44788 | 5.1738 | 5.1738 | 5.1738 | 5.1682 | 5.1814 | 5.1717 | 3.2862 | -5.7663 | 2.4153 | -3.1823 | 5.8794 | -2.319 | 3.2579 | 1.4202 | -6.0685 | -3.1324 | -1.3056 | 6.1804 | -47.8975 | 72.1025 | -167.8975 | 132.1647 | -107.8755 | 12.0183 |  | 0.8944 | 1.1478 | 1.2624 | 0.864 | 1.1623 | 1.2764 | -3.1446 | -121.7335 | 123.8055 | -3.2879 | -120.3953 | 122.5852
Line_1 | 0.36147 | 0.27733 | 0.26829 | 0.36196 | 0.27667 | 0.26864 | 4.1738 | 3.2023 | 3.098 | 4.1796 | 3.1947 | 3.102 | -2.4612 | 3.7633 | -0.63765 | 2.6003 | -3.7131 | 0.63178 | -2.3972 | -0.057828 | 3.9884 | 2.5058 | 0.041156 | -3.9086 | 132.8578 | -119.6958 | 23.2652 | -47.2278 | 60.2397 | -156.5965 |  | 0.82314 | 1.1753 | 1.3038 | 0.864 | 1.1623 | 1.2764 | -2.8975 | -120.5762 | 122.3486 | -3.2879 | -120.3953 | 122.5852
Line_2 | 0.085252 | 0.18752 | 0.19203 | 0.085727 | 0.18688 | 0.192 | 0.98441 | 2.1652 | 2.2173 | 0.98989 | 2.158 | 2.217 | -0.59487 | 2.2112 | -1.6391 | 0.58205 | -2.1663 | 1.6872 | -0.62247 | -1.2132 | 2.2712 | 0.62665 | 1.2644 | -2.2718 | 129.8778 | -90.1292 | -4.2034 | -50.4014 | 89.8757 | 175.9848 |  | 0.87464 | 1.1649 | 1.2632 | 0.864 | 1.1623 | 1.2764 | -3.8233 | -118.881 | 121.6138 | -3.2879 | -120.3953 | 122.5852
Line_3 | 0.27615 | 0.14711 | 0.13177 | 0.27662 | 0.14683 | 0.13241 | 3.1887 | 1.6987 | 1.5216 | 3.1941 | 1.6954 | 1.5289 | -1.9107 | 1.5728 | 1.0803 | 2.061 | -1.5138 | -1.0754 | -1.7996 | 1.2297 | 1.6638 | 1.886 | -1.2683 | -1.6041 | 133.818 | -158.5973 | 65.3444 | -46.2852 | 21.1607 | -114.5474 |  | 0.82314 | 1.1753 | 1.3038 | 0.87464 | 1.1649 | 1.2632 | -2.8975 | -120.5762 | 122.3486 | -3.8233 | -118.881 | 121.6138

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44806 | 0.44806 | 0.44806 | 0.44758 | 0.44872 | 0.44788 | 5.1738 | 5.1738 | 5.1738 | 5.1682 | 5.1814 | 5.1717 | 3.2862 | -5.7663 | 2.4153 | -3.1823 | 5.8794 | -2.319 | 3.2579 | 1.4202 | -6.0685 | -3.1324 | -1.3056 | 6.1804 | -47.8975 | 72.1025 | -167.8975 | 132.1647 | -107.8755 | 12.0183 |  | 0.8944 | 1.1478 | 1.2624 | 0.864 | 1.1623 | 1.2764 | -3.1446 | -121.7335 | 123.8055 | -3.2879 | -120.3953 | 122.5852
Line_1 | 0.36147 | 0.27733 | 0.26829 | 0.36196 | 0.27667 | 0.26864 | 4.1738 | 3.2023 | 3.098 | 4.1796 | 3.1947 | 3.102 | -2.4612 | 3.7633 | -0.63765 | 2.6003 | -3.7131 | 0.63178 | -2.3972 | -0.057828 | 3.9884 | 2.5058 | 0.041156 | -3.9086 | 132.8578 | -119.6958 | 23.2652 | -47.2278 | 60.2397 | -156.5965 |  | 0.82314 | 1.1753 | 1.3038 | 0.864 | 1.1623 | 1.2764 | -2.8975 | -120.5762 | 122.3486 | -3.2879 | -120.3953 | 122.5852
Line_2 | 0.085252 | 0.18752 | 0.19203 | 0.085727 | 0.18688 | 0.192 | 0.98441 | 2.1652 | 2.2173 | 0.98989 | 2.158 | 2.217 | -0.59487 | 2.2112 | -1.6391 | 0.58205 | -2.1663 | 1.6872 | -0.62247 | -1.2132 | 2.2712 | 0.62665 | 1.2644 | -2.2718 | 129.8778 | -90.1292 | -4.2034 | -50.4014 | 89.8757 | 175.9848 |  | 0.87464 | 1.1649 | 1.2632 | 0.864 | 1.1623 | 1.2764 | -3.8233 | -118.881 | 121.6138 | -3.2879 | -120.3953 | 122.5852
Line_3 | 0.27615 | 0.14711 | 0.13177 | 0.27662 | 0.14683 | 0.13241 | 3.1887 | 1.6987 | 1.5216 | 3.1941 | 1.6954 | 1.5289 | -1.9107 | 1.5728 | 1.0803 | 2.061 | -1.5138 | -1.0754 | -1.7996 | 1.2297 | 1.6638 | 1.886 | -1.2683 | -1.6041 | 133.818 | -158.5973 | 65.3444 | -46.2852 | 21.1607 | -114.5474 |  | 0.82314 | 1.1753 | 1.3038 | 0.87464 | 1.1649 | 1.2632 | -2.8975 | -120.5762 | 122.3486 | -3.8233 | -118.881 | 121.6138

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4275 | 1.4275 | 1.4275 | 1.426 | 1.4296 | 1.4269 | 16.4836 | 16.4836 | 16.4836 | 16.466 | 16.5079 | 16.4769 | 5.1437 | -18.2917 | 12.4428 | -3.1168 | 20.365 | -10.4393 | 2.6694 | 4.8858 | -22.3277 | -1.4559 | -3.6917 | 23.4939 | -50.2273 | 69.7727 | -170.2273 | 129.835 | -110.2054 | 9.6885 |  | 0.35157 | 1.1486 | 1.5507 | 0.20892 | 1.2538 | 1.5603 | -22.7997 | -125.1821 | 128.9028 | -25.127 | -120.4803 | 123.646
Line_1 | 1.131 | 0.90327 | 0.84891 | 1.1325 | 0.90102 | 0.85004 | 13.0592 | 10.43 | 9.8024 | 13.0774 | 10.4041 | 9.8155 | 1.9626e-11 | 13.8515 | -3.6494 | 2.5011 | -13.0435 | 3.7573 | 2.0605e-11 | -0.40432 | 15.9988 | 1.0995 | -0.14002 | -14.847 | 131.2365 | -121.0357 | 19.299 | -48.8573 | 58.9046 | -160.5557 |  | 0 | 1.3286 | 1.6741 | 0.20892 | 1.2538 | 1.5603 | 0 | -122.7076 | 122.1486 | -25.127 | -120.4803 | 123.646
Line_2 | 0.29335 | 0.57272 | 0.60661 | 0.29489 | 0.5708 | 0.60654 | 3.3874 | 6.6132 | 7.0045 | 3.4051 | 6.591 | 7.0037 | -0.83953 | 8.0125 | -5.7465 | 0.61566 | -7.3215 | 6.682 | -0.41903 | -3.0966 | 8.499 | 0.35641 | 3.8317 | -8.647 | 125.0311 | -92.8519 | -4.2302 | -55.1934 | 87.1453 | 175.9509 |  | 0.277 | 1.2989 | 1.4647 | 0.20892 | 1.2538 | 1.5603 | -28.4441 | -113.9821 | 119.834 | -25.127 | -120.4803 | 123.646
Line_3 | 0.83929 | 0.48191 | 0.37923 | 0.84072 | 0.48081 | 0.38119 | 9.6913 | 5.5646 | 4.3789 | 9.7078 | 5.552 | 4.4015 | 1.5141e-11 | 6.2418 | 3.2914 | 2.5541 | -5.4132 | -3.1389 | 1.472e-11 | 3.9622 | 6.5501 | 0.84123 | -4.765 | -5.6311 | 133.4373 | -155.1147 | 58.8283 | -46.6743 | 24.6619 | -121.0301 |  | 0 | 1.3286 | 1.6741 | 0.277 | 1.2989 | 1.4647 | 0 | -122.7076 | 122.1486 | -28.4441 | -113.9821 | 119.834

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4275 | 1.4275 | 1.4275 | 1.426 | 1.4296 | 1.4269 | 16.4836 | 16.4836 | 16.4836 | 16.466 | 16.5079 | 16.4769 | 5.1437 | -18.2917 | 12.4428 | -3.1168 | 20.365 | -10.4393 | 2.6694 | 4.8858 | -22.3277 | -1.4559 | -3.6917 | 23.4939 | -50.2273 | 69.7727 | -170.2273 | 129.835 | -110.2054 | 9.6885 |  | 0.35157 | 1.1486 | 1.5507 | 0.20892 | 1.2538 | 1.5603 | -22.7997 | -125.1821 | 128.9028 | -25.127 | -120.4803 | 123.646
Line_1 | 1.131 | 0.90327 | 0.84891 | 1.1325 | 0.90102 | 0.85004 | 13.0592 | 10.43 | 9.8024 | 13.0774 | 10.4041 | 9.8155 | 1.9626e-11 | 13.8515 | -3.6494 | 2.5011 | -13.0435 | 3.7573 | 2.0605e-11 | -0.40432 | 15.9988 | 1.0995 | -0.14002 | -14.847 | 131.2365 | -121.0357 | 19.299 | -48.8573 | 58.9046 | -160.5557 |  | 0 | 1.3286 | 1.6741 | 0.20892 | 1.2538 | 1.5603 | 0 | -122.7076 | 122.1486 | -25.127 | -120.4803 | 123.646
Line_2 | 0.29335 | 0.57272 | 0.60661 | 0.29489 | 0.5708 | 0.60654 | 3.3874 | 6.6132 | 7.0045 | 3.4051 | 6.591 | 7.0037 | -0.83953 | 8.0125 | -5.7465 | 0.61566 | -7.3215 | 6.682 | -0.41903 | -3.0966 | 8.499 | 0.35641 | 3.8317 | -8.647 | 125.0311 | -92.8519 | -4.2302 | -55.1934 | 87.1453 | 175.9509 |  | 0.277 | 1.2989 | 1.4647 | 0.20892 | 1.2538 | 1.5603 | -28.4441 | -113.9821 | 119.834 | -25.127 | -120.4803 | 123.646
Line_3 | 0.83929 | 0.48191 | 0.37923 | 0.84072 | 0.48081 | 0.38119 | 9.6913 | 5.5646 | 4.3789 | 9.7078 | 5.552 | 4.4015 | 1.5141e-11 | 6.2418 | 3.2914 | 2.5541 | -5.4132 | -3.1389 | 1.472e-11 | 3.9622 | 6.5501 | 0.84123 | -4.765 | -5.6311 | 133.4373 | -155.1147 | 58.8283 | -46.6743 | 24.6619 | -121.0301 |  | 0 | 1.3286 | 1.6741 | 0.277 | 1.2989 | 1.4647 | 0 | -122.7076 | 122.1486 | -28.4441 | -113.9821 | 119.834

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3944 | 0.3944 | 0.3944 | 0.39397 | 0.39498 | 0.39424 | 4.5541 | 4.5541 | 4.5541 | 4.5492 | 4.5608 | 4.5522 | 2.7258 | -4.5835 | 1.8038 | -2.5712 | 4.7461 | -1.6552 | 2.537 | 1.227 | -4.8915 | -2.4393 | -1.1383 | 4.978 | -46.4424 | 73.5576 | -166.4424 | 133.6199 | -106.4205 | 13.4735 |  | 0.81768 | 1.0419 | 1.1448 | 0.77907 | 1.0701 | 1.1524 | -3.4977 | -121.4286 | 123.7995 | -2.8874 | -119.9074 | 121.8655
Line_1 | 0.31246 | 0.24956 | 0.23454 | 0.3129 | 0.24894 | 0.23485 | 3.608 | 2.8816 | 2.7082 | 3.613 | 2.8745 | 2.7118 | -1.8951 | 3.1396 | -0.46574 | 2.0857 | -3.0729 | 0.46927 | -1.8007 | -0.18347 | 3.1745 | 1.8902 | 0.13938 | -3.0896 | 135.0214 | -117.2507 | 23.0839 | -45.0724 | 62.6896 | -156.7707 |  | 0.72455 | 1.0914 | 1.1847 | 0.77907 | 1.0701 | 1.1524 | -1.4424 | -120.5952 | 121.4304 | -2.8874 | -119.9074 | 121.8655
Line_2 | 0.081048 | 0.15823 | 0.16759 | 0.081472 | 0.1577 | 0.16758 | 0.93586 | 1.8271 | 1.9352 | 0.94075 | 1.821 | 1.935 | -0.50228 | 1.7296 | -1.1185 | 0.48544 | -1.6732 | 1.1859 | -0.54945 | -0.94523 | 1.8751 | 0.5491 | 0.99891 | -1.8884 | 128.8161 | -89.0669 | -0.44528 | -51.4085 | 90.9302 | 179.7358 |  | 0.79546 | 1.0788 | 1.1282 | 0.77907 | 1.0701 | 1.1524 | -3.6159 | -117.7229 | 120.371 | -2.8874 | -119.9074 | 121.8655
Line_3 | 0.23188 | 0.13314 | 0.10477 | 0.23227 | 0.13284 | 0.10531 | 2.6775 | 1.5374 | 1.2098 | 2.6821 | 1.5339 | 1.2161 | -1.4567 | 1.4422 | 0.74212 | 1.6516 | -1.3746 | -0.73481 | -1.2813 | 0.8575 | 1.2262 | 1.3505 | -0.92127 | -1.1586 | 137.2223 | -151.3297 | 62.6132 | -42.8894 | 28.4469 | -117.2452 |  | 0.72455 | 1.0914 | 1.1847 | 0.79546 | 1.0788 | 1.1282 | -1.4424 | -120.5952 | 121.4304 | -3.6159 | -117.7229 | 120.371

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3944 | 0.3944 | 0.3944 | 0.39397 | 0.39498 | 0.39424 | 4.5541 | 4.5541 | 4.5541 | 4.5492 | 4.5608 | 4.5522 | 2.7258 | -4.5835 | 1.8038 | -2.5712 | 4.7461 | -1.6552 | 2.537 | 1.227 | -4.8915 | -2.4393 | -1.1383 | 4.978 | -46.4424 | 73.5576 | -166.4424 | 133.6199 | -106.4205 | 13.4735 |  | 0.81768 | 1.0419 | 1.1448 | 0.77907 | 1.0701 | 1.1524 | -3.4977 | -121.4286 | 123.7995 | -2.8874 | -119.9074 | 121.8655
Line_1 | 0.31246 | 0.24956 | 0.23454 | 0.3129 | 0.24894 | 0.23485 | 3.608 | 2.8816 | 2.7082 | 3.613 | 2.8745 | 2.7118 | -1.8951 | 3.1396 | -0.46574 | 2.0857 | -3.0729 | 0.46927 | -1.8007 | -0.18347 | 3.1745 | 1.8902 | 0.13938 | -3.0896 | 135.0214 | -117.2507 | 23.0839 | -45.0724 | 62.6896 | -156.7707 |  | 0.72455 | 1.0914 | 1.1847 | 0.77907 | 1.0701 | 1.1524 | -1.4424 | -120.5952 | 121.4304 | -2.8874 | -119.9074 | 121.8655
Line_2 | 0.081048 | 0.15823 | 0.16759 | 0.081472 | 0.1577 | 0.16758 | 0.93586 | 1.8271 | 1.9352 | 0.94075 | 1.821 | 1.935 | -0.50228 | 1.7296 | -1.1185 | 0.48544 | -1.6732 | 1.1859 | -0.54945 | -0.94523 | 1.8751 | 0.5491 | 0.99891 | -1.8884 | 128.8161 | -89.0669 | -0.44528 | -51.4085 | 90.9302 | 179.7358 |  | 0.79546 | 1.0788 | 1.1282 | 0.77907 | 1.0701 | 1.1524 | -3.6159 | -117.7229 | 120.371 | -2.8874 | -119.9074 | 121.8655
Line_3 | 0.23188 | 0.13314 | 0.10477 | 0.23227 | 0.13284 | 0.10531 | 2.6775 | 1.5374 | 1.2098 | 2.6821 | 1.5339 | 1.2161 | -1.4567 | 1.4422 | 0.74212 | 1.6516 | -1.3746 | -0.73481 | -1.2813 | 0.8575 | 1.2262 | 1.3505 | -0.92127 | -1.1586 | 137.2223 | -151.3297 | 62.6132 | -42.8894 | 28.4469 | -117.2452 |  | 0.72455 | 1.0914 | 1.1847 | 0.79546 | 1.0788 | 1.1282 | -1.4424 | -120.5952 | 121.4304 | -3.6159 | -117.7229 | 120.371

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.6999 | 3.6999 | 3.6999 | 3.6953 | 3.7032 | 3.7012 | 42.7231 | 42.7231 | 42.7231 | 42.67 | 42.7611 | 42.7382 | -24.6918 | 14.8182 | 5.4492 | 31.7748 | -7.693 | 1.6982 | -116.3173 | 7.7594 | 13.754 | 124.2252 | 0.35697 | -5.7047 | 106.4893 | -133.5107 | -13.5107 | -73.493 | 46.542 | 166.4189 |  | 2.7833 | 0.39152 | 0.34628 | 3.005 | 0.1801 | 0.13927 | 4.5045 | -105.8723 | 54.8762 | 2.1593 | -136.1147 | 92.9965
Line_1 | 2.8323 | 2.5475 | 2.0766 | 2.837 | 2.5446 | 2.0757 | 32.7041 | 29.4161 | 23.9784 | 32.7591 | 29.382 | 23.9686 | 39.8199 | 2.3712e-10 | 4.3505e-11 | -32.7902 | 5.2488 | -0.66072 | 100.3088 | -1.1984e-10 | 2.1008e-10 | -92.8204 | 0.67248 | 3.272 | -68.3483 | 36.6775 | 171.442 | 111.6158 | -143.4157 | -8.4196 |  | 3.3 | 0 | 0 | 3.005 | 0.1801 | 0.13927 | -6.2948e-09 | 0 | 0 | 2.1593 | -136.1147 | 92.9965
Line_2 | 0.90117 | 1.2792 | 1.6464 | 0.90553 | 1.2753 | 1.6446 | 10.4058 | 14.7708 | 19.0106 | 10.4562 | 14.7259 | 18.9897 | -1.1295 | -1.5896 | 4.8571 | 1.0154 | 2.4442 | -1.0375 | 30.5263 | 3.872 | -0.9695 | -31.4048 | -1.0295 | 2.4327 | -89.7116 | 66.8159 | 159.7599 | 90.3074 | -113.2747 | -20.1012 |  | 2.9356 | 0.28337 | 0.26053 | 3.005 | 0.1801 | 0.13927 | 2.4074 | 179.1356 | 148.4717 | 2.1593 | -136.1147 | 92.9965
Line_3 | 2.018 | 1.5781 | 0.57089 | 2.0222 | 1.5773 | 0.57285 | 23.3023 | 18.2224 | 6.5921 | 23.3504 | 18.2129 | 6.6147 | 39.6388 | 1.6438e-10 | 4.3265e-11 | -32.769 | 5.0199 | -0.89048 | 65.8939 | -8.2271e-12 | 4.0083e-11 | -60.2074 | -1.1983 | 1.4755 | -58.9708 | 12.731 | -153.0713 | 120.9655 | -167.4382 | 27.3599 |  | 3.3 | 0 | 0 | 2.9356 | 0.28337 | 0.26053 | -6.2948e-09 | 0 | 0 | 2.4074 | 179.1356 | 148.4717

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.6999 | 3.6999 | 3.6999 | 3.6953 | 3.7032 | 3.7012 | 42.7231 | 42.7231 | 42.7231 | 42.67 | 42.7611 | 42.7382 | -24.6918 | 14.8182 | 5.4492 | 31.7748 | -7.693 | 1.6982 | -116.3173 | 7.7594 | 13.754 | 124.2252 | 0.35697 | -5.7047 | 106.4893 | -133.5107 | -13.5107 | -73.493 | 46.542 | 166.4189 |  | 2.7833 | 0.39152 | 0.34628 | 3.005 | 0.1801 | 0.13927 | 4.5045 | -105.8723 | 54.8762 | 2.1593 | -136.1147 | 92.9965
Line_1 | 2.8323 | 2.5475 | 2.0766 | 2.837 | 2.5446 | 2.0757 | 32.7041 | 29.4161 | 23.9784 | 32.7591 | 29.382 | 23.9686 | 39.8199 | 2.3712e-10 | 4.3505e-11 | -32.7902 | 5.2488 | -0.66072 | 100.3088 | -1.1984e-10 | 2.1008e-10 | -92.8204 | 0.67248 | 3.272 | -68.3483 | 36.6775 | 171.442 | 111.6158 | -143.4157 | -8.4196 |  | 3.3 | 0 | 0 | 3.005 | 0.1801 | 0.13927 | -6.2948e-09 | 0 | 0 | 2.1593 | -136.1147 | 92.9965
Line_2 | 0.90117 | 1.2792 | 1.6464 | 0.90553 | 1.2753 | 1.6446 | 10.4058 | 14.7708 | 19.0106 | 10.4562 | 14.7259 | 18.9897 | -1.1295 | -1.5896 | 4.8571 | 1.0154 | 2.4442 | -1.0375 | 30.5263 | 3.872 | -0.9695 | -31.4048 | -1.0295 | 2.4327 | -89.7116 | 66.8159 | 159.7599 | 90.3074 | -113.2747 | -20.1012 |  | 2.9356 | 0.28337 | 0.26053 | 3.005 | 0.1801 | 0.13927 | 2.4074 | 179.1356 | 148.4717 | 2.1593 | -136.1147 | 92.9965
Line_3 | 2.018 | 1.5781 | 0.57089 | 2.0222 | 1.5773 | 0.57285 | 23.3023 | 18.2224 | 6.5921 | 23.3504 | 18.2129 | 6.6147 | 39.6388 | 1.6438e-10 | 4.3265e-11 | -32.769 | 5.0199 | -0.89048 | 65.8939 | -8.2271e-12 | 4.0083e-11 | -60.2074 | -1.1983 | 1.4755 | -58.9708 | 12.731 | -153.0713 | 120.9655 | -167.4382 | 27.3599 |  | 3.3 | 0 | 0 | 2.9356 | 0.28337 | 0.26053 | -6.2948e-09 | 0 | 0 | 2.4074 | 179.1356 | 148.4717

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53597 | 0.53597 | 0.53597 | 0.53536 | 0.53665 | 0.53591 | 6.1889 | 6.1889 | 6.1889 | 6.1818 | 6.1967 | 6.1881 | -4.7813 | 6.3129 | -1.6245 | 4.9298 | -6.1702 | 1.7814 | -6.7764 | -0.78881 | 5.5758 | 6.9342 | 0.96372 | -5.4039 | 128.2266 | -111.7734 | 8.2266 | -51.7274 | 68.2603 | -171.8531 |  | 1.34 | 1.028 | 0.9384 | 1.3763 | 1.0078 | 0.9195 | 3.0207 | -118.8957 | 114.4702 | 2.8619 | -120.6169 | 116.3919
Line_1 | 0.42438 | 0.34549 | 0.31276 | 0.42501 | 0.34483 | 0.31297 | 4.9003 | 3.9894 | 3.6114 | 4.9075 | 3.9818 | 3.6139 | 4.3054 | -3.9404 | 0.52298 | -4.1255 | 4.0095 | -0.51968 | 5.486 | -0.16486 | -3.1757 | -5.3479 | 0.16284 | 3.2821 | -49.4223 | 57.1334 | -162.7475 | 130.5098 | -122.9426 | 17.3944 |  | 1.4231 | 0.98859 | 0.89119 | 1.3763 | 1.0078 | 0.9195 | 2.4531 | -120.4709 | 116.6043 | 2.8619 | -120.6169 | 116.3919
Line_2 | 0.11129 | 0.21008 | 0.23262 | 0.11191 | 0.2094 | 0.23251 | 1.285 | 2.4258 | 2.686 | 1.2923 | 2.4179 | 2.6848 | 0.78986 | -2.1279 | 1.3477 | -0.80427 | 2.1607 | -1.2617 | 1.5671 | 1.2029 | -2.1041 | -1.5863 | -1.1266 | 2.1218 | -60.1028 | 86.946 | 175.4862 | 119.7472 | -93.0801 | -4.3456 |  | 1.3656 | 1.0076 | 0.93027 | 1.3763 | 1.0078 | 0.9195 | 3.1472 | -122.5344 | 118.1262 | 2.8619 | -120.6169 | 116.3919
Line_3 | 0.31544 | 0.19387 | 0.12935 | 0.31601 | 0.1936 | 0.12997 | 3.6424 | 2.2386 | 1.4936 | 3.6489 | 2.2355 | 1.5007 | 3.4622 | -1.8146 | -0.71105 | -3.2772 | 1.8878 | 0.71805 | 3.8579 | -1.2669 | -1.1252 | -3.7538 | 1.229 | 1.1973 | -45.6412 | 24.607 | -121.1066 | 134.2697 | -155.5991 | 59.0794 |  | 1.4231 | 0.98859 | 0.89119 | 1.3656 | 1.0076 | 0.93027 | 2.4531 | -120.4709 | 116.6043 | 3.1472 | -122.5344 | 118.1262

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53597 | 0.53597 | 0.53597 | 0.53536 | 0.53665 | 0.53591 | 6.1889 | 6.1889 | 6.1889 | 6.1818 | 6.1967 | 6.1881 | -4.7813 | 6.3129 | -1.6245 | 4.9298 | -6.1702 | 1.7814 | -6.7764 | -0.78881 | 5.5758 | 6.9342 | 0.96372 | -5.4039 | 128.2266 | -111.7734 | 8.2266 | -51.7274 | 68.2603 | -171.8531 |  | 1.34 | 1.028 | 0.9384 | 1.3763 | 1.0078 | 0.9195 | 3.0207 | -118.8957 | 114.4702 | 2.8619 | -120.6169 | 116.3919
Line_1 | 0.42438 | 0.34549 | 0.31276 | 0.42501 | 0.34483 | 0.31297 | 4.9003 | 3.9894 | 3.6114 | 4.9075 | 3.9818 | 3.6139 | 4.3054 | -3.9404 | 0.52298 | -4.1255 | 4.0095 | -0.51968 | 5.486 | -0.16486 | -3.1757 | -5.3479 | 0.16284 | 3.2821 | -49.4223 | 57.1334 | -162.7475 | 130.5098 | -122.9426 | 17.3944 |  | 1.4231 | 0.98859 | 0.89119 | 1.3763 | 1.0078 | 0.9195 | 2.4531 | -120.4709 | 116.6043 | 2.8619 | -120.6169 | 116.3919
Line_2 | 0.11129 | 0.21008 | 0.23262 | 0.11191 | 0.2094 | 0.23251 | 1.285 | 2.4258 | 2.686 | 1.2923 | 2.4179 | 2.6848 | 0.78986 | -2.1279 | 1.3477 | -0.80427 | 2.1607 | -1.2617 | 1.5671 | 1.2029 | -2.1041 | -1.5863 | -1.1266 | 2.1218 | -60.1028 | 86.946 | 175.4862 | 119.7472 | -93.0801 | -4.3456 |  | 1.3656 | 1.0076 | 0.93027 | 1.3763 | 1.0078 | 0.9195 | 3.1472 | -122.5344 | 118.1262 | 2.8619 | -120.6169 | 116.3919
Line_3 | 0.31544 | 0.19387 | 0.12935 | 0.31601 | 0.1936 | 0.12997 | 3.6424 | 2.2386 | 1.4936 | 3.6489 | 2.2355 | 1.5007 | 3.4622 | -1.8146 | -0.71105 | -3.2772 | 1.8878 | 0.71805 | 3.8579 | -1.2669 | -1.1252 | -3.7538 | 1.229 | 1.1973 | -45.6412 | 24.607 | -121.1066 | 134.2697 | -155.5991 | 59.0794 |  | 1.4231 | 0.98859 | 0.89119 | 1.3656 | 1.0076 | 0.93027 | 2.4531 | -120.4709 | 116.6043 | 3.1472 | -122.5344 | 118.1262

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.0092 | 3.0092 | 3.0092 | 3.0055 | 3.0124 | 3.0097 | 34.7474 | 34.7474 | 34.7474 | 34.7049 | 34.784 | 34.7532 | -28.0122 | 16.7575 | 8.121 | 37.0082 | -7.6933 | 0.94149 | -78.4666 | 1.858 | 10.9646 | 83.6962 | 3.5272 | -5.6628 | 117.6267 | -122.3733 | -2.3733 | -62.3439 | 57.6725 | 177.5514 |  | 2.3978 | 0.48522 | 0.39268 | 2.6369 | 0.24331 | 0.16518 | 7.9803 | -116.0464 | 51.1007 | 3.8024 | -146.958 | 96.991
Line_1 | 2.295 | 2.0441 | 1.7203 | 2.2989 | 2.0409 | 1.7204 | 26.5008 | 23.6032 | 19.8643 | 26.5456 | 23.5661 | 19.865 | 42.1413 | 1.4704e-10 | 8.79e-11 | -33.0258 | 5.5347 | -0.22832 | 67.4148 | -1.4961e-10 | 1.5101e-10 | -61.717 | -1.4984 | 3.2733 | -57.9903 | 48.2771 | -177.1476 | 121.9543 | -131.8098 | 3.001 |  | 3 | 0 | 0 | 2.6369 | 0.24331 | 0.16518 | -7.052e-09 | 0 | 0 | 3.8024 | -146.958 | 96.991
Line_2 | 0.73011 | 1.0577 | 1.3085 | 0.73361 | 1.0544 | 1.3074 | 8.4306 | 12.2131 | 15.109 | 8.471 | 12.1755 | 15.0963 | 3.5735 | -0.66054 | 5.0725 | -3.9824 | 2.1587 | -0.71317 | 20.9867 | 4.8656 | -2.0368 | -21.9792 | -2.0289 | 2.3894 | -75.901 | 76.3391 | 170.2259 | 104.0724 | -103.7331 | -9.6277 |  | 2.5252 | 0.40205 | 0.36178 | 2.6369 | 0.24331 | 0.16518 | 4.4358 | 174.0701 | 148.3486 | 3.8024 | -146.958 | 96.991
Line_3 | 1.6146 | 1.2174 | 0.52712 | 1.6179 | 1.2161 | 0.52915 | 18.644 | 14.0573 | 6.0867 | 18.6818 | 14.0423 | 6.1101 | 35.9681 | 1.1629e-10 | 4.7648e-11 | -27.3975 | 4.8907 | -0.8444 | 42.8333 | -4.566e-11 | 2.4415e-11 | -38.4038 | -2.8203 | 2.0429 | -49.9791 | 24.2179 | -144.4805 | 129.9401 | -155.9594 | 35.8914 |  | 3 | 0 | 0 | 2.5252 | 0.40205 | 0.36178 | -7.052e-09 | 0 | 0 | 4.4358 | 174.0701 | 148.3486

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.0092 | 3.0092 | 3.0092 | 3.0055 | 3.0124 | 3.0097 | 34.7474 | 34.7474 | 34.7474 | 34.7049 | 34.784 | 34.7532 | -28.0122 | 16.7575 | 8.121 | 37.0082 | -7.6933 | 0.94149 | -78.4666 | 1.858 | 10.9646 | 83.6962 | 3.5272 | -5.6628 | 117.6267 | -122.3733 | -2.3733 | -62.3439 | 57.6725 | 177.5514 |  | 2.3978 | 0.48522 | 0.39268 | 2.6369 | 0.24331 | 0.16518 | 7.9803 | -116.0464 | 51.1007 | 3.8024 | -146.958 | 96.991
Line_1 | 2.295 | 2.0441 | 1.7203 | 2.2989 | 2.0409 | 1.7204 | 26.5008 | 23.6032 | 19.8643 | 26.5456 | 23.5661 | 19.865 | 42.1413 | 1.4704e-10 | 8.79e-11 | -33.0258 | 5.5347 | -0.22832 | 67.4148 | -1.4961e-10 | 1.5101e-10 | -61.717 | -1.4984 | 3.2733 | -57.9903 | 48.2771 | -177.1476 | 121.9543 | -131.8098 | 3.001 |  | 3 | 0 | 0 | 2.6369 | 0.24331 | 0.16518 | -7.052e-09 | 0 | 0 | 3.8024 | -146.958 | 96.991
Line_2 | 0.73011 | 1.0577 | 1.3085 | 0.73361 | 1.0544 | 1.3074 | 8.4306 | 12.2131 | 15.109 | 8.471 | 12.1755 | 15.0963 | 3.5735 | -0.66054 | 5.0725 | -3.9824 | 2.1587 | -0.71317 | 20.9867 | 4.8656 | -2.0368 | -21.9792 | -2.0289 | 2.3894 | -75.901 | 76.3391 | 170.2259 | 104.0724 | -103.7331 | -9.6277 |  | 2.5252 | 0.40205 | 0.36178 | 2.6369 | 0.24331 | 0.16518 | 4.4358 | 174.0701 | 148.3486 | 3.8024 | -146.958 | 96.991
Line_3 | 1.6146 | 1.2174 | 0.52712 | 1.6179 | 1.2161 | 0.52915 | 18.644 | 14.0573 | 6.0867 | 18.6818 | 14.0423 | 6.1101 | 35.9681 | 1.1629e-10 | 4.7648e-11 | -27.3975 | 4.8907 | -0.8444 | 42.8333 | -4.566e-11 | 2.4415e-11 | -38.4038 | -2.8203 | 2.0429 | -49.9791 | 24.2179 | -144.4805 | 129.9401 | -155.9594 | 35.8914 |  | 3 | 0 | 0 | 2.5252 | 0.40205 | 0.36178 | -7.052e-09 | 0 | 0 | 4.4358 | 174.0701 | 148.3486

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47169 | 0.47169 | 0.47169 | 0.47115 | 0.47231 | 0.4716 | 5.4466 | 5.4466 | 5.4466 | 5.4404 | 5.4538 | 5.4456 | -3.9862 | 5.0501 | -1.1409 | 4.2072 | -4.8329 | 1.3691 | -5.2946 | -0.80679 | 4.4885 | 5.4166 | 0.94262 | -4.3557 | 130.1085 | -109.8915 | 10.1085 | -49.8416 | 70.1401 | -169.9729 |  | 1.2168 | 0.93896 | 0.8503 | 1.2607 | 0.90285 | 0.83843 | 3.1332 | -118.9681 | 114.3701 | 2.3207 | -120.8964 | 117.476
Line_1 | 0.36864 | 0.30704 | 0.2757 | 0.36919 | 0.30639 | 0.27594 | 4.2566 | 3.5454 | 3.1835 | 4.2631 | 3.5379 | 3.1863 | 3.732 | -3.0965 | 0.44144 | -3.4771 | 3.194 | -0.42953 | 4.2163 | -0.012353 | -2.5231 | -4.0979 | -0.034564 | 2.6367 | -47.2849 | 59.7951 | -161.926 | 132.6355 | -120.2763 | 18.2235 |  | 1.3228 | 0.87339 | 0.80458 | 1.2607 | 0.90285 | 0.83843 | 1.2018 | -119.9763 | 117.9981 | 2.3207 | -120.8964 | 117.476
Line_2 | 0.103 | 0.18032 | 0.20243 | 0.10354 | 0.17972 | 0.20235 | 1.1893 | 2.0821 | 2.3374 | 1.1956 | 2.0753 | 2.3365 | 0.70947 | -1.5856 | 1.0509 | -0.73008 | 1.6389 | -0.93954 | 1.2965 | 0.98919 | -1.7223 | -1.3186 | -0.90805 | 1.719 | -58.5676 | 88.12 | 178.6489 | 121.293 | -91.9076 | -1.1838 |  | 1.2427 | 0.89758 | 0.86318 | 1.2607 | 0.90285 | 0.83843 | 2.7446 | -123.8386 | 120.0388 | 2.3207 | -120.8964 | 117.476
Line_3 | 0.26817 | 0.1713 | 0.10809 | 0.26866 | 0.171 | 0.10863 | 3.0966 | 1.9781 | 1.2481 | 3.1022 | 1.9745 | 1.2544 | 2.9392 | -1.4943 | -0.478 | -2.688 | 1.5866 | 0.48475 | 2.8531 | -0.86705 | -0.88314 | -2.7633 | 0.7898 | 0.96819 | -42.9463 | 29.8994 | -123.5776 | 136.9535 | -150.3025 | 56.6348 |  | 1.3228 | 0.87339 | 0.80458 | 1.2427 | 0.89758 | 0.86318 | 1.2018 | -119.9763 | 117.9981 | 2.7446 | -123.8386 | 120.0388

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47169 | 0.47169 | 0.47169 | 0.47115 | 0.47231 | 0.4716 | 5.4466 | 5.4466 | 5.4466 | 5.4404 | 5.4538 | 5.4456 | -3.9862 | 5.0501 | -1.1409 | 4.2072 | -4.8329 | 1.3691 | -5.2946 | -0.80679 | 4.4885 | 5.4166 | 0.94262 | -4.3557 | 130.1085 | -109.8915 | 10.1085 | -49.8416 | 70.1401 | -169.9729 |  | 1.2168 | 0.93896 | 0.8503 | 1.2607 | 0.90285 | 0.83843 | 3.1332 | -118.9681 | 114.3701 | 2.3207 | -120.8964 | 117.476
Line_1 | 0.36864 | 0.30704 | 0.2757 | 0.36919 | 0.30639 | 0.27594 | 4.2566 | 3.5454 | 3.1835 | 4.2631 | 3.5379 | 3.1863 | 3.732 | -3.0965 | 0.44144 | -3.4771 | 3.194 | -0.42953 | 4.2163 | -0.012353 | -2.5231 | -4.0979 | -0.034564 | 2.6367 | -47.2849 | 59.7951 | -161.926 | 132.6355 | -120.2763 | 18.2235 |  | 1.3228 | 0.87339 | 0.80458 | 1.2607 | 0.90285 | 0.83843 | 1.2018 | -119.9763 | 117.9981 | 2.3207 | -120.8964 | 117.476
Line_2 | 0.103 | 0.18032 | 0.20243 | 0.10354 | 0.17972 | 0.20235 | 1.1893 | 2.0821 | 2.3374 | 1.1956 | 2.0753 | 2.3365 | 0.70947 | -1.5856 | 1.0509 | -0.73008 | 1.6389 | -0.93954 | 1.2965 | 0.98919 | -1.7223 | -1.3186 | -0.90805 | 1.719 | -58.5676 | 88.12 | 178.6489 | 121.293 | -91.9076 | -1.1838 |  | 1.2427 | 0.89758 | 0.86318 | 1.2607 | 0.90285 | 0.83843 | 2.7446 | -123.8386 | 120.0388 | 2.3207 | -120.8964 | 117.476
Line_3 | 0.26817 | 0.1713 | 0.10809 | 0.26866 | 0.171 | 0.10863 | 3.0966 | 1.9781 | 1.2481 | 3.1022 | 1.9745 | 1.2544 | 2.9392 | -1.4943 | -0.478 | -2.688 | 1.5866 | 0.48475 | 2.8531 | -0.86705 | -0.88314 | -2.7633 | 0.7898 | 0.96819 | -42.9463 | 29.8994 | -123.5776 | 136.9535 | -150.3025 | 56.6348 |  | 1.3228 | 0.87339 | 0.80458 | 1.2427 | 0.89758 | 0.86318 | 1.2018 | -119.9763 | 117.9981 | 2.7446 | -123.8386 | 120.0388