## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1915 | 2.1915 | 0 | 0 | 75.9164 | 75.9164 | 15.5181 | -8.0258 | 17.5236 | -9.0227 | -74.8488 | 105.1512 | 0.30833 | 0.15907 | -26.3754 | -26.5021
Line_1 | 2.3355 | 2.3355 | 0 | 4.7439 | 80.9035 | 80.9035 | 8.509 | -1e-07 | 9.6544 | -1e-07 | -75.1106 | 104.8894 | 0.15907 | 0 | -26.5021 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15907 | 0.15907 | -26.5021 | -26.5021

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1915 | 2.1915 | 0 | 0 | 75.9164 | 75.9164 | 15.5181 | -8.0258 | 17.5236 | -9.0227 | -74.8488 | 105.1512 | 0.30833 | 0.15907 | -26.3754 | -26.5021
Line_1 | 2.3355 | 2.3355 | 0 | 4.7439 | 80.9035 | 80.9035 | 8.509 | -1e-07 | 9.6544 | -1e-07 | -75.1106 | 104.8894 | 0.15907 | 0 | -26.5021 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15907 | 0.15907 | -26.5021 | -26.5021

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.95063 | 0.95063 | 0 | 0 | 32.9309 | 32.9309 | 19.3803 | -17.9705 | 17.9492 | -16.3497 | -55.4045 | 124.5955 | 0.80214 | 0.73776 | -12.5999 | -13.1084
Line_1 | 1.0844 | 1.0844 | 0 | 2.2026 | 37.5635 | 37.5635 | 19.4721 | -17.6377 | 19.719 | -17.6377 | -58.4694 | 121.5306 | 0.73776 | 0.66404 | -13.1084 | -13.4694
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73776 | 0.73776 | -13.1084 | -13.1084

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.95063 | 0.95063 | 0 | 0 | 32.9309 | 32.9309 | 19.3803 | -17.9705 | 17.9492 | -16.3497 | -55.4045 | 124.5955 | 0.80214 | 0.73776 | -12.5999 | -13.1084
Line_1 | 1.0844 | 1.0844 | 0 | 2.2026 | 37.5635 | 37.5635 | 19.4721 | -17.6377 | 19.719 | -17.6377 | -58.4694 | 121.5306 | 0.73776 | 0.66404 | -13.1084 | -13.4694
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73776 | 0.73776 | -13.1084 | -13.1084

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 1.9046 | 1.8939 | 0.14434 | 1.9046 | 1.8939 | 1.6667 | 21.9925 | 21.8694 | 1.6667 | 21.9925 | 21.8694 | -0.35618 | 16.1955 | -8.6145 | 0.36701 | -14.3092 | 10.4798 | -1.8914 | 0.51878 | 7.2973 | 1.9037 | 1.6215 | -5.181 | 100.9121 | -162.6832 | 12.9734 | -79.0879 | 17.3168 | -167.0266 | 1.1548 | 0.73679 | 0.51624 | 1.1632 | 0.6548 | 0.53456 | 0.2474 | -160.8485 | 152.7056 | -6.9492e-06 | -169.1482 | 166.6665
Line_1 | 0 | 2.0226 | 2.0226 | 0 | 2.0226 | 2.0226 | 0 | 23.3548 | 23.3548 | 0 | 23.3548 | 23.3548 | 2.6976e-10 | 15.2549 | -11.0004 | -2.6976e-10 | -13.1276 | 13.1276 | -5.543e-15 | -1.0768 | 5.904 | 5.543e-15 | 3.4904 | -3.4904 | 0 | -165.1106 | 14.8894 | 0 | 14.8894 | -165.1106 | 1.1632 | 0.6548 | 0.53456 | 1.1632 | 0.58162 | 0.58162 | -6.9492e-06 | -169.1482 | 166.6665 | -6.9493e-06 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6976e-10 | -1.5537e-10 | -4.3182e-10 | -2.6978e-10 | 1.5539e-10 | 4.318e-10 | -3.2719e-17 | 1.9977e-09 | -1.5683e-09 | 1.1053e-14 | -1.9977e-09 | 1.5683e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.6548 | 0.53456 | 1.1632 | 0.6548 | 0.53456 | -6.9492e-06 | -169.1482 | 166.6665 | -6.9493e-06 | -169.1482 | 166.6665

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 1.9046 | 1.8939 | 0.14434 | 1.9046 | 1.8939 | 1.6667 | 21.9925 | 21.8694 | 1.6667 | 21.9925 | 21.8694 | -0.35618 | 16.1955 | -8.6145 | 0.36701 | -14.3092 | 10.4798 | -1.8914 | 0.51878 | 7.2973 | 1.9037 | 1.6215 | -5.181 | 100.9121 | -162.6832 | 12.9734 | -79.0879 | 17.3168 | -167.0266 | 1.1548 | 0.73679 | 0.51624 | 1.1632 | 0.6548 | 0.53456 | 0.2474 | -160.8485 | 152.7056 | -6.9492e-06 | -169.1482 | 166.6665
Line_1 | 0 | 2.0226 | 2.0226 | 0 | 2.0226 | 2.0226 | 0 | 23.3548 | 23.3548 | 0 | 23.3548 | 23.3548 | 2.6976e-10 | 15.2549 | -11.0004 | -2.6976e-10 | -13.1276 | 13.1276 | -5.543e-15 | -1.0768 | 5.904 | 5.543e-15 | 3.4904 | -3.4904 | 0 | -165.1106 | 14.8894 | 0 | 14.8894 | -165.1106 | 1.1632 | 0.6548 | 0.53456 | 1.1632 | 0.58162 | 0.58162 | -6.9492e-06 | -169.1482 | 166.6665 | -6.9493e-06 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6976e-10 | -1.5537e-10 | -4.3182e-10 | -2.6978e-10 | 1.5539e-10 | 4.318e-10 | -3.2719e-17 | 1.9977e-09 | -1.5683e-09 | 1.1053e-14 | -1.9977e-09 | 1.5683e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.6548 | 0.53456 | 1.1632 | 0.6548 | 0.53456 | -6.9492e-06 | -169.1482 | 166.6665 | -6.9493e-06 | -169.1482 | 166.6665

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 1.1974 | 1.1554 | 0.14434 | 1.1974 | 1.1554 | 1.6667 | 13.8268 | 13.341 | 1.6667 | 13.8268 | 13.341 | -0.35618 | 12.6995 | -2.0003 | 0.36701 | -11.9539 | 2.6944 | -1.8914 | 1.0512 | 8.7624 | 1.9037 | -0.20527 | -7.9748 | 100.9121 | -148.8071 | 24.4633 | -79.0879 | 31.1929 | -155.5367 | 1.1548 | 0.92161 | 0.6737 | 1.1632 | 0.86467 | 0.63096 | 0.2474 | -144.075 | 127.3227 | -5.4809e-06 | -147.8233 | 133.1319
Line_1 | 0 | 1.2944 | 1.2944 | 0 | 1.2944 | 1.2944 | 0 | 14.9469 | 14.9469 | 0 | 14.9469 | 14.9469 | 2.6976e-10 | 12.8556 | -2.7352 | -2.6976e-10 | -11.9843 | 3.6065 | -2.5805e-17 | 1.3294 | 9.0256 | -5.4844e-15 | -0.34082 | -8.037 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.1632 | 0.86467 | 0.63096 | 1.1632 | 0.80212 | 0.58936 | -5.4809e-06 | -147.8233 | 133.1319 | -5.4809e-06 | -152.0983 | 140.44
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6976e-10 | -3.4289e-10 | -1.0186e-09 | -2.6977e-10 | 3.429e-10 | 1.0186e-09 | -5.536e-15 | 1.6278e-09 | -5.7818e-10 | 2.5806e-17 | -1.6278e-09 | 5.7819e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.86467 | 0.63096 | 1.1632 | 0.86467 | 0.63096 | -5.4809e-06 | -147.8233 | 133.1319 | -5.4809e-06 | -147.8233 | 133.1319

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 1.1974 | 1.1554 | 0.14434 | 1.1974 | 1.1554 | 1.6667 | 13.8268 | 13.341 | 1.6667 | 13.8268 | 13.341 | -0.35618 | 12.6995 | -2.0003 | 0.36701 | -11.9539 | 2.6944 | -1.8914 | 1.0512 | 8.7624 | 1.9037 | -0.20527 | -7.9748 | 100.9121 | -148.8071 | 24.4633 | -79.0879 | 31.1929 | -155.5367 | 1.1548 | 0.92161 | 0.6737 | 1.1632 | 0.86467 | 0.63096 | 0.2474 | -144.075 | 127.3227 | -5.4809e-06 | -147.8233 | 133.1319
Line_1 | 0 | 1.2944 | 1.2944 | 0 | 1.2944 | 1.2944 | 0 | 14.9469 | 14.9469 | 0 | 14.9469 | 14.9469 | 2.6976e-10 | 12.8556 | -2.7352 | -2.6976e-10 | -11.9843 | 3.6065 | -2.5805e-17 | 1.3294 | 9.0256 | -5.4844e-15 | -0.34082 | -8.037 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.1632 | 0.86467 | 0.63096 | 1.1632 | 0.80212 | 0.58936 | -5.4809e-06 | -147.8233 | 133.1319 | -5.4809e-06 | -152.0983 | 140.44
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6976e-10 | -3.4289e-10 | -1.0186e-09 | -2.6977e-10 | 3.429e-10 | 1.0186e-09 | -5.536e-15 | 1.6278e-09 | -5.7818e-10 | 2.5806e-17 | -1.6278e-09 | 5.7819e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1632 | 0.86467 | 0.63096 | 1.1632 | 0.86467 | 0.63096 | -5.4809e-06 | -147.8233 | 133.1319 | -5.4809e-06 | -147.8233 | 133.1319

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.4211e-14 | -10.3204 | 5.7933 | -1.4211e-14 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3672e-13 | -160.6232 | 142.7791 | 5.0509e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 8.3517e-29 | 10.3204 | -5.7933 | -4.1891e-29 | -8.0568 | 8.0568 | -9.4739e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0509e-13 | -168.5183 | 163.5938 | 5.0669e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6607e-10 | 2.3685e-15 | 1.296e-10 | 4.6607e-10 | -4.1758e-29 | 1.6587e-09 | -1.0759e-09 | -4.737e-15 | -1.6587e-09 | 1.0759e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0509e-13 | -168.5183 | 163.5938 | 4.9853e-13 | -168.5183 | 163.5938

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.4211e-14 | -10.3204 | 5.7933 | -1.4211e-14 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3672e-13 | -160.6232 | 142.7791 | 5.0509e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 8.3517e-29 | 10.3204 | -5.7933 | -4.1891e-29 | -8.0568 | 8.0568 | -9.4739e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0509e-13 | -168.5183 | 163.5938 | 5.0669e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6607e-10 | 2.3685e-15 | 1.296e-10 | 4.6607e-10 | -4.1758e-29 | 1.6587e-09 | -1.0759e-09 | -4.737e-15 | -1.6587e-09 | 1.0759e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0509e-13 | -168.5183 | 163.5938 | 4.9853e-13 | -168.5183 | 163.5938

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 1.0658e-14 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3761e-13 | -145.2178 | 124.345 | 3.1486e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 1.1842e-15 | 8.5078 | -1.5008 | -1.1842e-15 | -7.5079 | 2.5007 | -7.1054e-15 | 0.20683 | 5.9821 | 9.4739e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1486e-13 | -148.6211 | 134.0705 | 3.156e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8165e-10 | -8.5378e-10 | 2.3685e-15 | 3.8165e-10 | 8.5378e-10 | 0 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1486e-13 | -148.6211 | 134.0705 | 3.0952e-13 | -148.6211 | 134.0705

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 1.0658e-14 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3761e-13 | -145.2178 | 124.345 | 3.1486e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 1.1842e-15 | 8.5078 | -1.5008 | -1.1842e-15 | -7.5079 | 2.5007 | -7.1054e-15 | 0.20683 | 5.9821 | 9.4739e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1486e-13 | -148.6211 | 134.0705 | 3.156e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8165e-10 | -8.5378e-10 | 2.3685e-15 | 3.8165e-10 | 8.5378e-10 | 0 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1486e-13 | -148.6211 | 134.0705 | 3.0952e-13 | -148.6211 | 134.0705

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7518 | 0.14586 | 0.14858 | 1.7504 | 0.14517 | 0.14768 | 20.2281 | 1.6842 | 1.7156 | 20.2123 | 1.6762 | 1.7053 | 10.4238 | -0.28935 | -0.41723 | -5.2839 | 0.59369 | 0.39052 | 5.4489 | -1.9245 | -1.9393 | -2.7699 | 1.8042 | 2.2507 | -58.0722 | -21.3061 | -137.5278 | 121.9494 | 159.2257 | 41.9982 | 0.58147 | 1.1555 | 1.1562 | 0.29516 | 1.1331 | 1.3395 | -30.4745 | -119.8566 | 120.3303 | -30.3862 | -128.989 | 122.1546
Line_1 | 1.8843 | 0.0024076 | 0.0024076 | 1.8825 | 0 | 0 | 21.7579 | 0.027801 | 0.027801 | 21.7373 | 0 | 0 | 5.6057 | 0.028073 | -0.026713 | 6.124e-12 | -3.5442e-10 | -2.3147e-09 | 3.1335 | -0.01429 | -0.025947 | 4.4526e-11 | -1.4158e-09 | 4.0074e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.29516 | 1.1331 | 1.3395 | 0 | 1.1312 | 1.5145 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7614
Line_2 | 0.0019404 | 0.0019404 | 0.0019404 | 0 | 0 | 0 | 0.022405 | 0.022405 | 0.022405 | 0 | 0 | 0 | 0.0028248 | 0.021075 | -0.023889 | 7.0766e-10 | -1.93e-10 | -1.1822e-09 | 0.0059796 | -0.014156 | -0.018168 | -6.0089e-10 | -7.1503e-10 | 2.0283e-10 | -95.0999 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.29516 | 1.1331 | 1.3395 | 0.29492 | 1.1329 | 1.3399 | -30.3862 | -128.989 | 122.1546 | -30.3419 | -129.0029 | 122.1508

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7518 | 0.14586 | 0.14858 | 1.7504 | 0.14517 | 0.14768 | 20.2281 | 1.6842 | 1.7156 | 20.2123 | 1.6762 | 1.7053 | 10.4238 | -0.28935 | -0.41723 | -5.2839 | 0.59369 | 0.39052 | 5.4489 | -1.9245 | -1.9393 | -2.7699 | 1.8042 | 2.2507 | -58.0722 | -21.3061 | -137.5278 | 121.9494 | 159.2257 | 41.9982 | 0.58147 | 1.1555 | 1.1562 | 0.29516 | 1.1331 | 1.3395 | -30.4745 | -119.8566 | 120.3303 | -30.3862 | -128.989 | 122.1546
Line_1 | 1.8843 | 0.0024076 | 0.0024076 | 1.8825 | 0 | 0 | 21.7579 | 0.027801 | 0.027801 | 21.7373 | 0 | 0 | 5.6057 | 0.028073 | -0.026713 | 6.124e-12 | -3.5442e-10 | -2.3147e-09 | 3.1335 | -0.01429 | -0.025947 | 4.4526e-11 | -1.4158e-09 | 4.0074e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.29516 | 1.1331 | 1.3395 | 0 | 1.1312 | 1.5145 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7614
Line_2 | 0.0019404 | 0.0019404 | 0.0019404 | 0 | 0 | 0 | 0.022405 | 0.022405 | 0.022405 | 0 | 0 | 0 | 0.0028248 | 0.021075 | -0.023889 | 7.0766e-10 | -1.93e-10 | -1.1822e-09 | 0.0059796 | -0.014156 | -0.018168 | -6.0089e-10 | -7.1503e-10 | 2.0283e-10 | -95.0999 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.29516 | 1.1331 | 1.3395 | 0.29492 | 1.1329 | 1.3399 | -30.3862 | -128.989 | 122.1546 | -30.3419 | -129.0029 | 122.1508

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82913 | 0.14543 | 0.1462 | 0.82846 | 0.14501 | 0.14583 | 9.574 | 1.6793 | 1.6882 | 9.5662 | 1.6744 | 1.6839 | 6.7564 | -0.32464 | -0.38952 | -5.5383 | 0.48908 | 0.36055 | 4.8071 | -1.9127 | -1.9112 | -4.2318 | 1.8729 | 2.0715 | -47.923 | -20.1696 | -138.1869 | 132.1026 | 160.0836 | 41.5477 | 0.86609 | 1.1553 | 1.1554 | 0.72861 | 1.1561 | 1.2486 | -12.4919 | -119.8025 | 120.2937 | -10.5141 | -124.5514 | 121.6743
Line_1 | 0.95406 | 0.001219 | 0.001219 | 0.95316 | 0 | 0 | 11.0166 | 0.014076 | 0.014076 | 11.0062 | 0 | 0 | 5.9801 | 0.014124 | -0.014138 | -4.5426 | -2.949e-10 | -1.1503e-09 | 5.3542 | -0.0080815 | -0.010442 | -4.5426 | -7.3376e-10 | 2.908e-10 | -52.3531 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.72861 | 1.1561 | 1.2486 | 0.58369 | 1.1559 | 1.3336 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.00098245 | 0.00098245 | 0.00098245 | 0 | 0 | 0 | 0.011344 | 0.011344 | 0.011344 | 0 | 0 | 0 | 0.0018104 | 0.010517 | -0.012324 | 9.4309e-10 | -2.5195e-10 | -6.8355e-10 | 0.0080649 | -0.0078357 | -0.0069831 | -5.3562e-10 | -3.7055e-10 | 1.4707e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.72861 | 1.1561 | 1.2486 | 0.72851 | 1.156 | 1.2488 | -10.5141 | -124.5514 | 121.6743 | -10.5031 | -124.5585 | 121.6732

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82913 | 0.14543 | 0.1462 | 0.82846 | 0.14501 | 0.14583 | 9.574 | 1.6793 | 1.6882 | 9.5662 | 1.6744 | 1.6839 | 6.7564 | -0.32464 | -0.38952 | -5.5383 | 0.48908 | 0.36055 | 4.8071 | -1.9127 | -1.9112 | -4.2318 | 1.8729 | 2.0715 | -47.923 | -20.1696 | -138.1869 | 132.1026 | 160.0836 | 41.5477 | 0.86609 | 1.1553 | 1.1554 | 0.72861 | 1.1561 | 1.2486 | -12.4919 | -119.8025 | 120.2937 | -10.5141 | -124.5514 | 121.6743
Line_1 | 0.95406 | 0.001219 | 0.001219 | 0.95316 | 0 | 0 | 11.0166 | 0.014076 | 0.014076 | 11.0062 | 0 | 0 | 5.9801 | 0.014124 | -0.014138 | -4.5426 | -2.949e-10 | -1.1503e-09 | 5.3542 | -0.0080815 | -0.010442 | -4.5426 | -7.3376e-10 | 2.908e-10 | -52.3531 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.72861 | 1.1561 | 1.2486 | 0.58369 | 1.1559 | 1.3336 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.00098245 | 0.00098245 | 0.00098245 | 0 | 0 | 0 | 0.011344 | 0.011344 | 0.011344 | 0 | 0 | 0 | 0.0018104 | 0.010517 | -0.012324 | 9.4309e-10 | -2.5195e-10 | -6.8355e-10 | 0.0080649 | -0.0078357 | -0.0069831 | -5.3562e-10 | -3.7055e-10 | 1.4707e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.72861 | 1.1561 | 1.2486 | 0.72851 | 1.156 | 1.2488 | -10.5141 | -124.5514 | 121.6743 | -10.5031 | -124.5585 | 121.6732

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9614e-11 | -4.967e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0474e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0726e-11 | -9.3535e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0187e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9614e-11 | -4.967e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0474e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0726e-11 | -9.3535e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0187e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1446e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0826e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4983e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1446e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0826e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4983e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.149 | 2.3106 | 1.6863 | 0.14778 | 2.3102 | 1.6859 | 1.7205 | 26.6801 | 19.4717 | 1.7064 | 26.6762 | 19.4668 | -0.36193 | 12.1834 | 1.2262 | 0.54393 | -6.1986 | -0.66583 | -1.9566 | 2.1303 | 8.8261 | 2.1289 | -1.1399 | -4.4784 | 100.7258 | 179.6551 | 36.6253 | -79.3187 | -0.3159 | -143.4136 | 1.1566 | 0.46358 | 0.45763 | 1.2877 | 0.23626 | 0.23258 | 0.24588 | -170.4268 | 118.7156 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0019377 | 2.4472 | 1.829 | 0 | 2.4472 | 1.8278 | 0.022375 | 28.2573 | 21.1195 | 0 | 28.2575 | 21.1055 | -0.00083771 | 6.5427 | 0.74774 | -1.6661e-09 | -1.4848e-11 | -1.7902e-11 | -0.028799 | 1.3277 | 4.8547 | -6.5751e-10 | 2.3864e-11 | 1.2129e-11 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 1.2877 | 0.23626 | 0.23258 | 1.414 | 0 | 0 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0
Line_2 | 0.0015616 | 0.0015616 | 0.0015616 | 0 | 0 | 0 | 0.018032 | 0.018032 | 0.018032 | 0 | 0 | 0 | -0.0034636 | -0.00038442 | 0.0038548 | -8.9739e-10 | 4.0992e-10 | 7.386e-10 | -0.02296 | 0.0042429 | 0.0016523 | -3.317e-10 | -7.2795e-10 | -3.0552e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 1.2877 | 0.23626 | 0.23258 | 1.2878 | 0.23618 | 0.23231 | -3.6511 | -169.8955 | 118.1298 | -3.6614 | -169.8329 | 118.1315

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.149 | 2.3106 | 1.6863 | 0.14778 | 2.3102 | 1.6859 | 1.7205 | 26.6801 | 19.4717 | 1.7064 | 26.6762 | 19.4668 | -0.36193 | 12.1834 | 1.2262 | 0.54393 | -6.1986 | -0.66583 | -1.9566 | 2.1303 | 8.8261 | 2.1289 | -1.1399 | -4.4784 | 100.7258 | 179.6551 | 36.6253 | -79.3187 | -0.3159 | -143.4136 | 1.1566 | 0.46358 | 0.45763 | 1.2877 | 0.23626 | 0.23258 | 0.24588 | -170.4268 | 118.7156 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0019377 | 2.4472 | 1.829 | 0 | 2.4472 | 1.8278 | 0.022375 | 28.2573 | 21.1195 | 0 | 28.2575 | 21.1055 | -0.00083771 | 6.5427 | 0.74774 | -1.6661e-09 | -1.4848e-11 | -1.7902e-11 | -0.028799 | 1.3277 | 4.8547 | -6.5751e-10 | 2.3864e-11 | 1.2129e-11 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 1.2877 | 0.23626 | 0.23258 | 1.414 | 0 | 0 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0
Line_2 | 0.0015616 | 0.0015616 | 0.0015616 | 0 | 0 | 0 | 0.018032 | 0.018032 | 0.018032 | 0 | 0 | 0 | -0.0034636 | -0.00038442 | 0.0038548 | -8.9739e-10 | 4.0992e-10 | 7.386e-10 | -0.02296 | 0.0042429 | 0.0016523 | -3.317e-10 | -7.2795e-10 | -3.0552e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 1.2877 | 0.23626 | 0.23258 | 1.2878 | 0.23618 | 0.23231 | -3.6511 | -169.8955 | 118.1298 | -3.6614 | -169.8329 | 118.1315

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14694 | 0.97546 | 0.81811 | 0.14626 | 0.9754 | 0.81766 | 1.6967 | 11.2636 | 9.4468 | 1.6889 | 11.263 | 9.4415 | -0.36053 | 8.0836 | 4.9391 | 0.46215 | -6.9561 | -4.5515 | -1.9276 | 4.8484 | 6.0478 | 2.0311 | -4.9321 | -4.891 | 100.8424 | -166.6812 | 60.2322 | -79.1914 | 13.3586 | -119.8032 | 1.1558 | 0.83687 | 0.82656 | 1.2334 | 0.7571 | 0.70764 | 0.24828 | -135.7268 | 110.9943 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.0010788 | 1.1 | 0.95442 | 0 | 1.1001 | 0.95351 | 0.012457 | 12.7014 | 11.0207 | 0 | 12.7034 | 11.0102 | -0.00054355 | 7.4383 | 5.0177 | -9.8427e-10 | -6.0516 | -4.5459 | -0.015354 | 6.0946 | 5.97 | -3.4688e-10 | -6.0516 | -4.5459 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 1.2334 | 0.7571 | 0.70764 | 1.3035 | 0.6737 | 0.5839 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.00086941 | 0.00086941 | 0.00086941 | 0 | 0 | 0 | 0.010039 | 0.010039 | 0.010039 | 0 | 0 | 0 | -0.0019241 | -0.0050627 | 0.0069889 | -6.0661e-10 | 8.927e-10 | 9.4791e-10 | -0.012231 | 0.005669 | 0.0012734 | -1.7498e-10 | -5.9801e-10 | -6.2958e-10 | 96.9303 | 96.9303 | 96.9302 | 0 | 0 | 0 | 1.2334 | 0.7571 | 0.70764 | 1.2334 | 0.75715 | 0.70749 | -2.0097 | -131.3034 | 107.2563 | -2.0157 | -131.2927 | 107.2539

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14694 | 0.97546 | 0.81811 | 0.14626 | 0.9754 | 0.81766 | 1.6967 | 11.2636 | 9.4468 | 1.6889 | 11.263 | 9.4415 | -0.36053 | 8.0836 | 4.9391 | 0.46215 | -6.9561 | -4.5515 | -1.9276 | 4.8484 | 6.0478 | 2.0311 | -4.9321 | -4.891 | 100.8424 | -166.6812 | 60.2322 | -79.1914 | 13.3586 | -119.8032 | 1.1558 | 0.83687 | 0.82656 | 1.2334 | 0.7571 | 0.70764 | 0.24828 | -135.7268 | 110.9943 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.0010788 | 1.1 | 0.95442 | 0 | 1.1001 | 0.95351 | 0.012457 | 12.7014 | 11.0207 | 0 | 12.7034 | 11.0102 | -0.00054355 | 7.4383 | 5.0177 | -9.8427e-10 | -6.0516 | -4.5459 | -0.015354 | 6.0946 | 5.97 | -3.4688e-10 | -6.0516 | -4.5459 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 1.2334 | 0.7571 | 0.70764 | 1.3035 | 0.6737 | 0.5839 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.00086941 | 0.00086941 | 0.00086941 | 0 | 0 | 0 | 0.010039 | 0.010039 | 0.010039 | 0 | 0 | 0 | -0.0019241 | -0.0050627 | 0.0069889 | -6.0661e-10 | 8.927e-10 | 9.4791e-10 | -0.012231 | 0.005669 | 0.0012734 | -1.7498e-10 | -5.9801e-10 | -6.2958e-10 | 96.9303 | 96.9303 | 96.9302 | 0 | 0 | 0 | 1.2334 | 0.7571 | 0.70764 | 1.2334 | 0.75715 | 0.70749 | -2.0097 | -131.3034 | 107.2563 | -2.0157 | -131.2927 | 107.2539

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6132e-11 | -1.2604e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1365e-11 | -1.7196e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.259e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6457e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6132e-11 | -1.2604e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1365e-11 | -1.7196e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.259e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6457e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.1789e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.8261e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.4669e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5298e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.1789e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.8261e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.4669e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5298e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983