## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1915 | 2.1915 | 0 | 0 | 75.9164 | 75.9164 | 15.5181 | -8.0258 | 17.5236 | -9.0227 | -74.8488 | 105.1512 | 0.30833 | 0.15907 | -26.3754 | -26.5021
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15907 | 0.15907 | -26.5021 | -26.5021
Line_2 | 2.3355 | 2.3355 | 0 | 4.7439 | 80.9035 | 80.9035 | 8.509 | -1e-07 | 9.6544 | -1e-07 | -75.1106 | 104.8894 | 0.15907 | 0 | -26.5021 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1915 | 2.1915 | 0 | 0 | 75.9164 | 75.9164 | 15.5181 | -8.0258 | 17.5236 | -9.0227 | -74.8488 | 105.1512 | 0.30833 | 0.15907 | -26.3754 | -26.5021
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15907 | 0.15907 | -26.5021 | -26.5021
Line_2 | 2.3355 | 2.3355 | 0 | 4.7439 | 80.9035 | 80.9035 | 8.509 | -1e-07 | 9.6544 | -1e-07 | -75.1106 | 104.8894 | 0.15907 | 0 | -26.5021 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88282 | 0.88282 | 0 | 0 | 30.5818 | 30.5818 | 19.4658 | -18.2499 | 16.4435 | -15.064 | -52.477 | 127.523 | 0.83322 | 0.77379 | -12.2879 | -12.9398
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77379 | 0.77379 | -12.9398 | -12.9398
Line_2 | 1.0139 | 1.0139 | 0 | 2.1024 | 35.1237 | 35.1237 | 19.8145 | -18.2107 | 18.6026 | -16.7829 | -56.133 | 123.867 | 0.77379 | 0.70507 | -12.9398 | -13.4694

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88282 | 0.88282 | 0 | 0 | 30.5818 | 30.5818 | 19.4658 | -18.2499 | 16.4435 | -15.064 | -52.477 | 127.523 | 0.83322 | 0.77379 | -12.2879 | -12.9398
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77379 | 0.77379 | -12.9398 | -12.9398
Line_2 | 1.0139 | 1.0139 | 0 | 2.1024 | 35.1237 | 35.1237 | 19.8145 | -18.2107 | 18.6026 | -16.7829 | -56.133 | 123.867 | 0.77379 | 0.70507 | -12.9398 | -13.4694

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595
Line_2 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595
Line_2 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242
Line_2 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242
Line_2 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2885 | 1.909 | 1.8977 | 0.2885 | 1.909 | 1.8977 | 3.3313 | 22.0435 | 21.9131 | 3.3313 | 22.0435 | 21.9131 | -0.85457 | 16.8375 | -9.5058 | 0.89785 | -14.9425 | 11.3785 | -3.9364 | -0.20193 | 6.9956 | 3.9855 | 2.3521 | -4.8707 | 102.9007 | -160.5186 | 10.7952 | -77.0993 | 19.4814 | -169.2048 | 1.2091 | 0.76389 | 0.5386 | 1.2263 | 0.68621 | 0.56483 | 0.65201 | -161.2057 | 154.4448 | 0.20494 | -169.4642 | 167.621
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6814e-10 | -7.2226e-11 | -3.6576e-10 | -5.6815e-10 | 7.2245e-11 | 3.6575e-10 | -1.769e-11 | 2.1035e-09 | -1.6829e-09 | 1.7678e-11 | -2.1035e-09 | 1.6829e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2263 | 0.68621 | 0.56483 | 1.2263 | 0.68621 | 0.56483 | 0.20494 | -169.4642 | 167.621 | 0.20494 | -169.4642 | 167.621
Line_2 | 0.14434 | 2.0239 | 2.0239 | 0.14434 | 2.0239 | 2.0239 | 1.6667 | 23.3697 | 23.3697 | 1.6667 | 23.3697 | 23.3697 | -0.51812 | 15.9366 | -11.9412 | 0.52895 | -13.8067 | 14.0712 | -1.9771 | -1.7868 | 5.6254 | 1.9894 | 4.2035 | -3.2088 | 104.8893 | -163.067 | 12.8459 | -75.1107 | 16.933 | -167.1541 | 1.2263 | 0.68621 | 0.56483 | 1.2351 | 0.61757 | 0.61757 | 0.20494 | -169.4642 | 167.621 | -1.4255e-05 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2885 | 1.909 | 1.8977 | 0.2885 | 1.909 | 1.8977 | 3.3313 | 22.0435 | 21.9131 | 3.3313 | 22.0435 | 21.9131 | -0.85457 | 16.8375 | -9.5058 | 0.89785 | -14.9425 | 11.3785 | -3.9364 | -0.20193 | 6.9956 | 3.9855 | 2.3521 | -4.8707 | 102.9007 | -160.5186 | 10.7952 | -77.0993 | 19.4814 | -169.2048 | 1.2091 | 0.76389 | 0.5386 | 1.2263 | 0.68621 | 0.56483 | 0.65201 | -161.2057 | 154.4448 | 0.20494 | -169.4642 | 167.621
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6814e-10 | -7.2226e-11 | -3.6576e-10 | -5.6815e-10 | 7.2245e-11 | 3.6575e-10 | -1.769e-11 | 2.1035e-09 | -1.6829e-09 | 1.7678e-11 | -2.1035e-09 | 1.6829e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2263 | 0.68621 | 0.56483 | 1.2263 | 0.68621 | 0.56483 | 0.20494 | -169.4642 | 167.621 | 0.20494 | -169.4642 | 167.621
Line_2 | 0.14434 | 2.0239 | 2.0239 | 0.14434 | 2.0239 | 2.0239 | 1.6667 | 23.3697 | 23.3697 | 1.6667 | 23.3697 | 23.3697 | -0.51812 | 15.9366 | -11.9412 | 0.52895 | -13.8067 | 14.0712 | -1.9771 | -1.7868 | 5.6254 | 1.9894 | 4.2035 | -3.2088 | 104.8893 | -163.067 | 12.8459 | -75.1107 | 16.933 | -167.1541 | 1.2263 | 0.68621 | 0.56483 | 1.2351 | 0.61757 | 0.61757 | 0.20494 | -169.4642 | 167.621 | -1.4255e-05 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2885 | 1.1815 | 1.1011 | 0.2885 | 1.1815 | 1.1011 | 3.3313 | 13.6422 | 12.7144 | 3.3313 | 13.6422 | 12.7144 | -0.85457 | 13.0901 | -2.4838 | 0.89786 | -12.3643 | 3.1143 | -3.9364 | 0.010098 | 8.5406 | 3.9855 | 0.81344 | -7.8253 | 102.9007 | -144.0735 | 21.9728 | -77.0993 | 35.9265 | -158.0272 | 1.2091 | 0.95953 | 0.69956 | 1.2263 | 0.90828 | 0.66242 | 0.65201 | -144.0293 | 128.1886 | 0.20494 | -147.8376 | 133.6743
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6816e-10 | -2.1454e-10 | -9.871e-10 | -5.6817e-10 | 2.1455e-10 | 9.871e-10 | -1.7687e-11 | 1.7107e-09 | -6.3161e-10 | 1.7684e-11 | -1.7107e-09 | 6.3161e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2263 | 0.90828 | 0.66242 | 1.2263 | 0.90828 | 0.66242 | 0.20494 | -147.8376 | 133.6743 | 0.20494 | -147.8376 | 133.6743
Line_2 | 0.14434 | 1.2697 | 1.2385 | 0.14434 | 1.2697 | 1.2385 | 1.6667 | 14.6616 | 14.3011 | 1.6667 | 14.6616 | 14.3011 | -0.51812 | 13.3118 | -3.1675 | 0.52895 | -12.4735 | 3.9651 | -1.9771 | 0.36715 | 8.9281 | 1.9894 | 0.58406 | -8.0231 | 104.8893 | -149.4174 | 24.1406 | -75.1107 | 30.5826 | -155.8594 | 1.2263 | 0.90828 | 0.66242 | 1.2351 | 0.85169 | 0.62578 | 0.20494 | -147.8376 | 133.6743 | -1.1656e-05 | -152.0983 | 140.44

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2885 | 1.1815 | 1.1011 | 0.2885 | 1.1815 | 1.1011 | 3.3313 | 13.6422 | 12.7144 | 3.3313 | 13.6422 | 12.7144 | -0.85457 | 13.0901 | -2.4838 | 0.89786 | -12.3643 | 3.1143 | -3.9364 | 0.010098 | 8.5406 | 3.9855 | 0.81344 | -7.8253 | 102.9007 | -144.0735 | 21.9728 | -77.0993 | 35.9265 | -158.0272 | 1.2091 | 0.95953 | 0.69956 | 1.2263 | 0.90828 | 0.66242 | 0.65201 | -144.0293 | 128.1886 | 0.20494 | -147.8376 | 133.6743
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6816e-10 | -2.1454e-10 | -9.871e-10 | -5.6817e-10 | 2.1455e-10 | 9.871e-10 | -1.7687e-11 | 1.7107e-09 | -6.3161e-10 | 1.7684e-11 | -1.7107e-09 | 6.3161e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2263 | 0.90828 | 0.66242 | 1.2263 | 0.90828 | 0.66242 | 0.20494 | -147.8376 | 133.6743 | 0.20494 | -147.8376 | 133.6743
Line_2 | 0.14434 | 1.2697 | 1.2385 | 0.14434 | 1.2697 | 1.2385 | 1.6667 | 14.6616 | 14.3011 | 1.6667 | 14.6616 | 14.3011 | -0.51812 | 13.3118 | -3.1675 | 0.52895 | -12.4735 | 3.9651 | -1.9771 | 0.36715 | 8.9281 | 1.9894 | 0.58406 | -8.0231 | 104.8893 | -149.4174 | 24.1406 | -75.1107 | 30.5826 | -155.8594 | 1.2263 | 0.90828 | 0.66242 | 1.2351 | 0.85169 | 0.62578 | 0.20494 | -147.8376 | 133.6743 | -1.1656e-05 | -152.0983 | 140.44

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.6579e-14 | -10.3204 | 5.7933 | -4.737e-15 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3152e-13 | -160.6232 | 142.7791 | 5.0128e-13 | -168.5183 | 163.5938
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6606e-10 | 9.4739e-15 | 1.296e-10 | 4.6606e-10 | -4.737e-15 | 1.6587e-09 | -1.076e-09 | 9.4739e-15 | -1.6587e-09 | 1.076e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0128e-13 | -168.5183 | 163.5938 | 5.0176e-13 | -168.5183 | 163.5938
Line_2 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 2.3685e-15 | 10.3204 | -5.7933 | -2.3685e-15 | -8.0568 | 8.0568 | -4.737e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0128e-13 | -168.5183 | 163.5938 | 4.951e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.6579e-14 | -10.3204 | 5.7933 | -4.737e-15 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3152e-13 | -160.6232 | 142.7791 | 5.0128e-13 | -168.5183 | 163.5938
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6606e-10 | 9.4739e-15 | 1.296e-10 | 4.6606e-10 | -4.737e-15 | 1.6587e-09 | -1.076e-09 | 9.4739e-15 | -1.6587e-09 | 1.076e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0128e-13 | -168.5183 | 163.5938 | 5.0176e-13 | -168.5183 | 163.5938
Line_2 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 2.3685e-15 | 10.3204 | -5.7933 | -2.3685e-15 | -8.0568 | 8.0568 | -4.737e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0128e-13 | -168.5183 | 163.5938 | 4.951e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 9.4739e-15 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3848e-13 | -145.2178 | 124.345 | 3.1914e-13 | -148.6211 | 134.0705
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.8165e-10 | -8.5377e-10 | 2.3685e-15 | 3.8165e-10 | 8.5377e-10 | -1.3193e-29 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1914e-13 | -148.6211 | 134.0705 | 3.1972e-13 | -148.6211 | 134.0705
Line_2 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 2.3685e-15 | 8.5078 | -1.5008 | -2.3685e-15 | -7.5079 | 2.5007 | -4.737e-15 | 0.20683 | 5.9821 | 4.737e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1914e-13 | -148.6211 | 134.0705 | 3.1491e-13 | -152.9418 | 144.8701

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 9.4739e-15 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3848e-13 | -145.2178 | 124.345 | 3.1914e-13 | -148.6211 | 134.0705
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.8165e-10 | -8.5377e-10 | 2.3685e-15 | 3.8165e-10 | 8.5377e-10 | -1.3193e-29 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1914e-13 | -148.6211 | 134.0705 | 3.1972e-13 | -148.6211 | 134.0705
Line_2 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 2.3685e-15 | 8.5078 | -1.5008 | -2.3685e-15 | -7.5079 | 2.5007 | -4.737e-15 | 0.20683 | 5.9821 | 4.737e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1914e-13 | -148.6211 | 134.0705 | 3.1491e-13 | -152.9418 | 144.8701

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7308 | 0.28985 | 0.29312 | 1.7294 | 0.28919 | 0.29214 | 19.9859 | 3.3469 | 3.3846 | 19.9694 | 3.3393 | 3.3733 | 10.7334 | -0.78376 | -0.92 | -5.4378 | 1.4184 | 0.91924 | 5.2752 | -3.9729 | -3.9932 | -2.6807 | 3.7254 | 4.6795 | -56.778 | -18.2939 | -136.2903 | 123.2463 | 161.9969 | 43.4594 | 0.5984 | 1.2099 | 1.2107 | 0.3036 | 1.1938 | 1.4137 | -30.6049 | -119.4537 | 120.7356 | -30.5119 | -128.847 | 122.3457
Line_1 | 0.0020603 | 0.0020603 | 0.0020603 | 0 | 0 | 0 | 0.02379 | 0.02379 | 0.02379 | 0 | 0 | 0 | 0.0030994 | 0.023614 | -0.026702 | 7.1715e-10 | -4.6688e-10 | -1.6331e-09 | 0.0065237 | -0.015777 | -0.020449 | -6.2033e-10 | -7.4154e-10 | 2.3303e-10 | -95.0998 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.3036 | 1.1938 | 1.4137 | 0.30334 | 1.1936 | 1.4141 | -30.5119 | -128.847 | 122.3457 | -30.4663 | -128.861 | 122.3418
Line_2 | 1.8621 | 0.1445 | 0.14649 | 1.8602 | 0.14434 | 0.14434 | 21.5013 | 1.6685 | 1.6915 | 21.4799 | 1.6667 | 1.6667 | 5.7695 | -0.76942 | -0.54157 | 8.6583e-12 | 1.0893 | 0.51726 | 3.0535 | -1.8372 | -2.3291 | 3.92e-11 | 1.6794 | 2.6297 | -58.4023 | -16.1229 | -134.5645 | 121.652 | 164.8893 | 44.8895 | 0.3036 | 1.1938 | 1.4137 | 0 | 1.2011 | 1.6081 | -30.5119 | -128.847 | 122.3457 | 0 | -138.0784 | 123.7615

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7308 | 0.28985 | 0.29312 | 1.7294 | 0.28919 | 0.29214 | 19.9859 | 3.3469 | 3.3846 | 19.9694 | 3.3393 | 3.3733 | 10.7334 | -0.78376 | -0.92 | -5.4378 | 1.4184 | 0.91924 | 5.2752 | -3.9729 | -3.9932 | -2.6807 | 3.7254 | 4.6795 | -56.778 | -18.2939 | -136.2903 | 123.2463 | 161.9969 | 43.4594 | 0.5984 | 1.2099 | 1.2107 | 0.3036 | 1.1938 | 1.4137 | -30.6049 | -119.4537 | 120.7356 | -30.5119 | -128.847 | 122.3457
Line_1 | 0.0020603 | 0.0020603 | 0.0020603 | 0 | 0 | 0 | 0.02379 | 0.02379 | 0.02379 | 0 | 0 | 0 | 0.0030994 | 0.023614 | -0.026702 | 7.1715e-10 | -4.6688e-10 | -1.6331e-09 | 0.0065237 | -0.015777 | -0.020449 | -6.2033e-10 | -7.4154e-10 | 2.3303e-10 | -95.0998 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.3036 | 1.1938 | 1.4137 | 0.30334 | 1.1936 | 1.4141 | -30.5119 | -128.847 | 122.3457 | -30.4663 | -128.861 | 122.3418
Line_2 | 1.8621 | 0.1445 | 0.14649 | 1.8602 | 0.14434 | 0.14434 | 21.5013 | 1.6685 | 1.6915 | 21.4799 | 1.6667 | 1.6667 | 5.7695 | -0.76942 | -0.54157 | 8.6583e-12 | 1.0893 | 0.51726 | 3.0535 | -1.8372 | -2.3291 | 3.92e-11 | 1.6794 | 2.6297 | -58.4023 | -16.1229 | -134.5645 | 121.652 | 164.8893 | 44.8895 | 0.3036 | 1.1938 | 1.4137 | 0 | 1.2011 | 1.6081 | -30.5119 | -128.847 | 122.3457 | 0 | -138.0784 | 123.7615

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76209 | 0.28955 | 0.29055 | 0.76141 | 0.28913 | 0.29014 | 8.7999 | 3.3434 | 3.355 | 8.792 | 3.3386 | 3.3503 | 6.7897 | -0.82121 | -0.89025 | -5.6372 | 1.178 | 0.86867 | 4.0967 | -3.9602 | -3.9601 | -3.6556 | 3.8934 | 4.3265 | -43.3069 | -17.6836 | -136.6316 | 136.7269 | 162.455 | 43.229 | 0.90113 | 1.2097 | 1.2098 | 0.76419 | 1.2184 | 1.3172 | -12.2012 | -119.3988 | 120.6987 | -10.3111 | -124.3786 | 121.8762
Line_1 | 0.0010432 | 0.0010432 | 0.0010432 | 0 | 0 | 0 | 0.012046 | 0.012046 | 0.012046 | 0 | 0 | 0 | 0.0019843 | 0.011795 | -0.013776 | 8.9144e-10 | -5.4281e-10 | -1.0526e-09 | 0.0089886 | -0.0087331 | -0.0078701 | -5.5104e-10 | -3.7577e-10 | 1.7385e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.76419 | 1.2184 | 1.3172 | 0.76409 | 1.2183 | 1.3173 | -10.3111 | -124.3786 | 121.8762 | -10.2999 | -124.3858 | 121.8751
Line_2 | 0.8817 | 0.14458 | 0.14533 | 0.8808 | 0.14434 | 0.14434 | 10.181 | 1.6694 | 1.6781 | 10.1706 | 1.6667 | 1.6667 | 6.0963 | -0.65425 | -0.51011 | -4.7313 | 0.83018 | 0.48224 | 4.8338 | -1.9259 | -2.1506 | -4.165 | 1.8695 | 2.3103 | -48.7223 | -15.6153 | -134.7802 | 131.3383 | 164.8894 | 44.8895 | 0.76419 | 1.2184 | 1.3172 | 0.61977 | 1.2273 | 1.4161 | -10.3111 | -124.3786 | 121.8762 | -7.3036 | -129.0554 | 123.0991

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76209 | 0.28955 | 0.29055 | 0.76141 | 0.28913 | 0.29014 | 8.7999 | 3.3434 | 3.355 | 8.792 | 3.3386 | 3.3503 | 6.7897 | -0.82121 | -0.89025 | -5.6372 | 1.178 | 0.86867 | 4.0967 | -3.9602 | -3.9601 | -3.6556 | 3.8934 | 4.3265 | -43.3069 | -17.6836 | -136.6316 | 136.7269 | 162.455 | 43.229 | 0.90113 | 1.2097 | 1.2098 | 0.76419 | 1.2184 | 1.3172 | -12.2012 | -119.3988 | 120.6987 | -10.3111 | -124.3786 | 121.8762
Line_1 | 0.0010432 | 0.0010432 | 0.0010432 | 0 | 0 | 0 | 0.012046 | 0.012046 | 0.012046 | 0 | 0 | 0 | 0.0019843 | 0.011795 | -0.013776 | 8.9144e-10 | -5.4281e-10 | -1.0526e-09 | 0.0089886 | -0.0087331 | -0.0078701 | -5.5104e-10 | -3.7577e-10 | 1.7385e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.76419 | 1.2184 | 1.3172 | 0.76409 | 1.2183 | 1.3173 | -10.3111 | -124.3786 | 121.8762 | -10.2999 | -124.3858 | 121.8751
Line_2 | 0.8817 | 0.14458 | 0.14533 | 0.8808 | 0.14434 | 0.14434 | 10.181 | 1.6694 | 1.6781 | 10.1706 | 1.6667 | 1.6667 | 6.0963 | -0.65425 | -0.51011 | -4.7313 | 0.83018 | 0.48224 | 4.8338 | -1.9259 | -2.1506 | -4.165 | 1.8695 | 2.3103 | -48.7223 | -15.6153 | -134.7802 | 131.3383 | 164.8894 | 44.8895 | 0.76419 | 1.2184 | 1.3172 | 0.61977 | 1.2273 | 1.4161 | -10.3111 | -124.3786 | 121.8762 | -7.3036 | -129.0554 | 123.0991

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0729e-11 | -9.3536e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0186e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865
Line_2 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9622e-11 | -4.9669e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0467e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0729e-11 | -9.3536e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0186e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865
Line_2 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9622e-11 | -4.9669e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0467e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0879e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4982e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845
Line_2 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1445e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0879e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4982e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845
Line_2 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1445e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29343 | 2.3225 | 1.6567 | 0.29213 | 2.3221 | 1.6563 | 3.3882 | 26.8178 | 19.1299 | 3.3732 | 26.8138 | 19.1248 | -0.86131 | 12.607 | 0.97266 | 1.2814 | -6.4116 | -0.5369 | -4.0118 | 1.8042 | 8.9137 | 4.3987 | -0.97621 | -4.521 | 102.7668 | -179.5081 | 35.9308 | -77.248 | 0.52271 | -144.1114 | 1.211 | 0.47489 | 0.46873 | 1.3582 | 0.24187 | 0.23805 | 0.64984 | -171.3639 | 119.7034 | -3.49 | -170.8201 | 119.116
Line_1 | 0.0016582 | 0.0016582 | 0.0016582 | 0 | 0 | 0 | 0.019147 | 0.019147 | 0.019147 | 0 | 0 | 0 | -0.0038068 | -0.00034338 | 0.0041578 | -1.2968e-09 | 4.0259e-10 | 7.516e-10 | -0.025725 | 0.0046183 | 0.0018676 | -3.3451e-10 | -7.5526e-10 | -1.4745e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 1.3582 | 0.24187 | 0.23805 | 1.3583 | 0.24179 | 0.23777 | -3.49 | -170.8201 | 119.116 | -3.5004 | -170.7556 | 119.119
Line_2 | 0.14631 | 2.4584 | 1.7992 | 0.14434 | 2.4585 | 1.7979 | 1.6894 | 28.3874 | 20.7756 | 1.6667 | 28.388 | 20.7609 | -0.71459 | 6.767 | 0.61386 | 0.91749 | -1.346e-11 | -1.4656e-11 | -2.1804 | 1.1625 | 4.9075 | 2.3281 | 1.6119e-11 | 6.629e-12 | 104.6555 | 179.4322 | 36.2458 | -75.1106 | -0.51989 | -143.8057 | 1.3582 | 0.24187 | 0.23805 | 1.5014 | 0 | 0 | -3.49 | -170.8201 | 119.116 | -6.62 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29343 | 2.3225 | 1.6567 | 0.29213 | 2.3221 | 1.6563 | 3.3882 | 26.8178 | 19.1299 | 3.3732 | 26.8138 | 19.1248 | -0.86131 | 12.607 | 0.97266 | 1.2814 | -6.4116 | -0.5369 | -4.0118 | 1.8042 | 8.9137 | 4.3987 | -0.97621 | -4.521 | 102.7668 | -179.5081 | 35.9308 | -77.248 | 0.52271 | -144.1114 | 1.211 | 0.47489 | 0.46873 | 1.3582 | 0.24187 | 0.23805 | 0.64984 | -171.3639 | 119.7034 | -3.49 | -170.8201 | 119.116
Line_1 | 0.0016582 | 0.0016582 | 0.0016582 | 0 | 0 | 0 | 0.019147 | 0.019147 | 0.019147 | 0 | 0 | 0 | -0.0038068 | -0.00034338 | 0.0041578 | -1.2968e-09 | 4.0259e-10 | 7.516e-10 | -0.025725 | 0.0046183 | 0.0018676 | -3.3451e-10 | -7.5526e-10 | -1.4745e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 1.3582 | 0.24187 | 0.23805 | 1.3583 | 0.24179 | 0.23777 | -3.49 | -170.8201 | 119.116 | -3.5004 | -170.7556 | 119.119
Line_2 | 0.14631 | 2.4584 | 1.7992 | 0.14434 | 2.4585 | 1.7979 | 1.6894 | 28.3874 | 20.7756 | 1.6667 | 28.388 | 20.7609 | -0.71459 | 6.767 | 0.61386 | 0.91749 | -1.346e-11 | -1.4656e-11 | -2.1804 | 1.1625 | 4.9075 | 2.3281 | 1.6119e-11 | 6.629e-12 | 104.6555 | 179.4322 | 36.2458 | -75.1106 | -0.51989 | -143.8057 | 1.3582 | 0.24187 | 0.23805 | 1.5014 | 0 | 0 | -3.49 | -170.8201 | 119.116 | -6.62 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29125 | 0.91857 | 0.73874 | 0.29054 | 0.91856 | 0.73823 | 3.3631 | 10.6068 | 8.5302 | 3.3548 | 10.6066 | 8.5244 | -0.85955 | 8.2065 | 4.8669 | 1.1044 | -7.1822 | -4.5095 | -3.9783 | 4.2167 | 5.4831 | 4.2214 | -4.406 | -4.4331 | 102.8446 | -162.6901 | 62.9664 | -77.1685 | 17.355 | -117.0734 | 1.2102 | 0.86987 | 0.85948 | 1.3007 | 0.79441 | 0.74183 | 0.65255 | -135.4948 | 111.3735 | -1.8302 | -131.1175 | 107.4368
Line_1 | 0.00092314 | 0.00092314 | 0.00092314 | 0 | 0 | 0 | 0.010659 | 0.010659 | 0.010659 | 0 | 0 | 0 | -0.0021116 | -0.0056609 | 0.0077749 | -9.6007e-10 | 8.3003e-10 | 9.0282e-10 | -0.013703 | 0.0062977 | 0.0014419 | -1.6811e-10 | -6.1728e-10 | -6.5079e-10 | 96.9302 | 96.9302 | 96.9302 | 0 | 0 | 0 | 1.3007 | 0.79441 | 0.74183 | 1.3007 | 0.79447 | 0.74167 | -1.8302 | -131.1175 | 107.4368 | -1.8362 | -131.1067 | 107.4345
Line_2 | 0.14544 | 1.0383 | 0.87299 | 0.14434 | 1.0386 | 0.87201 | 1.6795 | 11.9894 | 10.0804 | 1.6667 | 11.9923 | 10.069 | -0.62419 | 7.6845 | 4.9943 | 0.73854 | -6.4059 | -4.5681 | -2.0933 | 5.6271 | 5.5657 | 2.1854 | -5.7058 | -4.2549 | 104.7736 | -167.3314 | 59.3395 | -75.1106 | 12.7303 | -120.6989 | 1.3007 | 0.79441 | 0.74183 | 1.3841 | 0.71534 | 0.61999 | -1.8302 | -131.1175 | 107.4368 | -3.7829 | -125.5778 | 102.2677

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29125 | 0.91857 | 0.73874 | 0.29054 | 0.91856 | 0.73823 | 3.3631 | 10.6068 | 8.5302 | 3.3548 | 10.6066 | 8.5244 | -0.85955 | 8.2065 | 4.8669 | 1.1044 | -7.1822 | -4.5095 | -3.9783 | 4.2167 | 5.4831 | 4.2214 | -4.406 | -4.4331 | 102.8446 | -162.6901 | 62.9664 | -77.1685 | 17.355 | -117.0734 | 1.2102 | 0.86987 | 0.85948 | 1.3007 | 0.79441 | 0.74183 | 0.65255 | -135.4948 | 111.3735 | -1.8302 | -131.1175 | 107.4368
Line_1 | 0.00092314 | 0.00092314 | 0.00092314 | 0 | 0 | 0 | 0.010659 | 0.010659 | 0.010659 | 0 | 0 | 0 | -0.0021116 | -0.0056609 | 0.0077749 | -9.6007e-10 | 8.3003e-10 | 9.0282e-10 | -0.013703 | 0.0062977 | 0.0014419 | -1.6811e-10 | -6.1728e-10 | -6.5079e-10 | 96.9302 | 96.9302 | 96.9302 | 0 | 0 | 0 | 1.3007 | 0.79441 | 0.74183 | 1.3007 | 0.79447 | 0.74167 | -1.8302 | -131.1175 | 107.4368 | -1.8362 | -131.1067 | 107.4345
Line_2 | 0.14544 | 1.0383 | 0.87299 | 0.14434 | 1.0386 | 0.87201 | 1.6795 | 11.9894 | 10.0804 | 1.6667 | 11.9923 | 10.069 | -0.62419 | 7.6845 | 4.9943 | 0.73854 | -6.4059 | -4.5681 | -2.0933 | 5.6271 | 5.5657 | 2.1854 | -5.7058 | -4.2549 | 104.7736 | -167.3314 | 59.3395 | -75.1106 | 12.7303 | -120.6989 | 1.3007 | 0.79441 | 0.74183 | 1.3841 | 0.71534 | 0.61999 | -1.8302 | -131.1175 | 107.4368 | -3.7829 | -125.5778 | 102.2677

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.2589e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6458e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378
Line_2 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6128e-11 | -1.2605e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1364e-11 | -1.7186e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.2589e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6458e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378
Line_2 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6128e-11 | -1.2605e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1364e-11 | -1.7186e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7273e-10 | 8.0982e-10 | 8.467e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9423e-10 | -4.3264e-10 | -4.5297e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983
Line_2 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.179e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.826e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7273e-10 | 8.0982e-10 | 8.467e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9423e-10 | -4.3264e-10 | -4.5297e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983
Line_2 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.179e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.826e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931