## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1678 | 2.1678 | 0 | 0 | 75.0953 | 75.0953 | 15.9368 | -8.6057 | 17.8666 | -9.5486 | -74.4755 | 105.5245 | 0.31882 | 0.17117 | -26.208 | -26.5021
Line_1 | 2.5133 | 2.5133 | 0 | 4.9953 | 87.0618 | 87.0618 | 9.8537 | -1e-07 | 11.1801 | -1e-07 | -75.1106 | 104.8894 | 0.17117 | 0 | -26.5021 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | -0.624 | 0.6708 | -0.81574 | 0.86884 | 100.9122 | -79.0878 | 0.17117 | 0.18294 | -26.5021 | -26.7583

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1678 | 2.1678 | 0 | 0 | 75.0953 | 75.0953 | 15.9368 | -8.6057 | 17.8666 | -9.5486 | -74.4755 | 105.5245 | 0.31882 | 0.17117 | -26.208 | -26.5021
Line_1 | 2.5133 | 2.5133 | 0 | 4.9953 | 87.0618 | 87.0618 | 9.8537 | -1e-07 | 11.1801 | -1e-07 | -75.1106 | 104.8894 | 0.17117 | 0 | -26.5021 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | -0.624 | 0.6708 | -0.81574 | 0.86884 | 100.9122 | -79.0878 | 0.17117 | 0.18294 | -26.5021 | -26.7583

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85147 | 0.85147 | 0 | 0 | 29.4957 | 29.4957 | 19.8021 | -18.6711 | 15.4165 | -14.1333 | -50.2325 | 129.7675 | 0.85082 | 0.79392 | -12.3308 | -13.1084
Line_1 | 1.1669 | 1.1669 | 0 | 2.3193 | 40.4228 | 40.4228 | 22.5492 | -20.425 | 22.8352 | -20.425 | -58.4694 | 121.5306 | 0.79392 | 0.71458 | -13.1084 | -13.4694
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | -1.939 | 1.9858 | -4.351 | 4.4041 | 100.9122 | -79.0878 | 0.79392 | 0.80518 | -13.1084 | -13.359

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85147 | 0.85147 | 0 | 0 | 29.4957 | 29.4957 | 19.8021 | -18.6711 | 15.4165 | -14.1333 | -50.2325 | 129.7675 | 0.85082 | 0.79392 | -12.3308 | -13.1084
Line_1 | 1.1669 | 1.1669 | 0 | 2.3193 | 40.4228 | 40.4228 | 22.5492 | -20.425 | 22.8352 | -20.425 | -58.4694 | 121.5306 | 0.79392 | 0.71458 | -13.1084 | -13.4694
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | -1.939 | 1.9858 | -4.351 | 4.4041 | 100.9122 | -79.0878 | 0.79392 | 0.80518 | -13.1084 | -13.359

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.8992 | 1.8714 | 0.34641 | 1.8992 | 1.8714 | 4 | 21.9298 | 21.6095 | 4 | 21.9298 | 21.6095 | -0.88547 | 17.0987 | -9.5731 | 0.94787 | -15.2231 | 11.3942 | -4.8458 | -0.52562 | 7.036 | 4.9166 | 2.6537 | -4.9697 | 100.9121 | -159.2599 | 10.2313 | -79.0879 | 20.7401 | -169.7687 | 1.2315 | 0.78007 | 0.54979 | 1.2518 | 0.70465 | 0.57525 | 0.55677 | -161.0206 | 153.9161 | -1.3898e-05 | -169.1482 | 166.6665
Line_1 | 0 | 2.1765 | 2.1765 | 0 | 2.1765 | 2.1765 | 0 | 25.1326 | 25.1326 | 0 | 25.1326 | 25.1326 | 6.9667e-10 | 17.6656 | -12.7387 | -6.967e-10 | -15.2022 | 15.2022 | 5.7607e-15 | -1.247 | 6.837 | 6.0987e-15 | 4.042 | -4.042 | 0 | -165.1105 | 14.8895 | 0 | 14.8895 | -165.1105 | 1.2518 | 0.70465 | 0.57525 | 1.2518 | 0.62589 | 0.62589 | -1.3898e-05 | -169.1482 | 166.6665 | -1.3899e-05 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.47393 | -1.2212 | 0.67225 | 0.48953 | 1.2368 | -0.65665 | -2.4583 | -0.70335 | -0.93367 | 2.476 | 0.72105 | 0.95137 | 100.9121 | -19.0876 | -139.0879 | -79.0879 | 160.9124 | 40.9121 | 1.2518 | 0.70465 | 0.57525 | 1.262 | 0.71583 | 0.57799 | -1.3898e-05 | -169.1482 | 166.6665 | -0.27168 | -168.8459 | 165.5263

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.8992 | 1.8714 | 0.34641 | 1.8992 | 1.8714 | 4 | 21.9298 | 21.6095 | 4 | 21.9298 | 21.6095 | -0.88547 | 17.0987 | -9.5731 | 0.94787 | -15.2231 | 11.3942 | -4.8458 | -0.52562 | 7.036 | 4.9166 | 2.6537 | -4.9697 | 100.9121 | -159.2599 | 10.2313 | -79.0879 | 20.7401 | -169.7687 | 1.2315 | 0.78007 | 0.54979 | 1.2518 | 0.70465 | 0.57525 | 0.55677 | -161.0206 | 153.9161 | -1.3898e-05 | -169.1482 | 166.6665
Line_1 | 0 | 2.1765 | 2.1765 | 0 | 2.1765 | 2.1765 | 0 | 25.1326 | 25.1326 | 0 | 25.1326 | 25.1326 | 6.9667e-10 | 17.6656 | -12.7387 | -6.967e-10 | -15.2022 | 15.2022 | 5.7607e-15 | -1.247 | 6.837 | 6.0987e-15 | 4.042 | -4.042 | 0 | -165.1105 | 14.8895 | 0 | 14.8895 | -165.1105 | 1.2518 | 0.70465 | 0.57525 | 1.2518 | 0.62589 | 0.62589 | -1.3898e-05 | -169.1482 | 166.6665 | -1.3899e-05 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.47393 | -1.2212 | 0.67225 | 0.48953 | 1.2368 | -0.65665 | -2.4583 | -0.70335 | -0.93367 | 2.476 | 0.72105 | 0.95137 | 100.9121 | -19.0876 | -139.0879 | -79.0879 | 160.9124 | 40.9121 | 1.2518 | 0.70465 | 0.57525 | 1.262 | 0.71583 | 0.57799 | -1.3898e-05 | -169.1482 | 166.6665 | -0.27168 | -168.8459 | 165.5263

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.1757 | 1.0614 | 0.34641 | 1.1757 | 1.0614 | 4 | 13.5757 | 12.2562 | 4 | 13.5757 | 12.2562 | -0.88547 | 13.277 | -2.4764 | 0.94787 | -12.5583 | 3.0622 | -4.8458 | -0.54826 | 8.4027 | 4.9166 | 1.3638 | -7.738 | 100.9121 | -141.6254 | 21.5413 | -79.0879 | 38.3746 | -158.4587 | 1.2315 | 0.97883 | 0.71474 | 1.2518 | 0.93049 | 0.67899 | 0.55677 | -143.99 | 127.9622 | -1.0962e-05 | -147.8233 | 133.1319
Line_1 | 0 | 1.393 | 1.393 | 0 | 1.393 | 1.393 | 0 | 16.0846 | 16.0846 | 0 | 16.0846 | 16.0846 | 6.9669e-10 | 14.8872 | -3.1674 | -6.9669e-10 | -13.8782 | 4.1764 | 5.7964e-15 | 1.5395 | 10.4519 | -1.1726e-14 | -0.39468 | -9.3071 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.2518 | 0.93049 | 0.67899 | 1.2518 | 0.86317 | 0.63422 | -1.0962e-05 | -147.8233 | 133.1319 | -1.0962e-05 | -152.0983 | 140.44
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.47394 | -1.1645 | 0.052596 | 0.48954 | 1.1801 | -0.036996 | -2.4583 | -1.4516 | -1.357 | 2.476 | 1.4693 | 1.3747 | 100.9121 | -19.0877 | -139.0878 | -79.0879 | 160.9123 | 40.9122 | 1.2518 | 0.93049 | 0.67899 | 1.262 | 0.94227 | 0.68758 | -1.0962e-05 | -147.8233 | 133.1319 | -0.27168 | -147.8565 | 132.4538

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.1757 | 1.0614 | 0.34641 | 1.1757 | 1.0614 | 4 | 13.5757 | 12.2562 | 4 | 13.5757 | 12.2562 | -0.88547 | 13.277 | -2.4764 | 0.94787 | -12.5583 | 3.0622 | -4.8458 | -0.54826 | 8.4027 | 4.9166 | 1.3638 | -7.738 | 100.9121 | -141.6254 | 21.5413 | -79.0879 | 38.3746 | -158.4587 | 1.2315 | 0.97883 | 0.71474 | 1.2518 | 0.93049 | 0.67899 | 0.55677 | -143.99 | 127.9622 | -1.0962e-05 | -147.8233 | 133.1319
Line_1 | 0 | 1.393 | 1.393 | 0 | 1.393 | 1.393 | 0 | 16.0846 | 16.0846 | 0 | 16.0846 | 16.0846 | 6.9669e-10 | 14.8872 | -3.1674 | -6.9669e-10 | -13.8782 | 4.1764 | 5.7964e-15 | 1.5395 | 10.4519 | -1.1726e-14 | -0.39468 | -9.3071 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.2518 | 0.93049 | 0.67899 | 1.2518 | 0.86317 | 0.63422 | -1.0962e-05 | -147.8233 | 133.1319 | -1.0962e-05 | -152.0983 | 140.44
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.47394 | -1.1645 | 0.052596 | 0.48954 | 1.1801 | -0.036996 | -2.4583 | -1.4516 | -1.357 | 2.476 | 1.4693 | 1.3747 | 100.9121 | -19.0877 | -139.0878 | -79.0879 | 160.9123 | 40.9122 | 1.2518 | 0.93049 | 0.67899 | 1.262 | 0.94227 | 0.68758 | -1.0962e-05 | -147.8233 | 133.1319 | -0.27168 | -147.8565 | 132.4538

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.4211e-14 | -10.3204 | 5.7933 | -1.4211e-14 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3672e-13 | -160.6232 | 142.7791 | 5.0509e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 8.3517e-29 | 10.3204 | -5.7933 | -4.1891e-29 | -8.0568 | 8.0568 | -9.4739e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0509e-13 | -168.5183 | 163.5938 | 5.0669e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6607e-10 | 2.3685e-15 | 1.296e-10 | 4.6607e-10 | -4.1758e-29 | 1.6587e-09 | -1.0759e-09 | -4.737e-15 | -1.6587e-09 | 1.0759e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0509e-13 | -168.5183 | 163.5938 | 4.9853e-13 | -168.5183 | 163.5938

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.4211e-14 | -10.3204 | 5.7933 | -1.4211e-14 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3672e-13 | -160.6232 | 142.7791 | 5.0509e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 8.3517e-29 | 10.3204 | -5.7933 | -4.1891e-29 | -8.0568 | 8.0568 | -9.4739e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0509e-13 | -168.5183 | 163.5938 | 5.0669e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6607e-10 | 2.3685e-15 | 1.296e-10 | 4.6607e-10 | -4.1758e-29 | 1.6587e-09 | -1.0759e-09 | -4.737e-15 | -1.6587e-09 | 1.0759e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0509e-13 | -168.5183 | 163.5938 | 4.9853e-13 | -168.5183 | 163.5938

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 1.0658e-14 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3761e-13 | -145.2178 | 124.345 | 3.1486e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 1.1842e-15 | 8.5078 | -1.5008 | -1.1842e-15 | -7.5079 | 2.5007 | -7.1054e-15 | 0.20683 | 5.9821 | 9.4739e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1486e-13 | -148.6211 | 134.0705 | 3.156e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8165e-10 | -8.5378e-10 | 2.3685e-15 | 3.8165e-10 | 8.5378e-10 | 0 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1486e-13 | -148.6211 | 134.0705 | 3.0952e-13 | -148.6211 | 134.0705

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 1.0658e-14 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3761e-13 | -145.2178 | 124.345 | 3.1486e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 1.1842e-15 | 8.5078 | -1.5008 | -1.1842e-15 | -7.5079 | 2.5007 | -7.1054e-15 | 0.20683 | 5.9821 | 9.4739e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1486e-13 | -148.6211 | 134.0705 | 3.156e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8165e-10 | -8.5378e-10 | 2.3685e-15 | 3.8165e-10 | 8.5378e-10 | 0 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1486e-13 | -148.6211 | 134.0705 | 3.0952e-13 | -148.6211 | 134.0705

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7081 | 0.34798 | 0.35094 | 1.7067 | 0.34726 | 0.34999 | 19.724 | 4.0181 | 4.0523 | 19.7073 | 4.0099 | 4.0414 | 10.9262 | -0.81383 | -0.95197 | -5.6564 | 1.6033 | 0.9365 | 5.1645 | -4.8841 | -4.9053 | -2.6811 | 4.6191 | 5.7499 | -55.773 | -20.0882 | -138.3771 | 124.2528 | 160.1536 | 41.4053 | 0.61272 | 1.2323 | 1.2331 | 0.31763 | 1.2193 | 1.4415 | -30.4744 | -119.5483 | 120.64 | -30.3862 | -128.989 | 122.1546
Line_1 | 2.0277 | 0.0025909 | 0.0025909 | 2.0258 | 0 | 0 | 23.414 | 0.029917 | 0.029917 | 23.3919 | 0 | 0 | 6.4916 | 0.03251 | -0.030934 | 9.4478e-12 | -7.6569e-10 | -3.1798e-09 | 3.6287 | -0.016548 | -0.030048 | 3.998e-11 | -1.5235e-09 | 4.312e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.31763 | 1.2193 | 1.4415 | 0 | 1.2173 | 1.6297 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7615
Line_2 | 0.1712 | 0.17372 | 0.17471 | 0.17321 | 0.17321 | 0.1732 | 1.9768 | 2.006 | 2.0174 | 2 | 2 | 2 | -0.41599 | -0.80572 | -0.46662 | 0.43414 | 0.84615 | 0.45485 | -0.47033 | -2.3095 | -2.8704 | 0.49489 | 2.3102 | 2.8678 | 101.1051 | -19.7561 | -138.6122 | -79.0877 | 160.9121 | 40.9122 | 0.31763 | 1.2193 | 1.4415 | 0.32916 | 1.2301 | 1.4518 | -30.3862 | -128.989 | 122.1546 | -30.3468 | -129.2041 | 121.8997

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7081 | 0.34798 | 0.35094 | 1.7067 | 0.34726 | 0.34999 | 19.724 | 4.0181 | 4.0523 | 19.7073 | 4.0099 | 4.0414 | 10.9262 | -0.81383 | -0.95197 | -5.6564 | 1.6033 | 0.9365 | 5.1645 | -4.8841 | -4.9053 | -2.6811 | 4.6191 | 5.7499 | -55.773 | -20.0882 | -138.3771 | 124.2528 | 160.1536 | 41.4053 | 0.61272 | 1.2323 | 1.2331 | 0.31763 | 1.2193 | 1.4415 | -30.4744 | -119.5483 | 120.64 | -30.3862 | -128.989 | 122.1546
Line_1 | 2.0277 | 0.0025909 | 0.0025909 | 2.0258 | 0 | 0 | 23.414 | 0.029917 | 0.029917 | 23.3919 | 0 | 0 | 6.4916 | 0.03251 | -0.030934 | 9.4478e-12 | -7.6569e-10 | -3.1798e-09 | 3.6287 | -0.016548 | -0.030048 | 3.998e-11 | -1.5235e-09 | 4.312e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.31763 | 1.2193 | 1.4415 | 0 | 1.2173 | 1.6297 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7615
Line_2 | 0.1712 | 0.17372 | 0.17471 | 0.17321 | 0.17321 | 0.1732 | 1.9768 | 2.006 | 2.0174 | 2 | 2 | 2 | -0.41599 | -0.80572 | -0.46662 | 0.43414 | 0.84615 | 0.45485 | -0.47033 | -2.3095 | -2.8704 | 0.49489 | 2.3102 | 2.8678 | 101.1051 | -19.7561 | -138.6122 | -79.0877 | 160.9121 | 40.9122 | 0.31763 | 1.2193 | 1.4415 | 0.32916 | 1.2301 | 1.4518 | -30.3862 | -128.989 | 122.1546 | -30.3468 | -129.2041 | 121.8997

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73542 | 0.34757 | 0.3484 | 0.73475 | 0.34712 | 0.34801 | 8.4918 | 4.0134 | 4.023 | 8.4842 | 4.0082 | 4.0185 | 6.8984 | -0.85174 | -0.9217 | -5.7815 | 1.2982 | 0.89348 | 3.6608 | -4.8708 | -4.8707 | -3.2901 | 4.8145 | 5.3252 | -40.1953 | -19.5749 | -138.681 | 139.843 | 160.5397 | 41.1988 | 0.91965 | 1.232 | 1.2322 | 0.78407 | 1.244 | 1.3437 | -12.2415 | -119.4938 | 120.6033 | -10.5141 | -124.5514 | 121.6743
Line_1 | 1.0267 | 0.0013118 | 0.0013118 | 1.0257 | 0 | 0 | 11.8551 | 0.015148 | 0.015148 | 11.844 | 0 | 0 | 6.9251 | 0.016356 | -0.016372 | -5.2605 | -7.1862e-10 | -1.7721e-09 | 6.2003 | -0.0093586 | -0.012092 | -5.2605 | -7.8961e-10 | 3.1293e-10 | -52.353 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.78407 | 1.244 | 1.3437 | 0.62812 | 1.2439 | 1.4351 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.17216 | 0.17359 | 0.17387 | 0.17321 | 0.17321 | 0.1732 | 1.9879 | 2.0045 | 2.0077 | 2 | 2 | 2 | -0.57075 | -0.65121 | -0.44569 | 0.58809 | 0.67924 | 0.44713 | -1.4504 | -2.4071 | -2.6606 | 1.4774 | 2.4155 | 2.6706 | 100.9659 | -19.4131 | -138.8162 | -79.0877 | 160.9122 | 40.9122 | 0.78407 | 1.244 | 1.3437 | 0.79506 | 1.2546 | 1.3539 | -10.5141 | -124.5514 | 121.6743 | -10.7935 | -124.794 | 121.4075

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73542 | 0.34757 | 0.3484 | 0.73475 | 0.34712 | 0.34801 | 8.4918 | 4.0134 | 4.023 | 8.4842 | 4.0082 | 4.0185 | 6.8984 | -0.85174 | -0.9217 | -5.7815 | 1.2982 | 0.89348 | 3.6608 | -4.8708 | -4.8707 | -3.2901 | 4.8145 | 5.3252 | -40.1953 | -19.5749 | -138.681 | 139.843 | 160.5397 | 41.1988 | 0.91965 | 1.232 | 1.2322 | 0.78407 | 1.244 | 1.3437 | -12.2415 | -119.4938 | 120.6033 | -10.5141 | -124.5514 | 121.6743
Line_1 | 1.0267 | 0.0013118 | 0.0013118 | 1.0257 | 0 | 0 | 11.8551 | 0.015148 | 0.015148 | 11.844 | 0 | 0 | 6.9251 | 0.016356 | -0.016372 | -5.2605 | -7.1862e-10 | -1.7721e-09 | 6.2003 | -0.0093586 | -0.012092 | -5.2605 | -7.8961e-10 | 3.1293e-10 | -52.353 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.78407 | 1.244 | 1.3437 | 0.62812 | 1.2439 | 1.4351 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.17216 | 0.17359 | 0.17387 | 0.17321 | 0.17321 | 0.1732 | 1.9879 | 2.0045 | 2.0077 | 2 | 2 | 2 | -0.57075 | -0.65121 | -0.44569 | 0.58809 | 0.67924 | 0.44713 | -1.4504 | -2.4071 | -2.6606 | 1.4774 | 2.4155 | 2.6706 | 100.9659 | -19.4131 | -138.8162 | -79.0877 | 160.9122 | 40.9122 | 0.78407 | 1.244 | 1.3437 | 0.79506 | 1.2546 | 1.3539 | -10.5141 | -124.5514 | 121.6743 | -10.7935 | -124.794 | 121.4075

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9614e-11 | -4.967e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0474e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0726e-11 | -9.3535e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0187e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9614e-11 | -4.967e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0474e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0726e-11 | -9.3535e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0187e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1446e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0826e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4983e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1446e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0826e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4983e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35142 | 2.3063 | 1.6242 | 0.35011 | 2.306 | 1.6237 | 4.0579 | 26.631 | 18.7543 | 4.0428 | 26.6271 | 18.7491 | -0.89255 | 12.8379 | 1.0449 | 1.3987 | -6.6884 | -0.64887 | -4.9249 | 1.7745 | 8.9628 | 5.4245 | -1.0465 | -4.6475 | 100.8271 | -178.8194 | 36.1214 | -79.1927 | 1.2121 | -143.9222 | 1.2334 | 0.48665 | 0.48114 | 1.3857 | 0.25424 | 0.25028 | 0.55475 | -170.9496 | 119.4716 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0020852 | 2.6334 | 1.9682 | 0 | 2.6334 | 1.9669 | 0.024078 | 30.4082 | 22.7271 | 0 | 30.4084 | 22.712 | -0.0009701 | 7.5767 | 0.86591 | -2.3934e-09 | -1.369e-11 | -1.409e-11 | -0.03335 | 1.5376 | 5.6219 | -7.0751e-10 | 1.2874e-11 | 4.8059e-12 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 1.3857 | 0.25424 | 0.25028 | 1.5216 | 0 | 0 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0
Line_2 | 0.17488 | 0.17253 | 0.17222 | 0.1732 | 0.1732 | 0.17321 | 2.0193 | 1.9922 | 1.9887 | 2 | 2 | 2 | -0.70086 | -0.44435 | -0.10629 | 0.71301 | 0.45909 | 0.12621 | -2.7089 | -0.2431 | -0.48625 | 2.7002 | 0.26611 | 0.5053 | 100.8547 | -18.5778 | -139.5402 | -79.0879 | 160.9124 | 40.9121 | 1.3857 | 0.25424 | 0.25028 | 1.3964 | 0.26532 | 0.26041 | -3.6511 | -169.8955 | 118.1298 | -3.8798 | -168.9886 | 116.8885

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35142 | 2.3063 | 1.6242 | 0.35011 | 2.306 | 1.6237 | 4.0579 | 26.631 | 18.7543 | 4.0428 | 26.6271 | 18.7491 | -0.89255 | 12.8379 | 1.0449 | 1.3987 | -6.6884 | -0.64887 | -4.9249 | 1.7745 | 8.9628 | 5.4245 | -1.0465 | -4.6475 | 100.8271 | -178.8194 | 36.1214 | -79.1927 | 1.2121 | -143.9222 | 1.2334 | 0.48665 | 0.48114 | 1.3857 | 0.25424 | 0.25028 | 0.55475 | -170.9496 | 119.4716 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0020852 | 2.6334 | 1.9682 | 0 | 2.6334 | 1.9669 | 0.024078 | 30.4082 | 22.7271 | 0 | 30.4084 | 22.712 | -0.0009701 | 7.5767 | 0.86591 | -2.3934e-09 | -1.369e-11 | -1.409e-11 | -0.03335 | 1.5376 | 5.6219 | -7.0751e-10 | 1.2874e-11 | 4.8059e-12 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 1.3857 | 0.25424 | 0.25028 | 1.5216 | 0 | 0 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0
Line_2 | 0.17488 | 0.17253 | 0.17222 | 0.1732 | 0.1732 | 0.17321 | 2.0193 | 1.9922 | 1.9887 | 2 | 2 | 2 | -0.70086 | -0.44435 | -0.10629 | 0.71301 | 0.45909 | 0.12621 | -2.7089 | -0.2431 | -0.48625 | 2.7002 | 0.26611 | 0.5053 | 100.8547 | -18.5778 | -139.5402 | -79.0879 | 160.9124 | 40.9121 | 1.3857 | 0.25424 | 0.25028 | 1.3964 | 0.26532 | 0.26041 | -3.6511 | -169.8955 | 118.1298 | -3.8798 | -168.9886 | 116.8885

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34921 | 0.89426 | 0.70291 | 0.34848 | 0.89429 | 0.70237 | 4.0323 | 10.3261 | 8.1165 | 4.0239 | 10.3263 | 8.1103 | -0.89066 | 8.3377 | 4.9546 | 1.1901 | -7.3757 | -4.5966 | -4.8897 | 3.816 | 5.1151 | 5.2065 | -4.0473 | -4.1249 | 100.8806 | -160.1055 | 65.3923 | -79.1346 | 19.9413 | -114.6482 | 1.2326 | 0.88799 | 0.87738 | 1.3273 | 0.81473 | 0.7615 | 0.55739 | -135.5129 | 111.3054 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.0011609 | 1.1837 | 1.0271 | 0 | 1.1839 | 1.0261 | 0.013405 | 13.6682 | 11.8595 | 0 | 13.6704 | 11.8483 | -0.00062944 | 8.6137 | 5.8106 | -1.5696e-09 | -7.008 | -5.2643 | -0.01778 | 7.0578 | 6.9135 | -3.7328e-10 | -7.008 | -5.2643 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 1.3273 | 0.81473 | 0.7615 | 1.4028 | 0.72498 | 0.62835 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.17414 | 0.1728 | 0.17268 | 0.1732 | 0.1732 | 0.17321 | 2.0108 | 1.9953 | 1.994 | 2 | 2 | 2 | -0.59583 | -0.62195 | -0.603 | 0.60951 | 0.63145 | 0.62663 | -2.6014 | -1.5019 | -1.3936 | 2.6051 | 1.5264 | 1.4124 | 100.8908 | -18.8089 | -139.3452 | -79.0878 | 160.9123 | 40.9122 | 1.3273 | 0.81473 | 0.7615 | 1.3377 | 0.82594 | 0.77259 | -2.0097 | -131.3034 | 107.2563 | -2.2565 | -131.5617 | 106.9874

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34921 | 0.89426 | 0.70291 | 0.34848 | 0.89429 | 0.70237 | 4.0323 | 10.3261 | 8.1165 | 4.0239 | 10.3263 | 8.1103 | -0.89066 | 8.3377 | 4.9546 | 1.1901 | -7.3757 | -4.5966 | -4.8897 | 3.816 | 5.1151 | 5.2065 | -4.0473 | -4.1249 | 100.8806 | -160.1055 | 65.3923 | -79.1346 | 19.9413 | -114.6482 | 1.2326 | 0.88799 | 0.87738 | 1.3273 | 0.81473 | 0.7615 | 0.55739 | -135.5129 | 111.3054 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.0011609 | 1.1837 | 1.0271 | 0 | 1.1839 | 1.0261 | 0.013405 | 13.6682 | 11.8595 | 0 | 13.6704 | 11.8483 | -0.00062944 | 8.6137 | 5.8106 | -1.5696e-09 | -7.008 | -5.2643 | -0.01778 | 7.0578 | 6.9135 | -3.7328e-10 | -7.008 | -5.2643 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 1.3273 | 0.81473 | 0.7615 | 1.4028 | 0.72498 | 0.62835 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.17414 | 0.1728 | 0.17268 | 0.1732 | 0.1732 | 0.17321 | 2.0108 | 1.9953 | 1.994 | 2 | 2 | 2 | -0.59583 | -0.62195 | -0.603 | 0.60951 | 0.63145 | 0.62663 | -2.6014 | -1.5019 | -1.3936 | 2.6051 | 1.5264 | 1.4124 | 100.8908 | -18.8089 | -139.3452 | -79.0878 | 160.9123 | 40.9122 | 1.3273 | 0.81473 | 0.7615 | 1.3377 | 0.82594 | 0.77259 | -2.0097 | -131.3034 | 107.2563 | -2.2565 | -131.5617 | 106.9874

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6132e-11 | -1.2604e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1365e-11 | -1.7196e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.259e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6457e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6132e-11 | -1.2604e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1365e-11 | -1.7196e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.259e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6457e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.1789e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.8261e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.4669e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5298e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.1789e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.8261e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.4669e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5298e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983