## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-15 | 1.6579e-14 | 1.8948e-14 | 9.4746e-15 | -1.6579e-14 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1198e-12 | -180 | 180 | 1.1536e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1839e-15 | -2.3682e-15 | -4.737e-15 | 4.7367e-15 | 2.3682e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.5374e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1486e-12 | -180 | 180 | 1.1536e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3812e-29 | 3.553e-15 | 7.1057e-15 | 2.3685e-15 | 4.7367e-15 | -7.1057e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.7687e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1347e-12 | -180 | 180 | 1.1536e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-15 | 1.6579e-14 | 1.8948e-14 | 9.4746e-15 | -1.6579e-14 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1198e-12 | -180 | 180 | 1.1536e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1839e-15 | -2.3682e-15 | -4.737e-15 | 4.7367e-15 | 2.3682e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.5374e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1486e-12 | -180 | 180 | 1.1536e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3812e-29 | 3.553e-15 | 7.1057e-15 | 2.3685e-15 | 4.7367e-15 | -7.1057e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.7687e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1347e-12 | -180 | 180 | 1.1536e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.806e-14 | -8.0025e-10 | -2.5674e-09 | 1.806e-14 | 8.0025e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | 1.8089e-28 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.5473e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.6675e-10 | 8.5579e-10 | -2.3685e-15 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3723e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6951e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 2.0724e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6601e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.806e-14 | -8.0025e-10 | -2.5674e-09 | 1.806e-14 | 8.0025e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | 1.8089e-28 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.5473e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.6675e-10 | 8.5579e-10 | -2.3685e-15 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3723e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6951e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 2.0724e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6601e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33047 | 0.35403 | 0.35528 | 0.33578 | 0.35142 | 0.35228 | 3.8159 | 4.0879 | 4.1024 | 3.8772 | 4.0578 | 4.0677 | 1.6774e-12 | -3.6632 | 3.0625 | 0.043779 | 3.8013 | -3.0552 | -5.6983e-13 | -6.874 | -7.1627 | 0.062778 | 6.8367 | 7.1525 | 92.8004 | -29.6235 | -145.1602 | -87.2423 | 151.1294 | 34.1291 | 0 | 1.9054 | 1.8989 | 0.01974 | 1.9277 | 1.9121 | 0 | -147.6772 | 147.9898 | -32.1325 | -147.9454 | 147.2591
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.16789 | 0.17571 | 0.17614 | 2 | 2 | 2 | 1.9386 | 2.0289 | 2.0339 | 0.0364 | 1.9806 | -1.5752 | -0.021889 | -1.9007 | 1.5276 | 0.049521 | 3.3345 | 3.4969 | -0.031389 | -3.4184 | -3.5763 | -87.328 | 152.672 | 32.672 | 92.7577 | -28.8706 | -145.8709 | 0.03073 | 1.9392 | 1.9176 | 0.01974 | 1.9277 | 1.9121 | -33.6457 | -148.0372 | 146.9212 | -32.1325 | -147.9454 | 147.2591
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.16789 | 0.17571 | 0.17614 | 2 | 2 | 2 | 1.9386 | 2.0289 | 2.0339 | 0.0364 | 1.9806 | -1.5752 | -0.021889 | -1.9007 | 1.5276 | 0.049521 | 3.3345 | 3.4969 | -0.031389 | -3.4184 | -3.5763 | -87.328 | 152.672 | 32.672 | 92.7577 | -28.8706 | -145.8709 | 0.03073 | 1.9392 | 1.9176 | 0.01974 | 1.9277 | 1.9121 | -33.6457 | -148.0372 | 146.9212 | -32.1325 | -147.9454 | 147.2591

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33047 | 0.35403 | 0.35528 | 0.33578 | 0.35142 | 0.35228 | 3.8159 | 4.0879 | 4.1024 | 3.8772 | 4.0578 | 4.0677 | 1.6774e-12 | -3.6632 | 3.0625 | 0.043779 | 3.8013 | -3.0552 | -5.6983e-13 | -6.874 | -7.1627 | 0.062778 | 6.8367 | 7.1525 | 92.8004 | -29.6235 | -145.1602 | -87.2423 | 151.1294 | 34.1291 | 0 | 1.9054 | 1.8989 | 0.01974 | 1.9277 | 1.9121 | 0 | -147.6772 | 147.9898 | -32.1325 | -147.9454 | 147.2591
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.16789 | 0.17571 | 0.17614 | 2 | 2 | 2 | 1.9386 | 2.0289 | 2.0339 | 0.0364 | 1.9806 | -1.5752 | -0.021889 | -1.9007 | 1.5276 | 0.049521 | 3.3345 | 3.4969 | -0.031389 | -3.4184 | -3.5763 | -87.328 | 152.672 | 32.672 | 92.7577 | -28.8706 | -145.8709 | 0.03073 | 1.9392 | 1.9176 | 0.01974 | 1.9277 | 1.9121 | -33.6457 | -148.0372 | 146.9212 | -32.1325 | -147.9454 | 147.2591
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.16789 | 0.17571 | 0.17614 | 2 | 2 | 2 | 1.9386 | 2.0289 | 2.0339 | 0.0364 | 1.9806 | -1.5752 | -0.021889 | -1.9007 | 1.5276 | 0.049521 | 3.3345 | 3.4969 | -0.031389 | -3.4184 | -3.5763 | -87.328 | 152.672 | 32.672 | 92.7577 | -28.8706 | -145.8709 | 0.03073 | 1.9392 | 1.9176 | 0.01974 | 1.9277 | 1.9121 | -33.6457 | -148.0372 | 146.9212 | -32.1325 | -147.9454 | 147.2591

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33425 | 0.35432 | 0.35098 | 0.3383 | 0.35165 | 0.34942 | 3.8595 | 4.0914 | 4.0528 | 3.9063 | 4.0606 | 4.0348 | -0.75833 | -2.538 | 2.5915 | 0.81854 | 2.6541 | -2.5795 | -1.0718 | -6.9106 | -5.9466 | 1.1454 | 6.9023 | 5.9762 | 92.3355 | -28.8738 | -145.4469 | -87.5487 | 151.6327 | 33.9315 | 0.34017 | 1.7994 | 1.6006 | 0.36041 | 1.8212 | 1.6132 | -32.9462 | -139.0401 | 148.1004 | -33.0986 | -139.4005 | 147.2778
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.16915 | 0.17583 | 0.17471 | 2 | 2 | 2 | 1.9532 | 2.0303 | 2.0174 | 0.43573 | 1.3856 | -1.3278 | -0.40927 | -1.3271 | 1.2897 | 0.60181 | 3.3924 | 2.9526 | -0.57272 | -3.4511 | -2.9881 | -87.328 | 152.672 | 32.672 | 92.4513 | -28.3673 | -146.0685 | 0.3715 | 1.8322 | 1.6187 | 0.36041 | 1.8212 | 1.6132 | -33.2333 | -139.5445 | 146.8862 | -33.0986 | -139.4005 | 147.2778
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.16915 | 0.17583 | 0.17471 | 2 | 2 | 2 | 1.9532 | 2.0303 | 2.0174 | 0.43573 | 1.3856 | -1.3278 | -0.40927 | -1.3271 | 1.2897 | 0.60181 | 3.3924 | 2.9526 | -0.57272 | -3.4511 | -2.9881 | -87.328 | 152.672 | 32.672 | 92.4513 | -28.3673 | -146.0685 | 0.3715 | 1.8322 | 1.6187 | 0.36041 | 1.8212 | 1.6132 | -33.2333 | -139.5445 | 146.8862 | -33.0986 | -139.4005 | 147.2778

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33425 | 0.35432 | 0.35098 | 0.3383 | 0.35165 | 0.34942 | 3.8595 | 4.0914 | 4.0528 | 3.9063 | 4.0606 | 4.0348 | -0.75833 | -2.538 | 2.5915 | 0.81854 | 2.6541 | -2.5795 | -1.0718 | -6.9106 | -5.9466 | 1.1454 | 6.9023 | 5.9762 | 92.3355 | -28.8738 | -145.4469 | -87.5487 | 151.6327 | 33.9315 | 0.34017 | 1.7994 | 1.6006 | 0.36041 | 1.8212 | 1.6132 | -32.9462 | -139.0401 | 148.1004 | -33.0986 | -139.4005 | 147.2778
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.16915 | 0.17583 | 0.17471 | 2 | 2 | 2 | 1.9532 | 2.0303 | 2.0174 | 0.43573 | 1.3856 | -1.3278 | -0.40927 | -1.3271 | 1.2897 | 0.60181 | 3.3924 | 2.9526 | -0.57272 | -3.4511 | -2.9881 | -87.328 | 152.672 | 32.672 | 92.4513 | -28.3673 | -146.0685 | 0.3715 | 1.8322 | 1.6187 | 0.36041 | 1.8212 | 1.6132 | -33.2333 | -139.5445 | 146.8862 | -33.0986 | -139.4005 | 147.2778
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.16915 | 0.17583 | 0.17471 | 2 | 2 | 2 | 1.9532 | 2.0303 | 2.0174 | 0.43573 | 1.3856 | -1.3278 | -0.40927 | -1.3271 | 1.2897 | 0.60181 | 3.3924 | 2.9526 | -0.57272 | -3.4511 | -2.9881 | -87.328 | 152.672 | 32.672 | 92.4513 | -28.3673 | -146.0685 | 0.3715 | 1.8322 | 1.6187 | 0.36041 | 1.8212 | 1.6132 | -33.2333 | -139.5445 | 146.8862 | -33.0986 | -139.4005 | 147.2778

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013599 | 0.013599 | 0.013599 | 0.0090689 | 0.0090689 | 0.0090689 | 0.15703 | 0.15703 | 0.15703 | 0.10472 | 0.10472 | 0.10472 | 1.2937e-13 | 0.13747 | -0.13451 | 0.0007293 | -0.091162 | 0.090214 | 1.0301e-13 | -0.21502 | -0.21578 | 0.00015123 | 0.1434 | 0.14419 | -90.1613 | -90.1613 | -90.1613 | 89.7516 | 89.7516 | 89.7516 | 0 | 1.6252 | 1.6193 | 0.0071125 | 1.6227 | 1.6242 | 0 | -147.5696 | 147.9007 | 101.4666 | -147.8041 | 147.7189
Line_1 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4078e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.0085353 | 1.6222 | 1.6252 | 0.0071125 | 1.6227 | 1.6242 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189
Line_2 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4077e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.0085353 | 1.6222 | 1.6252 | 0.0071125 | 1.6227 | 1.6242 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013599 | 0.013599 | 0.013599 | 0.0090689 | 0.0090689 | 0.0090689 | 0.15703 | 0.15703 | 0.15703 | 0.10472 | 0.10472 | 0.10472 | 1.2937e-13 | 0.13747 | -0.13451 | 0.0007293 | -0.091162 | 0.090214 | 1.0301e-13 | -0.21502 | -0.21578 | 0.00015123 | 0.1434 | 0.14419 | -90.1613 | -90.1613 | -90.1613 | 89.7516 | 89.7516 | 89.7516 | 0 | 1.6252 | 1.6193 | 0.0071125 | 1.6227 | 1.6242 | 0 | -147.5696 | 147.9007 | 101.4666 | -147.8041 | 147.7189
Line_1 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4078e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.0085353 | 1.6222 | 1.6252 | 0.0071125 | 1.6227 | 1.6242 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189
Line_2 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4077e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.0085353 | 1.6222 | 1.6252 | 0.0071125 | 1.6227 | 1.6242 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010512 | 0.010512 | 0.010512 | 0.0070099 | 0.0070099 | 0.0070099 | 0.12138 | 0.12138 | 0.12138 | 0.080943 | 0.080943 | 0.080943 | 0.024707 | 0.091491 | -0.11443 | -0.016015 | -0.060742 | 0.076626 | 0.025071 | -0.1624 | -0.12006 | -0.016654 | 0.1083 | 0.080274 | -78.3824 | -78.3824 | -78.3824 | 101.5305 | 101.5305 | 101.5305 | 0.29 | 1.5357 | 1.3665 | 0.28545 | 1.534 | 1.371 | -32.9634 | -138.9869 | 147.9932 | -32.3496 | -139.1824 | 147.8622
Line_1 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8575e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.28454 | 1.5337 | 1.3719 | 0.28545 | 1.534 | 1.371 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622
Line_2 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8574e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.28454 | 1.5337 | 1.3719 | 0.28545 | 1.534 | 1.371 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010512 | 0.010512 | 0.010512 | 0.0070099 | 0.0070099 | 0.0070099 | 0.12138 | 0.12138 | 0.12138 | 0.080943 | 0.080943 | 0.080943 | 0.024707 | 0.091491 | -0.11443 | -0.016015 | -0.060742 | 0.076626 | 0.025071 | -0.1624 | -0.12006 | -0.016654 | 0.1083 | 0.080274 | -78.3824 | -78.3824 | -78.3824 | 101.5305 | 101.5305 | 101.5305 | 0.29 | 1.5357 | 1.3665 | 0.28545 | 1.534 | 1.371 | -32.9634 | -138.9869 | 147.9932 | -32.3496 | -139.1824 | 147.8622
Line_1 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8575e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.28454 | 1.5337 | 1.3719 | 0.28545 | 1.534 | 1.371 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622
Line_2 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8574e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.28454 | 1.5337 | 1.3719 | 0.28545 | 1.534 | 1.371 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3549 | 0.34261 | 0.34188 | 0.35207 | 0.34386 | 0.34337 | 4.0981 | 3.9561 | 3.9477 | 4.0654 | 3.9706 | 3.9649 | -0.31236 | -1.3141e-12 | -1.5962e-12 | 0.38522 | 0.055762 | 0.05913 | -7.0241 | 1.8181e-12 | 1.6057e-12 | 7.0432 | 0.075849 | 0.061508 | 92.6043 | -26.0626 | -148.5259 | -87.3743 | 153.5132 | 31.877 | 1.7157 | 0 | 0 | 1.7351 | 0.02371 | 0.021519 | 0.058093 | 0 | 0 | -0.50491 | -152.8092 | 78.0062
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17604 | 0.17193 | 0.17168 | 2 | 2 | 2 | 2.0327 | 1.9853 | 1.9824 | 0.20883 | 0.042389 | 0.045665 | -0.19261 | -0.027881 | -0.029565 | 3.4828 | 0.056957 | 0.047352 | -3.5216 | -0.037925 | -0.030754 | -87.3281 | 152.6722 | 32.6719 | 92.6257 | -26.4868 | -148.123 | 1.7445 | 0.0355 | 0.032892 | 1.7351 | 0.02371 | 0.021519 | -0.75946 | -153.9855 | 78.7107 | -0.50491 | -152.8092 | 78.0062
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17604 | 0.17193 | 0.17168 | 2 | 2 | 2 | 2.0327 | 1.9853 | 1.9824 | 0.20883 | 0.042389 | 0.045665 | -0.19261 | -0.027881 | -0.029565 | 3.4828 | 0.056957 | 0.047352 | -3.5216 | -0.037925 | -0.030754 | -87.3281 | 152.6722 | 32.6719 | 92.6257 | -26.4868 | -148.123 | 1.7445 | 0.0355 | 0.032892 | 1.7351 | 0.02371 | 0.021519 | -0.75946 | -153.9855 | 78.7107 | -0.50491 | -152.8092 | 78.0062

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3549 | 0.34261 | 0.34188 | 0.35207 | 0.34386 | 0.34337 | 4.0981 | 3.9561 | 3.9477 | 4.0654 | 3.9706 | 3.9649 | -0.31236 | -1.3141e-12 | -1.5962e-12 | 0.38522 | 0.055762 | 0.05913 | -7.0241 | 1.8181e-12 | 1.6057e-12 | 7.0432 | 0.075849 | 0.061508 | 92.6043 | -26.0626 | -148.5259 | -87.3743 | 153.5132 | 31.877 | 1.7157 | 0 | 0 | 1.7351 | 0.02371 | 0.021519 | 0.058093 | 0 | 0 | -0.50491 | -152.8092 | 78.0062
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17604 | 0.17193 | 0.17168 | 2 | 2 | 2 | 2.0327 | 1.9853 | 1.9824 | 0.20883 | 0.042389 | 0.045665 | -0.19261 | -0.027881 | -0.029565 | 3.4828 | 0.056957 | 0.047352 | -3.5216 | -0.037925 | -0.030754 | -87.3281 | 152.6722 | 32.6719 | 92.6257 | -26.4868 | -148.123 | 1.7445 | 0.0355 | 0.032892 | 1.7351 | 0.02371 | 0.021519 | -0.75946 | -153.9855 | 78.7107 | -0.50491 | -152.8092 | 78.0062
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17604 | 0.17193 | 0.17168 | 2 | 2 | 2 | 2.0327 | 1.9853 | 1.9824 | 0.20883 | 0.042389 | 0.045665 | -0.19261 | -0.027881 | -0.029565 | 3.4828 | 0.056957 | 0.047352 | -3.5216 | -0.037925 | -0.030754 | -87.3281 | 152.6722 | 32.6719 | 92.6257 | -26.4868 | -148.123 | 1.7445 | 0.0355 | 0.032892 | 1.7351 | 0.02371 | 0.021519 | -0.75946 | -153.9855 | 78.7107 | -0.50491 | -152.8092 | 78.0062

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35378 | 0.3423 | 0.34327 | 0.35132 | 0.34366 | 0.34429 | 4.0851 | 3.9526 | 3.9637 | 4.0567 | 3.9683 | 3.9756 | -0.07805 | 0.49365 | -1.9718 | 0.14515 | -0.45761 | 2.0563 | -6.7047 | -2.9667 | -2.7583 | 6.7337 | 3.0498 | 2.8164 | 92.7608 | -26.3056 | -148.4391 | -87.2691 | 153.3515 | 31.9336 | 1.6414 | 0.76089 | 0.85541 | 1.6603 | 0.77714 | 0.87714 | 2.0938 | -106.8583 | 86.0011 | 1.4961 | -108.1151 | 85.7997
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17566 | 0.17183 | 0.17215 | 2 | 2 | 2 | 2.0284 | 1.9841 | 1.9878 | 0.084504 | -0.23395 | 1.0682 | -0.072574 | 0.22881 | -1.0281 | 3.3379 | 1.5524 | 1.4202 | -3.3668 | -1.5249 | -1.4082 | -87.3281 | 152.672 | 32.672 | 92.7309 | -26.6485 | -148.0664 | 1.6695 | 0.78497 | 0.88855 | 1.6603 | 0.77714 | 0.87714 | 1.2217 | -108.758 | 85.7249 | 1.4961 | -108.1151 | 85.7997
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17566 | 0.17183 | 0.17215 | 2 | 2 | 2 | 2.0284 | 1.9841 | 1.9878 | 0.084504 | -0.23395 | 1.0682 | -0.072574 | 0.22881 | -1.0281 | 3.3379 | 1.5524 | 1.4202 | -3.3668 | -1.5249 | -1.4082 | -87.3281 | 152.672 | 32.672 | 92.7309 | -26.6485 | -148.0664 | 1.6695 | 0.78497 | 0.88855 | 1.6603 | 0.77714 | 0.87714 | 1.2217 | -108.758 | 85.7249 | 1.4961 | -108.1151 | 85.7997

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35378 | 0.3423 | 0.34327 | 0.35132 | 0.34366 | 0.34429 | 4.0851 | 3.9526 | 3.9637 | 4.0567 | 3.9683 | 3.9756 | -0.07805 | 0.49365 | -1.9718 | 0.14515 | -0.45761 | 2.0563 | -6.7047 | -2.9667 | -2.7583 | 6.7337 | 3.0498 | 2.8164 | 92.7608 | -26.3056 | -148.4391 | -87.2691 | 153.3515 | 31.9336 | 1.6414 | 0.76089 | 0.85541 | 1.6603 | 0.77714 | 0.87714 | 2.0938 | -106.8583 | 86.0011 | 1.4961 | -108.1151 | 85.7997
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17566 | 0.17183 | 0.17215 | 2 | 2 | 2 | 2.0284 | 1.9841 | 1.9878 | 0.084504 | -0.23395 | 1.0682 | -0.072574 | 0.22881 | -1.0281 | 3.3379 | 1.5524 | 1.4202 | -3.3668 | -1.5249 | -1.4082 | -87.3281 | 152.672 | 32.672 | 92.7309 | -26.6485 | -148.0664 | 1.6695 | 0.78497 | 0.88855 | 1.6603 | 0.77714 | 0.87714 | 1.2217 | -108.758 | 85.7249 | 1.4961 | -108.1151 | 85.7997
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17566 | 0.17183 | 0.17215 | 2 | 2 | 2 | 2.0284 | 1.9841 | 1.9878 | 0.084504 | -0.23395 | 1.0682 | -0.072574 | 0.22881 | -1.0281 | 3.3379 | 1.5524 | 1.4202 | -3.3668 | -1.5249 | -1.4082 | -87.3281 | 152.672 | 32.672 | 92.7309 | -26.6485 | -148.0664 | 1.6695 | 0.78497 | 0.88855 | 1.6603 | 0.77714 | 0.87714 | 1.2217 | -108.758 | 85.7249 | 1.4961 | -108.1151 | 85.7997

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072653 | 0.0072653 | 0.0072653 | 0.0048451 | 0.0048451 | 0.0048451 | 0.083893 | 0.083893 | 0.083893 | 0.055946 | 0.055946 | 0.055946 | 0.00084308 | -7.7063e-14 | 8.7685e-14 | -0.0004788 | 0.00020816 | 0.00020816 | -0.12296 | 4.9576e-14 | 4.1642e-14 | 0.082043 | 4.3165e-05 | 4.3165e-05 | 89.669 | 89.669 | 89.669 | -90.4181 | -90.4181 | -90.4181 | 1.4658 | 0 | 0 | 1.4665 | 0.0037999 | 0.0037999 | 0.061852 | 0 | 0 | -0.083764 | -78.7031 | -78.7031
Line_1 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5913e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3638e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 1.4666 | 0.00456 | 0.00456 | 1.4665 | 0.0037999 | 0.0037999 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031
Line_2 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5912e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3639e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 1.4666 | 0.00456 | 0.00456 | 1.4665 | 0.0037999 | 0.0037999 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072653 | 0.0072653 | 0.0072653 | 0.0048451 | 0.0048451 | 0.0048451 | 0.083893 | 0.083893 | 0.083893 | 0.055946 | 0.055946 | 0.055946 | 0.00084308 | -7.7063e-14 | 8.7685e-14 | -0.0004788 | 0.00020816 | 0.00020816 | -0.12296 | 4.9576e-14 | 4.1642e-14 | 0.082043 | 4.3165e-05 | 4.3165e-05 | 89.669 | 89.669 | 89.669 | -90.4181 | -90.4181 | -90.4181 | 1.4658 | 0 | 0 | 1.4665 | 0.0037999 | 0.0037999 | 0.061852 | 0 | 0 | -0.083764 | -78.7031 | -78.7031
Line_1 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5913e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3638e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 1.4666 | 0.00456 | 0.00456 | 1.4665 | 0.0037999 | 0.0037999 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031
Line_2 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5912e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3639e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 1.4666 | 0.00456 | 0.00456 | 1.4665 | 0.0037999 | 0.0037999 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063139 | 0.0063139 | 0.0063139 | 0.0042106 | 0.0042106 | 0.0042106 | 0.072907 | 0.072907 | 0.072907 | 0.04862 | 0.04862 | 0.04862 | -0.0082775 | -0.042897 | 0.051812 | 0.0055739 | 0.028784 | -0.034405 | -0.10191 | 0.019125 | -0.01008 | 0.068004 | -0.012678 | 0.0067019 | 96.7333 | 96.7333 | 96.7333 | -83.3538 | -83.3538 | -83.3538 | 1.4024 | 0.64422 | 0.72398 | 1.4034 | 0.6469 | 0.72093 | 2.0899 | -107.2957 | 85.7242 | 1.9604 | -107.1252 | 85.6232
Line_1 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7372e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 1.4036 | 0.64744 | 0.72032 | 1.4034 | 0.6469 | 0.72093 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232
Line_2 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7373e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 1.4036 | 0.64744 | 0.72032 | 1.4034 | 0.6469 | 0.72093 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063139 | 0.0063139 | 0.0063139 | 0.0042106 | 0.0042106 | 0.0042106 | 0.072907 | 0.072907 | 0.072907 | 0.04862 | 0.04862 | 0.04862 | -0.0082775 | -0.042897 | 0.051812 | 0.0055739 | 0.028784 | -0.034405 | -0.10191 | 0.019125 | -0.01008 | 0.068004 | -0.012678 | 0.0067019 | 96.7333 | 96.7333 | 96.7333 | -83.3538 | -83.3538 | -83.3538 | 1.4024 | 0.64422 | 0.72398 | 1.4034 | 0.6469 | 0.72093 | 2.0899 | -107.2957 | 85.7242 | 1.9604 | -107.1252 | 85.6232
Line_1 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7372e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 1.4036 | 0.64744 | 0.72032 | 1.4034 | 0.6469 | 0.72093 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232
Line_2 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7373e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 1.4036 | 0.64744 | 0.72032 | 1.4034 | 0.6469 | 0.72093 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232