## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6901 | 3.6901 | 0 | 0 | 127.8288 | 127.8288 | 35.6918 | -14.4496 | 40.4738 | -16.372 | -73.4333 | 106.5667 | 0.42215 | 0.17083 | -24.8408 | -24.8643
Line_1 | 2.5081 | 2.5081 | 5.0234 | 0 | 86.8848 | 86.8848 | -1e-07 | 9.8137 | -1e-07 | 11.1347 | 106.5272 | -73.4728 | 0 | 0.17083 | 0 | -24.8643
Line_2 | 1.182 | 1.182 | 0 | 0 | 40.9441 | 40.9441 | -2.4566 | 4.6359 | -2.7645 | 5.2372 | 106.6503 | -73.3497 | 0.090325 | 0.17083 | -24.974 | -24.8643
Line_3 | 1.3262 | 1.3262 | 2.6137 | 0 | 45.941 | 45.941 | -1e-07 | 2.7437 | -1e-07 | 3.1131 | 106.4175 | -73.5825 | 0 | 0.090325 | 0 | -24.974

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6901 | 3.6901 | 0 | 0 | 127.8288 | 127.8288 | 35.6918 | -14.4496 | 40.4738 | -16.372 | -73.4333 | 106.5667 | 0.42215 | 0.17083 | -24.8408 | -24.8643
Line_1 | 2.5081 | 2.5081 | 5.0234 | 0 | 86.8848 | 86.8848 | -1e-07 | 9.8137 | -1e-07 | 11.1347 | 106.5272 | -73.4728 | 0 | 0.17083 | 0 | -24.8643
Line_2 | 1.182 | 1.182 | 0 | 0 | 40.9441 | 40.9441 | -2.4566 | 4.6359 | -2.7645 | 5.2372 | 106.6503 | -73.3497 | 0.090325 | 0.17083 | -24.974 | -24.8643
Line_3 | 1.3262 | 1.3262 | 2.6137 | 0 | 45.941 | 45.941 | -1e-07 | 2.7437 | -1e-07 | 3.1131 | 106.4175 | -73.5825 | 0 | 0.090325 | 0 | -24.974

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0704 | 1.0704 | 0 | 0 | 37.0799 | 37.0799 | 26.4613 | -24.6739 | 22.7852 | -20.7572 | -48.8653 | 131.1347 | 0.94173 | 0.86958 | -8.1343 | -8.7926
Line_1 | 0.75692 | 0.75692 | 1.5653 | 0 | 26.2205 | 26.2205 | -16.1288 | 17.0226 | -14.1551 | 15.1692 | 129.5024 | -50.4976 | 0.81842 | 0.86958 | -9.2264 | -8.7926
Line_2 | 0.31453 | 0.31453 | 0 | 0 | 10.8957 | 10.8957 | -7.497 | 7.6513 | -5.4129 | 5.588 | 135.0654 | -44.9346 | 0.84867 | 0.86958 | -9.1048 | -8.7926
Line_3 | 0.44492 | 0.44492 | 0.87717 | 0 | 15.4124 | 15.4124 | -8.888 | 9.1968 | -8.9505 | 9.3009 | 125.5729 | -54.4271 | 0.81842 | 0.84867 | -9.2264 | -9.1048

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0704 | 1.0704 | 0 | 0 | 37.0799 | 37.0799 | 26.4613 | -24.6739 | 22.7852 | -20.7572 | -48.8653 | 131.1347 | 0.94173 | 0.86958 | -8.1343 | -8.7926
Line_1 | 0.75692 | 0.75692 | 1.5653 | 0 | 26.2205 | 26.2205 | -16.1288 | 17.0226 | -14.1551 | 15.1692 | 129.5024 | -50.4976 | 0.81842 | 0.86958 | -9.2264 | -8.7926
Line_2 | 0.31453 | 0.31453 | 0 | 0 | 10.8957 | 10.8957 | -7.497 | 7.6513 | -5.4129 | 5.588 | 135.0654 | -44.9346 | 0.84867 | 0.86958 | -9.1048 | -8.7926
Line_3 | 0.44492 | 0.44492 | 0.87717 | 0 | 15.4124 | 15.4124 | -8.888 | 9.1968 | -8.9505 | 9.3009 | 125.5729 | -54.4271 | 0.81842 | 0.84867 | -9.2264 | -9.1048

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 3.2017 | 3.1963 | 0.28863 | 3.2017 | 3.1963 | 3.3328 | 36.9696 | 36.9076 | 3.3328 | 36.9696 | 36.9076 | -0.98869 | 29.6567 | -12.3052 | 1.032 | -24.3264 | 17.6176 | -3.7251 | 2.9364 | 15.4379 | 3.7742 | 3.1115 | -9.4103 | 105.4999 | -160.8503 | 13.9793 | -74.5001 | 19.1497 | -166.0207 | 1.1564 | 0.80612 | 0.5349 | 1.174 | 0.66337 | 0.54117 | 0.63546 | -155.1957 | 142.5367 | 0.20698 | -168.1391 | 165.8707
Line_1 | 0.14432 | 2.1742 | 2.1724 | 0.14432 | 2.1742 | 2.1724 | 1.6664 | 25.1055 | 25.0852 | 1.6664 | 25.1055 | 25.0852 | 0.5377 | -14.0868 | 14.3557 | -0.52687 | 16.5449 | -11.9015 | 1.8964 | 4.694 | -3.7458 | -1.8841 | -1.905 | 6.5303 | -74.1703 | 18.429 | -165.3761 | 105.8297 | -161.571 | 14.6239 | 1.1829 | 0.59144 | 0.59144 | 1.174 | 0.66337 | 0.54117 | -8.1967e-06 | 180 | 180 | 0.20698 | -168.1391 | 165.8707
Line_2 | 0.14432 | 1.028 | 1.0243 | 0.14432 | 1.028 | 1.0243 | 1.6664 | 11.8703 | 11.8274 | 1.6664 | 11.8703 | 11.8274 | 0.51597 | -7.2319 | 6.2616 | -0.50514 | 7.7815 | -5.7161 | 1.9024 | 1.83 | -2.261 | -1.8901 | -1.2065 | 2.88 | -74.8299 | 20.6741 | -167.3881 | 105.1701 | -159.3259 | 12.6119 | 1.1828 | 0.62845 | 0.56288 | 1.174 | 0.66337 | 0.54117 | -0.0049392 | -173.526 | 172.7575 | 0.20698 | -168.1391 | 165.8707
Line_3 | 0.0016614 | 1.1477 | 1.1494 | 0.0016614 | 1.1477 | 1.1494 | 0.019184 | 13.2524 | 13.2716 | 0.019184 | 13.2524 | 13.2716 | 0.021867 | -7.5184 | 7.5293 | -0.021866 | 8.2033 | -6.8424 | -0.0060645 | 2.2154 | -2.2184 | 0.0060661 | -1.4382 | 2.9978 | 15.5005 | 16.4182 | -163.5831 | -164.4995 | -163.5818 | 16.4169 | 1.1829 | 0.59144 | 0.59144 | 1.1828 | 0.62845 | 0.56288 | -8.1967e-06 | 180 | 180 | -0.0049392 | -173.526 | 172.7575

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 3.2017 | 3.1963 | 0.28863 | 3.2017 | 3.1963 | 3.3328 | 36.9696 | 36.9076 | 3.3328 | 36.9696 | 36.9076 | -0.98869 | 29.6567 | -12.3052 | 1.032 | -24.3264 | 17.6176 | -3.7251 | 2.9364 | 15.4379 | 3.7742 | 3.1115 | -9.4103 | 105.4999 | -160.8503 | 13.9793 | -74.5001 | 19.1497 | -166.0207 | 1.1564 | 0.80612 | 0.5349 | 1.174 | 0.66337 | 0.54117 | 0.63546 | -155.1957 | 142.5367 | 0.20698 | -168.1391 | 165.8707
Line_1 | 0.14432 | 2.1742 | 2.1724 | 0.14432 | 2.1742 | 2.1724 | 1.6664 | 25.1055 | 25.0852 | 1.6664 | 25.1055 | 25.0852 | 0.5377 | -14.0868 | 14.3557 | -0.52687 | 16.5449 | -11.9015 | 1.8964 | 4.694 | -3.7458 | -1.8841 | -1.905 | 6.5303 | -74.1703 | 18.429 | -165.3761 | 105.8297 | -161.571 | 14.6239 | 1.1829 | 0.59144 | 0.59144 | 1.174 | 0.66337 | 0.54117 | -8.1967e-06 | 180 | 180 | 0.20698 | -168.1391 | 165.8707
Line_2 | 0.14432 | 1.028 | 1.0243 | 0.14432 | 1.028 | 1.0243 | 1.6664 | 11.8703 | 11.8274 | 1.6664 | 11.8703 | 11.8274 | 0.51597 | -7.2319 | 6.2616 | -0.50514 | 7.7815 | -5.7161 | 1.9024 | 1.83 | -2.261 | -1.8901 | -1.2065 | 2.88 | -74.8299 | 20.6741 | -167.3881 | 105.1701 | -159.3259 | 12.6119 | 1.1828 | 0.62845 | 0.56288 | 1.174 | 0.66337 | 0.54117 | -0.0049392 | -173.526 | 172.7575 | 0.20698 | -168.1391 | 165.8707
Line_3 | 0.0016614 | 1.1477 | 1.1494 | 0.0016614 | 1.1477 | 1.1494 | 0.019184 | 13.2524 | 13.2716 | 0.019184 | 13.2524 | 13.2716 | 0.021867 | -7.5184 | 7.5293 | -0.021866 | 8.2033 | -6.8424 | -0.0060645 | 2.2154 | -2.2184 | 0.0060661 | -1.4382 | 2.9978 | 15.5005 | 16.4182 | -163.5831 | -164.4995 | -163.5818 | 16.4169 | 1.1829 | 0.59144 | 0.59144 | 1.1828 | 0.62845 | 0.56288 | -8.1967e-06 | 180 | 180 | -0.0049392 | -173.526 | 172.7575

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 1.5625 | 1.4738 | 0.28863 | 1.5625 | 1.4738 | 3.3328 | 18.0425 | 17.0177 | 3.3328 | 18.0425 | 17.0177 | -0.9887 | 18.2059 | -0.84143 | 1.032 | -16.9363 | 1.9709 | -3.7251 | 1.63 | 13.6956 | 3.7742 | -0.18948 | -12.4142 | 105.4999 | -141.4756 | 28.1405 | -74.5001 | 38.5244 | -151.8595 | 1.1564 | 1.0131 | 0.80631 | 1.174 | 0.93875 | 0.73862 | 0.63546 | -136.3596 | 121.6562 | 0.20698 | -140.8346 | 127.1615
Line_1 | 0.14432 | 1.0707 | 1.0288 | 0.14432 | 1.0707 | 1.0288 | 1.6664 | 12.363 | 11.8792 | 1.6664 | 12.363 | 11.8792 | 0.5377 | -10.9965 | 1.8118 | -0.52687 | 11.5926 | -1.2614 | 1.8964 | 0.12462 | -8.0586 | -1.8842 | 0.55171 | 8.6831 | -74.1703 | 36.4406 | -151.1043 | 105.8297 | -143.5594 | 28.8957 | 1.1829 | 0.88953 | 0.69532 | 1.174 | 0.93875 | 0.73862 | -5.8121e-06 | -144.2086 | 131.5665 | 0.20698 | -140.8346 | 127.1615
Line_2 | 0.14432 | 0.49411 | 0.4453 | 0.14432 | 0.49411 | 0.4453 | 1.6664 | 5.7055 | 5.1419 | 1.6664 | 5.7055 | 5.1419 | 0.51598 | -5.2168 | 0.81256 | -0.50515 | 5.3437 | -0.70945 | 1.9024 | 0.50628 | -3.6141 | -1.8901 | -0.36224 | 3.7311 | -74.8299 | 43.0434 | -153.6046 | 105.1701 | -136.9566 | 26.3954 | 1.1828 | 0.91864 | 0.72041 | 1.174 | 0.93875 | 0.73862 | -0.0049368 | -142.4997 | 129.0667 | 0.20698 | -140.8346 | 127.1615
Line_3 | 0.0016614 | 0.58261 | 0.58421 | 0.0016614 | 0.58261 | 0.58421 | 0.019184 | 6.7274 | 6.7459 | 0.019184 | 6.7274 | 6.7459 | 0.021867 | -5.9619 | 0.87613 | -0.021866 | 6.1384 | -0.69865 | -0.0060644 | -0.51605 | -4.608 | 0.006066 | 0.71631 | 4.8094 | 15.5003 | 30.8443 | -149.1988 | -164.4997 | -149.1557 | 30.8012 | 1.1829 | 0.88953 | 0.69532 | 1.1828 | 0.91864 | 0.72041 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0049368 | -142.4997 | 129.0667

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 1.5625 | 1.4738 | 0.28863 | 1.5625 | 1.4738 | 3.3328 | 18.0425 | 17.0177 | 3.3328 | 18.0425 | 17.0177 | -0.9887 | 18.2059 | -0.84143 | 1.032 | -16.9363 | 1.9709 | -3.7251 | 1.63 | 13.6956 | 3.7742 | -0.18948 | -12.4142 | 105.4999 | -141.4756 | 28.1405 | -74.5001 | 38.5244 | -151.8595 | 1.1564 | 1.0131 | 0.80631 | 1.174 | 0.93875 | 0.73862 | 0.63546 | -136.3596 | 121.6562 | 0.20698 | -140.8346 | 127.1615
Line_1 | 0.14432 | 1.0707 | 1.0288 | 0.14432 | 1.0707 | 1.0288 | 1.6664 | 12.363 | 11.8792 | 1.6664 | 12.363 | 11.8792 | 0.5377 | -10.9965 | 1.8118 | -0.52687 | 11.5926 | -1.2614 | 1.8964 | 0.12462 | -8.0586 | -1.8842 | 0.55171 | 8.6831 | -74.1703 | 36.4406 | -151.1043 | 105.8297 | -143.5594 | 28.8957 | 1.1829 | 0.88953 | 0.69532 | 1.174 | 0.93875 | 0.73862 | -5.8121e-06 | -144.2086 | 131.5665 | 0.20698 | -140.8346 | 127.1615
Line_2 | 0.14432 | 0.49411 | 0.4453 | 0.14432 | 0.49411 | 0.4453 | 1.6664 | 5.7055 | 5.1419 | 1.6664 | 5.7055 | 5.1419 | 0.51598 | -5.2168 | 0.81256 | -0.50515 | 5.3437 | -0.70945 | 1.9024 | 0.50628 | -3.6141 | -1.8901 | -0.36224 | 3.7311 | -74.8299 | 43.0434 | -153.6046 | 105.1701 | -136.9566 | 26.3954 | 1.1828 | 0.91864 | 0.72041 | 1.174 | 0.93875 | 0.73862 | -0.0049368 | -142.4997 | 129.0667 | 0.20698 | -140.8346 | 127.1615
Line_3 | 0.0016614 | 0.58261 | 0.58421 | 0.0016614 | 0.58261 | 0.58421 | 0.019184 | 6.7274 | 6.7459 | 0.019184 | 6.7274 | 6.7459 | 0.021867 | -5.9619 | 0.87613 | -0.021866 | 6.1384 | -0.69865 | -0.0060644 | -0.51605 | -4.608 | 0.006066 | 0.71631 | 4.8094 | 15.5003 | 30.8443 | -149.1988 | -164.4997 | -149.1557 | 30.8012 | 1.1829 | 0.88953 | 0.69532 | 1.1828 | 0.91864 | 0.72041 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0049368 | -142.4997 | 129.0667

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 5.9212e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | -2.8422e-14 | -0.29866 | 13.6553 | 2.6053e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.1861e-13 | -153.068 | 126.0805 | 3.8166e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.1842e-15 | -8.8871 | 8.8871 | 3.5527e-15 | 11.9007 | -5.8735 | 7.1054e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.6606e-13 | -180 | 180 | 3.8166e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -3.5527e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.6905e-13 | -172.2653 | 170.7242 | 3.8166e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | 3.0511e-29 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.6606e-13 | -180 | 180 | 3.6905e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 5.9212e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | -2.8422e-14 | -0.29866 | 13.6553 | 2.6053e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.1861e-13 | -153.068 | 126.0805 | 3.8166e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.1842e-15 | -8.8871 | 8.8871 | 3.5527e-15 | 11.9007 | -5.8735 | 7.1054e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.6606e-13 | -180 | 180 | 3.8166e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -3.5527e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.6905e-13 | -172.2653 | 170.7242 | 3.8166e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | 3.0511e-29 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.6606e-13 | -180 | 180 | 3.6905e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.1842e-15 | 14.2512 | 1.4266 | -2.3685e-15 | -12.3717 | 0.45296 | -1.6579e-14 | 1.9064 | 11.2087 | 1.6579e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.0589e-13 | -136.4258 | 118.7019 | 1.8912e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -2.9606e-15 | -7.4125 | 1.1373 | 2.9606e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.8122e-13 | -143.7605 | 136.2873 | 1.8912e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.3291e-15 | -3.9151 | 0.35982 | 2.3685e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.8205e-13 | -141.9705 | 132.2872 | 1.8912e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 1.7764e-15 | -3.7062 | 0.56866 | -2.3685e-15 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.8122e-13 | -143.7605 | 136.2873 | 1.8205e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.1842e-15 | 14.2512 | 1.4266 | -2.3685e-15 | -12.3717 | 0.45296 | -1.6579e-14 | 1.9064 | 11.2087 | 1.6579e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.0589e-13 | -136.4258 | 118.7019 | 1.8912e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -2.9606e-15 | -7.4125 | 1.1373 | 2.9606e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.8122e-13 | -143.7605 | 136.2873 | 1.8912e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.3291e-15 | -3.9151 | 0.35982 | 2.3685e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.8205e-13 | -141.9705 | 132.2872 | 1.8912e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 1.7764e-15 | -3.7062 | 0.56866 | -2.3685e-15 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.8122e-13 | -143.7605 | 136.2873 | 1.8205e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.025 | 0.28752 | 0.2968 | 3.0245 | 0.28753 | 0.29588 | 34.9301 | 3.32 | 3.4271 | 34.9241 | 3.3201 | 3.4165 | 25.7791 | -0.52916 | -1.6496 | -10.3611 | 1.5714 | 1.5035 | 13.1315 | -3.2724 | -3.7286 | -5.2865 | 2.9942 | 4.8258 | -47.148 | -16.2321 | -133.8696 | 132.869 | 163.9746 | 46.0386 | 0.82825 | 0.99848 | 1.1897 | 0.33306 | 1.0185 | 1.4795 | -20.1543 | -115.4175 | 112.2656 | -20.0992 | -133.7169 | 118.7336
Line_1 | 2.0573 | 0.14409 | 0.14563 | 2.0583 | 0.14372 | 0.14805 | 23.7551 | 1.6638 | 1.6816 | 23.7673 | 1.6596 | 1.7095 | 6.8482e-11 | 1.1596 | 0.68994 | 7.0127 | -0.79308 | -0.76633 | -1.2005e-10 | 1.3795 | 2.7332 | 3.672 | -1.4927 | -2.4103 | 132.3286 | 165.2828 | 46.0208 | -47.737 | -15.7348 | -133.6287 | 0 | 1.0831 | 1.6764 | 0.33306 | 1.0185 | 1.4795 | 0 | -144.7666 | 121.8536 | -20.0992 | -133.7169 | 118.7336
Line_2 | 0.96568 | 0.14409 | 0.14572 | 0.96656 | 0.14381 | 0.14783 | 11.1507 | 1.6638 | 1.6826 | 11.1609 | 1.6606 | 1.707 | -1.7228 | 0.97855 | 0.69251 | 3.3484 | -0.77836 | -0.73719 | -0.82412 | 1.4482 | 2.5704 | 1.6144 | -1.5016 | -2.4155 | 134.2836 | 164.582 | 45.379 | -45.8406 | -16.3159 | -134.2946 | 0.17127 | 1.0505 | 1.5821 | 0.33306 | 1.0185 | 1.4795 | -20.1521 | -139.4649 | 120.3008 | -20.0992 | -133.7169 | 118.7336
Line_3 | 1.0921 | 0.0030463 | 0.0017516 | 1.0933 | 0.00030968 | 0.0025967 | 12.6101 | 0.035176 | 0.020226 | 12.6245 | 0.0035758 | 0.029984 | 3.8191e-11 | 0.030816 | 0.016019 | 1.8852 | -9.6626e-05 | -0.045234 | -6.2641e-11 | -0.022406 | -0.029883 | 1.0589 | 0.0037552 | -0.014291 | 130.6618 | -108.746 | -176.3407 | -49.4752 | 129.0612 | -77.2321 | 0 | 1.0831 | 1.6764 | 0.17127 | 1.0505 | 1.5821 | 0 | -144.7666 | 121.8536 | -20.1521 | -139.4649 | 120.3008

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.025 | 0.28752 | 0.2968 | 3.0245 | 0.28753 | 0.29588 | 34.9301 | 3.32 | 3.4271 | 34.9241 | 3.3201 | 3.4165 | 25.7791 | -0.52916 | -1.6496 | -10.3611 | 1.5714 | 1.5035 | 13.1315 | -3.2724 | -3.7286 | -5.2865 | 2.9942 | 4.8258 | -47.148 | -16.2321 | -133.8696 | 132.869 | 163.9746 | 46.0386 | 0.82825 | 0.99848 | 1.1897 | 0.33306 | 1.0185 | 1.4795 | -20.1543 | -115.4175 | 112.2656 | -20.0992 | -133.7169 | 118.7336
Line_1 | 2.0573 | 0.14409 | 0.14563 | 2.0583 | 0.14372 | 0.14805 | 23.7551 | 1.6638 | 1.6816 | 23.7673 | 1.6596 | 1.7095 | 6.8482e-11 | 1.1596 | 0.68994 | 7.0127 | -0.79308 | -0.76633 | -1.2005e-10 | 1.3795 | 2.7332 | 3.672 | -1.4927 | -2.4103 | 132.3286 | 165.2828 | 46.0208 | -47.737 | -15.7348 | -133.6287 | 0 | 1.0831 | 1.6764 | 0.33306 | 1.0185 | 1.4795 | 0 | -144.7666 | 121.8536 | -20.0992 | -133.7169 | 118.7336
Line_2 | 0.96568 | 0.14409 | 0.14572 | 0.96656 | 0.14381 | 0.14783 | 11.1507 | 1.6638 | 1.6826 | 11.1609 | 1.6606 | 1.707 | -1.7228 | 0.97855 | 0.69251 | 3.3484 | -0.77836 | -0.73719 | -0.82412 | 1.4482 | 2.5704 | 1.6144 | -1.5016 | -2.4155 | 134.2836 | 164.582 | 45.379 | -45.8406 | -16.3159 | -134.2946 | 0.17127 | 1.0505 | 1.5821 | 0.33306 | 1.0185 | 1.4795 | -20.1521 | -139.4649 | 120.3008 | -20.0992 | -133.7169 | 118.7336
Line_3 | 1.0921 | 0.0030463 | 0.0017516 | 1.0933 | 0.00030968 | 0.0025967 | 12.6101 | 0.035176 | 0.020226 | 12.6245 | 0.0035758 | 0.029984 | 3.8191e-11 | 0.030816 | 0.016019 | 1.8852 | -9.6626e-05 | -0.045234 | -6.2641e-11 | -0.022406 | -0.029883 | 1.0589 | 0.0037552 | -0.014291 | 130.6618 | -108.746 | -176.3407 | -49.4752 | 129.0612 | -77.2321 | 0 | 1.0831 | 1.6764 | 0.17127 | 1.0505 | 1.5821 | 0 | -144.7666 | 121.8536 | -20.1521 | -139.4649 | 120.3008

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97191 | 0.28834 | 0.2916 | 0.97175 | 0.28833 | 0.29126 | 11.2227 | 3.3295 | 3.3671 | 11.2208 | 3.3294 | 3.3632 | 9.6669 | -0.8232 | -1.233 | -7.8838 | 1.242 | 1.1871 | 6.2674 | -3.5552 | -3.7374 | -5.5415 | 3.4935 | 4.1649 | -38.789 | -15.1441 | -134.2341 | 141.2316 | 164.9323 | 45.7277 | 1.0266 | 1.096 | 1.1688 | 0.85881 | 1.1136 | 1.2877 | -5.8323 | -118.1811 | 117.5069 | -3.6653 | -124.6382 | 119.819
Line_1 | 0.68651 | 0.14426 | 0.14479 | 0.68685 | 0.14415 | 0.14567 | 7.9272 | 1.6657 | 1.6719 | 7.931 | 1.6646 | 1.6821 | -4.5597 | 0.77646 | 0.5791 | 5.406 | -0.63052 | -0.60577 | -3.7528 | 1.7149 | 2.207 | 4.1434 | -1.7431 | -2.0796 | 138.941 | 165.6258 | 45.9101 | -41.1339 | -14.7526 | -133.9405 | 0.74496 | 1.1301 | 1.3647 | 0.85881 | 1.1136 | 1.2877 | -1.6029 | -128.7341 | 121.2078 | -3.6653 | -124.6382 | 119.819
Line_2 | 0.28671 | 0.14426 | 0.14483 | 0.2869 | 0.14418 | 0.1456 | 3.3106 | 1.6657 | 1.6723 | 3.3128 | 1.6649 | 1.6812 | -2.3093 | 0.6946 | 0.56937 | 2.4779 | -0.61143 | -0.58133 | -1.3384 | 1.7416 | 2.1512 | 1.398 | -1.7503 | -2.0853 | 147.0666 | 164.9509 | 45.2578 | -33.0976 | -15.3827 | -134.6042 | 0.80623 | 1.1256 | 1.3306 | 0.85881 | 1.1136 | 1.2877 | -2.8386 | -126.7926 | 120.4326 | -3.6653 | -124.6382 | 119.819
Line_3 | 0.40451 | 0.0021761 | 0.0015312 | 0.40497 | 0.0011116 | 0.0019481 | 4.6709 | 0.025128 | 0.017681 | 4.6762 | 0.012836 | 0.022494 | -2.4544 | 0.026203 | 0.020384 | 2.71 | -0.013018 | -0.029931 | -2.4665 | -0.010946 | -0.012913 | 2.621 | 0.0062682 | -7.2003e-05 | 133.2553 | -106.0617 | 153.5616 | -46.8817 | 78.9174 | -59.7052 | 0.74496 | 1.1301 | 1.3647 | 0.80623 | 1.1256 | 1.3306 | -1.6029 | -128.7341 | 121.2078 | -2.8386 | -126.7926 | 120.4326

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97191 | 0.28834 | 0.2916 | 0.97175 | 0.28833 | 0.29126 | 11.2227 | 3.3295 | 3.3671 | 11.2208 | 3.3294 | 3.3632 | 9.6669 | -0.8232 | -1.233 | -7.8838 | 1.242 | 1.1871 | 6.2674 | -3.5552 | -3.7374 | -5.5415 | 3.4935 | 4.1649 | -38.789 | -15.1441 | -134.2341 | 141.2316 | 164.9323 | 45.7277 | 1.0266 | 1.096 | 1.1688 | 0.85881 | 1.1136 | 1.2877 | -5.8323 | -118.1811 | 117.5069 | -3.6653 | -124.6382 | 119.819
Line_1 | 0.68651 | 0.14426 | 0.14479 | 0.68685 | 0.14415 | 0.14567 | 7.9272 | 1.6657 | 1.6719 | 7.931 | 1.6646 | 1.6821 | -4.5597 | 0.77646 | 0.5791 | 5.406 | -0.63052 | -0.60577 | -3.7528 | 1.7149 | 2.207 | 4.1434 | -1.7431 | -2.0796 | 138.941 | 165.6258 | 45.9101 | -41.1339 | -14.7526 | -133.9405 | 0.74496 | 1.1301 | 1.3647 | 0.85881 | 1.1136 | 1.2877 | -1.6029 | -128.7341 | 121.2078 | -3.6653 | -124.6382 | 119.819
Line_2 | 0.28671 | 0.14426 | 0.14483 | 0.2869 | 0.14418 | 0.1456 | 3.3106 | 1.6657 | 1.6723 | 3.3128 | 1.6649 | 1.6812 | -2.3093 | 0.6946 | 0.56937 | 2.4779 | -0.61143 | -0.58133 | -1.3384 | 1.7416 | 2.1512 | 1.398 | -1.7503 | -2.0853 | 147.0666 | 164.9509 | 45.2578 | -33.0976 | -15.3827 | -134.6042 | 0.80623 | 1.1256 | 1.3306 | 0.85881 | 1.1136 | 1.2877 | -2.8386 | -126.7926 | 120.4326 | -3.6653 | -124.6382 | 119.819
Line_3 | 0.40451 | 0.0021761 | 0.0015312 | 0.40497 | 0.0011116 | 0.0019481 | 4.6709 | 0.025128 | 0.017681 | 4.6762 | 0.012836 | 0.022494 | -2.4544 | 0.026203 | 0.020384 | 2.71 | -0.013018 | -0.029931 | -2.4665 | -0.010946 | -0.012913 | 2.621 | 0.0062682 | -7.2003e-05 | 133.2553 | -106.0617 | 153.5616 | -46.8817 | 78.9174 | -59.7052 | 0.74496 | 1.1301 | 1.3647 | 0.80623 | 1.1256 | 1.3306 | -1.6029 | -128.7341 | 121.2078 | -2.8386 | -126.7926 | 120.4326

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9064 | 0.009021 | 0.009021 | 1.9061 | 0.0079999 | 0.0079999 | 22.0137 | 0.10417 | 0.10417 | 22.01 | 0.092374 | 0.092374 | 18.3831 | 0.091164 | -0.080777 | -7.3424 | -0.077464 | 0.074589 | 5.2779 | -0.018978 | -0.073635 | -2.1286 | 0.047365 | 0.097155 | -32.137 | -107.6345 | -107.6345 | 147.8922 | 71.8691 | 71.8691 | 0.86881 | 0.89395 | 1.0493 | 0.34733 | 0.98292 | 1.326 | -16.118 | -119.3942 | 114.7173 | -15.9409 | -139.5747 | 124.3542
Line_1 | 1.2698 | 0.0014431 | 0.0014431 | 1.2705 | 0.0041094 | 0.0041094 | 14.6625 | 0.016663 | 0.016663 | 14.6699 | 0.047451 | 0.047451 | -2.3443e-11 | -0.013625 | 0.01377 | 4.8951 | 0.039815 | -0.038267 | 6.7148e-12 | 0.012244 | 0.021327 | 1.4142 | -0.024292 | -0.049944 | 148.0625 | 71.6564 | 71.6564 | -32.0543 | -108.1867 | -108.1867 | 0 | 1.0993 | 1.5235 | 0.34733 | 0.98292 | 1.326 | 0 | -150.2873 | 128.8071 | -15.9409 | -139.5747 | 124.3542
Line_2 | 0.6351 | 0.0015526 | 0.0015526 | 0.63568 | 0.0038905 | 0.0038905 | 7.3335 | 0.017927 | 0.017927 | 7.3401 | 0.044923 | 0.044923 | -1.2212 | -0.014874 | 0.014576 | 2.4473 | 0.037648 | -0.036323 | -0.35807 | 0.011123 | 0.020964 | 0.71443 | -0.023073 | -0.04721 | 147.9895 | 71.5236 | 71.5236 | -32.2148 | -108.0719 | -108.0719 | 0.17353 | 1.036 | 1.4243 | 0.34733 | 0.98292 | 1.326 | -15.6684 | -145.266 | 126.712 | -15.9409 | -139.5747 | 124.3542
Line_3 | 0.6344 | 0.0014431 | 0.0014431 | 0.6351 | 0.0015526 | 0.0015526 | 7.3254 | 0.016663 | 0.016663 | 7.3335 | 0.017927 | 0.017927 | -1.1701e-11 | 0.013625 | -0.01377 | 1.2212 | 0.014874 | -0.014576 | 3.3936e-12 | -0.012244 | -0.021327 | 0.35807 | -0.011123 | -0.020964 | 148.2525 | -108.3436 | -108.3436 | -32.0105 | -108.4764 | -108.4764 | 0 | 1.0993 | 1.5235 | 0.17353 | 1.036 | 1.4243 | 0 | -150.2873 | 128.8071 | -15.6684 | -145.266 | 126.712

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9064 | 0.009021 | 0.009021 | 1.9061 | 0.0079999 | 0.0079999 | 22.0137 | 0.10417 | 0.10417 | 22.01 | 0.092374 | 0.092374 | 18.3831 | 0.091164 | -0.080777 | -7.3424 | -0.077464 | 0.074589 | 5.2779 | -0.018978 | -0.073635 | -2.1286 | 0.047365 | 0.097155 | -32.137 | -107.6345 | -107.6345 | 147.8922 | 71.8691 | 71.8691 | 0.86881 | 0.89395 | 1.0493 | 0.34733 | 0.98292 | 1.326 | -16.118 | -119.3942 | 114.7173 | -15.9409 | -139.5747 | 124.3542
Line_1 | 1.2698 | 0.0014431 | 0.0014431 | 1.2705 | 0.0041094 | 0.0041094 | 14.6625 | 0.016663 | 0.016663 | 14.6699 | 0.047451 | 0.047451 | -2.3443e-11 | -0.013625 | 0.01377 | 4.8951 | 0.039815 | -0.038267 | 6.7148e-12 | 0.012244 | 0.021327 | 1.4142 | -0.024292 | -0.049944 | 148.0625 | 71.6564 | 71.6564 | -32.0543 | -108.1867 | -108.1867 | 0 | 1.0993 | 1.5235 | 0.34733 | 0.98292 | 1.326 | 0 | -150.2873 | 128.8071 | -15.9409 | -139.5747 | 124.3542
Line_2 | 0.6351 | 0.0015526 | 0.0015526 | 0.63568 | 0.0038905 | 0.0038905 | 7.3335 | 0.017927 | 0.017927 | 7.3401 | 0.044923 | 0.044923 | -1.2212 | -0.014874 | 0.014576 | 2.4473 | 0.037648 | -0.036323 | -0.35807 | 0.011123 | 0.020964 | 0.71443 | -0.023073 | -0.04721 | 147.9895 | 71.5236 | 71.5236 | -32.2148 | -108.0719 | -108.0719 | 0.17353 | 1.036 | 1.4243 | 0.34733 | 0.98292 | 1.326 | -15.6684 | -145.266 | 126.712 | -15.9409 | -139.5747 | 124.3542
Line_3 | 0.6344 | 0.0014431 | 0.0014431 | 0.6351 | 0.0015526 | 0.0015526 | 7.3254 | 0.016663 | 0.016663 | 7.3335 | 0.017927 | 0.017927 | -1.1701e-11 | 0.013625 | -0.01377 | 1.2212 | 0.014874 | -0.014576 | 3.3936e-12 | -0.012244 | -0.021327 | 0.35807 | -0.011123 | -0.020964 | 148.2525 | -108.3436 | -108.3436 | -32.0105 | -108.4764 | -108.4764 | 0 | 1.0993 | 1.5235 | 0.17353 | 1.036 | 1.4243 | 0 | -150.2873 | 128.8071 | -15.6684 | -145.266 | 126.712

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88591 | 0.004192 | 0.004192 | 0.88576 | 0.0037174 | 0.0037174 | 10.2296 | 0.048405 | 0.048405 | 10.2278 | 0.042925 | 0.042925 | 7.8711 | 0.045912 | -0.030255 | -5.4884 | -0.039981 | 0.027292 | 5.0772 | -0.0037501 | -0.038787 | -4.3945 | 0.0097178 | 0.041373 | -39.2053 | -114.7028 | -114.7028 | 140.8239 | 64.8008 | 64.8008 | 0.91563 | 0.95167 | 1.0163 | 0.68743 | 0.95854 | 1.1547 | -6.3817 | -119.3723 | 117.3426 | -0.49235 | -128.8604 | 121.3898
Line_1 | 0.59007 | 0.00067058 | 0.00067058 | 0.59037 | 0.0019096 | 0.0019096 | 6.8135 | 0.0077432 | 0.0077432 | 6.8169 | 0.02205 | 0.02205 | -2.6078 | -0.0071365 | 0.0049775 | 3.6608 | 0.020543 | -0.013999 | -2.6135 | 0.0025362 | 0.0082914 | 2.9255 | -0.0049719 | -0.021266 | 140.9942 | 64.5881 | 64.5881 | -39.1226 | -115.255 | -115.255 | 0.54187 | 0.97812 | 1.2489 | 0.68743 | 0.95854 | 1.1547 | 6.0575 | -134.9766 | 123.6111 | -0.49235 | -128.8604 | 121.3898
Line_2 | 0.29512 | 0.00072146 | 0.00072146 | 0.29539 | 0.0018079 | 0.0018079 | 3.4078 | 0.0083306 | 0.0083306 | 3.4109 | 0.020875 | 0.020875 | -1.5663 | -0.0077242 | 0.0052944 | 1.8276 | 0.019439 | -0.013293 | -1.3861 | 0.0022757 | 0.0084977 | 1.4689 | -0.0047459 | -0.020107 | 140.9212 | 64.4553 | 64.4553 | -39.2831 | -115.1402 | -115.1402 | 0.61376 | 0.96661 | 1.2018 | 0.68743 | 0.95854 | 1.1547 | 2.4293 | -131.9604 | 122.5306 | -0.49235 | -128.8604 | 121.3898
Line_3 | 0.2948 | 0.00067058 | 0.00067058 | 0.29512 | 0.00072146 | 0.00072146 | 3.404 | 0.0077432 | 0.0077432 | 3.4078 | 0.0083306 | 0.0083306 | -1.3072 | 0.0071365 | -0.0049775 | 1.5663 | 0.0077242 | -0.0052944 | -1.3014 | -0.0025362 | -0.0082914 | 1.3861 | -0.0022757 | -0.0084977 | 141.1842 | -115.4119 | -115.4119 | -39.0788 | -115.5447 | -115.5447 | 0.54187 | 0.97812 | 1.2489 | 0.61376 | 0.96661 | 1.2018 | 6.0575 | -134.9766 | 123.6111 | 2.4293 | -131.9604 | 122.5306

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88591 | 0.004192 | 0.004192 | 0.88576 | 0.0037174 | 0.0037174 | 10.2296 | 0.048405 | 0.048405 | 10.2278 | 0.042925 | 0.042925 | 7.8711 | 0.045912 | -0.030255 | -5.4884 | -0.039981 | 0.027292 | 5.0772 | -0.0037501 | -0.038787 | -4.3945 | 0.0097178 | 0.041373 | -39.2053 | -114.7028 | -114.7028 | 140.8239 | 64.8008 | 64.8008 | 0.91563 | 0.95167 | 1.0163 | 0.68743 | 0.95854 | 1.1547 | -6.3817 | -119.3723 | 117.3426 | -0.49235 | -128.8604 | 121.3898
Line_1 | 0.59007 | 0.00067058 | 0.00067058 | 0.59037 | 0.0019096 | 0.0019096 | 6.8135 | 0.0077432 | 0.0077432 | 6.8169 | 0.02205 | 0.02205 | -2.6078 | -0.0071365 | 0.0049775 | 3.6608 | 0.020543 | -0.013999 | -2.6135 | 0.0025362 | 0.0082914 | 2.9255 | -0.0049719 | -0.021266 | 140.9942 | 64.5881 | 64.5881 | -39.1226 | -115.255 | -115.255 | 0.54187 | 0.97812 | 1.2489 | 0.68743 | 0.95854 | 1.1547 | 6.0575 | -134.9766 | 123.6111 | -0.49235 | -128.8604 | 121.3898
Line_2 | 0.29512 | 0.00072146 | 0.00072146 | 0.29539 | 0.0018079 | 0.0018079 | 3.4078 | 0.0083306 | 0.0083306 | 3.4109 | 0.020875 | 0.020875 | -1.5663 | -0.0077242 | 0.0052944 | 1.8276 | 0.019439 | -0.013293 | -1.3861 | 0.0022757 | 0.0084977 | 1.4689 | -0.0047459 | -0.020107 | 140.9212 | 64.4553 | 64.4553 | -39.2831 | -115.1402 | -115.1402 | 0.61376 | 0.96661 | 1.2018 | 0.68743 | 0.95854 | 1.1547 | 2.4293 | -131.9604 | 122.5306 | -0.49235 | -128.8604 | 121.3898
Line_3 | 0.2948 | 0.00067058 | 0.00067058 | 0.29512 | 0.00072146 | 0.00072146 | 3.404 | 0.0077432 | 0.0077432 | 3.4078 | 0.0083306 | 0.0083306 | -1.3072 | 0.0071365 | -0.0049775 | 1.5663 | 0.0077242 | -0.0052944 | -1.3014 | -0.0025362 | -0.0082914 | 1.3861 | -0.0022757 | -0.0084977 | 141.1842 | -115.4119 | -115.4119 | -39.0788 | -115.5447 | -115.5447 | 0.54187 | 0.97812 | 1.2489 | 0.61376 | 0.96661 | 1.2018 | 6.0575 | -134.9766 | 123.6111 | 2.4293 | -131.9604 | 122.5306

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29489 | 4.0865 | 2.5377 | 0.29412 | 4.0866 | 2.5372 | 3.4051 | 47.1865 | 29.3026 | 3.3962 | 47.1875 | 29.297 | -1.256 | 32.0348 | -1.1415 | 1.762 | -12.8928 | 0.43173 | -3.4508 | 8.8617 | 16.0918 | 4.1728 | -3.6075 | -6.4715 | 104.984 | -175.3563 | 35.9986 | -74.9716 | 4.6549 | -144.0158 | 1.0785 | 0.70439 | 0.55054 | 1.3337 | 0.28372 | 0.22138 | -5.016 | -159.8934 | 130.056 | -7.8634 | -159.7133 | 129.8009
Line_1 | 0.1453 | 2.7702 | 1.737 | 0.14713 | 2.7698 | 1.7384 | 1.6778 | 31.9878 | 20.0573 | 1.6989 | 31.9828 | 20.0735 | 1.0573 | 7.318e-11 | 5.2137e-11 | -0.89262 | 8.7245 | -0.2793 | 2.287 | -4.1788e-11 | -1.3946e-12 | -2.0826 | 2.4945 | 4.4351 | -74.3466 | 4.371 | -143.8495 | 105.3375 | -175.6693 | 36.1975 | 1.5017 | 0 | 0 | 1.3337 | 0.28372 | 0.22138 | -9.1588 | 0 | 0 | -7.8634 | -159.7133 | 129.8009
Line_2 | 0.14538 | 1.3173 | 0.79761 | 0.147 | 1.3169 | 0.79881 | 1.6787 | 15.211 | 9.21 | 1.6974 | 15.2064 | 9.2239 | 0.95625 | -2.151 | 0.054726 | -0.86933 | 4.1683 | -0.15243 | 2.1879 | -0.5939 | -1.0518 | -2.0902 | 1.113 | 2.0363 | -75.0164 | 5.4112 | -144.5719 | 104.7191 | -174.6632 | 35.52 | 1.4224 | 0.1467 | 0.11436 | 1.3337 | 0.28372 | 0.22138 | -8.6246 | -159.1535 | 128.4065 | -7.8634 | -159.7133 | 129.8009
Line_3 | 0.002322 | 1.4535 | 0.93882 | 0.0015846 | 1.4531 | 0.94041 | 0.026813 | 16.784 | 10.8405 | 0.018297 | 16.7785 | 10.859 | 0.026019 | 3.8739e-11 | 2.817e-11 | -0.024804 | 2.3479 | -0.034459 | -0.030729 | -2.1317e-11 | -1.0342e-12 | -0.0078813 | 0.73877 | 1.2413 | 40.5856 | 3.4667 | -143.2792 | 153.7479 | -176.6196 | 36.8164 | 1.5017 | 0 | 0 | 1.4224 | 0.1467 | 0.11436 | -9.1588 | 0 | 0 | -8.6246 | -159.1535 | 128.4065

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29489 | 4.0865 | 2.5377 | 0.29412 | 4.0866 | 2.5372 | 3.4051 | 47.1865 | 29.3026 | 3.3962 | 47.1875 | 29.297 | -1.256 | 32.0348 | -1.1415 | 1.762 | -12.8928 | 0.43173 | -3.4508 | 8.8617 | 16.0918 | 4.1728 | -3.6075 | -6.4715 | 104.984 | -175.3563 | 35.9986 | -74.9716 | 4.6549 | -144.0158 | 1.0785 | 0.70439 | 0.55054 | 1.3337 | 0.28372 | 0.22138 | -5.016 | -159.8934 | 130.056 | -7.8634 | -159.7133 | 129.8009
Line_1 | 0.1453 | 2.7702 | 1.737 | 0.14713 | 2.7698 | 1.7384 | 1.6778 | 31.9878 | 20.0573 | 1.6989 | 31.9828 | 20.0735 | 1.0573 | 7.318e-11 | 5.2137e-11 | -0.89262 | 8.7245 | -0.2793 | 2.287 | -4.1788e-11 | -1.3946e-12 | -2.0826 | 2.4945 | 4.4351 | -74.3466 | 4.371 | -143.8495 | 105.3375 | -175.6693 | 36.1975 | 1.5017 | 0 | 0 | 1.3337 | 0.28372 | 0.22138 | -9.1588 | 0 | 0 | -7.8634 | -159.7133 | 129.8009
Line_2 | 0.14538 | 1.3173 | 0.79761 | 0.147 | 1.3169 | 0.79881 | 1.6787 | 15.211 | 9.21 | 1.6974 | 15.2064 | 9.2239 | 0.95625 | -2.151 | 0.054726 | -0.86933 | 4.1683 | -0.15243 | 2.1879 | -0.5939 | -1.0518 | -2.0902 | 1.113 | 2.0363 | -75.0164 | 5.4112 | -144.5719 | 104.7191 | -174.6632 | 35.52 | 1.4224 | 0.1467 | 0.11436 | 1.3337 | 0.28372 | 0.22138 | -8.6246 | -159.1535 | 128.4065 | -7.8634 | -159.7133 | 129.8009
Line_3 | 0.002322 | 1.4535 | 0.93882 | 0.0015846 | 1.4531 | 0.94041 | 0.026813 | 16.784 | 10.8405 | 0.018297 | 16.7785 | 10.859 | 0.026019 | 3.8739e-11 | 2.817e-11 | -0.024804 | 2.3479 | -0.034459 | -0.030729 | -2.1317e-11 | -1.0342e-12 | -0.0078813 | 0.73877 | 1.2413 | 40.5856 | 3.4667 | -143.2792 | 153.7479 | -176.6196 | 36.8164 | 1.5017 | 0 | 0 | 1.4224 | 0.1467 | 0.11436 | -9.1588 | 0 | 0 | -8.6246 | -159.1535 | 128.4065

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29121 | 1.147 | 0.88869 | 0.29089 | 1.1472 | 0.88835 | 3.3626 | 13.2444 | 10.2617 | 3.3589 | 13.2462 | 10.2578 | -1.081 | 11.6953 | 6.4731 | 1.3548 | -10.0316 | -5.9786 | -3.5948 | 6.6978 | 7.1787 | 3.9089 | -6.9062 | -5.6354 | 105.2173 | -160.143 | 69.063 | -74.756 | 19.8724 | -110.9422 | 1.1163 | 1.0176 | 0.94197 | 1.2317 | 0.91943 | 0.80094 | -1.5196 | -130.3435 | 117.0218 | -3.8728 | -125.5824 | 112.3651
Line_1 | 0.14472 | 0.80517 | 0.63506 | 0.14547 | 0.8047 | 0.63592 | 1.6711 | 9.2973 | 7.333 | 1.6798 | 9.2919 | 7.3429 | 0.77803 | -6.0629 | -3.9137 | -0.68844 | 6.8672 | 4.1505 | 2.0398 | -5.1405 | -3.4112 | -1.951 | 5.0823 | 4.1669 | -74.2647 | 17.9652 | -112.7589 | 105.5635 | -162.0869 | 67.2523 | 1.3064 | 0.85496 | 0.70799 | 1.2317 | 0.91943 | 0.80094 | -5.143 | -121.7414 | 108.3167 | -3.8728 | -125.5824 | 112.3651
Line_2 | 0.14475 | 0.3445 | 0.25278 | 0.14542 | 0.34403 | 0.25354 | 1.6715 | 3.978 | 2.9188 | 1.6792 | 3.9725 | 2.9276 | 0.71711 | -3.0203 | -1.7735 | -0.66641 | 3.1644 | 1.8281 | 2.0042 | -1.8574 | -1.3255 | -1.9579 | 1.8239 | 1.4685 | -74.9301 | 24.5591 | -106.4174 | 104.9243 | -155.5404 | 73.5902 | 1.2735 | 0.89133 | 0.75854 | 1.2317 | 0.91943 | 0.80094 | -4.6173 | -123.8496 | 110.3576 | -3.8728 | -125.5824 | 112.3651
Line_3 | 0.0019404 | 0.46483 | 0.38442 | 0.0014707 | 0.46437 | 0.38537 | 0.022406 | 5.3674 | 4.4389 | 0.016983 | 5.3621 | 4.4498 | 0.024639 | -3.2375 | -2.2125 | -0.021598 | 3.4882 | 2.2908 | -0.015802 | -3.2522 | -2.2319 | 0.0011269 | 3.2674 | 2.4791 | 27.5302 | 13.1283 | -116.9334 | 178.3695 | -166.9774 | 63.0966 | 1.3064 | 0.85496 | 0.70799 | 1.2735 | 0.89133 | 0.75854 | -5.143 | -121.7414 | 108.3167 | -4.6173 | -123.8496 | 110.3576

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29121 | 1.147 | 0.88869 | 0.29089 | 1.1472 | 0.88835 | 3.3626 | 13.2444 | 10.2617 | 3.3589 | 13.2462 | 10.2578 | -1.081 | 11.6953 | 6.4731 | 1.3548 | -10.0316 | -5.9786 | -3.5948 | 6.6978 | 7.1787 | 3.9089 | -6.9062 | -5.6354 | 105.2173 | -160.143 | 69.063 | -74.756 | 19.8724 | -110.9422 | 1.1163 | 1.0176 | 0.94197 | 1.2317 | 0.91943 | 0.80094 | -1.5196 | -130.3435 | 117.0218 | -3.8728 | -125.5824 | 112.3651
Line_1 | 0.14472 | 0.80517 | 0.63506 | 0.14547 | 0.8047 | 0.63592 | 1.6711 | 9.2973 | 7.333 | 1.6798 | 9.2919 | 7.3429 | 0.77803 | -6.0629 | -3.9137 | -0.68844 | 6.8672 | 4.1505 | 2.0398 | -5.1405 | -3.4112 | -1.951 | 5.0823 | 4.1669 | -74.2647 | 17.9652 | -112.7589 | 105.5635 | -162.0869 | 67.2523 | 1.3064 | 0.85496 | 0.70799 | 1.2317 | 0.91943 | 0.80094 | -5.143 | -121.7414 | 108.3167 | -3.8728 | -125.5824 | 112.3651
Line_2 | 0.14475 | 0.3445 | 0.25278 | 0.14542 | 0.34403 | 0.25354 | 1.6715 | 3.978 | 2.9188 | 1.6792 | 3.9725 | 2.9276 | 0.71711 | -3.0203 | -1.7735 | -0.66641 | 3.1644 | 1.8281 | 2.0042 | -1.8574 | -1.3255 | -1.9579 | 1.8239 | 1.4685 | -74.9301 | 24.5591 | -106.4174 | 104.9243 | -155.5404 | 73.5902 | 1.2735 | 0.89133 | 0.75854 | 1.2317 | 0.91943 | 0.80094 | -4.6173 | -123.8496 | 110.3576 | -3.8728 | -125.5824 | 112.3651
Line_3 | 0.0019404 | 0.46483 | 0.38442 | 0.0014707 | 0.46437 | 0.38537 | 0.022406 | 5.3674 | 4.4389 | 0.016983 | 5.3621 | 4.4498 | 0.024639 | -3.2375 | -2.2125 | -0.021598 | 3.4882 | 2.2908 | -0.015802 | -3.2522 | -2.2319 | 0.0011269 | 3.2674 | 2.4791 | 27.5302 | 13.1283 | -116.9334 | 178.3695 | -166.9774 | 63.0966 | 1.3064 | 0.85496 | 0.70799 | 1.2735 | 0.89133 | 0.75854 | -5.143 | -121.7414 | 108.3167 | -4.6173 | -123.8496 | 110.3576

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060552 | 3.0748 | 2.2247 | 0.0053698 | 3.075 | 2.2243 | 0.069919 | 35.5046 | 25.6891 | 0.062005 | 35.5073 | 25.6838 | 0.0015502 | 27.3351 | 2.1935 | -0.00031032 | -10.9406 | -0.86575 | -0.068134 | 2.4338 | 12.524 | 0.074481 | -0.99672 | -4.993 | 84.8147 | -161.2201 | 39.8988 | -95.6818 | 18.7919 | -140.1145 | 0.97471 | 0.77295 | 0.49494 | 1.2012 | 0.3094 | 0.1973 | -3.8819 | -156.1321 | 119.9643 | -5.443 | -156.0026 | 120.0487
Line_1 | 0.00096864 | 2.0511 | 1.481 | 0.0027584 | 2.0504 | 1.4823 | 0.011185 | 23.684 | 17.1011 | 0.031851 | 23.6754 | 17.1158 | 6.549e-05 | -1.0598e-10 | -1.6108e-11 | 0.00019669 | 7.2952 | 0.57564 | 0.015125 | -9.6729e-11 | -1.0235e-10 | -0.038259 | 0.66193 | 3.3276 | -95.8944 | 18.8583 | -140.1853 | 84.2624 | -161.1872 | 39.8632 | 1.3523 | 0 | 0 | 1.2012 | 0.3094 | 0.1973 | -6.1425 | 0 | 0 | -5.443 | -156.0026 | 120.0487
Line_2 | 0.0010421 | 1.0253 | 0.7409 | 0.0026114 | 1.0247 | 0.74201 | 0.012033 | 11.8393 | 8.5552 | 0.030154 | 11.8319 | 8.568 | -5.0707e-05 | -1.8256 | -0.14092 | 0.00011363 | 3.6454 | 0.29011 | 0.015365 | -0.17144 | -0.82769 | -0.036221 | 0.3348 | 1.6654 | -96.0272 | 18.8301 | -140.1553 | 84.3772 | -161.25 | 39.9301 | 1.2769 | 0.15487 | 0.09814 | 1.2012 | 0.3094 | 0.1973 | -5.8381 | -155.8051 | 120.1825 | -5.443 | -156.0026 | 120.0487
Line_3 | 0.00096864 | 1.0262 | 0.73946 | 0.0010421 | 1.0253 | 0.7409 | 0.011185 | 11.849 | 8.5385 | 0.012033 | 11.8393 | 8.5552 | -6.5492e-05 | -5.3084e-11 | -7.9728e-12 | 5.0706e-05 | 1.8256 | 0.14092 | -0.015125 | -4.8325e-11 | -5.1116e-11 | -0.015365 | 0.17144 | 0.82769 | 84.1056 | 18.932 | -140.2639 | 83.9728 | -161.1699 | 39.8447 | 1.3523 | 0 | 0 | 1.2769 | 0.15487 | 0.09814 | -6.1425 | 0 | 0 | -5.8381 | -155.8051 | 120.1825

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060552 | 3.0748 | 2.2247 | 0.0053698 | 3.075 | 2.2243 | 0.069919 | 35.5046 | 25.6891 | 0.062005 | 35.5073 | 25.6838 | 0.0015502 | 27.3351 | 2.1935 | -0.00031032 | -10.9406 | -0.86575 | -0.068134 | 2.4338 | 12.524 | 0.074481 | -0.99672 | -4.993 | 84.8147 | -161.2201 | 39.8988 | -95.6818 | 18.7919 | -140.1145 | 0.97471 | 0.77295 | 0.49494 | 1.2012 | 0.3094 | 0.1973 | -3.8819 | -156.1321 | 119.9643 | -5.443 | -156.0026 | 120.0487
Line_1 | 0.00096864 | 2.0511 | 1.481 | 0.0027584 | 2.0504 | 1.4823 | 0.011185 | 23.684 | 17.1011 | 0.031851 | 23.6754 | 17.1158 | 6.549e-05 | -1.0598e-10 | -1.6108e-11 | 0.00019669 | 7.2952 | 0.57564 | 0.015125 | -9.6729e-11 | -1.0235e-10 | -0.038259 | 0.66193 | 3.3276 | -95.8944 | 18.8583 | -140.1853 | 84.2624 | -161.1872 | 39.8632 | 1.3523 | 0 | 0 | 1.2012 | 0.3094 | 0.1973 | -6.1425 | 0 | 0 | -5.443 | -156.0026 | 120.0487
Line_2 | 0.0010421 | 1.0253 | 0.7409 | 0.0026114 | 1.0247 | 0.74201 | 0.012033 | 11.8393 | 8.5552 | 0.030154 | 11.8319 | 8.568 | -5.0707e-05 | -1.8256 | -0.14092 | 0.00011363 | 3.6454 | 0.29011 | 0.015365 | -0.17144 | -0.82769 | -0.036221 | 0.3348 | 1.6654 | -96.0272 | 18.8301 | -140.1553 | 84.3772 | -161.25 | 39.9301 | 1.2769 | 0.15487 | 0.09814 | 1.2012 | 0.3094 | 0.1973 | -5.8381 | -155.8051 | 120.1825 | -5.443 | -156.0026 | 120.0487
Line_3 | 0.00096864 | 1.0262 | 0.73946 | 0.0010421 | 1.0253 | 0.7409 | 0.011185 | 11.849 | 8.5385 | 0.012033 | 11.8393 | 8.5552 | -6.5492e-05 | -5.3084e-11 | -7.9728e-12 | 5.0706e-05 | 1.8256 | 0.14092 | -0.015125 | -4.8325e-11 | -5.1116e-11 | -0.015365 | 0.17144 | 0.82769 | 84.1056 | 18.932 | -140.2639 | 83.9728 | -161.1699 | 39.8447 | 1.3523 | 0 | 0 | 1.2769 | 0.15487 | 0.09814 | -6.1425 | 0 | 0 | -5.8381 | -155.8051 | 120.1825

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034817 | 1.1076 | 0.87246 | 0.0030876 | 1.1078 | 0.87207 | 0.040203 | 12.789 | 10.0743 | 0.035652 | 12.7915 | 10.0698 | 0.0097663 | 10.1889 | 4.881 | -0.0084281 | -7.7589 | -4.2224 | -0.038074 | 5.4371 | 6.7286 | 0.038341 | -5.8748 | -4.9609 | 73.6118 | -159.3111 | 62.2897 | -106.8846 | 20.706 | -117.7171 | 0.9777 | 0.90304 | 0.82512 | 1.1011 | 0.76083 | 0.64694 | -2.0014 | -131.2253 | 116.3321 | -4.487 | -122.1622 | 111.8803
Line_1 | 0.00055695 | 0.73943 | 0.57991 | 0.001586 | 0.7388 | 0.58092 | 0.0064312 | 8.5382 | 6.6962 | 0.018314 | 8.531 | 6.7079 | -0.0014893 | -4.1001 | -2.5203 | 0.0043486 | 5.1766 | 2.8122 | 0.0074692 | -4.105 | -2.5194 | -0.019691 | 3.9154 | 3.3051 | -107.0973 | 20.7983 | -117.7452 | 73.0595 | -159.2649 | 62.274 | 1.1843 | 0.67953 | 0.53218 | 1.1011 | 0.76083 | 0.64694 | -5.8207 | -114.1677 | 107.2446 | -4.487 | -122.1622 | 111.8803
Line_2 | 0.00059921 | 0.36952 | 0.29027 | 0.0015015 | 0.36897 | 0.29116 | 0.0069191 | 4.2668 | 3.3517 | 0.017338 | 4.2605 | 3.362 | -0.0016485 | -2.3194 | -1.3324 | 0.0040795 | 2.5823 | 1.4102 | 0.007732 | -2.0063 | -1.4558 | -0.01865 | 1.9594 | 1.6558 | -107.2301 | 20.7592 | -117.7338 | 73.1743 | -159.3523 | 62.3006 | 1.1426 | 0.71873 | 0.58879 | 1.1011 | 0.76083 | 0.64694 | -5.1943 | -118.3808 | 109.8015 | -4.487 | -122.1622 | 111.8803
Line_3 | 0.00055695 | 0.37023 | 0.28913 | 0.00059921 | 0.36952 | 0.29027 | 0.0064312 | 4.275 | 3.3386 | 0.0069191 | 4.2668 | 3.3517 | 0.0014893 | -2.0566 | -1.2559 | 0.0016485 | 2.3194 | 1.3324 | -0.0074692 | -2.0517 | -1.2568 | -0.007732 | 2.0063 | 1.4558 | 72.9027 | 20.9003 | -117.7758 | 72.7699 | -159.2408 | 62.2662 | 1.1843 | 0.67953 | 0.53218 | 1.1426 | 0.71873 | 0.58879 | -5.8207 | -114.1677 | 107.2446 | -5.1943 | -118.3808 | 109.8015

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034817 | 1.1076 | 0.87246 | 0.0030876 | 1.1078 | 0.87207 | 0.040203 | 12.789 | 10.0743 | 0.035652 | 12.7915 | 10.0698 | 0.0097663 | 10.1889 | 4.881 | -0.0084281 | -7.7589 | -4.2224 | -0.038074 | 5.4371 | 6.7286 | 0.038341 | -5.8748 | -4.9609 | 73.6118 | -159.3111 | 62.2897 | -106.8846 | 20.706 | -117.7171 | 0.9777 | 0.90304 | 0.82512 | 1.1011 | 0.76083 | 0.64694 | -2.0014 | -131.2253 | 116.3321 | -4.487 | -122.1622 | 111.8803
Line_1 | 0.00055695 | 0.73943 | 0.57991 | 0.001586 | 0.7388 | 0.58092 | 0.0064312 | 8.5382 | 6.6962 | 0.018314 | 8.531 | 6.7079 | -0.0014893 | -4.1001 | -2.5203 | 0.0043486 | 5.1766 | 2.8122 | 0.0074692 | -4.105 | -2.5194 | -0.019691 | 3.9154 | 3.3051 | -107.0973 | 20.7983 | -117.7452 | 73.0595 | -159.2649 | 62.274 | 1.1843 | 0.67953 | 0.53218 | 1.1011 | 0.76083 | 0.64694 | -5.8207 | -114.1677 | 107.2446 | -4.487 | -122.1622 | 111.8803
Line_2 | 0.00059921 | 0.36952 | 0.29027 | 0.0015015 | 0.36897 | 0.29116 | 0.0069191 | 4.2668 | 3.3517 | 0.017338 | 4.2605 | 3.362 | -0.0016485 | -2.3194 | -1.3324 | 0.0040795 | 2.5823 | 1.4102 | 0.007732 | -2.0063 | -1.4558 | -0.01865 | 1.9594 | 1.6558 | -107.2301 | 20.7592 | -117.7338 | 73.1743 | -159.3523 | 62.3006 | 1.1426 | 0.71873 | 0.58879 | 1.1011 | 0.76083 | 0.64694 | -5.1943 | -118.3808 | 109.8015 | -4.487 | -122.1622 | 111.8803
Line_3 | 0.00055695 | 0.37023 | 0.28913 | 0.00059921 | 0.36952 | 0.29027 | 0.0064312 | 4.275 | 3.3386 | 0.0069191 | 4.2668 | 3.3517 | 0.0014893 | -2.0566 | -1.2559 | 0.0016485 | 2.3194 | 1.3324 | -0.0074692 | -2.0517 | -1.2568 | -0.007732 | 2.0063 | 1.4558 | 72.9027 | 20.9003 | -117.7758 | 72.7699 | -159.2408 | 62.2662 | 1.1843 | 0.67953 | 0.53218 | 1.1426 | 0.71873 | 0.58879 | -5.8207 | -114.1677 | 107.2446 | -5.1943 | -118.3808 | 109.8015