## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -29.1714 | -29.1714

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -29.1714 | -29.1714

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.5412 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.878 | 0.878 | -9.7884 | -9.7884

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.5412 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.878 | 0.878 | -9.7884 | -9.7884

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7238e-17 | 8.7639e-15 | 1.1175e-16 | -2.2724e-14 | -5.7567e-15 | -1.1156e-14 | 5.6809e-15 | -1.7098e-14 | 5.6337e-15 | 1.0895e-16 | 2.8068e-15 | 5.8572e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.60464 | 0.59477 | 1.1993 | 0.60464 | 0.59477 | -0.27472 | -179.4271 | 178.8636 | -0.27472 | -179.4271 | 178.8636

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7238e-17 | 8.7639e-15 | 1.1175e-16 | -2.2724e-14 | -5.7567e-15 | -1.1156e-14 | 5.6809e-15 | -1.7098e-14 | 5.6337e-15 | 1.0895e-16 | 2.8068e-15 | 5.8572e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.60464 | 0.59477 | 1.1993 | 0.60464 | 0.59477 | -0.27472 | -179.4271 | 178.8636 | -0.27472 | -179.4271 | 178.8636

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.5349e-15 | -4.4872e-15 | -1.0286e-14 | 1.3619e-17 | 9.8502e-15 | 3.348e-15 | -2.7996e-15 | 2.2256e-15 | -3.5898e-15 | 2.8404e-15 | 1.8237e-15 | 6.9378e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.94576 | 0.72728 | 1.1993 | 0.94576 | 0.72728 | -0.27471 | -142.9457 | 127.6744 | -0.27471 | -142.9457 | 127.6744

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.5349e-15 | -4.4872e-15 | -1.0286e-14 | 1.3619e-17 | 9.8502e-15 | 3.348e-15 | -2.7996e-15 | 2.2256e-15 | -3.5898e-15 | 2.8404e-15 | 1.8237e-15 | 6.9378e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.94576 | 0.72728 | 1.1993 | 0.94576 | 0.72728 | -0.27471 | -142.9457 | 127.6744 | -0.27471 | -142.9457 | 127.6744

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.4211e-14 | 26.5997 | -7.1734 | -1.6579e-14 | -16.8865 | 16.8865 | -3.3159e-14 | -0.51586 | 11.9957 | 3.3159e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2236e-13 | -160.7833 | 141.207 | 4.8148e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5526e-15 | 2.3686e-15 | 7.9613e-29 | 9.4739e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -8.2896e-15 | -7.1053e-15 | 9.4739e-15 | 1.4211e-14 | 7.1054e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7051e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 5.9212e-15 | 0 | -1.1842e-14 | 1.1842e-15 | 4.737e-15 | -9.4739e-15 | 2.3685e-15 | 0 | 4.737e-15 | 6.698e-26 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.7051e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.4211e-14 | 26.5997 | -7.1734 | -1.6579e-14 | -16.8865 | 16.8865 | -3.3159e-14 | -0.51586 | 11.9957 | 3.3159e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2236e-13 | -160.7833 | 141.207 | 4.8148e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5526e-15 | 2.3686e-15 | 7.9613e-29 | 9.4739e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -8.2896e-15 | -7.1053e-15 | 9.4739e-15 | 1.4211e-14 | 7.1054e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7051e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 5.9212e-15 | 0 | -1.1842e-14 | 1.1842e-15 | 4.737e-15 | -9.4739e-15 | 2.3685e-15 | 0 | 4.737e-15 | 6.698e-26 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.7051e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 3.5527e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -1.6579e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3601e-13 | -138.1765 | 119.7467 | 2.1552e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5327e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.7979e-10 | -8.2616e-10 | -1.5112e-29 | -1.0532e-09 | 4.5326e-10 | 2.0045e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.089e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 7.4803e-15 | 6.7037e-15 | 1.1842e-15 | -1.056e-15 | 1.2056e-15 | 7.1054e-15 | -3.2062e-15 | 9.8403e-15 | -4.737e-15 | -8.0857e-16 | -5.6943e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.089e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 3.5527e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -1.6579e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3601e-13 | -138.1765 | 119.7467 | 2.1552e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5327e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.7979e-10 | -8.2616e-10 | -1.5112e-29 | -1.0532e-09 | 4.5326e-10 | 2.0045e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.089e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 7.4803e-15 | 6.7037e-15 | 1.1842e-15 | -1.056e-15 | 1.2056e-15 | 7.1054e-15 | -3.2062e-15 | 9.8403e-15 | -4.737e-15 | -8.0857e-16 | -5.6943e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.089e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1671 | 0.34468 | 0.35538 | 4.1664 | 0.34481 | 0.35408 | 48.1178 | 3.98 | 4.1036 | 48.1093 | 3.9815 | 4.0886 | 29.038 | -0.19174 | -1.9617 | 2.7402e-10 | 1.8382 | 1.8502 | 15.0908 | -3.8634 | -4.464 | -3.5146e-10 | 3.2695 | 6.2666 | -55.6582 | -19.3222 | -137.2914 | 124.3585 | 160.9123 | 42.6196 | 0.68011 | 0.9719 | 1.1882 | 0 | 0.94207 | 1.5981 | -28.1976 | -112.1634 | 108.9856 | 0 | -138.434 | 116.1703
Line_1 | 0.17221 | 0.17293 | 0.17448 | 0.17024 | 0.1724 | 0.17704 | 1.9885 | 1.9968 | 2.0147 | 1.9658 | 1.9907 | 2.0443 | 0.013884 | 0.96255 | 0.91468 | 1.5637e-11 | -0.91912 | -0.92512 | 0.018169 | 1.6414 | 3.1112 | -9.3319e-12 | -1.6347 | -3.1333 | -77.48 | 161.7854 | 42.3551 | 103.1291 | -19.0877 | -137.3804 | 0.011499 | 0.95295 | 1.6096 | 0 | 0.94207 | 1.5981 | -24.8657 | -138.602 | 115.972 | 0 | -138.434 | 116.1703
Line_2 | 0.17221 | 0.17293 | 0.17448 | 0.17024 | 0.1724 | 0.17704 | 1.9885 | 1.9968 | 2.0147 | 1.9658 | 1.9907 | 2.0443 | 0.013884 | 0.96255 | 0.91468 | 1.5637e-11 | -0.91912 | -0.92512 | 0.018169 | 1.6414 | 3.1112 | -9.3319e-12 | -1.6347 | -3.1333 | -77.48 | 161.7854 | 42.3551 | 103.1291 | -19.0877 | -137.3804 | 0.011499 | 0.95295 | 1.6096 | 0 | 0.94207 | 1.5981 | -24.8657 | -138.602 | 115.972 | 0 | -138.434 | 116.1703
Line_3 | 0.0013418 | 0.0013418 | 0.0013418 | 0.0013418 | 0.0013418 | 0.0013418 | 0.015494 | 0.015494 | 0.015494 | 0.015494 | 0.015494 | 0.015494 | -1.5789e-05 | 0.01399 | -0.013974 | -1.5789e-05 | 0.01399 | -0.013974 | 0.00017747 | -0.0047222 | -0.020656 | 0.00017747 | -0.0047222 | -0.020656 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | 0.011499 | 0.95295 | 1.6096 | 0.011499 | 0.95295 | 1.6096 | -24.8657 | -138.602 | 115.972 | -24.8657 | -138.602 | 115.972

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1671 | 0.34468 | 0.35538 | 4.1664 | 0.34481 | 0.35408 | 48.1178 | 3.98 | 4.1036 | 48.1093 | 3.9815 | 4.0886 | 29.038 | -0.19174 | -1.9617 | 2.7402e-10 | 1.8382 | 1.8502 | 15.0908 | -3.8634 | -4.464 | -3.5146e-10 | 3.2695 | 6.2666 | -55.6582 | -19.3222 | -137.2914 | 124.3585 | 160.9123 | 42.6196 | 0.68011 | 0.9719 | 1.1882 | 0 | 0.94207 | 1.5981 | -28.1976 | -112.1634 | 108.9856 | 0 | -138.434 | 116.1703
Line_1 | 0.17221 | 0.17293 | 0.17448 | 0.17024 | 0.1724 | 0.17704 | 1.9885 | 1.9968 | 2.0147 | 1.9658 | 1.9907 | 2.0443 | 0.013884 | 0.96255 | 0.91468 | 1.5637e-11 | -0.91912 | -0.92512 | 0.018169 | 1.6414 | 3.1112 | -9.3319e-12 | -1.6347 | -3.1333 | -77.48 | 161.7854 | 42.3551 | 103.1291 | -19.0877 | -137.3804 | 0.011499 | 0.95295 | 1.6096 | 0 | 0.94207 | 1.5981 | -24.8657 | -138.602 | 115.972 | 0 | -138.434 | 116.1703
Line_2 | 0.17221 | 0.17293 | 0.17448 | 0.17024 | 0.1724 | 0.17704 | 1.9885 | 1.9968 | 2.0147 | 1.9658 | 1.9907 | 2.0443 | 0.013884 | 0.96255 | 0.91468 | 1.5637e-11 | -0.91912 | -0.92512 | 0.018169 | 1.6414 | 3.1112 | -9.3319e-12 | -1.6347 | -3.1333 | -77.48 | 161.7854 | 42.3551 | 103.1291 | -19.0877 | -137.3804 | 0.011499 | 0.95295 | 1.6096 | 0 | 0.94207 | 1.5981 | -24.8657 | -138.602 | 115.972 | 0 | -138.434 | 116.1703
Line_3 | 0.0013418 | 0.0013418 | 0.0013418 | 0.0013418 | 0.0013418 | 0.0013418 | 0.015494 | 0.015494 | 0.015494 | 0.015494 | 0.015494 | 0.015494 | -1.5789e-05 | 0.01399 | -0.013974 | -1.5789e-05 | 0.01399 | -0.013974 | 0.00017747 | -0.0047222 | -0.020656 | 0.00017747 | -0.0047222 | -0.020656 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | 0.011499 | 0.95295 | 1.6096 | 0.011499 | 0.95295 | 1.6096 | -24.8657 | -138.602 | 115.972 | -24.8657 | -138.602 | 115.972

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0731 | 0.34628 | 0.34897 | 1.0729 | 0.34627 | 0.3486 | 12.3913 | 3.9985 | 4.0295 | 12.3893 | 3.9983 | 4.0253 | 10.5457 | -0.74535 | -1.2595 | -8.3481 | 1.3139 | 1.1911 | 6.9435 | -4.3424 | -4.5851 | -6.0841 | 4.2747 | 5.16 | -39.7882 | -18.2545 | -137.5642 | 140.2328 | 161.8166 | 42.3987 | 1.019 | 1.1019 | 1.18 | 0.83378 | 1.1185 | 1.3156 | -6.4264 | -117.9941 | 117.0762 | -3.6828 | -125.2695 | 119.4002
Line_1 | 0.17287 | 0.17318 | 0.17357 | 0.17219 | 0.17313 | 0.1743 | 1.9961 | 1.9997 | 2.0042 | 1.9883 | 1.9992 | 2.0126 | 0.47317 | 0.68291 | 0.60377 | -0.4605 | -0.65697 | -0.59557 | 1.6178 | 2.152 | 2.5886 | -1.5925 | -2.1373 | -2.58 | -77.705 | 162.0856 | 42.2799 | 102.4452 | -18.1834 | -137.6013 | 0.84442 | 1.1291 | 1.3262 | 0.83378 | 1.1185 | 1.3156 | -4.0083 | -125.5203 | 119.1506 | -3.6828 | -125.2695 | 119.4002
Line_2 | 0.17287 | 0.17318 | 0.17357 | 0.17219 | 0.17313 | 0.1743 | 1.9961 | 1.9997 | 2.0042 | 1.9883 | 1.9992 | 2.0126 | 0.47317 | 0.68291 | 0.60377 | -0.4605 | -0.65697 | -0.59557 | 1.6178 | 2.152 | 2.5886 | -1.5925 | -2.1373 | -2.58 | -77.705 | 162.0856 | 42.2799 | 102.4452 | -18.1834 | -137.6013 | 0.84442 | 1.1291 | 1.3262 | 0.83378 | 1.1185 | 1.3156 | -4.0083 | -125.5203 | 119.1506 | -3.6828 | -125.2695 | 119.4002
Line_3 | 0.00040731 | 0.00040731 | 0.00040731 | 0.00040731 | 0.00040731 | 0.00040731 | 0.0047032 | 0.0047032 | 0.0047032 | 0.0047032 | 0.0047032 | 0.0047032 | -0.0011881 | 0.00515 | -0.0039619 | -0.0011881 | 0.00515 | -0.0039619 | 0.0037895 | -0.001294 | -0.0048176 | 0.0037895 | -0.001294 | -0.0048176 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | 0.84442 | 1.1291 | 1.3262 | 0.84442 | 1.1291 | 1.3262 | -4.0083 | -125.5203 | 119.1506 | -4.0083 | -125.5203 | 119.1506

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0731 | 0.34628 | 0.34897 | 1.0729 | 0.34627 | 0.3486 | 12.3913 | 3.9985 | 4.0295 | 12.3893 | 3.9983 | 4.0253 | 10.5457 | -0.74535 | -1.2595 | -8.3481 | 1.3139 | 1.1911 | 6.9435 | -4.3424 | -4.5851 | -6.0841 | 4.2747 | 5.16 | -39.7882 | -18.2545 | -137.5642 | 140.2328 | 161.8166 | 42.3987 | 1.019 | 1.1019 | 1.18 | 0.83378 | 1.1185 | 1.3156 | -6.4264 | -117.9941 | 117.0762 | -3.6828 | -125.2695 | 119.4002
Line_1 | 0.17287 | 0.17318 | 0.17357 | 0.17219 | 0.17313 | 0.1743 | 1.9961 | 1.9997 | 2.0042 | 1.9883 | 1.9992 | 2.0126 | 0.47317 | 0.68291 | 0.60377 | -0.4605 | -0.65697 | -0.59557 | 1.6178 | 2.152 | 2.5886 | -1.5925 | -2.1373 | -2.58 | -77.705 | 162.0856 | 42.2799 | 102.4452 | -18.1834 | -137.6013 | 0.84442 | 1.1291 | 1.3262 | 0.83378 | 1.1185 | 1.3156 | -4.0083 | -125.5203 | 119.1506 | -3.6828 | -125.2695 | 119.4002
Line_2 | 0.17287 | 0.17318 | 0.17357 | 0.17219 | 0.17313 | 0.1743 | 1.9961 | 1.9997 | 2.0042 | 1.9883 | 1.9992 | 2.0126 | 0.47317 | 0.68291 | 0.60377 | -0.4605 | -0.65697 | -0.59557 | 1.6178 | 2.152 | 2.5886 | -1.5925 | -2.1373 | -2.58 | -77.705 | 162.0856 | 42.2799 | 102.4452 | -18.1834 | -137.6013 | 0.84442 | 1.1291 | 1.3262 | 0.83378 | 1.1185 | 1.3156 | -4.0083 | -125.5203 | 119.1506 | -3.6828 | -125.2695 | 119.4002
Line_3 | 0.00040731 | 0.00040731 | 0.00040731 | 0.00040731 | 0.00040731 | 0.00040731 | 0.0047032 | 0.0047032 | 0.0047032 | 0.0047032 | 0.0047032 | 0.0047032 | -0.0011881 | 0.00515 | -0.0039619 | -0.0011881 | 0.00515 | -0.0039619 | 0.0037895 | -0.001294 | -0.0048176 | 0.0037895 | -0.001294 | -0.0048176 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | 0.84442 | 1.1291 | 1.3262 | 0.84442 | 1.1291 | 1.3262 | -4.0083 | -125.5203 | 119.1506 | -4.0083 | -125.5203 | 119.1506

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8317 | 0.010469 | 0.010469 | 2.8312 | 0.0089515 | 0.0089515 | 32.6974 | 0.12088 | 0.12088 | 32.6918 | 0.10336 | 0.10336 | 24.3456 | 0.10226 | -0.08756 | -9.7482e-11 | -0.080992 | 0.080613 | 6.971 | -0.0045749 | -0.092922 | 1.2566e-11 | 0.054903 | 0.13194 | -40.3338 | -114.958 | -114.958 | 139.6954 | 64.5117 | 64.5117 | 0.7745 | 0.84682 | 1.0562 | 0 | 0.94664 | 1.4959 | -24.3556 | -117.5194 | 111.7437 | 0 | -149.6208 | 123.0883
Line_1 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_2 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_3 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | -3.1595e-05 | 0.013479 | -0.013448 | -3.1595e-05 | 0.013479 | -0.013448 | -6.5467e-06 | -0.0091453 | -0.022016 | -6.5467e-06 | -0.0091453 | -0.022016 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | 0.0018726 | 0.94533 | 1.4972 | 0.0018726 | 0.94533 | 1.4972 | 76.16 | -149.7021 | 123.0359 | 76.16 | -149.7021 | 123.0359

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8317 | 0.010469 | 0.010469 | 2.8312 | 0.0089515 | 0.0089515 | 32.6974 | 0.12088 | 0.12088 | 32.6918 | 0.10336 | 0.10336 | 24.3456 | 0.10226 | -0.08756 | -9.7482e-11 | -0.080992 | 0.080613 | 6.971 | -0.0045749 | -0.092922 | 1.2566e-11 | 0.054903 | 0.13194 | -40.3338 | -114.958 | -114.958 | 139.6954 | 64.5117 | 64.5117 | 0.7745 | 0.84682 | 1.0562 | 0 | 0.94664 | 1.4959 | -24.3556 | -117.5194 | 111.7437 | 0 | -149.6208 | 123.0883
Line_1 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_2 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_3 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | -3.1595e-05 | 0.013479 | -0.013448 | -3.1595e-05 | 0.013479 | -0.013448 | -6.5467e-06 | -0.0091453 | -0.022016 | -6.5467e-06 | -0.0091453 | -0.022016 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | 0.0018726 | 0.94533 | 1.4972 | 0.0018726 | 0.94533 | 1.4972 | 76.16 | -149.7021 | 123.0359 | 76.16 | -149.7021 | 123.0359

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0372 | 0.0038347 | 0.0038347 | 1.037 | 0.0032789 | 0.0032789 | 11.9768 | 0.044279 | 0.044279 | 11.9748 | 0.037861 | 0.037861 | 8.6211 | 0.041818 | -0.025869 | -5.3565 | -0.034891 | 0.022698 | 6.3283 | -0.00069785 | -0.036758 | -5.3894 | 0.0072158 | 0.038584 | -43.4222 | -118.0464 | -118.0464 | 136.607 | 61.4233 | 61.4233 | 0.89293 | 0.94455 | 1.0151 | 0.63455 | 0.94105 | 1.1823 | -7.1418 | -119.0025 | 116.8168 | 1.7822 | -130.2614 | 120.9563
Line_1 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_2 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_3 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | -0.0020319 | 0.0058134 | -0.0037814 | -0.0020319 | 0.0058134 | -0.0037814 | 0.0034528 | -0.0011979 | -0.0064367 | 0.0034528 | -0.0011979 | -0.0064367 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | 0.63477 | 0.94042 | 1.1828 | 0.63477 | 0.94042 | 1.1828 | 1.8409 | -130.278 | 120.9317 | 1.8409 | -130.278 | 120.9317

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0372 | 0.0038347 | 0.0038347 | 1.037 | 0.0032789 | 0.0032789 | 11.9768 | 0.044279 | 0.044279 | 11.9748 | 0.037861 | 0.037861 | 8.6211 | 0.041818 | -0.025869 | -5.3565 | -0.034891 | 0.022698 | 6.3283 | -0.00069785 | -0.036758 | -5.3894 | 0.0072158 | 0.038584 | -43.4222 | -118.0464 | -118.0464 | 136.607 | 61.4233 | 61.4233 | 0.89293 | 0.94455 | 1.0151 | 0.63455 | 0.94105 | 1.1823 | -7.1418 | -119.0025 | 116.8168 | 1.7822 | -130.2614 | 120.9563
Line_1 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_2 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_3 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | -0.0020319 | 0.0058134 | -0.0037814 | -0.0020319 | 0.0058134 | -0.0037814 | 0.0034528 | -0.0011979 | -0.0064367 | 0.0034528 | -0.0011979 | -0.0064367 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | 0.63477 | 0.94042 | 1.1828 | 0.63477 | 0.94042 | 1.1828 | 1.8409 | -130.278 | 120.9317 | 1.8409 | -130.278 | 120.9317

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35397 | 5.099 | 2.8649 | 0.3528 | 5.0991 | 2.864 | 4.0873 | 58.8786 | 33.0813 | 4.0738 | 58.8795 | 33.0707 | -1.4106 | 34.0322 | -0.80223 | 2.3809 | 1.8487e-10 | 1.1518e-10 | -3.9896 | 7.3636 | 16.1209 | 5.2727 | -1.0829e-10 | -3.0962e-11 | 101.6753 | 176.5024 | 41.046 | -78.2597 | -3.4837 | -138.9705 | 1.0353 | 0.59138 | 0.48791 | 1.4201 | 0 | 0 | -7.796 | -171.2886 | 133.8948 | -12.5615 | 0 | 0
Line_1 | 0.17427 | 0.1731 | 0.17225 | 0.1764 | 0.17292 | 0.17034 | 2.0123 | 1.9988 | 1.9889 | 2.0369 | 1.9968 | 1.9669 | 1.2078 | 0.014991 | 0.014571 | -1.1905 | 6.9399e-12 | 6.8337e-12 | 2.6157 | 0.019029 | 0.016315 | -2.6364 | -2.1514e-12 | -1.9024e-12 | -77.942 | 162.6068 | 41.9957 | 101.7403 | -16.6193 | -138.461 | 1.4317 | 0.01212 | 0.010998 | 1.4201 | 0 | 0 | -12.7265 | -145.6243 | 90.2275 | -12.5615 | 0 | 0
Line_2 | 0.17427 | 0.1731 | 0.17225 | 0.1764 | 0.17292 | 0.17034 | 2.0123 | 1.9988 | 1.9889 | 2.0369 | 1.9968 | 1.9669 | 1.2078 | 0.014991 | 0.014571 | -1.1905 | 6.9399e-12 | 6.8337e-12 | 2.6157 | 0.019029 | 0.016315 | -2.6364 | -2.1514e-12 | -1.9024e-12 | -77.942 | 162.6068 | 41.9957 | 101.7403 | -16.6193 | -138.461 | 1.4317 | 0.01212 | 0.010998 | 1.4201 | 0 | 0 | -12.7265 | -145.6243 | 90.2275 | -12.5615 | 0 | 0
Line_3 | 0.0011723 | 0.0011723 | 0.0011723 | 0.0011723 | 0.0011723 | 0.0011723 | 0.013537 | 0.013537 | 0.013537 | 0.013537 | 0.013537 | 0.013537 | -2.5092e-05 | -0.00012004 | 0.00014513 | -2.5092e-05 | -0.00012004 | 0.00014513 | -0.019381 | 0.00011183 | 3.3186e-05 | -0.019381 | 0.00011183 | 3.3186e-05 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 1.4317 | 0.01212 | 0.010998 | 1.4317 | 0.01212 | 0.010998 | -12.7265 | -145.6243 | 90.2275 | -12.7265 | -145.6243 | 90.2275

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35397 | 5.099 | 2.8649 | 0.3528 | 5.0991 | 2.864 | 4.0873 | 58.8786 | 33.0813 | 4.0738 | 58.8795 | 33.0707 | -1.4106 | 34.0322 | -0.80223 | 2.3809 | 1.8487e-10 | 1.1518e-10 | -3.9896 | 7.3636 | 16.1209 | 5.2727 | -1.0829e-10 | -3.0962e-11 | 101.6753 | 176.5024 | 41.046 | -78.2597 | -3.4837 | -138.9705 | 1.0353 | 0.59138 | 0.48791 | 1.4201 | 0 | 0 | -7.796 | -171.2886 | 133.8948 | -12.5615 | 0 | 0
Line_1 | 0.17427 | 0.1731 | 0.17225 | 0.1764 | 0.17292 | 0.17034 | 2.0123 | 1.9988 | 1.9889 | 2.0369 | 1.9968 | 1.9669 | 1.2078 | 0.014991 | 0.014571 | -1.1905 | 6.9399e-12 | 6.8337e-12 | 2.6157 | 0.019029 | 0.016315 | -2.6364 | -2.1514e-12 | -1.9024e-12 | -77.942 | 162.6068 | 41.9957 | 101.7403 | -16.6193 | -138.461 | 1.4317 | 0.01212 | 0.010998 | 1.4201 | 0 | 0 | -12.7265 | -145.6243 | 90.2275 | -12.5615 | 0 | 0
Line_2 | 0.17427 | 0.1731 | 0.17225 | 0.1764 | 0.17292 | 0.17034 | 2.0123 | 1.9988 | 1.9889 | 2.0369 | 1.9968 | 1.9669 | 1.2078 | 0.014991 | 0.014571 | -1.1905 | 6.9399e-12 | 6.8337e-12 | 2.6157 | 0.019029 | 0.016315 | -2.6364 | -2.1514e-12 | -1.9024e-12 | -77.942 | 162.6068 | 41.9957 | 101.7403 | -16.6193 | -138.461 | 1.4317 | 0.01212 | 0.010998 | 1.4201 | 0 | 0 | -12.7265 | -145.6243 | 90.2275 | -12.5615 | 0 | 0
Line_3 | 0.0011723 | 0.0011723 | 0.0011723 | 0.0011723 | 0.0011723 | 0.0011723 | 0.013537 | 0.013537 | 0.013537 | 0.013537 | 0.013537 | 0.013537 | -2.5092e-05 | -0.00012004 | 0.00014513 | -2.5092e-05 | -0.00012004 | 0.00014513 | -0.019381 | 0.00011183 | 3.3186e-05 | -0.019381 | 0.00011183 | 3.3186e-05 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 1.4317 | 0.01212 | 0.010998 | 1.4317 | 0.01212 | 0.010998 | -12.7265 | -145.6243 | 90.2275 | -12.7265 | -145.6243 | 90.2275

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34884 | 1.1987 | 0.96549 | 0.34847 | 1.1989 | 0.96509 | 4.0281 | 13.8416 | 11.1486 | 4.0237 | 13.8439 | 11.1438 | -1.0792 | 12.0151 | 7.7179 | 1.4651 | -10.0815 | -6.9448 | -4.3753 | 7.2944 | 7.0997 | 4.8228 | -7.6802 | -5.1957 | 102.0128 | -162.0818 | 73.7671 | -77.9613 | 17.9354 | -106.2353 | 1.1187 | 1.0155 | 0.94064 | 1.2527 | 0.91547 | 0.7783 | -1.8435 | -130.82 | 116.3779 | -4.8593 | -124.7638 | 110.5665
Line_1 | 0.17355 | 0.17319 | 0.17287 | 0.17423 | 0.17317 | 0.17221 | 2.004 | 1.9999 | 1.9962 | 2.0119 | 1.9996 | 1.9886 | 0.75086 | 0.55415 | 0.58681 | -0.73254 | -0.5465 | -0.56597 | 2.418 | 1.7679 | 1.4619 | -2.4114 | -1.7471 | -1.4405 | -77.8407 | 162.3487 | 42.1524 | 102.0387 | -17.3942 | -137.984 | 1.2635 | 0.92643 | 0.78916 | 1.2527 | 0.91547 | 0.7783 | -5.0914 | -125.0546 | 110.2822 | -4.8593 | -124.7638 | 110.5665
Line_2 | 0.17355 | 0.17319 | 0.17287 | 0.17423 | 0.17317 | 0.17221 | 2.004 | 1.9999 | 1.9962 | 2.0119 | 1.9996 | 1.9886 | 0.75086 | 0.55415 | 0.58681 | -0.73254 | -0.5465 | -0.56597 | 2.418 | 1.7679 | 1.4619 | -2.4114 | -1.7471 | -1.4405 | -77.8407 | 162.3487 | 42.1524 | 102.0387 | -17.3942 | -137.984 | 1.2635 | 0.92643 | 0.78916 | 1.2527 | 0.91547 | 0.7783 | -5.0914 | -125.0546 | 110.2822 | -4.8593 | -124.7638 | 110.5665
Line_3 | 0.00038873 | 0.00038873 | 0.00038873 | 0.00038873 | 0.00038873 | 0.00038873 | 0.0044887 | 0.0044887 | 0.0044887 | 0.0044887 | 0.0044887 | 0.0044887 | 0.0010782 | -0.0039318 | 0.0028536 | 0.0010782 | -0.0039318 | 0.0028536 | -0.0055679 | 0.0013541 | 0.0020987 | -0.0055679 | 0.0013541 | 0.0020987 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 1.2635 | 0.92643 | 0.78916 | 1.2635 | 0.92643 | 0.78916 | -5.0914 | -125.0546 | 110.2822 | -5.0914 | -125.0546 | 110.2822

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34884 | 1.1987 | 0.96549 | 0.34847 | 1.1989 | 0.96509 | 4.0281 | 13.8416 | 11.1486 | 4.0237 | 13.8439 | 11.1438 | -1.0792 | 12.0151 | 7.7179 | 1.4651 | -10.0815 | -6.9448 | -4.3753 | 7.2944 | 7.0997 | 4.8228 | -7.6802 | -5.1957 | 102.0128 | -162.0818 | 73.7671 | -77.9613 | 17.9354 | -106.2353 | 1.1187 | 1.0155 | 0.94064 | 1.2527 | 0.91547 | 0.7783 | -1.8435 | -130.82 | 116.3779 | -4.8593 | -124.7638 | 110.5665
Line_1 | 0.17355 | 0.17319 | 0.17287 | 0.17423 | 0.17317 | 0.17221 | 2.004 | 1.9999 | 1.9962 | 2.0119 | 1.9996 | 1.9886 | 0.75086 | 0.55415 | 0.58681 | -0.73254 | -0.5465 | -0.56597 | 2.418 | 1.7679 | 1.4619 | -2.4114 | -1.7471 | -1.4405 | -77.8407 | 162.3487 | 42.1524 | 102.0387 | -17.3942 | -137.984 | 1.2635 | 0.92643 | 0.78916 | 1.2527 | 0.91547 | 0.7783 | -5.0914 | -125.0546 | 110.2822 | -4.8593 | -124.7638 | 110.5665
Line_2 | 0.17355 | 0.17319 | 0.17287 | 0.17423 | 0.17317 | 0.17221 | 2.004 | 1.9999 | 1.9962 | 2.0119 | 1.9996 | 1.9886 | 0.75086 | 0.55415 | 0.58681 | -0.73254 | -0.5465 | -0.56597 | 2.418 | 1.7679 | 1.4619 | -2.4114 | -1.7471 | -1.4405 | -77.8407 | 162.3487 | 42.1524 | 102.0387 | -17.3942 | -137.984 | 1.2635 | 0.92643 | 0.78916 | 1.2527 | 0.91547 | 0.7783 | -5.0914 | -125.0546 | 110.2822 | -4.8593 | -124.7638 | 110.5665
Line_3 | 0.00038873 | 0.00038873 | 0.00038873 | 0.00038873 | 0.00038873 | 0.00038873 | 0.0044887 | 0.0044887 | 0.0044887 | 0.0044887 | 0.0044887 | 0.0044887 | 0.0010782 | -0.0039318 | 0.0028536 | 0.0010782 | -0.0039318 | 0.0028536 | -0.0055679 | 0.0013541 | 0.0020987 | -0.0055679 | 0.0013541 | 0.0020987 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 1.2635 | 0.92643 | 0.78916 | 1.2635 | 0.92643 | 0.78916 | -5.0914 | -125.0546 | 110.2822 | -5.0914 | -125.0546 | 110.2822

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076279 | 3.9232 | 2.4897 | 0.0065223 | 3.9235 | 2.4889 | 0.088079 | 45.3014 | 28.7482 | 0.075313 | 45.3048 | 28.7395 | 0.003484 | 30.3522 | -0.11742 | -0.00020129 | -1.6973e-10 | -2.5749e-11 | -0.083885 | 1.8248 | 12.1348 | 0.099197 | -1.9373e-10 | -1.6144e-10 | 81.4331 | -170.2987 | 37.2206 | -99.0972 | 9.7169 | -142.7981 | 0.9532 | 0.67121 | 0.42213 | 1.3171 | 0 | 0 | -6.1886 | -166.8583 | 127.775 | -8.981 | 0 | 0
Line_1 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_2 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_3 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | -0.01654 | -3.4756e-06 | -3.4756e-06 | -0.01654 | -3.4756e-06 | -3.4756e-06 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 1.3174 | 0.0013644 | 0.0013644 | 1.3174 | 0.0013644 | 0.0013644 | -9.0391 | -87.449 | -87.449 | -9.0391 | -87.449 | -87.449

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076279 | 3.9232 | 2.4897 | 0.0065223 | 3.9235 | 2.4889 | 0.088079 | 45.3014 | 28.7482 | 0.075313 | 45.3048 | 28.7395 | 0.003484 | 30.3522 | -0.11742 | -0.00020129 | -1.6973e-10 | -2.5749e-11 | -0.083885 | 1.8248 | 12.1348 | 0.099197 | -1.9373e-10 | -1.6144e-10 | 81.4331 | -170.2987 | 37.2206 | -99.0972 | 9.7169 | -142.7981 | 0.9532 | 0.67121 | 0.42213 | 1.3171 | 0 | 0 | -6.1886 | -166.8583 | 127.775 | -8.981 | 0 | 0
Line_1 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_2 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_3 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | -0.01654 | -3.4756e-06 | -3.4756e-06 | -0.01654 | -3.4756e-06 | -3.4756e-06 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 1.3174 | 0.0013644 | 0.0013644 | 1.3174 | 0.0013644 | 0.0013644 | -9.0391 | -87.449 | -87.449 | -9.0391 | -87.449 | -87.449

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034299 | 1.2102 | 0.96824 | 0.0029328 | 1.2105 | 0.96775 | 0.039605 | 13.974 | 11.1803 | 0.033865 | 13.9771 | 11.1746 | 0.011886 | 10.447 | 5.6965 | -0.0097551 | -7.3224 | -4.6696 | -0.036461 | 6.6172 | 7.0682 | 0.036642 | -7.3508 | -4.6675 | 69.5557 | -164.2066 | 64.7236 | -110.9746 | 15.8131 | -115.2805 | 0.9683 | 0.88496 | 0.81196 | 1.1197 | 0.74232 | 0.59083 | -2.3895 | -131.8563 | 115.8568 | -6.0664 | -119.0759 | 109.7064
Line_1 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_2 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_3 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.001629 | -0.0041528 | 0.0025238 | 0.001629 | -0.0041528 | 0.0025238 | -0.0061073 | 0.00058565 | 0.0021761 | -0.0061073 | 0.00058565 | 0.0021761 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 1.1196 | 0.7429 | 0.59029 | 1.1196 | 0.7429 | 0.59029 | -6.0978 | -119.0599 | 109.7353 | -6.0978 | -119.0599 | 109.7353

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034299 | 1.2102 | 0.96824 | 0.0029328 | 1.2105 | 0.96775 | 0.039605 | 13.974 | 11.1803 | 0.033865 | 13.9771 | 11.1746 | 0.011886 | 10.447 | 5.6965 | -0.0097551 | -7.3224 | -4.6696 | -0.036461 | 6.6172 | 7.0682 | 0.036642 | -7.3508 | -4.6675 | 69.5557 | -164.2066 | 64.7236 | -110.9746 | 15.8131 | -115.2805 | 0.9683 | 0.88496 | 0.81196 | 1.1197 | 0.74232 | 0.59083 | -2.3895 | -131.8563 | 115.8568 | -6.0664 | -119.0759 | 109.7064
Line_1 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_2 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_3 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.001629 | -0.0041528 | 0.0025238 | 0.001629 | -0.0041528 | 0.0025238 | -0.0061073 | 0.00058565 | 0.0021761 | -0.0061073 | 0.00058565 | 0.0021761 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 1.1196 | 0.7429 | 0.59029 | 1.1196 | 0.7429 | 0.59029 | -6.0978 | -119.0599 | 109.7353 | -6.0978 | -119.0599 | 109.7353