## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.029492 | 0.029492 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.029492 | 0.029492 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94414 | 0.94414 | -10.9097 | -10.9097

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94414 | 0.94414 | -10.9097 | -10.9097

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5933e-15 | 5.0702e-17 | -1.0332e-14 | -1.1361e-14 | 5.4912e-15 | 4.8896e-15 | 8.7385e-17 | -2.8723e-15 | 1.1436e-14 | -1.1012e-14 | 1.4463e-14 | -1.116e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 0.60646 | 0.57516 | 1.1809 | 0.60646 | 0.57516 | -0.89507 | -178.9887 | 177.0948 | -0.89507 | -178.9887 | 177.0948

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5933e-15 | 5.0702e-17 | -1.0332e-14 | -1.1361e-14 | 5.4912e-15 | 4.8896e-15 | 8.7385e-17 | -2.8723e-15 | 1.1436e-14 | -1.1012e-14 | 1.4463e-14 | -1.116e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 0.60646 | 0.57516 | 1.1809 | 0.60646 | 0.57516 | -0.89507 | -178.9887 | 177.0948 | -0.89507 | -178.9887 | 177.0948

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7967e-15 | 9.3641e-16 | -1.8477e-15 | 2.753e-15 | 1.4039e-14 | 4.9288e-15 | 4.3692e-17 | 7.4843e-16 | 3.0811e-15 | -2.8404e-15 | -4.1251e-15 | -1.2334e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 1.0123 | 0.75843 | 1.1809 | 1.0123 | 0.75843 | -0.89506 | -141.3664 | 120.9501 | -0.89506 | -141.3664 | 120.9501

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7967e-15 | 9.3641e-16 | -1.8477e-15 | 2.753e-15 | 1.4039e-14 | 4.9288e-15 | 4.3692e-17 | 7.4843e-16 | 3.0811e-15 | -2.8404e-15 | -4.1251e-15 | -1.2334e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 1.0123 | 0.75843 | 1.1809 | 1.0123 | 0.75843 | -0.89506 | -141.3664 | 120.9501 | -0.89506 | -141.3664 | 120.9501

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 1.7764e-14 | -8.1247e-21 | -2.1316e-14 | -1.1842e-14 | 4.7376e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0916e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -5.9209e-15 | 4.7373e-15 | 1.1842e-14 | 7.1052e-15 | -2.2922e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -5.9209e-15 | -4.7366e-15 | 1.6579e-14 | 7.1052e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6188e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 4.737e-15 | 7.1054e-15 | -4.737e-15 | -4.737e-15 | 0 | 5.4852e-29 | 9.0857e-25 | -1.3637e-24 | 4.737e-15 | 2.3685e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.6188e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 1.7764e-14 | -8.1247e-21 | -2.1316e-14 | -1.1842e-14 | 4.7376e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0916e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -5.9209e-15 | 4.7373e-15 | 1.1842e-14 | 7.1052e-15 | -2.2922e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -5.9209e-15 | -4.7366e-15 | 1.6579e-14 | 7.1052e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6188e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 4.737e-15 | 7.1054e-15 | -4.737e-15 | -4.737e-15 | 0 | 5.4852e-29 | 9.0857e-25 | -1.3637e-24 | 4.737e-15 | 2.3685e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.6188e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1778e-15 | -8.0024e-10 | -2.5674e-09 | -1.0362e-14 | 8.0025e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4015e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8317e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | 2.6675e-10 | 8.558e-10 | 1.0066e-14 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1354e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6676e-10 | 8.558e-10 | 7.1054e-15 | -2.6675e-10 | -8.558e-10 | -3.1295e-29 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5235e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -7.8237e-16 | -1.8881e-15 | 1.7764e-15 | 6.8658e-15 | -7.2716e-15 | -2.3685e-15 | -6.2271e-16 | -2.5416e-15 | 7.8237e-30 | -2.2033e-15 | -5.1338e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.5235e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1778e-15 | -8.0024e-10 | -2.5674e-09 | -1.0362e-14 | 8.0025e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4015e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8317e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | 2.6675e-10 | 8.558e-10 | 1.0066e-14 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1354e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6676e-10 | 8.558e-10 | 7.1054e-15 | -2.6675e-10 | -8.558e-10 | -3.1295e-29 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5235e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -7.8237e-16 | -1.8881e-15 | 1.7764e-15 | 6.8658e-15 | -7.2716e-15 | -2.3685e-15 | -6.2271e-16 | -2.5416e-15 | 7.8237e-30 | -2.2033e-15 | -5.1338e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.5235e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28496 | 0.29038 | 0.29072 | 0.28589 | 0.28995 | 0.29021 | 3.2904 | 3.353 | 3.3569 | 3.3012 | 3.348 | 3.351 | 6.1492e-11 | 0.74441 | -1.0585 | 0.039432 | -0.68771 | 1.0925 | -7.0986e-12 | -3.4108 | -3.3323 | 0.04749 | 3.4551 | 3.382 | 92.7118 | -27.9825 | -146.7133 | -87.2977 | 152.1799 | 33.1337 | 0 | 1.0412 | 1.0415 | 0.018698 | 1.0522 | 1.0606 | 0 | -105.6705 | 105.6645 | -37.0011 | -106.5628 | 105.2319
Line_1 | 0.14387 | 0.14455 | 0.14459 | 0.14294 | 0.14497 | 0.1451 | 1.6613 | 1.6691 | 1.6696 | 1.6506 | 1.674 | 1.6755 | 0.030132 | -0.32178 | 0.54626 | -0.019716 | 0.34386 | -0.54624 | 0.035987 | 1.7364 | 1.7008 | -0.023745 | -1.7275 | -1.691 | -87.3178 | 152.5073 | 32.8265 | 92.7023 | -27.8201 | -146.8663 | 0.028252 | 1.058 | 1.0699 | 0.018698 | 1.0522 | 1.0606 | -37.2569 | -106.9939 | 105.02 | -37.0011 | -106.5628 | 105.2319
Line_2 | 0.14387 | 0.14455 | 0.14459 | 0.14294 | 0.14497 | 0.1451 | 1.6613 | 1.6691 | 1.6696 | 1.6506 | 1.674 | 1.6755 | 0.030132 | -0.32178 | 0.54626 | -0.019716 | 0.34386 | -0.54624 | 0.035987 | 1.7364 | 1.7008 | -0.023745 | -1.7275 | -1.691 | -87.3178 | 152.5073 | 32.8265 | 92.7023 | -27.8201 | -146.8663 | 0.028252 | 1.058 | 1.0699 | 0.018698 | 1.0522 | 1.0606 | -37.2569 | -106.9939 | 105.02 | -37.0011 | -106.5628 | 105.2319
Line_3 | 0.00046531 | 0.00046531 | 0.00046531 | 0.00046531 | 0.00046531 | 0.00046531 | 0.005373 | 0.005373 | 0.005373 | 0.005373 | 0.005373 | 0.005373 | 9.0945e-05 | 0.0054494 | -0.0055403 | 9.0945e-05 | 0.0054494 | -0.0055403 | 0.00012154 | -0.0016187 | -0.0015334 | 0.00012154 | -0.0016187 | -0.0015334 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | 0.028252 | 1.058 | 1.0699 | 0.028252 | 1.058 | 1.0699 | -37.2569 | -106.9939 | 105.02 | -37.2569 | -106.9939 | 105.02

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28496 | 0.29038 | 0.29072 | 0.28589 | 0.28995 | 0.29021 | 3.2904 | 3.353 | 3.3569 | 3.3012 | 3.348 | 3.351 | 6.1492e-11 | 0.74441 | -1.0585 | 0.039432 | -0.68771 | 1.0925 | -7.0986e-12 | -3.4108 | -3.3323 | 0.04749 | 3.4551 | 3.382 | 92.7118 | -27.9825 | -146.7133 | -87.2977 | 152.1799 | 33.1337 | 0 | 1.0412 | 1.0415 | 0.018698 | 1.0522 | 1.0606 | 0 | -105.6705 | 105.6645 | -37.0011 | -106.5628 | 105.2319
Line_1 | 0.14387 | 0.14455 | 0.14459 | 0.14294 | 0.14497 | 0.1451 | 1.6613 | 1.6691 | 1.6696 | 1.6506 | 1.674 | 1.6755 | 0.030132 | -0.32178 | 0.54626 | -0.019716 | 0.34386 | -0.54624 | 0.035987 | 1.7364 | 1.7008 | -0.023745 | -1.7275 | -1.691 | -87.3178 | 152.5073 | 32.8265 | 92.7023 | -27.8201 | -146.8663 | 0.028252 | 1.058 | 1.0699 | 0.018698 | 1.0522 | 1.0606 | -37.2569 | -106.9939 | 105.02 | -37.0011 | -106.5628 | 105.2319
Line_2 | 0.14387 | 0.14455 | 0.14459 | 0.14294 | 0.14497 | 0.1451 | 1.6613 | 1.6691 | 1.6696 | 1.6506 | 1.674 | 1.6755 | 0.030132 | -0.32178 | 0.54626 | -0.019716 | 0.34386 | -0.54624 | 0.035987 | 1.7364 | 1.7008 | -0.023745 | -1.7275 | -1.691 | -87.3178 | 152.5073 | 32.8265 | 92.7023 | -27.8201 | -146.8663 | 0.028252 | 1.058 | 1.0699 | 0.018698 | 1.0522 | 1.0606 | -37.2569 | -106.9939 | 105.02 | -37.0011 | -106.5628 | 105.2319
Line_3 | 0.00046531 | 0.00046531 | 0.00046531 | 0.00046531 | 0.00046531 | 0.00046531 | 0.005373 | 0.005373 | 0.005373 | 0.005373 | 0.005373 | 0.005373 | 9.0945e-05 | 0.0054494 | -0.0055403 | 9.0945e-05 | 0.0054494 | -0.0055403 | 0.00012154 | -0.0016187 | -0.0015334 | 0.00012154 | -0.0016187 | -0.0015334 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | 0.028252 | 1.058 | 1.0699 | 0.028252 | 1.058 | 1.0699 | -37.2569 | -106.9939 | 105.02 | -37.2569 | -106.9939 | 105.02

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28799 | 0.28938 | 0.28866 | 0.28816 | 0.2892 | 0.28867 | 3.3254 | 3.3414 | 3.3332 | 3.3274 | 3.3394 | 3.3332 | -0.60647 | -0.072455 | -0.40463 | 0.65068 | 0.1178 | 0.44509 | -3.137 | -3.6762 | -3.8588 | 3.1871 | 3.7232 | 3.9089 | 92.5899 | -27.4053 | -147.1687 | -87.3894 | 152.6139 | 32.7915 | 0.9608 | 1.1004 | 1.164 | 0.9776 | 1.1155 | 1.1803 | -8.3522 | -118.5344 | 116.8451 | -8.9284 | -119.1984 | 116.2955
Line_1 | 0.14425 | 0.14443 | 0.14434 | 0.14408 | 0.1446 | 0.14433 | 1.6657 | 1.6677 | 1.6666 | 1.6637 | 1.6697 | 1.6666 | 0.33762 | 0.071035 | 0.23063 | -0.32534 | -0.058901 | -0.22254 | 1.6074 | 1.8716 | 1.9672 | -1.5935 | -1.8616 | -1.9545 | -87.3484 | 152.6526 | 32.7118 | 92.6106 | -27.3861 | -147.2085 | 0.98608 | 1.1231 | 1.1884 | 0.9776 | 1.1155 | 1.1803 | -9.2104 | -119.521 | 116.0252 | -8.9284 | -119.1984 | 116.2955
Line_2 | 0.14425 | 0.14443 | 0.14434 | 0.14408 | 0.1446 | 0.14433 | 1.6657 | 1.6677 | 1.6666 | 1.6637 | 1.6697 | 1.6666 | 0.33762 | 0.071035 | 0.23063 | -0.32534 | -0.058901 | -0.22254 | 1.6074 | 1.8716 | 1.9672 | -1.5935 | -1.8616 | -1.9545 | -87.3484 | 152.6526 | 32.7118 | 92.6106 | -27.3861 | -147.2085 | 0.98608 | 1.1231 | 1.1884 | 0.9776 | 1.1155 | 1.1803 | -9.2104 | -119.521 | 116.0252 | -8.9284 | -119.1984 | 116.2955
Line_3 | 0.00010039 | 0.00010039 | 0.00010039 | 0.00010039 | 0.00010039 | 0.00010039 | 0.0011592 | 0.0011592 | 0.0011592 | 0.0011592 | 0.0011592 | 0.0011592 | 0.00077559 | 0.00059025 | -0.0013658 | 0.00077559 | 0.00059025 | -0.0013658 | 0.00083968 | -0.0011604 | 0.00017963 | 0.00083968 | -0.0011604 | 0.00017963 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | 0.98608 | 1.1231 | 1.1884 | 0.98608 | 1.1231 | 1.1884 | -9.2104 | -119.521 | 116.0252 | -9.2104 | -119.521 | 116.0252

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28799 | 0.28938 | 0.28866 | 0.28816 | 0.2892 | 0.28867 | 3.3254 | 3.3414 | 3.3332 | 3.3274 | 3.3394 | 3.3332 | -0.60647 | -0.072455 | -0.40463 | 0.65068 | 0.1178 | 0.44509 | -3.137 | -3.6762 | -3.8588 | 3.1871 | 3.7232 | 3.9089 | 92.5899 | -27.4053 | -147.1687 | -87.3894 | 152.6139 | 32.7915 | 0.9608 | 1.1004 | 1.164 | 0.9776 | 1.1155 | 1.1803 | -8.3522 | -118.5344 | 116.8451 | -8.9284 | -119.1984 | 116.2955
Line_1 | 0.14425 | 0.14443 | 0.14434 | 0.14408 | 0.1446 | 0.14433 | 1.6657 | 1.6677 | 1.6666 | 1.6637 | 1.6697 | 1.6666 | 0.33762 | 0.071035 | 0.23063 | -0.32534 | -0.058901 | -0.22254 | 1.6074 | 1.8716 | 1.9672 | -1.5935 | -1.8616 | -1.9545 | -87.3484 | 152.6526 | 32.7118 | 92.6106 | -27.3861 | -147.2085 | 0.98608 | 1.1231 | 1.1884 | 0.9776 | 1.1155 | 1.1803 | -9.2104 | -119.521 | 116.0252 | -8.9284 | -119.1984 | 116.2955
Line_2 | 0.14425 | 0.14443 | 0.14434 | 0.14408 | 0.1446 | 0.14433 | 1.6657 | 1.6677 | 1.6666 | 1.6637 | 1.6697 | 1.6666 | 0.33762 | 0.071035 | 0.23063 | -0.32534 | -0.058901 | -0.22254 | 1.6074 | 1.8716 | 1.9672 | -1.5935 | -1.8616 | -1.9545 | -87.3484 | 152.6526 | 32.7118 | 92.6106 | -27.3861 | -147.2085 | 0.98608 | 1.1231 | 1.1884 | 0.9776 | 1.1155 | 1.1803 | -9.2104 | -119.521 | 116.0252 | -8.9284 | -119.1984 | 116.2955
Line_3 | 0.00010039 | 0.00010039 | 0.00010039 | 0.00010039 | 0.00010039 | 0.00010039 | 0.0011592 | 0.0011592 | 0.0011592 | 0.0011592 | 0.0011592 | 0.0011592 | 0.00077559 | 0.00059025 | -0.0013658 | 0.00077559 | 0.00059025 | -0.0013658 | 0.00083968 | -0.0011604 | 0.00017963 | 0.00083968 | -0.0011604 | 0.00017963 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | 0.98608 | 1.1231 | 1.1884 | 0.98608 | 1.1231 | 1.1884 | -9.2104 | -119.521 | 116.0252 | -9.2104 | -119.521 | 116.0252

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032929 | 0.0032929 | 0.0032929 | 0.0024706 | 0.0024706 | 0.0024706 | 0.038023 | 0.038023 | 0.038023 | 0.028528 | 0.028528 | 0.028528 | 1.2727e-13 | 0.033029 | -0.032824 | 5.0515e-05 | -0.024743 | 0.024664 | 2.5436e-13 | -0.0090453 | -0.0098838 | 1.0482e-05 | 0.0067515 | 0.0074714 | -90.7295 | -90.7295 | -90.7295 | 89.1652 | 89.1652 | 89.1652 | 0 | 0.90064 | 0.90154 | 0.0018084 | 0.89903 | 0.90334 | 0 | -106.0448 | 106.0285 | 100.8882 | -106.097 | 106.0182
Line_1 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_2 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_3 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | -1.0826e-05 | 0.0041235 | -0.0041126 | -1.0826e-05 | 0.0041235 | -0.0041126 | -2.2546e-06 | -0.0011218 | -0.0012502 | -2.2546e-06 | -0.0011218 | -0.0012502 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | 0.0023253 | 0.89857 | 0.90385 | 0.0023253 | 0.89857 | 0.90385 | 100.8716 | -106.1119 | 106.0153 | 100.8716 | -106.1119 | 106.0153

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032929 | 0.0032929 | 0.0032929 | 0.0024706 | 0.0024706 | 0.0024706 | 0.038023 | 0.038023 | 0.038023 | 0.028528 | 0.028528 | 0.028528 | 1.2727e-13 | 0.033029 | -0.032824 | 5.0515e-05 | -0.024743 | 0.024664 | 2.5436e-13 | -0.0090453 | -0.0098838 | 1.0482e-05 | 0.0067515 | 0.0074714 | -90.7295 | -90.7295 | -90.7295 | 89.1652 | 89.1652 | 89.1652 | 0 | 0.90064 | 0.90154 | 0.0018084 | 0.89903 | 0.90334 | 0 | -106.0448 | 106.0285 | 100.8882 | -106.097 | 106.0182
Line_1 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_2 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_3 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | -1.0826e-05 | 0.0041235 | -0.0041126 | -1.0826e-05 | 0.0041235 | -0.0041126 | -2.2546e-06 | -0.0011218 | -0.0012502 | -2.2546e-06 | -0.0011218 | -0.0012502 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | 0.0023253 | 0.89857 | 0.90385 | 0.0023253 | 0.89857 | 0.90385 | 100.8716 | -106.1119 | 106.0153 | 100.8716 | -106.1119 | 106.0153

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00074028 | 0.00074028 | 0.00074028 | 0.00055542 | 0.00055542 | 0.00055542 | 0.008548 | 0.008548 | 0.008548 | 0.0064134 | 0.0064134 | 0.0064134 | 0.0046579 | 0.0038972 | -0.0085447 | -0.0034849 | -0.0029313 | 0.0064147 | 0.0052618 | -0.0071219 | 0.00090343 | -0.0039537 | 0.0053386 | -0.00066552 | -57.177 | -57.1769 | -57.1769 | 122.7177 | 122.7178 | 122.7178 | 0.82209 | 0.94975 | 1.0052 | 0.82177 | 0.94963 | 1.0056 | -8.6931 | -118.4889 | 116.7876 | -8.6761 | -118.5124 | 116.7946
Line_1 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_2 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_3 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00065966 | -0.00088948 | 0.00010983 | 0.00065966 | -0.00088948 | 0.00010983 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | 0.82167 | 0.94959 | 1.0057 | 0.82167 | 0.94959 | 1.0057 | -8.6713 | -118.5191 | 116.7966 | -8.6713 | -118.5191 | 116.7966

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00074028 | 0.00074028 | 0.00074028 | 0.00055542 | 0.00055542 | 0.00055542 | 0.008548 | 0.008548 | 0.008548 | 0.0064134 | 0.0064134 | 0.0064134 | 0.0046579 | 0.0038972 | -0.0085447 | -0.0034849 | -0.0029313 | 0.0064147 | 0.0052618 | -0.0071219 | 0.00090343 | -0.0039537 | 0.0053386 | -0.00066552 | -57.177 | -57.1769 | -57.1769 | 122.7177 | 122.7178 | 122.7178 | 0.82209 | 0.94975 | 1.0052 | 0.82177 | 0.94963 | 1.0056 | -8.6931 | -118.4889 | 116.7876 | -8.6761 | -118.5124 | 116.7946
Line_1 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_2 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_3 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00065966 | -0.00088948 | 0.00010983 | 0.00065966 | -0.00088948 | 0.00010983 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | 0.82167 | 0.94959 | 1.0057 | 0.82167 | 0.94959 | 1.0057 | -8.6713 | -118.5191 | 116.7966 | -8.6713 | -118.5191 | 116.7966

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29368 | 0.28644 | 0.28598 | 0.29243 | 0.28699 | 0.28664 | 3.3911 | 3.3075 | 3.3022 | 3.3767 | 3.3139 | 3.3099 | -0.11861 | 4.0119e-11 | 4.0957e-11 | 0.16733 | 0.039934 | 0.041558 | -2.5646 | -3.53e-11 | -3.4147e-11 | 2.6052 | 0.051724 | 0.044381 | 92.6204 | -26.4352 | -148.1693 | -87.3676 | 153.3409 | 32.0426 | 0.75709 | 0 | 0 | 0.77311 | 0.019719 | 0.01837 | -0.027569 | 0 | 0 | -1.0427 | -154.3289 | 78.9245
Line_1 | 0.14496 | 0.14406 | 0.144 | 0.14621 | 0.1435 | 0.14332 | 1.6739 | 1.6634 | 1.6627 | 1.6883 | 1.657 | 1.6549 | 0.0951 | 0.030165 | 0.031664 | -0.083665 | -0.019967 | -0.020779 | 1.304 | 0.038821 | 0.03374 | -1.3026 | -0.025862 | -0.022191 | -87.3415 | 152.8943 | 32.4632 | 92.6324 | -26.6591 | -147.9574 | 0.78108 | 0.029555 | 0.027828 | 0.77311 | 0.019719 | 0.01837 | -1.5128 | -154.954 | 79.2814 | -1.0427 | -154.3289 | 78.9245
Line_2 | 0.14496 | 0.14406 | 0.144 | 0.14621 | 0.1435 | 0.14332 | 1.6739 | 1.6634 | 1.6627 | 1.6883 | 1.657 | 1.6549 | 0.0951 | 0.030165 | 0.031664 | -0.083665 | -0.019967 | -0.020779 | 1.304 | 0.038821 | 0.03374 | -1.3026 | -0.025862 | -0.022191 | -87.3415 | 152.8943 | 32.4632 | 92.6324 | -26.6591 | -147.9574 | 0.78108 | 0.029555 | 0.027828 | 0.77311 | 0.019719 | 0.01837 | -1.5128 | -154.954 | 79.2814 | -1.0427 | -154.3289 | 78.9245
Line_3 | 0.00062635 | 0.00062635 | 0.00062635 | 0.00062635 | 0.00062635 | 0.00062635 | 0.0072324 | 0.0072324 | 0.0072324 | 0.0072324 | 0.0072324 | 0.0072324 | -0.00010606 | -9.1967e-05 | 0.00019803 | -0.00010606 | -9.1967e-05 | 0.00019803 | -0.0056481 | 0.00019296 | -3.5923e-05 | -0.0056481 | 0.00019296 | -3.5923e-05 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 0.78108 | 0.029555 | 0.027828 | 0.78108 | 0.029555 | 0.027828 | -1.5128 | -154.954 | 79.2814 | -1.5128 | -154.954 | 79.2814

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29368 | 0.28644 | 0.28598 | 0.29243 | 0.28699 | 0.28664 | 3.3911 | 3.3075 | 3.3022 | 3.3767 | 3.3139 | 3.3099 | -0.11861 | 4.0119e-11 | 4.0957e-11 | 0.16733 | 0.039934 | 0.041558 | -2.5646 | -3.53e-11 | -3.4147e-11 | 2.6052 | 0.051724 | 0.044381 | 92.6204 | -26.4352 | -148.1693 | -87.3676 | 153.3409 | 32.0426 | 0.75709 | 0 | 0 | 0.77311 | 0.019719 | 0.01837 | -0.027569 | 0 | 0 | -1.0427 | -154.3289 | 78.9245
Line_1 | 0.14496 | 0.14406 | 0.144 | 0.14621 | 0.1435 | 0.14332 | 1.6739 | 1.6634 | 1.6627 | 1.6883 | 1.657 | 1.6549 | 0.0951 | 0.030165 | 0.031664 | -0.083665 | -0.019967 | -0.020779 | 1.304 | 0.038821 | 0.03374 | -1.3026 | -0.025862 | -0.022191 | -87.3415 | 152.8943 | 32.4632 | 92.6324 | -26.6591 | -147.9574 | 0.78108 | 0.029555 | 0.027828 | 0.77311 | 0.019719 | 0.01837 | -1.5128 | -154.954 | 79.2814 | -1.0427 | -154.3289 | 78.9245
Line_2 | 0.14496 | 0.14406 | 0.144 | 0.14621 | 0.1435 | 0.14332 | 1.6739 | 1.6634 | 1.6627 | 1.6883 | 1.657 | 1.6549 | 0.0951 | 0.030165 | 0.031664 | -0.083665 | -0.019967 | -0.020779 | 1.304 | 0.038821 | 0.03374 | -1.3026 | -0.025862 | -0.022191 | -87.3415 | 152.8943 | 32.4632 | 92.6324 | -26.6591 | -147.9574 | 0.78108 | 0.029555 | 0.027828 | 0.77311 | 0.019719 | 0.01837 | -1.5128 | -154.954 | 79.2814 | -1.0427 | -154.3289 | 78.9245
Line_3 | 0.00062635 | 0.00062635 | 0.00062635 | 0.00062635 | 0.00062635 | 0.00062635 | 0.0072324 | 0.0072324 | 0.0072324 | 0.0072324 | 0.0072324 | 0.0072324 | -0.00010606 | -9.1967e-05 | 0.00019803 | -0.00010606 | -9.1967e-05 | 0.00019803 | -0.0056481 | 0.00019296 | -3.5923e-05 | -0.0056481 | 0.00019296 | -3.5923e-05 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 0.78108 | 0.029555 | 0.027828 | 0.78108 | 0.029555 | 0.027828 | -1.5128 | -154.954 | 79.2814 | -1.5128 | -154.954 | 79.2814

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28938 | 0.28793 | 0.28872 | 0.28921 | 0.28811 | 0.28871 | 3.3415 | 3.3247 | 3.3338 | 3.3395 | 3.3269 | 3.3337 | -0.30923 | -0.78286 | -0.48879 | 0.35155 | 0.82479 | 0.53453 | -3.6759 | -3.1186 | -3.0085 | 3.7237 | 3.17 | 3.0565 | 92.7621 | -27.2515 | -147.4947 | -87.2605 | 152.7295 | 32.5469 | 1.104 | 0.9671 | 0.91425 | 1.12 | 0.98456 | 0.93077 | -2.0465 | -131.3434 | 113.2771 | -2.6538 | -131.855 | 112.6271
Line_1 | 0.14443 | 0.14424 | 0.14434 | 0.1446 | 0.14406 | 0.14435 | 1.6677 | 1.6656 | 1.6667 | 1.6697 | 1.6634 | 1.6668 | 0.18502 | 0.42258 | 0.28035 | -0.17578 | -0.4124 | -0.26727 | 1.8721 | 1.5996 | 1.5399 | -1.8618 | -1.585 | -1.5283 | -87.3055 | 152.6912 | 32.6303 | 92.7395 | -27.2705 | -147.4531 | 1.128 | 0.99333 | 0.93912 | 1.12 | 0.98456 | 0.93077 | -2.9496 | -132.1071 | 112.3126 | -2.6538 | -131.855 | 112.6271
Line_2 | 0.14443 | 0.14424 | 0.14434 | 0.1446 | 0.14406 | 0.14435 | 1.6677 | 1.6656 | 1.6667 | 1.6697 | 1.6634 | 1.6668 | 0.18502 | 0.42258 | 0.28035 | -0.17578 | -0.4124 | -0.26727 | 1.8721 | 1.5996 | 1.5399 | -1.8618 | -1.585 | -1.5283 | -87.3055 | 152.6912 | 32.6303 | 92.7395 | -27.2705 | -147.4531 | 1.128 | 0.99333 | 0.93912 | 1.12 | 0.98456 | 0.93077 | -2.9496 | -132.1071 | 112.3126 | -2.6538 | -131.855 | 112.6271
Line_3 | 0.00010517 | 0.00010517 | 0.00010517 | 0.00010517 | 0.00010517 | 0.00010517 | 0.0012144 | 0.0012144 | 0.0012144 | 0.0012144 | 0.0012144 | 0.0012144 | -0.00084961 | -0.00026136 | 0.001111 | -0.00084961 | -0.00026136 | 0.001111 | -0.0010746 | 0.0011777 | -0.00025787 | -0.0010746 | 0.0011777 | -0.00025787 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 1.128 | 0.99333 | 0.93912 | 1.128 | 0.99333 | 0.93912 | -2.9496 | -132.1071 | 112.3126 | -2.9496 | -132.1071 | 112.3126

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28938 | 0.28793 | 0.28872 | 0.28921 | 0.28811 | 0.28871 | 3.3415 | 3.3247 | 3.3338 | 3.3395 | 3.3269 | 3.3337 | -0.30923 | -0.78286 | -0.48879 | 0.35155 | 0.82479 | 0.53453 | -3.6759 | -3.1186 | -3.0085 | 3.7237 | 3.17 | 3.0565 | 92.7621 | -27.2515 | -147.4947 | -87.2605 | 152.7295 | 32.5469 | 1.104 | 0.9671 | 0.91425 | 1.12 | 0.98456 | 0.93077 | -2.0465 | -131.3434 | 113.2771 | -2.6538 | -131.855 | 112.6271
Line_1 | 0.14443 | 0.14424 | 0.14434 | 0.1446 | 0.14406 | 0.14435 | 1.6677 | 1.6656 | 1.6667 | 1.6697 | 1.6634 | 1.6668 | 0.18502 | 0.42258 | 0.28035 | -0.17578 | -0.4124 | -0.26727 | 1.8721 | 1.5996 | 1.5399 | -1.8618 | -1.585 | -1.5283 | -87.3055 | 152.6912 | 32.6303 | 92.7395 | -27.2705 | -147.4531 | 1.128 | 0.99333 | 0.93912 | 1.12 | 0.98456 | 0.93077 | -2.9496 | -132.1071 | 112.3126 | -2.6538 | -131.855 | 112.6271
Line_2 | 0.14443 | 0.14424 | 0.14434 | 0.1446 | 0.14406 | 0.14435 | 1.6677 | 1.6656 | 1.6667 | 1.6697 | 1.6634 | 1.6668 | 0.18502 | 0.42258 | 0.28035 | -0.17578 | -0.4124 | -0.26727 | 1.8721 | 1.5996 | 1.5399 | -1.8618 | -1.585 | -1.5283 | -87.3055 | 152.6912 | 32.6303 | 92.7395 | -27.2705 | -147.4531 | 1.128 | 0.99333 | 0.93912 | 1.12 | 0.98456 | 0.93077 | -2.9496 | -132.1071 | 112.3126 | -2.6538 | -131.855 | 112.6271
Line_3 | 0.00010517 | 0.00010517 | 0.00010517 | 0.00010517 | 0.00010517 | 0.00010517 | 0.0012144 | 0.0012144 | 0.0012144 | 0.0012144 | 0.0012144 | 0.0012144 | -0.00084961 | -0.00026136 | 0.001111 | -0.00084961 | -0.00026136 | 0.001111 | -0.0010746 | 0.0011777 | -0.00025787 | -0.0010746 | 0.0011777 | -0.00025787 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 1.128 | 0.99333 | 0.93912 | 1.128 | 0.99333 | 0.93912 | -2.9496 | -132.1071 | 112.3126 | -2.9496 | -132.1071 | 112.3126

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0043968 | 0.0043968 | 0.0043968 | 0.0032989 | 0.0032989 | 0.0032989 | 0.05077 | 0.05077 | 0.05077 | 0.038092 | 0.038092 | 0.038092 | 0.00036671 | 1.1081e-15 | 4.8949e-13 | -0.00023161 | 9.0062e-05 | 9.0062e-05 | -0.033748 | 5.6287e-13 | -2.8307e-13 | 0.025339 | 1.8689e-05 | 1.8689e-05 | 89.3061 | 89.3061 | 89.3061 | -90.7992 | -90.7993 | -90.7993 | 0.66476 | 0 | 0 | 0.66523 | 0.0024147 | 0.0024147 | -0.071379 | 0 | 0 | -0.27554 | -79.0763 | -79.0763
Line_1 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_2 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_3 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 0.66536 | 0.0031048 | 0.0031048 | 0.66536 | 0.0031048 | 0.0031048 | -0.33385 | -79.0929 | -79.0929 | -0.33385 | -79.0929 | -79.0929

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0043968 | 0.0043968 | 0.0043968 | 0.0032989 | 0.0032989 | 0.0032989 | 0.05077 | 0.05077 | 0.05077 | 0.038092 | 0.038092 | 0.038092 | 0.00036671 | 1.1081e-15 | 4.8949e-13 | -0.00023161 | 9.0062e-05 | 9.0062e-05 | -0.033748 | 5.6287e-13 | -2.8307e-13 | 0.025339 | 1.8689e-05 | 1.8689e-05 | 89.3061 | 89.3061 | 89.3061 | -90.7992 | -90.7993 | -90.7993 | 0.66476 | 0 | 0 | 0.66523 | 0.0024147 | 0.0024147 | -0.071379 | 0 | 0 | -0.27554 | -79.0763 | -79.0763
Line_1 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_2 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_3 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 0.66536 | 0.0031048 | 0.0031048 | 0.66536 | 0.0031048 | 0.0031048 | -0.33385 | -79.0929 | -79.0929 | -0.33385 | -79.0929 | -79.0929

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00077635 | 0.00077636 | 0.00077635 | 0.00058249 | 0.00058249 | 0.00058249 | 0.0089646 | 0.0089646 | 0.0089646 | 0.006726 | 0.006726 | 0.006726 | -0.0051115 | -0.001739 | 0.0068619 | 0.0038284 | 0.0013175 | -0.0051475 | -0.0068393 | 0.0072102 | -0.0014231 | 0.005139 | -0.0054067 | 0.0010589 | 124.7032 | 124.7031 | 124.7031 | -55.4022 | -55.4022 | -55.4022 | 0.95245 | 0.82736 | 0.78174 | 0.95277 | 0.82738 | 0.78135 | -2.0702 | -131.7369 | 112.9866 | -2.0872 | -131.7074 | 112.9742
Line_1 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_2 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_3 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00085736 | 0.00090106 | -0.00017567 | -0.00085736 | 0.00090106 | -0.00017567 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 0.95286 | 0.82738 | 0.78123 | 0.95286 | 0.82738 | 0.78123 | -2.0921 | -131.699 | 112.9707 | -2.0921 | -131.699 | 112.9707

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00077635 | 0.00077636 | 0.00077635 | 0.00058249 | 0.00058249 | 0.00058249 | 0.0089646 | 0.0089646 | 0.0089646 | 0.006726 | 0.006726 | 0.006726 | -0.0051115 | -0.001739 | 0.0068619 | 0.0038284 | 0.0013175 | -0.0051475 | -0.0068393 | 0.0072102 | -0.0014231 | 0.005139 | -0.0054067 | 0.0010589 | 124.7032 | 124.7031 | 124.7031 | -55.4022 | -55.4022 | -55.4022 | 0.95245 | 0.82736 | 0.78174 | 0.95277 | 0.82738 | 0.78135 | -2.0702 | -131.7369 | 112.9866 | -2.0872 | -131.7074 | 112.9742
Line_1 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_2 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_3 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00085736 | 0.00090106 | -0.00017567 | -0.00085736 | 0.00090106 | -0.00017567 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 0.95286 | 0.82738 | 0.78123 | 0.95286 | 0.82738 | 0.78123 | -2.0921 | -131.699 | 112.9707 | -2.0921 | -131.699 | 112.9707