## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.78635 | 0.78635 | 1.5487 | 0 | 27.2398 | 27.2398 | -1e-07 | 0.96461 | -1e-07 | 1.0945 | 107.8647 | -72.1353 | 0 | 0.053557 | 0 | -23.5269
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.78635 | 0.78635 | 1.5487 | 0 | 27.2398 | 27.2398 | -1e-07 | 0.96461 | -1e-07 | 1.0945 | 107.8647 | -72.1353 | 0 | 0.053557 | 0 | -23.5269
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.27105 | 0.27105 | 0.53383 | 0 | 9.3894 | 9.3894 | -5.9087 | 6.0233 | -4.2052 | 4.3352 | 132.674 | -47.326 | 0.77239 | 0.79038 | -11.8869 | -11.582
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79038 | 0.79038 | -11.582 | -11.582
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79038 | 0.79038 | -11.582 | -11.582

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.27105 | 0.27105 | 0.53383 | 0 | 9.3894 | 9.3894 | -5.9087 | 6.0233 | -4.2052 | 4.3352 | 132.674 | -47.326 | 0.77239 | 0.79038 | -11.8869 | -11.582
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79038 | 0.79038 | -11.582 | -11.582
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79038 | 0.79038 | -11.582 | -11.582

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77473 | 0.77473 | 1.4838 | 0 | 26.8374 | 26.8374 | -1e-07 | 1.7977 | -1e-07 | 1.0624 | 109.7251 | -70.2749 | 0 | 0.077808 | 0 | -39.6941
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77473 | 0.77473 | 1.4838 | 0 | 26.8374 | 26.8374 | -1e-07 | 1.7977 | -1e-07 | 1.0624 | 109.7251 | -70.2749 | 0 | 0.077808 | 0 | -39.6941
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.2815 | 0.2815 | 0.53914 | 0 | 9.7516 | 9.7516 | -5.4846 | 5.7219 | -3.7684 | 3.9087 | 133.2408 | -46.7592 | 0.6824 | 0.71061 | -12.2664 | -12.4219
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71061 | 0.71061 | -12.4219 | -12.4219
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71061 | 0.71061 | -12.4219 | -12.4219

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.2815 | 0.2815 | 0.53914 | 0 | 9.7516 | 9.7516 | -5.4846 | 5.7219 | -3.7684 | 3.9087 | 133.2408 | -46.7592 | 0.6824 | 0.71061 | -12.2664 | -12.4219
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71061 | 0.71061 | -12.4219 | -12.4219
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71061 | 0.71061 | -12.4219 | -12.4219

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.090526 | 0.68023 | 0.59749 | 0.090526 | 0.68023 | 0.59749 | 1.0453 | 7.8546 | 6.8992 | 1.0453 | 7.8546 | 6.8992 | -1.1201 | -4.3362 | 3.7762 | 1.1244 | 4.5768 | -3.5905 | -0.3107 | 0.51945 | -0.6748 | 0.31554 | -0.24645 | 0.88543 | 166.1719 | 8.5063 | -168.193 | -13.8281 | -171.4937 | 11.807 | 1.112 | 0.55601 | 0.55601 | 1.1172 | 0.58354 | 0.53602 | 1.6752 | -178.3248 | -178.3248 | 1.8479 | -174.5759 | 177.9543
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2705e-11 | -1.1563e-10 | -9.3629e-11 | -7.2721e-11 | 1.1565e-10 | 9.3629e-11 | -1.453e-10 | 1.9179e-09 | -1.8325e-09 | 1.453e-10 | -1.9179e-09 | 1.8325e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1172 | 0.58354 | 0.53602 | 1.1172 | 0.58354 | 0.53602 | 1.8479 | -174.5759 | 177.9543 | 1.8479 | -174.5759 | 177.9543
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2727e-11 | -1.1563e-10 | -9.3604e-11 | -7.2742e-11 | 1.1566e-10 | 9.3609e-11 | -1.4532e-10 | 1.9179e-09 | -1.8325e-09 | 1.4531e-10 | -1.9179e-09 | 1.8325e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1172 | 0.58354 | 0.53602 | 1.1172 | 0.58354 | 0.53602 | 1.8479 | -174.5759 | 177.9543 | 1.8479 | -174.5759 | 177.9543

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.090526 | 0.68023 | 0.59749 | 0.090526 | 0.68023 | 0.59749 | 1.0453 | 7.8546 | 6.8992 | 1.0453 | 7.8546 | 6.8992 | -1.1201 | -4.3362 | 3.7762 | 1.1244 | 4.5768 | -3.5905 | -0.3107 | 0.51945 | -0.6748 | 0.31554 | -0.24645 | 0.88543 | 166.1719 | 8.5063 | -168.193 | -13.8281 | -171.4937 | 11.807 | 1.112 | 0.55601 | 0.55601 | 1.1172 | 0.58354 | 0.53602 | 1.6752 | -178.3248 | -178.3248 | 1.8479 | -174.5759 | 177.9543
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2705e-11 | -1.1563e-10 | -9.3629e-11 | -7.2721e-11 | 1.1565e-10 | 9.3629e-11 | -1.453e-10 | 1.9179e-09 | -1.8325e-09 | 1.453e-10 | -1.9179e-09 | 1.8325e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1172 | 0.58354 | 0.53602 | 1.1172 | 0.58354 | 0.53602 | 1.8479 | -174.5759 | 177.9543 | 1.8479 | -174.5759 | 177.9543
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2727e-11 | -1.1563e-10 | -9.3604e-11 | -7.2742e-11 | 1.1566e-10 | 9.3609e-11 | -1.4532e-10 | 1.9179e-09 | -1.8325e-09 | 1.4531e-10 | -1.9179e-09 | 1.8325e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1172 | 0.58354 | 0.53602 | 1.1172 | 0.58354 | 0.53602 | 1.8479 | -174.5759 | 177.9543 | 1.8479 | -174.5759 | 177.9543

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.047731 | 0.35867 | 0.31504 | 0.047731 | 0.35867 | 0.31504 | 0.55115 | 4.1415 | 3.6377 | 0.55115 | 4.1415 | 3.6377 | -0.60452 | -3.5646 | 0.31475 | 0.6057 | 3.6315 | -0.26314 | 0.047691 | -0.404 | -2.184 | -0.046347 | 0.4799 | 2.2425 | -174.542 | 27.7924 | -148.9069 | 5.458 | -152.2076 | 31.0931 | 1.1002 | 0.86622 | 0.60657 | 1.1022 | 0.88449 | 0.6207 | 0.9472 | -145.7416 | 129.2939 | 1.0824 | -144.6798 | 127.7855
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6259e-12 | -3.7307e-10 | -1.0678e-09 | -9.6284e-12 | 3.7308e-10 | 1.0678e-09 | -8.3983e-11 | 1.4896e-09 | -3.3913e-10 | 8.3977e-11 | -1.4896e-09 | 3.3914e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1022 | 0.88449 | 0.6207 | 1.1022 | 0.88449 | 0.6207 | 1.0824 | -144.6798 | 127.7855 | 1.0824 | -144.6798 | 127.7855
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6258e-12 | -3.7306e-10 | -1.0678e-09 | -9.6309e-12 | 3.7306e-10 | 1.0678e-09 | -8.3977e-11 | 1.4896e-09 | -3.3914e-10 | 8.3975e-11 | -1.4896e-09 | 3.3914e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1022 | 0.88449 | 0.6207 | 1.1022 | 0.88449 | 0.6207 | 1.0824 | -144.6798 | 127.7855 | 1.0824 | -144.6798 | 127.7855

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.047731 | 0.35867 | 0.31504 | 0.047731 | 0.35867 | 0.31504 | 0.55115 | 4.1415 | 3.6377 | 0.55115 | 4.1415 | 3.6377 | -0.60452 | -3.5646 | 0.31475 | 0.6057 | 3.6315 | -0.26314 | 0.047691 | -0.404 | -2.184 | -0.046347 | 0.4799 | 2.2425 | -174.542 | 27.7924 | -148.9069 | 5.458 | -152.2076 | 31.0931 | 1.1002 | 0.86622 | 0.60657 | 1.1022 | 0.88449 | 0.6207 | 0.9472 | -145.7416 | 129.2939 | 1.0824 | -144.6798 | 127.7855
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6259e-12 | -3.7307e-10 | -1.0678e-09 | -9.6284e-12 | 3.7308e-10 | 1.0678e-09 | -8.3983e-11 | 1.4896e-09 | -3.3913e-10 | 8.3977e-11 | -1.4896e-09 | 3.3914e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1022 | 0.88449 | 0.6207 | 1.1022 | 0.88449 | 0.6207 | 1.0824 | -144.6798 | 127.7855 | 1.0824 | -144.6798 | 127.7855
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6258e-12 | -3.7306e-10 | -1.0678e-09 | -9.6309e-12 | 3.7306e-10 | 1.0678e-09 | -8.3977e-11 | 1.4896e-09 | -3.3914e-10 | 8.3975e-11 | -1.4896e-09 | 3.3914e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1022 | 0.88449 | 0.6207 | 1.1022 | 0.88449 | 0.6207 | 1.0824 | -144.6798 | 127.7855 | 1.0824 | -144.6798 | 127.7855

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.084747 | 0.67204 | 0.59382 | 0.084747 | 0.67204 | 0.59382 | 0.97858 | 7.76 | 6.8568 | 0.97858 | 7.76 | 6.8568 | -0.96496 | -3.8802 | 3.3977 | 0.97213 | 4.3311 | -3.0456 | -0.21836 | 0.57655 | -0.68573 | 0.2226 | -0.31009 | 0.89378 | 169.2442 | 10.4465 | -166.5948 | -10.7558 | -169.5535 | 13.4052 | 1.011 | 0.50551 | 0.50551 | 1.0191 | 0.55955 | 0.4629 | 1.9948 | -178.0052 | -178.0052 | 2.1413 | -173.6486 | 177.0501
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4053e-11 | -6.808e-11 | -1.3748e-10 | -7.4053e-11 | 6.8086e-11 | 1.3749e-10 | -1.3961e-10 | 1.6524e-09 | -1.4243e-09 | 1.3961e-10 | -1.6524e-09 | 1.4243e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0191 | 0.55955 | 0.4629 | 1.0191 | 0.55955 | 0.4629 | 2.1413 | -173.6486 | 177.0501 | 2.1413 | -173.6486 | 177.0501
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4053e-11 | -6.8082e-11 | -1.3749e-10 | -7.4054e-11 | 6.8087e-11 | 1.3749e-10 | -1.3962e-10 | 1.6524e-09 | -1.4243e-09 | 1.3963e-10 | -1.6524e-09 | 1.4243e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0191 | 0.55955 | 0.4629 | 1.0191 | 0.55955 | 0.4629 | 2.1413 | -173.6486 | 177.0501 | 2.1413 | -173.6486 | 177.0501

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.084747 | 0.67204 | 0.59382 | 0.084747 | 0.67204 | 0.59382 | 0.97858 | 7.76 | 6.8568 | 0.97858 | 7.76 | 6.8568 | -0.96496 | -3.8802 | 3.3977 | 0.97213 | 4.3311 | -3.0456 | -0.21836 | 0.57655 | -0.68573 | 0.2226 | -0.31009 | 0.89378 | 169.2442 | 10.4465 | -166.5948 | -10.7558 | -169.5535 | 13.4052 | 1.011 | 0.50551 | 0.50551 | 1.0191 | 0.55955 | 0.4629 | 1.9948 | -178.0052 | -178.0052 | 2.1413 | -173.6486 | 177.0501
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4053e-11 | -6.808e-11 | -1.3748e-10 | -7.4053e-11 | 6.8086e-11 | 1.3749e-10 | -1.3961e-10 | 1.6524e-09 | -1.4243e-09 | 1.3961e-10 | -1.6524e-09 | 1.4243e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0191 | 0.55955 | 0.4629 | 1.0191 | 0.55955 | 0.4629 | 2.1413 | -173.6486 | 177.0501 | 2.1413 | -173.6486 | 177.0501
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4053e-11 | -6.8082e-11 | -1.3749e-10 | -7.4054e-11 | 6.8087e-11 | 1.3749e-10 | -1.3962e-10 | 1.6524e-09 | -1.4243e-09 | 1.3963e-10 | -1.6524e-09 | 1.4243e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0191 | 0.55955 | 0.4629 | 1.0191 | 0.55955 | 0.4629 | 2.1413 | -173.6486 | 177.0501 | 2.1413 | -173.6486 | 177.0501

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.046416 | 0.36807 | 0.32523 | 0.046416 | 0.36807 | 0.32523 | 0.53596 | 4.2501 | 3.7555 | 0.53596 | 4.2501 | 3.7555 | -0.53252 | -3.2832 | 0.32684 | 0.53467 | 3.4184 | -0.22123 | 0.058683 | -0.26726 | -1.9885 | -0.057411 | 0.34719 | 2.0509 | -172.56 | 28.6424 | -148.399 | 7.44 | -151.3576 | 31.601 | 0.9996 | 0.77504 | 0.5366 | 1.0033 | 0.80844 | 0.54929 | 1.1516 | -146.7038 | 130.9349 | 1.3113 | -145.5583 | 127.7576
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3206e-11 | -2.7776e-10 | -8.8932e-10 | -1.3208e-11 | 2.7776e-10 | 8.8933e-10 | -8.419e-11 | 1.2789e-09 | -2.7185e-10 | 8.419e-11 | -1.2789e-09 | 2.7185e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0033 | 0.80844 | 0.54929 | 1.0033 | 0.80844 | 0.54929 | 1.3113 | -145.5583 | 127.7576 | 1.3113 | -145.5583 | 127.7576
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3209e-11 | -2.7776e-10 | -8.8932e-10 | -1.3212e-11 | 2.7776e-10 | 8.8932e-10 | -8.4192e-11 | 1.2789e-09 | -2.7186e-10 | 8.4195e-11 | -1.2789e-09 | 2.7185e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0033 | 0.80844 | 0.54929 | 1.0033 | 0.80844 | 0.54929 | 1.3113 | -145.5583 | 127.7576 | 1.3113 | -145.5583 | 127.7576

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.046416 | 0.36807 | 0.32523 | 0.046416 | 0.36807 | 0.32523 | 0.53596 | 4.2501 | 3.7555 | 0.53596 | 4.2501 | 3.7555 | -0.53252 | -3.2832 | 0.32684 | 0.53467 | 3.4184 | -0.22123 | 0.058683 | -0.26726 | -1.9885 | -0.057411 | 0.34719 | 2.0509 | -172.56 | 28.6424 | -148.399 | 7.44 | -151.3576 | 31.601 | 0.9996 | 0.77504 | 0.5366 | 1.0033 | 0.80844 | 0.54929 | 1.1516 | -146.7038 | 130.9349 | 1.3113 | -145.5583 | 127.7576
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3206e-11 | -2.7776e-10 | -8.8932e-10 | -1.3208e-11 | 2.7776e-10 | 8.8933e-10 | -8.419e-11 | 1.2789e-09 | -2.7185e-10 | 8.419e-11 | -1.2789e-09 | 2.7185e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0033 | 0.80844 | 0.54929 | 1.0033 | 0.80844 | 0.54929 | 1.3113 | -145.5583 | 127.7576 | 1.3113 | -145.5583 | 127.7576
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3209e-11 | -2.7776e-10 | -8.8932e-10 | -1.3212e-11 | 2.7776e-10 | 8.8932e-10 | -8.4192e-11 | 1.2789e-09 | -2.7186e-10 | 8.4195e-11 | -1.2789e-09 | 2.7185e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0033 | 0.80844 | 0.54929 | 1.0033 | 0.80844 | 0.54929 | 1.3113 | -145.5583 | 127.7576 | 1.3113 | -145.5583 | 127.7576

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.86544 | 0.1526 | 0.081846 | 0.86693 | 0.15408 | 0.082733 | 9.9932 | 1.7621 | 0.94508 | 10.0105 | 1.7791 | 0.95532 | -5.9344e-12 | -1.3033 | 0.88781 | 1.3591 | 1.5071 | -0.81518 | 3.3243e-11 | 1.3419 | -0.56534 | 0.78217 | -1.2913 | 0.51739 | 103.7165 | 108.1523 | 151.0377 | -76.2958 | -71.9597 | -29.8118 | 0 | 1.0616 | 1.1137 | 0.15665 | 1.1155 | 1.0107 | 0 | -117.6835 | 118.5496 | -46.3755 | -112.5504 | 117.7854
Line_1 | 0.0013685 | 0.0013685 | 0.0013685 | 0 | 0 | 0 | 0.015802 | 0.015802 | 0.015802 | 0 | 0 | 0 | 0.0022221 | 0.013496 | -0.015713 | 3.456e-10 | -1.0083e-10 | 3.2725e-10 | 0.0010905 | -0.011339 | -0.0028555 | -4.5662e-10 | 5.8244e-10 | -1.5737e-10 | -72.5146 | -72.5146 | -72.5146 | 0 | 0 | 0 | 0.15665 | 1.1155 | 1.0107 | 0.15641 | 1.1154 | 1.0109 | -46.3755 | -112.5504 | 117.7854 | -46.3687 | -112.561 | 117.788
Line_2 | 0.0013685 | 0.0013685 | 0.0013685 | 0 | 0 | 0 | 0.015802 | 0.015802 | 0.015802 | 0 | 0 | 0 | 0.0022221 | 0.013496 | -0.015713 | 3.456e-10 | -1.0082e-10 | 3.2723e-10 | 0.0010905 | -0.011339 | -0.0028555 | -4.5662e-10 | 5.8245e-10 | -1.5737e-10 | -72.5146 | -72.5146 | -72.5146 | 0 | 0 | 0 | 0.15665 | 1.1155 | 1.0107 | 0.15641 | 1.1154 | 1.0109 | -46.3755 | -112.5504 | 117.7854 | -46.3687 | -112.561 | 117.788

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.86544 | 0.1526 | 0.081846 | 0.86693 | 0.15408 | 0.082733 | 9.9932 | 1.7621 | 0.94508 | 10.0105 | 1.7791 | 0.95532 | -5.9344e-12 | -1.3033 | 0.88781 | 1.3591 | 1.5071 | -0.81518 | 3.3243e-11 | 1.3419 | -0.56534 | 0.78217 | -1.2913 | 0.51739 | 103.7165 | 108.1523 | 151.0377 | -76.2958 | -71.9597 | -29.8118 | 0 | 1.0616 | 1.1137 | 0.15665 | 1.1155 | 1.0107 | 0 | -117.6835 | 118.5496 | -46.3755 | -112.5504 | 117.7854
Line_1 | 0.0013685 | 0.0013685 | 0.0013685 | 0 | 0 | 0 | 0.015802 | 0.015802 | 0.015802 | 0 | 0 | 0 | 0.0022221 | 0.013496 | -0.015713 | 3.456e-10 | -1.0083e-10 | 3.2725e-10 | 0.0010905 | -0.011339 | -0.0028555 | -4.5662e-10 | 5.8244e-10 | -1.5737e-10 | -72.5146 | -72.5146 | -72.5146 | 0 | 0 | 0 | 0.15665 | 1.1155 | 1.0107 | 0.15641 | 1.1154 | 1.0109 | -46.3755 | -112.5504 | 117.7854 | -46.3687 | -112.561 | 117.788
Line_2 | 0.0013685 | 0.0013685 | 0.0013685 | 0 | 0 | 0 | 0.015802 | 0.015802 | 0.015802 | 0 | 0 | 0 | 0.0022221 | 0.013496 | -0.015713 | 3.456e-10 | -1.0082e-10 | 3.2723e-10 | 0.0010905 | -0.011339 | -0.0028555 | -4.5662e-10 | 5.8245e-10 | -1.5737e-10 | -72.5146 | -72.5146 | -72.5146 | 0 | 0 | 0 | 0.15665 | 1.1155 | 1.0107 | 0.15641 | 1.1154 | 1.0109 | -46.3755 | -112.5504 | 117.7854 | -46.3687 | -112.561 | 117.788

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2941 | 0.051858 | 0.027814 | 0.29461 | 0.05236 | 0.028115 | 3.396 | 0.5988 | 0.32116 | 3.4018 | 0.6046 | 0.32464 | -2.0619 | -0.18634 | 0.19435 | 2.222 | 0.21114 | -0.19043 | -1.6601 | 0.62035 | -0.29818 | 1.7537 | -0.61894 | 0.29377 | 129.2377 | 133.6735 | 176.5589 | -50.7746 | -46.4385 | -4.2906 | 0.77948 | 1.0817 | 1.1082 | 0.83211 | 1.0816 | 1.0784 | -11.9242 | -119.6073 | 119.654 | -12.4932 | -117.6026 | 118.6627
Line_1 | 0.00046504 | 0.00046504 | 0.00046504 | 0 | 0 | 0 | 0.0053698 | 0.0053698 | 0.0053698 | 0 | 0 | 0 | 0.0036824 | 0.0019284 | -0.0056102 | 7.3806e-10 | 6.9006e-11 | 8.4035e-11 | 0.0025309 | -0.0054788 | 0.0014346 | -7.2588e-10 | 1.8217e-10 | -1.0133e-10 | -46.9935 | -46.9934 | -46.9934 | 0 | 0 | 0 | 0.83211 | 1.0816 | 1.0784 | 0.83203 | 1.0816 | 1.0784 | -12.4932 | -117.6026 | 118.6627 | -12.4919 | -117.6068 | 118.6652
Line_2 | 0.00046504 | 0.00046504 | 0.00046504 | 0 | 0 | 0 | 0.0053698 | 0.0053698 | 0.0053698 | 0 | 0 | 0 | 0.0036824 | 0.0019284 | -0.0056102 | 7.3807e-10 | 6.9009e-11 | 8.4035e-11 | 0.0025309 | -0.0054788 | 0.0014346 | -7.2589e-10 | 1.8217e-10 | -1.0132e-10 | -46.9935 | -46.9934 | -46.9934 | 0 | 0 | 0 | 0.83211 | 1.0816 | 1.0784 | 0.83203 | 1.0816 | 1.0784 | -12.4932 | -117.6026 | 118.6627 | -12.4919 | -117.6068 | 118.6652

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2941 | 0.051858 | 0.027814 | 0.29461 | 0.05236 | 0.028115 | 3.396 | 0.5988 | 0.32116 | 3.4018 | 0.6046 | 0.32464 | -2.0619 | -0.18634 | 0.19435 | 2.222 | 0.21114 | -0.19043 | -1.6601 | 0.62035 | -0.29818 | 1.7537 | -0.61894 | 0.29377 | 129.2377 | 133.6735 | 176.5589 | -50.7746 | -46.4385 | -4.2906 | 0.77948 | 1.0817 | 1.1082 | 0.83211 | 1.0816 | 1.0784 | -11.9242 | -119.6073 | 119.654 | -12.4932 | -117.6026 | 118.6627
Line_1 | 0.00046504 | 0.00046504 | 0.00046504 | 0 | 0 | 0 | 0.0053698 | 0.0053698 | 0.0053698 | 0 | 0 | 0 | 0.0036824 | 0.0019284 | -0.0056102 | 7.3806e-10 | 6.9006e-11 | 8.4035e-11 | 0.0025309 | -0.0054788 | 0.0014346 | -7.2588e-10 | 1.8217e-10 | -1.0133e-10 | -46.9935 | -46.9934 | -46.9934 | 0 | 0 | 0 | 0.83211 | 1.0816 | 1.0784 | 0.83203 | 1.0816 | 1.0784 | -12.4932 | -117.6026 | 118.6627 | -12.4919 | -117.6068 | 118.6652
Line_2 | 0.00046504 | 0.00046504 | 0.00046504 | 0 | 0 | 0 | 0.0053698 | 0.0053698 | 0.0053698 | 0 | 0 | 0 | 0.0036824 | 0.0019284 | -0.0056102 | 7.3807e-10 | 6.9009e-11 | 8.4035e-11 | 0.0025309 | -0.0054788 | 0.0014346 | -7.2589e-10 | 1.8217e-10 | -1.0132e-10 | -46.9935 | -46.9934 | -46.9934 | 0 | 0 | 0 | 0.83211 | 1.0816 | 1.0784 | 0.83203 | 1.0816 | 1.0784 | -12.4932 | -117.6026 | 118.6627 | -12.4919 | -117.6068 | 118.6652

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80053 | 0.12293 | 0.11275 | 0.80179 | 0.12388 | 0.11272 | 9.2438 | 1.4194 | 1.3019 | 9.2583 | 1.4304 | 1.3016 | 1.6815e-11 | -0.21738 | 0.41253 | 2.1122 | 0.47883 | -0.30811 | 2.5662e-11 | 1.3286 | -1.2959 | 0.87861 | -1.3757 | 1.1076 | 110.9836 | 141.4976 | -168.7674 | -69.0345 | -38.8979 | 10.5824 | 0 | 0.94849 | 1.0446 | 0.24709 | 1.0183 | 0.88333 | 0 | -119.2105 | 118.8904 | -46.4483 | -109.7069 | 116.1273
Line_1 | 0.0010881 | 0.0010881 | 0.0010881 | 0 | 0 | 0 | 0.012565 | 0.012565 | 0.012565 | 0 | 0 | 0 | 0.0030358 | 0.008021 | -0.011051 | 4.0014e-10 | -1.2769e-10 | 3.6958e-10 | 0.00064971 | -0.0099685 | 0.0010338 | -6.5571e-10 | 6.6598e-10 | -2.1847e-10 | -58.5282 | -58.5281 | -58.5281 | 0 | 0 | 0 | 0.24709 | 1.0183 | 0.88333 | 0.24675 | 1.0182 | 0.88366 | -46.4483 | -109.7069 | 116.1273 | -46.4477 | -109.724 | 116.1338
Line_2 | 0.0010881 | 0.0010881 | 0.0010881 | 0 | 0 | 0 | 0.012565 | 0.012565 | 0.012565 | 0 | 0 | 0 | 0.0030358 | 0.008021 | -0.011051 | 4.0014e-10 | -1.2768e-10 | 3.6958e-10 | 0.00064971 | -0.0099685 | 0.0010338 | -6.5571e-10 | 6.6597e-10 | -2.1847e-10 | -58.5282 | -58.5281 | -58.5281 | 0 | 0 | 0 | 0.24709 | 1.0183 | 0.88333 | 0.24675 | 1.0182 | 0.88366 | -46.4483 | -109.7069 | 116.1273 | -46.4477 | -109.724 | 116.1338

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80053 | 0.12293 | 0.11275 | 0.80179 | 0.12388 | 0.11272 | 9.2438 | 1.4194 | 1.3019 | 9.2583 | 1.4304 | 1.3016 | 1.6815e-11 | -0.21738 | 0.41253 | 2.1122 | 0.47883 | -0.30811 | 2.5662e-11 | 1.3286 | -1.2959 | 0.87861 | -1.3757 | 1.1076 | 110.9836 | 141.4976 | -168.7674 | -69.0345 | -38.8979 | 10.5824 | 0 | 0.94849 | 1.0446 | 0.24709 | 1.0183 | 0.88333 | 0 | -119.2105 | 118.8904 | -46.4483 | -109.7069 | 116.1273
Line_1 | 0.0010881 | 0.0010881 | 0.0010881 | 0 | 0 | 0 | 0.012565 | 0.012565 | 0.012565 | 0 | 0 | 0 | 0.0030358 | 0.008021 | -0.011051 | 4.0014e-10 | -1.2769e-10 | 3.6958e-10 | 0.00064971 | -0.0099685 | 0.0010338 | -6.5571e-10 | 6.6598e-10 | -2.1847e-10 | -58.5282 | -58.5281 | -58.5281 | 0 | 0 | 0 | 0.24709 | 1.0183 | 0.88333 | 0.24675 | 1.0182 | 0.88366 | -46.4483 | -109.7069 | 116.1273 | -46.4477 | -109.724 | 116.1338
Line_2 | 0.0010881 | 0.0010881 | 0.0010881 | 0 | 0 | 0 | 0.012565 | 0.012565 | 0.012565 | 0 | 0 | 0 | 0.0030358 | 0.008021 | -0.011051 | 4.0014e-10 | -1.2768e-10 | 3.6958e-10 | 0.00064971 | -0.0099685 | 0.0010338 | -6.5571e-10 | 6.6597e-10 | -2.1847e-10 | -58.5282 | -58.5281 | -58.5281 | 0 | 0 | 0 | 0.24709 | 1.0183 | 0.88333 | 0.24675 | 1.0182 | 0.88366 | -46.4483 | -109.7069 | 116.1273 | -46.4477 | -109.724 | 116.1338

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2892 | 0.044407 | 0.040731 | 0.28965 | 0.044752 | 0.04072 | 3.3394 | 0.51277 | 0.47032 | 3.3446 | 0.51675 | 0.47019 | -1.8997 | 0.13001 | -0.038017 | 2.1779 | -0.094941 | 0.04812 | -1.2641 | 0.48595 | -0.4771 | 1.3814 | -0.49561 | 0.45347 | 134.2865 | 164.8006 | -145.4644 | -45.7316 | -15.5949 | 33.8853 | 0.68333 | 0.98102 | 1.0176 | 0.77112 | 0.97652 | 0.96984 | -12.0719 | -120.1774 | 119.9796 | -13.3458 | -116.4394 | 117.8281
Line_1 | 0.00039309 | 0.00039309 | 0.00039309 | 0 | 0 | 0 | 0.004539 | 0.004539 | 0.004539 | 0 | 0 | 0 | 0.003248 | 0.00067702 | -0.0039242 | 5.7107e-10 | 7.7158e-11 | 1.0436e-10 | 0.0013043 | -0.0043805 | 0.0019949 | -6.5247e-10 | 2.2192e-10 | -1.345e-10 | -35.2252 | -35.2252 | -35.2252 | 0 | 0 | 0 | 0.77112 | 0.97652 | 0.96984 | 0.771 | 0.97653 | 0.96994 | -13.3458 | -116.4394 | 117.8281 | -13.3442 | -116.4466 | 117.8326
Line_2 | 0.00039309 | 0.00039309 | 0.00039309 | 0 | 0 | 0 | 0.004539 | 0.004539 | 0.004539 | 0 | 0 | 0 | 0.003248 | 0.00067702 | -0.0039242 | 5.7107e-10 | 7.7161e-11 | 1.0436e-10 | 0.0013043 | -0.0043805 | 0.0019949 | -6.5247e-10 | 2.2192e-10 | -1.345e-10 | -35.2252 | -35.2252 | -35.2252 | 0 | 0 | 0 | 0.77112 | 0.97652 | 0.96984 | 0.771 | 0.97653 | 0.96994 | -13.3458 | -116.4394 | 117.8281 | -13.3442 | -116.4466 | 117.8326

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2892 | 0.044407 | 0.040731 | 0.28965 | 0.044752 | 0.04072 | 3.3394 | 0.51277 | 0.47032 | 3.3446 | 0.51675 | 0.47019 | -1.8997 | 0.13001 | -0.038017 | 2.1779 | -0.094941 | 0.04812 | -1.2641 | 0.48595 | -0.4771 | 1.3814 | -0.49561 | 0.45347 | 134.2865 | 164.8006 | -145.4644 | -45.7316 | -15.5949 | 33.8853 | 0.68333 | 0.98102 | 1.0176 | 0.77112 | 0.97652 | 0.96984 | -12.0719 | -120.1774 | 119.9796 | -13.3458 | -116.4394 | 117.8281
Line_1 | 0.00039309 | 0.00039309 | 0.00039309 | 0 | 0 | 0 | 0.004539 | 0.004539 | 0.004539 | 0 | 0 | 0 | 0.003248 | 0.00067702 | -0.0039242 | 5.7107e-10 | 7.7158e-11 | 1.0436e-10 | 0.0013043 | -0.0043805 | 0.0019949 | -6.5247e-10 | 2.2192e-10 | -1.345e-10 | -35.2252 | -35.2252 | -35.2252 | 0 | 0 | 0 | 0.77112 | 0.97652 | 0.96984 | 0.771 | 0.97653 | 0.96994 | -13.3458 | -116.4394 | 117.8281 | -13.3442 | -116.4466 | 117.8326
Line_2 | 0.00039309 | 0.00039309 | 0.00039309 | 0 | 0 | 0 | 0.004539 | 0.004539 | 0.004539 | 0 | 0 | 0 | 0.003248 | 0.00067702 | -0.0039242 | 5.7107e-10 | 7.7161e-11 | 1.0436e-10 | 0.0013043 | -0.0043805 | 0.0019949 | -6.5247e-10 | 2.2192e-10 | -1.345e-10 | -35.2252 | -35.2252 | -35.2252 | 0 | 0 | 0 | 0.77112 | 0.97652 | 0.96984 | 0.771 | 0.97653 | 0.96994 | -13.3458 | -116.4394 | 117.8281 | -13.3442 | -116.4466 | 117.8326

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.075884 | 0.90815 | 0.76846 | 0.077307 | 0.90898 | 0.76961 | 0.87624 | 10.4864 | 8.8734 | 0.89266 | 10.496 | 8.8867 | -0.27678 | -2.4941e-11 | -1.5193e-11 | 0.33618 | 1.3847 | 0.64086 | 0.89881 | 2.0148e-11 | 2.2701e-11 | -0.8395 | -0.10702 | 1.2419 | -106.5315 | -22.312 | -123.9235 | 73.979 | 157.6034 | 56.1571 | 1.0733 | 0 | 0 | 1.013 | 0.13232 | 0.15726 | 0.5843 | 0 | 0 | 5.8025 | 153.184 | 118.8614
Line_1 | 0.0014313 | 0.0014313 | 0.0014313 | 0 | 0 | 0 | 0.016527 | 0.016527 | 0.016527 | 0 | 0 | 0 | -0.0041635 | 0.0015998 | 0.0025693 | 3.0167e-10 | -3.4023e-11 | 5.4277e-10 | -0.016217 | 0.0014909 | 0.00039131 | 4.1235e-10 | -5.3193e-10 | -1.281e-11 | 110.2017 | 110.2017 | 110.2017 | 0 | 0 | 0 | 1.013 | 0.13232 | 0.15726 | 1.0132 | 0.13209 | 0.15702 | 5.8025 | 153.184 | 118.8614 | 5.7913 | 153.2229 | 118.8411
Line_2 | 0.0014313 | 0.0014313 | 0.0014313 | 0 | 0 | 0 | 0.016527 | 0.016527 | 0.016527 | 0 | 0 | 0 | -0.0041635 | 0.0015998 | 0.0025693 | 3.0164e-10 | -3.4023e-11 | 5.4277e-10 | -0.016217 | 0.0014909 | 0.00039131 | 4.1236e-10 | -5.3192e-10 | -1.2804e-11 | 110.2017 | 110.2017 | 110.2017 | 0 | 0 | 0 | 1.013 | 0.13232 | 0.15726 | 1.0132 | 0.13209 | 0.15702 | 5.8025 | 153.184 | 118.8614 | 5.7913 | 153.2229 | 118.8411

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.075884 | 0.90815 | 0.76846 | 0.077307 | 0.90898 | 0.76961 | 0.87624 | 10.4864 | 8.8734 | 0.89266 | 10.496 | 8.8867 | -0.27678 | -2.4941e-11 | -1.5193e-11 | 0.33618 | 1.3847 | 0.64086 | 0.89881 | 2.0148e-11 | 2.2701e-11 | -0.8395 | -0.10702 | 1.2419 | -106.5315 | -22.312 | -123.9235 | 73.979 | 157.6034 | 56.1571 | 1.0733 | 0 | 0 | 1.013 | 0.13232 | 0.15726 | 0.5843 | 0 | 0 | 5.8025 | 153.184 | 118.8614
Line_1 | 0.0014313 | 0.0014313 | 0.0014313 | 0 | 0 | 0 | 0.016527 | 0.016527 | 0.016527 | 0 | 0 | 0 | -0.0041635 | 0.0015998 | 0.0025693 | 3.0167e-10 | -3.4023e-11 | 5.4277e-10 | -0.016217 | 0.0014909 | 0.00039131 | 4.1235e-10 | -5.3193e-10 | -1.281e-11 | 110.2017 | 110.2017 | 110.2017 | 0 | 0 | 0 | 1.013 | 0.13232 | 0.15726 | 1.0132 | 0.13209 | 0.15702 | 5.8025 | 153.184 | 118.8614 | 5.7913 | 153.2229 | 118.8411
Line_2 | 0.0014313 | 0.0014313 | 0.0014313 | 0 | 0 | 0 | 0.016527 | 0.016527 | 0.016527 | 0 | 0 | 0 | -0.0041635 | 0.0015998 | 0.0025693 | 3.0164e-10 | -3.4023e-11 | 5.4277e-10 | -0.016217 | 0.0014909 | 0.00039131 | 4.1236e-10 | -5.3192e-10 | -1.2804e-11 | 110.2017 | 110.2017 | 110.2017 | 0 | 0 | 0 | 1.013 | 0.13232 | 0.15726 | 1.0132 | 0.13209 | 0.15702 | 5.8025 | 153.184 | 118.8614 | 5.7913 | 153.2229 | 118.8411

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025793 | 0.30586 | 0.26381 | 0.026242 | 0.30612 | 0.26418 | 0.29784 | 3.5318 | 3.0462 | 0.30302 | 3.5347 | 3.0504 | 0.019871 | -2.0046 | -2.035 | -0.017089 | 2.1546 | 2.1113 | 0.32408 | -1.9166 | -1.1445 | -0.32034 | 1.9067 | 1.2854 | -86.4716 | 4.0238 | -100.8777 | 94.0891 | -176.0603 | 79.2004 | 1.0902 | 0.78526 | 0.76646 | 1.0587 | 0.81396 | 0.81032 | 0.019669 | -132.2614 | 108.4772 | 1.0355 | -134.5528 | 110.5331
Line_1 | 0.00046814 | 0.00046814 | 0.00046814 | 0 | 0 | 0 | 0.0054056 | 0.0054056 | 0.0054056 | 0 | 0 | 0 | -0.0039165 | -9.4e-05 | 0.0040111 | 1.5952e-10 | 7.485e-10 | 8.1626e-10 | -0.0041725 | 0.0043989 | -0.0017599 | 7.7034e-11 | -8.246e-10 | -5.3775e-10 | 134.223 | 134.223 | 134.223 | 0 | 0 | 0 | 1.0587 | 0.81396 | 0.81032 | 1.0587 | 0.81393 | 0.81026 | 1.0355 | -134.5528 | 110.5331 | 1.0336 | -134.5475 | 110.529
Line_2 | 0.00046814 | 0.00046814 | 0.00046814 | 0 | 0 | 0 | 0.0054056 | 0.0054056 | 0.0054056 | 0 | 0 | 0 | -0.0039165 | -9.4e-05 | 0.0040111 | 1.5952e-10 | 7.4849e-10 | 8.1627e-10 | -0.0041725 | 0.0043989 | -0.0017599 | 7.7039e-11 | -8.246e-10 | -5.3775e-10 | 134.223 | 134.223 | 134.223 | 0 | 0 | 0 | 1.0587 | 0.81396 | 0.81032 | 1.0587 | 0.81393 | 0.81026 | 1.0355 | -134.5528 | 110.5331 | 1.0336 | -134.5475 | 110.529

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.025793 | 0.30586 | 0.26381 | 0.026242 | 0.30612 | 0.26418 | 0.29784 | 3.5318 | 3.0462 | 0.30302 | 3.5347 | 3.0504 | 0.019871 | -2.0046 | -2.035 | -0.017089 | 2.1546 | 2.1113 | 0.32408 | -1.9166 | -1.1445 | -0.32034 | 1.9067 | 1.2854 | -86.4716 | 4.0238 | -100.8777 | 94.0891 | -176.0603 | 79.2004 | 1.0902 | 0.78526 | 0.76646 | 1.0587 | 0.81396 | 0.81032 | 0.019669 | -132.2614 | 108.4772 | 1.0355 | -134.5528 | 110.5331
Line_1 | 0.00046814 | 0.00046814 | 0.00046814 | 0 | 0 | 0 | 0.0054056 | 0.0054056 | 0.0054056 | 0 | 0 | 0 | -0.0039165 | -9.4e-05 | 0.0040111 | 1.5952e-10 | 7.485e-10 | 8.1626e-10 | -0.0041725 | 0.0043989 | -0.0017599 | 7.7034e-11 | -8.246e-10 | -5.3775e-10 | 134.223 | 134.223 | 134.223 | 0 | 0 | 0 | 1.0587 | 0.81396 | 0.81032 | 1.0587 | 0.81393 | 0.81026 | 1.0355 | -134.5528 | 110.5331 | 1.0336 | -134.5475 | 110.529
Line_2 | 0.00046814 | 0.00046814 | 0.00046814 | 0 | 0 | 0 | 0.0054056 | 0.0054056 | 0.0054056 | 0 | 0 | 0 | -0.0039165 | -9.4e-05 | 0.0040111 | 1.5952e-10 | 7.4849e-10 | 8.1627e-10 | -0.0041725 | 0.0043989 | -0.0017599 | 7.7039e-11 | -8.246e-10 | -5.3775e-10 | 134.223 | 134.223 | 134.223 | 0 | 0 | 0 | 1.0587 | 0.81396 | 0.81032 | 1.0587 | 0.81393 | 0.81026 | 1.0355 | -134.5528 | 110.5331 | 1.0336 | -134.5475 | 110.529

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02481 | 0.92117 | 0.65179 | 0.025395 | 0.92179 | 0.65269 | 0.28648 | 10.6367 | 7.5262 | 0.29323 | 10.6439 | 7.5367 | 0.28093 | -1.4285e-13 | -3.3562e-12 | -0.24135 | 2.4094 | 0.72974 | 0.051518 | -1.9675e-11 | -1.3691e-11 | -0.092566 | -0.45766 | 1.5124 | -10.9831 | -14.1098 | -122.257 | 166.3321 | 165.8182 | 57.8264 | 0.99697 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | -0.59139 | 0 | 0 | 7.3156 | 155.0629 | 122.0682
Line_1 | 0.0011167 | 0.0011167 | 0.0011167 | 0 | 0 | 0 | 0.012895 | 0.012895 | 0.012895 | 0 | 0 | 0 | -0.0054566 | 0.002597 | 0.0028662 | 3.5609e-10 | -1.1926e-10 | 6.3372e-10 | -0.0099717 | 0.0014431 | -0.00019717 | 4.1071e-10 | -8.4028e-10 | 2.9087e-11 | 126.0035 | 126.0035 | 126.0035 | 0 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | 0.88176 | 0.23007 | 0.22247 | 7.3156 | 155.0629 | 122.0682 | 7.2983 | 155.0889 | 122.0439
Line_2 | 0.0011167 | 0.0011167 | 0.0011167 | 0 | 0 | 0 | 0.012895 | 0.012895 | 0.012895 | 0 | 0 | 0 | -0.0054566 | 0.002597 | 0.0028662 | 3.5609e-10 | -1.1926e-10 | 6.3372e-10 | -0.0099717 | 0.0014431 | -0.00019717 | 4.1072e-10 | -8.4028e-10 | 2.909e-11 | 126.0035 | 126.0035 | 126.0035 | 0 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | 0.88176 | 0.23007 | 0.22247 | 7.3156 | 155.0629 | 122.0682 | 7.2983 | 155.0889 | 122.0439

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02481 | 0.92117 | 0.65179 | 0.025395 | 0.92179 | 0.65269 | 0.28648 | 10.6367 | 7.5262 | 0.29323 | 10.6439 | 7.5367 | 0.28093 | -1.4285e-13 | -3.3562e-12 | -0.24135 | 2.4094 | 0.72974 | 0.051518 | -1.9675e-11 | -1.3691e-11 | -0.092566 | -0.45766 | 1.5124 | -10.9831 | -14.1098 | -122.257 | 166.3321 | 165.8182 | 57.8264 | 0.99697 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | -0.59139 | 0 | 0 | 7.3156 | 155.0629 | 122.0682
Line_1 | 0.0011167 | 0.0011167 | 0.0011167 | 0 | 0 | 0 | 0.012895 | 0.012895 | 0.012895 | 0 | 0 | 0 | -0.0054566 | 0.002597 | 0.0028662 | 3.5609e-10 | -1.1926e-10 | 6.3372e-10 | -0.0099717 | 0.0014431 | -0.00019717 | 4.1071e-10 | -8.4028e-10 | 2.9087e-11 | 126.0035 | 126.0035 | 126.0035 | 0 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | 0.88176 | 0.23007 | 0.22247 | 7.3156 | 155.0629 | 122.0682 | 7.2983 | 155.0889 | 122.0439
Line_2 | 0.0011167 | 0.0011167 | 0.0011167 | 0 | 0 | 0 | 0.012895 | 0.012895 | 0.012895 | 0 | 0 | 0 | -0.0054566 | 0.002597 | 0.0028662 | 3.5609e-10 | -1.1926e-10 | 6.3372e-10 | -0.0099717 | 0.0014431 | -0.00019717 | 4.1072e-10 | -8.4028e-10 | 2.909e-11 | 126.0035 | 126.0035 | 126.0035 | 0 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | 0.88176 | 0.23007 | 0.22247 | 7.3156 | 155.0629 | 122.0682 | 7.2983 | 155.0889 | 122.0439

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077773 | 0.32585 | 0.24523 | 0.0080858 | 0.32604 | 0.24555 | 0.089805 | 3.7625 | 2.8316 | 0.093366 | 3.7648 | 2.8354 | 0.089258 | -2.0568 | -1.6682 | -0.086823 | 2.3485 | 1.775 | 0.0093186 | -1.6157 | -0.90441 | -0.015263 | 1.5518 | 1.1047 | -6.1491 | 9.7528 | -100.7165 | 171.3753 | -170.3207 | 79.36 | 0.99931 | 0.69514 | 0.67013 | 0.94417 | 0.74769 | 0.73736 | -0.18897 | -132.0949 | 107.748 | 1.3457 | -136.8653 | 111.2569
Line_1 | 0.00039196 | 0.00039196 | 0.00039196 | 0 | 0 | 0 | 0.004526 | 0.004526 | 0.004526 | 0 | 0 | 0 | -0.0035069 | 0.00078204 | 0.0027257 | 1.9195e-10 | 5.7402e-10 | 6.7877e-10 | -0.0024418 | 0.0032924 | -0.0019256 | 8.1136e-11 | -7.9493e-10 | -4.1125e-10 | 146.4965 | 146.4965 | 146.4965 | 0 | 0 | 0 | 0.94417 | 0.74769 | 0.73736 | 0.94429 | 0.74764 | 0.73727 | 1.3457 | -136.8653 | 111.2569 | 1.3428 | -136.8567 | 111.2499
Line_2 | 0.00039196 | 0.00039196 | 0.00039196 | 0 | 0 | 0 | 0.004526 | 0.004526 | 0.004526 | 0 | 0 | 0 | -0.0035069 | 0.00078204 | 0.0027257 | 1.9195e-10 | 5.7402e-10 | 6.7877e-10 | -0.0024418 | 0.0032924 | -0.0019256 | 8.1139e-11 | -7.9493e-10 | -4.1125e-10 | 146.4965 | 146.4965 | 146.4965 | 0 | 0 | 0 | 0.94417 | 0.74769 | 0.73736 | 0.94429 | 0.74764 | 0.73727 | 1.3457 | -136.8653 | 111.2569 | 1.3428 | -136.8567 | 111.2499

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077773 | 0.32585 | 0.24523 | 0.0080858 | 0.32604 | 0.24555 | 0.089805 | 3.7625 | 2.8316 | 0.093366 | 3.7648 | 2.8354 | 0.089258 | -2.0568 | -1.6682 | -0.086823 | 2.3485 | 1.775 | 0.0093186 | -1.6157 | -0.90441 | -0.015263 | 1.5518 | 1.1047 | -6.1491 | 9.7528 | -100.7165 | 171.3753 | -170.3207 | 79.36 | 0.99931 | 0.69514 | 0.67013 | 0.94417 | 0.74769 | 0.73736 | -0.18897 | -132.0949 | 107.748 | 1.3457 | -136.8653 | 111.2569
Line_1 | 0.00039196 | 0.00039196 | 0.00039196 | 0 | 0 | 0 | 0.004526 | 0.004526 | 0.004526 | 0 | 0 | 0 | -0.0035069 | 0.00078204 | 0.0027257 | 1.9195e-10 | 5.7402e-10 | 6.7877e-10 | -0.0024418 | 0.0032924 | -0.0019256 | 8.1136e-11 | -7.9493e-10 | -4.1125e-10 | 146.4965 | 146.4965 | 146.4965 | 0 | 0 | 0 | 0.94417 | 0.74769 | 0.73736 | 0.94429 | 0.74764 | 0.73727 | 1.3457 | -136.8653 | 111.2569 | 1.3428 | -136.8567 | 111.2499
Line_2 | 0.00039196 | 0.00039196 | 0.00039196 | 0 | 0 | 0 | 0.004526 | 0.004526 | 0.004526 | 0 | 0 | 0 | -0.0035069 | 0.00078204 | 0.0027257 | 1.9195e-10 | 5.7402e-10 | 6.7877e-10 | -0.0024418 | 0.0032924 | -0.0019256 | 8.1139e-11 | -7.9493e-10 | -4.1125e-10 | 146.4965 | 146.4965 | 146.4965 | 0 | 0 | 0 | 0.94417 | 0.74769 | 0.73736 | 0.94429 | 0.74764 | 0.73727 | 1.3457 | -136.8653 | 111.2569 | 1.3428 | -136.8567 | 111.2499