## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5164e-20 | 0 | -4.7826e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5164e-20 | 0 | -4.7824e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5164e-20 | 0 | -4.7826e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5164e-20 | 0 | -4.7824e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.91311 | 0.91311 | 0 | 2.0269 | 31.6311 | 31.6311 | 17.4727 | -16.172 | 18.4745 | -16.9988 | -57.7478 | 122.2522 | 0.80391 | 0.74176 | -11.1514 | -11.32
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7484e-09 | 0 | 1.7618e-09 | 0 | 0 | 0 | 0.74176 | 0.74176 | -11.32 | -11.32
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7484e-09 | 0 | 1.7618e-09 | 0 | 0 | 0 | 0.74176 | 0.74176 | -11.32 | -11.32

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.91311 | 0.91311 | 0 | 2.0269 | 31.6311 | 31.6311 | 17.4727 | -16.172 | 18.4745 | -16.9988 | -57.7478 | 122.2522 | 0.80391 | 0.74176 | -11.1514 | -11.32
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7484e-09 | 0 | 1.7618e-09 | 0 | 0 | 0 | 0.74176 | 0.74176 | -11.32 | -11.32
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7484e-09 | 0 | 1.7618e-09 | 0 | 0 | 0 | 0.74176 | 0.74176 | -11.32 | -11.32

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1694e-20 | 0 | -2.555e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1694e-20 | 0 | -2.555e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1694e-20 | 0 | -2.555e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1694e-20 | 0 | -2.555e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.75683 | 0.75683 | 0 | 1.56 | 26.2175 | 26.2175 | 13.733 | -12.0173 | 13.2349 | -12.221 | -56.1915 | 123.8085 | 0.72747 | 0.65375 | -12.2497 | -10.7101
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3647e-09 | 0 | 1.3364e-09 | 0 | 0 | 0 | 0.65375 | 0.65375 | -10.7101 | -10.7101
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3647e-09 | 0 | 1.3364e-09 | 0 | 0 | 0 | 0.65375 | 0.65375 | -10.7101 | -10.7101

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.75683 | 0.75683 | 0 | 1.56 | 26.2175 | 26.2175 | 13.733 | -12.0173 | 13.2349 | -12.221 | -56.1915 | 123.8085 | 0.72747 | 0.65375 | -12.2497 | -10.7101
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3647e-09 | 0 | 1.3364e-09 | 0 | 0 | 0 | 0.65375 | 0.65375 | -10.7101 | -10.7101
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3647e-09 | 0 | 1.3364e-09 | 0 | 0 | 0 | 0.65375 | 0.65375 | -10.7101 | -10.7101

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09417 | 2.1319 | 2.2164 | 0.09417 | 2.1319 | 2.2164 | 1.0874 | 24.6171 | 25.5931 | 1.0874 | 24.6171 | 25.5931 | -1.1579 | 15.9425 | -11.6058 | 1.1625 | -13.5791 | 14.1603 | -0.35332 | 0.39142 | 5.0092 | 0.35855 | 2.2901 | -2.1109 | 164.7563 | -168.5299 | 10.3757 | -15.2437 | 11.4701 | -169.6243 | 1.1133 | 0.64781 | 0.49391 | 1.1188 | 0.5594 | 0.5594 | 1.7248 | -167.1235 | 167.0299 | 1.8971 | -178.1029 | -178.1029
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9593e-11 | -4.4784e-11 | 8.4578e-11 | -7.9614e-11 | 4.479e-11 | -8.4578e-11 | -1.494e-10 | 1.9156e-09 | -1.9903e-09 | 1.4939e-10 | -1.9156e-09 | 1.9903e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1188 | 0.5594 | 0.5594 | 1.1188 | 0.5594 | 0.5594 | 1.8971 | -178.1029 | -178.1029 | 1.8971 | -178.1029 | -178.1029
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9604e-11 | -4.4798e-11 | 8.46e-11 | -7.962e-11 | 4.48e-11 | -8.461e-11 | -1.4939e-10 | 1.9156e-09 | -1.9903e-09 | 1.4939e-10 | -1.9156e-09 | 1.9903e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1188 | 0.5594 | 0.5594 | 1.1188 | 0.5594 | 0.5594 | 1.8971 | -178.1029 | -178.1029 | 1.8971 | -178.1029 | -178.1029

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09417 | 2.1319 | 2.2164 | 0.09417 | 2.1319 | 2.2164 | 1.0874 | 24.6171 | 25.5931 | 1.0874 | 24.6171 | 25.5931 | -1.1579 | 15.9425 | -11.6058 | 1.1625 | -13.5791 | 14.1603 | -0.35332 | 0.39142 | 5.0092 | 0.35855 | 2.2901 | -2.1109 | 164.7563 | -168.5299 | 10.3757 | -15.2437 | 11.4701 | -169.6243 | 1.1133 | 0.64781 | 0.49391 | 1.1188 | 0.5594 | 0.5594 | 1.7248 | -167.1235 | 167.0299 | 1.8971 | -178.1029 | -178.1029
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9593e-11 | -4.4784e-11 | 8.4578e-11 | -7.9614e-11 | 4.479e-11 | -8.4578e-11 | -1.494e-10 | 1.9156e-09 | -1.9903e-09 | 1.4939e-10 | -1.9156e-09 | 1.9903e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1188 | 0.5594 | 0.5594 | 1.1188 | 0.5594 | 0.5594 | 1.8971 | -178.1029 | -178.1029 | 1.8971 | -178.1029 | -178.1029
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9604e-11 | -4.4798e-11 | 8.46e-11 | -7.962e-11 | 4.48e-11 | -8.461e-11 | -1.4939e-10 | 1.9156e-09 | -1.9903e-09 | 1.4939e-10 | -1.9156e-09 | 1.9903e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1188 | 0.5594 | 0.5594 | 1.1188 | 0.5594 | 0.5594 | 1.8971 | -178.1029 | -178.1029 | 1.8971 | -178.1029 | -178.1029

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.051579 | 1.1677 | 1.214 | 0.051579 | 1.1677 | 1.214 | 0.59559 | 13.4834 | 14.0179 | 0.59559 | 13.4834 | 14.0179 | -0.65616 | 11.9756 | -1.4883 | 0.65754 | -11.2665 | 2.2547 | 0.0026037 | 1.8987 | 8.9443 | -0.001034 | -1.0942 | -8.0747 | -178.7535 | -152.0398 | 26.8658 | 1.2465 | 27.9602 | -153.1342 | 1.1017 | 0.89927 | 0.64683 | 1.104 | 0.83952 | 0.59806 | 1.0191 | -143.0308 | 126.3132 | 1.1564 | -146.4926 | 132.4669
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7169e-11 | -4.4625e-10 | -1.0438e-09 | -1.7179e-11 | 4.4626e-10 | 1.0438e-09 | -8.986e-11 | 1.5105e-09 | -5.2072e-10 | 8.9863e-11 | -1.5105e-09 | 5.2072e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.104 | 0.83952 | 0.59806 | 1.104 | 0.83952 | 0.59806 | 1.1564 | -146.4926 | 132.4669 | 1.1564 | -146.4926 | 132.4669
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7179e-11 | -4.4625e-10 | -1.0438e-09 | -1.719e-11 | 4.4626e-10 | 1.0438e-09 | -8.9863e-11 | 1.5105e-09 | -5.2074e-10 | 8.9865e-11 | -1.5105e-09 | 5.2074e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.104 | 0.83952 | 0.59806 | 1.104 | 0.83952 | 0.59806 | 1.1564 | -146.4926 | 132.4669 | 1.1564 | -146.4926 | 132.4669

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.051579 | 1.1677 | 1.214 | 0.051579 | 1.1677 | 1.214 | 0.59559 | 13.4834 | 14.0179 | 0.59559 | 13.4834 | 14.0179 | -0.65616 | 11.9756 | -1.4883 | 0.65754 | -11.2665 | 2.2547 | 0.0026037 | 1.8987 | 8.9443 | -0.001034 | -1.0942 | -8.0747 | -178.7535 | -152.0398 | 26.8658 | 1.2465 | 27.9602 | -153.1342 | 1.1017 | 0.89927 | 0.64683 | 1.104 | 0.83952 | 0.59806 | 1.0191 | -143.0308 | 126.3132 | 1.1564 | -146.4926 | 132.4669
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7169e-11 | -4.4625e-10 | -1.0438e-09 | -1.7179e-11 | 4.4626e-10 | 1.0438e-09 | -8.986e-11 | 1.5105e-09 | -5.2072e-10 | 8.9863e-11 | -1.5105e-09 | 5.2072e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.104 | 0.83952 | 0.59806 | 1.104 | 0.83952 | 0.59806 | 1.1564 | -146.4926 | 132.4669 | 1.1564 | -146.4926 | 132.4669
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7179e-11 | -4.4625e-10 | -1.0438e-09 | -1.719e-11 | 4.4626e-10 | 1.0438e-09 | -8.9863e-11 | 1.5105e-09 | -5.2074e-10 | 8.9865e-11 | -1.5105e-09 | 5.2074e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.104 | 0.83952 | 0.59806 | 1.104 | 0.83952 | 0.59806 | 1.1564 | -146.4926 | 132.4669 | 1.1564 | -146.4926 | 132.4669

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089016 | 1.6965 | 1.7743 | 0.089016 | 1.6965 | 1.7743 | 1.0279 | 19.5898 | 20.4881 | 1.0279 | 19.5898 | 20.4881 | -1.0012 | 12.6063 | -7.0941 | 1.0091 | -9.7328 | 10.2373 | -0.28839 | -0.65626 | 4.0653 | 0.29307 | 2.3544 | -2.2079 | 165.9823 | -164.2244 | 14.3473 | -14.0177 | 15.7756 | -165.6527 | 1.0137 | 0.64439 | 0.39908 | 1.0223 | 0.51116 | 0.51116 | 2.0513 | -167.2044 | 164.5323 | 2.1768 | -177.8232 | -177.8232
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.636e-11 | -4.0062e-11 | 8.3246e-11 | -8.6362e-11 | 4.0065e-11 | -8.3241e-11 | -1.4238e-10 | 1.5864e-09 | -1.6576e-09 | 1.4237e-10 | -1.5864e-09 | 1.6576e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0223 | 0.51116 | 0.51116 | 1.0223 | 0.51116 | 0.51116 | 2.1768 | -177.8232 | -177.8232 | 2.1768 | -177.8232 | -177.8232
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6363e-11 | -4.0066e-11 | 8.3241e-11 | -8.6363e-11 | 4.0068e-11 | -8.3241e-11 | -1.4239e-10 | 1.5864e-09 | -1.6576e-09 | 1.4239e-10 | -1.5864e-09 | 1.6576e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0223 | 0.51116 | 0.51116 | 1.0223 | 0.51116 | 0.51116 | 2.1768 | -177.8232 | -177.8232 | 2.1768 | -177.8232 | -177.8232

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089016 | 1.6965 | 1.7743 | 0.089016 | 1.6965 | 1.7743 | 1.0279 | 19.5898 | 20.4881 | 1.0279 | 19.5898 | 20.4881 | -1.0012 | 12.6063 | -7.0941 | 1.0091 | -9.7328 | 10.2373 | -0.28839 | -0.65626 | 4.0653 | 0.29307 | 2.3544 | -2.2079 | 165.9823 | -164.2244 | 14.3473 | -14.0177 | 15.7756 | -165.6527 | 1.0137 | 0.64439 | 0.39908 | 1.0223 | 0.51116 | 0.51116 | 2.0513 | -167.2044 | 164.5323 | 2.1768 | -177.8232 | -177.8232
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.636e-11 | -4.0062e-11 | 8.3246e-11 | -8.6362e-11 | 4.0065e-11 | -8.3241e-11 | -1.4238e-10 | 1.5864e-09 | -1.6576e-09 | 1.4237e-10 | -1.5864e-09 | 1.6576e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0223 | 0.51116 | 0.51116 | 1.0223 | 0.51116 | 0.51116 | 2.1768 | -177.8232 | -177.8232 | 2.1768 | -177.8232 | -177.8232
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6363e-11 | -4.0066e-11 | 8.3241e-11 | -8.6363e-11 | 4.0068e-11 | -8.3241e-11 | -1.4239e-10 | 1.5864e-09 | -1.6576e-09 | 1.4239e-10 | -1.5864e-09 | 1.6576e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0223 | 0.51116 | 0.51116 | 1.0223 | 0.51116 | 0.51116 | 2.1768 | -177.8232 | -177.8232 | 2.1768 | -177.8232 | -177.8232

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.050081 | 0.95447 | 0.99824 | 0.050081 | 0.95447 | 0.99824 | 0.57828 | 11.0213 | 11.5267 | 0.57828 | 11.0213 | 11.5267 | -0.57951 | 9.1205 | -0.72215 | 0.58201 | -8.2109 | 1.717 | -0.0073337 | 0.92761 | 6.5668 | 0.0088134 | -0.39011 | -5.9788 | -179.4903 | -149.6969 | 28.8747 | 0.50971 | 30.3031 | -151.1253 | 1.0022 | 0.8318 | 0.57314 | 1.0066 | 0.74585 | 0.53966 | 1.2348 | -143.8895 | 125.1503 | 1.3773 | -146.9768 | 134.898
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5289e-11 | -3.9748e-10 | -8.4438e-10 | -2.5288e-11 | 3.9748e-10 | 8.4438e-10 | -8.8707e-11 | 1.2406e-09 | -5.0873e-10 | 8.8704e-11 | -1.2406e-09 | 5.0873e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0066 | 0.74585 | 0.53966 | 1.0066 | 0.74585 | 0.53966 | 1.3773 | -146.9768 | 134.898 | 1.3773 | -146.9768 | 134.898
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.529e-11 | -3.9748e-10 | -8.4438e-10 | -2.5291e-11 | 3.9749e-10 | 8.4438e-10 | -8.8714e-11 | 1.2406e-09 | -5.0873e-10 | 8.8714e-11 | -1.2406e-09 | 5.0873e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0066 | 0.74585 | 0.53966 | 1.0066 | 0.74585 | 0.53966 | 1.3773 | -146.9768 | 134.898 | 1.3773 | -146.9768 | 134.898

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.050081 | 0.95447 | 0.99824 | 0.050081 | 0.95447 | 0.99824 | 0.57828 | 11.0213 | 11.5267 | 0.57828 | 11.0213 | 11.5267 | -0.57951 | 9.1205 | -0.72215 | 0.58201 | -8.2109 | 1.717 | -0.0073337 | 0.92761 | 6.5668 | 0.0088134 | -0.39011 | -5.9788 | -179.4903 | -149.6969 | 28.8747 | 0.50971 | 30.3031 | -151.1253 | 1.0022 | 0.8318 | 0.57314 | 1.0066 | 0.74585 | 0.53966 | 1.2348 | -143.8895 | 125.1503 | 1.3773 | -146.9768 | 134.898
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5289e-11 | -3.9748e-10 | -8.4438e-10 | -2.5288e-11 | 3.9748e-10 | 8.4438e-10 | -8.8707e-11 | 1.2406e-09 | -5.0873e-10 | 8.8704e-11 | -1.2406e-09 | 5.0873e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0066 | 0.74585 | 0.53966 | 1.0066 | 0.74585 | 0.53966 | 1.3773 | -146.9768 | 134.898 | 1.3773 | -146.9768 | 134.898
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.529e-11 | -3.9748e-10 | -8.4438e-10 | -2.5291e-11 | 3.9749e-10 | 8.4438e-10 | -8.8714e-11 | 1.2406e-09 | -5.0873e-10 | 8.8714e-11 | -1.2406e-09 | 5.0873e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0066 | 0.74585 | 0.53966 | 1.0066 | 0.74585 | 0.53966 | 1.3773 | -146.9768 | 134.898 | 1.3773 | -146.9768 | 134.898

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2443 | 0.32541 | 0.22073 | 2.2429 | 0.32676 | 0.22202 | 25.9154 | 3.7575 | 2.5488 | 25.8987 | 3.7731 | 2.5637 | 6.7275 | -4.125 | 1.5939 | -1.2446e-11 | 3.9178 | -1.7446 | 5.0181 | 0.20637 | 2.0783 | 6.0472e-11 | -0.75989 | -2.4812 | -71.7385 | 69.3286 | 65.1769 | 108.2701 | -110.5574 | -114.6307 | 0.32386 | 1.0992 | 1.0276 | 0 | 1.0577 | 1.1831 | -35.0187 | -113.5355 | 117.6925 | 0 | -121.5342 | 120.2571
Line_1 | 0.001907 | 0.001907 | 0.001907 | 0 | 0 | 0 | 0.02202 | 0.02202 | 0.02202 | 0 | 0 | 0 | 3.0785e-14 | 0.021017 | -0.021007 | -3.5814e-13 | 1.6332e-10 | -3.6204e-10 | -4.252e-14 | -0.010038 | -0.015409 | 1.2755e-12 | -1.1518e-10 | 2.1089e-11 | -96.0042 | -96.0042 | -96.0042 | 0 | 0 | 0 | 0 | 1.0577 | 1.1831 | 0.00032843 | 1.0575 | 1.1834 | 0 | -121.5342 | 120.2571 | 105.6675 | -121.5473 | 120.2531
Line_2 | 0.001907 | 0.001907 | 0.001907 | 0 | 0 | 0 | 0.02202 | 0.02202 | 0.02202 | 0 | 0 | 0 | 3.0785e-14 | 0.021017 | -0.021007 | -3.5813e-13 | 1.6331e-10 | -3.6204e-10 | -4.252e-14 | -0.010038 | -0.015409 | 1.2755e-12 | -1.1515e-10 | 2.1094e-11 | -96.0042 | -96.0042 | -96.0042 | 0 | 0 | 0 | 0 | 1.0577 | 1.1831 | 0.00032843 | 1.0575 | 1.1834 | 0 | -121.5342 | 120.2571 | 105.6675 | -121.5473 | 120.2531

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2443 | 0.32541 | 0.22073 | 2.2429 | 0.32676 | 0.22202 | 25.9154 | 3.7575 | 2.5488 | 25.8987 | 3.7731 | 2.5637 | 6.7275 | -4.125 | 1.5939 | -1.2446e-11 | 3.9178 | -1.7446 | 5.0181 | 0.20637 | 2.0783 | 6.0472e-11 | -0.75989 | -2.4812 | -71.7385 | 69.3286 | 65.1769 | 108.2701 | -110.5574 | -114.6307 | 0.32386 | 1.0992 | 1.0276 | 0 | 1.0577 | 1.1831 | -35.0187 | -113.5355 | 117.6925 | 0 | -121.5342 | 120.2571
Line_1 | 0.001907 | 0.001907 | 0.001907 | 0 | 0 | 0 | 0.02202 | 0.02202 | 0.02202 | 0 | 0 | 0 | 3.0785e-14 | 0.021017 | -0.021007 | -3.5814e-13 | 1.6332e-10 | -3.6204e-10 | -4.252e-14 | -0.010038 | -0.015409 | 1.2755e-12 | -1.1518e-10 | 2.1089e-11 | -96.0042 | -96.0042 | -96.0042 | 0 | 0 | 0 | 0 | 1.0577 | 1.1831 | 0.00032843 | 1.0575 | 1.1834 | 0 | -121.5342 | 120.2571 | 105.6675 | -121.5473 | 120.2531
Line_2 | 0.001907 | 0.001907 | 0.001907 | 0 | 0 | 0 | 0.02202 | 0.02202 | 0.02202 | 0 | 0 | 0 | 3.0785e-14 | 0.021017 | -0.021007 | -3.5813e-13 | 1.6331e-10 | -3.6204e-10 | -4.252e-14 | -0.010038 | -0.015409 | 1.2755e-12 | -1.1515e-10 | 2.1094e-11 | -96.0042 | -96.0042 | -96.0042 | 0 | 0 | 0 | 0 | 1.0577 | 1.1831 | 0.00032843 | 1.0575 | 1.1834 | 0 | -121.5342 | 120.2571 | 105.6675 | -121.5473 | 120.2531

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83415 | 0.12095 | 0.082039 | 0.83361 | 0.12144 | 0.082519 | 9.6319 | 1.3966 | 0.9473 | 9.6257 | 1.4023 | 0.95285 | 6.292 | -1.3425 | 0.85502 | -5.3599 | 1.3157 | -0.88048 | 5.2447 | 0.69415 | 0.56191 | -4.5477 | -0.7749 | -0.61702 | -51.4931 | 89.574 | 85.4223 | 128.5155 | -90.312 | -94.3852 | 0.85042 | 1.0822 | 1.08 | 0.73026 | 1.0889 | 1.1284 | -11.6802 | -117.768 | 118.7349 | -11.1706 | -120.8084 | 120.6367
Line_1 | 0.00070878 | 0.00070878 | 0.00070878 | 0 | 0 | 0 | 0.0081843 | 0.0081843 | 0.0081843 | 0 | 0 | 0 | 0.0025647 | 0.006296 | -0.0088593 | 9.3441e-10 | 4.4188e-11 | -1.1814e-10 | 0.0053984 | -0.0063069 | -0.0026067 | -5.7021e-10 | -6.2424e-11 | 5.0624e-11 | -75.7588 | -75.7588 | -75.7588 | 0 | 0 | 0 | 0.73026 | 1.0889 | 1.1284 | 0.73017 | 1.0888 | 1.1285 | -11.1706 | -120.8084 | 120.6367 | -11.1641 | -120.8143 | 120.6373
Line_2 | 0.00070878 | 0.00070878 | 0.00070878 | 0 | 0 | 0 | 0.0081843 | 0.0081843 | 0.0081843 | 0 | 0 | 0 | 0.0025647 | 0.006296 | -0.0088593 | 9.344e-10 | 4.419e-11 | -1.1814e-10 | 0.0053984 | -0.0063069 | -0.0026067 | -5.7021e-10 | -6.2421e-11 | 5.0623e-11 | -75.7588 | -75.7588 | -75.7588 | 0 | 0 | 0 | 0.73026 | 1.0889 | 1.1284 | 0.73017 | 1.0888 | 1.1285 | -11.1706 | -120.8084 | 120.6367 | -11.1641 | -120.8143 | 120.6373

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83415 | 0.12095 | 0.082039 | 0.83361 | 0.12144 | 0.082519 | 9.6319 | 1.3966 | 0.9473 | 9.6257 | 1.4023 | 0.95285 | 6.292 | -1.3425 | 0.85502 | -5.3599 | 1.3157 | -0.88048 | 5.2447 | 0.69415 | 0.56191 | -4.5477 | -0.7749 | -0.61702 | -51.4931 | 89.574 | 85.4223 | 128.5155 | -90.312 | -94.3852 | 0.85042 | 1.0822 | 1.08 | 0.73026 | 1.0889 | 1.1284 | -11.6802 | -117.768 | 118.7349 | -11.1706 | -120.8084 | 120.6367
Line_1 | 0.00070878 | 0.00070878 | 0.00070878 | 0 | 0 | 0 | 0.0081843 | 0.0081843 | 0.0081843 | 0 | 0 | 0 | 0.0025647 | 0.006296 | -0.0088593 | 9.3441e-10 | 4.4188e-11 | -1.1814e-10 | 0.0053984 | -0.0063069 | -0.0026067 | -5.7021e-10 | -6.2424e-11 | 5.0624e-11 | -75.7588 | -75.7588 | -75.7588 | 0 | 0 | 0 | 0.73026 | 1.0889 | 1.1284 | 0.73017 | 1.0888 | 1.1285 | -11.1706 | -120.8084 | 120.6367 | -11.1641 | -120.8143 | 120.6373
Line_2 | 0.00070878 | 0.00070878 | 0.00070878 | 0 | 0 | 0 | 0.0081843 | 0.0081843 | 0.0081843 | 0 | 0 | 0 | 0.0025647 | 0.006296 | -0.0088593 | 9.344e-10 | 4.419e-11 | -1.1814e-10 | 0.0053984 | -0.0063069 | -0.0026067 | -5.7021e-10 | -6.2421e-11 | 5.0623e-11 | -75.7588 | -75.7588 | -75.7588 | 0 | 0 | 0 | 0.73026 | 1.0889 | 1.1284 | 0.73017 | 1.0888 | 1.1285 | -11.1706 | -120.8084 | 120.6367 | -11.1641 | -120.8143 | 120.6373

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6637 | 0.35664 | 0.26035 | 1.6624 | 0.35779 | 0.26147 | 19.2107 | 4.1181 | 3.0063 | 19.1963 | 4.1314 | 3.0192 | 6.6721 | -4.0916 | 1.8696 | 3.5612e-11 | 3.9116 | -2.0181 | 3.6724 | 0.22233 | 1.9898 | 2.5328e-11 | -1.047 | -2.6161 | -65.2289 | 71.9847 | 69.2797 | 114.7833 | -107.9219 | -110.5807 | 0.39645 | 0.99503 | 0.90821 | 0 | 0.98011 | 1.0943 | -36.3999 | -111.1255 | 116.0644 | 0 | -122.9068 | 121.7721
Line_1 | 0.0018381 | 0.0018381 | 0.0018381 | 0 | 0 | 0 | 0.021225 | 0.021225 | 0.021225 | 0 | 0 | 0 | -1.9818e-14 | 0.018482 | -0.018464 | -2.2527e-13 | 6.8347e-11 | -3.8266e-10 | -4.4067e-14 | -0.0095495 | -0.014092 | 2.1029e-12 | -1.8348e-10 | 1.2322e-10 | -95.581 | -95.581 | -95.581 | 0 | 0 | 0 | 0 | 0.98011 | 1.0943 | 0.00057675 | 0.97967 | 1.0949 | 0 | -122.9068 | 121.7721 | 96.0818 | -122.928 | 121.759
Line_2 | 0.0018381 | 0.0018381 | 0.0018381 | 0 | 0 | 0 | 0.021225 | 0.021225 | 0.021225 | 0 | 0 | 0 | -1.9818e-14 | 0.018482 | -0.018464 | -2.2527e-13 | 6.8355e-11 | -3.8266e-10 | -4.4067e-14 | -0.0095495 | -0.014092 | 2.1029e-12 | -1.8348e-10 | 1.2322e-10 | -95.581 | -95.581 | -95.581 | 0 | 0 | 0 | 0 | 0.98011 | 1.0943 | 0.00057675 | 0.97967 | 1.0949 | 0 | -122.9068 | 121.7721 | 96.0818 | -122.928 | 121.759

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6637 | 0.35664 | 0.26035 | 1.6624 | 0.35779 | 0.26147 | 19.2107 | 4.1181 | 3.0063 | 19.1963 | 4.1314 | 3.0192 | 6.6721 | -4.0916 | 1.8696 | 3.5612e-11 | 3.9116 | -2.0181 | 3.6724 | 0.22233 | 1.9898 | 2.5328e-11 | -1.047 | -2.6161 | -65.2289 | 71.9847 | 69.2797 | 114.7833 | -107.9219 | -110.5807 | 0.39645 | 0.99503 | 0.90821 | 0 | 0.98011 | 1.0943 | -36.3999 | -111.1255 | 116.0644 | 0 | -122.9068 | 121.7721
Line_1 | 0.0018381 | 0.0018381 | 0.0018381 | 0 | 0 | 0 | 0.021225 | 0.021225 | 0.021225 | 0 | 0 | 0 | -1.9818e-14 | 0.018482 | -0.018464 | -2.2527e-13 | 6.8347e-11 | -3.8266e-10 | -4.4067e-14 | -0.0095495 | -0.014092 | 2.1029e-12 | -1.8348e-10 | 1.2322e-10 | -95.581 | -95.581 | -95.581 | 0 | 0 | 0 | 0 | 0.98011 | 1.0943 | 0.00057675 | 0.97967 | 1.0949 | 0 | -122.9068 | 121.7721 | 96.0818 | -122.928 | 121.759
Line_2 | 0.0018381 | 0.0018381 | 0.0018381 | 0 | 0 | 0 | 0.021225 | 0.021225 | 0.021225 | 0 | 0 | 0 | -1.9818e-14 | 0.018482 | -0.018464 | -2.2527e-13 | 6.8355e-11 | -3.8266e-10 | -4.4067e-14 | -0.0095495 | -0.014092 | 2.1029e-12 | -1.8348e-10 | 1.2322e-10 | -95.581 | -95.581 | -95.581 | 0 | 0 | 0 | 0 | 0.98011 | 1.0943 | 0.00057675 | 0.97967 | 1.0949 | 0 | -122.9068 | 121.7721 | 96.0818 | -122.928 | 121.759

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6577 | 0.14099 | 0.10292 | 0.65721 | 0.14144 | 0.10337 | 7.5945 | 1.628 | 1.1885 | 7.5888 | 1.6333 | 1.1936 | 4.9051 | -1.4253 | 0.99034 | -3.8601 | 1.3986 | -1.0173 | 3.4566 | 0.70542 | 0.59627 | -2.8797 | -0.83775 | -0.69368 | -47.6064 | 89.6073 | 86.9023 | 132.4058 | -90.2993 | -92.9582 | 0.79014 | 0.97687 | 0.97269 | 0.63461 | 0.99821 | 1.0316 | -12.4342 | -116.7244 | 117.9539 | -10.8706 | -121.2202 | 121.3319
Line_1 | 0.00072666 | 0.00072666 | 0.00072666 | 0 | 0 | 0 | 0.0083908 | 0.0083908 | 0.0083908 | 0 | 0 | 0 | 0.0020731 | 0.0060995 | -0.0081698 | 8.0874e-10 | 6.1933e-12 | -1.2132e-10 | 0.0049048 | -0.0057402 | -0.0028595 | -4.3807e-10 | -7.8617e-11 | 8.7827e-11 | -77.9585 | -77.9585 | -77.9585 | 0 | 0 | 0 | 0.63461 | 0.99821 | 1.0316 | 0.63448 | 0.99808 | 1.0318 | -10.8706 | -121.2202 | 121.3319 | -10.8537 | -121.231 | 121.3302
Line_2 | 0.00072666 | 0.00072666 | 0.00072666 | 0 | 0 | 0 | 0.0083908 | 0.0083908 | 0.0083908 | 0 | 0 | 0 | 0.0020731 | 0.0060995 | -0.0081698 | 8.0874e-10 | 6.1962e-12 | -1.2132e-10 | 0.0049048 | -0.0057402 | -0.0028595 | -4.3807e-10 | -7.8615e-11 | 8.7827e-11 | -77.9585 | -77.9585 | -77.9585 | 0 | 0 | 0 | 0.63461 | 0.99821 | 1.0316 | 0.63448 | 0.99808 | 1.0318 | -10.8706 | -121.2202 | 121.3319 | -10.8537 | -121.231 | 121.3302

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6577 | 0.14099 | 0.10292 | 0.65721 | 0.14144 | 0.10337 | 7.5945 | 1.628 | 1.1885 | 7.5888 | 1.6333 | 1.1936 | 4.9051 | -1.4253 | 0.99034 | -3.8601 | 1.3986 | -1.0173 | 3.4566 | 0.70542 | 0.59627 | -2.8797 | -0.83775 | -0.69368 | -47.6064 | 89.6073 | 86.9023 | 132.4058 | -90.2993 | -92.9582 | 0.79014 | 0.97687 | 0.97269 | 0.63461 | 0.99821 | 1.0316 | -12.4342 | -116.7244 | 117.9539 | -10.8706 | -121.2202 | 121.3319
Line_1 | 0.00072666 | 0.00072666 | 0.00072666 | 0 | 0 | 0 | 0.0083908 | 0.0083908 | 0.0083908 | 0 | 0 | 0 | 0.0020731 | 0.0060995 | -0.0081698 | 8.0874e-10 | 6.1933e-12 | -1.2132e-10 | 0.0049048 | -0.0057402 | -0.0028595 | -4.3807e-10 | -7.8617e-11 | 8.7827e-11 | -77.9585 | -77.9585 | -77.9585 | 0 | 0 | 0 | 0.63461 | 0.99821 | 1.0316 | 0.63448 | 0.99808 | 1.0318 | -10.8706 | -121.2202 | 121.3319 | -10.8537 | -121.231 | 121.3302
Line_2 | 0.00072666 | 0.00072666 | 0.00072666 | 0 | 0 | 0 | 0.0083908 | 0.0083908 | 0.0083908 | 0 | 0 | 0 | 0.0020731 | 0.0060995 | -0.0081698 | 8.0874e-10 | 6.1962e-12 | -1.2132e-10 | 0.0049048 | -0.0057402 | -0.0028595 | -4.3807e-10 | -7.8615e-11 | 8.7827e-11 | -77.9585 | -77.9585 | -77.9585 | 0 | 0 | 0 | 0.63461 | 0.99821 | 1.0316 | 0.63448 | 0.99808 | 1.0318 | -10.8706 | -121.2202 | 121.3319 | -10.8537 | -121.231 | 121.3302

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29132 | 2.6121 | 2.1369 | 0.29235 | 2.6115 | 2.1362 | 3.3639 | 30.1614 | 24.6744 | 3.3757 | 30.1554 | 24.6666 | -2.2268 | 8.1468 | 1.4396 | 2.2258 | -3.1146e-11 | -3.6273e-11 | 2.6114 | 1.3821 | 6.9316 | -3.1707 | 5.6744e-11 | 3.9276e-11 | -126.2802 | 169.6082 | 37.2787 | 53.9302 | -10.3614 | -142.7567 | 1.0202 | 0.27397 | 0.28692 | 1.1476 | 0 | 0 | 4.1746 | 179.2371 | 115.546 | -1.0013 | 0 | 0
Line_1 | 0.0018938 | 0.0018938 | 0.0018938 | 0 | 0 | 0 | 0.021868 | 0.021868 | 0.021867 | 0 | 0 | 0 | 9.9422e-06 | 4.4268e-14 | -7.4215e-15 | -2.0154e-10 | 8.3373e-13 | -1.2984e-12 | -0.025095 | 1.561e-14 | -4.6812e-14 | -8.2109e-11 | 1.0172e-12 | 2.1378e-13 | 88.976 | 88.976 | 88.976 | 0 | 0 | 0 | 1.1476 | 0 | 0 | 1.1477 | 0.00032615 | 0.00032615 | -1.0013 | 0 | 0 | -1.0165 | -69.3523 | -69.3523
Line_2 | 0.0018938 | 0.0018938 | 0.0018938 | 0 | 0 | 0 | 0.021868 | 0.021868 | 0.021867 | 0 | 0 | 0 | 9.9422e-06 | 4.4268e-14 | -7.4215e-15 | -2.0154e-10 | 8.3373e-13 | -1.2984e-12 | -0.025095 | 1.561e-14 | -4.6812e-14 | -8.2109e-11 | 1.0172e-12 | 2.1377e-13 | 88.976 | 88.976 | 88.976 | 0 | 0 | 0 | 1.1476 | 0 | 0 | 1.1477 | 0.00032615 | 0.00032615 | -1.0013 | 0 | 0 | -1.0165 | -69.3523 | -69.3523

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29132 | 2.6121 | 2.1369 | 0.29235 | 2.6115 | 2.1362 | 3.3639 | 30.1614 | 24.6744 | 3.3757 | 30.1554 | 24.6666 | -2.2268 | 8.1468 | 1.4396 | 2.2258 | -3.1146e-11 | -3.6273e-11 | 2.6114 | 1.3821 | 6.9316 | -3.1707 | 5.6744e-11 | 3.9276e-11 | -126.2802 | 169.6082 | 37.2787 | 53.9302 | -10.3614 | -142.7567 | 1.0202 | 0.27397 | 0.28692 | 1.1476 | 0 | 0 | 4.1746 | 179.2371 | 115.546 | -1.0013 | 0 | 0
Line_1 | 0.0018938 | 0.0018938 | 0.0018938 | 0 | 0 | 0 | 0.021868 | 0.021868 | 0.021867 | 0 | 0 | 0 | 9.9422e-06 | 4.4268e-14 | -7.4215e-15 | -2.0154e-10 | 8.3373e-13 | -1.2984e-12 | -0.025095 | 1.561e-14 | -4.6812e-14 | -8.2109e-11 | 1.0172e-12 | 2.1378e-13 | 88.976 | 88.976 | 88.976 | 0 | 0 | 0 | 1.1476 | 0 | 0 | 1.1477 | 0.00032615 | 0.00032615 | -1.0013 | 0 | 0 | -1.0165 | -69.3523 | -69.3523
Line_2 | 0.0018938 | 0.0018938 | 0.0018938 | 0 | 0 | 0 | 0.021868 | 0.021868 | 0.021867 | 0 | 0 | 0 | 9.9422e-06 | 4.4268e-14 | -7.4215e-15 | -2.0154e-10 | 8.3373e-13 | -1.2984e-12 | -0.025095 | 1.561e-14 | -4.6812e-14 | -8.2109e-11 | 1.0172e-12 | 2.1377e-13 | 88.976 | 88.976 | 88.976 | 0 | 0 | 0 | 1.1476 | 0 | 0 | 1.1477 | 0.00032615 | 0.00032615 | -1.0013 | 0 | 0 | -1.0165 | -69.3523 | -69.3523

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11033 | 0.93408 | 0.81875 | 0.11071 | 0.93392 | 0.81846 | 1.274 | 10.7858 | 9.4541 | 1.2784 | 10.784 | 9.4508 | -0.45215 | 7.3146 | 4.7533 | 0.44846 | -6.2807 | -4.482 | 1.275 | 5.2092 | 6.1579 | -1.3565 | -5.079 | -5.155 | -108.593 | -169.555 | 59.0315 | 71.6095 | 10.4771 | -121.001 | 1.0618 | 0.83257 | 0.82283 | 1.1175 | 0.74901 | 0.72279 | 0.93372 | -134.0981 | 111.3671 | -0.096083 | -130.5612 | 107.9937
Line_1 | 0.00069895 | 0.00069895 | 0.00069895 | 0 | 0 | 0 | 0.0080708 | 0.0080708 | 0.0080708 | 0 | 0 | 0 | -0.0024927 | -0.0033357 | 0.0058298 | -7.218e-11 | 9.1282e-10 | 9.3604e-10 | -0.0086681 | 0.0050415 | 0.00020827 | -7.9436e-12 | -5.5326e-10 | -6.065e-10 | 105.9477 | 105.9477 | 105.9477 | 0 | 0 | 0 | 1.1175 | 0.74901 | 0.72279 | 1.1176 | 0.74904 | 0.72268 | -0.096083 | -130.5612 | 107.9937 | -0.10096 | -130.5521 | 107.9905
Line_2 | 0.00069895 | 0.00069895 | 0.00069895 | 0 | 0 | 0 | 0.0080708 | 0.0080708 | 0.0080708 | 0 | 0 | 0 | -0.0024927 | -0.0033357 | 0.0058298 | -7.2184e-11 | 9.1282e-10 | 9.3603e-10 | -0.0086681 | 0.0050415 | 0.00020827 | -7.941e-12 | -5.5325e-10 | -6.065e-10 | 105.9477 | 105.9477 | 105.9477 | 0 | 0 | 0 | 1.1175 | 0.74901 | 0.72279 | 1.1176 | 0.74904 | 0.72268 | -0.096083 | -130.5612 | 107.9937 | -0.10096 | -130.5521 | 107.9905

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11033 | 0.93408 | 0.81875 | 0.11071 | 0.93392 | 0.81846 | 1.274 | 10.7858 | 9.4541 | 1.2784 | 10.784 | 9.4508 | -0.45215 | 7.3146 | 4.7533 | 0.44846 | -6.2807 | -4.482 | 1.275 | 5.2092 | 6.1579 | -1.3565 | -5.079 | -5.155 | -108.593 | -169.555 | 59.0315 | 71.6095 | 10.4771 | -121.001 | 1.0618 | 0.83257 | 0.82283 | 1.1175 | 0.74901 | 0.72279 | 0.93372 | -134.0981 | 111.3671 | -0.096083 | -130.5612 | 107.9937
Line_1 | 0.00069895 | 0.00069895 | 0.00069895 | 0 | 0 | 0 | 0.0080708 | 0.0080708 | 0.0080708 | 0 | 0 | 0 | -0.0024927 | -0.0033357 | 0.0058298 | -7.218e-11 | 9.1282e-10 | 9.3604e-10 | -0.0086681 | 0.0050415 | 0.00020827 | -7.9436e-12 | -5.5326e-10 | -6.065e-10 | 105.9477 | 105.9477 | 105.9477 | 0 | 0 | 0 | 1.1175 | 0.74901 | 0.72279 | 1.1176 | 0.74904 | 0.72268 | -0.096083 | -130.5612 | 107.9937 | -0.10096 | -130.5521 | 107.9905
Line_2 | 0.00069895 | 0.00069895 | 0.00069895 | 0 | 0 | 0 | 0.0080708 | 0.0080708 | 0.0080708 | 0 | 0 | 0 | -0.0024927 | -0.0033357 | 0.0058298 | -7.2184e-11 | 9.1282e-10 | 9.3603e-10 | -0.0086681 | 0.0050415 | 0.00020827 | -7.941e-12 | -5.5325e-10 | -6.065e-10 | 105.9477 | 105.9477 | 105.9477 | 0 | 0 | 0 | 1.1175 | 0.74901 | 0.72279 | 1.1176 | 0.74904 | 0.72268 | -0.096083 | -130.5612 | 107.9937 | -0.10096 | -130.5521 | 107.9905

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31277 | 2.0719 | 1.6217 | 0.31366 | 2.0715 | 1.6212 | 3.6115 | 23.9238 | 18.7262 | 3.6218 | 23.9197 | 18.7204 | -1.8899 | 8.8887 | 1.2256 | 1.9571 | -1.8524e-11 | -1.1985e-11 | 2.6202 | -0.12418 | 5.4691 | -3.3795 | -1.0294e-11 | -1.2759e-11 | -120.6522 | 177.4395 | 37.7774 | 59.5082 | -2.5273 | -142.263 | 0.89455 | 0.37158 | 0.2993 | 1.0783 | 0 | 0 | 5.1499 | 176.6391 | 115.146 | -0.41601 | 0 | 0
Line_1 | 0.0017793 | 0.0017793 | 0.0017793 | 0 | 0 | 0 | 0.020546 | 0.020546 | 0.020546 | 0 | 0 | 0 | 1.6852e-05 | -8.2624e-15 | 1.9139e-14 | -3.0999e-10 | 1.5391e-12 | -1.9391e-12 | -0.022154 | 1.622e-14 | -1.6782e-15 | -3.0714e-11 | 1.3485e-12 | 6.5962e-13 | 89.5404 | 89.5404 | 89.5404 | 0 | 0 | 0 | 1.0783 | 0 | 0 | 1.0784 | 0.00055831 | 0.00055831 | -0.41601 | 0 | 0 | -0.44507 | -78.7968 | -78.7968
Line_2 | 0.0017793 | 0.0017793 | 0.0017793 | 0 | 0 | 0 | 0.020546 | 0.020546 | 0.020546 | 0 | 0 | 0 | 1.6852e-05 | -8.2624e-15 | 1.9139e-14 | -3.0999e-10 | 1.5391e-12 | -1.9391e-12 | -0.022154 | 1.622e-14 | -1.6782e-15 | -3.0709e-11 | 1.3485e-12 | 6.5962e-13 | 89.5404 | 89.5404 | 89.5404 | 0 | 0 | 0 | 1.0783 | 0 | 0 | 1.0784 | 0.00055831 | 0.00055831 | -0.41601 | 0 | 0 | -0.44507 | -78.7968 | -78.7968

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31277 | 2.0719 | 1.6217 | 0.31366 | 2.0715 | 1.6212 | 3.6115 | 23.9238 | 18.7262 | 3.6218 | 23.9197 | 18.7204 | -1.8899 | 8.8887 | 1.2256 | 1.9571 | -1.8524e-11 | -1.1985e-11 | 2.6202 | -0.12418 | 5.4691 | -3.3795 | -1.0294e-11 | -1.2759e-11 | -120.6522 | 177.4395 | 37.7774 | 59.5082 | -2.5273 | -142.263 | 0.89455 | 0.37158 | 0.2993 | 1.0783 | 0 | 0 | 5.1499 | 176.6391 | 115.146 | -0.41601 | 0 | 0
Line_1 | 0.0017793 | 0.0017793 | 0.0017793 | 0 | 0 | 0 | 0.020546 | 0.020546 | 0.020546 | 0 | 0 | 0 | 1.6852e-05 | -8.2624e-15 | 1.9139e-14 | -3.0999e-10 | 1.5391e-12 | -1.9391e-12 | -0.022154 | 1.622e-14 | -1.6782e-15 | -3.0714e-11 | 1.3485e-12 | 6.5962e-13 | 89.5404 | 89.5404 | 89.5404 | 0 | 0 | 0 | 1.0783 | 0 | 0 | 1.0784 | 0.00055831 | 0.00055831 | -0.41601 | 0 | 0 | -0.44507 | -78.7968 | -78.7968
Line_2 | 0.0017793 | 0.0017793 | 0.0017793 | 0 | 0 | 0 | 0.020546 | 0.020546 | 0.020546 | 0 | 0 | 0 | 1.6852e-05 | -8.2624e-15 | 1.9139e-14 | -3.0999e-10 | 1.5391e-12 | -1.9391e-12 | -0.022154 | 1.622e-14 | -1.6782e-15 | -3.0709e-11 | 1.3485e-12 | 6.5962e-13 | 89.5404 | 89.5404 | 89.5404 | 0 | 0 | 0 | 1.0783 | 0 | 0 | 1.0784 | 0.00055831 | 0.00055831 | -0.41601 | 0 | 0 | -0.44507 | -78.7968 | -78.7968

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12736 | 0.77962 | 0.64701 | 0.12772 | 0.7795 | 0.64676 | 1.4706 | 9.0022 | 7.471 | 1.4748 | 9.0009 | 7.4681 | -0.3966 | 6.0908 | 3.339 | 0.4032 | -4.821 | -3.07 | 1.3377 | 3.3138 | 4.4925 | -1.4634 | -3.3926 | -3.6022 | -105.3189 | -164.7503 | 58.3464 | 74.835 | 15.2854 | -121.6918 | 0.94873 | 0.77025 | 0.74922 | 1.0293 | 0.65494 | 0.63376 | 1.1952 | -136.2012 | 111.7253 | 0.23868 | -129.5797 | 107.8682
Line_1 | 0.00070949 | 0.00070949 | 0.00070949 | 0 | 0 | 0 | 0.0081925 | 0.0081925 | 0.0081925 | 0 | 0 | 0 | -0.0019736 | -0.0032026 | 0.0051788 | -1.1081e-10 | 7.9517e-10 | 7.9938e-10 | -0.008198 | 0.004305 | 0.00037065 | 1.4978e-11 | -3.9898e-10 | -4.8831e-10 | 103.7745 | 103.7745 | 103.7745 | 0 | 0 | 0 | 1.0293 | 0.65494 | 0.63376 | 1.0294 | 0.65504 | 0.63354 | 0.23868 | -129.5797 | 107.8682 | 0.22747 | -129.562 | 107.8656
Line_2 | 0.00070949 | 0.00070949 | 0.00070949 | 0 | 0 | 0 | 0.0081925 | 0.0081925 | 0.0081925 | 0 | 0 | 0 | -0.0019736 | -0.0032026 | 0.0051788 | -1.1082e-10 | 7.9516e-10 | 7.9937e-10 | -0.008198 | 0.004305 | 0.00037065 | 1.499e-11 | -3.9897e-10 | -4.8831e-10 | 103.7745 | 103.7745 | 103.7745 | 0 | 0 | 0 | 1.0293 | 0.65494 | 0.63376 | 1.0294 | 0.65504 | 0.63354 | 0.23868 | -129.5797 | 107.8682 | 0.22747 | -129.562 | 107.8656

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12736 | 0.77962 | 0.64701 | 0.12772 | 0.7795 | 0.64676 | 1.4706 | 9.0022 | 7.471 | 1.4748 | 9.0009 | 7.4681 | -0.3966 | 6.0908 | 3.339 | 0.4032 | -4.821 | -3.07 | 1.3377 | 3.3138 | 4.4925 | -1.4634 | -3.3926 | -3.6022 | -105.3189 | -164.7503 | 58.3464 | 74.835 | 15.2854 | -121.6918 | 0.94873 | 0.77025 | 0.74922 | 1.0293 | 0.65494 | 0.63376 | 1.1952 | -136.2012 | 111.7253 | 0.23868 | -129.5797 | 107.8682
Line_1 | 0.00070949 | 0.00070949 | 0.00070949 | 0 | 0 | 0 | 0.0081925 | 0.0081925 | 0.0081925 | 0 | 0 | 0 | -0.0019736 | -0.0032026 | 0.0051788 | -1.1081e-10 | 7.9517e-10 | 7.9938e-10 | -0.008198 | 0.004305 | 0.00037065 | 1.4978e-11 | -3.9898e-10 | -4.8831e-10 | 103.7745 | 103.7745 | 103.7745 | 0 | 0 | 0 | 1.0293 | 0.65494 | 0.63376 | 1.0294 | 0.65504 | 0.63354 | 0.23868 | -129.5797 | 107.8682 | 0.22747 | -129.562 | 107.8656
Line_2 | 0.00070949 | 0.00070949 | 0.00070949 | 0 | 0 | 0 | 0.0081925 | 0.0081925 | 0.0081925 | 0 | 0 | 0 | -0.0019736 | -0.0032026 | 0.0051788 | -1.1082e-10 | 7.9516e-10 | 7.9937e-10 | -0.008198 | 0.004305 | 0.00037065 | 1.499e-11 | -3.9897e-10 | -4.8831e-10 | 103.7745 | 103.7745 | 103.7745 | 0 | 0 | 0 | 1.0293 | 0.65494 | 0.63376 | 1.0294 | 0.65504 | 0.63354 | 0.23868 | -129.5797 | 107.8682 | 0.22747 | -129.562 | 107.8656