## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -3.96e-20 | 0 | -7.1787e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.78635 | 0.78635 | 1.5487 | 0 | 27.2398 | 27.2398 | -1e-07 | 0.96461 | -1e-07 | 1.0945 | 107.8647 | -72.1353 | 0 | 0.053557 | 0 | -23.5269

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -3.96e-20 | 0 | -7.1787e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.78635 | 0.78635 | 1.5487 | 0 | 27.2398 | 27.2398 | -1e-07 | 0.96461 | -1e-07 | 1.0945 | 107.8647 | -72.1353 | 0 | 0.053557 | 0 | -23.5269

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.78817 | 0.78817 | 0 | 1.7495 | 27.3029 | 27.3029 | 15.5621 | -14.5931 | 17.0152 | -15.9156 | -56.9526 | 123.0474 | 0.84455 | 0.79087 | -9.3988 | -9.4703
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5589e-09 | 0 | 1.5745e-09 | 0 | 0 | 0 | 0.79087 | 0.79087 | -9.4703 | -9.4703
Line_2 | 0.24688 | 0.24688 | 0.48623 | 0 | 8.5523 | 8.5523 | -5.1409 | 5.236 | -4.3954 | 4.5033 | 129.9998 | -50.0002 | 0.79087 | 0.80753 | -9.4703 | -9.3027

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.78817 | 0.78817 | 0 | 1.7495 | 27.3029 | 27.3029 | 15.5621 | -14.5931 | 17.0152 | -15.9156 | -56.9526 | 123.0474 | 0.84455 | 0.79087 | -9.3988 | -9.4703
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5589e-09 | 0 | 1.5745e-09 | 0 | 0 | 0 | 0.79087 | 0.79087 | -9.4703 | -9.4703
Line_2 | 0.24688 | 0.24688 | 0.48623 | 0 | 8.5523 | 8.5523 | -5.1409 | 5.236 | -4.3954 | 4.5033 | 129.9998 | -50.0002 | 0.79087 | 0.80753 | -9.4703 | -9.3027

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9933e-20 | 0 | -1.9238e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.77473 | 0.77473 | 1.4838 | 0 | 26.8374 | 26.8374 | -1e-07 | 1.7977 | -1e-07 | 1.0624 | 109.7251 | -70.2749 | 0 | 0.077808 | 0 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9933e-20 | 0 | -1.9238e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.77473 | 0.77473 | 1.4838 | 0 | 26.8374 | 26.8374 | -1e-07 | 1.7977 | -1e-07 | 1.0624 | 109.7251 | -70.2749 | 0 | 0.077808 | 0 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.64236 | 0.64236 | 0 | 1.3241 | 22.2519 | 22.2519 | 12.0826 | -10.8467 | 12.1142 | -11.3839 | -55.2032 | 124.7968 | 0.76891 | 0.70663 | -10.1283 | -8.819
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1884e-09 | 0 | 1.1917e-09 | 0 | 0 | 0 | 0.70663 | 0.70663 | -8.819 | -8.819
Line_2 | 0.24836 | 0.24836 | 0.47567 | 0 | 8.6035 | 8.6035 | -4.5389 | 4.7237 | -4.0447 | 4.1539 | 129.4764 | -50.5236 | 0.70663 | 0.73113 | -8.819 | -9.1961

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.64236 | 0.64236 | 0 | 1.3241 | 22.2519 | 22.2519 | 12.0826 | -10.8467 | 12.1142 | -11.3839 | -55.2032 | 124.7968 | 0.76891 | 0.70663 | -10.1283 | -8.819
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1884e-09 | 0 | 1.1917e-09 | 0 | 0 | 0 | 0.70663 | 0.70663 | -8.819 | -8.819
Line_2 | 0.24836 | 0.24836 | 0.47567 | 0 | 8.6035 | 8.6035 | -4.5389 | 4.7237 | -4.0447 | 4.1539 | 129.4764 | -50.5236 | 0.70663 | 0.73113 | -8.819 | -9.1961

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14795 | 2.1071 | 2.2414 | 0.14795 | 2.1071 | 2.2414 | 1.7083 | 24.331 | 25.882 | 1.7083 | 24.331 | 25.882 | -1.834 | 15.8796 | -11.881 | 1.8454 | -13.5708 | 14.4935 | -0.54598 | 0.52703 | 4.7773 | 0.55889 | 2.0926 | -1.8131 | 166.1402 | -168.2449 | 10.1199 | -13.8598 | 11.7551 | -169.8801 | 1.1201 | 0.65301 | 0.49477 | 1.1287 | 0.56435 | 0.56435 | 2.718 | -166.344 | 168.215 | 2.9893 | -177.0107 | -177.0107
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2496e-10 | -7.1561e-11 | 1.3403e-10 | -1.2497e-10 | 7.1564e-11 | -1.3404e-10 | -2.3741e-10 | 1.9092e-09 | -2.0279e-09 | 2.374e-10 | -1.9092e-09 | 2.0279e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1287 | 0.56435 | 0.56435 | 1.1287 | 0.56435 | 0.56435 | 2.9893 | -177.0107 | -177.0107 | 2.9893 | -177.0107 | -177.0107
Line_2 | 0.070236 | 0.67297 | 0.60775 | 0.070236 | 0.67297 | 0.60775 | 0.81101 | 7.7707 | 7.0177 | 0.81101 | 7.7707 | 7.0177 | -0.88462 | -4.3633 | 3.921 | 0.88718 | 4.5988 | -3.7289 | -0.23535 | 0.43971 | -0.55739 | 0.23826 | -0.17251 | 0.77531 | 168.0914 | 8.7439 | -168.92 | -11.9086 | -171.2561 | 11.08 | 1.1287 | 0.56435 | 0.56435 | 1.1327 | 0.59223 | 0.54273 | 2.9893 | -177.0107 | -177.0107 | 3.1236 | -173.4044 | 179.3345

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14795 | 2.1071 | 2.2414 | 0.14795 | 2.1071 | 2.2414 | 1.7083 | 24.331 | 25.882 | 1.7083 | 24.331 | 25.882 | -1.834 | 15.8796 | -11.881 | 1.8454 | -13.5708 | 14.4935 | -0.54598 | 0.52703 | 4.7773 | 0.55889 | 2.0926 | -1.8131 | 166.1402 | -168.2449 | 10.1199 | -13.8598 | 11.7551 | -169.8801 | 1.1201 | 0.65301 | 0.49477 | 1.1287 | 0.56435 | 0.56435 | 2.718 | -166.344 | 168.215 | 2.9893 | -177.0107 | -177.0107
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2496e-10 | -7.1561e-11 | 1.3403e-10 | -1.2497e-10 | 7.1564e-11 | -1.3404e-10 | -2.3741e-10 | 1.9092e-09 | -2.0279e-09 | 2.374e-10 | -1.9092e-09 | 2.0279e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1287 | 0.56435 | 0.56435 | 1.1287 | 0.56435 | 0.56435 | 2.9893 | -177.0107 | -177.0107 | 2.9893 | -177.0107 | -177.0107
Line_2 | 0.070236 | 0.67297 | 0.60775 | 0.070236 | 0.67297 | 0.60775 | 0.81101 | 7.7707 | 7.0177 | 0.81101 | 7.7707 | 7.0177 | -0.88462 | -4.3633 | 3.921 | 0.88718 | 4.5988 | -3.7289 | -0.23535 | 0.43971 | -0.55739 | 0.23826 | -0.17251 | 0.77531 | 168.0914 | 8.7439 | -168.92 | -11.9086 | -171.2561 | 11.08 | 1.1287 | 0.56435 | 0.56435 | 1.1327 | 0.59223 | 0.54273 | 2.9893 | -177.0107 | -177.0107 | 3.1236 | -173.4044 | 179.3345

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.073165 | 1.0421 | 1.1085 | 0.073165 | 1.0421 | 1.1085 | 0.84484 | 12.0326 | 12.7997 | 0.84484 | 12.0326 | 12.7997 | -0.92878 | 11.0022 | -0.90781 | 0.93157 | -10.4375 | 1.5468 | 0.04972 | 1.8378 | 8.6952 | -0.046562 | -1.1971 | -7.9702 | -175.4849 | -149.8701 | 28.4947 | 4.5151 | 30.1299 | -151.5053 | 1.1009 | 0.92703 | 0.68302 | 1.104 | 0.87312 | 0.63431 | 1.4508 | -140.3871 | 124.4551 | 1.6537 | -143.3273 | 129.4774
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8168e-11 | -4.3848e-10 | -1.0482e-09 | -1.8181e-11 | 4.3847e-10 | 1.0482e-09 | -1.285e-10 | 1.3945e-09 | -4.2125e-10 | 1.285e-10 | -1.3945e-09 | 4.2126e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.104 | 0.87312 | 0.63431 | 1.104 | 0.87312 | 0.63431 | 1.6537 | -143.3273 | 129.4774 | 1.6537 | -143.3273 | 129.4774
Line_2 | 0.034734 | 0.33281 | 0.30056 | 0.034734 | 0.33281 | 0.30056 | 0.40108 | 3.8429 | 3.4705 | 0.40108 | 3.8429 | 3.4705 | -0.44124 | -3.3088 | 0.38312 | 0.44187 | 3.3664 | -0.33615 | 0.03715 | -0.55691 | -2.1678 | -0.036438 | 0.62226 | 2.2211 | -173.5338 | 27.1188 | -150.5452 | 6.4662 | -152.8812 | 29.4548 | 1.104 | 0.87312 | 0.63431 | 1.1054 | 0.89084 | 0.64727 | 1.6537 | -143.3273 | 129.4774 | 1.7521 | -142.4087 | 128.0609

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.073165 | 1.0421 | 1.1085 | 0.073165 | 1.0421 | 1.1085 | 0.84484 | 12.0326 | 12.7997 | 0.84484 | 12.0326 | 12.7997 | -0.92878 | 11.0022 | -0.90781 | 0.93157 | -10.4375 | 1.5468 | 0.04972 | 1.8378 | 8.6952 | -0.046562 | -1.1971 | -7.9702 | -175.4849 | -149.8701 | 28.4947 | 4.5151 | 30.1299 | -151.5053 | 1.1009 | 0.92703 | 0.68302 | 1.104 | 0.87312 | 0.63431 | 1.4508 | -140.3871 | 124.4551 | 1.6537 | -143.3273 | 129.4774
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8168e-11 | -4.3848e-10 | -1.0482e-09 | -1.8181e-11 | 4.3847e-10 | 1.0482e-09 | -1.285e-10 | 1.3945e-09 | -4.2125e-10 | 1.285e-10 | -1.3945e-09 | 4.2126e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.104 | 0.87312 | 0.63431 | 1.104 | 0.87312 | 0.63431 | 1.6537 | -143.3273 | 129.4774 | 1.6537 | -143.3273 | 129.4774
Line_2 | 0.034734 | 0.33281 | 0.30056 | 0.034734 | 0.33281 | 0.30056 | 0.40108 | 3.8429 | 3.4705 | 0.40108 | 3.8429 | 3.4705 | -0.44124 | -3.3088 | 0.38312 | 0.44187 | 3.3664 | -0.33615 | 0.03715 | -0.55691 | -2.1678 | -0.036438 | 0.62226 | 2.2211 | -173.5338 | 27.1188 | -150.5452 | 6.4662 | -152.8812 | 29.4548 | 1.104 | 0.87312 | 0.63431 | 1.1054 | 0.89084 | 0.64727 | 1.6537 | -143.3273 | 129.4774 | 1.7521 | -142.4087 | 128.0609

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13414 | 1.6751 | 1.796 | 0.13414 | 1.6751 | 1.796 | 1.5489 | 19.3425 | 20.7379 | 1.5489 | 19.3425 | 20.7379 | -1.5311 | 12.5274 | -7.2801 | 1.5491 | -9.7259 | 10.5004 | -0.37623 | -0.53384 | 3.899 | 0.38684 | 2.1894 | -1.996 | 169.3329 | -163.9592 | 14.1171 | -10.6671 | 16.0408 | -165.8829 | 1.0179 | 0.64825 | 0.39823 | 1.0308 | 0.51541 | 0.51541 | 3.1383 | -166.3993 | 165.9451 | 3.3545 | -176.6455 | -176.6455
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2293e-10 | -6.5019e-11 | 1.265e-10 | -1.2293e-10 | 6.5023e-11 | -1.2649e-10 | -2.2115e-10 | 1.5785e-09 | -1.6891e-09 | 2.2116e-10 | -1.5785e-09 | 1.6891e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0308 | 0.51541 | 0.51541 | 1.0308 | 0.51541 | 0.51541 | 3.3545 | -176.6455 | -176.6455 | 3.3545 | -176.6455 | -176.6455
Line_2 | 0.062882 | 0.6644 | 0.60441 | 0.062882 | 0.6644 | 0.60441 | 0.7261 | 7.6719 | 6.9791 | 0.7261 | 7.6719 | 6.9791 | -0.73892 | -3.9209 | 3.5514 | 0.74287 | 4.3616 | -3.1867 | -0.11917 | 0.51191 | -0.57149 | 0.12151 | -0.25146 | 0.78703 | 174.1926 | 10.7929 | -167.5038 | -5.8074 | -169.2071 | 12.4962 | 1.0308 | 0.51541 | 0.51541 | 1.0367 | 0.56946 | 0.47032 | 3.3545 | -176.6455 | -176.6455 | 3.4819 | -172.5067 | 178.6232

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13414 | 1.6751 | 1.796 | 0.13414 | 1.6751 | 1.796 | 1.5489 | 19.3425 | 20.7379 | 1.5489 | 19.3425 | 20.7379 | -1.5311 | 12.5274 | -7.2801 | 1.5491 | -9.7259 | 10.5004 | -0.37623 | -0.53384 | 3.899 | 0.38684 | 2.1894 | -1.996 | 169.3329 | -163.9592 | 14.1171 | -10.6671 | 16.0408 | -165.8829 | 1.0179 | 0.64825 | 0.39823 | 1.0308 | 0.51541 | 0.51541 | 3.1383 | -166.3993 | 165.9451 | 3.3545 | -176.6455 | -176.6455
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2293e-10 | -6.5019e-11 | 1.265e-10 | -1.2293e-10 | 6.5023e-11 | -1.2649e-10 | -2.2115e-10 | 1.5785e-09 | -1.6891e-09 | 2.2116e-10 | -1.5785e-09 | 1.6891e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0308 | 0.51541 | 0.51541 | 1.0308 | 0.51541 | 0.51541 | 3.3545 | -176.6455 | -176.6455 | 3.3545 | -176.6455 | -176.6455
Line_2 | 0.062882 | 0.6644 | 0.60441 | 0.062882 | 0.6644 | 0.60441 | 0.7261 | 7.6719 | 6.9791 | 0.7261 | 7.6719 | 6.9791 | -0.73892 | -3.9209 | 3.5514 | 0.74287 | 4.3616 | -3.1867 | -0.11917 | 0.51191 | -0.57149 | 0.12151 | -0.25146 | 0.78703 | 174.1926 | 10.7929 | -167.5038 | -5.8074 | -169.2071 | 12.4962 | 1.0308 | 0.51541 | 0.51541 | 1.0367 | 0.56946 | 0.47032 | 3.3545 | -176.6455 | -176.6455 | 3.4819 | -172.5067 | 178.6232

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06736 | 0.84118 | 0.90186 | 0.06736 | 0.84118 | 0.90186 | 0.77781 | 9.7131 | 10.4138 | 0.77781 | 9.7131 | 10.4138 | -0.77585 | 8.2775 | -0.2676 | 0.78038 | -7.571 | 1.0797 | 0.058323 | 0.93788 | 6.3663 | -0.055646 | -0.52041 | -5.8864 | -174.0301 | -147.3222 | 30.7541 | 5.9699 | 32.6778 | -149.2459 | 1.0003 | 0.85765 | 0.61187 | 1.0059 | 0.7813 | 0.57468 | 1.6709 | -140.8578 | 123.1611 | 1.8913 | -143.3901 | 131.1475
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3585e-11 | -3.911e-10 | -8.5645e-10 | -2.3584e-11 | 3.9109e-10 | 8.5646e-10 | -1.2171e-10 | 1.1373e-09 | -4.0738e-10 | 1.2172e-10 | -1.1373e-09 | 4.0738e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.7813 | 0.57468 | 1.0059 | 0.7813 | 0.57468 | 1.8913 | -143.3901 | 131.1475 | 1.8913 | -143.3901 | 131.1475
Line_2 | 0.031577 | 0.33364 | 0.30351 | 0.031577 | 0.33364 | 0.30351 | 0.36462 | 3.8526 | 3.5047 | 0.36462 | 3.8526 | 3.5047 | -0.3623 | -2.9715 | 0.41924 | 0.3633 | 3.0826 | -0.32727 | 0.056983 | -0.48021 | -1.97 | -0.056395 | 0.54588 | 2.0243 | -169.1704 | 27.43 | -150.8668 | 10.8296 | -152.57 | 29.1332 | 1.0059 | 0.7813 | 0.57468 | 1.0083 | 0.81259 | 0.5851 | 1.8913 | -143.3901 | 131.1475 | 2.006 | -142.5279 | 128.3167

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06736 | 0.84118 | 0.90186 | 0.06736 | 0.84118 | 0.90186 | 0.77781 | 9.7131 | 10.4138 | 0.77781 | 9.7131 | 10.4138 | -0.77585 | 8.2775 | -0.2676 | 0.78038 | -7.571 | 1.0797 | 0.058323 | 0.93788 | 6.3663 | -0.055646 | -0.52041 | -5.8864 | -174.0301 | -147.3222 | 30.7541 | 5.9699 | 32.6778 | -149.2459 | 1.0003 | 0.85765 | 0.61187 | 1.0059 | 0.7813 | 0.57468 | 1.6709 | -140.8578 | 123.1611 | 1.8913 | -143.3901 | 131.1475
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3585e-11 | -3.911e-10 | -8.5645e-10 | -2.3584e-11 | 3.9109e-10 | 8.5646e-10 | -1.2171e-10 | 1.1373e-09 | -4.0738e-10 | 1.2172e-10 | -1.1373e-09 | 4.0738e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.7813 | 0.57468 | 1.0059 | 0.7813 | 0.57468 | 1.8913 | -143.3901 | 131.1475 | 1.8913 | -143.3901 | 131.1475
Line_2 | 0.031577 | 0.33364 | 0.30351 | 0.031577 | 0.33364 | 0.30351 | 0.36462 | 3.8526 | 3.5047 | 0.36462 | 3.8526 | 3.5047 | -0.3623 | -2.9715 | 0.41924 | 0.3633 | 3.0826 | -0.32727 | 0.056983 | -0.48021 | -1.97 | -0.056395 | 0.54588 | 2.0243 | -169.1704 | 27.43 | -150.8668 | 10.8296 | -152.57 | 29.1332 | 1.0059 | 0.7813 | 0.57468 | 1.0083 | 0.81259 | 0.5851 | 1.8913 | -143.3901 | 131.1475 | 2.006 | -142.5279 | 128.3167

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.265 | 0.41999 | 0.24598 | 2.2637 | 0.42131 | 0.24729 | 26.1539 | 4.8496 | 2.8403 | 26.1384 | 4.8649 | 2.8554 | 6.4905 | -5.1555 | 2.2548 | -8.6804e-12 | 4.8236 | -2.4901 | 4.9498 | 0.86147 | 1.8699 | 4.8049e-11 | -1.4285 | -2.2337 | -72.3214 | 77.8337 | 76.8993 | 107.6864 | -102.1116 | -103.0024 | 0.3121 | 1.0778 | 1.0313 | 0 | 1.0341 | 1.1715 | -34.9916 | -111.6527 | 116.5687 | 0 | -118.6083 | 118.8901
Line_1 | 0.0017618 | 0.0017618 | 0.0017618 | 0 | 0 | 0 | 0.020344 | 0.020344 | 0.020344 | 0 | 0 | 0 | 2.1409e-14 | 0.019471 | -0.019463 | -3.2349e-13 | 2.4953e-10 | -3.0934e-10 | -3.1398e-14 | -0.0079648 | -0.013756 | 1.1804e-12 | 1.0042e-10 | -9.1834e-11 | -96.3612 | -96.3612 | -96.3612 | 0 | 0 | 0 | 0 | 1.0341 | 1.1715 | 0.00030343 | 1.0339 | 1.1718 | 0 | -118.6083 | 118.8901 | 105.3105 | -118.62 | 118.8866
Line_2 | 0.87738 | 0.16277 | 0.087751 | 0.87892 | 0.16433 | 0.089196 | 10.1311 | 1.8795 | 1.0133 | 10.1489 | 1.8975 | 1.0299 | -4.8357e-12 | -1.5428 | 1.185 | 1.4489 | 1.7639 | -1.0896 | 1.8297e-11 | 1.1821 | 0.069476 | 0.75199 | -1.1059 | -0.066981 | 103.1224 | 98.8514 | 115.5346 | -76.8965 | -81.2093 | -64.8599 | 0 | 1.0341 | 1.1715 | 0.16085 | 1.0972 | 1.06 | 0 | -118.6083 | 118.8901 | -49.4672 | -113.2945 | 118.6577

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.265 | 0.41999 | 0.24598 | 2.2637 | 0.42131 | 0.24729 | 26.1539 | 4.8496 | 2.8403 | 26.1384 | 4.8649 | 2.8554 | 6.4905 | -5.1555 | 2.2548 | -8.6804e-12 | 4.8236 | -2.4901 | 4.9498 | 0.86147 | 1.8699 | 4.8049e-11 | -1.4285 | -2.2337 | -72.3214 | 77.8337 | 76.8993 | 107.6864 | -102.1116 | -103.0024 | 0.3121 | 1.0778 | 1.0313 | 0 | 1.0341 | 1.1715 | -34.9916 | -111.6527 | 116.5687 | 0 | -118.6083 | 118.8901
Line_1 | 0.0017618 | 0.0017618 | 0.0017618 | 0 | 0 | 0 | 0.020344 | 0.020344 | 0.020344 | 0 | 0 | 0 | 2.1409e-14 | 0.019471 | -0.019463 | -3.2349e-13 | 2.4953e-10 | -3.0934e-10 | -3.1398e-14 | -0.0079648 | -0.013756 | 1.1804e-12 | 1.0042e-10 | -9.1834e-11 | -96.3612 | -96.3612 | -96.3612 | 0 | 0 | 0 | 0 | 1.0341 | 1.1715 | 0.00030343 | 1.0339 | 1.1718 | 0 | -118.6083 | 118.8901 | 105.3105 | -118.62 | 118.8866
Line_2 | 0.87738 | 0.16277 | 0.087751 | 0.87892 | 0.16433 | 0.089196 | 10.1311 | 1.8795 | 1.0133 | 10.1489 | 1.8975 | 1.0299 | -4.8357e-12 | -1.5428 | 1.185 | 1.4489 | 1.7639 | -1.0896 | 1.8297e-11 | 1.1821 | 0.069476 | 0.75199 | -1.1059 | -0.066981 | 103.1224 | 98.8514 | 115.5346 | -76.8965 | -81.2093 | -64.8599 | 0 | 1.0341 | 1.1715 | 0.16085 | 1.0972 | 1.06 | 0 | -118.6083 | 118.8901 | -49.4672 | -113.2945 | 118.6577

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71363 | 0.13233 | 0.0775 | 0.71321 | 0.13274 | 0.077913 | 8.2403 | 1.528 | 0.89489 | 8.2354 | 1.5328 | 0.89966 | 5.588 | -1.2947 | 0.91694 | -4.9413 | 1.2633 | -0.94424 | 4.727 | 1.0043 | 0.32498 | -4.2324 | -1.0643 | -0.36064 | -50.1277 | 100.0274 | 99.093 | 129.8801 | -79.9179 | -80.8087 | 0.88821 | 1.0724 | 1.0871 | 0.79002 | 1.0777 | 1.1235 | -9.8992 | -117.7743 | 118.6084 | -9.5385 | -120.0295 | 120.095
Line_1 | 0.0005551 | 0.0005551 | 0.0005551 | 0 | 0 | 0 | 0.0064098 | 0.0064098 | 0.0064098 | 0 | 0 | 0 | 0.0021698 | 0.0048105 | -0.0069794 | 8.5404e-10 | 8.8301e-11 | -9.72e-11 | 0.0045755 | -0.0049575 | -0.0017742 | -5.2773e-10 | -2.5982e-12 | 7.5656e-12 | -74.1675 | -74.1675 | -74.1675 | 0 | 0 | 0 | 0.79002 | 1.0777 | 1.1235 | 0.78995 | 1.0777 | 1.1236 | -9.5385 | -120.0295 | 120.095 | -9.5338 | -120.0342 | 120.0956
Line_2 | 0.27643 | 0.051285 | 0.027648 | 0.27692 | 0.051776 | 0.028103 | 3.192 | 0.59219 | 0.31925 | 3.1976 | 0.59786 | 0.3245 | -1.7786 | -0.30868 | 0.34182 | 1.925 | 0.33259 | -0.33685 | -1.7877 | 0.55858 | -0.10865 | 1.866 | -0.55507 | 0.10923 | 125.3161 | 121.0451 | 137.7283 | -54.7028 | -59.0156 | -42.6662 | 0.79002 | 1.0777 | 1.1235 | 0.83844 | 1.0823 | 1.0913 | -9.5385 | -120.0295 | 120.095 | -10.5935 | -118.0862 | 119.3677

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71363 | 0.13233 | 0.0775 | 0.71321 | 0.13274 | 0.077913 | 8.2403 | 1.528 | 0.89489 | 8.2354 | 1.5328 | 0.89966 | 5.588 | -1.2947 | 0.91694 | -4.9413 | 1.2633 | -0.94424 | 4.727 | 1.0043 | 0.32498 | -4.2324 | -1.0643 | -0.36064 | -50.1277 | 100.0274 | 99.093 | 129.8801 | -79.9179 | -80.8087 | 0.88821 | 1.0724 | 1.0871 | 0.79002 | 1.0777 | 1.1235 | -9.8992 | -117.7743 | 118.6084 | -9.5385 | -120.0295 | 120.095
Line_1 | 0.0005551 | 0.0005551 | 0.0005551 | 0 | 0 | 0 | 0.0064098 | 0.0064098 | 0.0064098 | 0 | 0 | 0 | 0.0021698 | 0.0048105 | -0.0069794 | 8.5404e-10 | 8.8301e-11 | -9.72e-11 | 0.0045755 | -0.0049575 | -0.0017742 | -5.2773e-10 | -2.5982e-12 | 7.5656e-12 | -74.1675 | -74.1675 | -74.1675 | 0 | 0 | 0 | 0.79002 | 1.0777 | 1.1235 | 0.78995 | 1.0777 | 1.1236 | -9.5385 | -120.0295 | 120.095 | -9.5338 | -120.0342 | 120.0956
Line_2 | 0.27643 | 0.051285 | 0.027648 | 0.27692 | 0.051776 | 0.028103 | 3.192 | 0.59219 | 0.31925 | 3.1976 | 0.59786 | 0.3245 | -1.7786 | -0.30868 | 0.34182 | 1.925 | 0.33259 | -0.33685 | -1.7877 | 0.55858 | -0.10865 | 1.866 | -0.55507 | 0.10923 | 125.3161 | 121.0451 | 137.7283 | -54.7028 | -59.0156 | -42.6662 | 0.79002 | 1.0777 | 1.1235 | 0.83844 | 1.0823 | 1.0913 | -9.5385 | -120.0295 | 120.095 | -10.5935 | -118.0862 | 119.3677

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7016 | 0.39415 | 0.24133 | 1.7004 | 0.39533 | 0.24251 | 19.6482 | 4.5512 | 2.7867 | 19.6349 | 4.5648 | 2.8003 | 6.7412 | -4.2759 | 2.1636 | 2.8123e-11 | 3.8987 | -2.4448 | 3.4586 | 0.98342 | 1.4302 | 2.7023e-11 | -1.7151 | -1.9063 | -65.3917 | 82.6998 | 81.8875 | 114.6216 | -97.2612 | -98.0449 | 0.38562 | 0.96405 | 0.9307 | 0 | 0.93307 | 1.1071 | -38.2316 | -110.2524 | 115.3535 | 0 | -121.0071 | 119.8994
Line_1 | 0.0017242 | 0.0017242 | 0.0017242 | 0 | 0 | 0 | 0.01991 | 0.01991 | 0.01991 | 0 | 0 | 0 | -8.6737e-15 | 0.017205 | -0.01719 | -9.8335e-14 | 2.2987e-10 | -4.3686e-10 | -3.8584e-14 | -0.0070056 | -0.013797 | 1.9813e-12 | -6.1203e-11 | -8.0185e-12 | -98.8522 | -98.8522 | -98.8522 | 0 | 0 | 0 | 0 | 0.93307 | 1.1071 | 0.00054101 | 0.93262 | 1.1076 | 0 | -121.0071 | 119.8994 | 92.8105 | -121.0256 | 119.8867
Line_2 | 0.8166 | 0.138 | 0.098075 | 0.81792 | 0.13912 | 0.09866 | 9.4292 | 1.5935 | 1.1325 | 9.4445 | 1.6065 | 1.1392 | 1.269e-11 | -0.44861 | 0.94376 | 2.319 | 0.76958 | -0.77938 | 1.3775e-11 | 1.4176 | -0.82534 | 0.83994 | -1.4399 | 0.70815 | 111.1313 | 131.4323 | 161.0701 | -68.894 | -48.8964 | -19.6541 | 0 | 0.93307 | 1.1071 | 0.26115 | 1.0163 | 0.92435 | 0 | -121.0071 | 119.8994 | -48.9839 | -110.7738 | 118.0872

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7016 | 0.39415 | 0.24133 | 1.7004 | 0.39533 | 0.24251 | 19.6482 | 4.5512 | 2.7867 | 19.6349 | 4.5648 | 2.8003 | 6.7412 | -4.2759 | 2.1636 | 2.8123e-11 | 3.8987 | -2.4448 | 3.4586 | 0.98342 | 1.4302 | 2.7023e-11 | -1.7151 | -1.9063 | -65.3917 | 82.6998 | 81.8875 | 114.6216 | -97.2612 | -98.0449 | 0.38562 | 0.96405 | 0.9307 | 0 | 0.93307 | 1.1071 | -38.2316 | -110.2524 | 115.3535 | 0 | -121.0071 | 119.8994
Line_1 | 0.0017242 | 0.0017242 | 0.0017242 | 0 | 0 | 0 | 0.01991 | 0.01991 | 0.01991 | 0 | 0 | 0 | -8.6737e-15 | 0.017205 | -0.01719 | -9.8335e-14 | 2.2987e-10 | -4.3686e-10 | -3.8584e-14 | -0.0070056 | -0.013797 | 1.9813e-12 | -6.1203e-11 | -8.0185e-12 | -98.8522 | -98.8522 | -98.8522 | 0 | 0 | 0 | 0 | 0.93307 | 1.1071 | 0.00054101 | 0.93262 | 1.1076 | 0 | -121.0071 | 119.8994 | 92.8105 | -121.0256 | 119.8867
Line_2 | 0.8166 | 0.138 | 0.098075 | 0.81792 | 0.13912 | 0.09866 | 9.4292 | 1.5935 | 1.1325 | 9.4445 | 1.6065 | 1.1392 | 1.269e-11 | -0.44861 | 0.94376 | 2.319 | 0.76958 | -0.77938 | 1.3775e-11 | 1.4176 | -0.82534 | 0.83994 | -1.4399 | 0.70815 | 111.1313 | 131.4323 | 161.0701 | -68.894 | -48.8964 | -19.6541 | 0 | 0.93307 | 1.1071 | 0.26115 | 1.0163 | 0.92435 | 0 | -121.0071 | 119.8994 | -48.9839 | -110.7738 | 118.0872

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55994 | 0.1297 | 0.079415 | 0.55956 | 0.13009 | 0.079803 | 6.4656 | 1.4977 | 0.91701 | 6.4613 | 1.5021 | 0.92148 | 4.2825 | -1.131 | 0.86197 | -3.5507 | 1.0916 | -0.89562 | 3.1416 | 0.90756 | 0.27276 | -2.7644 | -0.98966 | -0.32414 | -46.6487 | 101.4429 | 100.6305 | 133.3646 | -78.5181 | -79.3018 | 0.82146 | 0.96828 | 0.98592 | 0.69646 | 0.98091 | 1.0336 | -10.3846 | -117.3013 | 118.1897 | -8.7326 | -120.7128 | 120.5941
Line_1 | 0.00056739 | 0.00056739 | 0.00056739 | 0 | 0 | 0 | 0.0065516 | 0.0065516 | 0.0065516 | 0 | 0 | 0 | 0.0014572 | 0.0048792 | -0.0063347 | 7.4577e-10 | 6.8767e-11 | -1.2835e-10 | 0.004324 | -0.0041825 | -0.0023941 | -3.871e-10 | -4.5257e-11 | 3.9205e-11 | -80.1092 | -80.1092 | -80.1092 | 0 | 0 | 0 | 0.69646 | 0.98091 | 1.0336 | 0.69637 | 0.9808 | 1.0338 | -8.7326 | -120.7128 | 120.5941 | -8.72 | -120.721 | 120.5926
Line_2 | 0.26872 | 0.045413 | 0.032273 | 0.26915 | 0.045782 | 0.032466 | 3.1029 | 0.52438 | 0.37266 | 3.1079 | 0.52864 | 0.37488 | -1.6212 | 0.0079733 | 0.19713 | 1.8743 | 0.028412 | -0.18296 | -1.4289 | 0.51431 | -0.33093 | 1.5229 | -0.51998 | 0.31846 | 129.8744 | 150.1754 | 179.8131 | -50.1509 | -30.1534 | -0.91103 | 0.69646 | 0.98091 | 1.0336 | 0.77705 | 0.98508 | 0.97969 | -8.7326 | -120.7128 | 120.5941 | -11.0565 | -117.0258 | 118.9667

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55994 | 0.1297 | 0.079415 | 0.55956 | 0.13009 | 0.079803 | 6.4656 | 1.4977 | 0.91701 | 6.4613 | 1.5021 | 0.92148 | 4.2825 | -1.131 | 0.86197 | -3.5507 | 1.0916 | -0.89562 | 3.1416 | 0.90756 | 0.27276 | -2.7644 | -0.98966 | -0.32414 | -46.6487 | 101.4429 | 100.6305 | 133.3646 | -78.5181 | -79.3018 | 0.82146 | 0.96828 | 0.98592 | 0.69646 | 0.98091 | 1.0336 | -10.3846 | -117.3013 | 118.1897 | -8.7326 | -120.7128 | 120.5941
Line_1 | 0.00056739 | 0.00056739 | 0.00056739 | 0 | 0 | 0 | 0.0065516 | 0.0065516 | 0.0065516 | 0 | 0 | 0 | 0.0014572 | 0.0048792 | -0.0063347 | 7.4577e-10 | 6.8767e-11 | -1.2835e-10 | 0.004324 | -0.0041825 | -0.0023941 | -3.871e-10 | -4.5257e-11 | 3.9205e-11 | -80.1092 | -80.1092 | -80.1092 | 0 | 0 | 0 | 0.69646 | 0.98091 | 1.0336 | 0.69637 | 0.9808 | 1.0338 | -8.7326 | -120.7128 | 120.5941 | -8.72 | -120.721 | 120.5926
Line_2 | 0.26872 | 0.045413 | 0.032273 | 0.26915 | 0.045782 | 0.032466 | 3.1029 | 0.52438 | 0.37266 | 3.1079 | 0.52864 | 0.37488 | -1.6212 | 0.0079733 | 0.19713 | 1.8743 | 0.028412 | -0.18296 | -1.4289 | 0.51431 | -0.33093 | 1.5229 | -0.51998 | 0.31846 | 129.8744 | 150.1754 | 179.8131 | -50.1509 | -30.1534 | -0.91103 | 0.69646 | 0.98091 | 1.0336 | 0.77705 | 0.98508 | 0.97969 | -8.7326 | -120.7128 | 120.5941 | -11.0565 | -117.0258 | 118.9667

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36208 | 2.6028 | 2.1504 | 0.36316 | 2.6023 | 2.1497 | 4.1809 | 30.0546 | 24.8301 | 4.1934 | 30.0485 | 24.8228 | -2.3888 | 8.0111 | 1.4328 | 2.3419 | -2.3582e-11 | -2.875e-11 | 3.3903 | 1.5242 | 6.8488 | -4.0351 | 4.7513e-11 | 3.3608e-11 | -120.4602 | 169.3924 | 37.272 | 59.6897 | -10.5782 | -142.7623 | 0.99197 | 0.27133 | 0.2818 | 1.1126 | 0 | 0 | 4.7086 | -179.835 | 115.4557 | -0.18008 | 0 | 0
Line_1 | 0.001836 | 0.001836 | 0.001836 | 0 | 0 | 0 | 0.0212 | 0.0212 | 0.0212 | 0 | 0 | 0 | 9.3446e-06 | 3.5971e-14 | -7.8625e-15 | -5.1865e-11 | 7.941e-13 | -1.2616e-12 | -0.023587 | 1.0328e-14 | -3.6946e-14 | -1.5299e-11 | 9.9767e-13 | 1.8919e-13 | 89.7972 | 89.7972 | 89.7972 | 0 | 0 | 0 | 1.1126 | 0 | 0 | 1.1127 | 0.0003162 | 0.0003162 | -0.18008 | 0 | 0 | -0.19522 | -68.5311 | -68.5311
Line_2 | 0.11015 | 0.91327 | 0.77038 | 0.11167 | 0.91412 | 0.77159 | 1.2719 | 10.5455 | 8.8955 | 1.2895 | 10.5553 | 8.9096 | -0.29646 | -1.1623e-11 | -5.737e-12 | 0.39795 | 1.4344 | 0.67589 | 1.3837 | 1.4541e-11 | 1.4775e-11 | -1.2916 | -0.13272 | 1.277 | -102.2736 | -22.8183 | -123.4379 | 78.0256 | 157.0943 | 56.6434 | 1.1126 | 0 | 0 | 1.0481 | 0.13647 | 0.16217 | -0.18008 | 0 | 0 | 5.1501 | 151.8081 | 118.7527

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36208 | 2.6028 | 2.1504 | 0.36316 | 2.6023 | 2.1497 | 4.1809 | 30.0546 | 24.8301 | 4.1934 | 30.0485 | 24.8228 | -2.3888 | 8.0111 | 1.4328 | 2.3419 | -2.3582e-11 | -2.875e-11 | 3.3903 | 1.5242 | 6.8488 | -4.0351 | 4.7513e-11 | 3.3608e-11 | -120.4602 | 169.3924 | 37.272 | 59.6897 | -10.5782 | -142.7623 | 0.99197 | 0.27133 | 0.2818 | 1.1126 | 0 | 0 | 4.7086 | -179.835 | 115.4557 | -0.18008 | 0 | 0
Line_1 | 0.001836 | 0.001836 | 0.001836 | 0 | 0 | 0 | 0.0212 | 0.0212 | 0.0212 | 0 | 0 | 0 | 9.3446e-06 | 3.5971e-14 | -7.8625e-15 | -5.1865e-11 | 7.941e-13 | -1.2616e-12 | -0.023587 | 1.0328e-14 | -3.6946e-14 | -1.5299e-11 | 9.9767e-13 | 1.8919e-13 | 89.7972 | 89.7972 | 89.7972 | 0 | 0 | 0 | 1.1126 | 0 | 0 | 1.1127 | 0.0003162 | 0.0003162 | -0.18008 | 0 | 0 | -0.19522 | -68.5311 | -68.5311
Line_2 | 0.11015 | 0.91327 | 0.77038 | 0.11167 | 0.91412 | 0.77159 | 1.2719 | 10.5455 | 8.8955 | 1.2895 | 10.5553 | 8.9096 | -0.29646 | -1.1623e-11 | -5.737e-12 | 0.39795 | 1.4344 | 0.67589 | 1.3837 | 1.4541e-11 | 1.4775e-11 | -1.2916 | -0.13272 | 1.277 | -102.2736 | -22.8183 | -123.4379 | 78.0256 | 157.0943 | 56.6434 | 1.1126 | 0 | 0 | 1.0481 | 0.13647 | 0.16217 | -0.18008 | 0 | 0 | 5.1501 | 151.8081 | 118.7527

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11424 | 0.79573 | 0.71244 | 0.11457 | 0.79561 | 0.71223 | 1.3192 | 9.1883 | 8.2266 | 1.3229 | 9.1869 | 8.2241 | -0.32731 | 6.5671 | 4.1524 | 0.32135 | -5.8468 | -3.9565 | 1.3579 | 4.6649 | 5.6993 | -1.4222 | -4.5518 | -4.9829 | -102.8042 | -167.3769 | 58.9096 | 77.3407 | 12.653 | -121.1206 | 1.0588 | 0.87669 | 0.85717 | 1.1021 | 0.80655 | 0.77367 | 0.74808 | -131.989 | 112.833 | 0.073249 | -129.4461 | 110.4294
Line_1 | 0.00055448 | 0.00055448 | 0.00055448 | 0 | 0 | 0 | 0.0064026 | 0.0064026 | 0.0064026 | 0 | 0 | 0 | -0.002164 | -0.0027839 | 0.0049488 | -8.8875e-12 | 8.2376e-10 | 8.8243e-10 | -0.0067165 | 0.0043494 | 0.00021584 | 5.3826e-12 | -5.3353e-10 | -5.1888e-10 | 107.932 | 107.932 | 107.932 | 0 | 0 | 0 | 1.1021 | 0.80655 | 0.77367 | 1.1022 | 0.80657 | 0.77358 | 0.073249 | -129.4461 | 110.4294 | 0.06942 | -129.4395 | 110.4271
Line_2 | 0.035384 | 0.27519 | 0.25232 | 0.03584 | 0.27541 | 0.25269 | 0.40858 | 3.1776 | 2.9135 | 0.41384 | 3.1802 | 2.9178 | 0.031662 | -1.6294 | -1.8603 | -0.024612 | 1.753 | 1.9362 | 0.4492 | -1.9783 | -1.2729 | -0.44354 | 1.963 | 1.4008 | -85.8949 | 0.030664 | -103.9535 | 94.4091 | 179.939 | 76.1195 | 1.1021 | 0.80655 | 0.77367 | 1.0734 | 0.82756 | 0.81903 | 0.073249 | -129.4461 | 110.4294 | 1.233 | -131.8263 | 112.0045

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11424 | 0.79573 | 0.71244 | 0.11457 | 0.79561 | 0.71223 | 1.3192 | 9.1883 | 8.2266 | 1.3229 | 9.1869 | 8.2241 | -0.32731 | 6.5671 | 4.1524 | 0.32135 | -5.8468 | -3.9565 | 1.3579 | 4.6649 | 5.6993 | -1.4222 | -4.5518 | -4.9829 | -102.8042 | -167.3769 | 58.9096 | 77.3407 | 12.653 | -121.1206 | 1.0588 | 0.87669 | 0.85717 | 1.1021 | 0.80655 | 0.77367 | 0.74808 | -131.989 | 112.833 | 0.073249 | -129.4461 | 110.4294
Line_1 | 0.00055448 | 0.00055448 | 0.00055448 | 0 | 0 | 0 | 0.0064026 | 0.0064026 | 0.0064026 | 0 | 0 | 0 | -0.002164 | -0.0027839 | 0.0049488 | -8.8875e-12 | 8.2376e-10 | 8.8243e-10 | -0.0067165 | 0.0043494 | 0.00021584 | 5.3826e-12 | -5.3353e-10 | -5.1888e-10 | 107.932 | 107.932 | 107.932 | 0 | 0 | 0 | 1.1021 | 0.80655 | 0.77367 | 1.1022 | 0.80657 | 0.77358 | 0.073249 | -129.4461 | 110.4294 | 0.06942 | -129.4395 | 110.4271
Line_2 | 0.035384 | 0.27519 | 0.25232 | 0.03584 | 0.27541 | 0.25269 | 0.40858 | 3.1776 | 2.9135 | 0.41384 | 3.1802 | 2.9178 | 0.031662 | -1.6294 | -1.8603 | -0.024612 | 1.753 | 1.9362 | 0.4492 | -1.9783 | -1.2729 | -0.44354 | 1.963 | 1.4008 | -85.8949 | 0.030664 | -103.9535 | 94.4091 | 179.939 | 76.1195 | 1.1021 | 0.80655 | 0.77367 | 1.0734 | 0.82756 | 0.81903 | 0.073249 | -129.4461 | 110.4294 | 1.233 | -131.8263 | 112.0045

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32642 | 2.073 | 1.6274 | 0.3274 | 2.0726 | 1.6269 | 3.7692 | 23.9367 | 18.7921 | 3.7805 | 23.9328 | 18.7862 | -1.5695 | 8.789 | 1.3213 | 1.5396 | -9.925e-12 | -7.3805e-12 | 2.9206 | -0.082499 | 5.4288 | -3.6809 | -3.9156e-12 | -5.7826e-12 | -113.7243 | 177.1611 | 38.0727 | 66.4052 | -2.8064 | -141.9665 | 0.87965 | 0.36719 | 0.29732 | 1.0554 | 0 | 0 | 4.5291 | 176.6233 | 114.3939 | -0.89738 | 0 | 0
Line_1 | 0.0017416 | 0.0017416 | 0.0017416 | 0 | 0 | 0 | 0.020111 | 0.020111 | 0.020111 | 0 | 0 | 0 | 1.6145e-05 | -3.0171e-15 | 9.7819e-15 | -2.1538e-10 | 1.5175e-12 | -1.8925e-12 | -0.021225 | 8.4427e-15 | -2.2488e-15 | -6.259e-11 | 1.3072e-12 | 6.6156e-13 | 89.059 | 89.059 | 89.059 | 0 | 0 | 0 | 1.0554 | 0 | 0 | 1.0555 | 0.00054648 | 0.00054648 | -0.89738 | 0 | 0 | -0.92644 | -79.2782 | -79.2782
Line_2 | 0.062966 | 0.93116 | 0.64529 | 0.064238 | 0.93182 | 0.64626 | 0.72707 | 10.7521 | 7.4511 | 0.74175 | 10.7597 | 7.4624 | 0.47843 | -4.0166e-12 | -3.5445e-12 | -0.34394 | 2.5455 | 0.75825 | 0.59995 | -2.6161e-12 | -1.1252e-12 | -0.59749 | -0.51484 | 1.5679 | -52.3268 | -14.3541 | -121.4994 | 127.1728 | 165.5707 | 58.5881 | 1.0554 | 0 | 0 | 0.92943 | 0.24137 | 0.23339 | -0.89738 | 0 | 0 | 7.2465 | 154.1366 | 122.7796

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32642 | 2.073 | 1.6274 | 0.3274 | 2.0726 | 1.6269 | 3.7692 | 23.9367 | 18.7921 | 3.7805 | 23.9328 | 18.7862 | -1.5695 | 8.789 | 1.3213 | 1.5396 | -9.925e-12 | -7.3805e-12 | 2.9206 | -0.082499 | 5.4288 | -3.6809 | -3.9156e-12 | -5.7826e-12 | -113.7243 | 177.1611 | 38.0727 | 66.4052 | -2.8064 | -141.9665 | 0.87965 | 0.36719 | 0.29732 | 1.0554 | 0 | 0 | 4.5291 | 176.6233 | 114.3939 | -0.89738 | 0 | 0
Line_1 | 0.0017416 | 0.0017416 | 0.0017416 | 0 | 0 | 0 | 0.020111 | 0.020111 | 0.020111 | 0 | 0 | 0 | 1.6145e-05 | -3.0171e-15 | 9.7819e-15 | -2.1538e-10 | 1.5175e-12 | -1.8925e-12 | -0.021225 | 8.4427e-15 | -2.2488e-15 | -6.259e-11 | 1.3072e-12 | 6.6156e-13 | 89.059 | 89.059 | 89.059 | 0 | 0 | 0 | 1.0554 | 0 | 0 | 1.0555 | 0.00054648 | 0.00054648 | -0.89738 | 0 | 0 | -0.92644 | -79.2782 | -79.2782
Line_2 | 0.062966 | 0.93116 | 0.64529 | 0.064238 | 0.93182 | 0.64626 | 0.72707 | 10.7521 | 7.4511 | 0.74175 | 10.7597 | 7.4624 | 0.47843 | -4.0166e-12 | -3.5445e-12 | -0.34394 | 2.5455 | 0.75825 | 0.59995 | -2.6161e-12 | -1.1252e-12 | -0.59749 | -0.51484 | 1.5679 | -52.3268 | -14.3541 | -121.4994 | 127.1728 | 165.5707 | 58.5881 | 1.0554 | 0 | 0 | 0.92943 | 0.24137 | 0.23339 | -0.89738 | 0 | 0 | 7.2465 | 154.1366 | 122.7796

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11096 | 0.64936 | 0.56371 | 0.11128 | 0.6493 | 0.56351 | 1.2813 | 7.4982 | 6.5092 | 1.2849 | 7.4974 | 6.5068 | -0.22263 | 5.2669 | 2.983 | 0.21741 | -4.4258 | -2.7536 | 1.2016 | 3.0235 | 4.1202 | -1.2868 | -3.0843 | -3.4867 | -99.7282 | -163.0799 | 58.8533 | 80.3927 | 16.9543 | -121.1807 | 0.95377 | 0.80993 | 0.78146 | 1.0156 | 0.71951 | 0.68281 | 0.7684 | -133.2217 | 112.9484 | -0.017341 | -128.1737 | 110.5193
Line_1 | 0.0005605 | 0.0005605 | 0.0005605 | 0 | 0 | 0 | 0.0064722 | 0.0064722 | 0.0064721 | 0 | 0 | 0 | -0.0014203 | -0.0029536 | 0.0043756 | -5.848e-11 | 7.1313e-10 | 7.6017e-10 | -0.006418 | 0.0036003 | 0.00061947 | -1.7148e-12 | -3.7456e-10 | -4.1233e-10 | 102.4614 | 102.4614 | 102.4614 | 0 | 0 | 0 | 1.0156 | 0.71951 | 0.68281 | 1.0157 | 0.71959 | 0.68263 | -0.017341 | -128.1737 | 110.5193 | -0.026394 | -128.1613 | 110.5184
Line_2 | 0.022331 | 0.28928 | 0.22854 | 0.022754 | 0.28945 | 0.22888 | 0.25785 | 3.3403 | 2.639 | 0.26274 | 3.3423 | 2.6429 | 0.18814 | -1.6286 | -1.4927 | -0.17489 | 1.868 | 1.5991 | 0.18217 | -1.7675 | -1.0094 | -0.18331 | 1.7022 | 1.187 | -44.0934 | 4.4841 | -103.5492 | 135.5464 | -175.5975 | 76.5238 | 1.0156 | 0.71951 | 0.68281 | 0.96429 | 0.75614 | 0.75354 | -0.017341 | -128.1737 | 110.5193 | 1.8932 | -133.2569 | 113.109

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11096 | 0.64936 | 0.56371 | 0.11128 | 0.6493 | 0.56351 | 1.2813 | 7.4982 | 6.5092 | 1.2849 | 7.4974 | 6.5068 | -0.22263 | 5.2669 | 2.983 | 0.21741 | -4.4258 | -2.7536 | 1.2016 | 3.0235 | 4.1202 | -1.2868 | -3.0843 | -3.4867 | -99.7282 | -163.0799 | 58.8533 | 80.3927 | 16.9543 | -121.1807 | 0.95377 | 0.80993 | 0.78146 | 1.0156 | 0.71951 | 0.68281 | 0.7684 | -133.2217 | 112.9484 | -0.017341 | -128.1737 | 110.5193
Line_1 | 0.0005605 | 0.0005605 | 0.0005605 | 0 | 0 | 0 | 0.0064722 | 0.0064722 | 0.0064721 | 0 | 0 | 0 | -0.0014203 | -0.0029536 | 0.0043756 | -5.848e-11 | 7.1313e-10 | 7.6017e-10 | -0.006418 | 0.0036003 | 0.00061947 | -1.7148e-12 | -3.7456e-10 | -4.1233e-10 | 102.4614 | 102.4614 | 102.4614 | 0 | 0 | 0 | 1.0156 | 0.71951 | 0.68281 | 1.0157 | 0.71959 | 0.68263 | -0.017341 | -128.1737 | 110.5193 | -0.026394 | -128.1613 | 110.5184
Line_2 | 0.022331 | 0.28928 | 0.22854 | 0.022754 | 0.28945 | 0.22888 | 0.25785 | 3.3403 | 2.639 | 0.26274 | 3.3423 | 2.6429 | 0.18814 | -1.6286 | -1.4927 | -0.17489 | 1.868 | 1.5991 | 0.18217 | -1.7675 | -1.0094 | -0.18331 | 1.7022 | 1.187 | -44.0934 | 4.4841 | -103.5492 | 135.5464 | -175.5975 | 76.5238 | 1.0156 | 0.71951 | 0.68281 | 0.96429 | 0.75614 | 0.75354 | -0.017341 | -128.1737 | 110.5193 | 1.8932 | -133.2569 | 113.109