## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0398 | 2.0398 | 0 | 0 | 70.6604 | 70.6604 | 16.5939 | -10.1032 | 19.8813 | -12.5168 | -73.5128 | 106.4872 | 0.36649 | 0.22765 | -23.3628 | -22.4221
Line_1 | 3.3424 | 3.3424 | 0 | 6.5022 | 115.7844 | 115.7844 | 17.4278 | -1e-07 | 19.7739 | -1e-07 | -71.0305 | 108.9695 | 0.22765 | 0 | -22.4221 | 0
Line_2 | 0.63894 | 0.63894 | 0 | 0 | 22.1334 | 22.1334 | -3.616 | 4.2528 | -3.5088 | 4.2314 | 113.4396 | -66.5604 | 0.22765 | 0.27105 | -22.4221 | -21.7051

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0398 | 2.0398 | 0 | 0 | 70.6604 | 70.6604 | 16.5939 | -10.1032 | 19.8813 | -12.5168 | -73.5128 | 106.4872 | 0.36649 | 0.22765 | -23.3628 | -22.4221
Line_1 | 3.3424 | 3.3424 | 0 | 6.5022 | 115.7844 | 115.7844 | 17.4278 | -1e-07 | 19.7739 | -1e-07 | -71.0305 | 108.9695 | 0.22765 | 0 | -22.4221 | 0
Line_2 | 0.63894 | 0.63894 | 0 | 0 | 22.1334 | 22.1334 | -3.616 | 4.2528 | -3.5088 | 4.2314 | 113.4396 | -66.5604 | 0.22765 | 0.27105 | -22.4221 | -21.7051

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.73007 | 0.73007 | 0 | 0 | 25.2903 | 25.2903 | 14.6467 | -13.8152 | 16.2026 | -15.2592 | -56.5192 | 123.4808 | 0.86363 | 0.81391 | -8.6319 | -8.6759
Line_1 | 1.1963 | 1.1963 | 0 | 2.3272 | 41.4409 | 41.4409 | 23.6994 | -21.4668 | 23.9999 | -21.4668 | -54.0369 | 125.9631 | 0.81391 | 0.73258 | -8.6759 | -9.0369
Line_2 | 0.22868 | 0.22868 | 0 | 0 | 7.9218 | 7.9218 | -4.8742 | 4.9558 | -4.2208 | 4.3133 | 130.4333 | -49.5667 | 0.81391 | 0.82935 | -8.6759 | -8.5314

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.73007 | 0.73007 | 0 | 0 | 25.2903 | 25.2903 | 14.6467 | -13.8152 | 16.2026 | -15.2592 | -56.5192 | 123.4808 | 0.86363 | 0.81391 | -8.6319 | -8.6759
Line_1 | 1.1963 | 1.1963 | 0 | 2.3272 | 41.4409 | 41.4409 | 23.6994 | -21.4668 | 23.9999 | -21.4668 | -54.0369 | 125.9631 | 0.81391 | 0.73258 | -8.6759 | -9.0369
Line_2 | 0.22868 | 0.22868 | 0 | 0 | 7.9218 | 7.9218 | -4.8742 | 4.9558 | -4.2208 | 4.3133 | 130.4333 | -49.5667 | 0.81391 | 0.82935 | -8.6759 | -8.5314

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.5554 | 1.5554 | 0 | 0 | 53.8809 | 53.8809 | 20.0738 | -12.8276 | 12.2868 | -8.0047 | -63.9232 | 116.0768 | 0.43681 | 0.28062 | -32.4531 | -31.9581
Line_1 | 2.7941 | 2.7941 | 0 | 4.8512 | 96.7916 | 96.7916 | 23.384 | -1e-07 | 13.8187 | -1e-07 | -62.5389 | 117.4611 | 0.28062 | 0 | -31.9581 | 0
Line_2 | 0.60139 | 0.60139 | 0 | 0 | 20.8326 | 20.8326 | -5.1956 | 6.2789 | -2.68 | 3.3201 | 120.7565 | -59.2435 | 0.28062 | 0.34094 | -31.9581 | -31.3747

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.5554 | 1.5554 | 0 | 0 | 53.8809 | 53.8809 | 20.0738 | -12.8276 | 12.2868 | -8.0047 | -63.9232 | 116.0768 | 0.43681 | 0.28062 | -32.4531 | -31.9581
Line_1 | 2.7941 | 2.7941 | 0 | 4.8512 | 96.7916 | 96.7916 | 23.384 | -1e-07 | 13.8187 | -1e-07 | -62.5389 | 117.4611 | 0.28062 | 0 | -31.9581 | 0
Line_2 | 0.60139 | 0.60139 | 0 | 0 | 20.8326 | 20.8326 | -5.1956 | 6.2789 | -2.68 | 3.3201 | 120.7565 | -59.2435 | 0.28062 | 0.34094 | -31.9581 | -31.3747

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.58004 | 0.58004 | 0 | 0 | 20.0932 | 20.0932 | 11.6359 | -10.6282 | 10.991 | -10.3955 | -52.8368 | 127.1632 | 0.79659 | 0.73989 | -9.4694 | -8.4709
Line_1 | 1.042 | 1.042 | 0 | 1.8091 | 36.0954 | 36.0954 | 19.538 | -16.286 | 18.2077 | -16.286 | -51.4525 | 128.5475 | 0.73989 | 0.63808 | -8.4709 | -6.4525
Line_2 | 0.22427 | 0.22427 | 0 | 0 | 7.7689 | 7.7689 | -4.4235 | 4.5742 | -3.6707 | 3.7597 | 131.8428 | -48.1572 | 0.73989 | 0.76214 | -8.4709 | -8.7389

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.58004 | 0.58004 | 0 | 0 | 20.0932 | 20.0932 | 11.6359 | -10.6282 | 10.991 | -10.3955 | -52.8368 | 127.1632 | 0.79659 | 0.73989 | -9.4694 | -8.4709
Line_1 | 1.042 | 1.042 | 0 | 1.8091 | 36.0954 | 36.0954 | 19.538 | -16.286 | 18.2077 | -16.286 | -51.4525 | 128.5475 | 0.73989 | 0.63808 | -8.4709 | -6.4525
Line_2 | 0.22427 | 0.22427 | 0 | 0 | 7.7689 | 7.7689 | -4.4235 | 4.5742 | -3.6707 | 3.7597 | 131.8428 | -48.1572 | 0.73989 | 0.76214 | -8.4709 | -8.7389

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12129 | 1.7275 | 1.8376 | 0.12129 | 1.7275 | 1.8376 | 1.4006 | 19.9477 | 21.2192 | 1.4006 | 19.9477 | 21.2192 | -1.5328 | 14.9508 | -7.0564 | 1.5404 | -13.399 | 8.8124 | -0.27365 | 1.6708 | 7.8802 | 0.28233 | 0.089992 | -5.8878 | 172.1943 | -162.1909 | 16.174 | -7.8057 | 17.8091 | -163.826 | 1.1117 | 0.75417 | 0.4985 | 1.1182 | 0.67172 | 0.49947 | 2.3167 | -155.8145 | 148.0173 | 2.5801 | -162.5757 | 162.4261
Line_1 | 0 | 2.8528 | 2.8528 | 0 | 2.8528 | 2.8528 | 0 | 32.9414 | 32.9414 | 0 | 32.9414 | 32.9414 | 7.9143e-11 | 22.1232 | -13.6592 | -7.9153e-11 | -17.8912 | 17.8912 | -2.0302e-10 | 0.43103 | 9.1724 | 2.0302e-10 | 4.3707 | -4.3707 | 0 | -163.6918 | 16.3082 | 0 | 16.3082 | -163.6918 | 1.1182 | 0.67172 | 0.49947 | 1.1182 | 0.55909 | 0.55909 | 2.5801 | -162.5757 | 162.4261 | 2.5801 | -177.4199 | -177.4199
Line_2 | 0.057583 | 0.55173 | 0.49826 | 0.057583 | 0.55173 | 0.49826 | 0.66491 | 6.3708 | 5.7534 | 0.66491 | 6.3708 | 5.7534 | -0.73545 | -4.2749 | 2.3623 | 0.73717 | 4.4332 | -2.2332 | -0.10906 | -0.19609 | -1.6362 | 0.11101 | 0.37569 | 1.7827 | 174.1455 | 14.798 | -162.8659 | -5.8545 | -165.202 | 17.1341 | 1.1182 | 0.67172 | 0.49947 | 1.1212 | 0.69836 | 0.49666 | 2.5801 | -162.5757 | 162.4261 | 2.7094 | -160.3581 | 158.5348

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12129 | 1.7275 | 1.8376 | 0.12129 | 1.7275 | 1.8376 | 1.4006 | 19.9477 | 21.2192 | 1.4006 | 19.9477 | 21.2192 | -1.5328 | 14.9508 | -7.0564 | 1.5404 | -13.399 | 8.8124 | -0.27365 | 1.6708 | 7.8802 | 0.28233 | 0.089992 | -5.8878 | 172.1943 | -162.1909 | 16.174 | -7.8057 | 17.8091 | -163.826 | 1.1117 | 0.75417 | 0.4985 | 1.1182 | 0.67172 | 0.49947 | 2.3167 | -155.8145 | 148.0173 | 2.5801 | -162.5757 | 162.4261
Line_1 | 0 | 2.8528 | 2.8528 | 0 | 2.8528 | 2.8528 | 0 | 32.9414 | 32.9414 | 0 | 32.9414 | 32.9414 | 7.9143e-11 | 22.1232 | -13.6592 | -7.9153e-11 | -17.8912 | 17.8912 | -2.0302e-10 | 0.43103 | 9.1724 | 2.0302e-10 | 4.3707 | -4.3707 | 0 | -163.6918 | 16.3082 | 0 | 16.3082 | -163.6918 | 1.1182 | 0.67172 | 0.49947 | 1.1182 | 0.55909 | 0.55909 | 2.5801 | -162.5757 | 162.4261 | 2.5801 | -177.4199 | -177.4199
Line_2 | 0.057583 | 0.55173 | 0.49826 | 0.057583 | 0.55173 | 0.49826 | 0.66491 | 6.3708 | 5.7534 | 0.66491 | 6.3708 | 5.7534 | -0.73545 | -4.2749 | 2.3623 | 0.73717 | 4.4332 | -2.2332 | -0.10906 | -0.19609 | -1.6362 | 0.11101 | 0.37569 | 1.7827 | 174.1455 | 14.798 | -162.8659 | -5.8545 | -165.202 | 17.1341 | 1.1182 | 0.67172 | 0.49947 | 1.1212 | 0.69836 | 0.49666 | 2.5801 | -162.5757 | 162.4261 | 2.7094 | -160.3581 | 158.5348

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.065307 | 0.93014 | 0.98943 | 0.065307 | 0.93014 | 0.98943 | 0.7541 | 10.7403 | 11.425 | 0.7541 | 10.7403 | 11.425 | -0.82698 | 10.0059 | -0.45386 | 0.8292 | -9.556 | 0.96293 | 0.06667 | 1.8459 | 8.2813 | -0.064153 | -1.3354 | -7.7037 | -174.0948 | -148.48 | 29.8849 | 5.9052 | 31.52 | -150.1151 | 1.1002 | 0.94734 | 0.72593 | 1.1029 | 0.89837 | 0.67954 | 1.2961 | -138.0275 | 123.0219 | 1.4812 | -140.5245 | 127.0096
Line_1 | 0 | 1.536 | 1.536 | 0 | 1.536 | 1.536 | 0 | 17.7365 | 17.7365 | 0 | 17.7365 | 17.7365 | 1.3072e-11 | 15.7175 | -1.4669 | -1.3077e-11 | -14.4906 | 2.6937 | -1.1498e-10 | 2.6179 | 11.963 | 1.1497e-10 | -1.2259 | -10.571 | 0 | -149.9809 | 30.0191 | 0 | 30.0191 | -149.9809 | 1.1029 | 0.89837 | 0.67954 | 1.1029 | 0.81991 | 0.61505 | 1.4812 | -140.5245 | 127.0096 | 1.4812 | -145.1452 | 134.3152
Line_2 | 0.031004 | 0.29706 | 0.26828 | 0.031004 | 0.29706 | 0.26828 | 0.358 | 3.4302 | 3.0978 | 0.358 | 3.4302 | 3.0978 | -0.39239 | -3.0253 | 0.22605 | 0.39289 | 3.0712 | -0.18863 | 0.043841 | -0.58624 | -2.0929 | -0.043274 | 0.6383 | 2.1353 | -172.1436 | 28.5089 | -149.155 | 7.8564 | -151.4911 | 30.845 | 1.1029 | 0.89837 | 0.67954 | 1.1041 | 0.91448 | 0.692 | 1.4812 | -140.5245 | 127.0096 | 1.5709 | -139.7502 | 125.8931

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.065307 | 0.93014 | 0.98943 | 0.065307 | 0.93014 | 0.98943 | 0.7541 | 10.7403 | 11.425 | 0.7541 | 10.7403 | 11.425 | -0.82698 | 10.0059 | -0.45386 | 0.8292 | -9.556 | 0.96293 | 0.06667 | 1.8459 | 8.2813 | -0.064153 | -1.3354 | -7.7037 | -174.0948 | -148.48 | 29.8849 | 5.9052 | 31.52 | -150.1151 | 1.1002 | 0.94734 | 0.72593 | 1.1029 | 0.89837 | 0.67954 | 1.2961 | -138.0275 | 123.0219 | 1.4812 | -140.5245 | 127.0096
Line_1 | 0 | 1.536 | 1.536 | 0 | 1.536 | 1.536 | 0 | 17.7365 | 17.7365 | 0 | 17.7365 | 17.7365 | 1.3072e-11 | 15.7175 | -1.4669 | -1.3077e-11 | -14.4906 | 2.6937 | -1.1498e-10 | 2.6179 | 11.963 | 1.1497e-10 | -1.2259 | -10.571 | 0 | -149.9809 | 30.0191 | 0 | 30.0191 | -149.9809 | 1.1029 | 0.89837 | 0.67954 | 1.1029 | 0.81991 | 0.61505 | 1.4812 | -140.5245 | 127.0096 | 1.4812 | -145.1452 | 134.3152
Line_2 | 0.031004 | 0.29706 | 0.26828 | 0.031004 | 0.29706 | 0.26828 | 0.358 | 3.4302 | 3.0978 | 0.358 | 3.4302 | 3.0978 | -0.39239 | -3.0253 | 0.22605 | 0.39289 | 3.0712 | -0.18863 | 0.043841 | -0.58624 | -2.0929 | -0.043274 | 0.6383 | 2.1353 | -172.1436 | 28.5089 | -149.155 | 7.8564 | -151.4911 | 30.845 | 1.1029 | 0.89837 | 0.67954 | 1.1041 | 0.91448 | 0.692 | 1.4812 | -140.5245 | 127.0096 | 1.5709 | -139.7502 | 125.8931

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1058 | 1.3212 | 1.4165 | 0.1058 | 1.3212 | 1.4165 | 1.2217 | 15.2561 | 16.3566 | 1.2217 | 15.2561 | 16.3566 | -1.2271 | 12.0208 | -2.2152 | 1.2383 | -10.278 | 4.2185 | -0.035453 | -0.52296 | 6.3284 | 0.042057 | 1.5529 | -5.1445 | -179.0508 | -152.3429 | 25.7334 | 0.94918 | 27.6571 | -154.2666 | 1.0048 | 0.78868 | 0.40992 | 1.0142 | 0.68134 | 0.40674 | 2.6041 | -154.834 | 135.0256 | 2.8945 | -160.9346 | 155.0855
Line_1 | 0 | 2.3919 | 2.3919 | 0 | 2.3919 | 2.3919 | 0 | 27.6191 | 27.6191 | 0 | 27.6191 | 27.6191 | 5.7374e-11 | 18.7338 | -7.3099 | -5.7376e-11 | -13.0218 | 13.0218 | -1.8777e-10 | -1.7794 | 8.5303 | 1.8777e-10 | 5.1549 | -5.1549 | 0 | -155.5087 | 24.4913 | 0 | 24.4913 | -155.5087 | 1.0142 | 0.68134 | 0.40674 | 1.0142 | 0.50708 | 0.50708 | 2.8945 | -160.9346 | 155.0855 | 2.8945 | -177.1055 | -177.1055
Line_2 | 0.049597 | 0.52404 | 0.47672 | 0.049597 | 0.52404 | 0.47672 | 0.5727 | 6.0511 | 5.5047 | 0.5727 | 6.0511 | 5.5047 | -0.58005 | -4.1158 | 1.4681 | 0.58251 | 4.39 | -1.2412 | 0.02953 | 0.24047 | -1.6905 | -0.028079 | -0.078451 | 1.8246 | -174.1911 | 22.4092 | -155.8875 | 5.8089 | -157.5908 | 24.1125 | 1.0142 | 0.68134 | 0.40674 | 1.0183 | 0.72561 | 0.40088 | 2.8945 | -160.9346 | 155.0855 | 3.0492 | -158.6146 | 148.3392

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1058 | 1.3212 | 1.4165 | 0.1058 | 1.3212 | 1.4165 | 1.2217 | 15.2561 | 16.3566 | 1.2217 | 15.2561 | 16.3566 | -1.2271 | 12.0208 | -2.2152 | 1.2383 | -10.278 | 4.2185 | -0.035453 | -0.52296 | 6.3284 | 0.042057 | 1.5529 | -5.1445 | -179.0508 | -152.3429 | 25.7334 | 0.94918 | 27.6571 | -154.2666 | 1.0048 | 0.78868 | 0.40992 | 1.0142 | 0.68134 | 0.40674 | 2.6041 | -154.834 | 135.0256 | 2.8945 | -160.9346 | 155.0855
Line_1 | 0 | 2.3919 | 2.3919 | 0 | 2.3919 | 2.3919 | 0 | 27.6191 | 27.6191 | 0 | 27.6191 | 27.6191 | 5.7374e-11 | 18.7338 | -7.3099 | -5.7376e-11 | -13.0218 | 13.0218 | -1.8777e-10 | -1.7794 | 8.5303 | 1.8777e-10 | 5.1549 | -5.1549 | 0 | -155.5087 | 24.4913 | 0 | 24.4913 | -155.5087 | 1.0142 | 0.68134 | 0.40674 | 1.0142 | 0.50708 | 0.50708 | 2.8945 | -160.9346 | 155.0855 | 2.8945 | -177.1055 | -177.1055
Line_2 | 0.049597 | 0.52404 | 0.47672 | 0.049597 | 0.52404 | 0.47672 | 0.5727 | 6.0511 | 5.5047 | 0.5727 | 6.0511 | 5.5047 | -0.58005 | -4.1158 | 1.4681 | 0.58251 | 4.39 | -1.2412 | 0.02953 | 0.24047 | -1.6905 | -0.028079 | -0.078451 | 1.8246 | -174.1911 | 22.4092 | -155.8875 | 5.8089 | -157.5908 | 24.1125 | 1.0142 | 0.68134 | 0.40674 | 1.0183 | 0.72561 | 0.40088 | 2.8945 | -160.9346 | 155.0855 | 3.0492 | -158.6146 | 148.3392

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.058248 | 0.72739 | 0.77986 | 0.058248 | 0.72739 | 0.77986 | 0.67259 | 8.3991 | 9.0051 | 0.67259 | 8.3991 | 9.0051 | -0.66336 | 7.4708 | 0.5012 | 0.66675 | -6.9425 | 0.10601 | 0.10381 | 0.64344 | 5.9433 | -0.1018 | -0.33128 | -5.5845 | -169.6632 | -142.9553 | 35.121 | 10.3368 | 37.0447 | -144.879 | 0.99828 | 0.89276 | 0.66234 | 1.0028 | 0.82752 | 0.62026 | 1.443 | -138.0327 | 120.3006 | 1.6555 | -140.2234 | 126.2085
Line_1 | 0 | 1.3168 | 1.3168 | 0 | 1.3168 | 1.3168 | 0 | 15.2055 | 15.2055 | 0 | 15.2055 | 15.2055 | 1.1846e-11 | 12.5162 | -0.38336 | -1.1848e-11 | -10.7849 | 2.1146 | -1.0623e-10 | 1.2929 | 9.4236 | 1.0623e-10 | -0.26982 | -8.4005 | 0 | -146.1211 | 33.8789 | 0 | 33.8789 | -146.1211 | 1.0028 | 0.82752 | 0.62026 | 1.0028 | 0.7095 | 0.5697 | 1.6555 | -140.2234 | 126.2085 | 1.6555 | -144.6879 | 138.0084
Line_2 | 0.027305 | 0.28851 | 0.26245 | 0.027305 | 0.28851 | 0.26245 | 0.31529 | 3.3314 | 3.0306 | 0.31529 | 3.3314 | 3.0306 | -0.30739 | -2.7301 | 0.088824 | 0.30813 | 2.8132 | -0.020051 | 0.07403 | -0.38271 | -1.8776 | -0.07359 | 0.43181 | 1.9183 | -164.8035 | 31.7968 | -146.4999 | 15.1965 | -148.2032 | 33.5001 | 1.0028 | 0.82752 | 0.62026 | 1.0048 | 0.85434 | 0.63301 | 1.6555 | -140.2234 | 126.2085 | 1.7644 | -139.4766 | 124.099

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.058248 | 0.72739 | 0.77986 | 0.058248 | 0.72739 | 0.77986 | 0.67259 | 8.3991 | 9.0051 | 0.67259 | 8.3991 | 9.0051 | -0.66336 | 7.4708 | 0.5012 | 0.66675 | -6.9425 | 0.10601 | 0.10381 | 0.64344 | 5.9433 | -0.1018 | -0.33128 | -5.5845 | -169.6632 | -142.9553 | 35.121 | 10.3368 | 37.0447 | -144.879 | 0.99828 | 0.89276 | 0.66234 | 1.0028 | 0.82752 | 0.62026 | 1.443 | -138.0327 | 120.3006 | 1.6555 | -140.2234 | 126.2085
Line_1 | 0 | 1.3168 | 1.3168 | 0 | 1.3168 | 1.3168 | 0 | 15.2055 | 15.2055 | 0 | 15.2055 | 15.2055 | 1.1846e-11 | 12.5162 | -0.38336 | -1.1848e-11 | -10.7849 | 2.1146 | -1.0623e-10 | 1.2929 | 9.4236 | 1.0623e-10 | -0.26982 | -8.4005 | 0 | -146.1211 | 33.8789 | 0 | 33.8789 | -146.1211 | 1.0028 | 0.82752 | 0.62026 | 1.0028 | 0.7095 | 0.5697 | 1.6555 | -140.2234 | 126.2085 | 1.6555 | -144.6879 | 138.0084
Line_2 | 0.027305 | 0.28851 | 0.26245 | 0.027305 | 0.28851 | 0.26245 | 0.31529 | 3.3314 | 3.0306 | 0.31529 | 3.3314 | 3.0306 | -0.30739 | -2.7301 | 0.088824 | 0.30813 | 2.8132 | -0.020051 | 0.07403 | -0.38271 | -1.8776 | -0.07359 | 0.43181 | 1.9183 | -164.8035 | 31.7968 | -146.4999 | 15.1965 | -148.2032 | 33.5001 | 1.0028 | 0.82752 | 0.62026 | 1.0048 | 0.85434 | 0.63301 | 1.6555 | -140.2234 | 126.2085 | 1.7644 | -139.4766 | 124.099

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5527 | 0.28758 | 0.1683 | 1.5518 | 0.28849 | 0.1692 | 17.9292 | 3.3207 | 1.9434 | 17.9185 | 3.3312 | 1.9538 | 10.2113 | -3.0271 | 1.911 | -7.1564 | 2.8714 | -2.0262 | 5.6316 | 1.7349 | 0.80904 | -3.3035 | -2.0057 | -0.97772 | -55.1605 | 95.0356 | 94.1213 | 124.8473 | -84.9098 | -85.7808 | 0.65041 | 1.0507 | 1.0678 | 0.43988 | 1.0515 | 1.1515 | -26.2833 | -114.7827 | 117.0674 | -30.374 | -119.8441 | 119.9787
Line_1 | 2.8081 | 0.0018353 | 0.0018353 | 2.8067 | 0 | 0 | 32.4251 | 0.021192 | 0.021192 | 32.4086 | 0 | 0 | 12.4495 | 0.020723 | -0.019159 | 1.2823e-12 | 1.7064e-10 | -1.613e-09 | 6.9607 | -0.0081873 | -0.015112 | 3.729e-11 | -1.0338e-09 | 2.9304e-10 | -59.5844 | -98.2862 | -98.2862 | 120.439 | 0 | 0 | 0.43988 | 1.0515 | 1.1515 | 0 | 1.019 | 1.4104 | -30.374 | -119.8441 | 119.9787 | 0 | -134.5694 | 122.9525
Line_2 | 0.60148 | 0.11167 | 0.060185 | 0.60253 | 0.11274 | 0.061177 | 6.9452 | 1.2894 | 0.69496 | 6.9574 | 1.3018 | 0.70641 | -2.6629 | -0.76274 | 0.7812 | 3.3482 | 0.86768 | -0.7415 | -1.4975 | 1.1209 | -0.17349 | 1.8542 | -1.0903 | 0.17667 | 120.2743 | 115.9218 | 132.5001 | -59.7447 | -64.1384 | -47.8917 | 0.43988 | 1.0515 | 1.1515 | 0.55011 | 1.0704 | 1.079 | -30.374 | -119.8441 | 119.9787 | -30.7668 | -115.6255 | 118.7065

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5527 | 0.28758 | 0.1683 | 1.5518 | 0.28849 | 0.1692 | 17.9292 | 3.3207 | 1.9434 | 17.9185 | 3.3312 | 1.9538 | 10.2113 | -3.0271 | 1.911 | -7.1564 | 2.8714 | -2.0262 | 5.6316 | 1.7349 | 0.80904 | -3.3035 | -2.0057 | -0.97772 | -55.1605 | 95.0356 | 94.1213 | 124.8473 | -84.9098 | -85.7808 | 0.65041 | 1.0507 | 1.0678 | 0.43988 | 1.0515 | 1.1515 | -26.2833 | -114.7827 | 117.0674 | -30.374 | -119.8441 | 119.9787
Line_1 | 2.8081 | 0.0018353 | 0.0018353 | 2.8067 | 0 | 0 | 32.4251 | 0.021192 | 0.021192 | 32.4086 | 0 | 0 | 12.4495 | 0.020723 | -0.019159 | 1.2823e-12 | 1.7064e-10 | -1.613e-09 | 6.9607 | -0.0081873 | -0.015112 | 3.729e-11 | -1.0338e-09 | 2.9304e-10 | -59.5844 | -98.2862 | -98.2862 | 120.439 | 0 | 0 | 0.43988 | 1.0515 | 1.1515 | 0 | 1.019 | 1.4104 | -30.374 | -119.8441 | 119.9787 | 0 | -134.5694 | 122.9525
Line_2 | 0.60148 | 0.11167 | 0.060185 | 0.60253 | 0.11274 | 0.061177 | 6.9452 | 1.2894 | 0.69496 | 6.9574 | 1.3018 | 0.70641 | -2.6629 | -0.76274 | 0.7812 | 3.3482 | 0.86768 | -0.7415 | -1.4975 | 1.1209 | -0.17349 | 1.8542 | -1.0903 | 0.17667 | 120.2743 | 115.9218 | 132.5001 | -59.7447 | -64.1384 | -47.8917 | 0.43988 | 1.0515 | 1.1515 | 0.55011 | 1.0704 | 1.079 | -30.374 | -119.8441 | 119.9787 | -30.7668 | -115.6255 | 118.7065

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61063 | 0.1131 | 0.066188 | 0.61026 | 0.11345 | 0.066542 | 7.0509 | 1.3059 | 0.76427 | 7.0467 | 1.31 | 0.76836 | 5.1978 | -1.0403 | 0.80208 | -4.7236 | 1.0174 | -0.82278 | 3.9724 | 0.94049 | 0.2265 | -3.61 | -0.98502 | -0.25226 | -46.2737 | 103.9224 | 103.0081 | 133.7341 | -76.023 | -76.8939 | 0.92782 | 1.0739 | 1.0905 | 0.84368 | 1.081 | 1.12 | -8.885 | -118.1931 | 118.7775 | -8.8772 | -120.0974 | 120.1515
Line_1 | 1.1043 | 0.00072174 | 0.00072174 | 1.1038 | 0 | 0 | 12.7517 | 0.0083339 | 0.0083339 | 12.7452 | 0 | 0 | 8.0175 | 0.0077463 | -0.00812 | -6.0915 | 7.0941e-11 | -5.2274e-10 | 7.1736 | -0.004599 | -0.0046036 | -6.0915 | -4.2957e-10 | 1.8946e-10 | -50.6976 | -89.3994 | -89.3994 | 129.3259 | 0 | 0 | 0.84368 | 1.081 | 1.12 | 0.67591 | 1.0766 | 1.2164 | -8.8772 | -120.0974 | 120.1515 | -5.6741 | -125.6773 | 122.2132
Line_2 | 0.23654 | 0.043916 | 0.023669 | 0.23695 | 0.044336 | 0.024059 | 2.7313 | 0.50709 | 0.2733 | 2.7361 | 0.51195 | 0.27781 | -1.7135 | -0.23247 | 0.28532 | 1.8213 | 0.25014 | -0.28247 | -1.5408 | 0.49641 | -0.11087 | 1.5987 | -0.49465 | 0.1116 | 129.1611 | 124.8086 | 141.3869 | -50.8578 | -55.2516 | -39.0049 | 0.84368 | 1.081 | 1.12 | 0.88572 | 1.0827 | 1.0933 | -8.8772 | -120.0974 | 120.1515 | -9.5829 | -118.4263 | 119.4364

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61063 | 0.1131 | 0.066188 | 0.61026 | 0.11345 | 0.066542 | 7.0509 | 1.3059 | 0.76427 | 7.0467 | 1.31 | 0.76836 | 5.1978 | -1.0403 | 0.80208 | -4.7236 | 1.0174 | -0.82278 | 3.9724 | 0.94049 | 0.2265 | -3.61 | -0.98502 | -0.25226 | -46.2737 | 103.9224 | 103.0081 | 133.7341 | -76.023 | -76.8939 | 0.92782 | 1.0739 | 1.0905 | 0.84368 | 1.081 | 1.12 | -8.885 | -118.1931 | 118.7775 | -8.8772 | -120.0974 | 120.1515
Line_1 | 1.1043 | 0.00072174 | 0.00072174 | 1.1038 | 0 | 0 | 12.7517 | 0.0083339 | 0.0083339 | 12.7452 | 0 | 0 | 8.0175 | 0.0077463 | -0.00812 | -6.0915 | 7.0941e-11 | -5.2274e-10 | 7.1736 | -0.004599 | -0.0046036 | -6.0915 | -4.2957e-10 | 1.8946e-10 | -50.6976 | -89.3994 | -89.3994 | 129.3259 | 0 | 0 | 0.84368 | 1.081 | 1.12 | 0.67591 | 1.0766 | 1.2164 | -8.8772 | -120.0974 | 120.1515 | -5.6741 | -125.6773 | 122.2132
Line_2 | 0.23654 | 0.043916 | 0.023669 | 0.23695 | 0.044336 | 0.024059 | 2.7313 | 0.50709 | 0.2733 | 2.7361 | 0.51195 | 0.27781 | -1.7135 | -0.23247 | 0.28532 | 1.8213 | 0.25014 | -0.28247 | -1.5408 | 0.49641 | -0.11087 | 1.5987 | -0.49465 | 0.1116 | 129.1611 | 124.8086 | 141.3869 | -50.8578 | -55.2516 | -39.0049 | 0.84368 | 1.081 | 1.12 | 0.88572 | 1.0827 | 1.0933 | -8.8772 | -120.0974 | 120.1515 | -9.5829 | -118.4263 | 119.4364

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.99196 | 0.22942 | 0.14035 | 0.9913 | 0.23011 | 0.14103 | 11.4542 | 2.6491 | 1.6206 | 11.4465 | 2.657 | 1.6285 | 8.524 | -1.727 | 1.5824 | -6.2282 | 1.5981 | -1.6822 | 2.1723 | 1.7691 | 0.20372 | -0.99624 | -2.0215 | -0.3625 | -38.1011 | 110.0552 | 109.2702 | 141.9123 | -69.9061 | -70.6628 | 0.76797 | 0.93327 | 0.98453 | 0.55103 | 0.96986 | 1.0567 | -23.804 | -115.6343 | 116.6059 | -28.9998 | -121.5778 | 121.4984
Line_1 | 2.0156 | 0.0018418 | 0.0018418 | 2.0145 | 0 | 0 | 23.2738 | 0.021267 | 0.021267 | 23.261 | 0 | 0 | 12.3148 | 0.018919 | -0.017315 | 1.8104e-11 | -2.8343e-10 | -2.0682e-09 | 3.5797 | -0.0082164 | -0.014325 | 8.4825e-12 | -1.4029e-09 | 6.1359e-10 | -45.2081 | -98.1028 | -98.1028 | 134.8337 | 0 | 0 | 0.55103 | 0.96986 | 1.0567 | 0 | 1.0013 | 1.3967 | -28.9998 | -121.5778 | 121.4984 | 0 | -142.4643 | 126.8815
Line_2 | 0.47606 | 0.080429 | 0.057005 | 0.47684 | 0.081083 | 0.057349 | 5.4971 | 0.92871 | 0.65824 | 5.506 | 0.93627 | 0.66221 | -2.9562 | 0.15797 | 0.27603 | 3.7491 | -0.049076 | -0.22454 | -0.66048 | 0.88676 | -0.63841 | 0.94785 | -0.89922 | 0.60157 | 138.4057 | 158.5232 | -171.8839 | -41.6197 | -21.8046 | 7.3908 | 0.55103 | 0.96986 | 1.0567 | 0.70232 | 0.96186 | 0.96965 | -28.9998 | -121.5778 | 121.4984 | -27.4313 | -114.9285 | 117.8594

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.99196 | 0.22942 | 0.14035 | 0.9913 | 0.23011 | 0.14103 | 11.4542 | 2.6491 | 1.6206 | 11.4465 | 2.657 | 1.6285 | 8.524 | -1.727 | 1.5824 | -6.2282 | 1.5981 | -1.6822 | 2.1723 | 1.7691 | 0.20372 | -0.99624 | -2.0215 | -0.3625 | -38.1011 | 110.0552 | 109.2702 | 141.9123 | -69.9061 | -70.6628 | 0.76797 | 0.93327 | 0.98453 | 0.55103 | 0.96986 | 1.0567 | -23.804 | -115.6343 | 116.6059 | -28.9998 | -121.5778 | 121.4984
Line_1 | 2.0156 | 0.0018418 | 0.0018418 | 2.0145 | 0 | 0 | 23.2738 | 0.021267 | 0.021267 | 23.261 | 0 | 0 | 12.3148 | 0.018919 | -0.017315 | 1.8104e-11 | -2.8343e-10 | -2.0682e-09 | 3.5797 | -0.0082164 | -0.014325 | 8.4825e-12 | -1.4029e-09 | 6.1359e-10 | -45.2081 | -98.1028 | -98.1028 | 134.8337 | 0 | 0 | 0.55103 | 0.96986 | 1.0567 | 0 | 1.0013 | 1.3967 | -28.9998 | -121.5778 | 121.4984 | 0 | -142.4643 | 126.8815
Line_2 | 0.47606 | 0.080429 | 0.057005 | 0.47684 | 0.081083 | 0.057349 | 5.4971 | 0.92871 | 0.65824 | 5.506 | 0.93627 | 0.66221 | -2.9562 | 0.15797 | 0.27603 | 3.7491 | -0.049076 | -0.22454 | -0.66048 | 0.88676 | -0.63841 | 0.94785 | -0.89922 | 0.60157 | 138.4057 | 158.5232 | -171.8839 | -41.6197 | -21.8046 | 7.3908 | 0.55103 | 0.96986 | 1.0567 | 0.70232 | 0.96186 | 0.96965 | -28.9998 | -121.5778 | 121.4984 | -27.4313 | -114.9285 | 117.8594

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44411 | 0.10271 | 0.062834 | 0.44381 | 0.10302 | 0.063142 | 5.1281 | 1.186 | 0.72554 | 5.1247 | 1.1896 | 0.7291 | 3.9424 | -0.76527 | 0.71111 | -3.4811 | 0.74035 | -0.73311 | 2.1766 | 0.85801 | 0.11429 | -1.9392 | -0.9104 | -0.14602 | -38.0092 | 110.147 | 109.3621 | 142.0042 | -69.8143 | -70.5709 | 0.87816 | 0.96938 | 0.99268 | 0.77756 | 0.98643 | 1.0253 | -9.1064 | -118.1227 | 118.4929 | -8.8759 | -120.6957 | 120.6936
Line_1 | 0.90239 | 0.00082458 | 0.00082458 | 0.90189 | 0 | 0 | 10.4199 | 0.0095215 | 0.0095215 | 10.4141 | 0 | 0 | 6.5347 | 0.0086657 | -0.007618 | -4.067 | 9.8799e-12 | -7.6462e-10 | 4.7898 | -0.0036222 | -0.0061042 | -4.067 | -6.2828e-10 | 2.7573e-10 | -45.1162 | -98.0109 | -98.0109 | 134.9255 | 0 | 0 | 0.77756 | 0.98643 | 1.0253 | 0.55229 | 0.98191 | 1.1754 | -8.8759 | -120.6957 | 120.6936 | -0.074457 | -130.05 | 123.6682
Line_2 | 0.21314 | 0.036009 | 0.025522 | 0.21348 | 0.036302 | 0.025675 | 2.4611 | 0.41579 | 0.2947 | 2.4651 | 0.41918 | 0.29647 | -1.6117 | 0.066358 | 0.11555 | 1.7719 | -0.043503 | -0.10752 | -1.0318 | 0.40475 | -0.27917 | 1.0913 | -0.40929 | 0.27192 | 138.4975 | 158.615 | -171.792 | -41.5278 | -21.7128 | 7.4827 | 0.77756 | 0.98643 | 1.0253 | 0.84417 | 0.98191 | 0.98627 | -8.8759 | -120.6957 | 120.6936 | -9.8992 | -117.7799 | 119.0567

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44411 | 0.10271 | 0.062834 | 0.44381 | 0.10302 | 0.063142 | 5.1281 | 1.186 | 0.72554 | 5.1247 | 1.1896 | 0.7291 | 3.9424 | -0.76527 | 0.71111 | -3.4811 | 0.74035 | -0.73311 | 2.1766 | 0.85801 | 0.11429 | -1.9392 | -0.9104 | -0.14602 | -38.0092 | 110.147 | 109.3621 | 142.0042 | -69.8143 | -70.5709 | 0.87816 | 0.96938 | 0.99268 | 0.77756 | 0.98643 | 1.0253 | -9.1064 | -118.1227 | 118.4929 | -8.8759 | -120.6957 | 120.6936
Line_1 | 0.90239 | 0.00082458 | 0.00082458 | 0.90189 | 0 | 0 | 10.4199 | 0.0095215 | 0.0095215 | 10.4141 | 0 | 0 | 6.5347 | 0.0086657 | -0.007618 | -4.067 | 9.8799e-12 | -7.6462e-10 | 4.7898 | -0.0036222 | -0.0061042 | -4.067 | -6.2828e-10 | 2.7573e-10 | -45.1162 | -98.0109 | -98.0109 | 134.9255 | 0 | 0 | 0.77756 | 0.98643 | 1.0253 | 0.55229 | 0.98191 | 1.1754 | -8.8759 | -120.6957 | 120.6936 | -0.074457 | -130.05 | 123.6682
Line_2 | 0.21314 | 0.036009 | 0.025522 | 0.21348 | 0.036302 | 0.025675 | 2.4611 | 0.41579 | 0.2947 | 2.4651 | 0.41918 | 0.29647 | -1.6117 | 0.066358 | 0.11555 | 1.7719 | -0.043503 | -0.10752 | -1.0318 | 0.40475 | -0.27917 | 1.0913 | -0.40929 | 0.27192 | 138.4975 | 158.615 | -171.792 | -41.5278 | -21.7128 | 7.4827 | 0.77756 | 0.98643 | 1.0253 | 0.84417 | 0.98191 | 0.98627 | -8.8759 | -120.6957 | 120.6936 | -9.8992 | -117.7799 | 119.0567

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18142 | 2.1096 | 1.5645 | 0.18188 | 2.1092 | 1.5645 | 2.0948 | 24.3596 | 18.0651 | 2.1002 | 24.355 | 18.0653 | -0.80546 | 13.2546 | 0.11794 | 0.83151 | -8.7562 | 0.03143 | 2.0202 | 2.5804 | 9.1199 | -2.2092 | -0.76435 | -6.3666 | -110.0777 | -175.4329 | 33.4319 | 70.1292 | 4.5861 | -146.5976 | 1.0382 | 0.55434 | 0.50488 | 1.1239 | 0.36089 | 0.35243 | 1.66 | -164.4163 | 122.6909 | 0.75485 | -170.4251 | 123.6852
Line_1 | 0.0015642 | 3.5415 | 2.5594 | 0 | 3.5414 | 2.5584 | 0.018062 | 40.894 | 29.5534 | 0 | 40.8924 | 29.5424 | -0.0012731 | 14.5212 | 1.4744 | -1.0937e-09 | -6.109e-12 | -1.2651e-11 | -0.02026 | 2.6344 | 10.3105 | -4.2028e-10 | 3.2204e-11 | 2.0636e-11 | 94.3506 | 179.2922 | 41.8233 | 0 | -0.6826 | -138.2045 | 1.1239 | 0.36089 | 0.35243 | 1.3222 | 0 | 0 | 0.75485 | -170.4251 | 123.6852 | -4.5201 | 0 | 0
Line_2 | 0.04713 | 0.7286 | 0.46342 | 0.047833 | 0.72915 | 0.46377 | 0.54421 | 8.4132 | 5.3511 | 0.55233 | 8.4195 | 5.3551 | -0.092971 | -2.9467 | -0.66838 | 0.10206 | 3.6952 | 0.75988 | 0.60455 | -0.73174 | -1.7635 | -0.58173 | 0.81014 | 2.2252 | -97.988 | -4.3708 | -125.5573 | 82.7208 | 175.5714 | 54.5475 | 1.1239 | 0.36089 | 0.35243 | 1.0693 | 0.44931 | 0.43908 | 0.75485 | -170.4251 | 123.6852 | 2.6718 | -172.0625 | 125.6928

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18142 | 2.1096 | 1.5645 | 0.18188 | 2.1092 | 1.5645 | 2.0948 | 24.3596 | 18.0651 | 2.1002 | 24.355 | 18.0653 | -0.80546 | 13.2546 | 0.11794 | 0.83151 | -8.7562 | 0.03143 | 2.0202 | 2.5804 | 9.1199 | -2.2092 | -0.76435 | -6.3666 | -110.0777 | -175.4329 | 33.4319 | 70.1292 | 4.5861 | -146.5976 | 1.0382 | 0.55434 | 0.50488 | 1.1239 | 0.36089 | 0.35243 | 1.66 | -164.4163 | 122.6909 | 0.75485 | -170.4251 | 123.6852
Line_1 | 0.0015642 | 3.5415 | 2.5594 | 0 | 3.5414 | 2.5584 | 0.018062 | 40.894 | 29.5534 | 0 | 40.8924 | 29.5424 | -0.0012731 | 14.5212 | 1.4744 | -1.0937e-09 | -6.109e-12 | -1.2651e-11 | -0.02026 | 2.6344 | 10.3105 | -4.2028e-10 | 3.2204e-11 | 2.0636e-11 | 94.3506 | 179.2922 | 41.8233 | 0 | -0.6826 | -138.2045 | 1.1239 | 0.36089 | 0.35243 | 1.3222 | 0 | 0 | 0.75485 | -170.4251 | 123.6852 | -4.5201 | 0 | 0
Line_2 | 0.04713 | 0.7286 | 0.46342 | 0.047833 | 0.72915 | 0.46377 | 0.54421 | 8.4132 | 5.3511 | 0.55233 | 8.4195 | 5.3551 | -0.092971 | -2.9467 | -0.66838 | 0.10206 | 3.6952 | 0.75988 | 0.60455 | -0.73174 | -1.7635 | -0.58173 | 0.81014 | 2.2252 | -97.988 | -4.3708 | -125.5573 | 82.7208 | 175.5714 | 54.5475 | 1.1239 | 0.36089 | 0.35243 | 1.0693 | 0.44931 | 0.43908 | 0.75485 | -170.4251 | 123.6852 | 2.6718 | -172.0625 | 125.6928

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.088797 | 0.73692 | 0.62843 | 0.089033 | 0.73681 | 0.62831 | 1.0253 | 8.5092 | 7.2564 | 1.0281 | 8.5079 | 7.255 | -0.22158 | 6.6225 | 3.3291 | 0.22043 | -6.0468 | -3.2174 | 1.0721 | 3.9902 | 5.4438 | -1.1127 | -3.8504 | -4.932 | -101.1508 | -162.8676 | 56.0233 | 79.01 | 17.1577 | -124.006 | 1.0677 | 0.90863 | 0.87937 | 1.1033 | 0.84259 | 0.81166 | 0.5267 | -131.7979 | 114.5757 | 0.21543 | -130.3547 | 112.8754
Line_1 | 0.00066683 | 1.2221 | 1.0823 | 0 | 1.2222 | 1.0818 | 0.0076999 | 14.1118 | 12.4976 | 0 | 14.1125 | 12.4911 | -0.00075694 | 9.2687 | 6.54 | -3.8611e-10 | -7.4686 | -5.8511 | -0.0084619 | 7.448 | 7.7541 | -1.8218e-10 | -7.4686 | -5.8511 | 95.3271 | -169.1391 | 63.0205 | 0 | 10.892 | -116.9984 | 1.1033 | 0.84259 | 0.81166 | 1.1879 | 0.74843 | 0.66244 | 0.21543 | -130.3547 | 112.8754 | -2.1791 | -124.108 | 108.0016
Line_2 | 0.026522 | 0.25274 | 0.20893 | 0.026862 | 0.25291 | 0.20918 | 0.30625 | 2.9183 | 2.4125 | 0.31017 | 2.9204 | 2.4154 | 0.019556 | -1.7788 | -1.5249 | -0.01722 | 1.8739 | 1.5674 | 0.33733 | -1.6977 | -1.2284 | -0.33423 | 1.6929 | 1.316 | -86.4667 | 5.9819 | -105.9769 | 93.9459 | -174.0968 | 74.104 | 1.1033 | 0.84259 | 0.81166 | 1.079 | 0.86474 | 0.8473 | 0.21543 | -130.3547 | 112.8754 | 0.9965 | -132.0014 | 114.1213

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.088797 | 0.73692 | 0.62843 | 0.089033 | 0.73681 | 0.62831 | 1.0253 | 8.5092 | 7.2564 | 1.0281 | 8.5079 | 7.255 | -0.22158 | 6.6225 | 3.3291 | 0.22043 | -6.0468 | -3.2174 | 1.0721 | 3.9902 | 5.4438 | -1.1127 | -3.8504 | -4.932 | -101.1508 | -162.8676 | 56.0233 | 79.01 | 17.1577 | -124.006 | 1.0677 | 0.90863 | 0.87937 | 1.1033 | 0.84259 | 0.81166 | 0.5267 | -131.7979 | 114.5757 | 0.21543 | -130.3547 | 112.8754
Line_1 | 0.00066683 | 1.2221 | 1.0823 | 0 | 1.2222 | 1.0818 | 0.0076999 | 14.1118 | 12.4976 | 0 | 14.1125 | 12.4911 | -0.00075694 | 9.2687 | 6.54 | -3.8611e-10 | -7.4686 | -5.8511 | -0.0084619 | 7.448 | 7.7541 | -1.8218e-10 | -7.4686 | -5.8511 | 95.3271 | -169.1391 | 63.0205 | 0 | 10.892 | -116.9984 | 1.1033 | 0.84259 | 0.81166 | 1.1879 | 0.74843 | 0.66244 | 0.21543 | -130.3547 | 112.8754 | -2.1791 | -124.108 | 108.0016
Line_2 | 0.026522 | 0.25274 | 0.20893 | 0.026862 | 0.25291 | 0.20918 | 0.30625 | 2.9183 | 2.4125 | 0.31017 | 2.9204 | 2.4154 | 0.019556 | -1.7788 | -1.5249 | -0.01722 | 1.8739 | 1.5674 | 0.33733 | -1.6977 | -1.2284 | -0.33423 | 1.6929 | 1.316 | -86.4667 | 5.9819 | -105.9769 | 93.9459 | -174.0968 | 74.104 | 1.1033 | 0.84259 | 0.81166 | 1.079 | 0.86474 | 0.8473 | 0.21543 | -130.3547 | 112.8754 | 0.9965 | -132.0014 | 114.1213

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1225 | 1.5601 | 1.2024 | 0.12277 | 1.5598 | 1.2025 | 1.4146 | 18.0142 | 13.8846 | 1.4177 | 18.0114 | 13.8857 | -0.33236 | 12.4174 | 0.73461 | 0.3738 | -8.3698 | -0.35599 | 1.3021 | -0.32824 | 6.6148 | -1.4284 | 1.2074 | -4.9888 | -103.278 | -160.8408 | 36.0109 | 76.9376 | 19.1766 | -144.0142 | 0.95 | 0.68955 | 0.47934 | 1.0415 | 0.46951 | 0.36019 | 1.041 | -162.355 | 119.6738 | 1.6026 | -169.0323 | 121.9043
Line_1 | 0.0013929 | 2.8764 | 2.0631 | 0 | 2.8766 | 2.0623 | 0.016084 | 33.2137 | 23.8231 | 0 | 33.2156 | 23.8134 | -0.0011954 | 15.5902 | 1.6456 | -1.3955e-09 | -1.253e-11 | -9.4181e-12 | -0.016709 | -0.34848 | 8.4216 | -2.8616e-10 | 1.2734e-12 | -3.5917e-12 | 95.6947 | -167.7518 | 42.9608 | 0 | 12.2757 | -137.07 | 1.0415 | 0.46951 | 0.36019 | 1.2926 | 0 | 0 | 1.6026 | -169.0323 | 121.9043 | -3.4615 | 0 | 0
Line_2 | 0.0017833 | 0.67249 | 0.37505 | 0.0023783 | 0.67285 | 0.37508 | 0.020591 | 7.7653 | 4.3306 | 0.027462 | 7.7694 | 4.331 | 0.011599 | -3.6459 | -0.47704 | -0.015089 | 4.6679 | 0.46074 | 0.018039 | -0.0017795 | -1.4851 | -0.021758 | 0.022402 | 1.8744 | -55.6567 | 10.9397 | -130.2879 | 127.5283 | -169.102 | 49.8045 | 1.0415 | 0.46951 | 0.36019 | 0.96416 | 0.60081 | 0.44568 | 1.6026 | -169.0323 | 121.9043 | 2.7871 | -168.8271 | 125.995

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1225 | 1.5601 | 1.2024 | 0.12277 | 1.5598 | 1.2025 | 1.4146 | 18.0142 | 13.8846 | 1.4177 | 18.0114 | 13.8857 | -0.33236 | 12.4174 | 0.73461 | 0.3738 | -8.3698 | -0.35599 | 1.3021 | -0.32824 | 6.6148 | -1.4284 | 1.2074 | -4.9888 | -103.278 | -160.8408 | 36.0109 | 76.9376 | 19.1766 | -144.0142 | 0.95 | 0.68955 | 0.47934 | 1.0415 | 0.46951 | 0.36019 | 1.041 | -162.355 | 119.6738 | 1.6026 | -169.0323 | 121.9043
Line_1 | 0.0013929 | 2.8764 | 2.0631 | 0 | 2.8766 | 2.0623 | 0.016084 | 33.2137 | 23.8231 | 0 | 33.2156 | 23.8134 | -0.0011954 | 15.5902 | 1.6456 | -1.3955e-09 | -1.253e-11 | -9.4181e-12 | -0.016709 | -0.34848 | 8.4216 | -2.8616e-10 | 1.2734e-12 | -3.5917e-12 | 95.6947 | -167.7518 | 42.9608 | 0 | 12.2757 | -137.07 | 1.0415 | 0.46951 | 0.36019 | 1.2926 | 0 | 0 | 1.6026 | -169.0323 | 121.9043 | -3.4615 | 0 | 0
Line_2 | 0.0017833 | 0.67249 | 0.37505 | 0.0023783 | 0.67285 | 0.37508 | 0.020591 | 7.7653 | 4.3306 | 0.027462 | 7.7694 | 4.331 | 0.011599 | -3.6459 | -0.47704 | -0.015089 | 4.6679 | 0.46074 | 0.018039 | -0.0017795 | -1.4851 | -0.021758 | 0.022402 | 1.8744 | -55.6567 | 10.9397 | -130.2879 | 127.5283 | -169.102 | 49.8045 | 1.0415 | 0.46951 | 0.36019 | 0.96416 | 0.60081 | 0.44568 | 1.6026 | -169.0323 | 121.9043 | 2.7871 | -168.8271 | 125.995

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074514 | 0.58602 | 0.47899 | 0.074711 | 0.58595 | 0.47892 | 0.86042 | 6.7667 | 5.531 | 0.86269 | 6.7659 | 5.5301 | -0.075185 | 5.3883 | 2.2853 | 0.077214 | -4.7648 | -2.179 | 0.82974 | 2.1495 | 3.8419 | -0.8711 | -2.1205 | -3.4667 | -94.8284 | -154.7611 | 55.7108 | 85.3199 | 25.265 | -124.3209 | 0.9683 | 0.85731 | 0.80822 | 1.0137 | 0.77083 | 0.74043 | 0.34921 | -133.0126 | 114.9645 | 0.38533 | -130.7439 | 113.5275
Line_1 | 0.00071907 | 1.0669 | 0.89213 | 0 | 1.0671 | 0.89149 | 0.0083031 | 12.3196 | 10.3015 | 0 | 12.3222 | 10.294 | 0.00023358 | 8.0044 | 4.8532 | -5.7537e-10 | -5.6938 | -3.9737 | -0.0084137 | 5.1097 | 5.8843 | -2.3306e-10 | -5.6938 | -3.9737 | 88.7951 | -163.2966 | 63.0421 | 0 | 16.7402 | -116.978 | 1.0137 | 0.77083 | 0.74043 | 1.1365 | 0.65348 | 0.54592 | 0.38533 | -130.7439 | 113.5275 | -3.2061 | -118.2598 | 108.022
Line_2 | 0.010939 | 0.25605 | 0.17346 | 0.011248 | 0.25619 | 0.17363 | 0.12631 | 2.9566 | 2.0029 | 0.12988 | 2.9582 | 2.0049 | 0.096299 | -1.8767 | -1.1241 | -0.093525 | 2.0425 | 1.1605 | 0.08439 | -1.2931 | -0.96739 | -0.08518 | 1.2658 | 1.067 | -40.8441 | 14.689 | -107.1882 | 138.9034 | -165.3743 | 72.8986 | 1.0137 | 0.77083 | 0.74043 | 0.97399 | 0.8123 | 0.78628 | 0.38533 | -130.7439 | 113.5275 | 1.2299 | -133.5863 | 115.4952

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074514 | 0.58602 | 0.47899 | 0.074711 | 0.58595 | 0.47892 | 0.86042 | 6.7667 | 5.531 | 0.86269 | 6.7659 | 5.5301 | -0.075185 | 5.3883 | 2.2853 | 0.077214 | -4.7648 | -2.179 | 0.82974 | 2.1495 | 3.8419 | -0.8711 | -2.1205 | -3.4667 | -94.8284 | -154.7611 | 55.7108 | 85.3199 | 25.265 | -124.3209 | 0.9683 | 0.85731 | 0.80822 | 1.0137 | 0.77083 | 0.74043 | 0.34921 | -133.0126 | 114.9645 | 0.38533 | -130.7439 | 113.5275
Line_1 | 0.00071907 | 1.0669 | 0.89213 | 0 | 1.0671 | 0.89149 | 0.0083031 | 12.3196 | 10.3015 | 0 | 12.3222 | 10.294 | 0.00023358 | 8.0044 | 4.8532 | -5.7537e-10 | -5.6938 | -3.9737 | -0.0084137 | 5.1097 | 5.8843 | -2.3306e-10 | -5.6938 | -3.9737 | 88.7951 | -163.2966 | 63.0421 | 0 | 16.7402 | -116.978 | 1.0137 | 0.77083 | 0.74043 | 1.1365 | 0.65348 | 0.54592 | 0.38533 | -130.7439 | 113.5275 | -3.2061 | -118.2598 | 108.022
Line_2 | 0.010939 | 0.25605 | 0.17346 | 0.011248 | 0.25619 | 0.17363 | 0.12631 | 2.9566 | 2.0029 | 0.12988 | 2.9582 | 2.0049 | 0.096299 | -1.8767 | -1.1241 | -0.093525 | 2.0425 | 1.1605 | 0.08439 | -1.2931 | -0.96739 | -0.08518 | 1.2658 | 1.067 | -40.8441 | 14.689 | -107.1882 | 138.9034 | -165.3743 | 72.8986 | 1.0137 | 0.77083 | 0.74043 | 0.97399 | 0.8123 | 0.78628 | 0.38533 | -130.7439 | 113.5275 | 1.2299 | -133.5863 | 115.4952