## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1194 | 2.1194 | 0 | 0 | 73.4178 | 73.4178 | 16.0369 | -9.0297 | 18.7255 | -10.775 | -74.2387 | 105.7613 | 0.33581 | 0.19148 | -24.8162 | -24.2025
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19148 | 0.19148 | -24.2025 | -24.2025
Line_2 | 2.8115 | 2.8115 | 0 | 5.6188 | 97.392 | 97.392 | 12.3308 | -1e-07 | 13.9907 | -1e-07 | -72.811 | 107.189 | 0.19148 | 0 | -24.2025 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1194 | 2.1194 | 0 | 0 | 73.4178 | 73.4178 | 16.0369 | -9.0297 | 18.7255 | -10.775 | -74.2387 | 105.7613 | 0.33581 | 0.19148 | -24.8162 | -24.2025
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19148 | 0.19148 | -24.2025 | -24.2025
Line_2 | 2.8115 | 2.8115 | 0 | 5.6188 | 97.392 | 97.392 | 12.3308 | -1e-07 | 13.9907 | -1e-07 | -72.811 | 107.189 | 0.19148 | 0 | -24.2025 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.71982 | 0.71982 | 0 | 0 | 24.9354 | 24.9354 | 14.868 | -14.0596 | 15.7907 | -14.8736 | -55.4681 | 124.5319 | 0.8698 | 0.8208 | -8.7442 | -8.8567
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8208 | 0.8208 | -8.8567 | -8.8567
Line_2 | 0.95488 | 0.95488 | 0 | 1.9084 | 33.0779 | 33.0779 | 19.1366 | -17.7142 | 19.2596 | -17.6458 | -54.0403 | 125.9597 | 0.8208 | 0.75589 | -8.8567 | -9.1512

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.71982 | 0.71982 | 0 | 0 | 24.9354 | 24.9354 | 14.868 | -14.0596 | 15.7907 | -14.8736 | -55.4681 | 124.5319 | 0.8698 | 0.8208 | -8.7442 | -8.8567
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8208 | 0.8208 | -8.8567 | -8.8567
Line_2 | 0.95488 | 0.95488 | 0 | 1.9084 | 33.0779 | 33.0779 | 19.1366 | -17.7142 | 19.2596 | -17.6458 | -54.0403 | 125.9597 | 0.8208 | 0.75589 | -8.8567 | -9.1512

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6417 | 1.6417 | 0 | 0 | 56.8697 | 56.8697 | 19.4023 | -11.3298 | 11.5948 | -6.8244 | -65.6754 | 114.3246 | 0.39745 | 0.23257 | -34.8129 | -34.6132
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23257 | 0.23257 | -34.6132 | -34.6132
Line_2 | 2.3157 | 2.3157 | 0 | 4.2852 | 80.2187 | 80.2187 | 16.0618 | -1e-07 | 9.4917 | -1e-07 | -65.194 | 114.806 | 0.23257 | 0 | -34.6132 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6417 | 1.6417 | 0 | 0 | 56.8697 | 56.8697 | 19.4023 | -11.3298 | 11.5948 | -6.8244 | -65.6754 | 114.3246 | 0.39745 | 0.23257 | -34.8129 | -34.6132
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23257 | 0.23257 | -34.6132 | -34.6132
Line_2 | 2.3157 | 2.3157 | 0 | 4.2852 | 80.2187 | 80.2187 | 16.0618 | -1e-07 | 9.4917 | -1e-07 | -65.194 | 114.806 | 0.23257 | 0 | -34.6132 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.57229 | 0.57229 | 0 | 0 | 19.8247 | 19.8247 | 11.9966 | -11.0156 | 10.5107 | -9.931 | -50.9652 | 129.0348 | 0.80454 | 0.74813 | -9.7422 | -8.9292
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74813 | 0.74813 | -8.9292 | -8.9292
Line_2 | 0.80725 | 0.80725 | 0 | 1.4938 | 27.9641 | 27.9641 | 15.6555 | -13.7036 | 13.8774 | -12.7239 | -50.4837 | 129.5163 | 0.74813 | 0.66871 | -8.9292 | -7.6068

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.57229 | 0.57229 | 0 | 0 | 19.8247 | 19.8247 | 11.9966 | -11.0156 | 10.5107 | -9.931 | -50.9652 | 129.0348 | 0.80454 | 0.74813 | -9.7422 | -8.9292
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74813 | 0.74813 | -8.9292 | -8.9292
Line_2 | 0.80725 | 0.80725 | 0 | 1.4938 | 27.9641 | 27.9641 | 15.6555 | -13.7036 | 13.8774 | -12.7239 | -50.4837 | 129.5163 | 0.74813 | 0.66871 | -8.9292 | -7.6068

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13913 | 1.7836 | 1.9063 | 0.13913 | 1.7836 | 1.9063 | 1.6065 | 20.5952 | 22.0122 | 1.6065 | 20.5952 | 22.0122 | -1.7365 | 15.193 | -7.847 | 1.7465 | -13.5388 | 9.7367 | -0.45468 | 1.5041 | 7.4809 | 0.4661 | 0.37278 | -5.3369 | 167.9166 | -162.9362 | 15.0267 | -12.0834 | 17.0638 | -164.9733 | 1.1173 | 0.7413 | 0.49253 | 1.1252 | 0.65763 | 0.50442 | 2.5894 | -157.2822 | 151.3949 | 2.8587 | -164.5134 | 166.2988
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0966e-10 | -3.0568e-10 | -4.7269e-10 | -1.0968e-10 | 3.0569e-10 | 4.7268e-10 | -2.2633e-10 | 1.8596e-09 | -1.4708e-09 | 2.2633e-10 | -1.8596e-09 | 1.4708e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1252 | 0.65763 | 0.50442 | 1.1252 | 0.65763 | 0.50442 | 2.8587 | -164.5134 | 166.2988 | 2.8587 | -164.5134 | 166.2988
Line_2 | 0.077385 | 2.3761 | 2.4427 | 0.077385 | 2.3761 | 2.4427 | 0.89357 | 27.4372 | 28.2063 | 0.89357 | 27.4372 | 28.2063 | -0.95612 | 18.0429 | -12.4838 | 0.95924 | -15.107 | 15.5866 | -0.31109 | -0.13115 | 6.8255 | 0.31462 | 3.4623 | -3.305 | 164.8357 | -164.0969 | 14.9664 | -15.1643 | 15.9031 | -165.0336 | 1.1252 | 0.65763 | 0.50442 | 1.1298 | 0.56488 | 0.56488 | 2.8587 | -164.5134 | 166.2988 | 2.9947 | -177.0053 | -177.0053

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13913 | 1.7836 | 1.9063 | 0.13913 | 1.7836 | 1.9063 | 1.6065 | 20.5952 | 22.0122 | 1.6065 | 20.5952 | 22.0122 | -1.7365 | 15.193 | -7.847 | 1.7465 | -13.5388 | 9.7367 | -0.45468 | 1.5041 | 7.4809 | 0.4661 | 0.37278 | -5.3369 | 167.9166 | -162.9362 | 15.0267 | -12.0834 | 17.0638 | -164.9733 | 1.1173 | 0.7413 | 0.49253 | 1.1252 | 0.65763 | 0.50442 | 2.5894 | -157.2822 | 151.3949 | 2.8587 | -164.5134 | 166.2988
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0966e-10 | -3.0568e-10 | -4.7269e-10 | -1.0968e-10 | 3.0569e-10 | 4.7268e-10 | -2.2633e-10 | 1.8596e-09 | -1.4708e-09 | 2.2633e-10 | -1.8596e-09 | 1.4708e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1252 | 0.65763 | 0.50442 | 1.1252 | 0.65763 | 0.50442 | 2.8587 | -164.5134 | 166.2988 | 2.8587 | -164.5134 | 166.2988
Line_2 | 0.077385 | 2.3761 | 2.4427 | 0.077385 | 2.3761 | 2.4427 | 0.89357 | 27.4372 | 28.2063 | 0.89357 | 27.4372 | 28.2063 | -0.95612 | 18.0429 | -12.4838 | 0.95924 | -15.107 | 15.5866 | -0.31109 | -0.13115 | 6.8255 | 0.31462 | 3.4623 | -3.305 | 164.8357 | -164.0969 | 14.9664 | -15.1643 | 15.9031 | -165.0336 | 1.1252 | 0.65763 | 0.50442 | 1.1298 | 0.56488 | 0.56488 | 2.8587 | -164.5134 | 166.2988 | 2.9947 | -177.0053 | -177.0053

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.072668 | 0.93159 | 0.99569 | 0.072668 | 0.93159 | 0.99569 | 0.8391 | 10.7571 | 11.4972 | 0.8391 | 10.7571 | 11.4972 | -0.92375 | 10.1157 | -0.33232 | 0.92649 | -9.6644 | 0.84785 | 0.030829 | 1.6645 | 8.306 | -0.027713 | -1.1525 | -7.7211 | -176.6493 | -147.502 | 30.4609 | 3.3507 | 32.498 | -149.5391 | 1.1015 | 0.95302 | 0.72302 | 1.1046 | 0.90478 | 0.6756 | 1.4393 | -138.158 | 122.752 | 1.6374 | -140.7018 | 126.7274
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0618e-11 | -4.1201e-10 | -1.0326e-09 | -2.0621e-11 | 4.1203e-10 | 1.0326e-09 | -1.2731e-10 | 1.29e-09 | -3.1921e-10 | 1.2731e-10 | -1.29e-09 | 3.1921e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1046 | 0.90478 | 0.6756 | 1.1046 | 0.90478 | 0.6756 | 1.6374 | -140.7018 | 126.7274 | 1.6374 | -140.7018 | 126.7274
Line_2 | 0.040419 | 1.2411 | 1.2759 | 0.040419 | 1.2411 | 1.2759 | 0.46672 | 14.3308 | 14.7325 | 0.46672 | 14.3308 | 14.7325 | -0.51541 | 12.8413 | -1.0968 | 0.51626 | -12.0403 | 1.9433 | -0.012304 | 1.7958 | 9.8927 | 0.013268 | -0.88704 | -8.9322 | -179.7301 | -148.6627 | 30.4005 | 0.2699 | 31.3373 | -149.5995 | 1.1046 | 0.90478 | 0.6756 | 1.1065 | 0.84245 | 0.62048 | 1.6374 | -140.7018 | 126.7274 | 1.7421 | -144.4492 | 132.6748

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.072668 | 0.93159 | 0.99569 | 0.072668 | 0.93159 | 0.99569 | 0.8391 | 10.7571 | 11.4972 | 0.8391 | 10.7571 | 11.4972 | -0.92375 | 10.1157 | -0.33232 | 0.92649 | -9.6644 | 0.84785 | 0.030829 | 1.6645 | 8.306 | -0.027713 | -1.1525 | -7.7211 | -176.6493 | -147.502 | 30.4609 | 3.3507 | 32.498 | -149.5391 | 1.1015 | 0.95302 | 0.72302 | 1.1046 | 0.90478 | 0.6756 | 1.4393 | -138.158 | 122.752 | 1.6374 | -140.7018 | 126.7274
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0618e-11 | -4.1201e-10 | -1.0326e-09 | -2.0621e-11 | 4.1203e-10 | 1.0326e-09 | -1.2731e-10 | 1.29e-09 | -3.1921e-10 | 1.2731e-10 | -1.29e-09 | 3.1921e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1046 | 0.90478 | 0.6756 | 1.1046 | 0.90478 | 0.6756 | 1.6374 | -140.7018 | 126.7274 | 1.6374 | -140.7018 | 126.7274
Line_2 | 0.040419 | 1.2411 | 1.2759 | 0.040419 | 1.2411 | 1.2759 | 0.46672 | 14.3308 | 14.7325 | 0.46672 | 14.3308 | 14.7325 | -0.51541 | 12.8413 | -1.0968 | 0.51626 | -12.0403 | 1.9433 | -0.012304 | 1.7958 | 9.8927 | 0.013268 | -0.88704 | -8.9322 | -179.7301 | -148.6627 | 30.4005 | 0.2699 | 31.3373 | -149.5995 | 1.1046 | 0.90478 | 0.6756 | 1.1065 | 0.84245 | 0.62048 | 1.6374 | -140.7018 | 126.7274 | 1.7421 | -144.4492 | 132.6748

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12518 | 1.3825 | 1.4885 | 0.12518 | 1.3825 | 1.4885 | 1.4455 | 15.9643 | 17.1872 | 1.4455 | 15.9643 | 17.1872 | -1.4406 | 12.2824 | -3.1005 | 1.4563 | -10.374 | 5.3124 | -0.26888 | -0.58027 | 6.0481 | 0.27813 | 1.708 | -4.741 | 172.4105 | -154.0103 | 23.3235 | -7.5895 | 25.9897 | -156.6765 | 1.0138 | 0.77023 | 0.39544 | 1.0257 | 0.65858 | 0.41428 | 2.9826 | -156.7152 | 140.4648 | 3.2229 | -163.3598 | 161.5767
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0248e-10 | -1.6535e-10 | -5.0703e-10 | -1.0248e-10 | 1.6535e-10 | 5.0703e-10 | -2.1143e-10 | 1.6579e-09 | -1.0081e-09 | 2.1144e-10 | -1.6579e-09 | 1.0081e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0257 | 0.65858 | 0.41428 | 1.0257 | 0.65858 | 0.41428 | 3.2229 | -163.3598 | 161.5767 | 3.2229 | -163.3598 | 161.5767
Line_2 | 0.071518 | 1.9547 | 2.0122 | 0.071518 | 1.9547 | 2.0122 | 0.82582 | 22.571 | 23.2349 | 0.82582 | 22.571 | 23.2349 | -0.81018 | 14.7624 | -7.3128 | 0.81528 | -10.9476 | 11.3553 | -0.24709 | -1.7412 | 6.2593 | 0.25011 | 3.9955 | -3.8704 | 166.2621 | -156.6331 | 22.1383 | -13.7379 | 23.3669 | -157.8617 | 1.0257 | 0.65858 | 0.41428 | 1.0326 | 0.51632 | 0.51632 | 3.2229 | -163.3598 | 161.5767 | 3.3167 | -176.6833 | -176.6833

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12518 | 1.3825 | 1.4885 | 0.12518 | 1.3825 | 1.4885 | 1.4455 | 15.9643 | 17.1872 | 1.4455 | 15.9643 | 17.1872 | -1.4406 | 12.2824 | -3.1005 | 1.4563 | -10.374 | 5.3124 | -0.26888 | -0.58027 | 6.0481 | 0.27813 | 1.708 | -4.741 | 172.4105 | -154.0103 | 23.3235 | -7.5895 | 25.9897 | -156.6765 | 1.0138 | 0.77023 | 0.39544 | 1.0257 | 0.65858 | 0.41428 | 2.9826 | -156.7152 | 140.4648 | 3.2229 | -163.3598 | 161.5767
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0248e-10 | -1.6535e-10 | -5.0703e-10 | -1.0248e-10 | 1.6535e-10 | 5.0703e-10 | -2.1143e-10 | 1.6579e-09 | -1.0081e-09 | 2.1144e-10 | -1.6579e-09 | 1.0081e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0257 | 0.65858 | 0.41428 | 1.0257 | 0.65858 | 0.41428 | 3.2229 | -163.3598 | 161.5767 | 3.2229 | -163.3598 | 161.5767
Line_2 | 0.071518 | 1.9547 | 2.0122 | 0.071518 | 1.9547 | 2.0122 | 0.82582 | 22.571 | 23.2349 | 0.82582 | 22.571 | 23.2349 | -0.81018 | 14.7624 | -7.3128 | 0.81528 | -10.9476 | 11.3553 | -0.24709 | -1.7412 | 6.2593 | 0.25011 | 3.9955 | -3.8704 | 166.2621 | -156.6331 | 22.1383 | -13.7379 | 23.3669 | -157.8617 | 1.0257 | 0.65858 | 0.41428 | 1.0326 | 0.51632 | 0.51632 | 3.2229 | -163.3598 | 161.5767 | 3.3167 | -176.6833 | -176.6833

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066502 | 0.73446 | 0.79072 | 0.066502 | 0.73446 | 0.79072 | 0.7679 | 8.4808 | 9.1304 | 0.7679 | 8.4808 | 9.1304 | -0.76733 | 7.6193 | 0.60813 | 0.77175 | -7.0807 | 0.016101 | 0.043122 | 0.43215 | 5.9734 | -0.040512 | -0.11389 | -5.6045 | -175.135 | -141.5558 | 35.778 | 4.865 | 38.4442 | -144.222 | 1.0008 | 0.89986 | 0.65761 | 1.0064 | 0.83502 | 0.61383 | 1.6486 | -138.3096 | 119.9649 | 1.8601 | -140.6343 | 125.9426
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555e-11 | -3.0871e-10 | -8.5706e-10 | -2.555e-11 | 3.0871e-10 | 8.5706e-10 | -1.1979e-10 | 1.079e-09 | -2.3302e-10 | 1.1978e-10 | -1.079e-09 | 2.3302e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0064 | 0.83502 | 0.61383 | 1.0064 | 0.83502 | 0.61383 | 1.8601 | -140.6343 | 125.9426 | 1.8601 | -140.6343 | 125.9426
Line_2 | 0.037993 | 1.0384 | 1.069 | 0.037993 | 1.0384 | 1.069 | 0.43871 | 11.9905 | 12.3432 | 0.43871 | 11.9905 | 12.3432 | -0.44085 | 9.9931 | -0.17848 | 0.44229 | -8.9166 | 1.3193 | -0.024211 | 0.61895 | 7.5745 | 0.025062 | 0.017242 | -6.9003 | 178.7166 | -144.1786 | 34.5928 | -1.2834 | 35.8214 | -145.4072 | 1.0064 | 0.83502 | 0.61383 | 1.0098 | 0.74364 | 0.56917 | 1.8601 | -140.6343 | 125.9426 | 1.9598 | -144.2894 | 135.4168

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066502 | 0.73446 | 0.79072 | 0.066502 | 0.73446 | 0.79072 | 0.7679 | 8.4808 | 9.1304 | 0.7679 | 8.4808 | 9.1304 | -0.76733 | 7.6193 | 0.60813 | 0.77175 | -7.0807 | 0.016101 | 0.043122 | 0.43215 | 5.9734 | -0.040512 | -0.11389 | -5.6045 | -175.135 | -141.5558 | 35.778 | 4.865 | 38.4442 | -144.222 | 1.0008 | 0.89986 | 0.65761 | 1.0064 | 0.83502 | 0.61383 | 1.6486 | -138.3096 | 119.9649 | 1.8601 | -140.6343 | 125.9426
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555e-11 | -3.0871e-10 | -8.5706e-10 | -2.555e-11 | 3.0871e-10 | 8.5706e-10 | -1.1979e-10 | 1.079e-09 | -2.3302e-10 | 1.1978e-10 | -1.079e-09 | 2.3302e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0064 | 0.83502 | 0.61383 | 1.0064 | 0.83502 | 0.61383 | 1.8601 | -140.6343 | 125.9426 | 1.8601 | -140.6343 | 125.9426
Line_2 | 0.037993 | 1.0384 | 1.069 | 0.037993 | 1.0384 | 1.069 | 0.43871 | 11.9905 | 12.3432 | 0.43871 | 11.9905 | 12.3432 | -0.44085 | 9.9931 | -0.17848 | 0.44229 | -8.9166 | 1.3193 | -0.024211 | 0.61895 | 7.5745 | 0.025062 | 0.017242 | -6.9003 | 178.7166 | -144.1786 | 34.5928 | -1.2834 | 35.8214 | -145.4072 | 1.0064 | 0.83502 | 0.61383 | 1.0098 | 0.74364 | 0.56917 | 1.8601 | -140.6343 | 125.9426 | 1.9598 | -144.2894 | 135.4168

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6595 | 0.48306 | 0.33248 | 1.6586 | 0.48376 | 0.33317 | 19.1627 | 5.5779 | 3.8392 | 19.1522 | 5.586 | 3.8472 | 8.3061 | -5.8822 | 3.1247 | -5.3352 | 5.8947 | -3.1516 | 6.7531 | 1.037 | 2.3028 | -3.7609 | -1.4953 | -2.6427 | -63.1761 | 79.6039 | 78.7087 | 116.8227 | -100.3284 | -101.1911 | 0.55863 | 1.0708 | 1.011 | 0.34083 | 1.0887 | 1.0691 | -24.064 | -110.3941 | 115.0976 | -27.9963 | -114.5623 | 118.7894
Line_1 | 0.0011547 | 0.0011547 | 0.0011547 | 0 | 0 | 0 | 0.013334 | 0.013334 | 0.013334 | 0 | 0 | 0 | 0.0032532 | 0.01074 | -0.01399 | 7.8782e-10 | 2.5805e-11 | 1.1948e-10 | 0.0031731 | -0.009766 | -0.0027374 | -6.4467e-10 | 4.1535e-10 | -9.0964e-11 | -72.2819 | -72.2819 | -72.2819 | 0 | 0 | 0 | 0.34083 | 1.0887 | 1.0691 | 0.34064 | 1.0886 | 1.0693 | -27.9963 | -114.5623 | 118.7894 | -27.9834 | -114.5717 | 118.7914
Line_2 | 2.3649 | 0.36607 | 0.28307 | 2.3635 | 0.36754 | 0.28452 | 27.3077 | 4.227 | 3.2686 | 27.2908 | 4.244 | 3.2854 | 7.3338 | -4.5769 | 2.271 | -5.6577e-12 | 4.4127 | -2.4207 | 5.7304 | 0.47921 | 2.6559 | 3.4762e-11 | -1.1521 | -3.199 | -65.9994 | 71.4149 | 69.3222 | 114.0147 | -108.497 | -110.5533 | 0.34083 | 1.0887 | 1.0691 | 0 | 1.0746 | 1.2211 | -27.9963 | -114.5623 | 118.7894 | 0 | -123.1295 | 122.3324

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6595 | 0.48306 | 0.33248 | 1.6586 | 0.48376 | 0.33317 | 19.1627 | 5.5779 | 3.8392 | 19.1522 | 5.586 | 3.8472 | 8.3061 | -5.8822 | 3.1247 | -5.3352 | 5.8947 | -3.1516 | 6.7531 | 1.037 | 2.3028 | -3.7609 | -1.4953 | -2.6427 | -63.1761 | 79.6039 | 78.7087 | 116.8227 | -100.3284 | -101.1911 | 0.55863 | 1.0708 | 1.011 | 0.34083 | 1.0887 | 1.0691 | -24.064 | -110.3941 | 115.0976 | -27.9963 | -114.5623 | 118.7894
Line_1 | 0.0011547 | 0.0011547 | 0.0011547 | 0 | 0 | 0 | 0.013334 | 0.013334 | 0.013334 | 0 | 0 | 0 | 0.0032532 | 0.01074 | -0.01399 | 7.8782e-10 | 2.5805e-11 | 1.1948e-10 | 0.0031731 | -0.009766 | -0.0027374 | -6.4467e-10 | 4.1535e-10 | -9.0964e-11 | -72.2819 | -72.2819 | -72.2819 | 0 | 0 | 0 | 0.34083 | 1.0887 | 1.0691 | 0.34064 | 1.0886 | 1.0693 | -27.9963 | -114.5623 | 118.7894 | -27.9834 | -114.5717 | 118.7914
Line_2 | 2.3649 | 0.36607 | 0.28307 | 2.3635 | 0.36754 | 0.28452 | 27.3077 | 4.227 | 3.2686 | 27.2908 | 4.244 | 3.2854 | 7.3338 | -4.5769 | 2.271 | -5.6577e-12 | 4.4127 | -2.4207 | 5.7304 | 0.47921 | 2.6559 | 3.4762e-11 | -1.1521 | -3.199 | -65.9994 | 71.4149 | 69.3222 | 114.0147 | -108.497 | -110.5533 | 0.34083 | 1.0887 | 1.0691 | 0 | 1.0746 | 1.2211 | -27.9963 | -114.5623 | 118.7894 | 0 | -123.1295 | 122.3324

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59732 | 0.17387 | 0.11967 | 0.597 | 0.17412 | 0.11992 | 6.8973 | 2.0077 | 1.3819 | 6.8935 | 2.0106 | 1.3847 | 5.1802 | -1.7659 | 1.3886 | -4.793 | 1.7677 | -1.3945 | 3.831 | 1.2114 | 0.54142 | -3.4418 | -1.2735 | -0.58423 | -45.3029 | 97.4771 | 96.5819 | 134.6959 | -82.4552 | -83.3179 | 0.93412 | 1.0666 | 1.0785 | 0.85599 | 1.0836 | 1.0919 | -8.8181 | -116.9727 | 117.8834 | -9.622 | -118.2256 | 119.4134
Line_1 | 0.00041563 | 0.00041563 | 0.00041563 | 0 | 0 | 0 | 0.0047993 | 0.0047993 | 0.0047993 | 0 | 0 | 0 | 0.0029157 | 0.0022946 | -0.0052098 | 7.1746e-10 | 6.3217e-11 | 3.2029e-11 | 0.002894 | -0.0046667 | 0.00056393 | -5.7692e-10 | 1.3503e-10 | -4.4955e-11 | -54.4087 | -54.4087 | -54.4087 | 0 | 0 | 0 | 0.85599 | 1.0836 | 1.0919 | 0.85592 | 1.0836 | 1.0919 | -9.622 | -118.2256 | 119.4134 | -9.6201 | -118.2294 | 119.4151
Line_2 | 0.85121 | 0.13176 | 0.10189 | 0.85069 | 0.13229 | 0.10241 | 9.829 | 1.5214 | 1.1765 | 9.8229 | 1.5276 | 1.1825 | 6.5841 | -1.4621 | 1.0868 | -5.6316 | 1.4433 | -1.111 | 5.238 | 0.76159 | 0.68487 | -4.4914 | -0.85291 | -0.75525 | -48.1261 | 89.2881 | 87.1954 | 131.8879 | -90.6238 | -92.6801 | 0.85599 | 1.0836 | 1.0919 | 0.73332 | 1.0975 | 1.136 | -9.622 | -118.2256 | 119.4134 | -9.5382 | -121.205 | 121.5276

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59732 | 0.17387 | 0.11967 | 0.597 | 0.17412 | 0.11992 | 6.8973 | 2.0077 | 1.3819 | 6.8935 | 2.0106 | 1.3847 | 5.1802 | -1.7659 | 1.3886 | -4.793 | 1.7677 | -1.3945 | 3.831 | 1.2114 | 0.54142 | -3.4418 | -1.2735 | -0.58423 | -45.3029 | 97.4771 | 96.5819 | 134.6959 | -82.4552 | -83.3179 | 0.93412 | 1.0666 | 1.0785 | 0.85599 | 1.0836 | 1.0919 | -8.8181 | -116.9727 | 117.8834 | -9.622 | -118.2256 | 119.4134
Line_1 | 0.00041563 | 0.00041563 | 0.00041563 | 0 | 0 | 0 | 0.0047993 | 0.0047993 | 0.0047993 | 0 | 0 | 0 | 0.0029157 | 0.0022946 | -0.0052098 | 7.1746e-10 | 6.3217e-11 | 3.2029e-11 | 0.002894 | -0.0046667 | 0.00056393 | -5.7692e-10 | 1.3503e-10 | -4.4955e-11 | -54.4087 | -54.4087 | -54.4087 | 0 | 0 | 0 | 0.85599 | 1.0836 | 1.0919 | 0.85592 | 1.0836 | 1.0919 | -9.622 | -118.2256 | 119.4134 | -9.6201 | -118.2294 | 119.4151
Line_2 | 0.85121 | 0.13176 | 0.10189 | 0.85069 | 0.13229 | 0.10241 | 9.829 | 1.5214 | 1.1765 | 9.8229 | 1.5276 | 1.1825 | 6.5841 | -1.4621 | 1.0868 | -5.6316 | 1.4433 | -1.111 | 5.238 | 0.76159 | 0.68487 | -4.4914 | -0.85291 | -0.75525 | -48.1261 | 89.2881 | 87.1954 | 131.8879 | -90.6238 | -92.6801 | 0.85599 | 1.0836 | 1.0919 | 0.73332 | 1.0975 | 1.136 | -9.622 | -118.2256 | 119.4134 | -9.5382 | -121.205 | 121.5276

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1229 | 0.47196 | 0.34399 | 1.1223 | 0.4724 | 0.34445 | 12.9665 | 5.4497 | 3.972 | 12.9592 | 5.4549 | 3.9774 | 6.8769 | -4.8274 | 3.4565 | -4.742 | 5.0439 | -3.3687 | 4.3007 | 1.6218 | 1.2603 | -2.3583 | -2.1201 | -1.6418 | -54.638 | 90.0625 | 92.2564 | 125.3561 | -89.8816 | -87.6699 | 0.62553 | 0.93447 | 0.92626 | 0.40867 | 1.003 | 0.94219 | -22.6165 | -108.5077 | 112.2896 | -28.2017 | -112.6805 | 118.3133
Line_1 | 0.00091549 | 0.00091549 | 0.00091549 | 0 | 0 | 0 | 0.010571 | 0.010571 | 0.010571 | 0 | 0 | 0 | 0.0037249 | 0.0062255 | -0.009946 | 7.083e-10 | -4.0556e-11 | 1.9731e-10 | 0.0021883 | -0.0085832 | 0.00053033 | -7.0737e-10 | 4.6756e-10 | -1.0145e-10 | -58.6345 | -58.6345 | -58.6345 | 0 | 0 | 0 | 0.40867 | 1.003 | 0.94219 | 0.4084 | 1.0029 | 0.94247 | -28.2017 | -112.6805 | 118.3133 | -28.1887 | -112.6954 | 118.3177
Line_2 | 1.7559 | 0.40242 | 0.3288 | 1.7546 | 0.40375 | 0.33014 | 20.2757 | 4.6467 | 3.7966 | 20.2608 | 4.6621 | 3.8121 | 7.1484 | -4.5602 | 2.7878 | 2.1136e-11 | 4.4079 | -2.9665 | 4.1904 | 0.96306 | 2.2415 | 1.3602e-11 | -1.9077 | -3.0255 | -58.5804 | 79.2445 | 79.5119 | 121.438 | -100.6917 | -100.4111 | 0.40867 | 1.003 | 0.94219 | 0 | 1.0302 | 1.1115 | -28.2017 | -112.6805 | 118.3133 | 0 | -124.0941 | 125.1531

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1229 | 0.47196 | 0.34399 | 1.1223 | 0.4724 | 0.34445 | 12.9665 | 5.4497 | 3.972 | 12.9592 | 5.4549 | 3.9774 | 6.8769 | -4.8274 | 3.4565 | -4.742 | 5.0439 | -3.3687 | 4.3007 | 1.6218 | 1.2603 | -2.3583 | -2.1201 | -1.6418 | -54.638 | 90.0625 | 92.2564 | 125.3561 | -89.8816 | -87.6699 | 0.62553 | 0.93447 | 0.92626 | 0.40867 | 1.003 | 0.94219 | -22.6165 | -108.5077 | 112.2896 | -28.2017 | -112.6805 | 118.3133
Line_1 | 0.00091549 | 0.00091549 | 0.00091549 | 0 | 0 | 0 | 0.010571 | 0.010571 | 0.010571 | 0 | 0 | 0 | 0.0037249 | 0.0062255 | -0.009946 | 7.083e-10 | -4.0556e-11 | 1.9731e-10 | 0.0021883 | -0.0085832 | 0.00053033 | -7.0737e-10 | 4.6756e-10 | -1.0145e-10 | -58.6345 | -58.6345 | -58.6345 | 0 | 0 | 0 | 0.40867 | 1.003 | 0.94219 | 0.4084 | 1.0029 | 0.94247 | -28.2017 | -112.6805 | 118.3133 | -28.1887 | -112.6954 | 118.3177
Line_2 | 1.7559 | 0.40242 | 0.3288 | 1.7546 | 0.40375 | 0.33014 | 20.2757 | 4.6467 | 3.7966 | 20.2608 | 4.6621 | 3.8121 | 7.1484 | -4.5602 | 2.7878 | 2.1136e-11 | 4.4079 | -2.9665 | 4.1904 | 0.96306 | 2.2415 | 1.3602e-11 | -1.9077 | -3.0255 | -58.5804 | 79.2445 | 79.5119 | 121.438 | -100.6917 | -100.4111 | 0.40867 | 1.003 | 0.94219 | 0 | 1.0302 | 1.1115 | -28.2017 | -112.6805 | 118.3133 | 0 | -124.0941 | 125.1531

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4309 | 0.1811 | 0.132 | 0.43066 | 0.18127 | 0.13218 | 4.9756 | 2.0912 | 1.5242 | 4.9728 | 2.0932 | 1.5262 | 3.7425 | -1.4919 | 1.4783 | -3.4264 | 1.5235 | -1.4668 | 2.2465 | 1.3186 | 0.24804 | -1.9599 | -1.3938 | -0.30305 | -39.5806 | 105.1198 | 107.3137 | 140.4134 | -74.8243 | -72.6126 | 0.87727 | 0.95214 | 0.98346 | 0.79378 | 0.98647 | 0.98133 | -8.6053 | -116.3515 | 116.8387 | -9.8175 | -117.2784 | 119.0611
Line_1 | 0.0003513 | 0.0003513 | 0.0003513 | 0 | 0 | 0 | 0.0040564 | 0.0040564 | 0.0040564 | 0 | 0 | 0 | 0.002677 | 0.001123 | -0.0037993 | 5.5784e-10 | 4.4916e-11 | 6.6376e-11 | 0.0017893 | -0.0038407 | 0.0011878 | -4.9606e-10 | 1.7134e-10 | -5.8768e-11 | -43.5772 | -43.5772 | -43.5772 | 0 | 0 | 0 | 0.79378 | 0.98647 | 0.98133 | 0.79368 | 0.98646 | 0.98142 | -9.8175 | -117.2784 | 119.0611 | -9.8145 | -117.2848 | 119.0643
Line_2 | 0.6738 | 0.15442 | 0.12617 | 0.6733 | 0.15493 | 0.12668 | 7.7803 | 1.7831 | 1.4569 | 7.7746 | 1.789 | 1.4628 | 5.1377 | -1.4985 | 1.301 | -4.083 | 1.4779 | -1.3313 | 3.4272 | 0.92115 | 0.59269 | -2.8068 | -1.0637 | -0.708 | -43.523 | 94.3018 | 94.5693 | 136.4953 | -85.6344 | -85.3538 | 0.79378 | 0.98647 | 0.98133 | 0.63729 | 1.0179 | 1.0308 | -9.8175 | -117.2784 | 119.0611 | -8.9993 | -121.3795 | 122.6503

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4309 | 0.1811 | 0.132 | 0.43066 | 0.18127 | 0.13218 | 4.9756 | 2.0912 | 1.5242 | 4.9728 | 2.0932 | 1.5262 | 3.7425 | -1.4919 | 1.4783 | -3.4264 | 1.5235 | -1.4668 | 2.2465 | 1.3186 | 0.24804 | -1.9599 | -1.3938 | -0.30305 | -39.5806 | 105.1198 | 107.3137 | 140.4134 | -74.8243 | -72.6126 | 0.87727 | 0.95214 | 0.98346 | 0.79378 | 0.98647 | 0.98133 | -8.6053 | -116.3515 | 116.8387 | -9.8175 | -117.2784 | 119.0611
Line_1 | 0.0003513 | 0.0003513 | 0.0003513 | 0 | 0 | 0 | 0.0040564 | 0.0040564 | 0.0040564 | 0 | 0 | 0 | 0.002677 | 0.001123 | -0.0037993 | 5.5784e-10 | 4.4916e-11 | 6.6376e-11 | 0.0017893 | -0.0038407 | 0.0011878 | -4.9606e-10 | 1.7134e-10 | -5.8768e-11 | -43.5772 | -43.5772 | -43.5772 | 0 | 0 | 0 | 0.79378 | 0.98647 | 0.98133 | 0.79368 | 0.98646 | 0.98142 | -9.8175 | -117.2784 | 119.0611 | -9.8145 | -117.2848 | 119.0643
Line_2 | 0.6738 | 0.15442 | 0.12617 | 0.6733 | 0.15493 | 0.12668 | 7.7803 | 1.7831 | 1.4569 | 7.7746 | 1.789 | 1.4628 | 5.1377 | -1.4985 | 1.301 | -4.083 | 1.4779 | -1.3313 | 3.4272 | 0.92115 | 0.59269 | -2.8068 | -1.0637 | -0.708 | -43.523 | 94.3018 | 94.5693 | 136.4953 | -85.6344 | -85.3538 | 0.79378 | 0.98647 | 0.98133 | 0.63729 | 1.0179 | 1.0308 | -9.8175 | -117.2784 | 119.0611 | -8.9993 | -121.3795 | 122.6503

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40148 | 2.1551 | 1.6914 | 0.40192 | 2.1546 | 1.6914 | 4.6359 | 24.8846 | 19.5308 | 4.6409 | 24.879 | 19.5309 | -2.2048 | 12.147 | 0.5559 | 2.3618 | -7.2659 | -0.35916 | 3.9257 | 3.0801 | 8.8822 | -4.312 | -1.0664 | -5.6467 | -114.7408 | -178.7991 | 34.8287 | 65.3665 | 1.2201 | -145.2008 | 0.97122 | 0.50358 | 0.45567 | 1.0594 | 0.29518 | 0.2897 | 4.5789 | -164.5706 | 121.2475 | 4.0772 | -170.4306 | 121.1598
Line_1 | 0.0011122 | 0.0011122 | 0.0011122 | 0 | 0 | 0 | 0.012843 | 0.012843 | 0.012843 | 0 | 0 | 0 | -0.0046314 | 0.00094336 | 0.0036914 | 1.4655e-10 | 4.3936e-10 | 8.6013e-10 | -0.012793 | 0.0036718 | 0.00046512 | 3.0325e-10 | -9.1699e-10 | 2.3444e-11 | 113.9785 | 113.9785 | 113.9785 | 0 | 0 | 0 | 1.0594 | 0.29518 | 0.2897 | 1.0595 | 0.29507 | 0.28951 | 4.0772 | -170.4306 | 121.1598 | 4.0694 | -170.4005 | 121.1503
Line_2 | 0.32086 | 2.8972 | 2.2949 | 0.32209 | 2.8969 | 2.2942 | 3.705 | 33.454 | 26.4998 | 3.7192 | 33.4504 | 26.4906 | -2.0414 | 9.6334 | 1.2271 | 2.0493 | -6.3667e-12 | -1.517e-11 | 3.3523 | 2.1705 | 7.5782 | -3.9709 | 3.8744e-11 | 2.7648e-11 | -117.2624 | 176.8724 | 40.3578 | 62.8961 | -3.0982 | -139.6745 | 1.0594 | 0.29518 | 0.2897 | 1.2015 | 0 | 0 | 4.0772 | -170.4306 | 121.1598 | 0.19324 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40148 | 2.1551 | 1.6914 | 0.40192 | 2.1546 | 1.6914 | 4.6359 | 24.8846 | 19.5308 | 4.6409 | 24.879 | 19.5309 | -2.2048 | 12.147 | 0.5559 | 2.3618 | -7.2659 | -0.35916 | 3.9257 | 3.0801 | 8.8822 | -4.312 | -1.0664 | -5.6467 | -114.7408 | -178.7991 | 34.8287 | 65.3665 | 1.2201 | -145.2008 | 0.97122 | 0.50358 | 0.45567 | 1.0594 | 0.29518 | 0.2897 | 4.5789 | -164.5706 | 121.2475 | 4.0772 | -170.4306 | 121.1598
Line_1 | 0.0011122 | 0.0011122 | 0.0011122 | 0 | 0 | 0 | 0.012843 | 0.012843 | 0.012843 | 0 | 0 | 0 | -0.0046314 | 0.00094336 | 0.0036914 | 1.4655e-10 | 4.3936e-10 | 8.6013e-10 | -0.012793 | 0.0036718 | 0.00046512 | 3.0325e-10 | -9.1699e-10 | 2.3444e-11 | 113.9785 | 113.9785 | 113.9785 | 0 | 0 | 0 | 1.0594 | 0.29518 | 0.2897 | 1.0595 | 0.29507 | 0.28951 | 4.0772 | -170.4306 | 121.1598 | 4.0694 | -170.4005 | 121.1503
Line_2 | 0.32086 | 2.8972 | 2.2949 | 0.32209 | 2.8969 | 2.2942 | 3.705 | 33.454 | 26.4998 | 3.7192 | 33.4504 | 26.4906 | -2.0414 | 9.6334 | 1.2271 | 2.0493 | -6.3667e-12 | -1.517e-11 | 3.3523 | 2.1705 | 7.5782 | -3.9709 | 3.8744e-11 | 2.7648e-11 | -117.2624 | 176.8724 | 40.3578 | 62.8961 | -3.0982 | -139.6745 | 1.0594 | 0.29518 | 0.2897 | 1.2015 | 0 | 0 | 4.0772 | -170.4306 | 121.1598 | 0.19324 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1509 | 0.7311 | 0.60912 | 0.15107 | 0.73094 | 0.60908 | 1.7424 | 8.442 | 7.0335 | 1.7444 | 8.4402 | 7.033 | -0.33129 | 6.8014 | 3.2715 | 0.34925 | -6.2271 | -3.2156 | 1.7899 | 3.7209 | 5.3086 | -1.844 | -3.5162 | -4.8666 | -99.6508 | -160.7453 | 56.3492 | 80.4514 | 19.2763 | -123.6804 | 1.0447 | 0.91835 | 0.88657 | 1.0759 | 0.84729 | 0.82937 | 0.83546 | -132.0629 | 114.7054 | 1.1762 | -131.2723 | 112.8649
Line_1 | 0.00040482 | 0.00040482 | 0.00040482 | 0 | 0 | 0 | 0.0046744 | 0.0046744 | 0.0046744 | 0 | 0 | 0 | -0.0029805 | -0.00076972 | 0.0037507 | 9.3955e-11 | 7.1928e-10 | 7.9718e-10 | -0.0040508 | 0.0038851 | -0.00098092 | 8.893e-11 | -6.6772e-10 | -4.1564e-10 | 127.5212 | 127.5211 | 127.5211 | 0 | 0 | 0 | 1.0759 | 0.84729 | 0.82937 | 1.076 | 0.84727 | 0.82932 | 1.1762 | -131.2723 | 112.8649 | 1.1743 | -131.2677 | 112.862
Line_2 | 0.11945 | 0.97905 | 0.8372 | 0.1199 | 0.97898 | 0.83685 | 1.3793 | 11.3051 | 9.6671 | 1.3845 | 11.3042 | 9.6631 | -0.35451 | 7.9343 | 4.9956 | 0.35181 | -6.8174 | -4.748 | 1.441 | 5.3662 | 6.2711 | -1.5284 | -5.1856 | -5.2431 | -102.6449 | -165.3441 | 61.4062 | 77.506 | 14.688 | -118.6231 | 1.0759 | 0.84729 | 0.82937 | 1.1328 | 0.75772 | 0.732 | 1.1762 | -131.2723 | 112.8649 | 0.46868 | -128.0535 | 109.2139

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1509 | 0.7311 | 0.60912 | 0.15107 | 0.73094 | 0.60908 | 1.7424 | 8.442 | 7.0335 | 1.7444 | 8.4402 | 7.033 | -0.33129 | 6.8014 | 3.2715 | 0.34925 | -6.2271 | -3.2156 | 1.7899 | 3.7209 | 5.3086 | -1.844 | -3.5162 | -4.8666 | -99.6508 | -160.7453 | 56.3492 | 80.4514 | 19.2763 | -123.6804 | 1.0447 | 0.91835 | 0.88657 | 1.0759 | 0.84729 | 0.82937 | 0.83546 | -132.0629 | 114.7054 | 1.1762 | -131.2723 | 112.8649
Line_1 | 0.00040482 | 0.00040482 | 0.00040482 | 0 | 0 | 0 | 0.0046744 | 0.0046744 | 0.0046744 | 0 | 0 | 0 | -0.0029805 | -0.00076972 | 0.0037507 | 9.3955e-11 | 7.1928e-10 | 7.9718e-10 | -0.0040508 | 0.0038851 | -0.00098092 | 8.893e-11 | -6.6772e-10 | -4.1564e-10 | 127.5212 | 127.5211 | 127.5211 | 0 | 0 | 0 | 1.0759 | 0.84729 | 0.82937 | 1.076 | 0.84727 | 0.82932 | 1.1762 | -131.2723 | 112.8649 | 1.1743 | -131.2677 | 112.862
Line_2 | 0.11945 | 0.97905 | 0.8372 | 0.1199 | 0.97898 | 0.83685 | 1.3793 | 11.3051 | 9.6671 | 1.3845 | 11.3042 | 9.6631 | -0.35451 | 7.9343 | 4.9956 | 0.35181 | -6.8174 | -4.748 | 1.441 | 5.3662 | 6.2711 | -1.5284 | -5.1856 | -5.2431 | -102.6449 | -165.3441 | 61.4062 | 77.506 | 14.688 | -118.6231 | 1.0759 | 0.84729 | 0.82937 | 1.1328 | 0.75772 | 0.732 | 1.1762 | -131.2723 | 112.8649 | 0.46868 | -128.0535 | 109.2139

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37332 | 1.606 | 1.3163 | 0.37358 | 1.6057 | 1.3164 | 4.3108 | 18.5448 | 15.199 | 4.3138 | 18.5407 | 15.2006 | -1.0724 | 11.621 | 1.0654 | 1.3451 | -7.102 | -0.68605 | 3.499 | 0.48615 | 6.4564 | -3.8586 | 0.69469 | -4.5498 | -103.4555 | -165.9056 | 37.2854 | 76.627 | 14.1116 | -142.7399 | 0.84897 | 0.62719 | 0.43054 | 0.94726 | 0.38488 | 0.3027 | 3.5841 | -163.5101 | 117.915 | 5.8452 | -171.4751 | 118.6853
Line_1 | 0.00085175 | 0.00085175 | 0.00085175 | 0 | 0 | 0 | 0.0098352 | 0.0098352 | 0.0098352 | 0 | 0 | 0 | -0.0047045 | 0.0017566 | 0.0029517 | 1.646e-10 | 3.3652e-10 | 7.7327e-10 | -0.0080414 | 0.0033531 | -0.00038802 | 3.5305e-10 | -1.1031e-09 | -2.577e-11 | 126.1742 | 126.1742 | 126.1742 | 0 | 0 | 0 | 0.94726 | 0.38488 | 0.3027 | 0.94744 | 0.38471 | 0.30245 | 5.8452 | -171.4751 | 118.6853 | 5.8331 | -171.4443 | 118.6687
Line_2 | 0.3391 | 2.3108 | 1.8603 | 0.34022 | 2.3107 | 1.8596 | 3.9155 | 26.6831 | 21.4809 | 3.9286 | 26.6818 | 21.4733 | -1.4991 | 10.2684 | 1.6064 | 1.5289 | -5.8948e-12 | -8.4361e-12 | 3.3926 | 0.16909 | 6.3008 | -4.184 | 8.14e-12 | 3.8767e-12 | -107.9949 | -172.4185 | 42.9878 | 72.1177 | 7.6139 | -137.047 | 0.94726 | 0.38488 | 0.3027 | 1.1339 | 0 | 0 | 5.8452 | -171.4751 | 118.6853 | 2.1915 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37332 | 1.606 | 1.3163 | 0.37358 | 1.6057 | 1.3164 | 4.3108 | 18.5448 | 15.199 | 4.3138 | 18.5407 | 15.2006 | -1.0724 | 11.621 | 1.0654 | 1.3451 | -7.102 | -0.68605 | 3.499 | 0.48615 | 6.4564 | -3.8586 | 0.69469 | -4.5498 | -103.4555 | -165.9056 | 37.2854 | 76.627 | 14.1116 | -142.7399 | 0.84897 | 0.62719 | 0.43054 | 0.94726 | 0.38488 | 0.3027 | 3.5841 | -163.5101 | 117.915 | 5.8452 | -171.4751 | 118.6853
Line_1 | 0.00085175 | 0.00085175 | 0.00085175 | 0 | 0 | 0 | 0.0098352 | 0.0098352 | 0.0098352 | 0 | 0 | 0 | -0.0047045 | 0.0017566 | 0.0029517 | 1.646e-10 | 3.3652e-10 | 7.7327e-10 | -0.0080414 | 0.0033531 | -0.00038802 | 3.5305e-10 | -1.1031e-09 | -2.577e-11 | 126.1742 | 126.1742 | 126.1742 | 0 | 0 | 0 | 0.94726 | 0.38488 | 0.3027 | 0.94744 | 0.38471 | 0.30245 | 5.8452 | -171.4751 | 118.6853 | 5.8331 | -171.4443 | 118.6687
Line_2 | 0.3391 | 2.3108 | 1.8603 | 0.34022 | 2.3107 | 1.8596 | 3.9155 | 26.6831 | 21.4809 | 3.9286 | 26.6818 | 21.4733 | -1.4991 | 10.2684 | 1.6064 | 1.5289 | -5.8948e-12 | -8.4361e-12 | 3.3926 | 0.16909 | 6.3008 | -4.184 | 8.14e-12 | 3.8767e-12 | -107.9949 | -172.4185 | 42.9878 | 72.1177 | 7.6139 | -137.047 | 0.94726 | 0.38488 | 0.3027 | 1.1339 | 0 | 0 | 5.8452 | -171.4751 | 118.6853 | 2.1915 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15142 | 0.57133 | 0.47365 | 0.15153 | 0.5712 | 0.47367 | 1.7484 | 6.5972 | 5.4692 | 1.7497 | 6.5957 | 5.4695 | -0.001923 | 5.4522 | 2.2686 | 0.042042 | -4.8539 | -2.2196 | 1.6343 | 1.8399 | 3.808 | -1.6933 | -1.7064 | -3.528 | -89.6892 | -151.6727 | 55.7985 | 90.39 | 28.3471 | -124.2301 | 0.93475 | 0.87224 | 0.81045 | 0.96807 | 0.78008 | 0.76206 | 0.3782 | -133.0248 | 115.0137 | 1.8123 | -132.2834 | 113.5942
Line_1 | 0.00033831 | 0.00033831 | 0.00033831 | 0 | 0 | 0 | 0.0039064 | 0.0039064 | 0.0039064 | 0 | 0 | 0 | -0.0027173 | 1.5851e-06 | 0.0027163 | 1.1125e-10 | 5.6368e-10 | 6.4755e-10 | -0.0026301 | 0.0030473 | -0.001218 | 1.1206e-10 | -6.0813e-10 | -3.1195e-10 | 137.7464 | 137.7464 | 137.7464 | 0 | 0 | 0 | 0.96807 | 0.78008 | 0.76206 | 0.96816 | 0.78006 | 0.76197 | 1.8123 | -132.2834 | 113.5942 | 1.8089 | -132.2758 | 113.5895
Line_2 | 0.13655 | 0.82111 | 0.68289 | 0.137 | 0.82109 | 0.68257 | 1.5767 | 9.4814 | 7.8853 | 1.5819 | 9.4811 | 7.8817 | -0.18247 | 6.6248 | 3.7116 | 0.18234 | -5.2732 | -3.432 | 1.5154 | 3.2888 | 4.7258 | -1.6446 | -3.3343 | -3.8012 | -95.0538 | -158.6849 | 61.74 | 85.0527 | 21.3513 | -118.2946 | 0.96807 | 0.78008 | 0.76206 | 1.046 | 0.65804 | 0.64977 | 1.8123 | -132.2834 | 113.5942 | 1.3794 | -126.3428 | 109.6275

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15142 | 0.57133 | 0.47365 | 0.15153 | 0.5712 | 0.47367 | 1.7484 | 6.5972 | 5.4692 | 1.7497 | 6.5957 | 5.4695 | -0.001923 | 5.4522 | 2.2686 | 0.042042 | -4.8539 | -2.2196 | 1.6343 | 1.8399 | 3.808 | -1.6933 | -1.7064 | -3.528 | -89.6892 | -151.6727 | 55.7985 | 90.39 | 28.3471 | -124.2301 | 0.93475 | 0.87224 | 0.81045 | 0.96807 | 0.78008 | 0.76206 | 0.3782 | -133.0248 | 115.0137 | 1.8123 | -132.2834 | 113.5942
Line_1 | 0.00033831 | 0.00033831 | 0.00033831 | 0 | 0 | 0 | 0.0039064 | 0.0039064 | 0.0039064 | 0 | 0 | 0 | -0.0027173 | 1.5851e-06 | 0.0027163 | 1.1125e-10 | 5.6368e-10 | 6.4755e-10 | -0.0026301 | 0.0030473 | -0.001218 | 1.1206e-10 | -6.0813e-10 | -3.1195e-10 | 137.7464 | 137.7464 | 137.7464 | 0 | 0 | 0 | 0.96807 | 0.78008 | 0.76206 | 0.96816 | 0.78006 | 0.76197 | 1.8123 | -132.2834 | 113.5942 | 1.8089 | -132.2758 | 113.5895
Line_2 | 0.13655 | 0.82111 | 0.68289 | 0.137 | 0.82109 | 0.68257 | 1.5767 | 9.4814 | 7.8853 | 1.5819 | 9.4811 | 7.8817 | -0.18247 | 6.6248 | 3.7116 | 0.18234 | -5.2732 | -3.432 | 1.5154 | 3.2888 | 4.7258 | -1.6446 | -3.3343 | -3.8012 | -95.0538 | -158.6849 | 61.74 | 85.0527 | 21.3513 | -118.2946 | 0.96807 | 0.78008 | 0.76206 | 1.046 | 0.65804 | 0.64977 | 1.8123 | -132.2834 | 113.5942 | 1.3794 | -126.3428 | 109.6275