## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1881 | 2.1881 | 0 | 0 | 75.7989 | 75.7989 | 15.578 | -8.1089 | 17.5738 | -9.0993 | -74.796 | 105.204 | 0.30982 | 0.1608 | -26.3508 | -26.5021
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1608 | 0.1608 | -26.5021 | -26.5021
Line_2 | 2.3609 | 2.3609 | 0 | 4.7798 | 81.7833 | 81.7833 | 8.6951 | -1e-07 | 9.8655 | -1e-07 | -75.1106 | 104.8894 | 0.1608 | 0 | -26.5021 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1881 | 2.1881 | 0 | 0 | 75.7989 | 75.7989 | 15.578 | -8.1089 | 17.5738 | -9.0993 | -74.796 | 105.204 | 0.30982 | 0.1608 | -26.3508 | -26.5021
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1608 | 0.1608 | -26.5021 | -26.5021
Line_2 | 2.3609 | 2.3609 | 0 | 4.7798 | 81.7833 | 81.7833 | 8.6951 | -1e-07 | 9.8655 | -1e-07 | -75.1106 | 104.8894 | 0.1608 | 0 | -26.5021 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93604 | 0.93604 | 0 | 0 | 32.4252 | 32.4252 | 19.4432 | -18.0764 | 17.6138 | -16.063 | -54.7333 | 125.2667 | 0.8091 | 0.74578 | -12.5595 | -13.1084
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74578 | 0.74578 | -13.1084 | -13.1084
Line_2 | 1.0962 | 1.0962 | 0 | 2.2193 | 37.972 | 37.972 | 19.8978 | -18.0234 | 20.1502 | -18.0234 | -58.4694 | 121.5306 | 0.74578 | 0.67126 | -13.1084 | -13.4694

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93604 | 0.93604 | 0 | 0 | 32.4252 | 32.4252 | 19.4432 | -18.0764 | 17.6138 | -16.063 | -54.7333 | 125.2667 | 0.8091 | 0.74578 | -12.5595 | -13.1084
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74578 | 0.74578 | -13.1084 | -13.1084
Line_2 | 1.0962 | 1.0962 | 0 | 2.2193 | 37.972 | 37.972 | 19.8978 | -18.0234 | 20.1502 | -18.0234 | -58.4694 | 121.5306 | 0.74578 | 0.67126 | -13.1084 | -13.4694

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595
Line_2 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595
Line_2 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242
Line_2 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242
Line_2 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.9034 | 1.8905 | 0.1732 | 1.9034 | 1.8905 | 2 | 21.9787 | 21.8292 | 2 | 21.9787 | 21.8292 | -0.4296 | 16.3252 | -8.751 | 0.4452 | -14.4412 | 10.6094 | -2.2916 | 0.37651 | 7.2646 | 2.3093 | 1.761 | -5.156 | 100.9121 | -162.1955 | 12.5857 | -79.0879 | 17.8045 | -167.4143 | 1.1657 | 0.74297 | 0.52102 | 1.1759 | 0.66192 | 0.54037 | 0.29409 | -160.8743 | 152.888 | -6.9492e-06 | -169.1482 | 166.6665
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2722e-10 | -1.3977e-10 | -4.25e-10 | -3.2723e-10 | 1.3978e-10 | 4.2499e-10 | 5.5305e-15 | 2.0194e-09 | -1.5853e-09 | -5.5305e-15 | -2.0194e-09 | 1.5853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.66192 | 0.54037 | 1.1759 | 0.66192 | 0.54037 | -6.9492e-06 | -169.1482 | 166.6665 | -6.9493e-06 | -169.1482 | 166.6665
Line_2 | 0 | 2.0446 | 2.0446 | 0 | 2.0446 | 2.0446 | 0 | 23.6088 | 23.6088 | 0 | 23.6088 | 23.6088 | 3.2722e-10 | 15.5884 | -11.2409 | -3.2724e-10 | -13.4147 | 13.4147 | -3.9687e-17 | -1.1003 | 6.0331 | -5.5305e-15 | 3.5667 | -3.5667 | 0 | -165.1106 | 14.8894 | 0 | 14.8894 | -165.1106 | 1.1759 | 0.66192 | 0.54037 | 1.1759 | 0.58795 | 0.58795 | -6.9492e-06 | -169.1482 | 166.6665 | -6.9493e-06 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.9034 | 1.8905 | 0.1732 | 1.9034 | 1.8905 | 2 | 21.9787 | 21.8292 | 2 | 21.9787 | 21.8292 | -0.4296 | 16.3252 | -8.751 | 0.4452 | -14.4412 | 10.6094 | -2.2916 | 0.37651 | 7.2646 | 2.3093 | 1.761 | -5.156 | 100.9121 | -162.1955 | 12.5857 | -79.0879 | 17.8045 | -167.4143 | 1.1657 | 0.74297 | 0.52102 | 1.1759 | 0.66192 | 0.54037 | 0.29409 | -160.8743 | 152.888 | -6.9492e-06 | -169.1482 | 166.6665
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2722e-10 | -1.3977e-10 | -4.25e-10 | -3.2723e-10 | 1.3978e-10 | 4.2499e-10 | 5.5305e-15 | 2.0194e-09 | -1.5853e-09 | -5.5305e-15 | -2.0194e-09 | 1.5853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.66192 | 0.54037 | 1.1759 | 0.66192 | 0.54037 | -6.9492e-06 | -169.1482 | 166.6665 | -6.9493e-06 | -169.1482 | 166.6665
Line_2 | 0 | 2.0446 | 2.0446 | 0 | 2.0446 | 2.0446 | 0 | 23.6088 | 23.6088 | 0 | 23.6088 | 23.6088 | 3.2722e-10 | 15.5884 | -11.2409 | -3.2724e-10 | -13.4147 | 13.4147 | -3.9687e-17 | -1.1003 | 6.0331 | -5.5305e-15 | 3.5667 | -3.5667 | 0 | -165.1106 | 14.8894 | 0 | 14.8894 | -165.1106 | 1.1759 | 0.66192 | 0.54037 | 1.1759 | 0.58795 | 0.58795 | -6.9492e-06 | -169.1482 | 166.6665 | -6.9493e-06 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.1932 | 1.1418 | 0.1732 | 1.1932 | 1.1418 | 2 | 13.7778 | 13.184 | 2 | 13.7778 | 13.184 | -0.4296 | 12.7832 | -2.0677 | 0.4452 | -12.0429 | 2.7456 | -2.2916 | 0.83484 | 8.7174 | 2.3093 | 0.0051523 | -7.9483 | 100.9121 | -147.7988 | 24.0755 | -79.0879 | 32.2012 | -155.9245 | 1.1657 | 0.92979 | 0.67956 | 1.1759 | 0.87408 | 0.63783 | 0.29409 | -144.0622 | 127.4188 | -5.4808e-06 | -147.8233 | 133.1319
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2722e-10 | -3.1648e-10 | -1.0136e-09 | -3.2723e-10 | 3.165e-10 | 1.0136e-09 | -3.1301e-17 | 1.6455e-09 | -5.8446e-10 | -5.5389e-15 | -1.6455e-09 | 5.8447e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.87408 | 0.63783 | 1.1759 | 0.87408 | 0.63783 | -5.4808e-06 | -147.8233 | 133.1319 | -5.4809e-06 | -147.8233 | 133.1319
Line_2 | 0 | 1.3085 | 1.3085 | 0 | 1.3085 | 1.3085 | 0 | 15.1094 | 15.1094 | 0 | 15.1094 | 15.1094 | 3.2723e-10 | 13.1367 | -2.795 | -3.2724e-10 | -12.2464 | 3.6853 | -8.3865e-15 | 1.3585 | 9.223 | 8.3865e-15 | -0.34827 | -8.2128 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.1759 | 0.87408 | 0.63783 | 1.1759 | 0.81084 | 0.59577 | -5.4808e-06 | -147.8233 | 133.1319 | -5.4809e-06 | -152.0983 | 140.44

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.1932 | 1.1418 | 0.1732 | 1.1932 | 1.1418 | 2 | 13.7778 | 13.184 | 2 | 13.7778 | 13.184 | -0.4296 | 12.7832 | -2.0677 | 0.4452 | -12.0429 | 2.7456 | -2.2916 | 0.83484 | 8.7174 | 2.3093 | 0.0051523 | -7.9483 | 100.9121 | -147.7988 | 24.0755 | -79.0879 | 32.2012 | -155.9245 | 1.1657 | 0.92979 | 0.67956 | 1.1759 | 0.87408 | 0.63783 | 0.29409 | -144.0622 | 127.4188 | -5.4808e-06 | -147.8233 | 133.1319
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2722e-10 | -3.1648e-10 | -1.0136e-09 | -3.2723e-10 | 3.165e-10 | 1.0136e-09 | -3.1301e-17 | 1.6455e-09 | -5.8446e-10 | -5.5389e-15 | -1.6455e-09 | 5.8447e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.87408 | 0.63783 | 1.1759 | 0.87408 | 0.63783 | -5.4808e-06 | -147.8233 | 133.1319 | -5.4809e-06 | -147.8233 | 133.1319
Line_2 | 0 | 1.3085 | 1.3085 | 0 | 1.3085 | 1.3085 | 0 | 15.1094 | 15.1094 | 0 | 15.1094 | 15.1094 | 3.2723e-10 | 13.1367 | -2.795 | -3.2724e-10 | -12.2464 | 3.6853 | -8.3865e-15 | 1.3585 | 9.223 | 8.3865e-15 | -0.34827 | -8.2128 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.1759 | 0.87408 | 0.63783 | 1.1759 | 0.81084 | 0.59577 | -5.4808e-06 | -147.8233 | 133.1319 | -5.4809e-06 | -152.0983 | 140.44

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.6579e-14 | -10.3204 | 5.7933 | -4.737e-15 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3152e-13 | -160.6232 | 142.7791 | 5.0128e-13 | -168.5183 | 163.5938
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6606e-10 | 9.4739e-15 | 1.296e-10 | 4.6606e-10 | -4.737e-15 | 1.6587e-09 | -1.076e-09 | 9.4739e-15 | -1.6587e-09 | 1.076e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0128e-13 | -168.5183 | 163.5938 | 5.0176e-13 | -168.5183 | 163.5938
Line_2 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 2.3685e-15 | 10.3204 | -5.7933 | -2.3685e-15 | -8.0568 | 8.0568 | -4.737e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0128e-13 | -168.5183 | 163.5938 | 4.951e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.6579e-14 | -10.3204 | 5.7933 | -4.737e-15 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3152e-13 | -160.6232 | 142.7791 | 5.0128e-13 | -168.5183 | 163.5938
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6606e-10 | 9.4739e-15 | 1.296e-10 | 4.6606e-10 | -4.737e-15 | 1.6587e-09 | -1.076e-09 | 9.4739e-15 | -1.6587e-09 | 1.076e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0128e-13 | -168.5183 | 163.5938 | 5.0176e-13 | -168.5183 | 163.5938
Line_2 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 2.3685e-15 | 10.3204 | -5.7933 | -2.3685e-15 | -8.0568 | 8.0568 | -4.737e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0128e-13 | -168.5183 | 163.5938 | 4.951e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 9.4739e-15 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3848e-13 | -145.2178 | 124.345 | 3.1914e-13 | -148.6211 | 134.0705
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.8165e-10 | -8.5377e-10 | 2.3685e-15 | 3.8165e-10 | 8.5377e-10 | -1.3193e-29 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1914e-13 | -148.6211 | 134.0705 | 3.1972e-13 | -148.6211 | 134.0705
Line_2 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 2.3685e-15 | 8.5078 | -1.5008 | -2.3685e-15 | -7.5079 | 2.5007 | -4.737e-15 | 0.20683 | 5.9821 | 4.737e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1914e-13 | -148.6211 | 134.0705 | 3.1491e-13 | -152.9418 | 144.8701

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 9.4739e-15 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3848e-13 | -145.2178 | 124.345 | 3.1914e-13 | -148.6211 | 134.0705
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.8165e-10 | -8.5377e-10 | 2.3685e-15 | 3.8165e-10 | 8.5377e-10 | -1.3193e-29 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1914e-13 | -148.6211 | 134.0705 | 3.1972e-13 | -148.6211 | 134.0705
Line_2 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 2.3685e-15 | 8.5078 | -1.5008 | -2.3685e-15 | -7.5079 | 2.5007 | -4.737e-15 | 0.20683 | 5.9821 | 4.737e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1914e-13 | -148.6211 | 134.0705 | 3.1491e-13 | -152.9418 | 144.8701

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7454 | 0.17472 | 0.17748 | 1.744 | 0.17403 | 0.17658 | 20.1541 | 2.0175 | 2.0494 | 20.1382 | 2.0096 | 2.039 | 10.4959 | -0.36209 | -0.49143 | -5.3374 | 0.72957 | 0.46405 | 5.4119 | -2.3254 | -2.341 | -2.7598 | 2.1831 | 2.7217 | -57.7509 | -20.9596 | -137.7677 | 122.2714 | 159.4902 | 41.8304 | 0.58594 | 1.1665 | 1.1672 | 0.29837 | 1.1454 | 1.3541 | -30.4745 | -119.8101 | 120.3771 | -30.3862 | -128.989 | 122.1546
Line_1 | 0.0019615 | 0.0019615 | 0.0019615 | 0 | 0 | 0 | 0.022649 | 0.022649 | 0.022649 | 0 | 0 | 0 | 0.0028866 | 0.021535 | -0.024411 | 7.1184e-10 | -2.4683e-10 | -1.2675e-09 | 0.0061103 | -0.014465 | -0.018566 | -6.0742e-10 | -7.2284e-10 | 2.0502e-10 | -95.0999 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.29837 | 1.1454 | 1.3541 | 0.29813 | 1.1452 | 1.3544 | -30.3862 | -128.989 | 122.1546 | -30.3419 | -129.0029 | 122.1508
Line_2 | 1.9048 | 0.0024338 | 0.0024338 | 1.903 | 0 | 0 | 21.9945 | 0.028103 | 0.028103 | 21.9737 | 0 | 0 | 5.7283 | 0.028687 | -0.027297 | 6.5925e-12 | -4.0984e-10 | -2.4323e-09 | 3.202 | -0.014602 | -0.026515 | 4.3958e-11 | -1.4312e-09 | 4.0508e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.29837 | 1.1454 | 1.3541 | 0 | 1.1435 | 1.5309 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7614

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7454 | 0.17472 | 0.17748 | 1.744 | 0.17403 | 0.17658 | 20.1541 | 2.0175 | 2.0494 | 20.1382 | 2.0096 | 2.039 | 10.4959 | -0.36209 | -0.49143 | -5.3374 | 0.72957 | 0.46405 | 5.4119 | -2.3254 | -2.341 | -2.7598 | 2.1831 | 2.7217 | -57.7509 | -20.9596 | -137.7677 | 122.2714 | 159.4902 | 41.8304 | 0.58594 | 1.1665 | 1.1672 | 0.29837 | 1.1454 | 1.3541 | -30.4745 | -119.8101 | 120.3771 | -30.3862 | -128.989 | 122.1546
Line_1 | 0.0019615 | 0.0019615 | 0.0019615 | 0 | 0 | 0 | 0.022649 | 0.022649 | 0.022649 | 0 | 0 | 0 | 0.0028866 | 0.021535 | -0.024411 | 7.1184e-10 | -2.4683e-10 | -1.2675e-09 | 0.0061103 | -0.014465 | -0.018566 | -6.0742e-10 | -7.2284e-10 | 2.0502e-10 | -95.0999 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.29837 | 1.1454 | 1.3541 | 0.29813 | 1.1452 | 1.3544 | -30.3862 | -128.989 | 122.1546 | -30.3419 | -129.0029 | 122.1508
Line_2 | 1.9048 | 0.0024338 | 0.0024338 | 1.903 | 0 | 0 | 21.9945 | 0.028103 | 0.028103 | 21.9737 | 0 | 0 | 5.7283 | 0.028687 | -0.027297 | 6.5925e-12 | -4.0984e-10 | -2.4323e-09 | 3.202 | -0.014602 | -0.026515 | 4.3958e-11 | -1.4312e-09 | 4.0508e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.29837 | 1.1454 | 1.3541 | 0 | 1.1435 | 1.5309 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7614

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81491 | 0.17431 | 0.17508 | 0.81424 | 0.17388 | 0.17472 | 9.4098 | 2.0127 | 2.0217 | 9.402 | 2.0078 | 2.0174 | 6.7778 | -0.39775 | -0.46335 | -5.5746 | 0.59799 | 0.4323 | 4.654 | -2.3134 | -2.3121 | -4.1082 | 2.2689 | 2.5095 | -46.9297 | -20.0002 | -138.3274 | 133.0974 | 160.2137 | 41.4484 | 0.87374 | 1.1662 | 1.1664 | 0.73653 | 1.1686 | 1.2622 | -12.4542 | -119.7559 | 120.3404 | -10.5141 | -124.5514 | 121.6743
Line_1 | 0.00099314 | 0.00099314 | 0.00099314 | 0 | 0 | 0 | 0.011468 | 0.011468 | 0.011468 | 0 | 0 | 0 | 0.00185 | 0.010747 | -0.012594 | 9.3196e-10 | -3.0855e-10 | -7.5385e-10 | 0.0082412 | -0.0080071 | -0.0071358 | -5.4145e-10 | -3.746e-10 | 1.4867e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.73653 | 1.1686 | 1.2622 | 0.73643 | 1.1685 | 1.2624 | -10.5141 | -124.5514 | 121.6743 | -10.5031 | -124.5585 | 121.6732
Line_2 | 0.96444 | 0.0012323 | 0.0012323 | 0.96353 | 0 | 0 | 11.1364 | 0.014229 | 0.014229 | 11.1259 | 0 | 0 | 6.1109 | 0.014433 | -0.014447 | -4.6419 | -3.5197e-10 | -1.2345e-09 | 5.4712 | -0.0082582 | -0.01067 | -4.6419 | -7.4173e-10 | 2.9397e-10 | -52.3531 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.73653 | 1.1686 | 1.2622 | 0.59004 | 1.1684 | 1.3481 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81491 | 0.17431 | 0.17508 | 0.81424 | 0.17388 | 0.17472 | 9.4098 | 2.0127 | 2.0217 | 9.402 | 2.0078 | 2.0174 | 6.7778 | -0.39775 | -0.46335 | -5.5746 | 0.59799 | 0.4323 | 4.654 | -2.3134 | -2.3121 | -4.1082 | 2.2689 | 2.5095 | -46.9297 | -20.0002 | -138.3274 | 133.0974 | 160.2137 | 41.4484 | 0.87374 | 1.1662 | 1.1664 | 0.73653 | 1.1686 | 1.2622 | -12.4542 | -119.7559 | 120.3404 | -10.5141 | -124.5514 | 121.6743
Line_1 | 0.00099314 | 0.00099314 | 0.00099314 | 0 | 0 | 0 | 0.011468 | 0.011468 | 0.011468 | 0 | 0 | 0 | 0.00185 | 0.010747 | -0.012594 | 9.3196e-10 | -3.0855e-10 | -7.5385e-10 | 0.0082412 | -0.0080071 | -0.0071358 | -5.4145e-10 | -3.746e-10 | 1.4867e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.73653 | 1.1686 | 1.2622 | 0.73643 | 1.1685 | 1.2624 | -10.5141 | -124.5514 | 121.6743 | -10.5031 | -124.5585 | 121.6732
Line_2 | 0.96444 | 0.0012323 | 0.0012323 | 0.96353 | 0 | 0 | 11.1364 | 0.014229 | 0.014229 | 11.1259 | 0 | 0 | 6.1109 | 0.014433 | -0.014447 | -4.6419 | -3.5197e-10 | -1.2345e-09 | 5.4712 | -0.0082582 | -0.01067 | -4.6419 | -7.4173e-10 | 2.9397e-10 | -52.3531 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.73653 | 1.1686 | 1.2622 | 0.59004 | 1.1684 | 1.3481 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0729e-11 | -9.3536e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0186e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865
Line_2 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9622e-11 | -4.9669e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0467e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0729e-11 | -9.3536e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0186e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865
Line_2 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9622e-11 | -4.9669e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0467e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0879e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4982e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845
Line_2 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1445e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0879e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4982e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845
Line_2 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1445e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17791 | 2.3099 | 1.6774 | 0.17669 | 2.3095 | 1.677 | 2.0544 | 26.672 | 19.3691 | 2.0402 | 26.668 | 19.3642 | -0.43554 | 12.2771 | 1.2006 | 0.659 | -6.2684 | -0.664 | -2.3587 | 2.0815 | 8.8478 | 2.5726 | -1.1281 | -4.504 | 100.7544 | 179.8726 | 36.5556 | -79.283 | -0.097964 | -143.4839 | 1.1675 | 0.46687 | 0.46098 | 1.3017 | 0.23883 | 0.23511 | 0.29249 | -170.5047 | 118.8283 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0015786 | 0.0015786 | 0.0015786 | 0 | 0 | 0 | 0.018228 | 0.018228 | 0.018228 | 0 | 0 | 0 | -0.0035393 | -0.00039282 | 0.003939 | -9.7398e-10 | 4.1212e-10 | 7.4447e-10 | -0.023462 | 0.0043357 | 0.0016885 | -3.3531e-10 | -7.3587e-10 | -3.0876e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 1.3017 | 0.23883 | 0.23511 | 1.3018 | 0.23875 | 0.23484 | -3.6511 | -169.8955 | 118.1298 | -3.6614 | -169.8329 | 118.1315
Line_2 | 0.0019588 | 2.4738 | 1.8489 | 0 | 2.4738 | 1.8477 | 0.022618 | 28.5645 | 21.3492 | 0 | 28.5648 | 21.335 | -0.00085603 | 6.6858 | 0.76409 | -1.7648e-09 | -1.4699e-11 | -1.7413e-11 | -0.029428 | 1.3568 | 4.9609 | -6.6461e-10 | 2.2396e-11 | 1.1154e-11 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 1.3017 | 0.23883 | 0.23511 | 1.4294 | 0 | 0 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17791 | 2.3099 | 1.6774 | 0.17669 | 2.3095 | 1.677 | 2.0544 | 26.672 | 19.3691 | 2.0402 | 26.668 | 19.3642 | -0.43554 | 12.2771 | 1.2006 | 0.659 | -6.2684 | -0.664 | -2.3587 | 2.0815 | 8.8478 | 2.5726 | -1.1281 | -4.504 | 100.7544 | 179.8726 | 36.5556 | -79.283 | -0.097964 | -143.4839 | 1.1675 | 0.46687 | 0.46098 | 1.3017 | 0.23883 | 0.23511 | 0.29249 | -170.5047 | 118.8283 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0015786 | 0.0015786 | 0.0015786 | 0 | 0 | 0 | 0.018228 | 0.018228 | 0.018228 | 0 | 0 | 0 | -0.0035393 | -0.00039282 | 0.003939 | -9.7398e-10 | 4.1212e-10 | 7.4447e-10 | -0.023462 | 0.0043357 | 0.0016885 | -3.3531e-10 | -7.3587e-10 | -3.0876e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 1.3017 | 0.23883 | 0.23511 | 1.3018 | 0.23875 | 0.23484 | -3.6511 | -169.8955 | 118.1298 | -3.6614 | -169.8329 | 118.1315
Line_2 | 0.0019588 | 2.4738 | 1.8489 | 0 | 2.4738 | 1.8477 | 0.022618 | 28.5645 | 21.3492 | 0 | 28.5648 | 21.335 | -0.00085603 | 6.6858 | 0.76409 | -1.7648e-09 | -1.4699e-11 | -1.7413e-11 | -0.029428 | 1.3568 | 4.9609 | -6.6461e-10 | 2.2396e-11 | 1.1154e-11 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 1.3017 | 0.23883 | 0.23511 | 1.4294 | 0 | 0 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17583 | 0.96313 | 0.8013 | 0.17515 | 0.96308 | 0.80083 | 2.0304 | 11.1213 | 9.2526 | 2.0225 | 11.1207 | 9.2472 | -0.43407 | 8.1209 | 4.9423 | 0.56014 | -7.017 | -4.5605 | -2.3288 | 4.7106 | 5.9241 | 2.4586 | -4.8167 | -4.7914 | 100.8532 | -165.8109 | 60.878 | -79.1752 | 14.2299 | -119.1581 | 1.1667 | 0.84417 | 0.83382 | 1.2468 | 0.76534 | 0.71533 | 0.29493 | -135.6946 | 111.041 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.00087886 | 0.00087886 | 0.00087886 | 0 | 0 | 0 | 0.010148 | 0.010148 | 0.010148 | 0 | 0 | 0 | -0.0019662 | -0.0051734 | 0.0071418 | -6.7452e-10 | 8.7929e-10 | 9.3805e-10 | -0.012499 | 0.005793 | 0.0013012 | -1.7688e-10 | -6.0452e-10 | -6.3643e-10 | 96.9303 | 96.9303 | 96.9302 | 0 | 0 | 0 | 1.2468 | 0.76534 | 0.71533 | 1.2469 | 0.76539 | 0.71518 | -2.0097 | -131.3034 | 107.2563 | -2.0157 | -131.2927 | 107.2539
Line_2 | 0.0010905 | 1.1119 | 0.9648 | 0 | 1.1121 | 0.96388 | 0.012592 | 12.8395 | 11.1405 | 0 | 12.8416 | 11.1299 | -0.00055543 | 7.6009 | 5.1274 | -1.0635e-09 | -6.184 | -4.6453 | -0.01569 | 6.2279 | 6.1006 | -3.5064e-10 | -6.184 | -4.6453 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 1.2468 | 0.76534 | 0.71533 | 1.3177 | 0.68103 | 0.59025 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17583 | 0.96313 | 0.8013 | 0.17515 | 0.96308 | 0.80083 | 2.0304 | 11.1213 | 9.2526 | 2.0225 | 11.1207 | 9.2472 | -0.43407 | 8.1209 | 4.9423 | 0.56014 | -7.017 | -4.5605 | -2.3288 | 4.7106 | 5.9241 | 2.4586 | -4.8167 | -4.7914 | 100.8532 | -165.8109 | 60.878 | -79.1752 | 14.2299 | -119.1581 | 1.1667 | 0.84417 | 0.83382 | 1.2468 | 0.76534 | 0.71533 | 0.29493 | -135.6946 | 111.041 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.00087886 | 0.00087886 | 0.00087886 | 0 | 0 | 0 | 0.010148 | 0.010148 | 0.010148 | 0 | 0 | 0 | -0.0019662 | -0.0051734 | 0.0071418 | -6.7452e-10 | 8.7929e-10 | 9.3805e-10 | -0.012499 | 0.005793 | 0.0013012 | -1.7688e-10 | -6.0452e-10 | -6.3643e-10 | 96.9303 | 96.9303 | 96.9302 | 0 | 0 | 0 | 1.2468 | 0.76534 | 0.71533 | 1.2469 | 0.76539 | 0.71518 | -2.0097 | -131.3034 | 107.2563 | -2.0157 | -131.2927 | 107.2539
Line_2 | 0.0010905 | 1.1119 | 0.9648 | 0 | 1.1121 | 0.96388 | 0.012592 | 12.8395 | 11.1405 | 0 | 12.8416 | 11.1299 | -0.00055543 | 7.6009 | 5.1274 | -1.0635e-09 | -6.184 | -4.6453 | -0.01569 | 6.2279 | 6.1006 | -3.5064e-10 | -6.184 | -4.6453 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 1.2468 | 0.76534 | 0.71533 | 1.3177 | 0.68103 | 0.59025 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.2589e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6458e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378
Line_2 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6128e-11 | -1.2605e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1364e-11 | -1.7186e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.2589e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6458e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378
Line_2 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6128e-11 | -1.2605e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1364e-11 | -1.7186e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7273e-10 | 8.0982e-10 | 8.467e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9423e-10 | -4.3264e-10 | -4.5297e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983
Line_2 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.179e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.826e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7273e-10 | 8.0982e-10 | 8.467e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9423e-10 | -4.3264e-10 | -4.5297e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983
Line_2 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.179e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.826e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931