## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1983 | 1.1983 | 0 | 0 | 41.5118 | 41.5118 | -0.2755 | 2.5157 | -8.0588 | 10.6005 | 106.7886 | -73.2114 | 0.19425 | 0.26245 | 14.8306 | 3.4383
Line_1 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383
Line_2 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1983 | 1.1983 | 0 | 0 | 41.5118 | 41.5118 | -0.2755 | 2.5157 | -8.0588 | 10.6005 | 106.7886 | -73.2114 | 0.19425 | 0.26245 | 14.8306 | 3.4383
Line_1 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383
Line_2 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.81406 | 0.81406 | 0 | 0 | 28.2 | 28.2 | -9.7454 | 10.7792 | -10.2951 | 11.4681 | 120.4166 | -59.5834 | 0.5027 | 0.55811 | -13.0121 | -12.8097
Line_1 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097
Line_2 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.81406 | 0.81406 | 0 | 0 | 28.2 | 28.2 | -9.7454 | 10.7792 | -10.2951 | 11.4681 | 120.4166 | -59.5834 | 0.5027 | 0.55811 | -13.0121 | -12.8097
Line_1 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097
Line_2 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1307 | 1.0487 | 0.92791 | 0.1307 | 1.0487 | 0.92791 | 1.5092 | 12.1096 | 10.7146 | 1.5092 | 12.1096 | 10.7146 | -1.6278 | -6.655 | 5.7163 | 1.6367 | 7.2269 | -5.2686 | -0.37433 | -0.99818 | -2.841 | 0.38441 | 1.6471 | 3.349 | 168.3616 | 9.3852 | -167.7184 | -11.6384 | -170.6148 | 12.2816 | 1.1068 | 0.55571 | 0.59576 | 1.114 | 0.6121 | 0.58265 | 1.3122 | -162.0847 | 165.8542 | 1.5791 | -157.776 | 159.8392
Line_1 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392
Line_2 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1307 | 1.0487 | 0.92791 | 0.1307 | 1.0487 | 0.92791 | 1.5092 | 12.1096 | 10.7146 | 1.5092 | 12.1096 | 10.7146 | -1.6278 | -6.655 | 5.7163 | 1.6367 | 7.2269 | -5.2686 | -0.37433 | -0.99818 | -2.841 | 0.38441 | 1.6471 | 3.349 | 168.3616 | 9.3852 | -167.7184 | -11.6384 | -170.6148 | 12.2816 | 1.1068 | 0.55571 | 0.59576 | 1.114 | 0.6121 | 0.58265 | 1.3122 | -162.0847 | 165.8542 | 1.5791 | -157.776 | 159.8392
Line_1 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392
Line_2 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10655 | 0.85493 | 0.75644 | 0.10655 | 0.85493 | 0.75644 | 1.2303 | 9.8718 | 8.7346 | 1.2303 | 9.8718 | 8.7346 | -1.352 | -6.8175 | 3.0105 | 1.3579 | 7.1976 | -2.713 | -0.10831 | -1.1513 | -3.9017 | 0.11501 | 1.5825 | 4.2393 | 176.5217 | 17.5453 | -159.5582 | -3.4783 | -162.4547 | 20.4418 | 1.1025 | 0.70038 | 0.5642 | 1.1077 | 0.74652 | 0.57622 | 1.1019 | -152.8693 | 148.0951 | 1.3627 | -150.0543 | 143.0592
Line_1 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592
Line_2 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10655 | 0.85493 | 0.75644 | 0.10655 | 0.85493 | 0.75644 | 1.2303 | 9.8718 | 8.7346 | 1.2303 | 9.8718 | 8.7346 | -1.352 | -6.8175 | 3.0105 | 1.3579 | 7.1976 | -2.713 | -0.10831 | -1.1513 | -3.9017 | 0.11501 | 1.5825 | 4.2393 | 176.5217 | 17.5453 | -159.5582 | -3.4783 | -162.4547 | 20.4418 | 1.1025 | 0.70038 | 0.5642 | 1.1077 | 0.74652 | 0.57622 | 1.1019 | -152.8693 | 148.0951 | 1.3627 | -150.0543 | 143.0592
Line_1 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592
Line_2 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1953 | 0.20347 | 0.23602 | 1.1966 | 0.20405 | 0.23566 | 13.8024 | 2.3495 | 2.7253 | 13.8177 | 2.3561 | 2.7212 | -0.29291 | 0.53865 | 0.64029 | 2.5873 | -0.20619 | -0.43212 | -1.958 | 2.5473 | -3.0362 | 3.7672 | -2.6271 | 2.7593 | 110.9696 | 160.6991 | -159.8611 | -69.0485 | -19.6541 | 19.8145 | 0.14344 | 1.1082 | 1.1386 | 0.33074 | 1.1184 | 1.0263 | 12.4613 | -121.2406 | 122.0474 | -13.5299 | -114.1417 | 118.7151
Line_1 | 0.59929 | 0.10272 | 0.11794 | 0.59832 | 0.10202 | 0.11783 | 6.92 | 1.1861 | 1.3619 | 6.9089 | 1.1781 | 1.3606 | 1.8725 | -0.014626 | -0.1707 | -1.2937 | 0.10309 | 0.21606 | 2.3394 | -1.3403 | 1.312 | -1.8836 | 1.3136 | -1.3796 | -69.0399 | -20.0297 | 19.3471 | 110.9515 | 160.3459 | -160.1855 | 0.43303 | 1.13 | 0.97148 | 0.33074 | 1.1184 | 1.0263 | -17.7147 | -110.655 | 116.76 | -13.5299 | -114.1417 | 118.7151
Line_2 | 0.59929 | 0.10272 | 0.11794 | 0.59832 | 0.10202 | 0.11783 | 6.92 | 1.1861 | 1.3619 | 6.9089 | 1.1781 | 1.3606 | 1.8725 | -0.014626 | -0.1707 | -1.2937 | 0.10309 | 0.21606 | 2.3394 | -1.3403 | 1.312 | -1.8836 | 1.3136 | -1.3796 | -69.0399 | -20.0297 | 19.3471 | 110.9515 | 160.3459 | -160.1855 | 0.43303 | 1.13 | 0.97148 | 0.33074 | 1.1184 | 1.0263 | -17.7147 | -110.655 | 116.76 | -13.5299 | -114.1417 | 118.7151

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1953 | 0.20347 | 0.23602 | 1.1966 | 0.20405 | 0.23566 | 13.8024 | 2.3495 | 2.7253 | 13.8177 | 2.3561 | 2.7212 | -0.29291 | 0.53865 | 0.64029 | 2.5873 | -0.20619 | -0.43212 | -1.958 | 2.5473 | -3.0362 | 3.7672 | -2.6271 | 2.7593 | 110.9696 | 160.6991 | -159.8611 | -69.0485 | -19.6541 | 19.8145 | 0.14344 | 1.1082 | 1.1386 | 0.33074 | 1.1184 | 1.0263 | 12.4613 | -121.2406 | 122.0474 | -13.5299 | -114.1417 | 118.7151
Line_1 | 0.59929 | 0.10272 | 0.11794 | 0.59832 | 0.10202 | 0.11783 | 6.92 | 1.1861 | 1.3619 | 6.9089 | 1.1781 | 1.3606 | 1.8725 | -0.014626 | -0.1707 | -1.2937 | 0.10309 | 0.21606 | 2.3394 | -1.3403 | 1.312 | -1.8836 | 1.3136 | -1.3796 | -69.0399 | -20.0297 | 19.3471 | 110.9515 | 160.3459 | -160.1855 | 0.43303 | 1.13 | 0.97148 | 0.33074 | 1.1184 | 1.0263 | -17.7147 | -110.655 | 116.76 | -13.5299 | -114.1417 | 118.7151
Line_2 | 0.59929 | 0.10272 | 0.11794 | 0.59832 | 0.10202 | 0.11783 | 6.92 | 1.1861 | 1.3619 | 6.9089 | 1.1781 | 1.3606 | 1.8725 | -0.014626 | -0.1707 | -1.2937 | 0.10309 | 0.21606 | 2.3394 | -1.3403 | 1.312 | -1.8836 | 1.3136 | -1.3796 | -69.0399 | -20.0297 | 19.3471 | 110.9515 | 160.3459 | -160.1855 | 0.43303 | 1.13 | 0.97148 | 0.33074 | 1.1184 | 1.0263 | -17.7147 | -110.655 | 116.76 | -13.5299 | -114.1417 | 118.7151

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81114 | 0.13808 | 0.16016 | 0.81205 | 0.13847 | 0.15992 | 9.3663 | 1.5944 | 1.8494 | 9.3767 | 1.5989 | 1.8466 | -3.4787 | 0.74879 | -0.074222 | 4.5384 | -0.59444 | 0.16574 | -2.857 | 1.602 | -2.068 | 3.6933 | -1.6431 | 1.9416 | 124.5695 | 174.299 | -146.2613 | -55.4486 | -6.0542 | 33.4144 | 0.48061 | 1.1091 | 1.119 | 0.62402 | 1.0928 | 1.0553 | -16.0355 | -120.7523 | 121.6833 | -16.3101 | -115.9435 | 118.5353
Line_1 | 0.40668 | 0.069707 | 0.080037 | 0.40602 | 0.069233 | 0.07996 | 4.6959 | 0.80491 | 0.92419 | 4.6883 | 0.79944 | 0.9233 | 2.5386 | -0.25675 | 0.10119 | -2.2692 | 0.29722 | -0.08287 | 2.0579 | -0.83698 | 0.94146 | -1.8467 | 0.82154 | -0.9708 | -55.44 | -6.4299 | 32.9469 | 124.5514 | 173.9458 | -146.5856 | 0.69591 | 1.0877 | 1.0246 | 0.62402 | 1.0928 | 1.0553 | -16.4105 | -113.484 | 116.8125 | -16.3101 | -115.9435 | 118.5353
Line_2 | 0.40668 | 0.069707 | 0.080037 | 0.40602 | 0.069233 | 0.07996 | 4.6959 | 0.80491 | 0.92419 | 4.6883 | 0.79944 | 0.9233 | 2.5386 | -0.25675 | 0.10119 | -2.2692 | 0.29722 | -0.08287 | 2.0579 | -0.83698 | 0.94146 | -1.8467 | 0.82154 | -0.9708 | -55.44 | -6.4299 | 32.9469 | 124.5514 | 173.9458 | -146.5856 | 0.69591 | 1.0877 | 1.0246 | 0.62402 | 1.0928 | 1.0553 | -16.4105 | -113.484 | 116.8125 | -16.3101 | -115.9435 | 118.5353

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81114 | 0.13808 | 0.16016 | 0.81205 | 0.13847 | 0.15992 | 9.3663 | 1.5944 | 1.8494 | 9.3767 | 1.5989 | 1.8466 | -3.4787 | 0.74879 | -0.074222 | 4.5384 | -0.59444 | 0.16574 | -2.857 | 1.602 | -2.068 | 3.6933 | -1.6431 | 1.9416 | 124.5695 | 174.299 | -146.2613 | -55.4486 | -6.0542 | 33.4144 | 0.48061 | 1.1091 | 1.119 | 0.62402 | 1.0928 | 1.0553 | -16.0355 | -120.7523 | 121.6833 | -16.3101 | -115.9435 | 118.5353
Line_1 | 0.40668 | 0.069707 | 0.080037 | 0.40602 | 0.069233 | 0.07996 | 4.6959 | 0.80491 | 0.92419 | 4.6883 | 0.79944 | 0.9233 | 2.5386 | -0.25675 | 0.10119 | -2.2692 | 0.29722 | -0.08287 | 2.0579 | -0.83698 | 0.94146 | -1.8467 | 0.82154 | -0.9708 | -55.44 | -6.4299 | 32.9469 | 124.5514 | 173.9458 | -146.5856 | 0.69591 | 1.0877 | 1.0246 | 0.62402 | 1.0928 | 1.0553 | -16.4105 | -113.484 | 116.8125 | -16.3101 | -115.9435 | 118.5353
Line_2 | 0.40668 | 0.069707 | 0.080037 | 0.40602 | 0.069233 | 0.07996 | 4.6959 | 0.80491 | 0.92419 | 4.6883 | 0.79944 | 0.9233 | 2.5386 | -0.25675 | 0.10119 | -2.2692 | 0.29722 | -0.08287 | 2.0579 | -0.83698 | 0.94146 | -1.8467 | 0.82154 | -0.9708 | -55.44 | -6.4299 | 32.9469 | 124.5514 | 173.9458 | -146.5856 | 0.69591 | 1.0877 | 1.0246 | 0.62402 | 1.0928 | 1.0553 | -16.4105 | -113.484 | 116.8125 | -16.3101 | -115.9435 | 118.5353

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97215 | 0.1963 | 0.3025 | 0.97324 | 0.19568 | 0.30157 | 11.2255 | 2.2667 | 3.493 | 11.238 | 2.2596 | 3.4823 | -0.27477 | 2.143 | -1.4512 | 2.6602 | -1.914 | 1.6166 | -1.463 | 0.85291 | -3.3299 | 3.153 | -1.1597 | 2.8164 | 117.1893 | -143.6551 | -123.4158 | -62.8373 | 36.0519 | 56.4464 | 0.13261 | 1.0176 | 1.0399 | 0.36709 | 0.99045 | 0.93254 | 16.552 | -121.9522 | 123.0354 | -12.9922 | -112.7359 | 116.5911
Line_1 | 0.48723 | 0.09783 | 0.15056 | 0.48662 | 0.097841 | 0.15079 | 5.6261 | 1.1296 | 1.7385 | 5.619 | 1.1298 | 1.7411 | 1.9314 | -0.89832 | 0.84628 | -1.3301 | 0.95702 | -0.80829 | 2.0009 | -0.66056 | 1.2823 | -1.5765 | 0.57987 | -1.4082 | -62.8275 | 35.689 | 56.2271 | 117.1627 | -143.9481 | -123.5536 | 0.49431 | 0.98707 | 0.88371 | 0.36709 | 0.99045 | 0.93254 | -16.8148 | -107.9831 | 112.8026 | -12.9922 | -112.7359 | 116.5911
Line_2 | 0.48723 | 0.09783 | 0.15056 | 0.48662 | 0.097841 | 0.15079 | 5.6261 | 1.1296 | 1.7385 | 5.619 | 1.1298 | 1.7411 | 1.9314 | -0.89832 | 0.84628 | -1.3301 | 0.95702 | -0.80829 | 2.0009 | -0.66056 | 1.2823 | -1.5765 | 0.57987 | -1.4082 | -62.8275 | 35.689 | 56.2271 | 117.1627 | -143.9481 | -123.5536 | 0.49431 | 0.98707 | 0.88371 | 0.36709 | 0.99045 | 0.93254 | -16.8148 | -107.9831 | 112.8026 | -12.9922 | -112.7359 | 116.5911

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97215 | 0.1963 | 0.3025 | 0.97324 | 0.19568 | 0.30157 | 11.2255 | 2.2667 | 3.493 | 11.238 | 2.2596 | 3.4823 | -0.27477 | 2.143 | -1.4512 | 2.6602 | -1.914 | 1.6166 | -1.463 | 0.85291 | -3.3299 | 3.153 | -1.1597 | 2.8164 | 117.1893 | -143.6551 | -123.4158 | -62.8373 | 36.0519 | 56.4464 | 0.13261 | 1.0176 | 1.0399 | 0.36709 | 0.99045 | 0.93254 | 16.552 | -121.9522 | 123.0354 | -12.9922 | -112.7359 | 116.5911
Line_1 | 0.48723 | 0.09783 | 0.15056 | 0.48662 | 0.097841 | 0.15079 | 5.6261 | 1.1296 | 1.7385 | 5.619 | 1.1298 | 1.7411 | 1.9314 | -0.89832 | 0.84628 | -1.3301 | 0.95702 | -0.80829 | 2.0009 | -0.66056 | 1.2823 | -1.5765 | 0.57987 | -1.4082 | -62.8275 | 35.689 | 56.2271 | 117.1627 | -143.9481 | -123.5536 | 0.49431 | 0.98707 | 0.88371 | 0.36709 | 0.99045 | 0.93254 | -16.8148 | -107.9831 | 112.8026 | -12.9922 | -112.7359 | 116.5911
Line_2 | 0.48723 | 0.09783 | 0.15056 | 0.48662 | 0.097841 | 0.15079 | 5.6261 | 1.1296 | 1.7385 | 5.619 | 1.1298 | 1.7411 | 1.9314 | -0.89832 | 0.84628 | -1.3301 | 0.95702 | -0.80829 | 2.0009 | -0.66056 | 1.2823 | -1.5765 | 0.57987 | -1.4082 | -62.8275 | 35.689 | 56.2271 | 117.1627 | -143.9481 | -123.5536 | 0.49431 | 0.98707 | 0.88371 | 0.36709 | 0.99045 | 0.93254 | -16.8148 | -107.9831 | 112.8026 | -12.9922 | -112.7359 | 116.5911

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68726 | 0.13877 | 0.21385 | 0.68803 | 0.13834 | 0.2132 | 7.9358 | 1.6024 | 2.4693 | 7.9447 | 1.5974 | 2.4618 | -2.6289 | 1.6048 | -1.4968 | 3.8234 | -1.4895 | 1.5763 | -1.8583 | 0.28508 | -2.0231 | 2.7054 | -0.44159 | 1.7672 | 129.5681 | -131.2763 | -111.037 | -50.4585 | 48.4307 | 68.8252 | 0.40568 | 1.0172 | 1.0192 | 0.58954 | 0.97256 | 0.96192 | -15.176 | -121.2035 | 122.4661 | -15.1757 | -115.0555 | 117.0943
Line_1 | 0.34445 | 0.069161 | 0.10644 | 0.34401 | 0.069169 | 0.1066 | 3.9774 | 0.7986 | 1.229 | 3.9723 | 0.79869 | 1.2309 | 2.2139 | -0.7158 | 0.80585 | -1.9117 | 0.74473 | -0.78813 | 1.5653 | -0.26282 | 0.82187 | -1.3527 | 0.22079 | -0.88362 | -50.4487 | 48.0678 | 68.6059 | 129.5415 | -131.5693 | -111.1748 | 0.6817 | 0.95482 | 0.93652 | 0.58954 | 0.97256 | 0.96192 | -15.1866 | -111.7707 | 114.1698 | -15.1757 | -115.0555 | 117.0943
Line_2 | 0.34445 | 0.069161 | 0.10644 | 0.34401 | 0.069169 | 0.1066 | 3.9774 | 0.7986 | 1.229 | 3.9723 | 0.79869 | 1.2309 | 2.2139 | -0.7158 | 0.80585 | -1.9117 | 0.74473 | -0.78813 | 1.5653 | -0.26282 | 0.82187 | -1.3527 | 0.22079 | -0.88362 | -50.4487 | 48.0678 | 68.6059 | 129.5415 | -131.5693 | -111.1748 | 0.6817 | 0.95482 | 0.93652 | 0.58954 | 0.97256 | 0.96192 | -15.1866 | -111.7707 | 114.1698 | -15.1757 | -115.0555 | 117.0943

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68726 | 0.13877 | 0.21385 | 0.68803 | 0.13834 | 0.2132 | 7.9358 | 1.6024 | 2.4693 | 7.9447 | 1.5974 | 2.4618 | -2.6289 | 1.6048 | -1.4968 | 3.8234 | -1.4895 | 1.5763 | -1.8583 | 0.28508 | -2.0231 | 2.7054 | -0.44159 | 1.7672 | 129.5681 | -131.2763 | -111.037 | -50.4585 | 48.4307 | 68.8252 | 0.40568 | 1.0172 | 1.0192 | 0.58954 | 0.97256 | 0.96192 | -15.176 | -121.2035 | 122.4661 | -15.1757 | -115.0555 | 117.0943
Line_1 | 0.34445 | 0.069161 | 0.10644 | 0.34401 | 0.069169 | 0.1066 | 3.9774 | 0.7986 | 1.229 | 3.9723 | 0.79869 | 1.2309 | 2.2139 | -0.7158 | 0.80585 | -1.9117 | 0.74473 | -0.78813 | 1.5653 | -0.26282 | 0.82187 | -1.3527 | 0.22079 | -0.88362 | -50.4487 | 48.0678 | 68.6059 | 129.5415 | -131.5693 | -111.1748 | 0.6817 | 0.95482 | 0.93652 | 0.58954 | 0.97256 | 0.96192 | -15.1866 | -111.7707 | 114.1698 | -15.1757 | -115.0555 | 117.0943
Line_2 | 0.34445 | 0.069161 | 0.10644 | 0.34401 | 0.069169 | 0.1066 | 3.9774 | 0.7986 | 1.229 | 3.9723 | 0.79869 | 1.2309 | 2.2139 | -0.7158 | 0.80585 | -1.9117 | 0.74473 | -0.78813 | 1.5653 | -0.26282 | 0.82187 | -1.3527 | 0.22079 | -0.88362 | -50.4487 | 48.0678 | 68.6059 | 129.5415 | -131.5693 | -111.1748 | 0.6817 | 0.95482 | 0.93652 | 0.58954 | 0.97256 | 0.96192 | -15.1866 | -111.7707 | 114.1698 | -15.1757 | -115.0555 | 117.0943

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.087157 | 1.4094 | 0.98514 | 0.086731 | 1.4098 | 0.98616 | 1.0064 | 16.2738 | 11.3754 | 1.0015 | 16.2793 | 11.3872 | 1.0603 | 0.42106 | -0.65334 | -0.99105 | 2.6058 | 1.1595 | -0.45461 | -3.0275 | -1.6465 | 0.32596 | 3.3771 | 3.7319 | 24.0567 | -14.112 | -126.7076 | -156.8138 | 165.8349 | 53.3469 | 1.1463 | 0.18782 | 0.15572 | 1.0417 | 0.26202 | 0.34319 | 0.84853 | -96.1941 | 121.6495 | 4.9799 | -141.8186 | 126.0864
Line_1 | 0.04344 | 0.70555 | 0.49352 | 0.043366 | 0.70491 | 0.49308 | 0.5016 | 8.147 | 5.6986 | 0.50074 | 8.1396 | 5.6936 | -0.48151 | 2.0622 | 0.71098 | 0.49553 | -1.3029 | -0.57977 | 0.12476 | 1.7782 | 2.3895 | -0.16298 | -1.6886 | -1.866 | -158.0944 | 165.7754 | 53.448 | 23.1862 | -14.1651 | -126.6531 | 0.99165 | 0.33423 | 0.43747 | 1.0417 | 0.26202 | 0.34319 | 7.3798 | -153.4537 | 126.8777 | 4.9799 | -141.8186 | 126.0864
Line_2 | 0.04344 | 0.70555 | 0.49352 | 0.043366 | 0.70491 | 0.49308 | 0.5016 | 8.147 | 5.6986 | 0.50074 | 8.1396 | 5.6936 | -0.48151 | 2.0622 | 0.71098 | 0.49553 | -1.3029 | -0.57977 | 0.12476 | 1.7782 | 2.3895 | -0.16298 | -1.6886 | -1.866 | -158.0944 | 165.7754 | 53.448 | 23.1862 | -14.1651 | -126.6531 | 0.99165 | 0.33423 | 0.43747 | 1.0417 | 0.26202 | 0.34319 | 7.3798 | -153.4537 | 126.8777 | 4.9799 | -141.8186 | 126.0864

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.087157 | 1.4094 | 0.98514 | 0.086731 | 1.4098 | 0.98616 | 1.0064 | 16.2738 | 11.3754 | 1.0015 | 16.2793 | 11.3872 | 1.0603 | 0.42106 | -0.65334 | -0.99105 | 2.6058 | 1.1595 | -0.45461 | -3.0275 | -1.6465 | 0.32596 | 3.3771 | 3.7319 | 24.0567 | -14.112 | -126.7076 | -156.8138 | 165.8349 | 53.3469 | 1.1463 | 0.18782 | 0.15572 | 1.0417 | 0.26202 | 0.34319 | 0.84853 | -96.1941 | 121.6495 | 4.9799 | -141.8186 | 126.0864
Line_1 | 0.04344 | 0.70555 | 0.49352 | 0.043366 | 0.70491 | 0.49308 | 0.5016 | 8.147 | 5.6986 | 0.50074 | 8.1396 | 5.6936 | -0.48151 | 2.0622 | 0.71098 | 0.49553 | -1.3029 | -0.57977 | 0.12476 | 1.7782 | 2.3895 | -0.16298 | -1.6886 | -1.866 | -158.0944 | 165.7754 | 53.448 | 23.1862 | -14.1651 | -126.6531 | 0.99165 | 0.33423 | 0.43747 | 1.0417 | 0.26202 | 0.34319 | 7.3798 | -153.4537 | 126.8777 | 4.9799 | -141.8186 | 126.0864
Line_2 | 0.04344 | 0.70555 | 0.49352 | 0.043366 | 0.70491 | 0.49308 | 0.5016 | 8.147 | 5.6986 | 0.50074 | 8.1396 | 5.6936 | -0.48151 | 2.0622 | 0.71098 | 0.49553 | -1.3029 | -0.57977 | 0.12476 | 1.7782 | 2.3895 | -0.16298 | -1.6886 | -1.866 | -158.0944 | 165.7754 | 53.448 | 23.1862 | -14.1651 | -126.6531 | 0.99165 | 0.33423 | 0.43747 | 1.0417 | 0.26202 | 0.34319 | 7.3798 | -153.4537 | 126.8777 | 4.9799 | -141.8186 | 126.0864

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.058347 | 0.95534 | 0.67053 | 0.05806 | 0.95565 | 0.67123 | 0.67374 | 11.0313 | 7.7427 | 0.67042 | 11.0349 | 7.7507 | 0.6108 | -3.5511 | -3.1074 | -0.58254 | 4.9369 | 3.3462 | -0.45194 | -4.0351 | -2.2669 | 0.39038 | 4.1968 | 3.2274 | 37.4389 | -0.42674 | -113.2874 | -143.4408 | 179.5202 | 66.7667 | 1.1278 | 0.48727 | 0.49678 | 1.046 | 0.5872 | 0.59982 | 0.94035 | -131.776 | 102.8232 | 2.7318 | -140.1118 | 110.7317
Line_1 | 0.029081 | 0.47826 | 0.33591 | 0.02903 | 0.47783 | 0.33561 | 0.3358 | 5.5224 | 3.8787 | 0.33521 | 5.5175 | 3.8753 | -0.28779 | 2.8167 | 1.7364 | 0.29127 | -2.4684 | -1.6731 | 0.17651 | 2.1419 | 1.8533 | -0.19519 | -2.0984 | -1.6137 | -144.7344 | 179.4606 | 66.8672 | 36.5592 | -0.47976 | -113.2333 | 1.0054 | 0.64076 | 0.65476 | 1.046 | 0.5872 | 0.59982 | 3.7434 | -143.2884 | 113.7328 | 2.7318 | -140.1118 | 110.7317
Line_2 | 0.029081 | 0.47826 | 0.33591 | 0.02903 | 0.47783 | 0.33561 | 0.3358 | 5.5224 | 3.8787 | 0.33521 | 5.5175 | 3.8753 | -0.28779 | 2.8167 | 1.7364 | 0.29127 | -2.4684 | -1.6731 | 0.17651 | 2.1419 | 1.8533 | -0.19519 | -2.0984 | -1.6137 | -144.7344 | 179.4606 | 66.8672 | 36.5592 | -0.47976 | -113.2333 | 1.0054 | 0.64076 | 0.65476 | 1.046 | 0.5872 | 0.59982 | 3.7434 | -143.2884 | 113.7328 | 2.7318 | -140.1118 | 110.7317

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.058347 | 0.95534 | 0.67053 | 0.05806 | 0.95565 | 0.67123 | 0.67374 | 11.0313 | 7.7427 | 0.67042 | 11.0349 | 7.7507 | 0.6108 | -3.5511 | -3.1074 | -0.58254 | 4.9369 | 3.3462 | -0.45194 | -4.0351 | -2.2669 | 0.39038 | 4.1968 | 3.2274 | 37.4389 | -0.42674 | -113.2874 | -143.4408 | 179.5202 | 66.7667 | 1.1278 | 0.48727 | 0.49678 | 1.046 | 0.5872 | 0.59982 | 0.94035 | -131.776 | 102.8232 | 2.7318 | -140.1118 | 110.7317
Line_1 | 0.029081 | 0.47826 | 0.33591 | 0.02903 | 0.47783 | 0.33561 | 0.3358 | 5.5224 | 3.8787 | 0.33521 | 5.5175 | 3.8753 | -0.28779 | 2.8167 | 1.7364 | 0.29127 | -2.4684 | -1.6731 | 0.17651 | 2.1419 | 1.8533 | -0.19519 | -2.0984 | -1.6137 | -144.7344 | 179.4606 | 66.8672 | 36.5592 | -0.47976 | -113.2333 | 1.0054 | 0.64076 | 0.65476 | 1.046 | 0.5872 | 0.59982 | 3.7434 | -143.2884 | 113.7328 | 2.7318 | -140.1118 | 110.7317
Line_2 | 0.029081 | 0.47826 | 0.33591 | 0.02903 | 0.47783 | 0.33561 | 0.3358 | 5.5224 | 3.8787 | 0.33521 | 5.5175 | 3.8753 | -0.28779 | 2.8167 | 1.7364 | 0.29127 | -2.4684 | -1.6731 | 0.17651 | 2.1419 | 1.8533 | -0.19519 | -2.0984 | -1.6137 | -144.7344 | 179.4606 | 66.8672 | 36.5592 | -0.47976 | -113.2333 | 1.0054 | 0.64076 | 0.65476 | 1.046 | 0.5872 | 0.59982 | 3.7434 | -143.2884 | 113.7328 | 2.7318 | -140.1118 | 110.7317

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19822 | 1.2828 | 0.82359 | 0.1971 | 1.2829 | 0.82438 | 2.2888 | 14.8122 | 9.51 | 2.2759 | 14.8141 | 9.5192 | 0.54971 | 0.14461 | -0.38443 | -0.58831 | 3.7411 | 0.5927 | -2.3529 | -2.6809 | -1.3678 | 2 | 2.7883 | 3.2414 | 77.9975 | -2.9266 | -131.8694 | -102.1042 | 177.0216 | 48.1904 | 1.0557 | 0.18125 | 0.1494 | 0.916 | 0.31496 | 0.34616 | 1.1479 | -89.839 | 122.4322 | 4.2875 | -146.2802 | 127.8282
Line_1 | 0.098133 | 0.64185 | 0.41233 | 0.098549 | 0.64147 | 0.41219 | 1.1331 | 7.4115 | 4.7611 | 1.1379 | 7.4071 | 4.7596 | -0.3068 | 2.8448 | 0.35161 | 0.29416 | -1.8705 | -0.29635 | 0.90977 | 1.4218 | 2.0907 | -0.99999 | -1.3942 | -1.6207 | -102.3709 | 176.9784 | 48.2742 | 77.8958 | -2.9784 | -131.8096 | 0.84729 | 0.4291 | 0.44529 | 0.916 | 0.31496 | 0.34616 | 6.2646 | -156.4665 | 128.7278 | 4.2875 | -146.2802 | 127.8282
Line_2 | 0.098133 | 0.64185 | 0.41233 | 0.098549 | 0.64147 | 0.41219 | 1.1331 | 7.4115 | 4.7611 | 1.1379 | 7.4071 | 4.7596 | -0.3068 | 2.8448 | 0.35161 | 0.29416 | -1.8705 | -0.29635 | 0.90977 | 1.4218 | 2.0907 | -0.99999 | -1.3942 | -1.6207 | -102.3709 | 176.9784 | 48.2742 | 77.8958 | -2.9784 | -131.8096 | 0.84729 | 0.4291 | 0.44529 | 0.916 | 0.31496 | 0.34616 | 6.2646 | -156.4665 | 128.7278 | 4.2875 | -146.2802 | 127.8282

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19822 | 1.2828 | 0.82359 | 0.1971 | 1.2829 | 0.82438 | 2.2888 | 14.8122 | 9.51 | 2.2759 | 14.8141 | 9.5192 | 0.54971 | 0.14461 | -0.38443 | -0.58831 | 3.7411 | 0.5927 | -2.3529 | -2.6809 | -1.3678 | 2 | 2.7883 | 3.2414 | 77.9975 | -2.9266 | -131.8694 | -102.1042 | 177.0216 | 48.1904 | 1.0557 | 0.18125 | 0.1494 | 0.916 | 0.31496 | 0.34616 | 1.1479 | -89.839 | 122.4322 | 4.2875 | -146.2802 | 127.8282
Line_1 | 0.098133 | 0.64185 | 0.41233 | 0.098549 | 0.64147 | 0.41219 | 1.1331 | 7.4115 | 4.7611 | 1.1379 | 7.4071 | 4.7596 | -0.3068 | 2.8448 | 0.35161 | 0.29416 | -1.8705 | -0.29635 | 0.90977 | 1.4218 | 2.0907 | -0.99999 | -1.3942 | -1.6207 | -102.3709 | 176.9784 | 48.2742 | 77.8958 | -2.9784 | -131.8096 | 0.84729 | 0.4291 | 0.44529 | 0.916 | 0.31496 | 0.34616 | 6.2646 | -156.4665 | 128.7278 | 4.2875 | -146.2802 | 127.8282
Line_2 | 0.098133 | 0.64185 | 0.41233 | 0.098549 | 0.64147 | 0.41219 | 1.1331 | 7.4115 | 4.7611 | 1.1379 | 7.4071 | 4.7596 | -0.3068 | 2.8448 | 0.35161 | 0.29416 | -1.8705 | -0.29635 | 0.90977 | 1.4218 | 2.0907 | -0.99999 | -1.3942 | -1.6207 | -102.3709 | 176.9784 | 48.2742 | 77.8958 | -2.9784 | -131.8096 | 0.84729 | 0.4291 | 0.44529 | 0.916 | 0.31496 | 0.34616 | 6.2646 | -156.4665 | 128.7278 | 4.2875 | -146.2802 | 127.8282

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13944 | 0.90502 | 0.58419 | 0.13865 | 0.90514 | 0.58476 | 1.6101 | 10.4503 | 6.7457 | 1.601 | 10.4516 | 6.7522 | 0.033369 | -3.2236 | -2.1342 | -0.054824 | 5.1558 | 2.2474 | -1.6666 | -2.8424 | -1.9525 | 1.4888 | 2.8929 | 2.8926 | 90.1168 | 9.4994 | -119.4057 | -89.9855 | -170.5525 | 60.6536 | 1.0353 | 0.41126 | 0.42881 | 0.93055 | 0.56565 | 0.5425 | 1.2638 | -129.0959 | 103.0485 | 2.1235 | -141.2553 | 112.8078
Line_1 | 0.069032 | 0.45284 | 0.29248 | 0.069325 | 0.45257 | 0.29238 | 0.79711 | 5.2289 | 3.3772 | 0.80049 | 5.2258 | 3.3761 | -0.035362 | 3.063 | 1.1541 | 0.027412 | -2.5779 | -1.1237 | 0.69905 | 1.4604 | 1.6811 | -0.7444 | -1.4465 | -1.4463 | -90.2533 | -170.5959 | 60.7369 | 90.0145 | 9.4475 | -119.3464 | 0.8781 | 0.64895 | 0.60379 | 0.93055 | 0.56565 | 0.5425 | 2.6426 | -145.105 | 116.2677 | 2.1235 | -141.2553 | 112.8078
Line_2 | 0.069032 | 0.45284 | 0.29248 | 0.069325 | 0.45257 | 0.29238 | 0.79711 | 5.2289 | 3.3772 | 0.80049 | 5.2258 | 3.3761 | -0.035362 | 3.063 | 1.1541 | 0.027412 | -2.5779 | -1.1237 | 0.69905 | 1.4604 | 1.6811 | -0.7444 | -1.4465 | -1.4463 | -90.2533 | -170.5959 | 60.7369 | 90.0145 | 9.4475 | -119.3464 | 0.8781 | 0.64895 | 0.60379 | 0.93055 | 0.56565 | 0.5425 | 2.6426 | -145.105 | 116.2677 | 2.1235 | -141.2553 | 112.8078

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13944 | 0.90502 | 0.58419 | 0.13865 | 0.90514 | 0.58476 | 1.6101 | 10.4503 | 6.7457 | 1.601 | 10.4516 | 6.7522 | 0.033369 | -3.2236 | -2.1342 | -0.054824 | 5.1558 | 2.2474 | -1.6666 | -2.8424 | -1.9525 | 1.4888 | 2.8929 | 2.8926 | 90.1168 | 9.4994 | -119.4057 | -89.9855 | -170.5525 | 60.6536 | 1.0353 | 0.41126 | 0.42881 | 0.93055 | 0.56565 | 0.5425 | 1.2638 | -129.0959 | 103.0485 | 2.1235 | -141.2553 | 112.8078
Line_1 | 0.069032 | 0.45284 | 0.29248 | 0.069325 | 0.45257 | 0.29238 | 0.79711 | 5.2289 | 3.3772 | 0.80049 | 5.2258 | 3.3761 | -0.035362 | 3.063 | 1.1541 | 0.027412 | -2.5779 | -1.1237 | 0.69905 | 1.4604 | 1.6811 | -0.7444 | -1.4465 | -1.4463 | -90.2533 | -170.5959 | 60.7369 | 90.0145 | 9.4475 | -119.3464 | 0.8781 | 0.64895 | 0.60379 | 0.93055 | 0.56565 | 0.5425 | 2.6426 | -145.105 | 116.2677 | 2.1235 | -141.2553 | 112.8078
Line_2 | 0.069032 | 0.45284 | 0.29248 | 0.069325 | 0.45257 | 0.29238 | 0.79711 | 5.2289 | 3.3772 | 0.80049 | 5.2258 | 3.3761 | -0.035362 | 3.063 | 1.1541 | 0.027412 | -2.5779 | -1.1237 | 0.69905 | 1.4604 | 1.6811 | -0.7444 | -1.4465 | -1.4463 | -90.2533 | -170.5959 | 60.7369 | 90.0145 | 9.4475 | -119.3464 | 0.8781 | 0.64895 | 0.60379 | 0.93055 | 0.56565 | 0.5425 | 2.6426 | -145.105 | 116.2677 | 2.1235 | -141.2553 | 112.8078