## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3634 | 0.23047 | 0.45237 | 1.3642 | 0.22969 | 0.4516 | 15.7432 | 2.6612 | 5.2235 | 15.7522 | 2.6523 | 5.2146 | 2.1395e-10 | 2.5972 | -4.7538 | 1.9293 | -2.6604 | 4.6659 | -9.0708e-11 | -0.46021 | -2.3529 | 1.8127 | 0.31206 | 2.1204 | 107.696 | -96.2273 | -97.8932 | -72.3104 | 83.7284 | 82.0814 | 0 | 0.99113 | 1.0155 | 0.16806 | 1.0099 | 0.98284 | 0 | -106.2756 | 108.4402 | -29.094 | -102.9617 | 106.5205
Line_1 | 0.68264 | 0.11438 | 0.22535 | 0.68209 | 0.11485 | 0.2258 | 7.8824 | 1.3208 | 2.6021 | 7.8761 | 1.3261 | 2.6073 | 1.4495 | -1.3432 | 2.3069 | -0.96463 | 1.3302 | -2.333 | 1.3609 | 0.11557 | 1.0036 | -0.90637 | -0.15603 | -1.0602 | -72.3022 | 83.5719 | 81.9986 | 107.6896 | -96.2716 | -97.9186 | 0.25224 | 1.0207 | 0.96682 | 0.16806 | 1.0099 | 0.98284 | -29.1067 | -101.3461 | 105.5085 | -29.094 | -102.9617 | 106.5205
Line_2 | 0.68264 | 0.11438 | 0.22535 | 0.68209 | 0.11485 | 0.2258 | 7.8824 | 1.3208 | 2.6021 | 7.8761 | 1.3261 | 2.6073 | 1.4495 | -1.3432 | 2.3069 | -0.96463 | 1.3302 | -2.333 | 1.3609 | 0.11557 | 1.0036 | -0.90637 | -0.15603 | -1.0602 | -72.3022 | 83.5719 | 81.9986 | 107.6896 | -96.2716 | -97.9186 | 0.25224 | 1.0207 | 0.96682 | 0.16806 | 1.0099 | 0.98284 | -29.1067 | -101.3461 | 105.5085 | -29.094 | -102.9617 | 106.5205

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3634 | 0.23047 | 0.45237 | 1.3642 | 0.22969 | 0.4516 | 15.7432 | 2.6612 | 5.2235 | 15.7522 | 2.6523 | 5.2146 | 2.1395e-10 | 2.5972 | -4.7538 | 1.9293 | -2.6604 | 4.6659 | -9.0708e-11 | -0.46021 | -2.3529 | 1.8127 | 0.31206 | 2.1204 | 107.696 | -96.2273 | -97.8932 | -72.3104 | 83.7284 | 82.0814 | 0 | 0.99113 | 1.0155 | 0.16806 | 1.0099 | 0.98284 | 0 | -106.2756 | 108.4402 | -29.094 | -102.9617 | 106.5205
Line_1 | 0.68264 | 0.11438 | 0.22535 | 0.68209 | 0.11485 | 0.2258 | 7.8824 | 1.3208 | 2.6021 | 7.8761 | 1.3261 | 2.6073 | 1.4495 | -1.3432 | 2.3069 | -0.96463 | 1.3302 | -2.333 | 1.3609 | 0.11557 | 1.0036 | -0.90637 | -0.15603 | -1.0602 | -72.3022 | 83.5719 | 81.9986 | 107.6896 | -96.2716 | -97.9186 | 0.25224 | 1.0207 | 0.96682 | 0.16806 | 1.0099 | 0.98284 | -29.1067 | -101.3461 | 105.5085 | -29.094 | -102.9617 | 106.5205
Line_2 | 0.68264 | 0.11438 | 0.22535 | 0.68209 | 0.11485 | 0.2258 | 7.8824 | 1.3208 | 2.6021 | 7.8761 | 1.3261 | 2.6073 | 1.4495 | -1.3432 | 2.3069 | -0.96463 | 1.3302 | -2.333 | 1.3609 | 0.11557 | 1.0036 | -0.90637 | -0.15603 | -1.0602 | -72.3022 | 83.5719 | 81.9986 | 107.6896 | -96.2716 | -97.9186 | 0.25224 | 1.0207 | 0.96682 | 0.16806 | 1.0099 | 0.98284 | -29.1067 | -101.3461 | 105.5085 | -29.094 | -102.9617 | 106.5205

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24866 | 0.042033 | 0.082504 | 0.2488 | 0.041891 | 0.082363 | 2.8713 | 0.48535 | 0.95267 | 2.8729 | 0.48372 | 0.95105 | -2.2818 | 0.28693 | -1.052 | 2.3471 | -0.28868 | 1.0475 | -1.436 | -0.42454 | -0.043503 | 1.4974 | 0.41808 | 0.036223 | 141.067 | -62.8563 | -64.5222 | -38.9394 | 117.0995 | 115.4525 | 0.93897 | 1.0557 | 1.1052 | 0.96907 | 1.0503 | 1.1021 | -6.7493 | -118.803 | 117.8459 | -6.4027 | -118.2764 | 117.4329
Line_1 | 0.1245 | 0.020862 | 0.041099 | 0.1244 | 0.020946 | 0.041182 | 1.4376 | 0.24089 | 0.47457 | 1.4364 | 0.24186 | 0.47552 | 1.1907 | -0.14492 | 0.52204 | -1.1735 | 0.14434 | -0.52377 | 0.76422 | 0.2066 | 0.016905 | -0.74868 | -0.20904 | -0.018111 | -38.9311 | 116.9429 | 115.3696 | 141.0606 | -62.9005 | -64.5475 | 0.98416 | 1.0476 | 1.1006 | 0.96907 | 1.0503 | 1.1021 | -6.2376 | -118.0095 | 117.2244 | -6.4027 | -118.2764 | 117.4329
Line_2 | 0.1245 | 0.020862 | 0.041099 | 0.1244 | 0.020946 | 0.041182 | 1.4376 | 0.24089 | 0.47457 | 1.4364 | 0.24186 | 0.47552 | 1.1907 | -0.14492 | 0.52204 | -1.1735 | 0.14434 | -0.52377 | 0.76422 | 0.2066 | 0.016905 | -0.74868 | -0.20904 | -0.018111 | -38.9311 | 116.9429 | 115.3696 | 141.0606 | -62.9005 | -64.5475 | 0.98416 | 1.0476 | 1.1006 | 0.96907 | 1.0503 | 1.1021 | -6.2376 | -118.0095 | 117.2244 | -6.4027 | -118.2764 | 117.4329

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24866 | 0.042033 | 0.082504 | 0.2488 | 0.041891 | 0.082363 | 2.8713 | 0.48535 | 0.95267 | 2.8729 | 0.48372 | 0.95105 | -2.2818 | 0.28693 | -1.052 | 2.3471 | -0.28868 | 1.0475 | -1.436 | -0.42454 | -0.043503 | 1.4974 | 0.41808 | 0.036223 | 141.067 | -62.8563 | -64.5222 | -38.9394 | 117.0995 | 115.4525 | 0.93897 | 1.0557 | 1.1052 | 0.96907 | 1.0503 | 1.1021 | -6.7493 | -118.803 | 117.8459 | -6.4027 | -118.2764 | 117.4329
Line_1 | 0.1245 | 0.020862 | 0.041099 | 0.1244 | 0.020946 | 0.041182 | 1.4376 | 0.24089 | 0.47457 | 1.4364 | 0.24186 | 0.47552 | 1.1907 | -0.14492 | 0.52204 | -1.1735 | 0.14434 | -0.52377 | 0.76422 | 0.2066 | 0.016905 | -0.74868 | -0.20904 | -0.018111 | -38.9311 | 116.9429 | 115.3696 | 141.0606 | -62.9005 | -64.5475 | 0.98416 | 1.0476 | 1.1006 | 0.96907 | 1.0503 | 1.1021 | -6.2376 | -118.0095 | 117.2244 | -6.4027 | -118.2764 | 117.4329
Line_2 | 0.1245 | 0.020862 | 0.041099 | 0.1244 | 0.020946 | 0.041182 | 1.4376 | 0.24089 | 0.47457 | 1.4364 | 0.24186 | 0.47552 | 1.1907 | -0.14492 | 0.52204 | -1.1735 | 0.14434 | -0.52377 | 0.76422 | 0.2066 | 0.016905 | -0.74868 | -0.20904 | -0.018111 | -38.9311 | 116.9429 | 115.3696 | 141.0606 | -62.9005 | -64.5475 | 0.98416 | 1.0476 | 1.1006 | 0.96907 | 1.0503 | 1.1021 | -6.2376 | -118.0095 | 117.2244 | -6.4027 | -118.2764 | 117.4329

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2072 | 0.3156 | 0.5163 | 1.2079 | 0.3149 | 0.5156 | 13.9397 | 3.6442 | 5.9617 | 13.9475 | 3.6361 | 5.9537 | -5.3099e-11 | 3.1352 | -5.1905 | 2.426 | -3.17 | 5.2262 | -4.0838e-11 | -1.0425 | -1.8486 | 1.806 | 0.77415 | 1.4704 | 113.2653 | -88.9925 | -89.8174 | -66.744 | 90.9943 | 90.1734 | 0 | 0.90664 | 0.92421 | 0.21684 | 0.89743 | 0.91189 | 0 | -107.3846 | 109.7864 | -30.0778 | -102.7293 | 105.8878
Line_1 | 0.6043 | 0.15715 | 0.25751 | 0.60394 | 0.15745 | 0.2578 | 6.9779 | 1.8146 | 2.9734 | 6.9737 | 1.8181 | 2.9768 | 1.8222 | -1.5931 | 2.6197 | -1.213 | 1.585 | -2.6131 | 1.3553 | 0.31772 | 0.64224 | -0.90301 | -0.38708 | -0.73521 | -66.7356 | 90.9149 | 90.124 | 113.256 | -89.0057 | -89.8266 | 0.32546 | 0.89523 | 0.90714 | 0.21684 | 0.89743 | 0.91189 | -30.0945 | -100.3638 | 103.8987 | -30.0778 | -102.7293 | 105.8878
Line_2 | 0.6043 | 0.15715 | 0.25751 | 0.60394 | 0.15745 | 0.2578 | 6.9779 | 1.8146 | 2.9734 | 6.9737 | 1.8181 | 2.9768 | 1.8222 | -1.5931 | 2.6197 | -1.213 | 1.585 | -2.6131 | 1.3553 | 0.31772 | 0.64224 | -0.90301 | -0.38708 | -0.73521 | -66.7356 | 90.9149 | 90.124 | 113.256 | -89.0057 | -89.8266 | 0.32546 | 0.89523 | 0.90714 | 0.21684 | 0.89743 | 0.91189 | -30.0945 | -100.3638 | 103.8987 | -30.0778 | -102.7293 | 105.8878

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2072 | 0.3156 | 0.5163 | 1.2079 | 0.3149 | 0.5156 | 13.9397 | 3.6442 | 5.9617 | 13.9475 | 3.6361 | 5.9537 | -5.3099e-11 | 3.1352 | -5.1905 | 2.426 | -3.17 | 5.2262 | -4.0838e-11 | -1.0425 | -1.8486 | 1.806 | 0.77415 | 1.4704 | 113.2653 | -88.9925 | -89.8174 | -66.744 | 90.9943 | 90.1734 | 0 | 0.90664 | 0.92421 | 0.21684 | 0.89743 | 0.91189 | 0 | -107.3846 | 109.7864 | -30.0778 | -102.7293 | 105.8878
Line_1 | 0.6043 | 0.15715 | 0.25751 | 0.60394 | 0.15745 | 0.2578 | 6.9779 | 1.8146 | 2.9734 | 6.9737 | 1.8181 | 2.9768 | 1.8222 | -1.5931 | 2.6197 | -1.213 | 1.585 | -2.6131 | 1.3553 | 0.31772 | 0.64224 | -0.90301 | -0.38708 | -0.73521 | -66.7356 | 90.9149 | 90.124 | 113.256 | -89.0057 | -89.8266 | 0.32546 | 0.89523 | 0.90714 | 0.21684 | 0.89743 | 0.91189 | -30.0945 | -100.3638 | 103.8987 | -30.0778 | -102.7293 | 105.8878
Line_2 | 0.6043 | 0.15715 | 0.25751 | 0.60394 | 0.15745 | 0.2578 | 6.9779 | 1.8146 | 2.9734 | 6.9737 | 1.8181 | 2.9768 | 1.8222 | -1.5931 | 2.6197 | -1.213 | 1.585 | -2.6131 | 1.3553 | 0.31772 | 0.64224 | -0.90301 | -0.38708 | -0.73521 | -66.7356 | 90.9149 | 90.124 | 113.256 | -89.0057 | -89.8266 | 0.32546 | 0.89523 | 0.90714 | 0.21684 | 0.89743 | 0.91189 | -30.0945 | -100.3638 | 103.8987 | -30.0778 | -102.7293 | 105.8878

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22777 | 0.059546 | 0.097413 | 0.2279 | 0.059414 | 0.097282 | 2.6301 | 0.68757 | 1.1248 | 2.6316 | 0.68605 | 1.1233 | -1.9701 | 0.31058 | -1.1245 | 2.0574 | -0.3115 | 1.1245 | -1.0359 | -0.58392 | 0.086061 | 1.1011 | 0.57312 | -0.09917 | 145.444 | -56.8139 | -57.6388 | -34.5654 | 123.1729 | 122.352 | 0.84629 | 0.96191 | 1.0026 | 0.88673 | 0.9508 | 1.005 | -6.8189 | -118.8061 | 117.9848 | -6.409 | -118.3019 | 117.3124
Line_1 | 0.11402 | 0.029651 | 0.048585 | 0.11395 | 0.029707 | 0.048641 | 1.3166 | 0.34238 | 0.56101 | 1.3158 | 0.34303 | 0.56166 | 1.051 | -0.15623 | 0.56204 | -1.0287 | 0.15575 | -0.56227 | 0.56683 | 0.28344 | -0.052404 | -0.55056 | -0.28656 | 0.049585 | -34.557 | 123.0935 | 122.3026 | 145.4346 | -56.8271 | -57.648 | 0.90701 | 0.94528 | 1.0062 | 0.88673 | 0.9508 | 1.005 | -6.2186 | -118.0428 | 116.9758 | -6.409 | -118.3019 | 117.3124
Line_2 | 0.11402 | 0.029651 | 0.048585 | 0.11395 | 0.029707 | 0.048641 | 1.3166 | 0.34238 | 0.56101 | 1.3158 | 0.34303 | 0.56166 | 1.051 | -0.15623 | 0.56204 | -1.0287 | 0.15575 | -0.56227 | 0.56683 | 0.28344 | -0.052404 | -0.55056 | -0.28656 | 0.049585 | -34.557 | 123.0935 | 122.3026 | 145.4346 | -56.8271 | -57.648 | 0.90701 | 0.94528 | 1.0062 | 0.88673 | 0.9508 | 1.005 | -6.2186 | -118.0428 | 116.9758 | -6.409 | -118.3019 | 117.3124

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22777 | 0.059546 | 0.097413 | 0.2279 | 0.059414 | 0.097282 | 2.6301 | 0.68757 | 1.1248 | 2.6316 | 0.68605 | 1.1233 | -1.9701 | 0.31058 | -1.1245 | 2.0574 | -0.3115 | 1.1245 | -1.0359 | -0.58392 | 0.086061 | 1.1011 | 0.57312 | -0.09917 | 145.444 | -56.8139 | -57.6388 | -34.5654 | 123.1729 | 122.352 | 0.84629 | 0.96191 | 1.0026 | 0.88673 | 0.9508 | 1.005 | -6.8189 | -118.8061 | 117.9848 | -6.409 | -118.3019 | 117.3124
Line_1 | 0.11402 | 0.029651 | 0.048585 | 0.11395 | 0.029707 | 0.048641 | 1.3166 | 0.34238 | 0.56101 | 1.3158 | 0.34303 | 0.56166 | 1.051 | -0.15623 | 0.56204 | -1.0287 | 0.15575 | -0.56227 | 0.56683 | 0.28344 | -0.052404 | -0.55056 | -0.28656 | 0.049585 | -34.557 | 123.0935 | 122.3026 | 145.4346 | -56.8271 | -57.648 | 0.90701 | 0.94528 | 1.0062 | 0.88673 | 0.9508 | 1.005 | -6.2186 | -118.0428 | 116.9758 | -6.409 | -118.3019 | 117.3124
Line_2 | 0.11402 | 0.029651 | 0.048585 | 0.11395 | 0.029707 | 0.048641 | 1.3166 | 0.34238 | 0.56101 | 1.3158 | 0.34303 | 0.56166 | 1.051 | -0.15623 | 0.56204 | -1.0287 | 0.15575 | -0.56227 | 0.56683 | 0.28344 | -0.052404 | -0.55056 | -0.28656 | 0.049585 | -34.557 | 123.0935 | 122.3026 | 145.4346 | -56.8271 | -57.648 | 0.90701 | 0.94528 | 1.0062 | 0.88673 | 0.9508 | 1.005 | -6.2186 | -118.0428 | 116.9758 | -6.409 | -118.3019 | 117.3124

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48114 | 1.5877 | 1.2395 | 0.48011 | 1.588 | 1.2403 | 5.5557 | 18.3329 | 14.313 | 5.5438 | 18.3368 | 14.3212 | -0.96259 | 1.2673e-10 | 9.2619e-11 | 0.6769 | 2.9782 | 0.68769 | -4.2283 | -2.073e-10 | -1.6537e-10 | 3.9831 | 0.76435 | 2.3223 | 103.6821 | -10.1914 | -128.2593 | -76.3071 | 169.7732 | 51.7757 | 0.78054 | 0 | 0 | 0.72877 | 0.16768 | 0.16912 | 0.85707 | 0 | 0 | 4.0479 | -175.8325 | 125.2803
Line_1 | 0.23936 | 0.79447 | 0.6204 | 0.24005 | 0.79401 | 0.62013 | 2.7638 | 9.1738 | 7.1638 | 2.7719 | 9.1684 | 7.1606 | 0.26444 | 2.2361 | 0.51813 | -0.33845 | -1.4891 | -0.34384 | 1.9269 | 0.574 | 1.7434 | -1.9915 | -0.38218 | -1.1611 | -76.3554 | 169.733 | 51.8379 | 103.6929 | -10.2268 | -128.2243 | 0.7037 | 0.25165 | 0.25389 | 0.72877 | 0.16768 | 0.16912 | 5.8304 | -175.8701 | 125.2864 | 4.0479 | -175.8325 | 125.2803
Line_2 | 0.23936 | 0.79447 | 0.6204 | 0.24005 | 0.79401 | 0.62013 | 2.7638 | 9.1738 | 7.1638 | 2.7719 | 9.1684 | 7.1606 | 0.26444 | 2.2361 | 0.51813 | -0.33845 | -1.4891 | -0.34384 | 1.9269 | 0.574 | 1.7434 | -1.9915 | -0.38218 | -1.1611 | -76.3554 | 169.733 | 51.8379 | 103.6929 | -10.2268 | -128.2243 | 0.7037 | 0.25165 | 0.25389 | 0.72877 | 0.16768 | 0.16912 | 5.8304 | -175.8701 | 125.2864 | 4.0479 | -175.8325 | 125.2803

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48114 | 1.5877 | 1.2395 | 0.48011 | 1.588 | 1.2403 | 5.5557 | 18.3329 | 14.313 | 5.5438 | 18.3368 | 14.3212 | -0.96259 | 1.2673e-10 | 9.2619e-11 | 0.6769 | 2.9782 | 0.68769 | -4.2283 | -2.073e-10 | -1.6537e-10 | 3.9831 | 0.76435 | 2.3223 | 103.6821 | -10.1914 | -128.2593 | -76.3071 | 169.7732 | 51.7757 | 0.78054 | 0 | 0 | 0.72877 | 0.16768 | 0.16912 | 0.85707 | 0 | 0 | 4.0479 | -175.8325 | 125.2803
Line_1 | 0.23936 | 0.79447 | 0.6204 | 0.24005 | 0.79401 | 0.62013 | 2.7638 | 9.1738 | 7.1638 | 2.7719 | 9.1684 | 7.1606 | 0.26444 | 2.2361 | 0.51813 | -0.33845 | -1.4891 | -0.34384 | 1.9269 | 0.574 | 1.7434 | -1.9915 | -0.38218 | -1.1611 | -76.3554 | 169.733 | 51.8379 | 103.6929 | -10.2268 | -128.2243 | 0.7037 | 0.25165 | 0.25389 | 0.72877 | 0.16768 | 0.16912 | 5.8304 | -175.8701 | 125.2864 | 4.0479 | -175.8325 | 125.2803
Line_2 | 0.23936 | 0.79447 | 0.6204 | 0.24005 | 0.79401 | 0.62013 | 2.7638 | 9.1738 | 7.1638 | 2.7719 | 9.1684 | 7.1606 | 0.26444 | 2.2361 | 0.51813 | -0.33845 | -1.4891 | -0.34384 | 1.9269 | 0.574 | 1.7434 | -1.9915 | -0.38218 | -1.1611 | -76.3554 | 169.733 | 51.8379 | 103.6929 | -10.2268 | -128.2243 | 0.7037 | 0.25165 | 0.25389 | 0.72877 | 0.16768 | 0.16912 | 5.8304 | -175.8701 | 125.2864 | 4.0479 | -175.8325 | 125.2803

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.07537 | 0.31636 | 0.24448 | 0.075224 | 0.31639 | 0.24455 | 0.8703 | 3.653 | 2.823 | 0.86861 | 3.6534 | 2.8239 | -0.76065 | -3.1655 | -1.888 | 0.75215 | 3.2634 | 1.9088 | -0.5219 | -1.3673 | -1.7074 | 0.51675 | 1.4031 | 1.781 | 144.3733 | 27.8274 | -107.5856 | -35.6018 | -152.199 | 72.4446 | 1.06 | 0.94395 | 0.90173 | 1.0506 | 0.97231 | 0.92448 | -1.172 | -128.8113 | 114.5398 | -1.1117 | -128.9334 | 115.461
Line_1 | 0.037508 | 0.15826 | 0.12229 | 0.037612 | 0.1582 | 0.12228 | 0.4331 | 1.8274 | 1.4121 | 0.4343 | 1.8267 | 1.4119 | 0.37311 | 1.6565 | 0.96011 | -0.37608 | -1.6317 | -0.95438 | 0.25686 | 0.71124 | 0.90834 | -0.25837 | -0.70156 | -0.89048 | -35.6256 | -152.2301 | 72.4932 | 144.3982 | 27.801 | -107.5554 | 1.0459 | 0.98651 | 0.93596 | 1.0506 | 0.97231 | 0.92448 | -1.0807 | -128.9934 | 115.9062 | -1.1117 | -128.9334 | 115.461
Line_2 | 0.037508 | 0.15826 | 0.12229 | 0.037612 | 0.1582 | 0.12228 | 0.4331 | 1.8274 | 1.4121 | 0.4343 | 1.8267 | 1.4119 | 0.37311 | 1.6565 | 0.96011 | -0.37608 | -1.6317 | -0.95438 | 0.25686 | 0.71124 | 0.90834 | -0.25837 | -0.70156 | -0.89048 | -35.6256 | -152.2301 | 72.4932 | 144.3982 | 27.801 | -107.5554 | 1.0459 | 0.98651 | 0.93596 | 1.0506 | 0.97231 | 0.92448 | -1.0807 | -128.9934 | 115.9062 | -1.1117 | -128.9334 | 115.461

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.07537 | 0.31636 | 0.24448 | 0.075224 | 0.31639 | 0.24455 | 0.8703 | 3.653 | 2.823 | 0.86861 | 3.6534 | 2.8239 | -0.76065 | -3.1655 | -1.888 | 0.75215 | 3.2634 | 1.9088 | -0.5219 | -1.3673 | -1.7074 | 0.51675 | 1.4031 | 1.781 | 144.3733 | 27.8274 | -107.5856 | -35.6018 | -152.199 | 72.4446 | 1.06 | 0.94395 | 0.90173 | 1.0506 | 0.97231 | 0.92448 | -1.172 | -128.8113 | 114.5398 | -1.1117 | -128.9334 | 115.461
Line_1 | 0.037508 | 0.15826 | 0.12229 | 0.037612 | 0.1582 | 0.12228 | 0.4331 | 1.8274 | 1.4121 | 0.4343 | 1.8267 | 1.4119 | 0.37311 | 1.6565 | 0.96011 | -0.37608 | -1.6317 | -0.95438 | 0.25686 | 0.71124 | 0.90834 | -0.25837 | -0.70156 | -0.89048 | -35.6256 | -152.2301 | 72.4932 | 144.3982 | 27.801 | -107.5554 | 1.0459 | 0.98651 | 0.93596 | 1.0506 | 0.97231 | 0.92448 | -1.0807 | -128.9934 | 115.9062 | -1.1117 | -128.9334 | 115.461
Line_2 | 0.037508 | 0.15826 | 0.12229 | 0.037612 | 0.1582 | 0.12228 | 0.4331 | 1.8274 | 1.4121 | 0.4343 | 1.8267 | 1.4119 | 0.37311 | 1.6565 | 0.96011 | -0.37608 | -1.6317 | -0.95438 | 0.25686 | 0.71124 | 0.90834 | -0.25837 | -0.70156 | -0.89048 | -35.6256 | -152.2301 | 72.4932 | 144.3982 | 27.801 | -107.5554 | 1.0459 | 0.98651 | 0.93596 | 1.0506 | 0.97231 | 0.92448 | -1.0807 | -128.9934 | 115.9062 | -1.1117 | -128.9334 | 115.461

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55224 | 1.4739 | 1.1041 | 0.55136 | 1.4741 | 1.1047 | 6.3767 | 17.0196 | 12.7495 | 6.3666 | 17.0212 | 12.7563 | -1.3008 | -1.5287e-10 | -1.1389e-10 | 1.121 | 4.1302 | 0.71092 | -4.5274 | 1.8486e-12 | -1.7296e-11 | 4.0836 | 0.55618 | 2.2025 | 107.4785 | -0.23418 | -129.5159 | -72.5076 | 179.7318 | 50.5185 | 0.73872 | 0 | 0 | 0.66515 | 0.24484 | 0.18143 | 1.4489 | 0 | 0 | 2.1419 | -172.5989 | 122.6296
Line_1 | 0.27525 | 0.73734 | 0.55246 | 0.27568 | 0.73704 | 0.55237 | 3.1783 | 8.514 | 6.3792 | 3.1833 | 8.5106 | 6.3782 | 0.51298 | 3.1001 | 0.53509 | -0.56051 | -2.0651 | -0.35546 | 1.9297 | 0.41693 | 1.6534 | -2.0418 | -0.27809 | -1.1013 | -72.5433 | 179.7036 | 50.566 | 107.4924 | -0.26823 | -129.4815 | 0.62826 | 0.3674 | 0.27242 | 0.66515 | 0.24484 | 0.18143 | 2.5703 | -172.6367 | 122.633 | 2.1419 | -172.5989 | 122.6296
Line_2 | 0.27525 | 0.73734 | 0.55246 | 0.27568 | 0.73704 | 0.55237 | 3.1783 | 8.514 | 6.3792 | 3.1833 | 8.5106 | 6.3782 | 0.51298 | 3.1001 | 0.53509 | -0.56051 | -2.0651 | -0.35546 | 1.9297 | 0.41693 | 1.6534 | -2.0418 | -0.27809 | -1.1013 | -72.5433 | 179.7036 | 50.566 | 107.4924 | -0.26823 | -129.4815 | 0.62826 | 0.3674 | 0.27242 | 0.66515 | 0.24484 | 0.18143 | 2.5703 | -172.6367 | 122.633 | 2.1419 | -172.5989 | 122.6296

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55224 | 1.4739 | 1.1041 | 0.55136 | 1.4741 | 1.1047 | 6.3767 | 17.0196 | 12.7495 | 6.3666 | 17.0212 | 12.7563 | -1.3008 | -1.5287e-10 | -1.1389e-10 | 1.121 | 4.1302 | 0.71092 | -4.5274 | 1.8486e-12 | -1.7296e-11 | 4.0836 | 0.55618 | 2.2025 | 107.4785 | -0.23418 | -129.5159 | -72.5076 | 179.7318 | 50.5185 | 0.73872 | 0 | 0 | 0.66515 | 0.24484 | 0.18143 | 1.4489 | 0 | 0 | 2.1419 | -172.5989 | 122.6296
Line_1 | 0.27525 | 0.73734 | 0.55246 | 0.27568 | 0.73704 | 0.55237 | 3.1783 | 8.514 | 6.3792 | 3.1833 | 8.5106 | 6.3782 | 0.51298 | 3.1001 | 0.53509 | -0.56051 | -2.0651 | -0.35546 | 1.9297 | 0.41693 | 1.6534 | -2.0418 | -0.27809 | -1.1013 | -72.5433 | 179.7036 | 50.566 | 107.4924 | -0.26823 | -129.4815 | 0.62826 | 0.3674 | 0.27242 | 0.66515 | 0.24484 | 0.18143 | 2.5703 | -172.6367 | 122.633 | 2.1419 | -172.5989 | 122.6296
Line_2 | 0.27525 | 0.73734 | 0.55246 | 0.27568 | 0.73704 | 0.55237 | 3.1783 | 8.514 | 6.3792 | 3.1833 | 8.5106 | 6.3782 | 0.51298 | 3.1001 | 0.53509 | -0.56051 | -2.0651 | -0.35546 | 1.9297 | 0.41693 | 1.6534 | -2.0418 | -0.27809 | -1.1013 | -72.5433 | 179.7036 | 50.566 | 107.4924 | -0.26823 | -129.4815 | 0.62826 | 0.3674 | 0.27242 | 0.66515 | 0.24484 | 0.18143 | 2.5703 | -172.6367 | 122.633 | 2.1419 | -172.5989 | 122.6296

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089059 | 0.30623 | 0.23174 | 0.088926 | 0.30625 | 0.23181 | 1.0284 | 3.5361 | 2.6759 | 1.0268 | 3.5362 | 2.6767 | -0.8224 | -2.8808 | -1.6037 | 0.81588 | 3.0354 | 1.6338 | -0.55299 | -0.84551 | -1.4762 | 0.54253 | 0.87548 | 1.5515 | 145.0748 | 34.889 | -108.1738 | -34.9034 | -145.1364 | 71.8551 | 0.9637 | 0.84906 | 0.81457 | 0.95418 | 0.89337 | 0.84174 | -1.0081 | -128.7543 | 114.4547 | -1.281 | -129.0477 | 115.3761
Line_1 | 0.044394 | 0.15317 | 0.11591 | 0.044463 | 0.15312 | 0.1159 | 0.51262 | 1.7686 | 1.3384 | 0.51342 | 1.7681 | 1.3383 | 0.40579 | 1.5567 | 0.82458 | -0.40794 | -1.5177 | -0.81688 | 0.26869 | 0.44556 | 0.79424 | -0.27126 | -0.43774 | -0.77576 | -34.9286 | -145.1581 | 71.8906 | 145.0966 | 34.8636 | -108.1449 | 0.94939 | 0.91554 | 0.85543 | 0.95418 | 0.89337 | 0.84174 | -1.4186 | -129.1862 | 115.8167 | -1.281 | -129.0477 | 115.3761
Line_2 | 0.044394 | 0.15317 | 0.11591 | 0.044463 | 0.15312 | 0.1159 | 0.51262 | 1.7686 | 1.3384 | 0.51342 | 1.7681 | 1.3383 | 0.40579 | 1.5567 | 0.82458 | -0.40794 | -1.5177 | -0.81688 | 0.26869 | 0.44556 | 0.79424 | -0.27126 | -0.43774 | -0.77576 | -34.9286 | -145.1581 | 71.8906 | 145.0966 | 34.8636 | -108.1449 | 0.94939 | 0.91554 | 0.85543 | 0.95418 | 0.89337 | 0.84174 | -1.4186 | -129.1862 | 115.8167 | -1.281 | -129.0477 | 115.3761

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089059 | 0.30623 | 0.23174 | 0.088926 | 0.30625 | 0.23181 | 1.0284 | 3.5361 | 2.6759 | 1.0268 | 3.5362 | 2.6767 | -0.8224 | -2.8808 | -1.6037 | 0.81588 | 3.0354 | 1.6338 | -0.55299 | -0.84551 | -1.4762 | 0.54253 | 0.87548 | 1.5515 | 145.0748 | 34.889 | -108.1738 | -34.9034 | -145.1364 | 71.8551 | 0.9637 | 0.84906 | 0.81457 | 0.95418 | 0.89337 | 0.84174 | -1.0081 | -128.7543 | 114.4547 | -1.281 | -129.0477 | 115.3761
Line_1 | 0.044394 | 0.15317 | 0.11591 | 0.044463 | 0.15312 | 0.1159 | 0.51262 | 1.7686 | 1.3384 | 0.51342 | 1.7681 | 1.3383 | 0.40579 | 1.5567 | 0.82458 | -0.40794 | -1.5177 | -0.81688 | 0.26869 | 0.44556 | 0.79424 | -0.27126 | -0.43774 | -0.77576 | -34.9286 | -145.1581 | 71.8906 | 145.0966 | 34.8636 | -108.1449 | 0.94939 | 0.91554 | 0.85543 | 0.95418 | 0.89337 | 0.84174 | -1.4186 | -129.1862 | 115.8167 | -1.281 | -129.0477 | 115.3761
Line_2 | 0.044394 | 0.15317 | 0.11591 | 0.044463 | 0.15312 | 0.1159 | 0.51262 | 1.7686 | 1.3384 | 0.51342 | 1.7681 | 1.3383 | 0.40579 | 1.5567 | 0.82458 | -0.40794 | -1.5177 | -0.81688 | 0.26869 | 0.44556 | 0.79424 | -0.27126 | -0.43774 | -0.77576 | -34.9286 | -145.1581 | 71.8906 | 145.0966 | 34.8636 | -108.1449 | 0.94939 | 0.91554 | 0.85543 | 0.95418 | 0.89337 | 0.84174 | -1.4186 | -129.1862 | 115.8167 | -1.281 | -129.0477 | 115.3761