## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -0.015988 | 0.14599 | -0.46766 | 0.61516 | 95.7106 | -84.2894 | 0.046793 | 0.063224 | 3.7526 | -7.6398
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -0.015988 | 0.14599 | -0.46766 | 0.61516 | 95.7106 | -84.2894 | 0.046793 | 0.063224 | 3.7526 | -7.6398
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -2.1473 | 2.2773 | -3.9333 | 4.0808 | 95.7106 | -84.2894 | 0.44812 | 0.46732 | -22.9213 | -23.4537
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -2.1473 | 2.2773 | -3.9333 | 4.0808 | 95.7106 | -84.2894 | 0.44812 | 0.46732 | -22.9213 | -23.4537
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37381 | -1.6931 | 1.4982 | 0.41715 | 1.7364 | -1.4549 | -3.8408 | -0.91755 | -1.2367 | 3.89 | 0.96672 | 1.2859 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.1577 | 0.57772 | 0.5828 | 1.1737 | 0.59622 | 0.58249 | 0.15156 | -175.8341 | 176.1723 | -0.41033 | -175.1831 | 174.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37381 | -1.6931 | 1.4982 | 0.41715 | 1.7364 | -1.4549 | -3.8408 | -0.91755 | -1.2367 | 3.89 | 0.96672 | 1.2859 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.1577 | 0.57772 | 0.5828 | 1.1737 | 0.59622 | 0.58249 | 0.15156 | -175.8341 | 176.1723 | -0.41033 | -175.1831 | 174.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37382 | -1.7791 | 0.85368 | 0.41715 | 1.8224 | -0.81035 | -3.8408 | -1.6121 | -1.5095 | 3.89 | 1.6613 | 1.5587 | 95.7105 | -24.2892 | -144.2894 | -84.2895 | 155.7108 | 35.7106 | 1.1577 | 0.72025 | 0.52025 | 1.1737 | 0.73979 | 0.52702 | 0.15156 | -162.1077 | 155.2002 | -0.41033 | -161.9373 | 153.1802
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37382 | -1.7791 | 0.85368 | 0.41715 | 1.8224 | -0.81035 | -3.8408 | -1.6121 | -1.5095 | 3.89 | 1.6613 | 1.5587 | 95.7105 | -24.2892 | -144.2894 | -84.2895 | 155.7108 | 35.7106 | 1.1577 | 0.72025 | 0.52025 | 1.1737 | 0.73979 | 0.52702 | 0.15156 | -162.1077 | 155.2002 | -0.41033 | -161.9373 | 153.1802
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.1841e-15 | 4.7368e-15 | 1.6579e-14 | -1.1835e-15 | -4.7362e-15 | -2.0018e-28 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9179e-13 | -180 | 180 | 7.35e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 5.9215e-15 | 3.3631e-19 | -7.1054e-15 | -1.1845e-15 | -2.6081e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3999e-13 | -180 | 180 | 7.35e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 5.9215e-15 | 4.7373e-15 | -2.3685e-15 | -1.1845e-15 | -4.7372e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -3.0383e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1581e-13 | -180 | 180 | 7.35e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.1841e-15 | 4.7368e-15 | 1.6579e-14 | -1.1835e-15 | -4.7362e-15 | -2.0018e-28 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9179e-13 | -180 | 180 | 7.35e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 5.9215e-15 | 3.3631e-19 | -7.1054e-15 | -1.1845e-15 | -2.6081e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3999e-13 | -180 | 180 | 7.35e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 5.9215e-15 | 4.7373e-15 | -2.3685e-15 | -1.1845e-15 | -4.7372e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -3.0383e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1581e-13 | -180 | 180 | 7.35e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5594e-10 | -1.5515e-09 | 1.8948e-14 | 5.5594e-10 | 1.5515e-09 | 2.3685e-15 | 4.8331e-09 | -3.1089e-09 | -7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8563e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.3685e-15 | -1.611e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.2295e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8533e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1716e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.0495e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5594e-10 | -1.5515e-09 | 1.8948e-14 | 5.5594e-10 | 1.5515e-09 | 2.3685e-15 | 4.8331e-09 | -3.1089e-09 | -7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8563e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.3685e-15 | -1.611e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.2295e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8533e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1716e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.0495e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28327 | 0.29094 | 0.29189 | 0.28507 | 0.29017 | 0.29081 | 3.271 | 3.3594 | 3.3705 | 3.2917 | 3.3506 | 3.358 | -0.0065126 | -0.29172 | -0.45242 | 0.044362 | 0.3595 | 0.47702 | -0.16267 | -3.869 | -3.8644 | 0.21082 | 3.9034 | 3.9065 | 95.8233 | -25.2659 | -143.4255 | -84.2141 | 155.0574 | 36.2885 | 0.049772 | 1.1549 | 1.1544 | 0.065447 | 1.1699 | 1.172 | 3.5307 | -119.5779 | 119.897 | -6.0975 | -120.2047 | 119.3266
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14254 | 0.14509 | 0.14541 | 1.6667 | 1.6667 | 1.6667 | 1.6459 | 1.6753 | 1.679 | 0.032654 | 0.21215 | 0.22815 | -0.022181 | -0.17975 | -0.23851 | 0.11892 | 1.9514 | 1.954 | -0.10541 | -1.9517 | -1.9532 | -84.2893 | 155.7104 | 35.7106 | 95.7859 | -24.9426 | -143.7115 | 0.073993 | 1.1777 | 1.1803 | 0.065447 | 1.1699 | 1.172 | -9.6437 | -120.4942 | 119.0508 | -6.0975 | -120.2047 | 119.3266
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14254 | 0.14509 | 0.14541 | 1.6667 | 1.6667 | 1.6667 | 1.6459 | 1.6753 | 1.679 | 0.032654 | 0.21215 | 0.22815 | -0.022181 | -0.17975 | -0.23851 | 0.11892 | 1.9514 | 1.954 | -0.10541 | -1.9517 | -1.9532 | -84.2893 | 155.7104 | 35.7106 | 95.7859 | -24.9426 | -143.7115 | 0.073993 | 1.1777 | 1.1803 | 0.065447 | 1.1699 | 1.172 | -9.6437 | -120.4942 | 119.0508 | -6.0975 | -120.2047 | 119.3266

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28327 | 0.29094 | 0.29189 | 0.28507 | 0.29017 | 0.29081 | 3.271 | 3.3594 | 3.3705 | 3.2917 | 3.3506 | 3.358 | -0.0065126 | -0.29172 | -0.45242 | 0.044362 | 0.3595 | 0.47702 | -0.16267 | -3.869 | -3.8644 | 0.21082 | 3.9034 | 3.9065 | 95.8233 | -25.2659 | -143.4255 | -84.2141 | 155.0574 | 36.2885 | 0.049772 | 1.1549 | 1.1544 | 0.065447 | 1.1699 | 1.172 | 3.5307 | -119.5779 | 119.897 | -6.0975 | -120.2047 | 119.3266
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14254 | 0.14509 | 0.14541 | 1.6667 | 1.6667 | 1.6667 | 1.6459 | 1.6753 | 1.679 | 0.032654 | 0.21215 | 0.22815 | -0.022181 | -0.17975 | -0.23851 | 0.11892 | 1.9514 | 1.954 | -0.10541 | -1.9517 | -1.9532 | -84.2893 | 155.7104 | 35.7106 | 95.7859 | -24.9426 | -143.7115 | 0.073993 | 1.1777 | 1.1803 | 0.065447 | 1.1699 | 1.172 | -9.6437 | -120.4942 | 119.0508 | -6.0975 | -120.2047 | 119.3266
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14254 | 0.14509 | 0.14541 | 1.6667 | 1.6667 | 1.6667 | 1.6459 | 1.6753 | 1.679 | 0.032654 | 0.21215 | 0.22815 | -0.022181 | -0.17975 | -0.23851 | 0.11892 | 1.9514 | 1.954 | -0.10541 | -1.9517 | -1.9532 | -84.2893 | 155.7104 | 35.7106 | 95.7859 | -24.9426 | -143.7115 | 0.073993 | 1.1777 | 1.1803 | 0.065447 | 1.1699 | 1.172 | -9.6437 | -120.4942 | 119.0508 | -6.0975 | -120.2047 | 119.3266

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28497 | 0.29097 | 0.29012 | 0.2862 | 0.2902 | 0.28964 | 3.2905 | 3.3598 | 3.3501 | 3.3048 | 3.351 | 3.3445 | -0.70447 | -0.32578 | -0.43438 | 0.7481 | 0.38425 | 0.46238 | -1.3046 | -3.8668 | -3.8492 | 1.3568 | 3.9034 | 3.897 | 95.6118 | -24.8735 | -143.6066 | -84.3546 | 155.3198 | 36.1666 | 0.45057 | 1.155 | 1.1563 | 0.46884 | 1.1705 | 1.1734 | -22.7577 | -119.6893 | 119.9549 | -23.2249 | -120.3024 | 119.4001
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.1431 | 0.1451 | 0.14482 | 1.6667 | 1.6667 | 1.6667 | 1.6524 | 1.6755 | 1.6722 | 0.38858 | 0.21549 | 0.2258 | -0.37405 | -0.19213 | -0.23119 | 0.69597 | 1.9522 | 1.9565 | -0.67842 | -1.9517 | -1.9485 | -84.2893 | 155.7105 | 35.7106 | 95.6454 | -24.6802 | -143.8334 | 0.47826 | 1.1784 | 1.1817 | 0.46884 | 1.1705 | 1.1734 | -23.4653 | -120.5886 | 119.1271 | -23.2249 | -120.3024 | 119.4001
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.1431 | 0.1451 | 0.14482 | 1.6667 | 1.6667 | 1.6667 | 1.6524 | 1.6755 | 1.6722 | 0.38858 | 0.21549 | 0.2258 | -0.37405 | -0.19213 | -0.23119 | 0.69597 | 1.9522 | 1.9565 | -0.67842 | -1.9517 | -1.9485 | -84.2893 | 155.7105 | 35.7106 | 95.6454 | -24.6802 | -143.8334 | 0.47826 | 1.1784 | 1.1817 | 0.46884 | 1.1705 | 1.1734 | -23.4653 | -120.5886 | 119.1271 | -23.2249 | -120.3024 | 119.4001

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28497 | 0.29097 | 0.29012 | 0.2862 | 0.2902 | 0.28964 | 3.2905 | 3.3598 | 3.3501 | 3.3048 | 3.351 | 3.3445 | -0.70447 | -0.32578 | -0.43438 | 0.7481 | 0.38425 | 0.46238 | -1.3046 | -3.8668 | -3.8492 | 1.3568 | 3.9034 | 3.897 | 95.6118 | -24.8735 | -143.6066 | -84.3546 | 155.3198 | 36.1666 | 0.45057 | 1.155 | 1.1563 | 0.46884 | 1.1705 | 1.1734 | -22.7577 | -119.6893 | 119.9549 | -23.2249 | -120.3024 | 119.4001
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.1431 | 0.1451 | 0.14482 | 1.6667 | 1.6667 | 1.6667 | 1.6524 | 1.6755 | 1.6722 | 0.38858 | 0.21549 | 0.2258 | -0.37405 | -0.19213 | -0.23119 | 0.69597 | 1.9522 | 1.9565 | -0.67842 | -1.9517 | -1.9485 | -84.2893 | 155.7105 | 35.7106 | 95.6454 | -24.6802 | -143.8334 | 0.47826 | 1.1784 | 1.1817 | 0.46884 | 1.1705 | 1.1734 | -23.4653 | -120.5886 | 119.1271 | -23.2249 | -120.3024 | 119.4001
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.1431 | 0.1451 | 0.14482 | 1.6667 | 1.6667 | 1.6667 | 1.6524 | 1.6755 | 1.6722 | 0.38858 | 0.21549 | 0.2258 | -0.37405 | -0.19213 | -0.23119 | 0.69597 | 1.9522 | 1.9565 | -0.67842 | -1.9517 | -1.9485 | -84.2893 | 155.7105 | 35.7106 | 95.6454 | -24.6802 | -143.8334 | 0.47826 | 1.1784 | 1.1817 | 0.46884 | 1.1705 | 1.1734 | -23.4653 | -120.5886 | 119.1271 | -23.2249 | -120.3024 | 119.4001

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048841 | 0.0048841 | 0.0048841 | 0.0032571 | 0.0032571 | 0.0032571 | 0.056397 | 0.056397 | 0.056397 | 0.03761 | 0.03761 | 0.03761 | -1.143e-06 | 0.049031 | -0.048649 | 9.4992e-05 | -0.032632 | 0.032508 | 0.00015525 | -0.027558 | -0.028166 | -8.4023e-05 | 0.018348 | 0.018852 | -90.3567 | -90.3566 | -90.3566 | 89.5562 | 89.5562 | 89.5562 | 0.0027529 | 0.99731 | 0.99677 | 0.003372 | 0.99538 | 0.99919 | 0.065193 | -119.6951 | 119.7129 | 48.0626 | -119.7915 | 119.6666
Line_1 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.823e-11 | 1.1236e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.204e-11 | -2.1921e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666
Line_2 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.823e-11 | 1.1192e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.2046e-11 | -2.1918e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048841 | 0.0048841 | 0.0048841 | 0.0032571 | 0.0032571 | 0.0032571 | 0.056397 | 0.056397 | 0.056397 | 0.03761 | 0.03761 | 0.03761 | -1.143e-06 | 0.049031 | -0.048649 | 9.4992e-05 | -0.032632 | 0.032508 | 0.00015525 | -0.027558 | -0.028166 | -8.4023e-05 | 0.018348 | 0.018852 | -90.3567 | -90.3566 | -90.3566 | 89.5562 | 89.5562 | 89.5562 | 0.0027529 | 0.99731 | 0.99677 | 0.003372 | 0.99538 | 0.99919 | 0.065193 | -119.6951 | 119.7129 | 48.0626 | -119.7915 | 119.6666
Line_1 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.823e-11 | 1.1236e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.204e-11 | -2.1921e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666
Line_2 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.823e-11 | 1.1192e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.2046e-11 | -2.1918e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035014 | 0.0035014 | 0.0035014 | 0.002335 | 0.002335 | 0.002335 | 0.040431 | 0.040431 | 0.040431 | 0.026962 | 0.026962 | 0.026962 | 0.0085452 | 0.030082 | -0.038431 | -0.0056395 | -0.02004 | 0.025665 | 0.010652 | -0.02685 | -0.012361 | -0.0071019 | 0.017885 | 0.0082922 | -78.0589 | -78.0588 | -78.0588 | 101.854 | 101.854 | 101.854 | 0.33775 | 0.9973 | 0.9985 | 0.33635 | 0.99621 | 1.0003 | -26.7973 | -119.8102 | 119.7709 | -26.5983 | -119.8947 | 119.7595
Line_1 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.8809e-10 | 1.4625e-11 | -2.5372e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6246e-12 | -1.5545e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595
Line_2 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.881e-10 | 1.4633e-11 | -2.546e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6422e-12 | -1.5539e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035014 | 0.0035014 | 0.0035014 | 0.002335 | 0.002335 | 0.002335 | 0.040431 | 0.040431 | 0.040431 | 0.026962 | 0.026962 | 0.026962 | 0.0085452 | 0.030082 | -0.038431 | -0.0056395 | -0.02004 | 0.025665 | 0.010652 | -0.02685 | -0.012361 | -0.0071019 | 0.017885 | 0.0082922 | -78.0589 | -78.0588 | -78.0588 | 101.854 | 101.854 | 101.854 | 0.33775 | 0.9973 | 0.9985 | 0.33635 | 0.99621 | 1.0003 | -26.7973 | -119.8102 | 119.7709 | -26.5983 | -119.8947 | 119.7595
Line_1 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.8809e-10 | 1.4625e-11 | -2.5372e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6246e-12 | -1.5545e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595
Line_2 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.881e-10 | 1.4633e-11 | -2.546e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6422e-12 | -1.5539e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29409 | 0.28649 | 0.28552 | 0.29229 | 0.28721 | 0.28656 | 3.3959 | 3.3081 | 3.2969 | 3.375 | 3.3165 | 3.3089 | -0.37031 | -0.017065 | 0.0052152 | 0.41931 | 0.056187 | 0.03689 | -3.893 | -0.15851 | -0.15987 | 3.9202 | 0.21108 | 0.2047 | 95.6014 | -23.2948 | -145.1749 | -84.3632 | 156.3725 | 35.1225 | 1.1516 | 0.048193 | 0.048518 | 1.1681 | 0.065864 | 0.06286 | 0.1678 | -119.4393 | 126.6935 | -0.46844 | -128.5332 | 114.9067
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14614 | 0.14361 | 0.14328 | 1.6667 | 1.6667 | 1.6667 | 1.6875 | 1.6582 | 1.6544 | 0.22089 | 0.03747 | 0.030343 | -0.20965 | -0.028094 | -0.018445 | 1.948 | 0.11905 | 0.1147 | -1.9601 | -0.10554 | -0.10235 | -84.2895 | 155.7107 | 35.7105 | 95.6368 | -23.6275 | -144.8775 | 1.1763 | 0.074887 | 0.071185 | 1.1681 | 0.065864 | 0.06286 | -0.75867 | -131.7595 | 110.8923 | -0.46844 | -128.5332 | 114.9067
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14614 | 0.14361 | 0.14328 | 1.6667 | 1.6667 | 1.6667 | 1.6875 | 1.6582 | 1.6544 | 0.22089 | 0.03747 | 0.030343 | -0.20965 | -0.028094 | -0.018445 | 1.948 | 0.11905 | 0.1147 | -1.9601 | -0.10554 | -0.10235 | -84.2895 | 155.7107 | 35.7105 | 95.6368 | -23.6275 | -144.8775 | 1.1763 | 0.074887 | 0.071185 | 1.1681 | 0.065864 | 0.06286 | -0.75867 | -131.7595 | 110.8923 | -0.46844 | -128.5332 | 114.9067

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29409 | 0.28649 | 0.28552 | 0.29229 | 0.28721 | 0.28656 | 3.3959 | 3.3081 | 3.2969 | 3.375 | 3.3165 | 3.3089 | -0.37031 | -0.017065 | 0.0052152 | 0.41931 | 0.056187 | 0.03689 | -3.893 | -0.15851 | -0.15987 | 3.9202 | 0.21108 | 0.2047 | 95.6014 | -23.2948 | -145.1749 | -84.3632 | 156.3725 | 35.1225 | 1.1516 | 0.048193 | 0.048518 | 1.1681 | 0.065864 | 0.06286 | 0.1678 | -119.4393 | 126.6935 | -0.46844 | -128.5332 | 114.9067
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14614 | 0.14361 | 0.14328 | 1.6667 | 1.6667 | 1.6667 | 1.6875 | 1.6582 | 1.6544 | 0.22089 | 0.03747 | 0.030343 | -0.20965 | -0.028094 | -0.018445 | 1.948 | 0.11905 | 0.1147 | -1.9601 | -0.10554 | -0.10235 | -84.2895 | 155.7107 | 35.7105 | 95.6368 | -23.6275 | -144.8775 | 1.1763 | 0.074887 | 0.071185 | 1.1681 | 0.065864 | 0.06286 | -0.75867 | -131.7595 | 110.8923 | -0.46844 | -128.5332 | 114.9067
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14614 | 0.14361 | 0.14328 | 1.6667 | 1.6667 | 1.6667 | 1.6875 | 1.6582 | 1.6544 | 0.22089 | 0.03747 | 0.030343 | -0.20965 | -0.028094 | -0.018445 | 1.948 | 0.11905 | 0.1147 | -1.9601 | -0.10554 | -0.10235 | -84.2895 | 155.7107 | 35.7105 | 95.6368 | -23.6275 | -144.8775 | 1.1763 | 0.074887 | 0.071185 | 1.1681 | 0.065864 | 0.06286 | -0.75867 | -131.7595 | 110.8923 | -0.46844 | -128.5332 | 114.9067

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29239 | 0.2864 | 0.28727 | 0.29115 | 0.28716 | 0.28773 | 3.3762 | 3.3071 | 3.3171 | 3.3619 | 3.3158 | 3.3224 | -0.38639 | -0.73164 | -0.68856 | 0.42949 | 0.76944 | 0.73776 | -3.8754 | -1.2977 | -1.3178 | 3.9105 | 1.3541 | 1.3629 | 95.8073 | -23.695 | -144.9804 | -84.2251 | 156.1062 | 35.2506 | 1.1535 | 0.45047 | 0.44824 | 1.1702 | 0.4697 | 0.46646 | 0.11364 | -143.1089 | 97.4322 | -0.49268 | -143.4998 | 96.8232
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14558 | 0.14358 | 0.14386 | 1.6667 | 1.6667 | 1.6667 | 1.681 | 1.6579 | 1.6612 | 0.22188 | 0.39257 | 0.3864 | -0.21475 | -0.38472 | -0.36888 | 1.9513 | 0.69576 | 0.69263 | -1.9553 | -0.67706 | -0.68145 | -84.2895 | 155.7107 | 35.7106 | 95.7749 | -23.8938 | -144.7494 | 1.1783 | 0.47932 | 0.47587 | 1.1702 | 0.4697 | 0.46646 | -0.77667 | -143.722 | 96.5547 | -0.49268 | -143.4998 | 96.8232
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14558 | 0.14358 | 0.14386 | 1.6667 | 1.6667 | 1.6667 | 1.681 | 1.6579 | 1.6612 | 0.22188 | 0.39257 | 0.3864 | -0.21475 | -0.38472 | -0.36888 | 1.9513 | 0.69576 | 0.69263 | -1.9553 | -0.67706 | -0.68145 | -84.2895 | 155.7107 | 35.7106 | 95.7749 | -23.8938 | -144.7494 | 1.1783 | 0.47932 | 0.47587 | 1.1702 | 0.4697 | 0.46646 | -0.77667 | -143.722 | 96.5547 | -0.49268 | -143.4998 | 96.8232

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29239 | 0.2864 | 0.28727 | 0.29115 | 0.28716 | 0.28773 | 3.3762 | 3.3071 | 3.3171 | 3.3619 | 3.3158 | 3.3224 | -0.38639 | -0.73164 | -0.68856 | 0.42949 | 0.76944 | 0.73776 | -3.8754 | -1.2977 | -1.3178 | 3.9105 | 1.3541 | 1.3629 | 95.8073 | -23.695 | -144.9804 | -84.2251 | 156.1062 | 35.2506 | 1.1535 | 0.45047 | 0.44824 | 1.1702 | 0.4697 | 0.46646 | 0.11364 | -143.1089 | 97.4322 | -0.49268 | -143.4998 | 96.8232
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14558 | 0.14358 | 0.14386 | 1.6667 | 1.6667 | 1.6667 | 1.681 | 1.6579 | 1.6612 | 0.22188 | 0.39257 | 0.3864 | -0.21475 | -0.38472 | -0.36888 | 1.9513 | 0.69576 | 0.69263 | -1.9553 | -0.67706 | -0.68145 | -84.2895 | 155.7107 | 35.7106 | 95.7749 | -23.8938 | -144.7494 | 1.1783 | 0.47932 | 0.47587 | 1.1702 | 0.4697 | 0.46646 | -0.77667 | -143.722 | 96.5547 | -0.49268 | -143.4998 | 96.8232
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14558 | 0.14358 | 0.14386 | 1.6667 | 1.6667 | 1.6667 | 1.681 | 1.6579 | 1.6612 | 0.22188 | 0.39257 | 0.3864 | -0.21475 | -0.38472 | -0.36888 | 1.9513 | 0.69576 | 0.69263 | -1.9553 | -0.67706 | -0.68145 | -84.2895 | 155.7107 | 35.7106 | 95.7749 | -23.8938 | -144.7494 | 1.1783 | 0.47932 | 0.47587 | 1.1702 | 0.4697 | 0.46646 | -0.77667 | -143.722 | 96.5547 | -0.49268 | -143.4998 | 96.8232

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048998 | 0.0048998 | 0.0048998 | 0.0032675 | 0.0032675 | 0.0032675 | 0.056578 | 0.056578 | 0.056578 | 0.03773 | 0.03773 | 0.03773 | 0.00038575 | -1.1504e-06 | -1.1504e-06 | -0.00021962 | 9.5602e-05 | 9.5602e-05 | -0.056239 | 0.00015625 | 0.00015624 | 0.037524 | -8.4562e-05 | -8.4562e-05 | 89.6252 | 89.6252 | 89.6252 | -90.4619 | -90.462 | -90.462 | 0.99403 | 0.0027617 | 0.0027617 | 0.99454 | 0.0033828 | 0.0033828 | 0.018195 | -179.953 | -179.953 | -0.12661 | -131.9555 | -131.9556
Line_1 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9538e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.9096e-12 | -1.3313e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556
Line_2 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9528e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.8955e-12 | -1.3313e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048998 | 0.0048998 | 0.0048998 | 0.0032675 | 0.0032675 | 0.0032675 | 0.056578 | 0.056578 | 0.056578 | 0.03773 | 0.03773 | 0.03773 | 0.00038575 | -1.1504e-06 | -1.1504e-06 | -0.00021962 | 9.5602e-05 | 9.5602e-05 | -0.056239 | 0.00015625 | 0.00015624 | 0.037524 | -8.4562e-05 | -8.4562e-05 | 89.6252 | 89.6252 | 89.6252 | -90.4619 | -90.462 | -90.462 | 0.99403 | 0.0027617 | 0.0027617 | 0.99454 | 0.0033828 | 0.0033828 | 0.018195 | -179.953 | -179.953 | -0.12661 | -131.9555 | -131.9556
Line_1 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9538e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.9096e-12 | -1.3313e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556
Line_2 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9528e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.8955e-12 | -1.3313e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035094 | 0.0035094 | 0.0035094 | 0.0023404 | 0.0023404 | 0.0023404 | 0.040523 | 0.040523 | 0.040523 | 0.027024 | 0.027024 | 0.027024 | -0.0083871 | -0.0048596 | 0.013443 | 0.0056017 | 0.0033023 | -0.0089186 | -0.039471 | 0.012796 | -0.0020155 | 0.026341 | -0.0085184 | 0.0013405 | 101.9565 | 101.9565 | 101.9565 | -78.1307 | -78.1307 | -78.1307 | 0.99578 | 0.33778 | 0.33545 | 0.99651 | 0.33807 | 0.33373 | -0.039798 | -147.2482 | 93.4298 | -0.13649 | -146.9411 | 93.3212
Line_1 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2188e-11 | 6.8664e-10 | 6.8452e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9476e-12 | -5.6054e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212
Line_2 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2183e-11 | 6.8664e-10 | 6.8452e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9428e-12 | -5.6055e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035094 | 0.0035094 | 0.0035094 | 0.0023404 | 0.0023404 | 0.0023404 | 0.040523 | 0.040523 | 0.040523 | 0.027024 | 0.027024 | 0.027024 | -0.0083871 | -0.0048596 | 0.013443 | 0.0056017 | 0.0033023 | -0.0089186 | -0.039471 | 0.012796 | -0.0020155 | 0.026341 | -0.0085184 | 0.0013405 | 101.9565 | 101.9565 | 101.9565 | -78.1307 | -78.1307 | -78.1307 | 0.99578 | 0.33778 | 0.33545 | 0.99651 | 0.33807 | 0.33373 | -0.039798 | -147.2482 | 93.4298 | -0.13649 | -146.9411 | 93.3212
Line_1 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2188e-11 | 6.8664e-10 | 6.8452e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9476e-12 | -5.6054e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212
Line_2 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2183e-11 | 6.8664e-10 | 6.8452e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9428e-12 | -5.6055e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212