## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -5.9212e-15 | -4.737e-15 | 2.1316e-14 | 7.1061e-15 | 7.1061e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5886e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | -4.7366e-15 | 2.3685e-15 | 7.1052e-15 | 7.1052e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0191e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 4.7373e-15 | -9.4739e-15 | -2.3687e-15 | -2.3687e-15 | 9.6666e-29 | -1.5877e-09 | 1.5877e-09 | -1.3206e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7949e-13 | -180 | 180 | 7.9867e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -5.9212e-15 | -4.737e-15 | 2.1316e-14 | 7.1061e-15 | 7.1061e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5886e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | -4.7366e-15 | 2.3685e-15 | 7.1052e-15 | 7.1052e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0191e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 4.7373e-15 | -9.4739e-15 | -2.3687e-15 | -2.3687e-15 | 9.6666e-29 | -1.5877e-09 | 1.5877e-09 | -1.3206e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7949e-13 | -180 | 180 | 7.9867e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | -8.0023e-10 | -2.5674e-09 | 5.6251e-15 | 8.0024e-10 | 2.5674e-09 | -2.6435e-29 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0094e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3253e-29 | 2.6675e-10 | 8.558e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2059e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 9.9628e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.132e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | -8.0023e-10 | -2.5674e-09 | 5.6251e-15 | 8.0024e-10 | 2.5674e-09 | -2.6435e-29 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0094e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3253e-29 | 2.6675e-10 | 8.558e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2059e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 9.9628e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.132e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28589 | 0.28995 | 0.2902 | 0.28682 | 0.28952 | 0.28969 | 3.3012 | 3.3481 | 3.3509 | 3.3119 | 3.3431 | 3.345 | 6.1701e-11 | 0.73385 | -1.048 | 0.040562 | -0.67789 | 1.0815 | -7.1211e-12 | -3.4077 | -3.329 | 0.047986 | 3.4526 | 3.3777 | 92.7005 | -27.8186 | -146.866 | -87.3087 | 152.3442 | 32.9805 | 0 | 1.0411 | 1.0415 | 0.018972 | 1.0524 | 1.0603 | 0 | -105.6656 | 105.6598 | -37.5159 | -106.5474 | 105.2256
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14341 | 0.14476 | 0.14484 | 1.6667 | 1.6667 | 1.6667 | 1.656 | 1.6716 | 1.6725 | 0.030985 | -0.31707 | 0.54068 | -0.020281 | 0.33895 | -0.54076 | 0.036361 | 1.7352 | 1.6983 | -0.023993 | -1.7263 | -1.6888 | -87.3279 | 152.6718 | 32.672 | 92.6913 | -27.6558 | -147.0195 | 0.028663 | 1.0584 | 1.0694 | 0.018972 | 1.0524 | 1.0603 | -37.7634 | -106.973 | 105.0127 | -37.5159 | -106.5474 | 105.2256
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14341 | 0.14476 | 0.14484 | 1.6667 | 1.6667 | 1.6667 | 1.656 | 1.6716 | 1.6725 | 0.030985 | -0.31707 | 0.54068 | -0.020281 | 0.33895 | -0.54076 | 0.036361 | 1.7352 | 1.6983 | -0.023993 | -1.7263 | -1.6888 | -87.3279 | 152.6718 | 32.672 | 92.6913 | -27.6558 | -147.0195 | 0.028663 | 1.0584 | 1.0694 | 0.018972 | 1.0524 | 1.0603 | -37.7634 | -106.973 | 105.0127 | -37.5159 | -106.5474 | 105.2256

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28589 | 0.28995 | 0.2902 | 0.28682 | 0.28952 | 0.28969 | 3.3012 | 3.3481 | 3.3509 | 3.3119 | 3.3431 | 3.345 | 6.1701e-11 | 0.73385 | -1.048 | 0.040562 | -0.67789 | 1.0815 | -7.1211e-12 | -3.4077 | -3.329 | 0.047986 | 3.4526 | 3.3777 | 92.7005 | -27.8186 | -146.866 | -87.3087 | 152.3442 | 32.9805 | 0 | 1.0411 | 1.0415 | 0.018972 | 1.0524 | 1.0603 | 0 | -105.6656 | 105.6598 | -37.5159 | -106.5474 | 105.2256
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14341 | 0.14476 | 0.14484 | 1.6667 | 1.6667 | 1.6667 | 1.656 | 1.6716 | 1.6725 | 0.030985 | -0.31707 | 0.54068 | -0.020281 | 0.33895 | -0.54076 | 0.036361 | 1.7352 | 1.6983 | -0.023993 | -1.7263 | -1.6888 | -87.3279 | 152.6718 | 32.672 | 92.6913 | -27.6558 | -147.0195 | 0.028663 | 1.0584 | 1.0694 | 0.018972 | 1.0524 | 1.0603 | -37.7634 | -106.973 | 105.0127 | -37.5159 | -106.5474 | 105.2256
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14341 | 0.14476 | 0.14484 | 1.6667 | 1.6667 | 1.6667 | 1.656 | 1.6716 | 1.6725 | 0.030985 | -0.31707 | 0.54068 | -0.020281 | 0.33895 | -0.54076 | 0.036361 | 1.7352 | 1.6983 | -0.023993 | -1.7263 | -1.6888 | -87.3279 | 152.6718 | 32.672 | 92.6913 | -27.6558 | -147.0195 | 0.028663 | 1.0584 | 1.0694 | 0.018972 | 1.0524 | 1.0603 | -37.7634 | -106.973 | 105.0127 | -37.5159 | -106.5474 | 105.2256

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28816 | 0.2892 | 0.28866 | 0.28833 | 0.28903 | 0.28867 | 3.3274 | 3.3394 | 3.3332 | 3.3294 | 3.3374 | 3.3333 | -0.60794 | -0.073638 | -0.402 | 0.65233 | 0.11874 | 0.4425 | -3.1387 | -3.6739 | -3.8591 | 3.189 | 3.7209 | 3.909 | 92.6104 | -27.3857 | -147.2087 | -87.369 | 152.6334 | 32.7515 | 0.96081 | 1.1004 | 1.164 | 0.97767 | 1.1155 | 1.1802 | -8.3518 | -118.5339 | 116.8443 | -8.9298 | -119.1944 | 116.2931
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14417 | 0.14451 | 0.14433 | 1.6667 | 1.6667 | 1.6667 | 1.6647 | 1.6687 | 1.6666 | 0.3385 | 0.071439 | 0.22935 | -0.32617 | -0.059372 | -0.22125 | 1.6084 | 1.8704 | 1.9672 | -1.5945 | -1.8604 | -1.9545 | -87.328 | 152.672 | 32.672 | 92.631 | -27.3666 | -147.2485 | 0.98619 | 1.1231 | 1.1883 | 0.97767 | 1.1155 | 1.1802 | -9.2127 | -119.5154 | 116.022 | -8.9298 | -119.1944 | 116.2931
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14417 | 0.14451 | 0.14433 | 1.6667 | 1.6667 | 1.6667 | 1.6647 | 1.6687 | 1.6666 | 0.3385 | 0.071439 | 0.22935 | -0.32617 | -0.059372 | -0.22125 | 1.6084 | 1.8704 | 1.9672 | -1.5945 | -1.8604 | -1.9545 | -87.328 | 152.672 | 32.672 | 92.631 | -27.3666 | -147.2485 | 0.98619 | 1.1231 | 1.1883 | 0.97767 | 1.1155 | 1.1802 | -9.2127 | -119.5154 | 116.022 | -8.9298 | -119.1944 | 116.2931

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28816 | 0.2892 | 0.28866 | 0.28833 | 0.28903 | 0.28867 | 3.3274 | 3.3394 | 3.3332 | 3.3294 | 3.3374 | 3.3333 | -0.60794 | -0.073638 | -0.402 | 0.65233 | 0.11874 | 0.4425 | -3.1387 | -3.6739 | -3.8591 | 3.189 | 3.7209 | 3.909 | 92.6104 | -27.3857 | -147.2087 | -87.369 | 152.6334 | 32.7515 | 0.96081 | 1.1004 | 1.164 | 0.97767 | 1.1155 | 1.1802 | -8.3518 | -118.5339 | 116.8443 | -8.9298 | -119.1944 | 116.2931
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14417 | 0.14451 | 0.14433 | 1.6667 | 1.6667 | 1.6667 | 1.6647 | 1.6687 | 1.6666 | 0.3385 | 0.071439 | 0.22935 | -0.32617 | -0.059372 | -0.22125 | 1.6084 | 1.8704 | 1.9672 | -1.5945 | -1.8604 | -1.9545 | -87.328 | 152.672 | 32.672 | 92.631 | -27.3666 | -147.2485 | 0.98619 | 1.1231 | 1.1883 | 0.97767 | 1.1155 | 1.1802 | -9.2127 | -119.5154 | 116.022 | -8.9298 | -119.1944 | 116.2931
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14417 | 0.14451 | 0.14433 | 1.6667 | 1.6667 | 1.6667 | 1.6647 | 1.6687 | 1.6666 | 0.3385 | 0.071439 | 0.22935 | -0.32617 | -0.059372 | -0.22125 | 1.6084 | 1.8704 | 1.9672 | -1.5945 | -1.8604 | -1.9545 | -87.328 | 152.672 | 32.672 | 92.631 | -27.3666 | -147.2485 | 0.98619 | 1.1231 | 1.1883 | 0.97767 | 1.1155 | 1.1802 | -9.2127 | -119.5154 | 116.022 | -8.9298 | -119.1944 | 116.2931

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024669 | 0.0024669 | 0.0024669 | 0.0016451 | 0.0016451 | 0.0016451 | 0.028485 | 0.028485 | 0.028485 | 0.018996 | 0.018996 | 0.018996 | 9.622e-14 | 0.024717 | -0.024619 | 2.3999e-05 | -0.016466 | 0.016435 | 1.9019e-13 | -0.0068736 | -0.0073027 | 4.9765e-06 | 0.0045638 | 0.0049 | -90.4983 | -90.4983 | -90.4983 | 89.4145 | 89.4145 | 89.4145 | 0 | 0.90063 | 0.90151 | 0.0012902 | 0.89948 | 0.90279 | 0 | -106.0395 | 106.0234 | 101.1296 | -106.077 | 106.0164
Line_1 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2287e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9296e-10 | -8.002e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164
Line_2 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2286e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9297e-10 | -8.0019e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024669 | 0.0024669 | 0.0024669 | 0.0016451 | 0.0016451 | 0.0016451 | 0.028485 | 0.028485 | 0.028485 | 0.018996 | 0.018996 | 0.018996 | 9.622e-14 | 0.024717 | -0.024619 | 2.3999e-05 | -0.016466 | 0.016435 | 1.9019e-13 | -0.0068736 | -0.0073027 | 4.9765e-06 | 0.0045638 | 0.0049 | -90.4983 | -90.4983 | -90.4983 | 89.4145 | 89.4145 | 89.4145 | 0 | 0.90063 | 0.90151 | 0.0012902 | 0.89948 | 0.90279 | 0 | -106.0395 | 106.0234 | 101.1296 | -106.077 | 106.0164
Line_1 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2287e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9296e-10 | -8.002e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164
Line_2 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2286e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9297e-10 | -8.0019e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00055455 | 0.00055455 | 0.00055455 | 0.00036982 | 0.00036982 | 0.00036982 | 0.0064034 | 0.0064034 | 0.0064034 | 0.0042703 | 0.0042703 | 0.0042703 | 0.0035052 | 0.0028978 | -0.0063981 | -0.0023323 | -0.0019367 | 0.0042687 | 0.0039276 | -0.0053468 | 0.00070278 | -0.0026225 | 0.0035629 | -0.00046192 | -56.9451 | -56.945 | -56.945 | 122.9678 | 122.9678 | 122.9678 | 0.8221 | 0.94973 | 1.0052 | 0.82187 | 0.94965 | 1.0055 | -8.6927 | -118.4884 | 116.7866 | -8.6806 | -118.5052 | 116.7917
Line_1 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.024e-10 | 1.742e-10 | -2.6102e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0629e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917
Line_2 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.0241e-10 | 1.742e-10 | -2.6104e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0631e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00055455 | 0.00055455 | 0.00055455 | 0.00036982 | 0.00036982 | 0.00036982 | 0.0064034 | 0.0064034 | 0.0064034 | 0.0042703 | 0.0042703 | 0.0042703 | 0.0035052 | 0.0028978 | -0.0063981 | -0.0023323 | -0.0019367 | 0.0042687 | 0.0039276 | -0.0053468 | 0.00070278 | -0.0026225 | 0.0035629 | -0.00046192 | -56.9451 | -56.945 | -56.945 | 122.9678 | 122.9678 | 122.9678 | 0.8221 | 0.94973 | 1.0052 | 0.82187 | 0.94965 | 1.0055 | -8.6927 | -118.4884 | 116.7866 | -8.6806 | -118.5052 | 116.7917
Line_1 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.024e-10 | 1.742e-10 | -2.6102e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0629e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917
Line_2 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.0241e-10 | 1.742e-10 | -2.6104e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0631e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29242 | 0.28699 | 0.28665 | 0.29117 | 0.28755 | 0.28732 | 3.3766 | 3.3138 | 3.31 | 3.3622 | 3.3203 | 3.3177 | -0.11868 | 4.0343e-11 | 4.0936e-11 | 0.16582 | 0.040872 | 0.0421 | -2.5531 | -3.5206e-11 | -3.4376e-11 | 2.5929 | 0.051017 | 0.04574 | 92.6347 | -26.661 | -147.9577 | -87.3534 | 153.1161 | 32.2532 | 0.75693 | 0 | 0 | 0.77278 | 0.019688 | 0.018738 | -0.026836 | 0 | 0 | -1.0125 | -155.5834 | 79.6264
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14559 | 0.14377 | 0.14366 | 1.6667 | 1.6667 | 1.6667 | 1.6811 | 1.6601 | 1.6589 | 0.093939 | 0.03088 | 0.03208 | -0.082909 | -0.020436 | -0.02105 | 1.2977 | 0.038295 | 0.034762 | -1.2965 | -0.025509 | -0.02287 | -87.3281 | 152.6721 | 32.672 | 92.6466 | -26.8839 | -147.7468 | 0.78067 | 0.029517 | 0.028381 | 0.77278 | 0.019688 | 0.018738 | -1.4684 | -156.2097 | 79.9702 | -1.0125 | -155.5834 | 79.6264
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14559 | 0.14377 | 0.14366 | 1.6667 | 1.6667 | 1.6667 | 1.6811 | 1.6601 | 1.6589 | 0.093939 | 0.03088 | 0.03208 | -0.082909 | -0.020436 | -0.02105 | 1.2977 | 0.038295 | 0.034762 | -1.2965 | -0.025509 | -0.02287 | -87.3281 | 152.6721 | 32.672 | 92.6466 | -26.8839 | -147.7468 | 0.78067 | 0.029517 | 0.028381 | 0.77278 | 0.019688 | 0.018738 | -1.4684 | -156.2097 | 79.9702 | -1.0125 | -155.5834 | 79.6264

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29242 | 0.28699 | 0.28665 | 0.29117 | 0.28755 | 0.28732 | 3.3766 | 3.3138 | 3.31 | 3.3622 | 3.3203 | 3.3177 | -0.11868 | 4.0343e-11 | 4.0936e-11 | 0.16582 | 0.040872 | 0.0421 | -2.5531 | -3.5206e-11 | -3.4376e-11 | 2.5929 | 0.051017 | 0.04574 | 92.6347 | -26.661 | -147.9577 | -87.3534 | 153.1161 | 32.2532 | 0.75693 | 0 | 0 | 0.77278 | 0.019688 | 0.018738 | -0.026836 | 0 | 0 | -1.0125 | -155.5834 | 79.6264
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14559 | 0.14377 | 0.14366 | 1.6667 | 1.6667 | 1.6667 | 1.6811 | 1.6601 | 1.6589 | 0.093939 | 0.03088 | 0.03208 | -0.082909 | -0.020436 | -0.02105 | 1.2977 | 0.038295 | 0.034762 | -1.2965 | -0.025509 | -0.02287 | -87.3281 | 152.6721 | 32.672 | 92.6466 | -26.8839 | -147.7468 | 0.78067 | 0.029517 | 0.028381 | 0.77278 | 0.019688 | 0.018738 | -1.4684 | -156.2097 | 79.9702 | -1.0125 | -155.5834 | 79.6264
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14559 | 0.14377 | 0.14366 | 1.6667 | 1.6667 | 1.6667 | 1.6811 | 1.6601 | 1.6589 | 0.093939 | 0.03088 | 0.03208 | -0.082909 | -0.020436 | -0.02105 | 1.2977 | 0.038295 | 0.034762 | -1.2965 | -0.025509 | -0.02287 | -87.3281 | 152.6721 | 32.672 | 92.6466 | -26.8839 | -147.7468 | 0.78067 | 0.029517 | 0.028381 | 0.77278 | 0.019688 | 0.018738 | -1.4684 | -156.2097 | 79.9702 | -1.0125 | -155.5834 | 79.6264

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2892 | 0.28811 | 0.28871 | 0.28903 | 0.2883 | 0.2887 | 3.3394 | 3.3269 | 3.3337 | 3.3374 | 3.329 | 3.3336 | -0.30764 | -0.78234 | -0.49092 | 0.34977 | 0.82452 | 0.5366 | -3.6737 | -3.1209 | -3.008 | 3.7213 | 3.1723 | 3.0563 | 92.7398 | -27.271 | -147.4529 | -87.2829 | 152.7101 | 32.5887 | 1.1039 | 0.96711 | 0.91425 | 1.1199 | 0.98459 | 0.93083 | -2.047 | -131.3438 | 113.278 | -2.6525 | -131.8595 | 112.6305
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14451 | 0.14415 | 0.14435 | 1.6667 | 1.6667 | 1.6667 | 1.6687 | 1.6645 | 1.6668 | 0.18408 | 0.42251 | 0.28136 | -0.17489 | -0.41226 | -0.2683 | 1.8708 | 1.6008 | 1.5399 | -1.8606 | -1.5862 | -1.5281 | -87.3281 | 152.672 | 32.672 | 92.7171 | -27.2899 | -147.4113 | 1.1279 | 0.99336 | 0.93921 | 1.1199 | 0.98459 | 0.93083 | -2.9474 | -132.1136 | 112.3173 | -2.6525 | -131.8595 | 112.6305
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14451 | 0.14415 | 0.14435 | 1.6667 | 1.6667 | 1.6667 | 1.6687 | 1.6645 | 1.6668 | 0.18408 | 0.42251 | 0.28136 | -0.17489 | -0.41226 | -0.2683 | 1.8708 | 1.6008 | 1.5399 | -1.8606 | -1.5862 | -1.5281 | -87.3281 | 152.672 | 32.672 | 92.7171 | -27.2899 | -147.4113 | 1.1279 | 0.99336 | 0.93921 | 1.1199 | 0.98459 | 0.93083 | -2.9474 | -132.1136 | 112.3173 | -2.6525 | -131.8595 | 112.6305

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2892 | 0.28811 | 0.28871 | 0.28903 | 0.2883 | 0.2887 | 3.3394 | 3.3269 | 3.3337 | 3.3374 | 3.329 | 3.3336 | -0.30764 | -0.78234 | -0.49092 | 0.34977 | 0.82452 | 0.5366 | -3.6737 | -3.1209 | -3.008 | 3.7213 | 3.1723 | 3.0563 | 92.7398 | -27.271 | -147.4529 | -87.2829 | 152.7101 | 32.5887 | 1.1039 | 0.96711 | 0.91425 | 1.1199 | 0.98459 | 0.93083 | -2.047 | -131.3438 | 113.278 | -2.6525 | -131.8595 | 112.6305
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14451 | 0.14415 | 0.14435 | 1.6667 | 1.6667 | 1.6667 | 1.6687 | 1.6645 | 1.6668 | 0.18408 | 0.42251 | 0.28136 | -0.17489 | -0.41226 | -0.2683 | 1.8708 | 1.6008 | 1.5399 | -1.8606 | -1.5862 | -1.5281 | -87.3281 | 152.672 | 32.672 | 92.7171 | -27.2899 | -147.4113 | 1.1279 | 0.99336 | 0.93921 | 1.1199 | 0.98459 | 0.93083 | -2.9474 | -132.1136 | 112.3173 | -2.6525 | -131.8595 | 112.6305
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14451 | 0.14415 | 0.14435 | 1.6667 | 1.6667 | 1.6667 | 1.6687 | 1.6645 | 1.6668 | 0.18408 | 0.42251 | 0.28136 | -0.17489 | -0.41226 | -0.2683 | 1.8708 | 1.6008 | 1.5399 | -1.8606 | -1.5862 | -1.5281 | -87.3281 | 152.672 | 32.672 | 92.7171 | -27.2899 | -147.4113 | 1.1279 | 0.99336 | 0.93921 | 1.1199 | 0.98459 | 0.93083 | -2.9474 | -132.1136 | 112.3173 | -2.6525 | -131.8595 | 112.6305

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032943 | 0.0032943 | 0.0032943 | 0.0021969 | 0.0021969 | 0.0021969 | 0.038039 | 0.038039 | 0.038039 | 0.025367 | 0.025367 | 0.025367 | 0.00017333 | 2.4733e-15 | 3.6595e-13 | -9.8434e-05 | 4.2797e-05 | 4.2796e-05 | -0.02528 | 4.217e-13 | -2.1352e-13 | 0.016868 | 8.8745e-06 | 8.8745e-06 | 89.5367 | 89.5367 | 89.5367 | -90.5504 | -90.5504 | -90.5504 | 0.66461 | 0 | 0 | 0.66495 | 0.001723 | 0.001723 | -0.070431 | 0 | 0 | -0.21605 | -78.8353 | -78.8354
Line_1 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0432e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354
Line_2 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0438e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032943 | 0.0032943 | 0.0032943 | 0.0021969 | 0.0021969 | 0.0021969 | 0.038039 | 0.038039 | 0.038039 | 0.025367 | 0.025367 | 0.025367 | 0.00017333 | 2.4733e-15 | 3.6595e-13 | -9.8434e-05 | 4.2797e-05 | 4.2796e-05 | -0.02528 | 4.217e-13 | -2.1352e-13 | 0.016868 | 8.8745e-06 | 8.8745e-06 | 89.5367 | 89.5367 | 89.5367 | -90.5504 | -90.5504 | -90.5504 | 0.66461 | 0 | 0 | 0.66495 | 0.001723 | 0.001723 | -0.070431 | 0 | 0 | -0.21605 | -78.8353 | -78.8354
Line_1 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0432e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354
Line_2 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0438e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00058159 | 0.00058159 | 0.00058159 | 0.00038785 | 0.00038785 | 0.00038785 | 0.0067156 | 0.0067156 | 0.0067156 | 0.0044785 | 0.0044785 | 0.0044784 | -0.0038499 | -0.0012808 | 0.0051361 | 0.0025635 | 0.00086094 | -0.0034249 | -0.0051078 | 0.0054067 | -0.0010868 | 0.0034104 | -0.003604 | 0.00071985 | 124.9356 | 124.9356 | 124.9356 | -55.1516 | -55.1516 | -55.1516 | 0.95244 | 0.82738 | 0.78174 | 0.95267 | 0.82739 | 0.78146 | -2.0709 | -131.7373 | 112.9876 | -2.0829 | -131.7163 | 112.9787
Line_1 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787
Line_2 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00058159 | 0.00058159 | 0.00058159 | 0.00038785 | 0.00038785 | 0.00038785 | 0.0067156 | 0.0067156 | 0.0067156 | 0.0044785 | 0.0044785 | 0.0044784 | -0.0038499 | -0.0012808 | 0.0051361 | 0.0025635 | 0.00086094 | -0.0034249 | -0.0051078 | 0.0054067 | -0.0010868 | 0.0034104 | -0.003604 | 0.00071985 | 124.9356 | 124.9356 | 124.9356 | -55.1516 | -55.1516 | -55.1516 | 0.95244 | 0.82738 | 0.78174 | 0.95267 | 0.82739 | 0.78146 | -2.0709 | -131.7373 | 112.9876 | -2.0829 | -131.7163 | 112.9787
Line_1 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787
Line_2 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787