## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1983 | 1.1983 | 0 | 0 | 41.5118 | 41.5118 | -0.2755 | 2.5157 | -8.0588 | 10.6005 | 106.7886 | -73.2114 | 0.19425 | 0.26245 | 14.8306 | 3.4383
Line_1 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383
Line_2 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1983 | 1.1983 | 0 | 0 | 41.5118 | 41.5118 | -0.2755 | 2.5157 | -8.0588 | 10.6005 | 106.7886 | -73.2114 | 0.19425 | 0.26245 | 14.8306 | 3.4383
Line_1 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383
Line_2 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.81406 | 0.81406 | 0 | 0 | 28.2 | 28.2 | -9.7454 | 10.7792 | -10.2951 | 11.4681 | 120.4166 | -59.5834 | 0.5027 | 0.55811 | -13.0121 | -12.8097
Line_1 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097
Line_2 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.81406 | 0.81406 | 0 | 0 | 28.2 | 28.2 | -9.7454 | 10.7792 | -10.2951 | 11.4681 | 120.4166 | -59.5834 | 0.5027 | 0.55811 | -13.0121 | -12.8097
Line_1 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097
Line_2 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1307 | 1.0487 | 0.92791 | 0.1307 | 1.0487 | 0.92791 | 1.5092 | 12.1096 | 10.7146 | 1.5092 | 12.1096 | 10.7146 | -1.6278 | -6.655 | 5.7163 | 1.6367 | 7.2269 | -5.2686 | -0.37433 | -0.99818 | -2.841 | 0.38441 | 1.6471 | 3.349 | 168.3616 | 9.3852 | -167.7184 | -11.6384 | -170.6148 | 12.2816 | 1.1068 | 0.55571 | 0.59576 | 1.114 | 0.6121 | 0.58265 | 1.3122 | -162.0847 | 165.8542 | 1.5791 | -157.776 | 159.8392
Line_1 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392
Line_2 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1307 | 1.0487 | 0.92791 | 0.1307 | 1.0487 | 0.92791 | 1.5092 | 12.1096 | 10.7146 | 1.5092 | 12.1096 | 10.7146 | -1.6278 | -6.655 | 5.7163 | 1.6367 | 7.2269 | -5.2686 | -0.37433 | -0.99818 | -2.841 | 0.38441 | 1.6471 | 3.349 | 168.3616 | 9.3852 | -167.7184 | -11.6384 | -170.6148 | 12.2816 | 1.1068 | 0.55571 | 0.59576 | 1.114 | 0.6121 | 0.58265 | 1.3122 | -162.0847 | 165.8542 | 1.5791 | -157.776 | 159.8392
Line_1 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392
Line_2 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10655 | 0.85493 | 0.75644 | 0.10655 | 0.85493 | 0.75644 | 1.2303 | 9.8718 | 8.7346 | 1.2303 | 9.8718 | 8.7346 | -1.352 | -6.8175 | 3.0105 | 1.3579 | 7.1976 | -2.713 | -0.10831 | -1.1513 | -3.9017 | 0.11501 | 1.5825 | 4.2393 | 176.5217 | 17.5453 | -159.5582 | -3.4783 | -162.4547 | 20.4418 | 1.1025 | 0.70038 | 0.5642 | 1.1077 | 0.74652 | 0.57622 | 1.1019 | -152.8693 | 148.0951 | 1.3627 | -150.0543 | 143.0592
Line_1 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592
Line_2 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10655 | 0.85493 | 0.75644 | 0.10655 | 0.85493 | 0.75644 | 1.2303 | 9.8718 | 8.7346 | 1.2303 | 9.8718 | 8.7346 | -1.352 | -6.8175 | 3.0105 | 1.3579 | 7.1976 | -2.713 | -0.10831 | -1.1513 | -3.9017 | 0.11501 | 1.5825 | 4.2393 | 176.5217 | 17.5453 | -159.5582 | -3.4783 | -162.4547 | 20.4418 | 1.1025 | 0.70038 | 0.5642 | 1.1077 | 0.74652 | 0.57622 | 1.1019 | -152.8693 | 148.0951 | 1.3627 | -150.0543 | 143.0592
Line_1 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592
Line_2 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75071 | 0.3078 | 0.44513 | 0.75071 | 0.3078 | 0.44513 | 8.6685 | 3.5541 | 5.1399 | 8.6685 | 3.5541 | 5.1399 | -0.63328 | 3.0722 | -4.9945 | 0.92633 | -3.0229 | 5.0976 | -4.2599 | -1.7432 | -0.74471 | 4.5924 | 1.7991 | 0.86161 | 100.6795 | -74.0334 | -82.9737 | -79.3205 | 105.9666 | 97.0263 | 0.49682 | 0.99386 | 0.98245 | 0.54045 | 0.98977 | 1.0058 | 2.2237 | -103.6051 | 105.5069 | -0.72471 | -104.793 | 106.62
Line_1 | 0.37536 | 0.1539 | 0.22257 | 0.37536 | 0.1539 | 0.22257 | 4.3342 | 1.7771 | 2.57 | 4.3342 | 1.7771 | 2.57 | 0.53643 | -1.4991 | 2.5745 | -0.46317 | 1.5115 | -2.5488 | 2.3793 | 0.91354 | 0.46003 | -2.2962 | -0.89956 | -0.4308 | -79.3205 | 105.9666 | 97.0263 | 100.6795 | -74.0334 | -82.9737 | 0.56274 | 0.98789 | 1.0176 | 0.54045 | 0.98977 | 1.0058 | -2.0258 | -105.3905 | 107.1573 | -0.72471 | -104.793 | 106.62
Line_2 | 0.37536 | 0.1539 | 0.22257 | 0.37536 | 0.1539 | 0.22257 | 4.3342 | 1.7771 | 2.57 | 4.3342 | 1.7771 | 2.57 | 0.53643 | -1.4991 | 2.5745 | -0.46317 | 1.5115 | -2.5488 | 2.3793 | 0.91354 | 0.46003 | -2.2962 | -0.89956 | -0.4308 | -79.3205 | 105.9666 | 97.0263 | 100.6795 | -74.0334 | -82.9737 | 0.56274 | 0.98789 | 1.0176 | 0.54045 | 0.98977 | 1.0058 | -2.0258 | -105.3905 | 107.1573 | -0.72471 | -104.793 | 106.62

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75071 | 0.3078 | 0.44513 | 0.75071 | 0.3078 | 0.44513 | 8.6685 | 3.5541 | 5.1399 | 8.6685 | 3.5541 | 5.1399 | -0.63328 | 3.0722 | -4.9945 | 0.92633 | -3.0229 | 5.0976 | -4.2599 | -1.7432 | -0.74471 | 4.5924 | 1.7991 | 0.86161 | 100.6795 | -74.0334 | -82.9737 | -79.3205 | 105.9666 | 97.0263 | 0.49682 | 0.99386 | 0.98245 | 0.54045 | 0.98977 | 1.0058 | 2.2237 | -103.6051 | 105.5069 | -0.72471 | -104.793 | 106.62
Line_1 | 0.37536 | 0.1539 | 0.22257 | 0.37536 | 0.1539 | 0.22257 | 4.3342 | 1.7771 | 2.57 | 4.3342 | 1.7771 | 2.57 | 0.53643 | -1.4991 | 2.5745 | -0.46317 | 1.5115 | -2.5488 | 2.3793 | 0.91354 | 0.46003 | -2.2962 | -0.89956 | -0.4308 | -79.3205 | 105.9666 | 97.0263 | 100.6795 | -74.0334 | -82.9737 | 0.56274 | 0.98789 | 1.0176 | 0.54045 | 0.98977 | 1.0058 | -2.0258 | -105.3905 | 107.1573 | -0.72471 | -104.793 | 106.62
Line_2 | 0.37536 | 0.1539 | 0.22257 | 0.37536 | 0.1539 | 0.22257 | 4.3342 | 1.7771 | 2.57 | 4.3342 | 1.7771 | 2.57 | 0.53643 | -1.4991 | 2.5745 | -0.46317 | 1.5115 | -2.5488 | 2.3793 | 0.91354 | 0.46003 | -2.2962 | -0.89956 | -0.4308 | -79.3205 | 105.9666 | 97.0263 | 100.6795 | -74.0334 | -82.9737 | 0.56274 | 0.98789 | 1.0176 | 0.54045 | 0.98977 | 1.0058 | -2.0258 | -105.3905 | 107.1573 | -0.72471 | -104.793 | 106.62

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51291 | 0.2103 | 0.30413 | 0.51291 | 0.2103 | 0.30413 | 5.9226 | 2.4283 | 3.5118 | 5.9226 | 2.4283 | 3.5118 | -2.1498 | 1.5185 | -3.7129 | 2.2866 | -1.4955 | 3.761 | -3.553 | -1.8048 | 0.053445 | 3.7082 | 1.8309 | 0.001126 | 114.2812 | -60.4317 | -69.372 | -65.7188 | 119.5683 | 110.628 | 0.70117 | 0.97133 | 1.0574 | 0.73558 | 0.97356 | 1.071 | -6.8949 | -110.3551 | 109.8033 | -7.3775 | -111.1888 | 110.6451
Line_1 | 0.25646 | 0.10515 | 0.15206 | 0.25646 | 0.10515 | 0.15206 | 2.9613 | 1.2141 | 1.7559 | 2.9613 | 1.2141 | 1.7559 | 1.1775 | -0.74203 | 1.8925 | -1.1433 | 0.74777 | -1.8805 | 1.8929 | 0.92198 | 0.014206 | -1.8541 | -0.91546 | -0.00056299 | -65.7188 | 119.5683 | 110.628 | 114.2812 | -60.4317 | -69.372 | 0.7528 | 0.97475 | 1.0779 | 0.73558 | 0.97356 | 1.071 | -7.6023 | -111.6041 | 111.058 | -7.3775 | -111.1888 | 110.6451
Line_2 | 0.25646 | 0.10515 | 0.15206 | 0.25646 | 0.10515 | 0.15206 | 2.9613 | 1.2141 | 1.7559 | 2.9613 | 1.2141 | 1.7559 | 1.1775 | -0.74203 | 1.8925 | -1.1433 | 0.74777 | -1.8805 | 1.8929 | 0.92198 | 0.014206 | -1.8541 | -0.91546 | -0.00056299 | -65.7188 | 119.5683 | 110.628 | 114.2812 | -60.4317 | -69.372 | 0.7528 | 0.97475 | 1.0779 | 0.73558 | 0.97356 | 1.071 | -7.6023 | -111.6041 | 111.058 | -7.3775 | -111.1888 | 110.6451

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51291 | 0.2103 | 0.30413 | 0.51291 | 0.2103 | 0.30413 | 5.9226 | 2.4283 | 3.5118 | 5.9226 | 2.4283 | 3.5118 | -2.1498 | 1.5185 | -3.7129 | 2.2866 | -1.4955 | 3.761 | -3.553 | -1.8048 | 0.053445 | 3.7082 | 1.8309 | 0.001126 | 114.2812 | -60.4317 | -69.372 | -65.7188 | 119.5683 | 110.628 | 0.70117 | 0.97133 | 1.0574 | 0.73558 | 0.97356 | 1.071 | -6.8949 | -110.3551 | 109.8033 | -7.3775 | -111.1888 | 110.6451
Line_1 | 0.25646 | 0.10515 | 0.15206 | 0.25646 | 0.10515 | 0.15206 | 2.9613 | 1.2141 | 1.7559 | 2.9613 | 1.2141 | 1.7559 | 1.1775 | -0.74203 | 1.8925 | -1.1433 | 0.74777 | -1.8805 | 1.8929 | 0.92198 | 0.014206 | -1.8541 | -0.91546 | -0.00056299 | -65.7188 | 119.5683 | 110.628 | 114.2812 | -60.4317 | -69.372 | 0.7528 | 0.97475 | 1.0779 | 0.73558 | 0.97356 | 1.071 | -7.6023 | -111.6041 | 111.058 | -7.3775 | -111.1888 | 110.6451
Line_2 | 0.25646 | 0.10515 | 0.15206 | 0.25646 | 0.10515 | 0.15206 | 2.9613 | 1.2141 | 1.7559 | 2.9613 | 1.2141 | 1.7559 | 1.1775 | -0.74203 | 1.8925 | -1.1433 | 0.74777 | -1.8805 | 1.8929 | 0.92198 | 0.014206 | -1.8541 | -0.91546 | -0.00056299 | -65.7188 | 119.5683 | 110.628 | 114.2812 | -60.4317 | -69.372 | 0.7528 | 0.97475 | 1.0779 | 0.73558 | 0.97356 | 1.071 | -7.6023 | -111.6041 | 111.058 | -7.3775 | -111.1888 | 110.6451

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71589 | 0.29483 | 0.4224 | 0.71589 | 0.29483 | 0.4224 | 8.2664 | 3.4044 | 4.8775 | 8.2664 | 3.4044 | 4.8775 | -0.73111 | 2.6077 | -4.3193 | 1.2428 | -2.5209 | 4.4975 | -3.7364 | -1.6564 | -0.33064 | 4.0388 | 1.7077 | 0.43591 | 104.4801 | -71.3365 | -78.4385 | -75.5199 | 108.6635 | 101.5615 | 0.46057 | 0.90745 | 0.88816 | 0.51118 | 0.8944 | 0.92642 | 3.4087 | -103.7606 | 105.9389 | -2.6239 | -105.451 | 107.0975
Line_1 | 0.35795 | 0.14741 | 0.2112 | 0.35795 | 0.14741 | 0.2112 | 4.1332 | 1.7022 | 2.4387 | 4.1332 | 1.7022 | 2.4387 | 0.74932 | -1.2388 | 2.2933 | -0.6214 | 1.2605 | -2.2487 | 2.095 | 0.86668 | 0.24427 | -2.0194 | -0.85385 | -0.21795 | -75.5199 | 108.6635 | 101.5615 | 104.4801 | -71.3365 | -78.4385 | 0.53831 | 0.88817 | 0.94568 | 0.51118 | 0.8944 | 0.92642 | -5.2007 | -106.3145 | 107.6415 | -2.6239 | -105.451 | 107.0975
Line_2 | 0.35795 | 0.14741 | 0.2112 | 0.35795 | 0.14741 | 0.2112 | 4.1332 | 1.7022 | 2.4387 | 4.1332 | 1.7022 | 2.4387 | 0.74932 | -1.2388 | 2.2933 | -0.6214 | 1.2605 | -2.2487 | 2.095 | 0.86668 | 0.24427 | -2.0194 | -0.85385 | -0.21795 | -75.5199 | 108.6635 | 101.5615 | 104.4801 | -71.3365 | -78.4385 | 0.53831 | 0.88817 | 0.94568 | 0.51118 | 0.8944 | 0.92642 | -5.2007 | -106.3145 | 107.6415 | -2.6239 | -105.451 | 107.0975

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71589 | 0.29483 | 0.4224 | 0.71589 | 0.29483 | 0.4224 | 8.2664 | 3.4044 | 4.8775 | 8.2664 | 3.4044 | 4.8775 | -0.73111 | 2.6077 | -4.3193 | 1.2428 | -2.5209 | 4.4975 | -3.7364 | -1.6564 | -0.33064 | 4.0388 | 1.7077 | 0.43591 | 104.4801 | -71.3365 | -78.4385 | -75.5199 | 108.6635 | 101.5615 | 0.46057 | 0.90745 | 0.88816 | 0.51118 | 0.8944 | 0.92642 | 3.4087 | -103.7606 | 105.9389 | -2.6239 | -105.451 | 107.0975
Line_1 | 0.35795 | 0.14741 | 0.2112 | 0.35795 | 0.14741 | 0.2112 | 4.1332 | 1.7022 | 2.4387 | 4.1332 | 1.7022 | 2.4387 | 0.74932 | -1.2388 | 2.2933 | -0.6214 | 1.2605 | -2.2487 | 2.095 | 0.86668 | 0.24427 | -2.0194 | -0.85385 | -0.21795 | -75.5199 | 108.6635 | 101.5615 | 104.4801 | -71.3365 | -78.4385 | 0.53831 | 0.88817 | 0.94568 | 0.51118 | 0.8944 | 0.92642 | -5.2007 | -106.3145 | 107.6415 | -2.6239 | -105.451 | 107.0975
Line_2 | 0.35795 | 0.14741 | 0.2112 | 0.35795 | 0.14741 | 0.2112 | 4.1332 | 1.7022 | 2.4387 | 4.1332 | 1.7022 | 2.4387 | 0.74932 | -1.2388 | 2.2933 | -0.6214 | 1.2605 | -2.2487 | 2.095 | 0.86668 | 0.24427 | -2.0194 | -0.85385 | -0.21795 | -75.5199 | 108.6635 | 101.5615 | 104.4801 | -71.3365 | -78.4385 | 0.53831 | 0.88817 | 0.94568 | 0.51118 | 0.8944 | 0.92642 | -5.2007 | -106.3145 | 107.6415 | -2.6239 | -105.451 | 107.0975

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50866 | 0.20948 | 0.30013 | 0.50866 | 0.20948 | 0.30013 | 5.8735 | 2.4189 | 3.4656 | 5.8735 | 2.4189 | 3.4656 | -1.9857 | 1.3499 | -3.2913 | 2.244 | -1.306 | 3.3812 | -3.0822 | -1.6637 | 0.25029 | 3.2349 | 1.6896 | -0.19715 | 116.9294 | -58.8872 | -65.9891 | -63.0706 | 121.1128 | 114.0109 | 0.62423 | 0.8857 | 0.95246 | 0.67029 | 0.88285 | 0.97732 | -5.8617 | -109.8326 | 109.662 | -7.8193 | -111.1832 | 110.6739
Line_1 | 0.25433 | 0.10474 | 0.15006 | 0.25433 | 0.10474 | 0.15006 | 2.9368 | 1.2095 | 1.7328 | 2.9368 | 1.2095 | 1.7328 | 1.1866 | -0.64207 | 1.7131 | -1.122 | 0.65302 | -1.6906 | 1.6556 | 0.85127 | -0.085289 | -1.6174 | -0.84479 | 0.098575 | -63.0706 | 121.1128 | 114.0109 | 116.9294 | -58.8872 | -65.9891 | 0.69359 | 0.88161 | 0.98986 | 0.67029 | 0.88285 | 0.97732 | -8.7 | -111.8616 | 111.1607 | -7.8193 | -111.1832 | 110.6739
Line_2 | 0.25433 | 0.10474 | 0.15006 | 0.25433 | 0.10474 | 0.15006 | 2.9368 | 1.2095 | 1.7328 | 2.9368 | 1.2095 | 1.7328 | 1.1866 | -0.64207 | 1.7131 | -1.122 | 0.65302 | -1.6906 | 1.6556 | 0.85127 | -0.085289 | -1.6174 | -0.84479 | 0.098575 | -63.0706 | 121.1128 | 114.0109 | 116.9294 | -58.8872 | -65.9891 | 0.69359 | 0.88161 | 0.98986 | 0.67029 | 0.88285 | 0.97732 | -8.7 | -111.8616 | 111.1607 | -7.8193 | -111.1832 | 110.6739

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50866 | 0.20948 | 0.30013 | 0.50866 | 0.20948 | 0.30013 | 5.8735 | 2.4189 | 3.4656 | 5.8735 | 2.4189 | 3.4656 | -1.9857 | 1.3499 | -3.2913 | 2.244 | -1.306 | 3.3812 | -3.0822 | -1.6637 | 0.25029 | 3.2349 | 1.6896 | -0.19715 | 116.9294 | -58.8872 | -65.9891 | -63.0706 | 121.1128 | 114.0109 | 0.62423 | 0.8857 | 0.95246 | 0.67029 | 0.88285 | 0.97732 | -5.8617 | -109.8326 | 109.662 | -7.8193 | -111.1832 | 110.6739
Line_1 | 0.25433 | 0.10474 | 0.15006 | 0.25433 | 0.10474 | 0.15006 | 2.9368 | 1.2095 | 1.7328 | 2.9368 | 1.2095 | 1.7328 | 1.1866 | -0.64207 | 1.7131 | -1.122 | 0.65302 | -1.6906 | 1.6556 | 0.85127 | -0.085289 | -1.6174 | -0.84479 | 0.098575 | -63.0706 | 121.1128 | 114.0109 | 116.9294 | -58.8872 | -65.9891 | 0.69359 | 0.88161 | 0.98986 | 0.67029 | 0.88285 | 0.97732 | -8.7 | -111.8616 | 111.1607 | -7.8193 | -111.1832 | 110.6739
Line_2 | 0.25433 | 0.10474 | 0.15006 | 0.25433 | 0.10474 | 0.15006 | 2.9368 | 1.2095 | 1.7328 | 2.9368 | 1.2095 | 1.7328 | 1.1866 | -0.64207 | 1.7131 | -1.122 | 0.65302 | -1.6906 | 1.6556 | 0.85127 | -0.085289 | -1.6174 | -0.84479 | 0.098575 | -63.0706 | 121.1128 | 114.0109 | 116.9294 | -58.8872 | -65.9891 | 0.69359 | 0.88161 | 0.98986 | 0.67029 | 0.88285 | 0.97732 | -8.7 | -111.8616 | 111.1607 | -7.8193 | -111.1832 | 110.6739

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43794 | 1.0775 | 0.97307 | 0.43794 | 1.0775 | 0.97307 | 5.0569 | 12.4423 | 11.236 | 5.0569 | 12.4423 | 11.236 | -1.6948 | -4.7002 | 3.7241 | 1.7945 | 5.304 | -3.2318 | -3.7223 | -2.0835 | -3.5414 | 3.8355 | 2.7686 | 4.1001 | 116.8848 | 1.4047 | -154.6236 | -63.1152 | -178.5953 | 25.3764 | 0.80879 | 0.41321 | 0.45738 | 0.83738 | 0.48086 | 0.46463 | 2.4048 | -154.6883 | 161.8169 | 1.8111 | -151.0316 | 153.6223
Line_1 | 0.21897 | 0.53877 | 0.48653 | 0.21897 | 0.53877 | 0.48653 | 2.5284 | 6.2212 | 5.618 | 2.5284 | 6.2212 | 5.618 | 0.92219 | 2.8029 | -1.4928 | -0.89726 | -2.652 | 1.6159 | 1.946 | 1.5555 | 2.1897 | -1.9177 | -1.3843 | -2.05 | -63.1152 | -178.5953 | 25.3764 | 116.8848 | 1.4047 | -154.6236 | 0.8517 | 0.51528 | 0.47172 | 0.83738 | 0.48086 | 0.46463 | 1.5293 | -149.5663 | 149.66 | 1.8111 | -151.0316 | 153.6223
Line_2 | 0.21897 | 0.53877 | 0.48653 | 0.21897 | 0.53877 | 0.48653 | 2.5284 | 6.2212 | 5.618 | 2.5284 | 6.2212 | 5.618 | 0.92219 | 2.8029 | -1.4928 | -0.89726 | -2.652 | 1.6159 | 1.946 | 1.5555 | 2.1897 | -1.9177 | -1.3843 | -2.05 | -63.1152 | -178.5953 | 25.3764 | 116.8848 | 1.4047 | -154.6236 | 0.8517 | 0.51528 | 0.47172 | 0.83738 | 0.48086 | 0.46463 | 1.5293 | -149.5663 | 149.66 | 1.8111 | -151.0316 | 153.6223

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43794 | 1.0775 | 0.97307 | 0.43794 | 1.0775 | 0.97307 | 5.0569 | 12.4423 | 11.236 | 5.0569 | 12.4423 | 11.236 | -1.6948 | -4.7002 | 3.7241 | 1.7945 | 5.304 | -3.2318 | -3.7223 | -2.0835 | -3.5414 | 3.8355 | 2.7686 | 4.1001 | 116.8848 | 1.4047 | -154.6236 | -63.1152 | -178.5953 | 25.3764 | 0.80879 | 0.41321 | 0.45738 | 0.83738 | 0.48086 | 0.46463 | 2.4048 | -154.6883 | 161.8169 | 1.8111 | -151.0316 | 153.6223
Line_1 | 0.21897 | 0.53877 | 0.48653 | 0.21897 | 0.53877 | 0.48653 | 2.5284 | 6.2212 | 5.618 | 2.5284 | 6.2212 | 5.618 | 0.92219 | 2.8029 | -1.4928 | -0.89726 | -2.652 | 1.6159 | 1.946 | 1.5555 | 2.1897 | -1.9177 | -1.3843 | -2.05 | -63.1152 | -178.5953 | 25.3764 | 116.8848 | 1.4047 | -154.6236 | 0.8517 | 0.51528 | 0.47172 | 0.83738 | 0.48086 | 0.46463 | 1.5293 | -149.5663 | 149.66 | 1.8111 | -151.0316 | 153.6223
Line_2 | 0.21897 | 0.53877 | 0.48653 | 0.21897 | 0.53877 | 0.48653 | 2.5284 | 6.2212 | 5.618 | 2.5284 | 6.2212 | 5.618 | 0.92219 | 2.8029 | -1.4928 | -0.89726 | -2.652 | 1.6159 | 1.946 | 1.5555 | 2.1897 | -1.9177 | -1.3843 | -2.05 | -63.1152 | -178.5953 | 25.3764 | 116.8848 | 1.4047 | -154.6236 | 0.8517 | 0.51528 | 0.47172 | 0.83738 | 0.48086 | 0.46463 | 1.5293 | -149.5663 | 149.66 | 1.8111 | -151.0316 | 153.6223

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29946 | 0.73236 | 0.66254 | 0.29946 | 0.73236 | 0.66254 | 3.4578 | 8.4566 | 7.6504 | 3.4578 | 8.4566 | 7.6504 | -2.0739 | -5.4535 | -0.071851 | 2.1206 | 5.7324 | 0.30011 | -2.3212 | -2.1447 | -4.2416 | 2.3741 | 2.4611 | 4.5006 | 130.2521 | 15.0078 | -140.8619 | -49.7479 | -164.9922 | 39.1381 | 0.9002 | 0.69296 | 0.55451 | 0.9206 | 0.7377 | 0.58959 | -1.5282 | -143.5244 | 128.1676 | -1.5196 | -141.7568 | 125.3231
Line_1 | 0.14973 | 0.36618 | 0.33127 | 0.14973 | 0.36618 | 0.33127 | 1.7289 | 4.2283 | 3.8252 | 1.7289 | 4.2283 | 3.8252 | 1.0719 | 2.9359 | 0.20712 | -1.0603 | -2.8662 | -0.15006 | 1.2003 | 1.3097 | 2.315 | -1.187 | -1.2306 | -2.2503 | -49.7479 | -164.9922 | 39.1381 | 130.2521 | 15.0078 | -140.8619 | 0.93079 | 0.76031 | 0.60763 | 0.9206 | 0.7377 | 0.58959 | -1.5154 | -140.9514 | 124.0256 | -1.5196 | -141.7568 | 125.3231
Line_2 | 0.14973 | 0.36618 | 0.33127 | 0.14973 | 0.36618 | 0.33127 | 1.7289 | 4.2283 | 3.8252 | 1.7289 | 4.2283 | 3.8252 | 1.0719 | 2.9359 | 0.20712 | -1.0603 | -2.8662 | -0.15006 | 1.2003 | 1.3097 | 2.315 | -1.187 | -1.2306 | -2.2503 | -49.7479 | -164.9922 | 39.1381 | 130.2521 | 15.0078 | -140.8619 | 0.93079 | 0.76031 | 0.60763 | 0.9206 | 0.7377 | 0.58959 | -1.5154 | -140.9514 | 124.0256 | -1.5196 | -141.7568 | 125.3231

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29946 | 0.73236 | 0.66254 | 0.29946 | 0.73236 | 0.66254 | 3.4578 | 8.4566 | 7.6504 | 3.4578 | 8.4566 | 7.6504 | -2.0739 | -5.4535 | -0.071851 | 2.1206 | 5.7324 | 0.30011 | -2.3212 | -2.1447 | -4.2416 | 2.3741 | 2.4611 | 4.5006 | 130.2521 | 15.0078 | -140.8619 | -49.7479 | -164.9922 | 39.1381 | 0.9002 | 0.69296 | 0.55451 | 0.9206 | 0.7377 | 0.58959 | -1.5282 | -143.5244 | 128.1676 | -1.5196 | -141.7568 | 125.3231
Line_1 | 0.14973 | 0.36618 | 0.33127 | 0.14973 | 0.36618 | 0.33127 | 1.7289 | 4.2283 | 3.8252 | 1.7289 | 4.2283 | 3.8252 | 1.0719 | 2.9359 | 0.20712 | -1.0603 | -2.8662 | -0.15006 | 1.2003 | 1.3097 | 2.315 | -1.187 | -1.2306 | -2.2503 | -49.7479 | -164.9922 | 39.1381 | 130.2521 | 15.0078 | -140.8619 | 0.93079 | 0.76031 | 0.60763 | 0.9206 | 0.7377 | 0.58959 | -1.5154 | -140.9514 | 124.0256 | -1.5196 | -141.7568 | 125.3231
Line_2 | 0.14973 | 0.36618 | 0.33127 | 0.14973 | 0.36618 | 0.33127 | 1.7289 | 4.2283 | 3.8252 | 1.7289 | 4.2283 | 3.8252 | 1.0719 | 2.9359 | 0.20712 | -1.0603 | -2.8662 | -0.15006 | 1.2003 | 1.3097 | 2.315 | -1.187 | -1.2306 | -2.2503 | -49.7479 | -164.9922 | 39.1381 | 130.2521 | 15.0078 | -140.8619 | 0.93079 | 0.76031 | 0.60763 | 0.9206 | 0.7377 | 0.58959 | -1.5154 | -140.9514 | 124.0256 | -1.5196 | -141.7568 | 125.3231

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40642 | 1.0245 | 0.92752 | 0.40642 | 1.0245 | 0.92752 | 4.693 | 11.8302 | 10.7101 | 4.693 | 11.8302 | 10.7101 | -1.6138 | -4.0595 | 3.1327 | 1.7788 | 5.1074 | -2.2738 | -3.0618 | -1.6588 | -3.3786 | 3.1593 | 2.2781 | 3.8861 | 120.7046 | 5.508 | -151.133 | -59.2954 | -174.492 | 28.867 | 0.7375 | 0.37069 | 0.4302 | 0.77256 | 0.47273 | 0.42039 | 2.9114 | -152.2659 | 161.7042 | 1.3237 | -150.4536 | 149.1986
Line_1 | 0.20321 | 0.51226 | 0.46376 | 0.20321 | 0.51226 | 0.46376 | 2.3465 | 5.9151 | 5.355 | 2.3465 | 5.9151 | 5.355 | 0.93061 | 2.8157 | -0.92215 | -0.88938 | -2.5537 | 1.1369 | 1.604 | 1.2939 | 2.07 | -1.5796 | -1.139 | -1.9431 | -59.2954 | -174.492 | 28.867 | 120.7046 | 5.508 | -151.133 | 0.79029 | 0.52387 | 0.42317 | 0.77256 | 0.47273 | 0.42039 | 0.58304 | -149.8124 | 142.8795 | 1.3237 | -150.4536 | 149.1986
Line_2 | 0.20321 | 0.51226 | 0.46376 | 0.20321 | 0.51226 | 0.46376 | 2.3465 | 5.9151 | 5.355 | 2.3465 | 5.9151 | 5.355 | 0.93061 | 2.8157 | -0.92215 | -0.88938 | -2.5537 | 1.1369 | 1.604 | 1.2939 | 2.07 | -1.5796 | -1.139 | -1.9431 | -59.2954 | -174.492 | 28.867 | 120.7046 | 5.508 | -151.133 | 0.79029 | 0.52387 | 0.42317 | 0.77256 | 0.47273 | 0.42039 | 0.58304 | -149.8124 | 142.8795 | 1.3237 | -150.4536 | 149.1986

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40642 | 1.0245 | 0.92752 | 0.40642 | 1.0245 | 0.92752 | 4.693 | 11.8302 | 10.7101 | 4.693 | 11.8302 | 10.7101 | -1.6138 | -4.0595 | 3.1327 | 1.7788 | 5.1074 | -2.2738 | -3.0618 | -1.6588 | -3.3786 | 3.1593 | 2.2781 | 3.8861 | 120.7046 | 5.508 | -151.133 | -59.2954 | -174.492 | 28.867 | 0.7375 | 0.37069 | 0.4302 | 0.77256 | 0.47273 | 0.42039 | 2.9114 | -152.2659 | 161.7042 | 1.3237 | -150.4536 | 149.1986
Line_1 | 0.20321 | 0.51226 | 0.46376 | 0.20321 | 0.51226 | 0.46376 | 2.3465 | 5.9151 | 5.355 | 2.3465 | 5.9151 | 5.355 | 0.93061 | 2.8157 | -0.92215 | -0.88938 | -2.5537 | 1.1369 | 1.604 | 1.2939 | 2.07 | -1.5796 | -1.139 | -1.9431 | -59.2954 | -174.492 | 28.867 | 120.7046 | 5.508 | -151.133 | 0.79029 | 0.52387 | 0.42317 | 0.77256 | 0.47273 | 0.42039 | 0.58304 | -149.8124 | 142.8795 | 1.3237 | -150.4536 | 149.1986
Line_2 | 0.20321 | 0.51226 | 0.46376 | 0.20321 | 0.51226 | 0.46376 | 2.3465 | 5.9151 | 5.355 | 2.3465 | 5.9151 | 5.355 | 0.93061 | 2.8157 | -0.92215 | -0.88938 | -2.5537 | 1.1369 | 1.604 | 1.2939 | 2.07 | -1.5796 | -1.139 | -1.9431 | -59.2954 | -174.492 | 28.867 | 120.7046 | 5.508 | -151.133 | 0.79029 | 0.52387 | 0.42317 | 0.77256 | 0.47273 | 0.42039 | 0.58304 | -149.8124 | 142.8795 | 1.3237 | -150.4536 | 149.1986

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28917 | 0.72379 | 0.65645 | 0.28917 | 0.72379 | 0.65645 | 3.3391 | 8.3576 | 7.58 | 3.3391 | 8.3576 | 7.58 | -1.8765 | -4.8001 | -0.045749 | 1.96 | 5.3231 | 0.47599 | -1.9513 | -1.6217 | -3.7593 | 2.0006 | 1.9307 | 4.0136 | 132.8897 | 17.942 | -138.5168 | -47.1103 | -162.058 | 41.4832 | 0.81075 | 0.60623 | 0.49599 | 0.83877 | 0.67752 | 0.53321 | -0.99049 | -143.3908 | 130.7859 | -1.522 | -142.1217 | 124.7198
Line_1 | 0.14459 | 0.36189 | 0.32823 | 0.14459 | 0.36189 | 0.32823 | 1.6695 | 4.1788 | 3.79 | 1.6695 | 4.1788 | 3.79 | 1.0009 | 2.7923 | 0.34555 | -0.97999 | -2.6615 | -0.23799 | 1.0127 | 1.0426 | 2.0704 | -1.0003 | -0.96537 | -2.0068 | -47.1103 | -162.058 | 41.4832 | 132.8897 | 17.942 | -138.5168 | 0.8528 | 0.71327 | 0.55382 | 0.83877 | 0.67752 | 0.53321 | -1.7746 | -141.5824 | 122.0076 | -1.522 | -142.1217 | 124.7198
Line_2 | 0.14459 | 0.36189 | 0.32823 | 0.14459 | 0.36189 | 0.32823 | 1.6695 | 4.1788 | 3.79 | 1.6695 | 4.1788 | 3.79 | 1.0009 | 2.7923 | 0.34555 | -0.97999 | -2.6615 | -0.23799 | 1.0127 | 1.0426 | 2.0704 | -1.0003 | -0.96537 | -2.0068 | -47.1103 | -162.058 | 41.4832 | 132.8897 | 17.942 | -138.5168 | 0.8528 | 0.71327 | 0.55382 | 0.83877 | 0.67752 | 0.53321 | -1.7746 | -141.5824 | 122.0076 | -1.522 | -142.1217 | 124.7198

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28917 | 0.72379 | 0.65645 | 0.28917 | 0.72379 | 0.65645 | 3.3391 | 8.3576 | 7.58 | 3.3391 | 8.3576 | 7.58 | -1.8765 | -4.8001 | -0.045749 | 1.96 | 5.3231 | 0.47599 | -1.9513 | -1.6217 | -3.7593 | 2.0006 | 1.9307 | 4.0136 | 132.8897 | 17.942 | -138.5168 | -47.1103 | -162.058 | 41.4832 | 0.81075 | 0.60623 | 0.49599 | 0.83877 | 0.67752 | 0.53321 | -0.99049 | -143.3908 | 130.7859 | -1.522 | -142.1217 | 124.7198
Line_1 | 0.14459 | 0.36189 | 0.32823 | 0.14459 | 0.36189 | 0.32823 | 1.6695 | 4.1788 | 3.79 | 1.6695 | 4.1788 | 3.79 | 1.0009 | 2.7923 | 0.34555 | -0.97999 | -2.6615 | -0.23799 | 1.0127 | 1.0426 | 2.0704 | -1.0003 | -0.96537 | -2.0068 | -47.1103 | -162.058 | 41.4832 | 132.8897 | 17.942 | -138.5168 | 0.8528 | 0.71327 | 0.55382 | 0.83877 | 0.67752 | 0.53321 | -1.7746 | -141.5824 | 122.0076 | -1.522 | -142.1217 | 124.7198
Line_2 | 0.14459 | 0.36189 | 0.32823 | 0.14459 | 0.36189 | 0.32823 | 1.6695 | 4.1788 | 3.79 | 1.6695 | 4.1788 | 3.79 | 1.0009 | 2.7923 | 0.34555 | -0.97999 | -2.6615 | -0.23799 | 1.0127 | 1.0426 | 2.0704 | -1.0003 | -0.96537 | -2.0068 | -47.1103 | -162.058 | 41.4832 | 132.8897 | 17.942 | -138.5168 | 0.8528 | 0.71327 | 0.55382 | 0.83877 | 0.67752 | 0.53321 | -1.7746 | -141.5824 | 122.0076 | -1.522 | -142.1217 | 124.7198