## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.5487 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.5487 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.5487 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.5487 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.2388 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.37371 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.37371 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.2388 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.37371 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.37371 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4838 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4838 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4838 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4838 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.6746 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36337 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36337 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.6746 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36337 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36337 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1494 | 0.9421 | 0.81903 | 2.1467 | 0.94481 | 0.82167 | 24.8195 | 10.8784 | 9.4573 | 24.788 | 10.9097 | 9.4879 | 3.3431 | -6.893 | 11.8309 | 1.2643e-10 | 6.9725 | -11.8724 | 2.7525 | 12.225 | 5.0416 | -9.0386e-11 | -11.7317 | -4.6525 | -75.1612 | 106.0761 | 110.1527 | 104.8596 | -73.9746 | -69.9189 | 0.17448 | 1.2901 | 1.3598 | 0 | 1.2509 | 1.344 | -35.6946 | -134.5076 | 133.2334 | 0 | -133.2504 | 131.4803
Line_1 | 0.96486 | 0.47493 | 0.41333 | 0.96233 | 0.47241 | 0.41084 | 11.1413 | 5.4841 | 4.7727 | 11.1121 | 5.4549 | 4.7439 | 2.3607 | 4.5539 | -5.0595 | 5.6199e-11 | -3.4862 | 5.9362 | 1.1087 | -5.493 | -2.0729 | -4.1175e-11 | 5.8659 | 2.3263 | -74.4998 | -74.0303 | -70.0076 | 105.5263 | 106.0254 | 110.0811 | 0.23409 | 1.3011 | 1.1456 | 0 | 1.2509 | 1.344 | -49.3432 | -124.3704 | 132.2713 | 0 | -133.2504 | 131.4803
Line_2 | 0.96486 | 0.47493 | 0.41333 | 0.96233 | 0.47241 | 0.41084 | 11.1413 | 5.4841 | 4.7727 | 11.1121 | 5.4549 | 4.7439 | 2.3607 | 4.5539 | -5.0595 | 5.6199e-11 | -3.4862 | 5.9362 | 1.1087 | -5.493 | -2.0729 | -4.1175e-11 | 5.8659 | 2.3263 | -74.4998 | -74.0303 | -70.0076 | 105.5263 | 106.0254 | 110.0811 | 0.23409 | 1.3011 | 1.1456 | 0 | 1.2509 | 1.344 | -49.3432 | -124.3704 | 132.2713 | 0 | -133.2504 | 131.4803

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1494 | 0.9421 | 0.81903 | 2.1467 | 0.94481 | 0.82167 | 24.8195 | 10.8784 | 9.4573 | 24.788 | 10.9097 | 9.4879 | 3.3431 | -6.893 | 11.8309 | 1.2643e-10 | 6.9725 | -11.8724 | 2.7525 | 12.225 | 5.0416 | -9.0386e-11 | -11.7317 | -4.6525 | -75.1612 | 106.0761 | 110.1527 | 104.8596 | -73.9746 | -69.9189 | 0.17448 | 1.2901 | 1.3598 | 0 | 1.2509 | 1.344 | -35.6946 | -134.5076 | 133.2334 | 0 | -133.2504 | 131.4803
Line_1 | 0.96486 | 0.47493 | 0.41333 | 0.96233 | 0.47241 | 0.41084 | 11.1413 | 5.4841 | 4.7727 | 11.1121 | 5.4549 | 4.7439 | 2.3607 | 4.5539 | -5.0595 | 5.6199e-11 | -3.4862 | 5.9362 | 1.1087 | -5.493 | -2.0729 | -4.1175e-11 | 5.8659 | 2.3263 | -74.4998 | -74.0303 | -70.0076 | 105.5263 | 106.0254 | 110.0811 | 0.23409 | 1.3011 | 1.1456 | 0 | 1.2509 | 1.344 | -49.3432 | -124.3704 | 132.2713 | 0 | -133.2504 | 131.4803
Line_2 | 0.96486 | 0.47493 | 0.41333 | 0.96233 | 0.47241 | 0.41084 | 11.1413 | 5.4841 | 4.7727 | 11.1121 | 5.4549 | 4.7439 | 2.3607 | 4.5539 | -5.0595 | 5.6199e-11 | -3.4862 | 5.9362 | 1.1087 | -5.493 | -2.0729 | -4.1175e-11 | 5.8659 | 2.3263 | -74.4998 | -74.0303 | -70.0076 | 105.5263 | 106.0254 | 110.0811 | 0.23409 | 1.3011 | 1.1456 | 0 | 1.2509 | 1.344 | -49.3432 | -124.3704 | 132.2713 | 0 | -133.2504 | 131.4803

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67736 | 0.29689 | 0.2581 | 0.6765 | 0.29774 | 0.25894 | 7.8214 | 3.4281 | 2.9803 | 7.8115 | 3.438 | 2.9899 | 4.6517 | -1.3406 | 3.3756 | -4.3158 | 1.3527 | -3.3878 | 4.644 | 3.8263 | -0.29934 | -4.3635 | -3.7843 | 0.3378 | -54.3533 | 126.884 | 130.9607 | 125.6675 | -53.1667 | -49.111 | 0.84039 | 1.1827 | 1.1371 | 0.78567 | 1.1689 | 1.1387 | -9.4007 | -123.807 | 125.893 | -9.0173 | -123.4967 | 125.1948
Line_1 | 0.30406 | 0.14967 | 0.13025 | 0.30326 | 0.14887 | 0.12947 | 3.511 | 1.7282 | 1.504 | 3.5018 | 1.719 | 1.495 | 2.196 | 0.78544 | -1.6141 | -1.9573 | -0.67637 | 1.6939 | 2.0495 | -1.8618 | 0.19477 | -1.9335 | 1.8921 | -0.1689 | -53.6919 | -53.2224 | -49.1997 | 126.3342 | 126.8333 | 130.889 | 0.85556 | 1.1692 | 1.081 | 0.78567 | 1.1689 | 1.1387 | -10.6681 | -120.3489 | 123.9201 | -9.0173 | -123.4967 | 125.1948
Line_2 | 0.30406 | 0.14967 | 0.13025 | 0.30326 | 0.14887 | 0.12947 | 3.511 | 1.7282 | 1.504 | 3.5018 | 1.719 | 1.495 | 2.196 | 0.78544 | -1.6141 | -1.9573 | -0.67637 | 1.6939 | 2.0495 | -1.8618 | 0.19477 | -1.9335 | 1.8921 | -0.1689 | -53.6919 | -53.2224 | -49.1997 | 126.3342 | 126.8333 | 130.889 | 0.85556 | 1.1692 | 1.081 | 0.78567 | 1.1689 | 1.1387 | -10.6681 | -120.3489 | 123.9201 | -9.0173 | -123.4967 | 125.1948

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67736 | 0.29689 | 0.2581 | 0.6765 | 0.29774 | 0.25894 | 7.8214 | 3.4281 | 2.9803 | 7.8115 | 3.438 | 2.9899 | 4.6517 | -1.3406 | 3.3756 | -4.3158 | 1.3527 | -3.3878 | 4.644 | 3.8263 | -0.29934 | -4.3635 | -3.7843 | 0.3378 | -54.3533 | 126.884 | 130.9607 | 125.6675 | -53.1667 | -49.111 | 0.84039 | 1.1827 | 1.1371 | 0.78567 | 1.1689 | 1.1387 | -9.4007 | -123.807 | 125.893 | -9.0173 | -123.4967 | 125.1948
Line_1 | 0.30406 | 0.14967 | 0.13025 | 0.30326 | 0.14887 | 0.12947 | 3.511 | 1.7282 | 1.504 | 3.5018 | 1.719 | 1.495 | 2.196 | 0.78544 | -1.6141 | -1.9573 | -0.67637 | 1.6939 | 2.0495 | -1.8618 | 0.19477 | -1.9335 | 1.8921 | -0.1689 | -53.6919 | -53.2224 | -49.1997 | 126.3342 | 126.8333 | 130.889 | 0.85556 | 1.1692 | 1.081 | 0.78567 | 1.1689 | 1.1387 | -10.6681 | -120.3489 | 123.9201 | -9.0173 | -123.4967 | 125.1948
Line_2 | 0.30406 | 0.14967 | 0.13025 | 0.30326 | 0.14887 | 0.12947 | 3.511 | 1.7282 | 1.504 | 3.5018 | 1.719 | 1.495 | 2.196 | 0.78544 | -1.6141 | -1.9573 | -0.67637 | 1.6939 | 2.0495 | -1.8618 | 0.19477 | -1.9335 | 1.8921 | -0.1689 | -53.6919 | -53.2224 | -49.1997 | 126.3342 | 126.8333 | 130.889 | 0.85556 | 1.1692 | 1.081 | 0.78567 | 1.1689 | 1.1387 | -10.6681 | -120.3489 | 123.9201 | -9.0173 | -123.4967 | 125.1948

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7815 | 0.78273 | 0.67443 | 1.7792 | 0.7849 | 0.67646 | 20.5707 | 9.0381 | 7.7877 | 20.5445 | 9.0632 | 7.8111 | 4.4548 | -2.1195 | 9.9609 | -5.1887e-11 | 2.2059 | -9.9886 | 1.445 | 10.3295 | 1.1492 | -1.5163e-12 | -9.7626 | -0.66809 | -62.8538 | 121.2936 | 126.6285 | 117.1896 | -58.8165 | -53.5158 | 0.22767 | 1.1667 | 1.2875 | 0 | 1.1043 | 1.2816 | -44.8825 | -137.111 | 133.2098 | 0 | -136.084 | 130.3107
Line_1 | 0.86974 | 0.39442 | 0.34011 | 0.86769 | 0.39245 | 0.33823 | 10.0428 | 4.5544 | 3.9273 | 10.0193 | 4.5316 | 3.9055 | 3.5476 | 2.5593 | -3.7908 | -2.5283e-11 | -1.103 | 4.9943 | 1.0229 | -4.6644 | -0.25812 | -1.2766e-12 | 4.8813 | 0.33404 | -64.0726 | -58.9432 | -53.6927 | 115.9728 | 121.1835 | 126.4842 | 0.36764 | 1.1682 | 0.9675 | 0 | 1.1043 | 1.2816 | -47.989 | -120.1899 | 130.2026 | 0 | -136.084 | 130.3107
Line_2 | 0.86974 | 0.39442 | 0.34011 | 0.86769 | 0.39245 | 0.33823 | 10.0428 | 4.5544 | 3.9273 | 10.0193 | 4.5316 | 3.9055 | 3.5476 | 2.5593 | -3.7908 | -2.5283e-11 | -1.103 | 4.9943 | 1.0229 | -4.6644 | -0.25812 | -1.2766e-12 | 4.8813 | 0.33404 | -64.0726 | -58.9432 | -53.6927 | 115.9728 | 121.1835 | 126.4842 | 0.36764 | 1.1682 | 0.9675 | 0 | 1.1043 | 1.2816 | -47.989 | -120.1899 | 130.2026 | 0 | -136.084 | 130.3107

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7815 | 0.78273 | 0.67443 | 1.7792 | 0.7849 | 0.67646 | 20.5707 | 9.0381 | 7.7877 | 20.5445 | 9.0632 | 7.8111 | 4.4548 | -2.1195 | 9.9609 | -5.1887e-11 | 2.2059 | -9.9886 | 1.445 | 10.3295 | 1.1492 | -1.5163e-12 | -9.7626 | -0.66809 | -62.8538 | 121.2936 | 126.6285 | 117.1896 | -58.8165 | -53.5158 | 0.22767 | 1.1667 | 1.2875 | 0 | 1.1043 | 1.2816 | -44.8825 | -137.111 | 133.2098 | 0 | -136.084 | 130.3107
Line_1 | 0.86974 | 0.39442 | 0.34011 | 0.86769 | 0.39245 | 0.33823 | 10.0428 | 4.5544 | 3.9273 | 10.0193 | 4.5316 | 3.9055 | 3.5476 | 2.5593 | -3.7908 | -2.5283e-11 | -1.103 | 4.9943 | 1.0229 | -4.6644 | -0.25812 | -1.2766e-12 | 4.8813 | 0.33404 | -64.0726 | -58.9432 | -53.6927 | 115.9728 | 121.1835 | 126.4842 | 0.36764 | 1.1682 | 0.9675 | 0 | 1.1043 | 1.2816 | -47.989 | -120.1899 | 130.2026 | 0 | -136.084 | 130.3107
Line_2 | 0.86974 | 0.39442 | 0.34011 | 0.86769 | 0.39245 | 0.33823 | 10.0428 | 4.5544 | 3.9273 | 10.0193 | 4.5316 | 3.9055 | 3.5476 | 2.5593 | -3.7908 | -2.5283e-11 | -1.103 | 4.9943 | 1.0229 | -4.6644 | -0.25812 | -1.2766e-12 | 4.8813 | 0.33404 | -64.0726 | -58.9432 | -53.6927 | 115.9728 | 121.1835 | 126.4842 | 0.36764 | 1.1682 | 0.9675 | 0 | 1.1043 | 1.2816 | -47.989 | -120.1899 | 130.2026 | 0 | -136.084 | 130.3107

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57154 | 0.25112 | 0.21637 | 0.57081 | 0.25181 | 0.21702 | 6.5996 | 2.8997 | 2.4985 | 6.5912 | 2.9077 | 2.506 | 3.7118 | -0.57596 | 2.5882 | -3.2515 | 0.58965 | -2.5976 | 3.3393 | 3.033 | -0.61185 | -3.184 | -2.9795 | 0.65961 | -50.2582 | 133.8892 | 139.2241 | 129.7852 | -46.2209 | -40.9202 | 0.75654 | 1.0647 | 1.0645 | 0.69045 | 1.0446 | 1.0695 | -8.2822 | -125.3585 | 125.9237 | -5.8156 | -125.0265 | 124.8318
Line_1 | 0.27903 | 0.12654 | 0.10912 | 0.27838 | 0.12591 | 0.10851 | 3.222 | 1.4612 | 1.26 | 3.2144 | 1.4539 | 1.253 | 1.9199 | 0.44783 | -1.1804 | -1.5524 | -0.29482 | 1.2988 | 1.6964 | -1.472 | 0.33721 | -1.5861 | 1.4897 | -0.3298 | -51.477 | -46.3476 | -41.0971 | 128.5684 | 133.7791 | 139.0798 | 0.79516 | 1.053 | 0.97434 | 0.69045 | 1.0446 | 1.0695 | -10.0144 | -119.4257 | 122.9599 | -5.8156 | -125.0265 | 124.8318
Line_2 | 0.27903 | 0.12654 | 0.10912 | 0.27838 | 0.12591 | 0.10851 | 3.222 | 1.4612 | 1.26 | 3.2144 | 1.4539 | 1.253 | 1.9199 | 0.44783 | -1.1804 | -1.5524 | -0.29482 | 1.2988 | 1.6964 | -1.472 | 0.33721 | -1.5861 | 1.4897 | -0.3298 | -51.477 | -46.3476 | -41.0971 | 128.5684 | 133.7791 | 139.0798 | 0.79516 | 1.053 | 0.97434 | 0.69045 | 1.0446 | 1.0695 | -10.0144 | -119.4257 | 122.9599 | -5.8156 | -125.0265 | 124.8318

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57154 | 0.25112 | 0.21637 | 0.57081 | 0.25181 | 0.21702 | 6.5996 | 2.8997 | 2.4985 | 6.5912 | 2.9077 | 2.506 | 3.7118 | -0.57596 | 2.5882 | -3.2515 | 0.58965 | -2.5976 | 3.3393 | 3.033 | -0.61185 | -3.184 | -2.9795 | 0.65961 | -50.2582 | 133.8892 | 139.2241 | 129.7852 | -46.2209 | -40.9202 | 0.75654 | 1.0647 | 1.0645 | 0.69045 | 1.0446 | 1.0695 | -8.2822 | -125.3585 | 125.9237 | -5.8156 | -125.0265 | 124.8318
Line_1 | 0.27903 | 0.12654 | 0.10912 | 0.27838 | 0.12591 | 0.10851 | 3.222 | 1.4612 | 1.26 | 3.2144 | 1.4539 | 1.253 | 1.9199 | 0.44783 | -1.1804 | -1.5524 | -0.29482 | 1.2988 | 1.6964 | -1.472 | 0.33721 | -1.5861 | 1.4897 | -0.3298 | -51.477 | -46.3476 | -41.0971 | 128.5684 | 133.7791 | 139.0798 | 0.79516 | 1.053 | 0.97434 | 0.69045 | 1.0446 | 1.0695 | -10.0144 | -119.4257 | 122.9599 | -5.8156 | -125.0265 | 124.8318
Line_2 | 0.27903 | 0.12654 | 0.10912 | 0.27838 | 0.12591 | 0.10851 | 3.222 | 1.4612 | 1.26 | 3.2144 | 1.4539 | 1.253 | 1.9199 | 0.44783 | -1.1804 | -1.5524 | -0.29482 | 1.2988 | 1.6964 | -1.472 | 0.33721 | -1.5861 | 1.4897 | -0.3298 | -51.477 | -46.3476 | -41.0971 | 128.5684 | 133.7791 | 139.0798 | 0.79516 | 1.053 | 0.97434 | 0.69045 | 1.0446 | 1.0695 | -10.0144 | -119.4257 | 122.9599 | -5.8156 | -125.0265 | 124.8318

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61279 | 3.6994 | 3.7765 | 0.615 | 3.6995 | 3.7759 | 7.0758 | 42.7169 | 43.6073 | 7.1015 | 42.7179 | 43.6001 | 1.3167 | 7.4541 | 7.3899 | -1.329 | 1.1107e-10 | 1.5365e-10 | 9.8107 | 6.8483 | 9.7126 | -9.6675 | -1.0452e-10 | 4.8914e-12 | -81.3293 | -174.9703 | 19.263 | 98.6497 | 5.0642 | -160.7694 | 1.3989 | 0.23696 | 0.27987 | 1.3741 | 0 | 0 | 1.0266 | -132.3957 | 71.9971 | 0.82241 | 0 | 0
Line_1 | 0.30952 | 0.95108 | 0.76821 | 0.3075 | 0.94994 | 0.76668 | 3.574 | 10.9821 | 8.8705 | 3.5507 | 10.969 | 8.8529 | -0.18164 | 1.7942 | 0.77892 | 0.66448 | 3.8081e-11 | 2.4736e-11 | -4.5818 | -0.2044 | 1.4778 | 4.8337 | -9.1391e-12 | -1.9038e-11 | 98.6561 | 155.1989 | 58.7374 | -81.3503 | -24.7007 | -121.3613 | 1.283 | 0.16444 | 0.18832 | 1.3741 | 0 | 0 | 6.3859 | 148.6997 | 120.9446 | 0.82241 | 0 | 0
Line_2 | 0.30952 | 0.95108 | 0.76821 | 0.3075 | 0.94994 | 0.76668 | 3.574 | 10.9821 | 8.8705 | 3.5507 | 10.969 | 8.8529 | -0.18164 | 1.7942 | 0.77892 | 0.66448 | 3.8081e-11 | 2.4736e-11 | -4.5818 | -0.2044 | 1.4778 | 4.8337 | -9.1391e-12 | -1.9038e-11 | 98.6561 | 155.1989 | 58.7374 | -81.3503 | -24.7007 | -121.3613 | 1.283 | 0.16444 | 0.18832 | 1.3741 | 0 | 0 | 6.3859 | 148.6997 | 120.9446 | 0.82241 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61279 | 3.6994 | 3.7765 | 0.615 | 3.6995 | 3.7759 | 7.0758 | 42.7169 | 43.6073 | 7.1015 | 42.7179 | 43.6001 | 1.3167 | 7.4541 | 7.3899 | -1.329 | 1.1107e-10 | 1.5365e-10 | 9.8107 | 6.8483 | 9.7126 | -9.6675 | -1.0452e-10 | 4.8914e-12 | -81.3293 | -174.9703 | 19.263 | 98.6497 | 5.0642 | -160.7694 | 1.3989 | 0.23696 | 0.27987 | 1.3741 | 0 | 0 | 1.0266 | -132.3957 | 71.9971 | 0.82241 | 0 | 0
Line_1 | 0.30952 | 0.95108 | 0.76821 | 0.3075 | 0.94994 | 0.76668 | 3.574 | 10.9821 | 8.8705 | 3.5507 | 10.969 | 8.8529 | -0.18164 | 1.7942 | 0.77892 | 0.66448 | 3.8081e-11 | 2.4736e-11 | -4.5818 | -0.2044 | 1.4778 | 4.8337 | -9.1391e-12 | -1.9038e-11 | 98.6561 | 155.1989 | 58.7374 | -81.3503 | -24.7007 | -121.3613 | 1.283 | 0.16444 | 0.18832 | 1.3741 | 0 | 0 | 6.3859 | 148.6997 | 120.9446 | 0.82241 | 0 | 0
Line_2 | 0.30952 | 0.95108 | 0.76821 | 0.3075 | 0.94994 | 0.76668 | 3.574 | 10.9821 | 8.8705 | 3.5507 | 10.969 | 8.8529 | -0.18164 | 1.7942 | 0.77892 | 0.66448 | 3.8081e-11 | 2.4736e-11 | -4.5818 | -0.2044 | 1.4778 | 4.8337 | -9.1391e-12 | -1.9038e-11 | 98.6561 | 155.1989 | 58.7374 | -81.3503 | -24.7007 | -121.3613 | 1.283 | 0.16444 | 0.18832 | 1.3741 | 0 | 0 | 6.3859 | 148.6997 | 120.9446 | 0.82241 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23948 | 0.88938 | 0.95443 | 0.24029 | 0.88948 | 0.95404 | 2.7653 | 10.2697 | 11.0208 | 2.7746 | 10.2708 | 11.0163 | 1.5379 | 7.7019 | 5.1698 | -1.5415 | -7.2745 | -4.6648 | 2.947 | 4.6028 | 8.6677 | -2.9279 | -4.2403 | -8.0121 | -60.7536 | -153.9002 | 47.9504 | 119.2124 | 26.1522 | -132.0928 | 1.2021 | 0.87369 | 0.91575 | 1.1926 | 0.81981 | 0.84159 | 1.6894 | -123.0372 | 107.1366 | 1.4465 | -123.6098 | 107.6987
Line_1 | 0.12088 | 0.26527 | 0.25735 | 0.12014 | 0.26479 | 0.25667 | 1.3959 | 3.063 | 2.9716 | 1.3873 | 3.0575 | 2.9638 | -0.70231 | 1.0189 | 2.5252 | 0.77074 | -0.84337 | -2.3894 | -1.4367 | 2.346 | 0.87143 | 1.464 | -2.3605 | -0.71573 | 119.1926 | 165.9288 | 91.0932 | -60.7876 | -13.9484 | -88.9765 | 1.1457 | 0.83503 | 0.89896 | 1.1926 | 0.81981 | 0.84159 | 3.1418 | -127.5466 | 110.1324 | 1.4465 | -123.6098 | 107.6987
Line_2 | 0.12088 | 0.26527 | 0.25735 | 0.12014 | 0.26479 | 0.25667 | 1.3959 | 3.063 | 2.9716 | 1.3873 | 3.0575 | 2.9638 | -0.70231 | 1.0189 | 2.5252 | 0.77074 | -0.84337 | -2.3894 | -1.4367 | 2.346 | 0.87143 | 1.464 | -2.3605 | -0.71573 | 119.1926 | 165.9288 | 91.0932 | -60.7876 | -13.9484 | -88.9765 | 1.1457 | 0.83503 | 0.89896 | 1.1926 | 0.81981 | 0.84159 | 3.1418 | -127.5466 | 110.1324 | 1.4465 | -123.6098 | 107.6987

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23948 | 0.88938 | 0.95443 | 0.24029 | 0.88948 | 0.95404 | 2.7653 | 10.2697 | 11.0208 | 2.7746 | 10.2708 | 11.0163 | 1.5379 | 7.7019 | 5.1698 | -1.5415 | -7.2745 | -4.6648 | 2.947 | 4.6028 | 8.6677 | -2.9279 | -4.2403 | -8.0121 | -60.7536 | -153.9002 | 47.9504 | 119.2124 | 26.1522 | -132.0928 | 1.2021 | 0.87369 | 0.91575 | 1.1926 | 0.81981 | 0.84159 | 1.6894 | -123.0372 | 107.1366 | 1.4465 | -123.6098 | 107.6987
Line_1 | 0.12088 | 0.26527 | 0.25735 | 0.12014 | 0.26479 | 0.25667 | 1.3959 | 3.063 | 2.9716 | 1.3873 | 3.0575 | 2.9638 | -0.70231 | 1.0189 | 2.5252 | 0.77074 | -0.84337 | -2.3894 | -1.4367 | 2.346 | 0.87143 | 1.464 | -2.3605 | -0.71573 | 119.1926 | 165.9288 | 91.0932 | -60.7876 | -13.9484 | -88.9765 | 1.1457 | 0.83503 | 0.89896 | 1.1926 | 0.81981 | 0.84159 | 3.1418 | -127.5466 | 110.1324 | 1.4465 | -123.6098 | 107.6987
Line_2 | 0.12088 | 0.26527 | 0.25735 | 0.12014 | 0.26479 | 0.25667 | 1.3959 | 3.063 | 2.9716 | 1.3873 | 3.0575 | 2.9638 | -0.70231 | 1.0189 | 2.5252 | 0.77074 | -0.84337 | -2.3894 | -1.4367 | 2.346 | 0.87143 | 1.464 | -2.3605 | -0.71573 | 119.1926 | 165.9288 | 91.0932 | -60.7876 | -13.9484 | -88.9765 | 1.1457 | 0.83503 | 0.89896 | 1.1926 | 0.81981 | 0.84159 | 3.1418 | -127.5466 | 110.1324 | 1.4465 | -123.6098 | 107.6987

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46077 | 3.1351 | 3.1469 | 0.46265 | 3.1355 | 3.1461 | 5.3206 | 36.2016 | 36.3373 | 5.3423 | 36.2058 | 36.3277 | 3.0707 | 9.8794 | 10.2575 | -3.1273 | -1.0757e-10 | -1.5705e-11 | 6.1704 | 3.9512 | 7.6616 | -6.0215 | -8.2704e-11 | -1.3667e-10 | -63.0453 | -166.4608 | 27.0907 | 116.853 | 13.5761 | -152.9435 | 1.2954 | 0.29391 | 0.35234 | 1.2701 | 0 | 0 | 0.49719 | -144.6621 | 63.8477 | -0.59195 | 0 | 0
Line_1 | 0.23296 | 0.9646 | 0.62169 | 0.23133 | 0.96379 | 0.62048 | 2.6899 | 11.1383 | 7.1787 | 2.6711 | 11.1289 | 7.1647 | -0.95149 | 3.0404 | 0.83045 | 1.5636 | -1.6904e-11 | -1.7494e-11 | -2.8229 | -0.69673 | 1.7442 | 3.0108 | -3.8129e-11 | -2.074e-11 | 116.7626 | 164.9533 | 60.7557 | -63.147 | -14.96 | -119.3503 | 1.1074 | 0.28005 | 0.26911 | 1.2701 | 0 | 0 | 8.1357 | 152.0465 | 125.2961 | -0.59195 | 0 | 0
Line_2 | 0.23296 | 0.9646 | 0.62169 | 0.23133 | 0.96379 | 0.62048 | 2.6899 | 11.1383 | 7.1787 | 2.6711 | 11.1289 | 7.1647 | -0.95149 | 3.0404 | 0.83045 | 1.5636 | -1.6904e-11 | -1.7494e-11 | -2.8229 | -0.69673 | 1.7442 | 3.0108 | -3.8129e-11 | -2.074e-11 | 116.7626 | 164.9533 | 60.7557 | -63.147 | -14.96 | -119.3503 | 1.1074 | 0.28005 | 0.26911 | 1.2701 | 0 | 0 | 8.1357 | 152.0465 | 125.2961 | -0.59195 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46077 | 3.1351 | 3.1469 | 0.46265 | 3.1355 | 3.1461 | 5.3206 | 36.2016 | 36.3373 | 5.3423 | 36.2058 | 36.3277 | 3.0707 | 9.8794 | 10.2575 | -3.1273 | -1.0757e-10 | -1.5705e-11 | 6.1704 | 3.9512 | 7.6616 | -6.0215 | -8.2704e-11 | -1.3667e-10 | -63.0453 | -166.4608 | 27.0907 | 116.853 | 13.5761 | -152.9435 | 1.2954 | 0.29391 | 0.35234 | 1.2701 | 0 | 0 | 0.49719 | -144.6621 | 63.8477 | -0.59195 | 0 | 0
Line_1 | 0.23296 | 0.9646 | 0.62169 | 0.23133 | 0.96379 | 0.62048 | 2.6899 | 11.1383 | 7.1787 | 2.6711 | 11.1289 | 7.1647 | -0.95149 | 3.0404 | 0.83045 | 1.5636 | -1.6904e-11 | -1.7494e-11 | -2.8229 | -0.69673 | 1.7442 | 3.0108 | -3.8129e-11 | -2.074e-11 | 116.7626 | 164.9533 | 60.7557 | -63.147 | -14.96 | -119.3503 | 1.1074 | 0.28005 | 0.26911 | 1.2701 | 0 | 0 | 8.1357 | 152.0465 | 125.2961 | -0.59195 | 0 | 0
Line_2 | 0.23296 | 0.9646 | 0.62169 | 0.23133 | 0.96379 | 0.62048 | 2.6899 | 11.1383 | 7.1787 | 2.6711 | 11.1289 | 7.1647 | -0.95149 | 3.0404 | 0.83045 | 1.5636 | -1.6904e-11 | -1.7494e-11 | -2.8229 | -0.69673 | 1.7442 | 3.0108 | -3.8129e-11 | -2.074e-11 | 116.7626 | 164.9533 | 60.7557 | -63.147 | -14.96 | -119.3503 | 1.1074 | 0.28005 | 0.26911 | 1.2701 | 0 | 0 | 8.1357 | 152.0465 | 125.2961 | -0.59195 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19242 | 0.75955 | 0.81593 | 0.1931 | 0.7598 | 0.81543 | 2.2219 | 8.7705 | 9.4216 | 2.2297 | 8.7735 | 9.4158 | 1.4808 | 6.2602 | 4.3607 | -1.4866 | -5.7093 | -3.6044 | 1.965 | 3.3878 | 6.3962 | -1.9416 | -3.2098 | -5.8434 | -52.3108 | -150.52 | 50.7304 | 127.5843 | 29.5348 | -129.3107 | 1.1074 | 0.81159 | 0.82165 | 1.0967 | 0.74654 | 0.72916 | 0.68825 | -122.0989 | 106.4459 | 0.14483 | -121.1204 | 109.0214
Line_1 | 0.097152 | 0.26474 | 0.22034 | 0.096551 | 0.26442 | 0.21975 | 1.1218 | 3.0569 | 2.5442 | 1.1149 | 3.0533 | 2.5375 | -0.64687 | 1.147 | 1.9253 | 0.74331 | -0.86085 | -1.7423 | -0.95039 | 2.0318 | 0.81667 | 0.97082 | -2.1106 | -0.62281 | 127.4797 | 170.9511 | 89.4116 | -52.4157 | -8.9315 | -90.6488 | 1.0248 | 0.76325 | 0.822 | 1.0967 | 0.74654 | 0.72916 | 3.239 | -128.4935 | 112.3969 | 0.14483 | -121.1204 | 109.0214
Line_2 | 0.097152 | 0.26474 | 0.22034 | 0.096551 | 0.26442 | 0.21975 | 1.1218 | 3.0569 | 2.5442 | 1.1149 | 3.0533 | 2.5375 | -0.64687 | 1.147 | 1.9253 | 0.74331 | -0.86085 | -1.7423 | -0.95039 | 2.0318 | 0.81667 | 0.97082 | -2.1106 | -0.62281 | 127.4797 | 170.9511 | 89.4116 | -52.4157 | -8.9315 | -90.6488 | 1.0248 | 0.76325 | 0.822 | 1.0967 | 0.74654 | 0.72916 | 3.239 | -128.4935 | 112.3969 | 0.14483 | -121.1204 | 109.0214

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19242 | 0.75955 | 0.81593 | 0.1931 | 0.7598 | 0.81543 | 2.2219 | 8.7705 | 9.4216 | 2.2297 | 8.7735 | 9.4158 | 1.4808 | 6.2602 | 4.3607 | -1.4866 | -5.7093 | -3.6044 | 1.965 | 3.3878 | 6.3962 | -1.9416 | -3.2098 | -5.8434 | -52.3108 | -150.52 | 50.7304 | 127.5843 | 29.5348 | -129.3107 | 1.1074 | 0.81159 | 0.82165 | 1.0967 | 0.74654 | 0.72916 | 0.68825 | -122.0989 | 106.4459 | 0.14483 | -121.1204 | 109.0214
Line_1 | 0.097152 | 0.26474 | 0.22034 | 0.096551 | 0.26442 | 0.21975 | 1.1218 | 3.0569 | 2.5442 | 1.1149 | 3.0533 | 2.5375 | -0.64687 | 1.147 | 1.9253 | 0.74331 | -0.86085 | -1.7423 | -0.95039 | 2.0318 | 0.81667 | 0.97082 | -2.1106 | -0.62281 | 127.4797 | 170.9511 | 89.4116 | -52.4157 | -8.9315 | -90.6488 | 1.0248 | 0.76325 | 0.822 | 1.0967 | 0.74654 | 0.72916 | 3.239 | -128.4935 | 112.3969 | 0.14483 | -121.1204 | 109.0214
Line_2 | 0.097152 | 0.26474 | 0.22034 | 0.096551 | 0.26442 | 0.21975 | 1.1218 | 3.0569 | 2.5442 | 1.1149 | 3.0533 | 2.5375 | -0.64687 | 1.147 | 1.9253 | 0.74331 | -0.86085 | -1.7423 | -0.95039 | 2.0318 | 0.81667 | 0.97082 | -2.1106 | -0.62281 | 127.4797 | 170.9511 | 89.4116 | -52.4157 | -8.9315 | -90.6488 | 1.0248 | 0.76325 | 0.822 | 1.0967 | 0.74654 | 0.72916 | 3.239 | -128.4935 | 112.3969 | 0.14483 | -121.1204 | 109.0214