## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3335 | 3.3335 | 0 | 0 | 115.4757 | 115.4757 | 37.4821 | -20.1471 | 43.2438 | -23.5752 | -71.1341 | 108.8659 | 0.49558 | 0.26855 | -22.0516 | -21.6509
Line_1 | 3.943 | 3.943 | 7.6252 | 0 | 136.59 | 136.59 | -1e-07 | 24.2539 | -1e-07 | 27.5188 | 109.7407 | -70.2593 | 0 | 0.26855 | 0 | -21.6509
Line_2 | 0.61203 | 0.61203 | 0 | 0 | 21.2012 | 21.2012 | 4.6911 | -4.1068 | 4.6066 | -3.9436 | -65.4896 | 114.5104 | 0.31011 | 0.26855 | -21.0105 | -21.6509

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3335 | 3.3335 | 0 | 0 | 115.4757 | 115.4757 | 37.4821 | -20.1471 | 43.2438 | -23.5752 | -71.1341 | 108.8659 | 0.49558 | 0.26855 | -22.0516 | -21.6509
Line_1 | 3.943 | 3.943 | 7.6252 | 0 | 136.59 | 136.59 | -1e-07 | 24.2539 | -1e-07 | 27.5188 | 109.7407 | -70.2593 | 0 | 0.26855 | 0 | -21.6509
Line_2 | 0.61203 | 0.61203 | 0 | 0 | 21.2012 | 21.2012 | 4.6911 | -4.1068 | 4.6066 | -3.9436 | -65.4896 | 114.5104 | 0.31011 | 0.26855 | -21.0105 | -21.6509

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93124 | 0.93124 | 0 | 0 | 32.2591 | 32.2591 | 21.4053 | -20.0525 | 22.082 | -20.547 | -52.3294 | 127.6706 | 0.95334 | 0.88999 | -6.4379 | -6.6315
Line_1 | 1.1015 | 1.1015 | 2.1302 | 0 | 38.1575 | 38.1575 | -22.1945 | 24.0873 | -21.7914 | 23.939 | 128.5454 | -51.4546 | 0.81515 | 0.88999 | -6.9796 | -6.6315
Line_2 | 0.17097 | 0.17097 | 0 | 0 | 5.9227 | 5.9227 | 4.0804 | -4.0348 | 3.4437 | -3.392 | -46.6849 | 133.3151 | 0.90151 | 0.88999 | -6.5214 | -6.6315

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93124 | 0.93124 | 0 | 0 | 32.2591 | 32.2591 | 21.4053 | -20.0525 | 22.082 | -20.547 | -52.3294 | 127.6706 | 0.95334 | 0.88999 | -6.4379 | -6.6315
Line_1 | 1.1015 | 1.1015 | 2.1302 | 0 | 38.1575 | 38.1575 | -22.1945 | 24.0873 | -21.7914 | 23.939 | 128.5454 | -51.4546 | 0.81515 | 0.88999 | -6.9796 | -6.6315
Line_2 | 0.17097 | 0.17097 | 0 | 0 | 5.9227 | 5.9227 | 4.0804 | -4.0348 | 3.4437 | -3.392 | -46.6849 | 133.3151 | 0.90151 | 0.88999 | -6.5214 | -6.6315

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15358 | 2.8317 | 2.9656 | 0.15358 | 2.8317 | 2.9656 | 1.7734 | 32.6982 | 34.2437 | 1.7734 | 32.6982 | 34.2437 | -1.922 | 26.6301 | -8.5445 | 1.9343 | -22.4603 | 13.1178 | -0.4021 | 4.6792 | 16.5919 | 0.41602 | 0.051901 | -11.403 | 169.7339 | -160.1463 | 18.3646 | -10.2661 | 19.8537 | -161.6354 | 1.1073 | 0.8269 | 0.545 | 1.1157 | 0.6869 | 0.50757 | 1.5502 | -150.1806 | 135.6121 | 1.872 | -160.2787 | 157.3648
Line_1 | 0.091755 | 3.3594 | 3.4357 | 0.091755 | 3.3594 | 3.4357 | 1.0595 | 38.7909 | 39.6726 | 1.0595 | 38.7909 | 39.6726 | 1.136 | -20.7759 | 21.3439 | -1.1316 | 26.6443 | -15.2056 | 0.34653 | 6.4101 | -6.2369 | -0.34157 | 0.24834 | 13.2014 | -14.9237 | 19.1873 | -161.6708 | 165.0763 | -160.8127 | 18.3292 | 1.121 | 0.5605 | 0.5605 | 1.1157 | 0.6869 | 0.50757 | 2.0403 | -177.9597 | -177.9597 | 1.872 | -160.2787 | 157.3648
Line_2 | 0.062572 | 0.52886 | 0.47016 | 0.062572 | 0.52886 | 0.47016 | 0.72252 | 6.1068 | 5.429 | 0.72252 | 6.1068 | 5.429 | 0.80469 | 4.3294 | -1.9729 | -0.80265 | -4.184 | 2.0878 | 0.076762 | 0.46526 | 1.9288 | -0.074452 | -0.30024 | -1.7984 | -3.4275 | -164.3831 | 18.1058 | 176.5725 | 15.6169 | -161.8942 | 1.1188 | 0.71304 | 0.50822 | 1.1157 | 0.6869 | 0.50757 | 2.0217 | -158.2494 | 153.7525 | 1.872 | -160.2787 | 157.3648

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15358 | 2.8317 | 2.9656 | 0.15358 | 2.8317 | 2.9656 | 1.7734 | 32.6982 | 34.2437 | 1.7734 | 32.6982 | 34.2437 | -1.922 | 26.6301 | -8.5445 | 1.9343 | -22.4603 | 13.1178 | -0.4021 | 4.6792 | 16.5919 | 0.41602 | 0.051901 | -11.403 | 169.7339 | -160.1463 | 18.3646 | -10.2661 | 19.8537 | -161.6354 | 1.1073 | 0.8269 | 0.545 | 1.1157 | 0.6869 | 0.50757 | 1.5502 | -150.1806 | 135.6121 | 1.872 | -160.2787 | 157.3648
Line_1 | 0.091755 | 3.3594 | 3.4357 | 0.091755 | 3.3594 | 3.4357 | 1.0595 | 38.7909 | 39.6726 | 1.0595 | 38.7909 | 39.6726 | 1.136 | -20.7759 | 21.3439 | -1.1316 | 26.6443 | -15.2056 | 0.34653 | 6.4101 | -6.2369 | -0.34157 | 0.24834 | 13.2014 | -14.9237 | 19.1873 | -161.6708 | 165.0763 | -160.8127 | 18.3292 | 1.121 | 0.5605 | 0.5605 | 1.1157 | 0.6869 | 0.50757 | 2.0403 | -177.9597 | -177.9597 | 1.872 | -160.2787 | 157.3648
Line_2 | 0.062572 | 0.52886 | 0.47016 | 0.062572 | 0.52886 | 0.47016 | 0.72252 | 6.1068 | 5.429 | 0.72252 | 6.1068 | 5.429 | 0.80469 | 4.3294 | -1.9729 | -0.80265 | -4.184 | 2.0878 | 0.076762 | 0.46526 | 1.9288 | -0.074452 | -0.30024 | -1.7984 | -3.4275 | -164.3831 | 18.1058 | 176.5725 | 15.6169 | -161.8942 | 1.1188 | 0.71304 | 0.50822 | 1.1157 | 0.6869 | 0.50757 | 2.0217 | -158.2494 | 153.7525 | 1.872 | -160.2787 | 157.3648

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068683 | 1.2664 | 1.3263 | 0.068683 | 1.2664 | 1.3263 | 0.79309 | 14.6233 | 15.3145 | 0.79309 | 14.6233 | 15.3145 | -0.86881 | 14.4848 | 1.0401 | 0.87126 | -13.6509 | -0.12545 | 0.073563 | 2.9236 | 12.7405 | -0.07078 | -1.9773 | -11.7026 | -174.4448 | -144.325 | 34.1859 | 5.5552 | 35.675 | -145.8141 | 1.0994 | 1.0105 | 0.83469 | 1.1022 | 0.94324 | 0.7642 | 0.71549 | -132.9139 | 119.5186 | 0.91084 | -136.083 | 123.5717
Line_1 | 0.041035 | 1.5024 | 1.5365 | 0.041035 | 1.5024 | 1.5365 | 0.47383 | 17.3481 | 17.7424 | 0.47383 | 17.3481 | 17.7424 | 0.52312 | -14.9923 | 1.0907 | -0.52225 | 16.1661 | 0.13696 | 0.001114 | -1.2022 | -12.1651 | -0.00012049 | 2.534 | 13.558 | 0.89762 | 35.0086 | -145.8495 | -179.1024 | -144.9914 | 34.1505 | 1.104 | 0.86698 | 0.6884 | 1.1022 | 0.94324 | 0.7642 | 1.0196 | -140.4067 | 129.274 | 0.91084 | -136.083 | 123.5717
Line_2 | 0.027983 | 0.23652 | 0.21027 | 0.027983 | 0.23652 | 0.21027 | 0.32312 | 2.7311 | 2.4279 | 0.32312 | 2.7311 | 2.4279 | 0.34942 | 2.5443 | 0.034498 | -0.34902 | -2.5152 | -0.011508 | -0.070438 | 0.58964 | 1.8815 | 0.0709 | -0.55663 | -1.8554 | 12.3938 | -148.5618 | 33.9271 | -167.6062 | 31.4382 | -146.0729 | 1.1031 | 0.9563 | 0.77506 | 1.1022 | 0.94324 | 0.7642 | 0.99665 | -135.514 | 122.8767 | 0.91084 | -136.083 | 123.5717

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068683 | 1.2664 | 1.3263 | 0.068683 | 1.2664 | 1.3263 | 0.79309 | 14.6233 | 15.3145 | 0.79309 | 14.6233 | 15.3145 | -0.86881 | 14.4848 | 1.0401 | 0.87126 | -13.6509 | -0.12545 | 0.073563 | 2.9236 | 12.7405 | -0.07078 | -1.9773 | -11.7026 | -174.4448 | -144.325 | 34.1859 | 5.5552 | 35.675 | -145.8141 | 1.0994 | 1.0105 | 0.83469 | 1.1022 | 0.94324 | 0.7642 | 0.71549 | -132.9139 | 119.5186 | 0.91084 | -136.083 | 123.5717
Line_1 | 0.041035 | 1.5024 | 1.5365 | 0.041035 | 1.5024 | 1.5365 | 0.47383 | 17.3481 | 17.7424 | 0.47383 | 17.3481 | 17.7424 | 0.52312 | -14.9923 | 1.0907 | -0.52225 | 16.1661 | 0.13696 | 0.001114 | -1.2022 | -12.1651 | -0.00012049 | 2.534 | 13.558 | 0.89762 | 35.0086 | -145.8495 | -179.1024 | -144.9914 | 34.1505 | 1.104 | 0.86698 | 0.6884 | 1.1022 | 0.94324 | 0.7642 | 1.0196 | -140.4067 | 129.274 | 0.91084 | -136.083 | 123.5717
Line_2 | 0.027983 | 0.23652 | 0.21027 | 0.027983 | 0.23652 | 0.21027 | 0.32312 | 2.7311 | 2.4279 | 0.32312 | 2.7311 | 2.4279 | 0.34942 | 2.5443 | 0.034498 | -0.34902 | -2.5152 | -0.011508 | -0.070438 | 0.58964 | 1.8815 | 0.0709 | -0.55663 | -1.8554 | 12.3938 | -148.5618 | 33.9271 | -167.6062 | 31.4382 | -146.0729 | 1.1031 | 0.9563 | 0.77506 | 1.1022 | 0.94324 | 0.7642 | 0.99665 | -135.514 | 122.8767 | 0.91084 | -136.083 | 123.5717

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7919 | 0.81359 | 0.69561 | 1.7899 | 0.81559 | 0.69761 | 20.6911 | 9.3945 | 8.0322 | 20.668 | 9.4176 | 8.0553 | 6.9996 | -7.8373 | 8.5547 | -4.8008 | 7.9661 | -8.5331 | 6.4562 | 9.2668 | 3.53 | -4.3781 | -8.9931 | -3.3165 | -72.4719 | 104.5809 | 109.5627 | 107.5267 | -75.4087 | -70.4393 | 0.46022 | 1.2919 | 1.1522 | 0.31437 | 1.2757 | 1.1365 | -29.7845 | -125.1968 | 131.9857 | -30.1103 | -123.8742 | 130.8002
Line_1 | 2.493 | 0.55737 | 0.48015 | 2.4953 | 0.55506 | 0.47783 | 28.7866 | 6.4359 | 5.5443 | 28.8131 | 6.4092 | 5.5175 | 1.0941e-10 | 6.4688 | -5.2941 | 6.9993 | -6.8907 | 4.8354 | -9.7361e-11 | -4.9838 | -4.489 | 5.7495 | 4.401 | 3.9925 | 110.5002 | -91.2684 | -88.7118 | -69.5112 | 88.6916 | 91.2541 | 0 | 1.2688 | 1.2519 | 0.31437 | 1.2757 | 1.1365 | 0 | -128.8804 | 131.5839 | -30.1103 | -123.8742 | 130.8002
Line_2 | 0.71561 | 0.32191 | 0.28807 | 0.71379 | 0.32018 | 0.28644 | 8.2631 | 3.7171 | 3.3264 | 8.2422 | 3.6971 | 3.3075 | 3.4053 | 1.5978 | -3.2652 | -2.1984 | -1.0754 | 3.6977 | 2.0955 | -4.4805 | 0.72605 | -1.3714 | 4.5921 | -0.67597 | -62.0717 | -47.1505 | -38.9955 | 117.9342 | 132.9456 | 141.16 | 0.48388 | 1.2797 | 1.0056 | 0.31437 | 1.2757 | 1.1365 | -30.4656 | -117.524 | 128.4681 | -30.1103 | -123.8742 | 130.8002

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7919 | 0.81359 | 0.69561 | 1.7899 | 0.81559 | 0.69761 | 20.6911 | 9.3945 | 8.0322 | 20.668 | 9.4176 | 8.0553 | 6.9996 | -7.8373 | 8.5547 | -4.8008 | 7.9661 | -8.5331 | 6.4562 | 9.2668 | 3.53 | -4.3781 | -8.9931 | -3.3165 | -72.4719 | 104.5809 | 109.5627 | 107.5267 | -75.4087 | -70.4393 | 0.46022 | 1.2919 | 1.1522 | 0.31437 | 1.2757 | 1.1365 | -29.7845 | -125.1968 | 131.9857 | -30.1103 | -123.8742 | 130.8002
Line_1 | 2.493 | 0.55737 | 0.48015 | 2.4953 | 0.55506 | 0.47783 | 28.7866 | 6.4359 | 5.5443 | 28.8131 | 6.4092 | 5.5175 | 1.0941e-10 | 6.4688 | -5.2941 | 6.9993 | -6.8907 | 4.8354 | -9.7361e-11 | -4.9838 | -4.489 | 5.7495 | 4.401 | 3.9925 | 110.5002 | -91.2684 | -88.7118 | -69.5112 | 88.6916 | 91.2541 | 0 | 1.2688 | 1.2519 | 0.31437 | 1.2757 | 1.1365 | 0 | -128.8804 | 131.5839 | -30.1103 | -123.8742 | 130.8002
Line_2 | 0.71561 | 0.32191 | 0.28807 | 0.71379 | 0.32018 | 0.28644 | 8.2631 | 3.7171 | 3.3264 | 8.2422 | 3.6971 | 3.3075 | 3.4053 | 1.5978 | -3.2652 | -2.1984 | -1.0754 | 3.6977 | 2.0955 | -4.4805 | 0.72605 | -1.3714 | 4.5921 | -0.67597 | -62.0717 | -47.1505 | -38.9955 | 117.9342 | 132.9456 | 141.16 | 0.48388 | 1.2797 | 1.0056 | 0.31437 | 1.2757 | 1.1365 | -30.4656 | -117.524 | 128.4681 | -30.1103 | -123.8742 | 130.8002

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61928 | 0.28118 | 0.2404 | 0.61859 | 0.28187 | 0.24109 | 7.1508 | 3.2468 | 2.7759 | 7.1429 | 3.2547 | 2.7839 | 4.7883 | -1.6005 | 2.9967 | -4.5211 | 1.6171 | -2.9998 | 4.4327 | 3.4611 | -0.26691 | -4.1805 | -3.4343 | 0.29432 | -52.6605 | 124.3923 | 129.3741 | 127.338 | -55.5973 | -50.6279 | 0.91249 | 1.1745 | 1.0838 | 0.86208 | 1.1663 | 1.0827 | -9.8686 | -120.79 | 124.2842 | -9.9036 | -120.3826 | 123.7685
Line_1 | 0.86158 | 0.19263 | 0.16594 | 0.86237 | 0.19183 | 0.16514 | 9.9487 | 2.2242 | 1.9161 | 9.9578 | 2.215 | 1.9068 | -5.7553 | 1.651 | -2.0758 | 6.5956 | -1.6987 | 2.014 | -4.8023 | -2.0225 | -0.51233 | 5.4945 | 1.9463 | 0.45399 | 130.3116 | -71.457 | -68.9004 | -49.6998 | 108.503 | 111.0655 | 0.75344 | 1.1738 | 1.1158 | 0.86208 | 1.1663 | 1.0827 | -9.8466 | -122.231 | 124.9636 | -9.9036 | -120.3826 | 123.7685
Line_2 | 0.24731 | 0.11125 | 0.099558 | 0.24669 | 0.11065 | 0.098993 | 2.8557 | 1.2846 | 1.1496 | 2.8485 | 1.2777 | 1.1431 | 2.2231 | -0.018775 | -0.93904 | -2.0745 | 0.081618 | 0.98577 | 1.4036 | -1.4801 | 0.75662 | -1.314 | 1.488 | -0.74832 | -42.2603 | -27.3392 | -19.1842 | 137.7456 | 152.757 | 160.9714 | 0.92066 | 1.1522 | 1.049 | 0.86208 | 1.1663 | 1.0827 | -9.9933 | -118.0659 | 121.9559 | -9.9036 | -120.3826 | 123.7685

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61928 | 0.28118 | 0.2404 | 0.61859 | 0.28187 | 0.24109 | 7.1508 | 3.2468 | 2.7759 | 7.1429 | 3.2547 | 2.7839 | 4.7883 | -1.6005 | 2.9967 | -4.5211 | 1.6171 | -2.9998 | 4.4327 | 3.4611 | -0.26691 | -4.1805 | -3.4343 | 0.29432 | -52.6605 | 124.3923 | 129.3741 | 127.338 | -55.5973 | -50.6279 | 0.91249 | 1.1745 | 1.0838 | 0.86208 | 1.1663 | 1.0827 | -9.8686 | -120.79 | 124.2842 | -9.9036 | -120.3826 | 123.7685
Line_1 | 0.86158 | 0.19263 | 0.16594 | 0.86237 | 0.19183 | 0.16514 | 9.9487 | 2.2242 | 1.9161 | 9.9578 | 2.215 | 1.9068 | -5.7553 | 1.651 | -2.0758 | 6.5956 | -1.6987 | 2.014 | -4.8023 | -2.0225 | -0.51233 | 5.4945 | 1.9463 | 0.45399 | 130.3116 | -71.457 | -68.9004 | -49.6998 | 108.503 | 111.0655 | 0.75344 | 1.1738 | 1.1158 | 0.86208 | 1.1663 | 1.0827 | -9.8466 | -122.231 | 124.9636 | -9.9036 | -120.3826 | 123.7685
Line_2 | 0.24731 | 0.11125 | 0.099558 | 0.24669 | 0.11065 | 0.098993 | 2.8557 | 1.2846 | 1.1496 | 2.8485 | 1.2777 | 1.1431 | 2.2231 | -0.018775 | -0.93904 | -2.0745 | 0.081618 | 0.98577 | 1.4036 | -1.4801 | 0.75662 | -1.314 | 1.488 | -0.74832 | -42.2603 | -27.3392 | -19.1842 | 137.7456 | 152.757 | 160.9714 | 0.92066 | 1.1522 | 1.049 | 0.86208 | 1.1663 | 1.0827 | -9.9933 | -118.0659 | 121.9559 | -9.9036 | -120.3826 | 123.7685

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4118 | 0.65052 | 0.55036 | 1.4103 | 0.65202 | 0.55187 | 16.3021 | 7.5115 | 6.355 | 16.2847 | 7.5289 | 6.3724 | 7.7491 | -4.8301 | 6.2545 | -5.1565 | 4.9928 | -6.2041 | 4.9958 | 7.1413 | 1.0103 | -3.6784 | -6.9912 | -0.87645 | -62.2958 | 113.6871 | 120.5842 | 117.7035 | -66.302 | -59.4217 | 0.56556 | 1.1478 | 0.99694 | 0.38896 | 1.1411 | 0.98325 | -29.486 | -122.2399 | 129.7597 | -26.7944 | -120.769 | 128.6193
Line_1 | 1.9333 | 0.55994 | 0.4885 | 1.9352 | 0.55799 | 0.48653 | 22.3243 | 6.4656 | 5.6407 | 22.3458 | 6.4431 | 5.618 | -4.4336e-11 | 5.7622 | -5.0901 | 7.389 | -6.0507 | 4.7125 | 6.1455e-12 | -5.1058 | -3.6747 | 4.5768 | 4.1764 | 2.8819 | 121.4502 | -86.1239 | -82.8066 | -58.5688 | 93.8458 | 97.1721 | 0 | 1.1907 | 1.113 | 0.38896 | 1.1411 | 0.98325 | 0 | -127.6676 | 133.0202 | -26.7944 | -120.769 | 128.6193
Line_2 | 0.53703 | 0.22915 | 0.22088 | 0.5358 | 0.22822 | 0.22013 | 6.2011 | 2.646 | 2.5505 | 6.1869 | 2.6352 | 2.5419 | 3.4101 | -0.57805 | -1.0745 | -2.2324 | 1.0578 | 1.4916 | 1.5458 | -2.8743 | 1.8782 | -0.89839 | 2.8148 | -2.0054 | -48.7201 | -10.3725 | 1.7246 | 131.2846 | 169.8275 | -178.0217 | 0.60378 | 1.108 | 0.8484 | 0.38896 | 1.1411 | 0.98325 | -24.3358 | -111.7435 | 121.4973 | -26.7944 | -120.769 | 128.6193

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4118 | 0.65052 | 0.55036 | 1.4103 | 0.65202 | 0.55187 | 16.3021 | 7.5115 | 6.355 | 16.2847 | 7.5289 | 6.3724 | 7.7491 | -4.8301 | 6.2545 | -5.1565 | 4.9928 | -6.2041 | 4.9958 | 7.1413 | 1.0103 | -3.6784 | -6.9912 | -0.87645 | -62.2958 | 113.6871 | 120.5842 | 117.7035 | -66.302 | -59.4217 | 0.56556 | 1.1478 | 0.99694 | 0.38896 | 1.1411 | 0.98325 | -29.486 | -122.2399 | 129.7597 | -26.7944 | -120.769 | 128.6193
Line_1 | 1.9333 | 0.55994 | 0.4885 | 1.9352 | 0.55799 | 0.48653 | 22.3243 | 6.4656 | 5.6407 | 22.3458 | 6.4431 | 5.618 | -4.4336e-11 | 5.7622 | -5.0901 | 7.389 | -6.0507 | 4.7125 | 6.1455e-12 | -5.1058 | -3.6747 | 4.5768 | 4.1764 | 2.8819 | 121.4502 | -86.1239 | -82.8066 | -58.5688 | 93.8458 | 97.1721 | 0 | 1.1907 | 1.113 | 0.38896 | 1.1411 | 0.98325 | 0 | -127.6676 | 133.0202 | -26.7944 | -120.769 | 128.6193
Line_2 | 0.53703 | 0.22915 | 0.22088 | 0.5358 | 0.22822 | 0.22013 | 6.2011 | 2.646 | 2.5505 | 6.1869 | 2.6352 | 2.5419 | 3.4101 | -0.57805 | -1.0745 | -2.2324 | 1.0578 | 1.4916 | 1.5458 | -2.8743 | 1.8782 | -0.89839 | 2.8148 | -2.0054 | -48.7201 | -10.3725 | 1.7246 | 131.2846 | 169.8275 | -178.0217 | 0.60378 | 1.108 | 0.8484 | 0.38896 | 1.1411 | 0.98325 | -24.3358 | -111.7435 | 121.4973 | -26.7944 | -120.769 | 128.6193

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51133 | 0.23561 | 0.19933 | 0.51079 | 0.23615 | 0.19988 | 5.9044 | 2.7206 | 2.3017 | 5.8981 | 2.7268 | 2.308 | 4.0312 | -1.0363 | 2.2033 | -3.6878 | 1.0583 | -2.2005 | 3.0968 | 2.6783 | -0.4796 | -2.9215 | -2.6627 | 0.49869 | -47.2372 | 128.7457 | 135.6428 | 132.7621 | -51.2434 | -44.3631 | 0.86095 | 1.0556 | 0.97967 | 0.79768 | 1.0508 | 0.97762 | -9.705 | -120.1014 | 123.3625 | -8.8522 | -119.5688 | 122.8681
Line_1 | 0.70023 | 0.2028 | 0.17693 | 0.7009 | 0.2021 | 0.17621 | 8.0855 | 2.3418 | 2.043 | 8.0933 | 2.3336 | 2.0347 | -4.3379 | 1.59 | -2.0099 | 5.3104 | -1.6257 | 1.955 | -3.0666 | -1.9626 | -0.47065 | 3.6713 | 1.8357 | 0.36719 | 136.5088 | -71.0653 | -67.748 | -43.5102 | 108.9044 | 112.2307 | 0.65703 | 1.0786 | 1.0104 | 0.79768 | 1.0508 | 0.97762 | -8.2341 | -122.0519 | 125.4311 | -8.8522 | -119.5688 | 122.8681
Line_2 | 0.1945 | 0.082996 | 0.079999 | 0.19406 | 0.082658 | 0.079729 | 2.2459 | 0.95836 | 0.92375 | 2.2408 | 0.95445 | 0.92063 | 1.78 | -0.50462 | -0.19366 | -1.6225 | 0.5674 | 0.24553 | 0.83636 | -0.83815 | 0.85101 | -0.74988 | 0.82697 | -0.86588 | -33.6615 | 4.6861 | 16.7832 | 146.3432 | -175.1139 | -162.9631 | 0.87568 | 1.0208 | 0.94481 | 0.79768 | 1.0508 | 0.97762 | -8.4946 | -116.3643 | 119.6034 | -8.8522 | -119.5688 | 122.8681

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51133 | 0.23561 | 0.19933 | 0.51079 | 0.23615 | 0.19988 | 5.9044 | 2.7206 | 2.3017 | 5.8981 | 2.7268 | 2.308 | 4.0312 | -1.0363 | 2.2033 | -3.6878 | 1.0583 | -2.2005 | 3.0968 | 2.6783 | -0.4796 | -2.9215 | -2.6627 | 0.49869 | -47.2372 | 128.7457 | 135.6428 | 132.7621 | -51.2434 | -44.3631 | 0.86095 | 1.0556 | 0.97967 | 0.79768 | 1.0508 | 0.97762 | -9.705 | -120.1014 | 123.3625 | -8.8522 | -119.5688 | 122.8681
Line_1 | 0.70023 | 0.2028 | 0.17693 | 0.7009 | 0.2021 | 0.17621 | 8.0855 | 2.3418 | 2.043 | 8.0933 | 2.3336 | 2.0347 | -4.3379 | 1.59 | -2.0099 | 5.3104 | -1.6257 | 1.955 | -3.0666 | -1.9626 | -0.47065 | 3.6713 | 1.8357 | 0.36719 | 136.5088 | -71.0653 | -67.748 | -43.5102 | 108.9044 | 112.2307 | 0.65703 | 1.0786 | 1.0104 | 0.79768 | 1.0508 | 0.97762 | -8.2341 | -122.0519 | 125.4311 | -8.8522 | -119.5688 | 122.8681
Line_2 | 0.1945 | 0.082996 | 0.079999 | 0.19406 | 0.082658 | 0.079729 | 2.2459 | 0.95836 | 0.92375 | 2.2408 | 0.95445 | 0.92063 | 1.78 | -0.50462 | -0.19366 | -1.6225 | 0.5674 | 0.24553 | 0.83636 | -0.83815 | 0.85101 | -0.74988 | 0.82697 | -0.86588 | -33.6615 | 4.6861 | 16.7832 | 146.3432 | -175.1139 | -162.9631 | 0.87568 | 1.0208 | 0.94481 | 0.79768 | 1.0508 | 0.97762 | -8.4946 | -116.3643 | 119.6034 | -8.8522 | -119.5688 | 122.8681

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5646 | 2.8546 | 2.9894 | 0.56618 | 2.8544 | 2.9892 | 6.5195 | 32.9621 | 34.5187 | 6.5377 | 32.9593 | 34.5165 | -0.18706 | 12.918 | 7.4692 | 0.22741 | -8.3619 | -2.959 | 8.3498 | 6.5261 | 16.4385 | -8.2641 | -2.3636 | -10.4218 | -86.1374 | -168.7896 | 26.5305 | 93.9085 | 11.2431 | -153.5008 | 1.2811 | 0.43908 | 0.52307 | 1.2645 | 0.26365 | 0.31387 | 5.146 | -141.9869 | 92.0947 | 5.4847 | -152.9736 | 100.6487
Line_1 | 0.41144 | 3.5642 | 3.4225 | 0.40964 | 3.5643 | 3.4232 | 4.7508 | 41.1555 | 39.5191 | 4.7301 | 41.1568 | 39.5278 | 1.5762 | 1.0095e-10 | 1.2722e-10 | -1.7641 | 10.1302 | 4.6017 | -6.1578 | -9.2357e-11 | -2.1135e-11 | 5.7154 | 3.8882 | 11.5217 | 78.4272 | 6.0593 | -147.6095 | -101.6684 | -173.9716 | 32.4201 | 1.3379 | 0 | 0 | 1.2645 | 0.26365 | 0.31387 | 2.7845 | 0 | 0 | 5.4847 | -152.9736 | 100.6487
Line_2 | 0.20529 | 0.76791 | 0.54642 | 0.20382 | 0.76695 | 0.54546 | 2.3705 | 8.8671 | 6.3095 | 2.3536 | 8.8559 | 6.2984 | -1.291 | 2.9054 | 1.9582 | 1.5367 | -1.7683 | -1.6427 | -2.4756 | 1.5217 | 1.8983 | 2.5488 | -1.5247 | -1.0999 | 126.4985 | 166.1727 | 66.9634 | -53.4294 | -13.7425 | -113.1557 | 1.1778 | 0.36988 | 0.43225 | 1.2645 | 0.26365 | 0.31387 | 8.9562 | -166.1835 | 111.0744 | 5.4847 | -152.9736 | 100.6487

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5646 | 2.8546 | 2.9894 | 0.56618 | 2.8544 | 2.9892 | 6.5195 | 32.9621 | 34.5187 | 6.5377 | 32.9593 | 34.5165 | -0.18706 | 12.918 | 7.4692 | 0.22741 | -8.3619 | -2.959 | 8.3498 | 6.5261 | 16.4385 | -8.2641 | -2.3636 | -10.4218 | -86.1374 | -168.7896 | 26.5305 | 93.9085 | 11.2431 | -153.5008 | 1.2811 | 0.43908 | 0.52307 | 1.2645 | 0.26365 | 0.31387 | 5.146 | -141.9869 | 92.0947 | 5.4847 | -152.9736 | 100.6487
Line_1 | 0.41144 | 3.5642 | 3.4225 | 0.40964 | 3.5643 | 3.4232 | 4.7508 | 41.1555 | 39.5191 | 4.7301 | 41.1568 | 39.5278 | 1.5762 | 1.0095e-10 | 1.2722e-10 | -1.7641 | 10.1302 | 4.6017 | -6.1578 | -9.2357e-11 | -2.1135e-11 | 5.7154 | 3.8882 | 11.5217 | 78.4272 | 6.0593 | -147.6095 | -101.6684 | -173.9716 | 32.4201 | 1.3379 | 0 | 0 | 1.2645 | 0.26365 | 0.31387 | 2.7845 | 0 | 0 | 5.4847 | -152.9736 | 100.6487
Line_2 | 0.20529 | 0.76791 | 0.54642 | 0.20382 | 0.76695 | 0.54546 | 2.3705 | 8.8671 | 6.3095 | 2.3536 | 8.8559 | 6.2984 | -1.291 | 2.9054 | 1.9582 | 1.5367 | -1.7683 | -1.6427 | -2.4756 | 1.5217 | 1.8983 | 2.5488 | -1.5247 | -1.0999 | 126.4985 | 166.1727 | 66.9634 | -53.4294 | -13.7425 | -113.1557 | 1.1778 | 0.36988 | 0.43225 | 1.2645 | 0.26365 | 0.31387 | 8.9562 | -166.1835 | 111.0744 | 5.4847 | -152.9736 | 100.6487

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22735 | 0.80727 | 0.85822 | 0.22798 | 0.80716 | 0.85809 | 2.6252 | 9.3215 | 9.9099 | 2.6324 | 9.3203 | 9.9084 | 1.1564 | 7.4873 | 4.7339 | -1.154 | -7.1135 | -4.3527 | 2.7988 | 3.7336 | 8.3774 | -2.7864 | -3.4144 | -7.86 | -64.5527 | -152.2627 | 49.4011 | 115.4809 | 27.7824 | -130.641 | 1.1536 | 0.89756 | 0.97099 | 1.1457 | 0.84659 | 0.90678 | 2.9974 | -125.7593 | 109.9315 | 2.9836 | -126.5773 | 110.3824
Line_1 | 0.16298 | 1.0306 | 0.99374 | 0.16227 | 1.0307 | 0.99413 | 1.882 | 11.9008 | 11.4747 | 1.8737 | 11.9017 | 11.4792 | -0.27868 | -7.541 | -5.854 | 0.24117 | 8.5072 | 6.2746 | -2.2035 | -5.1563 | -7.1819 | 2.1331 | 5.3991 | 8.3054 | 99.5136 | 21.0631 | -122.5846 | -80.5656 | -158.9786 | 57.4527 | 1.1802 | 0.76762 | 0.80747 | 1.1457 | 0.84659 | 0.90678 | 2.3055 | -124.5736 | 108.2317 | 2.9836 | -126.5773 | 110.3824
Line_2 | 0.085423 | 0.24851 | 0.18888 | 0.084855 | 0.24809 | 0.18842 | 0.98638 | 2.8695 | 2.181 | 0.97983 | 2.8647 | 2.1756 | -0.87585 | 1.5339 | 1.9853 | 0.91285 | -1.3937 | -1.9219 | -0.64582 | 1.9918 | 0.54158 | 0.65337 | -1.9848 | -0.44539 | 147.3011 | 178.4061 | 97.4408 | -32.6095 | -1.4999 | -82.6652 | 1.1032 | 0.8761 | 0.94353 | 1.1457 | 0.84659 | 0.90678 | 3.705 | -129.1937 | 112.6995 | 2.9836 | -126.5773 | 110.3824

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22735 | 0.80727 | 0.85822 | 0.22798 | 0.80716 | 0.85809 | 2.6252 | 9.3215 | 9.9099 | 2.6324 | 9.3203 | 9.9084 | 1.1564 | 7.4873 | 4.7339 | -1.154 | -7.1135 | -4.3527 | 2.7988 | 3.7336 | 8.3774 | -2.7864 | -3.4144 | -7.86 | -64.5527 | -152.2627 | 49.4011 | 115.4809 | 27.7824 | -130.641 | 1.1536 | 0.89756 | 0.97099 | 1.1457 | 0.84659 | 0.90678 | 2.9974 | -125.7593 | 109.9315 | 2.9836 | -126.5773 | 110.3824
Line_1 | 0.16298 | 1.0306 | 0.99374 | 0.16227 | 1.0307 | 0.99413 | 1.882 | 11.9008 | 11.4747 | 1.8737 | 11.9017 | 11.4792 | -0.27868 | -7.541 | -5.854 | 0.24117 | 8.5072 | 6.2746 | -2.2035 | -5.1563 | -7.1819 | 2.1331 | 5.3991 | 8.3054 | 99.5136 | 21.0631 | -122.5846 | -80.5656 | -158.9786 | 57.4527 | 1.1802 | 0.76762 | 0.80747 | 1.1457 | 0.84659 | 0.90678 | 2.3055 | -124.5736 | 108.2317 | 2.9836 | -126.5773 | 110.3824
Line_2 | 0.085423 | 0.24851 | 0.18888 | 0.084855 | 0.24809 | 0.18842 | 0.98638 | 2.8695 | 2.181 | 0.97983 | 2.8647 | 2.1756 | -0.87585 | 1.5339 | 1.9853 | 0.91285 | -1.3937 | -1.9219 | -0.64582 | 1.9918 | 0.54158 | 0.65337 | -1.9848 | -0.44539 | 147.3011 | 178.4061 | 97.4408 | -32.6095 | -1.4999 | -82.6652 | 1.1032 | 0.8761 | 0.94353 | 1.1457 | 0.84659 | 0.90678 | 3.705 | -129.1937 | 112.6995 | 2.9836 | -126.5773 | 110.3824

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44133 | 2.2247 | 2.3934 | 0.44251 | 2.2246 | 2.3931 | 5.096 | 25.6881 | 27.6365 | 5.1096 | 25.6874 | 27.6336 | 0.4011 | 14.4308 | 10.2144 | -0.34887 | -9.2816 | -4.4995 | 5.657 | 2.1286 | 12.5965 | -5.6357 | 0.029489 | -8.3633 | -80.159 | -155.2728 | 39.279 | 99.8901 | 24.7592 | -140.7501 | 1.1129 | 0.56785 | 0.58681 | 1.1051 | 0.36133 | 0.34367 | 5.7852 | -146.882 | 90.2407 | 6.3478 | -155.4229 | 100.9692
Line_1 | 0.41446 | 2.8743 | 2.7609 | 0.41293 | 2.8741 | 2.7618 | 4.7858 | 33.1899 | 31.8802 | 4.768 | 33.1873 | 31.89 | 1.1618 | -1.0147e-10 | -4.3285e-11 | -1.2445 | 11.9454 | 5.8211 | -5.7644 | -6.5478e-11 | -1.0888e-10 | 5.12 | 1.0508 | 9.2859 | 82.7593 | 19.5819 | -136.9768 | -97.3138 | -160.4502 | 43.052 | 1.2287 | 0 | 0 | 1.1051 | 0.36133 | 0.34367 | 4.1547 | 0 | 0 | 6.3478 | -155.4229 | 100.9692
Line_2 | 0.13202 | 0.68957 | 0.40663 | 0.13125 | 0.68897 | 0.40616 | 1.5245 | 7.9624 | 4.6954 | 1.5155 | 7.9556 | 4.69 | -1.3823 | 4.1114 | 1.4626 | 1.5934 | -2.6639 | -1.3216 | -0.54966 | 0.93799 | 1.6436 | 0.51577 | -1.0803 | -0.92263 | 168.1291 | -177.5658 | 66.1766 | -11.5889 | 2.5023 | -113.9497 | 0.97581 | 0.52961 | 0.46857 | 1.1051 | 0.36133 | 0.34367 | 9.8136 | -164.7141 | 114.5128 | 6.3478 | -155.4229 | 100.9692

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44133 | 2.2247 | 2.3934 | 0.44251 | 2.2246 | 2.3931 | 5.096 | 25.6881 | 27.6365 | 5.1096 | 25.6874 | 27.6336 | 0.4011 | 14.4308 | 10.2144 | -0.34887 | -9.2816 | -4.4995 | 5.657 | 2.1286 | 12.5965 | -5.6357 | 0.029489 | -8.3633 | -80.159 | -155.2728 | 39.279 | 99.8901 | 24.7592 | -140.7501 | 1.1129 | 0.56785 | 0.58681 | 1.1051 | 0.36133 | 0.34367 | 5.7852 | -146.882 | 90.2407 | 6.3478 | -155.4229 | 100.9692
Line_1 | 0.41446 | 2.8743 | 2.7609 | 0.41293 | 2.8741 | 2.7618 | 4.7858 | 33.1899 | 31.8802 | 4.768 | 33.1873 | 31.89 | 1.1618 | -1.0147e-10 | -4.3285e-11 | -1.2445 | 11.9454 | 5.8211 | -5.7644 | -6.5478e-11 | -1.0888e-10 | 5.12 | 1.0508 | 9.2859 | 82.7593 | 19.5819 | -136.9768 | -97.3138 | -160.4502 | 43.052 | 1.2287 | 0 | 0 | 1.1051 | 0.36133 | 0.34367 | 4.1547 | 0 | 0 | 6.3478 | -155.4229 | 100.9692
Line_2 | 0.13202 | 0.68957 | 0.40663 | 0.13125 | 0.68897 | 0.40616 | 1.5245 | 7.9624 | 4.6954 | 1.5155 | 7.9556 | 4.69 | -1.3823 | 4.1114 | 1.4626 | 1.5934 | -2.6639 | -1.3216 | -0.54966 | 0.93799 | 1.6436 | 0.51577 | -1.0803 | -0.92263 | 168.1291 | -177.5658 | 66.1766 | -11.5889 | 2.5023 | -113.9497 | 0.97581 | 0.52961 | 0.46857 | 1.1051 | 0.36133 | 0.34367 | 9.8136 | -164.7141 | 114.5128 | 6.3478 | -155.4229 | 100.9692

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18393 | 0.66559 | 0.71406 | 0.18442 | 0.66552 | 0.71395 | 2.1238 | 7.6855 | 8.2453 | 2.1295 | 7.6847 | 8.244 | 0.96308 | 6.1415 | 4.1948 | -0.95742 | -5.6669 | -3.6796 | 1.9719 | 2.1348 | 6.1242 | -1.968 | -1.9604 | -5.7206 | -61.0849 | -145.905 | 54.9093 | 118.9503 | 34.1384 | -125.1304 | 1.0333 | 0.846 | 0.90028 | 1.0277 | 0.7803 | 0.82507 | 2.8836 | -126.7371 | 110.5 | 3.0079 | -126.7789 | 112.1198
Line_1 | 0.17013 | 0.88393 | 0.8193 | 0.16949 | 0.88391 | 0.81967 | 1.9645 | 10.2068 | 9.4604 | 1.9571 | 10.2065 | 9.4648 | -0.27722 | -5.93 | -4.365 | 0.25358 | 7.2169 | 4.8578 | -2.1045 | -3.3367 | -5.1254 | 1.9952 | 3.3679 | 6.1143 | 100.3112 | 28.2471 | -119.4517 | -79.749 | -151.796 | 60.5865 | 1.0806 | 0.66664 | 0.71162 | 1.0277 | 0.7803 | 0.82507 | 2.8072 | -122.3873 | 110.1296 | 3.0079 | -126.7789 | 112.1198
Line_2 | 0.05966 | 0.23265 | 0.13065 | 0.059355 | 0.23237 | 0.13038 | 0.68889 | 2.6864 | 1.5087 | 0.68537 | 2.6832 | 1.5055 | -0.66728 | 1.7434 | 1.2141 | 0.70384 | -1.55 | -1.1781 | 0.018285 | 1.3978 | 0.48255 | -0.027222 | -1.4075 | -0.39366 | -175.0464 | -169.0959 | 93.78 | 5.2228 | 10.9803 | -86.3569 | 0.96898 | 0.83181 | 0.866 | 1.0277 | 0.7803 | 0.82507 | 3.384 | -130.3734 | 115.4552 | 3.0079 | -126.7789 | 112.1198

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18393 | 0.66559 | 0.71406 | 0.18442 | 0.66552 | 0.71395 | 2.1238 | 7.6855 | 8.2453 | 2.1295 | 7.6847 | 8.244 | 0.96308 | 6.1415 | 4.1948 | -0.95742 | -5.6669 | -3.6796 | 1.9719 | 2.1348 | 6.1242 | -1.968 | -1.9604 | -5.7206 | -61.0849 | -145.905 | 54.9093 | 118.9503 | 34.1384 | -125.1304 | 1.0333 | 0.846 | 0.90028 | 1.0277 | 0.7803 | 0.82507 | 2.8836 | -126.7371 | 110.5 | 3.0079 | -126.7789 | 112.1198
Line_1 | 0.17013 | 0.88393 | 0.8193 | 0.16949 | 0.88391 | 0.81967 | 1.9645 | 10.2068 | 9.4604 | 1.9571 | 10.2065 | 9.4648 | -0.27722 | -5.93 | -4.365 | 0.25358 | 7.2169 | 4.8578 | -2.1045 | -3.3367 | -5.1254 | 1.9952 | 3.3679 | 6.1143 | 100.3112 | 28.2471 | -119.4517 | -79.749 | -151.796 | 60.5865 | 1.0806 | 0.66664 | 0.71162 | 1.0277 | 0.7803 | 0.82507 | 2.8072 | -122.3873 | 110.1296 | 3.0079 | -126.7789 | 112.1198
Line_2 | 0.05966 | 0.23265 | 0.13065 | 0.059355 | 0.23237 | 0.13038 | 0.68889 | 2.6864 | 1.5087 | 0.68537 | 2.6832 | 1.5055 | -0.66728 | 1.7434 | 1.2141 | 0.70384 | -1.55 | -1.1781 | 0.018285 | 1.3978 | 0.48255 | -0.027222 | -1.4075 | -0.39366 | -175.0464 | -169.0959 | 93.78 | 5.2228 | 10.9803 | -86.3569 | 0.96898 | 0.83181 | 0.866 | 1.0277 | 0.7803 | 0.82507 | 3.384 | -130.3734 | 115.4552 | 3.0079 | -126.7789 | 112.1198