## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.029492 | 0.029492 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.029492 | 0.029492 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94414 | 0.94414 | -10.9097 | -10.9097

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94414 | 0.94414 | -10.9097 | -10.9097

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6807e-15 | 1.7589e-14 | -5.442e-15 | -1.6867e-14 | -1.1641e-14 | -2.7617e-16 | -5.5059e-15 | -1.9802e-14 | 2.7617e-16 | -5.3312e-15 | 8.4142e-15 | -5.442e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 0.60646 | 0.57516 | 1.1809 | 0.60646 | 0.57516 | -0.89507 | -178.9887 | 177.0948 | -0.89507 | -178.9887 | 177.0948

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6807e-15 | 1.7589e-14 | -5.442e-15 | -1.6867e-14 | -1.1641e-14 | -2.7617e-16 | -5.5059e-15 | -1.9802e-14 | 2.7617e-16 | -5.3312e-15 | 8.4142e-15 | -5.442e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 0.60646 | 0.57516 | 1.1809 | 0.60646 | 0.57516 | -0.89507 | -178.9887 | 177.0948 | -0.89507 | -178.9887 | 177.0948

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9916e-15 | -7.8603e-15 | -4.9288e-15 | 4.2387e-15 | 9.3571e-15 | 4.0049e-15 | 1.0923e-16 | 5.9945e-15 | 1.2334e-15 | 2.7311e-15 | -7.8673e-15 | 3.0711e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 1.0123 | 0.75843 | 1.1809 | 1.0123 | 0.75843 | -0.89506 | -141.3664 | 120.9501 | -0.89506 | -141.3664 | 120.9501

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9916e-15 | -7.8603e-15 | -4.9288e-15 | 4.2387e-15 | 9.3571e-15 | 4.0049e-15 | 1.0923e-16 | 5.9945e-15 | 1.2334e-15 | 2.7311e-15 | -7.8673e-15 | 3.0711e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 1.0123 | 0.75843 | 1.1809 | 1.0123 | 0.75843 | -0.89506 | -141.3664 | 120.9501 | -0.89506 | -141.3664 | 120.9501

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 2.6053e-14 | -7.1054e-15 | -4.737e-15 | -2.3684e-14 | 1.4212e-14 | -3.7896e-14 | 4.7631e-09 | -4.7631e-09 | 3.3159e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1563e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -2.3682e-15 | -7.1051e-15 | 1.6579e-14 | 4.7367e-15 | 9.4737e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6586e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -2.3682e-15 | -1.1842e-14 | 1.6579e-14 | 4.7367e-15 | 1.8948e-14 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6712e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 4.737e-15 | 0 | -2.3685e-15 | -4.737e-15 | 9.4739e-15 | 7.1054e-15 | 4.737e-15 | 0 | -4.737e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6586e-13 | -180 | 180 | 6.6712e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 2.6053e-14 | -7.1054e-15 | -4.737e-15 | -2.3684e-14 | 1.4212e-14 | -3.7896e-14 | 4.7631e-09 | -4.7631e-09 | 3.3159e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1563e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -2.3682e-15 | -7.1051e-15 | 1.6579e-14 | 4.7367e-15 | 9.4737e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6586e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -2.3682e-15 | -1.1842e-14 | 1.6579e-14 | 4.7367e-15 | 1.8948e-14 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6712e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 4.737e-15 | 0 | -2.3685e-15 | -4.737e-15 | 9.4739e-15 | 7.1054e-15 | 4.737e-15 | 0 | -4.737e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6586e-13 | -180 | 180 | 6.6712e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | -8.0025e-10 | -2.5674e-09 | 8.8818e-16 | 8.0025e-10 | 2.5674e-09 | -1.1842e-14 | 3.4014e-09 | -3.4064e-10 | 1.1842e-14 | -3.4014e-09 | 3.4063e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.952e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 2.6674e-10 | 8.558e-10 | 2.9606e-15 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6462e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 2.6674e-10 | 8.558e-10 | 6.5133e-15 | -2.6674e-10 | -8.5581e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6549e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | 2.0997e-15 | -2.8057e-16 | -2.9606e-15 | 7.188e-17 | -3.8974e-15 | 1.9143e-29 | -3.4408e-15 | -5.0324e-15 | 2.3685e-15 | -2.4988e-15 | 5.7202e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6462e-13 | -141.4824 | 122.8363 | 2.6549e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | -8.0025e-10 | -2.5674e-09 | 8.8818e-16 | 8.0025e-10 | 2.5674e-09 | -1.1842e-14 | 3.4014e-09 | -3.4064e-10 | 1.1842e-14 | -3.4014e-09 | 3.4063e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.952e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 2.6674e-10 | 8.558e-10 | 2.9606e-15 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6462e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 2.6674e-10 | 8.558e-10 | 6.5133e-15 | -2.6674e-10 | -8.5581e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6549e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | 2.0997e-15 | -2.8057e-16 | -2.9606e-15 | 7.188e-17 | -3.8974e-15 | 1.9143e-29 | -3.4408e-15 | -5.0324e-15 | 2.3685e-15 | -2.4988e-15 | 5.7202e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6462e-13 | -141.4824 | 122.8363 | 2.6549e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28656 | 0.28972 | 0.28975 | 0.28709 | 0.28946 | 0.28949 | 3.3089 | 3.3454 | 3.3458 | 3.315 | 3.3424 | 3.3427 | 6.6593e-11 | 1.0964 | -1.3685 | 0.041127 | -1.0454 | 1.4065 | -2.4248e-11 | -3.2383 | -3.0847 | 0.048135 | 3.2853 | 3.1351 | 92.6763 | -27.6923 | -146.9681 | -87.3244 | 152.3982 | 32.9422 | 0 | 1.022 | 1.0086 | 0.019098 | 1.0315 | 1.028 | 0 | -98.9872 | 99.1072 | -37.8358 | -99.9496 | 98.7807
Line_1 | 0.14407 | 0.14447 | 0.14447 | 0.14355 | 0.14473 | 0.14474 | 1.6636 | 1.6682 | 1.6682 | 1.6575 | 1.6712 | 1.6713 | 0.03117 | -0.5055 | 0.7079 | -0.020564 | 0.52272 | -0.70323 | 0.036317 | 1.6535 | 1.5794 | -0.024067 | -1.6426 | -1.5676 | -87.3267 | 152.5804 | 32.7622 | 92.6756 | -27.6018 | -147.0578 | 0.028768 | 1.0365 | 1.0375 | 0.019098 | 1.0315 | 1.028 | -37.9649 | -100.4199 | 98.6201 | -37.8358 | -99.9496 | 98.7807
Line_2 | 0.14407 | 0.14447 | 0.14447 | 0.14355 | 0.14473 | 0.14474 | 1.6636 | 1.6682 | 1.6682 | 1.6575 | 1.6712 | 1.6713 | 0.03117 | -0.5055 | 0.7079 | -0.020564 | 0.52272 | -0.70323 | 0.036317 | 1.6535 | 1.5794 | -0.024067 | -1.6426 | -1.5676 | -87.3267 | 152.5804 | 32.7622 | 92.6756 | -27.6018 | -147.0578 | 0.028768 | 1.0365 | 1.0375 | 0.019098 | 1.0315 | 1.028 | -37.9649 | -100.4199 | 98.6201 | -37.8358 | -99.9496 | 98.7807
Line_3 | 0.00026439 | 0.00026439 | 0.00026439 | 0.00026439 | 0.00026439 | 0.00026439 | 0.0030529 | 0.0030529 | 0.0030529 | 0.0030529 | 0.0030529 | 0.0030529 | 5.6431e-05 | 0.00309 | -0.0031464 | 5.6431e-05 | 0.00309 | -0.0031464 | 6.7296e-05 | -0.00068145 | -0.00036425 | 6.7296e-05 | -0.00068145 | -0.00036425 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | 0.028768 | 1.0365 | 1.0375 | 0.028768 | 1.0365 | 1.0375 | -37.9649 | -100.4199 | 98.6201 | -37.9649 | -100.4199 | 98.6201

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28656 | 0.28972 | 0.28975 | 0.28709 | 0.28946 | 0.28949 | 3.3089 | 3.3454 | 3.3458 | 3.315 | 3.3424 | 3.3427 | 6.6593e-11 | 1.0964 | -1.3685 | 0.041127 | -1.0454 | 1.4065 | -2.4248e-11 | -3.2383 | -3.0847 | 0.048135 | 3.2853 | 3.1351 | 92.6763 | -27.6923 | -146.9681 | -87.3244 | 152.3982 | 32.9422 | 0 | 1.022 | 1.0086 | 0.019098 | 1.0315 | 1.028 | 0 | -98.9872 | 99.1072 | -37.8358 | -99.9496 | 98.7807
Line_1 | 0.14407 | 0.14447 | 0.14447 | 0.14355 | 0.14473 | 0.14474 | 1.6636 | 1.6682 | 1.6682 | 1.6575 | 1.6712 | 1.6713 | 0.03117 | -0.5055 | 0.7079 | -0.020564 | 0.52272 | -0.70323 | 0.036317 | 1.6535 | 1.5794 | -0.024067 | -1.6426 | -1.5676 | -87.3267 | 152.5804 | 32.7622 | 92.6756 | -27.6018 | -147.0578 | 0.028768 | 1.0365 | 1.0375 | 0.019098 | 1.0315 | 1.028 | -37.9649 | -100.4199 | 98.6201 | -37.8358 | -99.9496 | 98.7807
Line_2 | 0.14407 | 0.14447 | 0.14447 | 0.14355 | 0.14473 | 0.14474 | 1.6636 | 1.6682 | 1.6682 | 1.6575 | 1.6712 | 1.6713 | 0.03117 | -0.5055 | 0.7079 | -0.020564 | 0.52272 | -0.70323 | 0.036317 | 1.6535 | 1.5794 | -0.024067 | -1.6426 | -1.5676 | -87.3267 | 152.5804 | 32.7622 | 92.6756 | -27.6018 | -147.0578 | 0.028768 | 1.0365 | 1.0375 | 0.019098 | 1.0315 | 1.028 | -37.9649 | -100.4199 | 98.6201 | -37.8358 | -99.9496 | 98.7807
Line_3 | 0.00026439 | 0.00026439 | 0.00026439 | 0.00026439 | 0.00026439 | 0.00026439 | 0.0030529 | 0.0030529 | 0.0030529 | 0.0030529 | 0.0030529 | 0.0030529 | 5.6431e-05 | 0.00309 | -0.0031464 | 5.6431e-05 | 0.00309 | -0.0031464 | 6.7296e-05 | -0.00068145 | -0.00036425 | 6.7296e-05 | -0.00068145 | -0.00036425 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | 0.028768 | 1.0365 | 1.0375 | 0.028768 | 1.0365 | 1.0375 | -37.9649 | -100.4199 | 98.6201 | -37.9649 | -100.4199 | 98.6201

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28832 | 0.28906 | 0.28864 | 0.28841 | 0.28896 | 0.28865 | 3.3293 | 3.3378 | 3.333 | 3.3303 | 3.3367 | 3.3331 | -0.59017 | -0.041302 | -0.46782 | 0.63404 | 0.085646 | 0.5096 | -3.1909 | -3.6127 | -3.8595 | 3.2405 | 3.6607 | 3.9093 | 92.6244 | -27.3649 | -147.2435 | -87.3637 | 152.6442 | 32.7354 | 0.9747 | 1.0824 | 1.1664 | 0.9915 | 1.0974 | 1.1828 | -7.8544 | -118.02 | 115.8453 | -8.4343 | -118.6961 | 115.3083
Line_1 | 0.14429 | 0.14439 | 0.14433 | 0.1442 | 0.14448 | 0.14433 | 1.6662 | 1.6672 | 1.6666 | 1.6651 | 1.6683 | 1.6665 | 0.32868 | 0.054281 | 0.26418 | -0.31702 | -0.042823 | -0.2548 | 1.6334 | 1.8414 | 1.9673 | -1.6203 | -1.8303 | -1.9546 | -87.3399 | 152.6627 | 32.6931 | 92.6363 | -27.3558 | -147.2646 | 0.99997 | 1.1049 | 1.191 | 0.9915 | 1.0974 | 1.1828 | -8.7175 | -119.0258 | 115.0446 | -8.4343 | -118.6961 | 115.3083
Line_2 | 0.14429 | 0.14439 | 0.14433 | 0.1442 | 0.14448 | 0.14433 | 1.6662 | 1.6672 | 1.6666 | 1.6651 | 1.6683 | 1.6665 | 0.32868 | 0.054281 | 0.26418 | -0.31702 | -0.042823 | -0.2548 | 1.6334 | 1.8414 | 1.9673 | -1.6203 | -1.8303 | -1.9546 | -87.3399 | 152.6627 | 32.6931 | 92.6363 | -27.3558 | -147.2646 | 0.99997 | 1.1049 | 1.191 | 0.9915 | 1.0974 | 1.1828 | -8.7175 | -119.0258 | 115.0446 | -8.4343 | -118.6961 | 115.3083
Line_3 | 5.3405e-05 | 5.3405e-05 | 5.3405e-05 | 5.3405e-05 | 5.3405e-05 | 5.3405e-05 | 0.00061666 | 0.00061666 | 0.00061666 | 0.00061666 | 0.00061666 | 0.00061666 | 0.00043947 | 0.00027973 | -0.0007192 | 0.00043947 | 0.00027973 | -0.0007192 | 0.00043257 | -0.00062131 | 0.00014883 | 0.00043257 | -0.00062131 | 0.00014883 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | 0.99997 | 1.1049 | 1.191 | 0.99997 | 1.1049 | 1.191 | -8.7175 | -119.0258 | 115.0446 | -8.7175 | -119.0258 | 115.0446

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28832 | 0.28906 | 0.28864 | 0.28841 | 0.28896 | 0.28865 | 3.3293 | 3.3378 | 3.333 | 3.3303 | 3.3367 | 3.3331 | -0.59017 | -0.041302 | -0.46782 | 0.63404 | 0.085646 | 0.5096 | -3.1909 | -3.6127 | -3.8595 | 3.2405 | 3.6607 | 3.9093 | 92.6244 | -27.3649 | -147.2435 | -87.3637 | 152.6442 | 32.7354 | 0.9747 | 1.0824 | 1.1664 | 0.9915 | 1.0974 | 1.1828 | -7.8544 | -118.02 | 115.8453 | -8.4343 | -118.6961 | 115.3083
Line_1 | 0.14429 | 0.14439 | 0.14433 | 0.1442 | 0.14448 | 0.14433 | 1.6662 | 1.6672 | 1.6666 | 1.6651 | 1.6683 | 1.6665 | 0.32868 | 0.054281 | 0.26418 | -0.31702 | -0.042823 | -0.2548 | 1.6334 | 1.8414 | 1.9673 | -1.6203 | -1.8303 | -1.9546 | -87.3399 | 152.6627 | 32.6931 | 92.6363 | -27.3558 | -147.2646 | 0.99997 | 1.1049 | 1.191 | 0.9915 | 1.0974 | 1.1828 | -8.7175 | -119.0258 | 115.0446 | -8.4343 | -118.6961 | 115.3083
Line_2 | 0.14429 | 0.14439 | 0.14433 | 0.1442 | 0.14448 | 0.14433 | 1.6662 | 1.6672 | 1.6666 | 1.6651 | 1.6683 | 1.6665 | 0.32868 | 0.054281 | 0.26418 | -0.31702 | -0.042823 | -0.2548 | 1.6334 | 1.8414 | 1.9673 | -1.6203 | -1.8303 | -1.9546 | -87.3399 | 152.6627 | 32.6931 | 92.6363 | -27.3558 | -147.2646 | 0.99997 | 1.1049 | 1.191 | 0.9915 | 1.0974 | 1.1828 | -8.7175 | -119.0258 | 115.0446 | -8.4343 | -118.6961 | 115.3083
Line_3 | 5.3405e-05 | 5.3405e-05 | 5.3405e-05 | 5.3405e-05 | 5.3405e-05 | 5.3405e-05 | 0.00061666 | 0.00061666 | 0.00061666 | 0.00061666 | 0.00061666 | 0.00061666 | 0.00043947 | 0.00027973 | -0.0007192 | 0.00043947 | 0.00027973 | -0.0007192 | 0.00043257 | -0.00062131 | 0.00014883 | 0.00043257 | -0.00062131 | 0.00014883 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | 0.99997 | 1.1049 | 1.191 | 0.99997 | 1.1049 | 1.191 | -8.7175 | -119.0258 | 115.0446 | -8.7175 | -119.0258 | 115.0446

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017924 | 0.0017924 | 0.0017924 | 0.0013448 | 0.0013448 | 0.0013448 | 0.020697 | 0.020697 | 0.020697 | 0.015528 | 0.015528 | 0.015528 | 1.67e-13 | 0.017945 | -0.017884 | 1.4967e-05 | -0.013453 | 0.01343 | 1.4473e-13 | -0.0033869 | -0.0022214 | 3.1057e-06 | 0.0025195 | 0.0016944 | -88.1368 | -88.1367 | -88.1367 | 91.7579 | 91.758 | 91.758 | 0 | 0.88235 | 0.87074 | 0.00098436 | 0.88144 | 0.87172 | 0 | -98.8251 | 98.9437 | 103.4809 | -98.8494 | 98.9489
Line_1 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.0012657 | 0.88118 | 0.872 | 0.00098436 | 0.88144 | 0.87172 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_2 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.0012657 | 0.88118 | 0.872 | 0.00098436 | 0.88144 | 0.87172 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_3 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | -3.2075e-06 | 0.0022424 | -0.0022392 | -3.2075e-06 | 0.0022424 | -0.0022392 | -6.6801e-07 | -0.00041788 | -0.00028488 | -6.6801e-07 | -0.00041788 | -0.00028488 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | 0.0012657 | 0.88118 | 0.872 | 0.0012657 | 0.88118 | 0.872 | 103.4643 | -98.8563 | 98.9503 | 103.4643 | -98.8563 | 98.9503

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017924 | 0.0017924 | 0.0017924 | 0.0013448 | 0.0013448 | 0.0013448 | 0.020697 | 0.020697 | 0.020697 | 0.015528 | 0.015528 | 0.015528 | 1.67e-13 | 0.017945 | -0.017884 | 1.4967e-05 | -0.013453 | 0.01343 | 1.4473e-13 | -0.0033869 | -0.0022214 | 3.1057e-06 | 0.0025195 | 0.0016944 | -88.1368 | -88.1367 | -88.1367 | 91.7579 | 91.758 | 91.758 | 0 | 0.88235 | 0.87074 | 0.00098436 | 0.88144 | 0.87172 | 0 | -98.8251 | 98.9437 | 103.4809 | -98.8494 | 98.9489
Line_1 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.0012657 | 0.88118 | 0.872 | 0.00098436 | 0.88144 | 0.87172 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_2 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.0012657 | 0.88118 | 0.872 | 0.00098436 | 0.88144 | 0.87172 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_3 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | -3.2075e-06 | 0.0022424 | -0.0022392 | -3.2075e-06 | 0.0022424 | -0.0022392 | -6.6801e-07 | -0.00041788 | -0.00028488 | -6.6801e-07 | -0.00041788 | -0.00028488 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | 0.0012657 | 0.88118 | 0.872 | 0.0012657 | 0.88118 | 0.872 | 103.4643 | -98.8563 | 98.9503 | 103.4643 | -98.8563 | 98.9503

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00037545 | 0.00037545 | 0.00037545 | 0.00028169 | 0.00028169 | 0.00028169 | 0.0043353 | 0.0043353 | 0.0043353 | 0.0032527 | 0.0032527 | 0.0032527 | 0.0025333 | 0.0017629 | -0.0042935 | -0.0018965 | -0.001327 | 0.0032231 | 0.002589 | -0.003637 | 0.00080194 | -0.0019459 | 0.0027265 | -0.00059563 | -53.7608 | -53.7607 | -53.7607 | 126.1339 | 126.134 | 126.134 | 0.83553 | 0.93229 | 1.0075 | 0.83536 | 0.93224 | 1.0077 | -8.1377 | -117.9013 | 115.6595 | -8.1297 | -117.9136 | 115.6639
Line_1 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83531 | 0.93223 | 1.0077 | 0.83536 | 0.93224 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_2 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83531 | 0.93223 | 1.0077 | 0.83536 | 0.93224 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_3 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00032469 | -0.0004543 | 9.874e-05 | 0.00032469 | -0.0004543 | 9.874e-05 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | 0.83531 | 0.93223 | 1.0077 | 0.83531 | 0.93223 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1275 | -117.9171 | 115.6652

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00037545 | 0.00037545 | 0.00037545 | 0.00028169 | 0.00028169 | 0.00028169 | 0.0043353 | 0.0043353 | 0.0043353 | 0.0032527 | 0.0032527 | 0.0032527 | 0.0025333 | 0.0017629 | -0.0042935 | -0.0018965 | -0.001327 | 0.0032231 | 0.002589 | -0.003637 | 0.00080194 | -0.0019459 | 0.0027265 | -0.00059563 | -53.7608 | -53.7607 | -53.7607 | 126.1339 | 126.134 | 126.134 | 0.83553 | 0.93229 | 1.0075 | 0.83536 | 0.93224 | 1.0077 | -8.1377 | -117.9013 | 115.6595 | -8.1297 | -117.9136 | 115.6639
Line_1 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83531 | 0.93223 | 1.0077 | 0.83536 | 0.93224 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_2 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83531 | 0.93223 | 1.0077 | 0.83536 | 0.93224 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_3 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00032469 | -0.0004543 | 9.874e-05 | 0.00032469 | -0.0004543 | 9.874e-05 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | 0.83531 | 0.93223 | 1.0077 | 0.83531 | 0.93223 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1275 | -117.9171 | 115.6652

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29199 | 0.28709 | 0.28698 | 0.29116 | 0.28748 | 0.2874 | 3.3716 | 3.315 | 3.3137 | 3.362 | 3.3196 | 3.3186 | -0.022352 | 5.3039e-11 | 5.3246e-11 | 0.069208 | 0.04098 | 0.042258 | -1.6889 | -1.9123e-11 | -1.8176e-11 | 1.7349 | 0.050762 | 0.045993 | 92.6595 | -26.749 | -147.8946 | -87.3379 | 153.1061 | 32.2478 | 0.50097 | 0 | 0 | 0.51644 | 0.019653 | 0.018821 | 1.9013 | 0 | 0 | 0.37773 | -155.8078 | 79.6713
Line_1 | 0.14475 | 0.14414 | 0.14412 | 0.14558 | 0.14374 | 0.1437 | 1.6714 | 1.6644 | 1.6642 | 1.681 | 1.6598 | 1.6593 | 0.045814 | 0.030901 | 0.032015 | -0.034604 | -0.02049 | -0.021129 | 0.87501 | 0.038105 | 0.034791 | -0.86746 | -0.025381 | -0.022997 | -87.3314 | 152.8164 | 32.531 | 92.6621 | -26.8939 | -147.7522 | 0.52422 | 0.029476 | 0.02841 | 0.51644 | 0.019653 | 0.018821 | -0.32864 | -156.2236 | 79.9102 | 0.37773 | -155.8078 | 79.6713
Line_2 | 0.14475 | 0.14414 | 0.14412 | 0.14558 | 0.14374 | 0.1437 | 1.6714 | 1.6644 | 1.6642 | 1.681 | 1.6598 | 1.6593 | 0.045814 | 0.030901 | 0.032015 | -0.034604 | -0.02049 | -0.021129 | 0.87501 | 0.038105 | 0.034791 | -0.86746 | -0.025381 | -0.022997 | -87.3314 | 152.8164 | 32.531 | 92.6621 | -26.8939 | -147.7522 | 0.52422 | 0.029476 | 0.02841 | 0.51644 | 0.019653 | 0.018821 | -0.32864 | -156.2236 | 79.9102 | 0.37773 | -155.8078 | 79.6713
Line_3 | 0.00041446 | 0.00041446 | 0.00041446 | 0.00041446 | 0.00041446 | 0.00041446 | 0.0047857 | 0.0047857 | 0.0047857 | 0.0047857 | 0.0047857 | 0.0047857 | -7.9701e-05 | -5.3493e-05 | 0.00013319 | -7.9701e-05 | -5.3493e-05 | 0.00013319 | -0.0025075 | 0.00013053 | -2.7297e-05 | -0.0025075 | 0.00013053 | -2.7297e-05 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 0.52422 | 0.029476 | 0.02841 | 0.52422 | 0.029476 | 0.02841 | -0.32864 | -156.2236 | 79.9102 | -0.32864 | -156.2236 | 79.9102

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29199 | 0.28709 | 0.28698 | 0.29116 | 0.28748 | 0.2874 | 3.3716 | 3.315 | 3.3137 | 3.362 | 3.3196 | 3.3186 | -0.022352 | 5.3039e-11 | 5.3246e-11 | 0.069208 | 0.04098 | 0.042258 | -1.6889 | -1.9123e-11 | -1.8176e-11 | 1.7349 | 0.050762 | 0.045993 | 92.6595 | -26.749 | -147.8946 | -87.3379 | 153.1061 | 32.2478 | 0.50097 | 0 | 0 | 0.51644 | 0.019653 | 0.018821 | 1.9013 | 0 | 0 | 0.37773 | -155.8078 | 79.6713
Line_1 | 0.14475 | 0.14414 | 0.14412 | 0.14558 | 0.14374 | 0.1437 | 1.6714 | 1.6644 | 1.6642 | 1.681 | 1.6598 | 1.6593 | 0.045814 | 0.030901 | 0.032015 | -0.034604 | -0.02049 | -0.021129 | 0.87501 | 0.038105 | 0.034791 | -0.86746 | -0.025381 | -0.022997 | -87.3314 | 152.8164 | 32.531 | 92.6621 | -26.8939 | -147.7522 | 0.52422 | 0.029476 | 0.02841 | 0.51644 | 0.019653 | 0.018821 | -0.32864 | -156.2236 | 79.9102 | 0.37773 | -155.8078 | 79.6713
Line_2 | 0.14475 | 0.14414 | 0.14412 | 0.14558 | 0.14374 | 0.1437 | 1.6714 | 1.6644 | 1.6642 | 1.681 | 1.6598 | 1.6593 | 0.045814 | 0.030901 | 0.032015 | -0.034604 | -0.02049 | -0.021129 | 0.87501 | 0.038105 | 0.034791 | -0.86746 | -0.025381 | -0.022997 | -87.3314 | 152.8164 | 32.531 | 92.6621 | -26.8939 | -147.7522 | 0.52422 | 0.029476 | 0.02841 | 0.51644 | 0.019653 | 0.018821 | -0.32864 | -156.2236 | 79.9102 | 0.37773 | -155.8078 | 79.6713
Line_3 | 0.00041446 | 0.00041446 | 0.00041446 | 0.00041446 | 0.00041446 | 0.00041446 | 0.0047857 | 0.0047857 | 0.0047857 | 0.0047857 | 0.0047857 | 0.0047857 | -7.9701e-05 | -5.3493e-05 | 0.00013319 | -7.9701e-05 | -5.3493e-05 | 0.00013319 | -0.0025075 | 0.00013053 | -2.7297e-05 | -0.0025075 | 0.00013053 | -2.7297e-05 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 0.52422 | 0.029476 | 0.02841 | 0.52422 | 0.029476 | 0.02841 | -0.32864 | -156.2236 | 79.9102 | -0.32864 | -156.2236 | 79.9102

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28904 | 0.28826 | 0.28873 | 0.28895 | 0.28836 | 0.28871 | 3.3375 | 3.3285 | 3.3339 | 3.3365 | 3.3297 | 3.3338 | -0.34993 | -0.81634 | -0.43277 | 0.39263 | 0.85899 | 0.47742 | -3.6092 | -3.1719 | -3.0134 | 3.6577 | 3.2222 | 3.0619 | 92.7257 | -27.2922 | -147.4175 | -87.2878 | 152.6989 | 32.6048 | 1.0865 | 0.98399 | 0.91312 | 1.1026 | 1.0015 | 0.92954 | -2.8123 | -131.725 | 114.4097 | -3.4146 | -132.228 | 113.7423
Line_1 | 0.14438 | 0.14429 | 0.14434 | 0.14447 | 0.14418 | 0.14436 | 1.6672 | 1.6661 | 1.6667 | 1.6682 | 1.6649 | 1.6669 | 0.20621 | 0.44007 | 0.25075 | -0.19631 | -0.4295 | -0.23871 | 1.8401 | 1.6247 | 1.5429 | -1.8288 | -1.6111 | -1.5309 | -87.3146 | 152.681 | 32.6496 | 92.7122 | -27.3011 | -147.3952 | 1.1106 | 1.0103 | 0.93781 | 1.1026 | 1.0015 | 0.92954 | -3.7086 | -132.4745 | 113.4185 | -3.4146 | -132.228 | 113.7423
Line_2 | 0.14438 | 0.14429 | 0.14434 | 0.14447 | 0.14418 | 0.14436 | 1.6672 | 1.6661 | 1.6667 | 1.6682 | 1.6649 | 1.6669 | 0.20621 | 0.44007 | 0.25075 | -0.19631 | -0.4295 | -0.23871 | 1.8401 | 1.6247 | 1.5429 | -1.8288 | -1.6111 | -1.5309 | -87.3146 | 152.681 | 32.6496 | 92.7122 | -27.3011 | -147.3952 | 1.1106 | 1.0103 | 0.93781 | 1.1026 | 1.0015 | 0.92954 | -3.7086 | -132.4745 | 113.4185 | -3.4146 | -132.228 | 113.7423
Line_3 | 5.6808e-05 | 5.6808e-05 | 5.6808e-05 | 5.6808e-05 | 5.6808e-05 | 5.6808e-05 | 0.00065596 | 0.00065596 | 0.00065596 | 0.00065596 | 0.00065596 | 0.00065596 | -0.00049616 | -9.577e-05 | 0.00059193 | -0.00049616 | -9.577e-05 | 0.00059193 | -0.00053346 | 0.00065577 | -0.00016748 | -0.00053346 | 0.00065577 | -0.00016748 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 1.1106 | 1.0103 | 0.93781 | 1.1106 | 1.0103 | 0.93781 | -3.7086 | -132.4745 | 113.4185 | -3.7086 | -132.4745 | 113.4185

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28904 | 0.28826 | 0.28873 | 0.28895 | 0.28836 | 0.28871 | 3.3375 | 3.3285 | 3.3339 | 3.3365 | 3.3297 | 3.3338 | -0.34993 | -0.81634 | -0.43277 | 0.39263 | 0.85899 | 0.47742 | -3.6092 | -3.1719 | -3.0134 | 3.6577 | 3.2222 | 3.0619 | 92.7257 | -27.2922 | -147.4175 | -87.2878 | 152.6989 | 32.6048 | 1.0865 | 0.98399 | 0.91312 | 1.1026 | 1.0015 | 0.92954 | -2.8123 | -131.725 | 114.4097 | -3.4146 | -132.228 | 113.7423
Line_1 | 0.14438 | 0.14429 | 0.14434 | 0.14447 | 0.14418 | 0.14436 | 1.6672 | 1.6661 | 1.6667 | 1.6682 | 1.6649 | 1.6669 | 0.20621 | 0.44007 | 0.25075 | -0.19631 | -0.4295 | -0.23871 | 1.8401 | 1.6247 | 1.5429 | -1.8288 | -1.6111 | -1.5309 | -87.3146 | 152.681 | 32.6496 | 92.7122 | -27.3011 | -147.3952 | 1.1106 | 1.0103 | 0.93781 | 1.1026 | 1.0015 | 0.92954 | -3.7086 | -132.4745 | 113.4185 | -3.4146 | -132.228 | 113.7423
Line_2 | 0.14438 | 0.14429 | 0.14434 | 0.14447 | 0.14418 | 0.14436 | 1.6672 | 1.6661 | 1.6667 | 1.6682 | 1.6649 | 1.6669 | 0.20621 | 0.44007 | 0.25075 | -0.19631 | -0.4295 | -0.23871 | 1.8401 | 1.6247 | 1.5429 | -1.8288 | -1.6111 | -1.5309 | -87.3146 | 152.681 | 32.6496 | 92.7122 | -27.3011 | -147.3952 | 1.1106 | 1.0103 | 0.93781 | 1.1026 | 1.0015 | 0.92954 | -3.7086 | -132.4745 | 113.4185 | -3.4146 | -132.228 | 113.7423
Line_3 | 5.6808e-05 | 5.6808e-05 | 5.6808e-05 | 5.6808e-05 | 5.6808e-05 | 5.6808e-05 | 0.00065596 | 0.00065596 | 0.00065596 | 0.00065596 | 0.00065596 | 0.00065596 | -0.00049616 | -9.577e-05 | 0.00059193 | -0.00049616 | -9.577e-05 | 0.00059193 | -0.00053346 | 0.00065577 | -0.00016748 | -0.00053346 | 0.00065577 | -0.00016748 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 1.1106 | 1.0103 | 0.93781 | 1.1106 | 1.0103 | 0.93781 | -3.7086 | -132.4745 | 113.4185 | -3.7086 | -132.4745 | 113.4185

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028209 | 0.0028209 | 0.0028209 | 0.0021165 | 0.0021165 | 0.0021165 | 0.032573 | 0.032573 | 0.032573 | 0.024439 | 0.024439 | 0.024439 | 0.00015094 | -8.4141e-14 | 2.8752e-13 | -9.5334e-05 | 3.7071e-05 | 3.7071e-05 | -0.013891 | 2.8151e-13 | -6.837e-14 | 0.01043 | 7.6925e-06 | 7.6925e-06 | 91.3333 | 91.3333 | 91.3333 | -88.772 | -88.772 | -88.772 | 0.42649 | 0 | 0 | 0.42679 | 0.0015492 | 0.0015492 | 1.9559 | 0 | 0 | 1.7517 | -77.049 | -77.049
Line_1 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.42688 | 0.0019919 | 0.0019919 | 0.42679 | 0.0015492 | 0.0015492 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_2 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.42688 | 0.0019919 | 0.0019919 | 0.42679 | 0.0015492 | 0.0015492 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_3 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 0.42688 | 0.0019919 | 0.0019919 | 0.42688 | 0.0019919 | 0.0019919 | 1.6934 | -77.0656 | -77.0656 | 1.6934 | -77.0656 | -77.0656

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028209 | 0.0028209 | 0.0028209 | 0.0021165 | 0.0021165 | 0.0021165 | 0.032573 | 0.032573 | 0.032573 | 0.024439 | 0.024439 | 0.024439 | 0.00015094 | -8.4141e-14 | 2.8752e-13 | -9.5334e-05 | 3.7071e-05 | 3.7071e-05 | -0.013891 | 2.8151e-13 | -6.837e-14 | 0.01043 | 7.6925e-06 | 7.6925e-06 | 91.3333 | 91.3333 | 91.3333 | -88.772 | -88.772 | -88.772 | 0.42649 | 0 | 0 | 0.42679 | 0.0015492 | 0.0015492 | 1.9559 | 0 | 0 | 1.7517 | -77.049 | -77.049
Line_1 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.42688 | 0.0019919 | 0.0019919 | 0.42679 | 0.0015492 | 0.0015492 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_2 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.42688 | 0.0019919 | 0.0019919 | 0.42679 | 0.0015492 | 0.0015492 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_3 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 0.42688 | 0.0019919 | 0.0019919 | 0.42688 | 0.0019919 | 0.0019919 | 1.6934 | -77.0656 | -77.0656 | 1.6934 | -77.0656 | -77.0656

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0004006 | 0.0004006 | 0.0004006 | 0.00030056 | 0.00030056 | 0.00030056 | 0.0046257 | 0.0046257 | 0.0046257 | 0.0034706 | 0.0034706 | 0.0034706 | -0.0028811 | -0.00061158 | 0.0034957 | 0.0021579 | 0.00046492 | -0.0026233 | -0.0032277 | 0.0038545 | -0.00090699 | 0.0024258 | -0.002891 | 0.00067584 | 128.8145 | 128.8144 | 128.8144 | -51.2908 | -51.2909 | -51.2909 | 0.93531 | 0.84371 | 0.78073 | 0.93549 | 0.8437 | 0.78053 | -2.938 | -132.1699 | 114.2693 | -2.9461 | -132.155 | 114.2621
Line_1 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.93554 | 0.84369 | 0.78048 | 0.93549 | 0.8437 | 0.78053 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_2 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.93554 | 0.84369 | 0.78048 | 0.93549 | 0.8437 | 0.78053 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_3 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00040476 | 0.00048185 | -0.00011223 | -0.00040476 | 0.00048185 | -0.00011223 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 0.93554 | 0.84369 | 0.78048 | 0.93554 | 0.84369 | 0.78048 | -2.9484 | -132.1507 | 114.2601 | -2.9484 | -132.1507 | 114.2601

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0004006 | 0.0004006 | 0.0004006 | 0.00030056 | 0.00030056 | 0.00030056 | 0.0046257 | 0.0046257 | 0.0046257 | 0.0034706 | 0.0034706 | 0.0034706 | -0.0028811 | -0.00061158 | 0.0034957 | 0.0021579 | 0.00046492 | -0.0026233 | -0.0032277 | 0.0038545 | -0.00090699 | 0.0024258 | -0.002891 | 0.00067584 | 128.8145 | 128.8144 | 128.8144 | -51.2908 | -51.2909 | -51.2909 | 0.93531 | 0.84371 | 0.78073 | 0.93549 | 0.8437 | 0.78053 | -2.938 | -132.1699 | 114.2693 | -2.9461 | -132.155 | 114.2621
Line_1 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.93554 | 0.84369 | 0.78048 | 0.93549 | 0.8437 | 0.78053 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_2 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.93554 | 0.84369 | 0.78048 | 0.93549 | 0.8437 | 0.78053 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_3 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00040476 | 0.00048185 | -0.00011223 | -0.00040476 | 0.00048185 | -0.00011223 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 0.93554 | 0.84369 | 0.78048 | 0.93554 | 0.84369 | 0.78048 | -2.9484 | -132.1507 | 114.2601 | -2.9484 | -132.1507 | 114.2601