## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1983 | 1.1983 | 0 | 0 | 41.5118 | 41.5118 | -0.2755 | 2.5157 | -8.0588 | 10.6005 | 106.7886 | -73.2114 | 0.19425 | 0.26245 | 14.8306 | 3.4383
Line_1 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383
Line_2 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29909 | 0.29909 | -0.23936 | -0.23936

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1983 | 1.1983 | 0 | 0 | 41.5118 | 41.5118 | -0.2755 | 2.5157 | -8.0588 | 10.6005 | 106.7886 | -73.2114 | 0.19425 | 0.26245 | 14.8306 | 3.4383
Line_1 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383
Line_2 | 0.59917 | 0.59917 | 0 | 0 | 20.7559 | 20.7559 | 1.8179 | -1.2578 | 5.9357 | -5.3003 | -73.2114 | 106.7886 | 0.29909 | 0.26245 | -0.23936 | 3.4383
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29909 | 0.29909 | -0.23936 | -0.23936

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.81406 | 0.81406 | 0 | 0 | 28.2 | 28.2 | -9.7454 | 10.7792 | -10.2951 | 11.4681 | 120.4166 | -59.5834 | 0.5027 | 0.55811 | -13.0121 | -12.8097
Line_1 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097
Line_2 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58582 | 0.58582 | -12.7229 | -12.7229

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.81406 | 0.81406 | 0 | 0 | 28.2 | 28.2 | -9.7454 | 10.7792 | -10.2951 | 11.4681 | 120.4166 | -59.5834 | 0.5027 | 0.55811 | -13.0121 | -12.8097
Line_1 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097
Line_2 | 0.40703 | 0.40703 | 0 | 0 | 14.1 | 14.1 | 5.648 | -5.3896 | 6.0273 | -5.7341 | -59.5834 | 120.4166 | 0.58582 | 0.55811 | -12.7229 | -12.8097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58582 | 0.58582 | -12.7229 | -12.7229

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1307 | 1.0487 | 0.92791 | 0.1307 | 1.0487 | 0.92791 | 1.5092 | 12.1096 | 10.7146 | 1.5092 | 12.1096 | 10.7146 | -1.6278 | -6.655 | 5.7163 | 1.6367 | 7.2269 | -5.2686 | -0.37433 | -0.99818 | -2.841 | 0.38441 | 1.6471 | 3.349 | 168.3616 | 9.3852 | -167.7184 | -11.6384 | -170.6148 | 12.2816 | 1.1068 | 0.55571 | 0.59576 | 1.114 | 0.6121 | 0.58265 | 1.3122 | -162.0847 | 165.8542 | 1.5791 | -157.776 | 159.8392
Line_1 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392
Line_2 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2128e-15 | 8.6478e-15 | -2.164e-15 | -5.4499e-15 | 8.9413e-15 | 7.2002e-15 | -2.804e-15 | -4.4541e-15 | -5.0361e-15 | 5.1337e-15 | 2.3335e-15 | 2.8721e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1176 | 0.64141 | 0.57858 | 1.1176 | 0.64141 | 0.57858 | 1.7113 | -155.9109 | 156.7466 | 1.7113 | -155.9109 | 156.7466

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1307 | 1.0487 | 0.92791 | 0.1307 | 1.0487 | 0.92791 | 1.5092 | 12.1096 | 10.7146 | 1.5092 | 12.1096 | 10.7146 | -1.6278 | -6.655 | 5.7163 | 1.6367 | 7.2269 | -5.2686 | -0.37433 | -0.99818 | -2.841 | 0.38441 | 1.6471 | 3.349 | 168.3616 | 9.3852 | -167.7184 | -11.6384 | -170.6148 | 12.2816 | 1.1068 | 0.55571 | 0.59576 | 1.114 | 0.6121 | 0.58265 | 1.3122 | -162.0847 | 165.8542 | 1.5791 | -157.776 | 159.8392
Line_1 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392
Line_2 | 0.065349 | 0.52436 | 0.46396 | 0.065349 | 0.52436 | 0.46396 | 0.75459 | 6.0548 | 5.3573 | 0.75459 | 6.0548 | 5.3573 | 0.82056 | 3.7564 | -2.5223 | -0.81834 | -3.6135 | 2.6343 | 0.19472 | 0.98576 | 1.8015 | -0.1922 | -0.82354 | -1.6745 | -11.6384 | -170.6148 | 12.2816 | 168.3616 | 9.3852 | -167.7184 | 1.1176 | 0.64141 | 0.57858 | 1.114 | 0.6121 | 0.58265 | 1.7113 | -155.9109 | 156.7466 | 1.5791 | -157.776 | 159.8392
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2128e-15 | 8.6478e-15 | -2.164e-15 | -5.4499e-15 | 8.9413e-15 | 7.2002e-15 | -2.804e-15 | -4.4541e-15 | -5.0361e-15 | 5.1337e-15 | 2.3335e-15 | 2.8721e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1176 | 0.64141 | 0.57858 | 1.1176 | 0.64141 | 0.57858 | 1.7113 | -155.9109 | 156.7466 | 1.7113 | -155.9109 | 156.7466

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10655 | 0.85493 | 0.75644 | 0.10655 | 0.85493 | 0.75644 | 1.2303 | 9.8718 | 8.7346 | 1.2303 | 9.8718 | 8.7346 | -1.352 | -6.8175 | 3.0105 | 1.3579 | 7.1976 | -2.713 | -0.10831 | -1.1513 | -3.9017 | 0.11501 | 1.5825 | 4.2393 | 176.5217 | 17.5453 | -159.5582 | -3.4783 | -162.4547 | 20.4418 | 1.1025 | 0.70038 | 0.5642 | 1.1077 | 0.74652 | 0.57622 | 1.1019 | -152.8693 | 148.0951 | 1.3627 | -150.0543 | 143.0592
Line_1 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592
Line_2 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0721e-14 | 2.4159e-14 | -1.1293e-14 | -1.6047e-14 | -1.6311e-14 | -7.6717e-16 | -7.6128e-15 | -1.5219e-14 | -5.0431e-15 | 1.0105e-14 | 9.3111e-15 | 7.7847e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1103 | 0.7702 | 0.58384 | 1.1103 | 0.7702 | 0.58384 | 1.4922 | -148.7748 | 140.6283 | 1.4922 | -148.7748 | 140.6283

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10655 | 0.85493 | 0.75644 | 0.10655 | 0.85493 | 0.75644 | 1.2303 | 9.8718 | 8.7346 | 1.2303 | 9.8718 | 8.7346 | -1.352 | -6.8175 | 3.0105 | 1.3579 | 7.1976 | -2.713 | -0.10831 | -1.1513 | -3.9017 | 0.11501 | 1.5825 | 4.2393 | 176.5217 | 17.5453 | -159.5582 | -3.4783 | -162.4547 | 20.4418 | 1.1025 | 0.70038 | 0.5642 | 1.1077 | 0.74652 | 0.57622 | 1.1019 | -152.8693 | 148.0951 | 1.3627 | -150.0543 | 143.0592
Line_1 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592
Line_2 | 0.053273 | 0.42746 | 0.37822 | 0.053273 | 0.42746 | 0.37822 | 0.61514 | 4.9359 | 4.3673 | 0.61514 | 4.9359 | 4.3673 | 0.68045 | 3.6938 | -1.2821 | -0.67897 | -3.5988 | 1.3565 | 0.059179 | 0.89908 | 2.204 | -0.057504 | -0.79127 | -2.1196 | -3.4783 | -162.4547 | 20.4418 | 176.5217 | 17.5453 | -159.5582 | 1.1103 | 0.7702 | 0.58384 | 1.1077 | 0.74652 | 0.57622 | 1.4922 | -148.7748 | 140.6283 | 1.3627 | -150.0543 | 143.0592
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0721e-14 | 2.4159e-14 | -1.1293e-14 | -1.6047e-14 | -1.6311e-14 | -7.6717e-16 | -7.6128e-15 | -1.5219e-14 | -5.0431e-15 | 1.0105e-14 | 9.3111e-15 | 7.7847e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1103 | 0.7702 | 0.58384 | 1.1103 | 0.7702 | 0.58384 | 1.4922 | -148.7748 | 140.6283 | 1.4922 | -148.7748 | 140.6283

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4906e-15 | 4.6472e-15 | 1.5193e-16 | -3.6972e-15 | -3.3658e-15 | -1.5193e-16 | -2.3358e-15 | -2.8062e-15 | 5.3292e-15 | 2.2971e-15 | 8.1135e-17 | -5.3292e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4906e-15 | 4.6472e-15 | 1.5193e-16 | -3.6972e-15 | -3.3658e-15 | -1.5193e-16 | -2.3358e-15 | -2.8062e-15 | 5.3292e-15 | 2.2971e-15 | 8.1135e-17 | -5.3292e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9318e-15 | 1.8954e-15 | 7.5684e-16 | -1.1986e-15 | -9.0475e-16 | 1.8305e-15 | -4.6569e-15 | 5.2258e-15 | 2.6665e-15 | -3.4358e-17 | 1.4819e-15 | -1.6721e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9318e-15 | 1.8954e-15 | 7.5684e-16 | -1.1986e-15 | -9.0475e-16 | 1.8305e-15 | -4.6569e-15 | 5.2258e-15 | 2.6665e-15 | -3.4358e-17 | 1.4819e-15 | -1.6721e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1951 | 0.20306 | 0.23568 | 1.1964 | 0.20363 | 0.23533 | 13.7994 | 2.3447 | 2.7214 | 13.8148 | 2.3514 | 2.7173 | -0.29249 | 0.53724 | 0.63632 | 2.5854 | -0.20572 | -0.42912 | -1.9575 | 2.5423 | -3.0324 | 3.765 | -2.622 | 2.7558 | 110.953 | 160.6921 | -159.8021 | -69.0651 | -19.6619 | 19.873 | 0.14343 | 1.1082 | 1.1386 | 0.3306 | 1.1186 | 1.0264 | 12.4547 | -121.2402 | 122.0487 | -13.5416 | -114.148 | 118.7238
Line_1 | 0.59916 | 0.10252 | 0.11778 | 0.5982 | 0.10182 | 0.11766 | 6.9185 | 1.1837 | 1.36 | 6.9074 | 1.1757 | 1.3587 | 1.8712 | -0.014617 | -0.16946 | -1.2927 | 0.10286 | 0.21456 | 2.3379 | -1.3378 | 1.3103 | -1.8825 | 1.311 | -1.3779 | -69.0564 | -20.0387 | 19.4044 | 110.9349 | 160.3381 | -160.127 | 0.43283 | 1.1302 | 0.97154 | 0.3306 | 1.1186 | 1.0264 | -17.7288 | -110.6647 | 116.7733 | -13.5416 | -114.148 | 118.7238
Line_2 | 0.59916 | 0.10252 | 0.11778 | 0.5982 | 0.10182 | 0.11766 | 6.9185 | 1.1837 | 1.36 | 6.9074 | 1.1757 | 1.3587 | 1.8712 | -0.014617 | -0.16946 | -1.2927 | 0.10286 | 0.21456 | 2.3379 | -1.3378 | 1.3103 | -1.8825 | 1.311 | -1.3779 | -69.0564 | -20.0387 | 19.4044 | 110.9349 | 160.3381 | -160.127 | 0.43283 | 1.1302 | 0.97154 | 0.3306 | 1.1186 | 1.0264 | -17.7288 | -110.6647 | 116.7733 | -13.5416 | -114.148 | 118.7238
Line_3 | 0.0004393 | 0.0004393 | 0.0004393 | 0.0004393 | 0.0004393 | 0.0004393 | 0.0050726 | 0.0050726 | 0.0050726 | 0.0050726 | 0.0050726 | 0.0050726 | 0.0017967 | 0.0030503 | -0.004847 | 0.0017967 | 0.0030503 | -0.004847 | 0.0012619 | -0.0048541 | 0.00089112 | 0.0012619 | -0.0048541 | 0.00089112 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | 0.43283 | 1.1302 | 0.97154 | 0.43283 | 1.1302 | 0.97154 | -17.7288 | -110.6647 | 116.7733 | -17.7288 | -110.6647 | 116.7733

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1951 | 0.20306 | 0.23568 | 1.1964 | 0.20363 | 0.23533 | 13.7994 | 2.3447 | 2.7214 | 13.8148 | 2.3514 | 2.7173 | -0.29249 | 0.53724 | 0.63632 | 2.5854 | -0.20572 | -0.42912 | -1.9575 | 2.5423 | -3.0324 | 3.765 | -2.622 | 2.7558 | 110.953 | 160.6921 | -159.8021 | -69.0651 | -19.6619 | 19.873 | 0.14343 | 1.1082 | 1.1386 | 0.3306 | 1.1186 | 1.0264 | 12.4547 | -121.2402 | 122.0487 | -13.5416 | -114.148 | 118.7238
Line_1 | 0.59916 | 0.10252 | 0.11778 | 0.5982 | 0.10182 | 0.11766 | 6.9185 | 1.1837 | 1.36 | 6.9074 | 1.1757 | 1.3587 | 1.8712 | -0.014617 | -0.16946 | -1.2927 | 0.10286 | 0.21456 | 2.3379 | -1.3378 | 1.3103 | -1.8825 | 1.311 | -1.3779 | -69.0564 | -20.0387 | 19.4044 | 110.9349 | 160.3381 | -160.127 | 0.43283 | 1.1302 | 0.97154 | 0.3306 | 1.1186 | 1.0264 | -17.7288 | -110.6647 | 116.7733 | -13.5416 | -114.148 | 118.7238
Line_2 | 0.59916 | 0.10252 | 0.11778 | 0.5982 | 0.10182 | 0.11766 | 6.9185 | 1.1837 | 1.36 | 6.9074 | 1.1757 | 1.3587 | 1.8712 | -0.014617 | -0.16946 | -1.2927 | 0.10286 | 0.21456 | 2.3379 | -1.3378 | 1.3103 | -1.8825 | 1.311 | -1.3779 | -69.0564 | -20.0387 | 19.4044 | 110.9349 | 160.3381 | -160.127 | 0.43283 | 1.1302 | 0.97154 | 0.3306 | 1.1186 | 1.0264 | -17.7288 | -110.6647 | 116.7733 | -13.5416 | -114.148 | 118.7238
Line_3 | 0.0004393 | 0.0004393 | 0.0004393 | 0.0004393 | 0.0004393 | 0.0004393 | 0.0050726 | 0.0050726 | 0.0050726 | 0.0050726 | 0.0050726 | 0.0050726 | 0.0017967 | 0.0030503 | -0.004847 | 0.0017967 | 0.0030503 | -0.004847 | 0.0012619 | -0.0048541 | 0.00089112 | 0.0012619 | -0.0048541 | 0.00089112 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | -52.8092 | 0.43283 | 1.1302 | 0.97154 | 0.43283 | 1.1302 | 0.97154 | -17.7288 | -110.6647 | 116.7733 | -17.7288 | -110.6647 | 116.7733

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81097 | 0.1378 | 0.15993 | 0.81187 | 0.13819 | 0.15969 | 9.3643 | 1.5911 | 1.8468 | 9.3747 | 1.5956 | 1.844 | -3.4773 | 0.74707 | -0.076226 | 4.5363 | -0.59316 | 0.16729 | -2.8572 | 1.5989 | -2.065 | 3.6929 | -1.6399 | 1.9387 | 124.5531 | 174.2922 | -146.2021 | -55.465 | -6.0618 | 33.4731 | 0.48061 | 1.1092 | 1.1189 | 0.62395 | 1.0929 | 1.0553 | -16.0373 | -120.7518 | 121.6839 | -16.3168 | -115.9467 | 118.5411
Line_1 | 0.40659 | 0.069567 | 0.079922 | 0.40594 | 0.069093 | 0.079847 | 4.6949 | 0.80329 | 0.92287 | 4.6874 | 0.79782 | 0.92199 | 2.5374 | -0.25622 | 0.10184 | -2.2681 | 0.29658 | -0.083646 | 2.0575 | -0.83541 | 0.94003 | -1.8464 | 0.81997 | -0.96934 | -55.4564 | -6.4387 | 33.0045 | 124.535 | 173.9382 | -146.5269 | 0.6958 | 1.0878 | 1.0246 | 0.62395 | 1.0929 | 1.0553 | -16.4189 | -113.4892 | 116.8212 | -16.3168 | -115.9467 | 118.5411
Line_2 | 0.40659 | 0.069567 | 0.079922 | 0.40594 | 0.069093 | 0.079847 | 4.6949 | 0.80329 | 0.92287 | 4.6874 | 0.79782 | 0.92199 | 2.5374 | -0.25622 | 0.10184 | -2.2681 | 0.29658 | -0.083646 | 2.0575 | -0.83541 | 0.94003 | -1.8464 | 0.81997 | -0.96934 | -55.4564 | -6.4387 | 33.0045 | 124.535 | 173.9382 | -146.5269 | 0.6958 | 1.0878 | 1.0246 | 0.62395 | 1.0929 | 1.0553 | -16.4189 | -113.4892 | 116.8212 | -16.3168 | -115.9467 | 118.5411
Line_3 | 0.00029811 | 0.00029811 | 0.00029811 | 0.00029811 | 0.00029811 | 0.00029811 | 0.0034423 | 0.0034423 | 0.0034423 | 0.0034423 | 0.0034423 | 0.0034423 | 0.0022081 | 0.0010145 | -0.0032227 | 0.0022081 | 0.0010145 | -0.0032227 | 0.00092778 | -0.0036044 | 0.0014328 | 0.00092778 | -0.0036044 | 0.0014328 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | 0.6958 | 1.0878 | 1.0246 | 0.6958 | 1.0878 | 1.0246 | -16.4189 | -113.4892 | 116.8212 | -16.4189 | -113.4892 | 116.8212

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81097 | 0.1378 | 0.15993 | 0.81187 | 0.13819 | 0.15969 | 9.3643 | 1.5911 | 1.8468 | 9.3747 | 1.5956 | 1.844 | -3.4773 | 0.74707 | -0.076226 | 4.5363 | -0.59316 | 0.16729 | -2.8572 | 1.5989 | -2.065 | 3.6929 | -1.6399 | 1.9387 | 124.5531 | 174.2922 | -146.2021 | -55.465 | -6.0618 | 33.4731 | 0.48061 | 1.1092 | 1.1189 | 0.62395 | 1.0929 | 1.0553 | -16.0373 | -120.7518 | 121.6839 | -16.3168 | -115.9467 | 118.5411
Line_1 | 0.40659 | 0.069567 | 0.079922 | 0.40594 | 0.069093 | 0.079847 | 4.6949 | 0.80329 | 0.92287 | 4.6874 | 0.79782 | 0.92199 | 2.5374 | -0.25622 | 0.10184 | -2.2681 | 0.29658 | -0.083646 | 2.0575 | -0.83541 | 0.94003 | -1.8464 | 0.81997 | -0.96934 | -55.4564 | -6.4387 | 33.0045 | 124.535 | 173.9382 | -146.5269 | 0.6958 | 1.0878 | 1.0246 | 0.62395 | 1.0929 | 1.0553 | -16.4189 | -113.4892 | 116.8212 | -16.3168 | -115.9467 | 118.5411
Line_2 | 0.40659 | 0.069567 | 0.079922 | 0.40594 | 0.069093 | 0.079847 | 4.6949 | 0.80329 | 0.92287 | 4.6874 | 0.79782 | 0.92199 | 2.5374 | -0.25622 | 0.10184 | -2.2681 | 0.29658 | -0.083646 | 2.0575 | -0.83541 | 0.94003 | -1.8464 | 0.81997 | -0.96934 | -55.4564 | -6.4387 | 33.0045 | 124.535 | 173.9382 | -146.5269 | 0.6958 | 1.0878 | 1.0246 | 0.62395 | 1.0929 | 1.0553 | -16.4189 | -113.4892 | 116.8212 | -16.3168 | -115.9467 | 118.5411
Line_3 | 0.00029811 | 0.00029811 | 0.00029811 | 0.00029811 | 0.00029811 | 0.00029811 | 0.0034423 | 0.0034423 | 0.0034423 | 0.0034423 | 0.0034423 | 0.0034423 | 0.0022081 | 0.0010145 | -0.0032227 | 0.0022081 | 0.0010145 | -0.0032227 | 0.00092778 | -0.0036044 | 0.0014328 | 0.00092778 | -0.0036044 | 0.0014328 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | -39.2092 | 0.6958 | 1.0878 | 1.0246 | 0.6958 | 1.0878 | 1.0246 | -16.4189 | -113.4892 | 116.8212 | -16.4189 | -113.4892 | 116.8212

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97214 | 0.19614 | 0.30236 | 0.97323 | 0.19552 | 0.30144 | 11.2253 | 2.2648 | 3.4914 | 11.2379 | 2.2577 | 3.4807 | -0.2746 | 2.1414 | -1.4515 | 2.6599 | -1.9129 | 1.6163 | -1.463 | 0.85185 | -3.3279 | 3.1523 | -1.1585 | 2.8148 | 117.1792 | -143.6443 | -123.3989 | -62.8473 | 36.0624 | 56.4632 | 0.13261 | 1.0176 | 1.0399 | 0.36702 | 0.99055 | 0.93252 | 16.5488 | -121.9516 | 123.0355 | -13.0054 | -112.7386 | 116.5975
Line_1 | 0.48723 | 0.097751 | 0.15049 | 0.48661 | 0.097762 | 0.15072 | 5.626 | 1.1287 | 1.7377 | 5.6189 | 1.1289 | 1.7404 | 1.9312 | -0.89788 | 0.846 | -1.33 | 0.95646 | -0.80816 | 2.0004 | -0.65988 | 1.2815 | -1.5761 | 0.57923 | -1.4074 | -62.8375 | 35.6988 | 56.2436 | 117.1527 | -143.9376 | -123.5368 | 0.49422 | 0.9872 | 0.88367 | 0.36702 | 0.99055 | 0.93252 | -16.8298 | -107.988 | 112.8124 | -13.0054 | -112.7386 | 116.5975
Line_2 | 0.48723 | 0.097751 | 0.15049 | 0.48661 | 0.097762 | 0.15072 | 5.626 | 1.1287 | 1.7377 | 5.6189 | 1.1289 | 1.7404 | 1.9312 | -0.89788 | 0.846 | -1.33 | 0.95646 | -0.80816 | 2.0004 | -0.65988 | 1.2815 | -1.5761 | 0.57923 | -1.4074 | -62.8375 | 35.6988 | 56.2436 | 117.1527 | -143.9376 | -123.5368 | 0.49422 | 0.9872 | 0.88367 | 0.36702 | 0.99055 | 0.93252 | -16.8298 | -107.988 | 112.8124 | -13.0054 | -112.7386 | 116.5975
Line_3 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0014432 | 0.00078333 | -0.0022265 | 0.0014432 | 0.00078333 | -0.0022265 | 0.00042141 | -0.0028992 | 0.0015063 | 0.00042141 | -0.0028992 | 0.0015063 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | 0.49422 | 0.9872 | 0.88367 | 0.49422 | 0.9872 | 0.88367 | -16.8298 | -107.988 | 112.8124 | -16.8298 | -107.988 | 112.8124

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97214 | 0.19614 | 0.30236 | 0.97323 | 0.19552 | 0.30144 | 11.2253 | 2.2648 | 3.4914 | 11.2379 | 2.2577 | 3.4807 | -0.2746 | 2.1414 | -1.4515 | 2.6599 | -1.9129 | 1.6163 | -1.463 | 0.85185 | -3.3279 | 3.1523 | -1.1585 | 2.8148 | 117.1792 | -143.6443 | -123.3989 | -62.8473 | 36.0624 | 56.4632 | 0.13261 | 1.0176 | 1.0399 | 0.36702 | 0.99055 | 0.93252 | 16.5488 | -121.9516 | 123.0355 | -13.0054 | -112.7386 | 116.5975
Line_1 | 0.48723 | 0.097751 | 0.15049 | 0.48661 | 0.097762 | 0.15072 | 5.626 | 1.1287 | 1.7377 | 5.6189 | 1.1289 | 1.7404 | 1.9312 | -0.89788 | 0.846 | -1.33 | 0.95646 | -0.80816 | 2.0004 | -0.65988 | 1.2815 | -1.5761 | 0.57923 | -1.4074 | -62.8375 | 35.6988 | 56.2436 | 117.1527 | -143.9376 | -123.5368 | 0.49422 | 0.9872 | 0.88367 | 0.36702 | 0.99055 | 0.93252 | -16.8298 | -107.988 | 112.8124 | -13.0054 | -112.7386 | 116.5975
Line_2 | 0.48723 | 0.097751 | 0.15049 | 0.48661 | 0.097762 | 0.15072 | 5.626 | 1.1287 | 1.7377 | 5.6189 | 1.1289 | 1.7404 | 1.9312 | -0.89788 | 0.846 | -1.33 | 0.95646 | -0.80816 | 2.0004 | -0.65988 | 1.2815 | -1.5761 | 0.57923 | -1.4074 | -62.8375 | 35.6988 | 56.2436 | 117.1527 | -143.9376 | -123.5368 | 0.49422 | 0.9872 | 0.88367 | 0.36702 | 0.99055 | 0.93252 | -16.8298 | -107.988 | 112.8124 | -13.0054 | -112.7386 | 116.5975
Line_3 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.00026345 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0030421 | 0.0014432 | 0.00078333 | -0.0022265 | 0.0014432 | 0.00078333 | -0.0022265 | 0.00042141 | -0.0028992 | 0.0015063 | 0.00042141 | -0.0028992 | 0.0015063 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | -33.1078 | 0.49422 | 0.9872 | 0.88367 | 0.49422 | 0.9872 | 0.88367 | -16.8298 | -107.988 | 112.8124 | -16.8298 | -107.988 | 112.8124

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68725 | 0.13866 | 0.21376 | 0.68802 | 0.13823 | 0.2131 | 7.9357 | 1.6011 | 2.4682 | 7.9446 | 1.5961 | 2.4607 | -2.6286 | 1.6036 | -1.4968 | 3.823 | -1.4885 | 1.5759 | -1.8588 | 0.28456 | -2.0217 | 2.7054 | -0.44097 | 1.766 | 129.5582 | -131.2654 | -111.02 | -50.4683 | 48.4413 | 68.8422 | 0.40569 | 1.0172 | 1.0191 | 0.58951 | 0.97263 | 0.96189 | -15.1767 | -121.203 | 122.4661 | -15.1825 | -115.0564 | 117.0983
Line_1 | 0.34445 | 0.069105 | 0.10639 | 0.34401 | 0.069113 | 0.10655 | 3.9773 | 0.79795 | 1.2285 | 3.9723 | 0.79804 | 1.2303 | 2.2137 | -0.71535 | 0.80559 | -1.9115 | 0.74423 | -0.78794 | 1.5652 | -0.26249 | 0.8213 | -1.3527 | 0.22048 | -0.88301 | -50.4586 | 48.0777 | 68.6225 | 129.5317 | -131.5587 | -111.1578 | 0.68165 | 0.95493 | 0.93647 | 0.58951 | 0.97263 | 0.96189 | -15.1952 | -111.7726 | 114.1759 | -15.1825 | -115.0564 | 117.0983
Line_2 | 0.34445 | 0.069105 | 0.10639 | 0.34401 | 0.069113 | 0.10655 | 3.9773 | 0.79795 | 1.2285 | 3.9723 | 0.79804 | 1.2303 | 2.2137 | -0.71535 | 0.80559 | -1.9115 | 0.74423 | -0.78794 | 1.5652 | -0.26249 | 0.8213 | -1.3527 | 0.22048 | -0.88301 | -50.4586 | 48.0777 | 68.6225 | 129.5317 | -131.5587 | -111.1578 | 0.68165 | 0.95493 | 0.93647 | 0.58951 | 0.97263 | 0.96189 | -15.1952 | -111.7726 | 114.1759 | -15.1825 | -115.0564 | 117.0983
Line_3 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0014591 | -3.7408e-05 | -0.0014217 | 0.0014591 | -3.7408e-05 | -0.0014217 | 0.00014136 | -0.0020533 | 0.0014264 | 0.00014136 | -0.0020533 | 0.0014264 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | 0.68165 | 0.95493 | 0.93647 | 0.68165 | 0.95493 | 0.93647 | -15.1952 | -111.7726 | 114.1759 | -15.1952 | -111.7726 | 114.1759

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68725 | 0.13866 | 0.21376 | 0.68802 | 0.13823 | 0.2131 | 7.9357 | 1.6011 | 2.4682 | 7.9446 | 1.5961 | 2.4607 | -2.6286 | 1.6036 | -1.4968 | 3.823 | -1.4885 | 1.5759 | -1.8588 | 0.28456 | -2.0217 | 2.7054 | -0.44097 | 1.766 | 129.5582 | -131.2654 | -111.02 | -50.4683 | 48.4413 | 68.8422 | 0.40569 | 1.0172 | 1.0191 | 0.58951 | 0.97263 | 0.96189 | -15.1767 | -121.203 | 122.4661 | -15.1825 | -115.0564 | 117.0983
Line_1 | 0.34445 | 0.069105 | 0.10639 | 0.34401 | 0.069113 | 0.10655 | 3.9773 | 0.79795 | 1.2285 | 3.9723 | 0.79804 | 1.2303 | 2.2137 | -0.71535 | 0.80559 | -1.9115 | 0.74423 | -0.78794 | 1.5652 | -0.26249 | 0.8213 | -1.3527 | 0.22048 | -0.88301 | -50.4586 | 48.0777 | 68.6225 | 129.5317 | -131.5587 | -111.1578 | 0.68165 | 0.95493 | 0.93647 | 0.58951 | 0.97263 | 0.96189 | -15.1952 | -111.7726 | 114.1759 | -15.1825 | -115.0564 | 117.0983
Line_2 | 0.34445 | 0.069105 | 0.10639 | 0.34401 | 0.069113 | 0.10655 | 3.9773 | 0.79795 | 1.2285 | 3.9723 | 0.79804 | 1.2303 | 2.2137 | -0.71535 | 0.80559 | -1.9115 | 0.74423 | -0.78794 | 1.5652 | -0.26249 | 0.8213 | -1.3527 | 0.22048 | -0.88301 | -50.4586 | 48.0777 | 68.6225 | 129.5317 | -131.5587 | -111.1578 | 0.68165 | 0.95493 | 0.93647 | 0.58951 | 0.97263 | 0.96189 | -15.1952 | -111.7726 | 114.1759 | -15.1825 | -115.0564 | 117.0983
Line_3 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.00018625 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0021506 | 0.0014591 | -3.7408e-05 | -0.0014217 | 0.0014591 | -3.7408e-05 | -0.0014217 | 0.00014136 | -0.0020533 | 0.0014264 | 0.00014136 | -0.0020533 | 0.0014264 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | -20.7289 | 0.68165 | 0.95493 | 0.93647 | 0.68165 | 0.95493 | 0.93647 | -15.1952 | -111.7726 | 114.1759 | -15.1952 | -111.7726 | 114.1759

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.086833 | 1.4089 | 0.9853 | 0.086403 | 1.4094 | 0.98633 | 1.0027 | 16.2688 | 11.3773 | 0.9977 | 16.2743 | 11.3891 | 1.055 | 0.42093 | -0.65297 | -0.98649 | 2.6027 | 1.1596 | -0.45608 | -3.0262 | -1.6472 | 0.32767 | 3.3749 | 3.7319 | 24.2292 | -14.1119 | -126.731 | -156.644 | 165.835 | 53.3235 | 1.1463 | 0.18781 | 0.15574 | 1.0419 | 0.26188 | 0.34313 | 0.85001 | -96.1933 | 121.6447 | 4.9818 | -141.8043 | 126.0624
Line_1 | 0.043273 | 0.70534 | 0.4936 | 0.043202 | 0.7047 | 0.49316 | 0.49967 | 8.1445 | 5.6996 | 0.49885 | 8.1371 | 5.6946 | -0.47942 | 2.0599 | 0.7111 | 0.49325 | -1.3014 | -0.57979 | 0.12566 | 1.7769 | 2.3893 | -0.16384 | -1.6875 | -1.8659 | -157.931 | 165.7754 | 53.4247 | 23.356 | -14.165 | -126.6765 | 0.99188 | 0.33401 | 0.43737 | 1.0419 | 0.26188 | 0.34313 | 7.3813 | -153.4435 | 126.8506 | 4.9818 | -141.8043 | 126.0624
Line_2 | 0.043273 | 0.70534 | 0.4936 | 0.043202 | 0.7047 | 0.49316 | 0.49967 | 8.1445 | 5.6996 | 0.49885 | 8.1371 | 5.6946 | -0.47942 | 2.0599 | 0.7111 | 0.49325 | -1.3014 | -0.57979 | 0.12566 | 1.7769 | 2.3893 | -0.16384 | -1.6875 | -1.8659 | -157.931 | 165.7754 | 53.4247 | 23.356 | -14.165 | -126.6765 | 0.99188 | 0.33401 | 0.43737 | 1.0419 | 0.26188 | 0.34313 | 7.3813 | -153.4435 | 126.8506 | 4.9818 | -141.8043 | 126.0624
Line_3 | 0.00044136 | 0.00044136 | 0.00044136 | 0.00044136 | 0.00044136 | 0.00044136 | 0.0050964 | 0.0050964 | 0.0050964 | 0.0050964 | 0.0050964 | 0.0050964 | -0.0025613 | 0.00033263 | 0.0022287 | -0.0025613 | 0.00033263 | 0.0022287 | -0.0043581 | 0.0016694 | -3.7903e-05 | -0.0043581 | 0.0016694 | -3.7903e-05 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 0.99188 | 0.33401 | 0.43737 | 0.99188 | 0.33401 | 0.43737 | 7.3813 | -153.4435 | 126.8506 | 7.3813 | -153.4435 | 126.8506

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.086833 | 1.4089 | 0.9853 | 0.086403 | 1.4094 | 0.98633 | 1.0027 | 16.2688 | 11.3773 | 0.9977 | 16.2743 | 11.3891 | 1.055 | 0.42093 | -0.65297 | -0.98649 | 2.6027 | 1.1596 | -0.45608 | -3.0262 | -1.6472 | 0.32767 | 3.3749 | 3.7319 | 24.2292 | -14.1119 | -126.731 | -156.644 | 165.835 | 53.3235 | 1.1463 | 0.18781 | 0.15574 | 1.0419 | 0.26188 | 0.34313 | 0.85001 | -96.1933 | 121.6447 | 4.9818 | -141.8043 | 126.0624
Line_1 | 0.043273 | 0.70534 | 0.4936 | 0.043202 | 0.7047 | 0.49316 | 0.49967 | 8.1445 | 5.6996 | 0.49885 | 8.1371 | 5.6946 | -0.47942 | 2.0599 | 0.7111 | 0.49325 | -1.3014 | -0.57979 | 0.12566 | 1.7769 | 2.3893 | -0.16384 | -1.6875 | -1.8659 | -157.931 | 165.7754 | 53.4247 | 23.356 | -14.165 | -126.6765 | 0.99188 | 0.33401 | 0.43737 | 1.0419 | 0.26188 | 0.34313 | 7.3813 | -153.4435 | 126.8506 | 4.9818 | -141.8043 | 126.0624
Line_2 | 0.043273 | 0.70534 | 0.4936 | 0.043202 | 0.7047 | 0.49316 | 0.49967 | 8.1445 | 5.6996 | 0.49885 | 8.1371 | 5.6946 | -0.47942 | 2.0599 | 0.7111 | 0.49325 | -1.3014 | -0.57979 | 0.12566 | 1.7769 | 2.3893 | -0.16384 | -1.6875 | -1.8659 | -157.931 | 165.7754 | 53.4247 | 23.356 | -14.165 | -126.6765 | 0.99188 | 0.33401 | 0.43737 | 1.0419 | 0.26188 | 0.34313 | 7.3813 | -153.4435 | 126.8506 | 4.9818 | -141.8043 | 126.0624
Line_3 | 0.00044136 | 0.00044136 | 0.00044136 | 0.00044136 | 0.00044136 | 0.00044136 | 0.0050964 | 0.0050964 | 0.0050964 | 0.0050964 | 0.0050964 | 0.0050964 | -0.0025613 | 0.00033263 | 0.0022287 | -0.0025613 | 0.00033263 | 0.0022287 | -0.0043581 | 0.0016694 | -3.7903e-05 | -0.0043581 | 0.0016694 | -3.7903e-05 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 127.8249 | 0.99188 | 0.33401 | 0.43737 | 0.99188 | 0.33401 | 0.43737 | 7.3813 | -153.4435 | 126.8506 | 7.3813 | -153.4435 | 126.8506

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.058129 | 0.95505 | 0.67064 | 0.057839 | 0.95536 | 0.67134 | 0.67122 | 11.028 | 7.7439 | 0.66787 | 11.0316 | 7.7519 | 0.60715 | -3.55 | -3.1071 | -0.57923 | 4.9344 | 3.3461 | -0.4521 | -4.0337 | -2.2685 | 0.39065 | 4.195 | 3.2288 | 37.6136 | -0.42653 | -113.3103 | -143.2688 | 179.5204 | 66.7439 | 1.1278 | 0.48725 | 0.49679 | 1.0461 | 0.58709 | 0.59983 | 0.94143 | -131.777 | 102.8225 | 2.7346 | -140.1096 | 110.7216
Line_1 | 0.028968 | 0.47811 | 0.33596 | 0.02892 | 0.47768 | 0.33567 | 0.3345 | 5.5208 | 3.8794 | 0.33393 | 5.5158 | 3.876 | -0.28622 | 2.8151 | 1.7364 | 0.28962 | -2.4672 | -1.673 | 0.17666 | 2.1409 | 1.8539 | -0.19532 | -2.0975 | -1.6144 | -144.5691 | 179.4607 | 66.8445 | 36.7312 | -0.47958 | -113.2561 | 1.0055 | 0.64061 | 0.65477 | 1.0461 | 0.58709 | 0.59983 | 3.747 | -143.2857 | 113.7191 | 2.7346 | -140.1096 | 110.7216
Line_2 | 0.028968 | 0.47811 | 0.33596 | 0.02892 | 0.47768 | 0.33567 | 0.3345 | 5.5208 | 3.8794 | 0.33393 | 5.5158 | 3.876 | -0.28622 | 2.8151 | 1.7364 | 0.28962 | -2.4672 | -1.673 | 0.17666 | 2.1409 | 1.8539 | -0.19532 | -2.0975 | -1.6144 | -144.5691 | 179.4607 | 66.8445 | 36.7312 | -0.47958 | -113.2561 | 1.0055 | 0.64061 | 0.65477 | 1.0461 | 0.58709 | 0.59983 | 3.747 | -143.2857 | 113.7191 | 2.7346 | -140.1096 | 110.7216
Line_3 | 0.0002985 | 0.0002985 | 0.0002985 | 0.0002985 | 0.0002985 | 0.0002985 | 0.0034468 | 0.0034468 | 0.0034468 | 0.0034468 | 0.0034468 | 0.0034468 | -0.0025555 | 0.00055426 | 0.0020013 | -0.0025555 | 0.00055426 | 0.0020013 | -0.0023413 | 0.0021374 | -0.0010432 | -0.0023413 | 0.0021374 | -0.0010432 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 1.0055 | 0.64061 | 0.65477 | 1.0055 | 0.64061 | 0.65477 | 3.747 | -143.2857 | 113.7191 | 3.747 | -143.2857 | 113.7191

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.058129 | 0.95505 | 0.67064 | 0.057839 | 0.95536 | 0.67134 | 0.67122 | 11.028 | 7.7439 | 0.66787 | 11.0316 | 7.7519 | 0.60715 | -3.55 | -3.1071 | -0.57923 | 4.9344 | 3.3461 | -0.4521 | -4.0337 | -2.2685 | 0.39065 | 4.195 | 3.2288 | 37.6136 | -0.42653 | -113.3103 | -143.2688 | 179.5204 | 66.7439 | 1.1278 | 0.48725 | 0.49679 | 1.0461 | 0.58709 | 0.59983 | 0.94143 | -131.777 | 102.8225 | 2.7346 | -140.1096 | 110.7216
Line_1 | 0.028968 | 0.47811 | 0.33596 | 0.02892 | 0.47768 | 0.33567 | 0.3345 | 5.5208 | 3.8794 | 0.33393 | 5.5158 | 3.876 | -0.28622 | 2.8151 | 1.7364 | 0.28962 | -2.4672 | -1.673 | 0.17666 | 2.1409 | 1.8539 | -0.19532 | -2.0975 | -1.6144 | -144.5691 | 179.4607 | 66.8445 | 36.7312 | -0.47958 | -113.2561 | 1.0055 | 0.64061 | 0.65477 | 1.0461 | 0.58709 | 0.59983 | 3.747 | -143.2857 | 113.7191 | 2.7346 | -140.1096 | 110.7216
Line_2 | 0.028968 | 0.47811 | 0.33596 | 0.02892 | 0.47768 | 0.33567 | 0.3345 | 5.5208 | 3.8794 | 0.33393 | 5.5158 | 3.876 | -0.28622 | 2.8151 | 1.7364 | 0.28962 | -2.4672 | -1.673 | 0.17666 | 2.1409 | 1.8539 | -0.19532 | -2.0975 | -1.6144 | -144.5691 | 179.4607 | 66.8445 | 36.7312 | -0.47958 | -113.2561 | 1.0055 | 0.64061 | 0.65477 | 1.0461 | 0.58709 | 0.59983 | 3.747 | -143.2857 | 113.7191 | 2.7346 | -140.1096 | 110.7216
Line_3 | 0.0002985 | 0.0002985 | 0.0002985 | 0.0002985 | 0.0002985 | 0.0002985 | 0.0034468 | 0.0034468 | 0.0034468 | 0.0034468 | 0.0034468 | 0.0034468 | -0.0025555 | 0.00055426 | 0.0020013 | -0.0025555 | 0.00055426 | 0.0020013 | -0.0023413 | 0.0021374 | -0.0010432 | -0.0023413 | 0.0021374 | -0.0010432 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 141.2519 | 1.0055 | 0.64061 | 0.65477 | 1.0055 | 0.64061 | 0.65477 | 3.747 | -143.2857 | 113.7191 | 3.747 | -143.2857 | 113.7191

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19812 | 1.2826 | 0.82374 | 0.197 | 1.2828 | 0.82454 | 2.2877 | 14.8104 | 9.5118 | 2.2748 | 14.8124 | 9.521 | 0.54793 | 0.14471 | -0.38442 | -0.58691 | 3.7393 | 0.59356 | -2.3521 | -2.6805 | -1.3682 | 1.9995 | 2.7872 | 3.242 | 78.0351 | -2.9301 | -131.874 | -102.0666 | 177.018 | 48.1858 | 1.0557 | 0.18125 | 0.14941 | 0.91609 | 0.31486 | 0.34617 | 1.1485 | -89.84 | 122.4318 | 4.2917 | -146.2824 | 127.8106
Line_1 | 0.098085 | 0.64178 | 0.41241 | 0.0985 | 0.6414 | 0.41227 | 1.1326 | 7.4107 | 4.762 | 1.1374 | 7.4062 | 4.7605 | -0.3062 | 2.8435 | 0.35226 | 0.29346 | -1.8697 | -0.29678 | 0.90962 | 1.421 | 2.091 | -0.99977 | -1.3936 | -1.621 | -102.3336 | 176.9748 | 48.2697 | 77.9334 | -2.982 | -131.8142 | 0.84742 | 0.42895 | 0.44529 | 0.91609 | 0.31486 | 0.34617 | 6.2707 | -156.4722 | 128.7074 | 4.2917 | -146.2824 | 127.8106
Line_2 | 0.098085 | 0.64178 | 0.41241 | 0.0985 | 0.6414 | 0.41227 | 1.1326 | 7.4107 | 4.762 | 1.1374 | 7.4062 | 4.7605 | -0.3062 | 2.8435 | 0.35226 | 0.29346 | -1.8697 | -0.29678 | 0.90962 | 1.421 | 2.091 | -0.99977 | -1.3936 | -1.621 | -102.3336 | 176.9748 | 48.2697 | 77.9334 | -2.982 | -131.8142 | 0.84742 | 0.42895 | 0.44529 | 0.91609 | 0.31486 | 0.34617 | 6.2707 | -156.4722 | 128.7074 | 4.2917 | -146.2824 | 127.8106
Line_3 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | -0.0020066 | 0.00072881 | 0.0012778 | -0.0020066 | 0.00072881 | 0.0012778 | -0.001606 | 0.0010776 | -0.00043726 | -0.001606 | 0.0010776 | -0.00043726 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 0.84742 | 0.42895 | 0.44529 | 0.84742 | 0.42895 | 0.44529 | 6.2707 | -156.4722 | 128.7074 | 6.2707 | -156.4722 | 128.7074

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19812 | 1.2826 | 0.82374 | 0.197 | 1.2828 | 0.82454 | 2.2877 | 14.8104 | 9.5118 | 2.2748 | 14.8124 | 9.521 | 0.54793 | 0.14471 | -0.38442 | -0.58691 | 3.7393 | 0.59356 | -2.3521 | -2.6805 | -1.3682 | 1.9995 | 2.7872 | 3.242 | 78.0351 | -2.9301 | -131.874 | -102.0666 | 177.018 | 48.1858 | 1.0557 | 0.18125 | 0.14941 | 0.91609 | 0.31486 | 0.34617 | 1.1485 | -89.84 | 122.4318 | 4.2917 | -146.2824 | 127.8106
Line_1 | 0.098085 | 0.64178 | 0.41241 | 0.0985 | 0.6414 | 0.41227 | 1.1326 | 7.4107 | 4.762 | 1.1374 | 7.4062 | 4.7605 | -0.3062 | 2.8435 | 0.35226 | 0.29346 | -1.8697 | -0.29678 | 0.90962 | 1.421 | 2.091 | -0.99977 | -1.3936 | -1.621 | -102.3336 | 176.9748 | 48.2697 | 77.9334 | -2.982 | -131.8142 | 0.84742 | 0.42895 | 0.44529 | 0.91609 | 0.31486 | 0.34617 | 6.2707 | -156.4722 | 128.7074 | 4.2917 | -146.2824 | 127.8106
Line_2 | 0.098085 | 0.64178 | 0.41241 | 0.0985 | 0.6414 | 0.41227 | 1.1326 | 7.4107 | 4.762 | 1.1374 | 7.4062 | 4.7605 | -0.3062 | 2.8435 | 0.35226 | 0.29346 | -1.8697 | -0.29678 | 0.90962 | 1.421 | 2.091 | -0.99977 | -1.3936 | -1.621 | -102.3336 | 176.9748 | 48.2697 | 77.9334 | -2.982 | -131.8142 | 0.84742 | 0.42895 | 0.44529 | 0.91609 | 0.31486 | 0.34617 | 6.2707 | -156.4722 | 128.7074 | 4.2917 | -146.2824 | 127.8106
Line_3 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.00026265 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | 0.0030329 | -0.0020066 | 0.00072881 | 0.0012778 | -0.0020066 | 0.00072881 | 0.0012778 | -0.001606 | 0.0010776 | -0.00043726 | -0.001606 | 0.0010776 | -0.00043726 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 147.5986 | 0.84742 | 0.42895 | 0.44529 | 0.84742 | 0.42895 | 0.44529 | 6.2707 | -156.4722 | 128.7074 | 6.2707 | -156.4722 | 128.7074

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13937 | 0.90492 | 0.5843 | 0.13858 | 0.90503 | 0.58487 | 1.6093 | 10.4491 | 6.7469 | 1.6002 | 10.4504 | 6.7535 | 0.032262 | -3.2231 | -2.1345 | -0.053909 | 5.1544 | 2.2481 | -1.6658 | -2.8422 | -1.9531 | 1.4882 | 2.8924 | 2.8932 | 90.1548 | 9.4959 | -119.4103 | -89.9474 | -170.556 | 60.649 | 1.0353 | 0.41126 | 0.42881 | 0.9306 | 0.56557 | 0.54254 | 1.2643 | -129.0967 | 103.0487 | 2.1272 | -141.2572 | 112.8009
Line_1 | 0.068997 | 0.45279 | 0.29253 | 0.069291 | 0.45252 | 0.29243 | 0.79671 | 5.2283 | 3.3779 | 0.8001 | 5.2252 | 3.3767 | -0.034956 | 3.0621 | 1.1545 | 0.026955 | -2.5772 | -1.1241 | 0.69878 | 1.46 | 1.6815 | -0.74409 | -1.4462 | -1.4466 | -90.2155 | -170.5994 | 60.7324 | 90.0526 | 9.444 | -119.351 | 0.87817 | 0.64884 | 0.60384 | 0.9306 | 0.56557 | 0.54254 | 2.6483 | -145.1078 | 116.2581 | 2.1272 | -141.2572 | 112.8009
Line_2 | 0.068997 | 0.45279 | 0.29253 | 0.069291 | 0.45252 | 0.29243 | 0.79671 | 5.2283 | 3.3779 | 0.8001 | 5.2252 | 3.3767 | -0.034956 | 3.0621 | 1.1545 | 0.026955 | -2.5772 | -1.1241 | 0.69878 | 1.46 | 1.6815 | -0.74409 | -1.4462 | -1.4466 | -90.2155 | -170.5994 | 60.7324 | 90.0526 | 9.444 | -119.351 | 0.87817 | 0.64884 | 0.60384 | 0.9306 | 0.56557 | 0.54254 | 2.6483 | -145.1078 | 116.2581 | 2.1272 | -141.2572 | 112.8009
Line_3 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | -0.0017327 | 0.00079402 | 0.00093864 | -0.0017327 | 0.00079402 | 0.00093864 | -0.00073245 | 0.0011407 | -0.00088995 | -0.00073245 | 0.0011407 | -0.00088995 | 159.733 | 159.733 | 159.733 | 159.733 | 159.733 | 159.733 | 0.87817 | 0.64884 | 0.60384 | 0.87817 | 0.64884 | 0.60384 | 2.6483 | -145.1078 | 116.2581 | 2.6483 | -145.1078 | 116.2581

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13937 | 0.90492 | 0.5843 | 0.13858 | 0.90503 | 0.58487 | 1.6093 | 10.4491 | 6.7469 | 1.6002 | 10.4504 | 6.7535 | 0.032262 | -3.2231 | -2.1345 | -0.053909 | 5.1544 | 2.2481 | -1.6658 | -2.8422 | -1.9531 | 1.4882 | 2.8924 | 2.8932 | 90.1548 | 9.4959 | -119.4103 | -89.9474 | -170.556 | 60.649 | 1.0353 | 0.41126 | 0.42881 | 0.9306 | 0.56557 | 0.54254 | 1.2643 | -129.0967 | 103.0487 | 2.1272 | -141.2572 | 112.8009
Line_1 | 0.068997 | 0.45279 | 0.29253 | 0.069291 | 0.45252 | 0.29243 | 0.79671 | 5.2283 | 3.3779 | 0.8001 | 5.2252 | 3.3767 | -0.034956 | 3.0621 | 1.1545 | 0.026955 | -2.5772 | -1.1241 | 0.69878 | 1.46 | 1.6815 | -0.74409 | -1.4462 | -1.4466 | -90.2155 | -170.5994 | 60.7324 | 90.0526 | 9.444 | -119.351 | 0.87817 | 0.64884 | 0.60384 | 0.9306 | 0.56557 | 0.54254 | 2.6483 | -145.1078 | 116.2581 | 2.1272 | -141.2572 | 112.8009
Line_2 | 0.068997 | 0.45279 | 0.29253 | 0.069291 | 0.45252 | 0.29243 | 0.79671 | 5.2283 | 3.3779 | 0.8001 | 5.2252 | 3.3767 | -0.034956 | 3.0621 | 1.1545 | 0.026955 | -2.5772 | -1.1241 | 0.69878 | 1.46 | 1.6815 | -0.74409 | -1.4462 | -1.4466 | -90.2155 | -170.5994 | 60.7324 | 90.0526 | 9.444 | -119.351 | 0.87817 | 0.64884 | 0.60384 | 0.9306 | 0.56557 | 0.54254 | 2.6483 | -145.1078 | 116.2581 | 2.1272 | -141.2572 | 112.8009
Line_3 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.00018551 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | 0.0021421 | -0.0017327 | 0.00079402 | 0.00093864 | -0.0017327 | 0.00079402 | 0.00093864 | -0.00073245 | 0.0011407 | -0.00088995 | -0.00073245 | 0.0011407 | -0.00088995 | 159.733 | 159.733 | 159.733 | 159.733 | 159.733 | 159.733 | 0.87817 | 0.64884 | 0.60384 | 0.87817 | 0.64884 | 0.60384 | 2.6483 | -145.1078 | 116.2581 | 2.6483 | -145.1078 | 116.2581