## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14741 | 0.14741 | -21.4832 | -21.4832

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14741 | 0.14741 | -21.4832 | -21.4832

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93609 | 0.93609 | -7.1528 | -7.1528

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93609 | 0.93609 | -7.1528 | -7.1528

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3021e-15 | 1.0515e-14 | 8.1126e-16 | -5.1096e-15 | 8.7836e-15 | 0 | -1.9241e-16 | 8.2479e-15 | 4.7484e-15 | -5.4945e-15 | 1.7941e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.12 | 0.63085 | 0.50847 | 1.12 | 0.63085 | 0.50847 | 2.0784 | -168.4556 | 170.3047 | 2.0784 | -168.4556 | 170.3047

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3021e-15 | 1.0515e-14 | 8.1126e-16 | -5.1096e-15 | 8.7836e-15 | 0 | -1.9241e-16 | 8.2479e-15 | 4.7484e-15 | -5.4945e-15 | 1.7941e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.12 | 0.63085 | 0.50847 | 1.12 | 0.63085 | 0.50847 | 2.0784 | -168.4556 | 170.3047 | 2.0784 | -168.4556 | 170.3047

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6044e-15 | -2.5136e-15 | -5.4999e-15 | 1.2634e-15 | 6.6434e-15 | 1.3569e-15 | -3.8785e-17 | -2.4689e-15 | -5.3219e-15 | 2.6238e-15 | -5.9602e-17 | 5.0717e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 0.99172 | 0.7837 | 1.0997 | 0.99172 | 0.7837 | 0.85319 | -135.514 | 120.0215 | 0.85319 | -135.514 | 120.0215

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6044e-15 | -2.5136e-15 | -5.4999e-15 | 1.2634e-15 | 6.6434e-15 | 1.3569e-15 | -3.8785e-17 | -2.4689e-15 | -5.3219e-15 | 2.6238e-15 | -5.9602e-17 | 5.0717e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 0.99172 | 0.7837 | 1.0997 | 0.99172 | 0.7837 | 0.85319 | -135.514 | 120.0215 | 0.85319 | -135.514 | 120.0215

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0058e-14 | 7.2643e-15 | -1.7361e-16 | -9.8655e-15 | -3.6697e-15 | -2.7189e-15 | -9.2869e-15 | -1.0807e-14 | -7.993e-15 | 4.4506e-15 | 2.2619e-15 | 4.763e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0058e-14 | 7.2643e-15 | -1.7361e-16 | -9.8655e-15 | -3.6697e-15 | -2.7189e-15 | -9.2869e-15 | -1.0807e-14 | -7.993e-15 | 4.4506e-15 | 2.2619e-15 | 4.763e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.481e-15 | 1.5329e-15 | 1.018e-16 | -1.7772e-15 | 3.0881e-15 | -5.5642e-15 | 2.5036e-17 | -1.5552e-15 | -1.8661e-16 | -3.0043e-17 | -2.234e-17 | -4.0039e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.481e-15 | 1.5329e-15 | 1.018e-16 | -1.7772e-15 | 3.0881e-15 | -5.5642e-15 | 2.5036e-17 | -1.5552e-15 | -1.8661e-16 | -3.0043e-17 | -2.234e-17 | -4.0039e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4763 | 0.82599 | 0.73954 | 1.4788 | 0.8286 | 0.74209 | 17.0464 | 9.5377 | 8.5394 | 17.0759 | 9.5679 | 8.5689 | 6.2784e-11 | -1.2555 | 13.3469 | 5.9176 | 4.2869 | -10.702 | -7.7217e-11 | 12.8217 | 3.2918 | 2.5553 | -11.6346 | -2.3667 | 121.0381 | 118.6826 | 120.9497 | -59.0257 | -61.4239 | -59.1771 | 0 | 1.3507 | 1.6098 | 0.37748 | 1.2959 | 1.2791 | 0 | -145.725 | 134.8042 | -35.6705 | -131.1969 | 133.2929
Line_1 | 0.74149 | 0.4164 | 0.37313 | 0.73941 | 0.4143 | 0.37104 | 8.562 | 4.8082 | 4.3085 | 8.5379 | 4.7839 | 4.2845 | 4.4549 | 2.9165 | -4.7027 | -2.9588 | -2.1435 | 5.351 | 1.9246 | -5.5363 | -0.95241 | -1.2776 | 5.8173 | 1.1833 | -59.0589 | -61.471 | -59.2423 | 120.9743 | 118.5761 | 120.8229 | 0.56679 | 1.3014 | 1.1136 | 0.37748 | 1.2959 | 1.2791 | -35.694 | -123.6906 | 132.2067 | -35.6705 | -131.1969 | 133.2929
Line_2 | 0.74149 | 0.4164 | 0.37313 | 0.73941 | 0.4143 | 0.37104 | 8.562 | 4.8082 | 4.3085 | 8.5379 | 4.7839 | 4.2845 | 4.4549 | 2.9165 | -4.7027 | -2.9588 | -2.1435 | 5.351 | 1.9246 | -5.5363 | -0.95241 | -1.2776 | 5.8173 | 1.1833 | -59.0589 | -61.471 | -59.2423 | 120.9743 | 118.5761 | 120.8229 | 0.56679 | 1.3014 | 1.1136 | 0.37748 | 1.2959 | 1.2791 | -35.694 | -123.6906 | 132.2067 | -35.6705 | -131.1969 | 133.2929
Line_3 | 0.00096424 | 0.00096424 | 0.00096424 | 0.00096424 | 0.00096424 | 0.00096424 | 0.011134 | 0.011134 | 0.011134 | 0.011134 | 0.011134 | 0.011134 | 0.0057621 | 0.0063677 | -0.01213 | 0.0057621 | 0.0063677 | -0.01213 | 0.0025734 | -0.013016 | -0.0025708 | 0.0025734 | -0.013016 | -0.0025708 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | 0.56679 | 1.3014 | 1.1136 | 0.56679 | 1.3014 | 1.1136 | -35.694 | -123.6906 | 132.2067 | -35.694 | -123.6906 | 132.2067

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4763 | 0.82599 | 0.73954 | 1.4788 | 0.8286 | 0.74209 | 17.0464 | 9.5377 | 8.5394 | 17.0759 | 9.5679 | 8.5689 | 6.2784e-11 | -1.2555 | 13.3469 | 5.9176 | 4.2869 | -10.702 | -7.7217e-11 | 12.8217 | 3.2918 | 2.5553 | -11.6346 | -2.3667 | 121.0381 | 118.6826 | 120.9497 | -59.0257 | -61.4239 | -59.1771 | 0 | 1.3507 | 1.6098 | 0.37748 | 1.2959 | 1.2791 | 0 | -145.725 | 134.8042 | -35.6705 | -131.1969 | 133.2929
Line_1 | 0.74149 | 0.4164 | 0.37313 | 0.73941 | 0.4143 | 0.37104 | 8.562 | 4.8082 | 4.3085 | 8.5379 | 4.7839 | 4.2845 | 4.4549 | 2.9165 | -4.7027 | -2.9588 | -2.1435 | 5.351 | 1.9246 | -5.5363 | -0.95241 | -1.2776 | 5.8173 | 1.1833 | -59.0589 | -61.471 | -59.2423 | 120.9743 | 118.5761 | 120.8229 | 0.56679 | 1.3014 | 1.1136 | 0.37748 | 1.2959 | 1.2791 | -35.694 | -123.6906 | 132.2067 | -35.6705 | -131.1969 | 133.2929
Line_2 | 0.74149 | 0.4164 | 0.37313 | 0.73941 | 0.4143 | 0.37104 | 8.562 | 4.8082 | 4.3085 | 8.5379 | 4.7839 | 4.2845 | 4.4549 | 2.9165 | -4.7027 | -2.9588 | -2.1435 | 5.351 | 1.9246 | -5.5363 | -0.95241 | -1.2776 | 5.8173 | 1.1833 | -59.0589 | -61.471 | -59.2423 | 120.9743 | 118.5761 | 120.8229 | 0.56679 | 1.3014 | 1.1136 | 0.37748 | 1.2959 | 1.2791 | -35.694 | -123.6906 | 132.2067 | -35.6705 | -131.1969 | 133.2929
Line_3 | 0.00096424 | 0.00096424 | 0.00096424 | 0.00096424 | 0.00096424 | 0.00096424 | 0.011134 | 0.011134 | 0.011134 | 0.011134 | 0.011134 | 0.011134 | 0.0057621 | 0.0063677 | -0.01213 | 0.0057621 | 0.0063677 | -0.01213 | 0.0025734 | -0.013016 | -0.0025708 | 0.0025734 | -0.013016 | -0.0025708 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | -59.7596 | 0.56679 | 1.3014 | 1.1136 | 0.56679 | 1.3014 | 1.1136 | -35.694 | -123.6906 | 132.2067 | -35.694 | -123.6906 | 132.2067

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51025 | 0.28549 | 0.25561 | 0.51113 | 0.2864 | 0.25649 | 5.8919 | 3.2966 | 2.9515 | 5.902 | 3.307 | 2.9617 | -3.3888 | -0.60947 | 3.6168 | 4.0986 | 0.97751 | -3.3095 | -2.7021 | 3.9129 | -0.39704 | 3.0158 | -3.7777 | 0.50578 | 134.5151 | 132.1596 | 134.4267 | -45.5487 | -47.9468 | -45.7001 | 0.73562 | 1.2013 | 1.2327 | 0.86217 | 1.18 | 1.1304 | -6.9182 | -128.9871 | 128.1621 | -9.2031 | -123.4393 | 125.6108
Line_1 | 0.25629 | 0.14392 | 0.12897 | 0.25557 | 0.1432 | 0.12825 | 2.9593 | 1.6619 | 1.4892 | 2.951 | 1.6535 | 1.4809 | 2.232 | 0.58328 | -1.5835 | -2.0493 | -0.48876 | 1.6548 | 1.59 | -1.8611 | 0.28153 | -1.5079 | 1.8889 | -0.25289 | -45.5819 | -47.994 | -45.7653 | 134.4513 | 132.0532 | 134.2999 | 0.92603 | 1.1736 | 1.08 | 0.86217 | 1.18 | 1.1304 | -10.118 | -120.5931 | 124.1532 | -9.2031 | -123.4393 | 125.6108
Line_2 | 0.25629 | 0.14392 | 0.12897 | 0.25557 | 0.1432 | 0.12825 | 2.9593 | 1.6619 | 1.4892 | 2.951 | 1.6535 | 1.4809 | 2.232 | 0.58328 | -1.5835 | -2.0493 | -0.48876 | 1.6548 | 1.59 | -1.8611 | 0.28153 | -1.5079 | 1.8889 | -0.25289 | -45.5819 | -47.994 | -45.7653 | 134.4513 | 132.0532 | 134.2999 | 0.92603 | 1.1736 | 1.08 | 0.86217 | 1.18 | 1.1304 | -10.118 | -120.5931 | 124.1532 | -9.2031 | -123.4393 | 125.6108
Line_3 | 0.00033328 | 0.00033328 | 0.00033328 | 0.00033328 | 0.00033328 | 0.00033328 | 0.0038483 | 0.0038483 | 0.0038483 | 0.0038483 | 0.0038483 | 0.0038483 | 0.002877 | 0.0012213 | -0.0040984 | 0.002877 | 0.0012213 | -0.0040984 | 0.0021029 | -0.0043482 | 0.00069056 | 0.0021029 | -0.0043482 | 0.00069056 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | 0.92603 | 1.1736 | 1.08 | 0.92603 | 1.1736 | 1.08 | -10.118 | -120.5931 | 124.1532 | -10.118 | -120.5931 | 124.1532

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51025 | 0.28549 | 0.25561 | 0.51113 | 0.2864 | 0.25649 | 5.8919 | 3.2966 | 2.9515 | 5.902 | 3.307 | 2.9617 | -3.3888 | -0.60947 | 3.6168 | 4.0986 | 0.97751 | -3.3095 | -2.7021 | 3.9129 | -0.39704 | 3.0158 | -3.7777 | 0.50578 | 134.5151 | 132.1596 | 134.4267 | -45.5487 | -47.9468 | -45.7001 | 0.73562 | 1.2013 | 1.2327 | 0.86217 | 1.18 | 1.1304 | -6.9182 | -128.9871 | 128.1621 | -9.2031 | -123.4393 | 125.6108
Line_1 | 0.25629 | 0.14392 | 0.12897 | 0.25557 | 0.1432 | 0.12825 | 2.9593 | 1.6619 | 1.4892 | 2.951 | 1.6535 | 1.4809 | 2.232 | 0.58328 | -1.5835 | -2.0493 | -0.48876 | 1.6548 | 1.59 | -1.8611 | 0.28153 | -1.5079 | 1.8889 | -0.25289 | -45.5819 | -47.994 | -45.7653 | 134.4513 | 132.0532 | 134.2999 | 0.92603 | 1.1736 | 1.08 | 0.86217 | 1.18 | 1.1304 | -10.118 | -120.5931 | 124.1532 | -9.2031 | -123.4393 | 125.6108
Line_2 | 0.25629 | 0.14392 | 0.12897 | 0.25557 | 0.1432 | 0.12825 | 2.9593 | 1.6619 | 1.4892 | 2.951 | 1.6535 | 1.4809 | 2.232 | 0.58328 | -1.5835 | -2.0493 | -0.48876 | 1.6548 | 1.59 | -1.8611 | 0.28153 | -1.5079 | 1.8889 | -0.25289 | -45.5819 | -47.994 | -45.7653 | 134.4513 | 132.0532 | 134.2999 | 0.92603 | 1.1736 | 1.08 | 0.86217 | 1.18 | 1.1304 | -10.118 | -120.5931 | 124.1532 | -9.2031 | -123.4393 | 125.6108
Line_3 | 0.00033328 | 0.00033328 | 0.00033328 | 0.00033328 | 0.00033328 | 0.00033328 | 0.0038483 | 0.0038483 | 0.0038483 | 0.0038483 | 0.0038483 | 0.0038483 | 0.002877 | 0.0012213 | -0.0040984 | 0.002877 | 0.0012213 | -0.0040984 | 0.0021029 | -0.0043482 | 0.00069056 | 0.0021029 | -0.0043482 | 0.00069056 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | -46.2826 | 0.92603 | 1.1736 | 1.08 | 0.92603 | 1.1736 | 1.08 | -10.118 | -120.5931 | 124.1532 | -10.118 | -120.5931 | 124.1532

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0938 | 0.57843 | 0.51298 | 1.0955 | 0.58019 | 0.51465 | 12.6302 | 6.6791 | 5.9234 | 12.6499 | 6.6994 | 5.9427 | -2.4106e-11 | 2.7731 | 9.3632 | 6.0694 | 0.15586 | -6.839 | 6.0947e-12 | 8.3052 | -0.52463 | 1.3981 | -7.7123 | 0.9346 | 139.1617 | 137.8232 | 140.0696 | -40.9551 | -42.3933 | -40.1819 | 0 | 1.3109 | 1.5832 | 0.49236 | 1.1514 | 1.1615 | 0 | -150.6408 | 136.8627 | -27.9833 | -131.2355 | 132.0364
Line_1 | 0.54913 | 0.29148 | 0.25869 | 0.54776 | 0.29009 | 0.25733 | 6.3408 | 3.3657 | 2.9871 | 6.325 | 3.3497 | 2.9713 | 4.5674 | 0.81768 | -2.7939 | -3.0347 | -0.077932 | 3.4195 | 1.0535 | -3.7164 | 0.57532 | -0.69904 | 3.8561 | -0.4673 | -41.0138 | -42.4971 | -40.3107 | 139.0449 | 137.6067 | 139.8181 | 0.73923 | 1.1306 | 0.95496 | 0.49236 | 1.1514 | 1.1615 | -28.0253 | -120.0886 | 128.0537 | -27.9833 | -131.2355 | 132.0364
Line_2 | 0.54913 | 0.29148 | 0.25869 | 0.54776 | 0.29009 | 0.25733 | 6.3408 | 3.3657 | 2.9871 | 6.325 | 3.3497 | 2.9713 | 4.5674 | 0.81768 | -2.7939 | -3.0347 | -0.077932 | 3.4195 | 1.0535 | -3.7164 | 0.57532 | -0.69904 | 3.8561 | -0.4673 | -41.0138 | -42.4971 | -40.3107 | 139.0449 | 137.6067 | 139.8181 | 0.73923 | 1.1306 | 0.95496 | 0.49236 | 1.1514 | 1.1615 | -28.0253 | -120.0886 | 128.0537 | -27.9833 | -131.2355 | 132.0364
Line_3 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0052296 | 0.0015892 | -0.0068189 | 0.0052296 | 0.0015892 | -0.0068189 | 0.0012282 | -0.0080607 | 0.001289 | 0.0012282 | -0.0080607 | 0.001289 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | 0.73923 | 1.1306 | 0.95496 | 0.73923 | 1.1306 | 0.95496 | -28.0253 | -120.0886 | 128.0537 | -28.0253 | -120.0886 | 128.0537

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0938 | 0.57843 | 0.51298 | 1.0955 | 0.58019 | 0.51465 | 12.6302 | 6.6791 | 5.9234 | 12.6499 | 6.6994 | 5.9427 | -2.4106e-11 | 2.7731 | 9.3632 | 6.0694 | 0.15586 | -6.839 | 6.0947e-12 | 8.3052 | -0.52463 | 1.3981 | -7.7123 | 0.9346 | 139.1617 | 137.8232 | 140.0696 | -40.9551 | -42.3933 | -40.1819 | 0 | 1.3109 | 1.5832 | 0.49236 | 1.1514 | 1.1615 | 0 | -150.6408 | 136.8627 | -27.9833 | -131.2355 | 132.0364
Line_1 | 0.54913 | 0.29148 | 0.25869 | 0.54776 | 0.29009 | 0.25733 | 6.3408 | 3.3657 | 2.9871 | 6.325 | 3.3497 | 2.9713 | 4.5674 | 0.81768 | -2.7939 | -3.0347 | -0.077932 | 3.4195 | 1.0535 | -3.7164 | 0.57532 | -0.69904 | 3.8561 | -0.4673 | -41.0138 | -42.4971 | -40.3107 | 139.0449 | 137.6067 | 139.8181 | 0.73923 | 1.1306 | 0.95496 | 0.49236 | 1.1514 | 1.1615 | -28.0253 | -120.0886 | 128.0537 | -27.9833 | -131.2355 | 132.0364
Line_2 | 0.54913 | 0.29148 | 0.25869 | 0.54776 | 0.29009 | 0.25733 | 6.3408 | 3.3657 | 2.9871 | 6.325 | 3.3497 | 2.9713 | 4.5674 | 0.81768 | -2.7939 | -3.0347 | -0.077932 | 3.4195 | 1.0535 | -3.7164 | 0.57532 | -0.69904 | 3.8561 | -0.4673 | -41.0138 | -42.4971 | -40.3107 | 139.0449 | 137.6067 | 139.8181 | 0.73923 | 1.1306 | 0.95496 | 0.49236 | 1.1514 | 1.1615 | -28.0253 | -120.0886 | 128.0537 | -27.9833 | -131.2355 | 132.0364
Line_3 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.00062933 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0072669 | 0.0052296 | 0.0015892 | -0.0068189 | 0.0052296 | 0.0015892 | -0.0068189 | 0.0012282 | -0.0080607 | 0.001289 | 0.0012282 | -0.0080607 | 0.001289 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | -41.2417 | 0.73923 | 1.1306 | 0.95496 | 0.73923 | 1.1306 | 0.95496 | -28.0253 | -120.0886 | 128.0537 | -28.0253 | -120.0886 | 128.0537

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43175 | 0.22832 | 0.20249 | 0.43243 | 0.22902 | 0.20315 | 4.9855 | 2.6364 | 2.3381 | 4.9933 | 2.6445 | 2.3457 | -2.5151 | 0.28881 | 2.7223 | 3.4613 | 0.17402 | -2.336 | -1.6835 | 2.8881 | -0.72859 | 1.9091 | -2.8 | 0.78901 | 143.4295 | 142.0911 | 144.3375 | -36.6872 | -38.1254 | -35.9141 | 0.60708 | 1.1009 | 1.2053 | 0.79164 | 1.0609 | 1.0511 | -2.7735 | -133.6195 | 129.3543 | -7.8075 | -124.569 | 125.423
Line_1 | 0.21676 | 0.11505 | 0.10211 | 0.21621 | 0.11451 | 0.10157 | 2.5029 | 1.3285 | 1.1791 | 2.4966 | 1.3222 | 1.1729 | 1.9717 | 0.20408 | -1.0746 | -1.7306 | -0.087012 | 1.168 | 1.0132 | -1.3819 | 0.4116 | -0.95457 | 1.4 | -0.3945 | -36.746 | -38.2293 | -36.0429 | 143.3128 | 141.8746 | 144.0859 | 0.88571 | 1.0515 | 0.97597 | 0.79164 | 1.0609 | 1.0511 | -9.5489 | -119.8284 | 122.9992 | -7.8075 | -124.569 | 125.423
Line_2 | 0.21676 | 0.11505 | 0.10211 | 0.21621 | 0.11451 | 0.10157 | 2.5029 | 1.3285 | 1.1791 | 2.4966 | 1.3222 | 1.1729 | 1.9717 | 0.20408 | -1.0746 | -1.7306 | -0.087012 | 1.168 | 1.0132 | -1.3819 | 0.4116 | -0.95457 | 1.4 | -0.3945 | -36.746 | -38.2293 | -36.0429 | 143.3128 | 141.8746 | 144.0859 | 0.88571 | 1.0515 | 0.97597 | 0.79164 | 1.0609 | 1.0511 | -9.5489 | -119.8284 | 122.9992 | -7.8075 | -124.569 | 125.423
Line_3 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0022551 | 0.00037516 | -0.0026302 | 0.0022551 | 0.00037516 | -0.0026302 | 0.0011702 | -0.0029926 | 0.00095873 | 0.0011702 | -0.0029926 | 0.00095873 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | 0.88571 | 1.0515 | 0.97597 | 0.88571 | 1.0515 | 0.97597 | -9.5489 | -119.8284 | 122.9992 | -9.5489 | -119.8284 | 122.9992

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43175 | 0.22832 | 0.20249 | 0.43243 | 0.22902 | 0.20315 | 4.9855 | 2.6364 | 2.3381 | 4.9933 | 2.6445 | 2.3457 | -2.5151 | 0.28881 | 2.7223 | 3.4613 | 0.17402 | -2.336 | -1.6835 | 2.8881 | -0.72859 | 1.9091 | -2.8 | 0.78901 | 143.4295 | 142.0911 | 144.3375 | -36.6872 | -38.1254 | -35.9141 | 0.60708 | 1.1009 | 1.2053 | 0.79164 | 1.0609 | 1.0511 | -2.7735 | -133.6195 | 129.3543 | -7.8075 | -124.569 | 125.423
Line_1 | 0.21676 | 0.11505 | 0.10211 | 0.21621 | 0.11451 | 0.10157 | 2.5029 | 1.3285 | 1.1791 | 2.4966 | 1.3222 | 1.1729 | 1.9717 | 0.20408 | -1.0746 | -1.7306 | -0.087012 | 1.168 | 1.0132 | -1.3819 | 0.4116 | -0.95457 | 1.4 | -0.3945 | -36.746 | -38.2293 | -36.0429 | 143.3128 | 141.8746 | 144.0859 | 0.88571 | 1.0515 | 0.97597 | 0.79164 | 1.0609 | 1.0511 | -9.5489 | -119.8284 | 122.9992 | -7.8075 | -124.569 | 125.423
Line_2 | 0.21676 | 0.11505 | 0.10211 | 0.21621 | 0.11451 | 0.10157 | 2.5029 | 1.3285 | 1.1791 | 2.4966 | 1.3222 | 1.1729 | 1.9717 | 0.20408 | -1.0746 | -1.7306 | -0.087012 | 1.168 | 1.0132 | -1.3819 | 0.4116 | -0.95457 | 1.4 | -0.3945 | -36.746 | -38.2293 | -36.0429 | 143.3128 | 141.8746 | 144.0859 | 0.88571 | 1.0515 | 0.97597 | 0.79164 | 1.0609 | 1.0511 | -9.5489 | -119.8284 | 122.9992 | -7.8075 | -124.569 | 125.423
Line_3 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.00024841 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0028684 | 0.0022551 | 0.00037516 | -0.0026302 | 0.0022551 | 0.00037516 | -0.0026302 | 0.0011702 | -0.0029926 | 0.00095873 | 0.0011702 | -0.0029926 | 0.00095873 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | -36.9738 | 0.88571 | 1.0515 | 0.97597 | 0.88571 | 1.0515 | 0.97597 | -9.5489 | -119.8284 | 122.9992 | -9.5489 | -119.8284 | 122.9992

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41219 | 1.7199 | 1.059 | 0.4141 | 1.7205 | 1.0605 | 4.7595 | 19.8597 | 12.2288 | 4.7816 | 19.8664 | 12.246 | 2.9603 | 4.2272e-11 | 2.4086e-11 | -2.0963 | 4.9515 | 0.62874 | 6.4906 | -2.3317e-11 | -1.7085e-11 | -5.9556 | 0.12578 | 2.9918 | -67.0239 | -10.6554 | -125.1156 | 112.8968 | 169.2812 | 54.9555 | 1.4989 | 0 | 0 | 1.3204 | 0.24932 | 0.24964 | -1.5412 | 0 | 0 | 3.5053 | 170.7363 | 133.0871
Line_1 | 0.20844 | 0.8611 | 0.53092 | 0.20705 | 0.86024 | 0.53027 | 2.4069 | 9.9432 | 6.1305 | 2.3908 | 9.9332 | 6.123 | -0.83714 | 3.7204 | 0.478 | 1.0482 | -2.4758 | -0.31437 | -2.8539 | 0.096646 | 2.2479 | 2.9778 | -0.062892 | -1.4959 | 112.9269 | 169.208 | 55.0891 | -67.1032 | -10.7188 | -125.0445 | 1.2357 | 0.37429 | 0.37487 | 1.3204 | 0.24932 | 0.24964 | 6.5786 | 170.6961 | 133.0841 | 3.5053 | 170.7363 | 133.0871
Line_2 | 0.20844 | 0.8611 | 0.53092 | 0.20705 | 0.86024 | 0.53027 | 2.4069 | 9.9432 | 6.1305 | 2.3908 | 9.9332 | 6.123 | -0.83714 | 3.7204 | 0.478 | 1.0482 | -2.4758 | -0.31437 | -2.8539 | 0.096646 | 2.2479 | 2.9778 | -0.062892 | -1.4959 | 112.9269 | 169.208 | 55.0891 | -67.1032 | -10.7188 | -125.0445 | 1.2357 | 0.37429 | 0.37487 | 1.3204 | 0.24932 | 0.24964 | 6.5786 | 170.6961 | 133.0841 | 3.5053 | 170.7363 | 133.0871
Line_3 | 0.00063313 | 0.00063313 | 0.00063313 | 0.00063313 | 0.00063313 | 0.00063313 | 0.0073108 | 0.0073108 | 0.0073108 | 0.0073108 | 0.0073108 | 0.0073108 | -0.0047525 | 0.0020214 | 0.0027311 | -0.0047525 | 0.0020214 | 0.0027311 | -0.0076826 | 0.0018443 | 0.00022762 | -0.0076826 | 0.0018443 | 0.00022762 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 1.2357 | 0.37429 | 0.37487 | 1.2357 | 0.37429 | 0.37487 | 6.5786 | 170.6961 | 133.0841 | 6.5786 | 170.6961 | 133.0841

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41219 | 1.7199 | 1.059 | 0.4141 | 1.7205 | 1.0605 | 4.7595 | 19.8597 | 12.2288 | 4.7816 | 19.8664 | 12.246 | 2.9603 | 4.2272e-11 | 2.4086e-11 | -2.0963 | 4.9515 | 0.62874 | 6.4906 | -2.3317e-11 | -1.7085e-11 | -5.9556 | 0.12578 | 2.9918 | -67.0239 | -10.6554 | -125.1156 | 112.8968 | 169.2812 | 54.9555 | 1.4989 | 0 | 0 | 1.3204 | 0.24932 | 0.24964 | -1.5412 | 0 | 0 | 3.5053 | 170.7363 | 133.0871
Line_1 | 0.20844 | 0.8611 | 0.53092 | 0.20705 | 0.86024 | 0.53027 | 2.4069 | 9.9432 | 6.1305 | 2.3908 | 9.9332 | 6.123 | -0.83714 | 3.7204 | 0.478 | 1.0482 | -2.4758 | -0.31437 | -2.8539 | 0.096646 | 2.2479 | 2.9778 | -0.062892 | -1.4959 | 112.9269 | 169.208 | 55.0891 | -67.1032 | -10.7188 | -125.0445 | 1.2357 | 0.37429 | 0.37487 | 1.3204 | 0.24932 | 0.24964 | 6.5786 | 170.6961 | 133.0841 | 3.5053 | 170.7363 | 133.0871
Line_2 | 0.20844 | 0.8611 | 0.53092 | 0.20705 | 0.86024 | 0.53027 | 2.4069 | 9.9432 | 6.1305 | 2.3908 | 9.9332 | 6.123 | -0.83714 | 3.7204 | 0.478 | 1.0482 | -2.4758 | -0.31437 | -2.8539 | 0.096646 | 2.2479 | 2.9778 | -0.062892 | -1.4959 | 112.9269 | 169.208 | 55.0891 | -67.1032 | -10.7188 | -125.0445 | 1.2357 | 0.37429 | 0.37487 | 1.3204 | 0.24932 | 0.24964 | 6.5786 | 170.6961 | 133.0841 | 3.5053 | 170.7363 | 133.0871
Line_3 | 0.00063313 | 0.00063313 | 0.00063313 | 0.00063313 | 0.00063313 | 0.00063313 | 0.0073108 | 0.0073108 | 0.0073108 | 0.0073108 | 0.0073108 | 0.0073108 | -0.0047525 | 0.0020214 | 0.0027311 | -0.0047525 | 0.0020214 | 0.0027311 | -0.0076826 | 0.0018443 | 0.00022762 | -0.0076826 | 0.0018443 | 0.00022762 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 128.3198 | 1.2357 | 0.37429 | 0.37487 | 1.2357 | 0.37429 | 0.37487 | 6.5786 | 170.6961 | 133.0841 | 6.5786 | 170.6961 | 133.0841

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21656 | 0.42825 | 0.41694 | 0.21737 | 0.42852 | 0.41782 | 2.5006 | 4.945 | 4.8144 | 2.5099 | 4.9481 | 4.8246 | 1.8809 | -1.7272 | -4.0002 | -1.6675 | 2.1942 | 4.3553 | 2.5682 | -3.8587 | -0.29259 | -2.4656 | 3.8006 | 0.70973 | -54.0127 | -5.0072 | -80.4533 | 125.8959 | 174.8808 | 99.5534 | 1.273 | 0.85494 | 0.8331 | 1.1859 | 0.88692 | 0.91463 | -0.23074 | -119.1208 | 103.73 | 1.8254 | -125.1181 | 108.8089
Line_1 | 0.1093 | 0.21465 | 0.20947 | 0.10868 | 0.21426 | 0.20891 | 1.2621 | 2.4785 | 2.4188 | 1.255 | 2.474 | 2.4123 | -0.78363 | 1.2138 | 2.2713 | 0.83374 | -1.0971 | -2.1776 | -1.2109 | 1.8902 | 0.45785 | 1.2328 | -1.9003 | -0.35486 | 125.8846 | 174.7529 | 99.623 | -54.1041 | -5.1192 | -80.4466 | 1.1429 | 0.90633 | 0.95791 | 1.1859 | 0.88692 | 0.91463 | 2.9767 | -127.9538 | 111.0202 | 1.8254 | -125.1181 | 108.8089
Line_2 | 0.1093 | 0.21465 | 0.20947 | 0.10868 | 0.21426 | 0.20891 | 1.2621 | 2.4785 | 2.4188 | 1.255 | 2.474 | 2.4123 | -0.78363 | 1.2138 | 2.2713 | 0.83374 | -1.0971 | -2.1776 | -1.2109 | 1.8902 | 0.45785 | 1.2328 | -1.9003 | -0.35486 | 125.8846 | 174.7529 | 99.623 | -54.1041 | -5.1192 | -80.4466 | 1.1429 | 0.90633 | 0.95791 | 1.1859 | 0.88692 | 0.91463 | 2.9767 | -127.9538 | 111.0202 | 1.8254 | -125.1181 | 108.8089
Line_3 | 0.00027951 | 0.00027951 | 0.00027951 | 0.00027951 | 0.00027951 | 0.00027951 | 0.0032275 | 0.0032275 | 0.0032275 | 0.0032275 | 0.0032275 | 0.0032275 | -0.0024611 | -0.00036752 | 0.0028286 | -0.0024611 | -0.00036752 | 0.0028286 | -0.0027475 | 0.002902 | -0.001248 | -0.0027475 | 0.002902 | -0.001248 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 1.1429 | 0.90633 | 0.95791 | 1.1429 | 0.90633 | 0.95791 | 2.9767 | -127.9538 | 111.0202 | 2.9767 | -127.9538 | 111.0202

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21656 | 0.42825 | 0.41694 | 0.21737 | 0.42852 | 0.41782 | 2.5006 | 4.945 | 4.8144 | 2.5099 | 4.9481 | 4.8246 | 1.8809 | -1.7272 | -4.0002 | -1.6675 | 2.1942 | 4.3553 | 2.5682 | -3.8587 | -0.29259 | -2.4656 | 3.8006 | 0.70973 | -54.0127 | -5.0072 | -80.4533 | 125.8959 | 174.8808 | 99.5534 | 1.273 | 0.85494 | 0.8331 | 1.1859 | 0.88692 | 0.91463 | -0.23074 | -119.1208 | 103.73 | 1.8254 | -125.1181 | 108.8089
Line_1 | 0.1093 | 0.21465 | 0.20947 | 0.10868 | 0.21426 | 0.20891 | 1.2621 | 2.4785 | 2.4188 | 1.255 | 2.474 | 2.4123 | -0.78363 | 1.2138 | 2.2713 | 0.83374 | -1.0971 | -2.1776 | -1.2109 | 1.8902 | 0.45785 | 1.2328 | -1.9003 | -0.35486 | 125.8846 | 174.7529 | 99.623 | -54.1041 | -5.1192 | -80.4466 | 1.1429 | 0.90633 | 0.95791 | 1.1859 | 0.88692 | 0.91463 | 2.9767 | -127.9538 | 111.0202 | 1.8254 | -125.1181 | 108.8089
Line_2 | 0.1093 | 0.21465 | 0.20947 | 0.10868 | 0.21426 | 0.20891 | 1.2621 | 2.4785 | 2.4188 | 1.255 | 2.474 | 2.4123 | -0.78363 | 1.2138 | 2.2713 | 0.83374 | -1.0971 | -2.1776 | -1.2109 | 1.8902 | 0.45785 | 1.2328 | -1.9003 | -0.35486 | 125.8846 | 174.7529 | 99.623 | -54.1041 | -5.1192 | -80.4466 | 1.1429 | 0.90633 | 0.95791 | 1.1859 | 0.88692 | 0.91463 | 2.9767 | -127.9538 | 111.0202 | 1.8254 | -125.1181 | 108.8089
Line_3 | 0.00027951 | 0.00027951 | 0.00027951 | 0.00027951 | 0.00027951 | 0.00027951 | 0.0032275 | 0.0032275 | 0.0032275 | 0.0032275 | 0.0032275 | 0.0032275 | -0.0024611 | -0.00036752 | 0.0028286 | -0.0024611 | -0.00036752 | 0.0028286 | -0.0027475 | 0.002902 | -0.001248 | -0.0027475 | 0.002902 | -0.001248 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 134.8285 | 1.1429 | 0.90633 | 0.95791 | 1.1429 | 0.90633 | 0.95791 | 2.9767 | -127.9538 | 111.0202 | 2.9767 | -127.9538 | 111.0202

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21794 | 1.5799 | 0.85189 | 0.21937 | 1.5799 | 0.85299 | 2.5166 | 18.2428 | 9.8368 | 2.5331 | 18.2437 | 9.8494 | 2.2825 | -2.3789e-11 | -8.3276e-12 | -1.7145 | 6.3073 | -0.077423 | 2.7164 | -2.5619e-11 | -1.7212e-11 | -2.4353 | -0.45792 | 2.5932 | -51.4828 | 3.3245 | -134.0457 | 128.2785 | -176.7369 | 46.0413 | 1.4099 | 0 | 0 | 1.1758 | 0.34663 | 0.2634 | -1.5217 | 0 | 0 | 3.133 | 179.1106 | 137.7515
Line_1 | 0.11058 | 0.79046 | 0.42665 | 0.10969 | 0.78997 | 0.42649 | 1.2768 | 9.1274 | 4.9265 | 1.2665 | 9.1218 | 4.9247 | -0.71913 | 4.7361 | -0.053487 | 0.85724 | -3.1536 | 0.038711 | -1.1501 | -0.34333 | 1.9483 | 1.2177 | 0.22896 | -1.2966 | 128.2604 | -176.7913 | 46.1595 | -51.7215 | 3.2631 | -133.9587 | 1.0624 | 0.52024 | 0.39561 | 1.1758 | 0.34663 | 0.2634 | 6.2445 | 179.0624 | 137.732 | 3.133 | 179.1106 | 137.7515
Line_2 | 0.11058 | 0.79046 | 0.42665 | 0.10969 | 0.78997 | 0.42649 | 1.2768 | 9.1274 | 4.9265 | 1.2665 | 9.1218 | 4.9247 | -0.71913 | 4.7361 | -0.053487 | 0.85724 | -3.1536 | 0.038711 | -1.1501 | -0.34333 | 1.9483 | 1.2177 | 0.22896 | -1.2966 | 128.2604 | -176.7913 | 46.1595 | -51.7215 | 3.2631 | -133.9587 | 1.0624 | 0.52024 | 0.39561 | 1.1758 | 0.34663 | 0.2634 | 6.2445 | 179.0624 | 137.732 | 3.133 | 179.1106 | 137.7515
Line_3 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | -0.0036573 | 0.001953 | 0.0017043 | -0.0036573 | 0.001953 | 0.0017043 | -0.0028752 | 0.0011731 | -0.00031093 | -0.0028752 | 0.0011731 | -0.00031093 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 1.0624 | 0.52024 | 0.39561 | 1.0624 | 0.52024 | 0.39561 | 6.2445 | 179.0624 | 137.732 | 6.2445 | 179.0624 | 137.732

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21794 | 1.5799 | 0.85189 | 0.21937 | 1.5799 | 0.85299 | 2.5166 | 18.2428 | 9.8368 | 2.5331 | 18.2437 | 9.8494 | 2.2825 | -2.3789e-11 | -8.3276e-12 | -1.7145 | 6.3073 | -0.077423 | 2.7164 | -2.5619e-11 | -1.7212e-11 | -2.4353 | -0.45792 | 2.5932 | -51.4828 | 3.3245 | -134.0457 | 128.2785 | -176.7369 | 46.0413 | 1.4099 | 0 | 0 | 1.1758 | 0.34663 | 0.2634 | -1.5217 | 0 | 0 | 3.133 | 179.1106 | 137.7515
Line_1 | 0.11058 | 0.79046 | 0.42665 | 0.10969 | 0.78997 | 0.42649 | 1.2768 | 9.1274 | 4.9265 | 1.2665 | 9.1218 | 4.9247 | -0.71913 | 4.7361 | -0.053487 | 0.85724 | -3.1536 | 0.038711 | -1.1501 | -0.34333 | 1.9483 | 1.2177 | 0.22896 | -1.2966 | 128.2604 | -176.7913 | 46.1595 | -51.7215 | 3.2631 | -133.9587 | 1.0624 | 0.52024 | 0.39561 | 1.1758 | 0.34663 | 0.2634 | 6.2445 | 179.0624 | 137.732 | 3.133 | 179.1106 | 137.7515
Line_2 | 0.11058 | 0.79046 | 0.42665 | 0.10969 | 0.78997 | 0.42649 | 1.2768 | 9.1274 | 4.9265 | 1.2665 | 9.1218 | 4.9247 | -0.71913 | 4.7361 | -0.053487 | 0.85724 | -3.1536 | 0.038711 | -1.1501 | -0.34333 | 1.9483 | 1.2177 | 0.22896 | -1.2966 | 128.2604 | -176.7913 | 46.1595 | -51.7215 | 3.2631 | -133.9587 | 1.0624 | 0.52024 | 0.39561 | 1.1758 | 0.34663 | 0.2634 | 6.2445 | 179.0624 | 137.732 | 3.133 | 179.1106 | 137.7515
Line_3 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.00037924 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | 0.0043791 | -0.0036573 | 0.001953 | 0.0017043 | -0.0036573 | 0.001953 | 0.0017043 | -0.0028752 | 0.0011731 | -0.00031093 | -0.0028752 | 0.0011731 | -0.00031093 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 148.0713 | 1.0624 | 0.52024 | 0.39561 | 1.0624 | 0.52024 | 0.39561 | 6.2445 | 179.0624 | 137.732 | 6.2445 | 179.0624 | 137.732

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15826 | 0.39591 | 0.33174 | 0.15891 | 0.39584 | 0.33261 | 1.8274 | 4.5716 | 3.8306 | 1.835 | 4.5708 | 3.8406 | 1.636 | -2.0236 | -2.7333 | -1.4016 | 2.632 | 3.1256 | 1.4791 | -2.9428 | -0.021442 | -1.4049 | 2.7294 | 0.46298 | -43.7783 | 8.9316 | -79.006 | 136.0105 | -171.1946 | 100.9762 | 1.2069 | 0.78122 | 0.71357 | 1.0815 | 0.82955 | 0.82271 | -1.6611 | -115.5828 | 101.4434 | 1.0772 | -125.1541 | 109.4018
Line_1 | 0.079909 | 0.19812 | 0.16673 | 0.079456 | 0.19792 | 0.1663 | 0.9227 | 2.2877 | 1.9252 | 0.91748 | 2.2854 | 1.9203 | -0.6445 | 1.4688 | 1.6642 | 0.7008 | -1.316 | -1.5628 | -0.68552 | 1.3142 | 0.34087 | 0.70243 | -1.3647 | -0.23149 | 135.9439 | -171.315 | 101.0392 | -43.9895 | 8.8054 | -79.0238 | 1.0197 | 0.86151 | 0.88238 | 1.0815 | 0.82955 | 0.82271 | 2.7104 | -129.4944 | 112.6148 | 1.0772 | -125.1541 | 109.4018
Line_2 | 0.079909 | 0.19812 | 0.16673 | 0.079456 | 0.19792 | 0.1663 | 0.9227 | 2.2877 | 1.9252 | 0.91748 | 2.2854 | 1.9203 | -0.6445 | 1.4688 | 1.6642 | 0.7008 | -1.316 | -1.5628 | -0.68552 | 1.3142 | 0.34087 | 0.70243 | -1.3647 | -0.23149 | 135.9439 | -171.315 | 101.0392 | -43.9895 | 8.8054 | -79.0238 | 1.0197 | 0.86151 | 0.88238 | 1.0815 | 0.82955 | 0.82271 | 2.7104 | -129.4944 | 112.6148 | 1.0772 | -125.1541 | 109.4018
Line_3 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | -0.0018602 | 0.00020115 | 0.0016591 | -0.0018602 | 0.00020115 | 0.0016591 | -0.0013656 | 0.0019392 | -0.0011112 | -0.0013656 | 0.0019392 | -0.0011112 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 1.0197 | 0.86151 | 0.88238 | 1.0197 | 0.86151 | 0.88238 | 2.7104 | -129.4944 | 112.6148 | 2.7104 | -129.4944 | 112.6148

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15826 | 0.39591 | 0.33174 | 0.15891 | 0.39584 | 0.33261 | 1.8274 | 4.5716 | 3.8306 | 1.835 | 4.5708 | 3.8406 | 1.636 | -2.0236 | -2.7333 | -1.4016 | 2.632 | 3.1256 | 1.4791 | -2.9428 | -0.021442 | -1.4049 | 2.7294 | 0.46298 | -43.7783 | 8.9316 | -79.006 | 136.0105 | -171.1946 | 100.9762 | 1.2069 | 0.78122 | 0.71357 | 1.0815 | 0.82955 | 0.82271 | -1.6611 | -115.5828 | 101.4434 | 1.0772 | -125.1541 | 109.4018
Line_1 | 0.079909 | 0.19812 | 0.16673 | 0.079456 | 0.19792 | 0.1663 | 0.9227 | 2.2877 | 1.9252 | 0.91748 | 2.2854 | 1.9203 | -0.6445 | 1.4688 | 1.6642 | 0.7008 | -1.316 | -1.5628 | -0.68552 | 1.3142 | 0.34087 | 0.70243 | -1.3647 | -0.23149 | 135.9439 | -171.315 | 101.0392 | -43.9895 | 8.8054 | -79.0238 | 1.0197 | 0.86151 | 0.88238 | 1.0815 | 0.82955 | 0.82271 | 2.7104 | -129.4944 | 112.6148 | 1.0772 | -125.1541 | 109.4018
Line_2 | 0.079909 | 0.19812 | 0.16673 | 0.079456 | 0.19792 | 0.1663 | 0.9227 | 2.2877 | 1.9252 | 0.91748 | 2.2854 | 1.9203 | -0.6445 | 1.4688 | 1.6642 | 0.7008 | -1.316 | -1.5628 | -0.68552 | 1.3142 | 0.34087 | 0.70243 | -1.3647 | -0.23149 | 135.9439 | -171.315 | 101.0392 | -43.9895 | 8.8054 | -79.0238 | 1.0197 | 0.86151 | 0.88238 | 1.0815 | 0.82955 | 0.82271 | 2.7104 | -129.4944 | 112.6148 | 1.0772 | -125.1541 | 109.4018
Line_3 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.00019598 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | 0.002263 | -0.0018602 | 0.00020115 | 0.0016591 | -0.0018602 | 0.00020115 | 0.0016591 | -0.0013656 | 0.0019392 | -0.0011112 | -0.0013656 | 0.0019392 | -0.0011112 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 146.4275 | 1.0197 | 0.86151 | 0.88238 | 1.0197 | 0.86151 | 0.88238 | 2.7104 | -129.4944 | 112.6148 | 2.7104 | -129.4944 | 112.6148