## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.029492 | 0.029492 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.029492 | 0.029492 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94414 | 0.94414 | -10.9097 | -10.9097

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94414 | 0.94414 | -10.9097 | -10.9097

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1936e-14 | 5.7954e-15 | -1.0332e-14 | 5.2438e-15 | -2.0281e-16 | 5.1658e-15 | 2.8316e-14 | -2.7709e-15 | 1.1436e-14 | -2.2461e-14 | 1.1489e-14 | -5.7181e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 0.60646 | 0.57516 | 1.1809 | 0.60646 | 0.57516 | -0.89507 | -178.9887 | 177.0948 | -0.89507 | -178.9887 | 177.0948

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1936e-14 | 5.7954e-15 | -1.0332e-14 | 5.2438e-15 | -2.0281e-16 | 5.1658e-15 | 2.8316e-14 | -2.7709e-15 | 1.1436e-14 | -2.2461e-14 | 1.1489e-14 | -5.7181e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 0.60646 | 0.57516 | 1.1809 | 0.60646 | 0.57516 | -0.89507 | -178.9887 | 177.0948 | -0.89507 | -178.9887 | 177.0948

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8404e-15 | 3.7597e-16 | 3.0811e-15 | -4.2824e-15 | 5.2425e-15 | -9.2383e-16 | 2.753e-15 | 3.3697e-15 | 1.8477e-15 | -5.5278e-15 | 1.1209e-15 | 1.5405e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 1.0123 | 0.75843 | 1.1809 | 1.0123 | 0.75843 | -0.89506 | -141.3664 | 120.9501 | -0.89506 | -141.3664 | 120.9501

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8404e-15 | 3.7597e-16 | 3.0811e-15 | -4.2824e-15 | 5.2425e-15 | -9.2383e-16 | 2.753e-15 | 3.3697e-15 | 1.8477e-15 | -5.5278e-15 | 1.1209e-15 | 1.5405e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1809 | 1.0123 | 0.75843 | 1.1809 | 1.0123 | 0.75843 | -0.89506 | -141.3664 | 120.9501 | -0.89506 | -141.3664 | 120.9501

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-14 | 3.908e-14 | 7.1054e-15 | 3.3159e-14 | -3.9079e-14 | -4.7363e-15 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.6266e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -1.3026e-14 | -2.3682e-15 | 7.1054e-15 | 1.3026e-14 | 4.7367e-15 | 2.3685e-14 | -1.5877e-09 | 1.5877e-09 | -2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5893e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.3026e-14 | -2.3682e-15 | 2.3685e-15 | 1.3026e-14 | 9.4737e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.598e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 9.0842e-25 | -4.737e-15 | 2.3685e-15 | 2.3685e-15 | 4.737e-15 | 4.737e-15 | -4.737e-15 | 1.8948e-14 | -4.737e-15 | 7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5893e-12 | -180 | 180 | 1.598e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-14 | 3.908e-14 | 7.1054e-15 | 3.3159e-14 | -3.9079e-14 | -4.7363e-15 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.6266e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -1.3026e-14 | -2.3682e-15 | 7.1054e-15 | 1.3026e-14 | 4.7367e-15 | 2.3685e-14 | -1.5877e-09 | 1.5877e-09 | -2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5893e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.3026e-14 | -2.3682e-15 | 2.3685e-15 | 1.3026e-14 | 9.4737e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.598e-12 | -180 | 180 | 1.6234e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 9.0842e-25 | -4.737e-15 | 2.3685e-15 | 2.3685e-15 | 4.737e-15 | 4.737e-15 | -4.737e-15 | 1.8948e-14 | -4.737e-15 | 7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5893e-12 | -180 | 180 | 1.598e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7171e-14 | -8.0024e-10 | -2.5674e-09 | 1.4211e-14 | 8.0024e-10 | 2.5674e-09 | -2.1663e-28 | 3.4015e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.2283e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6675e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | 1.1842e-14 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0337e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6675e-10 | 8.5579e-10 | 2.3685e-15 | -2.6675e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0772e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 1.5647e-15 | 6.0281e-16 | -5.9212e-16 | -1.5647e-15 | -2.2899e-15 | 2.3685e-15 | 1.2454e-15 | -9.3407e-16 | 2.3685e-15 | -1.2454e-15 | -1.9188e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0337e-13 | -141.4824 | 122.8363 | 7.0772e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7171e-14 | -8.0024e-10 | -2.5674e-09 | 1.4211e-14 | 8.0024e-10 | 2.5674e-09 | -2.1663e-28 | 3.4015e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.2283e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6675e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | 1.1842e-14 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0337e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6675e-10 | 8.5579e-10 | 2.3685e-15 | -2.6675e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0772e-13 | -141.4824 | 122.8363 | 7.2152e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 1.5647e-15 | 6.0281e-16 | -5.9212e-16 | -1.5647e-15 | -2.2899e-15 | 2.3685e-15 | 1.2454e-15 | -9.3407e-16 | 2.3685e-15 | -1.2454e-15 | -1.9188e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 7.0337e-13 | -141.4824 | 122.8363 | 7.0772e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26757 | 0.29893 | 0.30064 | 0.27284 | 0.29625 | 0.29757 | 3.0897 | 3.4517 | 3.4715 | 3.1505 | 3.4208 | 3.436 | 1.8456e-12 | -2.9395 | 2.4455 | 0.022083 | 3.0599 | -2.4543 | -7.3481e-13 | -5.82 | -6.0609 | 0.039919 | 5.7616 | 6.0335 | 92.8917 | -30.9319 | -143.9407 | -87.1631 | 149.943 | 35.2375 | 0 | 1.889 | 1.8827 | 0.01448 | 1.9071 | 1.8957 | 0 | -147.7283 | 148.033 | -26.1149 | -148.0289 | 147.3725
Line_1 | 0.1417 | 0.14556 | 0.14579 | 0.13642 | 0.14812 | 0.14878 | 1.6362 | 1.6808 | 1.6834 | 1.5753 | 1.7104 | 1.718 | 0.019255 | 1.6049 | -1.2775 | -0.011042 | -1.53 | 1.2271 | 0.031852 | 2.7929 | 2.9344 | -0.019959 | -2.8808 | -3.0168 | -87.2745 | 151.7462 | 33.5444 | 92.8369 | -30.057 | -144.7625 | 0.022748 | 1.9164 | 1.9012 | 0.01448 | 1.9071 | 1.8957 | -28.4281 | -148.137 | 147.0695 | -26.1149 | -148.0289 | 147.3725
Line_2 | 0.1417 | 0.14556 | 0.14579 | 0.13642 | 0.14812 | 0.14878 | 1.6362 | 1.6808 | 1.6834 | 1.5753 | 1.7104 | 1.718 | 0.019255 | 1.6049 | -1.2775 | -0.011042 | -1.53 | 1.2271 | 0.031852 | 2.7929 | 2.9344 | -0.019959 | -2.8808 | -3.0168 | -87.2745 | 151.7462 | 33.5444 | 92.8369 | -30.057 | -144.7625 | 0.022748 | 1.9164 | 1.9012 | 0.01448 | 1.9071 | 1.8957 | -28.4281 | -148.137 | 147.0695 | -26.1149 | -148.0289 | 147.3725
Line_3 | 0.0026427 | 0.0026427 | 0.0026427 | 0.0026427 | 0.0026427 | 0.0026427 | 0.030515 | 0.030515 | 0.030515 | 0.030515 | 0.030515 | 0.030515 | 0.00032836 | 0.031042 | -0.03137 | 0.00032836 | 0.031042 | -0.03137 | 0.00061159 | -0.049562 | -0.048801 | 0.00061159 | -0.049562 | -0.048801 | -90.197 | -90.197 | -90.197 | -90.197 | -90.197 | -90.197 | 0.022748 | 1.9164 | 1.9012 | 0.022748 | 1.9164 | 1.9012 | -28.4281 | -148.137 | 147.0695 | -28.4281 | -148.137 | 147.0695

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26757 | 0.29893 | 0.30064 | 0.27284 | 0.29625 | 0.29757 | 3.0897 | 3.4517 | 3.4715 | 3.1505 | 3.4208 | 3.436 | 1.8456e-12 | -2.9395 | 2.4455 | 0.022083 | 3.0599 | -2.4543 | -7.3481e-13 | -5.82 | -6.0609 | 0.039919 | 5.7616 | 6.0335 | 92.8917 | -30.9319 | -143.9407 | -87.1631 | 149.943 | 35.2375 | 0 | 1.889 | 1.8827 | 0.01448 | 1.9071 | 1.8957 | 0 | -147.7283 | 148.033 | -26.1149 | -148.0289 | 147.3725
Line_1 | 0.1417 | 0.14556 | 0.14579 | 0.13642 | 0.14812 | 0.14878 | 1.6362 | 1.6808 | 1.6834 | 1.5753 | 1.7104 | 1.718 | 0.019255 | 1.6049 | -1.2775 | -0.011042 | -1.53 | 1.2271 | 0.031852 | 2.7929 | 2.9344 | -0.019959 | -2.8808 | -3.0168 | -87.2745 | 151.7462 | 33.5444 | 92.8369 | -30.057 | -144.7625 | 0.022748 | 1.9164 | 1.9012 | 0.01448 | 1.9071 | 1.8957 | -28.4281 | -148.137 | 147.0695 | -26.1149 | -148.0289 | 147.3725
Line_2 | 0.1417 | 0.14556 | 0.14579 | 0.13642 | 0.14812 | 0.14878 | 1.6362 | 1.6808 | 1.6834 | 1.5753 | 1.7104 | 1.718 | 0.019255 | 1.6049 | -1.2775 | -0.011042 | -1.53 | 1.2271 | 0.031852 | 2.7929 | 2.9344 | -0.019959 | -2.8808 | -3.0168 | -87.2745 | 151.7462 | 33.5444 | 92.8369 | -30.057 | -144.7625 | 0.022748 | 1.9164 | 1.9012 | 0.01448 | 1.9071 | 1.8957 | -28.4281 | -148.137 | 147.0695 | -26.1149 | -148.0289 | 147.3725
Line_3 | 0.0026427 | 0.0026427 | 0.0026427 | 0.0026427 | 0.0026427 | 0.0026427 | 0.030515 | 0.030515 | 0.030515 | 0.030515 | 0.030515 | 0.030515 | 0.00032836 | 0.031042 | -0.03137 | 0.00032836 | 0.031042 | -0.03137 | 0.00061159 | -0.049562 | -0.048801 | 0.00061159 | -0.049562 | -0.048801 | -90.197 | -90.197 | -90.197 | -90.197 | -90.197 | -90.197 | 0.022748 | 1.9164 | 1.9012 | 0.022748 | 1.9164 | 1.9012 | -28.4281 | -148.137 | 147.0695 | -28.4281 | -148.137 | 147.0695

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27248 | 0.29923 | 0.29499 | 0.27652 | 0.29654 | 0.29335 | 3.1464 | 3.4553 | 3.4062 | 3.193 | 3.4241 | 3.3873 | -0.60233 | -2.0533 | 2.0775 | 0.64103 | 2.1523 | -2.0828 | -0.85176 | -5.8184 | -5.0056 | 0.90216 | 5.7886 | 5.016 | 92.1415 | -29.7741 | -144.3562 | -87.7178 | 150.8188 | 34.9129 | 0.33156 | 1.7857 | 1.5911 | 0.3466 | 1.8036 | 1.6034 | -33.125 | -139.2124 | 148.1842 | -33.1134 | -139.5766 | 147.4632
Line_1 | 0.14231 | 0.14563 | 0.14509 | 0.13826 | 0.14827 | 0.14667 | 1.6433 | 1.6816 | 1.6754 | 1.5965 | 1.7121 | 1.6937 | 0.34069 | 1.1303 | -1.0831 | -0.32051 | -1.0761 | 1.0414 | 0.47373 | 2.831 | 2.468 | -0.45108 | -2.8943 | -2.508 | -87.4538 | 152.0428 | 33.4269 | 92.2822 | -29.1812 | -145.0871 | 0.35509 | 1.8127 | 1.6087 | 0.3466 | 1.8036 | 1.6034 | -33.1765 | -139.7228 | 147.1222 | -33.1134 | -139.5766 | 147.4632
Line_2 | 0.14231 | 0.14563 | 0.14509 | 0.13826 | 0.14827 | 0.14667 | 1.6433 | 1.6816 | 1.6754 | 1.5965 | 1.7121 | 1.6937 | 0.34069 | 1.1303 | -1.0831 | -0.32051 | -1.0761 | 1.0414 | 0.47373 | 2.831 | 2.468 | -0.45108 | -2.8943 | -2.508 | -87.4538 | 152.0428 | 33.4269 | 92.2822 | -29.1812 | -145.0871 | 0.35509 | 1.8127 | 1.6087 | 0.3466 | 1.8036 | 1.6034 | -33.1765 | -139.7228 | 147.1222 | -33.1134 | -139.5766 | 147.4632
Line_3 | 0.002051 | 0.002051 | 0.002051 | 0.002051 | 0.002051 | 0.002051 | 0.023683 | 0.023683 | 0.023683 | 0.023683 | 0.023683 | 0.023683 | 0.0059062 | 0.020709 | -0.026615 | 0.0059062 | 0.020709 | -0.026615 | 0.0059866 | -0.037606 | -0.02726 | 0.0059866 | -0.037606 | -0.02726 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | 0.35509 | 1.8127 | 1.6087 | 0.35509 | 1.8127 | 1.6087 | -33.1765 | -139.7228 | 147.1222 | -33.1765 | -139.7228 | 147.1222

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27248 | 0.29923 | 0.29499 | 0.27652 | 0.29654 | 0.29335 | 3.1464 | 3.4553 | 3.4062 | 3.193 | 3.4241 | 3.3873 | -0.60233 | -2.0533 | 2.0775 | 0.64103 | 2.1523 | -2.0828 | -0.85176 | -5.8184 | -5.0056 | 0.90216 | 5.7886 | 5.016 | 92.1415 | -29.7741 | -144.3562 | -87.7178 | 150.8188 | 34.9129 | 0.33156 | 1.7857 | 1.5911 | 0.3466 | 1.8036 | 1.6034 | -33.125 | -139.2124 | 148.1842 | -33.1134 | -139.5766 | 147.4632
Line_1 | 0.14231 | 0.14563 | 0.14509 | 0.13826 | 0.14827 | 0.14667 | 1.6433 | 1.6816 | 1.6754 | 1.5965 | 1.7121 | 1.6937 | 0.34069 | 1.1303 | -1.0831 | -0.32051 | -1.0761 | 1.0414 | 0.47373 | 2.831 | 2.468 | -0.45108 | -2.8943 | -2.508 | -87.4538 | 152.0428 | 33.4269 | 92.2822 | -29.1812 | -145.0871 | 0.35509 | 1.8127 | 1.6087 | 0.3466 | 1.8036 | 1.6034 | -33.1765 | -139.7228 | 147.1222 | -33.1134 | -139.5766 | 147.4632
Line_2 | 0.14231 | 0.14563 | 0.14509 | 0.13826 | 0.14827 | 0.14667 | 1.6433 | 1.6816 | 1.6754 | 1.5965 | 1.7121 | 1.6937 | 0.34069 | 1.1303 | -1.0831 | -0.32051 | -1.0761 | 1.0414 | 0.47373 | 2.831 | 2.468 | -0.45108 | -2.8943 | -2.508 | -87.4538 | 152.0428 | 33.4269 | 92.2822 | -29.1812 | -145.0871 | 0.35509 | 1.8127 | 1.6087 | 0.3466 | 1.8036 | 1.6034 | -33.1765 | -139.7228 | 147.1222 | -33.1134 | -139.5766 | 147.4632
Line_3 | 0.002051 | 0.002051 | 0.002051 | 0.002051 | 0.002051 | 0.002051 | 0.023683 | 0.023683 | 0.023683 | 0.023683 | 0.023683 | 0.023683 | 0.0059062 | 0.020709 | -0.026615 | 0.0059062 | 0.020709 | -0.026615 | 0.0059866 | -0.037606 | -0.02726 | 0.0059866 | -0.037606 | -0.02726 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | -78.5639 | 0.35509 | 1.8127 | 1.6087 | 0.35509 | 1.8127 | 1.6087 | -33.1765 | -139.7228 | 147.1222 | -33.1765 | -139.7228 | 147.1222

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018181 | 0.018181 | 0.018181 | 0.013641 | 0.013641 | 0.013641 | 0.20993 | 0.20993 | 0.20993 | 0.15751 | 0.15751 | 0.15751 | 1.6255e-13 | 0.18494 | -0.17867 | 0.0015399 | -0.13761 | 0.13519 | 1.3266e-13 | -0.28725 | -0.28978 | 0.00031954 | 0.21558 | 0.21798 | -90.3983 | -90.3983 | -90.3983 | 89.4964 | 89.4964 | 89.4964 | 0 | 1.6273 | 1.6216 | 0.0099847 | 1.6238 | 1.6285 | 0 | -147.6238 | 147.9449 | 101.2194 | -147.9524 | 147.6891
Line_1 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 89.4383 | 89.4383 | 89.4383 | -90.5036 | -90.5036 | -90.5036 | 0.012838 | 1.6228 | 1.6304 | 0.0099847 | 1.6238 | 1.6285 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_2 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 89.4383 | 89.4383 | 89.4383 | -90.5036 | -90.5036 | -90.5036 | 0.012838 | 1.6228 | 1.6304 | 0.0099847 | 1.6238 | 1.6285 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_3 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | -0.00033002 | 0.022903 | -0.022573 | -0.00033002 | 0.022903 | -0.022573 | -6.873e-05 | -0.03593 | -0.036376 | -6.873e-05 | -0.03593 | -0.036376 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | 0.012838 | 1.6228 | 1.6304 | 0.012838 | 1.6228 | 1.6304 | 101.2028 | -148.0465 | 147.6163 | 101.2028 | -148.0465 | 147.6163

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018181 | 0.018181 | 0.018181 | 0.013641 | 0.013641 | 0.013641 | 0.20993 | 0.20993 | 0.20993 | 0.15751 | 0.15751 | 0.15751 | 1.6255e-13 | 0.18494 | -0.17867 | 0.0015399 | -0.13761 | 0.13519 | 1.3266e-13 | -0.28725 | -0.28978 | 0.00031954 | 0.21558 | 0.21798 | -90.3983 | -90.3983 | -90.3983 | 89.4964 | 89.4964 | 89.4964 | 0 | 1.6273 | 1.6216 | 0.0099847 | 1.6238 | 1.6285 | 0 | -147.6238 | 147.9449 | 101.2194 | -147.9524 | 147.6891
Line_1 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 89.4383 | 89.4383 | 89.4383 | -90.5036 | -90.5036 | -90.5036 | 0.012838 | 1.6228 | 1.6304 | 0.0099847 | 1.6238 | 1.6285 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_2 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 89.4383 | 89.4383 | 89.4383 | -90.5036 | -90.5036 | -90.5036 | 0.012838 | 1.6228 | 1.6304 | 0.0099847 | 1.6238 | 1.6285 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_3 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | -0.00033002 | 0.022903 | -0.022573 | -0.00033002 | 0.022903 | -0.022573 | -6.873e-05 | -0.03593 | -0.036376 | -6.873e-05 | -0.03593 | -0.036376 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | -90.5617 | 0.012838 | 1.6228 | 1.6304 | 0.012838 | 1.6228 | 1.6304 | 101.2028 | -148.0465 | 147.6163 | 101.2028 | -148.0465 | 147.6163

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014122 | 0.014122 | 0.014122 | 0.010596 | 0.010596 | 0.010596 | 0.16307 | 0.16307 | 0.16307 | 0.12235 | 0.12235 | 0.12235 | 0.032526 | 0.12417 | -0.15291 | -0.023428 | -0.092532 | 0.11543 | 0.033306 | -0.21814 | -0.16333 | -0.024841 | 0.16369 | 0.12294 | -78.8102 | -78.8102 | -78.8102 | 101.0844 | 101.0844 | 101.0844 | 0.28548 | 1.5392 | 1.372 | 0.27909 | 1.5368 | 1.3784 | -33.1311 | -139.1612 | 148.0765 | -32.2393 | -139.4361 | 147.8904
Line_1 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 101.0263 | 101.0263 | 101.0263 | -78.9156 | -78.9156 | -78.9156 | 0.27728 | 1.5362 | 1.3802 | 0.27909 | 1.5368 | 1.3784 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_2 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 101.0263 | 101.0263 | 101.0263 | -78.9156 | -78.9156 | -78.9156 | 0.27728 | 1.5362 | 1.3802 | 0.27909 | 1.5368 | 1.3784 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_3 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.0038571 | 0.015409 | -0.019266 | 0.0038571 | 0.015409 | -0.019266 | 0.0041358 | -0.02728 | -0.020524 | 0.0041358 | -0.02728 | -0.020524 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | 0.27728 | 1.5362 | 1.3802 | 0.27728 | 1.5362 | 1.3802 | -31.9764 | -139.5148 | 147.8374 | -31.9764 | -139.5148 | 147.8374

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014122 | 0.014122 | 0.014122 | 0.010596 | 0.010596 | 0.010596 | 0.16307 | 0.16307 | 0.16307 | 0.12235 | 0.12235 | 0.12235 | 0.032526 | 0.12417 | -0.15291 | -0.023428 | -0.092532 | 0.11543 | 0.033306 | -0.21814 | -0.16333 | -0.024841 | 0.16369 | 0.12294 | -78.8102 | -78.8102 | -78.8102 | 101.0844 | 101.0844 | 101.0844 | 0.28548 | 1.5392 | 1.372 | 0.27909 | 1.5368 | 1.3784 | -33.1311 | -139.1612 | 148.0765 | -32.2393 | -139.4361 | 147.8904
Line_1 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 101.0263 | 101.0263 | 101.0263 | -78.9156 | -78.9156 | -78.9156 | 0.27728 | 1.5362 | 1.3802 | 0.27909 | 1.5368 | 1.3784 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_2 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 101.0263 | 101.0263 | 101.0263 | -78.9156 | -78.9156 | -78.9156 | 0.27728 | 1.5362 | 1.3802 | 0.27909 | 1.5368 | 1.3784 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_3 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.0038571 | 0.015409 | -0.019266 | 0.0038571 | 0.015409 | -0.019266 | 0.0041358 | -0.02728 | -0.020524 | 0.0041358 | -0.02728 | -0.020524 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | -78.9736 | 0.27728 | 1.5362 | 1.3802 | 0.27728 | 1.5362 | 1.3802 | -31.9764 | -139.5148 | 147.8374 | -31.9764 | -139.5148 | 147.8374

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2999 | 0.28374 | 0.28272 | 0.2971 | 0.28494 | 0.28417 | 3.463 | 3.2763 | 3.2646 | 3.4306 | 3.2903 | 3.2813 | -0.25726 | -4.2151e-13 | -5.8757e-13 | 0.31294 | 0.035858 | 0.039534 | -5.8799 | 1.2395e-12 | 1.041e-12 | 5.8792 | 0.054962 | 0.038492 | 92.5617 | -25.3058 | -149.2404 | -87.4131 | 154.1835 | 31.2454 | 1.6996 | 0 | 0 | 1.7162 | 0.019945 | 0.016816 | 0.056489 | 0 | 0 | -0.45999 | -148.9374 | 75.4799
Line_1 | 0.14574 | 0.14371 | 0.14358 | 0.14855 | 0.14247 | 0.14209 | 1.6829 | 1.6594 | 1.6579 | 1.7153 | 1.6451 | 1.6407 | 0.1688 | 0.027287 | 0.030669 | -0.15647 | -0.017929 | -0.019767 | 2.8968 | 0.041249 | 0.02985 | -2.9396 | -0.027481 | -0.019246 | -87.3573 | 153.1718 | 32.2015 | 92.5869 | -25.8165 | -148.7546 | 1.7243 | 0.029805 | 0.025815 | 1.7162 | 0.019945 | 0.016816 | -0.69215 | -150.3132 | 76.4259 | -0.45999 | -148.9374 | 75.4799
Line_2 | 0.14574 | 0.14371 | 0.14358 | 0.14855 | 0.14247 | 0.14209 | 1.6829 | 1.6594 | 1.6579 | 1.7153 | 1.6451 | 1.6407 | 0.1688 | 0.027287 | 0.030669 | -0.15647 | -0.017929 | -0.019767 | 2.8968 | 0.041249 | 0.02985 | -2.9396 | -0.027481 | -0.019246 | -87.3573 | 153.1718 | 32.2015 | 92.5869 | -25.8165 | -148.7546 | 1.7243 | 0.029805 | 0.025815 | 1.7162 | 0.019945 | 0.016816 | -0.69215 | -150.3132 | 76.4259 | -0.45999 | -148.9374 | 75.4799
Line_3 | 0.001406 | 0.001406 | 0.001406 | 0.001406 | 0.001406 | 0.001406 | 0.016236 | 0.016236 | 0.016236 | 0.016236 | 0.016236 | 0.016236 | -0.00016577 | -0.00024224 | 0.00040801 | -0.00016577 | -0.00024224 | 0.00040801 | -0.027994 | 0.00041891 | -9.5857e-05 | -0.027994 | 0.00041891 | -9.5857e-05 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 1.7243 | 0.029805 | 0.025815 | 1.7243 | 0.029805 | 0.025815 | -0.69215 | -150.3132 | 76.4259 | -0.69215 | -150.3132 | 76.4259

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2999 | 0.28374 | 0.28272 | 0.2971 | 0.28494 | 0.28417 | 3.463 | 3.2763 | 3.2646 | 3.4306 | 3.2903 | 3.2813 | -0.25726 | -4.2151e-13 | -5.8757e-13 | 0.31294 | 0.035858 | 0.039534 | -5.8799 | 1.2395e-12 | 1.041e-12 | 5.8792 | 0.054962 | 0.038492 | 92.5617 | -25.3058 | -149.2404 | -87.4131 | 154.1835 | 31.2454 | 1.6996 | 0 | 0 | 1.7162 | 0.019945 | 0.016816 | 0.056489 | 0 | 0 | -0.45999 | -148.9374 | 75.4799
Line_1 | 0.14574 | 0.14371 | 0.14358 | 0.14855 | 0.14247 | 0.14209 | 1.6829 | 1.6594 | 1.6579 | 1.7153 | 1.6451 | 1.6407 | 0.1688 | 0.027287 | 0.030669 | -0.15647 | -0.017929 | -0.019767 | 2.8968 | 0.041249 | 0.02985 | -2.9396 | -0.027481 | -0.019246 | -87.3573 | 153.1718 | 32.2015 | 92.5869 | -25.8165 | -148.7546 | 1.7243 | 0.029805 | 0.025815 | 1.7162 | 0.019945 | 0.016816 | -0.69215 | -150.3132 | 76.4259 | -0.45999 | -148.9374 | 75.4799
Line_2 | 0.14574 | 0.14371 | 0.14358 | 0.14855 | 0.14247 | 0.14209 | 1.6829 | 1.6594 | 1.6579 | 1.7153 | 1.6451 | 1.6407 | 0.1688 | 0.027287 | 0.030669 | -0.15647 | -0.017929 | -0.019767 | 2.8968 | 0.041249 | 0.02985 | -2.9396 | -0.027481 | -0.019246 | -87.3573 | 153.1718 | 32.2015 | 92.5869 | -25.8165 | -148.7546 | 1.7243 | 0.029805 | 0.025815 | 1.7162 | 0.019945 | 0.016816 | -0.69215 | -150.3132 | 76.4259 | -0.45999 | -148.9374 | 75.4799
Line_3 | 0.001406 | 0.001406 | 0.001406 | 0.001406 | 0.001406 | 0.001406 | 0.016236 | 0.016236 | 0.016236 | 0.016236 | 0.016236 | 0.016236 | -0.00016577 | -0.00024224 | 0.00040801 | -0.00016577 | -0.00024224 | 0.00040801 | -0.027994 | 0.00041891 | -9.5857e-05 | -0.027994 | 0.00041891 | -9.5857e-05 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 89.6471 | 1.7243 | 0.029805 | 0.025815 | 1.7243 | 0.029805 | 0.025815 | -0.69215 | -150.3132 | 76.4259 | -0.69215 | -150.3132 | 76.4259

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29845 | 0.28331 | 0.28452 | 0.29601 | 0.28464 | 0.28552 | 3.4462 | 3.2714 | 3.2853 | 3.418 | 3.2867 | 3.2969 | -0.07276 | 0.38443 | -1.5948 | 0.12256 | -0.36809 | 1.6595 | -5.6077 | -2.4361 | -2.2766 | 5.6166 | 2.4978 | 2.3119 | 92.8031 | -25.6851 | -149.1016 | -87.2302 | 153.8996 | 31.3467 | 1.6274 | 0.75386 | 0.84607 | 1.6436 | 0.76817 | 0.86318 | 2.0597 | -106.7174 | 85.886 | 1.5197 | -107.7172 | 85.6761
Line_1 | 0.14556 | 0.14366 | 0.1438 | 0.148 | 0.14232 | 0.14276 | 1.6808 | 1.6588 | 1.6605 | 1.709 | 1.6433 | 1.6485 | 0.069349 | -0.19412 | 0.86432 | -0.06128 | 0.18404 | -0.82975 | 2.775 | 1.2708 | 1.1623 | -2.8083 | -1.2489 | -1.156 | -87.2952 | 153.0776 | 32.2335 | 92.7698 | -26.1004 | -148.6533 | 1.6515 | 0.77498 | 0.87228 | 1.6436 | 0.76817 | 0.86318 | 1.2733 | -108.2372 | 85.5967 | 1.5197 | -107.7172 | 85.6761
Line_2 | 0.14556 | 0.14366 | 0.1438 | 0.148 | 0.14232 | 0.14276 | 1.6808 | 1.6588 | 1.6605 | 1.709 | 1.6433 | 1.6485 | 0.069349 | -0.19412 | 0.86432 | -0.06128 | 0.18404 | -0.82975 | 2.775 | 1.2708 | 1.1623 | -2.8083 | -1.2489 | -1.156 | -87.2952 | 153.0776 | 32.2335 | 92.7698 | -26.1004 | -148.6533 | 1.6515 | 0.77498 | 0.87228 | 1.6436 | 0.76817 | 0.86318 | 1.2733 | -108.2372 | 85.5967 | 1.5197 | -107.7172 | 85.6761
Line_3 | 0.0012254 | 0.0012254 | 0.0012254 | 0.0012254 | 0.0012254 | 0.0012254 | 0.01415 | 0.01415 | 0.01415 | 0.01415 | 0.01415 | 0.01415 | -0.0021635 | -0.0099525 | 0.012116 | -0.0021635 | -0.0099525 | 0.012116 | -0.023268 | 0.0046035 | -0.0023527 | -0.023268 | 0.0046035 | -0.0023527 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 1.6515 | 0.77498 | 0.87228 | 1.6515 | 0.77498 | 0.87228 | 1.2733 | -108.2372 | 85.5967 | 1.2733 | -108.2372 | 85.5967

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29845 | 0.28331 | 0.28452 | 0.29601 | 0.28464 | 0.28552 | 3.4462 | 3.2714 | 3.2853 | 3.418 | 3.2867 | 3.2969 | -0.07276 | 0.38443 | -1.5948 | 0.12256 | -0.36809 | 1.6595 | -5.6077 | -2.4361 | -2.2766 | 5.6166 | 2.4978 | 2.3119 | 92.8031 | -25.6851 | -149.1016 | -87.2302 | 153.8996 | 31.3467 | 1.6274 | 0.75386 | 0.84607 | 1.6436 | 0.76817 | 0.86318 | 2.0597 | -106.7174 | 85.886 | 1.5197 | -107.7172 | 85.6761
Line_1 | 0.14556 | 0.14366 | 0.1438 | 0.148 | 0.14232 | 0.14276 | 1.6808 | 1.6588 | 1.6605 | 1.709 | 1.6433 | 1.6485 | 0.069349 | -0.19412 | 0.86432 | -0.06128 | 0.18404 | -0.82975 | 2.775 | 1.2708 | 1.1623 | -2.8083 | -1.2489 | -1.156 | -87.2952 | 153.0776 | 32.2335 | 92.7698 | -26.1004 | -148.6533 | 1.6515 | 0.77498 | 0.87228 | 1.6436 | 0.76817 | 0.86318 | 1.2733 | -108.2372 | 85.5967 | 1.5197 | -107.7172 | 85.6761
Line_2 | 0.14556 | 0.14366 | 0.1438 | 0.148 | 0.14232 | 0.14276 | 1.6808 | 1.6588 | 1.6605 | 1.709 | 1.6433 | 1.6485 | 0.069349 | -0.19412 | 0.86432 | -0.06128 | 0.18404 | -0.82975 | 2.775 | 1.2708 | 1.1623 | -2.8083 | -1.2489 | -1.156 | -87.2952 | 153.0776 | 32.2335 | 92.7698 | -26.1004 | -148.6533 | 1.6515 | 0.77498 | 0.87228 | 1.6436 | 0.76817 | 0.86318 | 1.2733 | -108.2372 | 85.5967 | 1.5197 | -107.7172 | 85.6761
Line_3 | 0.0012254 | 0.0012254 | 0.0012254 | 0.0012254 | 0.0012254 | 0.0012254 | 0.01415 | 0.01415 | 0.01415 | 0.01415 | 0.01415 | 0.01415 | -0.0021635 | -0.0099525 | 0.012116 | -0.0021635 | -0.0099525 | 0.012116 | -0.023268 | 0.0046035 | -0.0023527 | -0.023268 | 0.0046035 | -0.0023527 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 96.5856 | 1.6515 | 0.77498 | 0.87228 | 1.6515 | 0.77498 | 0.87228 | 1.2733 | -108.2372 | 85.5967 | 1.2733 | -108.2372 | 85.5967

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096996 | 0.0096996 | 0.0096996 | 0.0072775 | 0.0072775 | 0.0072775 | 0.112 | 0.112 | 0.112 | 0.084033 | 0.084033 | 0.084033 | 0.0017846 | -1.0482e-13 | 1.1403e-13 | -0.0011272 | 0.0004383 | 0.0004383 | -0.16424 | 6.4591e-14 | 5.5586e-14 | 0.12331 | 9.0951e-05 | 9.0951e-05 | 89.4373 | 89.4373 | 89.4373 | -90.668 | -90.668 | -90.668 | 1.4665 | 0 | 0 | 1.4675 | 0.0053269 | 0.0053269 | 0.059826 | 0 | 0 | -0.14433 | -78.9451 | -78.9451
Line_1 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | -90.7261 | -90.7261 | -90.7261 | 89.332 | 89.332 | 89.332 | 1.4678 | 0.0068493 | 0.0068493 | 1.4675 | 0.0053269 | 0.0053269 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_2 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | -90.7261 | -90.7261 | -90.7261 | 89.332 | 89.332 | 89.332 | 1.4678 | 0.0068493 | 0.0068493 | 1.4675 | 0.0053269 | 0.0053269 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_3 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 1.4678 | 0.0068493 | 0.0068493 | 1.4678 | 0.0068493 | 0.0068493 | -0.20264 | -78.9617 | -78.9617 | -0.20264 | -78.9617 | -78.9617

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096996 | 0.0096996 | 0.0096996 | 0.0072775 | 0.0072775 | 0.0072775 | 0.112 | 0.112 | 0.112 | 0.084033 | 0.084033 | 0.084033 | 0.0017846 | -1.0482e-13 | 1.1403e-13 | -0.0011272 | 0.0004383 | 0.0004383 | -0.16424 | 6.4591e-14 | 5.5586e-14 | 0.12331 | 9.0951e-05 | 9.0951e-05 | 89.4373 | 89.4373 | 89.4373 | -90.668 | -90.668 | -90.668 | 1.4665 | 0 | 0 | 1.4675 | 0.0053269 | 0.0053269 | 0.059826 | 0 | 0 | -0.14433 | -78.9451 | -78.9451
Line_1 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | -90.7261 | -90.7261 | -90.7261 | 89.332 | 89.332 | 89.332 | 1.4678 | 0.0068493 | 0.0068493 | 1.4675 | 0.0053269 | 0.0053269 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_2 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | -90.7261 | -90.7261 | -90.7261 | 89.332 | 89.332 | 89.332 | 1.4678 | 0.0068493 | 0.0068493 | 1.4675 | 0.0053269 | 0.0053269 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_3 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 89.2739 | 1.4678 | 0.0068493 | 0.0068493 | 1.4678 | 0.0068493 | 0.0068493 | -0.20264 | -78.9617 | -78.9617 | -0.20264 | -78.9617 | -78.9617

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0084543 | 0.0084543 | 0.0084543 | 0.0063431 | 0.0063431 | 0.0063431 | 0.097622 | 0.097622 | 0.097622 | 0.073244 | 0.073244 | 0.073244 | -0.010301 | -0.057704 | 0.06936 | 0.0078729 | 0.043662 | -0.051725 | -0.13671 | 0.025112 | -0.013175 | 0.10265 | -0.018692 | 0.0098587 | 96.3641 | 96.3641 | 96.3641 | -83.7413 | -83.7413 | -83.7413 | 1.4044 | 0.64464 | 0.72321 | 1.4057 | 0.64845 | 0.71892 | 2.0551 | -107.1538 | 85.6085 | 1.8731 | -106.9177 | 85.4677
Line_1 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | -83.7994 | -83.7993 | -83.7994 | 96.2587 | 96.2587 | 96.2587 | 1.406 | 0.64954 | 0.71769 | 1.4057 | 0.64845 | 0.71892 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_2 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | -83.7994 | -83.7993 | -83.7994 | 96.2587 | 96.2587 | 96.2587 | 1.406 | 0.64954 | 0.71769 | 1.4057 | 0.64845 | 0.71892 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_3 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | -0.0013109 | -0.0072975 | 0.0086084 | -0.0013109 | -0.0072975 | 0.0086084 | -0.017117 | 0.0031053 | -0.001638 | -0.017117 | 0.0031053 | -0.001638 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 1.406 | 0.64954 | 0.71769 | 1.406 | 0.64954 | 0.71769 | 1.8211 | -106.8508 | 85.4272 | 1.8211 | -106.8508 | 85.4272

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0084543 | 0.0084543 | 0.0084543 | 0.0063431 | 0.0063431 | 0.0063431 | 0.097622 | 0.097622 | 0.097622 | 0.073244 | 0.073244 | 0.073244 | -0.010301 | -0.057704 | 0.06936 | 0.0078729 | 0.043662 | -0.051725 | -0.13671 | 0.025112 | -0.013175 | 0.10265 | -0.018692 | 0.0098587 | 96.3641 | 96.3641 | 96.3641 | -83.7413 | -83.7413 | -83.7413 | 1.4044 | 0.64464 | 0.72321 | 1.4057 | 0.64845 | 0.71892 | 2.0551 | -107.1538 | 85.6085 | 1.8731 | -106.9177 | 85.4677
Line_1 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | -83.7994 | -83.7993 | -83.7994 | 96.2587 | 96.2587 | 96.2587 | 1.406 | 0.64954 | 0.71769 | 1.4057 | 0.64845 | 0.71892 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_2 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | -83.7994 | -83.7993 | -83.7994 | 96.2587 | 96.2587 | 96.2587 | 1.406 | 0.64954 | 0.71769 | 1.4057 | 0.64845 | 0.71892 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_3 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | -0.0013109 | -0.0072975 | 0.0086084 | -0.0013109 | -0.0072975 | 0.0086084 | -0.017117 | 0.0031053 | -0.001638 | -0.017117 | 0.0031053 | -0.001638 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 96.2007 | 1.406 | 0.64954 | 0.71769 | 1.406 | 0.64954 | 0.71769 | 1.8211 | -106.8508 | 85.4272 | 1.8211 | -106.8508 | 85.4272