## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 1.0421e-14 | 5.2106e-15 | -1.9643e-28 | 7.8164e-15 | -1.5632e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1369e-13 | 180 | -180 | 7.1996e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.0842e-14 | 1.5632e-14 | -2.6053e-14 | 2.8658e-14 | -2.6053e-14 | 1.3099e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.202e-13 | -180 | 180 | 7.1996e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5597e-29 | -1.0421e-14 | 5.2108e-15 | -1.5632e-14 | 2.8658e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2129e-13 | -180 | 180 | 7.1996e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 1.0421e-14 | 5.2106e-15 | -1.9643e-28 | 7.8164e-15 | -1.5632e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1369e-13 | 180 | -180 | 7.1996e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.0842e-14 | 1.5632e-14 | -2.6053e-14 | 2.8658e-14 | -2.6053e-14 | 1.3099e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.202e-13 | -180 | 180 | 7.1996e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5597e-29 | -1.0421e-14 | 5.2108e-15 | -1.5632e-14 | 2.8658e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2129e-13 | -180 | 180 | 7.1996e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | -9.5547e-10 | -3.075e-09 | 3.908e-15 | 9.5547e-10 | 3.075e-09 | -1.5632e-14 | 4.0277e-09 | -3.5665e-10 | 1.3027e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6394e-13 | -140.8543 | 122.4159 | 2.6621e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.185e-10 | 1.025e-09 | -6.5133e-15 | -3.1849e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6546e-13 | -140.8543 | 122.4159 | 2.6621e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1848e-10 | 1.025e-09 | 1.3027e-15 | -3.1847e-10 | -1.025e-09 | -3.0409e-29 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.675e-13 | -140.8543 | 122.4159 | 2.6621e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | -9.5547e-10 | -3.075e-09 | 3.908e-15 | 9.5547e-10 | 3.075e-09 | -1.5632e-14 | 4.0277e-09 | -3.5665e-10 | 1.3027e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6394e-13 | -140.8543 | 122.4159 | 2.6621e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.185e-10 | 1.025e-09 | -6.5133e-15 | -3.1849e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6546e-13 | -140.8543 | 122.4159 | 2.6621e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1848e-10 | 1.025e-09 | 1.3027e-15 | -3.1847e-10 | -1.025e-09 | -3.0409e-29 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.675e-13 | -140.8543 | 122.4159 | 2.6621e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -3.5527e-15 | -8.1194e-21 | 2.1316e-14 | 4.7376e-15 | 6.8766e-19 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.541e-13 | -180 | 180 | 7.9684e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.1845e-15 | 4.7373e-15 | -9.4739e-15 | -2.2903e-19 | -4.7372e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.144e-13 | -180 | 180 | 7.9684e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1845e-15 | 3.0472e-19 | 1.3176e-28 | -2.2903e-19 | -2.2922e-19 | -3.2147e-29 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7766e-13 | -180 | 180 | 7.9684e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -3.5527e-15 | -8.1194e-21 | 2.1316e-14 | 4.7376e-15 | 6.8766e-19 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.541e-13 | -180 | 180 | 7.9684e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.1845e-15 | 4.7373e-15 | -9.4739e-15 | -2.2903e-19 | -4.7372e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.144e-13 | -180 | 180 | 7.9684e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1845e-15 | 3.0472e-19 | 1.3176e-28 | -2.2903e-19 | -2.2922e-19 | -3.2147e-29 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7766e-13 | -180 | 180 | 7.9684e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | -8.0023e-10 | -2.5674e-09 | 8.5857e-15 | 8.0024e-10 | 2.5674e-09 | -5.3068e-29 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0206e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6675e-10 | 8.558e-10 | -5.9212e-16 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3713e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | 2.6676e-10 | 8.558e-10 | 2.9606e-15 | -2.6675e-10 | -8.558e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2084e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | -8.0023e-10 | -2.5674e-09 | 8.5857e-15 | 8.0024e-10 | 2.5674e-09 | -5.3068e-29 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0206e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6675e-10 | 8.558e-10 | -5.9212e-16 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3713e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | 2.6676e-10 | 8.558e-10 | 2.9606e-15 | -2.6675e-10 | -8.558e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2084e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0015048 | 0.0015048 | 0.0015048 | 0.0010035 | 0.0010035 | 0.0010035 | 0.017376 | 0.017376 | 0.017376 | 0.011587 | 0.011587 | 0.011587 | -3.5299e-13 | 0.01655 | -0.016531 | 4.6509e-06 | -0.011034 | 0.011028 | 1.251e-13 | -0.003279 | -0.0019958 | 1.8507e-06 | 0.0021798 | 0.0013415 | -87.7785 | -87.7784 | -87.7784 | 92.1761 | 92.1762 | 92.1762 |  | 0 | 0.97097 | 0.95828 | 0.00043198 | 0.97061 | 0.9587 | 0 | -98.9856 | 99.1056 | 113.8751 | -98.9994 | 99.1122
Line_1 | 0 | 0 | 0 | 0.00050175 | 0.00050175 | 0.00050175 | 0 | 0 | 0 | 0.0057937 | 0.0057937 | 0.0057937 | -8.471e-13 | 2.0077e-10 | 2.4235e-10 | -2.3254e-06 | 0.0055168 | -0.0055138 | 1.912e-12 | 1.4027e-09 | -1.3787e-09 | -9.2535e-07 | -0.0010899 | -0.00067076 | 0 | 0 | 0 | -87.8239 | -87.8238 | -87.8238 |  | 0.00051839 | 0.97053 | 0.95878 | 0.00043198 | 0.97061 | 0.9587 | 113.8705 | -99.0022 | 99.1135 | 113.8751 | -98.9994 | 99.1122
Line_2 | 0 | 0 | 0 | 0.00050175 | 0.00050175 | 0.00050175 | 0 | 0 | 0 | 0.0057937 | 0.0057937 | 0.0057937 | -8.471e-13 | 2.0078e-10 | 2.4235e-10 | -2.3254e-06 | 0.0055168 | -0.0055138 | 1.912e-12 | 1.4027e-09 | -1.3787e-09 | -9.2535e-07 | -0.0010899 | -0.00067076 | 0 | 0 | 0 | -87.8239 | -87.8238 | -87.8238 |  | 0.00051839 | 0.97053 | 0.95878 | 0.00043198 | 0.97061 | 0.9587 | 113.8705 | -99.0022 | 99.1135 | 113.8751 | -98.9994 | 99.1122

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0015048 | 0.0015048 | 0.0015048 | 0.0010035 | 0.0010035 | 0.0010035 | 0.017376 | 0.017376 | 0.017376 | 0.011587 | 0.011587 | 0.011587 | -3.5299e-13 | 0.01655 | -0.016531 | 4.6509e-06 | -0.011034 | 0.011028 | 1.251e-13 | -0.003279 | -0.0019958 | 1.8507e-06 | 0.0021798 | 0.0013415 | -87.7785 | -87.7784 | -87.7784 | 92.1761 | 92.1762 | 92.1762 |  | 0 | 0.97097 | 0.95828 | 0.00043198 | 0.97061 | 0.9587 | 0 | -98.9856 | 99.1056 | 113.8751 | -98.9994 | 99.1122
Line_1 | 0 | 0 | 0 | 0.00050175 | 0.00050175 | 0.00050175 | 0 | 0 | 0 | 0.0057937 | 0.0057937 | 0.0057937 | -8.471e-13 | 2.0077e-10 | 2.4235e-10 | -2.3254e-06 | 0.0055168 | -0.0055138 | 1.912e-12 | 1.4027e-09 | -1.3787e-09 | -9.2535e-07 | -0.0010899 | -0.00067076 | 0 | 0 | 0 | -87.8239 | -87.8238 | -87.8238 |  | 0.00051839 | 0.97053 | 0.95878 | 0.00043198 | 0.97061 | 0.9587 | 113.8705 | -99.0022 | 99.1135 | 113.8751 | -98.9994 | 99.1122
Line_2 | 0 | 0 | 0 | 0.00050175 | 0.00050175 | 0.00050175 | 0 | 0 | 0 | 0.0057937 | 0.0057937 | 0.0057937 | -8.471e-13 | 2.0078e-10 | 2.4235e-10 | -2.3254e-06 | 0.0055168 | -0.0055138 | 1.912e-12 | 1.4027e-09 | -1.3787e-09 | -9.2535e-07 | -0.0010899 | -0.00067076 | 0 | 0 | 0 | -87.8239 | -87.8238 | -87.8238 |  | 0.00051839 | 0.97053 | 0.95878 | 0.00043198 | 0.97061 | 0.9587 | 113.8705 | -99.0022 | 99.1135 | 113.8751 | -98.9994 | 99.1122

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030395 | 0.00030395 | 0.00030395 | 0.0002027 | 0.0002027 | 0.0002027 | 0.0035097 | 0.0035097 | 0.0035097 | 0.0023405 | 0.0023405 | 0.0023405 | 0.00229 | 0.0015276 | -0.0038169 | -0.0015257 | -0.0010203 | 0.002546 | 0.0023064 | -0.0032702 | 0.00074856 | -0.0015392 | 0.0021801 | -0.00049711 | -53.059 | -53.059 | -53.059 | 126.8956 | 126.8957 | 126.8957 |  | 0.92606 | 1.0284 | 1.1082 | 0.92598 | 1.0284 | 1.1083 | -7.8542 | -118.0199 | 115.8451 | -7.8521 | -118.0247 | 115.8475
Line_1 | 0 | 0 | 0 | 0.00010135 | 0.00010135 | 0.00010135 | 0 | 0 | 0 | 0.0011703 | 0.0011703 | 0.0011703 | 5.5587e-10 | 2.6751e-10 | -4.5576e-11 | 0.00076287 | 0.00051014 | -0.001273 | -5.102e-10 | 1.429e-10 | -3.2365e-10 | 0.00076962 | -0.00109 | 0.00024855 | 0 | 0 | 0 | -53.1044 | -53.1043 | -53.1043 |  | 0.92596 | 1.0284 | 1.1083 | 0.92598 | 1.0284 | 1.1083 | -7.8517 | -118.0257 | 115.848 | -7.8521 | -118.0247 | 115.8475
Line_2 | 0 | 0 | 0 | 0.00010135 | 0.00010135 | 0.00010135 | 0 | 0 | 0 | 0.0011703 | 0.0011703 | 0.0011703 | 5.5588e-10 | 2.675e-10 | -4.5573e-11 | 0.00076287 | 0.00051014 | -0.001273 | -5.1019e-10 | 1.429e-10 | -3.2366e-10 | 0.00076962 | -0.00109 | 0.00024855 | 0 | 0 | 0 | -53.1044 | -53.1043 | -53.1043 |  | 0.92596 | 1.0284 | 1.1083 | 0.92598 | 1.0284 | 1.1083 | -7.8517 | -118.0257 | 115.848 | -7.8521 | -118.0247 | 115.8475

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030395 | 0.00030395 | 0.00030395 | 0.0002027 | 0.0002027 | 0.0002027 | 0.0035097 | 0.0035097 | 0.0035097 | 0.0023405 | 0.0023405 | 0.0023405 | 0.00229 | 0.0015276 | -0.0038169 | -0.0015257 | -0.0010203 | 0.002546 | 0.0023064 | -0.0032702 | 0.00074856 | -0.0015392 | 0.0021801 | -0.00049711 | -53.059 | -53.059 | -53.059 | 126.8956 | 126.8957 | 126.8957 |  | 0.92606 | 1.0284 | 1.1082 | 0.92598 | 1.0284 | 1.1083 | -7.8542 | -118.0199 | 115.8451 | -7.8521 | -118.0247 | 115.8475
Line_1 | 0 | 0 | 0 | 0.00010135 | 0.00010135 | 0.00010135 | 0 | 0 | 0 | 0.0011703 | 0.0011703 | 0.0011703 | 5.5587e-10 | 2.6751e-10 | -4.5576e-11 | 0.00076287 | 0.00051014 | -0.001273 | -5.102e-10 | 1.429e-10 | -3.2365e-10 | 0.00076962 | -0.00109 | 0.00024855 | 0 | 0 | 0 | -53.1044 | -53.1043 | -53.1043 |  | 0.92596 | 1.0284 | 1.1083 | 0.92598 | 1.0284 | 1.1083 | -7.8517 | -118.0257 | 115.848 | -7.8521 | -118.0247 | 115.8475
Line_2 | 0 | 0 | 0 | 0.00010135 | 0.00010135 | 0.00010135 | 0 | 0 | 0 | 0.0011703 | 0.0011703 | 0.0011703 | 5.5588e-10 | 2.675e-10 | -4.5573e-11 | 0.00076287 | 0.00051014 | -0.001273 | -5.1019e-10 | 1.429e-10 | -3.2366e-10 | 0.00076962 | -0.00109 | 0.00024855 | 0 | 0 | 0 | -53.1044 | -53.1043 | -53.1043 |  | 0.92596 | 1.0284 | 1.1083 | 0.92598 | 1.0284 | 1.1083 | -7.8517 | -118.0257 | 115.848 | -7.8521 | -118.0247 | 115.8475

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 0.0008956 | 0.0008956 | 0.0008956 | 0.015507 | 0.015507 | 0.015507 | 0.010342 | 0.010342 | 0.010342 | 1.2558e-13 | 0.013435 | -0.013406 | 7.1126e-06 | -0.0089551 | 0.0089459 | 1.0795e-13 | -0.0025913 | -0.0016102 | 1.4749e-06 | 0.0017159 | 0.0010889 | -87.9068 | -87.9067 | -87.9067 | 92.0061 | 92.0061 | 92.0061 |  | 0 | 0.88234 | 0.87073 | 0.0007024 | 0.88169 | 0.87143 | 0 | -98.8235 | 98.9421 | 103.7212 | -98.841 | 98.9459
Line_1 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3525e-13 | 1.6498e-10 | 1.971e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 |  | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459
Line_2 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3526e-13 | 1.6498e-10 | 1.971e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 |  | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 0.0008956 | 0.0008956 | 0.0008956 | 0.015507 | 0.015507 | 0.015507 | 0.010342 | 0.010342 | 0.010342 | 1.2558e-13 | 0.013435 | -0.013406 | 7.1126e-06 | -0.0089551 | 0.0089459 | 1.0795e-13 | -0.0025913 | -0.0016102 | 1.4749e-06 | 0.0017159 | 0.0010889 | -87.9068 | -87.9067 | -87.9067 | 92.0061 | 92.0061 | 92.0061 |  | 0 | 0.88234 | 0.87073 | 0.0007024 | 0.88169 | 0.87143 | 0 | -98.8235 | 98.9421 | 103.7212 | -98.841 | 98.9459
Line_1 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3525e-13 | 1.6498e-10 | 1.971e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 |  | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459
Line_2 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3526e-13 | 1.6498e-10 | 1.971e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 |  | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 0.0001876 | 0.0001876 | 0.0001876 | 0.0032483 | 0.0032483 | 0.0032483 | 0.0021662 | 0.0021662 | 0.0021662 | 0.0019059 | 0.0013099 | -0.0032145 | -0.0012687 | -0.00087599 | 0.0021446 | 0.0019322 | -0.0027304 | 0.00061379 | -0.0012904 | 0.0018195 | -0.000406 | -53.5306 | -53.5306 | -53.5306 | 126.3822 | 126.3823 | 126.3823 |  | 0.83553 | 0.93229 | 1.0075 | 0.83541 | 0.93225 | 1.0076 | -8.1375 | -117.9012 | 115.6593 | -8.1319 | -117.91 | 115.6625
Line_1 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2933e-10 | -3.886e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 |  | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625
Line_2 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2934e-10 | -3.8859e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.7939e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 |  | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 0.0001876 | 0.0001876 | 0.0001876 | 0.0032483 | 0.0032483 | 0.0032483 | 0.0021662 | 0.0021662 | 0.0021662 | 0.0019059 | 0.0013099 | -0.0032145 | -0.0012687 | -0.00087599 | 0.0021446 | 0.0019322 | -0.0027304 | 0.00061379 | -0.0012904 | 0.0018195 | -0.000406 | -53.5306 | -53.5306 | -53.5306 | 126.3822 | 126.3823 | 126.3823 |  | 0.83553 | 0.93229 | 1.0075 | 0.83541 | 0.93225 | 1.0076 | -8.1375 | -117.9012 | 115.6593 | -8.1319 | -117.91 | 115.6625
Line_1 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2933e-10 | -3.886e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 |  | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625
Line_2 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2934e-10 | -3.8859e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.7939e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 |  | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002359 | 0.002359 | 0.002359 | 0.0015732 | 0.0015732 | 0.0015732 | 0.027239 | 0.027239 | 0.027239 | 0.018165 | 0.018165 | 0.018165 | 4.6289e-05 | -3.5321e-13 | -9.4508e-14 | -2.6287e-05 | 1.143e-05 | 1.143e-05 | -0.012963 | -3.1476e-13 | 4.6271e-13 | 0.0086494 | 4.5482e-06 | 4.5482e-06 | 91.6969 | 91.6969 | 91.6969 | -88.3485 | -88.3485 | -88.3485 |  | 0.4759 | 0 | 0 | 0.47615 | 0.0006772 | 0.0006772 | 1.9015 | 0 | 0 | 1.8256 | -66.6496 | -66.6496
Line_1 | 0 | 0 | 0 | 0.00078658 | 0.00078658 | 0.00078658 | 0 | 0 | 0 | 0.0090826 | 0.0090826 | 0.0090826 | 1.0882e-09 | 1.9544e-12 | -3.2581e-12 | 1.3144e-05 | -5.7149e-06 | -5.7149e-06 | 6.0682e-11 | 2.6296e-12 | 3.798e-13 | -0.0043247 | -2.2741e-06 | -2.2741e-06 | 0 | 0 | 0 | 91.6515 | 91.6515 | 91.6515 |  | 0.4762 | 0.00081267 | 0.00081267 | 0.47615 | 0.0006772 | 0.0006772 | 1.8105 | -66.6541 | -66.6541 | 1.8256 | -66.6496 | -66.6496
Line_2 | 0 | 0 | 0 | 0.00078658 | 0.00078658 | 0.00078658 | 0 | 0 | 0 | 0.0090826 | 0.0090826 | 0.0090826 | 1.0882e-09 | 1.9543e-12 | -3.2581e-12 | 1.3144e-05 | -5.7149e-06 | -5.7149e-06 | 6.0682e-11 | 2.6296e-12 | 3.7983e-13 | -0.0043247 | -2.2741e-06 | -2.2741e-06 | 0 | 0 | 0 | 91.6515 | 91.6515 | 91.6515 |  | 0.4762 | 0.00081267 | 0.00081267 | 0.47615 | 0.0006772 | 0.0006772 | 1.8105 | -66.6541 | -66.6541 | 1.8256 | -66.6496 | -66.6496

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002359 | 0.002359 | 0.002359 | 0.0015732 | 0.0015732 | 0.0015732 | 0.027239 | 0.027239 | 0.027239 | 0.018165 | 0.018165 | 0.018165 | 4.6289e-05 | -3.5321e-13 | -9.4508e-14 | -2.6287e-05 | 1.143e-05 | 1.143e-05 | -0.012963 | -3.1476e-13 | 4.6271e-13 | 0.0086494 | 4.5482e-06 | 4.5482e-06 | 91.6969 | 91.6969 | 91.6969 | -88.3485 | -88.3485 | -88.3485 |  | 0.4759 | 0 | 0 | 0.47615 | 0.0006772 | 0.0006772 | 1.9015 | 0 | 0 | 1.8256 | -66.6496 | -66.6496
Line_1 | 0 | 0 | 0 | 0.00078658 | 0.00078658 | 0.00078658 | 0 | 0 | 0 | 0.0090826 | 0.0090826 | 0.0090826 | 1.0882e-09 | 1.9544e-12 | -3.2581e-12 | 1.3144e-05 | -5.7149e-06 | -5.7149e-06 | 6.0682e-11 | 2.6296e-12 | 3.798e-13 | -0.0043247 | -2.2741e-06 | -2.2741e-06 | 0 | 0 | 0 | 91.6515 | 91.6515 | 91.6515 |  | 0.4762 | 0.00081267 | 0.00081267 | 0.47615 | 0.0006772 | 0.0006772 | 1.8105 | -66.6541 | -66.6541 | 1.8256 | -66.6496 | -66.6496
Line_2 | 0 | 0 | 0 | 0.00078658 | 0.00078658 | 0.00078658 | 0 | 0 | 0 | 0.0090826 | 0.0090826 | 0.0090826 | 1.0882e-09 | 1.9543e-12 | -3.2581e-12 | 1.3144e-05 | -5.7149e-06 | -5.7149e-06 | 6.0682e-11 | 2.6296e-12 | 3.7983e-13 | -0.0043247 | -2.2741e-06 | -2.2741e-06 | 0 | 0 | 0 | 91.6515 | 91.6515 | 91.6515 |  | 0.4762 | 0.00081267 | 0.00081267 | 0.47615 | 0.0006772 | 0.0006772 | 1.8105 | -66.6541 | -66.6541 | 1.8256 | -66.6496 | -66.6496

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00032332 | 0.00032332 | 0.00032332 | 0.00021561 | 0.00021562 | 0.00021561 | 0.0037334 | 0.0037334 | 0.0037334 | 0.0024897 | 0.0024897 | 0.0024897 | -0.0025903 | -0.00053716 | 0.0031284 | 0.0017261 | 0.00036026 | -0.0020865 | -0.0028533 | 0.0034487 | -0.00083894 | 0.0019043 | -0.0022995 | 0.0005579 | 129.4219 | 129.4219 | 129.4219 | -50.6235 | -50.6235 | -50.6235 |  | 1.0322 | 0.93489 | 0.86755 | 1.0323 | 0.93487 | 0.86748 | -2.8124 | -131.7251 | 114.41 | -2.8147 | -131.7196 | 114.4063
Line_1 | 0 | 0 | 0 | 0.00010781 | 0.00010781 | 0.00010781 | 0 | 0 | 0 | 0.0012449 | 0.0012449 | 0.0012449 | 2.5111e-10 | 4.8746e-10 | 7.2297e-10 | -0.00086307 | -0.00018013 | 0.0010432 | -2.045e-10 | -7.6583e-10 | -3.4108e-10 | -0.00095213 | 0.0011498 | -0.00027895 | 0 | 0 | 0 | 129.3765 | 129.3765 | 129.3765 |  | 1.0323 | 0.93487 | 0.86746 | 1.0323 | 0.93487 | 0.86748 | -2.8152 | -131.7184 | 114.4056 | -2.8147 | -131.7196 | 114.4063
Line_2 | 0 | 0 | 0 | 0.00010781 | 0.00010781 | 0.00010781 | 0 | 0 | 0 | 0.0012449 | 0.0012449 | 0.0012449 | 2.511e-10 | 4.8745e-10 | 7.2297e-10 | -0.00086307 | -0.00018013 | 0.0010432 | -2.045e-10 | -7.6582e-10 | -3.4109e-10 | -0.00095213 | 0.0011498 | -0.00027895 | 0 | 0 | 0 | 129.3765 | 129.3765 | 129.3765 |  | 1.0323 | 0.93487 | 0.86746 | 1.0323 | 0.93487 | 0.86748 | -2.8152 | -131.7184 | 114.4056 | -2.8147 | -131.7196 | 114.4063

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00032332 | 0.00032332 | 0.00032332 | 0.00021561 | 0.00021562 | 0.00021561 | 0.0037334 | 0.0037334 | 0.0037334 | 0.0024897 | 0.0024897 | 0.0024897 | -0.0025903 | -0.00053716 | 0.0031284 | 0.0017261 | 0.00036026 | -0.0020865 | -0.0028533 | 0.0034487 | -0.00083894 | 0.0019043 | -0.0022995 | 0.0005579 | 129.4219 | 129.4219 | 129.4219 | -50.6235 | -50.6235 | -50.6235 |  | 1.0322 | 0.93489 | 0.86755 | 1.0323 | 0.93487 | 0.86748 | -2.8124 | -131.7251 | 114.41 | -2.8147 | -131.7196 | 114.4063
Line_1 | 0 | 0 | 0 | 0.00010781 | 0.00010781 | 0.00010781 | 0 | 0 | 0 | 0.0012449 | 0.0012449 | 0.0012449 | 2.5111e-10 | 4.8746e-10 | 7.2297e-10 | -0.00086307 | -0.00018013 | 0.0010432 | -2.045e-10 | -7.6583e-10 | -3.4108e-10 | -0.00095213 | 0.0011498 | -0.00027895 | 0 | 0 | 0 | 129.3765 | 129.3765 | 129.3765 |  | 1.0323 | 0.93487 | 0.86746 | 1.0323 | 0.93487 | 0.86748 | -2.8152 | -131.7184 | 114.4056 | -2.8147 | -131.7196 | 114.4063
Line_2 | 0 | 0 | 0 | 0.00010781 | 0.00010781 | 0.00010781 | 0 | 0 | 0 | 0.0012449 | 0.0012449 | 0.0012449 | 2.511e-10 | 4.8745e-10 | 7.2297e-10 | -0.00086307 | -0.00018013 | 0.0010432 | -2.045e-10 | -7.6582e-10 | -3.4109e-10 | -0.00095213 | 0.0011498 | -0.00027895 | 0 | 0 | 0 | 129.3765 | 129.3765 | 129.3765 |  | 1.0323 | 0.93487 | 0.86746 | 1.0323 | 0.93487 | 0.86748 | -2.8152 | -131.7184 | 114.4056 | -2.8147 | -131.7196 | 114.4063

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0014096 | 0.0014096 | 0.0014096 | 0.024407 | 0.024407 | 0.024407 | 0.016276 | 0.016276 | 0.016276 | 7.1355e-05 | -6.2226e-14 | 2.1526e-13 | -4.0522e-05 | 1.7619e-05 | 1.7619e-05 | -0.010408 | 2.1121e-13 | -5.2109e-14 | 0.0069441 | 3.6535e-06 | 3.6535e-06 | 91.5634 | 91.5633 | 91.5633 | -88.5238 | -88.5238 | -88.5238 |  | 0.42643 | 0 | 0 | 0.42665 | 0.0011055 | 0.0011055 | 1.9562 | 0 | 0 | 1.8106 | -76.8087 | -76.8087
Line_1 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6628e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8636e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 |  | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087
Line_2 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8644e-11 | 3.3288e-12 | 1.4073e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 |  | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0014096 | 0.0014096 | 0.0014096 | 0.024407 | 0.024407 | 0.024407 | 0.016276 | 0.016276 | 0.016276 | 7.1355e-05 | -6.2226e-14 | 2.1526e-13 | -4.0522e-05 | 1.7619e-05 | 1.7619e-05 | -0.010408 | 2.1121e-13 | -5.2109e-14 | 0.0069441 | 3.6535e-06 | 3.6535e-06 | 91.5634 | 91.5633 | 91.5633 | -88.5238 | -88.5238 | -88.5238 |  | 0.42643 | 0 | 0 | 0.42665 | 0.0011055 | 0.0011055 | 1.9562 | 0 | 0 | 1.8106 | -76.8087 | -76.8087
Line_1 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6628e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8636e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 |  | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087
Line_2 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8644e-11 | 3.3288e-12 | 1.4073e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 |  | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.00020017 | 0.00020017 | 0.00020017 | 0.0034659 | 0.0034659 | 0.0034659 | 0.0023113 | 0.0023113 | 0.0023113 | -0.0021684 | -0.00044662 | 0.0026164 | 0.001444 | 0.00030113 | -0.0017452 | -0.0024097 | 0.0028899 | -0.00069008 | 0.0016092 | -0.0019267 | 0.00045762 | 129.0448 | 129.0447 | 129.0447 | -51.0424 | -51.0424 | -51.0424 |  | 0.93531 | 0.84371 | 0.78073 | 0.93544 | 0.8437 | 0.78059 | -2.9382 | -132.17 | 114.2695 | -2.944 | -132.1593 | 114.2644
Line_1 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1414e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5148e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 |  | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644
Line_2 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5148e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 |  | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.00020017 | 0.00020017 | 0.00020017 | 0.0034659 | 0.0034659 | 0.0034659 | 0.0023113 | 0.0023113 | 0.0023113 | -0.0021684 | -0.00044662 | 0.0026164 | 0.001444 | 0.00030113 | -0.0017452 | -0.0024097 | 0.0028899 | -0.00069008 | 0.0016092 | -0.0019267 | 0.00045762 | 129.0448 | 129.0447 | 129.0447 | -51.0424 | -51.0424 | -51.0424 |  | 0.93531 | 0.84371 | 0.78073 | 0.93544 | 0.8437 | 0.78059 | -2.9382 | -132.17 | 114.2695 | -2.944 | -132.1593 | 114.2644
Line_1 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1414e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5148e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 |  | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644
Line_2 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5148e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 |  | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644