## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.5632e-14 | 27.4008 | -8.7391 | 1.5632e-14 | -22.7354 | 13.4045 | -2.0843e-14 | 4.6417 | 16.5321 | 3.1264e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 4.2128e-13 | -152.1736 | 136.0734 | 4.2652e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 1.5632e-14 | -18.0699 | 18.0699 | -2.0843e-14 | 22.7354 | -13.4045 | -5.2106e-15 | 5.9452 | -5.9452 | 1.0421e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 4.2544e-13 | 180 | -180 | 4.2652e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4052e-10 | 6.6441e-10 | -5.2106e-15 | -3.4052e-10 | -6.6441e-10 | 0 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 4.2785e-13 | -163.4303 | 158.2346 | 4.2652e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.5632e-14 | 27.4008 | -8.7391 | 1.5632e-14 | -22.7354 | 13.4045 | -2.0843e-14 | 4.6417 | 16.5321 | 3.1264e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 4.2128e-13 | -152.1736 | 136.0734 | 4.2652e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 1.5632e-14 | -18.0699 | 18.0699 | -2.0843e-14 | 22.7354 | -13.4045 | -5.2106e-15 | 5.9452 | -5.9452 | 1.0421e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 4.2544e-13 | 180 | -180 | 4.2652e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4052e-10 | 6.6441e-10 | -5.2106e-15 | -3.4052e-10 | -6.6441e-10 | 0 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 4.2785e-13 | -163.4303 | 158.2346 | 4.2652e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -7.816e-15 | 17.2205 | 0.20321 | 2.6053e-15 | -15.9408 | 1.0765 | -1.3027e-14 | 3.8735 | 14.2393 | 7.816e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 1.9723e-13 | -135.9762 | 120.5292 | 2.0064e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -5.2106e-15 | -14.6611 | 2.3562 | 2.737e-29 | 15.9408 | -1.0765 | 5.2106e-15 | -0.96958 | -11.3353 | -7.816e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 2.0074e-13 | -144.8696 | 133.0893 | 2.0064e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8344e-29 | 4.6818e-10 | 1.0007e-09 | -5.2106e-15 | -4.6818e-10 | -1.0006e-09 | -5.2106e-15 | -1.2288e-09 | 3.0654e-10 | 2.6053e-15 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 2.0171e-13 | -140.0155 | 126.1589 | 2.0064e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -7.816e-15 | 17.2205 | 0.20321 | 2.6053e-15 | -15.9408 | 1.0765 | -1.3027e-14 | 3.8735 | 14.2393 | 7.816e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 1.9723e-13 | -135.9762 | 120.5292 | 2.0064e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -5.2106e-15 | -14.6611 | 2.3562 | 2.737e-29 | 15.9408 | -1.0765 | 5.2106e-15 | -0.96958 | -11.3353 | -7.816e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 2.0074e-13 | -144.8696 | 133.0893 | 2.0064e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8344e-29 | 4.6818e-10 | 1.0007e-09 | -5.2106e-15 | -4.6818e-10 | -1.0006e-09 | -5.2106e-15 | -1.2288e-09 | 3.0654e-10 | 2.6053e-15 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 2.0171e-13 | -140.0155 | 126.1589 | 2.0064e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.4211e-14 | 23.4155 | -0.45749 | 1.6579e-14 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.0119e-13 | -150.1294 | 122.3252 | 4.4931e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 3.5527e-15 | 17.676 | -6.197 | 4.737e-15 | 7.0103 | -7.0103 | -4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.6525e-13 | -180 | 180 | 4.4931e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 2.4221e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 4.737e-15 | -1.5722e-09 | 8.3093e-10 | -4.737e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.3422e-13 | -161.1438 | 151.2099 | 4.4931e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.4211e-14 | 23.4155 | -0.45749 | 1.6579e-14 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.0119e-13 | -150.1294 | 122.3252 | 4.4931e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 3.5527e-15 | 17.676 | -6.197 | 4.737e-15 | 7.0103 | -7.0103 | -4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.6525e-13 | -180 | 180 | 4.4931e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 2.4221e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 4.737e-15 | -1.5722e-09 | 8.3093e-10 | -4.737e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.3422e-13 | -161.1438 | 151.2099 | 4.4931e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -9.4739e-15 | 13.7181 | 1.6719 | 1.0066e-14 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 4.1732e-29 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0674e-13 | -135.6599 | 118.3519 | 2.3754e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.0168e-29 | -10.3011 | 1.745 | 9.8193e-30 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.4597e-13 | -144.4405 | 138.2821 | 2.3754e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8964e-29 | 4.2826e-10 | 8.1277e-10 | 1.9639e-29 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.2937e-13 | -139.408 | 127.3216 | 2.3754e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -9.4739e-15 | 13.7181 | 1.6719 | 1.0066e-14 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 4.1732e-29 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0674e-13 | -135.6599 | 118.3519 | 2.3754e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.0168e-29 | -10.3011 | 1.745 | 9.8193e-30 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.4597e-13 | -144.4405 | 138.2821 | 2.3754e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8964e-29 | 4.2826e-10 | 8.1277e-10 | 1.9639e-29 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.2937e-13 | -139.408 | 127.3216 | 2.3754e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6851 | 0.0048092 | 0.0048092 | 2.6846 | 0.0039665 | 0.0039665 | 31.0046 | 0.055532 | 0.055532 | 30.9993 | 0.045802 | 0.045802 | 22.7694 | 0.05324 | -0.046523 | -11.3715 | -0.041763 | 0.039922 | 12.7172 | -0.0071353 | -0.04237 | -6.3657 | 0.016514 | 0.047215 | -46.9698 | -109.4524 | -109.4524 | 133.0454 | 69.4021 | 69.4021 |  | 0.84117 | 0.96731 | 1.1331 | 0.4204 | 0.98052 | 1.35 | -17.7855 | -117.0857 | 112.8729 | -17.7147 | -132.1734 | 119.1859
Line_1 | 2.6829 | 0 | 0 | 2.6839 | 0.0023635 | 0.0023635 | 30.979 | 0 | 0 | 30.9907 | 0.027291 | 0.027291 | 8.5994e-11 | -2.6592e-10 | -2.7765e-09 | 11.3717 | 0.025011 | -0.023419 | -1.5102e-10 | -1.8639e-09 | 4.144e-10 | 6.3579 | -0.0095152 | -0.02844 | 133.1213 | 0 | 0 | -46.9242 | -111.3442 | -111.3442 |  | 0 | 1.0581 | 1.5776 | 0.4204 | 0.98052 | 1.35 | 0 | -145.8969 | 123.7339 | -17.7147 | -132.1734 | 119.1859
Line_2 | 0 | 0 | 0 | 0.0016036 | 0.0016036 | 0.0016036 | 0 | 0 | 0 | 0.018516 | 0.018516 | 0.018516 | 9.6743e-10 | 3.4109e-10 | -1.2393e-09 | -0.00024221 | 0.016752 | -0.016503 | -5.1481e-10 | -8.3454e-10 | -7.7882e-11 | 0.0077805 | -0.0069993 | -0.018774 | 0 | 0 | 0 | -109.4978 | -109.4978 | -109.4978 |  | 0.4203 | 0.98033 | 1.3502 | 0.4204 | 0.98052 | 1.35 | -17.6793 | -132.1847 | 119.1805 | -17.7147 | -132.1734 | 119.1859

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6851 | 0.0048092 | 0.0048092 | 2.6846 | 0.0039665 | 0.0039665 | 31.0046 | 0.055532 | 0.055532 | 30.9993 | 0.045802 | 0.045802 | 22.7694 | 0.05324 | -0.046523 | -11.3715 | -0.041763 | 0.039922 | 12.7172 | -0.0071353 | -0.04237 | -6.3657 | 0.016514 | 0.047215 | -46.9698 | -109.4524 | -109.4524 | 133.0454 | 69.4021 | 69.4021 |  | 0.84117 | 0.96731 | 1.1331 | 0.4204 | 0.98052 | 1.35 | -17.7855 | -117.0857 | 112.8729 | -17.7147 | -132.1734 | 119.1859
Line_1 | 2.6829 | 0 | 0 | 2.6839 | 0.0023635 | 0.0023635 | 30.979 | 0 | 0 | 30.9907 | 0.027291 | 0.027291 | 8.5994e-11 | -2.6592e-10 | -2.7765e-09 | 11.3717 | 0.025011 | -0.023419 | -1.5102e-10 | -1.8639e-09 | 4.144e-10 | 6.3579 | -0.0095152 | -0.02844 | 133.1213 | 0 | 0 | -46.9242 | -111.3442 | -111.3442 |  | 0 | 1.0581 | 1.5776 | 0.4204 | 0.98052 | 1.35 | 0 | -145.8969 | 123.7339 | -17.7147 | -132.1734 | 119.1859
Line_2 | 0 | 0 | 0 | 0.0016036 | 0.0016036 | 0.0016036 | 0 | 0 | 0 | 0.018516 | 0.018516 | 0.018516 | 9.6743e-10 | 3.4109e-10 | -1.2393e-09 | -0.00024221 | 0.016752 | -0.016503 | -5.1481e-10 | -8.3454e-10 | -7.7882e-11 | 0.0077805 | -0.0069993 | -0.018774 | 0 | 0 | 0 | -109.4978 | -109.4978 | -109.4978 |  | 0.4203 | 0.98033 | 1.3502 | 0.4204 | 0.98052 | 1.35 | -17.6793 | -132.1847 | 119.1805 | -17.7147 | -132.1734 | 119.1859

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0769 | 0.0019289 | 0.0019289 | 1.0768 | 0.0015909 | 0.0015909 | 12.4355 | 0.022273 | 0.022273 | 12.4334 | 0.01837 | 0.01837 | 9.448 | 0.022898 | -0.017386 | -7.6149 | -0.01859 | 0.014409 | 7.8493 | -0.004306 | -0.01765 | -6.825 | 0.0050247 | 0.016692 | -45.8445 | -108.3272 | -108.3272 | 134.1707 | 70.5274 | 70.5274 |  | 0.98775 | 1.0461 | 1.1123 | 0.82245 | 1.0482 | 1.2003 | -6.125 | -118.9775 | 117.1046 | -3.9605 | -124.5978 | 119.7268
Line_1 | 1.0761 | 0 | 0 | 1.0765 | 0.00094795 | 0.00094795 | 12.4252 | 0 | 0 | 12.43 | 0.010946 | 0.010946 | -5.7895 | 8.605e-11 | -9.0278e-10 | 7.6165 | 0.011115 | -0.0084551 | -5.7895 | -7.5214e-10 | 1.8124e-10 | 6.8191 | -0.0028494 | -0.010057 | 134.2466 | 0 | 0 | -45.7989 | -110.2189 | -110.2189 |  | 0.65895 | 1.0607 | 1.2902 | 0.82245 | 1.0482 | 1.2003 | -0.75341 | -130.1253 | 121.996 | -3.9605 | -124.5978 | 119.7268
Line_2 | 0 | 0 | 0 | 0.00064317 | 0.00064317 | 0.00064317 | 0 | 0 | 0 | 0.0074267 | 0.0074267 | 0.0074267 | 8.2912e-10 | 1.856e-10 | -4.4219e-10 | -0.0015203 | 0.0074749 | -0.0059535 | -2.2867e-10 | -3.3917e-10 | -2.329e-11 | 0.0059159 | -0.0021753 | -0.0066352 | 0 | 0 | 0 | -108.3725 | -108.3725 | -108.3725 |  | 0.82244 | 1.0482 | 1.2004 | 0.82245 | 1.0482 | 1.2003 | -3.9529 | -124.6016 | 119.7244 | -3.9605 | -124.5978 | 119.7268

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0769 | 0.0019289 | 0.0019289 | 1.0768 | 0.0015909 | 0.0015909 | 12.4355 | 0.022273 | 0.022273 | 12.4334 | 0.01837 | 0.01837 | 9.448 | 0.022898 | -0.017386 | -7.6149 | -0.01859 | 0.014409 | 7.8493 | -0.004306 | -0.01765 | -6.825 | 0.0050247 | 0.016692 | -45.8445 | -108.3272 | -108.3272 | 134.1707 | 70.5274 | 70.5274 |  | 0.98775 | 1.0461 | 1.1123 | 0.82245 | 1.0482 | 1.2003 | -6.125 | -118.9775 | 117.1046 | -3.9605 | -124.5978 | 119.7268
Line_1 | 1.0761 | 0 | 0 | 1.0765 | 0.00094795 | 0.00094795 | 12.4252 | 0 | 0 | 12.43 | 0.010946 | 0.010946 | -5.7895 | 8.605e-11 | -9.0278e-10 | 7.6165 | 0.011115 | -0.0084551 | -5.7895 | -7.5214e-10 | 1.8124e-10 | 6.8191 | -0.0028494 | -0.010057 | 134.2466 | 0 | 0 | -45.7989 | -110.2189 | -110.2189 |  | 0.65895 | 1.0607 | 1.2902 | 0.82245 | 1.0482 | 1.2003 | -0.75341 | -130.1253 | 121.996 | -3.9605 | -124.5978 | 119.7268
Line_2 | 0 | 0 | 0 | 0.00064317 | 0.00064317 | 0.00064317 | 0 | 0 | 0 | 0.0074267 | 0.0074267 | 0.0074267 | 8.2912e-10 | 1.856e-10 | -4.4219e-10 | -0.0015203 | 0.0074749 | -0.0059535 | -2.2867e-10 | -3.3917e-10 | -2.329e-11 | 0.0059159 | -0.0021753 | -0.0066352 | 0 | 0 | 0 | -108.3725 | -108.3725 | -108.3725 |  | 0.82244 | 1.0482 | 1.2004 | 0.82245 | 1.0482 | 1.2003 | -3.9529 | -124.6016 | 119.7244 | -3.9605 | -124.5978 | 119.7268

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6315 | 0.0051528 | 0.0051528 | 1.6312 | 0.0042793 | 0.0042793 | 18.8385 | 0.059499 | 0.059499 | 18.8353 | 0.049413 | 0.049413 | 16.1395 | 0.052266 | -0.04736 | -8.0605 | -0.041904 | 0.040555 | 4.6749 | -0.013887 | -0.040247 | -2.3511 | 0.025268 | 0.04819 | -29.8844 | -104.8203 | -104.8203 | 150.1448 | 74.465 | 74.465 |  | 0.89195 | 0.90892 | 1.0446 | 0.44578 | 0.99028 | 1.2746 | -13.7305 | -119.7 | 115.5379 | -13.5943 | -136.6247 | 124.382
Line_1 | 1.6301 | 0 | 0 | 1.6307 | 0.0025613 | 0.0025613 | 18.8231 | 0 | 0 | 18.8302 | 0.029575 | 0.029575 | -2.3913e-11 | -1.1596e-09 | -3.0216e-09 | 8.0607 | 0.025191 | -0.024061 | 7.9589e-12 | -2.0915e-09 | 1.0165e-09 | 2.3422 | -0.014939 | -0.029021 | 150.2905 | 0 | 0 | -29.7969 | -105.9559 | -105.9559 |  | 0 | 1.1433 | 1.524 | 0.44578 | 0.99028 | 1.2746 | 0 | -149.9304 | 130.4806 | -13.5943 | -136.6247 | 124.382
Line_2 | 0 | 0 | 0 | 0.0017181 | 0.0017181 | 0.0017181 | 0 | 0 | 0 | 0.019839 | 0.019839 | 0.019839 | 8.6051e-10 | -1.1539e-10 | -1.2996e-09 | -0.00020267 | 0.016712 | -0.016494 | -3.8221e-10 | -1.0397e-09 | 3.5602e-10 | 0.0088415 | -0.010329 | -0.019169 | 0 | 0 | 0 | -104.9075 | -104.9075 | -104.9075 |  | 0.44568 | 0.98988 | 1.2751 | 0.44578 | 0.99028 | 1.2746 | -13.5262 | -136.6461 | 124.3672 | -13.5943 | -136.6247 | 124.382

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6315 | 0.0051528 | 0.0051528 | 1.6312 | 0.0042793 | 0.0042793 | 18.8385 | 0.059499 | 0.059499 | 18.8353 | 0.049413 | 0.049413 | 16.1395 | 0.052266 | -0.04736 | -8.0605 | -0.041904 | 0.040555 | 4.6749 | -0.013887 | -0.040247 | -2.3511 | 0.025268 | 0.04819 | -29.8844 | -104.8203 | -104.8203 | 150.1448 | 74.465 | 74.465 |  | 0.89195 | 0.90892 | 1.0446 | 0.44578 | 0.99028 | 1.2746 | -13.7305 | -119.7 | 115.5379 | -13.5943 | -136.6247 | 124.382
Line_1 | 1.6301 | 0 | 0 | 1.6307 | 0.0025613 | 0.0025613 | 18.8231 | 0 | 0 | 18.8302 | 0.029575 | 0.029575 | -2.3913e-11 | -1.1596e-09 | -3.0216e-09 | 8.0607 | 0.025191 | -0.024061 | 7.9589e-12 | -2.0915e-09 | 1.0165e-09 | 2.3422 | -0.014939 | -0.029021 | 150.2905 | 0 | 0 | -29.7969 | -105.9559 | -105.9559 |  | 0 | 1.1433 | 1.524 | 0.44578 | 0.99028 | 1.2746 | 0 | -149.9304 | 130.4806 | -13.5943 | -136.6247 | 124.382
Line_2 | 0 | 0 | 0 | 0.0017181 | 0.0017181 | 0.0017181 | 0 | 0 | 0 | 0.019839 | 0.019839 | 0.019839 | 8.6051e-10 | -1.1539e-10 | -1.2996e-09 | -0.00020267 | 0.016712 | -0.016494 | -3.8221e-10 | -1.0397e-09 | 3.5602e-10 | 0.0088415 | -0.010329 | -0.019169 | 0 | 0 | 0 | -104.9075 | -104.9075 | -104.9075 |  | 0.44568 | 0.98988 | 1.2751 | 0.44578 | 0.99028 | 1.2746 | -13.5262 | -136.6461 | 124.3672 | -13.5943 | -136.6247 | 124.382

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82377 | 0.0026018 | 0.0026018 | 0.82363 | 0.0021607 | 0.0021607 | 9.5121 | 0.030043 | 0.030043 | 9.5104 | 0.02495 | 0.02495 | 7.4946 | 0.028468 | -0.019621 | -5.436 | -0.023258 | 0.01647 | 4.5924 | -0.0035113 | -0.02339 | -3.9976 | 0.0062608 | 0.023266 | -37.5229 | -112.4588 | -112.4588 | 142.5063 | 66.8265 | 66.8265 |  | 0.92406 | 0.95477 | 1.0162 | 0.70951 | 0.96537 | 1.1425 | -6.0247 | -119.4902 | 117.5494 | -1.163 | -128.2399 | 121.5325
Line_1 | 0.8231 | 0 | 0 | 0.8234 | 0.0012933 | 0.0012933 | 9.5043 | 0 | 0 | 9.5079 | 0.014933 | 0.014933 | -3.3874 | -1.4696e-10 | -1.2874e-09 | 5.4386 | 0.013948 | -0.0097553 | -3.3874 | -1.0444e-09 | 3.86e-10 | 3.991 | -0.003645 | -0.013998 | 142.652 | 0 | 0 | -37.4354 | -113.5944 | -113.5944 |  | 0.50404 | 0.99859 | 1.2725 | 0.70951 | 0.96537 | 1.1425 | 7.652 | -136.5738 | 124.7454 | -1.163 | -128.2399 | 121.5325
Line_2 | 0 | 0 | 0 | 0.00086753 | 0.00086753 | 0.00086753 | 0 | 0 | 0 | 0.010017 | 0.010017 | 0.010017 | 7.5514e-10 | 8.6814e-11 | -5.995e-10 | -0.0025913 | 0.0093099 | -0.0067146 | -5.1817e-11 | -5.0762e-10 | 1.1138e-10 | 0.0066181 | -0.0026158 | -0.0092685 | 0 | 0 | 0 | -112.546 | -112.546 | -112.546 |  | 0.70955 | 0.96513 | 1.1427 | 0.70951 | 0.96537 | 1.1425 | -1.1413 | -128.2473 | 121.5233 | -1.163 | -128.2399 | 121.5325

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82377 | 0.0026018 | 0.0026018 | 0.82363 | 0.0021607 | 0.0021607 | 9.5121 | 0.030043 | 0.030043 | 9.5104 | 0.02495 | 0.02495 | 7.4946 | 0.028468 | -0.019621 | -5.436 | -0.023258 | 0.01647 | 4.5924 | -0.0035113 | -0.02339 | -3.9976 | 0.0062608 | 0.023266 | -37.5229 | -112.4588 | -112.4588 | 142.5063 | 66.8265 | 66.8265 |  | 0.92406 | 0.95477 | 1.0162 | 0.70951 | 0.96537 | 1.1425 | -6.0247 | -119.4902 | 117.5494 | -1.163 | -128.2399 | 121.5325
Line_1 | 0.8231 | 0 | 0 | 0.8234 | 0.0012933 | 0.0012933 | 9.5043 | 0 | 0 | 9.5079 | 0.014933 | 0.014933 | -3.3874 | -1.4696e-10 | -1.2874e-09 | 5.4386 | 0.013948 | -0.0097553 | -3.3874 | -1.0444e-09 | 3.86e-10 | 3.991 | -0.003645 | -0.013998 | 142.652 | 0 | 0 | -37.4354 | -113.5944 | -113.5944 |  | 0.50404 | 0.99859 | 1.2725 | 0.70951 | 0.96537 | 1.1425 | 7.652 | -136.5738 | 124.7454 | -1.163 | -128.2399 | 121.5325
Line_2 | 0 | 0 | 0 | 0.00086753 | 0.00086753 | 0.00086753 | 0 | 0 | 0 | 0.010017 | 0.010017 | 0.010017 | 7.5514e-10 | 8.6814e-11 | -5.995e-10 | -0.0025913 | 0.0093099 | -0.0067146 | -5.1817e-11 | -5.0762e-10 | 1.1138e-10 | 0.0066181 | -0.0026158 | -0.0092685 | 0 | 0 | 0 | -112.546 | -112.546 | -112.546 |  | 0.70955 | 0.96513 | 1.1427 | 0.70951 | 0.96537 | 1.1425 | -1.1413 | -128.2473 | 121.5233 | -1.163 | -128.2399 | 121.5325

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003597 | 3.7095 | 2.4907 | 0.0029667 | 3.7095 | 2.4903 | 0.041534 | 42.8333 | 28.7603 | 0.034257 | 42.834 | 28.7559 | 0.00041596 | 29.3271 | -0.018421 | 0.00020717 | -14.6615 | 0.01496 | -0.043228 | 9.7235 | 16.2044 | 0.042078 | -4.8767 | -8.0898 | 84.6915 | -173.9649 | 36.5205 | -96.454 | 6.0448 | -143.4912 |  | 1.0408 | 0.72133 | 0.56343 | 1.2283 | 0.36072 | 0.28133 | -4.7572 | -155.6219 | 126.5856 | -6.7361 | -155.5569 | 126.6147
Line_1 | 0 | 3.7102 | 2.4883 | 0.0017677 | 3.7098 | 2.4895 | 0 | 42.8415 | 28.7326 | 0.020412 | 42.8368 | 28.7467 | -1.702e-09 | 1.1649e-10 | 9.4808e-11 | 0.00020315 | 14.664 | -0.017856 | -8.1085e-10 | -8.4283e-11 | -1.0544e-11 | -0.025072 | 4.8724 | 8.0872 | 0 | 6.0895 | -143.5412 | 82.7997 | -173.937 | 36.4882 |  | 1.4165 | 0 | 0 | 1.2283 | 0.36072 | 0.28133 | -8.1592 | 0 | 0 | -6.7361 | -155.5569 | 126.6147
Line_2 | 0 | 0 | 0 | 0.0011994 | 0.0011994 | 0.0011994 | 0 | 0 | 0 | 0.013849 | 0.013849 | 0.013849 | -6.1265e-10 | 7.0701e-10 | 8.3652e-10 | -0.00041032 | -0.0024825 | 0.0028968 | -5.8191e-10 | -8.4544e-10 | 1.309e-10 | -0.017006 | 0.0043353 | 0.0026055 | 0 | 0 | 0 | 84.6461 | 84.6461 | 84.6461 |  | 1.2284 | 0.36075 | 0.28113 | 1.2283 | 0.36072 | 0.28133 | -6.7449 | -155.5244 | 126.6293 | -6.7361 | -155.5569 | 126.6147

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003597 | 3.7095 | 2.4907 | 0.0029667 | 3.7095 | 2.4903 | 0.041534 | 42.8333 | 28.7603 | 0.034257 | 42.834 | 28.7559 | 0.00041596 | 29.3271 | -0.018421 | 0.00020717 | -14.6615 | 0.01496 | -0.043228 | 9.7235 | 16.2044 | 0.042078 | -4.8767 | -8.0898 | 84.6915 | -173.9649 | 36.5205 | -96.454 | 6.0448 | -143.4912 |  | 1.0408 | 0.72133 | 0.56343 | 1.2283 | 0.36072 | 0.28133 | -4.7572 | -155.6219 | 126.5856 | -6.7361 | -155.5569 | 126.6147
Line_1 | 0 | 3.7102 | 2.4883 | 0.0017677 | 3.7098 | 2.4895 | 0 | 42.8415 | 28.7326 | 0.020412 | 42.8368 | 28.7467 | -1.702e-09 | 1.1649e-10 | 9.4808e-11 | 0.00020315 | 14.664 | -0.017856 | -8.1085e-10 | -8.4283e-11 | -1.0544e-11 | -0.025072 | 4.8724 | 8.0872 | 0 | 6.0895 | -143.5412 | 82.7997 | -173.937 | 36.4882 |  | 1.4165 | 0 | 0 | 1.2283 | 0.36072 | 0.28133 | -8.1592 | 0 | 0 | -6.7361 | -155.5569 | 126.6147
Line_2 | 0 | 0 | 0 | 0.0011994 | 0.0011994 | 0.0011994 | 0 | 0 | 0 | 0.013849 | 0.013849 | 0.013849 | -6.1265e-10 | 7.0701e-10 | 8.3652e-10 | -0.00041032 | -0.0024825 | 0.0028968 | -5.8191e-10 | -8.4544e-10 | 1.309e-10 | -0.017006 | 0.0043353 | 0.0026055 | 0 | 0 | 0 | 84.6461 | 84.6461 | 84.6461 |  | 1.2284 | 0.36075 | 0.28113 | 1.2283 | 0.36072 | 0.28133 | -6.7449 | -155.5244 | 126.6293 | -6.7361 | -155.5569 | 126.6147

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017088 | 1.2584 | 1.0369 | 0.0014094 | 1.2586 | 1.0366 | 0.019731 | 14.5313 | 11.9734 | 0.016274 | 14.5325 | 11.9701 | 0.0035716 | 11.6316 | 6.3459 | -0.0030021 | -9.7754 | -5.8537 | -0.020736 | 8.1676 | 8.8028 | 0.018494 | -8.0515 | -7.0812 | 78.2184 | -165.6144 | 62.3599 | -102.9271 | 14.3984 | -117.6461 |  | 1.0664 | 0.97808 | 0.90632 | 1.1513 | 0.87145 | 0.76754 | -2.009 | -130.5382 | 116.5723 | -3.7067 | -126.1249 | 112.7749
Line_1 | 0 | 1.2592 | 1.0353 | 0.00083977 | 1.2588 | 1.0361 | 0 | 14.54 | 11.9544 | 0.0096968 | 14.5354 | 11.9638 | -6.4095e-10 | -7.9279 | -5.359 | 0.0019322 | 9.7806 | 5.8496 | -4.4803e-10 | -7.9279 | -5.359 | -0.010995 | 8.0492 | 7.0784 | 0 | 14.4554 | -117.666 | 76.3266 | -165.5783 | 62.3453 |  | 1.2369 | 0.7711 | 0.63398 | 1.1513 | 0.87145 | 0.76754 | -5.1526 | -120.5446 | 107.334 | -3.7067 | -126.1249 | 112.7749
Line_2 | 0 | 0 | 0 | 0.00056977 | 0.00056977 | 0.00056977 | 0 | 0 | 0 | 0.0065792 | 0.0065792 | 0.0065792 | -2.2624e-10 | 7.1009e-10 | 9.1124e-10 | 0.0010699 | -0.0052255 | 0.0041565 | -3.0058e-10 | -3.7477e-10 | -3.892e-10 | -0.0074984 | 0.0023592 | 0.0028676 | 0 | 0 | 0 | 78.173 | 78.173 | 78.173 |  | 1.1513 | 0.87152 | 0.76744 | 1.1513 | 0.87145 | 0.76754 | -3.7114 | -126.1203 | 112.7765 | -3.7067 | -126.1249 | 112.7749

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017088 | 1.2584 | 1.0369 | 0.0014094 | 1.2586 | 1.0366 | 0.019731 | 14.5313 | 11.9734 | 0.016274 | 14.5325 | 11.9701 | 0.0035716 | 11.6316 | 6.3459 | -0.0030021 | -9.7754 | -5.8537 | -0.020736 | 8.1676 | 8.8028 | 0.018494 | -8.0515 | -7.0812 | 78.2184 | -165.6144 | 62.3599 | -102.9271 | 14.3984 | -117.6461 |  | 1.0664 | 0.97808 | 0.90632 | 1.1513 | 0.87145 | 0.76754 | -2.009 | -130.5382 | 116.5723 | -3.7067 | -126.1249 | 112.7749
Line_1 | 0 | 1.2592 | 1.0353 | 0.00083977 | 1.2588 | 1.0361 | 0 | 14.54 | 11.9544 | 0.0096968 | 14.5354 | 11.9638 | -6.4095e-10 | -7.9279 | -5.359 | 0.0019322 | 9.7806 | 5.8496 | -4.4803e-10 | -7.9279 | -5.359 | -0.010995 | 8.0492 | 7.0784 | 0 | 14.4554 | -117.666 | 76.3266 | -165.5783 | 62.3453 |  | 1.2369 | 0.7711 | 0.63398 | 1.1513 | 0.87145 | 0.76754 | -5.1526 | -120.5446 | 107.334 | -3.7067 | -126.1249 | 112.7749
Line_2 | 0 | 0 | 0 | 0.00056977 | 0.00056977 | 0.00056977 | 0 | 0 | 0 | 0.0065792 | 0.0065792 | 0.0065792 | -2.2624e-10 | 7.1009e-10 | 9.1124e-10 | 0.0010699 | -0.0052255 | 0.0041565 | -3.0058e-10 | -3.7477e-10 | -3.892e-10 | -0.0074984 | 0.0023592 | 0.0028676 | 0 | 0 | 0 | 78.173 | 78.173 | 78.173 |  | 1.1513 | 0.87152 | 0.76744 | 1.1513 | 0.87145 | 0.76754 | -3.7114 | -126.1203 | 112.7765 | -3.7067 | -126.1249 | 112.7749

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0033945 | 2.7781 | 2.0875 | 0.0028191 | 2.7784 | 2.0872 | 0.039196 | 32.0792 | 24.1048 | 0.032552 | 32.0818 | 24.1003 | 0.00028036 | 25.7367 | 3.076 | 8.2689e-05 | -12.8751 | -1.527 | -0.038381 | 2.4886 | 12.4416 | 0.038065 | -1.264 | -6.2057 | 86.3164 | -158.0202 | 41.6973 | -94.3983 | 21.9908 | -138.3145 |  | 0.97922 | 0.80603 | 0.53169 | 1.1694 | 0.40325 | 0.26518 | -3.2651 | -152.4972 | 117.8101 | -4.5227 | -152.4021 | 117.8622
Line_1 | 0 | 2.7796 | 2.0851 | 0.0016873 | 2.7789 | 2.0863 | 0 | 32.0962 | 24.0769 | 0.019484 | 32.0874 | 24.091 | -1.8146e-09 | -1.4916e-10 | -2.5983e-11 | 0.00011788 | 12.8778 | 1.524 | -4.6655e-10 | -1.2377e-10 | -1.4313e-10 | -0.022783 | 1.2595 | 6.2039 | 0 | 22.0429 | -138.3682 | 85.1808 | -157.9882 | 41.6637 |  | 1.3596 | 0 | 0 | 1.1694 | 0.40325 | 0.26518 | -5.37 | 0 | 0 | -4.5227 | -152.4021 | 117.8622
Line_2 | 0 | 0 | 0 | 0.0011319 | 0.0011319 | 0.0011319 | 0 | 0 | 0 | 0.013069 | 0.013069 | 0.013069 | -7.4003e-10 | 6.5281e-10 | 7.1324e-10 | -0.00020057 | -0.0027434 | 0.0029508 | -3.3939e-10 | -7.9151e-10 | -3.5784e-11 | -0.015282 | 0.0045 | 0.0018177 | 0 | 0 | 0 | 86.2292 | 86.2292 | 86.2292 |  | 1.1694 | 0.40337 | 0.26484 | 1.1694 | 0.40325 | 0.26518 | -4.5397 | -152.3546 | 117.8885 | -4.5227 | -152.4021 | 117.8622

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0033945 | 2.7781 | 2.0875 | 0.0028191 | 2.7784 | 2.0872 | 0.039196 | 32.0792 | 24.1048 | 0.032552 | 32.0818 | 24.1003 | 0.00028036 | 25.7367 | 3.076 | 8.2689e-05 | -12.8751 | -1.527 | -0.038381 | 2.4886 | 12.4416 | 0.038065 | -1.264 | -6.2057 | 86.3164 | -158.0202 | 41.6973 | -94.3983 | 21.9908 | -138.3145 |  | 0.97922 | 0.80603 | 0.53169 | 1.1694 | 0.40325 | 0.26518 | -3.2651 | -152.4972 | 117.8101 | -4.5227 | -152.4021 | 117.8622
Line_1 | 0 | 2.7796 | 2.0851 | 0.0016873 | 2.7789 | 2.0863 | 0 | 32.0962 | 24.0769 | 0.019484 | 32.0874 | 24.091 | -1.8146e-09 | -1.4916e-10 | -2.5983e-11 | 0.00011788 | 12.8778 | 1.524 | -4.6655e-10 | -1.2377e-10 | -1.4313e-10 | -0.022783 | 1.2595 | 6.2039 | 0 | 22.0429 | -138.3682 | 85.1808 | -157.9882 | 41.6637 |  | 1.3596 | 0 | 0 | 1.1694 | 0.40325 | 0.26518 | -5.37 | 0 | 0 | -4.5227 | -152.4021 | 117.8622
Line_2 | 0 | 0 | 0 | 0.0011319 | 0.0011319 | 0.0011319 | 0 | 0 | 0 | 0.013069 | 0.013069 | 0.013069 | -7.4003e-10 | 6.5281e-10 | 7.1324e-10 | -0.00020057 | -0.0027434 | 0.0029508 | -3.3939e-10 | -7.9151e-10 | -3.5784e-11 | -0.015282 | 0.0045 | 0.0018177 | 0 | 0 | 0 | 86.2292 | 86.2292 | 86.2292 |  | 1.1694 | 0.40337 | 0.26484 | 1.1694 | 0.40325 | 0.26518 | -4.5397 | -152.3546 | 117.8885 | -4.5227 | -152.4021 | 117.8622

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002101 | 1.0622 | 0.83662 | 0.0017449 | 1.0624 | 0.83628 | 0.024261 | 12.2658 | 9.6604 | 0.020148 | 12.2681 | 9.6565 | 0.0050614 | 9.9907 | 4.5934 | -0.0041707 | -7.8204 | -4.0373 | -0.023246 | 4.9831 | 6.5814 | 0.021625 | -5.324 | -5.0318 | 75.8793 | -157.4048 | 61.4027 | -104.8353 | 22.6113 | -118.6048 |  | 0.98063 | 0.91021 | 0.8308 | 1.0931 | 0.77116 | 0.66807 | -1.8374 | -130.8958 | 116.4902 | -3.9192 | -123.1423 | 112.6535
Line_1 | 0 | 1.0635 | 0.83458 | 0.0010444 | 1.0629 | 0.8356 | 0 | 12.2803 | 9.6369 | 0.012059 | 12.2729 | 9.6487 | -9.3539e-10 | -5.6552 | -3.4827 | 0.0025913 | 7.8263 | 4.0329 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012925 | 5.322 | 5.0286 | 0 | 22.6859 | -118.6333 | 74.7438 | -157.3585 | 61.3832 |  | 1.2067 | 0.65126 | 0.51108 | 1.0931 | 0.77116 | 0.66807 | -5.5691 | -112.3141 | 106.3667 | -3.9192 | -123.1423 | 112.6535
Line_2 | 0 | 0 | 0 | 0.00070056 | 0.00070056 | 0.00070056 | 0 | 0 | 0 | 0.0080894 | 0.0080894 | 0.0080894 | -3.826e-10 | 6.4247e-10 | 7.9328e-10 | 0.0015793 | -0.0059007 | 0.0043239 | -2.7475e-10 | -1.5462e-10 | -3.128e-10 | -0.0087004 | 0.0020242 | 0.0032419 | 0 | 0 | 0 | 75.7922 | 75.7922 | 75.7922 |  | 1.0931 | 0.77135 | 0.66787 | 1.0931 | 0.77116 | 0.66807 | -3.9307 | -123.134 | 112.6615 | -3.9192 | -123.1423 | 112.6535

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002101 | 1.0622 | 0.83662 | 0.0017449 | 1.0624 | 0.83628 | 0.024261 | 12.2658 | 9.6604 | 0.020148 | 12.2681 | 9.6565 | 0.0050614 | 9.9907 | 4.5934 | -0.0041707 | -7.8204 | -4.0373 | -0.023246 | 4.9831 | 6.5814 | 0.021625 | -5.324 | -5.0318 | 75.8793 | -157.4048 | 61.4027 | -104.8353 | 22.6113 | -118.6048 |  | 0.98063 | 0.91021 | 0.8308 | 1.0931 | 0.77116 | 0.66807 | -1.8374 | -130.8958 | 116.4902 | -3.9192 | -123.1423 | 112.6535
Line_1 | 0 | 1.0635 | 0.83458 | 0.0010444 | 1.0629 | 0.8356 | 0 | 12.2803 | 9.6369 | 0.012059 | 12.2729 | 9.6487 | -9.3539e-10 | -5.6552 | -3.4827 | 0.0025913 | 7.8263 | 4.0329 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012925 | 5.322 | 5.0286 | 0 | 22.6859 | -118.6333 | 74.7438 | -157.3585 | 61.3832 |  | 1.2067 | 0.65126 | 0.51108 | 1.0931 | 0.77116 | 0.66807 | -5.5691 | -112.3141 | 106.3667 | -3.9192 | -123.1423 | 112.6535
Line_2 | 0 | 0 | 0 | 0.00070056 | 0.00070056 | 0.00070056 | 0 | 0 | 0 | 0.0080894 | 0.0080894 | 0.0080894 | -3.826e-10 | 6.4247e-10 | 7.9328e-10 | 0.0015793 | -0.0059007 | 0.0043239 | -2.7475e-10 | -1.5462e-10 | -3.128e-10 | -0.0087004 | 0.0020242 | 0.0032419 | 0 | 0 | 0 | 75.7922 | 75.7922 | 75.7922 |  | 1.0931 | 0.77135 | 0.66787 | 1.0931 | 0.77116 | 0.66807 | -3.9307 | -123.134 | 112.6615 | -3.9192 | -123.1423 | 112.6535