## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6053e-15 | 5.2106e-15 | 2.0843e-14 | 1.5632e-14 | -1.0421e-14 | -5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 2.636e-28 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3264e-13 | -180 | 180 | 7.2462e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.6055e-15 | 5.2109e-15 | 1.0421e-14 | 5.2105e-15 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1448e-13 | -180 | 180 | 7.2462e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -7.8158e-15 | 1.5632e-14 | 5.2106e-15 | 1.5632e-14 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2595e-13 | -180 | 180 | 7.2462e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6053e-15 | 5.2106e-15 | 2.0843e-14 | 1.5632e-14 | -1.0421e-14 | -5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 2.636e-28 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3264e-13 | -180 | 180 | 7.2462e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.6055e-15 | 5.2109e-15 | 1.0421e-14 | 5.2105e-15 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1448e-13 | -180 | 180 | 7.2462e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -7.8158e-15 | 1.5632e-14 | 5.2106e-15 | 1.5632e-14 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2595e-13 | -180 | 180 | 7.2462e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -7.3079e-10 | -2.0393e-09 | -5.2106e-15 | 7.3079e-10 | 2.0393e-09 | -2.0843e-14 | 5.8225e-09 | -3.5561e-09 | 2.0843e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.9281e-13 | -164.9034 | 158.1097 | 5.8013e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4359e-10 | 6.7977e-10 | -5.2106e-15 | -2.4359e-10 | -6.7978e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2758e-29 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.7136e-13 | -164.9034 | 158.1097 | 5.8013e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4358e-10 | 6.7977e-10 | -5.2758e-29 | -2.4357e-10 | -6.7977e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | 5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.8168e-13 | -164.9034 | 158.1097 | 5.8013e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -7.3079e-10 | -2.0393e-09 | -5.2106e-15 | 7.3079e-10 | 2.0393e-09 | -2.0843e-14 | 5.8225e-09 | -3.5561e-09 | 2.0843e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.9281e-13 | -164.9034 | 158.1097 | 5.8013e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4359e-10 | 6.7977e-10 | -5.2106e-15 | -2.4359e-10 | -6.7978e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2758e-29 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.7136e-13 | -164.9034 | 158.1097 | 5.8013e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4358e-10 | 6.7977e-10 | -5.2758e-29 | -2.4357e-10 | -6.7977e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | 5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.8168e-13 | -164.9034 | 158.1097 | 5.8013e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.1841e-15 | 4.7368e-15 | 1.6579e-14 | -1.1835e-15 | -4.7362e-15 | -2.0018e-28 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9179e-13 | -180 | 180 | 7.35e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 5.9215e-15 | 3.3631e-19 | -7.1054e-15 | -1.1845e-15 | -2.6081e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3999e-13 | -180 | 180 | 7.35e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 5.9215e-15 | 4.7373e-15 | -2.3685e-15 | -1.1845e-15 | -4.7372e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -3.0383e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1581e-13 | -180 | 180 | 7.35e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.1841e-15 | 4.7368e-15 | 1.6579e-14 | -1.1835e-15 | -4.7362e-15 | -2.0018e-28 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9179e-13 | -180 | 180 | 7.35e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 5.9215e-15 | 3.3631e-19 | -7.1054e-15 | -1.1845e-15 | -2.6081e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3999e-13 | -180 | 180 | 7.35e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 5.9215e-15 | 4.7373e-15 | -2.3685e-15 | -1.1845e-15 | -4.7372e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -3.0383e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1581e-13 | -180 | 180 | 7.35e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5594e-10 | -1.5515e-09 | 1.8948e-14 | 5.5594e-10 | 1.5515e-09 | 2.3685e-15 | 4.8331e-09 | -3.1089e-09 | -7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8563e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.3685e-15 | -1.611e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.2295e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8533e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1716e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.0495e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5594e-10 | -1.5515e-09 | 1.8948e-14 | 5.5594e-10 | 1.5515e-09 | 2.3685e-15 | 4.8331e-09 | -3.1089e-09 | -7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8563e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.3685e-15 | -1.611e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.2295e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8533e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1716e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.0495e-13 | -166.2936 | 160.6236 | 6.2128e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053779 | 0.0053779 | 0.0053779 | 0.0035864 | 0.0035864 | 0.0035864 | 0.062099 | 0.062099 | 0.062099 | 0.041412 | 0.041412 | 0.041412 | -7.0367e-07 | 0.059277 | -0.059036 | 5.997e-05 | -0.039489 | 0.039411 | 0.00018349 | -0.0336 | -0.033957 | -9.8728e-05 | 0.0224 | 0.0227 | -90.1726 | -90.1726 | -90.1726 | 89.782 | 89.782 | 89.782 |  | 0.0029549 | 1.0973 | 1.0967 | 0.0027894 | 1.0963 | 1.0983 | 0.047147 | -119.7185 | 119.7342 | 31.0578 | -119.7814 | 119.7227
Line_1 | 0 | 0 | 0 | 0.0017932 | 0.0017932 | 0.0017932 | 0 | 0 | 0 | 0.020706 | 0.020706 | 0.020706 | 9.1522e-12 | 1.5676e-11 | 5.7657e-12 | -2.9985e-05 | 0.019745 | -0.019706 | 6.9636e-12 | 1.5914e-11 | -2.1618e-11 | 4.9364e-05 | -0.0112 | -0.01135 | 0 | 0 | 0 | -90.218 | -90.218 | -90.218 |  | 0.0028572 | 1.0961 | 1.0986 | 0.0027894 | 1.0963 | 1.0983 | 37.1756 | -119.7939 | 119.7204 | 31.0578 | -119.7814 | 119.7227
Line_2 | 0 | 0 | 0 | 0.0017932 | 0.0017932 | 0.0017932 | 0 | 0 | 0 | 0.020706 | 0.020706 | 0.020706 | 9.1521e-12 | 1.567e-11 | 5.7734e-12 | -2.9985e-05 | 0.019745 | -0.019706 | 6.9635e-12 | 1.5905e-11 | -2.1631e-11 | 4.9364e-05 | -0.0112 | -0.01135 | 0 | 0 | 0 | -90.218 | -90.218 | -90.218 |  | 0.0028572 | 1.0961 | 1.0986 | 0.0027894 | 1.0963 | 1.0983 | 37.1756 | -119.7939 | 119.7204 | 31.0578 | -119.7814 | 119.7227

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053779 | 0.0053779 | 0.0053779 | 0.0035864 | 0.0035864 | 0.0035864 | 0.062099 | 0.062099 | 0.062099 | 0.041412 | 0.041412 | 0.041412 | -7.0367e-07 | 0.059277 | -0.059036 | 5.997e-05 | -0.039489 | 0.039411 | 0.00018349 | -0.0336 | -0.033957 | -9.8728e-05 | 0.0224 | 0.0227 | -90.1726 | -90.1726 | -90.1726 | 89.782 | 89.782 | 89.782 |  | 0.0029549 | 1.0973 | 1.0967 | 0.0027894 | 1.0963 | 1.0983 | 0.047147 | -119.7185 | 119.7342 | 31.0578 | -119.7814 | 119.7227
Line_1 | 0 | 0 | 0 | 0.0017932 | 0.0017932 | 0.0017932 | 0 | 0 | 0 | 0.020706 | 0.020706 | 0.020706 | 9.1522e-12 | 1.5676e-11 | 5.7657e-12 | -2.9985e-05 | 0.019745 | -0.019706 | 6.9636e-12 | 1.5914e-11 | -2.1618e-11 | 4.9364e-05 | -0.0112 | -0.01135 | 0 | 0 | 0 | -90.218 | -90.218 | -90.218 |  | 0.0028572 | 1.0961 | 1.0986 | 0.0027894 | 1.0963 | 1.0983 | 37.1756 | -119.7939 | 119.7204 | 31.0578 | -119.7814 | 119.7227
Line_2 | 0 | 0 | 0 | 0.0017932 | 0.0017932 | 0.0017932 | 0 | 0 | 0 | 0.020706 | 0.020706 | 0.020706 | 9.1521e-12 | 1.567e-11 | 5.7734e-12 | -2.9985e-05 | 0.019745 | -0.019706 | 6.9635e-12 | 1.5905e-11 | -2.1631e-11 | 4.9364e-05 | -0.0112 | -0.01135 | 0 | 0 | 0 | -90.218 | -90.218 | -90.218 |  | 0.0028572 | 1.0961 | 1.0986 | 0.0027894 | 1.0963 | 1.0983 | 37.1756 | -119.7939 | 119.7204 | 31.0578 | -119.7814 | 119.7227

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037038 | 0.0037038 | 0.0037038 | 0.00247 | 0.00247 | 0.00247 | 0.042768 | 0.042768 | 0.042768 | 0.028521 | 0.028521 | 0.028521 | 0.010894 | 0.034265 | -0.045044 | -0.0072293 | -0.022839 | 0.03006 | 0.013476 | -0.032066 | -0.013366 | -0.0089816 | 0.021377 | 0.0089488 | -76.7329 | -76.7329 | -76.7329 | 103.2217 | 103.2217 | 103.2217 |  | 0.40518 | 1.0973 | 1.0986 | 0.40425 | 1.0968 | 1.0997 | -25.6832 | -119.8345 | 119.7948 | -25.6093 | -119.8847 | 119.7998
Line_1 | 0 | 0 | 0 | 0.001235 | 0.001235 | 0.001235 | 0 | 0 | 0 | 0.01426 | 0.01426 | 0.01426 | 8.7117e-10 | 1.3072e-11 | 4.235e-13 | 0.0036147 | 0.01142 | -0.01503 | -7.0405e-10 | 8.124e-12 | -1.5423e-11 | 0.0044908 | -0.010689 | -0.0044744 | 0 | 0 | 0 | -76.7783 | -76.7783 | -76.7783 |  | 0.40407 | 1.0967 | 1.0999 | 0.40425 | 1.0968 | 1.0997 | -25.5944 | -119.8948 | 119.8008 | -25.6093 | -119.8847 | 119.7998
Line_2 | 0 | 0 | 0 | 0.001235 | 0.001235 | 0.001235 | 0 | 0 | 0 | 0.01426 | 0.01426 | 0.01426 | 8.7116e-10 | 1.3072e-11 | 4.2609e-13 | 0.0036147 | 0.01142 | -0.01503 | -7.0404e-10 | 8.124e-12 | -1.5428e-11 | 0.0044908 | -0.010689 | -0.0044744 | 0 | 0 | 0 | -76.7783 | -76.7783 | -76.7783 |  | 0.40407 | 1.0967 | 1.0999 | 0.40425 | 1.0968 | 1.0997 | -25.5944 | -119.8948 | 119.8008 | -25.6093 | -119.8847 | 119.7998

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037038 | 0.0037038 | 0.0037038 | 0.00247 | 0.00247 | 0.00247 | 0.042768 | 0.042768 | 0.042768 | 0.028521 | 0.028521 | 0.028521 | 0.010894 | 0.034265 | -0.045044 | -0.0072293 | -0.022839 | 0.03006 | 0.013476 | -0.032066 | -0.013366 | -0.0089816 | 0.021377 | 0.0089488 | -76.7329 | -76.7329 | -76.7329 | 103.2217 | 103.2217 | 103.2217 |  | 0.40518 | 1.0973 | 1.0986 | 0.40425 | 1.0968 | 1.0997 | -25.6832 | -119.8345 | 119.7948 | -25.6093 | -119.8847 | 119.7998
Line_1 | 0 | 0 | 0 | 0.001235 | 0.001235 | 0.001235 | 0 | 0 | 0 | 0.01426 | 0.01426 | 0.01426 | 8.7117e-10 | 1.3072e-11 | 4.235e-13 | 0.0036147 | 0.01142 | -0.01503 | -7.0405e-10 | 8.124e-12 | -1.5423e-11 | 0.0044908 | -0.010689 | -0.0044744 | 0 | 0 | 0 | -76.7783 | -76.7783 | -76.7783 |  | 0.40407 | 1.0967 | 1.0999 | 0.40425 | 1.0968 | 1.0997 | -25.5944 | -119.8948 | 119.8008 | -25.6093 | -119.8847 | 119.7998
Line_2 | 0 | 0 | 0 | 0.001235 | 0.001235 | 0.001235 | 0 | 0 | 0 | 0.01426 | 0.01426 | 0.01426 | 8.7116e-10 | 1.3072e-11 | 4.2609e-13 | 0.0036147 | 0.01142 | -0.01503 | -7.0404e-10 | 8.124e-12 | -1.5428e-11 | 0.0044908 | -0.010689 | -0.0044744 | 0 | 0 | 0 | -76.7783 | -76.7783 | -76.7783 |  | 0.40407 | 1.0967 | 1.0999 | 0.40425 | 1.0968 | 1.0997 | -25.5944 | -119.8948 | 119.8008 | -25.6093 | -119.8847 | 119.7998

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048841 | 0.0048841 | 0.0048841 | 0.0032571 | 0.0032571 | 0.0032571 | 0.056397 | 0.056397 | 0.056397 | 0.03761 | 0.03761 | 0.03761 | -1.143e-06 | 0.049031 | -0.048649 | 9.4992e-05 | -0.032632 | 0.032508 | 0.00015525 | -0.027558 | -0.028166 | -8.4023e-05 | 0.018348 | 0.018852 | -90.3567 | -90.3566 | -90.3566 | 89.5562 | 89.5562 | 89.5562 |  | 0.0027529 | 0.99731 | 0.99677 | 0.003372 | 0.99538 | 0.99919 | 0.065193 | -119.6951 | 119.7129 | 48.0626 | -119.7915 | 119.6666
Line_1 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.823e-11 | 1.1236e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.204e-11 | -2.1921e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 |  | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666
Line_2 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.823e-11 | 1.1192e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.2046e-11 | -2.1918e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 |  | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048841 | 0.0048841 | 0.0048841 | 0.0032571 | 0.0032571 | 0.0032571 | 0.056397 | 0.056397 | 0.056397 | 0.03761 | 0.03761 | 0.03761 | -1.143e-06 | 0.049031 | -0.048649 | 9.4992e-05 | -0.032632 | 0.032508 | 0.00015525 | -0.027558 | -0.028166 | -8.4023e-05 | 0.018348 | 0.018852 | -90.3567 | -90.3566 | -90.3566 | 89.5562 | 89.5562 | 89.5562 |  | 0.0027529 | 0.99731 | 0.99677 | 0.003372 | 0.99538 | 0.99919 | 0.065193 | -119.6951 | 119.7129 | 48.0626 | -119.7915 | 119.6666
Line_1 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.823e-11 | 1.1236e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.204e-11 | -2.1921e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 |  | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666
Line_2 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.823e-11 | 1.1192e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.2046e-11 | -2.1918e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 |  | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035014 | 0.0035014 | 0.0035014 | 0.002335 | 0.002335 | 0.002335 | 0.040431 | 0.040431 | 0.040431 | 0.026962 | 0.026962 | 0.026962 | 0.0085452 | 0.030082 | -0.038431 | -0.0056395 | -0.02004 | 0.025665 | 0.010652 | -0.02685 | -0.012361 | -0.0071019 | 0.017885 | 0.0082922 | -78.0589 | -78.0588 | -78.0588 | 101.854 | 101.854 | 101.854 |  | 0.33775 | 0.9973 | 0.9985 | 0.33635 | 0.99621 | 1.0003 | -26.7973 | -119.8102 | 119.7709 | -26.5983 | -119.8947 | 119.7595
Line_1 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.8809e-10 | 1.4625e-11 | -2.5372e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6246e-12 | -1.5545e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 |  | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595
Line_2 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.881e-10 | 1.4633e-11 | -2.546e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6422e-12 | -1.5539e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 |  | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035014 | 0.0035014 | 0.0035014 | 0.002335 | 0.002335 | 0.002335 | 0.040431 | 0.040431 | 0.040431 | 0.026962 | 0.026962 | 0.026962 | 0.0085452 | 0.030082 | -0.038431 | -0.0056395 | -0.02004 | 0.025665 | 0.010652 | -0.02685 | -0.012361 | -0.0071019 | 0.017885 | 0.0082922 | -78.0589 | -78.0588 | -78.0588 | 101.854 | 101.854 | 101.854 |  | 0.33775 | 0.9973 | 0.9985 | 0.33635 | 0.99621 | 1.0003 | -26.7973 | -119.8102 | 119.7709 | -26.5983 | -119.8947 | 119.7595
Line_1 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.8809e-10 | 1.4625e-11 | -2.5372e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6246e-12 | -1.5545e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 |  | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595
Line_2 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.881e-10 | 1.4633e-11 | -2.546e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6422e-12 | -1.5539e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 |  | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053931 | 0.0053931 | 0.0053931 | 0.0035965 | 0.0035965 | 0.0035965 | 0.062274 | 0.062274 | 0.062274 | 0.041529 | 0.041529 | 0.041529 | 0.00024337 | -7.0762e-07 | -7.0762e-07 | -0.00013855 | 6.0309e-05 | 6.0309e-05 | -0.068123 | 0.00018453 | 0.00018453 | 0.045453 | -9.9285e-05 | -9.9285e-05 | 89.8114 | 89.8114 | 89.8114 | -90.234 | -90.234 | -90.234 |  | 1.0939 | 0.0029632 | 0.0029632 | 1.0945 | 0.0027972 | 0.0027972 | 0.016086 | -179.9689 | -179.9689 | -0.059348 | -148.9583 | -148.9583
Line_1 | 0 | 0 | 0 | 0.0017983 | 0.0017983 | 0.0017983 | 0 | 0 | 0 | 0.020765 | 0.020765 | 0.020765 | 2.1615e-11 | 1.062e-11 | -1.4703e-12 | 6.9273e-05 | -3.0154e-05 | -3.0154e-05 | -5.7421e-12 | -4.4858e-12 | 1.1466e-11 | -0.022727 | 4.9643e-05 | 4.9643e-05 | 0 | 0 | 0 | 89.766 | 89.766 | 89.766 |  | 1.0946 | 0.0028652 | 0.0028652 | 1.0945 | 0.0027972 | 0.0027972 | -0.074431 | -142.8404 | -142.8404 | -0.059348 | -148.9583 | -148.9583
Line_2 | 0 | 0 | 0 | 0.0017983 | 0.0017983 | 0.0017983 | 0 | 0 | 0 | 0.020765 | 0.020765 | 0.020765 | 2.162e-11 | 1.062e-11 | -1.4703e-12 | 6.9273e-05 | -3.0154e-05 | -3.0154e-05 | -5.7317e-12 | -4.4858e-12 | 1.1466e-11 | -0.022727 | 4.9643e-05 | 4.9643e-05 | 0 | 0 | 0 | 89.766 | 89.766 | 89.766 |  | 1.0946 | 0.0028652 | 0.0028652 | 1.0945 | 0.0027972 | 0.0027972 | -0.074431 | -142.8404 | -142.8404 | -0.059348 | -148.9583 | -148.9583

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053931 | 0.0053931 | 0.0053931 | 0.0035965 | 0.0035965 | 0.0035965 | 0.062274 | 0.062274 | 0.062274 | 0.041529 | 0.041529 | 0.041529 | 0.00024337 | -7.0762e-07 | -7.0762e-07 | -0.00013855 | 6.0309e-05 | 6.0309e-05 | -0.068123 | 0.00018453 | 0.00018453 | 0.045453 | -9.9285e-05 | -9.9285e-05 | 89.8114 | 89.8114 | 89.8114 | -90.234 | -90.234 | -90.234 |  | 1.0939 | 0.0029632 | 0.0029632 | 1.0945 | 0.0027972 | 0.0027972 | 0.016086 | -179.9689 | -179.9689 | -0.059348 | -148.9583 | -148.9583
Line_1 | 0 | 0 | 0 | 0.0017983 | 0.0017983 | 0.0017983 | 0 | 0 | 0 | 0.020765 | 0.020765 | 0.020765 | 2.1615e-11 | 1.062e-11 | -1.4703e-12 | 6.9273e-05 | -3.0154e-05 | -3.0154e-05 | -5.7421e-12 | -4.4858e-12 | 1.1466e-11 | -0.022727 | 4.9643e-05 | 4.9643e-05 | 0 | 0 | 0 | 89.766 | 89.766 | 89.766 |  | 1.0946 | 0.0028652 | 0.0028652 | 1.0945 | 0.0027972 | 0.0027972 | -0.074431 | -142.8404 | -142.8404 | -0.059348 | -148.9583 | -148.9583
Line_2 | 0 | 0 | 0 | 0.0017983 | 0.0017983 | 0.0017983 | 0 | 0 | 0 | 0.020765 | 0.020765 | 0.020765 | 2.162e-11 | 1.062e-11 | -1.4703e-12 | 6.9273e-05 | -3.0154e-05 | -3.0154e-05 | -5.7317e-12 | -4.4858e-12 | 1.1466e-11 | -0.022727 | 4.9643e-05 | 4.9643e-05 | 0 | 0 | 0 | 89.766 | 89.766 | 89.766 |  | 1.0946 | 0.0028652 | 0.0028652 | 1.0945 | 0.0027972 | 0.0027972 | -0.074431 | -142.8404 | -142.8404 | -0.059348 | -148.9583 | -148.9583

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003711 | 0.003711 | 0.003711 | 0.0024748 | 0.0024748 | 0.0024748 | 0.04285 | 0.04285 | 0.04285 | 0.028576 | 0.028576 | 0.028576 | -0.010821 | -0.0061228 | 0.017058 | 0.0072203 | 0.00412 | -0.011349 | -0.045696 | 0.016248 | -0.0026326 | 0.03049 | -0.010821 | 0.0017579 | 103.2822 | 103.2822 | 103.2822 | -76.7632 | -76.7632 | -76.7632 |  | 1.0959 | 0.40522 | 0.4028 | 1.0965 | 0.4052 | 0.40188 | -0.040096 | -146.0701 | 94.5089 | -0.085709 | -145.9195 | 94.432
Line_1 | 0 | 0 | 0 | 0.0012374 | 0.0012374 | 0.0012374 | 0 | 0 | 0 | 0.014288 | 0.014288 | 0.014288 | 1.3567e-11 | 8.6827e-10 | 8.6969e-10 | -0.0036101 | -0.00206 | 0.0056744 | -7.3158e-12 | -7.136e-10 | -6.9964e-10 | -0.015245 | 0.0054106 | -0.00087894 | 0 | 0 | 0 | 103.2368 | 103.2368 | 103.2368 |  | 1.0966 | 0.4052 | 0.4017 | 1.0965 | 0.4052 | 0.40188 | -0.09483 | -145.8893 | 94.4166 | -0.085709 | -145.9195 | 94.432
Line_2 | 0 | 0 | 0 | 0.0012374 | 0.0012374 | 0.0012374 | 0 | 0 | 0 | 0.014288 | 0.014288 | 0.014288 | 1.3572e-11 | 8.6827e-10 | 8.6968e-10 | -0.0036101 | -0.00206 | 0.0056744 | -7.3262e-12 | -7.1359e-10 | -6.9964e-10 | -0.015245 | 0.0054106 | -0.00087894 | 0 | 0 | 0 | 103.2368 | 103.2368 | 103.2368 |  | 1.0966 | 0.4052 | 0.4017 | 1.0965 | 0.4052 | 0.40188 | -0.09483 | -145.8893 | 94.4166 | -0.085709 | -145.9195 | 94.432

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003711 | 0.003711 | 0.003711 | 0.0024748 | 0.0024748 | 0.0024748 | 0.04285 | 0.04285 | 0.04285 | 0.028576 | 0.028576 | 0.028576 | -0.010821 | -0.0061228 | 0.017058 | 0.0072203 | 0.00412 | -0.011349 | -0.045696 | 0.016248 | -0.0026326 | 0.03049 | -0.010821 | 0.0017579 | 103.2822 | 103.2822 | 103.2822 | -76.7632 | -76.7632 | -76.7632 |  | 1.0959 | 0.40522 | 0.4028 | 1.0965 | 0.4052 | 0.40188 | -0.040096 | -146.0701 | 94.5089 | -0.085709 | -145.9195 | 94.432
Line_1 | 0 | 0 | 0 | 0.0012374 | 0.0012374 | 0.0012374 | 0 | 0 | 0 | 0.014288 | 0.014288 | 0.014288 | 1.3567e-11 | 8.6827e-10 | 8.6969e-10 | -0.0036101 | -0.00206 | 0.0056744 | -7.3158e-12 | -7.136e-10 | -6.9964e-10 | -0.015245 | 0.0054106 | -0.00087894 | 0 | 0 | 0 | 103.2368 | 103.2368 | 103.2368 |  | 1.0966 | 0.4052 | 0.4017 | 1.0965 | 0.4052 | 0.40188 | -0.09483 | -145.8893 | 94.4166 | -0.085709 | -145.9195 | 94.432
Line_2 | 0 | 0 | 0 | 0.0012374 | 0.0012374 | 0.0012374 | 0 | 0 | 0 | 0.014288 | 0.014288 | 0.014288 | 1.3572e-11 | 8.6827e-10 | 8.6968e-10 | -0.0036101 | -0.00206 | 0.0056744 | -7.3262e-12 | -7.1359e-10 | -6.9964e-10 | -0.015245 | 0.0054106 | -0.00087894 | 0 | 0 | 0 | 103.2368 | 103.2368 | 103.2368 |  | 1.0966 | 0.4052 | 0.4017 | 1.0965 | 0.4052 | 0.40188 | -0.09483 | -145.8893 | 94.4166 | -0.085709 | -145.9195 | 94.432

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048998 | 0.0048998 | 0.0048998 | 0.0032675 | 0.0032675 | 0.0032675 | 0.056578 | 0.056578 | 0.056578 | 0.03773 | 0.03773 | 0.03773 | 0.00038575 | -1.1504e-06 | -1.1504e-06 | -0.00021962 | 9.5602e-05 | 9.5602e-05 | -0.056239 | 0.00015625 | 0.00015624 | 0.037524 | -8.4562e-05 | -8.4562e-05 | 89.6252 | 89.6252 | 89.6252 | -90.4619 | -90.462 | -90.462 |  | 0.99403 | 0.0027617 | 0.0027617 | 0.99454 | 0.0033828 | 0.0033828 | 0.018195 | -179.953 | -179.953 | -0.12661 | -131.9555 | -131.9556
Line_1 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9538e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.9096e-12 | -1.3313e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 |  | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556
Line_2 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9528e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.8955e-12 | -1.3313e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 |  | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048998 | 0.0048998 | 0.0048998 | 0.0032675 | 0.0032675 | 0.0032675 | 0.056578 | 0.056578 | 0.056578 | 0.03773 | 0.03773 | 0.03773 | 0.00038575 | -1.1504e-06 | -1.1504e-06 | -0.00021962 | 9.5602e-05 | 9.5602e-05 | -0.056239 | 0.00015625 | 0.00015624 | 0.037524 | -8.4562e-05 | -8.4562e-05 | 89.6252 | 89.6252 | 89.6252 | -90.4619 | -90.462 | -90.462 |  | 0.99403 | 0.0027617 | 0.0027617 | 0.99454 | 0.0033828 | 0.0033828 | 0.018195 | -179.953 | -179.953 | -0.12661 | -131.9555 | -131.9556
Line_1 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9538e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.9096e-12 | -1.3313e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 |  | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556
Line_2 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9528e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.8955e-12 | -1.3313e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 |  | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035094 | 0.0035094 | 0.0035094 | 0.0023404 | 0.0023404 | 0.0023404 | 0.040523 | 0.040523 | 0.040523 | 0.027024 | 0.027024 | 0.027024 | -0.0083871 | -0.0048596 | 0.013443 | 0.0056017 | 0.0033023 | -0.0089186 | -0.039471 | 0.012796 | -0.0020155 | 0.026341 | -0.0085184 | 0.0013405 | 101.9565 | 101.9565 | 101.9565 | -78.1307 | -78.1307 | -78.1307 |  | 0.99578 | 0.33778 | 0.33545 | 0.99651 | 0.33807 | 0.33373 | -0.039798 | -147.2482 | 93.4298 | -0.13649 | -146.9411 | 93.3212
Line_1 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2188e-11 | 6.8664e-10 | 6.8452e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9476e-12 | -5.6054e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 |  | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212
Line_2 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2183e-11 | 6.8664e-10 | 6.8452e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9428e-12 | -5.6055e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 |  | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035094 | 0.0035094 | 0.0035094 | 0.0023404 | 0.0023404 | 0.0023404 | 0.040523 | 0.040523 | 0.040523 | 0.027024 | 0.027024 | 0.027024 | -0.0083871 | -0.0048596 | 0.013443 | 0.0056017 | 0.0033023 | -0.0089186 | -0.039471 | 0.012796 | -0.0020155 | 0.026341 | -0.0085184 | 0.0013405 | 101.9565 | 101.9565 | 101.9565 | -78.1307 | -78.1307 | -78.1307 |  | 0.99578 | 0.33778 | 0.33545 | 0.99651 | 0.33807 | 0.33373 | -0.039798 | -147.2482 | 93.4298 | -0.13649 | -146.9411 | 93.3212
Line_1 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2188e-11 | 6.8664e-10 | 6.8452e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9476e-12 | -5.6054e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 |  | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212
Line_2 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2183e-11 | 6.8664e-10 | 6.8452e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9428e-12 | -5.6055e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 |  | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212